## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_412-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_412-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_412-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_412-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_412-6_0_6_node_163 | 0.4 | n |  | TRUE
5 | bus_LV_412-6_0_6_node_165 | 0.4 | n |  | TRUE
6 | bus_LV_412-6_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_412-6_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_412-6_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_412-6_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_412-6_0_6_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_412-6_0_6_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_412-6_0_6_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_412-6_0_6_node_129 | 0.4 | n |  | TRUE
14 | bus_LV_412-6_0_6_node_127 | 0.4 | n |  | TRUE
15 | bus_LV_412-6_0_6_node_152 | 0.4 | n |  | TRUE
16 | bus_LV_412-6_0_6_node_107 | 0.4 | n |  | TRUE
17 | bus_LV_412-6_0_6_node_125 | 0.4 | n |  | TRUE
18 | bus_LV_412-6_0_6_node_151 | 0.4 | n |  | TRUE
19 | bus_LV_412-6_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_412-6_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_412-6_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_412-6_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_412-6_0_6_node_60 | 0.4 | n |  | TRUE
24 | bus_LV_412-6_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_412-6_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_412-6_0_6_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_412-6_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_412-6_0_6_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_412-6_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_412-6_0_6_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_412-6_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_412-6_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_412-6_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_412-6_0_6_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_412-6_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_412-6_0_6_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_412-6_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_412-6_0_6_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_412-6_0_6_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_412-6_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_412-6_0_6_node_88 | 0.4 | n |  | TRUE
42 | bus_LV_412-6_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_412-6_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_412-6_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_412-6_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_412-6_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_412-6_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_412-6_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_412-6_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_412-6_0_6_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_412-6_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_412-6_0_6_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_412-6_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_412-6_0_6_node_101 | 0.4 | n |  | TRUE
55 | bus_LV_412-6_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_412-6_0_6_node_113 | 0.4 | n |  | TRUE
57 | bus_LV_412-6_0_6_node_112 | 0.4 | n |  | TRUE
58 | bus_LV_412-6_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_412-6_0_6_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_412-6_0_6_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_412-6_0_6_node_171 | 0.4 | n |  | TRUE
62 | bus_LV_412-6_0_6_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_412-6_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_412-6_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_412-6_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_412-6_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_412-6_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_412-6_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_412-6_0_6_node_156 | 0.4 | n |  | TRUE
70 | bus_LV_412-6_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_412-6_0_6_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_412-6_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_412-6_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_412-6_0_6_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_412-6_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_412-6_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_412-6_0_6_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_412-6_0_6_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_412-6_0_6_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_412-6_0_6_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_412-6_0_6_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_412-6_0_6_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_412-6_0_6_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_412-6_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_412-6_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_412-6_0_6_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_412-6_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_412-6_0_6_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_412-6_0_6_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_412-6_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_412-6_0_6_node_77 | 0.4 | n |  | TRUE
92 | bus_LV_412-6_0_6_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_412-6_0_6_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_412-6_0_6_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_412-6_0_6_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_412-6_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_412-6_0_6_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_412-6_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_412-6_0_6_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_412-6_0_6_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_412-6_0_6_node_84 | 0.4 | n |  | TRUE
102 | bus_LV_412-6_0_6_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_412-6_0_6_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_412-6_0_6_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_412-6_0_6_node_168 | 0.4 | n |  | TRUE
106 | bus_LV_412-6_0_6_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_412-6_0_6_node_90 | 0.4 | n |  | TRUE
108 | bus_LV_412-6_0_6_node_92 | 0.4 | n |  | TRUE
109 | bus_LV_412-6_0_6_node_94 | 0.4 | n |  | TRUE
110 | bus_LV_412-6_0_6_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_412-6_0_6_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_412-6_0_6_node_97 | 0.4 | n |  | TRUE
113 | bus_LV_412-6_0_6_node_164 | 0.4 | n |  | TRUE
114 | bus_LV_412-6_0_6_node_99 | 0.4 | n |  | TRUE
115 | bus_LV_412-6_0_6_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_412-6_0_6_node_105 | 0.4 | n |  | TRUE
117 | bus_LV_412-6_0_6_node_106 | 0.4 | n |  | TRUE
118 | bus_LV_412-6_0_6_node_108 | 0.4 | n |  | TRUE
119 | bus_LV_412-6_0_6_node_109 | 0.4 | n |  | TRUE
120 | bus_LV_412-6_0_6_node_110 | 0.4 | n |  | TRUE
121 | bus_LV_412-6_0_6_node_111 | 0.4 | n |  | TRUE
122 | bus_LV_412-6_0_6_node_114 | 0.4 | n |  | TRUE
123 | bus_LV_412-6_0_6_node_115 | 0.4 | n |  | TRUE
124 | bus_LV_412-6_0_6_node_116 | 0.4 | n |  | TRUE
125 | bus_LV_412-6_0_6_node_117 | 0.4 | n |  | TRUE
126 | bus_LV_412-6_0_6_node_118 | 0.4 | n |  | TRUE
127 | bus_LV_412-6_0_6_node_119 | 0.4 | n |  | TRUE
128 | bus_LV_412-6_0_6_node_120 | 0.4 | n |  | TRUE
129 | bus_LV_412-6_0_6_node_130 | 0.4 | n |  | TRUE
130 | bus_LV_412-6_0_6_node_128 | 0.4 | n |  | TRUE
131 | bus_LV_412-6_0_6_node_126 | 0.4 | n |  | TRUE
132 | bus_LV_412-6_0_6_node_131 | 0.4 | n |  | TRUE
133 | bus_LV_412-6_0_6_node_143 | 0.4 | n |  | TRUE
134 | bus_LV_412-6_0_6_node_124 | 0.4 | n |  | TRUE
135 | bus_LV_412-6_0_6_node_121 | 0.4 | n |  | TRUE
136 | bus_LV_412-6_0_6_node_122 | 0.4 | n |  | TRUE
137 | bus_LV_412-6_0_6_node_123 | 0.4 | n |  | TRUE
138 | bus_LV_412-6_0_6_node_142 | 0.4 | n |  | TRUE
139 | bus_LV_412-6_0_6_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_412-6_0_6_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_412-6_0_6_node_134 | 0.4 | n |  | TRUE
142 | bus_LV_412-6_0_6_node_135 | 0.4 | n |  | TRUE
143 | bus_LV_412-6_0_6_node_136 | 0.4 | n |  | TRUE
144 | bus_LV_412-6_0_6_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_412-6_0_6_node_138 | 0.4 | n |  | TRUE
146 | bus_LV_412-6_0_6_node_139 | 0.4 | n |  | TRUE
147 | bus_LV_412-6_0_6_node_140 | 0.4 | n |  | TRUE
148 | bus_LV_412-6_0_6_node_153 | 0.4 | n |  | TRUE
149 | bus_LV_412-6_0_6_node_141 | 0.4 | n |  | TRUE
150 | bus_LV_412-6_0_6_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_412-6_0_6_node_154 | 0.4 | n |  | TRUE
152 | bus_LV_412-6_0_6_node_145 | 0.4 | n |  | TRUE
153 | bus_LV_412-6_0_6_node_144 | 0.4 | n |  | TRUE
154 | bus_LV_412-6_0_6_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_412-6_0_6_node_150 | 0.4 | n |  | TRUE
156 | bus_LV_412-6_0_6_node_148 | 0.4 | n |  | TRUE
157 | bus_LV_412-6_0_6_node_149 | 0.4 | n |  | TRUE
158 | bus_LV_412-6_0_6_node_155 | 0.4 | n |  | TRUE
159 | bus_LV_412-6_0_6_node_157 | 0.4 | n |  | TRUE
160 | bus_LV_412-6_0_6_node_158 | 0.4 | n |  | TRUE
161 | bus_LV_412-6_0_6_node_159 | 0.4 | n |  | TRUE
162 | bus_LV_412-6_0_6_node_160 | 0.4 | n |  | TRUE
163 | bus_LV_412-6_0_6_node_161 | 0.4 | n |  | TRUE
164 | bus_LV_412-6_0_6_node_162 | 0.4 | n |  | TRUE
165 | bus_LV_412-6_0_6_node_167 | 0.4 | n |  | TRUE
166 | bus_LV_412-6_0_6_node_166 | 0.4 | n |  | TRUE
167 | bus_LV_412-6_0_6_node_169 | 0.4 | n |  | TRUE
168 | bus_MV_446_1_node_109 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_412-6_0_6_load_0 | 0 | 0.00063946 | 0.00016026 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_412-6_0_6_load_1 | 1 | 0.00023013 | 5.7677e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_412-6_0_6_load_2 | 2 | 0.00082507 | 0.00020678 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_412-6_0_6_load_3 | 3 | 0.0018823 | 0.00047175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_412-6_0_6_load_165 | 5 | 0.00029429 | 7.3757e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_412-6_0_6_load_5 | 7 | 0.00046207 | 0.00011581 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_412-6_0_6_load_7 | 8 | 0.0041155 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_412-6_0_6_load_11 | 11 | 0.0029437 | 0.00073776 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_412-6_0_6_load_129 | 13 | 0.001379 | 0.00034561 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_412-6_0_6_load_127 | 14 | 0.0023447 | 0.00058764 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_412-6_0_6_load_152 | 15 | 0.0035791 | 0.00089701 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_412-6_0_6_load_107 | 16 | 0.0010279 | 0.00025763 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_412-6_0_6_load_125 | 17 | 0.0044467 | 0.0011144 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_412-6_0_6_load_151 | 18 | 0.0015574 | 0.00039033 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_412-6_0_6_load_12 | 19 | 0.0082345 | 0.0020638 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_412-6_0_6_load_17 | 22 | 0.0066674 | 0.001671 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_412-6_0_6_load_60 | 23 | 0.012534 | 0.0031412 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_412-6_0_6_load_19 | 24 | 0.0022027 | 0.00055205 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_412-6_0_6_load_18 | 25 | 0.011301 | 0.0028323 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_412-6_0_6_load_61 | 26 | 0.0064279 | 0.001611 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_412-6_0_6_load_20 | 27 | 0.0020569 | 0.00051551 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_412-6_0_6_load_21 | 28 | 0.003653 | 0.00091554 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_412-6_0_6_load_22 | 29 | 0.0032968 | 0.00082626 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_412-6_0_6_load_53 | 30 | 0.0030189 | 0.0007566 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_412-6_0_6_load_54 | 31 | 0.0036325 | 0.0009104 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_412-6_0_6_load_23 | 32 | 0.0021985 | 0.00055099 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_412-6_0_6_load_24 | 33 | 0.0076733 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_412-6_0_6_load_25 | 34 | 0.013233 | 0.0033165 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_412-6_0_6_load_26 | 35 | 0.0085331 | 0.0021386 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_412-6_0_6_load_27 | 36 | 0.002039 | 0.00051101 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_412-6_0_6_load_28 | 37 | 0.0077855 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_412-6_0_6_load_29 | 38 | 0.0011213 | 0.00028102 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_412-6_0_6_load_43 | 39 | 0.0053099 | 0.0013308 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_412-6_0_6_load_30 | 40 | 0.001949 | 0.00048846 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_412-6_0_6_load_88 | 41 | 0.0063625 | 0.0015946 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_412-6_0_6_load_31 | 42 | 0.0014228 | 0.00035659 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_412-6_0_6_load_32 | 43 | 0.00085317 | 0.00021383 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_412-6_0_6_load_33 | 44 | 0.00063297 | 0.00015864 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_412-6_0_6_load_34 | 45 | 0.0016279 | 0.000408 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_412-6_0_6_load_36 | 47 | 0.0029391 | 0.00073661 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_412-6_0_6_load_37 | 48 | 0.0029389 | 0.00073656 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_412-6_0_6_load_38 | 49 | 0.0018919 | 0.00047416 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_412-6_0_6_load_39 | 50 | 0.0034351 | 0.00086092 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_412-6_0_6_load_40 | 51 | 0.0031825 | 0.00079761 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_412-6_0_6_load_103 | 52 | 0.001891 | 0.00047392 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_412-6_0_6_load_41 | 53 | 0.0019573 | 0.00049054 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_412-6_0_6_load_101 | 54 | 0.0028307 | 0.00070943 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_412-6_0_6_load_42 | 55 | 0.0015383 | 0.00038554 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_412-6_0_6_load_113 | 56 | 0.0023747 | 0.00059515 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_412-6_0_6_load_112 | 57 | 0.0026044 | 0.00065272 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_412-6_0_6_load_44 | 58 | 0.01022 | 0.0025614 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_412-6_0_6_load_45 | 59 | 0.010081 | 0.0025265 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_412-6_0_6_load_171 | 61 | 0.005164 | 0.0012942 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_412-6_0_6_load_47 | 62 | 0.0033059 | 0.00082854 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_412-6_0_6_load_48 | 63 | 0.012312 | 0.0030857 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_412-6_0_6_load_49 | 65 | 0.0090375 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_412-6_0_6_load_50 | 67 | 0.010411 | 0.0026093 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_412-6_0_6_load_51 | 68 | 0.010709 | 0.0026839 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_412-6_0_6_load_156 | 69 | 0.026482 | 0.0066371 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_412-6_0_6_load_59 | 70 | 0.009069 | 0.0022729 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_412-6_0_6_load_56 | 71 | 0.011147 | 0.0027938 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_412-6_0_6_load_55 | 73 | 0.0034452 | 0.00086346 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_412-6_0_6_load_65 | 74 | 0.0090879 | 0.0022776 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_412-6_0_6_load_66 | 75 | 0.009726 | 0.0024376 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_412-6_0_6_load_62 | 76 | 0.0089645 | 0.0022467 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_412-6_0_6_load_63 | 77 | 0.0051283 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_412-6_0_6_load_64 | 78 | 0.0055375 | 0.0013878 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_412-6_0_6_load_72 | 79 | 0.002844 | 0.00071278 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_412-6_0_6_load_73 | 80 | 0.0052271 | 0.00131 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_412-6_0_6_load_67 | 81 | 0.0093423 | 0.0023414 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_412-6_0_6_load_68 | 82 | 0.0073537 | 0.001843 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_412-6_0_6_load_69 | 83 | 0.0096203 | 0.0024111 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_412-6_0_6_load_70 | 84 | 0.0032244 | 0.00080811 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_412-6_0_6_load_71 | 85 | 0.0077861 | 0.0019514 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_412-6_0_6_load_82 | 86 | 0.0046804 | 0.001173 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_412-6_0_6_load_80 | 87 | 0.0031206 | 0.0007821 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_412-6_0_6_load_74 | 88 | 0.0029924 | 0.00074996 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_412-6_0_6_load_75 | 89 | 0.0028807 | 0.00072196 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_412-6_0_6_load_76 | 90 | 0.0067354 | 0.0016881 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_412-6_0_6_load_78 | 92 | 0.0043269 | 0.0010844 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_412-6_0_6_load_79 | 93 | 0.004346 | 0.0010892 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_412-6_0_6_load_85 | 94 | 0.00099854 | 0.00025026 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_412-6_0_6_load_93 | 96 | 0.0017088 | 0.00042828 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_412-6_0_6_load_96 | 98 | 0.001942 | 0.00048672 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_412-6_0_6_load_81 | 99 | 0.0061621 | 0.0015444 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_412-6_0_6_load_83 | 100 | 0.0035776 | 0.00089664 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_412-6_0_6_load_87 | 102 | 0.0027657 | 0.00069316 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_412-6_0_6_load_89 | 103 | 0.0026963 | 0.00067576 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_412-6_0_6_load_168 | 105 | 0.0002379 | 5.9623e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_412-6_0_6_load_95 | 106 | 0.0014282 | 0.00035795 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_412-6_0_6_load_90 | 107 | 0.0097861 | 0.0024526 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_412-6_0_6_load_92 | 108 | 0.0013426 | 0.00033649 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_412-6_0_6_load_94 | 109 | 0.0019411 | 0.00048648 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_412-6_0_6_load_102 | 111 | 0.0014839 | 0.00037189 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_412-6_0_6_load_97 | 112 | 0.0018025 | 0.00045176 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_412-6_0_6_load_99 | 114 | 0.002852 | 0.00071477 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_412-6_0_6_load_100 | 115 | 0.0015315 | 0.00038382 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_412-6_0_6_load_106 | 117 | 0.0018728 | 0.00046936 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_412-6_0_6_load_108 | 118 | 0.0021737 | 0.00054477 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_412-6_0_6_load_109 | 119 | 0.0030259 | 0.00075836 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_412-6_0_6_load_110 | 120 | 0.0020925 | 0.00052442 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_412-6_0_6_load_111 | 121 | 0.0023115 | 0.00057931 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_412-6_0_6_load_114 | 122 | 0.0025063 | 0.00062814 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_412-6_0_6_load_115 | 123 | 0.001008 | 0.00025264 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_412-6_0_6_load_116 | 124 | 0.0022955 | 0.00057532 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_412-6_0_6_load_117 | 125 | 0.0030762 | 0.00077097 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_412-6_0_6_load_119 | 127 | 0.0029182 | 0.00073137 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_412-6_0_6_load_130 | 129 | 0.0013741 | 0.00034437 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_412-6_0_6_load_128 | 130 | 0.0012134 | 0.00030412 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_412-6_0_6_load_126 | 131 | 0.0012755 | 0.00031966 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_412-6_0_6_load_131 | 132 | 0.0015553 | 0.0003898 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_412-6_0_6_load_143 | 133 | 0.0013195 | 0.00033069 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_412-6_0_6_load_124 | 134 | 0.003299 | 0.00082681 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_412-6_0_6_load_121 | 135 | 0.0028322 | 0.00070983 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_412-6_0_6_load_122 | 136 | 0.0010662 | 0.00026722 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_412-6_0_6_load_123 | 137 | 0.0032852 | 0.00082334 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_412-6_0_6_load_142 | 138 | 0.0012712 | 0.00031859 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_412-6_0_6_load_132 | 139 | 0.0016614 | 0.00041638 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_412-6_0_6_load_133 | 140 | 0.0014482 | 0.00036295 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_412-6_0_6_load_134 | 141 | 0.0018267 | 0.00045782 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_412-6_0_6_load_135 | 142 | 0.0012085 | 0.00030288 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_412-6_0_6_load_136 | 143 | 0.0014589 | 0.00036563 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_412-6_0_6_load_137 | 144 | 0.0013099 | 0.00032829 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_412-6_0_6_load_138 | 145 | 0.0013828 | 0.00034657 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_412-6_0_6_load_140 | 147 | 0.0014589 | 0.00036564 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_412-6_0_6_load_153 | 148 | 0.00069732 | 0.00017477 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_412-6_0_6_load_141 | 149 | 0.0015138 | 0.0003794 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_412-6_0_6_load_146 | 150 | 0.0011868 | 0.00029744 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_412-6_0_6_load_154 | 151 | 0.00066088 | 0.00016563 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_412-6_0_6_load_144 | 153 | 0.0014756 | 0.00036981 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_412-6_0_6_load_147 | 154 | 0.00095764 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_412-6_0_6_load_150 | 155 | 0.0014924 | 0.00037404 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_412-6_0_6_load_148 | 156 | 0.0016095 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_412-6_0_6_load_149 | 157 | 0.0011921 | 0.00029877 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_412-6_0_6_load_155 | 158 | 0.00090625 | 0.00022713 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_412-6_0_6_load_157 | 159 | 0.00087176 | 0.00021848 | 0 | 0 |  | 1 | TRUE | wye
136 | LV_412-6_0_6_load_158 | 160 | 0.00067753 | 0.0001698 | 0 | 0 |  | 1 | TRUE | wye
137 | LV_412-6_0_6_load_159 | 161 | 0.00044812 | 0.00011231 | 0 | 0 |  | 1 | TRUE | wye
138 | LV_412-6_0_6_load_161 | 163 | 0.0019422 | 0.00048677 | 0 | 0 |  | 1 | TRUE | wye
139 | LV_412-6_0_6_load_162 | 164 | 0.00045739 | 0.00011463 | 0 | 0 |  | 1 | TRUE | wye
140 | LV_412-6_0_6_load_167 | 165 | 0.0015129 | 0.00037917 | 0 | 0 |  | 1 | TRUE | wye
141 | LV_412-6_0_6_load_166 | 166 | 0.00099196 | 0.00024861 | 0 | 0 |  | 1 | TRUE | wye
142 | LV_412-6_0_6_load_169 | 167 | 0.00030139 | 7.5534e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 100 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_412-6_0_6_line_0 |  | 0 | 1 | 0.0065354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_412-6_0_6_line_1 |  | 0 | 2 | 0.012126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_412-6_0_6_line_2 |  | 1 | 3 | 0.022927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_412-6_0_6_line_3 |  | 3 | 7 | 0.0072745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_412-6_0_6_line_4 |  | 4 | 5 | 0.0471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_412-6_0_6_line_5 |  | 4 | 6 | 0.36509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_412-6_0_6_line_6 |  | 5 | 166 | 0.004612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_412-6_0_6_line_7 |  | 6 | 7 | 0.056524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_412-6_0_6_line_8 |  | 8 | 9 | 0.032831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_412-6_0_6_line_9 |  | 9 | 10 | 0.0912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_412-6_0_6_line_10 |  | 10 | 11 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_412-6_0_6_line_11 |  | 11 | 15 | 0.0077034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_412-6_0_6_line_12 |  | 12 | 13 | 0.031909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_412-6_0_6_line_13 |  | 12 | 14 | 0.016016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_412-6_0_6_line_14 |  | 13 | 16 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_412-6_0_6_line_15 |  | 14 | 17 | 0.0006086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_412-6_0_6_line_16 |  | 15 | 18 | 0.0058495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_412-6_0_6_line_17 |  | 16 | 116 | 0.032145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_412-6_0_6_line_18 |  | 17 | 137 | 0.022324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_412-6_0_6_line_19 |  | 18 | 157 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_412-6_0_6_line_20 |  | 19 | 20 | 0.012082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_412-6_0_6_line_21 |  | 20 | 21 | 0.01457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_412-6_0_6_line_22 |  | 21 | 22 | 0.015241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_412-6_0_6_line_23 |  | 22 | 23 | 0.013666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_412-6_0_6_line_24 |  | 23 | 26 | 0.020112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_412-6_0_6_line_25 |  | 24 | 25 | 0.0031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_412-6_0_6_line_26 |  | 25 | 27 | 0.0016175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_412-6_0_6_line_27 |  | 26 | 76 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_412-6_0_6_line_28 |  | 27 | 28 | 0.0050183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_412-6_0_6_line_29 |  | 28 | 29 | 0.0047278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_412-6_0_6_line_30 |  | 29 | 30 | 0.00432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_412-6_0_6_line_31 |  | 30 | 31 | 0.0049799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_412-6_0_6_line_32 |  | 31 | 72 | 0.0027639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_412-6_0_6_line_33 |  | 32 | 33 | 0.0075804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_412-6_0_6_line_34 |  | 32 | 34 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_412-6_0_6_line_35 |  | 33 | 35 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_412-6_0_6_line_36 |  | 34 | 36 | 0.0028827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_412-6_0_6_line_37 |  | 35 | 37 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_412-6_0_6_line_38 |  | 36 | 38 | 0.01731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_412-6_0_6_line_39 |  | 37 | 39 | 0.0057714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_412-6_0_6_line_40 |  | 38 | 40 | 0.0074356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_412-6_0_6_line_41 |  | 39 | 41 | 0.0098877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_412-6_0_6_line_42 |  | 40 | 42 | 0.001401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_412-6_0_6_line_43 |  | 42 | 43 | 0.012208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_412-6_0_6_line_44 |  | 43 | 44 | 0.0092314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_412-6_0_6_line_45 |  | 44 | 45 | 0.010308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_412-6_0_6_line_46 |  | 45 | 46 | 0.0095258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_412-6_0_6_line_47 |  | 46 | 47 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_412-6_0_6_line_48 |  | 46 | 48 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_412-6_0_6_line_49 |  | 47 | 49 | 0.024191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_412-6_0_6_line_50 |  | 48 | 50 | 0.0095395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_412-6_0_6_line_51 |  | 49 | 51 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_412-6_0_6_line_52 |  | 50 | 52 | 0.012684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_412-6_0_6_line_53 |  | 51 | 53 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_412-6_0_6_line_54 |  | 52 | 54 | 0.010967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_412-6_0_6_line_55 |  | 53 | 55 | 0.0084184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_412-6_0_6_line_56 |  | 54 | 114 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_412-6_0_6_line_57 |  | 55 | 56 | 0.011722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_412-6_0_6_line_58 |  | 56 | 57 | 0.013905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_412-6_0_6_line_59 |  | 57 | 121 | 0.010569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_412-6_0_6_line_60 |  | 58 | 59 | 0.0064688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_412-6_0_6_line_61 |  | 58 | 60 | 0.022842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_412-6_0_6_line_62 |  | 59 | 61 | 0.072318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_412-6_0_6_line_63 |  | 60 | 62 | 0.020219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_412-6_0_6_line_64 |  | 60 | 63 | 0.027612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_412-6_0_6_line_65 |  | 62 | 64 | 0.00049485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_412-6_0_6_line_66 |  | 63 | 65 | 0.015668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_412-6_0_6_line_67 |  | 64 | 66 | 0.016475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_412-6_0_6_line_68 |  | 65 | 67 | 0.039857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_412-6_0_6_line_69 |  | 66 | 70 | 0.03541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_412-6_0_6_line_70 |  | 66 | 71 | 0.0028161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_412-6_0_6_line_71 |  | 67 | 68 | 0.013693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_412-6_0_6_line_72 |  | 68 | 69 | 0.037455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_412-6_0_6_line_73 |  | 70 | 74 | 0.010566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_412-6_0_6_line_74 |  | 71 | 73 | 0.014343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_412-6_0_6_line_75 |  | 72 | 73 | 0.0039279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_412-6_0_6_line_76 |  | 74 | 75 | 0.0032163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_412-6_0_6_line_77 |  | 75 | 81 | 0.032676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_412-6_0_6_line_78 |  | 76 | 77 | 0.034742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_412-6_0_6_line_79 |  | 77 | 78 | 0.022528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_412-6_0_6_line_80 |  | 78 | 79 | 0.01984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_412-6_0_6_line_81 |  | 79 | 80 | 0.0017906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_412-6_0_6_line_82 |  | 80 | 88 | 0.0048169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_412-6_0_6_line_83 |  | 81 | 82 | 0.0054583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_412-6_0_6_line_84 |  | 82 | 83 | 0.0082547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_412-6_0_6_line_85 |  | 83 | 84 | 0.028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_412-6_0_6_line_86 |  | 84 | 85 | 0.0026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_412-6_0_6_line_87 |  | 85 | 86 | 0.010926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_412-6_0_6_line_88 |  | 86 | 87 | 0.0071832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_412-6_0_6_line_89 |  | 87 | 99 | 0.0082814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_412-6_0_6_line_90 |  | 88 | 89 | 0.022398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_412-6_0_6_line_91 |  | 89 | 90 | 0.031191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_412-6_0_6_line_92 |  | 90 | 91 | 0.054544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_412-6_0_6_line_93 |  | 91 | 92 | 0.0057529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_412-6_0_6_line_94 |  | 91 | 93 | 0.0474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_412-6_0_6_line_95 |  | 92 | 94 | 0.0094023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_412-6_0_6_line_96 |  | 93 | 95 | 0.031581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_412-6_0_6_line_97 |  | 94 | 96 | 0.014549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_412-6_0_6_line_98 |  | 95 | 97 | 0.038993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_412-6_0_6_line_99 |  | 95 | 98 | 0.024958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_412-6_0_6_line_100 |  | 96 | 104 | 0.024429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_412-6_0_6_line_101 |  | 97 | 105 | 0.034041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_412-6_0_6_line_102 |  | 98 | 106 | 0.0009916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_412-6_0_6_line_103 |  | 99 | 100 | 0.011003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_412-6_0_6_line_104 |  | 100 | 101 | 0.02053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_412-6_0_6_line_105 |  | 101 | 102 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_412-6_0_6_line_106 |  | 102 | 103 | 0.0044262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_412-6_0_6_line_107 |  | 103 | 107 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_412-6_0_6_line_108 |  | 104 | 108 | 0.029504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_412-6_0_6_line_109 |  | 104 | 107 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_412-6_0_6_line_110 |  | 105 | 113 | 0.021247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_412-6_0_6_line_111 |  | 106 | 112 | 0.0078276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_412-6_0_6_line_112 |  | 108 | 109 | 0.0019446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_412-6_0_6_line_113 |  | 109 | 110 | 0.017304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_412-6_0_6_line_114 |  | 110 | 111 | 0.017078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_412-6_0_6_line_115 |  | 111 | 115 | 0.020052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_412-6_0_6_line_116 |  | 113 | 165 | 0.011766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_412-6_0_6_line_117 |  | 113 | 164 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_412-6_0_6_line_118 |  | 114 | 115 | 0.0026294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
119 | LV_412-6_0_6_line_119 |  | 116 | 117 | 0.015187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_412-6_0_6_line_120 |  | 117 | 118 | 0.0055035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_412-6_0_6_line_121 |  | 118 | 119 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_412-6_0_6_line_122 |  | 119 | 120 | 0.0077248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_412-6_0_6_line_123 |  | 120 | 121 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
124 | LV_412-6_0_6_line_124 |  | 122 | 123 | 0.0016076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_412-6_0_6_line_125 |  | 123 | 124 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_412-6_0_6_line_126 |  | 124 | 125 | 0.030175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_412-6_0_6_line_127 |  | 125 | 126 | 0.014881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_412-6_0_6_line_128 |  | 126 | 127 | 0.0072506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_412-6_0_6_line_129 |  | 126 | 128 | 0.02284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_412-6_0_6_line_130 |  | 127 | 129 | 0.0052714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_412-6_0_6_line_131 |  | 128 | 130 | 0.010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_412-6_0_6_line_132 |  | 128 | 131 | 0.015336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_412-6_0_6_line_133 |  | 129 | 132 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_412-6_0_6_line_134 |  | 130 | 133 | 0.0042319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_412-6_0_6_line_135 |  | 131 | 134 | 0.021748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_412-6_0_6_line_136 |  | 132 | 139 | 0.0069784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_412-6_0_6_line_137 |  | 133 | 138 | 0.01961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_412-6_0_6_line_138 |  | 134 | 136 | 0.0038299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_412-6_0_6_line_139 |  | 135 | 136 | 0.019077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_412-6_0_6_line_140 |  | 135 | 137 | 0.0031334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_412-6_0_6_line_141 |  | 138 | 153 | 0.00095735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_412-6_0_6_line_142 |  | 139 | 140 | 0.0090218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_412-6_0_6_line_143 |  | 140 | 141 | 0.00071794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_412-6_0_6_line_144 |  | 141 | 142 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_412-6_0_6_line_145 |  | 142 | 143 | 0.0027545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_412-6_0_6_line_146 |  | 143 | 144 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_412-6_0_6_line_147 |  | 144 | 145 | 0.00040282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_412-6_0_6_line_148 |  | 145 | 146 | 0.015743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_412-6_0_6_line_149 |  | 146 | 147 | 0.0065636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_412-6_0_6_line_150 |  | 147 | 148 | 0.0048385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_412-6_0_6_line_151 |  | 148 | 151 | 0.008684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_412-6_0_6_line_152 |  | 149 | 150 | 0.022005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_412-6_0_6_line_153 |  | 150 | 152 | 0.0080554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_412-6_0_6_line_154 |  | 151 | 158 | 0.020425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_412-6_0_6_line_155 |  | 152 | 154 | 0.012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_412-6_0_6_line_156 |  | 152 | 153 | 0.016864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_412-6_0_6_line_157 |  | 154 | 155 | 0.021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_412-6_0_6_line_158 |  | 155 | 156 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_412-6_0_6_line_159 |  | 156 | 157 | 0.0067771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_412-6_0_6_line_160 |  | 159 | 160 | 0.0063395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_412-6_0_6_line_161 |  | 160 | 161 | 0.017944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_412-6_0_6_line_162 |  | 161 | 162 | 0.024329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_412-6_0_6_line_163 |  | 162 | 163 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_412-6_0_6_line_164 |  | 162 | 164 | 0.016716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_412-6_0_6_line_165 |  | 165 | 167 | 0.0026383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_412-6_0_6_line_166 |  | 166 | 167 | 0.01158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_412-6_0_6_trafo_83 | 0.63 MVA 20/0.4 kV | 168 | 100 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2612492.1166 | 1214396.0708 | 2612486.7083 | 1214392.4018
1 | 2612492.1166 | 1214396.0708 | 2612498.7077 | 1214400.5422 | 2612501.1579 | 1214403.9055
2 | 2612467.7351 | 1214379.5304 | 2612486.7083 | 1214392.4018
3 | 2612467.7351 | 1214379.5304 | 2612461.7151 | 1214375.4465
4 | 2612067.9627 | 1214230.13 | 2612028.7652 | 1214204.0161
5 | 2612067.9627 | 1214230.13 | 2612414.9393 | 1214343.7138
6 | 2612024.927 | 1214201.459 | 2612028.7652 | 1214204.0161
7 | 2612414.9393 | 1214343.7138 | 2612461.7151 | 1214375.4465
8 | 2612114.8753 | 1213891.445 | 2612144.3291 | 1213876.9426
9 | 2612033.3453 | 1213932.3149 | 2612114.8753 | 1213891.445
10 | 2612033.3453 | 1213932.3149 | 2612024.2036 | 1213918.9498
11 | 2612019.8545 | 1213912.5915 | 2612024.2036 | 1213918.9498
12 | 2611982.5072 | 1213957.9497 | 2611953.9512 | 1213972.1878
13 | 2611982.5072 | 1213957.9497 | 2611974.0351 | 1213944.3578
14 | 2611953.9512 | 1213972.1878 | 2611943.0433 | 1213977.6265 | 2611939.4583 | 1213979.7496
15 | 2611974.0351 | 1213944.3578 | 2611973.7132 | 1213943.8413
16 | 2612016.5521 | 1213907.7633 | 2612019.8545 | 1213912.5915
17 | 2611911.7995 | 1213996.1303 | 2611939.4583 | 1213979.7496
18 | 2611961.9045 | 1213924.8963 | 2611973.7132 | 1213943.8413
19 | 2612016.5521 | 1213907.7633 | 2612007.1385 | 1213894.0008
20 | 2611678.1318 | 1214260.675 | 2611670.1504 | 1214269.7451
21 | 2611678.1318 | 1214260.675 | 2611668.9951 | 1214249.3064
22 | 2611668.9951 | 1214249.3064 | 2611680.4379 | 1214239.239
23 | 2611690.6982 | 1214230.212 | 2611680.4379 | 1214239.239
24 | 2611690.6982 | 1214230.212 | 2611705.7981 | 1214216.9272
25 | 2611604.8887 | 1214211.9599 | 2611607.3095 | 1214209.942
26 | 2611608.5519 | 1214208.9064 | 2611607.3095 | 1214209.942
27 | 2611716.0939 | 1214207.869 | 2611705.7981 | 1214216.9272
28 | 2611608.5519 | 1214208.9064 | 2611612.4066 | 1214205.6933
29 | 2611616.0382 | 1214202.6661 | 2611612.4066 | 1214205.6933
30 | 2611616.0382 | 1214202.6661 | 2611616.0382 | 1214202.6661 | 2611619.4754 | 1214200.0493
31 | 2611619.4754 | 1214200.0493 | 2611623.4376 | 1214197.0326
32 | 2611625.6367 | 1214195.3584 | 2611623.4376 | 1214197.0326
33 | 2611736.8999 | 1214007.4694 | 2611736.8999 | 1214007.4694 | 2611742.2774 | 1214002.1266
34 | 2611756.1312 | 1213988.362 | 2611742.2774 | 1214002.1266
35 | 2611746.7267 | 1214019.6231 | 2611736.8999 | 1214007.4694
36 | 2611756.1312 | 1213988.362 | 2611758.1762 | 1213986.3302
37 | 2611746.7267 | 1214019.6231 | 2611758.5817 | 1214034.2852
38 | 2611770.4558 | 1213974.1296 | 2611758.1762 | 1213986.3302
39 | 2611758.5817 | 1214034.2852 | 2611762.2104 | 1214038.7732
40 | 2611770.4558 | 1213974.1296 | 2611775.7305 | 1213968.8888
41 | 2611762.2104 | 1214038.7732 | 2611768.4272 | 1214046.4621
42 | 2611776.7244 | 1213967.9014 | 2611775.7305 | 1213968.8888
43 | 2611776.7244 | 1213967.9014 | 2611785.3845 | 1213959.297
44 | 2611785.3845 | 1213959.297 | 2611791.9331 | 1213952.7905
45 | 2611799.2458 | 1213945.5249 | 2611791.9331 | 1213952.7905
46 | 2611806.0033 | 1213938.8109 | 2611799.2458 | 1213945.5249
47 | 2611806.0033 | 1213938.8109 | 2611819.4446 | 1213924.7785
48 | 2611806.0033 | 1213938.8109 | 2611814.4296 | 1213951.4327
49 | 2611819.4446 | 1213924.7785 | 2611836.1783 | 1213907.309
50 | 2611819.7263 | 1213959.3666 | 2611814.4296 | 1213951.4327
51 | 2611836.1783 | 1213907.309 | 2611844.916 | 1213898.1871 | 2611844.916 | 1213898.1871
52 | 2611819.7263 | 1213959.3666 | 2611826.7689 | 1213969.9157
53 | 2611851.8998 | 1213908.414 | 2611844.916 | 1213898.1871
54 | 2611832.8581 | 1213979.0366 | 2611826.7689 | 1213969.9157
55 | 2611856.6472 | 1213915.3661 | 2611851.8998 | 1213908.414
56 | 2611841.9696 | 1213992.6846 | 2611832.8581 | 1213979.0366
57 | 2611856.6472 | 1213915.3661 | 2611863.2575 | 1213925.046
58 | 2611871.0992 | 1213936.5293 | 2611863.2575 | 1213925.046
59 | 2611871.0992 | 1213936.5293 | 2611877.0596 | 1213945.2576
60 | 2611593.1335 | 1214151.493 | 2611594.8688 | 1214153.453 | 2611597.3694 | 1214156.3817
61 | 2611617.4414 | 1214152.6629 | 2611609.6605 | 1214158.6846 | 2611605.3074 | 1214159.4432 | 2611600.0851 | 1214158.0212 | 2611597.3694 | 1214156.3817
62 | 2611593.1335 | 1214151.493 | 2611523.7784 | 1214171.9819
63 | 2611617.4414 | 1214152.6629 | 2611630.3991 | 1214168.1844
64 | 2611617.4414 | 1214152.6629 | 2611607.6974 | 1214140.993 | 2611616.8648 | 1214132.6297
65 | 2611630.3991 | 1214168.1844 | 2611630.7163 | 1214168.5643
66 | 2611628.4398 | 1214122.0699 | 2611616.8648 | 1214132.6297
67 | 2611630.7163 | 1214168.5643 | 2611641.2861 | 1214181.2253
68 | 2611654.0358 | 1214092.9546 | 2611654.0343 | 1214092.9559 | 2611652.7989 | 1214099.4571 | 2611632.7964 | 1214118.0955 | 2611628.4398 | 1214122.0699
69 | 2611641.2861 | 1214181.2253 | 2611666.0256 | 1214159.6279 | 2611667.9769 | 1214157.9552
70 | 2611641.2861 | 1214181.2253 | 2611639.1961 | 1214183.1127
71 | 2611654.0358 | 1214092.9546 | 2611664.3471 | 1214083.945
72 | 2611692.3926 | 1214059.1226 | 2611686.2678 | 1214064.7917 | 2611664.3471 | 1214083.945
73 | 2611667.9769 | 1214157.9552 | 2611675.9992 | 1214151.0784
74 | 2611628.5518 | 1214192.7258 | 2611639.1961 | 1214183.1127
75 | 2611625.6367 | 1214195.3584 | 2611628.5518 | 1214192.7258
76 | 2611678.4411 | 1214148.9852 | 2611675.9992 | 1214151.0784
77 | 2611703.2495 | 1214127.7192 | 2611678.4411 | 1214148.9852
78 | 2611716.0939 | 1214207.869 | 2611723.0847 | 1214201.7184 | 2611742.2497 | 1214185.0024
79 | 2611742.2497 | 1214185.0024 | 2611759.2272 | 1214170.1943
80 | 2611759.2272 | 1214170.1943 | 2611774.179 | 1214157.153
81 | 2611775.5285 | 1214155.976 | 2611774.179 | 1214157.153
82 | 2611775.5285 | 1214155.976 | 2611778.7873 | 1214153.1336 | 2611779.2798 | 1214153.1437
83 | 2611703.2495 | 1214127.7192 | 2611707.3936 | 1214124.1668
84 | 2611713.6609 | 1214118.7945 | 2611707.3936 | 1214124.1668
85 | 2611713.6609 | 1214118.7945 | 2611726.2604 | 1214107.9941 | 2611735.6638 | 1214101.4029
86 | 2611737.8368 | 1214099.8798 | 2611735.6638 | 1214101.4029
87 | 2611737.8368 | 1214099.8798 | 2611746.7841 | 1214093.6082
88 | 2611746.7841 | 1214093.6082 | 2611752.6663 | 1214089.4852
89 | 2611752.6663 | 1214089.4852 | 2611754.0342 | 1214088.5264 | 2611759.7809 | 1214085.2583
90 | 2611799.092 | 1214146.7815 | 2611791.895 | 1214153.404 | 2611779.2798 | 1214153.1437
91 | 2611799.092 | 1214146.7815 | 2611822.0443 | 1214125.6616
92 | 2611862.1817 | 1214088.7284 | 2611822.0443 | 1214125.6616
93 | 2611862.1817 | 1214088.7284 | 2611857.8402 | 1214084.9539
94 | 2611862.1817 | 1214088.7284 | 2611869.5658 | 1214095.3579 | 2611898.9347 | 1214118.6382
95 | 2611850.7446 | 1214078.7849 | 2611857.8402 | 1214084.9539
96 | 2611923.6834 | 1214138.2561 | 2611898.9347 | 1214118.6382
97 | 2611850.7446 | 1214078.7849 | 2611839.7653 | 1214069.2394
98 | 2611923.6834 | 1214138.2561 | 2611954.2944 | 1214162.5196
99 | 2611923.6834 | 1214138.2561 | 2611930.8821 | 1214134.9352 | 2611936.8074 | 1214130.3556 | 2611939.8171 | 1214125.4588 | 2611940.4843 | 1214121.7241
100 | 2611822.861 | 1214051.8411 | 2611827.526 | 1214058.5985 | 2611839.7653 | 1214069.2394
101 | 2611954.2944 | 1214162.5196 | 2611975.6847 | 1214179.483 | 2611981.8359 | 1214182.2398
102 | 2611940.4289 | 1214120.74 | 2611940.516 | 1214121.5469 | 2611940.4843 | 1214121.7241
103 | 2611769.3453 | 1214079.819 | 2611759.7809 | 1214085.2583
104 | 2611787.1916 | 1214069.6698 | 2611769.3453 | 1214079.819
105 | 2611787.1916 | 1214069.6698 | 2611800.3242 | 1214063.1057
106 | 2611800.3242 | 1214063.1057 | 2611804.2833 | 1214061.1268
107 | 2611804.2833 | 1214061.1268 | 2611813.613 | 1214056.4636
108 | 2611822.861 | 1214051.8411 | 2611847.7853 | 1214036.0525
109 | 2611822.861 | 1214051.8411 | 2611813.613 | 1214056.4636
110 | 2612001.225 | 1214190.9294 | 2611981.8359 | 1214182.2398
111 | 2611937.9119 | 1214113.4927 | 2611940.0611 | 1214117.3325 | 2611940.4289 | 1214120.74
112 | 2611847.7853 | 1214036.0525 | 2611849.4281 | 1214035.0119
113 | 2611864.0456 | 1214025.7522 | 2611849.4281 | 1214035.0119
114 | 2611864.0456 | 1214025.7522 | 2611854.5633 | 1214011.5487
115 | 2611854.5633 | 1214011.5487 | 2611843.4295 | 1213994.8715
116 | 2612001.225 | 1214190.9294 | 2612012.0808 | 1214195.4669
117 | 2612001.225 | 1214190.9294 | 2611996.4706 | 1214203.6156
118 | 2611841.9696 | 1213992.6846 | 2611843.4295 | 1213994.8715
119 | 2611911.7995 | 1213996.1303 | 2611903.2351 | 1213983.5887
120 | 2611900.1315 | 1213979.0438 | 2611903.2351 | 1213983.5887
121 | 2611900.1315 | 1213979.0438 | 2611891.2655 | 1213966.0606
122 | 2611886.9092 | 1213959.6813 | 2611891.2655 | 1213966.0606
123 | 2611886.9092 | 1213959.6813 | 2611877.0596 | 1213945.2576
124 | 2611932.95 | 1213937.7087 | 2611932.0154 | 1213936.4008
125 | 2611921.4806 | 1213921.6579 | 2611932.0154 | 1213936.4008
126 | 2611921.4806 | 1213921.6579 | 2611918.5329 | 1213917.5327 | 2611923.4571 | 1213904.7242 | 2611917.0999 | 1213895.2822
127 | 2611908.7891 | 1213882.9384 | 2611917.0999 | 1213895.2822
128 | 2611908.7891 | 1213882.9384 | 2611904.8375 | 1213876.8592
129 | 2611928.5134 | 1213871.3266 | 2611908.7891 | 1213882.9384
130 | 2611904.8375 | 1213876.8592 | 2611901.9645 | 1213872.4395
131 | 2611928.5134 | 1213871.3266 | 2611937.445 | 1213865.8229
132 | 2611928.5134 | 1213871.3266 | 2611936.6258 | 1213884.3414
133 | 2611901.9645 | 1213872.4395 | 2611892.0349 | 1213857.164
134 | 2611937.445 | 1213865.8229 | 2611941.0478 | 1213863.6029
135 | 2611948.1299 | 1213902.7976 | 2611936.6258 | 1213884.3414
136 | 2611888.2316 | 1213851.3131 | 2611892.0349 | 1213857.164
137 | 2611957.7427 | 1213853.3155 | 2611941.0478 | 1213863.6029
138 | 2611948.1299 | 1213902.7976 | 2611950.1559 | 1213906.0479
139 | 2611960.247 | 1213922.2372 | 2611950.1559 | 1213906.0479
140 | 2611960.247 | 1213922.2372 | 2611961.9045 | 1213924.8963
141 | 2611957.7427 | 1213853.3155 | 2611958.5577 | 1213852.8133
142 | 2611894.9426 | 1213845.2836 | 2611888.2316 | 1213851.3131 | 2611888.2316 | 1213851.3131
143 | 2611894.9426 | 1213845.2836 | 2611895.4767 | 1213844.8038
144 | 2611911.0334 | 1213829.2238 | 2611900.5042 | 1213840.2868 | 2611895.4767 | 1213844.8038
145 | 2611911.0334 | 1213829.2238 | 2611912.9324 | 1213827.2286
146 | 2611926.6224 | 1213809.1843 | 2611923.4666 | 1213812.1499 | 2611914.3179 | 1213825.7727 | 2611912.9324 | 1213827.2286
147 | 2611926.6224 | 1213809.1843 | 2611926.916 | 1213808.9085
148 | 2611938.3884 | 1213798.1273 | 2611926.916 | 1213808.9085
149 | 2611938.3884 | 1213798.1273 | 2611937.2259 | 1213791.6675
150 | 2611935.8762 | 1213787.0924 | 2611936.6231 | 1213788.3183 | 2611937.2259 | 1213791.6675
151 | 2611935.8762 | 1213787.0924 | 2611931.3579 | 1213779.6764
152 | 2611968.0685 | 1213837.532 | 2611954.8295 | 1213819.9552
153 | 2611972.9149 | 1213843.9664 | 2611968.0685 | 1213837.532
154 | 2611928.3212 | 1213761.2053 | 2611926.5701 | 1213764.029 | 2611926.2064 | 1213771.2212 | 2611931.3579 | 1213779.6764
155 | 2611972.9149 | 1213843.9664 | 2611980.2334 | 1213854.6659
156 | 2611972.9149 | 1213843.9664 | 2611958.5577 | 1213852.8133
157 | 2611992.6238 | 1213872.7806 | 2611980.2334 | 1213854.6659
158 | 2612003.3124 | 1213888.4071 | 2611992.6238 | 1213872.7806
159 | 2612003.3124 | 1213888.4071 | 2612007.1385 | 1213894.0008
160 | 2611969.5734 | 1214263.0966 | 2611972.316 | 1214257.381
161 | 2611980.079 | 1214241.2032 | 2611972.316 | 1214257.381
162 | 2611990.6043 | 1214219.2686 | 2611980.079 | 1214241.2032
163 | 2611990.6043 | 1214219.2686 | 2612009.9506 | 1214226.4949
164 | 2611990.6043 | 1214219.2686 | 2611996.4706 | 1214203.6156
165 | 2612014.515 | 1214196.4844 | 2612012.0808 | 1214195.4669
166 | 2612014.515 | 1214196.4844 | 2612022.4188 | 1214199.788 | 2612024.927 | 1214201.459

## bus_geodata
| x | y | coords
0 | 2612492.1166 | 1214396.0708
1 | 2612486.7083 | 1214392.4018
2 | 2612501.1579 | 1214403.9055
3 | 2612467.7351 | 1214379.5304
4 | 2612067.9627 | 1214230.13
5 | 2612028.7652 | 1214204.0161
6 | 2612414.9393 | 1214343.7138
7 | 2612461.7151 | 1214375.4465
8 | 2612144.3291 | 1213876.9426
9 | 2612114.8753 | 1213891.445
10 | 2612033.3453 | 1213932.3149
11 | 2612024.2036 | 1213918.9498
12 | 2611982.5072 | 1213957.9497
13 | 2611953.9512 | 1213972.1878
14 | 2611974.0351 | 1213944.3578
15 | 2612019.8545 | 1213912.5915
16 | 2611939.4583 | 1213979.7497
17 | 2611973.7132 | 1213943.8413
18 | 2612016.5521 | 1213907.7633
19 | 2611670.1504 | 1214269.7451
20 | 2611678.1318 | 1214260.675
21 | 2611668.9951 | 1214249.3064
22 | 2611680.4379 | 1214239.239
23 | 2611690.6982 | 1214230.212
24 | 2611604.8887 | 1214211.9599
25 | 2611607.3095 | 1214209.942
26 | 2611705.7981 | 1214216.9272
27 | 2611608.5519 | 1214208.9064
28 | 2611612.4066 | 1214205.6933
29 | 2611616.0382 | 1214202.6661
30 | 2611619.4754 | 1214200.0493
31 | 2611623.4376 | 1214197.0326
32 | 2611742.2774 | 1214002.1266
33 | 2611736.8999 | 1214007.4694
34 | 2611756.1312 | 1213988.362
35 | 2611746.7267 | 1214019.6231
36 | 2611758.1762 | 1213986.3302
37 | 2611758.5817 | 1214034.2852
38 | 2611770.4558 | 1213974.1296
39 | 2611762.2104 | 1214038.7732
40 | 2611775.7305 | 1213968.8888
41 | 2611768.4272 | 1214046.4621
42 | 2611776.7244 | 1213967.9014
43 | 2611785.3845 | 1213959.297
44 | 2611791.9331 | 1213952.7905
45 | 2611799.2458 | 1213945.5249
46 | 2611806.0033 | 1213938.8109
47 | 2611819.4446 | 1213924.7785
48 | 2611814.4296 | 1213951.4327
49 | 2611836.1783 | 1213907.309
50 | 2611819.7263 | 1213959.3666
51 | 2611844.916 | 1213898.187
52 | 2611826.7689 | 1213969.9157
53 | 2611851.8998 | 1213908.414
54 | 2611832.8581 | 1213979.0366
55 | 2611856.6472 | 1213915.3661
56 | 2611863.2575 | 1213925.046
57 | 2611871.0992 | 1213936.5294
58 | 2611597.3694 | 1214156.3817
59 | 2611593.1335 | 1214151.493
60 | 2611617.4414 | 1214152.6629
61 | 2611523.7784 | 1214171.9819
62 | 2611630.3991 | 1214168.1844
63 | 2611616.8648 | 1214132.6297
64 | 2611630.7163 | 1214168.5643
65 | 2611628.4398 | 1214122.0699
66 | 2611641.2861 | 1214181.2253
67 | 2611654.0358 | 1214092.9546
68 | 2611664.3471 | 1214083.945
69 | 2611692.3926 | 1214059.1226
70 | 2611667.9769 | 1214157.9552
71 | 2611639.1961 | 1214183.1127
72 | 2611625.6367 | 1214195.3584
73 | 2611628.5518 | 1214192.7258
74 | 2611675.9992 | 1214151.0784
75 | 2611678.4411 | 1214148.9852
76 | 2611716.0939 | 1214207.869
77 | 2611742.2497 | 1214185.0024
78 | 2611759.2272 | 1214170.1943
79 | 2611774.179 | 1214157.153
80 | 2611775.5285 | 1214155.976
81 | 2611703.2495 | 1214127.7192
82 | 2611707.3936 | 1214124.1668
83 | 2611713.6609 | 1214118.7945
84 | 2611735.6638 | 1214101.4029
85 | 2611737.8368 | 1214099.8798
86 | 2611746.7841 | 1214093.6082
87 | 2611752.6663 | 1214089.4852
88 | 2611779.2798 | 1214153.1437
89 | 2611799.092 | 1214146.7815
90 | 2611822.0443 | 1214125.6616
91 | 2611862.1817 | 1214088.7284
92 | 2611857.8402 | 1214084.9539
93 | 2611898.9347 | 1214118.6382
94 | 2611850.7446 | 1214078.7849
95 | 2611923.6834 | 1214138.2561
96 | 2611839.7653 | 1214069.2394
97 | 2611954.2944 | 1214162.5196
98 | 2611940.4843 | 1214121.7241
99 | 2611759.7809 | 1214085.2583
100 | 2611769.3453 | 1214079.819
101 | 2611787.1916 | 1214069.6698
102 | 2611800.3242 | 1214063.1057
103 | 2611804.2833 | 1214061.1268
104 | 2611822.861 | 1214051.8411
105 | 2611981.8359 | 1214182.2398
106 | 2611940.4289 | 1214120.74
107 | 2611813.613 | 1214056.4636
108 | 2611847.7853 | 1214036.0525
109 | 2611849.4281 | 1214035.0119
110 | 2611864.0456 | 1214025.7522
111 | 2611854.5633 | 1214011.5487
112 | 2611937.9119 | 1214113.4927
113 | 2612001.225 | 1214190.9294
114 | 2611841.9696 | 1213992.6846
115 | 2611843.4295 | 1213994.8715
116 | 2611911.7995 | 1213996.1303
117 | 2611903.2351 | 1213983.5887
118 | 2611900.1315 | 1213979.0438
119 | 2611891.2655 | 1213966.0606
120 | 2611886.9092 | 1213959.6813
121 | 2611877.0596 | 1213945.2576
122 | 2611932.95 | 1213937.7087
123 | 2611932.0154 | 1213936.4008
124 | 2611921.4806 | 1213921.6579
125 | 2611917.0999 | 1213895.2822
126 | 2611908.7891 | 1213882.9384
127 | 2611904.8375 | 1213876.8592
128 | 2611928.5134 | 1213871.3266
129 | 2611901.9645 | 1213872.4395
130 | 2611937.445 | 1213865.8229
131 | 2611936.6258 | 1213884.3414
132 | 2611892.0349 | 1213857.164
133 | 2611941.0478 | 1213863.6029
134 | 2611948.1299 | 1213902.7976
135 | 2611960.247 | 1213922.2372
136 | 2611950.1559 | 1213906.0479
137 | 2611961.9045 | 1213924.8963
138 | 2611957.7427 | 1213853.3155
139 | 2611888.2316 | 1213851.3131
140 | 2611894.9426 | 1213845.2836
141 | 2611895.4767 | 1213844.8038
142 | 2611911.0334 | 1213829.2238
143 | 2611912.9324 | 1213827.2286
144 | 2611926.6224 | 1213809.1843
145 | 2611926.916 | 1213808.9085
146 | 2611938.3884 | 1213798.1273
147 | 2611937.2259 | 1213791.6675
148 | 2611935.8762 | 1213787.0924
149 | 2611954.8295 | 1213819.9552
150 | 2611968.0685 | 1213837.532
151 | 2611931.3579 | 1213779.6764
152 | 2611972.9149 | 1213843.9664
153 | 2611958.5577 | 1213852.8133
154 | 2611980.2334 | 1213854.6659
155 | 2611992.6238 | 1213872.7806
156 | 2612003.3124 | 1213888.4071
157 | 2612007.1385 | 1213894.0008
158 | 2611928.3212 | 1213761.2053
159 | 2611969.5734 | 1214263.0966
160 | 2611972.316 | 1214257.381
161 | 2611980.079 | 1214241.2032
162 | 2611990.6043 | 1214219.2686
163 | 2612009.9506 | 1214226.4949
164 | 2611996.4706 | 1214203.6156
165 | 2612012.0808 | 1214195.4669
166 | 2612024.927 | 1214201.459
167 | 2612014.515 | 1214196.4844
168 | 2611787.1916 | 1214069.6698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1