## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4123-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4123-14_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4123-14_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4123-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4123-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4123-14_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4123-14_0_6_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_4123-14_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_4123-14_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4123-14_0_6_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_4123-14_0_6_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_4123-14_0_6_node_84 | 0.4 | n |  | TRUE
12 | bus_LV_4123-14_0_6_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_4123-14_0_6_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_4123-14_0_6_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_4123-14_0_6_node_103 | 0.4 | n |  | TRUE
16 | bus_LV_4123-14_0_6_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_4123-14_0_6_node_83 | 0.4 | n |  | TRUE
18 | bus_LV_4123-14_0_6_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4123-14_0_6_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4123-14_0_6_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_4123-14_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4123-14_0_6_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4123-14_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_4123-14_0_6_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_4123-14_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_4123-14_0_6_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4123-14_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4123-14_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4123-14_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4123-14_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4123-14_0_6_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4123-14_0_6_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_4123-14_0_6_node_112 | 0.4 | n |  | TRUE
34 | bus_LV_4123-14_0_6_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4123-14_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_4123-14_0_6_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_4123-14_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_4123-14_0_6_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_4123-14_0_6_node_107 | 0.4 | n |  | TRUE
40 | bus_LV_4123-14_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4123-14_0_6_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4123-14_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_4123-14_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4123-14_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_4123-14_0_6_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_4123-14_0_6_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_4123-14_0_6_node_110 | 0.4 | n |  | TRUE
48 | bus_LV_4123-14_0_6_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_4123-14_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4123-14_0_6_node_111 | 0.4 | n |  | TRUE
51 | bus_LV_4123-14_0_6_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_4123-14_0_6_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_4123-14_0_6_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_4123-14_0_6_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4123-14_0_6_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4123-14_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_4123-14_0_6_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_4123-14_0_6_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4123-14_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4123-14_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_4123-14_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_4123-14_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_4123-14_0_6_node_113 | 0.4 | n |  | TRUE
64 | bus_LV_4123-14_0_6_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_4123-14_0_6_node_96 | 0.4 | n |  | TRUE
66 | bus_LV_4123-14_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_4123-14_0_6_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_4123-14_0_6_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_4123-14_0_6_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_4123-14_0_6_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_4123-14_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4123-14_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_4123-14_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_4123-14_0_6_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4123-14_0_6_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_4123-14_0_6_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4123-14_0_6_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_4123-14_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4123-14_0_6_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_4123-14_0_6_node_105 | 0.4 | n |  | TRUE
81 | bus_LV_4123-14_0_6_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4123-14_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_4123-14_0_6_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4123-14_0_6_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_4123-14_0_6_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4123-14_0_6_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4123-14_0_6_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_4123-14_0_6_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_4123-14_0_6_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_4123-14_0_6_node_73 | 0.4 | n |  | TRUE
91 | bus_LV_4123-14_0_6_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4123-14_0_6_node_76 | 0.4 | n |  | TRUE
93 | bus_LV_4123-14_0_6_node_77 | 0.4 | n |  | TRUE
94 | bus_LV_4123-14_0_6_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_4123-14_0_6_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_4123-14_0_6_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_4123-14_0_6_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_4123-14_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4123-14_0_6_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4123-14_0_6_node_85 | 0.4 | n |  | TRUE
101 | bus_LV_4123-14_0_6_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_4123-14_0_6_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_4123-14_0_6_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_4123-14_0_6_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_4123-14_0_6_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_4123-14_0_6_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_4123-14_0_6_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_4123-14_0_6_node_106 | 0.4 | n |  | TRUE
109 | bus_MV_430_1_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4123-14_0_6_load_0 | 0 | 0.0011027 | 0.00027637 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4123-14_0_6_load_1 | 1 | 0.002098 | 0.00052582 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4123-14_0_6_load_3 | 3 | 0.001152 | 0.00028872 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4123-14_0_6_load_6 | 5 | 0.003469 | 0.0008694 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4123-14_0_6_load_45 | 6 | 0.0014053 | 0.00035221 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4123-14_0_6_load_43 | 7 | 0.0011603 | 0.00029079 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4123-14_0_6_load_7 | 8 | 0.003916 | 0.00098144 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4123-14_0_6_load_44 | 9 | 0.0032435 | 0.00081289 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4123-14_0_6_load_84 | 11 | 8.9324e-05 | 2.2387e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4123-14_0_6_load_82 | 12 | 8.1011e-05 | 2.0303e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4123-14_0_6_load_103 | 15 | 0.00012826 | 3.2144e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4123-14_0_6_load_83 | 17 | 9.0865e-05 | 2.2773e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4123-14_0_6_load_10 | 18 | 0.0013092 | 0.00032812 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4123-14_0_6_load_9 | 19 | 0.0031144 | 0.00078055 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4123-14_0_6_load_8 | 20 | 0.0016408 | 0.00041123 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4123-14_0_6_load_13 | 21 | 0.00278 | 0.00069673 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4123-14_0_6_load_12 | 23 | 0.0018741 | 0.00046969 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4123-14_0_6_load_14 | 27 | 0.017828 | 0.004468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4123-14_0_6_load_15 | 28 | 0.0092599 | 0.0023208 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4123-14_0_6_load_112 | 33 | 0.027103 | 0.0067927 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4123-14_0_6_load_51 | 35 | 0.0045976 | 0.0011523 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4123-14_0_6_load_49 | 36 | 0.0019029 | 0.00047691 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4123-14_0_6_load_107 | 39 | 0.028295 | 0.0070913 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4123-14_0_6_load_47 | 41 | 0.017248 | 0.0043228 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4123-14_0_6_load_48 | 42 | 0.017603 | 0.0044117 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4123-14_0_6_load_93 | 46 | 6.0829e-05 | 1.5245e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4123-14_0_6_load_109 | 48 | 0.085446 | 0.021415 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4123-14_0_6_load_111 | 50 | 0.037986 | 0.0095202 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4123-14_0_6_load_26 | 51 | 0.0037904 | 0.00094995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4123-14_0_6_load_29 | 54 | 0.0039767 | 0.00099666 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4123-14_0_6_load_30 | 55 | 0.0037555 | 0.00094123 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4123-14_0_6_load_33 | 56 | 0.015212 | 0.0038125 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4123-14_0_6_load_31 | 57 | 0.023827 | 0.0059716 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4123-14_0_6_load_35 | 58 | 0.0014826 | 0.00037157 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4123-14_0_6_load_52 | 59 | 0.0078555 | 0.0019688 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4123-14_0_6_load_37 | 60 | 0.0048631 | 0.0012188 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4123-14_0_6_load_53 | 61 | 0.0048534 | 0.0012164 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4123-14_0_6_load_54 | 62 | 0.0021514 | 0.00053919 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4123-14_0_6_load_113 | 63 | 0.0095991 | 0.0024058 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4123-14_0_6_load_114 | 64 | 0.01011 | 0.0025339 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4123-14_0_6_load_96 | 65 | 0.0031359 | 0.00078593 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4123-14_0_6_load_74 | 67 | 0.001353 | 0.0003391 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4123-14_0_6_load_72 | 70 | 0.003964 | 0.00099347 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4123-14_0_6_load_55 | 71 | 0.002332 | 0.00058445 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4123-14_0_6_load_56 | 72 | 0.008581 | 0.0021506 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4123-14_0_6_load_58 | 73 | 0.0028306 | 0.00070942 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4123-14_0_6_load_68 | 75 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4123-14_0_6_load_94 | 77 | 0.019345 | 0.0048484 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4123-14_0_6_load_66 | 78 | 0.0024626 | 0.00061718 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4123-14_0_6_load_105 | 80 | 0.010042 | 0.0025167 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4123-14_0_6_load_88 | 81 | 0.0091078 | 0.0022826 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4123-14_0_6_load_61 | 82 | 0.0046625 | 0.0011685 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4123-14_0_6_load_62 | 83 | 0.0024474 | 0.00061338 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4123-14_0_6_load_64 | 85 | 0.0045086 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4123-14_0_6_load_65 | 86 | 0.0018721 | 0.00046919 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4123-14_0_6_load_67 | 87 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4123-14_0_6_load_70 | 89 | 0.0024877 | 0.00062348 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4123-14_0_6_load_73 | 90 | 0.0031096 | 0.00077934 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4123-14_0_6_load_75 | 91 | 0.0066412 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4123-14_0_6_load_76 | 92 | 0.0066904 | 0.0016768 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4123-14_0_6_load_77 | 93 | 0.016306 | 0.0040866 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4123-14_0_6_load_78 | 94 | 0.0012562 | 0.00031484 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4123-14_0_6_load_79 | 95 | 0.0078034 | 0.0019557 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4123-14_0_6_load_80 | 96 | 0.0059762 | 0.0014978 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4123-14_0_6_load_81 | 97 | 0.0092292 | 0.002313 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4123-14_0_6_load_90 | 98 | 9.3012e-05 | 2.3311e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4123-14_0_6_load_91 | 99 | 0.036364 | 0.0091137 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4123-14_0_6_load_85 | 100 | 0.0031657 | 0.0007934 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4123-14_0_6_load_86 | 101 | 0.0068237 | 0.0017102 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4123-14_0_6_load_87 | 102 | 0.0033399 | 0.00083705 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4123-14_0_6_load_102 | 105 | 9.4587e-05 | 2.3706e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4123-14_0_6_load_100 | 106 | 0.00092635 | 0.00023217 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4123-14_0_6_load_104 | 107 | 0.0054413 | 0.0013637 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4123-14_0_6_load_106 | 108 | 0.00431 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4123-14_0_6_line_0 |  | 0 | 1 | 0.023604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4123-14_0_6_line_1 |  | 0 | 2 | 0.05756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4123-14_0_6_line_2 |  | 1 | 3 | 0.035559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4123-14_0_6_line_3 |  | 2 | 4 | 0.029417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4123-14_0_6_line_4 |  | 3 | 5 | 0.0098624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4123-14_0_6_line_5 |  | 4 | 6 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4123-14_0_6_line_6 |  | 4 | 7 | 0.038687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4123-14_0_6_line_7 |  | 5 | 8 | 0.01789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4123-14_0_6_line_8 |  | 7 | 9 | 0.020028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4123-14_0_6_line_9 |  | 8 | 20 | 0.0011985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4123-14_0_6_line_10 |  | 10 | 11 | 0.0099702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4123-14_0_6_line_11 |  | 10 | 12 | 0.014453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4123-14_0_6_line_12 |  | 11 | 45 | 0.041015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4123-14_0_6_line_13 |  | 12 | 17 | 0.0058843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4123-14_0_6_line_14 |  | 13 | 14 | 0.020896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4123-14_0_6_line_15 |  | 13 | 15 | 0.026307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4123-14_0_6_line_16 |  | 14 | 65 | 0.032393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4123-14_0_6_line_17 |  | 15 | 16 | 0.0037258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4123-14_0_6_line_18 |  | 16 | 17 | 0.0095701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4123-14_0_6_line_19 |  | 18 | 19 | 0.025043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4123-14_0_6_line_20 |  | 19 | 22 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4123-14_0_6_line_21 |  | 20 | 21 | 0.026598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4123-14_0_6_line_22 |  | 21 | 22 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4123-14_0_6_line_23 |  | 22 | 23 | 0.037421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4123-14_0_6_line_24 |  | 23 | 24 | 0.042003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4123-14_0_6_line_25 |  | 24 | 25 | 0.053218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4123-14_0_6_line_26 |  | 24 | 26 | 0.030115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4123-14_0_6_line_27 |  | 25 | 47 | 0.035398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4123-14_0_6_line_28 |  | 25 | 63 | 0.031058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4123-14_0_6_line_29 |  | 26 | 40 | 0.044388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4123-14_0_6_line_30 |  | 27 | 28 | 0.027447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4123-14_0_6_line_31 |  | 27 | 29 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4123-14_0_6_line_32 |  | 28 | 30 | 0.021211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4123-14_0_6_line_33 |  | 29 | 31 | 0.038203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4123-14_0_6_line_34 |  | 30 | 32 | 0.042544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4123-14_0_6_line_35 |  | 31 | 33 | 0.033781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4123-14_0_6_line_36 |  | 32 | 42 | 0.016299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4123-14_0_6_line_37 |  | 32 | 43 | 0.024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4123-14_0_6_line_38 |  | 34 | 35 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4123-14_0_6_line_39 |  | 34 | 36 | 0.018092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4123-14_0_6_line_40 |  | 36 | 44 | 0.038465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4123-14_0_6_line_41 |  | 37 | 38 | 0.033529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4123-14_0_6_line_42 |  | 37 | 39 | 0.056463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4123-14_0_6_line_43 |  | 38 | 47 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4123-14_0_6_line_44 |  | 38 | 48 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4123-14_0_6_line_45 |  | 40 | 41 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4123-14_0_6_line_46 |  | 41 | 42 | 0.019765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4123-14_0_6_line_47 |  | 43 | 58 | 0.036261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4123-14_0_6_line_48 |  | 43 | 53 | 0.007806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4123-14_0_6_line_49 |  | 44 | 59 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4123-14_0_6_line_50 |  | 44 | 55 | 0.024331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_4123-14_0_6_line_51 |  | 45 | 46 | 0.021501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4123-14_0_6_line_52 |  | 46 | 105 | 0.0024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4123-14_0_6_line_53 |  | 47 | 64 | 0.029766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4123-14_0_6_line_54 |  | 48 | 49 | 0.02107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4123-14_0_6_line_55 |  | 49 | 50 | 0.005818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4123-14_0_6_line_56 |  | 51 | 52 | 0.00363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4123-14_0_6_line_57 |  | 51 | 53 | 0.018041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4123-14_0_6_line_58 |  | 52 | 54 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4123-14_0_6_line_59 |  | 52 | 55 | 0.029571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4123-14_0_6_line_60 |  | 53 | 56 | 0.019384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4123-14_0_6_line_61 |  | 56 | 57 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4123-14_0_6_line_62 |  | 59 | 66 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4123-14_0_6_line_63 |  | 60 | 61 | 0.026079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4123-14_0_6_line_64 |  | 61 | 62 | 0.0034485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4123-14_0_6_line_65 |  | 62 | 69 | 0.012986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4123-14_0_6_line_66 |  | 65 | 104 | 0.024661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4123-14_0_6_line_67 |  | 66 | 67 | 0.019411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4123-14_0_6_line_68 |  | 66 | 68 | 0.013001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_4123-14_0_6_line_69 |  | 67 | 69 | 0.031977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4123-14_0_6_line_70 |  | 68 | 74 | 0.021128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_4123-14_0_6_line_71 |  | 68 | 71 | 0.021381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4123-14_0_6_line_72 |  | 69 | 70 | 0.015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4123-14_0_6_line_73 |  | 70 | 88 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4123-14_0_6_line_74 |  | 71 | 72 | 0.0094958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4123-14_0_6_line_75 |  | 72 | 73 | 0.013516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4123-14_0_6_line_76 |  | 73 | 75 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4123-14_0_6_line_77 |  | 74 | 76 | 0.038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4123-14_0_6_line_78 |  | 74 | 77 | 0.043921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4123-14_0_6_line_79 |  | 75 | 78 | 0.0026764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4123-14_0_6_line_80 |  | 76 | 79 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4123-14_0_6_line_81 |  | 76 | 80 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4123-14_0_6_line_82 |  | 77 | 81 | 0.011542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4123-14_0_6_line_83 |  | 78 | 87 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4123-14_0_6_line_84 |  | 79 | 106 | 0.0018398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4123-14_0_6_line_85 |  | 80 | 107 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4123-14_0_6_line_86 |  | 81 | 101 | 0.023181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_4123-14_0_6_line_87 |  | 82 | 83 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4123-14_0_6_line_88 |  | 82 | 84 | 0.041991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4123-14_0_6_line_89 |  | 83 | 85 | 0.0066348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4123-14_0_6_line_90 |  | 84 | 86 | 0.023494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4123-14_0_6_line_91 |  | 86 | 87 | 0.0024519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4123-14_0_6_line_92 |  | 88 | 90 | 0.039424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4123-14_0_6_line_93 |  | 88 | 89 | 0.028614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4123-14_0_6_line_94 |  | 90 | 91 | 0.015201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4123-14_0_6_line_95 |  | 91 | 92 | 0.004974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4123-14_0_6_line_96 |  | 93 | 94 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4123-14_0_6_line_97 |  | 93 | 95 | 0.0089359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4123-14_0_6_line_98 |  | 94 | 96 | 0.0039058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4123-14_0_6_line_99 |  | 95 | 97 | 0.010018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4123-14_0_6_line_100 |  | 96 | 98 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4123-14_0_6_line_101 |  | 98 | 99 | 0.0035404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4123-14_0_6_line_102 |  | 99 | 105 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4123-14_0_6_line_103 |  | 100 | 101 | 0.042298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4123-14_0_6_line_104 |  | 100 | 102 | 0.017513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_4123-14_0_6_line_105 |  | 102 | 103 | 0.0060154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_4123-14_0_6_line_106 |  | 103 | 104 | 0.065867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_4123-14_0_6_line_107 |  | 107 | 108 | 0.0042281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4123-14_0_6_trafo_19 | 0.63 MVA 20/0.4 kV | 109 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2658438.5945 | 1258901.7157 | 2658445.7348 | 1258879.218
1 | 2658421.182 | 1258956.5791 | 2658438.5945 | 1258901.7157
2 | 2658445.7348 | 1258879.218 | 2658455.6333 | 1258848.0298 | 2658458.4649 | 1258847.8399
3 | 2658448.4881 | 1258967.7233 | 2658421.182 | 1258956.5791
4 | 2658468.3052 | 1258847.1796 | 2658458.4649 | 1258847.8399
5 | 2658448.4881 | 1258967.7233 | 2658460.7343 | 1258972.8777
6 | 2658448.4881 | 1258967.7233 | 2658458.2143 | 1258930.2792
7 | 2658468.3052 | 1258847.1796 | 2658473.9785 | 1258846.799 | 2658477.564 | 1258835.1339
8 | 2658458.2143 | 1258930.2792 | 2658460.7518 | 1258920.5103 | 2658470.3547 | 1258923.0573
9 | 2658477.564 | 1258835.1339 | 2658477.9161 | 1258833.9883
10 | 2658493.7948 | 1258664.7415 | 2658499.2469 | 1258673.0889
11 | 2658493.7948 | 1258664.7415 | 2658488.2283 | 1258655.9024 | 2658486.1154 | 1258652.498
12 | 2658524.5664 | 1258705.1969 | 2658517.477 | 1258697.8993 | 2658513.7631 | 1258693.8264 | 2658506.8424 | 1258684.7181 | 2658499.2469 | 1258673.0889
13 | 2658486.1154 | 1258652.498 | 2658483.0125 | 1258647.4983
14 | 2658476.6074 | 1258599.1023 | 2658461.9032 | 1258613.99
15 | 2658461.9032 | 1258613.99 | 2658475.9733 | 1258636.2188
16 | 2658476.6074 | 1258599.1023 | 2658500.9076 | 1258577.6827
17 | 2658477.9659 | 1258639.3669 | 2658475.9733 | 1258636.2188
18 | 2658477.9659 | 1258639.3669 | 2658483.0125 | 1258647.4983
19 | 2658452.3748 | 1258771.1453 | 2658474.6016 | 1258782.684
20 | 2658491.0593 | 1258791.2277 | 2658474.6016 | 1258782.684
21 | 2658485.7306 | 1258808.5645 | 2658477.9161 | 1258833.9883
22 | 2658491.0593 | 1258791.2277 | 2658485.7306 | 1258808.5645
23 | 2658491.0593 | 1258791.2277 | 2658524.7281 | 1258807.5602
24 | 2658562.519 | 1258825.8923 | 2658524.7281 | 1258807.5602
25 | 2658550.6958 | 1258876.4896 | 2658554.7291 | 1258873.405 | 2658560.317 | 1258838.1683 | 2658562.519 | 1258825.8923
26 | 2658562.519 | 1258825.8923 | 2658589.6849 | 1258839.0594
27 | 2658550.6958 | 1258876.4896 | 2658545.1335 | 1258890.1111 | 2658544.723 | 1258902.6494 | 2658539.804 | 1258909.1499
28 | 2658550.6958 | 1258876.4896 | 2658544.6249 | 1258873.7053 | 2658524.925 | 1258870.1413 | 2658525.579 | 1258865.7558
29 | 2658589.6849 | 1258839.0594 | 2658600.233 | 1258844.1786 | 2658602.1723 | 1258837.8933 | 2658606.2631 | 1258838.9011 | 2658609.7895 | 1258839.8145 | 2658613.2486 | 1258840.6827 | 2658618.7452 | 1258842.0826 | 2658618.9401 | 1258839.149 | 2658621.9317 | 1258839.2565 | 2658621.9466 | 1258842.3144
30 | 2658629.8174 | 1258885.5286 | 2658633.8752 | 1258886.1307 | 2658654.6733 | 1258889.1611 | 2658656.9954 | 1258889.3106
31 | 2658607.8613 | 1258882.2704 | 2658629.8174 | 1258885.5286
32 | 2658678.1625 | 1258890.6727 | 2658656.9954 | 1258889.3106
33 | 2658601.9093 | 1258920.0053 | 2658605.2129 | 1258898.5115 | 2658607.8613 | 1258882.2704
34 | 2658669.7471 | 1258849.1372 | 2658675.1823 | 1258883.3379 | 2658678.1625 | 1258890.6727
35 | 2658601.9093 | 1258920.0053 | 2658607.7751 | 1258920.6528 | 2658621.798 | 1258921.9925 | 2658635.5816 | 1258922.4851
36 | 2658669.7471 | 1258849.1372 | 2658653.6112 | 1258846.834
37 | 2658670.1368 | 1258825.0459 | 2658669.7471 | 1258849.1372
38 | 2658615.8057 | 1258779.6418 | 2658611.9012 | 1258772.7538 | 2658606.963 | 1258766.7228 | 2658601.201 | 1258761.3044
39 | 2658615.8057 | 1258779.6418 | 2658621.7987 | 1258773.5523 | 2658627.951 | 1258766.25
40 | 2658657.0184 | 1258743.0903 | 2658643.5846 | 1258747.6939 | 2658627.951 | 1258766.25
41 | 2658538.2891 | 1258946.4617 | 2658546.7971 | 1258952.8171 | 2658569.3204 | 1258957.4543
42 | 2658569.3204 | 1258957.4543 | 2658578.8917 | 1258901.8089
43 | 2658539.804 | 1258909.1499 | 2658542.2418 | 1258922.5725 | 2658538.1324 | 1258933.3508 | 2658538.2891 | 1258946.4617
44 | 2658538.2891 | 1258946.4617 | 2658526.5626 | 1258945.0154
45 | 2658621.9466 | 1258842.3144 | 2658634.0449 | 1258844.0413
46 | 2658634.0449 | 1258844.0413 | 2658653.6112 | 1258846.834
47 | 2658670.1368 | 1258825.0459 | 2658706.3965 | 1258824.7597
48 | 2658670.1368 | 1258825.0459 | 2658669.279 | 1258817.2874
49 | 2658657.0184 | 1258743.0903 | 2658658.0001 | 1258733.0372 | 2658659.3032 | 1258731.1166
50 | 2658657.0184 | 1258743.0903 | 2658662.837 | 1258759.1706 | 2658663.6336 | 1258766.3571
51 | 2658524.5664 | 1258705.1969 | 2658539.0803 | 1258689.3343
52 | 2658540.7622 | 1258687.4961 | 2658539.0803 | 1258689.3343
53 | 2658539.804 | 1258909.1499 | 2658533.3965 | 1258906.1065 | 2658512.9072 | 1258902.3458 | 2658513.1823 | 1258900.4471
54 | 2658505.651 | 1258942.4363 | 2658526.5626 | 1258945.0154
55 | 2658505.651 | 1258942.4363 | 2658506.5295 | 1258936.6852
56 | 2658666.8918 | 1258795.7483 | 2658667.2917 | 1258799.3561
57 | 2658669.279 | 1258817.2874 | 2658667.2917 | 1258799.3561
58 | 2658666.8918 | 1258795.7483 | 2658644.4959 | 1258786.0217
59 | 2658666.8918 | 1258795.7483 | 2658663.6336 | 1258766.3571
60 | 2658669.279 | 1258817.2874 | 2658650.0503 | 1258814.8396
61 | 2658650.0503 | 1258814.8396 | 2658651.4212 | 1258803.85
62 | 2658674.1268 | 1258709.2688 | 2658659.3032 | 1258731.1166
63 | 2658719.4371 | 1258787.9546 | 2658717.8488 | 1258772.4255 | 2658713.9442 | 1258762.7125
64 | 2658713.9442 | 1258762.7125 | 2658712.6579 | 1258759.5128
65 | 2658707.8141 | 1258747.4635 | 2658712.6579 | 1258759.5128
66 | 2658519.4077 | 1258561.3758 | 2658500.9076 | 1258577.6827
67 | 2658674.1268 | 1258709.2688 | 2658683.4511 | 1258716.1884 | 2658688.7484 | 1258721.9135
68 | 2658676.3495 | 1258696.4594 | 2658674.1268 | 1258709.2688
69 | 2658707.8141 | 1258747.4635 | 2658696.4512 | 1258730.2385 | 2658688.7484 | 1258721.9135
70 | 2658676.3495 | 1258696.4594 | 2658674.1414 | 1258690.3109 | 2658671.3963 | 1258675.9733
71 | 2658676.3495 | 1258696.4594 | 2658683.658 | 1258693.8077 | 2658692.6084 | 1258683.5593
72 | 2658707.8141 | 1258747.4635 | 2658722.0061 | 1258740.9793
73 | 2658737.9688 | 1258733.686 | 2658722.0061 | 1258740.9793
74 | 2658692.6084 | 1258683.5593 | 2658698.8548 | 1258676.4072
75 | 2658707.7458 | 1258666.2269 | 2658698.8548 | 1258676.4072
76 | 2658707.7458 | 1258666.2269 | 2658719.6899 | 1258652.5507
77 | 2658671.3963 | 1258675.9733 | 2658670.6947 | 1258637.2496
78 | 2658671.3963 | 1258675.9733 | 2658639.1783 | 1258646.1234
79 | 2658721.4504 | 1258650.5349 | 2658719.6899 | 1258652.5507
80 | 2658668.0504 | 1258598.3065 | 2658670.6947 | 1258637.2496
81 | 2658670.6947 | 1258637.2496 | 2658673.3952 | 1258637.0874 | 2658678.7664 | 1258630.5688
82 | 2658639.1783 | 1258646.1234 | 2658638.6183 | 1258645.6046 | 2658631.0347 | 1258637.9458
83 | 2658721.4504 | 1258650.5349 | 2658738.8548 | 1258630.6066
84 | 2658668.0504 | 1258598.3065 | 2658667.8482 | 1258596.4779
85 | 2658691.696 | 1258614.8774 | 2658678.7664 | 1258630.5688
86 | 2658614.7245 | 1258621.4739 | 2658631.0347 | 1258637.9458
87 | 2658784.7389 | 1258641.5375 | 2658797.6801 | 1258657.9316
88 | 2658755.9218 | 1258611.0648 | 2658778.6804 | 1258633.8626 | 2658784.7389 | 1258641.5375
89 | 2658801.7911 | 1258663.1394 | 2658797.6801 | 1258657.9316
90 | 2658755.9218 | 1258611.0648 | 2658740.4677 | 1258628.7599
91 | 2658740.4677 | 1258628.7599 | 2658738.8548 | 1258630.6066
92 | 2658737.9688 | 1258733.686 | 2658753.4546 | 1258726.6679 | 2658765.8051 | 1258721.0976 | 2658768.3491 | 1258718.4654 | 2658768.818 | 1258716.035 | 2658767.5233 | 1258713.6226
93 | 2658737.9688 | 1258733.686 | 2658739.9869 | 1258742.2678 | 2658741.2626 | 1258745.8941 | 2658743.8261 | 1258748.8773 | 2658746.3705 | 1258749.2472 | 2658755.3773 | 1258746.3887
94 | 2658760.3345 | 1258700.2289 | 2658767.5233 | 1258713.6226
95 | 2658757.9822 | 1258695.8462 | 2658760.3345 | 1258700.2289
96 | 2658572.2363 | 1258653.0974 | 2658564.5532 | 1258661.4943
97 | 2658572.2363 | 1258653.0974 | 2658578.2684 | 1258646.5047
98 | 2658561.9166 | 1258664.3759 | 2658564.5532 | 1258661.4943
99 | 2658585.0308 | 1258639.1139 | 2658578.2684 | 1258646.5047
100 | 2658561.9166 | 1258664.3759 | 2658553.1293 | 1258673.9799
101 | 2658553.1293 | 1258673.9799 | 2658550.7393 | 1258676.5919
102 | 2658540.7622 | 1258687.4961 | 2658550.7393 | 1258676.5919
103 | 2658584.9632 | 1258591.4178 | 2658614.7245 | 1258621.4739
104 | 2658584.9632 | 1258591.4178 | 2658576.4962 | 1258582.8668 | 2658573.1143 | 1258578.5562
105 | 2658569.4014 | 1258573.8235 | 2658573.1143 | 1258578.5562
106 | 2658519.4077 | 1258561.3758 | 2658543.798 | 1258546.6174 | 2658544.0292 | 1258546.8643 | 2658569.4014 | 1258573.8235
107 | 2658691.696 | 1258614.8774 | 2658694.3847 | 1258611.6143

## bus_geodata
| x | y | coords
0 | 2658438.5945 | 1258901.7157
1 | 2658445.7348 | 1258879.218
2 | 2658421.182 | 1258956.5791
3 | 2658458.4649 | 1258847.8399
4 | 2658448.4881 | 1258967.7233
5 | 2658468.3052 | 1258847.1796
6 | 2658460.7343 | 1258972.8777
7 | 2658458.2143 | 1258930.2792
8 | 2658477.564 | 1258835.1339
9 | 2658470.3547 | 1258923.0573
10 | 2658493.7948 | 1258664.7415
11 | 2658499.2469 | 1258673.0889
12 | 2658486.1154 | 1258652.498
13 | 2658461.9032 | 1258613.99
14 | 2658476.6074 | 1258599.1023
15 | 2658475.9733 | 1258636.2188
16 | 2658477.9659 | 1258639.3669
17 | 2658483.0125 | 1258647.4983
18 | 2658452.3748 | 1258771.1453
19 | 2658474.6016 | 1258782.684
20 | 2658477.9161 | 1258833.9883
21 | 2658485.7306 | 1258808.5645
22 | 2658491.0593 | 1258791.2277
23 | 2658524.7281 | 1258807.5602
24 | 2658562.519 | 1258825.8923
25 | 2658550.6958 | 1258876.4896
26 | 2658589.6849 | 1258839.0594
27 | 2658629.8174 | 1258885.5286
28 | 2658656.9954 | 1258889.3106
29 | 2658607.8613 | 1258882.2704
30 | 2658678.1625 | 1258890.6727
31 | 2658601.9093 | 1258920.0053
32 | 2658669.7471 | 1258849.1372
33 | 2658635.5816 | 1258922.4851
34 | 2658615.8057 | 1258779.6418
35 | 2658601.201 | 1258761.3044
36 | 2658627.951 | 1258766.25
37 | 2658569.3204 | 1258957.4543
38 | 2658538.2891 | 1258946.4617
39 | 2658578.8917 | 1258901.8089
40 | 2658621.9466 | 1258842.3144
41 | 2658634.0449 | 1258844.0413
42 | 2658653.6112 | 1258846.834
43 | 2658670.1368 | 1258825.0459
44 | 2658657.0184 | 1258743.0903
45 | 2658524.5664 | 1258705.1969
46 | 2658539.0803 | 1258689.3343
47 | 2658539.804 | 1258909.1499
48 | 2658526.5626 | 1258945.0154
49 | 2658505.651 | 1258942.4363
50 | 2658506.5295 | 1258936.6852
51 | 2658667.2917 | 1258799.3561
52 | 2658666.8918 | 1258795.7483
53 | 2658669.279 | 1258817.2874
54 | 2658644.4959 | 1258786.0217
55 | 2658663.6336 | 1258766.3571
56 | 2658650.0503 | 1258814.8396
57 | 2658651.4212 | 1258803.85
58 | 2658706.3965 | 1258824.7597
59 | 2658659.3032 | 1258731.1166
60 | 2658719.4371 | 1258787.9546
61 | 2658713.9442 | 1258762.7125
62 | 2658712.6579 | 1258759.5128
63 | 2658525.579 | 1258865.7558
64 | 2658513.1823 | 1258900.4471
65 | 2658500.9076 | 1258577.6827
66 | 2658674.1268 | 1258709.2688
67 | 2658688.7484 | 1258721.9135
68 | 2658676.3495 | 1258696.4594
69 | 2658707.8141 | 1258747.4635
70 | 2658722.0061 | 1258740.9793
71 | 2658692.6084 | 1258683.5593
72 | 2658698.8548 | 1258676.4072
73 | 2658707.7458 | 1258666.2269
74 | 2658671.3963 | 1258675.9733
75 | 2658719.6899 | 1258652.5507
76 | 2658670.6947 | 1258637.2496
77 | 2658639.1783 | 1258646.1234
78 | 2658721.4504 | 1258650.5349
79 | 2658668.0504 | 1258598.3065
80 | 2658678.7664 | 1258630.5688
81 | 2658631.0347 | 1258637.9458
82 | 2658784.7389 | 1258641.5375
83 | 2658797.6801 | 1258657.9316
84 | 2658755.9218 | 1258611.0648
85 | 2658801.7911 | 1258663.1394
86 | 2658740.4677 | 1258628.7599
87 | 2658738.8548 | 1258630.6066
88 | 2658737.9688 | 1258733.686
89 | 2658755.3773 | 1258746.3887
90 | 2658767.5233 | 1258713.6226
91 | 2658760.3345 | 1258700.2289
92 | 2658757.9822 | 1258695.8462
93 | 2658572.2363 | 1258653.0974
94 | 2658564.5532 | 1258661.4943
95 | 2658578.2684 | 1258646.5047
96 | 2658561.9166 | 1258664.3759
97 | 2658585.0308 | 1258639.1139
98 | 2658553.1293 | 1258673.9799
99 | 2658550.7393 | 1258676.5919
100 | 2658584.9632 | 1258591.4178
101 | 2658614.7245 | 1258621.4739
102 | 2658573.1143 | 1258578.5562
103 | 2658569.4014 | 1258573.8235
104 | 2658519.4077 | 1258561.3758
105 | 2658540.7622 | 1258687.4961
106 | 2658667.8482 | 1258596.4779
107 | 2658691.696 | 1258614.8774
108 | 2658694.3847 | 1258611.6143
109 | 2658609.135 | 1258783.3674

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1