## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4123-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4123-4_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4123-4_0_5_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4123-4_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_4123-4_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4123-4_0_5_node_91 | 0.4 | n |  | TRUE
6 | bus_LV_4123-4_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4123-4_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4123-4_0_5_node_108 | 0.4 | n |  | TRUE
9 | bus_LV_4123-4_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_4123-4_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4123-4_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4123-4_0_5_node_109 | 0.4 | n |  | TRUE
13 | bus_LV_4123-4_0_5_node_97 | 0.4 | n |  | TRUE
14 | bus_LV_4123-4_0_5_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_4123-4_0_5_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_4123-4_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4123-4_0_5_node_132 | 0.4 | n |  | TRUE
18 | bus_LV_4123-4_0_5_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_4123-4_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_4123-4_0_5_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_4123-4_0_5_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_4123-4_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_4123-4_0_5_node_182 | 0.4 | n |  | TRUE
24 | bus_LV_4123-4_0_5_node_107 | 0.4 | n |  | TRUE
25 | bus_LV_4123-4_0_5_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_4123-4_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4123-4_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4123-4_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4123-4_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_4123-4_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_4123-4_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4123-4_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_4123-4_0_5_node_145 | 0.4 | n |  | TRUE
34 | bus_LV_4123-4_0_5_node_159 | 0.4 | n |  | TRUE
35 | bus_LV_4123-4_0_5_node_118 | 0.4 | n |  | TRUE
36 | bus_LV_4123-4_0_5_node_152 | 0.4 | n |  | TRUE
37 | bus_LV_4123-4_0_5_node_149 | 0.4 | n |  | TRUE
38 | bus_LV_4123-4_0_5_node_112 | 0.4 | n |  | TRUE
39 | bus_LV_4123-4_0_5_node_121 | 0.4 | n |  | TRUE
40 | bus_LV_4123-4_0_5_node_122 | 0.4 | n |  | TRUE
41 | bus_LV_4123-4_0_5_node_123 | 0.4 | n |  | TRUE
42 | bus_LV_4123-4_0_5_node_165 | 0.4 | n |  | TRUE
43 | bus_LV_4123-4_0_5_node_170 | 0.4 | n |  | TRUE
44 | bus_LV_4123-4_0_5_node_148 | 0.4 | n |  | TRUE
45 | bus_LV_4123-4_0_5_node_157 | 0.4 | n |  | TRUE
46 | bus_LV_4123-4_0_5_node_174 | 0.4 | n |  | TRUE
47 | bus_LV_4123-4_0_5_node_150 | 0.4 | n |  | TRUE
48 | bus_LV_4123-4_0_5_node_160 | 0.4 | n |  | TRUE
49 | bus_LV_4123-4_0_5_node_131 | 0.4 | n |  | TRUE
50 | bus_LV_4123-4_0_5_node_158 | 0.4 | n |  | TRUE
51 | bus_LV_4123-4_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_4123-4_0_5_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_4123-4_0_5_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_4123-4_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_4123-4_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4123-4_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_4123-4_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4123-4_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4123-4_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4123-4_0_5_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_4123-4_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4123-4_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_4123-4_0_5_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_4123-4_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_4123-4_0_5_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_4123-4_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_4123-4_0_5_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_4123-4_0_5_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_4123-4_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_4123-4_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4123-4_0_5_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_4123-4_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_4123-4_0_5_node_92 | 0.4 | n |  | TRUE
74 | bus_LV_4123-4_0_5_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_4123-4_0_5_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_4123-4_0_5_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_4123-4_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_4123-4_0_5_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4123-4_0_5_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4123-4_0_5_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_4123-4_0_5_node_44 | 0.4 | n |  | TRUE
82 | bus_LV_4123-4_0_5_node_45 | 0.4 | n |  | TRUE
83 | bus_LV_4123-4_0_5_node_46 | 0.4 | n |  | TRUE
84 | bus_LV_4123-4_0_5_node_48 | 0.4 | n |  | TRUE
85 | bus_LV_4123-4_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_4123-4_0_5_node_58 | 0.4 | n |  | TRUE
87 | bus_LV_4123-4_0_5_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4123-4_0_5_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_4123-4_0_5_node_54 | 0.4 | n |  | TRUE
90 | bus_LV_4123-4_0_5_node_55 | 0.4 | n |  | TRUE
91 | bus_LV_4123-4_0_5_node_56 | 0.4 | n |  | TRUE
92 | bus_LV_4123-4_0_5_node_59 | 0.4 | n |  | TRUE
93 | bus_LV_4123-4_0_5_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_4123-4_0_5_node_110 | 0.4 | n |  | TRUE
95 | bus_LV_4123-4_0_5_node_60 | 0.4 | n |  | TRUE
96 | bus_LV_4123-4_0_5_node_61 | 0.4 | n |  | TRUE
97 | bus_LV_4123-4_0_5_node_62 | 0.4 | n |  | TRUE
98 | bus_LV_4123-4_0_5_node_63 | 0.4 | n |  | TRUE
99 | bus_LV_4123-4_0_5_node_64 | 0.4 | n |  | TRUE
100 | bus_LV_4123-4_0_5_node_65 | 0.4 | n |  | TRUE
101 | bus_LV_4123-4_0_5_node_69 | 0.4 | n |  | TRUE
102 | bus_LV_4123-4_0_5_node_73 | 0.4 | n |  | TRUE
103 | bus_LV_4123-4_0_5_node_74 | 0.4 | n |  | TRUE
104 | bus_LV_4123-4_0_5_node_68 | 0.4 | n |  | TRUE
105 | bus_LV_4123-4_0_5_node_116 | 0.4 | n |  | TRUE
106 | bus_LV_4123-4_0_5_node_114 | 0.4 | n |  | TRUE
107 | bus_LV_4123-4_0_5_node_70 | 0.4 | n |  | TRUE
108 | bus_LV_4123-4_0_5_node_89 | 0.4 | n |  | TRUE
109 | bus_LV_4123-4_0_5_node_128 | 0.4 | n |  | TRUE
110 | bus_LV_4123-4_0_5_node_129 | 0.4 | n |  | TRUE
111 | bus_LV_4123-4_0_5_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_4123-4_0_5_node_76 | 0.4 | n |  | TRUE
113 | bus_LV_4123-4_0_5_node_77 | 0.4 | n |  | TRUE
114 | bus_LV_4123-4_0_5_node_78 | 0.4 | n |  | TRUE
115 | bus_LV_4123-4_0_5_node_80 | 0.4 | n |  | TRUE
116 | bus_LV_4123-4_0_5_node_81 | 0.4 | n |  | TRUE
117 | bus_LV_4123-4_0_5_node_100 | 0.4 | n |  | TRUE
118 | bus_LV_4123-4_0_5_node_102 | 0.4 | n |  | TRUE
119 | bus_LV_4123-4_0_5_node_84 | 0.4 | n |  | TRUE
120 | bus_LV_4123-4_0_5_node_85 | 0.4 | n |  | TRUE
121 | bus_LV_4123-4_0_5_node_96 | 0.4 | n |  | TRUE
122 | bus_LV_4123-4_0_5_node_101 | 0.4 | n |  | TRUE
123 | bus_LV_4123-4_0_5_node_98 | 0.4 | n |  | TRUE
124 | bus_LV_4123-4_0_5_node_99 | 0.4 | n |  | TRUE
125 | bus_LV_4123-4_0_5_node_94 | 0.4 | n |  | TRUE
126 | bus_LV_4123-4_0_5_node_104 | 0.4 | n |  | TRUE
127 | bus_LV_4123-4_0_5_node_105 | 0.4 | n |  | TRUE
128 | bus_LV_4123-4_0_5_node_130 | 0.4 | n |  | TRUE
129 | bus_LV_4123-4_0_5_node_113 | 0.4 | n |  | TRUE
130 | bus_LV_4123-4_0_5_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_4123-4_0_5_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_4123-4_0_5_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_4123-4_0_5_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_4123-4_0_5_node_124 | 0.4 | n |  | TRUE
135 | bus_LV_4123-4_0_5_node_119 | 0.4 | n |  | TRUE
136 | bus_LV_4123-4_0_5_node_120 | 0.4 | n |  | TRUE
137 | bus_LV_4123-4_0_5_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_4123-4_0_5_node_164 | 0.4 | n |  | TRUE
139 | bus_LV_4123-4_0_5_node_168 | 0.4 | n |  | TRUE
140 | bus_LV_4123-4_0_5_node_147 | 0.4 | n |  | TRUE
141 | bus_LV_4123-4_0_5_node_137 | 0.4 | n |  | TRUE
142 | bus_LV_4123-4_0_5_node_139 | 0.4 | n |  | TRUE
143 | bus_LV_4123-4_0_5_node_140 | 0.4 | n |  | TRUE
144 | bus_LV_4123-4_0_5_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_4123-4_0_5_node_134 | 0.4 | n |  | TRUE
146 | bus_LV_4123-4_0_5_node_135 | 0.4 | n |  | TRUE
147 | bus_LV_4123-4_0_5_node_136 | 0.4 | n |  | TRUE
148 | bus_LV_4123-4_0_5_node_138 | 0.4 | n |  | TRUE
149 | bus_LV_4123-4_0_5_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_4123-4_0_5_node_144 | 0.4 | n |  | TRUE
151 | bus_LV_4123-4_0_5_node_141 | 0.4 | n |  | TRUE
152 | bus_LV_4123-4_0_5_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_4123-4_0_5_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4123-4_0_5_node_153 | 0.4 | n |  | TRUE
155 | bus_LV_4123-4_0_5_node_154 | 0.4 | n |  | TRUE
156 | bus_LV_4123-4_0_5_node_175 | 0.4 | n |  | TRUE
157 | bus_LV_4123-4_0_5_node_155 | 0.4 | n |  | TRUE
158 | bus_LV_4123-4_0_5_node_156 | 0.4 | n |  | TRUE
159 | bus_LV_4123-4_0_5_node_161 | 0.4 | n |  | TRUE
160 | bus_LV_4123-4_0_5_node_162 | 0.4 | n |  | TRUE
161 | bus_LV_4123-4_0_5_node_167 | 0.4 | n |  | TRUE
162 | bus_LV_4123-4_0_5_node_172 | 0.4 | n |  | TRUE
163 | bus_LV_4123-4_0_5_node_173 | 0.4 | n |  | TRUE
164 | bus_LV_4123-4_0_5_node_166 | 0.4 | n |  | TRUE
165 | bus_LV_4123-4_0_5_node_169 | 0.4 | n |  | TRUE
166 | bus_LV_4123-4_0_5_node_171 | 0.4 | n |  | TRUE
167 | bus_LV_4123-4_0_5_node_176 | 0.4 | n |  | TRUE
168 | bus_LV_4123-4_0_5_node_177 | 0.4 | n |  | TRUE
169 | bus_LV_4123-4_0_5_node_181 | 0.4 | n |  | TRUE
170 | bus_LV_4123-4_0_5_node_178 | 0.4 | n |  | TRUE
171 | bus_LV_4123-4_0_5_node_179 | 0.4 | n |  | TRUE
172 | bus_MV_421_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4123-4_0_5_load_0 | 0 | 0.027427 | 0.0068739 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4123-4_0_5_load_3 | 4 | 0.0018649 | 0.00046738 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4123-4_0_5_load_108 | 8 | 0.006927 | 0.0017361 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4123-4_0_5_load_23 | 9 | 0.0050269 | 0.0012599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4123-4_0_5_load_9 | 11 | 0.0067072 | 0.001681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4123-4_0_5_load_132 | 17 | 0.0034183 | 0.0008567 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4123-4_0_5_load_19 | 18 | 0.0077633 | 0.0019457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4123-4_0_5_load_24 | 20 | 0.0046723 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4123-4_0_5_load_28 | 21 | 0.00081194 | 0.00020349 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4123-4_0_5_load_27 | 22 | 0.0013764 | 0.00034496 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4123-4_0_5_load_182 | 23 | 0.0063329 | 0.0015872 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4123-4_0_5_load_107 | 24 | 0.0020984 | 0.0005259 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4123-4_0_5_load_26 | 25 | 0.0013543 | 0.00033941 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4123-4_0_5_load_12 | 26 | 0.011251 | 0.0028198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4123-4_0_5_load_145 | 33 | 0.0029054 | 0.00072815 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4123-4_0_5_load_159 | 34 | 0.016656 | 0.0041744 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4123-4_0_5_load_118 | 35 | 0.0052818 | 0.0013238 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4123-4_0_5_load_152 | 36 | 0.001248 | 0.00031277 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4123-4_0_5_load_149 | 37 | 0.0025866 | 0.00064827 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4123-4_0_5_load_112 | 38 | 0.0034407 | 0.00086233 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4123-4_0_5_load_165 | 42 | 0.0031165 | 0.00078107 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4123-4_0_5_load_170 | 43 | 0.0021304 | 0.00053394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4123-4_0_5_load_157 | 45 | 0.0042627 | 0.0010683 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4123-4_0_5_load_174 | 46 | 0.0011821 | 0.00029625 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4123-4_0_5_load_150 | 47 | 0.0027169 | 0.00068093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4123-4_0_5_load_160 | 48 | 0.0030035 | 0.00075275 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4123-4_0_5_load_131 | 49 | 0.0047247 | 0.0011841 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4123-4_0_5_load_158 | 50 | 0.0026596 | 0.00066657 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4123-4_0_5_load_25 | 51 | 0.0043525 | 0.0010908 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4123-4_0_5_load_106 | 53 | 0.0016068 | 0.00040271 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4123-4_0_5_load_29 | 54 | 0.0085569 | 0.0021446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4123-4_0_5_load_30 | 55 | 0.0056772 | 0.0014229 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4123-4_0_5_load_31 | 56 | 0.0082485 | 0.0020673 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4123-4_0_5_load_33 | 58 | 0.0082263 | 0.0020617 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4123-4_0_5_load_49 | 62 | 0.0060267 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4123-4_0_5_load_40 | 63 | 0.0064695 | 0.0016214 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4123-4_0_5_load_41 | 64 | 0.0054771 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4123-4_0_5_load_34 | 65 | 0.0087472 | 0.0021923 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4123-4_0_5_load_35 | 66 | 0.00074161 | 0.00018587 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4123-4_0_5_load_36 | 67 | 0.0011851 | 0.00029701 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4123-4_0_5_load_37 | 68 | 0.00068893 | 0.00017266 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4123-4_0_5_load_38 | 69 | 0.012873 | 0.0032263 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4123-4_0_5_load_50 | 70 | 0.00065222 | 0.00016346 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4123-4_0_5_load_42 | 71 | 0.0099883 | 0.0025033 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4123-4_0_5_load_43 | 72 | 0.0055748 | 0.0013972 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4123-4_0_5_load_92 | 73 | 0.0062089 | 0.0015561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4123-4_0_5_load_93 | 75 | 0.0061078 | 0.0015308 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4123-4_0_5_load_82 | 77 | 0.007356 | 0.0018436 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4123-4_0_5_load_66 | 79 | 0.0057324 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4123-4_0_5_load_47 | 80 | 0.0081656 | 0.0020465 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4123-4_0_5_load_44 | 81 | 0.0086108 | 0.0021581 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4123-4_0_5_load_45 | 82 | 0.0057447 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4123-4_0_5_load_46 | 83 | 0.0047655 | 0.0011943 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4123-4_0_5_load_48 | 84 | 0.016315 | 0.004089 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4123-4_0_5_load_58 | 86 | 0.0029766 | 0.00074601 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4123-4_0_5_load_71 | 87 | 0.0019494 | 0.00048858 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4123-4_0_5_load_67 | 88 | 0.0050298 | 0.0012606 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4123-4_0_5_load_54 | 89 | 0.012708 | 0.0031849 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4123-4_0_5_load_55 | 90 | 0.020465 | 0.005129 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4123-4_0_5_load_59 | 92 | 0.0019694 | 0.00049359 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4123-4_0_5_load_110 | 94 | 0.0013112 | 0.00032862 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4123-4_0_5_load_60 | 95 | 0.0025304 | 0.00063417 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4123-4_0_5_load_61 | 96 | 0.0074351 | 0.0018634 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4123-4_0_5_load_63 | 98 | 0.0013433 | 0.00033666 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4123-4_0_5_load_64 | 99 | 0.0029997 | 0.0007518 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4123-4_0_5_load_65 | 100 | 0.0015637 | 0.0003919 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4123-4_0_5_load_69 | 101 | 0.0025049 | 0.0006278 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4123-4_0_5_load_73 | 102 | 0.001669 | 0.00041829 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4123-4_0_5_load_74 | 103 | 0.0022192 | 0.00055619 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4123-4_0_5_load_68 | 104 | 0.0042264 | 0.0010592 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4123-4_0_5_load_116 | 105 | 0.0087217 | 0.0021859 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4123-4_0_5_load_114 | 106 | 0.0017824 | 0.00044671 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4123-4_0_5_load_70 | 107 | 0.011101 | 0.0027822 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4123-4_0_5_load_128 | 109 | 0.0014407 | 0.00036106 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4123-4_0_5_load_129 | 110 | 0.0018005 | 0.00045125 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4123-4_0_5_load_95 | 111 | 0.0046877 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4123-4_0_5_load_76 | 112 | 0.0015119 | 0.00037892 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4123-4_0_5_load_77 | 113 | 0.0067116 | 0.0016821 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4123-4_0_5_load_80 | 115 | 0.001458 | 0.00036542 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4123-4_0_5_load_81 | 116 | 0.0013739 | 0.00034433 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4123-4_0_5_load_102 | 118 | 0.0013626 | 0.00034149 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4123-4_0_5_load_96 | 121 | 0.0022933 | 0.00057476 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4123-4_0_5_load_101 | 122 | 0.00146 | 0.00036591 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4123-4_0_5_load_98 | 123 | 0.0060615 | 0.0015192 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4123-4_0_5_load_99 | 124 | 0.0066062 | 0.0016557 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4123-4_0_5_load_94 | 125 | 0.0009913 | 0.00024844 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4123-4_0_5_load_104 | 126 | 0.0029043 | 0.0007279 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4123-4_0_5_load_105 | 127 | 0.0020885 | 0.00052344 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4123-4_0_5_load_113 | 129 | 0.0011863 | 0.00029732 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4123-4_0_5_load_115 | 130 | 0.0011858 | 0.00029718 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4123-4_0_5_load_127 | 132 | 0.0018388 | 0.00046084 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4123-4_0_5_load_125 | 133 | 0.003181 | 0.00079724 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4123-4_0_5_load_119 | 135 | 0.0023412 | 0.00058676 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4123-4_0_5_load_120 | 136 | 0.0023335 | 0.00058482 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4123-4_0_5_load_126 | 137 | 0.002023 | 0.00050701 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4123-4_0_5_load_164 | 138 | 0.0070497 | 0.0017668 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4123-4_0_5_load_168 | 139 | 0.004594 | 0.0011514 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4123-4_0_5_load_147 | 140 | 0.0027557 | 0.00069065 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4123-4_0_5_load_137 | 141 | 0.0018672 | 0.00046796 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4123-4_0_5_load_139 | 142 | 0.001892 | 0.00047419 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4123-4_0_5_load_133 | 144 | 0.002948 | 0.00073883 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4123-4_0_5_load_134 | 145 | 0.0013971 | 0.00035014 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4123-4_0_5_load_135 | 146 | 0.0014326 | 0.00035906 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4123-4_0_5_load_136 | 147 | 0.0013705 | 0.00034348 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4123-4_0_5_load_138 | 148 | 0.001431 | 0.00035864 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4123-4_0_5_load_143 | 149 | 0.0028809 | 0.00072202 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4123-4_0_5_load_144 | 150 | 0.0014108 | 0.00035358 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4123-4_0_5_load_141 | 151 | 0.0014208 | 0.0003561 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4123-4_0_5_load_142 | 152 | 0.00080639 | 0.0002021 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4123-4_0_5_load_146 | 153 | 0.0037657 | 0.00094377 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4123-4_0_5_load_153 | 154 | 0.0014129 | 0.00035411 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4123-4_0_5_load_154 | 155 | 0.0028822 | 0.00072234 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4123-4_0_5_load_175 | 156 | 0.0021425 | 0.00053696 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4123-4_0_5_load_155 | 157 | 0.0095474 | 0.0023928 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4123-4_0_5_load_156 | 158 | 0.001143 | 0.00028647 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4123-4_0_5_load_161 | 159 | 0.0012379 | 0.00031024 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4123-4_0_5_load_162 | 160 | 0.0013537 | 0.00033926 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4123-4_0_5_load_167 | 161 | 0.0019332 | 0.0004845 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4123-4_0_5_load_172 | 162 | 0.0024167 | 0.00060568 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4123-4_0_5_load_173 | 163 | 0.0043616 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4123-4_0_5_load_166 | 164 | 0.0038497 | 0.00096484 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4123-4_0_5_load_169 | 165 | 0.0057051 | 0.0014298 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4123-4_0_5_load_176 | 167 | 0.0031946 | 0.00080064 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4123-4_0_5_load_177 | 168 | 0.0020129 | 0.00050449 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4123-4_0_5_load_181 | 169 | 0.0046973 | 0.0011772 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4123-4_0_5_load_178 | 170 | 0.0038752 | 0.00097122 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4123-4_0_5_load_179 | 171 | 0.0027693 | 0.00069406 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 89 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4123-4_0_5_line_0 |  | 0 | 1 | 0.0027133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4123-4_0_5_line_1 |  | 1 | 2 | 0.055791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4123-4_0_5_line_2 |  | 1 | 3 | 0.033716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4123-4_0_5_line_3 |  | 2 | 10 | 0.008249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4123-4_0_5_line_4 |  | 2 | 11 | 0.044037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4123-4_0_5_line_5 |  | 3 | 12 | 0.030278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4123-4_0_5_line_6 |  | 3 | 8 | 0.01998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4123-4_0_5_line_7 |  | 4 | 5 | 0.027496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4123-4_0_5_line_8 |  | 5 | 13 | 0.00412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4123-4_0_5_line_9 |  | 5 | 14 | 0.021075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4123-4_0_5_line_10 |  | 6 | 7 | 0.012848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4123-4_0_5_line_11 |  | 6 | 8 | 0.049562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4123-4_0_5_line_12 |  | 7 | 9 | 0.031873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4123-4_0_5_line_13 |  | 9 | 20 | 0.032963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4123-4_0_5_line_14 |  | 10 | 21 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4123-4_0_5_line_15 |  | 10 | 22 | 0.019495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4123-4_0_5_line_16 |  | 12 | 23 | 0.039936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4123-4_0_5_line_17 |  | 13 | 52 | 0.005551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4123-4_0_5_line_18 |  | 13 | 51 | 0.01786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4123-4_0_5_line_19 |  | 14 | 118 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4123-4_0_5_line_20 |  | 15 | 16 | 0.028081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4123-4_0_5_line_21 |  | 15 | 17 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4123-4_0_5_line_22 |  | 16 | 48 | 0.0074031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4123-4_0_5_line_23 |  | 16 | 19 | 0.00534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4123-4_0_5_line_24 |  | 17 | 49 | 0.022738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4123-4_0_5_line_25 |  | 18 | 19 | 0.026963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4123-4_0_5_line_26 |  | 20 | 51 | 0.0335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4123-4_0_5_line_27 |  | 21 | 24 | 0.004306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4123-4_0_5_line_28 |  | 22 | 25 | 0.00028905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4123-4_0_5_line_29 |  | 24 | 53 | 0.026771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4123-4_0_5_line_30 |  | 26 | 27 | 0.013696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4123-4_0_5_line_31 |  | 27 | 32 | 0.037586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4123-4_0_5_line_32 |  | 27 | 30 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4123-4_0_5_line_33 |  | 28 | 29 | 0.014916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4123-4_0_5_line_34 |  | 28 | 30 | 0.036264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4123-4_0_5_line_35 |  | 28 | 31 | 0.019682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4123-4_0_5_line_36 |  | 29 | 33 | 0.013488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4123-4_0_5_line_37 |  | 30 | 34 | 0.013991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4123-4_0_5_line_38 |  | 31 | 35 | 0.0096201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4123-4_0_5_line_39 |  | 32 | 36 | 0.011471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4123-4_0_5_line_40 |  | 32 | 37 | 0.030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4123-4_0_5_line_41 |  | 33 | 38 | 0.013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4123-4_0_5_line_42 |  | 36 | 46 | 0.012256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4123-4_0_5_line_43 |  | 37 | 47 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4123-4_0_5_line_44 |  | 38 | 93 | 0.01238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4123-4_0_5_line_45 |  | 39 | 40 | 0.004167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4123-4_0_5_line_46 |  | 39 | 41 | 0.054788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4123-4_0_5_line_47 |  | 39 | 42 | 0.021185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4123-4_0_5_line_48 |  | 40 | 43 | 0.030748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4123-4_0_5_line_49 |  | 41 | 44 | 0.05007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4123-4_0_5_line_50 |  | 41 | 45 | 0.014278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4123-4_0_5_line_51 |  | 42 | 138 | 0.030446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4123-4_0_5_line_52 |  | 43 | 139 | 0.015979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4123-4_0_5_line_53 |  | 44 | 140 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4123-4_0_5_line_54 |  | 45 | 141 | 0.017753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4123-4_0_5_line_55 |  | 46 | 156 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4123-4_0_5_line_56 |  | 48 | 50 | 0.01653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4123-4_0_5_line_57 |  | 49 | 128 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4123-4_0_5_line_58 |  | 52 | 121 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4123-4_0_5_line_59 |  | 54 | 55 | 0.026817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4123-4_0_5_line_60 |  | 54 | 56 | 0.0041225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4123-4_0_5_line_61 |  | 55 | 57 | 0.0087878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4123-4_0_5_line_62 |  | 56 | 58 | 0.011579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4123-4_0_5_line_63 |  | 57 | 59 | 0.033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_4123-4_0_5_line_64 |  | 58 | 60 | 0.009655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4123-4_0_5_line_65 |  | 59 | 61 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4123-4_0_5_line_66 |  | 59 | 62 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_4123-4_0_5_line_67 |  | 60 | 63 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4123-4_0_5_line_68 |  | 60 | 64 | 0.033089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4123-4_0_5_line_69 |  | 61 | 87 | 0.0024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4123-4_0_5_line_70 |  | 62 | 70 | 0.0098107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4123-4_0_5_line_71 |  | 63 | 73 | 0.02055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4123-4_0_5_line_72 |  | 64 | 74 | 0.008127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4123-4_0_5_line_73 |  | 65 | 66 | 0.017104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4123-4_0_5_line_74 |  | 65 | 67 | 0.003102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4123-4_0_5_line_75 |  | 66 | 68 | 0.001299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4123-4_0_5_line_76 |  | 67 | 69 | 0.022406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4123-4_0_5_line_77 |  | 68 | 70 | 0.020571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4123-4_0_5_line_78 |  | 69 | 71 | 0.0068438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4123-4_0_5_line_79 |  | 71 | 72 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_4123-4_0_5_line_80 |  | 72 | 78 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4123-4_0_5_line_81 |  | 73 | 75 | 0.020264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4123-4_0_5_line_82 |  | 74 | 76 | 0.032334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4123-4_0_5_line_83 |  | 74 | 77 | 0.022127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4123-4_0_5_line_84 |  | 76 | 108 | 0.008851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4123-4_0_5_line_85 |  | 76 | 107 | 0.020073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4123-4_0_5_line_86 |  | 77 | 119 | 0.034797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4123-4_0_5_line_87 |  | 78 | 79 | 0.00169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4123-4_0_5_line_88 |  | 78 | 80 | 0.030216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4123-4_0_5_line_89 |  | 79 | 88 | 0.013711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_4123-4_0_5_line_90 |  | 80 | 82 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4123-4_0_5_line_91 |  | 81 | 82 | 0.018098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4123-4_0_5_line_92 |  | 81 | 83 | 0.012319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4123-4_0_5_line_93 |  | 83 | 84 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4123-4_0_5_line_94 |  | 84 | 85 | 0.020768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_4123-4_0_5_line_95 |  | 85 | 86 | 0.0071065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4123-4_0_5_line_96 |  | 86 | 91 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4123-4_0_5_line_97 |  | 88 | 104 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4123-4_0_5_line_98 |  | 89 | 90 | 0.026535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4123-4_0_5_line_99 |  | 89 | 91 | 0.028131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_4123-4_0_5_line_100 |  | 91 | 92 | 0.017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4123-4_0_5_line_101 |  | 92 | 93 | 0.012277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_4123-4_0_5_line_102 |  | 93 | 94 | 0.0066015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_4123-4_0_5_line_103 |  | 94 | 100 | 0.0065665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_4123-4_0_5_line_104 |  | 95 | 96 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4123-4_0_5_line_105 |  | 95 | 97 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4123-4_0_5_line_106 |  | 96 | 98 | 0.0082004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4123-4_0_5_line_107 |  | 97 | 99 | 0.01121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_4123-4_0_5_line_108 |  | 97 | 100 | 0.032695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_4123-4_0_5_line_109 |  | 98 | 101 | 0.0099233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4123-4_0_5_line_110 |  | 99 | 102 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_4123-4_0_5_line_111 |  | 102 | 103 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
112 | LV_4123-4_0_5_line_112 |  | 103 | 109 | 0.0053816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_4123-4_0_5_line_113 |  | 104 | 105 | 0.0079381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
114 | LV_4123-4_0_5_line_114 |  | 105 | 106 | 0.0090081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
115 | LV_4123-4_0_5_line_115 |  | 106 | 129 | 0.01172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_4123-4_0_5_line_116 |  | 108 | 111 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4123-4_0_5_line_117 |  | 109 | 110 | 0.019877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4123-4_0_5_line_118 |  | 110 | 128 | 0.014767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4123-4_0_5_line_119 |  | 111 | 125 | 0.024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4123-4_0_5_line_120 |  | 112 | 113 | 0.020597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4123-4_0_5_line_121 |  | 112 | 114 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4123-4_0_5_line_122 |  | 114 | 115 | 0.0091804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4123-4_0_5_line_123 |  | 114 | 116 | 0.028621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4123-4_0_5_line_124 |  | 116 | 117 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4123-4_0_5_line_125 |  | 117 | 122 | 0.018512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4123-4_0_5_line_126 |  | 117 | 123 | 0.031023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4123-4_0_5_line_127 |  | 119 | 120 | 0.028595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4123-4_0_5_line_128 |  | 120 | 124 | 0.022374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4123-4_0_5_line_129 |  | 121 | 126 | 0.02877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4123-4_0_5_line_130 |  | 123 | 124 | 0.020979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4123-4_0_5_line_131 |  | 126 | 127 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4123-4_0_5_line_132 |  | 127 | 128 | 0.015305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4123-4_0_5_line_133 |  | 129 | 130 | 0.011783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
134 | LV_4123-4_0_5_line_134 |  | 130 | 131 | 0.0079779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
135 | LV_4123-4_0_5_line_135 |  | 131 | 132 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4123-4_0_5_line_136 |  | 131 | 133 | 0.037281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
137 | LV_4123-4_0_5_line_137 |  | 133 | 134 | 0.013887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
138 | LV_4123-4_0_5_line_138 |  | 134 | 137 | 0.015137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
139 | LV_4123-4_0_5_line_139 |  | 134 | 136 | 0.0073301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4123-4_0_5_line_140 |  | 135 | 136 | 0.039828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4123-4_0_5_line_141 |  | 137 | 142 | 0.023306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
142 | LV_4123-4_0_5_line_142 |  | 138 | 164 | 0.00019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4123-4_0_5_line_143 |  | 139 | 165 | 0.0061614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4123-4_0_5_line_144 |  | 140 | 153 | 0.014705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4123-4_0_5_line_145 |  | 141 | 146 | 0.0056219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4123-4_0_5_line_146 |  | 142 | 143 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_4123-4_0_5_line_147 |  | 143 | 151 | 0.011515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
148 | LV_4123-4_0_5_line_148 |  | 143 | 152 | 0.0092771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4123-4_0_5_line_149 |  | 144 | 145 | 0.0039703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4123-4_0_5_line_150 |  | 144 | 146 | 0.0018523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4123-4_0_5_line_151 |  | 145 | 147 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4123-4_0_5_line_152 |  | 147 | 148 | 0.0055382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4123-4_0_5_line_153 |  | 148 | 149 | 0.0014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4123-4_0_5_line_154 |  | 149 | 150 | 0.0041718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4123-4_0_5_line_155 |  | 151 | 153 | 0.028818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
156 | LV_4123-4_0_5_line_156 |  | 152 | 154 | 0.0033919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4123-4_0_5_line_157 |  | 154 | 155 | 0.0088632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4123-4_0_5_line_158 |  | 155 | 157 | 0.017158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4123-4_0_5_line_159 |  | 155 | 158 | 0.018886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4123-4_0_5_line_160 |  | 156 | 169 | 0.011184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4123-4_0_5_line_161 |  | 158 | 159 | 0.0052292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4123-4_0_5_line_162 |  | 159 | 160 | 0.0048339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4123-4_0_5_line_163 |  | 160 | 161 | 0.004394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_4123-4_0_5_line_164 |  | 162 | 163 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_4123-4_0_5_line_165 |  | 163 | 166 | 0.044859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_4123-4_0_5_line_166 |  | 165 | 166 | 0.041047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_4123-4_0_5_line_167 |  | 166 | 167 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
168 | LV_4123-4_0_5_line_168 |  | 167 | 168 | 0.027119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
169 | LV_4123-4_0_5_line_169 |  | 168 | 170 | 0.00089632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
170 | LV_4123-4_0_5_line_170 |  | 170 | 171 | 0.0043814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4123-4_0_5_trafo_54 | 0.63 MVA 20/0.4 kV | 172 | 89 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2658791.583 | 1259089.4077 | 2658792.1385 | 1259086.7519
1 | 2658791.583 | 1259089.4077 | 2658779.7945 | 1259143.9411
2 | 2658762.3609 | 1259072.4387 | 2658791.583 | 1259089.4077
3 | 2658787.9121 | 1259145.534 | 2658779.7945 | 1259143.9411
4 | 2658779.7945 | 1259143.9411 | 2658751.2777 | 1259139.4771 | 2658736.1872 | 1259137.8954
5 | 2658762.3609 | 1259072.4387 | 2658732.1322 | 1259069.5367
6 | 2658762.3609 | 1259072.4387 | 2658766.5862 | 1259052.9109
7 | 2658862.2091 | 1259076.2444 | 2658841.2417 | 1259058.4575
8 | 2658864.8263 | 1259073.057 | 2658862.2091 | 1259076.2444
9 | 2658862.2091 | 1259076.2444 | 2658859.5056 | 1259079.7645 | 2658860.783 | 1259082.4458 | 2658861.4987 | 1259085.5218 | 2658861.5597 | 1259088.4801 | 2658867.1169 | 1259093.6168
10 | 2658767.5554 | 1259007.8549 | 2658771.2919 | 1259002.7772 | 2658775.9658 | 1258998.198
11 | 2658767.5554 | 1259007.8549 | 2658775.0416 | 1259013.8335 | 2658766.5862 | 1259052.9109
12 | 2658775.9658 | 1258998.198 | 2658788.3025 | 1259009.1395 | 2658800.1103 | 1259018.9995
13 | 2658800.1103 | 1259018.9995 | 2658825.4122 | 1259040.1275
14 | 2658787.9121 | 1259145.534 | 2658804.0631 | 1259148.8412
15 | 2658787.9121 | 1259145.534 | 2658787.0475 | 1259148.3385 | 2658783.5943 | 1259164.5352
16 | 2658732.1322 | 1259069.5367 | 2658730.2539 | 1259088.6541 | 2658731.0139 | 1259094.11 | 2658734.2234 | 1259096.5547 | 2658745.3829 | 1259097.7441
17 | 2658869.0646 | 1259076.6573 | 2658864.8263 | 1259073.057
18 | 2658864.8263 | 1259073.057 | 2658851.5867 | 1259061.9841 | 2658851.1262 | 1259061.5995
19 | 2658867.1169 | 1259093.6168 | 2658862.8 | 1259099.4337 | 2658859.9992 | 1259106.6777 | 2658858.4009 | 1259114.0514
20 | 2658831.4314 | 1258964.0465 | 2658857.5059 | 1258953.4313
21 | 2658831.4314 | 1258964.0465 | 2658837.1551 | 1258967.6171 | 2658850.4307 | 1258977.6168
22 | 2658857.5059 | 1258953.4313 | 2658864.3395 | 1258950.5838
23 | 2658857.5059 | 1258953.4313 | 2658853.988 | 1258949.4046
24 | 2658870.0165 | 1258988.7807 | 2658859.7285 | 1258984.6203 | 2658850.4307 | 1258977.6168
25 | 2658853.988 | 1258949.4046 | 2658829.1383 | 1258959.8687
26 | 2658851.1262 | 1259061.5995 | 2658825.4122 | 1259040.1275
27 | 2658803.0516 | 1259153.0267 | 2658804.0631 | 1259148.8412 | 2658804.0631 | 1259148.8412
28 | 2658783.534 | 1259164.8179 | 2658783.5943 | 1259164.5352
29 | 2658796.7631 | 1259179.0485 | 2658803.0516 | 1259153.0267
30 | 2658933.3224 | 1258923.386 | 2658946.956 | 1258922.0758
31 | 2658933.3224 | 1258923.386 | 2658896.708 | 1258914.4375
32 | 2658933.3224 | 1258923.386 | 2658948.534 | 1258928.7302
33 | 2658984.859 | 1258929.637 | 2658984.4198 | 1258935.8927 | 2658990.7761 | 1258941.7714
34 | 2658984.859 | 1258929.637 | 2658966.599 | 1258928.3765 | 2658948.534 | 1258928.7302
35 | 2658984.859 | 1258929.637 | 2658996.7503 | 1258930.7897 | 2659004.0753 | 1258933.2756
36 | 2658990.7761 | 1258941.7714 | 2658986.6767 | 1258954.6211
37 | 2658948.534 | 1258928.7302 | 2658937.9936 | 1258929.6926 | 2658934.6128 | 1258930.1147
38 | 2659004.0753 | 1258933.2756 | 2659013.1846 | 1258936.3685
39 | 2658896.708 | 1258914.4375 | 2658900.4349 | 1258903.5889
40 | 2658896.708 | 1258914.4375 | 2658873.8754 | 1258906.8049 | 2658868.0736 | 1258904.8643
41 | 2658986.6767 | 1258954.6211 | 2658982.7035 | 1258967.075
42 | 2658900.4349 | 1258903.5889 | 2658904.4169 | 1258891.998 | 2658904.4169 | 1258891.998
43 | 2658868.0736 | 1258904.8643 | 2658848.7677 | 1258898.407
44 | 2658978.9408 | 1258978.8691 | 2658982.7035 | 1258967.075
45 | 2659024.494 | 1258882.1089 | 2659021.7489 | 1258885.2504
46 | 2659024.494 | 1258882.1089 | 2659041.2025 | 1258885.5112 | 2659069.3773 | 1258867.7128 | 2659073.2578 | 1258865.6166
47 | 2659024.494 | 1258882.1089 | 2659029.5928 | 1258861.5462
48 | 2659021.7489 | 1258885.2504 | 2659005.9643 | 1258895.0335 | 2658993.8596 | 1258896.3627
49 | 2659073.2578 | 1258865.6166 | 2659081.1967 | 1258861.7264 | 2659098.9914 | 1258853.7426 | 2659118.4859 | 1258843.8857
50 | 2659073.2578 | 1258865.6166 | 2659073.521 | 1258870.9676 | 2659071.4609 | 1258879.6474
51 | 2659036.1987 | 1258831.8323 | 2659032.7175 | 1258848.9447 | 2659029.5928 | 1258861.5462
52 | 2658978.5275 | 1258892.525 | 2658991.4826 | 1258896.6237 | 2658993.8596 | 1258896.3627
53 | 2659118.4859 | 1258843.8857 | 2659120.5818 | 1258848.3876 | 2659121.0116 | 1258852.9063 | 2659119.7999 | 1258859.453
54 | 2659067.3613 | 1258896.9209 | 2659071.4609 | 1258879.6474
55 | 2658920.3012 | 1258890.9801 | 2658918.7133 | 1258890.8394 | 2658904.4169 | 1258891.998
56 | 2658864.3395 | 1258950.5838 | 2658879.5974 | 1258944.2258
57 | 2658892.9359 | 1258998.0491 | 2658870.0165 | 1258988.7807
58 | 2658869.0646 | 1259076.6573 | 2658872.2557 | 1259070.34 | 2658873.0728 | 1259067.4837
59 | 2659055.1001 | 1259162.6068 | 2659043.9832 | 1259157.5352 | 2659030.3559 | 1259152.3007
60 | 2659026.5076 | 1259150.8225 | 2659030.3559 | 1259152.3007
61 | 2659063.0952 | 1259166.2543 | 2659055.1001 | 1259162.6068
62 | 2659015.6983 | 1259146.6706 | 2659026.5076 | 1259150.8225
63 | 2659091.9161 | 1259182.4981 | 2659063.0952 | 1259166.2543
64 | 2659006.6854 | 1259143.2086 | 2659015.6983 | 1259146.6706
65 | 2659106.6905 | 1259191.5409 | 2659091.9161 | 1259182.4981
66 | 2659091.9161 | 1259182.4981 | 2659098.911 | 1259162.9378
67 | 2659006.6854 | 1259143.2086 | 2659000.1411 | 1259163.082
68 | 2659006.6854 | 1259143.2086 | 2658989.3498 | 1259136.998 | 2658975.5442 | 1259132.0229
69 | 2659106.6905 | 1259191.5409 | 2659108.7586 | 1259192.7812
70 | 2659102.2145 | 1259153.7001 | 2659098.911 | 1259162.9378
71 | 2659000.1411 | 1259163.082 | 2658993.7135 | 1259182.6009
72 | 2658967.8985 | 1259129.2676 | 2658975.5442 | 1259132.0229
73 | 2659109.5115 | 1259133.0836 | 2659115.1338 | 1259116.9303
74 | 2659116.1535 | 1259114.0007 | 2659115.1338 | 1259116.9303
75 | 2659109.5115 | 1259133.0836 | 2659109.0845 | 1259134.3105
76 | 2659123.4439 | 1259092.8143 | 2659121.2863 | 1259099.2534 | 2659116.1535 | 1259114.0007
77 | 2659102.2145 | 1259153.7001 | 2659106.7583 | 1259140.994 | 2659109.0845 | 1259134.3105
78 | 2659123.4439 | 1259092.8143 | 2659125.6183 | 1259086.3251
79 | 2659131.6232 | 1259066.0498 | 2659129.7786 | 1259073.9088 | 2659125.6183 | 1259086.3251
80 | 2659136.345 | 1259045.932 | 2659131.6232 | 1259066.0498
81 | 2658993.7135 | 1259182.6009 | 2658987.3753 | 1259201.8484
82 | 2658937.3111 | 1259118.522 | 2658967.8985 | 1259129.2676
83 | 2658967.8985 | 1259129.2676 | 2658964.5202 | 1259151.1353
84 | 2658937.3111 | 1259118.522 | 2658928.9821 | 1259115.4591
85 | 2658937.3111 | 1259118.522 | 2658943.2424 | 1259099.345
86 | 2658955.41 | 1259180.5247 | 2658959.8973 | 1259181.0587 | 2658964.5202 | 1259151.1353
87 | 2659136.345 | 1259045.932 | 2659136.6683 | 1259044.2732
88 | 2659136.345 | 1259045.932 | 2659109.319 | 1259036.333 | 2659107.9549 | 1259035.6278
89 | 2659136.6683 | 1259044.2732 | 2659139.2919 | 1259030.8157
90 | 2659087.4239 | 1259025.0141 | 2659107.9549 | 1259035.6278
91 | 2659071.2234 | 1259016.9544 | 2659077.9117 | 1259020.0967 | 2659087.4239 | 1259025.0141
92 | 2659071.2234 | 1259016.9544 | 2659060.0737 | 1259011.7162
93 | 2659044.0912 | 1259004.2074 | 2659060.0737 | 1259011.7162
94 | 2659025.2939 | 1258995.3763 | 2659044.0912 | 1259004.2074
95 | 2659025.2939 | 1258995.3763 | 2659018.6224 | 1258992.9278
96 | 2659006.7952 | 1258988.587 | 2659018.6224 | 1258992.9278
97 | 2659142.9467 | 1259012.0683 | 2659139.2919 | 1259030.8157
98 | 2659014.6669 | 1259029.962 | 2659014.6669 | 1259029.962 | 2658996.9567 | 1259022.7358 | 2658999.0073 | 1259015.6183
99 | 2659006.7952 | 1258988.587 | 2658999.0073 | 1259015.6183
100 | 2659006.7952 | 1258988.587 | 2658990.5329 | 1258982.9134
101 | 2658978.9408 | 1258978.8691 | 2658990.5329 | 1258982.9134
102 | 2658978.9408 | 1258978.8691 | 2658977.1966 | 1258985.236
103 | 2658977.1966 | 1258985.236 | 2658975.4617 | 1258991.5692
104 | 2658963.3321 | 1259034.3905 | 2658959.6956 | 1259046.1483
105 | 2658966.8234 | 1259023.1026 | 2658963.3321 | 1259034.3905
106 | 2658957.2725 | 1259053.9825 | 2658959.6956 | 1259046.1483
107 | 2658966.8234 | 1259023.1026 | 2658956.2066 | 1259019.5027
108 | 2658966.8234 | 1259023.1026 | 2658975.4617 | 1258991.5692
109 | 2658957.2725 | 1259053.9825 | 2658954.3404 | 1259063.4627
110 | 2658956.2066 | 1259019.5027 | 2658943.448 | 1259015.1765
111 | 2658930.8419 | 1259010.9021 | 2658943.448 | 1259015.1765
112 | 2658930.8419 | 1259010.9021 | 2658925.7453 | 1259009.174
113 | 2659144.4656 | 1259004.2769 | 2659142.9467 | 1259012.0683
114 | 2659144.4656 | 1259004.2769 | 2659146.1893 | 1258995.4353
115 | 2659148.4319 | 1258983.932 | 2659146.1893 | 1258995.4353
116 | 2658928.9821 | 1259115.4591 | 2658930.5603 | 1259110.638 | 2658926.2078 | 1259110.1944 | 2658918.78 | 1259107.6594
117 | 2658906.9209 | 1259002.7911 | 2658925.7453 | 1259009.174
118 | 2658892.9359 | 1258998.0491 | 2658906.9209 | 1259002.7911
119 | 2658896.3929 | 1259096.8027 | 2658905.3063 | 1259101.7358 | 2658917.0126 | 1259107.0561 | 2658918.78 | 1259107.6594
120 | 2658897.941 | 1259148.8609 | 2658918.5212 | 1259148.0301
121 | 2658885.3013 | 1259149.3712 | 2658897.941 | 1259148.8609
122 | 2658885.3013 | 1259149.3712 | 2658876.2373 | 1259147.914
123 | 2658885.3013 | 1259149.3712 | 2658881.7591 | 1259177.7726
124 | 2658880.2472 | 1259189.8946 | 2658881.7591 | 1259177.7726
125 | 2658880.2472 | 1259189.8946 | 2658873.759 | 1259188.1844 | 2658862.271 | 1259185.4789
126 | 2658880.2472 | 1259189.8946 | 2658909.9431 | 1259198.8723
127 | 2658955.41 | 1259180.5247 | 2658951.9763 | 1259208.911
128 | 2658951.9763 | 1259208.911 | 2658936.6865 | 1259206.9574 | 2658930.0248 | 1259204.9434
129 | 2658873.0728 | 1259067.4837 | 2658880.9855 | 1259039.8234
130 | 2658909.9431 | 1259198.8723 | 2658930.0248 | 1259204.9434
131 | 2658888.7265 | 1259012.7638 | 2658880.9855 | 1259039.8234
132 | 2658892.9359 | 1258998.0491 | 2658888.7265 | 1259012.7638
133 | 2659148.4319 | 1258983.932 | 2659150.6866 | 1258972.3666
134 | 2659149.1139 | 1258964.5453 | 2659150.6866 | 1258972.3666
135 | 2659149.1139 | 1258964.5453 | 2659155.8458 | 1258959.2309 | 2659162.3348 | 1258951.8348 | 2659167.9277 | 1258941.3165
136 | 2659149.1139 | 1258964.5453 | 2659140.4479 | 1258968.784 | 2659130.323 | 1258971.9184 | 2659119.1576 | 1258972.0626 | 2659113.4197 | 1258970.8288
137 | 2659100.0989 | 1258967.0131 | 2659106.7388 | 1258969.3922 | 2659113.4197 | 1258970.8288
138 | 2659100.0989 | 1258967.0131 | 2659102.8374 | 1258952.1256
139 | 2659100.0989 | 1258967.0131 | 2659093.1984 | 1258964.5405
140 | 2659093.1984 | 1258964.5405 | 2659055.7049 | 1258951.1056
141 | 2659106.9702 | 1258929.1886 | 2659102.8489 | 1258952.0631 | 2659102.8374 | 1258952.1256
142 | 2659036.2368 | 1258831.6453 | 2659036.1987 | 1258831.8323
143 | 2658978.5275 | 1258892.525 | 2658978.5275 | 1258892.525 | 2658973.4452 | 1258889.0419
144 | 2659117.1239 | 1258873.9123 | 2659119.7999 | 1258859.453
145 | 2659067.3613 | 1258896.9209 | 2659066.063 | 1258902.3908
146 | 2659109.7841 | 1258913.5713 | 2659106.9702 | 1258929.1886
147 | 2659109.7841 | 1258913.5713 | 2659111.8796 | 1258902.2486
148 | 2659109.7841 | 1258913.5713 | 2659119.0149 | 1258914.4971
149 | 2659065.6353 | 1258904.1931 | 2659064.7185 | 1258908.056
150 | 2659066.063 | 1258902.3908 | 2659065.6353 | 1258904.1931
151 | 2659061.4667 | 1258921.757 | 2659064.7185 | 1258908.056
152 | 2659061.4667 | 1258921.757 | 2659060.1878 | 1258927.1454
153 | 2659060.1878 | 1258927.1454 | 2659059.8535 | 1258928.554
154 | 2659059.8535 | 1258928.554 | 2659058.8902 | 1258932.613
155 | 2659117.1239 | 1258873.9123 | 2659111.8796 | 1258902.2486
156 | 2659119.0149 | 1258914.4971 | 2659122.3899 | 1258914.8356
157 | 2659131.2088 | 1258915.7201 | 2659122.3899 | 1258914.8356
158 | 2659131.2088 | 1258915.7201 | 2659133.6099 | 1258898.7318
159 | 2659131.2088 | 1258915.7201 | 2659128.0723 | 1258934.3433
160 | 2658931.4417 | 1258891.9669 | 2658920.3012 | 1258890.9801
161 | 2659127.2039 | 1258939.4999 | 2659128.0723 | 1258934.3433
162 | 2659126.4011 | 1258944.2667 | 2659127.2039 | 1258939.4999
163 | 2659125.6713 | 1258948.5996 | 2659126.4011 | 1258944.2667
164 | 2658885.5389 | 1258856.5957 | 2658895.9303 | 1258858.5228 | 2658904.1605 | 1258858.9731
165 | 2658948.9021 | 1258857.7382 | 2658922.0136 | 1258859.95 | 2658904.1605 | 1258858.9731
166 | 2658948.9021 | 1258857.7382 | 2658959.8247 | 1258879.7073 | 2658973.4452 | 1258889.0419
167 | 2658948.9021 | 1258857.7382 | 2658948.1026 | 1258843.8868
168 | 2658948.1026 | 1258843.8868 | 2658947.1278 | 1258826.9984 | 2658947.7615 | 1258816.8158
169 | 2658947.7615 | 1258816.8158 | 2658947.8172 | 1258815.9213
170 | 2658947.8172 | 1258815.9213 | 2658948.0894 | 1258811.5484

## bus_geodata
| x | y | coords
0 | 2658792.1385 | 1259086.7519
1 | 2658791.583 | 1259089.4077
2 | 2658779.7945 | 1259143.9411
3 | 2658762.3609 | 1259072.4387
4 | 2658841.2417 | 1259058.4575
5 | 2658862.2091 | 1259076.2444
6 | 2658767.5554 | 1259007.8549
7 | 2658775.9658 | 1258998.198
8 | 2658766.5862 | 1259052.9109
9 | 2658800.1103 | 1259018.9995
10 | 2658787.9121 | 1259145.534
11 | 2658736.1872 | 1259137.8954
12 | 2658732.1322 | 1259069.5367
13 | 2658864.8263 | 1259073.057
14 | 2658867.1169 | 1259093.6168
15 | 2658831.4314 | 1258964.0465
16 | 2658857.5059 | 1258953.4313
17 | 2658850.4307 | 1258977.6168
18 | 2658829.1383 | 1258959.8687
19 | 2658853.988 | 1258949.4046
20 | 2658825.4122 | 1259040.1275
21 | 2658804.0631 | 1259148.8412
22 | 2658783.5943 | 1259164.5352
23 | 2658745.3829 | 1259097.7441
24 | 2658803.0516 | 1259153.0267
25 | 2658783.534 | 1259164.8179
26 | 2658946.956 | 1258922.0758
27 | 2658933.3224 | 1258923.386
28 | 2658984.859 | 1258929.637
29 | 2658990.7761 | 1258941.7714
30 | 2658948.534 | 1258928.7302
31 | 2659004.0753 | 1258933.2756
32 | 2658896.708 | 1258914.4375
33 | 2658986.6767 | 1258954.6211
34 | 2658934.6128 | 1258930.1147
35 | 2659013.1846 | 1258936.3685
36 | 2658900.4349 | 1258903.5889
37 | 2658868.0736 | 1258904.8643
38 | 2658982.7035 | 1258967.075
39 | 2659024.494 | 1258882.1089
40 | 2659021.7489 | 1258885.2504
41 | 2659073.2578 | 1258865.6166
42 | 2659029.5928 | 1258861.5462
43 | 2658993.8596 | 1258896.3627
44 | 2659118.4859 | 1258843.8857
45 | 2659071.4609 | 1258879.6474
46 | 2658904.4169 | 1258891.998
47 | 2658848.7677 | 1258898.407
48 | 2658864.3395 | 1258950.5838
49 | 2658870.0165 | 1258988.7807
50 | 2658879.5974 | 1258944.2258
51 | 2658851.1262 | 1259061.5995
52 | 2658869.0646 | 1259076.6573
53 | 2658796.7631 | 1259179.0485
54 | 2659030.3559 | 1259152.3007
55 | 2659055.1001 | 1259162.6068
56 | 2659026.5076 | 1259150.8225
57 | 2659063.0952 | 1259166.2543
58 | 2659015.6983 | 1259146.6706
59 | 2659091.9161 | 1259182.4981
60 | 2659006.6854 | 1259143.2086
61 | 2659106.6905 | 1259191.5409
62 | 2659098.911 | 1259162.9378
63 | 2659000.1411 | 1259163.082
64 | 2658975.5442 | 1259132.0229
65 | 2659115.1338 | 1259116.9303
66 | 2659109.5115 | 1259133.0836
67 | 2659116.1535 | 1259114.0007
68 | 2659109.0845 | 1259134.3105
69 | 2659123.4439 | 1259092.8143
70 | 2659102.2145 | 1259153.7001
71 | 2659125.6183 | 1259086.3251
72 | 2659131.6232 | 1259066.0498
73 | 2658993.7135 | 1259182.6009
74 | 2658967.8985 | 1259129.2676
75 | 2658987.3753 | 1259201.8484
76 | 2658937.3111 | 1259118.522
77 | 2658964.5202 | 1259151.1353
78 | 2659136.345 | 1259045.932
79 | 2659136.6683 | 1259044.2732
80 | 2659107.9549 | 1259035.6278
81 | 2659071.2234 | 1259016.9544
82 | 2659087.4239 | 1259025.0141
83 | 2659060.0737 | 1259011.7162
84 | 2659044.0912 | 1259004.2074
85 | 2659025.2939 | 1258995.3763
86 | 2659018.6224 | 1258992.9278
87 | 2659108.7586 | 1259192.7812
88 | 2659139.2919 | 1259030.8157
89 | 2658999.0073 | 1259015.6183
90 | 2659014.6669 | 1259029.962
91 | 2659006.7952 | 1258988.587
92 | 2658990.5329 | 1258982.9134
93 | 2658978.9408 | 1258978.8691
94 | 2658977.1966 | 1258985.236
95 | 2658963.3321 | 1259034.3905
96 | 2658959.6956 | 1259046.1483
97 | 2658966.8234 | 1259023.1026
98 | 2658957.2725 | 1259053.9825
99 | 2658956.2066 | 1259019.5027
100 | 2658975.4617 | 1258991.5692
101 | 2658954.3404 | 1259063.4627
102 | 2658943.448 | 1259015.1765
103 | 2658930.8419 | 1259010.9021
104 | 2659142.9467 | 1259012.0683
105 | 2659144.4656 | 1259004.2769
106 | 2659146.1893 | 1258995.4352
107 | 2658943.2424 | 1259099.345
108 | 2658928.9821 | 1259115.4591
109 | 2658925.7453 | 1259009.174
110 | 2658906.9209 | 1259002.7911
111 | 2658918.78 | 1259107.6594
112 | 2658897.941 | 1259148.8609
113 | 2658918.5212 | 1259148.0301
114 | 2658885.3014 | 1259149.3712
115 | 2658876.2373 | 1259147.914
116 | 2658881.7591 | 1259177.7726
117 | 2658880.2472 | 1259189.8946
118 | 2658858.4009 | 1259114.0514
119 | 2658955.41 | 1259180.5247
120 | 2658951.9763 | 1259208.911
121 | 2658873.0728 | 1259067.4837
122 | 2658862.271 | 1259185.4789
123 | 2658909.9431 | 1259198.8723
124 | 2658930.0248 | 1259204.9434
125 | 2658896.3929 | 1259096.8027
126 | 2658880.9855 | 1259039.8234
127 | 2658888.7265 | 1259012.7638
128 | 2658892.9359 | 1258998.0491
129 | 2659148.4319 | 1258983.932
130 | 2659150.6866 | 1258972.3666
131 | 2659149.1139 | 1258964.5453
132 | 2659167.9277 | 1258941.3165
133 | 2659113.4197 | 1258970.8288
134 | 2659100.0989 | 1258967.0131
135 | 2659055.7049 | 1258951.1056
136 | 2659093.1984 | 1258964.5405
137 | 2659102.8374 | 1258952.1256
138 | 2659036.1987 | 1258831.8323
139 | 2658978.5275 | 1258892.525
140 | 2659119.7999 | 1258859.453
141 | 2659067.3613 | 1258896.9209
142 | 2659106.9702 | 1258929.1886
143 | 2659109.7841 | 1258913.5713
144 | 2659065.6353 | 1258904.1931
145 | 2659064.7185 | 1258908.056
146 | 2659066.063 | 1258902.3908
147 | 2659061.4667 | 1258921.757
148 | 2659060.1878 | 1258927.1454
149 | 2659059.8535 | 1258928.554
150 | 2659058.8902 | 1258932.613
151 | 2659111.8796 | 1258902.2486
152 | 2659119.0149 | 1258914.4971
153 | 2659117.1239 | 1258873.9123
154 | 2659122.3899 | 1258914.8356
155 | 2659131.2088 | 1258915.7201
156 | 2658920.3012 | 1258890.9801
157 | 2659133.6099 | 1258898.7318
158 | 2659128.0723 | 1258934.3433
159 | 2659127.2039 | 1258939.4999
160 | 2659126.4011 | 1258944.2667
161 | 2659125.6713 | 1258948.5996
162 | 2658885.5389 | 1258856.5957
163 | 2658904.1605 | 1258858.9731
164 | 2659036.2368 | 1258831.6453
165 | 2658973.4452 | 1258889.0419
166 | 2658948.9021 | 1258857.7382
167 | 2658948.1026 | 1258843.8868
168 | 2658947.7615 | 1258816.8158
169 | 2658931.4417 | 1258891.9669
170 | 2658947.8172 | 1258815.9213
171 | 2658948.0894 | 1258811.5484
172 | 2659006.7952 | 1258988.587

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1