## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4123-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4123-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4123-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4123-6_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4123-6_0_3_node_31 | 0.4 | n |  | TRUE
5 | bus_LV_4123-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4123-6_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4123-6_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4123-6_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4123-6_0_3_node_62 | 0.4 | n |  | TRUE
10 | bus_LV_4123-6_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_4123-6_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4123-6_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4123-6_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4123-6_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4123-6_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4123-6_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4123-6_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_4123-6_0_3_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_4123-6_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4123-6_0_3_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_4123-6_0_3_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_4123-6_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_4123-6_0_3_node_52 | 0.4 | n |  | TRUE
24 | bus_LV_4123-6_0_3_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_4123-6_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4123-6_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4123-6_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4123-6_0_3_node_59 | 0.4 | n |  | TRUE
29 | bus_LV_4123-6_0_3_node_60 | 0.4 | n |  | TRUE
30 | bus_LV_4123-6_0_3_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_4123-6_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4123-6_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_4123-6_0_3_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_4123-6_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_4123-6_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_4123-6_0_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_4123-6_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_4123-6_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_4123-6_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4123-6_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_4123-6_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_4123-6_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_4123-6_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4123-6_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_4123-6_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_4123-6_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4123-6_0_3_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4123-6_0_3_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_4123-6_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_4123-6_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_4123-6_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4123-6_0_3_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_4123-6_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4123-6_0_3_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_4123-6_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4123-6_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_4123-6_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4123-6_0_3_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_4123-6_0_3_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_4123-6_0_3_node_58 | 0.4 | n |  | TRUE
61 | bus_MV_430_1_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4123-6_0_3_load_0 | 0 | 0.0098076 | 0.002458 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4123-6_0_3_load_1 | 1 | 0.0082045 | 0.0020562 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4123-6_0_3_load_2 | 2 | 0.0017125 | 0.00042919 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4123-6_0_3_load_4 | 3 | 0.0018589 | 0.00046588 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4123-6_0_3_load_5 | 5 | 0.0026908 | 0.00067437 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4123-6_0_3_load_6 | 7 | 0.004232 | 0.0010607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4123-6_0_3_load_62 | 9 | 0.010032 | 0.0025141 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4123-6_0_3_load_8 | 14 | 0.013322 | 0.0033389 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4123-6_0_3_load_9 | 15 | 0.026332 | 0.0065995 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4123-6_0_3_load_42 | 18 | 0.0078746 | 0.0019736 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4123-6_0_3_load_63 | 20 | 0.008512 | 0.0021333 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4123-6_0_3_load_30 | 21 | 0.01048 | 0.0026266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4123-6_0_3_load_26 | 22 | 0.017385 | 0.0043571 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4123-6_0_3_load_52 | 23 | 0.0034692 | 0.00086946 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4123-6_0_3_load_40 | 24 | 0.0070898 | 0.0017769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4123-6_0_3_load_15 | 25 | 0.02852 | 0.0071477 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4123-6_0_3_load_59 | 28 | 0.0061463 | 0.0015404 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4123-6_0_3_load_60 | 29 | 0.0061072 | 0.0015306 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4123-6_0_3_load_19 | 30 | 0.046525 | 0.01166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4123-6_0_3_load_61 | 33 | 0.0076981 | 0.0019293 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4123-6_0_3_load_48 | 36 | 0.010694 | 0.0026801 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4123-6_0_3_load_25 | 37 | 0.027002 | 0.0067674 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4123-6_0_3_load_27 | 39 | 0.010536 | 0.0026405 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4123-6_0_3_load_53 | 40 | 7.9756e-05 | 1.9989e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4123-6_0_3_load_51 | 41 | 0.0018614 | 0.00046652 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4123-6_0_3_load_33 | 42 | 0.002738 | 0.00068622 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4123-6_0_3_load_34 | 43 | 0.0020564 | 0.00051538 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4123-6_0_3_load_36 | 45 | 0.0027385 | 0.00068634 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4123-6_0_3_load_37 | 46 | 0.002707 | 0.00067844 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4123-6_0_3_load_38 | 47 | 0.0031327 | 0.00078514 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4123-6_0_3_load_56 | 48 | 0.0015516 | 0.00038886 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4123-6_0_3_load_50 | 49 | 0.0027374 | 0.00068605 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4123-6_0_3_load_39 | 51 | 0.0028524 | 0.00071488 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4123-6_0_3_load_41 | 52 | 0.0046074 | 0.0011547 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4123-6_0_3_load_43 | 53 | 0.0024216 | 0.0006069 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4123-6_0_3_load_54 | 54 | 0.0015516 | 0.00038887 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4123-6_0_3_load_44 | 55 | 0.0029167 | 0.00073099 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4123-6_0_3_load_45 | 56 | 0.0015516 | 0.00038886 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4123-6_0_3_load_46 | 57 | 0.0041104 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4123-6_0_3_load_47 | 58 | 0.005033 | 0.0012614 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4123-6_0_3_load_58 | 60 | 0.0018975 | 0.00047557 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4123-6_0_3_line_0 |  | 0 | 1 | 0.042885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4123-6_0_3_line_1 |  | 0 | 2 | 0.04653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4123-6_0_3_line_2 |  | 2 | 3 | 0.011884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4123-6_0_3_line_3 |  | 3 | 4 | 0.015423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4123-6_0_3_line_4 |  | 4 | 10 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4123-6_0_3_line_5 |  | 5 | 6 | 0.057596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4123-6_0_3_line_6 |  | 6 | 11 | 0.064805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4123-6_0_3_line_7 |  | 6 | 12 | 0.064673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4123-6_0_3_line_8 |  | 7 | 8 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4123-6_0_3_line_9 |  | 8 | 9 | 0.055539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4123-6_0_3_line_10 |  | 9 | 13 | 0.040426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4123-6_0_3_line_11 |  | 10 | 40 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4123-6_0_3_line_12 |  | 11 | 16 | 0.027669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4123-6_0_3_line_13 |  | 11 | 14 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4123-6_0_3_line_14 |  | 12 | 13 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4123-6_0_3_line_15 |  | 12 | 15 | 0.062532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4123-6_0_3_line_16 |  | 16 | 17 | 0.06663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4123-6_0_3_line_17 |  | 16 | 18 | 0.044862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4123-6_0_3_line_18 |  | 17 | 21 | 0.02835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4123-6_0_3_line_19 |  | 17 | 22 | 0.039312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4123-6_0_3_line_20 |  | 17 | 19 | 0.033875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4123-6_0_3_line_21 |  | 18 | 23 | 0.015066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4123-6_0_3_line_22 |  | 18 | 24 | 0.02302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4123-6_0_3_line_23 |  | 19 | 20 | 0.024895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4123-6_0_3_line_24 |  | 21 | 27 | 0.0039191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4123-6_0_3_line_25 |  | 22 | 39 | 0.0059681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4123-6_0_3_line_26 |  | 24 | 51 | 0.02283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4123-6_0_3_line_27 |  | 25 | 26 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4123-6_0_3_line_28 |  | 26 | 27 | 0.016527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4123-6_0_3_line_29 |  | 27 | 28 | 0.047101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4123-6_0_3_line_30 |  | 28 | 29 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4123-6_0_3_line_31 |  | 29 | 33 | 0.018903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4123-6_0_3_line_32 |  | 30 | 31 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4123-6_0_3_line_33 |  | 31 | 32 | 0.044061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4123-6_0_3_line_34 |  | 32 | 33 | 0.019631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4123-6_0_3_line_35 |  | 34 | 35 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4123-6_0_3_line_36 |  | 34 | 36 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4123-6_0_3_line_37 |  | 35 | 37 | 0.041986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4123-6_0_3_line_38 |  | 36 | 38 | 0.058804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4123-6_0_3_line_39 |  | 38 | 49 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4123-6_0_3_line_40 |  | 38 | 46 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4123-6_0_3_line_41 |  | 40 | 41 | 0.004433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4123-6_0_3_line_42 |  | 41 | 45 | 0.02279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4123-6_0_3_line_43 |  | 42 | 43 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4123-6_0_3_line_44 |  | 42 | 44 | 0.0086554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4123-6_0_3_line_45 |  | 43 | 45 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4123-6_0_3_line_46 |  | 44 | 46 | 0.012405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4123-6_0_3_line_47 |  | 44 | 47 | 0.031333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4123-6_0_3_line_48 |  | 47 | 48 | 0.0018325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4123-6_0_3_line_49 |  | 48 | 50 | 0.015048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4123-6_0_3_line_50 |  | 49 | 59 | 0.020417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4123-6_0_3_line_51 |  | 50 | 54 | 0.020276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4123-6_0_3_line_52 |  | 50 | 53 | 0.0085342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4123-6_0_3_line_53 |  | 51 | 52 | 0.0064696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4123-6_0_3_line_54 |  | 52 | 53 | 0.023783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4123-6_0_3_line_55 |  | 54 | 58 | 0.0079809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4123-6_0_3_line_56 |  | 55 | 56 | 0.027915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4123-6_0_3_line_57 |  | 55 | 57 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4123-6_0_3_line_58 |  | 56 | 58 | 0.00024401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4123-6_0_3_line_59 |  | 59 | 60 | 0.0027654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4123-6_0_3_trafo_40 | 0.63 MVA 20/0.4 kV | 61 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2658399.5832 | 1258595.7647 | 2658399.1938 | 1258596.025 | 2658366.6452 | 1258623.2236
1 | 2658437.6018 | 1258577.813 | 2658434.2924 | 1258580.8603 | 2658429.5177 | 1258576.5657 | 2658425.6555 | 1258578.34 | 2658399.5832 | 1258595.7647
2 | 2658437.6018 | 1258577.813 | 2658444.0485 | 1258587.7968
3 | 2658452.4148 | 1258600.7535 | 2658444.0485 | 1258587.7968
4 | 2658452.4148 | 1258600.7535 | 2658461.9032 | 1258613.99
5 | 2658360.1857 | 1258469.4828 | 2658374.68 | 1258494.2101 | 2658385.9033 | 1258511.2107 | 2658391.3444 | 1258517.8227
6 | 2658360.1857 | 1258469.4828 | 2658362.9002 | 1258467.1301 | 2658364.7851 | 1258464.0576 | 2658365.6562 | 1258460.5748 | 2658365.4429 | 1258456.9812 | 2658364.1491 | 1258453.6327 | 2658390.1577 | 1258435.3204 | 2658395.6923 | 1258431.3832 | 2658400.5496 | 1258438.0248
7 | 2658312.1703 | 1258481.0625 | 2658307.2994 | 1258475.0325 | 2658330.1951 | 1258469.6318 | 2658343.3656 | 1258465.0138 | 2658345.725 | 1258468.0949 | 2658348.9529 | 1258470.2504 | 2658352.7124 | 1258471.2549 | 2658356.5974 | 1258470.993 | 2658360.1857 | 1258469.4828
8 | 2658265.3114 | 1258594.9498 | 2658285.0351 | 1258606.7329
9 | 2658265.3114 | 1258594.9498 | 2658267.1503 | 1258590.409 | 2658277.5493 | 1258564.8152 | 2658286.2077 | 1258543.4917
10 | 2658298.4606 | 1258505.2227 | 2658296.4859 | 1258518.1792 | 2658286.2077 | 1258543.4917
11 | 2658461.9032 | 1258613.99 | 2658473.4923 | 1258602.2563
12 | 2658400.5496 | 1258438.0248 | 2658395.6923 | 1258431.3832 | 2658411.5221 | 1258420.0979
13 | 2658400.5496 | 1258438.0248 | 2658399.49 | 1258446.0868 | 2658386.1819 | 1258454.8085
14 | 2658298.4606 | 1258505.2227 | 2658300.935 | 1258488.9798 | 2658305.783 | 1258489.6836 | 2658307.0483 | 1258484.4479 | 2658312.1703 | 1258481.0625
15 | 2658312.1703 | 1258481.0625 | 2658318.0046 | 1258481.1311 | 2658342.1041 | 1258476.732 | 2658349.8707 | 1258479.6218 | 2658363.1463 | 1258499.5113
16 | 2658411.5221 | 1258420.0979 | 2658452.341 | 1258390.7241 | 2658465.6056 | 1258381.1815
17 | 2658438.7768 | 1258455.7925 | 2658411.5221 | 1258420.0979
18 | 2658465.6056 | 1258381.1815 | 2658488.7046 | 1258364.7444
19 | 2658465.6056 | 1258381.1815 | 2658451.8251 | 1258344.3637
20 | 2658463.1662 | 1258404.5186 | 2658452.341 | 1258390.7241 | 2658465.6056 | 1258381.1815
21 | 2658438.7768 | 1258455.7925 | 2658433.0139 | 1258464.5197 | 2658429.3451 | 1258467.3077
22 | 2658438.7768 | 1258455.7925 | 2658452.748 | 1258474.088
23 | 2658463.1662 | 1258404.5186 | 2658443.3627 | 1258419.6785
24 | 2658491.8977 | 1258362.4721 | 2658488.7046 | 1258364.7444
25 | 2658449.7331 | 1258338.7742 | 2658451.8251 | 1258344.3637
26 | 2658452.748 | 1258474.088 | 2658466.6042 | 1258492.2328
27 | 2658501.8313 | 1258375.702 | 2658508.51 | 1258384.1629 | 2658515.0469 | 1258392.4433
28 | 2658501.8313 | 1258375.702 | 2658491.8977 | 1258362.4721
29 | 2658491.8977 | 1258362.4721 | 2658523.14 | 1258340.2538 | 2658529.6681 | 1258334.4069
30 | 2658529.6681 | 1258334.4069 | 2658543.7482 | 1258321.796
31 | 2658543.7482 | 1258321.796 | 2658557.8289 | 1258309.1846
32 | 2658591.3134 | 1258335.8025 | 2658579.989 | 1258345.0304 | 2658582.7668 | 1258348.9205
33 | 2658591.3134 | 1258335.8025 | 2658576.577 | 1258308.159 | 2658572.452 | 1258296.0874
34 | 2658572.452 | 1258296.0874 | 2658557.8289 | 1258309.1846
35 | 2658606.2223 | 1258498.2445 | 2658605.7835 | 1258487.7438 | 2658612.9462 | 1258479.2752
36 | 2658606.2223 | 1258498.2445 | 2658590.2795 | 1258510.5987
37 | 2658612.9462 | 1258479.2752 | 2658622.472 | 1258456.0084 | 2658618.2158 | 1258439.7101
38 | 2658543.798 | 1258546.6174 | 2658590.2795 | 1258510.5987
39 | 2658543.798 | 1258546.6174 | 2658544.0292 | 1258546.8643 | 2658555.4087 | 1258558.9556
40 | 2658543.798 | 1258546.6174 | 2658530.0213 | 1258554.9535
41 | 2658476.6074 | 1258599.1023 | 2658473.4923 | 1258602.2563
42 | 2658476.6074 | 1258599.1023 | 2658493.7035 | 1258584.0328
43 | 2658501.431 | 1258577.2214 | 2658512.9146 | 1258567.0991
44 | 2658519.4077 | 1258561.3758 | 2658512.9146 | 1258567.0991
45 | 2658501.431 | 1258577.2214 | 2658493.7035 | 1258584.0328
46 | 2658519.4077 | 1258561.3758 | 2658530.0213 | 1258554.9535
47 | 2658519.4077 | 1258561.3758 | 2658500.3902 | 1258536.4746
48 | 2658500.3902 | 1258536.4746 | 2658499.278 | 1258535.0183
49 | 2658490.1445 | 1258523.0591 | 2658499.278 | 1258535.0183
50 | 2658569.4014 | 1258573.8235 | 2658555.4087 | 1258558.9556
51 | 2658490.1445 | 1258523.0591 | 2658473.69 | 1258534.9067
52 | 2658490.1445 | 1258523.0591 | 2658484.9649 | 1258516.2764
53 | 2658470.5307 | 1258497.3747 | 2658466.6042 | 1258492.2328
54 | 2658484.9649 | 1258516.2764 | 2658470.5307 | 1258497.3747
55 | 2658467.2133 | 1258539.5701 | 2658473.69 | 1258534.9067
56 | 2658467.0153 | 1258539.7127 | 2658454.1475 | 1258548.9778 | 2658446.6445 | 1258539.5379
57 | 2658437.4458 | 1258527.9646 | 2658446.6445 | 1258539.5379
58 | 2658467.0153 | 1258539.7127 | 2658467.2133 | 1258539.5701
59 | 2658569.4014 | 1258573.8235 | 2658571.1083 | 1258575.9992

## bus_geodata
| x | y | coords
0 | 2658399.5832 | 1258595.7647
1 | 2658366.6452 | 1258623.2236
2 | 2658437.6018 | 1258577.813
3 | 2658444.0485 | 1258587.7968
4 | 2658452.4148 | 1258600.7535
5 | 2658391.3444 | 1258517.8227
6 | 2658360.1857 | 1258469.4828
7 | 2658285.0351 | 1258606.7329
8 | 2658265.3114 | 1258594.9498
9 | 2658286.2077 | 1258543.4917
10 | 2658461.9032 | 1258613.99
11 | 2658400.5496 | 1258438.0248
12 | 2658312.1703 | 1258481.0625
13 | 2658298.4606 | 1258505.2227
14 | 2658386.1819 | 1258454.8085
15 | 2658363.1463 | 1258499.5113
16 | 2658411.5221 | 1258420.0979
17 | 2658465.6056 | 1258381.1815
18 | 2658438.7768 | 1258455.7925
19 | 2658463.1662 | 1258404.5186
20 | 2658443.3627 | 1258419.6785
21 | 2658488.7046 | 1258364.7444
22 | 2658451.8251 | 1258344.3637
23 | 2658429.3451 | 1258467.3077
24 | 2658452.748 | 1258474.088
25 | 2658515.0469 | 1258392.4433
26 | 2658501.8313 | 1258375.702
27 | 2658491.8977 | 1258362.4721
28 | 2658529.6681 | 1258334.4069
29 | 2658543.7482 | 1258321.796
30 | 2658582.7668 | 1258348.9205
31 | 2658591.3134 | 1258335.8025
32 | 2658572.452 | 1258296.0874
33 | 2658557.8289 | 1258309.1846
34 | 2658606.2223 | 1258498.2445
35 | 2658612.9462 | 1258479.2752
36 | 2658590.2795 | 1258510.5987
37 | 2658618.2158 | 1258439.7101
38 | 2658543.798 | 1258546.6174
39 | 2658449.7331 | 1258338.7742
40 | 2658473.4923 | 1258602.2563
41 | 2658476.6074 | 1258599.1023
42 | 2658512.9146 | 1258567.0991
43 | 2658501.431 | 1258577.2214
44 | 2658519.4077 | 1258561.3758
45 | 2658493.7035 | 1258584.0328
46 | 2658530.0213 | 1258554.9535
47 | 2658500.3902 | 1258536.4746
48 | 2658499.278 | 1258535.0183
49 | 2658555.4087 | 1258558.9556
50 | 2658490.1445 | 1258523.0591
51 | 2658466.6042 | 1258492.2328
52 | 2658470.5307 | 1258497.3747
53 | 2658484.9649 | 1258516.2764
54 | 2658473.69 | 1258534.9067
55 | 2658446.6445 | 1258539.5379
56 | 2658467.0153 | 1258539.7127
57 | 2658437.4458 | 1258527.9646
58 | 2658467.2133 | 1258539.5701
59 | 2658569.4014 | 1258573.8235
60 | 2658571.1083 | 1258575.9992
61 | 2658438.7768 | 1258455.7925

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1