## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4123-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4123-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4123-8_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4123-8_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4123-8_0_6_node_55 | 0.4 | n |  | TRUE
5 | bus_LV_4123-8_0_6_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_4123-8_0_6_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_4123-8_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4123-8_0_6_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_4123-8_0_6_node_48 | 0.4 | n |  | TRUE
10 | bus_LV_4123-8_0_6_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_4123-8_0_6_node_40 | 0.4 | n |  | TRUE
12 | bus_LV_4123-8_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4123-8_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4123-8_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4123-8_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4123-8_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4123-8_0_6_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_4123-8_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4123-8_0_6_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_4123-8_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4123-8_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_4123-8_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4123-8_0_6_node_81 | 0.4 | n |  | TRUE
24 | bus_LV_4123-8_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4123-8_0_6_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_4123-8_0_6_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_4123-8_0_6_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_4123-8_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4123-8_0_6_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_4123-8_0_6_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4123-8_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4123-8_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4123-8_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4123-8_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4123-8_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4123-8_0_6_node_54 | 0.4 | n |  | TRUE
37 | bus_LV_4123-8_0_6_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_4123-8_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_4123-8_0_6_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_4123-8_0_6_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_4123-8_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4123-8_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_4123-8_0_6_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_4123-8_0_6_node_26 | 0.4 | n |  | TRUE
45 | bus_LV_4123-8_0_6_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_4123-8_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_4123-8_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_4123-8_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_4123-8_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_4123-8_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_4123-8_0_6_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_4123-8_0_6_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4123-8_0_6_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4123-8_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_4123-8_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_4123-8_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_4123-8_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4123-8_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4123-8_0_6_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4123-8_0_6_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_4123-8_0_6_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_4123-8_0_6_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_4123-8_0_6_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_4123-8_0_6_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_4123-8_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4123-8_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_4123-8_0_6_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_4123-8_0_6_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_4123-8_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_4123-8_0_6_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_4123-8_0_6_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_4123-8_0_6_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_4123-8_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4123-8_0_6_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4123-8_0_6_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_4123-8_0_6_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_4123-8_0_6_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_4123-8_0_6_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_4123-8_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_4123-8_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4123-8_0_6_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4123-8_0_6_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4123-8_0_6_node_77 | 0.4 | n |  | TRUE
84 | bus_MV_430_1_node_107 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4123-8_0_6_load_0 | 0 | 0.012278 | 0.0030773 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4123-8_0_6_load_3 | 2 | 0.0036276 | 0.00090916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4123-8_0_6_load_55 | 4 | 0.0012323 | 0.00030885 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4123-8_0_6_load_44 | 5 | 0.0027266 | 0.00068336 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4123-8_0_6_load_31 | 6 | 0.003181 | 0.00079723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4123-8_0_6_load_43 | 8 | 0.032376 | 0.0081142 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4123-8_0_6_load_48 | 9 | 0.0014414 | 0.00036126 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4123-8_0_6_load_30 | 10 | 0.0018356 | 0.00046004 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4123-8_0_6_load_6 | 12 | 0.013064 | 0.0032742 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4123-8_0_6_load_7 | 13 | 0.0017606 | 0.00044124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4123-8_0_6_load_8 | 14 | 0.00077746 | 0.00019485 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4123-8_0_6_load_9 | 15 | 0.0067024 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4123-8_0_6_load_10 | 16 | 0.0091991 | 0.0023055 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4123-8_0_6_load_56 | 17 | 0.0039502 | 0.00099003 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4123-8_0_6_load_57 | 19 | 0.002433 | 0.00060976 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4123-8_0_6_load_14 | 22 | 0.089094 | 0.022329 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4123-8_0_6_load_81 | 23 | 0.0143 | 0.003584 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4123-8_0_6_load_82 | 25 | 0.012518 | 0.0031373 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4123-8_0_6_load_16 | 26 | 0.0068917 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4123-8_0_6_load_17 | 28 | 0.024851 | 0.0062281 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4123-8_0_6_load_84 | 29 | 0.0070877 | 0.0017763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4123-8_0_6_load_18 | 30 | 0.0048278 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4123-8_0_6_load_19 | 31 | 0.0013795 | 0.00034573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4123-8_0_6_load_20 | 32 | 0.0020536 | 0.00051468 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4123-8_0_6_load_21 | 33 | 0.0016571 | 0.0004153 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4123-8_0_6_load_27 | 35 | 0.0030031 | 0.00075266 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4123-8_0_6_load_54 | 36 | 0.0044974 | 0.0011272 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4123-8_0_6_load_28 | 38 | 0.0058019 | 0.0014541 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4123-8_0_6_load_33 | 40 | 0.0010984 | 0.00027528 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4123-8_0_6_load_23 | 41 | 0.0034601 | 0.00086719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4123-8_0_6_load_24 | 42 | 0.0023922 | 0.00059954 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4123-8_0_6_load_25 | 43 | 0.0032277 | 0.00080894 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4123-8_0_6_load_26 | 44 | 0.0020779 | 0.00052077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4123-8_0_6_load_41 | 46 | 0.0043215 | 0.0010831 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4123-8_0_6_load_29 | 47 | 0.0025742 | 0.00064515 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4123-8_0_6_load_45 | 48 | 0.0029884 | 0.00074896 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4123-8_0_6_load_52 | 49 | 0.0012143 | 0.00030433 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4123-8_0_6_load_50 | 50 | 0.0012946 | 0.00032446 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4123-8_0_6_load_34 | 51 | 0.0035049 | 0.0008784 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4123-8_0_6_load_35 | 52 | 0.0023798 | 0.00059644 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4123-8_0_6_load_36 | 53 | 0.0258 | 0.006466 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4123-8_0_6_load_37 | 54 | 0.0021146 | 0.00052998 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4123-8_0_6_load_47 | 55 | 0.0018212 | 0.00045643 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4123-8_0_6_load_46 | 56 | 0.0025378 | 0.00063604 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4123-8_0_6_load_38 | 57 | 0.0021174 | 0.00053067 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4123-8_0_6_load_39 | 58 | 0.0021032 | 0.00052712 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4123-8_0_6_load_65 | 60 | 0.038504 | 0.0096499 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4123-8_0_6_load_66 | 61 | 0.022646 | 0.0056756 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4123-8_0_6_load_62 | 62 | 0.015895 | 0.0039836 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4123-8_0_6_load_69 | 63 | 0.0041911 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4123-8_0_6_load_70 | 64 | 0.010228 | 0.0025634 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4123-8_0_6_load_63 | 65 | 0.028837 | 0.0072272 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4123-8_0_6_load_51 | 66 | 0.0011501 | 0.00028825 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4123-8_0_6_load_53 | 67 | 0.0014129 | 0.0003541 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4123-8_0_6_load_73 | 68 | 0.0060858 | 0.0015252 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4123-8_0_6_load_67 | 70 | 0.0047222 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4123-8_0_6_load_58 | 71 | 0.0022672 | 0.0005682 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4123-8_0_6_load_60 | 73 | 0.0069372 | 0.0017386 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4123-8_0_6_load_80 | 75 | 0.01745 | 0.0043734 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4123-8_0_6_load_64 | 77 | 0.0085436 | 0.0021412 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4123-8_0_6_load_71 | 78 | 0.004192 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4123-8_0_6_load_74 | 79 | 0.0041895 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4123-8_0_6_load_75 | 80 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4123-8_0_6_load_76 | 81 | 0.0041911 | 0.0010504 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4123-8_0_6_load_78 | 82 | 0.008222 | 0.0020606 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4123-8_0_6_load_77 | 83 | 0.0082265 | 0.0020618 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4123-8_0_6_line_0 |  | 0 | 1 | 0.05093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4123-8_0_6_line_1 |  | 1 | 2 | 0.025851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_4123-8_0_6_line_2 |  | 1 | 3 | 0.086802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4123-8_0_6_line_3 |  | 2 | 4 | 0.02575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_4123-8_0_6_line_4 |  | 3 | 5 | 0.013699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4123-8_0_6_line_5 |  | 3 | 6 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4123-8_0_6_line_6 |  | 4 | 7 | 0.021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4123-8_0_6_line_7 |  | 5 | 9 | 0.016393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4123-8_0_6_line_8 |  | 6 | 10 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4123-8_0_6_line_9 |  | 7 | 8 | 0.060732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4123-8_0_6_line_10 |  | 8 | 11 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4123-8_0_6_line_11 |  | 9 | 56 | 0.033205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4123-8_0_6_line_12 |  | 10 | 37 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4123-8_0_6_line_13 |  | 11 | 59 | 0.042795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4123-8_0_6_line_14 |  | 11 | 57 | 0.019588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4123-8_0_6_line_15 |  | 12 | 13 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4123-8_0_6_line_16 |  | 12 | 14 | 0.015697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4123-8_0_6_line_17 |  | 13 | 15 | 0.028455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4123-8_0_6_line_18 |  | 14 | 16 | 0.040178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4123-8_0_6_line_19 |  | 15 | 17 | 0.0080045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4123-8_0_6_line_20 |  | 16 | 18 | 0.071272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4123-8_0_6_line_21 |  | 17 | 19 | 0.034215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4123-8_0_6_line_22 |  | 18 | 20 | 0.017627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4123-8_0_6_line_23 |  | 19 | 69 | 0.001959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4123-8_0_6_line_24 |  | 20 | 21 | 0.046447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4123-8_0_6_line_25 |  | 20 | 22 | 0.063204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4123-8_0_6_line_26 |  | 21 | 23 | 0.036432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4123-8_0_6_line_27 |  | 22 | 24 | 0.065462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4123-8_0_6_line_28 |  | 23 | 25 | 0.010461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4123-8_0_6_line_29 |  | 24 | 26 | 0.087897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4123-8_0_6_line_30 |  | 24 | 27 | 0.29982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4123-8_0_6_line_31 |  | 26 | 28 | 0.079021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4123-8_0_6_line_32 |  | 27 | 29 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4123-8_0_6_line_33 |  | 30 | 31 | 0.0045848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4123-8_0_6_line_34 |  | 30 | 32 | 0.01648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4123-8_0_6_line_35 |  | 31 | 33 | 0.022334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4123-8_0_6_line_36 |  | 32 | 34 | 0.012099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4123-8_0_6_line_37 |  | 33 | 35 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4123-8_0_6_line_38 |  | 34 | 36 | 0.060934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4123-8_0_6_line_39 |  | 34 | 37 | 0.059777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4123-8_0_6_line_40 |  | 35 | 38 | 0.017531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4123-8_0_6_line_41 |  | 36 | 39 | 0.031003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4123-8_0_6_line_42 |  | 37 | 40 | 0.036255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4123-8_0_6_line_43 |  | 38 | 47 | 0.00077075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4123-8_0_6_line_44 |  | 39 | 68 | 0.073084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4123-8_0_6_line_45 |  | 40 | 49 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4123-8_0_6_line_46 |  | 41 | 42 | 0.01067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4123-8_0_6_line_47 |  | 41 | 43 | 0.0032233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4123-8_0_6_line_48 |  | 42 | 44 | 0.020436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4123-8_0_6_line_49 |  | 44 | 45 | 0.057207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4123-8_0_6_line_50 |  | 45 | 46 | 0.0093939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4123-8_0_6_line_51 |  | 46 | 58 | 0.021668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4123-8_0_6_line_52 |  | 47 | 48 | 0.02 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4123-8_0_6_line_53 |  | 49 | 50 | 0.0098416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4123-8_0_6_line_54 |  | 50 | 66 | 0.0082758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4123-8_0_6_line_55 |  | 51 | 52 | 0.00078817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4123-8_0_6_line_56 |  | 51 | 53 | 0.014173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4123-8_0_6_line_57 |  | 52 | 54 | 0.025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4123-8_0_6_line_58 |  | 54 | 55 | 0.016369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4123-8_0_6_line_59 |  | 55 | 56 | 0.0082668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4123-8_0_6_line_60 |  | 57 | 58 | 0.015965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4123-8_0_6_line_61 |  | 59 | 60 | 0.028279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4123-8_0_6_line_62 |  | 59 | 61 | 0.022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4123-8_0_6_line_63 |  | 59 | 62 | 0.037125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4123-8_0_6_line_64 |  | 60 | 63 | 0.0032936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4123-8_0_6_line_65 |  | 61 | 64 | 0.0026436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4123-8_0_6_line_66 |  | 62 | 65 | 0.0064497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4123-8_0_6_line_67 |  | 64 | 78 | 0.017096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4123-8_0_6_line_68 |  | 65 | 77 | 0.008165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4123-8_0_6_line_69 |  | 66 | 67 | 0.022197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4123-8_0_6_line_70 |  | 69 | 70 | 0.0064998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4123-8_0_6_line_71 |  | 70 | 77 | 0.034634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4123-8_0_6_line_72 |  | 71 | 72 | 0.0096829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4123-8_0_6_line_73 |  | 71 | 73 | 0.0068553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4123-8_0_6_line_74 |  | 72 | 74 | 0.14469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4123-8_0_6_line_75 |  | 74 | 75 | 0.035885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4123-8_0_6_line_76 |  | 75 | 76 | 0.027779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4123-8_0_6_line_77 |  | 76 | 82 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4123-8_0_6_line_78 |  | 76 | 81 | 0.061052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4123-8_0_6_line_79 |  | 78 | 79 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4123-8_0_6_line_80 |  | 79 | 80 | 0.018602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4123-8_0_6_line_81 |  | 80 | 81 | 0.018605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4123-8_0_6_line_82 |  | 82 | 83 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4123-8_0_6_trafo_56 | 0.63 MVA 20/0.4 kV | 84 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2658158.6275 | 1258074.6498 | 2658180.3875 | 1258064.5118 | 2658170.929 | 1258039.3033
1 | 2658158.6275 | 1258074.6498 | 2658170.5114 | 1258097.6071
2 | 2658115.5496 | 1258072.2029 | 2658139.9116 | 1258035.8715 | 2658158.6275 | 1258074.6498
3 | 2658170.5114 | 1258097.6071 | 2658177.2501 | 1258110.6252 | 2658181.9441 | 1258113.9959 | 2658186.2217 | 1258113.7044 | 2658187.0162 | 1258113.0566
4 | 2658115.5496 | 1258072.2029 | 2658124.6847 | 1258082.4118
5 | 2658115.5496 | 1258072.2029 | 2658103.9586 | 1258088.8535
6 | 2658204.2407 | 1258099.8716 | 2658195.0606 | 1258106.4972 | 2658187.0162 | 1258113.0566
7 | 2658124.6847 | 1258082.4118 | 2658131.1281 | 1258089.6127 | 2658135.0212 | 1258095.1031
8 | 2658103.9586 | 1258088.8535 | 2658102.5419 | 1258090.8887 | 2658091.1846 | 1258107.0464
9 | 2658204.2407 | 1258099.8716 | 2658210.6528 | 1258114.8231 | 2658222.8297 | 1258143.063 | 2658228.0328 | 1258155.7475
10 | 2658235.4049 | 1258173.7198 | 2658228.0328 | 1258155.7475
11 | 2658154.2272 | 1258122.1894 | 2658135.0212 | 1258095.1031
12 | 2658081.5766 | 1258120.7155 | 2658091.1846 | 1258107.0464
13 | 2658275.9675 | 1258159.731 | 2658246.3268 | 1258170.1246 | 2658241.8037 | 1258171.6145 | 2658235.4049 | 1258173.7198
14 | 2658235.4049 | 1258173.7198 | 2658240.2508 | 1258185.3869 | 2658242.9184 | 1258191.8093
15 | 2658227.2591 | 1257981.4661 | 2658225.1275 | 1257990.7431 | 2658224.3841 | 1258003.6549
16 | 2658227.2591 | 1257981.4661 | 2658228.4515 | 1257976.2765 | 2658232.5097 | 1257966.7309
17 | 2658227.5555 | 1258031.6296 | 2658224.5188 | 1258021.9595 | 2658224.1 | 1258008.5902 | 2658224.3841 | 1258003.6549
18 | 2658248.4308 | 1257929.8446 | 2658245.1302 | 1257937.0457 | 2658232.5097 | 1257966.7309
19 | 2658227.5555 | 1258031.6296 | 2658229.9536 | 1258039.2664
20 | 2658272.7596 | 1257863.0423 | 2658269.6435 | 1257876.2878 | 2658258.7679 | 1257907.2919 | 2658248.4308 | 1257929.8446
21 | 2658240.2044 | 1258071.9098 | 2658229.9536 | 1258039.2664
22 | 2658272.7596 | 1257863.0423 | 2658273.6417 | 1257845.4384
23 | 2658240.7914 | 1258073.7789 | 2658240.2044 | 1258071.9098
24 | 2658273.6417 | 1257845.4384 | 2658251.4776 | 1257847.5107 | 2658241.0959 | 1257846.7191 | 2658228.2018 | 1257841.5108
25 | 2658273.6417 | 1257845.4384 | 2658334.9121 | 1257829.924
26 | 2658228.2018 | 1257841.5108 | 2658232.7617 | 1257818.6726 | 2658234.5942 | 1257805.6583
27 | 2658398.371 | 1257813.8555 | 2658334.9121 | 1257829.924
28 | 2658236.0528 | 1257795.2994 | 2658234.5942 | 1257805.6583
29 | 2658398.371 | 1257813.8555 | 2658379.3421 | 1257770.1921 | 2658355.7086 | 1257737.5903
30 | 2658398.371 | 1257813.8555 | 2658689.2821 | 1257741.3015
31 | 2658320.0464 | 1257667.4198 | 2658329.5135 | 1257692.0674 | 2658347.9889 | 1257726.9411 | 2658355.7086 | 1257737.5903
32 | 2658708.0458 | 1257725.5985 | 2658696.2622 | 1257733.1093 | 2658692.1589 | 1257736.3153 | 2658689.2821 | 1257741.3015
33 | 2658091.4001 | 1258190.1805 | 2658087.2263 | 1258188.2831
34 | 2658072.2234 | 1258181.4628 | 2658087.2263 | 1258188.2831
35 | 2658091.4001 | 1258190.1805 | 2658111.732 | 1258199.4233
36 | 2658061.2091 | 1258176.4557 | 2658072.2234 | 1258181.4628
37 | 2658111.732 | 1258199.4233 | 2658122.2568 | 1258204.2079
38 | 2658061.2091 | 1258176.4557 | 2658059.5751 | 1258192.3956 | 2658059.7995 | 1258208.7095 | 2658061.7809 | 1258237.2361
39 | 2658061.2091 | 1258176.4557 | 2658068.3742 | 1258146.1932 | 2658081.5766 | 1258120.7155
40 | 2658138.2159 | 1258211.4629 | 2658122.2568 | 1258204.2079
41 | 2658063.6942 | 1258268.1792 | 2658062.4418 | 1258246.7516 | 2658061.7809 | 1258237.2361
42 | 2658081.5766 | 1258120.7155 | 2658111.9536 | 1258140.5055 | 2658111.9536 | 1258140.5055
43 | 2658138.9175 | 1258211.7818 | 2658138.2159 | 1258211.4629
44 | 2658063.6942 | 1258268.1792 | 2658077.9941 | 1258269.109 | 2658093.6884 | 1258271.6092 | 2658112.6355 | 1258282.9588 | 2658129.8255 | 1258294.6252
45 | 2658111.9536 | 1258140.5055 | 2658115.9497 | 1258145.8485 | 2658119.0925 | 1258148.9189
46 | 2658194.1753 | 1258236.5299 | 2658184.5916 | 1258231.8386
47 | 2658181.6965 | 1258230.4214 | 2658184.5916 | 1258231.8386
48 | 2658212.53 | 1258245.5147 | 2658194.1753 | 1258236.5299
49 | 2658260.96 | 1258235.2375 | 2658255.5851 | 1258238.2535 | 2658243.5744 | 1258250.6109 | 2658237.244 | 1258254.1956 | 2658228.0346 | 1258253.1043 | 2658212.53 | 1258245.5147
50 | 2658260.96 | 1258235.2375 | 2658257.9331 | 1258227.9581 | 2658257.3538 | 1258226.5633
51 | 2658249.0424 | 1258206.5532 | 2658257.3538 | 1258226.5633
52 | 2658138.9175 | 1258211.7818 | 2658157.1248 | 1258220.0588
53 | 2658126.5587 | 1258155.3144 | 2658121.4682 | 1258151.2399 | 2658119.0925 | 1258148.9189
54 | 2658126.5587 | 1258155.3144 | 2658133.0196 | 1258160.4859
55 | 2658183.0279 | 1258164.4037 | 2658182.5842 | 1258163.7522
56 | 2658191.006 | 1258176.1184 | 2658183.0279 | 1258164.4037
57 | 2658182.5842 | 1258163.7522 | 2658168.1295 | 1258142.5276
58 | 2658158.9154 | 1258128.9979 | 2658168.1295 | 1258142.5276
59 | 2658154.2272 | 1258122.1894 | 2658155.5262 | 1258124.0214 | 2658158.9154 | 1258128.9979
60 | 2658242.9184 | 1258191.8093 | 2658249.0424 | 1258206.5532
61 | 2658275.9675 | 1258159.731 | 2658286.7643 | 1258185.8682
62 | 2658275.9675 | 1258159.731 | 2658297.5018 | 1258153.1795
63 | 2658275.9675 | 1258159.731 | 2658261.8477 | 1258125.396
64 | 2658286.7643 | 1258185.8682 | 2658288.0218 | 1258188.9123
65 | 2658297.5018 | 1258153.1795 | 2658300.0309 | 1258152.41
66 | 2658261.8477 | 1258125.396 | 2658259.3947 | 1258119.4311
67 | 2658316.387 | 1258147.4339 | 2658300.0309 | 1258152.41
68 | 2658259.3947 | 1258119.4311 | 2658256.2893 | 1258111.8797
69 | 2658133.0196 | 1258160.4859 | 2658150.3489 | 1258174.3566
70 | 2658240.7914 | 1258073.7789 | 2658243.3068 | 1258079.7721
71 | 2658243.3068 | 1258079.7721 | 2658244.8871 | 1258083.5373 | 2658252.9658 | 1258103.7979 | 2658256.2893 | 1258111.8797
72 | 2658525.7473 | 1258014.1121 | 2658530.138 | 1258022.7423
73 | 2658533.2464 | 1258028.8523 | 2658530.138 | 1258022.7423
74 | 2658485.8642 | 1258107.9409 | 2658527.8526 | 1258088.6308 | 2658499.8827 | 1258023.7412 | 2658511.5693 | 1258017.5744 | 2658525.7473 | 1258014.1121
75 | 2658485.8642 | 1258107.9409 | 2658480.188 | 1258100.991 | 2658470.861 | 1258098.7973 | 2658454.4668 | 1258104.4151
76 | 2658428.1879 | 1258113.4199 | 2658454.4668 | 1258104.4151
77 | 2658428.1879 | 1258113.4199 | 2658435.1223 | 1258129.3194
78 | 2658428.1879 | 1258113.4199 | 2658369.7789 | 1258131.1901
79 | 2658334.1831 | 1258142.0197 | 2658316.387 | 1258147.4339
80 | 2658334.1831 | 1258142.0197 | 2658351.9793 | 1258136.6054
81 | 2658369.7789 | 1258131.1901 | 2658351.9793 | 1258136.6054
82 | 2658442.6347 | 1258146.5437 | 2658435.1223 | 1258129.3194

## bus_geodata
| x | y | coords
0 | 2658170.929 | 1258039.3033
1 | 2658158.6275 | 1258074.6498
2 | 2658170.5114 | 1258097.6071
3 | 2658115.5496 | 1258072.2029
4 | 2658187.0162 | 1258113.0566
5 | 2658124.6847 | 1258082.4118
6 | 2658103.9586 | 1258088.8535
7 | 2658204.2407 | 1258099.8716
8 | 2658228.0328 | 1258155.7475
9 | 2658135.0212 | 1258095.1031
10 | 2658091.1846 | 1258107.0464
11 | 2658235.4049 | 1258173.7198
12 | 2658227.2591 | 1257981.4661
13 | 2658224.3841 | 1258003.6549
14 | 2658232.5097 | 1257966.7309
15 | 2658227.5555 | 1258031.6296
16 | 2658248.4308 | 1257929.8446
17 | 2658229.9536 | 1258039.2664
18 | 2658272.7596 | 1257863.0423
19 | 2658240.2044 | 1258071.9098
20 | 2658273.6417 | 1257845.4384
21 | 2658228.2018 | 1257841.5108
22 | 2658334.9121 | 1257829.924
23 | 2658234.5942 | 1257805.6583
24 | 2658398.371 | 1257813.8555
25 | 2658236.0528 | 1257795.2994
26 | 2658355.7086 | 1257737.5903
27 | 2658689.2821 | 1257741.3015
28 | 2658320.0464 | 1257667.4198
29 | 2658708.0458 | 1257725.5985
30 | 2658087.2263 | 1258188.2831
31 | 2658091.4001 | 1258190.1805
32 | 2658072.2234 | 1258181.4628
33 | 2658111.732 | 1258199.4233
34 | 2658061.2091 | 1258176.4557
35 | 2658122.2568 | 1258204.2079
36 | 2658061.7809 | 1258237.2361
37 | 2658081.5766 | 1258120.7155
38 | 2658138.2159 | 1258211.4629
39 | 2658063.6942 | 1258268.1792
40 | 2658111.9536 | 1258140.5055
41 | 2658184.5916 | 1258231.8386
42 | 2658194.1753 | 1258236.5299
43 | 2658181.6965 | 1258230.4214
44 | 2658212.53 | 1258245.5147
45 | 2658260.96 | 1258235.2375
46 | 2658257.3538 | 1258226.5633
47 | 2658138.9175 | 1258211.7818
48 | 2658157.1248 | 1258220.0588
49 | 2658119.0925 | 1258148.9189
50 | 2658126.5587 | 1258155.3144
51 | 2658183.0279 | 1258164.4037
52 | 2658182.5842 | 1258163.7522
53 | 2658191.006 | 1258176.1184
54 | 2658168.1295 | 1258142.5276
55 | 2658158.9154 | 1258128.9979
56 | 2658154.2272 | 1258122.1894
57 | 2658242.9184 | 1258191.8093
58 | 2658249.0424 | 1258206.5532
59 | 2658275.9675 | 1258159.731
60 | 2658286.7643 | 1258185.8682
61 | 2658297.5018 | 1258153.1795
62 | 2658261.8477 | 1258125.396
63 | 2658288.0218 | 1258188.9123
64 | 2658300.0309 | 1258152.41
65 | 2658259.3947 | 1258119.4311
66 | 2658133.0196 | 1258160.4859
67 | 2658150.3489 | 1258174.3566
68 | 2658129.8255 | 1258294.6252
69 | 2658240.7914 | 1258073.7789
70 | 2658243.3068 | 1258079.7721
71 | 2658530.138 | 1258022.7423
72 | 2658525.7473 | 1258014.1121
73 | 2658533.2464 | 1258028.8523
74 | 2658485.8642 | 1258107.9409
75 | 2658454.4668 | 1258104.4151
76 | 2658428.1879 | 1258113.4199
77 | 2658256.2893 | 1258111.8797
78 | 2658316.387 | 1258147.4339
79 | 2658334.1831 | 1258142.0197
80 | 2658351.9793 | 1258136.6054
81 | 2658369.7789 | 1258131.1901
82 | 2658435.1223 | 1258129.3194
83 | 2658442.6347 | 1258146.5437
84 | 2658240.7914 | 1258073.7789

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1