## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4139-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4139-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4139-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4139-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4139-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4139-3_0_4_node_93 | 0.4 | n |  | TRUE
6 | bus_LV_4139-3_0_4_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_4139-3_0_4_node_76 | 0.4 | n |  | TRUE
8 | bus_LV_4139-3_0_4_node_91 | 0.4 | n |  | TRUE
9 | bus_LV_4139-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4139-3_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4139-3_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4139-3_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4139-3_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_4139-3_0_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_4139-3_0_4_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_4139-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4139-3_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4139-3_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4139-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4139-3_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4139-3_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_4139-3_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_4139-3_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_4139-3_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4139-3_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4139-3_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4139-3_0_4_node_43 | 0.4 | n |  | TRUE
28 | bus_LV_4139-3_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4139-3_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4139-3_0_4_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_4139-3_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4139-3_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4139-3_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4139-3_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_4139-3_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_4139-3_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4139-3_0_4_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4139-3_0_4_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4139-3_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4139-3_0_4_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4139-3_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4139-3_0_4_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_4139-3_0_4_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_4139-3_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4139-3_0_4_node_70 | 0.4 | n |  | TRUE
46 | bus_LV_4139-3_0_4_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_4139-3_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4139-3_0_4_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_4139-3_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4139-3_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4139-3_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_4139-3_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4139-3_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_4139-3_0_4_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4139-3_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_4139-3_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4139-3_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4139-3_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_4139-3_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_4139-3_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4139-3_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4139-3_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4139-3_0_4_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4139-3_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4139-3_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_4139-3_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_4139-3_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4139-3_0_4_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_4139-3_0_4_node_79 | 0.4 | n |  | TRUE
70 | bus_LV_4139-3_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_4139-3_0_4_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_4139-3_0_4_node_80 | 0.4 | n |  | TRUE
73 | bus_LV_4139-3_0_4_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_4139-3_0_4_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4139-3_0_4_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_4139-3_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4139-3_0_4_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4139-3_0_4_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4139-3_0_4_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4139-3_0_4_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_4139-3_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4139-3_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4139-3_0_4_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_4139-3_0_4_node_75 | 0.4 | n |  | TRUE
85 | bus_LV_4139-3_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4139-3_0_4_node_87 | 0.4 | n |  | TRUE
87 | bus_LV_4139-3_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4139-3_0_4_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_4139-3_0_4_node_90 | 0.4 | n |  | TRUE
90 | bus_MV_473_1_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4139-3_0_4_load_0 | 0 | 0.021255 | 0.0053271 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4139-3_0_4_load_4 | 4 | 0.0027817 | 0.00069716 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4139-3_0_4_load_93 | 5 | 0.0035097 | 0.00087962 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4139-3_0_4_load_76 | 7 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4139-3_0_4_load_91 | 8 | 0.0012284 | 0.00030788 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4139-3_0_4_load_6 | 9 | 0.023401 | 0.0058648 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4139-3_0_4_load_7 | 10 | 0.00082708 | 0.00020729 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4139-3_0_4_load_8 | 11 | 0.0010432 | 0.00026144 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4139-3_0_4_load_9 | 12 | 0.00087296 | 0.00021878 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4139-3_0_4_load_41 | 15 | 0.00028129 | 7.0497e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4139-3_0_4_load_10 | 16 | 0.0049107 | 0.0012307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4139-3_0_4_load_11 | 17 | 0.00044956 | 0.00011267 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4139-3_0_4_load_13 | 19 | 0.00085042 | 0.00021314 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4139-3_0_4_load_16 | 21 | 0.0055096 | 0.0013808 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4139-3_0_4_load_18 | 23 | 0.00084826 | 0.00021259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4139-3_0_4_load_15 | 24 | 0.00016048 | 4.0221e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4139-3_0_4_load_25 | 26 | 0.0041933 | 0.001051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4139-3_0_4_load_43 | 27 | 0.0011732 | 0.00029402 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4139-3_0_4_load_21 | 28 | 0.0017684 | 0.00044321 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4139-3_0_4_load_30 | 29 | 0.0015663 | 0.00039255 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4139-3_0_4_load_85 | 30 | 0.0040704 | 0.0010201 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4139-3_0_4_load_20 | 31 | 0.0014151 | 0.00035465 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4139-3_0_4_load_32 | 34 | 0.0087841 | 0.0022015 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4139-3_0_4_load_33 | 35 | 0.00094254 | 0.00023622 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4139-3_0_4_load_26 | 39 | 0.0017543 | 0.00043966 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4139-3_0_4_load_27 | 40 | 0.034471 | 0.0086393 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4139-3_0_4_load_28 | 41 | 0.014621 | 0.0036644 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4139-3_0_4_load_69 | 42 | 0.0045214 | 0.0011332 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4139-3_0_4_load_49 | 43 | 0.035579 | 0.008917 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4139-3_0_4_load_34 | 44 | 0.0038343 | 0.00096096 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4139-3_0_4_load_70 | 45 | 0.0026126 | 0.00065477 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4139-3_0_4_load_47 | 46 | 0.00058595 | 0.00014685 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4139-3_0_4_load_40 | 47 | 0.0011394 | 0.00028555 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4139-3_0_4_load_83 | 48 | 0.0011623 | 0.00029131 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4139-3_0_4_load_38 | 49 | 0.00072991 | 0.00018293 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4139-3_0_4_load_67 | 50 | 0.0025191 | 0.00063134 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4139-3_0_4_load_39 | 51 | 0.0010915 | 0.00027354 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4139-3_0_4_load_44 | 52 | 0.00045106 | 0.00011305 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4139-3_0_4_load_45 | 54 | 0.00068891 | 0.00017266 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4139-3_0_4_load_48 | 55 | 0.00030694 | 7.6925e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4139-3_0_4_load_50 | 56 | 0.00040208 | 0.00010077 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4139-3_0_4_load_51 | 57 | 0.0010324 | 0.00025875 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4139-3_0_4_load_52 | 58 | 0.0049868 | 0.0012498 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4139-3_0_4_load_53 | 59 | 0.0076997 | 0.0019297 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4139-3_0_4_load_55 | 61 | 0.0011667 | 0.00029239 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4139-3_0_4_load_57 | 63 | 0.00027077 | 6.7861e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4139-3_0_4_load_60 | 64 | 0.00040001 | 0.00010025 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4139-3_0_4_load_61 | 65 | 0.00028784 | 7.214e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4139-3_0_4_load_84 | 66 | 0.0015889 | 0.00039822 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4139-3_0_4_load_59 | 67 | 0.028811 | 0.0072207 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4139-3_0_4_load_79 | 69 | 0.001825 | 0.0004574 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4139-3_0_4_load_68 | 70 | 0.00078357 | 0.00019638 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4139-3_0_4_load_89 | 71 | 0.012703 | 0.0031837 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4139-3_0_4_load_80 | 72 | 0.012708 | 0.0031849 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4139-3_0_4_load_77 | 73 | 0.0066031 | 0.0016549 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4139-3_0_4_load_62 | 74 | 0.0018241 | 0.00045716 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4139-3_0_4_load_63 | 75 | 0.0011886 | 0.0002979 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4139-3_0_4_load_64 | 76 | 0.00099165 | 0.00024853 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4139-3_0_4_load_65 | 77 | 0.00084521 | 0.00021183 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4139-3_0_4_load_71 | 79 | 0.0086307 | 0.0021631 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4139-3_0_4_load_72 | 80 | 0.0011801 | 0.00029575 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4139-3_0_4_load_73 | 81 | 0.0011972 | 0.00030004 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4139-3_0_4_load_74 | 82 | 0.0020008 | 0.00050145 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4139-3_0_4_load_82 | 83 | 0.0038778 | 0.00097186 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4139-3_0_4_load_75 | 84 | 0.00084488 | 0.00021175 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4139-3_0_4_load_78 | 85 | 0.012676 | 0.0031769 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4139-3_0_4_load_87 | 86 | 0.012703 | 0.0031836 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4139-3_0_4_load_86 | 87 | 0.012703 | 0.0031836 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4139-3_0_4_load_88 | 88 | 0.012708 | 0.0031848 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4139-3_0_4_load_90 | 89 | 0.00072397 | 0.00018144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4139-3_0_4_line_0 |  | 0 | 1 | 0.025679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4139-3_0_4_line_1 |  | 0 | 2 | 0.021551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4139-3_0_4_line_2 |  | 1 | 3 | 0.087472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4139-3_0_4_line_3 |  | 2 | 4 | 0.0058398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4139-3_0_4_line_4 |  | 3 | 5 | 0.046686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4139-3_0_4_line_5 |  | 3 | 6 | 0.097184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4139-3_0_4_line_6 |  | 6 | 7 | 0.014336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4139-3_0_4_line_7 |  | 6 | 8 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4139-3_0_4_line_8 |  | 7 | 84 | 0.0066279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4139-3_0_4_line_9 |  | 8 | 89 | 0.0086743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4139-3_0_4_line_10 |  | 9 | 10 | 0.069007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4139-3_0_4_line_11 |  | 10 | 11 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4139-3_0_4_line_12 |  | 11 | 12 | 0.0010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4139-3_0_4_line_13 |  | 12 | 13 | 0.02581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4139-3_0_4_line_14 |  | 13 | 14 | 0.068755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4139-3_0_4_line_15 |  | 13 | 15 | 0.0067307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4139-3_0_4_line_16 |  | 14 | 52 | 0.093704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4139-3_0_4_line_17 |  | 15 | 51 | 0.0095033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4139-3_0_4_line_18 |  | 16 | 17 | 0.01361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4139-3_0_4_line_19 |  | 16 | 18 | 0.022178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4139-3_0_4_line_20 |  | 17 | 19 | 0.021374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4139-3_0_4_line_21 |  | 18 | 20 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4139-3_0_4_line_22 |  | 19 | 21 | 0.0026453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4139-3_0_4_line_23 |  | 20 | 22 | 0.029231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4139-3_0_4_line_24 |  | 20 | 23 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4139-3_0_4_line_25 |  | 22 | 26 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4139-3_0_4_line_26 |  | 22 | 27 | 0.0065941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4139-3_0_4_line_27 |  | 23 | 28 | 0.0033544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4139-3_0_4_line_28 |  | 24 | 25 | 0.0042298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4139-3_0_4_line_29 |  | 25 | 29 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4139-3_0_4_line_30 |  | 27 | 30 | 0.019202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4139-3_0_4_line_31 |  | 28 | 31 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4139-3_0_4_line_32 |  | 29 | 35 | 0.0012927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4139-3_0_4_line_33 |  | 30 | 53 | 0.02392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4139-3_0_4_line_34 |  | 31 | 36 | 0.0038911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4139-3_0_4_line_35 |  | 32 | 33 | 0.009197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4139-3_0_4_line_36 |  | 32 | 34 | 0.025213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4139-3_0_4_line_37 |  | 33 | 35 | 0.0017877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4139-3_0_4_line_38 |  | 33 | 47 | 0.066397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4139-3_0_4_line_39 |  | 34 | 48 | 0.011716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4139-3_0_4_line_40 |  | 36 | 37 | 0.014714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4139-3_0_4_line_41 |  | 36 | 38 | 0.054263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4139-3_0_4_line_42 |  | 37 | 39 | 0.016233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4139-3_0_4_line_43 |  | 38 | 40 | 0.024489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4139-3_0_4_line_44 |  | 38 | 41 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4139-3_0_4_line_45 |  | 39 | 42 | 0.0034232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4139-3_0_4_line_46 |  | 40 | 43 | 0.00071825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4139-3_0_4_line_47 |  | 41 | 44 | 0.10918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4139-3_0_4_line_48 |  | 42 | 45 | 0.0086632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4139-3_0_4_line_49 |  | 43 | 46 | 0.024428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4139-3_0_4_line_50 |  | 45 | 79 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4139-3_0_4_line_51 |  | 46 | 55 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4139-3_0_4_line_52 |  | 47 | 49 | 0.0034951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4139-3_0_4_line_53 |  | 48 | 50 | 0.0076325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4139-3_0_4_line_54 |  | 49 | 51 | 0.054105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4139-3_0_4_line_55 |  | 50 | 78 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4139-3_0_4_line_56 |  | 52 | 54 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4139-3_0_4_line_57 |  | 53 | 66 | 0.012566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4139-3_0_4_line_58 |  | 53 | 61 | 0.023019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4139-3_0_4_line_59 |  | 55 | 56 | 0.0085658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4139-3_0_4_line_60 |  | 56 | 57 | 0.047282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4139-3_0_4_line_61 |  | 58 | 59 | 0.09136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4139-3_0_4_line_62 |  | 58 | 60 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4139-3_0_4_line_63 |  | 59 | 61 | 0.041342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4139-3_0_4_line_64 |  | 60 | 62 | 0.041076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4139-3_0_4_line_65 |  | 60 | 63 | 0.014747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4139-3_0_4_line_66 |  | 62 | 64 | 0.015899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4139-3_0_4_line_67 |  | 63 | 65 | 0.017951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4139-3_0_4_line_68 |  | 65 | 69 | 0.018543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_4139-3_0_4_line_69 |  | 66 | 70 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4139-3_0_4_line_70 |  | 67 | 68 | 0.031332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4139-3_0_4_line_71 |  | 68 | 71 | 0.014616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4139-3_0_4_line_72 |  | 68 | 72 | 0.017949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4139-3_0_4_line_73 |  | 69 | 73 | 0.025323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4139-3_0_4_line_74 |  | 70 | 78 | 0.016942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4139-3_0_4_line_75 |  | 71 | 86 | 0.0095877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4139-3_0_4_line_76 |  | 72 | 85 | 0.002502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4139-3_0_4_line_77 |  | 73 | 85 | 0.014459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4139-3_0_4_line_78 |  | 74 | 75 | 0.0075049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4139-3_0_4_line_79 |  | 74 | 76 | 0.01991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4139-3_0_4_line_80 |  | 75 | 77 | 0.0043276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4139-3_0_4_line_81 |  | 76 | 78 | 0.0011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4139-3_0_4_line_82 |  | 80 | 81 | 0.0069683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4139-3_0_4_line_83 |  | 80 | 82 | 0.020353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4139-3_0_4_line_84 |  | 81 | 83 | 0.11241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4139-3_0_4_line_85 |  | 82 | 84 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4139-3_0_4_line_86 |  | 86 | 87 | 0.0054234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4139-3_0_4_line_87 |  | 87 | 88 | 0.0054489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4139-3_0_4_line_88 |  | 88 | 89 | 0.012362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4139-3_0_4_trafo_53 | 0.63 MVA 20/0.4 kV | 90 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2656915.6799 | 1233113.4144 | 2656924.8418 | 1233102.2505 | 2656928.1184 | 1233097.6789 | 2656928.8713 | 1233094.9621 | 2656931.463 | 1233093.9196
1 | 2656941.6982 | 1233109.8167 | 2656939.4673 | 1233097.6987 | 2656936.9614 | 1233095.3176 | 2656934.3912 | 1233094.1144 | 2656931.463 | 1233093.9196
2 | 2656865.8398 | 1233156.1208 | 2656863.3333 | 1233135.6058 | 2656902.9186 | 1233130.4478 | 2656901.7844 | 1233120.008 | 2656906.5525 | 1233114.6501 | 2656915.6799 | 1233113.4144
3 | 2656941.6982 | 1233109.8167 | 2656947.4424 | 1233108.7639
4 | 2656912.3193 | 1233150.4729 | 2656865.8398 | 1233156.1208
5 | 2656801.544 | 1233117.6037 | 2656811.991 | 1233121.6728 | 2656817.714 | 1233124.129 | 2656819.5446 | 1233124.2911 | 2656824.3785 | 1233124.7153 | 2656859.6124 | 1233120.9385 | 2656861.5076 | 1233120.6787 | 2656863.3333 | 1233135.6058 | 2656865.8398 | 1233156.1208
6 | 2656801.544 | 1233117.6037 | 2656791.9028 | 1233128.2132
7 | 2656801.544 | 1233117.6037 | 2656808.0516 | 1233106.8811 | 2656811.7829 | 1233098.5146
8 | 2656791.9028 | 1233128.2132 | 2656787.4453 | 1233133.1183
9 | 2656811.7829 | 1233098.5146 | 2656813.5371 | 1233094.5811 | 2656814.9265 | 1233090.4406
10 | 2656498.4558 | 1233166.535 | 2656493.9753 | 1233142.5678 | 2656490.3544 | 1233118.0731 | 2656489.771 | 1233102.9911 | 2656490.169 | 1233098.2372
11 | 2656490.169 | 1233098.2372 | 2656491.0777 | 1233087.3824 | 2656494.0624 | 1233076.3754
12 | 2656494.3364 | 1233075.365 | 2656494.0624 | 1233076.3754
13 | 2656504.4247 | 1233051.6305 | 2656494.8517 | 1233073.4648 | 2656494.3364 | 1233075.365
14 | 2656445.774 | 1233015.4724 | 2656504.4247 | 1233051.6305
15 | 2656504.4247 | 1233051.6305 | 2656508.1092 | 1233045.9978
16 | 2656445.774 | 1233015.4724 | 2656467.186 | 1232969.1679 | 2656477.7242 | 1232974.0489 | 2656499.7419 | 1232973.9914 | 2656506.8074 | 1232973.0357 | 2656508.6114 | 1232972.3561
17 | 2656513.3115 | 1233038.0449 | 2656508.1092 | 1233045.9978
18 | 2656600.8312 | 1232872.5583 | 2656597.1376 | 1232870.6951 | 2656587.7804 | 1232869.2201
19 | 2656620.6322 | 1232882.5487 | 2656609.2918 | 1232876.8259 | 2656600.8312 | 1232872.5583
20 | 2656587.7804 | 1232869.2201 | 2656580.1729 | 1232868.0209 | 2656566.5042 | 1232867.7048
21 | 2656620.6322 | 1232882.5487 | 2656625.5797 | 1232873.4454
22 | 2656563.8596 | 1232867.6437 | 2656566.5042 | 1232867.7048
23 | 2656649.6493 | 1232890.0965 | 2656644.9002 | 1232887.1161 | 2656637.5255 | 1232882.3761 | 2656625.5797 | 1232873.4454
24 | 2656625.5797 | 1232873.4454 | 2656629.1082 | 1232867.8532 | 2656638.0951 | 1232853.5851 | 2656642.5641 | 1232845.1399
25 | 2656649.6493 | 1232890.0965 | 2656653.5621 | 1232874.9579
26 | 2656649.6493 | 1232890.0965 | 2656655.4666 | 1232893.2016
27 | 2656642.5641 | 1232845.1399 | 2656644.133 | 1232842.1751
28 | 2656601.3171 | 1232916.7981 | 2656603.3948 | 1232913.1138
29 | 2656601.3171 | 1232916.7981 | 2656589.5228 | 1232937.7037
30 | 2656655.4666 | 1232893.2016 | 2656672.4065 | 1232902.2434 | 2656672.4065 | 1232902.2434
31 | 2656651.3256 | 1232828.5827 | 2656644.133 | 1232842.1751
32 | 2656588.8876 | 1232938.8297 | 2656589.5228 | 1232937.7037
33 | 2656666.6429 | 1232925.4591 | 2656672.4065 | 1232902.2434
34 | 2656653.1456 | 1232825.1434 | 2656651.3256 | 1232828.5827
35 | 2656596.2529 | 1232944.5122 | 2656588.0092 | 1232940.3867
36 | 2656596.2529 | 1232944.5122 | 2656599.7042 | 1232946.2351 | 2656607.0121 | 1232950.0293 | 2656618.6557 | 1232956.0784
37 | 2656588.0092 | 1232940.3867 | 2656588.8876 | 1232938.8297
38 | 2656588.0092 | 1232940.3867 | 2656561.9253 | 1232984.2335 | 2656551.9862 | 1232995.9688 | 2656551.9862 | 1232995.9688
39 | 2656629.0522 | 1232961.4798 | 2656618.6557 | 1232956.0784
40 | 2656653.1456 | 1232825.1434 | 2656663.6209 | 1232829.4794 | 2656666.7733 | 1232830.788
41 | 2656664.4906 | 1232772.4174 | 2656660.4857 | 1232804.9336 | 2656653.1456 | 1232825.1434
42 | 2656666.7733 | 1232830.788 | 2656682.7615 | 1232833.595
43 | 2656664.4906 | 1232772.4174 | 2656677.4547 | 1232768.2605 | 2656688.2871 | 1232767.3008
44 | 2656664.4906 | 1232772.4174 | 2656660.218 | 1232753.5868
45 | 2656686.1332 | 1232834.187 | 2656682.7615 | 1232833.595
46 | 2656688.2871 | 1232767.3008 | 2656689.0025 | 1232767.2374
47 | 2656660.218 | 1232753.5868 | 2656554.5543 | 1232726.0855
48 | 2656686.1332 | 1232834.187 | 2656694.6658 | 1232835.685
49 | 2656713.357 | 1232767.0597 | 2656700.5673 | 1232766.2128 | 2656689.0025 | 1232767.2374
50 | 2656713.4486 | 1232838.9827 | 2656694.6658 | 1232835.685
51 | 2656713.357 | 1232767.0597 | 2656737.7615 | 1232768.6756
52 | 2656551.9862 | 1232995.9688 | 2656549.3866 | 1232998.305
53 | 2656629.0522 | 1232961.4798 | 2656635.8252 | 1232964.9985
54 | 2656513.3115 | 1233038.0449 | 2656524.9302 | 1233020.2829 | 2656549.3866 | 1232998.305
55 | 2656647.801 | 1232971.2203 | 2656635.8252 | 1232964.9985
56 | 2656508.6114 | 1232972.3561 | 2656517.43 | 1232969.034 | 2656520.8247 | 1232968.9279
57 | 2656666.6429 | 1232925.4591 | 2656661.8587 | 1232937.0784
58 | 2656666.6429 | 1232925.4591 | 2656680.299 | 1232933.6612 | 2656686.7183 | 1232936.6695
59 | 2656746.3085 | 1232769.2415 | 2656737.7615 | 1232768.6756
60 | 2656746.3085 | 1232769.2415 | 2656770.6123 | 1232770.8507 | 2656793.5127 | 1232771.9092
61 | 2656811.3504 | 1232954.8152 | 2656789.5793 | 1232944.344 | 2656773.8531 | 1232951.5429 | 2656753.4699 | 1232955.651 | 2656741.9575 | 1232956.8753 | 2656725.3514 | 1232951.2421
62 | 2656827.4809 | 1232962.5734 | 2656811.3504 | 1232954.8152
63 | 2656686.7183 | 1232936.6695 | 2656696.4521 | 1232941.2312 | 2656698.3519 | 1232942.0832 | 2656725.3514 | 1232951.2421
64 | 2656863.9968 | 1232981.5903 | 2656827.4809 | 1232962.5734
65 | 2656827.4809 | 1232962.5734 | 2656821.9053 | 1232976.2252
66 | 2656863.9968 | 1232981.5903 | 2656873.5459 | 1232968.8777
67 | 2656821.9053 | 1232976.2252 | 2656815.1181 | 1232992.8437
68 | 2656808.1069 | 1233010.0107 | 2656815.1181 | 1232992.8437
69 | 2656661.8587 | 1232937.0784 | 2656654.2514 | 1232955.5543
70 | 2656830.9248 | 1233045.8157 | 2656841.9964 | 1233016.5046
71 | 2656830.9248 | 1233045.8157 | 2656828.6346 | 1233050.9527 | 2656826.4347 | 1233056.1461 | 2656825.3685 | 1233059.3236
72 | 2656830.9248 | 1233045.8157 | 2656820.8552 | 1233040.2714 | 2656814.8063 | 1233038.0222
73 | 2656798.5324 | 1233033.4538 | 2656798.5324 | 1233033.4538 | 2656808.1069 | 1233010.0107
74 | 2656647.801 | 1232971.2203 | 2656654.2514 | 1232955.5543
75 | 2656822.3183 | 1233068.4131 | 2656825.3685 | 1233059.3236
76 | 2656812.4612 | 1233037.1501 | 2656814.8063 | 1233038.0222
77 | 2656798.5324 | 1233033.4538 | 2656806.8303 | 1233035.0563 | 2656812.4612 | 1233037.1501
78 | 2656642.0904 | 1232991.4996 | 2656640.0561 | 1232998.7235
79 | 2656642.0904 | 1232991.4996 | 2656647.4872 | 1232972.3346
80 | 2656638.8831 | 1233002.8891 | 2656640.0561 | 1232998.7235
81 | 2656647.801 | 1232971.2203 | 2656647.4872 | 1232972.3346
82 | 2656766.3297 | 1233156.3543 | 2656761.6434 | 1233161.5113
83 | 2656766.3297 | 1233156.3543 | 2656780.0178 | 1233141.2917
84 | 2656761.6434 | 1233161.5113 | 2656652.282 | 1233135.5307
85 | 2656780.0178 | 1233141.2917 | 2656787.4453 | 1233133.1183
86 | 2656820.5929 | 1233073.5548 | 2656822.3183 | 1233068.4131
87 | 2656820.5929 | 1233073.5548 | 2656818.8594 | 1233078.7205
88 | 2656814.9265 | 1233090.4406 | 2656818.8594 | 1233078.7205

## bus_geodata
| x | y | coords
0 | 2656931.463 | 1233093.9196
1 | 2656915.6799 | 1233113.4144
2 | 2656941.6982 | 1233109.8167
3 | 2656865.8398 | 1233156.1208
4 | 2656947.4423 | 1233108.7639
5 | 2656912.3193 | 1233150.4729
6 | 2656801.544 | 1233117.6037
7 | 2656791.9028 | 1233128.2132
8 | 2656811.7829 | 1233098.5146
9 | 2656498.4558 | 1233166.535
10 | 2656490.169 | 1233098.2372
11 | 2656494.0624 | 1233076.3754
12 | 2656494.3364 | 1233075.365
13 | 2656504.4247 | 1233051.6305
14 | 2656445.774 | 1233015.4724
15 | 2656508.1092 | 1233045.9978
16 | 2656600.8312 | 1232872.5583
17 | 2656587.7804 | 1232869.2201
18 | 2656620.6322 | 1232882.5487
19 | 2656566.5042 | 1232867.7048
20 | 2656625.5797 | 1232873.4454
21 | 2656563.8596 | 1232867.6437
22 | 2656649.6493 | 1232890.0965
23 | 2656642.5641 | 1232845.1399
24 | 2656603.3948 | 1232913.1138
25 | 2656601.3171 | 1232916.7981
26 | 2656653.5621 | 1232874.9579
27 | 2656655.4666 | 1232893.2016
28 | 2656644.133 | 1232842.1751
29 | 2656589.5228 | 1232937.7037
30 | 2656672.4065 | 1232902.2434
31 | 2656651.3256 | 1232828.5827
32 | 2656596.2529 | 1232944.5122
33 | 2656588.0092 | 1232940.3867
34 | 2656618.6557 | 1232956.0784
35 | 2656588.8876 | 1232938.8297
36 | 2656653.1456 | 1232825.1434
37 | 2656666.7733 | 1232830.788
38 | 2656664.4906 | 1232772.4174
39 | 2656682.7615 | 1232833.595
40 | 2656688.2871 | 1232767.3008
41 | 2656660.218 | 1232753.5868
42 | 2656686.1332 | 1232834.187
43 | 2656689.0025 | 1232767.2374
44 | 2656554.5543 | 1232726.0855
45 | 2656694.6658 | 1232835.685
46 | 2656713.357 | 1232767.0597
47 | 2656551.9862 | 1232995.9688
48 | 2656629.0522 | 1232961.4798
49 | 2656549.3866 | 1232998.305
50 | 2656635.8252 | 1232964.9985
51 | 2656513.3115 | 1233038.0449
52 | 2656508.6114 | 1232972.3561
53 | 2656666.6429 | 1232925.4591
54 | 2656520.8247 | 1232968.9279
55 | 2656737.7615 | 1232768.6756
56 | 2656746.3085 | 1232769.2415
57 | 2656793.5127 | 1232771.9092
58 | 2656811.3504 | 1232954.8152
59 | 2656725.3514 | 1232951.2421
60 | 2656827.4809 | 1232962.5734
61 | 2656686.7183 | 1232936.6695
62 | 2656863.9968 | 1232981.5903
63 | 2656821.9053 | 1232976.2252
64 | 2656873.5459 | 1232968.8777
65 | 2656815.1181 | 1232992.8437
66 | 2656661.8587 | 1232937.0784
67 | 2656841.9964 | 1233016.5046
68 | 2656830.9248 | 1233045.8157
69 | 2656808.1069 | 1233010.0107
70 | 2656654.2514 | 1232955.5543
71 | 2656825.3685 | 1233059.3236
72 | 2656814.8063 | 1233038.0222
73 | 2656798.5325 | 1233033.4538
74 | 2656642.0904 | 1232991.4996
75 | 2656640.0561 | 1232998.7235
76 | 2656647.4872 | 1232972.3346
77 | 2656638.8831 | 1233002.8891
78 | 2656647.801 | 1232971.2203
79 | 2656713.4486 | 1232838.9827
80 | 2656766.3297 | 1233156.3543
81 | 2656761.6434 | 1233161.5113
82 | 2656780.0178 | 1233141.2917
83 | 2656652.282 | 1233135.5307
84 | 2656787.4453 | 1233133.1183
85 | 2656812.4612 | 1233037.1501
86 | 2656822.3183 | 1233068.4131
87 | 2656820.5929 | 1233073.5548
88 | 2656818.8595 | 1233078.7205
89 | 2656814.9265 | 1233090.4406
90 | 2656666.6429 | 1232925.4591

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1