## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4141-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4141-12_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4141-12_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_4141-12_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4141-12_0_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_4141-12_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_4141-12_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_4141-12_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_4141-12_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4141-12_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_4141-12_0_3_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_4141-12_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_4141-12_0_3_node_172 | 0.4 | n |  | TRUE
14 | bus_LV_4141-12_0_3_node_193 | 0.4 | n |  | TRUE
15 | bus_LV_4141-12_0_3_node_187 | 0.4 | n |  | TRUE
16 | bus_LV_4141-12_0_3_node_184 | 0.4 | n |  | TRUE
17 | bus_LV_4141-12_0_3_node_168 | 0.4 | n |  | TRUE
18 | bus_LV_4141-12_0_3_node_194 | 0.4 | n |  | TRUE
19 | bus_LV_4141-12_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_4141-12_0_3_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_4141-12_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_4141-12_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_4141-12_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_4141-12_0_3_node_149 | 0.4 | n |  | TRUE
25 | bus_LV_4141-12_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_4141-12_0_3_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_4141-12_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4141-12_0_3_node_76 | 0.4 | n |  | TRUE
29 | bus_LV_4141-12_0_3_node_145 | 0.4 | n |  | TRUE
30 | bus_LV_4141-12_0_3_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_4141-12_0_3_node_146 | 0.4 | n |  | TRUE
32 | bus_LV_4141-12_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4141-12_0_3_node_161 | 0.4 | n |  | TRUE
34 | bus_LV_4141-12_0_3_node_196 | 0.4 | n |  | TRUE
35 | bus_LV_4141-12_0_3_node_186 | 0.4 | n |  | TRUE
36 | bus_LV_4141-12_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_4141-12_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_4141-12_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_4141-12_0_3_node_174 | 0.4 | n |  | TRUE
40 | bus_LV_4141-12_0_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_4141-12_0_3_node_173 | 0.4 | n |  | TRUE
42 | bus_LV_4141-12_0_3_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_4141-12_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_4141-12_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_4141-12_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4141-12_0_3_node_166 | 0.4 | n |  | TRUE
47 | bus_LV_4141-12_0_3_node_165 | 0.4 | n |  | TRUE
48 | bus_LV_4141-12_0_3_node_129 | 0.4 | n |  | TRUE
49 | bus_LV_4141-12_0_3_node_169 | 0.4 | n |  | TRUE
50 | bus_LV_4141-12_0_3_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_4141-12_0_3_node_104 | 0.4 | n |  | TRUE
52 | bus_LV_4141-12_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_4141-12_0_3_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_4141-12_0_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4141-12_0_3_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_4141-12_0_3_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_4141-12_0_3_node_80 | 0.4 | n |  | TRUE
58 | bus_LV_4141-12_0_3_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_4141-12_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_4141-12_0_3_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_4141-12_0_3_node_90 | 0.4 | n |  | TRUE
62 | bus_LV_4141-12_0_3_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_4141-12_0_3_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_4141-12_0_3_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_4141-12_0_3_node_87 | 0.4 | n |  | TRUE
66 | bus_LV_4141-12_0_3_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_4141-12_0_3_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_4141-12_0_3_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_4141-12_0_3_node_148 | 0.4 | n |  | TRUE
70 | bus_LV_4141-12_0_3_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_4141-12_0_3_node_192 | 0.4 | n |  | TRUE
72 | bus_LV_4141-12_0_3_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_4141-12_0_3_node_171 | 0.4 | n |  | TRUE
74 | bus_LV_4141-12_0_3_node_142 | 0.4 | n |  | TRUE
75 | bus_LV_4141-12_0_3_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_4141-12_0_3_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4141-12_0_3_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_4141-12_0_3_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_4141-12_0_3_node_118 | 0.4 | n |  | TRUE
80 | bus_LV_4141-12_0_3_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_4141-12_0_3_node_102 | 0.4 | n |  | TRUE
82 | bus_LV_4141-12_0_3_node_103 | 0.4 | n |  | TRUE
83 | bus_LV_4141-12_0_3_node_116 | 0.4 | n |  | TRUE
84 | bus_LV_4141-12_0_3_node_117 | 0.4 | n |  | TRUE
85 | bus_LV_4141-12_0_3_node_144 | 0.4 | n |  | TRUE
86 | bus_LV_4141-12_0_3_node_183 | 0.4 | n |  | TRUE
87 | bus_LV_4141-12_0_3_node_131 | 0.4 | n |  | TRUE
88 | bus_LV_4141-12_0_3_node_132 | 0.4 | n |  | TRUE
89 | bus_LV_4141-12_0_3_node_133 | 0.4 | n |  | TRUE
90 | bus_LV_4141-12_0_3_node_134 | 0.4 | n |  | TRUE
91 | bus_LV_4141-12_0_3_node_135 | 0.4 | n |  | TRUE
92 | bus_LV_4141-12_0_3_node_177 | 0.4 | n |  | TRUE
93 | bus_LV_4141-12_0_3_node_176 | 0.4 | n |  | TRUE
94 | bus_LV_4141-12_0_3_node_139 | 0.4 | n |  | TRUE
95 | bus_LV_4141-12_0_3_node_140 | 0.4 | n |  | TRUE
96 | bus_LV_4141-12_0_3_node_141 | 0.4 | n |  | TRUE
97 | bus_LV_4141-12_0_3_node_143 | 0.4 | n |  | TRUE
98 | bus_LV_4141-12_0_3_node_167 | 0.4 | n |  | TRUE
99 | bus_LV_4141-12_0_3_node_195 | 0.4 | n |  | TRUE
100 | bus_LV_4141-12_0_3_node_170 | 0.4 | n |  | TRUE
101 | bus_LV_4141-12_0_3_node_175 | 0.4 | n |  | TRUE
102 | bus_MV_474_0_node_50 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-12_0_3_load_0 | 0 | 0.0019236 | 0.00048211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-12_0_3_load_1 | 1 | 0.0035914 | 0.0009001 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-12_0_3_load_3 | 2 | 0.0048059 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-12_0_3_load_2 | 3 | 0.0028368 | 0.00071098 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-12_0_3_load_4 | 4 | 0.0015626 | 0.00039163 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-12_0_3_load_27 | 6 | 0.0055876 | 0.0014004 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-12_0_3_load_28 | 7 | 0.0019231 | 0.00048197 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-12_0_3_load_16 | 8 | 0.00189 | 0.00047367 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-12_0_3_load_17 | 9 | 0.0019134 | 0.00047955 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-12_0_3_load_18 | 10 | 0.0059452 | 0.00149 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-12_0_3_load_19 | 11 | 0.0020821 | 0.00052182 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-12_0_3_load_20 | 12 | 0.0021247 | 0.0005325 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-12_0_3_load_172 | 13 | 0.0018319 | 0.00045912 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-12_0_3_load_193 | 14 | 0.0021239 | 0.00053231 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-12_0_3_load_187 | 15 | 0.0014963 | 0.00037502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-12_0_3_load_184 | 16 | 0.0068985 | 0.0017289 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-12_0_3_load_168 | 17 | 0.001626 | 0.00040752 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-12_0_3_load_194 | 18 | 0.0053422 | 0.0013389 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-12_0_3_load_21 | 19 | 0.0030281 | 0.00075893 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-12_0_3_load_22 | 20 | 0.0015093 | 0.00037827 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-12_0_3_load_23 | 21 | 0.0017407 | 0.00043625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-12_0_3_load_24 | 22 | 0.0026074 | 0.00065347 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-12_0_3_load_25 | 23 | 0.0018148 | 0.00045484 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-12_0_3_load_149 | 24 | 0.00089355 | 0.00022395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-12_0_3_load_82 | 26 | 0.0014397 | 0.00036082 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-12_0_3_load_44 | 27 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-12_0_3_load_76 | 28 | 0.0041844 | 0.0010487 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-12_0_3_load_145 | 29 | 0.001871 | 0.00046892 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-12_0_3_load_77 | 30 | 0.0043654 | 0.0010941 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-12_0_3_load_33 | 32 | 0.0053299 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-12_0_3_load_161 | 33 | 0.0047469 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-12_0_3_load_196 | 34 | 0.0019223 | 0.00048178 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-12_0_3_load_186 | 35 | 0.0015192 | 0.00038074 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-12_0_3_load_42 | 36 | 0.0018108 | 0.00045383 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-12_0_3_load_43 | 37 | 0.0020366 | 0.00051042 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-12_0_3_load_174 | 39 | 0.0013378 | 0.0003353 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-12_0_3_load_173 | 41 | 0.0020171 | 0.00050552 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-12_0_3_load_83 | 42 | 0.0020864 | 0.0005229 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-12_0_3_load_50 | 45 | 0.0021232 | 0.00053212 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-12_0_3_load_166 | 46 | 0.0012223 | 0.00030634 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-12_0_3_load_165 | 47 | 0.00070886 | 0.00017766 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-12_0_3_load_169 | 49 | 0.001432 | 0.0003589 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-12_0_3_load_104 | 51 | 0.0012159 | 0.00030472 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-12_0_3_load_62 | 52 | 0.00068193 | 0.00017091 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-12_0_3_load_63 | 53 | 0.0020028 | 0.00050196 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-12_0_3_load_64 | 54 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-12_0_3_load_65 | 55 | 0.001867 | 0.00046792 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-12_0_3_load_79 | 56 | 0.0016142 | 0.00040455 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-12_0_3_load_80 | 57 | 0.0037008 | 0.0009275 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-12_0_3_load_78 | 58 | 0.0039879 | 0.00099947 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-12_0_3_load_81 | 59 | 0.0027392 | 0.00068652 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-12_0_3_load_84 | 60 | 0.0013932 | 0.00034918 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-12_0_3_load_90 | 61 | 0.0016165 | 0.00040512 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-12_0_3_load_91 | 62 | 0.0016686 | 0.00041818 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-12_0_3_load_85 | 63 | 0.0014054 | 0.00035223 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-12_0_3_load_86 | 64 | 0.003513 | 0.00088044 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-12_0_3_load_87 | 65 | 0.0016194 | 0.00040587 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-12_0_3_load_88 | 66 | 0.0037886 | 0.00094952 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4141-12_0_3_load_89 | 67 | 0.0019732 | 0.00049454 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4141-12_0_3_load_98 | 68 | 0.0014817 | 0.00037134 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4141-12_0_3_load_148 | 69 | 0.0024524 | 0.00061463 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4141-12_0_3_load_192 | 71 | 0.00059595 | 0.00014936 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4141-12_0_3_load_92 | 72 | 0.0016335 | 0.00040938 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4141-12_0_3_load_171 | 73 | 0.0013472 | 0.00033765 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4141-12_0_3_load_142 | 74 | 0.0014561 | 0.00036493 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4141-12_0_3_load_94 | 75 | 0.0010944 | 0.00027429 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4141-12_0_3_load_95 | 76 | 0.0017448 | 0.00043728 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4141-12_0_3_load_97 | 77 | 0.010434 | 0.002615 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4141-12_0_3_load_99 | 78 | 0.00093487 | 0.0002343 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4141-12_0_3_load_118 | 79 | 0.0023498 | 0.00058893 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4141-12_0_3_load_101 | 80 | 0.0012077 | 0.00030269 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4141-12_0_3_load_102 | 81 | 0.0027471 | 0.00068849 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4141-12_0_3_load_103 | 82 | 0.0010323 | 0.00025873 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4141-12_0_3_load_116 | 83 | 0.002471 | 0.0006193 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4141-12_0_3_load_117 | 84 | 0.0034103 | 0.00085469 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4141-12_0_3_load_144 | 85 | 0.016599 | 0.0041601 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4141-12_0_3_load_183 | 86 | 0.0068964 | 0.0017284 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4141-12_0_3_load_131 | 87 | 0.002795 | 0.0007005 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4141-12_0_3_load_132 | 88 | 0.00086486 | 0.00021676 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4141-12_0_3_load_134 | 90 | 0.0026058 | 0.00065308 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4141-12_0_3_load_177 | 92 | 0.0011428 | 0.00028642 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4141-12_0_3_load_176 | 93 | 0.00064155 | 0.00016079 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4141-12_0_3_load_139 | 94 | 0.0014207 | 0.00035606 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4141-12_0_3_load_140 | 95 | 0.0017123 | 0.00042913 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4141-12_0_3_load_141 | 96 | 0.0020428 | 0.00051197 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4141-12_0_3_load_143 | 97 | 0.0023235 | 0.00058233 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4141-12_0_3_load_167 | 98 | 0.0014361 | 0.00035991 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4141-12_0_3_load_195 | 99 | 0.0014746 | 0.00036957 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4141-12_0_3_load_170 | 100 | 0.0012808 | 0.000321 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4141-12_0_3_load_175 | 101 | 0.001441 | 0.00036114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-12_0_3_line_0 |  | 0 | 1 | 0.059732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4141-12_0_3_line_1 |  | 0 | 2 | 0.10063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4141-12_0_3_line_2 |  | 1 | 3 | 0.0007001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4141-12_0_3_line_3 |  | 2 | 4 | 0.01161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4141-12_0_3_line_4 |  | 3 | 5 | 0.013591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-12_0_3_line_5 |  | 5 | 6 | 0.017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4141-12_0_3_line_6 |  | 5 | 7 | 0.016423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4141-12_0_3_line_7 |  | 6 | 28 | 0.024723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4141-12_0_3_line_8 |  | 7 | 29 | 0.0036874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4141-12_0_3_line_9 |  | 8 | 9 | 0.003984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4141-12_0_3_line_10 |  | 8 | 10 | 0.006255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4141-12_0_3_line_11 |  | 9 | 11 | 0.017784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-12_0_3_line_12 |  | 10 | 12 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-12_0_3_line_13 |  | 11 | 13 | 0.0021513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4141-12_0_3_line_14 |  | 12 | 14 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4141-12_0_3_line_15 |  | 12 | 15 | 0.048303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-12_0_3_line_16 |  | 12 | 16 | 0.081433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-12_0_3_line_17 |  | 13 | 17 | 0.0059564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-12_0_3_line_18 |  | 14 | 18 | 0.00063045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-12_0_3_line_19 |  | 15 | 35 | 0.043167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-12_0_3_line_20 |  | 16 | 86 | 0.013609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-12_0_3_line_21 |  | 17 | 98 | 0.025399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4141-12_0_3_line_22 |  | 18 | 99 | 0.00059958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4141-12_0_3_line_23 |  | 19 | 20 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-12_0_3_line_24 |  | 19 | 21 | 0.0030174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-12_0_3_line_25 |  | 20 | 22 | 0.0037051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-12_0_3_line_26 |  | 21 | 23 | 0.026328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4141-12_0_3_line_27 |  | 22 | 24 | 0.0086547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-12_0_3_line_28 |  | 23 | 25 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-12_0_3_line_29 |  | 25 | 26 | 0.014169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-12_0_3_line_30 |  | 25 | 27 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-12_0_3_line_31 |  | 26 | 42 | 0.0079013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-12_0_3_line_32 |  | 27 | 36 | 0.024759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-12_0_3_line_33 |  | 28 | 30 | 0.028877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-12_0_3_line_34 |  | 29 | 31 | 0.04391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-12_0_3_line_35 |  | 30 | 58 | 0.017988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-12_0_3_line_36 |  | 31 | 40 | 0.007709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-12_0_3_line_37 |  | 31 | 38 | 0.002516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-12_0_3_line_38 |  | 32 | 33 | 0.00082318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-12_0_3_line_39 |  | 33 | 34 | 0.0085956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-12_0_3_line_40 |  | 34 | 99 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-12_0_3_line_41 |  | 36 | 37 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-12_0_3_line_42 |  | 37 | 38 | 0.02606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-12_0_3_line_43 |  | 38 | 39 | 0.030488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4141-12_0_3_line_44 |  | 39 | 41 | 0.019886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4141-12_0_3_line_45 |  | 40 | 77 | 0.033265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-12_0_3_line_46 |  | 41 | 101 | 0.018898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-12_0_3_line_47 |  | 42 | 60 | 0.01112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4141-12_0_3_line_48 |  | 43 | 44 | 0.00299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4141-12_0_3_line_49 |  | 43 | 45 | 0.010474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4141-12_0_3_line_50 |  | 44 | 46 | 0.020603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4141-12_0_3_line_51 |  | 44 | 47 | 0.031658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4141-12_0_3_line_52 |  | 45 | 48 | 0.030465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4141-12_0_3_line_53 |  | 46 | 49 | 0.017942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4141-12_0_3_line_54 |  | 47 | 50 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4141-12_0_3_line_55 |  | 48 | 51 | 0.018736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4141-12_0_3_line_56 |  | 49 | 100 | 0.051893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4141-12_0_3_line_57 |  | 50 | 79 | 0.010282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4141-12_0_3_line_58 |  | 50 | 78 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4141-12_0_3_line_59 |  | 51 | 81 | 0.027463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4141-12_0_3_line_60 |  | 52 | 53 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4141-12_0_3_line_61 |  | 52 | 54 | 0.0036899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4141-12_0_3_line_62 |  | 53 | 55 | 0.0099827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4141-12_0_3_line_63 |  | 55 | 56 | 0.018997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4141-12_0_3_line_64 |  | 56 | 57 | 0.0084618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4141-12_0_3_line_65 |  | 57 | 59 | 0.019072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4141-12_0_3_line_66 |  | 58 | 59 | 0.0080432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4141-12_0_3_line_67 |  | 60 | 61 | 0.014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4141-12_0_3_line_68 |  | 61 | 62 | 0.0031094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4141-12_0_3_line_69 |  | 62 | 72 | 0.007251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4141-12_0_3_line_70 |  | 63 | 64 | 0.024115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4141-12_0_3_line_71 |  | 63 | 65 | 0.016132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4141-12_0_3_line_72 |  | 64 | 66 | 0.011005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4141-12_0_3_line_73 |  | 65 | 67 | 0.0054233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4141-12_0_3_line_74 |  | 66 | 68 | 0.014655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4141-12_0_3_line_75 |  | 67 | 69 | 0.034467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4141-12_0_3_line_76 |  | 68 | 70 | 0.007047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4141-12_0_3_line_77 |  | 69 | 71 | 0.010488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4141-12_0_3_line_78 |  | 70 | 78 | 0.016015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4141-12_0_3_line_79 |  | 70 | 75 | 0.017819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4141-12_0_3_line_80 |  | 72 | 73 | 0.0044001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4141-12_0_3_line_81 |  | 73 | 74 | 0.0074283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4141-12_0_3_line_82 |  | 74 | 95 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4141-12_0_3_line_83 |  | 75 | 76 | 6.7912e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4141-12_0_3_line_84 |  | 76 | 77 | 0.04323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4141-12_0_3_line_85 |  | 79 | 83 | 0.0098832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4141-12_0_3_line_86 |  | 80 | 81 | 0.022467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4141-12_0_3_line_87 |  | 80 | 82 | 0.041526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4141-12_0_3_line_88 |  | 83 | 84 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4141-12_0_3_line_89 |  | 85 | 86 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4141-12_0_3_line_90 |  | 87 | 88 | 0.044947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4141-12_0_3_line_91 |  | 87 | 89 | 0.057576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4141-12_0_3_line_92 |  | 88 | 90 | 0.0064108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4141-12_0_3_line_93 |  | 89 | 91 | 0.037133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4141-12_0_3_line_94 |  | 91 | 92 | 0.081215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4141-12_0_3_line_95 |  | 92 | 93 | 0.018733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4141-12_0_3_line_96 |  | 93 | 100 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4141-12_0_3_line_97 |  | 94 | 95 | 0.0023195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4141-12_0_3_line_98 |  | 94 | 96 | 0.0067709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4141-12_0_3_line_99 |  | 96 | 97 | 0.003109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4141-12_0_3_line_100 |  | 97 | 98 | 0.00026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-12_0_3_trafo_173 | 0.63 MVA 20/0.4 kV | 102 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2656964.1687 | 1235257.2357 | 2656991.3621 | 1235225.9458 | 2656999.6689 | 1235209.6655
1 | 2656964.1687 | 1235257.2357 | 2656886.5519 | 1235321.2814
2 | 2656999.6689 | 1235209.6655 | 2656999.9871 | 1235209.0419
3 | 2656886.5519 | 1235321.2814 | 2656877.1334 | 1235324.694 | 2656875.6461 | 1235325.2639
4 | 2657006.1642 | 1235196.9355 | 2656999.9871 | 1235209.0419
5 | 2657006.1642 | 1235196.9355 | 2656991.7872 | 1235187.1089
6 | 2657006.1642 | 1235196.9355 | 2657015.0454 | 1235183.1215
7 | 2656991.7872 | 1235187.1089 | 2656971.3759 | 1235173.1581
8 | 2657017.0396 | 1235180.0199 | 2657015.0454 | 1235183.1215
9 | 2657170.1615 | 1235056.2724 | 2657171.696 | 1235052.5957
10 | 2657174.1051 | 1235046.8233 | 2657171.696 | 1235052.5957
11 | 2657170.1615 | 1235056.2724 | 2657165.5068 | 1235067.4255 | 2657163.5212 | 1235072.7673
12 | 2657178.6645 | 1235035.8986 | 2657174.1051 | 1235046.8233
13 | 2657163.5212 | 1235072.7673 | 2657162.7716 | 1235074.7838
14 | 2657178.6645 | 1235035.8986 | 2657184.4245 | 1235022.0971
15 | 2657178.6645 | 1235035.8986 | 2657133.4357 | 1235018.9411
16 | 2657178.6645 | 1235035.8986 | 2657256.1196 | 1235061.0378
17 | 2657162.7716 | 1235074.7838 | 2657160.6963 | 1235080.3669
18 | 2657184.6674 | 1235021.5152 | 2657184.4245 | 1235022.0971
19 | 2657133.4357 | 1235018.9411 | 2657148.4973 | 1234978.4872
20 | 2657256.1196 | 1235061.0378 | 2657262.3545 | 1235048.9406
21 | 2657151.8469 | 1235104.1745 | 2657160.6963 | 1235080.3669
22 | 2657184.8983 | 1235020.9619 | 2657184.6674 | 1235021.5152
23 | 2657158.3358 | 1235203.6742 | 2657170.3506 | 1235206.3402
24 | 2657155.3901 | 1235203.0205 | 2657158.3358 | 1235203.6742
25 | 2657173.9678 | 1235207.1428 | 2657170.3506 | 1235206.3402
26 | 2657155.3901 | 1235203.0205 | 2657137.0404 | 1235198.9488 | 2657129.7271 | 1235197.1488
27 | 2657182.3922 | 1235209.107 | 2657181.561 | 1235208.8277 | 2657173.9678 | 1235207.1428
28 | 2657118.3302 | 1235194.3438 | 2657129.7271 | 1235197.1488
29 | 2657118.3302 | 1235194.3438 | 2657123.2668 | 1235181.0629
30 | 2657118.3302 | 1235194.3438 | 2657099.7376 | 1235189.3063 | 2657097.3519 | 1235188.3478
31 | 2657123.2668 | 1235181.0629 | 2657126.0197 | 1235173.6567
32 | 2657097.3519 | 1235188.3478 | 2657080.7988 | 1235181.6972 | 2657074.9936 | 1235177.9315
33 | 2656971.3759 | 1235173.1581 | 2656947.5356 | 1235156.8634
34 | 2657041.717 | 1235143.7084 | 2657024.2733 | 1235168.7685 | 2657017.0396 | 1235180.0199
35 | 2656932.6848 | 1235146.7131 | 2656947.5356 | 1235156.8634
36 | 2657038.606 | 1235136.6517 | 2657041.717 | 1235143.7084
37 | 2657043.1807 | 1235145.7571 | 2657041.717 | 1235143.7084
38 | 2657194.1788 | 1234998.7251 | 2657193.8617 | 1234999.4848
39 | 2657190.5512 | 1235007.4172 | 2657193.8617 | 1234999.4848
40 | 2657190.5512 | 1235007.4172 | 2657184.8983 | 1235020.9619
41 | 2657074.9936 | 1235177.9315 | 2657065.3496 | 1235171.6757 | 2657059.7858 | 1235165.7678
42 | 2657043.1807 | 1235145.7571 | 2657050.388 | 1235155.7884 | 2657059.7858 | 1235165.7678
43 | 2657043.1807 | 1235145.7571 | 2657048.373 | 1235143.361 | 2657051.2612 | 1235138.1519 | 2657059.0348 | 1235121.0202
44 | 2657059.0348 | 1235121.0202 | 2657067.2518 | 1235102.9114
45 | 2657038.606 | 1235136.6517 | 2657032.513 | 1235131.1675 | 2657025.8339 | 1235123.6652 | 2657015.4908 | 1235112.7701
46 | 2657075.0609 | 1235085.7017 | 2657067.2518 | 1235102.9114
47 | 2657126.0197 | 1235173.6567 | 2657129.8942 | 1235163.2333
48 | 2656939.2372 | 1234999.4764 | 2656940.6499 | 1235002.1138
49 | 2656939.2372 | 1234999.4764 | 2656947.3823 | 1234992.892
50 | 2656940.6499 | 1235002.1138 | 2656922.5055 | 1235011.8747
51 | 2656940.6499 | 1235002.1138 | 2656954.9566 | 1235020.8631 | 2656961.046 | 1235026.1642
52 | 2656976.3789 | 1234985.0228 | 2656950.7093 | 1234990.2024 | 2656947.3823 | 1234992.892
53 | 2656905.2881 | 1235016.6624 | 2656909.7657 | 1235015.9827 | 2656921.1966 | 1235012.5788 | 2656922.5055 | 1235011.8747
54 | 2656985.1755 | 1235047.1699 | 2656961.046 | 1235026.1642
55 | 2656976.3789 | 1234985.0228 | 2656995.1128 | 1234985.3298
56 | 2656905.2881 | 1235016.6624 | 2656864.6365 | 1235022.8331 | 2656853.861 | 1235022.7558
57 | 2656985.1755 | 1235047.1699 | 2656992.7071 | 1235054.1699
58 | 2656985.1755 | 1235047.1699 | 2656976.2296 | 1235061.2935
59 | 2657022.5718 | 1234985.7797 | 2656995.1128 | 1234985.3298
60 | 2656863.3152 | 1235099.2998 | 2656879.3878 | 1235110.2852
61 | 2656860.2689 | 1235097.2176 | 2656863.3152 | 1235099.2998
62 | 2656887.6293 | 1235115.9182 | 2656879.3878 | 1235110.2852
63 | 2656887.6293 | 1235115.9182 | 2656903.3129 | 1235126.6377
64 | 2656910.2988 | 1235131.4125 | 2656903.3129 | 1235126.6377
65 | 2656926.0444 | 1235142.1745 | 2656910.2988 | 1235131.4125
66 | 2656926.0444 | 1235142.1745 | 2656932.6848 | 1235146.7131
67 | 2657135.0987 | 1235149.2317 | 2657129.8942 | 1235163.2333
68 | 2657136.1821 | 1235146.3171 | 2657135.0987 | 1235149.2317
69 | 2657136.1821 | 1235146.3171 | 2657138.7084 | 1235139.5205
70 | 2656925.521 | 1235073.4599 | 2656930.3049 | 1235075.4292 | 2656945.0305 | 1235087.3425
71 | 2656925.521 | 1235073.4599 | 2656915.8982 | 1235069.4985 | 2656910.1758 | 1235069.3134
72 | 2656945.0305 | 1235087.3425 | 2656947.481 | 1235089.325 | 2656951.1373 | 1235090.8277 | 2656955.0078 | 1235091.3095 | 2656955.0078 | 1235091.3095
73 | 2656904.7553 | 1235069.138 | 2656910.1758 | 1235069.3134
74 | 2656964.7011 | 1235081.2497 | 2656962.1579 | 1235086.0079 | 2656958.6897 | 1235090.1441 | 2656955.0078 | 1235091.3095
75 | 2656904.7553 | 1235069.138 | 2656892.4656 | 1235068.7404 | 2656870.3142 | 1235067.8038
76 | 2656968.0228 | 1235075.0348 | 2656964.7011 | 1235081.2497
77 | 2656859.8356 | 1235067.3607 | 2656870.3142 | 1235067.8038
78 | 2656968.0228 | 1235075.0348 | 2656970.7279 | 1235069.9796 | 2656976.2296 | 1235061.2935
79 | 2656968.0228 | 1235075.0348 | 2656979.1828 | 1235082.5132 | 2656982.9008 | 1235084.8379
80 | 2657140.2415 | 1235135.3961 | 2657138.7084 | 1235139.5205
81 | 2657142.8297 | 1235128.4332 | 2657140.2415 | 1235135.3961
82 | 2657142.8297 | 1235128.4332 | 2657147.5043 | 1235115.8571
83 | 2656982.9583 | 1235084.8739 | 2656982.9008 | 1235084.8379
84 | 2657015.4908 | 1235112.7701 | 2656997.0092 | 1235093.3023 | 2656989.2416 | 1235088.8027 | 2656982.9583 | 1235084.8739
85 | 2656992.7071 | 1235054.1699 | 2656999.9464 | 1235060.8982
86 | 2657022.5718 | 1234985.7797 | 2657025.4995 | 1234985.8276 | 2657044.9171 | 1234983.6512
87 | 2657085.8973 | 1234977.1228 | 2657061.0424 | 1234981.8439 | 2657044.9171 | 1234983.6512
88 | 2657010.1142 | 1235075.5497 | 2656999.9464 | 1235060.8982 | 2656999.9464 | 1235060.8982
89 | 2657274.3401 | 1235025.686 | 2657262.3545 | 1235048.9406
90 | 2656811.5468 | 1235090.8748 | 2656816.7418 | 1235085.3938 | 2656817.8118 | 1235080.3562 | 2656816.1119 | 1235073.7023 | 2656810.3271 | 1235070.0002 | 2656792.7161 | 1235064.3027
91 | 2656738.7343 | 1235047.2127 | 2656767.2655 | 1235051.4212 | 2656775.0487 | 1235054.3085 | 2656787.9103 | 1235062.748 | 2656792.7161 | 1235064.3027
92 | 2656811.5468 | 1235090.8748 | 2656807.1366 | 1235095.5276
93 | 2656738.7343 | 1235047.2127 | 2656745.2065 | 1235010.6507
94 | 2656745.2065 | 1235010.6507 | 2656778.2379 | 1235019.1605 | 2656788.3998 | 1235021.826 | 2656801.3523 | 1235023.1394 | 2656820.4436 | 1235022.01 | 2656824.8959 | 1235022.1797
95 | 2656824.8959 | 1235022.1797 | 2656836.8085 | 1235022.6335 | 2656843.6197 | 1235022.6824
96 | 2656843.6197 | 1235022.6824 | 2656853.861 | 1235022.7558
97 | 2657147.5043 | 1235115.8571 | 2657148.3125 | 1235113.683
98 | 2657150.6716 | 1235107.3363 | 2657148.3125 | 1235113.683
99 | 2657150.6716 | 1235107.3363 | 2657151.7548 | 1235104.4221
100 | 2657151.8469 | 1235104.1745 | 2657151.7548 | 1235104.4221

## bus_geodata
| x | y | coords
0 | 2656964.1687 | 1235257.2357
1 | 2656999.6689 | 1235209.6655
2 | 2656886.5519 | 1235321.2814
3 | 2656999.9871 | 1235209.0419
4 | 2656875.6461 | 1235325.2639
5 | 2657006.1642 | 1235196.9355
6 | 2656991.7872 | 1235187.1089
7 | 2657015.0454 | 1235183.1215
8 | 2657171.696 | 1235052.5957
9 | 2657170.1615 | 1235056.2724
10 | 2657174.1051 | 1235046.8233
11 | 2657163.5212 | 1235072.7673
12 | 2657178.6645 | 1235035.8986
13 | 2657162.7716 | 1235074.7838
14 | 2657184.4245 | 1235022.0971
15 | 2657133.4357 | 1235018.9411
16 | 2657256.1196 | 1235061.0378
17 | 2657160.6963 | 1235080.3669
18 | 2657184.6674 | 1235021.5153
19 | 2657158.3358 | 1235203.6742
20 | 2657170.3506 | 1235206.3402
21 | 2657155.3901 | 1235203.0205
22 | 2657173.9678 | 1235207.1428
23 | 2657129.7271 | 1235197.1488
24 | 2657182.3922 | 1235209.107
25 | 2657118.3302 | 1235194.3438
26 | 2657123.2668 | 1235181.0629
27 | 2657097.3519 | 1235188.3478
28 | 2656971.3759 | 1235173.1581
29 | 2657017.0396 | 1235180.0199
30 | 2656947.5356 | 1235156.8634
31 | 2657041.717 | 1235143.7084
32 | 2657194.1788 | 1234998.7251
33 | 2657193.8617 | 1234999.4848
34 | 2657190.5512 | 1235007.4172
35 | 2657148.4973 | 1234978.4872
36 | 2657074.9936 | 1235177.9315
37 | 2657059.7858 | 1235165.7677
38 | 2657043.1807 | 1235145.7571
39 | 2657059.0348 | 1235121.0202
40 | 2657038.606 | 1235136.6517
41 | 2657067.2518 | 1235102.9114
42 | 2657126.0197 | 1235173.6567
43 | 2656939.2372 | 1234999.4764
44 | 2656940.6499 | 1235002.1138
45 | 2656947.3823 | 1234992.892
46 | 2656922.5055 | 1235011.8747
47 | 2656961.046 | 1235026.1642
48 | 2656976.3789 | 1234985.0228
49 | 2656905.2881 | 1235016.6624
50 | 2656985.1755 | 1235047.1699
51 | 2656995.1128 | 1234985.3298
52 | 2656863.3152 | 1235099.2998
53 | 2656879.3878 | 1235110.2852
54 | 2656860.2689 | 1235097.2176
55 | 2656887.6293 | 1235115.9182
56 | 2656903.3129 | 1235126.6377
57 | 2656910.2988 | 1235131.4125
58 | 2656932.6848 | 1235146.7131
59 | 2656926.0444 | 1235142.1745
60 | 2657129.8942 | 1235163.2333
61 | 2657135.0987 | 1235149.2317
62 | 2657136.1821 | 1235146.3171
63 | 2656925.521 | 1235073.4599
64 | 2656945.0305 | 1235087.3425
65 | 2656910.1758 | 1235069.3134
66 | 2656955.0078 | 1235091.3095
67 | 2656904.7553 | 1235069.138
68 | 2656964.7011 | 1235081.2497
69 | 2656870.3142 | 1235067.8038
70 | 2656968.0228 | 1235075.0348
71 | 2656859.8356 | 1235067.3607
72 | 2657138.7084 | 1235139.5205
73 | 2657140.2415 | 1235135.3961
74 | 2657142.8297 | 1235128.4332
75 | 2656982.9008 | 1235084.8379
76 | 2656982.9583 | 1235084.8739
77 | 2657015.4908 | 1235112.7701
78 | 2656976.2296 | 1235061.2935
79 | 2656992.7071 | 1235054.1699
80 | 2657044.9171 | 1234983.6512
81 | 2657022.5718 | 1234985.7797
82 | 2657085.8973 | 1234977.1228
83 | 2656999.9464 | 1235060.8982
84 | 2657010.1142 | 1235075.5497
85 | 2657274.3401 | 1235025.686
86 | 2657262.3545 | 1235048.9406
87 | 2656792.7161 | 1235064.3027
88 | 2656811.5468 | 1235090.8748
89 | 2656738.7343 | 1235047.2127
90 | 2656807.1366 | 1235095.5276
91 | 2656745.2065 | 1235010.6507
92 | 2656824.8959 | 1235022.1797
93 | 2656843.6197 | 1235022.6824
94 | 2657148.3125 | 1235113.683
95 | 2657147.5043 | 1235115.8571
96 | 2657150.6716 | 1235107.3363
97 | 2657151.7548 | 1235104.4221
98 | 2657151.8469 | 1235104.1745
99 | 2657184.8983 | 1235020.9619
100 | 2656853.861 | 1235022.7558
101 | 2657075.0609 | 1235085.7017
102 | 2657075.0609 | 1235085.7017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1