## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-12_1_2_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_4141-12_1_2_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_4141-12_1_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_4141-12_1_2_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_4141-12_1_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_4141-12_1_2_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4141-12_1_2_node_162 | 0.4 | n |  | TRUE
7 | bus_LV_4141-12_1_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_4141-12_1_2_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_4141-12_1_2_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4141-12_1_2_node_199 | 0.4 | n |  | TRUE
11 | bus_LV_4141-12_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_4141-12_1_2_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_4141-12_1_2_node_153 | 0.4 | n |  | TRUE
14 | bus_LV_4141-12_1_2_node_197 | 0.4 | n |  | TRUE
15 | bus_LV_4141-12_1_2_node_150 | 0.4 | n |  | TRUE
16 | bus_LV_4141-12_1_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_4141-12_1_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_4141-12_1_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_4141-12_1_2_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_4141-12_1_2_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_4141-12_1_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_4141-12_1_2_node_127 | 0.4 | n |  | TRUE
23 | bus_LV_4141-12_1_2_node_185 | 0.4 | n |  | TRUE
24 | bus_LV_4141-12_1_2_node_156 | 0.4 | n |  | TRUE
25 | bus_LV_4141-12_1_2_node_201 | 0.4 | n |  | TRUE
26 | bus_LV_4141-12_1_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_4141-12_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_4141-12_1_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_4141-12_1_2_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_4141-12_1_2_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_4141-12_1_2_node_147 | 0.4 | n |  | TRUE
32 | bus_LV_4141-12_1_2_node_71 | 0.4 | n |  | TRUE
33 | bus_LV_4141-12_1_2_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_4141-12_1_2_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_4141-12_1_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_4141-12_1_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_4141-12_1_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_4141-12_1_2_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_4141-12_1_2_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_4141-12_1_2_node_136 | 0.4 | n |  | TRUE
41 | bus_LV_4141-12_1_2_node_93 | 0.4 | n |  | TRUE
42 | bus_LV_4141-12_1_2_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_4141-12_1_2_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_4141-12_1_2_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_4141-12_1_2_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_4141-12_1_2_node_61 | 0.4 | n |  | TRUE
47 | bus_LV_4141-12_1_2_node_126 | 0.4 | n |  | TRUE
48 | bus_LV_4141-12_1_2_node_107 | 0.4 | n |  | TRUE
49 | bus_LV_4141-12_1_2_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_4141-12_1_2_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4141-12_1_2_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_4141-12_1_2_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_4141-12_1_2_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_4141-12_1_2_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_4141-12_1_2_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_4141-12_1_2_node_73 | 0.4 | n |  | TRUE
57 | bus_LV_4141-12_1_2_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_4141-12_1_2_node_106 | 0.4 | n |  | TRUE
59 | bus_LV_4141-12_1_2_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_4141-12_1_2_node_110 | 0.4 | n |  | TRUE
61 | bus_LV_4141-12_1_2_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_4141-12_1_2_node_152 | 0.4 | n |  | TRUE
63 | bus_LV_4141-12_1_2_node_182 | 0.4 | n |  | TRUE
64 | bus_LV_4141-12_1_2_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_4141-12_1_2_node_111 | 0.4 | n |  | TRUE
66 | bus_LV_4141-12_1_2_node_112 | 0.4 | n |  | TRUE
67 | bus_LV_4141-12_1_2_node_113 | 0.4 | n |  | TRUE
68 | bus_LV_4141-12_1_2_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_4141-12_1_2_node_138 | 0.4 | n |  | TRUE
70 | bus_LV_4141-12_1_2_node_124 | 0.4 | n |  | TRUE
71 | bus_LV_4141-12_1_2_node_154 | 0.4 | n |  | TRUE
72 | bus_LV_4141-12_1_2_node_121 | 0.4 | n |  | TRUE
73 | bus_LV_4141-12_1_2_node_122 | 0.4 | n |  | TRUE
74 | bus_LV_4141-12_1_2_node_123 | 0.4 | n |  | TRUE
75 | bus_LV_4141-12_1_2_node_125 | 0.4 | n |  | TRUE
76 | bus_LV_4141-12_1_2_node_130 | 0.4 | n |  | TRUE
77 | bus_LV_4141-12_1_2_node_179 | 0.4 | n |  | TRUE
78 | bus_LV_4141-12_1_2_node_137 | 0.4 | n |  | TRUE
79 | bus_LV_4141-12_1_2_node_181 | 0.4 | n |  | TRUE
80 | bus_LV_4141-12_1_2_node_180 | 0.4 | n |  | TRUE
81 | bus_LV_4141-12_1_2_node_151 | 0.4 | n |  | TRUE
82 | bus_LV_4141-12_1_2_node_155 | 0.4 | n |  | TRUE
83 | bus_LV_4141-12_1_2_node_157 | 0.4 | n |  | TRUE
84 | bus_LV_4141-12_1_2_node_158 | 0.4 | n |  | TRUE
85 | bus_LV_4141-12_1_2_node_159 | 0.4 | n |  | TRUE
86 | bus_LV_4141-12_1_2_node_160 | 0.4 | n |  | TRUE
87 | bus_LV_4141-12_1_2_node_190 | 0.4 | n |  | TRUE
88 | bus_LV_4141-12_1_2_node_188 | 0.4 | n |  | TRUE
89 | bus_LV_4141-12_1_2_node_163 | 0.4 | n |  | TRUE
90 | bus_LV_4141-12_1_2_node_164 | 0.4 | n |  | TRUE
91 | bus_LV_4141-12_1_2_node_178 | 0.4 | n |  | TRUE
92 | bus_LV_4141-12_1_2_node_189 | 0.4 | n |  | TRUE
93 | bus_LV_4141-12_1_2_node_191 | 0.4 | n |  | TRUE
94 | bus_LV_4141-12_1_2_node_200 | 0.4 | n |  | TRUE
95 | bus_MV_474_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-12_1_2_load_5 | 0 | 0.0019455 | 0.00048759 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-12_1_2_load_6 | 1 | 0.0011506 | 0.00028836 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-12_1_2_load_7 | 2 | 0.00062528 | 0.00015671 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-12_1_2_load_8 | 3 | 0.00052451 | 0.00013145 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-12_1_2_load_9 | 4 | 0.00038407 | 9.6256e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-12_1_2_load_29 | 5 | 0.00046292 | 0.00011602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-12_1_2_load_162 | 6 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-12_1_2_load_11 | 7 | 0.0013906 | 0.00034853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-12_1_2_load_12 | 8 | 0.0010463 | 0.00026222 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-12_1_2_load_13 | 9 | 0.0013421 | 0.00033637 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-12_1_2_load_199 | 10 | 0.0007812 | 0.00019579 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-12_1_2_load_14 | 11 | 0.00090169 | 0.00022599 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-12_1_2_load_15 | 12 | 0.0005502 | 0.00013789 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-12_1_2_load_153 | 13 | 0.00076207 | 0.00019099 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-12_1_2_load_197 | 14 | 0.00085008 | 0.00021305 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-12_1_2_load_150 | 15 | 0.001307 | 0.00032755 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-12_1_2_load_30 | 16 | 0.0026344 | 0.00066025 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-12_1_2_load_31 | 17 | 0.0010368 | 0.00025985 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-12_1_2_load_34 | 19 | 0.0010926 | 0.00027382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-12_1_2_load_127 | 22 | 0.00073386 | 0.00018392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-12_1_2_load_185 | 23 | 0.00057651 | 0.00014449 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-12_1_2_load_201 | 25 | 0.0015484 | 0.00038808 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-12_1_2_load_37 | 26 | 0.002051 | 0.00051402 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-12_1_2_load_38 | 27 | 0.0019954 | 0.0005001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-12_1_2_load_39 | 28 | 0.0021294 | 0.00053367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-12_1_2_load_40 | 29 | 0.0018223 | 0.00045671 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-12_1_2_load_41 | 30 | 0.0046495 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-12_1_2_load_147 | 31 | 0.0021325 | 0.00053446 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-12_1_2_load_71 | 32 | 0.0050681 | 0.0012702 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-12_1_2_load_47 | 33 | 0.0017456 | 0.00043748 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-12_1_2_load_51 | 34 | 0.0025744 | 0.00064521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-12_1_2_load_52 | 35 | 0.0021314 | 0.00053419 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-12_1_2_load_54 | 37 | 0.0025918 | 0.00064957 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-12_1_2_load_55 | 38 | 0.0021189 | 0.00053104 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-12_1_2_load_56 | 39 | 0.0021639 | 0.00054233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-12_1_2_load_136 | 40 | 0.0035034 | 0.00087803 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-12_1_2_load_93 | 41 | 0.002074 | 0.00051979 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-12_1_2_load_57 | 42 | 0.0014356 | 0.0003598 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-12_1_2_load_58 | 43 | 0.0013259 | 0.00033229 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-12_1_2_load_59 | 44 | 0.0013634 | 0.00034169 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-12_1_2_load_60 | 45 | 0.0014322 | 0.00035894 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-12_1_2_load_61 | 46 | 0.0018072 | 0.00045292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-12_1_2_load_126 | 47 | 0.0050375 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-12_1_2_load_107 | 48 | 0.00094701 | 0.00023734 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-12_1_2_load_66 | 49 | 0.0018304 | 0.00045874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-12_1_2_load_67 | 50 | 0.0021924 | 0.00054947 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-12_1_2_load_68 | 51 | 0.0085636 | 0.0021462 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-12_1_2_load_69 | 52 | 0.002412 | 0.0006045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-12_1_2_load_70 | 53 | 0.0055862 | 0.0014 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-12_1_2_load_74 | 54 | 0.0037975 | 0.00095175 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-12_1_2_load_72 | 55 | 0.0025652 | 0.00064289 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-12_1_2_load_73 | 56 | 0.0034324 | 0.00086025 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-12_1_2_load_75 | 57 | 0.0024319 | 0.0006095 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-12_1_2_load_106 | 58 | 0.0020712 | 0.00051909 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-12_1_2_load_110 | 60 | 0.0012881 | 0.00032283 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-12_1_2_load_152 | 62 | 0.0018745 | 0.0004698 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-12_1_2_load_182 | 63 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-12_1_2_load_111 | 65 | 0.0011345 | 0.00028434 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4141-12_1_2_load_112 | 66 | 0.0011812 | 0.00029603 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4141-12_1_2_load_113 | 67 | 0.0018124 | 0.00045424 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4141-12_1_2_load_115 | 68 | 0.0014118 | 0.00035384 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4141-12_1_2_load_124 | 70 | 0.0097822 | 0.0024516 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4141-12_1_2_load_154 | 71 | 0.0012668 | 0.00031749 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4141-12_1_2_load_121 | 72 | 0.0012057 | 0.00030219 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4141-12_1_2_load_122 | 73 | 0.0016034 | 0.00040185 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4141-12_1_2_load_123 | 74 | 0.0023185 | 0.00058107 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4141-12_1_2_load_125 | 75 | 0.0019761 | 0.00049526 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4141-12_1_2_load_130 | 76 | 0.0016926 | 0.0004242 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4141-12_1_2_load_179 | 77 | 0.0025106 | 0.00062922 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4141-12_1_2_load_137 | 78 | 0.0026037 | 0.00065256 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4141-12_1_2_load_181 | 79 | 0.0021535 | 0.00053972 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4141-12_1_2_load_151 | 81 | 0.0014186 | 0.00035554 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4141-12_1_2_load_155 | 82 | 0.001125 | 0.00028195 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4141-12_1_2_load_159 | 85 | 0.00084912 | 0.00021281 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4141-12_1_2_load_160 | 86 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4141-12_1_2_load_190 | 87 | 0.0013113 | 0.00032864 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4141-12_1_2_load_188 | 88 | 0.0015416 | 0.00038637 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4141-12_1_2_load_163 | 89 | 0.0021218 | 0.00053177 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4141-12_1_2_load_164 | 90 | 0.0007176 | 0.00017985 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4141-12_1_2_load_178 | 91 | 0.0018473 | 0.00046299 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4141-12_1_2_load_191 | 93 | 0.0041841 | 0.0010486 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4141-12_1_2_load_200 | 94 | 0.0017773 | 0.00044542 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-12_1_2_line_0 |  | 0 | 1 | 0.036066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4141-12_1_2_line_1 |  | 0 | 2 | 0.025142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4141-12_1_2_line_2 |  | 1 | 3 | 0.0094503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4141-12_1_2_line_3 |  | 2 | 4 | 0.018233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4141-12_1_2_line_4 |  | 3 | 5 | 0.04195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-12_1_2_line_5 |  | 4 | 6 | 0.10469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4141-12_1_2_line_6 |  | 6 | 89 | 0.029244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4141-12_1_2_line_7 |  | 7 | 8 | 0.0055719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4141-12_1_2_line_8 |  | 7 | 9 | 0.039045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4141-12_1_2_line_9 |  | 7 | 10 | 0.050534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4141-12_1_2_line_10 |  | 8 | 11 | 0.014968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4141-12_1_2_line_11 |  | 9 | 12 | 0.0097165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-12_1_2_line_12 |  | 11 | 13 | 0.0071468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-12_1_2_line_13 |  | 11 | 14 | 0.053575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4141-12_1_2_line_14 |  | 12 | 15 | 0.01138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4141-12_1_2_line_15 |  | 13 | 71 | 0.031734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-12_1_2_line_16 |  | 13 | 33 | 0.099881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-12_1_2_line_17 |  | 15 | 81 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-12_1_2_line_18 |  | 16 | 17 | 0.0074201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-12_1_2_line_19 |  | 16 | 18 | 0.016195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-12_1_2_line_20 |  | 18 | 19 | 0.040188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-12_1_2_line_21 |  | 18 | 20 | 0.056414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4141-12_1_2_line_22 |  | 18 | 21 | 0.059749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4141-12_1_2_line_23 |  | 19 | 22 | 0.027551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-12_1_2_line_24 |  | 20 | 23 | 0.047708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-12_1_2_line_25 |  | 21 | 24 | 0.011962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-12_1_2_line_26 |  | 21 | 25 | 0.057952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4141-12_1_2_line_27 |  | 24 | 84 | 0.019183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-12_1_2_line_28 |  | 24 | 82 | 0.026727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-12_1_2_line_29 |  | 26 | 27 | 0.0005468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-12_1_2_line_30 |  | 26 | 28 | 0.019268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-12_1_2_line_31 |  | 27 | 29 | 0.021864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-12_1_2_line_32 |  | 28 | 30 | 0.0047665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-12_1_2_line_33 |  | 29 | 31 | 0.0034658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-12_1_2_line_34 |  | 30 | 32 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-12_1_2_line_35 |  | 31 | 75 | 0.020648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-12_1_2_line_36 |  | 32 | 38 | 0.013341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-12_1_2_line_37 |  | 34 | 35 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-12_1_2_line_38 |  | 34 | 36 | 0.029162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-12_1_2_line_39 |  | 35 | 37 | 0.0089295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-12_1_2_line_40 |  | 36 | 38 | 0.0063355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-12_1_2_line_41 |  | 36 | 39 | 0.004229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-12_1_2_line_42 |  | 37 | 40 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-12_1_2_line_43 |  | 39 | 41 | 0.0063156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4141-12_1_2_line_44 |  | 40 | 78 | 0.025176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4141-12_1_2_line_45 |  | 41 | 52 | 0.0018421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-12_1_2_line_46 |  | 42 | 43 | 0.0097206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-12_1_2_line_47 |  | 42 | 44 | 0.01641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4141-12_1_2_line_48 |  | 43 | 45 | 0.012361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4141-12_1_2_line_49 |  | 44 | 46 | 0.0099019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4141-12_1_2_line_50 |  | 45 | 47 | 0.0070651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4141-12_1_2_line_51 |  | 46 | 48 | 0.01417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4141-12_1_2_line_52 |  | 48 | 58 | 0.008104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4141-12_1_2_line_53 |  | 49 | 50 | 0.0063515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4141-12_1_2_line_54 |  | 49 | 51 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4141-12_1_2_line_55 |  | 50 | 52 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4141-12_1_2_line_56 |  | 51 | 53 | 0.011337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4141-12_1_2_line_57 |  | 53 | 54 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4141-12_1_2_line_58 |  | 54 | 55 | 0.010285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4141-12_1_2_line_59 |  | 55 | 56 | 0.011779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4141-12_1_2_line_60 |  | 56 | 57 | 0.021992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4141-12_1_2_line_61 |  | 58 | 59 | 0.012042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4141-12_1_2_line_62 |  | 59 | 60 | 0.01724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4141-12_1_2_line_63 |  | 60 | 64 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4141-12_1_2_line_64 |  | 61 | 62 | 0.017038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4141-12_1_2_line_65 |  | 61 | 63 | 0.013207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4141-12_1_2_line_66 |  | 62 | 81 | 0.0042286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4141-12_1_2_line_67 |  | 63 | 90 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4141-12_1_2_line_68 |  | 64 | 69 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4141-12_1_2_line_69 |  | 64 | 70 | 0.038463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4141-12_1_2_line_70 |  | 64 | 66 | 0.015912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4141-12_1_2_line_71 |  | 65 | 66 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4141-12_1_2_line_72 |  | 65 | 67 | 9.9273e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4141-12_1_2_line_73 |  | 67 | 68 | 0.021659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4141-12_1_2_line_74 |  | 68 | 71 | 0.00020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4141-12_1_2_line_75 |  | 69 | 80 | 0.061198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4141-12_1_2_line_76 |  | 70 | 73 | 0.0069653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4141-12_1_2_line_77 |  | 72 | 73 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4141-12_1_2_line_78 |  | 72 | 74 | 0.019634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4141-12_1_2_line_79 |  | 74 | 75 | 0.0073363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4141-12_1_2_line_80 |  | 76 | 77 | 0.0018684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4141-12_1_2_line_81 |  | 77 | 91 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4141-12_1_2_line_82 |  | 78 | 79 | 0.011007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4141-12_1_2_line_83 |  | 79 | 85 | 0.024716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4141-12_1_2_line_84 |  | 80 | 91 | 0.032973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4141-12_1_2_line_85 |  | 82 | 83 | 0.019546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4141-12_1_2_line_86 |  | 83 | 85 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4141-12_1_2_line_87 |  | 83 | 86 | 0.028774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4141-12_1_2_line_88 |  | 84 | 87 | 0.016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4141-12_1_2_line_89 |  | 84 | 88 | 0.0011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4141-12_1_2_line_90 |  | 87 | 94 | 0.031855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4141-12_1_2_line_91 |  | 88 | 92 | 0.05187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4141-12_1_2_line_92 |  | 89 | 90 | 0.021835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4141-12_1_2_line_93 |  | 92 | 93 | 0.043162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-12_1_2_trafo_38 | 0.63 MVA 20/0.4 kV | 95 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2657174.5784 | 1234630.6611 | 2657192.3174 | 1234624.4723 | 2657193.2077 | 1234607.2171
1 | 2657174.5784 | 1234630.6611 | 2657157.8302 | 1234636.5041 | 2657150.5112 | 1234637.6225
2 | 2657193.6946 | 1234597.7793 | 2657193.2077 | 1234607.2171
3 | 2657132.4879 | 1234640.3766 | 2657150.5112 | 1234637.6225
4 | 2657193.6946 | 1234597.7793 | 2657193.6946 | 1234597.7793 | 2657222.276 | 1234581.2547 | 2657227.0396 | 1234573.695
5 | 2657045.5566 | 1234698.7086 | 2657132.4879 | 1234640.3766
6 | 2657045.5566 | 1234698.7086 | 2657044.6371 | 1234700.8255 | 2657034.8202 | 1234725.9094
7 | 2656900.3561 | 1234779.723 | 2656897.7417 | 1234784.6435
8 | 2656929.4838 | 1234758.329 | 2656920.4375 | 1234759.2176 | 2656911.7525 | 1234762.7367 | 2656905.6143 | 1234769.827 | 2656900.3561 | 1234779.723
9 | 2656900.3561 | 1234779.723 | 2656862.8292 | 1234745.8798
10 | 2656891.9541 | 1234798.191 | 2656892.0485 | 1234795.3583 | 2656897.7417 | 1234784.6435
11 | 2656939.1538 | 1234757.3791 | 2656929.4838 | 1234758.329
12 | 2656891.9541 | 1234798.191 | 2656891.9104 | 1234799.5041 | 2656895.0049 | 1234802.7914 | 2656896.2588 | 1234803.1984
13 | 2656891.9541 | 1234798.191 | 2656838.4665 | 1234801.2427
14 | 2656939.1538 | 1234757.3791 | 2656950.479 | 1234756.2666
15 | 2656926.4432 | 1234812.9948 | 2656896.2588 | 1234803.1984
16 | 2656896.2588 | 1234803.1984 | 2656869.4678 | 1234899.4195
17 | 2656950.479 | 1234756.2666 | 2656957.6665 | 1234755.5606 | 2656978.117 | 1234757.187
18 | 2657200.6176 | 1234983.2973 | 2657203.4754 | 1234976.4496
19 | 2657209.713 | 1234961.5039 | 2657203.4754 | 1234976.4496
20 | 2657209.713 | 1234961.5039 | 2657218.3212 | 1234962.8098 | 2657237.5217 | 1234970.7998 | 2657246.6197 | 1234976.4021
21 | 2657153.5274 | 1234964.9768 | 2657176.5818 | 1234961.8187 | 2657202.9191 | 1234961.2161 | 2657209.713 | 1234961.5039
22 | 2657209.713 | 1234961.5039 | 2657202.9191 | 1234961.2161 | 2657205.5489 | 1234952.9916 | 2657208.4396 | 1234953.8422 | 2657225.1328 | 1234955.7596 | 2657239.3978 | 1234963.0462 | 2657244.9544 | 1234956.6399
23 | 2657246.6197 | 1234976.4021 | 2657270.08 | 1234990.8483
24 | 2657153.5274 | 1234964.9768 | 2657110.2005 | 1234945.005
25 | 2657244.9544 | 1234956.6399 | 2657234.5903 | 1234950.614
26 | 2657244.9544 | 1234956.6399 | 2657265.5272 | 1234968.3123 | 2657281.0299 | 1234977.5233 | 2657295.0135 | 1234985.8315
27 | 2657234.5903 | 1234950.614 | 2657245.3398 | 1234934.7071
28 | 2657234.5903 | 1234950.614 | 2657221.3154 | 1234943.4816 | 2657210.6166 | 1234938.8536
29 | 2657111.7712 | 1234866.4942 | 2657112.2987 | 1234866.6384
30 | 2657130.8851 | 1234871.7197 | 2657112.2987 | 1234866.6384
31 | 2657090.6809 | 1234860.7283 | 2657111.7712 | 1234866.4942
32 | 2657130.8851 | 1234871.7197 | 2657135.4828 | 1234872.9767
33 | 2657087.3378 | 1234859.8143 | 2657090.6809 | 1234860.7283
34 | 2657152.0902 | 1234862.3663 | 2657148.4929 | 1234871.4786 | 2657135.4828 | 1234872.9767 | 2657135.4828 | 1234872.9767
35 | 2657087.3378 | 1234859.8143 | 2657067.4211 | 1234854.3693
36 | 2657156.9888 | 1234849.9577 | 2657152.0902 | 1234862.3663
37 | 2657185.2884 | 1234857.3244 | 2657196.1687 | 1234862.879
38 | 2657159.3151 | 1234844.0647 | 2657185.2884 | 1234857.3244
39 | 2657196.1687 | 1234862.879 | 2657204.1217 | 1234866.9391
40 | 2657159.3151 | 1234844.0647 | 2657156.9888 | 1234849.9577
41 | 2657159.3151 | 1234844.0647 | 2657161.0248 | 1234840.1968
42 | 2657224.2755 | 1234877.2279 | 2657204.1217 | 1234866.9391
43 | 2657161.0248 | 1234840.1968 | 2657163.5781 | 1234834.4203
44 | 2657224.2755 | 1234877.2279 | 2657233.6542 | 1234882.0158 | 2657223.4099 | 1234892.4833
45 | 2657164.3228 | 1234832.7355 | 2657163.5781 | 1234834.4203
46 | 2657052.514 | 1234789.9697 | 2657062.1753 | 1234788.8984
47 | 2657052.514 | 1234789.9697 | 2657036.2042 | 1234791.7783
48 | 2657074.4606 | 1234787.536 | 2657062.1753 | 1234788.8984
49 | 2657026.3626 | 1234792.8697 | 2657036.2042 | 1234791.7783
50 | 2657081.4826 | 1234786.7573 | 2657074.4606 | 1234787.536
51 | 2657026.3626 | 1234792.8697 | 2657012.2792 | 1234794.4314
52 | 2657004.2246 | 1234795.3246 | 2657012.2792 | 1234794.4314
53 | 2657174.2207 | 1234810.3429 | 2657171.6529 | 1234816.1521
54 | 2657180.1364 | 1234796.9594 | 2657174.2207 | 1234810.3429
55 | 2657164.3228 | 1234832.7355 | 2657171.6529 | 1234816.1521
56 | 2657180.1364 | 1234796.9594 | 2657182.883 | 1234790.7455 | 2657187.0431 | 1234788.9195
57 | 2657187.0431 | 1234788.9195 | 2657193.1445 | 1234786.2413 | 2657197.2698 | 1234788.3983
58 | 2657206.3838 | 1234793.1638 | 2657197.2698 | 1234788.3983
59 | 2657206.3838 | 1234793.1638 | 2657216.8219 | 1234798.6216
60 | 2657227.163 | 1234816.4995 | 2657217.7494 | 1234807.6364 | 2657216.8219 | 1234798.6216
61 | 2656993.2651 | 1234799.5638 | 2656999.1738 | 1234795.8847 | 2657004.2246 | 1234795.3246
62 | 2656993.2651 | 1234799.5638 | 2656987.7813 | 1234815.908
63 | 2656981.8073 | 1234830.9633 | 2656987.4681 | 1234816.8417 | 2656987.7813 | 1234815.908
64 | 2656999.317 | 1234758.8731 | 2656982.3323 | 1234757.5223
65 | 2656999.317 | 1234758.8731 | 2657010.3137 | 1234756.6104 | 2657012.1224 | 1234755.8058
66 | 2656982.3323 | 1234757.5223 | 2656978.117 | 1234757.187
67 | 2657012.1224 | 1234755.8058 | 2657023.0613 | 1234750.94 | 2657025.7839 | 1234745.7508
68 | 2656969.2748 | 1234863.9536 | 2656981.8073 | 1234830.9633
69 | 2656981.8073 | 1234830.9633 | 2657018.909 | 1234841.1065
70 | 2656981.8073 | 1234830.9633 | 2656966.6724 | 1234826.0512
71 | 2656966.6724 | 1234826.0512 | 2656947.333 | 1234819.7746
72 | 2656947.2386 | 1234819.7439 | 2656947.333 | 1234819.7746
73 | 2656926.6379 | 1234813.058 | 2656947.2386 | 1234819.7439
74 | 2656926.4432 | 1234812.9948 | 2656926.6379 | 1234813.058
75 | 2656969.2748 | 1234863.9536 | 2656966.7536 | 1234870.3558 | 2656999.5474 | 1234880.0209 | 2657018.9007 | 1234885.5545
76 | 2657018.909 | 1234841.1065 | 2657025.6278 | 1234842.9434
77 | 2657041.4058 | 1234847.257 | 2657025.6278 | 1234842.9434
78 | 2657041.4058 | 1234847.257 | 2657060.3445 | 1234852.4346
79 | 2657060.3445 | 1234852.4346 | 2657067.4211 | 1234854.3693
80 | 2656991.7187 | 1234927.6213 | 2656992.6137 | 1234925.9812
81 | 2656999.9774 | 1234912.4858 | 2656992.6137 | 1234925.9812
82 | 2657223.4099 | 1234892.4833 | 2657215.711 | 1234900.3501
83 | 2657200.5979 | 1234919.811 | 2657210.187 | 1234905.9944 | 2657215.711 | 1234900.3501
84 | 2657018.9007 | 1234885.5545 | 2657003.3906 | 1234906.2304 | 2656999.9774 | 1234912.4858
85 | 2657192.5493 | 1234931.408 | 2657199.5098 | 1234934.0544 | 2657204.1754 | 1234936.0673 | 2657210.6166 | 1234938.8536
86 | 2657192.5493 | 1234931.408 | 2657200.5979 | 1234919.811
87 | 2657192.5493 | 1234931.408 | 2657165.6594 | 1234921.1668
88 | 2657245.3398 | 1234934.7071 | 2657261.1944 | 1234939.0353
89 | 2657245.3398 | 1234934.7071 | 2657246.1521 | 1234933.8901
90 | 2657291.9248 | 1234947.4245 | 2657261.1944 | 1234939.0353
91 | 2657287.9892 | 1234904.9319 | 2657276.2996 | 1234908.4215 | 2657262.3222 | 1234917.6262 | 2657246.1521 | 1234933.8901
92 | 2657025.7839 | 1234745.7508 | 2657030.7867 | 1234736.2157 | 2657034.8202 | 1234725.9094
93 | 2657287.9892 | 1234904.9319 | 2657298.4307 | 1234893.5139 | 2657297.9343 | 1234886.9048 | 2657281.6319 | 1234873.4834

## bus_geodata
| x | y | coords
0 | 2657174.5784 | 1234630.6611
1 | 2657193.2077 | 1234607.2171
2 | 2657150.5112 | 1234637.6225
3 | 2657193.6946 | 1234597.7793
4 | 2657132.4879 | 1234640.3766
5 | 2657227.0396 | 1234573.695
6 | 2657045.5566 | 1234698.7086
7 | 2656900.3561 | 1234779.723
8 | 2656897.7417 | 1234784.6435
9 | 2656929.4838 | 1234758.329
10 | 2656862.8292 | 1234745.8798
11 | 2656891.9541 | 1234798.191
12 | 2656939.1538 | 1234757.3791
13 | 2656896.2588 | 1234803.1984
14 | 2656838.4665 | 1234801.2427
15 | 2656950.479 | 1234756.2666
16 | 2657203.4754 | 1234976.4496
17 | 2657200.6176 | 1234983.2973
18 | 2657209.713 | 1234961.5039
19 | 2657246.6197 | 1234976.4021
20 | 2657153.5274 | 1234964.9768
21 | 2657244.9544 | 1234956.6399
22 | 2657270.08 | 1234990.8483
23 | 2657110.2005 | 1234945.005
24 | 2657234.5903 | 1234950.614
25 | 2657295.0135 | 1234985.8315
26 | 2657112.2987 | 1234866.6384
27 | 2657111.7712 | 1234866.4942
28 | 2657130.8851 | 1234871.7197
29 | 2657090.6809 | 1234860.7283
30 | 2657135.4828 | 1234872.9767
31 | 2657087.3378 | 1234859.8143
32 | 2657152.0902 | 1234862.3663
33 | 2656869.4678 | 1234899.4195
34 | 2657185.2884 | 1234857.3244
35 | 2657196.1687 | 1234862.8789
36 | 2657159.3151 | 1234844.0647
37 | 2657204.1217 | 1234866.9391
38 | 2657156.9888 | 1234849.9577
39 | 2657161.0248 | 1234840.1968
40 | 2657224.2755 | 1234877.2279
41 | 2657163.5781 | 1234834.4203
42 | 2657052.514 | 1234789.9697
43 | 2657062.1753 | 1234788.8984
44 | 2657036.2042 | 1234791.7783
45 | 2657074.4606 | 1234787.536
46 | 2657026.3626 | 1234792.8697
47 | 2657081.4826 | 1234786.7573
48 | 2657012.2792 | 1234794.4314
49 | 2657174.2207 | 1234810.3429
50 | 2657171.6529 | 1234816.1521
51 | 2657180.1364 | 1234796.9594
52 | 2657164.3228 | 1234832.7355
53 | 2657187.0431 | 1234788.9195
54 | 2657197.2698 | 1234788.3983
55 | 2657206.3838 | 1234793.1638
56 | 2657216.8219 | 1234798.6216
57 | 2657227.163 | 1234816.4995
58 | 2657004.2246 | 1234795.3246
59 | 2656993.2651 | 1234799.5638
60 | 2656987.7813 | 1234815.908
61 | 2656999.317 | 1234758.8731
62 | 2656982.3323 | 1234757.5223
63 | 2657012.1224 | 1234755.8058
64 | 2656981.8073 | 1234830.9633
65 | 2656947.333 | 1234819.7746
66 | 2656966.6724 | 1234826.0512
67 | 2656947.2386 | 1234819.7439
68 | 2656926.6379 | 1234813.058
69 | 2656969.2748 | 1234863.9536
70 | 2657018.909 | 1234841.1065
71 | 2656926.4432 | 1234812.9948
72 | 2657041.4058 | 1234847.257
73 | 2657025.6278 | 1234842.9434
74 | 2657060.3445 | 1234852.4346
75 | 2657067.4211 | 1234854.3693
76 | 2656991.7187 | 1234927.6213
77 | 2656992.6137 | 1234925.9812
78 | 2657223.4099 | 1234892.4833
79 | 2657215.711 | 1234900.3501
80 | 2657018.9007 | 1234885.5545
81 | 2656978.117 | 1234757.187
82 | 2657210.6166 | 1234938.8536
83 | 2657192.5493 | 1234931.408
84 | 2657245.3398 | 1234934.7071
85 | 2657200.5979 | 1234919.811
86 | 2657165.6594 | 1234921.1668
87 | 2657261.1944 | 1234939.0353
88 | 2657246.1521 | 1234933.8901
89 | 2657034.8202 | 1234725.9094
90 | 2657025.7839 | 1234745.7508
91 | 2656999.9774 | 1234912.4858
92 | 2657287.9892 | 1234904.9319
93 | 2657281.6318 | 1234873.4834
94 | 2657291.9248 | 1234947.4245
95 | 2657159.3151 | 1234844.0647

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1