## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-14_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4141-14_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4141-14_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4141-14_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4141-14_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4141-14_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4141-14_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4141-14_0_6_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_4141-14_0_6_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_4141-14_0_6_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_4141-14_0_6_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_4141-14_0_6_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_4141-14_0_6_node_37 | 0.4 | n |  | TRUE
13 | bus_LV_4141-14_0_6_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_4141-14_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4141-14_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4141-14_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4141-14_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4141-14_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4141-14_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4141-14_0_6_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_4141-14_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_4141-14_0_6_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_4141-14_0_6_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4141-14_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4141-14_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4141-14_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_4141-14_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_4141-14_0_6_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_4141-14_0_6_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4141-14_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4141-14_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_4141-14_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_4141-14_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4141-14_0_6_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_4141-14_0_6_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4141-14_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4141-14_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4141-14_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4141-14_0_6_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_4141-14_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4141-14_0_6_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_4141-14_0_6_node_99 | 0.4 | n |  | TRUE
43 | bus_LV_4141-14_0_6_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4141-14_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_4141-14_0_6_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_4141-14_0_6_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4141-14_0_6_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_4141-14_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_4141-14_0_6_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_4141-14_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_4141-14_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_4141-14_0_6_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_4141-14_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_4141-14_0_6_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4141-14_0_6_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4141-14_0_6_node_74 | 0.4 | n |  | TRUE
57 | bus_LV_4141-14_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4141-14_0_6_node_66 | 0.4 | n |  | TRUE
59 | bus_LV_4141-14_0_6_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_4141-14_0_6_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4141-14_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_4141-14_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_4141-14_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4141-14_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4141-14_0_6_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_4141-14_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4141-14_0_6_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4141-14_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4141-14_0_6_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_4141-14_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_4141-14_0_6_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_4141-14_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4141-14_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_4141-14_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_4141-14_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4141-14_0_6_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_4141-14_0_6_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_4141-14_0_6_node_84 | 0.4 | n |  | TRUE
79 | bus_LV_4141-14_0_6_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_4141-14_0_6_node_93 | 0.4 | n |  | TRUE
81 | bus_LV_4141-14_0_6_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4141-14_0_6_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4141-14_0_6_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_4141-14_0_6_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4141-14_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_4141-14_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4141-14_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4141-14_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4141-14_0_6_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4141-14_0_6_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4141-14_0_6_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_4141-14_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_4141-14_0_6_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_4141-14_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_4141-14_0_6_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4141-14_0_6_node_98 | 0.4 | n |  | TRUE
97 | bus_MV_474_0_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-14_0_6_load_0 | 0 | 0.035097 | 0.0087962 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-14_0_6_load_1 | 2 | 0.0060723 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-14_0_6_load_3 | 3 | 0.0036774 | 0.00092165 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-14_0_6_load_4 | 4 | 0.0049824 | 0.0012487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-14_0_6_load_42 | 7 | 0.013288 | 0.0033302 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-14_0_6_load_43 | 8 | 0.0098472 | 0.002468 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-14_0_6_load_38 | 9 | 0.0039325 | 0.00098557 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-14_0_6_load_21 | 10 | 0.00098322 | 0.00024642 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-14_0_6_load_23 | 11 | 0.00046004 | 0.0001153 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-14_0_6_load_37 | 12 | 0.00079288 | 0.00019872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-14_0_6_load_19 | 13 | 0.0039842 | 0.00099854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-14_0_6_load_10 | 14 | 0.00036361 | 9.1129e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-14_0_6_load_11 | 15 | 0.00021658 | 5.4281e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-14_0_6_load_12 | 16 | 0.00023743 | 5.9505e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-14_0_6_load_13 | 17 | 0.00050235 | 0.0001259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-14_0_6_load_14 | 18 | 0.00031062 | 7.7848e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-14_0_6_load_16 | 19 | 0.00033579 | 8.4157e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-14_0_6_load_7 | 20 | 0.023341 | 0.0058499 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-14_0_6_load_53 | 21 | 0.0033476 | 0.00083898 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-14_0_6_load_51 | 22 | 0.00269 | 0.00067419 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-14_0_6_load_15 | 23 | 0.001478 | 0.00037043 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-14_0_6_load_17 | 24 | 0.00013057 | 3.2724e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-14_0_6_load_34 | 28 | 0.0017375 | 0.00043545 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-14_0_6_load_20 | 29 | 0.0017888 | 0.00044831 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-14_0_6_load_24 | 30 | 0.00064888 | 0.00016262 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-14_0_6_load_25 | 31 | 0.0011884 | 0.00029784 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-14_0_6_load_28 | 34 | 0.00066454 | 0.00016655 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-14_0_6_load_29 | 35 | 0.0069944 | 0.001753 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-14_0_6_load_30 | 36 | 0.0029621 | 0.00074238 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-14_0_6_load_31 | 37 | 0.0018184 | 0.00045573 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-14_0_6_load_32 | 38 | 0.0010638 | 0.00026662 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-14_0_6_load_35 | 40 | 0.00087961 | 0.00022045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-14_0_6_load_96 | 41 | 0.0015575 | 0.00039036 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-14_0_6_load_36 | 43 | 0.00061642 | 0.00015449 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-14_0_6_load_47 | 44 | 0.00084061 | 0.00021068 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-14_0_6_load_46 | 45 | 0.00071869 | 0.00018012 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-14_0_6_load_40 | 47 | 0.00070398 | 0.00017644 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-14_0_6_load_41 | 48 | 0.014148 | 0.0035458 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-14_0_6_load_45 | 50 | 0.014733 | 0.0036923 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-14_0_6_load_50 | 53 | 0.0066625 | 0.0016698 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-14_0_6_load_48 | 54 | 0.00063319 | 0.00015869 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-14_0_6_load_74 | 56 | 0.017129 | 0.0042929 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-14_0_6_load_55 | 57 | 0.0055261 | 0.001385 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-14_0_6_load_97 | 59 | 0.0036764 | 0.0009214 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-14_0_6_load_68 | 60 | 0.0016246 | 0.00040715 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-14_0_6_load_56 | 62 | 0.010252 | 0.0025693 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-14_0_6_load_57 | 63 | 0.024157 | 0.0060544 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-14_0_6_load_58 | 64 | 0.0007854 | 0.00019684 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-14_0_6_load_59 | 65 | 0.01983 | 0.0049698 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-14_0_6_load_61 | 67 | 0.024507 | 0.0061419 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-14_0_6_load_62 | 68 | 0.0031689 | 0.00079421 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-14_0_6_load_63 | 73 | 0.00029084 | 7.2892e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-14_0_6_load_64 | 74 | 0.0019466 | 0.00048787 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-14_0_6_load_69 | 76 | 0.0010722 | 0.00026871 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-14_0_6_load_70 | 77 | 0.0025711 | 0.00064437 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-14_0_6_load_84 | 78 | 0.0023102 | 0.00057899 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-14_0_6_load_90 | 79 | 0.0023204 | 0.00058154 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-14_0_6_load_93 | 80 | 0.014217 | 0.0035632 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4141-14_0_6_load_88 | 81 | 0.033047 | 0.0082823 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4141-14_0_6_load_73 | 82 | 0.039818 | 0.0099794 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4141-14_0_6_load_76 | 83 | 0.015697 | 0.003934 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4141-14_0_6_load_79 | 84 | 0.0052581 | 0.0013178 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4141-14_0_6_load_85 | 85 | 0.0062171 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4141-14_0_6_load_83 | 86 | 0.012168 | 0.0030495 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4141-14_0_6_load_80 | 87 | 0.011637 | 0.0029165 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4141-14_0_6_load_81 | 88 | 0.033483 | 0.0083915 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4141-14_0_6_load_91 | 89 | 0.0016054 | 0.00040234 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4141-14_0_6_load_86 | 90 | 0.011789 | 0.0029546 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4141-14_0_6_load_87 | 91 | 0.0036051 | 0.00090353 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4141-14_0_6_load_89 | 92 | 0.0014266 | 0.00035755 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4141-14_0_6_load_92 | 93 | 0.018325 | 0.0045927 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4141-14_0_6_load_94 | 94 | 0.0035225 | 0.00088281 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4141-14_0_6_load_95 | 95 | 0.0087009 | 0.0021807 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4141-14_0_6_load_98 | 96 | 0.0018866 | 0.00047282 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-14_0_6_line_0 |  | 0 | 1 | 0.047595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4141-14_0_6_line_1 |  | 1 | 4 | 0.10776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4141-14_0_6_line_2 |  | 2 | 3 | 0.020558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4141-14_0_6_line_3 |  | 3 | 5 | 0.02628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4141-14_0_6_line_4 |  | 4 | 6 | 0.04088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-14_0_6_line_5 |  | 5 | 7 | 0.030266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4141-14_0_6_line_6 |  | 5 | 8 | 0.072506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4141-14_0_6_line_7 |  | 5 | 9 | 0.039065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_4141-14_0_6_line_8 |  | 6 | 10 | 0.078043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4141-14_0_6_line_9 |  | 8 | 11 | 0.054983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4141-14_0_6_line_10 |  | 9 | 12 | 0.052118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4141-14_0_6_line_11 |  | 10 | 13 | 0.031587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-14_0_6_line_12 |  | 11 | 27 | 0.022299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-14_0_6_line_13 |  | 12 | 46 | 0.0028674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4141-14_0_6_line_14 |  | 13 | 29 | 0.02527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4141-14_0_6_line_15 |  | 14 | 15 | 0.00061112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-14_0_6_line_16 |  | 14 | 16 | 0.0079563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-14_0_6_line_17 |  | 15 | 17 | 0.00053075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-14_0_6_line_18 |  | 17 | 18 | 0.0086453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-14_0_6_line_19 |  | 18 | 19 | 0.013561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-14_0_6_line_20 |  | 19 | 23 | 0.029495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-14_0_6_line_21 |  | 20 | 21 | 0.043314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4141-14_0_6_line_22 |  | 21 | 22 | 0.027519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4141-14_0_6_line_23 |  | 22 | 51 | 0.033866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-14_0_6_line_24 |  | 23 | 24 | 0.0058967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-14_0_6_line_25 |  | 24 | 25 | 0.13179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-14_0_6_line_26 |  | 25 | 26 | 0.024058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4141-14_0_6_line_27 |  | 25 | 27 | 0.13675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-14_0_6_line_28 |  | 26 | 28 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-14_0_6_line_29 |  | 27 | 29 | 0.071067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-14_0_6_line_30 |  | 30 | 31 | 0.021084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-14_0_6_line_31 |  | 30 | 32 | 0.0088445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-14_0_6_line_32 |  | 31 | 33 | 0.043654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-14_0_6_line_33 |  | 32 | 34 | 0.0144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-14_0_6_line_34 |  | 32 | 35 | 0.043365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-14_0_6_line_35 |  | 33 | 36 | 0.10166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-14_0_6_line_36 |  | 34 | 37 | 0.0056029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-14_0_6_line_37 |  | 35 | 38 | 0.0052373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-14_0_6_line_38 |  | 36 | 39 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-14_0_6_line_39 |  | 37 | 40 | 0.024088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-14_0_6_line_40 |  | 38 | 41 | 0.018721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-14_0_6_line_41 |  | 39 | 42 | 0.084241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-14_0_6_line_42 |  | 40 | 43 | 0.0060627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-14_0_6_line_43 |  | 42 | 59 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4141-14_0_6_line_44 |  | 43 | 44 | 0.02042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4141-14_0_6_line_45 |  | 44 | 45 | 0.0034758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-14_0_6_line_46 |  | 45 | 54 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-14_0_6_line_47 |  | 46 | 47 | 0.015539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4141-14_0_6_line_48 |  | 46 | 48 | 0.02709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4141-14_0_6_line_49 |  | 47 | 49 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4141-14_0_6_line_50 |  | 48 | 50 | 0.0024444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4141-14_0_6_line_51 |  | 49 | 51 | 0.025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4141-14_0_6_line_52 |  | 50 | 52 | 0.024639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4141-14_0_6_line_53 |  | 51 | 53 | 0.063031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4141-14_0_6_line_54 |  | 51 | 54 | 0.022096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4141-14_0_6_line_55 |  | 52 | 55 | 0.029829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_4141-14_0_6_line_56 |  | 52 | 56 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4141-14_0_6_line_57 |  | 53 | 57 | 0.0024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4141-14_0_6_line_58 |  | 55 | 84 | 0.015595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4141-14_0_6_line_59 |  | 55 | 69 | 0.022656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4141-14_0_6_line_60 |  | 56 | 83 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4141-14_0_6_line_61 |  | 57 | 58 | 0.065239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4141-14_0_6_line_62 |  | 58 | 60 | 0.019984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4141-14_0_6_line_63 |  | 58 | 61 | 0.11669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4141-14_0_6_line_64 |  | 59 | 96 | 0.038073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4141-14_0_6_line_65 |  | 60 | 78 | 0.020698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4141-14_0_6_line_66 |  | 61 | 75 | 0.018862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4141-14_0_6_line_67 |  | 61 | 73 | 0.015265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4141-14_0_6_line_68 |  | 62 | 63 | 0.0085882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4141-14_0_6_line_69 |  | 62 | 64 | 0.024417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4141-14_0_6_line_70 |  | 63 | 65 | 0.049693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4141-14_0_6_line_71 |  | 64 | 66 | 0.0241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4141-14_0_6_line_72 |  | 65 | 67 | 0.0086128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4141-14_0_6_line_73 |  | 66 | 68 | 0.017383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4141-14_0_6_line_74 |  | 67 | 69 | 0.027367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4141-14_0_6_line_75 |  | 68 | 70 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4141-14_0_6_line_76 |  | 69 | 71 | 0.055071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4141-14_0_6_line_77 |  | 70 | 72 | 0.096322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4141-14_0_6_line_78 |  | 71 | 86 | 0.047844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4141-14_0_6_line_79 |  | 71 | 87 | 0.014664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4141-14_0_6_line_80 |  | 72 | 82 | 0.062261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4141-14_0_6_line_81 |  | 73 | 74 | 0.0045934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4141-14_0_6_line_82 |  | 75 | 76 | 0.069645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4141-14_0_6_line_83 |  | 75 | 77 | 0.0029462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4141-14_0_6_line_84 |  | 77 | 79 | 0.033478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4141-14_0_6_line_85 |  | 78 | 80 | 0.041557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4141-14_0_6_line_86 |  | 79 | 81 | 0.00022594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4141-14_0_6_line_87 |  | 80 | 89 | 0.014971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4141-14_0_6_line_88 |  | 81 | 90 | 0.11063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4141-14_0_6_line_89 |  | 84 | 85 | 0.033616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4141-14_0_6_line_90 |  | 87 | 88 | 0.048351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4141-14_0_6_line_91 |  | 89 | 93 | 0.0075337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4141-14_0_6_line_92 |  | 90 | 91 | 0.022941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4141-14_0_6_line_93 |  | 91 | 92 | 0.016032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4141-14_0_6_line_94 |  | 93 | 94 | 0.0001874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4141-14_0_6_line_95 |  | 94 | 95 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-14_0_6_trafo_77 | 0.63 MVA 20/0.4 kV | 97 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2655657.3512 | 1234978.568 | 2655673.2738 | 1234933.7153
1 | 2655657.3512 | 1234978.568 | 2655555.5125 | 1234943.3505
2 | 2655710.5524 | 1234828.7037 | 2655717.4299 | 1234809.3304
3 | 2655726.2215 | 1234784.5649 | 2655717.4299 | 1234809.3304
4 | 2655516.877 | 1234929.9897 | 2655555.5125 | 1234943.3505
5 | 2655726.2215 | 1234784.5649 | 2655736.3973 | 1234756.0604
6 | 2655726.2215 | 1234784.5649 | 2655657.7147 | 1234760.8186
7 | 2655726.2215 | 1234784.5649 | 2655763.1522 | 1234797.3021
8 | 2655516.877 | 1234929.9897 | 2655542.5742 | 1234856.2984
9 | 2655657.7147 | 1234760.8186 | 2655605.7643 | 1234742.8112
10 | 2655763.1522 | 1234797.3021 | 2655812.4222 | 1234814.2951
11 | 2655542.5742 | 1234856.2984 | 2655552.9748 | 1234826.4729
12 | 2655584.6955 | 1234735.5082 | 2655605.7643 | 1234742.8112
13 | 2655815.1329 | 1234815.23 | 2655812.4222 | 1234814.2951
14 | 2655552.9748 | 1234826.4729 | 2655561.2953 | 1234802.6124
15 | 2655385.2881 | 1234864.1358 | 2655385.4918 | 1234863.5596
16 | 2655385.2881 | 1234864.1358 | 2655382.6359 | 1234871.6369
17 | 2655385.4918 | 1234863.5596 | 2655385.6688 | 1234863.0592
18 | 2655385.6688 | 1234863.0592 | 2655388.5507 | 1234854.9084
19 | 2655393.0713 | 1234842.1228 | 2655388.5507 | 1234854.9084
20 | 2655393.0713 | 1234842.1228 | 2655397.7186 | 1234828.9793 | 2655409.971 | 1234819.3983
21 | 2655842.4398 | 1234891.3784 | 2655801.3517 | 1234877.6709
22 | 2655842.4398 | 1234891.3784 | 2655845.1844 | 1234880.121 | 2655851.6632 | 1234865.5657
23 | 2655865.4348 | 1234834.6261 | 2655851.6632 | 1234865.5657
24 | 2655411.8484 | 1234813.8085 | 2655409.971 | 1234819.3983 | 2655409.971 | 1234819.3983
25 | 2655455.8841 | 1234689.5977 | 2655421.3917 | 1234785.3938 | 2655411.8484 | 1234813.8085
26 | 2655433.3559 | 1234680.9821 | 2655455.8841 | 1234689.5977
27 | 2655584.6955 | 1234735.5082 | 2655455.8841 | 1234689.5977
28 | 2655433.3559 | 1234680.9821 | 2655433.0474 | 1234672.6738 | 2655436.6985 | 1234665.0696 | 2655440.484 | 1234655.453
29 | 2655584.6955 | 1234735.5082 | 2655561.2953 | 1234802.6124
30 | 2656007.3655 | 1234891.2384 | 2655987.9519 | 1234883.0144
31 | 2655979.808 | 1234879.5645 | 2655987.9519 | 1234883.0144
32 | 2656047.063 | 1234909.3842 | 2656018.2477 | 1234895.8483 | 2656007.3655 | 1234891.2384
33 | 2655979.808 | 1234879.5645 | 2655966.5481 | 1234873.9481
34 | 2655979.808 | 1234879.5645 | 2655997.0836 | 1234839.8236 | 2655997.0964 | 1234839.7943
35 | 2656047.063 | 1234909.3842 | 2656081.4977 | 1234813.7382
36 | 2655961.3889 | 1234871.7629 | 2655966.5481 | 1234873.9481
37 | 2655999.1843 | 1234834.9911 | 2655997.0964 | 1234839.7943
38 | 2656087.2393 | 1234797.7906 | 2656081.4977 | 1234813.7382
39 | 2655939.1373 | 1234862.5454 | 2655943.592 | 1234864.2248 | 2655961.3889 | 1234871.7629
40 | 2656006.6476 | 1234817.8217 | 2655999.1843 | 1234834.9911
41 | 2656116.7615 | 1234718.8734 | 2656087.2393 | 1234797.7906
42 | 2655939.1373 | 1234862.5454 | 2655933.4643 | 1234860.4067
43 | 2656116.7615 | 1234718.8734 | 2656134.4891 | 1234726.008
44 | 2655914.3568 | 1234853.2034 | 2655933.4643 | 1234860.4067
45 | 2655911.1044 | 1234851.9773 | 2655914.3568 | 1234853.2034
46 | 2655911.1044 | 1234851.9773 | 2655903.4231 | 1234849.0815 | 2655885.7231 | 1234843.214
47 | 2655815.1329 | 1234815.23 | 2655829.9041 | 1234820.0531
48 | 2655815.1329 | 1234815.23 | 2655827.0719 | 1234790.9122
49 | 2655842.0937 | 1234824.0333 | 2655829.9041 | 1234820.0531
50 | 2655827.0719 | 1234790.9122 | 2655828.1492 | 1234788.718
51 | 2655865.4348 | 1234834.6261 | 2655859.6393 | 1234831.1694 | 2655850.9352 | 1234827.9411 | 2655842.0937 | 1234824.0333
52 | 2655839.008 | 1234766.6004 | 2655828.1492 | 1234788.718
53 | 2655865.4348 | 1234834.6261 | 2655871.2009 | 1234823.5064 | 2655876.6479 | 1234814.1182 | 2655879.3289 | 1234809.9296 | 2655899.8597 | 1234781.9828
54 | 2655865.4348 | 1234834.6261 | 2655869.8016 | 1234837.091 | 2655876.7052 | 1234840.2246 | 2655885.7231 | 1234843.214
55 | 2655852.9855 | 1234740.2701 | 2655848.1291 | 1234748.0184 | 2655839.008 | 1234766.6004
56 | 2655839.008 | 1234766.6004 | 2655821.4517 | 1234758.9639 | 2655818.4701 | 1234757.3788
57 | 2655901.2609 | 1234779.9754 | 2655900.72 | 1234780.8117 | 2655899.8597 | 1234781.9828
58 | 2655852.9855 | 1234740.2701 | 2655862.9658 | 1234746.2455 | 2655865.1027 | 1234749.2009 | 2655865.1202 | 1234749.5158
59 | 2655852.9855 | 1234740.2701 | 2655865.0267 | 1234721.0596
60 | 2655806.4418 | 1234750.9844 | 2655818.4701 | 1234757.3788
61 | 2655935.2212 | 1234724.2995 | 2655918.9462 | 1234752.6315 | 2655901.2609 | 1234779.9754
62 | 2655935.2212 | 1234724.2995 | 2655953.1748 | 1234733.0757
63 | 2655990.9647 | 1234621.7131 | 2655974.6849 | 1234652.1018 | 2655935.2212 | 1234724.2995
64 | 2656134.4891 | 1234726.008 | 2656169.809 | 1234740.2228
65 | 2655953.1748 | 1234733.0757 | 2655971.7701 | 1234742.1657
66 | 2655990.9647 | 1234621.7131 | 2656008.0012 | 1234629.9123
67 | 2655990.9647 | 1234621.7131 | 2655998.3504 | 1234608.3538
68 | 2655914.5078 | 1234641.0639 | 2655910.6144 | 1234648.7189
69 | 2655914.5078 | 1234641.0639 | 2655925.5771 | 1234619.2999
70 | 2655910.6144 | 1234648.7189 | 2655898.368 | 1234672.7972 | 2655885.4772 | 1234691.457
71 | 2655936.5028 | 1234597.8183 | 2655925.5771 | 1234619.2999
72 | 2655880.5818 | 1234698.5432 | 2655885.4772 | 1234691.457
73 | 2655936.5028 | 1234597.8183 | 2655920.2648 | 1234591.6141
74 | 2655865.0267 | 1234721.0596 | 2655880.5818 | 1234698.5432
75 | 2655899.4488 | 1234583.6606 | 2655920.2648 | 1234591.6141
76 | 2655814.531 | 1234699.627 | 2655825.3852 | 1234703.6315 | 2655854.4628 | 1234714.3672 | 2655865.0267 | 1234721.0596
77 | 2655808.4601 | 1234551.4182 | 2655844.3835 | 1234562.6851 | 2655867.0866 | 1234571.215 | 2655899.4488 | 1234583.6606
78 | 2655814.531 | 1234699.627 | 2655812.5979 | 1234706.391 | 2655801.3128 | 1234707.1745 | 2655794.3544 | 1234710.6559 | 2655788.5508 | 1234716.9166 | 2655784.1562 | 1234720.6334 | 2655780.7673 | 1234727.2385
79 | 2655814.531 | 1234699.627 | 2655819.1094 | 1234685.6961
80 | 2655808.4601 | 1234551.4182 | 2655801.3436 | 1234574.1329 | 2655788.4137 | 1234610.3523
81 | 2655998.3504 | 1234608.3538 | 2656000.5728 | 1234604.3339
82 | 2656008.0012 | 1234629.9123 | 2655981.1142 | 1234683.0936 | 2655989.999 | 1234687.7969
83 | 2656008.0012 | 1234629.9123 | 2656010.6558 | 1234631.1902
84 | 2656010.6558 | 1234631.1902 | 2656031.1107 | 1234641.0372 | 2656040.8741 | 1234645.5985
85 | 2655971.7701 | 1234742.1657 | 2656009.1054 | 1234760.4163
86 | 2656041.0788 | 1234645.6941 | 2656040.8741 | 1234645.5985
87 | 2656022.5559 | 1234766.9912 | 2656009.1054 | 1234760.4163
88 | 2656079.8925 | 1234613.5028 | 2656095.4201 | 1234619.1294 | 2656098.6831 | 1234623.0628 | 2656087.7814 | 1234659.3835 | 2656081.2571 | 1234662.5573 | 2656072.3341 | 1234660.861 | 2656059.4079 | 1234654.257 | 2656041.0788 | 1234645.6941
89 | 2655865.1202 | 1234749.5158 | 2655865.3682 | 1234753.9731 | 2655861.9543 | 1234782.9243
90 | 2655819.1094 | 1234685.6961 | 2655822.8292 | 1234674.3774 | 2655823.4449 | 1234670.8809 | 2655822.5547 | 1234667.348 | 2655816.796 | 1234658.3437 | 2655815.993 | 1234655.9902 | 2655816.0207 | 1234653.0441 | 2655820.3318 | 1234640.6509
91 | 2656022.5559 | 1234766.9912 | 2656029.3242 | 1234770.2998
92 | 2656079.8925 | 1234613.5028 | 2656058.3237 | 1234605.6871
93 | 2656043.2504 | 1234600.2251 | 2656058.3237 | 1234605.6871
94 | 2656029.4925 | 1234770.3821 | 2656029.3242 | 1234770.2998
95 | 2656029.4925 | 1234770.3821 | 2656041.7899 | 1234776.3934

## bus_geodata
| x | y | coords
0 | 2655673.2738 | 1234933.7153
1 | 2655657.3512 | 1234978.568
2 | 2655710.5524 | 1234828.7037
3 | 2655717.4299 | 1234809.3304
4 | 2655555.5125 | 1234943.3505
5 | 2655726.2215 | 1234784.5649
6 | 2655516.877 | 1234929.9897
7 | 2655736.3973 | 1234756.0604
8 | 2655657.7147 | 1234760.8186
9 | 2655763.1522 | 1234797.3021
10 | 2655542.5742 | 1234856.2984
11 | 2655605.7643 | 1234742.8112
12 | 2655812.4222 | 1234814.2951
13 | 2655552.9748 | 1234826.4729
14 | 2655385.2881 | 1234864.1358
15 | 2655385.4918 | 1234863.5596
16 | 2655382.6359 | 1234871.6369
17 | 2655385.6688 | 1234863.0592
18 | 2655388.5507 | 1234854.9084
19 | 2655393.0713 | 1234842.1228
20 | 2655801.3517 | 1234877.6709
21 | 2655842.4398 | 1234891.3784
22 | 2655851.6632 | 1234865.5657
23 | 2655409.971 | 1234819.3983
24 | 2655411.8484 | 1234813.8085
25 | 2655455.8841 | 1234689.5977
26 | 2655433.3559 | 1234680.9821
27 | 2655584.6955 | 1234735.5082
28 | 2655440.484 | 1234655.453
29 | 2655561.2953 | 1234802.6124
30 | 2655987.9519 | 1234883.0144
31 | 2656007.3655 | 1234891.2384
32 | 2655979.808 | 1234879.5645
33 | 2656047.063 | 1234909.3842
34 | 2655966.5481 | 1234873.9481
35 | 2655997.0964 | 1234839.7943
36 | 2656081.4977 | 1234813.7382
37 | 2655961.3889 | 1234871.7629
38 | 2655999.1843 | 1234834.9911
39 | 2656087.2393 | 1234797.7906
40 | 2655939.1373 | 1234862.5454
41 | 2656006.6476 | 1234817.8217
42 | 2656116.7615 | 1234718.8734
43 | 2655933.4643 | 1234860.4067
44 | 2655914.3568 | 1234853.2034
45 | 2655911.1044 | 1234851.9773
46 | 2655815.1329 | 1234815.23
47 | 2655829.9041 | 1234820.0531
48 | 2655827.0719 | 1234790.9122
49 | 2655842.0937 | 1234824.0333
50 | 2655828.1492 | 1234788.718
51 | 2655865.4348 | 1234834.6261
52 | 2655839.008 | 1234766.6004
53 | 2655899.8597 | 1234781.9828
54 | 2655885.7231 | 1234843.214
55 | 2655852.9855 | 1234740.2701
56 | 2655818.4701 | 1234757.3788
57 | 2655901.2609 | 1234779.9754
58 | 2655935.2212 | 1234724.2995
59 | 2656134.4891 | 1234726.008
60 | 2655953.1748 | 1234733.0757
61 | 2655990.9647 | 1234621.7131
62 | 2655914.5078 | 1234641.0639
63 | 2655910.6144 | 1234648.7189
64 | 2655925.5771 | 1234619.2999
65 | 2655885.4772 | 1234691.457
66 | 2655936.5028 | 1234597.8183
67 | 2655880.5818 | 1234698.5432
68 | 2655920.2648 | 1234591.6141
69 | 2655865.0267 | 1234721.0596
70 | 2655899.4488 | 1234583.6606
71 | 2655814.531 | 1234699.627
72 | 2655808.4601 | 1234551.4182
73 | 2655998.3504 | 1234608.3538
74 | 2656000.5728 | 1234604.3339
75 | 2656008.0012 | 1234629.9123
76 | 2655989.999 | 1234687.7969
77 | 2656010.6558 | 1234631.1902
78 | 2655971.7701 | 1234742.1657
79 | 2656040.8741 | 1234645.5985
80 | 2656009.1054 | 1234760.4163
81 | 2656041.0788 | 1234645.6941
82 | 2655788.4137 | 1234610.3523
83 | 2655806.4418 | 1234750.9844
84 | 2655865.1202 | 1234749.5158
85 | 2655861.9543 | 1234782.9244
86 | 2655780.7673 | 1234727.2385
87 | 2655819.1094 | 1234685.6961
88 | 2655820.3318 | 1234640.6509
89 | 2656022.5559 | 1234766.9912
90 | 2656079.8925 | 1234613.5028
91 | 2656058.3237 | 1234605.6871
92 | 2656043.2504 | 1234600.2251
93 | 2656029.3242 | 1234770.2998
94 | 2656029.4925 | 1234770.3821
95 | 2656041.7899 | 1234776.3934
96 | 2656169.809 | 1234740.2228
97 | 2655865.0267 | 1234721.0596

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1