## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4141-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4141-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4141-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4141-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4141-17_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4141-17_0_4_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_4141-17_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_4141-17_0_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_4141-17_0_4_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_4141-17_0_4_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_4141-17_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_4141-17_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4141-17_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4141-17_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4141-17_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4141-17_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4141-17_0_4_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_4141-17_0_4_node_94 | 0.4 | n |  | TRUE
19 | bus_LV_4141-17_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4141-17_0_4_node_55 | 0.4 | n |  | TRUE
21 | bus_LV_4141-17_0_4_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_4141-17_0_4_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_4141-17_0_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4141-17_0_4_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_4141-17_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_4141-17_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4141-17_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4141-17_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_4141-17_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_4141-17_0_4_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_4141-17_0_4_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_4141-17_0_4_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_4141-17_0_4_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_4141-17_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_4141-17_0_4_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_4141-17_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4141-17_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4141-17_0_4_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4141-17_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4141-17_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4141-17_0_4_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_4141-17_0_4_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_4141-17_0_4_node_77 | 0.4 | n |  | TRUE
44 | bus_LV_4141-17_0_4_node_102 | 0.4 | n |  | TRUE
45 | bus_LV_4141-17_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_4141-17_0_4_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_4141-17_0_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_4141-17_0_4_node_100 | 0.4 | n |  | TRUE
49 | bus_LV_4141-17_0_4_node_26 | 0.4 | n |  | TRUE
50 | bus_LV_4141-17_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_4141-17_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_4141-17_0_4_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_4141-17_0_4_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_4141-17_0_4_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_4141-17_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4141-17_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4141-17_0_4_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_4141-17_0_4_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_4141-17_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_4141-17_0_4_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_4141-17_0_4_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_4141-17_0_4_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_4141-17_0_4_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4141-17_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4141-17_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4141-17_0_4_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_4141-17_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4141-17_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4141-17_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_4141-17_0_4_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_4141-17_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_4141-17_0_4_node_86 | 0.4 | n |  | TRUE
73 | bus_LV_4141-17_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4141-17_0_4_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_4141-17_0_4_node_50 | 0.4 | n |  | TRUE
76 | bus_LV_4141-17_0_4_node_51 | 0.4 | n |  | TRUE
77 | bus_LV_4141-17_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4141-17_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_4141-17_0_4_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_4141-17_0_4_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_4141-17_0_4_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_4141-17_0_4_node_101 | 0.4 | n |  | TRUE
83 | bus_LV_4141-17_0_4_node_103 | 0.4 | n |  | TRUE
84 | bus_LV_4141-17_0_4_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_4141-17_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4141-17_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4141-17_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_4141-17_0_4_node_66 | 0.4 | n |  | TRUE
89 | bus_LV_4141-17_0_4_node_62 | 0.4 | n |  | TRUE
90 | bus_LV_4141-17_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_4141-17_0_4_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4141-17_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_4141-17_0_4_node_92 | 0.4 | n |  | TRUE
94 | bus_LV_4141-17_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4141-17_0_4_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_4141-17_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_4141-17_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_4141-17_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_4141-17_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_4141-17_0_4_node_104 | 0.4 | n |  | TRUE
101 | bus_MV_474_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-17_0_4_load_0 | 0 | 0.0083282 | 0.0020872 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-17_0_4_load_1 | 1 | 0.0042222 | 0.0010582 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-17_0_4_load_2 | 2 | 0.0058976 | 0.0014781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-17_0_4_load_4 | 4 | 0.0017849 | 0.00044734 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-17_0_4_load_12 | 5 | 0.005805 | 0.0014549 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-17_0_4_load_13 | 6 | 0.0070945 | 0.001778 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-17_0_4_load_37 | 7 | 0.0033237 | 0.000833 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-17_0_4_load_81 | 8 | 0.0067298 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-17_0_4_load_59 | 9 | 0.0059835 | 0.0014996 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-17_0_4_load_36 | 10 | 0.016214 | 0.0040635 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-17_0_4_load_5 | 11 | 0.0019232 | 0.00048199 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-17_0_4_load_6 | 12 | 0.0027141 | 0.00068021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-17_0_4_load_8 | 14 | 0.0054373 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-17_0_4_load_10 | 16 | 0.0012314 | 0.00030862 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-17_0_4_load_56 | 17 | 0.002714 | 0.00068019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-17_0_4_load_11 | 19 | 0.0033904 | 0.00084972 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-17_0_4_load_55 | 20 | 0.0019988 | 0.00050094 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-17_0_4_load_93 | 21 | 0.0026093 | 0.00065394 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-17_0_4_load_90 | 22 | 0.0024905 | 0.00062418 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-17_0_4_load_14 | 25 | 0.0037045 | 0.00092845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-17_0_4_load_15 | 26 | 0.00077375 | 0.00019392 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-17_0_4_load_16 | 27 | 0.0013927 | 0.00034905 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-17_0_4_load_17 | 28 | 0.0035999 | 0.00090222 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-17_0_4_load_18 | 29 | 0.00072573 | 0.00018188 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-17_0_4_load_84 | 30 | 0.0029001 | 0.00072683 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-17_0_4_load_73 | 31 | 0.0024055 | 0.00060287 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-17_0_4_load_85 | 32 | 0.0024609 | 0.00061675 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-17_0_4_load_76 | 33 | 0.0020649 | 0.00051751 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-17_0_4_load_19 | 34 | 0.010224 | 0.0025623 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-17_0_4_load_20 | 35 | 0.005725 | 0.0014348 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-17_0_4_load_22 | 37 | 0.001607 | 0.00040276 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-17_0_4_load_23 | 38 | 0.00055896 | 0.00014009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-17_0_4_load_24 | 39 | 0.0030111 | 0.00075465 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-17_0_4_load_43 | 41 | 0.0015485 | 0.00038809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-17_0_4_load_63 | 42 | 0.0020514 | 0.00051412 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-17_0_4_load_77 | 43 | 0.0057269 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-17_0_4_load_102 | 44 | 0.0050245 | 0.0012593 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-17_0_4_load_64 | 46 | 0.0023116 | 0.00057935 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-17_0_4_load_78 | 47 | 0.0067119 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-17_0_4_load_100 | 48 | 0.0045517 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-17_0_4_load_26 | 49 | 0.01052 | 0.0026366 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-17_0_4_load_27 | 50 | 0.0034846 | 0.00087331 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-17_0_4_load_28 | 51 | 0.006081 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-17_0_4_load_29 | 52 | 0.015086 | 0.0037809 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-17_0_4_load_30 | 53 | 0.0045724 | 0.001146 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-17_0_4_load_34 | 54 | 0.0039357 | 0.00098639 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-17_0_4_load_31 | 55 | 0.010521 | 0.0026367 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-17_0_4_load_35 | 56 | 0.0019485 | 0.00048834 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-17_0_4_load_32 | 57 | 0.003815 | 0.00095613 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-17_0_4_load_33 | 58 | 0.0027822 | 0.00069728 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-17_0_4_load_46 | 59 | 0.0052024 | 0.0013038 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-17_0_4_load_45 | 60 | 0.006778 | 0.0016987 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-17_0_4_load_44 | 61 | 0.0031445 | 0.00078809 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-17_0_4_load_40 | 64 | 0.0013575 | 0.00034021 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-17_0_4_load_60 | 65 | 0.003036 | 0.00076089 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-17_0_4_load_41 | 66 | 0.017756 | 0.00445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-17_0_4_load_61 | 67 | 0.0026339 | 0.00066013 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-17_0_4_load_72 | 70 | 0.0039249 | 0.00098368 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4141-17_0_4_load_69 | 71 | 0.0035757 | 0.00089614 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4141-17_0_4_load_86 | 72 | 0.003197 | 0.00080123 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4141-17_0_4_load_70 | 73 | 0.0029329 | 0.00073505 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4141-17_0_4_load_49 | 74 | 0.0056907 | 0.0014262 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4141-17_0_4_load_50 | 75 | 0.0020564 | 0.00051537 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4141-17_0_4_load_51 | 76 | 0.0069898 | 0.0017518 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4141-17_0_4_load_53 | 77 | 0.0022293 | 0.00055871 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4141-17_0_4_load_79 | 78 | 0.0051373 | 0.0012875 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4141-17_0_4_load_106 | 80 | 0.0090333 | 0.002264 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4141-17_0_4_load_101 | 82 | 0.0037188 | 0.00093202 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4141-17_0_4_load_103 | 83 | 0.001975 | 0.00049497 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4141-17_0_4_load_68 | 85 | 0.0001355 | 3.3959e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4141-17_0_4_load_65 | 86 | 0.00018291 | 4.5841e-05 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4141-17_0_4_load_82 | 87 | 0.0050144 | 0.0012567 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4141-17_0_4_load_66 | 88 | 0.0015238 | 0.00038189 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4141-17_0_4_load_62 | 89 | 0.00098404 | 0.00024662 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4141-17_0_4_load_71 | 91 | 0.0029667 | 0.00074352 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4141-17_0_4_load_80 | 92 | 0.0066747 | 0.0016728 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4141-17_0_4_load_92 | 93 | 0.0015759 | 0.00039495 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4141-17_0_4_load_89 | 94 | 0.0094991 | 0.0023807 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4141-17_0_4_load_87 | 95 | 0.0018371 | 0.00046043 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4141-17_0_4_load_95 | 96 | 0.0036528 | 0.00091547 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4141-17_0_4_load_97 | 97 | 0.0034186 | 0.00085677 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4141-17_0_4_load_98 | 98 | 0.005029 | 0.0012604 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4141-17_0_4_load_99 | 99 | 0.0044013 | 0.0011031 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4141-17_0_4_load_104 | 100 | 0.0029663 | 0.00074343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-17_0_4_line_0 |  | 0 | 1 | 0.00025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_4141-17_0_4_line_1 |  | 0 | 2 | 0.021038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_4141-17_0_4_line_2 |  | 1 | 3 | 0.023835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_4141-17_0_4_line_3 |  | 2 | 4 | 0.025449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_4141-17_0_4_line_4 |  | 3 | 5 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-17_0_4_line_5 |  | 3 | 6 | 0.00065928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_4141-17_0_4_line_6 |  | 4 | 7 | 0.00078755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4141-17_0_4_line_7 |  | 5 | 8 | 0.024463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4141-17_0_4_line_8 |  | 6 | 9 | 0.029499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4141-17_0_4_line_9 |  | 7 | 10 | 0.03232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4141-17_0_4_line_10 |  | 9 | 24 | 0.034135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4141-17_0_4_line_11 |  | 10 | 62 | 0.036028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-17_0_4_line_12 |  | 11 | 12 | 0.00062038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-17_0_4_line_13 |  | 11 | 13 | 0.078013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4141-17_0_4_line_14 |  | 12 | 14 | 0.0048159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4141-17_0_4_line_15 |  | 13 | 15 | 0.002068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-17_0_4_line_16 |  | 14 | 16 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-17_0_4_line_17 |  | 15 | 17 | 0.030258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-17_0_4_line_18 |  | 15 | 18 | 0.035731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-17_0_4_line_19 |  | 16 | 19 | 0.0089094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-17_0_4_line_20 |  | 17 | 20 | 0.048587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-17_0_4_line_21 |  | 18 | 21 | 0.029633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4141-17_0_4_line_22 |  | 19 | 22 | 0.000732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4141-17_0_4_line_23 |  | 20 | 24 | 0.011966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-17_0_4_line_24 |  | 22 | 23 | 0.0052357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-17_0_4_line_25 |  | 23 | 96 | 0.017148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-17_0_4_line_26 |  | 24 | 84 | 0.002409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4141-17_0_4_line_27 |  | 25 | 26 | 0.0062943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-17_0_4_line_28 |  | 25 | 27 | 0.0060779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-17_0_4_line_29 |  | 26 | 28 | 0.0029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-17_0_4_line_30 |  | 27 | 29 | 0.0048237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-17_0_4_line_31 |  | 28 | 30 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-17_0_4_line_32 |  | 29 | 31 | 0.0068773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-17_0_4_line_33 |  | 30 | 32 | 0.023202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-17_0_4_line_34 |  | 31 | 33 | 0.025334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-17_0_4_line_35 |  | 32 | 94 | 0.022673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-17_0_4_line_36 |  | 32 | 95 | 0.012962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-17_0_4_line_37 |  | 33 | 61 | 0.0096651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-17_0_4_line_38 |  | 34 | 35 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-17_0_4_line_39 |  | 34 | 36 | 0.014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-17_0_4_line_40 |  | 35 | 37 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-17_0_4_line_41 |  | 36 | 38 | 0.023266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-17_0_4_line_42 |  | 36 | 39 | 0.047677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-17_0_4_line_43 |  | 36 | 40 | 0.02345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4141-17_0_4_line_44 |  | 37 | 41 | 0.012221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4141-17_0_4_line_45 |  | 38 | 42 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-17_0_4_line_46 |  | 39 | 43 | 0.0016573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-17_0_4_line_47 |  | 40 | 44 | 0.023646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4141-17_0_4_line_48 |  | 41 | 45 | 0.0072236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4141-17_0_4_line_49 |  | 42 | 46 | 0.0043988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4141-17_0_4_line_50 |  | 43 | 47 | 0.028832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4141-17_0_4_line_51 |  | 44 | 48 | 0.040825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4141-17_0_4_line_52 |  | 45 | 61 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4141-17_0_4_line_53 |  | 45 | 56 | 0.029475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4141-17_0_4_line_54 |  | 47 | 78 | 0.023628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4141-17_0_4_line_55 |  | 48 | 98 | 0.029103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4141-17_0_4_line_56 |  | 49 | 50 | 0.040356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4141-17_0_4_line_57 |  | 49 | 51 | 0.016064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4141-17_0_4_line_58 |  | 50 | 52 | 0.0050142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4141-17_0_4_line_59 |  | 51 | 53 | 0.005027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4141-17_0_4_line_60 |  | 52 | 54 | 0.0079648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_4141-17_0_4_line_61 |  | 53 | 55 | 0.013742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_4141-17_0_4_line_62 |  | 54 | 56 | 0.018931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_4141-17_0_4_line_63 |  | 55 | 57 | 0.0014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4141-17_0_4_line_64 |  | 57 | 58 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4141-17_0_4_line_65 |  | 58 | 59 | 0.031791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4141-17_0_4_line_66 |  | 59 | 60 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4141-17_0_4_line_67 |  | 60 | 68 | 0.016708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4141-17_0_4_line_68 |  | 62 | 63 | 0.008243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4141-17_0_4_line_69 |  | 62 | 64 | 0.03441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4141-17_0_4_line_70 |  | 63 | 65 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4141-17_0_4_line_71 |  | 64 | 66 | 0.04352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4141-17_0_4_line_72 |  | 65 | 67 | 0.013435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4141-17_0_4_line_73 |  | 67 | 89 | 0.034966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4141-17_0_4_line_74 |  | 68 | 69 | 0.038933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4141-17_0_4_line_75 |  | 69 | 70 | 0.0044666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4141-17_0_4_line_76 |  | 69 | 71 | 0.018256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4141-17_0_4_line_77 |  | 70 | 72 | 0.0068883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4141-17_0_4_line_78 |  | 71 | 73 | 0.012951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4141-17_0_4_line_79 |  | 72 | 90 | 0.029156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4141-17_0_4_line_80 |  | 73 | 91 | 0.010417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4141-17_0_4_line_81 |  | 74 | 75 | 0.030314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4141-17_0_4_line_82 |  | 74 | 76 | 0.017482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4141-17_0_4_line_83 |  | 76 | 77 | 0.0096086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4141-17_0_4_line_84 |  | 77 | 78 | 0.015628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4141-17_0_4_line_85 |  | 79 | 80 | 0.071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4141-17_0_4_line_86 |  | 79 | 81 | 0.10675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4141-17_0_4_line_87 |  | 80 | 82 | 0.02086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4141-17_0_4_line_88 |  | 81 | 83 | 0.040996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4141-17_0_4_line_89 |  | 82 | 99 | 0.03537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4141-17_0_4_line_90 |  | 83 | 100 | 0.019072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4141-17_0_4_line_91 |  | 84 | 85 | 0.020622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_4141-17_0_4_line_92 |  | 84 | 86 | 0.05262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4141-17_0_4_line_93 |  | 85 | 87 | 0.0020022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4141-17_0_4_line_94 |  | 86 | 88 | 0.024378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4141-17_0_4_line_95 |  | 87 | 90 | 0.013897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_4141-17_0_4_line_96 |  | 91 | 92 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4141-17_0_4_line_97 |  | 93 | 94 | 0.047011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4141-17_0_4_line_98 |  | 97 | 98 | 0.003157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4141-17_0_4_line_99 |  | 97 | 99 | 0.002258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-17_0_4_trafo_34 | 0.63 MVA 20/0.4 kV | 101 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2656064.9981 | 1233769.6773 | 2656064.8928 | 1233769.9055
1 | 2656064.8928 | 1233769.9055 | 2656056.0724 | 1233789.0056
2 | 2656074.9909 | 1233748.0384 | 2656064.9981 | 1233769.6773
3 | 2656045.4028 | 1233812.11 | 2656056.0724 | 1233789.0056
4 | 2656074.9909 | 1233748.0384 | 2656090.9644 | 1233755.739
5 | 2656075.25 | 1233747.4321 | 2656074.9909 | 1233748.0384
6 | 2656045.4028 | 1233812.11 | 2656045.0726 | 1233812.825
7 | 2656090.9644 | 1233755.739 | 2656113.0001 | 1233766.3621
8 | 2656075.25 | 1233747.4321 | 2656086.8415 | 1233720.3056
9 | 2656045.0726 | 1233812.825 | 2656039.9983 | 1233823.8131 | 2656031.1647 | 1233841.9979
10 | 2656100.9895 | 1233689.2455 | 2656090.9611 | 1233710.6648 | 2656086.8415 | 1233720.3056
11 | 2656019.7617 | 1233875.3892 | 2656019.2092 | 1233868.9465 | 2656020.6058 | 1233863.734 | 2656031.1647 | 1233841.9979
12 | 2655965.9138 | 1233717.3631 | 2655965.6128 | 1233717.9056
13 | 2656014.2055 | 1233656.9176 | 2656008.4927 | 1233660.6328 | 2655975.7546 | 1233699.6276 | 2655965.9138 | 1233717.3631
14 | 2655963.2762 | 1233722.1167 | 2655965.6128 | 1233717.9056
15 | 2656016.2792 | 1233656.9705 | 2656014.2055 | 1233656.9176
16 | 2655963.2762 | 1233722.1167 | 2655957.7983 | 1233731.9891
17 | 2656016.2792 | 1233656.9705 | 2656018.9737 | 1233657.0292 | 2656044.6288 | 1233667.1067
18 | 2656039.5676 | 1233632.6742 | 2656033.4124 | 1233633.5278 | 2656029.5926 | 1233637.2053 | 2656018.4338 | 1233650.0641 | 2656016.2792 | 1233656.9705
19 | 2655953.4756 | 1233739.7796 | 2655957.7983 | 1233731.9891
20 | 2656089.8521 | 1233684.8707 | 2656044.6288 | 1233667.1067
21 | 2656039.5676 | 1233632.6742 | 2656044.1428 | 1233632.3949 | 2656048.8783 | 1233635.1747 | 2656053.31 | 1233636.4617 | 2656061.9247 | 1233643.7254 | 2656065.1746 | 1233645.4404
22 | 2655953.4756 | 1233739.7796 | 2655953.1205 | 1233740.4196
23 | 2656100.9895 | 1233689.2455 | 2656089.8521 | 1233684.8707
24 | 2655950.5802 | 1233744.9978 | 2655953.1205 | 1233740.4196
25 | 2655950.5802 | 1233744.9978 | 2655942.213 | 1233759.9658
26 | 2656103.2216 | 1233690.1672 | 2656100.9895 | 1233689.2455
27 | 2656096.2254 | 1234002.992 | 2656093.8724 | 1234008.8299
28 | 2656098.4976 | 1233997.3548 | 2656096.2254 | 1234002.992
29 | 2656092.7537 | 1234011.6054 | 2656093.8724 | 1234008.8299
30 | 2656098.4976 | 1233997.3548 | 2656100.3009 | 1233992.8808
31 | 2656092.7537 | 1234011.6054 | 2656087.5056 | 1234024.6259
32 | 2656100.3009 | 1233992.8808 | 2656102.8719 | 1233986.5021
33 | 2656078.8318 | 1234046.1455 | 2656087.5056 | 1234024.6259
34 | 2656102.8719 | 1233986.5021 | 2656112.3427 | 1233963.005
35 | 2656078.8318 | 1234046.1455 | 2656058.1865 | 1234036.7728
36 | 2656078.8318 | 1234046.1455 | 2656074.1279 | 1234058.2243
37 | 2656115.9559 | 1233954.0407 | 2656112.3427 | 1233963.005
38 | 2656187.1477 | 1233967.911 | 2656169.4099 | 1233960.5886
39 | 2656200.9458 | 1233973.607 | 2656187.1477 | 1233967.911
40 | 2656139.0868 | 1233948.0709 | 2656169.4099 | 1233960.5886
41 | 2656200.9458 | 1233973.607 | 2656217.4039 | 1233957.1622
42 | 2656200.9458 | 1233973.607 | 2656173.5252 | 1234012.6095
43 | 2656223.1904 | 1233981.1778 | 2656217.9305 | 1233979.4491 | 2656206.0206 | 1233975.7008 | 2656200.9458 | 1233973.607
44 | 2656139.0868 | 1233948.0709 | 2656130.2985 | 1233944.443 | 2656128.0515 | 1233942.922
45 | 2656223.8639 | 1233949.2068 | 2656219.9825 | 1233954.5857 | 2656217.4039 | 1233957.1622
46 | 2656173.5252 | 1234012.6095 | 2656172.572 | 1234013.9653
47 | 2656223.1904 | 1233981.1778 | 2656209.3636 | 1234000.3596
48 | 2656122.0696 | 1233938.8728 | 2656128.0515 | 1233942.922
49 | 2656223.8639 | 1233949.2068 | 2656226.4379 | 1233945.6397
50 | 2656172.572 | 1234013.9653 | 2656164.6751 | 1234025.1977 | 2656154.3288 | 1234036.1983
51 | 2656184.9422 | 1234033.0481 | 2656190.7132 | 1234026.2333 | 2656209.3636 | 1234000.3596
52 | 2656122.0696 | 1233938.8728 | 2656115.9559 | 1233954.0407
53 | 2656122.0696 | 1233938.8728 | 2656124.7187 | 1233929.2916 | 2656132.4955 | 1233911.3719
54 | 2656138.1411 | 1234053.4099 | 2656138.1411 | 1234053.4099 | 2656154.3288 | 1234036.1983
55 | 2656165.5644 | 1234054.7564 | 2656166.9386 | 1234053.2151 | 2656179.2991 | 1234039.712 | 2656184.9422 | 1234033.0481
56 | 2656145.199 | 1233882.0998 | 2656161.265 | 1233845.0797
57 | 2656167.7191 | 1233830.369 | 2656165.1371 | 1233836.1573 | 2656161.265 | 1233845.0797
58 | 2656145.199 | 1233882.0998 | 2656143.2028 | 1233886.6995
59 | 2656167.7191 | 1233830.369 | 2656169.767 | 1233825.778
60 | 2656140.032 | 1233894.0058 | 2656143.2028 | 1233886.6995
61 | 2656169.767 | 1233825.778 | 2656175.365 | 1233813.2284
62 | 2656132.4955 | 1233911.3719 | 2656140.032 | 1233894.0058
63 | 2656175.9473 | 1233811.923 | 2656175.365 | 1233813.2284
64 | 2656175.9473 | 1233811.923 | 2656183.9179 | 1233794.0545
65 | 2656183.9179 | 1233794.0545 | 2656196.8689 | 1233765.021
66 | 2656203.6679 | 1233749.779 | 2656196.8689 | 1233765.021
67 | 2656210.4745 | 1233734.5199 | 2656203.6679 | 1233749.779
68 | 2656019.7617 | 1233875.3892 | 2656011.5965 | 1233876.6797
69 | 2656019.7617 | 1233875.3892 | 2656023.4301 | 1233882.1392 | 2656033.0611 | 1233889.1567 | 2656046.0792 | 1233896.2201
70 | 2656011.5965 | 1233876.6797 | 2656010.2387 | 1233886.6178 | 2656006.8747 | 1233893.5069
71 | 2656084.3314 | 1233916.9751 | 2656046.0792 | 1233896.2201
72 | 2656006.8747 | 1233893.5069 | 2656000.9795 | 1233905.5796
73 | 2655985.6366 | 1233937.0001 | 2656000.9795 | 1233905.5796
74 | 2656174.4767 | 1233719.4366 | 2656201.3134 | 1233730.6308 | 2656210.4745 | 1233734.5199
75 | 2656174.4767 | 1233719.4366 | 2656170.3454 | 1233717.739
76 | 2656174.4767 | 1233719.4366 | 2656167.5399 | 1233736.3237
77 | 2656163.9739 | 1233715.121 | 2656170.3454 | 1233717.739
78 | 2656167.5399 | 1233736.3237 | 2656162.6187 | 1233748.3038
79 | 2656137.0055 | 1233704.0395 | 2656163.9739 | 1233715.121
80 | 2656158.6605 | 1233757.9395 | 2656162.6187 | 1233748.3038
81 | 2656116.8965 | 1234090.1003 | 2656112.0868 | 1234104.5971 | 2656108.4502 | 1234119.1909
82 | 2656116.8965 | 1234090.1003 | 2656120.4783 | 1234079.3044 | 2656123.9201 | 1234074.2586
83 | 2656129.3345 | 1234066.3208 | 2656123.9201 | 1234074.2586
84 | 2656129.3345 | 1234066.3208 | 2656138.1411 | 1234053.4099
85 | 2656122.6887 | 1234176.277 | 2656120.5213 | 1234162.9146 | 2656123.0753 | 1234145.7609 | 2656126.5809 | 1234131.2512 | 2656134.2519 | 1234106.8426
86 | 2656122.6887 | 1234176.277 | 2656228.8373 | 1234187.5872
87 | 2656134.2519 | 1234106.8426 | 2656136.2973 | 1234100.334 | 2656139.5303 | 1234090.6472 | 2656141.2231 | 1234087.2164
88 | 2656228.8373 | 1234187.5872 | 2656230.225 | 1234177.7384 | 2656232.2435 | 1234166.806 | 2656238.4693 | 1234147.8702
89 | 2656141.2231 | 1234087.2164 | 2656144.2921 | 1234080.997 | 2656150.8869 | 1234071.2196 | 2656161.9609 | 1234058.7983
90 | 2656238.4693 | 1234147.8702 | 2656240.4429 | 1234141.8673 | 2656245.0981 | 1234129.9946
91 | 2656103.2216 | 1233690.1672 | 2656122.2976 | 1233698.0001
92 | 2656103.2216 | 1233690.1672 | 2656113.6025 | 1233673.9213 | 2656132.9046 | 1233646.7363
93 | 2656122.2976 | 1233698.0001 | 2656124.1498 | 1233698.7607
94 | 2656132.9046 | 1233646.7363 | 2656138.1235 | 1233639.3859 | 2656146.9179 | 1233626.789
95 | 2656137.0055 | 1233704.0395 | 2656124.1498 | 1233698.7607
96 | 2656158.6605 | 1233757.9395 | 2656154.8263 | 1233767.2735
97 | 2656015.3801 | 1234017.3392 | 2656058.1865 | 1234036.7728
98 | 2656163.4636 | 1234057.1128 | 2656165.5644 | 1234054.7564
99 | 2656163.4636 | 1234057.1128 | 2656161.9609 | 1234058.7983

## bus_geodata
| x | y | coords
0 | 2656064.8928 | 1233769.9055
1 | 2656064.9981 | 1233769.6773
2 | 2656056.0724 | 1233789.0056
3 | 2656074.9909 | 1233748.0384
4 | 2656045.4028 | 1233812.11
5 | 2656090.9644 | 1233755.739
6 | 2656075.25 | 1233747.4321
7 | 2656045.0726 | 1233812.825
8 | 2656113.0001 | 1233766.3621
9 | 2656086.8415 | 1233720.3056
10 | 2656031.1647 | 1233841.9979
11 | 2655965.9138 | 1233717.3631
12 | 2655965.6128 | 1233717.9056
13 | 2656014.2055 | 1233656.9176
14 | 2655963.2762 | 1233722.1167
15 | 2656016.2792 | 1233656.9705
16 | 2655957.7983 | 1233731.9891
17 | 2656044.6288 | 1233667.1067
18 | 2656039.5676 | 1233632.6742
19 | 2655953.4756 | 1233739.7796
20 | 2656089.8521 | 1233684.8707
21 | 2656065.1746 | 1233645.4404
22 | 2655953.1205 | 1233740.4196
23 | 2655950.5802 | 1233744.9978
24 | 2656100.9895 | 1233689.2455
25 | 2656096.2254 | 1234002.992
26 | 2656093.8724 | 1234008.8299
27 | 2656098.4976 | 1233997.3548
28 | 2656092.7537 | 1234011.6054
29 | 2656100.3009 | 1233992.8808
30 | 2656087.5056 | 1234024.6259
31 | 2656102.8719 | 1233986.5021
32 | 2656078.8318 | 1234046.1455
33 | 2656112.3427 | 1233963.005
34 | 2656187.1476 | 1233967.911
35 | 2656169.4099 | 1233960.5886
36 | 2656200.9458 | 1233973.607
37 | 2656139.0868 | 1233948.0709
38 | 2656217.4039 | 1233957.1622
39 | 2656173.5252 | 1234012.6095
40 | 2656223.1904 | 1233981.1777
41 | 2656128.0515 | 1233942.922
42 | 2656223.8639 | 1233949.2068
43 | 2656172.572 | 1234013.9653
44 | 2656209.3636 | 1234000.3596
45 | 2656122.0696 | 1233938.8728
46 | 2656226.4379 | 1233945.6397
47 | 2656154.3288 | 1234036.1983
48 | 2656184.9422 | 1234033.0481
49 | 2656161.265 | 1233845.0797
50 | 2656145.199 | 1233882.0998
51 | 2656167.7191 | 1233830.369
52 | 2656143.2028 | 1233886.6995
53 | 2656169.767 | 1233825.778
54 | 2656140.032 | 1233894.0058
55 | 2656175.365 | 1233813.2284
56 | 2656132.4955 | 1233911.3719
57 | 2656175.9473 | 1233811.923
58 | 2656183.9179 | 1233794.0545
59 | 2656196.8689 | 1233765.021
60 | 2656203.6679 | 1233749.779
61 | 2656115.9559 | 1233954.0407
62 | 2656019.7617 | 1233875.3892
63 | 2656011.5965 | 1233876.6797
64 | 2656046.0792 | 1233896.2201
65 | 2656006.8747 | 1233893.5069
66 | 2656084.3314 | 1233916.9751
67 | 2656000.9795 | 1233905.5796
68 | 2656210.4745 | 1233734.5199
69 | 2656174.4767 | 1233719.4366
70 | 2656170.3454 | 1233717.739
71 | 2656167.5399 | 1233736.3237
72 | 2656163.9739 | 1233715.121
73 | 2656162.6187 | 1233748.3038
74 | 2656116.8965 | 1234090.1003
75 | 2656108.4502 | 1234119.1909
76 | 2656123.9201 | 1234074.2586
77 | 2656129.3345 | 1234066.3208
78 | 2656138.1411 | 1234053.4099
79 | 2656122.6887 | 1234176.277
80 | 2656134.2519 | 1234106.8426
81 | 2656228.8373 | 1234187.5872
82 | 2656141.2231 | 1234087.2164
83 | 2656238.4693 | 1234147.8702
84 | 2656103.2216 | 1233690.1672
85 | 2656122.2976 | 1233698.0001
86 | 2656132.9046 | 1233646.7363
87 | 2656124.1498 | 1233698.7607
88 | 2656146.9179 | 1233626.789
89 | 2655985.6366 | 1233937.0001
90 | 2656137.0055 | 1233704.0395
91 | 2656158.6605 | 1233757.9395
92 | 2656154.8263 | 1233767.2735
93 | 2656015.3801 | 1234017.3392
94 | 2656058.1865 | 1234036.7728
95 | 2656074.1279 | 1234058.2243
96 | 2655942.213 | 1233759.9658
97 | 2656163.4636 | 1234057.1128
98 | 2656165.5644 | 1234054.7564
99 | 2656161.9609 | 1234058.7983
100 | 2656245.0981 | 1234129.9946
101 | 2656122.0696 | 1233938.8728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1