## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4141-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4141-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4141-18_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_4141-18_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_4141-18_0_4_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_4141-18_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4141-18_0_4_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4141-18_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4141-18_0_4_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4141-18_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_4141-18_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_4141-18_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4141-18_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4141-18_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_4141-18_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4141-18_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4141-18_0_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_4141-18_0_4_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_4141-18_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_4141-18_0_4_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_4141-18_0_4_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_4141-18_0_4_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_4141-18_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_4141-18_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4141-18_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4141-18_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_4141-18_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4141-18_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4141-18_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4141-18_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4141-18_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4141-18_0_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_4141-18_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_4141-18_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4141-18_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_4141-18_0_4_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_4141-18_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_4141-18_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_4141-18_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_4141-18_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4141-18_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4141-18_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_4141-18_0_4_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_4141-18_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_4141-18_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4141-18_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_4141-18_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_4141-18_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4141-18_0_4_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_4141-18_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_4141-18_0_4_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_4141-18_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4141-18_0_4_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_4141-18_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_4141-18_0_4_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_4141-18_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_4141-18_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_4141-18_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4141-18_0_4_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_4141-18_0_4_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_4141-18_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_4141-18_0_4_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4141-18_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_4141-18_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_4141-18_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4141-18_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_4141-18_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_MV_474_0_node_65 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-18_0_4_load_0 | 0 | 0.0014115 | 0.00035375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-18_0_4_load_1 | 1 | 0.0024658 | 0.00061798 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-18_0_4_load_2 | 2 | 0.0032419 | 0.0008125 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-18_0_4_load_11 | 3 | 0.0082616 | 0.0020706 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-18_0_4_load_3 | 4 | 0.0024229 | 0.00060723 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-18_0_4_load_10 | 5 | 0.0039042 | 0.00097848 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-18_0_4_load_7 | 6 | 0.0028697 | 0.00071922 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-18_0_4_load_9 | 7 | 0.0020872 | 0.00052309 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-18_0_4_load_5 | 8 | 0.0019912 | 0.00049905 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-18_0_4_load_61 | 10 | 0.0031133 | 0.00078026 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-18_0_4_load_59 | 11 | 0.0019413 | 0.00048654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-18_0_4_load_6 | 12 | 0.0016774 | 0.0004204 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-18_0_4_load_18 | 14 | 0.0022968 | 0.00057562 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-18_0_4_load_15 | 15 | 0.0018768 | 0.00047036 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-18_0_4_load_17 | 16 | 0.0012062 | 0.00030229 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-18_0_4_load_52 | 18 | 0.0036689 | 0.00091952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-18_0_4_load_16 | 19 | 0.0020351 | 0.00051005 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-18_0_4_load_60 | 20 | 0.0034876 | 0.00087407 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-18_0_4_load_62 | 22 | 0.0015406 | 0.00038611 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-18_0_4_load_35 | 23 | 0.0027563 | 0.00069079 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-18_0_4_load_41 | 24 | 0.0020418 | 0.00051173 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-18_0_4_load_19 | 25 | 0.001855 | 0.00046492 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-18_0_4_load_20 | 26 | 0.0009832 | 0.00024641 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-18_0_4_load_21 | 27 | 0.0011955 | 0.00029962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-18_0_4_load_23 | 29 | 0.0018376 | 0.00046056 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-18_0_4_load_30 | 31 | 0.00085989 | 0.00021551 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-18_0_4_load_48 | 32 | 0.00079217 | 0.00019854 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-18_0_4_load_31 | 33 | 0.0010078 | 0.00025259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-18_0_4_load_24 | 34 | 0.0036583 | 0.00091686 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-18_0_4_load_25 | 35 | 0.0012791 | 0.00032058 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-18_0_4_load_27 | 37 | 0.0007146 | 0.00017909 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-18_0_4_load_29 | 38 | 0.0012627 | 0.00031645 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-18_0_4_load_40 | 39 | 0.001728 | 0.00043309 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-18_0_4_load_47 | 41 | 0.0028437 | 0.00071269 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-18_0_4_load_43 | 42 | 0.00082453 | 0.00020665 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-18_0_4_load_67 | 43 | 0.0011049 | 0.00027692 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-18_0_4_load_38 | 44 | 0.0010657 | 0.00026709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-18_0_4_load_73 | 45 | 0.0019908 | 0.00049894 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-18_0_4_load_42 | 46 | 0.022859 | 0.0057289 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-18_0_4_load_32 | 47 | 0.00071558 | 0.00017934 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-18_0_4_load_34 | 48 | 0.023164 | 0.0058054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-18_0_4_load_49 | 49 | 0.024415 | 0.0061189 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-18_0_4_load_55 | 50 | 0.0026183 | 0.00065621 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-18_0_4_load_37 | 51 | 0.00107 | 0.00026817 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-18_0_4_load_45 | 53 | 0.02565 | 0.0064285 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-18_0_4_load_46 | 54 | 0.02653 | 0.006649 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-18_0_4_load_72 | 55 | 0.0029283 | 0.0007339 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-18_0_4_load_58 | 56 | 0.041982 | 0.010522 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-18_0_4_load_64 | 57 | 0.068529 | 0.017175 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-18_0_4_load_50 | 58 | 0.049253 | 0.012344 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-18_0_4_load_68 | 60 | 0.0014074 | 0.00035273 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-18_0_4_load_69 | 61 | 0.047331 | 0.011862 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-18_0_4_load_53 | 62 | 0.0010426 | 0.00026129 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-18_0_4_load_54 | 63 | 0.0011966 | 0.00029989 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-18_0_4_load_56 | 64 | 0.0011428 | 0.00028642 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-18_0_4_load_63 | 65 | 0.0015101 | 0.00037847 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-18_0_4_load_71 | 66 | 0.044363 | 0.011118 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-18_0_4_load_70 | 67 | 0.032786 | 0.0082169 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-18_0_4_line_0 |  | 0 | 1 | 0.024572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4141-18_0_4_line_1 |  | 0 | 2 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4141-18_0_4_line_2 |  | 0 | 3 | 0.030798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4141-18_0_4_line_3 |  | 1 | 4 | 0.026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4141-18_0_4_line_4 |  | 3 | 5 | 0.017064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-18_0_4_line_5 |  | 4 | 6 | 0.011734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4141-18_0_4_line_6 |  | 5 | 7 | 0.026232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4141-18_0_4_line_7 |  | 6 | 8 | 0.023765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4141-18_0_4_line_8 |  | 8 | 12 | 0.00087401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4141-18_0_4_line_9 |  | 9 | 10 | 0.013977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4141-18_0_4_line_10 |  | 9 | 11 | 0.037316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4141-18_0_4_line_11 |  | 11 | 20 | 0.021511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-18_0_4_line_12 |  | 12 | 13 | 0.031123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-18_0_4_line_13 |  | 13 | 14 | 0.023023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4141-18_0_4_line_14 |  | 13 | 15 | 0.0084175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4141-18_0_4_line_15 |  | 14 | 18 | 0.0086718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-18_0_4_line_16 |  | 15 | 19 | 0.021654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-18_0_4_line_17 |  | 16 | 17 | 0.040108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-18_0_4_line_18 |  | 17 | 21 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-18_0_4_line_19 |  | 17 | 22 | 0.011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-18_0_4_line_20 |  | 17 | 23 | 0.023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-18_0_4_line_21 |  | 18 | 24 | 0.01381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4141-18_0_4_line_22 |  | 20 | 21 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4141-18_0_4_line_23 |  | 21 | 50 | 0.021616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-18_0_4_line_24 |  | 22 | 38 | 0.03022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-18_0_4_line_25 |  | 23 | 48 | 0.01006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-18_0_4_line_26 |  | 24 | 29 | 0.012591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4141-18_0_4_line_27 |  | 25 | 26 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-18_0_4_line_28 |  | 25 | 27 | 0.018064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-18_0_4_line_29 |  | 26 | 28 | 0.038351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-18_0_4_line_30 |  | 27 | 29 | 0.0052766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-18_0_4_line_31 |  | 28 | 30 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-18_0_4_line_32 |  | 28 | 31 | 0.026676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-18_0_4_line_33 |  | 30 | 32 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-18_0_4_line_34 |  | 31 | 33 | 0.026636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-18_0_4_line_35 |  | 32 | 49 | 0.037321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-18_0_4_line_36 |  | 33 | 47 | 0.021903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-18_0_4_line_37 |  | 34 | 35 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-18_0_4_line_38 |  | 34 | 36 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-18_0_4_line_39 |  | 35 | 37 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-18_0_4_line_40 |  | 36 | 38 | 0.015427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-18_0_4_line_41 |  | 37 | 39 | 0.020177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-18_0_4_line_42 |  | 39 | 43 | 0.031115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-18_0_4_line_43 |  | 39 | 44 | 0.020164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4141-18_0_4_line_44 |  | 40 | 41 | 0.019641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4141-18_0_4_line_45 |  | 40 | 42 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-18_0_4_line_46 |  | 42 | 45 | 0.043455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-18_0_4_line_47 |  | 42 | 46 | 0.023889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4141-18_0_4_line_48 |  | 44 | 51 | 0.0099422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4141-18_0_4_line_49 |  | 45 | 55 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4141-18_0_4_line_50 |  | 46 | 52 | 0.03586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4141-18_0_4_line_51 |  | 47 | 48 | 0.0027541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4141-18_0_4_line_52 |  | 49 | 58 | 0.0016572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4141-18_0_4_line_53 |  | 50 | 62 | 0.00081683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4141-18_0_4_line_54 |  | 52 | 53 | 0.012072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4141-18_0_4_line_55 |  | 52 | 54 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_4141-18_0_4_line_56 |  | 53 | 56 | 0.013862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4141-18_0_4_line_57 |  | 54 | 57 | 0.033999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4141-18_0_4_line_58 |  | 56 | 58 | 0.011737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4141-18_0_4_line_59 |  | 57 | 59 | 0.0045368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4141-18_0_4_line_60 |  | 59 | 66 | 0.020063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4141-18_0_4_line_61 |  | 59 | 67 | 0.012182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4141-18_0_4_line_62 |  | 60 | 61 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4141-18_0_4_line_63 |  | 61 | 67 | 0.021927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4141-18_0_4_line_64 |  | 62 | 63 | 0.036244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4141-18_0_4_line_65 |  | 63 | 64 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4141-18_0_4_line_66 |  | 64 | 65 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-18_0_4_trafo_45 | 0.63 MVA 20/0.4 kV | 68 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2656506.0721 | 1234333.5061 | 2656498.8275 | 1234327.4263 | 2656487.5051 | 1234317.4141
1 | 2656506.0721 | 1234333.5061 | 2656519.6371 | 1234344.8899
2 | 2656506.0721 | 1234333.5061 | 2656479.2628 | 1234348.6654
3 | 2656487.5051 | 1234317.4141 | 2656468.028 | 1234300.1907
4 | 2656479.2628 | 1234348.6654 | 2656463.5917 | 1234341.9132
5 | 2656459.2379 | 1234292.4177 | 2656468.028 | 1234300.1907
6 | 2656439.5009 | 1234331.5333 | 2656463.5917 | 1234341.9132
7 | 2656441.4353 | 1234276.675 | 2656459.2379 | 1234292.4177
8 | 2656441.4353 | 1234276.675 | 2656440.7806 | 1234276.0961
9 | 2656556.0423 | 1234329.3382 | 2656565.9618 | 1234319.4913
10 | 2656556.0423 | 1234329.3382 | 2656535.7581 | 1234298.0165
11 | 2656535.7581 | 1234298.0165 | 2656531.6484 | 1234291.6706 | 2656525.0376 | 1234279.386
12 | 2656417.4801 | 1234255.4627 | 2656425.632 | 1234262.7003 | 2656440.7806 | 1234276.0961
13 | 2656417.4801 | 1234255.4627 | 2656421.6939 | 1234250.9442 | 2656424.2854 | 1234245.0761 | 2656427.2556 | 1234235.0786
14 | 2656417.4801 | 1234255.4627 | 2656410.6889 | 1234255.5984 | 2656409.086 | 1234255.3314
15 | 2656427.2556 | 1234235.0786 | 2656429.7252 | 1234226.7659
16 | 2656388.6061 | 1234248.5785 | 2656403.5394 | 1234254.4075 | 2656409.086 | 1234255.3314
17 | 2656501.9705 | 1234236.5083 | 2656462.8356 | 1234245.2877
18 | 2656509.8176 | 1234251.1034 | 2656501.9705 | 1234236.5083
19 | 2656501.9705 | 1234236.5083 | 2656512.9573 | 1234233.7059
20 | 2656501.9705 | 1234236.5083 | 2656491.8257 | 1234215.4335
21 | 2656433.6583 | 1234213.5275 | 2656429.7252 | 1234226.7659
22 | 2656509.8176 | 1234251.1034 | 2656525.0376 | 1234279.386
23 | 2656509.8176 | 1234251.1034 | 2656494.5295 | 1234266.3856
24 | 2656542.2401 | 1234226.2369 | 2656512.9573 | 1234233.7059
25 | 2656487.4625 | 1234206.3694 | 2656491.8257 | 1234215.4335
26 | 2656433.6583 | 1234213.5275 | 2656437.244 | 1234201.4582
27 | 2656443.891 | 1234179.0845 | 2656446.8158 | 1234169.2399
28 | 2656443.891 | 1234179.0845 | 2656438.7467 | 1234196.4001
29 | 2656460.7248 | 1234133.6163 | 2656451.7168 | 1234152.7432 | 2656446.8158 | 1234169.2399
30 | 2656438.7467 | 1234196.4001 | 2656437.244 | 1234201.4582
31 | 2656460.7248 | 1234133.6163 | 2656466.405 | 1234118.1825
32 | 2656460.7248 | 1234133.6163 | 2656464.2566 | 1234149.0932 | 2656466.7731 | 1234159.5972
33 | 2656466.405 | 1234118.1825 | 2656482.6718 | 1234126.8613
34 | 2656466.7731 | 1234159.5972 | 2656468.5815 | 1234167.146 | 2656476.7678 | 1234184.1523
35 | 2656482.6718 | 1234126.8613 | 2656515.5996 | 1234144.4292
36 | 2656476.7678 | 1234184.1523 | 2656486.268 | 1234203.8879
37 | 2656575.3198 | 1234232.6462 | 2656591.364 | 1234241.6916
38 | 2656557.1886 | 1234222.4241 | 2656575.3198 | 1234232.6462
39 | 2656591.364 | 1234241.6916 | 2656609.7531 | 1234252.0591
40 | 2656557.1886 | 1234222.4241 | 2656542.2401 | 1234226.2369
41 | 2656609.7531 | 1234252.0591 | 2656627.329 | 1234261.9682
42 | 2656627.329 | 1234261.9682 | 2656610.1607 | 1234287.9175
43 | 2656644.894 | 1234271.871 | 2656627.329 | 1234261.9682
44 | 2656617.9051 | 1234208.8709 | 2656637.2118 | 1234205.2636
45 | 2656617.9051 | 1234208.8709 | 2656616.5871 | 1234202.6099 | 2656611.8666 | 1234196.7389 | 2656602.6755 | 1234191.6936
46 | 2656602.6755 | 1234191.6936 | 2656622.8035 | 1234153.1814
47 | 2656581.7339 | 1234180.198 | 2656602.6755 | 1234191.6936
48 | 2656653.5546 | 1234276.7537 | 2656644.894 | 1234271.871
49 | 2656622.8035 | 1234153.1814 | 2656629.9413 | 1234138.3503
50 | 2656550.2986 | 1234162.9422 | 2656581.7339 | 1234180.198
51 | 2656487.4625 | 1234206.3694 | 2656486.268 | 1234203.8879
52 | 2656515.5996 | 1234144.4292 | 2656517.0617 | 1234145.2093
53 | 2656494.5295 | 1234266.3856 | 2656493.9518 | 1234266.963
54 | 2656550.2986 | 1234162.9422 | 2656539.6474 | 1234157.2594
55 | 2656550.2986 | 1234162.9422 | 2656554.6842 | 1234153.7693
56 | 2656527.4172 | 1234150.7343 | 2656539.6474 | 1234157.2594
57 | 2656554.6842 | 1234153.7693 | 2656569.3497 | 1234123.0954
58 | 2656527.4172 | 1234150.7343 | 2656517.0617 | 1234145.2093
59 | 2656571.3066 | 1234119.0024 | 2656569.3497 | 1234123.0954
60 | 2656571.3066 | 1234119.0024 | 2656581.8976 | 1234101.9628
61 | 2656571.3066 | 1234119.0024 | 2656560.283 | 1234113.817
62 | 2656526.696 | 1234098.018 | 2656540.4414 | 1234104.4837
63 | 2656540.4414 | 1234104.4837 | 2656560.283 | 1234113.817
64 | 2656493.9518 | 1234266.963 | 2656488.3659 | 1234272.5468 | 2656486.7776 | 1234276.3898 | 2656488.8971 | 1234281.958 | 2656502.6428 | 1234293.9324
65 | 2656514.5461 | 1234304.3019 | 2656502.6428 | 1234293.9324
66 | 2656522.2147 | 1234310.9824 | 2656514.5461 | 1234304.3019

## bus_geodata
| x | y | coords
0 | 2656506.0721 | 1234333.5061
1 | 2656487.5051 | 1234317.4141
2 | 2656519.6371 | 1234344.8899
3 | 2656479.2628 | 1234348.6654
4 | 2656468.028 | 1234300.1907
5 | 2656463.5917 | 1234341.9132
6 | 2656459.2379 | 1234292.4177
7 | 2656439.5009 | 1234331.5333
8 | 2656441.4353 | 1234276.675
9 | 2656556.0423 | 1234329.3382
10 | 2656565.9618 | 1234319.4913
11 | 2656535.7581 | 1234298.0165
12 | 2656440.7806 | 1234276.0961
13 | 2656417.4801 | 1234255.4627
14 | 2656427.2556 | 1234235.0786
15 | 2656409.086 | 1234255.3314
16 | 2656462.8356 | 1234245.2877
17 | 2656501.9705 | 1234236.5083
18 | 2656429.7252 | 1234226.7659
19 | 2656388.6061 | 1234248.5785
20 | 2656525.0376 | 1234279.386
21 | 2656509.8176 | 1234251.1034
22 | 2656512.9573 | 1234233.7059
23 | 2656491.8257 | 1234215.4335
24 | 2656433.6583 | 1234213.5275
25 | 2656443.891 | 1234179.0845
26 | 2656446.8158 | 1234169.2399
27 | 2656438.7467 | 1234196.4001
28 | 2656460.7248 | 1234133.6163
29 | 2656437.244 | 1234201.4582
30 | 2656466.405 | 1234118.1825
31 | 2656466.7731 | 1234159.5972
32 | 2656482.6718 | 1234126.8613
33 | 2656476.7678 | 1234184.1523
34 | 2656575.3198 | 1234232.6462
35 | 2656591.364 | 1234241.6916
36 | 2656557.1886 | 1234222.4241
37 | 2656609.7531 | 1234252.0591
38 | 2656542.2401 | 1234226.2369
39 | 2656627.329 | 1234261.9682
40 | 2656617.9051 | 1234208.8709
41 | 2656637.2118 | 1234205.2636
42 | 2656602.6755 | 1234191.6936
43 | 2656610.1607 | 1234287.9175
44 | 2656644.894 | 1234271.871
45 | 2656622.8035 | 1234153.1814
46 | 2656581.7339 | 1234180.198
47 | 2656486.268 | 1234203.8879
48 | 2656487.4625 | 1234206.3694
49 | 2656515.5996 | 1234144.4292
50 | 2656494.5295 | 1234266.3856
51 | 2656653.5546 | 1234276.7537
52 | 2656550.2986 | 1234162.9422
53 | 2656539.6474 | 1234157.2594
54 | 2656554.6842 | 1234153.7693
55 | 2656629.9413 | 1234138.3503
56 | 2656527.4172 | 1234150.7343
57 | 2656569.3497 | 1234123.0954
58 | 2656517.0617 | 1234145.2093
59 | 2656571.3066 | 1234119.0024
60 | 2656526.696 | 1234098.018
61 | 2656540.4414 | 1234104.4837
62 | 2656493.9518 | 1234266.963
63 | 2656502.6428 | 1234293.9324
64 | 2656514.5461 | 1234304.3019
65 | 2656522.2147 | 1234310.9824
66 | 2656581.8976 | 1234101.9628
67 | 2656560.283 | 1234113.817
68 | 2656550.2986 | 1234162.9422

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1