## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4141-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4141-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4141-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4141-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4141-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4141-6_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_4141-6_0_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_4141-6_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_4141-6_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_4141-6_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4141-6_0_4_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_4141-6_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_4141-6_0_4_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_4141-6_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_4141-6_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4141-6_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4141-6_0_4_node_59 | 0.4 | n |  | TRUE
17 | bus_LV_4141-6_0_4_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_4141-6_0_4_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4141-6_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_4141-6_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4141-6_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4141-6_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4141-6_0_4_node_83 | 0.4 | n |  | TRUE
24 | bus_LV_4141-6_0_4_node_89 | 0.4 | n |  | TRUE
25 | bus_LV_4141-6_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_4141-6_0_4_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_4141-6_0_4_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_4141-6_0_4_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_4141-6_0_4_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_4141-6_0_4_node_65 | 0.4 | n |  | TRUE
31 | bus_LV_4141-6_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_4141-6_0_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_4141-6_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_4141-6_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_4141-6_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_4141-6_0_4_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_4141-6_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_4141-6_0_4_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_4141-6_0_4_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4141-6_0_4_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_4141-6_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_4141-6_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4141-6_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4141-6_0_4_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_4141-6_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4141-6_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4141-6_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_4141-6_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4141-6_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_4141-6_0_4_node_61 | 0.4 | n |  | TRUE
51 | bus_LV_4141-6_0_4_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4141-6_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_4141-6_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4141-6_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4141-6_0_4_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_4141-6_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_4141-6_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4141-6_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4141-6_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_4141-6_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_4141-6_0_4_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4141-6_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4141-6_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4141-6_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4141-6_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4141-6_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_4141-6_0_4_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4141-6_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_4141-6_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_4141-6_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4141-6_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4141-6_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4141-6_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4141-6_0_4_node_71 | 0.4 | n |  | TRUE
75 | bus_LV_4141-6_0_4_node_72 | 0.4 | n |  | TRUE
76 | bus_LV_4141-6_0_4_node_79 | 0.4 | n |  | TRUE
77 | bus_LV_4141-6_0_4_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_4141-6_0_4_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4141-6_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4141-6_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4141-6_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_4141-6_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4141-6_0_4_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_4141-6_0_4_node_85 | 0.4 | n |  | TRUE
85 | bus_LV_4141-6_0_4_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_4141-6_0_4_node_91 | 0.4 | n |  | TRUE
87 | bus_LV_4141-6_0_4_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_4141-6_0_4_node_93 | 0.4 | n |  | TRUE
89 | bus_LV_4141-6_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4141-6_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4141-6_0_4_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_4141-6_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_MV_474_0_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4141-6_0_4_load_0 | 0 | 0.022533 | 0.0056474 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4141-6_0_4_load_1 | 1 | 0.00048295 | 0.00012104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4141-6_0_4_load_3 | 3 | 0.031179 | 0.0078141 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4141-6_0_4_load_4 | 4 | 0.04014 | 0.01006 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4141-6_0_4_load_23 | 5 | 0.0038608 | 0.0009676 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4141-6_0_4_load_58 | 6 | 0.022854 | 0.0057278 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4141-6_0_4_load_24 | 9 | 0.0010138 | 0.00025409 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4141-6_0_4_load_57 | 10 | 0.0014999 | 0.00037592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4141-6_0_4_load_62 | 12 | 0.002557 | 0.00064085 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4141-6_0_4_load_5 | 13 | 0.0025257 | 0.00063301 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4141-6_0_4_load_6 | 14 | 0.0017181 | 0.0004306 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4141-6_0_4_load_7 | 15 | 0.0017881 | 0.00044814 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4141-6_0_4_load_59 | 16 | 0.0028218 | 0.0007072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4141-6_0_4_load_40 | 17 | 0.0018168 | 0.00045534 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4141-6_0_4_load_8 | 18 | 0.054016 | 0.013538 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4141-6_0_4_load_9 | 19 | 0.0054777 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4141-6_0_4_load_89 | 24 | 0.029187 | 0.007315 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4141-6_0_4_load_46 | 25 | 0.01642 | 0.0041153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4141-6_0_4_load_86 | 26 | 0.0026983 | 0.00067626 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4141-6_0_4_load_69 | 27 | 0.020081 | 0.0050328 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4141-6_0_4_load_81 | 28 | 0.0031202 | 0.000782 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4141-6_0_4_load_65 | 30 | 0.0019311 | 0.00048398 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4141-6_0_4_load_27 | 31 | 0.0028512 | 0.00071458 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4141-6_0_4_load_47 | 32 | 0.014776 | 0.0037032 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4141-6_0_4_load_14 | 33 | 0.0020223 | 0.00050684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4141-6_0_4_load_15 | 34 | 0.0021293 | 0.00053366 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4141-6_0_4_load_16 | 35 | 0.015825 | 0.003966 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4141-6_0_4_load_88 | 36 | 0.0094421 | 0.0023664 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4141-6_0_4_load_18 | 37 | 0.015843 | 0.0039705 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4141-6_0_4_load_87 | 38 | 0.0087807 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4141-6_0_4_load_19 | 39 | 0.0023426 | 0.00058712 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4141-6_0_4_load_20 | 40 | 0.0013167 | 0.00032999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4141-6_0_4_load_22 | 41 | 0.0012737 | 0.00031922 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4141-6_0_4_load_25 | 42 | 0.0053511 | 0.0013411 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4141-6_0_4_load_26 | 43 | 0.0020565 | 0.0005154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4141-6_0_4_load_55 | 44 | 0.0011806 | 0.0002959 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4141-6_0_4_load_28 | 45 | 0.0012362 | 0.00030981 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4141-6_0_4_load_29 | 46 | 0.0012845 | 0.00032193 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4141-6_0_4_load_30 | 47 | 0.001092 | 0.00027368 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4141-6_0_4_load_32 | 49 | 0.001931 | 0.00048396 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4141-6_0_4_load_44 | 51 | 0.0021819 | 0.00054683 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4141-6_0_4_load_60 | 52 | 0.0016972 | 0.00042536 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4141-6_0_4_load_36 | 53 | 0.00241 | 0.000604 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4141-6_0_4_load_33 | 54 | 0.0018692 | 0.00046847 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4141-6_0_4_load_34 | 55 | 0.001021 | 0.00025589 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4141-6_0_4_load_38 | 57 | 0.0021586 | 0.00054099 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4141-6_0_4_load_45 | 58 | 0.0017263 | 0.00043266 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4141-6_0_4_load_49 | 59 | 0.001491 | 0.00037369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4141-6_0_4_load_50 | 60 | 0.0019159 | 0.00048017 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4141-6_0_4_load_42 | 61 | 0.0013977 | 0.00035029 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4141-6_0_4_load_39 | 62 | 0.0044219 | 0.0011082 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4141-6_0_4_load_41 | 63 | 0.0016947 | 0.00042474 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4141-6_0_4_load_43 | 64 | 0.0013922 | 0.00034892 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4141-6_0_4_load_53 | 65 | 0.0013201 | 0.00033084 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4141-6_0_4_load_54 | 66 | 0.0024175 | 0.00060588 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4141-6_0_4_load_63 | 67 | 0.0021254 | 0.00053267 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4141-6_0_4_load_51 | 68 | 0.0023641 | 0.0005925 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4141-6_0_4_load_56 | 69 | 0.0014764 | 0.00037003 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4141-6_0_4_load_64 | 70 | 0.0017296 | 0.00043348 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4141-6_0_4_load_66 | 71 | 0.0020275 | 0.00050813 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4141-6_0_4_load_67 | 72 | 0.0060383 | 0.0015133 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4141-6_0_4_load_70 | 73 | 0.0046509 | 0.0011656 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4141-6_0_4_load_71 | 74 | 0.0045916 | 0.0011508 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4141-6_0_4_load_72 | 75 | 0.0053433 | 0.0013392 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4141-6_0_4_load_79 | 76 | 0.013068 | 0.003275 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4141-6_0_4_load_73 | 77 | 0.0081695 | 0.0020475 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4141-6_0_4_load_74 | 78 | 0.0010203 | 0.00025571 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4141-6_0_4_load_76 | 80 | 0.0026602 | 0.00066671 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4141-6_0_4_load_77 | 81 | 0.0022044 | 0.00055248 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4141-6_0_4_load_78 | 82 | 0.0035019 | 0.00087767 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4141-6_0_4_load_90 | 83 | 0.0037665 | 0.00094398 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4141-6_0_4_load_85 | 84 | 0.00072351 | 0.00018133 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4141-6_0_4_load_92 | 85 | 0.0017129 | 0.00042929 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4141-6_0_4_load_91 | 86 | 0.0016655 | 0.00041742 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4141-6_0_4_load_84 | 87 | 0.0021879 | 0.00054833 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4141-6_0_4_load_93 | 88 | 0.0015831 | 0.00039675 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4141-6_0_4_load_80 | 89 | 0.0026506 | 0.00066431 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4141-6_0_4_load_82 | 90 | 0.0022293 | 0.00055872 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4141-6_0_4_load_95 | 92 | 0.0019393 | 0.00048604 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4141-6_0_4_line_0 |  | 0 | 1 | 0.038238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4141-6_0_4_line_1 |  | 0 | 2 | 0.048342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4141-6_0_4_line_2 |  | 1 | 3 | 0.0096835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4141-6_0_4_line_3 |  | 2 | 4 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4141-6_0_4_line_4 |  | 3 | 8 | 0.018989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4141-6_0_4_line_5 |  | 4 | 6 | 0.086687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4141-6_0_4_line_6 |  | 5 | 6 | 0.027848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4141-6_0_4_line_7 |  | 5 | 7 | 0.014957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4141-6_0_4_line_8 |  | 6 | 11 | 0.028374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4141-6_0_4_line_9 |  | 7 | 9 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4141-6_0_4_line_10 |  | 7 | 39 | 0.035196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4141-6_0_4_line_11 |  | 8 | 12 | 0.03103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4141-6_0_4_line_12 |  | 9 | 10 | 0.025604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4141-6_0_4_line_13 |  | 10 | 44 | 0.034072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4141-6_0_4_line_14 |  | 11 | 19 | 0.030412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4141-6_0_4_line_15 |  | 12 | 15 | 0.019611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4141-6_0_4_line_16 |  | 13 | 14 | 0.010302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4141-6_0_4_line_17 |  | 14 | 15 | 0.0019618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4141-6_0_4_line_18 |  | 16 | 17 | 0.067658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4141-6_0_4_line_19 |  | 17 | 61 | 0.0025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4141-6_0_4_line_20 |  | 17 | 62 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4141-6_0_4_line_21 |  | 18 | 19 | 0.035456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4141-6_0_4_line_22 |  | 18 | 20 | 0.010178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4141-6_0_4_line_23 |  | 20 | 21 | 0.049681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4141-6_0_4_line_24 |  | 20 | 22 | 0.019431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4141-6_0_4_line_25 |  | 21 | 23 | 0.065346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4141-6_0_4_line_26 |  | 21 | 24 | 0.032099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4141-6_0_4_line_27 |  | 22 | 25 | 0.034368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4141-6_0_4_line_28 |  | 23 | 26 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4141-6_0_4_line_29 |  | 23 | 27 | 0.07111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4141-6_0_4_line_30 |  | 23 | 28 | 0.020434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4141-6_0_4_line_31 |  | 25 | 32 | 0.030578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4141-6_0_4_line_32 |  | 26 | 76 | 0.022352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4141-6_0_4_line_33 |  | 28 | 89 | 0.01095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4141-6_0_4_line_34 |  | 29 | 30 | 0.0062944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4141-6_0_4_line_35 |  | 29 | 31 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4141-6_0_4_line_36 |  | 30 | 67 | 0.015314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4141-6_0_4_line_37 |  | 31 | 43 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4141-6_0_4_line_38 |  | 32 | 37 | 0.030453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4141-6_0_4_line_39 |  | 33 | 34 | 0.027809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4141-6_0_4_line_40 |  | 33 | 35 | 0.026716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4141-6_0_4_line_41 |  | 33 | 36 | 0.04626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4141-6_0_4_line_42 |  | 35 | 37 | 0.0032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4141-6_0_4_line_43 |  | 36 | 38 | 0.034938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4141-6_0_4_line_44 |  | 39 | 40 | 0.0028708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4141-6_0_4_line_45 |  | 40 | 41 | 0.016973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4141-6_0_4_line_46 |  | 41 | 42 | 0.0044898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4141-6_0_4_line_47 |  | 42 | 43 | 0.013219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4141-6_0_4_line_48 |  | 44 | 66 | 0.0019747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4141-6_0_4_line_49 |  | 45 | 46 | 0.0070135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4141-6_0_4_line_50 |  | 45 | 47 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4141-6_0_4_line_51 |  | 46 | 48 | 0.013436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4141-6_0_4_line_52 |  | 47 | 49 | 0.0073555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4141-6_0_4_line_53 |  | 48 | 50 | 0.045279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4141-6_0_4_line_54 |  | 49 | 51 | 0.023259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4141-6_0_4_line_55 |  | 50 | 52 | 0.013694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4141-6_0_4_line_56 |  | 51 | 53 | 0.0028336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4141-6_0_4_line_57 |  | 52 | 69 | 0.0048383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4141-6_0_4_line_58 |  | 53 | 55 | 0.01616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4141-6_0_4_line_59 |  | 54 | 55 | 0.013356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4141-6_0_4_line_60 |  | 54 | 56 | 0.01967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4141-6_0_4_line_61 |  | 56 | 57 | 0.0073409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4141-6_0_4_line_62 |  | 57 | 58 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4141-6_0_4_line_63 |  | 58 | 61 | 0.0052281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4141-6_0_4_line_64 |  | 59 | 60 | 0.031285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4141-6_0_4_line_65 |  | 60 | 68 | 0.0050134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4141-6_0_4_line_66 |  | 62 | 63 | 0.0028305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4141-6_0_4_line_67 |  | 63 | 64 | 0.021067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4141-6_0_4_line_68 |  | 64 | 65 | 0.0066549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4141-6_0_4_line_69 |  | 65 | 66 | 0.026668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4141-6_0_4_line_70 |  | 67 | 70 | 0.027765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4141-6_0_4_line_71 |  | 68 | 69 | 0.024084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4141-6_0_4_line_72 |  | 70 | 71 | 0.011155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4141-6_0_4_line_73 |  | 71 | 72 | 0.0042032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4141-6_0_4_line_74 |  | 73 | 74 | 0.027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4141-6_0_4_line_75 |  | 74 | 75 | 0.029284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4141-6_0_4_line_76 |  | 75 | 76 | 0.034878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4141-6_0_4_line_77 |  | 77 | 78 | 0.0011082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4141-6_0_4_line_78 |  | 77 | 79 | 0.025758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4141-6_0_4_line_79 |  | 78 | 80 | 0.025691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4141-6_0_4_line_80 |  | 79 | 81 | 0.0030918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4141-6_0_4_line_81 |  | 79 | 82 | 0.01183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4141-6_0_4_line_82 |  | 80 | 83 | 0.042443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4141-6_0_4_line_83 |  | 81 | 84 | 0.0053135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4141-6_0_4_line_84 |  | 82 | 85 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4141-6_0_4_line_85 |  | 83 | 86 | 0.020547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4141-6_0_4_line_86 |  | 84 | 87 | 0.0094931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4141-6_0_4_line_87 |  | 85 | 88 | 0.0053215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4141-6_0_4_line_88 |  | 87 | 90 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4141-6_0_4_line_89 |  | 88 | 91 | 0.028472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4141-6_0_4_line_90 |  | 89 | 90 | 0.0015719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4141-6_0_4_line_91 |  | 91 | 92 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4141-6_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 93 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2656104.0926 | 1234439.5061 | 2656100.9368 | 1234445.3019 | 2656095.0406 | 1234446.8695 | 2656087.3645 | 1234463.797 | 2656088.7396 | 1234468.8688 | 2656088.9919 | 1234470.5462
1 | 2656133.8934 | 1234417.2837 | 2656126.2307 | 1234411.9412 | 2656122.5884 | 1234410.4947 | 2656118.9155 | 1234412.2835 | 2656104.0926 | 1234439.5061
2 | 2656088.9919 | 1234470.5462 | 2656089.5017 | 1234473.9348 | 2656087.8495 | 1234477.3659 | 2656085.8313 | 1234478.7524
3 | 2656129.3209 | 1234428.57 | 2656133.8934 | 1234417.2837
4 | 2656068.5497 | 1234476.361 | 2656077.4651 | 1234480.5033 | 2656082.3259 | 1234481.1607 | 2656085.8313 | 1234478.7524
5 | 2656209.5572 | 1234461.383 | 2656129.3209 | 1234428.57
6 | 2656199.7279 | 1234487.4383 | 2656208.2997 | 1234464.5729 | 2656209.5572 | 1234461.383
7 | 2656194.4776 | 1234501.4439 | 2656199.7279 | 1234487.4383
8 | 2656219.9639 | 1234434.9862 | 2656209.5572 | 1234461.383
9 | 2656194.4776 | 1234501.4439 | 2656190.3945 | 1234512.7076
10 | 2656194.4776 | 1234501.4439 | 2656227.8301 | 1234512.6843
11 | 2656068.5497 | 1234476.361 | 2656054.7835 | 1234504.1697
12 | 2656190.3945 | 1234512.7076 | 2656181.6688 | 1234536.7787
13 | 2656170.0573 | 1234568.8107 | 2656181.6688 | 1234536.7787
14 | 2656219.9639 | 1234434.9862 | 2656247.9395 | 1234446.914
15 | 2656046.0832 | 1234521.745 | 2656054.7835 | 1234504.1697
16 | 2656040.2649 | 1234532.5387 | 2656044.8065 | 1234524.3238 | 2656045.2128 | 1234523.5032
17 | 2656045.2128 | 1234523.5032 | 2656046.0832 | 1234521.745
18 | 2656143.1863 | 1234644.0842 | 2656082.3845 | 1234614.4058
19 | 2656143.1863 | 1234644.0842 | 2656142.3595 | 1234646.5108
20 | 2656143.1863 | 1234644.0842 | 2656149.6804 | 1234625.0232 | 2656149.8841 | 1234624.4615
21 | 2656247.9395 | 1234446.914 | 2656280.5546 | 1234460.8199
22 | 2656289.9174 | 1234464.8118 | 2656280.5546 | 1234460.8199
23 | 2656309.7871 | 1234419.2593 | 2656289.9174 | 1234464.8118
24 | 2656307.5975 | 1234472.9846 | 2656289.9174 | 1234464.8118
25 | 2656309.7871 | 1234419.2593 | 2656315.4433 | 1234406.2822 | 2656334.869 | 1234358.9021
26 | 2656309.7871 | 1234419.2593 | 2656339.3988 | 1234431.6489
27 | 2656307.5975 | 1234472.9846 | 2656339.538 | 1234485.672
28 | 2656334.869 | 1234358.9021 | 2656354.3397 | 1234367.1934
29 | 2656334.869 | 1234358.9021 | 2656263.7944 | 1234361.144
30 | 2656334.869 | 1234358.9021 | 2656342.429 | 1234339.9184
31 | 2656339.538 | 1234485.672 | 2656367.9563 | 1234496.9603
32 | 2656354.3397 | 1234367.1934 | 2656374.9045 | 1234375.9505
33 | 2656346.4802 | 1234329.7458 | 2656342.429 | 1234339.9184
34 | 2656288.1396 | 1234531.8163 | 2656286.4242 | 1234537.8725
35 | 2656288.1396 | 1234531.8163 | 2656273.7168 | 1234527.3602
36 | 2656282.3564 | 1234552.6338 | 2656282.9163 | 1234550.2566 | 2656286.4242 | 1234537.8725
37 | 2656273.7168 | 1234527.3602 | 2656263.5631 | 1234524.223
38 | 2656367.9563 | 1234496.9603 | 2656378.6252 | 1234501.1982 | 2656396.5136 | 1234507.5227
39 | 2656424.7813 | 1234517.5169 | 2656451 | 1234526.7865
40 | 2656399.5936 | 1234508.6117 | 2656424.7813 | 1234517.5169
41 | 2656424.7813 | 1234517.5169 | 2656442.2341 | 1234474.6752
42 | 2656399.5936 | 1234508.6117 | 2656396.5136 | 1234507.5227
43 | 2656410.003 | 1234461.1897 | 2656442.2341 | 1234474.6752
44 | 2656230.5506 | 1234513.6012 | 2656227.8301 | 1234512.6843
45 | 2656230.5506 | 1234513.6012 | 2656245.5963 | 1234518.6718 | 2656246.6432 | 1234518.9953
46 | 2656246.6432 | 1234518.9953 | 2656250.9329 | 1234520.3207
47 | 2656263.5631 | 1234524.223 | 2656250.9329 | 1234520.3207
48 | 2656169.3843 | 1234570.6672 | 2656170.0573 | 1234568.8107
49 | 2656234.6467 | 1234717.9551 | 2656228.1551 | 1234715.3003
50 | 2656208.7672 | 1234707.3716 | 2656228.1551 | 1234715.3003
51 | 2656247.0828 | 1234723.0409 | 2656234.6467 | 1234717.9551
52 | 2656208.7672 | 1234707.3716 | 2656201.959 | 1234704.5873
53 | 2656247.0828 | 1234723.0409 | 2656236.5161 | 1234767.0696
54 | 2656180.4305 | 1234695.7831 | 2656201.959 | 1234704.5873
55 | 2656236.5161 | 1234767.0696 | 2656223.8121 | 1234761.9568
56 | 2656180.4305 | 1234695.7831 | 2656177.8078 | 1234694.7105
57 | 2656219.3238 | 1234760.1504 | 2656223.8121 | 1234761.9568
58 | 2656162.8499 | 1234688.5934 | 2656177.8078 | 1234694.7105
59 | 2656162.8499 | 1234688.5934 | 2656150.4874 | 1234683.5377
60 | 2656132.281 | 1234676.0921 | 2656150.4874 | 1234683.5377
61 | 2656132.281 | 1234676.0921 | 2656134.6485 | 1234669.1434
62 | 2656134.6485 | 1234669.1434 | 2656140.6734 | 1234651.4596
63 | 2656140.6734 | 1234651.4596 | 2656142.3595 | 1234646.5108
64 | 2656163.3078 | 1234737.6063 | 2656192.3305 | 1234749.2867
65 | 2656192.3305 | 1234749.2867 | 2656196.9814 | 1234751.1585
66 | 2656150.8487 | 1234621.8004 | 2656149.8841 | 1234624.4615
67 | 2656158.0282 | 1234601.9948 | 2656150.8487 | 1234621.8004
68 | 2656160.2961 | 1234595.7383 | 2656158.0282 | 1234601.9948
69 | 2656160.2961 | 1234595.7383 | 2656169.3843 | 1234570.6672
70 | 2656282.3564 | 1234552.6338 | 2656275.9917 | 1234579.6591
71 | 2656219.3238 | 1234760.1504 | 2656196.9814 | 1234751.1585
72 | 2656275.9917 | 1234579.6591 | 2656273.4344 | 1234590.5175
73 | 2656273.4344 | 1234590.5175 | 2656272.4709 | 1234594.6087
74 | 2656459.6298 | 1234412.0292 | 2656433.9368 | 1234401.0884
75 | 2656433.9368 | 1234401.0884 | 2656406.9939 | 1234389.6152
76 | 2656406.9939 | 1234389.6152 | 2656374.9045 | 1234375.9505
77 | 2656383.1519 | 1234307.2545 | 2656384.1697 | 1234307.693
78 | 2656359.4961 | 1234297.062 | 2656383.1519 | 1234307.2545
79 | 2656407.7638 | 1234317.8589 | 2656384.1697 | 1234307.693
80 | 2656359.4961 | 1234297.062 | 2656358.3522 | 1234299.9345
81 | 2656359.4961 | 1234297.062 | 2656364.1807 | 1234286.1989
82 | 2656407.7638 | 1234317.8589 | 2656446.743 | 1234334.6537
83 | 2656356.3863 | 1234304.8709 | 2656358.3522 | 1234299.9345
84 | 2656364.1807 | 1234286.1989 | 2656368.2039 | 1234276.8693
85 | 2656465.6127 | 1234342.784 | 2656446.743 | 1234334.6537
86 | 2656356.3863 | 1234304.8709 | 2656352.8741 | 1234313.6904
87 | 2656368.2039 | 1234276.8693 | 2656370.3112 | 1234271.9828
88 | 2656347.0617 | 1234328.2855 | 2656352.8741 | 1234313.6904
89 | 2656381.5856 | 1234245.8382 | 2656370.3112 | 1234271.9828
90 | 2656346.4802 | 1234329.7458 | 2656347.0617 | 1234328.2855
91 | 2656381.5856 | 1234245.8382 | 2656365.3511 | 1234238.2865

## bus_geodata
| x | y | coords
0 | 2656104.0926 | 1234439.5061
1 | 2656088.9919 | 1234470.5462
2 | 2656133.8934 | 1234417.2837
3 | 2656085.8313 | 1234478.7524
4 | 2656129.3209 | 1234428.57
5 | 2656199.7279 | 1234487.4383
6 | 2656209.5572 | 1234461.383
7 | 2656194.4776 | 1234501.4439
8 | 2656068.5497 | 1234476.361
9 | 2656190.3945 | 1234512.7076
10 | 2656181.6688 | 1234536.7787
11 | 2656219.9639 | 1234434.9862
12 | 2656054.7835 | 1234504.1697
13 | 2656040.2649 | 1234532.5387
14 | 2656045.2128 | 1234523.5032
15 | 2656046.0832 | 1234521.745
16 | 2656082.3845 | 1234614.4058
17 | 2656143.1863 | 1234644.0842
18 | 2656280.5546 | 1234460.8199
19 | 2656247.9395 | 1234446.914
20 | 2656289.9174 | 1234464.8118
21 | 2656309.7871 | 1234419.2593
22 | 2656307.5975 | 1234472.9846
23 | 2656334.869 | 1234358.9021
24 | 2656339.3988 | 1234431.6489
25 | 2656339.538 | 1234485.672
26 | 2656354.3397 | 1234367.1934
27 | 2656263.7944 | 1234361.144
28 | 2656342.429 | 1234339.9184
29 | 2656288.1396 | 1234531.8163
30 | 2656286.4242 | 1234537.8725
31 | 2656273.7168 | 1234527.3602
32 | 2656367.9563 | 1234496.9603
33 | 2656424.7813 | 1234517.5169
34 | 2656451 | 1234526.7865
35 | 2656399.5936 | 1234508.6117
36 | 2656442.2341 | 1234474.6752
37 | 2656396.5136 | 1234507.5227
38 | 2656410.003 | 1234461.1897
39 | 2656227.8301 | 1234512.6843
40 | 2656230.5506 | 1234513.6012
41 | 2656246.6432 | 1234518.9953
42 | 2656250.9329 | 1234520.3207
43 | 2656263.5631 | 1234524.223
44 | 2656170.0573 | 1234568.8107
45 | 2656228.1551 | 1234715.3003
46 | 2656234.6467 | 1234717.9551
47 | 2656208.7672 | 1234707.3716
48 | 2656247.0828 | 1234723.0409
49 | 2656201.959 | 1234704.5873
50 | 2656236.5161 | 1234767.0696
51 | 2656180.4305 | 1234695.7831
52 | 2656223.8121 | 1234761.9568
53 | 2656177.8078 | 1234694.7105
54 | 2656150.4874 | 1234683.5377
55 | 2656162.8499 | 1234688.5934
56 | 2656132.281 | 1234676.0921
57 | 2656134.6485 | 1234669.1434
58 | 2656140.6734 | 1234651.4596
59 | 2656163.3078 | 1234737.6063
60 | 2656192.3305 | 1234749.2867
61 | 2656142.3595 | 1234646.5108
62 | 2656149.8841 | 1234624.4615
63 | 2656150.8487 | 1234621.8004
64 | 2656158.0282 | 1234601.9948
65 | 2656160.2961 | 1234595.7383
66 | 2656169.3843 | 1234570.6672
67 | 2656282.3564 | 1234552.6338
68 | 2656196.9814 | 1234751.1585
69 | 2656219.3238 | 1234760.1504
70 | 2656275.9917 | 1234579.6591
71 | 2656273.4344 | 1234590.5175
72 | 2656272.4709 | 1234594.6087
73 | 2656459.6298 | 1234412.0292
74 | 2656433.9368 | 1234401.0884
75 | 2656406.9939 | 1234389.6152
76 | 2656374.9045 | 1234375.9505
77 | 2656383.1519 | 1234307.2545
78 | 2656384.1697 | 1234307.693
79 | 2656359.4961 | 1234297.062
80 | 2656407.7638 | 1234317.8589
81 | 2656358.3522 | 1234299.9345
82 | 2656364.1807 | 1234286.1989
83 | 2656446.743 | 1234334.6537
84 | 2656356.3863 | 1234304.8709
85 | 2656368.2039 | 1234276.8693
86 | 2656465.6127 | 1234342.784
87 | 2656352.8741 | 1234313.6904
88 | 2656370.3112 | 1234271.9828
89 | 2656346.4802 | 1234329.7458
90 | 2656347.0617 | 1234328.2855
91 | 2656381.5856 | 1234245.8382
92 | 2656365.3511 | 1234238.2865
93 | 2656289.9174 | 1234464.8118

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1