## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_418-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_418-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_418-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_418-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_418-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_418-7_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_418-7_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_418-7_0_5_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_418-7_0_5_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_418-7_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_418-7_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_418-7_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_418-7_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_418-7_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_418-7_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_418-7_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_418-7_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_418-7_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_418-7_0_5_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_418-7_0_5_node_78 | 0.4 | n |  | TRUE
20 | bus_LV_418-7_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_418-7_0_5_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_418-7_0_5_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_418-7_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_418-7_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_418-7_0_5_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_418-7_0_5_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_418-7_0_5_node_83 | 0.4 | n |  | TRUE
28 | bus_LV_418-7_0_5_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_418-7_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_418-7_0_5_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_418-7_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_418-7_0_5_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_418-7_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_418-7_0_5_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_418-7_0_5_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_418-7_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_418-7_0_5_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_418-7_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_418-7_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_418-7_0_5_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_418-7_0_5_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_418-7_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_418-7_0_5_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_418-7_0_5_node_73 | 0.4 | n |  | TRUE
45 | bus_LV_418-7_0_5_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_418-7_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_418-7_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_418-7_0_5_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_418-7_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_418-7_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_418-7_0_5_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_418-7_0_5_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_418-7_0_5_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_418-7_0_5_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_418-7_0_5_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_418-7_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_418-7_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_418-7_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_418-7_0_5_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_418-7_0_5_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_418-7_0_5_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_418-7_0_5_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_418-7_0_5_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_418-7_0_5_node_86 | 0.4 | n |  | TRUE
65 | bus_LV_418-7_0_5_node_89 | 0.4 | n |  | TRUE
66 | bus_LV_418-7_0_5_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_418-7_0_5_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_418-7_0_5_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_418-7_0_5_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_418-7_0_5_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_418-7_0_5_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_418-7_0_5_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_418-7_0_5_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_418-7_0_5_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_418-7_0_5_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_418-7_0_5_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_418-7_0_5_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_418-7_0_5_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_418-7_0_5_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_418-7_0_5_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_418-7_0_5_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_418-7_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_418-7_0_5_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_418-7_0_5_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_418-7_0_5_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_418-7_0_5_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_418-7_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_418-7_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_418-7_0_5_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_418-7_0_5_node_88 | 0.4 | n |  | TRUE
91 | bus_MV_431_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_418-7_0_5_load_0 | 0 | 0.0035463 | 0.0008888 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_418-7_0_5_load_1 | 1 | 0.0022899 | 0.0005739 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_418-7_0_5_load_3 | 3 | 0.00094326 | 0.0002364 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_418-7_0_5_load_4 | 4 | 0.011054 | 0.0027703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_418-7_0_5_load_5 | 5 | 0.0022297 | 0.00055882 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_418-7_0_5_load_31 | 6 | 0.0060237 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_418-7_0_5_load_35 | 9 | 0.0013969 | 0.00035011 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_418-7_0_5_load_6 | 10 | 0.0012937 | 0.00032424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_418-7_0_5_load_7 | 11 | 0.0019105 | 0.00047883 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_418-7_0_5_load_8 | 12 | 0.0074404 | 0.0018647 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_418-7_0_5_load_9 | 13 | 0.015222 | 0.003815 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_418-7_0_5_load_16 | 15 | 0.0020782 | 0.00052084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_418-7_0_5_load_23 | 17 | 0.003412 | 0.00085512 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_418-7_0_5_load_17 | 18 | 0.0015704 | 0.00039359 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_418-7_0_5_load_78 | 19 | 0.028878 | 0.0072375 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_418-7_0_5_load_12 | 20 | 0.024279 | 0.006085 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_418-7_0_5_load_24 | 21 | 0.0046837 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_418-7_0_5_load_11 | 22 | 0.0014267 | 0.00035758 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_418-7_0_5_load_15 | 24 | 0.072433 | 0.018154 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_418-7_0_5_load_82 | 25 | 0.0048351 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_418-7_0_5_load_79 | 26 | 0.022291 | 0.0055866 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_418-7_0_5_load_83 | 27 | 0.009959 | 0.0024959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_418-7_0_5_load_18 | 28 | 0.0034266 | 0.00085879 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_418-7_0_5_load_19 | 29 | 0.001884 | 0.00047216 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_418-7_0_5_load_20 | 30 | 0.0078896 | 0.0019773 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_418-7_0_5_load_21 | 31 | 0.0034359 | 0.00086112 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_418-7_0_5_load_93 | 34 | 0.00097985 | 0.00024557 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_418-7_0_5_load_25 | 35 | 0.0024855 | 0.00062294 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_418-7_0_5_load_32 | 36 | 0.0024278 | 0.00060846 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_418-7_0_5_load_77 | 37 | 0.0060047 | 0.0015049 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_418-7_0_5_load_26 | 38 | 0.0039533 | 0.00099078 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_418-7_0_5_load_27 | 39 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_418-7_0_5_load_28 | 40 | 0.0028683 | 0.00071888 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_418-7_0_5_load_29 | 41 | 0.0026203 | 0.00065671 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_418-7_0_5_load_75 | 43 | 0.0038272 | 0.00095919 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_418-7_0_5_load_73 | 44 | 0.0050756 | 0.0012721 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_418-7_0_5_load_44 | 45 | 0.0046196 | 0.0011578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_418-7_0_5_load_34 | 46 | 0.0034261 | 0.00085867 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_418-7_0_5_load_36 | 47 | 0.0016525 | 0.00041414 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_418-7_0_5_load_72 | 49 | 0.0056017 | 0.0014039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_418-7_0_5_load_39 | 50 | 0.0078852 | 0.0019762 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_418-7_0_5_load_40 | 51 | 0.0034736 | 0.00087056 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_418-7_0_5_load_41 | 52 | 0.0038743 | 0.00097099 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_418-7_0_5_load_42 | 53 | 0.0027706 | 0.00069438 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_418-7_0_5_load_76 | 54 | 0.0039261 | 0.00098396 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_418-7_0_5_load_66 | 55 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_418-7_0_5_load_46 | 56 | 0.0056765 | 0.0014227 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_418-7_0_5_load_47 | 57 | 0.0025541 | 0.00064011 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_418-7_0_5_load_57 | 59 | 0.0025223 | 0.00063215 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_418-7_0_5_load_58 | 61 | 0.0020459 | 0.00051276 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_418-7_0_5_load_87 | 63 | 0.0059796 | 0.0014986 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_418-7_0_5_load_86 | 64 | 0.003725 | 0.00093356 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_418-7_0_5_load_89 | 65 | 0.0020631 | 0.00051706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_418-7_0_5_load_51 | 66 | 0.0047758 | 0.0011969 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_418-7_0_5_load_52 | 67 | 0.0032507 | 0.00081469 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_418-7_0_5_load_53 | 68 | 0.010028 | 0.0025133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_418-7_0_5_load_55 | 70 | 0.0098067 | 0.0024578 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_418-7_0_5_load_56 | 71 | 0.0019323 | 0.00048427 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_418-7_0_5_load_81 | 72 | 0.025262 | 0.0063313 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_418-7_0_5_load_59 | 74 | 0.0043604 | 0.0010928 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_418-7_0_5_load_60 | 75 | 0.036354 | 0.0091111 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_418-7_0_5_load_61 | 76 | 0.093225 | 0.023364 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_418-7_0_5_load_62 | 77 | 0.016578 | 0.0041548 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_418-7_0_5_load_63 | 78 | 0.0019764 | 0.00049532 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_418-7_0_5_load_64 | 79 | 0.0015068 | 0.00037764 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_418-7_0_5_load_65 | 80 | 0.0046457 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_418-7_0_5_load_68 | 81 | 0.0091994 | 0.0023056 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_418-7_0_5_load_70 | 83 | 0.0010889 | 0.00027291 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_418-7_0_5_load_71 | 84 | 0.0015042 | 0.00037698 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_418-7_0_5_load_74 | 86 | 0.0063535 | 0.0015923 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_418-7_0_5_load_91 | 87 | 0.002469 | 0.0006188 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_418-7_0_5_load_84 | 88 | 0.0027614 | 0.00069206 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_418-7_0_5_load_85 | 89 | 0.00445 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_418-7_0_5_load_88 | 90 | 0.0036948 | 0.000926 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_418-7_0_5_line_0 |  | 0 | 1 | 0.013934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_418-7_0_5_line_1 |  | 0 | 2 | 0.011081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_418-7_0_5_line_2 |  | 1 | 3 | 0.0050856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_418-7_0_5_line_3 |  | 2 | 4 | 0.027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_418-7_0_5_line_4 |  | 2 | 5 | 0.021078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_418-7_0_5_line_5 |  | 3 | 6 | 0.0096678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_418-7_0_5_line_6 |  | 5 | 7 | 0.009622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_418-7_0_5_line_7 |  | 6 | 8 | 0.033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_418-7_0_5_line_8 |  | 7 | 9 | 0.005109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_418-7_0_5_line_9 |  | 8 | 42 | 0.010168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_418-7_0_5_line_10 |  | 8 | 40 | 0.026979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_418-7_0_5_line_11 |  | 9 | 47 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_418-7_0_5_line_12 |  | 10 | 11 | 0.023464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_418-7_0_5_line_13 |  | 10 | 12 | 0.0012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_418-7_0_5_line_14 |  | 11 | 13 | 0.010646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_418-7_0_5_line_15 |  | 12 | 14 | 0.018015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_418-7_0_5_line_16 |  | 13 | 15 | 0.0054984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_418-7_0_5_line_17 |  | 14 | 16 | 0.011348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_418-7_0_5_line_18 |  | 14 | 17 | 0.03191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_418-7_0_5_line_19 |  | 15 | 18 | 0.024699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_418-7_0_5_line_20 |  | 16 | 19 | 0.018705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_418-7_0_5_line_21 |  | 16 | 20 | 0.019488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_418-7_0_5_line_22 |  | 17 | 21 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_418-7_0_5_line_23 |  | 19 | 26 | 0.024695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_418-7_0_5_line_24 |  | 20 | 22 | 0.017505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_418-7_0_5_line_25 |  | 21 | 35 | 0.0035888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_418-7_0_5_line_26 |  | 22 | 23 | 0.038847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_418-7_0_5_line_27 |  | 23 | 24 | 0.038786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_418-7_0_5_line_28 |  | 24 | 25 | 0.03663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_418-7_0_5_line_29 |  | 25 | 27 | 0.0073476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_418-7_0_5_line_30 |  | 26 | 73 | 0.0050982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_418-7_0_5_line_31 |  | 27 | 88 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_418-7_0_5_line_32 |  | 28 | 29 | 0.0088047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_418-7_0_5_line_33 |  | 28 | 30 | 0.023301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_418-7_0_5_line_34 |  | 29 | 31 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_418-7_0_5_line_35 |  | 30 | 32 | 0.0062411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_418-7_0_5_line_36 |  | 32 | 33 | 0.026459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_418-7_0_5_line_37 |  | 33 | 34 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_418-7_0_5_line_38 |  | 34 | 41 | 0.0025457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_418-7_0_5_line_39 |  | 35 | 36 | 0.0005187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_418-7_0_5_line_40 |  | 36 | 37 | 0.0072756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_418-7_0_5_line_41 |  | 37 | 45 | 0.0065633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_418-7_0_5_line_42 |  | 38 | 39 | 0.00017535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_418-7_0_5_line_43 |  | 38 | 40 | 0.0069928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_418-7_0_5_line_44 |  | 39 | 41 | 0.018238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_418-7_0_5_line_45 |  | 42 | 43 | 0.028462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_418-7_0_5_line_46 |  | 42 | 44 | 0.01234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_418-7_0_5_line_47 |  | 43 | 48 | 0.021422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_418-7_0_5_line_48 |  | 44 | 49 | 0.027457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_418-7_0_5_line_49 |  | 45 | 53 | 0.010764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_418-7_0_5_line_50 |  | 46 | 47 | 0.0036813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_418-7_0_5_line_51 |  | 48 | 54 | 0.014213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_418-7_0_5_line_52 |  | 48 | 52 | 0.020994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_418-7_0_5_line_53 |  | 49 | 86 | 0.012498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_418-7_0_5_line_54 |  | 50 | 51 | 0.0071844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_418-7_0_5_line_55 |  | 50 | 52 | 0.0027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_418-7_0_5_line_56 |  | 51 | 53 | 0.0043904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_418-7_0_5_line_57 |  | 54 | 55 | 0.017015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_418-7_0_5_line_58 |  | 55 | 79 | 0.0024237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_418-7_0_5_line_59 |  | 56 | 57 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_418-7_0_5_line_60 |  | 56 | 58 | 0.049936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_418-7_0_5_line_61 |  | 57 | 59 | 0.042832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_418-7_0_5_line_62 |  | 58 | 60 | 0.053761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_418-7_0_5_line_63 |  | 59 | 61 | 0.00043057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_418-7_0_5_line_64 |  | 60 | 62 | 0.049015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_418-7_0_5_line_65 |  | 62 | 65 | 0.01135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_418-7_0_5_line_66 |  | 63 | 64 | 0.003659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_418-7_0_5_line_67 |  | 64 | 71 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_418-7_0_5_line_68 |  | 65 | 90 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_418-7_0_5_line_69 |  | 66 | 67 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_418-7_0_5_line_70 |  | 66 | 68 | 0.0070471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_418-7_0_5_line_71 |  | 67 | 69 | 0.018492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_418-7_0_5_line_72 |  | 69 | 70 | 0.0095198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_418-7_0_5_line_73 |  | 69 | 71 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_418-7_0_5_line_74 |  | 70 | 72 | 0.025861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_418-7_0_5_line_75 |  | 72 | 73 | 0.0078148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_418-7_0_5_line_76 |  | 73 | 77 | 0.017792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_418-7_0_5_line_77 |  | 74 | 75 | 0.039143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_418-7_0_5_line_78 |  | 74 | 76 | 0.0014972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_418-7_0_5_line_79 |  | 75 | 77 | 0.0047481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_418-7_0_5_line_80 |  | 78 | 79 | 0.027824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_418-7_0_5_line_81 |  | 78 | 80 | 0.022002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_418-7_0_5_line_82 |  | 81 | 82 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_418-7_0_5_line_83 |  | 82 | 83 | 0.034074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_418-7_0_5_line_84 |  | 82 | 84 | 0.015962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_418-7_0_5_line_85 |  | 83 | 85 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_418-7_0_5_line_86 |  | 84 | 86 | 0.01615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_418-7_0_5_line_87 |  | 85 | 87 | 0.025097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_418-7_0_5_line_88 |  | 88 | 89 | 0.011139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_418-7_0_5_line_89 |  | 89 | 90 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_418-7_0_5_trafo_59 | 0.63 MVA 20/0.4 kV | 91 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2614422.3471 | 1209654.2678 | 2614409.642 | 1209648.5458
1 | 2614432.5178 | 1209658.6672 | 2614422.5338 | 1209654.3518 | 2614422.3471 | 1209654.2678
2 | 2614409.642 | 1209648.5458 | 2614405.005 | 1209646.4574
3 | 2614448.7358 | 1209637.0498 | 2614432.5178 | 1209658.6672
4 | 2614432.5178 | 1209658.6672 | 2614432.6584 | 1209660.2351 | 2614425.5505 | 1209678.3977
5 | 2614396.1899 | 1209642.4874 | 2614405.005 | 1209646.4574
6 | 2614422.0439 | 1209687.3579 | 2614425.5505 | 1209678.3977
7 | 2614368.3698 | 1209624.3606 | 2614373.9984 | 1209628.8655 | 2614381.8224 | 1209633.876 | 2614390.5937 | 1209639.9671 | 2614396.1899 | 1209642.4874
8 | 2614422.0439 | 1209687.3579 | 2614420.009 | 1209692.0441
9 | 2614374.7882 | 1209616.4605 | 2614368.3698 | 1209624.3606
10 | 2614368.3698 | 1209624.3606 | 2614352.1773 | 1209645.9404
11 | 2614420.009 | 1209692.0441 | 2614413.4209 | 1209707.2165
12 | 2614492.241 | 1209493.2186 | 2614511.8155 | 1209506.1576
13 | 2614492.241 | 1209493.2186 | 2614491.2173 | 1209492.5418
14 | 2614511.8155 | 1209506.1576 | 2614520.6967 | 1209512.0281
15 | 2614476.1892 | 1209482.608 | 2614491.2173 | 1209492.5418
16 | 2614525.2835 | 1209515.0601 | 2614520.6967 | 1209512.0281
17 | 2614476.1892 | 1209482.608 | 2614482.2169 | 1209472.9839
18 | 2614476.1892 | 1209482.608 | 2614459.365 | 1209506.3584 | 2614457.638 | 1209508.5678
19 | 2614545.8883 | 1209528.6802 | 2614525.2835 | 1209515.0601
20 | 2614482.2169 | 1209472.9839 | 2614466.676 | 1209462.5742
21 | 2614482.2169 | 1209472.9839 | 2614491.1035 | 1209459.787 | 2614492.7606 | 1209456.6154
22 | 2614457.638 | 1209508.5678 | 2614444.0346 | 1209525.9712
23 | 2614466.676 | 1209462.5742 | 2614446.1587 | 1209448.8311
24 | 2614501.9041 | 1209441.7012 | 2614499.9101 | 1209445.1112 | 2614494.0738 | 1209454.1021 | 2614492.7606 | 1209456.6154
25 | 2614441.8245 | 1209528.7987 | 2614444.0346 | 1209525.9712
26 | 2614524.5598 | 1209410.2405 | 2614507.9468 | 1209431.3675 | 2614501.9041 | 1209441.7012
27 | 2614524.5598 | 1209410.2405 | 2614489.8868 | 1209392.8589
28 | 2614489.8868 | 1209392.8589 | 2614457.1406 | 1209376.4433
29 | 2614450.5721 | 1209373.1505 | 2614457.1406 | 1209376.4433
30 | 2614441.923 | 1209445.9939 | 2614446.1587 | 1209448.8311
31 | 2614450.5721 | 1209373.1505 | 2614432.7258 | 1209364.2041 | 2614430.8352 | 1209363.8047
32 | 2614361.4245 | 1209719.214 | 2614367.8945 | 1209724.2483 | 2614368.3987 | 1209724.586
33 | 2614344.1958 | 1209703.5805 | 2614354.9526 | 1209714.1784 | 2614361.4245 | 1209719.214
34 | 2614382.3537 | 1209733.9312 | 2614368.3987 | 1209724.586
35 | 2614339.75 | 1209699.2003 | 2614344.1958 | 1209703.5805
36 | 2614327.6192 | 1209677.3036 | 2614332.8085 | 1209681.1737 | 2614335.7522 | 1209683.3597 | 2614339.75 | 1209699.2003
37 | 2614327.6192 | 1209677.3036 | 2614335.0222 | 1209667.9845
38 | 2614335.0222 | 1209667.9845 | 2614336.6057 | 1209665.9912
39 | 2614441.505 | 1209529.2074 | 2614441.8245 | 1209528.7987
40 | 2614437.0244 | 1209534.9396 | 2614441.505 | 1209529.2074
41 | 2614437.0244 | 1209534.9396 | 2614433.4052 | 1209539.5698 | 2614432.9887 | 1209540.1154
42 | 2614347.9804 | 1209651.5337 | 2614347.8751 | 1209651.6739
43 | 2614352.1773 | 1209645.9404 | 2614347.9804 | 1209651.5337
44 | 2614347.8751 | 1209651.6739 | 2614340.3414 | 1209661.7142 | 2614338.3908 | 1209663.744 | 2614336.6057 | 1209665.9912
45 | 2614374.7882 | 1209616.4605 | 2614385.1643 | 1209603.1447 | 2614392.0718 | 1209593.8488
46 | 2614374.7882 | 1209616.4605 | 2614364.977 | 1209608.977
47 | 2614405.0267 | 1209576.7889 | 2614393.9713 | 1209591.2926 | 2614392.0718 | 1209593.8488
48 | 2614343.1458 | 1209592.3254 | 2614364.977 | 1209608.977
49 | 2614426.4591 | 1209548.6725 | 2614428.5255 | 1209545.9616 | 2614432.9887 | 1209540.1154
50 | 2614411.9546 | 1209710.5932 | 2614413.4209 | 1209707.2165
51 | 2614405.0267 | 1209576.7889 | 2614393.456 | 1209568.5347
52 | 2614405.0267 | 1209576.7889 | 2614417.7541 | 1209560.0922
53 | 2614343.1458 | 1209592.3254 | 2614333.7755 | 1209585.1782 | 2614333.1884 | 1209584.7737
54 | 2614419.4421 | 1209557.8779 | 2614423.7975 | 1209552.1641
55 | 2614419.4421 | 1209557.8779 | 2614417.7541 | 1209560.0922
56 | 2614423.7975 | 1209552.1641 | 2614426.4591 | 1209548.6725
57 | 2614393.456 | 1209568.5347 | 2614379.6047 | 1209558.6535
58 | 2614377.6316 | 1209557.246 | 2614379.6047 | 1209558.6535
59 | 2614343.8683 | 1209446.23 | 2614362.3424 | 1209459.1197
60 | 2614302.915 | 1209417.6559 | 2614343.8683 | 1209446.23
61 | 2614362.3424 | 1209459.1197 | 2614337.8746 | 1209494.2757
62 | 2614333.3249 | 1209373.2706 | 2614326.2392 | 1209383.6149 | 2614313.0669 | 1209402.8386 | 2614306.1718 | 1209412.9055 | 2614302.915 | 1209417.6559
63 | 2614337.8746 | 1209494.2757 | 2614337.5164 | 1209494.0367
64 | 2614375.0004 | 1209347.5561 | 2614351.5149 | 1209359.9623 | 2614345.1658 | 1209364.1716 | 2614340.0492 | 1209367.8948 | 2614333.3249 | 1209373.2706
65 | 2614375.0004 | 1209347.5561 | 2614378.4439 | 1209350.5772 | 2614383.2349 | 1209352.6676 | 2614384.7026 | 1209353.1399
66 | 2614378.1017 | 1209403.2574 | 2614375.0615 | 1209401.2214
67 | 2614378.1017 | 1209403.2574 | 2614391.6783 | 1209412.3496
68 | 2614384.7026 | 1209353.1399 | 2614393.0171 | 1209355.8151 | 2614399.5719 | 1209357.1999
69 | 2614383.6924 | 1209454.3718 | 2614395.536 | 1209437.1873
70 | 2614379.6933 | 1209460.1744 | 2614383.6924 | 1209454.3718
71 | 2614406.03 | 1209421.9608 | 2614395.536 | 1209437.1873
72 | 2614406.03 | 1209421.9608 | 2614413.9403 | 1209427.2574
73 | 2614406.03 | 1209421.9608 | 2614391.6783 | 1209412.3496
74 | 2614435.4294 | 1209441.646 | 2614413.9403 | 1209427.2574
75 | 2614441.923 | 1209445.9939 | 2614435.4294 | 1209441.646
76 | 2614441.923 | 1209445.9939 | 2614432.0973 | 1209460.8263
77 | 2614417.833 | 1209498.4334 | 2614413.8127 | 1209488.4276 | 2614429.475 | 1209464.7846
78 | 2614418.3912 | 1209499.8227 | 2614417.833 | 1209498.4334
79 | 2614432.0973 | 1209460.8263 | 2614429.475 | 1209464.7846
80 | 2614363.1119 | 1209539.5883 | 2614359.8207 | 1209544.5402 | 2614377.6316 | 1209557.246
81 | 2614375.2903 | 1209521.2644 | 2614363.1119 | 1209539.5883
82 | 2614306.3583 | 1209567.136 | 2614306.907 | 1209560.1334 | 2614314.8161 | 1209548.6682 | 2614315.0226 | 1209548.0855
83 | 2614306.3583 | 1209567.136 | 2614298.3706 | 1209576.5333 | 2614286.0931 | 1209594.475
84 | 2614306.3583 | 1209567.136 | 2614319.7732 | 1209575.786
85 | 2614276.4196 | 1209608.7989 | 2614283.8259 | 1209597.7882 | 2614286.0931 | 1209594.475
86 | 2614333.1884 | 1209584.7737 | 2614325.5502 | 1209579.511 | 2614319.7732 | 1209575.786
87 | 2614276.4196 | 1209608.7989 | 2614264.1313 | 1209627.3021 | 2614262.6377 | 1209629.7705
88 | 2614419.937 | 1209361.5023 | 2614430.8352 | 1209363.8047
89 | 2614419.937 | 1209361.5023 | 2614399.5719 | 1209357.1999

## bus_geodata
| x | y | coords
0 | 2614422.3471 | 1209654.2678
1 | 2614409.642 | 1209648.5458
2 | 2614432.5178 | 1209658.6672
3 | 2614405.005 | 1209646.4574
4 | 2614448.7358 | 1209637.0498
5 | 2614425.5505 | 1209678.3977
6 | 2614396.1899 | 1209642.4874
7 | 2614422.0439 | 1209687.3579
8 | 2614368.3698 | 1209624.3606
9 | 2614420.009 | 1209692.0441
10 | 2614492.241 | 1209493.2186
11 | 2614511.8155 | 1209506.1576
12 | 2614491.2173 | 1209492.5418
13 | 2614520.6967 | 1209512.0281
14 | 2614476.1892 | 1209482.608
15 | 2614525.2835 | 1209515.0601
16 | 2614482.2169 | 1209472.9839
17 | 2614457.638 | 1209508.5678
18 | 2614545.8883 | 1209528.6802
19 | 2614466.676 | 1209462.5742
20 | 2614492.7606 | 1209456.6154
21 | 2614444.0346 | 1209525.9712
22 | 2614501.9041 | 1209441.7012
23 | 2614524.5598 | 1209410.2405
24 | 2614489.8868 | 1209392.8589
25 | 2614457.1406 | 1209376.4433
26 | 2614446.1587 | 1209448.8311
27 | 2614450.5721 | 1209373.1505
28 | 2614361.4245 | 1209719.214
29 | 2614368.3987 | 1209724.586
30 | 2614344.1958 | 1209703.5805
31 | 2614382.3537 | 1209733.9312
32 | 2614339.75 | 1209699.2003
33 | 2614327.6192 | 1209677.3036
34 | 2614335.0222 | 1209667.9845
35 | 2614441.8245 | 1209528.7987
36 | 2614441.505 | 1209529.2074
37 | 2614437.0244 | 1209534.9396
38 | 2614347.9804 | 1209651.5337
39 | 2614347.8751 | 1209651.6739
40 | 2614352.1773 | 1209645.9404
41 | 2614336.6057 | 1209665.9912
42 | 2614374.7882 | 1209616.4605
43 | 2614392.0718 | 1209593.8488
44 | 2614364.977 | 1209608.977
45 | 2614432.9887 | 1209540.1154
46 | 2614411.9546 | 1209710.5932
47 | 2614413.4209 | 1209707.2165
48 | 2614405.0267 | 1209576.7889
49 | 2614343.1458 | 1209592.3254
50 | 2614419.4421 | 1209557.8779
51 | 2614423.7975 | 1209552.1641
52 | 2614417.7541 | 1209560.0922
53 | 2614426.4591 | 1209548.6725
54 | 2614393.456 | 1209568.5347
55 | 2614379.6047 | 1209558.6535
56 | 2614343.8683 | 1209446.23
57 | 2614362.3424 | 1209459.1197
58 | 2614302.915 | 1209417.6559
59 | 2614337.8746 | 1209494.2757
60 | 2614333.3249 | 1209373.2706
61 | 2614337.5164 | 1209494.0367
62 | 2614375.0004 | 1209347.5561
63 | 2614375.0615 | 1209401.2214
64 | 2614378.1017 | 1209403.2574
65 | 2614384.7026 | 1209353.1399
66 | 2614383.6924 | 1209454.3718
67 | 2614395.536 | 1209437.1873
68 | 2614379.6933 | 1209460.1744
69 | 2614406.03 | 1209421.9608
70 | 2614413.9403 | 1209427.2574
71 | 2614391.6783 | 1209412.3496
72 | 2614435.4294 | 1209441.646
73 | 2614441.923 | 1209445.9939
74 | 2614417.833 | 1209498.4334
75 | 2614429.475 | 1209464.7846
76 | 2614418.3912 | 1209499.8227
77 | 2614432.0973 | 1209460.8263
78 | 2614363.1119 | 1209539.5883
79 | 2614377.6316 | 1209557.246
80 | 2614375.2903 | 1209521.2644
81 | 2614315.0226 | 1209548.0855
82 | 2614306.3583 | 1209567.136
83 | 2614286.0931 | 1209594.475
84 | 2614319.7732 | 1209575.786
85 | 2614276.4196 | 1209608.7989
86 | 2614333.1884 | 1209584.7737
87 | 2614262.6377 | 1209629.7705
88 | 2614430.8352 | 1209363.8047
89 | 2614419.937 | 1209361.5023
90 | 2614399.5719 | 1209357.1999
91 | 2614418.3912 | 1209499.8227

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1