## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4199-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4199-1_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4199-1_0_5_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_4199-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4199-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4199-1_0_5_node_99 | 0.4 | n |  | TRUE
6 | bus_LV_4199-1_0_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_4199-1_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4199-1_0_5_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_4199-1_0_5_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4199-1_0_5_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_4199-1_0_5_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_4199-1_0_5_node_85 | 0.4 | n |  | TRUE
13 | bus_LV_4199-1_0_5_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_4199-1_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4199-1_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4199-1_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4199-1_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4199-1_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_4199-1_0_5_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_4199-1_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4199-1_0_5_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_4199-1_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_4199-1_0_5_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_4199-1_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_4199-1_0_5_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_4199-1_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_4199-1_0_5_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_4199-1_0_5_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_4199-1_0_5_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_4199-1_0_5_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_4199-1_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4199-1_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_4199-1_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4199-1_0_5_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4199-1_0_5_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4199-1_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4199-1_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4199-1_0_5_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4199-1_0_5_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_4199-1_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4199-1_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_4199-1_0_5_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_4199-1_0_5_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4199-1_0_5_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_4199-1_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_4199-1_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4199-1_0_5_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_4199-1_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4199-1_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4199-1_0_5_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_4199-1_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_4199-1_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_4199-1_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4199-1_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4199-1_0_5_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_4199-1_0_5_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4199-1_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4199-1_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4199-1_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_4199-1_0_5_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_4199-1_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4199-1_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4199-1_0_5_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_4199-1_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4199-1_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4199-1_0_5_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4199-1_0_5_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_4199-1_0_5_node_86 | 0.4 | n |  | TRUE
69 | bus_LV_4199-1_0_5_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_4199-1_0_5_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_4199-1_0_5_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4199-1_0_5_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_4199-1_0_5_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_4199-1_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_4199-1_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_4199-1_0_5_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4199-1_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4199-1_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4199-1_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_4199-1_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4199-1_0_5_node_94 | 0.4 | n |  | TRUE
82 | bus_LV_4199-1_0_5_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_4199-1_0_5_node_93 | 0.4 | n |  | TRUE
84 | bus_LV_4199-1_0_5_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4199-1_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_4199-1_0_5_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4199-1_0_5_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_4199-1_0_5_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4199-1_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_4199-1_0_5_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4199-1_0_5_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_4199-1_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_4199-1_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4199-1_0_5_node_82 | 0.4 | n |  | TRUE
95 | bus_LV_4199-1_0_5_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_4199-1_0_5_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4199-1_0_5_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4199-1_0_5_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4199-1_0_5_node_92 | 0.4 | n |  | TRUE
100 | bus_MV_303_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4199-1_0_5_load_0 | 0 | 0.026361 | 0.0066067 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4199-1_0_5_load_2 | 1 | 0.0002721 | 6.8196e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4199-1_0_5_load_1 | 2 | 0.014428 | 0.0036161 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4199-1_0_5_load_4 | 4 | 0.0017213 | 0.0004314 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4199-1_0_5_load_99 | 5 | 0.00070228 | 0.00017601 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4199-1_0_5_load_5 | 7 | 0.0040412 | 0.0010128 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4199-1_0_5_load_27 | 8 | 0.040446 | 0.010137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4199-1_0_5_load_84 | 10 | 0.000494 | 0.00012381 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4199-1_0_5_load_37 | 11 | 0.0013886 | 0.00034802 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4199-1_0_5_load_85 | 12 | 0.00025428 | 6.3728e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4199-1_0_5_load_6 | 14 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4199-1_0_5_load_7 | 15 | 0.0019413 | 0.00048653 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4199-1_0_5_load_8 | 16 | 0.0033819 | 0.00084759 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4199-1_0_5_load_9 | 17 | 0.05764 | 0.014446 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4199-1_0_5_load_15 | 18 | 0.0026412 | 0.00066194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4199-1_0_5_load_10 | 20 | 0.0018022 | 0.00045167 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4199-1_0_5_load_11 | 21 | 0.0013828 | 0.00034657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4199-1_0_5_load_12 | 22 | 0.0015492 | 0.00038827 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4199-1_0_5_load_13 | 23 | 0.0013828 | 0.00034656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4199-1_0_5_load_14 | 24 | 0.0011184 | 0.00028031 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4199-1_0_5_load_35 | 25 | 0.0020436 | 0.00051217 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4199-1_0_5_load_36 | 27 | 0.002057 | 0.00051552 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4199-1_0_5_load_43 | 28 | 0.0010184 | 0.00025524 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4199-1_0_5_load_39 | 29 | 0.00056371 | 0.00014128 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4199-1_0_5_load_29 | 30 | 0.057692 | 0.014459 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4199-1_0_5_load_16 | 32 | 0.055712 | 0.013963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4199-1_0_5_load_17 | 33 | 0.016049 | 0.0040223 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4199-1_0_5_load_19 | 35 | 0.08897 | 0.022298 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4199-1_0_5_load_20 | 36 | 0.025562 | 0.0064066 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4199-1_0_5_load_42 | 38 | 0.0014646 | 0.00036707 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4199-1_0_5_load_96 | 39 | 0.0074298 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4199-1_0_5_load_40 | 40 | 0.0012354 | 0.00030961 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4199-1_0_5_load_31 | 43 | 0.00038311 | 9.6015e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4199-1_0_5_load_23 | 45 | 0.0011234 | 0.00028156 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4199-1_0_5_load_26 | 46 | 0.016371 | 0.0041029 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4199-1_0_5_load_34 | 48 | 0.029746 | 0.0074551 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4199-1_0_5_load_30 | 49 | 0.021983 | 0.0055095 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4199-1_0_5_load_62 | 50 | 0.00031744 | 7.9557e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4199-1_0_5_load_57 | 52 | 0.0025914 | 0.00064946 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4199-1_0_5_load_44 | 53 | 0.00065405 | 0.00016392 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4199-1_0_5_load_45 | 54 | 0.001304 | 0.00032681 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4199-1_0_5_load_47 | 60 | 0.00064296 | 0.00016114 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4199-1_0_5_load_48 | 61 | 0.0013918 | 0.00034883 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4199-1_0_5_load_50 | 62 | 0.0019456 | 0.00048762 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4199-1_0_5_load_98 | 63 | 0.002432 | 0.00060951 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4199-1_0_5_load_52 | 64 | 0.0017541 | 0.00043962 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4199-1_0_5_load_53 | 65 | 0.0010653 | 0.00026699 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4199-1_0_5_load_55 | 66 | 0.0012784 | 0.00032039 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4199-1_0_5_load_86 | 68 | 0.00096567 | 0.00024202 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4199-1_0_5_load_78 | 69 | 0.0011138 | 0.00027914 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4199-1_0_5_load_76 | 72 | 0.0013035 | 0.00032668 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4199-1_0_5_load_60 | 73 | 0.0027662 | 0.00069327 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4199-1_0_5_load_61 | 74 | 0.0010339 | 0.00025911 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4199-1_0_5_load_70 | 79 | 0.00057524 | 0.00014417 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4199-1_0_5_load_69 | 80 | 0.00025482 | 6.3865e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4199-1_0_5_load_97 | 82 | 0.0042956 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4199-1_0_5_load_93 | 83 | 0.00063622 | 0.00015945 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4199-1_0_5_load_71 | 84 | 0.0013234 | 0.00033167 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4199-1_0_5_load_72 | 85 | 0.0010725 | 0.00026878 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4199-1_0_5_load_73 | 86 | 0.0012159 | 0.00030474 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4199-1_0_5_load_74 | 87 | 0.0007995 | 0.00020037 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4199-1_0_5_load_75 | 88 | 0.00077337 | 0.00019382 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4199-1_0_5_load_83 | 89 | 0.00088655 | 0.00022219 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4199-1_0_5_load_77 | 90 | 0.0014454 | 0.00036225 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4199-1_0_5_load_79 | 91 | 0.0012494 | 0.00031314 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4199-1_0_5_load_81 | 92 | 0.0013482 | 0.00033789 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4199-1_0_5_load_82 | 94 | 0.0013385 | 0.00033547 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4199-1_0_5_load_91 | 95 | 0.0020316 | 0.00050917 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4199-1_0_5_load_88 | 96 | 0.0011716 | 0.00029364 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4199-1_0_5_load_89 | 97 | 0.0013807 | 0.00034603 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4199-1_0_5_load_90 | 98 | 0.00094834 | 0.00023768 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4199-1_0_5_load_92 | 99 | 0.0015125 | 0.00037906 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4199-1_0_5_line_0 |  | 0 | 1 | 0.0024825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4199-1_0_5_line_1 |  | 1 | 4 | 0.0014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4199-1_0_5_line_2 |  | 2 | 3 | 0.059445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4199-1_0_5_line_3 |  | 3 | 7 | 0.047928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4199-1_0_5_line_4 |  | 3 | 8 | 0.047622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4199-1_0_5_line_5 |  | 4 | 10 | 0.028191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4199-1_0_5_line_6 |  | 5 | 6 | 0.035272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4199-1_0_5_line_7 |  | 6 | 9 | 0.020981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4199-1_0_5_line_8 |  | 8 | 11 | 0.032208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4199-1_0_5_line_9 |  | 8 | 9 | 0.039971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4199-1_0_5_line_10 |  | 9 | 46 | 0.024911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4199-1_0_5_line_11 |  | 9 | 45 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4199-1_0_5_line_12 |  | 10 | 12 | 0.010687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4199-1_0_5_line_13 |  | 11 | 13 | 0.053635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4199-1_0_5_line_14 |  | 12 | 83 | 0.061862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4199-1_0_5_line_15 |  | 13 | 53 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4199-1_0_5_line_16 |  | 14 | 15 | 0.02021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4199-1_0_5_line_17 |  | 14 | 16 | 0.0086667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4199-1_0_5_line_18 |  | 15 | 17 | 0.0051534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4199-1_0_5_line_19 |  | 17 | 18 | 0.019483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4199-1_0_5_line_20 |  | 18 | 19 | 0.021465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4199-1_0_5_line_21 |  | 19 | 30 | 0.017912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4199-1_0_5_line_22 |  | 19 | 31 | 0.018026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4199-1_0_5_line_23 |  | 20 | 21 | 0.013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4199-1_0_5_line_24 |  | 20 | 22 | 0.015893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4199-1_0_5_line_25 |  | 21 | 23 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4199-1_0_5_line_26 |  | 22 | 24 | 0.015043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4199-1_0_5_line_27 |  | 23 | 25 | 0.030959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4199-1_0_5_line_28 |  | 24 | 26 | 0.025762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4199-1_0_5_line_29 |  | 25 | 27 | 0.032081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4199-1_0_5_line_30 |  | 26 | 28 | 0.030437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4199-1_0_5_line_31 |  | 26 | 29 | 0.020487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4199-1_0_5_line_32 |  | 27 | 51 | 0.0082127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4199-1_0_5_line_33 |  | 28 | 55 | 0.027181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4199-1_0_5_line_34 |  | 29 | 40 | 0.00087632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4199-1_0_5_line_35 |  | 30 | 36 | 0.0021701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4199-1_0_5_line_36 |  | 31 | 37 | 0.02733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4199-1_0_5_line_37 |  | 31 | 38 | 0.021672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4199-1_0_5_line_38 |  | 32 | 33 | 0.018622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_4199-1_0_5_line_39 |  | 32 | 34 | 0.0044924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4199-1_0_5_line_40 |  | 33 | 35 | 0.015603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4199-1_0_5_line_41 |  | 34 | 36 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_4199-1_0_5_line_42 |  | 37 | 39 | 0.071692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4199-1_0_5_line_43 |  | 38 | 40 | 0.028129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4199-1_0_5_line_44 |  | 39 | 44 | 0.026778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4199-1_0_5_line_45 |  | 41 | 42 | 0.025616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4199-1_0_5_line_46 |  | 41 | 43 | 0.0038602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4199-1_0_5_line_47 |  | 42 | 44 | 0.071391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4199-1_0_5_line_48 |  | 42 | 50 | 0.0091968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4199-1_0_5_line_49 |  | 43 | 49 | 0.023326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4199-1_0_5_line_50 |  | 46 | 47 | 0.01472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4199-1_0_5_line_51 |  | 47 | 48 | 0.0077674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4199-1_0_5_line_52 |  | 47 | 49 | 0.023831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4199-1_0_5_line_53 |  | 50 | 77 | 0.022965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4199-1_0_5_line_54 |  | 51 | 52 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4199-1_0_5_line_55 |  | 53 | 54 | 0.0088199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4199-1_0_5_line_56 |  | 54 | 57 | 0.088843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4199-1_0_5_line_57 |  | 55 | 56 | 0.019758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4199-1_0_5_line_58 |  | 56 | 68 | 0.031909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4199-1_0_5_line_59 |  | 57 | 58 | 0.028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4199-1_0_5_line_60 |  | 58 | 59 | 0.038264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4199-1_0_5_line_61 |  | 58 | 60 | 0.069127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4199-1_0_5_line_62 |  | 59 | 63 | 0.054371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4199-1_0_5_line_63 |  | 60 | 61 | 0.011416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4199-1_0_5_line_64 |  | 61 | 62 | 0.0011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4199-1_0_5_line_65 |  | 64 | 65 | 0.024372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4199-1_0_5_line_66 |  | 65 | 66 | 0.028247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4199-1_0_5_line_67 |  | 66 | 67 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4199-1_0_5_line_68 |  | 67 | 69 | 0.048407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4199-1_0_5_line_69 |  | 68 | 70 | 0.015886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4199-1_0_5_line_70 |  | 69 | 71 | 0.053977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4199-1_0_5_line_71 |  | 69 | 72 | 0.019673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4199-1_0_5_line_72 |  | 70 | 89 | 0.0076235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4199-1_0_5_line_73 |  | 70 | 88 | 0.023518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4199-1_0_5_line_74 |  | 71 | 93 | 0.10072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4199-1_0_5_line_75 |  | 72 | 90 | 0.00058274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4199-1_0_5_line_76 |  | 73 | 74 | 0.029121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4199-1_0_5_line_77 |  | 74 | 75 | 0.15445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4199-1_0_5_line_78 |  | 75 | 76 | 0.031296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4199-1_0_5_line_79 |  | 76 | 82 | 0.009885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4199-1_0_5_line_80 |  | 77 | 78 | 0.022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4199-1_0_5_line_81 |  | 78 | 79 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4199-1_0_5_line_82 |  | 79 | 80 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4199-1_0_5_line_83 |  | 80 | 83 | 0.065804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4199-1_0_5_line_84 |  | 81 | 82 | 0.10191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4199-1_0_5_line_85 |  | 81 | 83 | 0.079724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4199-1_0_5_line_86 |  | 84 | 85 | 0.016507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4199-1_0_5_line_87 |  | 84 | 86 | 0.01128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4199-1_0_5_line_88 |  | 85 | 87 | 0.0089763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4199-1_0_5_line_89 |  | 87 | 88 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4199-1_0_5_line_90 |  | 89 | 94 | 0.0072983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4199-1_0_5_line_91 |  | 90 | 91 | 0.02397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4199-1_0_5_line_92 |  | 91 | 92 | 0.013517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4199-1_0_5_line_93 |  | 92 | 94 | 0.016511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4199-1_0_5_line_94 |  | 93 | 95 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4199-1_0_5_line_95 |  | 95 | 97 | 0.029779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4199-1_0_5_line_96 |  | 96 | 97 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4199-1_0_5_line_97 |  | 96 | 98 | 0.025715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4199-1_0_5_line_98 |  | 98 | 99 | 0.0029306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4199-1_0_5_trafo_17 | 0.63 MVA 20/0.4 kV | 100 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2654972.839 | 1253168.0112 | 2654971.2254 | 1253169.8978
1 | 2654970.3059 | 1253170.9729 | 2654971.2254 | 1253169.8978
2 | 2655064.9944 | 1253096.0131 | 2655060.6272 | 1253095.0274 | 2655055.5447 | 1253093.8683 | 2655046.6521 | 1253091.862 | 2655019.9658 | 1253091.6141 | 2655014.3901 | 1253104.4031
3 | 2655064.9944 | 1253096.0131 | 2655070.0716 | 1253080.694 | 2655073.0509 | 1253062.976 | 2655074.5926 | 1253049.2394
4 | 2655104.8435 | 1253122.0884 | 2655064.9944 | 1253096.0131
5 | 2654970.3059 | 1253170.9729 | 2654965.8034 | 1253176.2372 | 2654951.7418 | 1253192.1873
6 | 2655070.8782 | 1253147.3258 | 2655051.6939 | 1253176.9571
7 | 2655089.078 | 1253157.8578 | 2655070.8782 | 1253147.3258
8 | 2655104.8435 | 1253122.0884 | 2655109.3845 | 1253107.4003 | 2655112.7384 | 1253090.9037
9 | 2655089.078 | 1253157.8578 | 2655095.8246 | 1253151.2603 | 2655104.8435 | 1253122.0884
10 | 2655089.078 | 1253157.8578 | 2655096.881 | 1253164.2348 | 2655107.7908 | 1253165.9596 | 2655111.0615 | 1253167.8716
11 | 2655089.078 | 1253157.8578 | 2655076.2556 | 1253177.8083
12 | 2654945.2686 | 1253200.6253 | 2654946.9604 | 1253197.6108 | 2654951.7418 | 1253192.1873
13 | 2655147.4165 | 1253061.7332 | 2655136.1234 | 1253061.4502 | 2655124.5111 | 1253063.8439 | 2655116.3272 | 1253073.2521 | 2655112.7384 | 1253090.9037
14 | 2654945.2686 | 1253200.6253 | 2654972.3793 | 1253256.2299
15 | 2655147.4165 | 1253061.7332 | 2655149.1499 | 1253048.4878
16 | 2655205.7688 | 1253095.2517 | 2655202.7271 | 1253115.2315
17 | 2655207.0732 | 1253086.6838 | 2655205.7688 | 1253095.2517
18 | 2655201.9515 | 1253120.3261 | 2655202.7271 | 1253115.2315
19 | 2655201.9515 | 1253120.3261 | 2655199.0191 | 1253139.5874
20 | 2655195.7885 | 1253160.8082 | 2655199.0191 | 1253139.5874
21 | 2655195.7885 | 1253160.8082 | 2655178.0751 | 1253158.1464
22 | 2655195.7885 | 1253160.8082 | 2655193.8182 | 1253178.7245
23 | 2655274.9516 | 1253105.2429 | 2655273.2941 | 1253119.0865
24 | 2655271.4047 | 1253134.8669 | 2655273.2941 | 1253119.0865
25 | 2655274.9516 | 1253105.2429 | 2655276.7285 | 1253090.4023
26 | 2655269.2683 | 1253149.7521 | 2655270.428 | 1253143.0246 | 2655271.4047 | 1253134.8669
27 | 2655276.7285 | 1253090.4023 | 2655280.4089 | 1253059.6626
28 | 2655264.8918 | 1253175.1399 | 2655269.2683 | 1253149.7521
29 | 2655284.2228 | 1253027.8086 | 2655280.4089 | 1253059.6626
30 | 2655264.8918 | 1253175.1399 | 2655277.5144 | 1253173.6232 | 2655285.2122 | 1253170.2259 | 2655292.1427 | 1253164.9758 | 2655292.5185 | 1253164.489
31 | 2655264.8918 | 1253175.1399 | 2655244.4313 | 1253176.1718
32 | 2655285.1991 | 1253019.6541 | 2655284.2228 | 1253027.8086
33 | 2655309.1292 | 1253142.9745 | 2655292.5185 | 1253164.489
34 | 2655244.4313 | 1253176.1718 | 2655243.5561 | 1253176.2159
35 | 2655175.9291 | 1253157.8239 | 2655178.0751 | 1253158.1464
36 | 2655176.0514 | 1253197.8725 | 2655182.6884 | 1253188.4722 | 2655187.6447 | 1253180.4794 | 2655193.8182 | 1253178.7245
37 | 2655193.8182 | 1253178.7245 | 2655215.4628 | 1253177.6329
38 | 2655161.514 | 1253132.3504 | 2655159.1047 | 1253145.9897 | 2655158.9437 | 1253150.7589
39 | 2655158.7921 | 1253155.2488 | 2655158.9437 | 1253150.7589
40 | 2655161.514 | 1253132.3504 | 2655163.3343 | 1253122.0457 | 2655158.2042 | 1253121.7428
41 | 2655158.7921 | 1253155.2488 | 2655175.9291 | 1253157.8239
42 | 2655176.0514 | 1253197.8725 | 2655141.2958 | 1253260.5762
43 | 2655215.4628 | 1253177.6329 | 2655243.5561 | 1253176.2159
44 | 2655127.0797 | 1253283.2097 | 2655134.0884 | 1253273.5793 | 2655141.2958 | 1253260.5762
45 | 2655078.243 | 1253242.2159 | 2655086.0894 | 1253230.9365 | 2655091.7627 | 1253220.482
46 | 2655091.7627 | 1253220.482 | 2655093.7047 | 1253217.1458
47 | 2655078.243 | 1253242.2159 | 2655080.7821 | 1253246.6649 | 2655080.9081 | 1253251.7807 | 2655078.5945 | 1253256.3513 | 2655085.5846 | 1253263.31 | 2655096.1445 | 1253270.1796 | 2655127.0797 | 1253283.2097
48 | 2655078.243 | 1253242.2159 | 2655074.4186 | 1253239.6675 | 2655069.8675 | 1253238.9914
49 | 2655106.0521 | 1253197.4049 | 2655102.8352 | 1253201.4605 | 2655093.7047 | 1253217.1458
50 | 2655120.8613 | 1253178.7345 | 2655112.5262 | 1253168.7278 | 2655111.0615 | 1253167.8716
51 | 2655120.8613 | 1253178.7345 | 2655124.5783 | 1253171.9142
52 | 2655120.8613 | 1253178.7345 | 2655106.0521 | 1253197.4049
53 | 2655062.539 | 1253256.2465 | 2655060.4188 | 1253252.1795 | 2655060.2352 | 1253247.5857 | 2655062.0325 | 1253243.3661 | 2655065.4563 | 1253240.3069 | 2655069.8675 | 1253238.9914
54 | 2655285.1991 | 1253019.6541 | 2655303.033 | 1253020.1815
55 | 2655149.1499 | 1253048.4878 | 2655150.2944 | 1253039.7424
56 | 2655161.9632 | 1252951.6696 | 2655160.325 | 1252963.0957 | 2655150.2944 | 1253039.7424
57 | 2655309.1292 | 1253142.9745 | 2655322.8667 | 1253128.7372
58 | 2655322.8667 | 1253128.7372 | 2655332.825 | 1253118.423 | 2655343.5478 | 1253104.5024
59 | 2655161.9632 | 1252951.6696 | 2655189.7845 | 1252957.3103
60 | 2655189.7845 | 1252957.3103 | 2655212.8836 | 1252961.9843 | 2655224.6749 | 1252963.8843 | 2655227.3949 | 1252964.31
61 | 2655189.7845 | 1252957.3103 | 2655179.9413 | 1253025.7331 | 2655179.9413 | 1253025.7331
62 | 2655227.3949 | 1252964.31 | 2655220.501 | 1253018.2389
63 | 2655179.9413 | 1253025.7331 | 2655191.2582 | 1253027.2367
64 | 2655192.3611 | 1253027.3832 | 2655191.2582 | 1253027.2367
65 | 2655322.134 | 1253070.9623 | 2655323.6155 | 1253064.7218 | 2655327.3577 | 1253047.1584
66 | 2655332.8667 | 1253019.4599 | 2655331.4203 | 1253028.0913 | 2655327.3577 | 1253047.1584
67 | 2655335.3679 | 1253004.5339 | 2655332.8667 | 1253019.4599
68 | 2655335.3679 | 1253004.5339 | 2655340.0948 | 1253004.9895 | 2655383.7592 | 1253008.4553
69 | 2655353.2418 | 1253091.9173 | 2655343.5478 | 1253104.5024
70 | 2655394.0571 | 1252957.8273 | 2655389.2741 | 1252960.1509 | 2655387.8045 | 1252966.4082 | 2655383.7592 | 1253008.4553
71 | 2655383.7592 | 1253008.4553 | 2655379.3054 | 1253025.6034 | 2655378.7424 | 1253027.4762
72 | 2655353.2418 | 1253091.9173 | 2655356.7205 | 1253085.1338
73 | 2655353.2418 | 1253091.9173 | 2655355.1794 | 1253100.1634 | 2655352.3898 | 1253114.9495
74 | 2655394.0571 | 1252957.8273 | 2655398.7441 | 1252959.3277 | 2655403.6698 | 1252968.3801 | 2655423.5819 | 1253051.5465
75 | 2655378.7424 | 1253027.4762 | 2655378.5747 | 1253028.0343
76 | 2654807.8208 | 1253082.4597 | 2654806.0993 | 1253111.5302
77 | 2654796.9693 | 1253265.7141 | 2654806.0993 | 1253111.5302
78 | 2654824.9749 | 1253279.8496 | 2654796.9693 | 1253265.7141
79 | 2654824.9749 | 1253279.8496 | 2654833.8219 | 1253284.3124
80 | 2655062.539 | 1253256.2465 | 2655053.386 | 1253261.9877 | 2655043.8007 | 1253268.7701
81 | 2655043.8007 | 1253268.7701 | 2655039.9023 | 1253254.2535
82 | 2655036.689 | 1253242.2881 | 2655039.9023 | 1253254.2535
83 | 2655036.689 | 1253242.2881 | 2654972.3793 | 1253256.2299
84 | 2654833.8219 | 1253284.3124 | 2654928.2813 | 1253322.5581
85 | 2654928.2813 | 1253322.5581 | 2654936.2621 | 1253308.1331 | 2654965.5489 | 1253265.4638 | 2654972.3793 | 1253256.2299
86 | 2655344.6529 | 1253155.9568 | 2655347.7132 | 1253139.7363
87 | 2655344.6529 | 1253155.9568 | 2655342.5617 | 1253167.0409
88 | 2655347.7132 | 1253139.7363 | 2655349.3774 | 1253130.9157
89 | 2655349.3774 | 1253130.9157 | 2655352.3898 | 1253114.9495
90 | 2655356.7205 | 1253085.1338 | 2655360.0508 | 1253078.6395
91 | 2655371.5816 | 1253050.958 | 2655372.0861 | 1253049.6194 | 2655378.5747 | 1253028.0343
92 | 2655366.8146 | 1253063.6066 | 2655371.5816 | 1253050.958
93 | 2655366.8146 | 1253063.6066 | 2655364.1939 | 1253070.5603 | 2655360.0508 | 1253078.6395
94 | 2655423.5819 | 1253051.5465 | 2655421.6369 | 1253071.2072
95 | 2655421.6369 | 1253071.2072 | 2655420.24 | 1253085.3277 | 2655417.4858 | 1253100.6725
96 | 2655413.1053 | 1253125.0775 | 2655417.4858 | 1253100.6725
97 | 2655413.1053 | 1253125.0775 | 2655408.5624 | 1253150.3877
98 | 2655408.0446 | 1253153.2722 | 2655408.5624 | 1253150.3877

## bus_geodata
| x | y | coords
0 | 2654972.839 | 1253168.0112
1 | 2654971.2254 | 1253169.8978
2 | 2655014.3901 | 1253104.4031
3 | 2655064.9944 | 1253096.0131
4 | 2654970.3059 | 1253170.9729
5 | 2655051.6939 | 1253176.9571
6 | 2655070.8782 | 1253147.3258
7 | 2655074.5926 | 1253049.2394
8 | 2655104.8435 | 1253122.0884
9 | 2655089.078 | 1253157.8578
10 | 2654951.7418 | 1253192.1873
11 | 2655112.7384 | 1253090.9037
12 | 2654945.2686 | 1253200.6253
13 | 2655147.4165 | 1253061.7332
14 | 2655205.7688 | 1253095.2517
15 | 2655202.7271 | 1253115.2315
16 | 2655207.0732 | 1253086.6838
17 | 2655201.9515 | 1253120.3261
18 | 2655199.0191 | 1253139.5874
19 | 2655195.7885 | 1253160.8082
20 | 2655273.2941 | 1253119.0865
21 | 2655274.9516 | 1253105.2429
22 | 2655271.4047 | 1253134.8669
23 | 2655276.7285 | 1253090.4023
24 | 2655269.2683 | 1253149.7521
25 | 2655280.4089 | 1253059.6626
26 | 2655264.8918 | 1253175.1399
27 | 2655284.2228 | 1253027.8086
28 | 2655292.5185 | 1253164.489
29 | 2655244.4313 | 1253176.1718
30 | 2655178.0751 | 1253158.1464
31 | 2655193.8182 | 1253178.7245
32 | 2655158.9437 | 1253150.7589
33 | 2655161.514 | 1253132.3504
34 | 2655158.7921 | 1253155.2488
35 | 2655158.2042 | 1253121.7428
36 | 2655175.9291 | 1253157.8239
37 | 2655176.0514 | 1253197.8725
38 | 2655215.4628 | 1253177.6329
39 | 2655141.2958 | 1253260.5762
40 | 2655243.5561 | 1253176.2159
41 | 2655091.7627 | 1253220.482
42 | 2655078.243 | 1253242.2159
43 | 2655093.7047 | 1253217.1458
44 | 2655127.0797 | 1253283.2097
45 | 2655076.2556 | 1253177.8083
46 | 2655111.0615 | 1253167.8716
47 | 2655120.8613 | 1253178.7345
48 | 2655124.5783 | 1253171.9142
49 | 2655106.0521 | 1253197.4049
50 | 2655069.8675 | 1253238.9914
51 | 2655285.1991 | 1253019.6541
52 | 2655303.033 | 1253020.1815
53 | 2655149.1499 | 1253048.4878
54 | 2655150.2944 | 1253039.7424
55 | 2655309.1292 | 1253142.9745
56 | 2655322.8667 | 1253128.7372
57 | 2655161.9632 | 1252951.6696
58 | 2655189.7845 | 1252957.3103
59 | 2655227.3949 | 1252964.31
60 | 2655179.9413 | 1253025.7331
61 | 2655191.2582 | 1253027.2367
62 | 2655192.3611 | 1253027.3832
63 | 2655220.501 | 1253018.2389
64 | 2655322.134 | 1253070.9623
65 | 2655327.3577 | 1253047.1584
66 | 2655332.8667 | 1253019.4599
67 | 2655335.3679 | 1253004.5339
68 | 2655343.5478 | 1253104.5024
69 | 2655383.7592 | 1253008.4553
70 | 2655353.2418 | 1253091.9173
71 | 2655394.0571 | 1252957.8273
72 | 2655378.7424 | 1253027.4762
73 | 2654807.8208 | 1253082.4597
74 | 2654806.0993 | 1253111.5302
75 | 2654796.9693 | 1253265.7141
76 | 2654824.9749 | 1253279.8496
77 | 2655062.539 | 1253256.2465
78 | 2655043.8007 | 1253268.7701
79 | 2655039.9023 | 1253254.2535
80 | 2655036.689 | 1253242.2881
81 | 2654928.2813 | 1253322.5581
82 | 2654833.8219 | 1253284.3124
83 | 2654972.3793 | 1253256.2299
84 | 2655344.6529 | 1253155.9568
85 | 2655347.7132 | 1253139.7363
86 | 2655342.5617 | 1253167.0409
87 | 2655349.3774 | 1253130.9157
88 | 2655352.3898 | 1253114.9495
89 | 2655356.7205 | 1253085.1338
90 | 2655378.5747 | 1253028.0343
91 | 2655371.5816 | 1253050.958
92 | 2655366.8146 | 1253063.6066
93 | 2655423.5819 | 1253051.5465
94 | 2655360.0508 | 1253078.6395
95 | 2655421.6369 | 1253071.2072
96 | 2655413.1053 | 1253125.0775
97 | 2655417.4858 | 1253100.6725
98 | 2655408.5624 | 1253150.3877
99 | 2655408.0446 | 1253153.2722
100 | 2655151.7056 | 1253121.3592

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1