## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4201-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4201-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4201-12_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4201-12_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4201-12_0_4_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_4201-12_0_4_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_4201-12_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4201-12_0_4_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_4201-12_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_4201-12_0_4_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_4201-12_0_4_node_58 | 0.4 | n |  | TRUE
12 | bus_LV_4201-12_0_4_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_4201-12_0_4_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_4201-12_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_4201-12_0_4_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_4201-12_0_4_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_4201-12_0_4_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_4201-12_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_4201-12_0_4_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_4201-12_0_4_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_4201-12_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_4201-12_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_4201-12_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_4201-12_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_4201-12_0_4_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_4201-12_0_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_4201-12_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4201-12_0_4_node_75 | 0.4 | n |  | TRUE
29 | bus_LV_4201-12_0_4_node_13 | 0.4 | n |  | TRUE
30 | bus_LV_4201-12_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4201-12_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_4201-12_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4201-12_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_4201-12_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4201-12_0_4_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_4201-12_0_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_4201-12_0_4_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_4201-12_0_4_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_4201-12_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4201-12_0_4_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_4201-12_0_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_4201-12_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_4201-12_0_4_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4201-12_0_4_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_4201-12_0_4_node_11 | 0.4 | n |  | TRUE
46 | bus_LV_4201-12_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_4201-12_0_4_node_12 | 0.4 | n |  | TRUE
48 | bus_LV_4201-12_0_4_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_4201-12_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_4201-12_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_4201-12_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_4201-12_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_4201-12_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_4201-12_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4201-12_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4201-12_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_4201-12_0_4_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_4201-12_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4201-12_0_4_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_4201-12_0_4_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4201-12_0_4_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_4201-12_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4201-12_0_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4201-12_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4201-12_0_4_node_74 | 0.4 | n |  | TRUE
66 | bus_LV_4201-12_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_4201-12_0_4_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_4201-12_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_LV_4201-12_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_4201-12_0_4_node_68 | 0.4 | n |  | TRUE
71 | bus_MV_484_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-12_0_4_load_0 | 0 | 0.010529 | 0.0026388 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-12_0_4_load_1 | 1 | 0.001136 | 0.00028471 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-12_0_4_load_4 | 4 | 0.0048954 | 0.0012269 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-12_0_4_load_55 | 5 | 0.00051162 | 0.00012822 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-12_0_4_load_15 | 9 | 0.020945 | 0.0052494 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-12_0_4_load_72 | 10 | 0.028213 | 0.0070709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-12_0_4_load_33 | 13 | 0.0018218 | 0.00045658 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-12_0_4_load_16 | 14 | 0.00148 | 0.00037092 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-12_0_4_load_38 | 16 | 0.003528 | 0.00088421 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-12_0_4_load_35 | 17 | 0.011867 | 0.0029741 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-12_0_4_load_59 | 19 | 0.0021092 | 0.00052862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-12_0_4_load_54 | 20 | 0.0025691 | 0.00064389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-12_0_4_load_9 | 21 | 0.084302 | 0.021128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-12_0_4_load_10 | 22 | 0.008967 | 0.0022473 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-12_0_4_load_46 | 23 | 0.030891 | 0.0077419 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-12_0_4_load_52 | 26 | 0.01083 | 0.0027143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-12_0_4_load_75 | 28 | 0.035695 | 0.008946 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-12_0_4_load_45 | 32 | 0.0090336 | 0.002264 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-12_0_4_load_76 | 35 | 0.011129 | 0.0027892 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-12_0_4_load_77 | 36 | 0.0047848 | 0.0011992 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-12_0_4_load_47 | 37 | 0.015381 | 0.0038549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-12_0_4_load_44 | 38 | 0.012787 | 0.0032047 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-12_0_4_load_71 | 41 | 0.0077483 | 0.0019419 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-12_0_4_load_42 | 42 | 0.0022018 | 0.00055182 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-12_0_4_load_18 | 43 | 0.0021628 | 0.00054204 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-12_0_4_load_11 | 45 | 0.0017662 | 0.00044265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-12_0_4_load_34 | 46 | 0.001958 | 0.00049071 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-12_0_4_load_12 | 47 | 0.01035 | 0.0025941 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-12_0_4_load_51 | 48 | 0.018272 | 0.0045794 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-12_0_4_load_66 | 49 | 0.0022416 | 0.00056179 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-12_0_4_load_40 | 50 | 0.0022198 | 0.00055634 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-12_0_4_load_48 | 51 | 0.00090637 | 0.00022716 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-12_0_4_load_49 | 52 | 0.00069138 | 0.00017328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-12_0_4_load_53 | 53 | 0.0045146 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-12_0_4_load_39 | 54 | 0.0022747 | 0.00057009 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-12_0_4_load_41 | 55 | 0.0030431 | 0.00076266 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-12_0_4_load_43 | 56 | 0.0020494 | 0.00051362 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-12_0_4_load_65 | 57 | 0.043612 | 0.01093 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-12_0_4_load_50 | 58 | 0.0010611 | 0.00026595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-12_0_4_load_63 | 59 | 0.00071631 | 0.00017952 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-12_0_4_load_64 | 60 | 0.0011561 | 0.00028975 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-12_0_4_load_56 | 61 | 0.0023349 | 0.00058518 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-12_0_4_load_57 | 62 | 0.0030741 | 0.00077043 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-12_0_4_load_62 | 64 | 0.01162 | 0.0029121 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-12_0_4_load_74 | 65 | 0.0049383 | 0.0012376 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-12_0_4_load_70 | 66 | 0.0028311 | 0.00070954 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-12_0_4_load_73 | 67 | 0.011978 | 0.003002 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-12_0_4_load_69 | 68 | 0.0043143 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-12_0_4_load_67 | 69 | 0.0036428 | 0.00091298 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-12_0_4_load_68 | 70 | 0.0026306 | 0.00065928 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-12_0_4_line_0 |  | 0 | 1 | 0.016646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-12_0_4_line_1 |  | 0 | 2 | 0.063384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-12_0_4_line_2 |  | 1 | 3 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-12_0_4_line_3 |  | 2 | 4 | 0.024839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-12_0_4_line_4 |  | 3 | 5 | 0.013019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-12_0_4_line_5 |  | 4 | 6 | 0.0010233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-12_0_4_line_6 |  | 6 | 10 | 0.018847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4201-12_0_4_line_7 |  | 6 | 11 | 0.024608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-12_0_4_line_8 |  | 7 | 8 | 0.032077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4201-12_0_4_line_9 |  | 7 | 9 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4201-12_0_4_line_10 |  | 8 | 12 | 0.061987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4201-12_0_4_line_11 |  | 8 | 13 | 0.015562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4201-12_0_4_line_12 |  | 9 | 14 | 0.0010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4201-12_0_4_line_13 |  | 10 | 67 | 0.0024542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4201-12_0_4_line_14 |  | 11 | 63 | 0.038227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-12_0_4_line_15 |  | 11 | 64 | 0.021161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-12_0_4_line_16 |  | 11 | 61 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4201-12_0_4_line_17 |  | 12 | 23 | 0.026488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4201-12_0_4_line_18 |  | 13 | 44 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4201-12_0_4_line_19 |  | 15 | 16 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4201-12_0_4_line_20 |  | 15 | 17 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-12_0_4_line_21 |  | 17 | 40 | 0.0078534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4201-12_0_4_line_22 |  | 18 | 19 | 0.011156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4201-12_0_4_line_23 |  | 18 | 20 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4201-12_0_4_line_24 |  | 20 | 53 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-12_0_4_line_25 |  | 21 | 22 | 0.021954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4201-12_0_4_line_26 |  | 22 | 45 | 0.031893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4201-12_0_4_line_27 |  | 23 | 34 | 0.021034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4201-12_0_4_line_28 |  | 24 | 25 | 0.071158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-12_0_4_line_29 |  | 24 | 26 | 0.025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4201-12_0_4_line_30 |  | 25 | 36 | 0.0080786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4201-12_0_4_line_31 |  | 25 | 30 | 0.0097916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4201-12_0_4_line_32 |  | 26 | 48 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4201-12_0_4_line_33 |  | 27 | 28 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4201-12_0_4_line_34 |  | 27 | 29 | 0.01321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-12_0_4_line_35 |  | 28 | 35 | 0.015738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-12_0_4_line_36 |  | 29 | 47 | 0.046524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4201-12_0_4_line_37 |  | 30 | 31 | 0.018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4201-12_0_4_line_38 |  | 30 | 32 | 0.0094066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4201-12_0_4_line_39 |  | 31 | 42 | 0.022741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4201-12_0_4_line_40 |  | 31 | 40 | 0.015547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4201-12_0_4_line_41 |  | 32 | 38 | 0.027877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4201-12_0_4_line_42 |  | 33 | 34 | 0.038868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4201-12_0_4_line_43 |  | 33 | 35 | 0.035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-12_0_4_line_44 |  | 34 | 37 | 0.025008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4201-12_0_4_line_45 |  | 34 | 38 | 0.0099882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-12_0_4_line_46 |  | 37 | 49 | 0.014719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4201-12_0_4_line_47 |  | 39 | 40 | 0.016018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4201-12_0_4_line_48 |  | 39 | 41 | 0.035336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4201-12_0_4_line_49 |  | 42 | 50 | 0.008362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-12_0_4_line_50 |  | 43 | 44 | 0.017024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4201-12_0_4_line_51 |  | 44 | 46 | 0.029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-12_0_4_line_52 |  | 45 | 46 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-12_0_4_line_53 |  | 49 | 57 | 0.00094022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4201-12_0_4_line_54 |  | 50 | 54 | 0.0010785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4201-12_0_4_line_55 |  | 51 | 52 | 0.0054186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-12_0_4_line_56 |  | 52 | 58 | 0.010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4201-12_0_4_line_57 |  | 53 | 56 | 0.010132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4201-12_0_4_line_58 |  | 54 | 55 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-12_0_4_line_59 |  | 55 | 56 | 0.012038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4201-12_0_4_line_60 |  | 57 | 69 | 0.019708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4201-12_0_4_line_61 |  | 58 | 59 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4201-12_0_4_line_62 |  | 59 | 60 | 0.021774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4201-12_0_4_line_63 |  | 60 | 63 | 0.0074382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4201-12_0_4_line_64 |  | 61 | 62 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4201-12_0_4_line_65 |  | 63 | 65 | 0.024645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4201-12_0_4_line_66 |  | 64 | 66 | 0.0096647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4201-12_0_4_line_67 |  | 66 | 68 | 0.010575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4201-12_0_4_line_68 |  | 68 | 70 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-12_0_4_line_69 |  | 69 | 70 | 0.0062701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-12_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 71 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2655469.3812 | 1248877.1284 | 2655473.2582 | 1248864.3143 | 2655473.8661 | 1248861.1131
1 | 2655454.222 | 1248936.9862 | 2655452.0502 | 1248933.4523 | 2655452.0934 | 1248928.0268 | 2655459.2562 | 1248910.5929 | 2655469.3812 | 1248877.1284
2 | 2655476.7926 | 1248845.7013 | 2655473.8661 | 1248861.1131
3 | 2655454.222 | 1248936.9862 | 2655450.6229 | 1248935.8962 | 2655444.8515 | 1248936.1647 | 2655438.5281 | 1248936.528 | 2655432.6051 | 1248936.8618 | 2655430.5604 | 1248937.4987 | 2655429.7223 | 1248937.1903
4 | 2655476.7926 | 1248845.7013 | 2655477.7969 | 1248832.7214
5 | 2655428.7619 | 1248936.837 | 2655429.7223 | 1248937.1903
6 | 2655428.7619 | 1248936.837 | 2655435.425 | 1248919.2072
7 | 2655405.5999 | 1248928.337 | 2655428.7619 | 1248936.837
8 | 2655399.7196 | 1249015.3973 | 2655417.1871 | 1248988.4642
9 | 2655417.1871 | 1248988.4642 | 2655428.0027 | 1248998.4542
10 | 2655364.435 | 1249066.3139 | 2655369.2403 | 1249060.3324 | 2655392.3976 | 1249027.2704 | 2655394.0307 | 1249024.6172 | 2655399.7196 | 1249015.3973
11 | 2655399.7196 | 1249015.3973 | 2655403.5021 | 1249025.9399 | 2655404.6575 | 1249029.1529 | 2655405.0175 | 1249030.0287
12 | 2655428.0027 | 1248998.4542 | 2655428.7854 | 1248999.1771
13 | 2655435.425 | 1248919.2072 | 2655436.2927 | 1248916.9115
14 | 2655405.5999 | 1248928.337 | 2655412.709 | 1248890.7776
15 | 2655405.5999 | 1248928.337 | 2655394.0748 | 1248946.0838
16 | 2655405.5999 | 1248928.337 | 2655390.7343 | 1248921.678
17 | 2655364.435 | 1249066.3139 | 2655361.18 | 1249061.5358 | 2655348.9827 | 1249044.8027
18 | 2655409.759 | 1249041.5646 | 2655405.0175 | 1249030.0287
19 | 2655266.0087 | 1248950.8612 | 2655258.2919 | 1248942.5102
20 | 2655266.0087 | 1248950.8612 | 2655268.6678 | 1248953.1654 | 2655274.9698 | 1248954.2915 | 2655280.8649 | 1248960.476
21 | 2655286.2834 | 1248966.1607 | 2655280.8649 | 1248960.476
22 | 2655341.3616 | 1248899.562 | 2655351.5426 | 1248904.1225
23 | 2655341.3616 | 1248899.562 | 2655339.4246 | 1248911.9536
24 | 2655337.6999 | 1248922.9873 | 2655339.4246 | 1248911.9536
25 | 2655490.9768 | 1249006.9514 | 2655475.4199 | 1249022.4419
26 | 2655475.4199 | 1249022.4419 | 2655473.6266 | 1249024.2275 | 2655459.373 | 1249030.454 | 2655457.2516 | 1249025.5753 | 2655449.2383 | 1249028.3736
27 | 2655336.5928 | 1249027.8054 | 2655348.9827 | 1249044.8027
28 | 2655239.7889 | 1249022.5217 | 2655246.6512 | 1249020.2285 | 2655257.3233 | 1249015.0577 | 2655278.985 | 1248995.7796 | 2655282.156 | 1248999.0447 | 2655287.762 | 1248995.4501 | 2655291.0018 | 1248996.203 | 2655294.282 | 1248995.8667 | 2655298.1758 | 1248999.361
29 | 2655239.7889 | 1249022.5217 | 2655237.3501 | 1248997.1217
30 | 2655298.1758 | 1248999.361 | 2655303.6972 | 1249005.2583
31 | 2655305.1938 | 1248992.5328 | 2655301.6657 | 1248995.969 | 2655298.1758 | 1248999.361
32 | 2655242.5821 | 1248981.2638 | 2655237.3249 | 1248996.8589 | 2655237.3501 | 1248997.1217
33 | 2655277.5298 | 1249069.2276 | 2655287.8585 | 1249071.7255 | 2655299.5031 | 1249067.1085
34 | 2655274.6562 | 1249056.7367 | 2655276.9849 | 1249061.2615 | 2655278.0527 | 1249066.5973 | 2655277.5298 | 1249069.2276
35 | 2655299.5031 | 1249067.1085 | 2655309.6397 | 1249063.0894 | 2655314.1657 | 1249064.7875
36 | 2655274.6562 | 1249056.7367 | 2655286.1324 | 1249051.9737 | 2655279.9431 | 1249037.1614 | 2655263.2748 | 1249044.076
37 | 2655297.6542 | 1248976.7628 | 2655300.8275 | 1248980.595 | 2655301.1186 | 1248984.2002 | 2655300.675 | 1248987.2315 | 2655305.1938 | 1248992.5328
38 | 2655305.1938 | 1248992.5328 | 2655311.2911 | 1248999.6957
39 | 2655297.6542 | 1248976.7628 | 2655314.2909 | 1248961.2585
40 | 2655286.2834 | 1248966.1607 | 2655293.8585 | 1248973.2695 | 2655297.6542 | 1248976.7628
41 | 2655329.9159 | 1249020.3768 | 2655323.1486 | 1249012.8475 | 2655321.222 | 1249011.3619 | 2655311.2911 | 1248999.6957
42 | 2655336.5928 | 1249027.8054 | 2655333.1624 | 1249030.4864 | 2655346.9294 | 1249048.8608 | 2655351.2618 | 1249054.7052 | 2655347.7356 | 1249057.1295
43 | 2655347.7356 | 1249057.1295 | 2655319.79 | 1249066.8977 | 2655314.1657 | 1249064.7875
44 | 2655336.5928 | 1249027.8054 | 2655352.7352 | 1249010.1328 | 2655353.3158 | 1249009.2305
45 | 2655336.5928 | 1249027.8054 | 2655329.9159 | 1249020.3768
46 | 2655353.3158 | 1249009.2305 | 2655361.2811 | 1248996.8536
47 | 2655286.2834 | 1248966.1607 | 2655283.3887 | 1248968.8911 | 2655279.4063 | 1248972.4676 | 2655274.277 | 1248976.756
48 | 2655274.277 | 1248976.756 | 2655249.4304 | 1248951.6303
49 | 2655320.3711 | 1248955.5179 | 2655314.5107 | 1248961.0537 | 2655314.2909 | 1248961.2585
50 | 2655409.759 | 1249041.5646 | 2655416.6541 | 1249057.1301
51 | 2655409.759 | 1249041.5646 | 2655430.3359 | 1249034.9746 | 2655437.4641 | 1249032.4854
52 | 2655449.2383 | 1249028.3736 | 2655437.4641 | 1249032.4854
53 | 2655361.2811 | 1248996.8536 | 2655361.7899 | 1248996.0629
54 | 2655320.3711 | 1248955.5179 | 2655321.1552 | 1248954.7773
55 | 2655422.1736 | 1248834.4792 | 2655421.2792 | 1248839.8235
56 | 2655419.5863 | 1248849.9383 | 2655421.2792 | 1248839.8235
57 | 2655335.0193 | 1248932.6827 | 2655336.8806 | 1248928.2287 | 2655337.6999 | 1248922.9873
58 | 2655330.3775 | 1248943.7898 | 2655330.3775 | 1248943.7898 | 2655323.637 | 1248952.4329 | 2655321.1552 | 1248954.7773
59 | 2655335.0193 | 1248932.6827 | 2655330.3775 | 1248943.7898
60 | 2655361.7899 | 1248996.0629 | 2655372.4554 | 1248979.4901
61 | 2655419.5863 | 1248849.9383 | 2655417.5721 | 1248861.973
62 | 2655413.9777 | 1248883.4487 | 2655417.5721 | 1248861.973
63 | 2655412.709 | 1248890.7776 | 2655413.0984 | 1248888.702 | 2655413.9777 | 1248883.4487
64 | 2655390.7343 | 1248921.678 | 2655378.3877 | 1248916.1475
65 | 2655412.709 | 1248890.7776 | 2655431.5 | 1248893.544 | 2655432.3683 | 1248887.9038
66 | 2655388.811 | 1248954.1892 | 2655394.0748 | 1248946.0838
67 | 2655388.811 | 1248954.1892 | 2655383.0516 | 1248963.0577
68 | 2655375.8486 | 1248974.2175 | 2655380.7167 | 1248966.6531 | 2655383.0516 | 1248963.0577
69 | 2655375.8486 | 1248974.2175 | 2655372.4554 | 1248979.4901

## bus_geodata
| x | y | coords
0 | 2655469.3812 | 1248877.1284
1 | 2655473.8661 | 1248861.1131
2 | 2655454.222 | 1248936.9862
3 | 2655476.7926 | 1248845.7013
4 | 2655429.7223 | 1248937.1903
5 | 2655477.7969 | 1248832.7214
6 | 2655428.7619 | 1248936.837
7 | 2655417.1871 | 1248988.4642
8 | 2655399.7196 | 1249015.3973
9 | 2655428.0027 | 1248998.4542
10 | 2655435.425 | 1248919.2072
11 | 2655405.5999 | 1248928.337
12 | 2655364.435 | 1249066.3139
13 | 2655405.0175 | 1249030.0287
14 | 2655428.7854 | 1248999.1771
15 | 2655266.0087 | 1248950.8612
16 | 2655258.2919 | 1248942.5102
17 | 2655280.8648 | 1248960.476
18 | 2655341.3616 | 1248899.562
19 | 2655351.5426 | 1248904.1225
20 | 2655339.4246 | 1248911.9536
21 | 2655490.9768 | 1249006.9514
22 | 2655475.4199 | 1249022.4419
23 | 2655348.9827 | 1249044.8027
24 | 2655239.7889 | 1249022.5217
25 | 2655298.1758 | 1248999.361
26 | 2655237.3501 | 1248997.1217
27 | 2655277.5298 | 1249069.2276
28 | 2655299.5031 | 1249067.1085
29 | 2655274.6562 | 1249056.7367
30 | 2655305.1938 | 1248992.5328
31 | 2655297.6542 | 1248976.7628
32 | 2655311.2911 | 1248999.6957
33 | 2655347.7356 | 1249057.1295
34 | 2655336.5928 | 1249027.8054
35 | 2655314.1657 | 1249064.7875
36 | 2655303.6972 | 1249005.2583
37 | 2655353.3158 | 1249009.2305
38 | 2655329.9159 | 1249020.3768
39 | 2655274.277 | 1248976.756
40 | 2655286.2834 | 1248966.1607
41 | 2655249.4304 | 1248951.6303
42 | 2655314.2909 | 1248961.2585
43 | 2655416.6541 | 1249057.1301
44 | 2655409.759 | 1249041.5646
45 | 2655449.2383 | 1249028.3736
46 | 2655437.4641 | 1249032.4854
47 | 2655263.2748 | 1249044.076
48 | 2655242.5821 | 1248981.2638
49 | 2655361.2811 | 1248996.8536
50 | 2655320.3711 | 1248955.5179
51 | 2655422.1736 | 1248834.4792
52 | 2655421.2792 | 1248839.8235
53 | 2655337.6999 | 1248922.9873
54 | 2655321.1552 | 1248954.7773
55 | 2655330.3775 | 1248943.7898
56 | 2655335.0193 | 1248932.6827
57 | 2655361.7899 | 1248996.0629
58 | 2655419.5863 | 1248849.9383
59 | 2655417.5721 | 1248861.973
60 | 2655413.9777 | 1248883.4487
61 | 2655390.7343 | 1248921.678
62 | 2655378.3877 | 1248916.1475
63 | 2655412.709 | 1248890.7776
64 | 2655394.0748 | 1248946.0838
65 | 2655432.3683 | 1248887.9038
66 | 2655388.811 | 1248954.1892
67 | 2655436.2927 | 1248916.9115
68 | 2655383.0516 | 1248963.0577
69 | 2655372.4554 | 1248979.4901
70 | 2655375.8486 | 1248974.2175
71 | 2655336.5928 | 1249027.8054

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1