## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-13_1_4_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_4201-13_1_4_node_78 | 0.4 | n |  | TRUE
2 | bus_LV_4201-13_1_4_node_80 | 0.4 | n |  | TRUE
3 | bus_LV_4201-13_1_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_4201-13_1_4_node_63 | 0.4 | n |  | TRUE
5 | bus_LV_4201-13_1_4_node_159 | 0.4 | n |  | TRUE
6 | bus_LV_4201-13_1_4_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_4201-13_1_4_node_173 | 0.4 | n |  | TRUE
8 | bus_LV_4201-13_1_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_4201-13_1_4_node_172 | 0.4 | n |  | TRUE
10 | bus_LV_4201-13_1_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_4201-13_1_4_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_4201-13_1_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_4201-13_1_4_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_4201-13_1_4_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_4201-13_1_4_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_4201-13_1_4_node_87 | 0.4 | n |  | TRUE
17 | bus_LV_4201-13_1_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_4201-13_1_4_node_154 | 0.4 | n |  | TRUE
19 | bus_LV_4201-13_1_4_node_110 | 0.4 | n |  | TRUE
20 | bus_LV_4201-13_1_4_node_153 | 0.4 | n |  | TRUE
21 | bus_LV_4201-13_1_4_node_65 | 0.4 | n |  | TRUE
22 | bus_LV_4201-13_1_4_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_4201-13_1_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_4201-13_1_4_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_4201-13_1_4_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_4201-13_1_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_4201-13_1_4_node_98 | 0.4 | n |  | TRUE
28 | bus_LV_4201-13_1_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_4201-13_1_4_node_137 | 0.4 | n |  | TRUE
30 | bus_LV_4201-13_1_4_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_4201-13_1_4_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_4201-13_1_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_4201-13_1_4_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_4201-13_1_4_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_4201-13_1_4_node_82 | 0.4 | n |  | TRUE
36 | bus_LV_4201-13_1_4_node_168 | 0.4 | n |  | TRUE
37 | bus_LV_4201-13_1_4_node_167 | 0.4 | n |  | TRUE
38 | bus_LV_4201-13_1_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_4201-13_1_4_node_160 | 0.4 | n |  | TRUE
40 | bus_LV_4201-13_1_4_node_174 | 0.4 | n |  | TRUE
41 | bus_LV_4201-13_1_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4201-13_1_4_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_4201-13_1_4_node_184 | 0.4 | n |  | TRUE
44 | bus_LV_4201-13_1_4_node_152 | 0.4 | n |  | TRUE
45 | bus_LV_4201-13_1_4_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_4201-13_1_4_node_113 | 0.4 | n |  | TRUE
47 | bus_LV_4201-13_1_4_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_4201-13_1_4_node_136 | 0.4 | n |  | TRUE
49 | bus_LV_4201-13_1_4_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4201-13_1_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_4201-13_1_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_4201-13_1_4_node_88 | 0.4 | n |  | TRUE
53 | bus_LV_4201-13_1_4_node_185 | 0.4 | n |  | TRUE
54 | bus_LV_4201-13_1_4_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_4201-13_1_4_node_150 | 0.4 | n |  | TRUE
56 | bus_LV_4201-13_1_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4201-13_1_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_4201-13_1_4_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_4201-13_1_4_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_4201-13_1_4_node_114 | 0.4 | n |  | TRUE
61 | bus_LV_4201-13_1_4_node_176 | 0.4 | n |  | TRUE
62 | bus_LV_4201-13_1_4_node_112 | 0.4 | n |  | TRUE
63 | bus_LV_4201-13_1_4_node_75 | 0.4 | n |  | TRUE
64 | bus_LV_4201-13_1_4_node_81 | 0.4 | n |  | TRUE
65 | bus_LV_4201-13_1_4_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_4201-13_1_4_node_111 | 0.4 | n |  | TRUE
67 | bus_LV_4201-13_1_4_node_151 | 0.4 | n |  | TRUE
68 | bus_LV_4201-13_1_4_node_148 | 0.4 | n |  | TRUE
69 | bus_LV_4201-13_1_4_node_175 | 0.4 | n |  | TRUE
70 | bus_LV_4201-13_1_4_node_126 | 0.4 | n |  | TRUE
71 | bus_LV_4201-13_1_4_node_128 | 0.4 | n |  | TRUE
72 | bus_LV_4201-13_1_4_node_129 | 0.4 | n |  | TRUE
73 | bus_LV_4201-13_1_4_node_143 | 0.4 | n |  | TRUE
74 | bus_LV_4201-13_1_4_node_144 | 0.4 | n |  | TRUE
75 | bus_LV_4201-13_1_4_node_145 | 0.4 | n |  | TRUE
76 | bus_LV_4201-13_1_4_node_146 | 0.4 | n |  | TRUE
77 | bus_LV_4201-13_1_4_node_147 | 0.4 | n |  | TRUE
78 | bus_LV_4201-13_1_4_node_149 | 0.4 | n |  | TRUE
79 | bus_LV_4201-13_1_4_node_156 | 0.4 | n |  | TRUE
80 | bus_LV_4201-13_1_4_node_155 | 0.4 | n |  | TRUE
81 | bus_LV_4201-13_1_4_node_157 | 0.4 | n |  | TRUE
82 | bus_LV_4201-13_1_4_node_158 | 0.4 | n |  | TRUE
83 | bus_LV_4201-13_1_4_node_166 | 0.4 | n |  | TRUE
84 | bus_LV_4201-13_1_4_node_169 | 0.4 | n |  | TRUE
85 | bus_LV_4201-13_1_4_node_164 | 0.4 | n |  | TRUE
86 | bus_LV_4201-13_1_4_node_161 | 0.4 | n |  | TRUE
87 | bus_LV_4201-13_1_4_node_170 | 0.4 | n |  | TRUE
88 | bus_LV_4201-13_1_4_node_162 | 0.4 | n |  | TRUE
89 | bus_LV_4201-13_1_4_node_163 | 0.4 | n |  | TRUE
90 | bus_LV_4201-13_1_4_node_165 | 0.4 | n |  | TRUE
91 | bus_MV_484_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-13_1_4_load_78 | 1 | 0.0030338 | 0.00076035 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-13_1_4_load_80 | 2 | 0.0039113 | 0.00098028 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-13_1_4_load_63 | 4 | 0.0019763 | 0.0004953 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-13_1_4_load_159 | 5 | 0.0014024 | 0.00035148 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-13_1_4_load_173 | 7 | 0.0012246 | 0.00030692 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-13_1_4_load_172 | 9 | 0.0047991 | 0.0012028 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-13_1_4_load_71 | 11 | 0.013597 | 0.0034078 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-13_1_4_load_55 | 12 | 0.0036872 | 0.00092409 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-13_1_4_load_69 | 13 | 0.0046568 | 0.0011671 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-13_1_4_load_70 | 15 | 0.002261 | 0.00056665 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-13_1_4_load_87 | 16 | 0.0023584 | 0.00059108 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-13_1_4_load_154 | 18 | 0.0021964 | 0.00055047 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-13_1_4_load_110 | 19 | 0.0094688 | 0.0023731 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-13_1_4_load_153 | 20 | 0.013739 | 0.0034434 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-13_1_4_load_65 | 21 | 0.001616 | 0.00040502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-13_1_4_load_79 | 22 | 0.0024107 | 0.00060419 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-13_1_4_load_97 | 24 | 0.0021871 | 0.00054813 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-13_1_4_load_95 | 25 | 0.0053912 | 0.0013512 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-13_1_4_load_98 | 27 | 0.0099489 | 0.0024934 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-13_1_4_load_77 | 30 | 0.0031526 | 0.00079011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-13_1_4_load_76 | 31 | 0.00134 | 0.00033584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-13_1_4_load_74 | 32 | 0.0015569 | 0.0003902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-13_1_4_load_73 | 33 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-13_1_4_load_84 | 34 | 0.00079955 | 0.00020038 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-13_1_4_load_82 | 35 | 0.0016742 | 0.00041959 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-13_1_4_load_168 | 36 | 0.0021531 | 0.00053962 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-13_1_4_load_167 | 37 | 0.0013745 | 0.00034449 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-13_1_4_load_61 | 38 | 0.001248 | 0.00031278 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-13_1_4_load_160 | 39 | 0.013975 | 0.0035025 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-13_1_4_load_174 | 40 | 0.017496 | 0.0043849 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-13_1_4_load_54 | 41 | 0.0023467 | 0.00058813 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-13_1_4_load_68 | 42 | 0.0030635 | 0.0007678 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-13_1_4_load_184 | 43 | 0.00124 | 0.00031078 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-13_1_4_load_152 | 44 | 0.0018463 | 0.00046274 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-13_1_4_load_64 | 45 | 0.0020466 | 0.00051293 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-13_1_4_load_96 | 47 | 0.053864 | 0.0135 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-13_1_4_load_136 | 48 | 0.0014658 | 0.00036737 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-13_1_4_load_57 | 50 | 0.0029587 | 0.00074151 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-13_1_4_load_58 | 51 | 0.0033536 | 0.0008405 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-13_1_4_load_88 | 52 | 0.0024294 | 0.00060887 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-13_1_4_load_185 | 53 | 0.0022144 | 0.00055497 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-13_1_4_load_85 | 54 | 0.0026372 | 0.00066093 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-13_1_4_load_150 | 55 | 0.0023381 | 0.00058599 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-13_1_4_load_59 | 56 | 0.0013325 | 0.00033396 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-13_1_4_load_60 | 57 | 0.0020896 | 0.0005237 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-13_1_4_load_62 | 58 | 0.0013319 | 0.00033381 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-13_1_4_load_86 | 59 | 0.0011711 | 0.00029351 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-13_1_4_load_176 | 61 | 0.019823 | 0.0049682 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-13_1_4_load_75 | 63 | 0.0014055 | 0.00035226 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-13_1_4_load_81 | 64 | 0.004563 | 0.0011436 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4201-13_1_4_load_83 | 65 | 0.0016461 | 0.00041254 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4201-13_1_4_load_111 | 66 | 0.006031 | 0.0015115 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4201-13_1_4_load_151 | 67 | 0.0015171 | 0.00038023 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4201-13_1_4_load_175 | 69 | 0.020757 | 0.0052021 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4201-13_1_4_load_126 | 70 | 0.0024818 | 0.00062199 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4201-13_1_4_load_128 | 71 | 0.00094647 | 0.00023721 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4201-13_1_4_load_129 | 72 | 0.005722 | 0.0014341 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4201-13_1_4_load_143 | 73 | 0.0018764 | 0.00047026 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4201-13_1_4_load_144 | 74 | 0.0051657 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4201-13_1_4_load_145 | 75 | 0.0019624 | 0.00049181 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4201-13_1_4_load_146 | 76 | 0.0020576 | 0.00051567 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4201-13_1_4_load_147 | 77 | 0.0026808 | 0.00067187 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4201-13_1_4_load_149 | 78 | 0.0040106 | 0.0010052 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4201-13_1_4_load_156 | 79 | 0.0027174 | 0.00068103 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4201-13_1_4_load_155 | 80 | 0.0016545 | 0.00041465 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4201-13_1_4_load_157 | 81 | 0.0078319 | 0.0019629 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4201-13_1_4_load_158 | 82 | 0.001217 | 0.00030502 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4201-13_1_4_load_164 | 85 | 0.00089417 | 0.0002241 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4201-13_1_4_load_161 | 86 | 0.0021776 | 0.00054576 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4201-13_1_4_load_170 | 87 | 0.013568 | 0.0034004 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4201-13_1_4_load_162 | 88 | 0.0012653 | 0.00031712 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4201-13_1_4_load_163 | 89 | 0.0016813 | 0.00042138 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4201-13_1_4_load_165 | 90 | 0.00097847 | 0.00024523 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-13_1_4_line_0 |  | 0 | 1 | 0.023581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-13_1_4_line_1 |  | 0 | 2 | 0.024256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-13_1_4_line_2 |  | 1 | 30 | 0.021009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-13_1_4_line_3 |  | 2 | 31 | 0.029459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-13_1_4_line_4 |  | 3 | 4 | 0.009476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-13_1_4_line_5 |  | 3 | 5 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-13_1_4_line_6 |  | 4 | 38 | 0.0038823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4201-13_1_4_line_7 |  | 5 | 39 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-13_1_4_line_8 |  | 6 | 7 | 0.025629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4201-13_1_4_line_9 |  | 6 | 8 | 0.002071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4201-13_1_4_line_10 |  | 6 | 9 | 0.06085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4201-13_1_4_line_11 |  | 7 | 40 | 0.017011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4201-13_1_4_line_12 |  | 8 | 21 | 0.025349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4201-13_1_4_line_13 |  | 8 | 22 | 0.011221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4201-13_1_4_line_14 |  | 8 | 10 | 0.0072792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-13_1_4_line_15 |  | 9 | 28 | 0.015539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-13_1_4_line_16 |  | 10 | 11 | 0.027521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4201-13_1_4_line_17 |  | 10 | 12 | 0.029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4201-13_1_4_line_18 |  | 10 | 13 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4201-13_1_4_line_19 |  | 12 | 41 | 0.0036504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4201-13_1_4_line_20 |  | 13 | 42 | 0.035651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-13_1_4_line_21 |  | 14 | 15 | 0.031568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4201-13_1_4_line_22 |  | 14 | 16 | 0.021917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4201-13_1_4_line_23 |  | 15 | 42 | 0.018151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4201-13_1_4_line_24 |  | 17 | 18 | 0.016114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-13_1_4_line_25 |  | 17 | 19 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4201-13_1_4_line_26 |  | 17 | 20 | 0.021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4201-13_1_4_line_27 |  | 18 | 43 | 0.018085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4201-13_1_4_line_28 |  | 19 | 26 | 0.030891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-13_1_4_line_29 |  | 20 | 44 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4201-13_1_4_line_30 |  | 21 | 45 | 0.01185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4201-13_1_4_line_31 |  | 22 | 30 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4201-13_1_4_line_32 |  | 23 | 24 | 0.0034873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4201-13_1_4_line_33 |  | 23 | 25 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4201-13_1_4_line_34 |  | 24 | 46 | 0.033751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-13_1_4_line_35 |  | 25 | 47 | 0.05127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-13_1_4_line_36 |  | 26 | 27 | 0.0085646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4201-13_1_4_line_37 |  | 28 | 29 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4201-13_1_4_line_38 |  | 29 | 48 | 0.015506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4201-13_1_4_line_39 |  | 31 | 63 | 0.0023335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4201-13_1_4_line_40 |  | 32 | 33 | 0.014955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4201-13_1_4_line_41 |  | 33 | 63 | 0.0082298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4201-13_1_4_line_42 |  | 34 | 35 | 0.012356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4201-13_1_4_line_43 |  | 35 | 64 | 0.010243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-13_1_4_line_44 |  | 36 | 37 | 0.021363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4201-13_1_4_line_45 |  | 37 | 90 | 0.003818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-13_1_4_line_46 |  | 38 | 56 | 0.02062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4201-13_1_4_line_47 |  | 39 | 86 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4201-13_1_4_line_48 |  | 40 | 72 | 0.0055778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4201-13_1_4_line_49 |  | 41 | 49 | 0.010048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-13_1_4_line_50 |  | 44 | 76 | 0.0079198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4201-13_1_4_line_51 |  | 46 | 62 | 0.044627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-13_1_4_line_52 |  | 49 | 50 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-13_1_4_line_53 |  | 49 | 51 | 0.0047144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4201-13_1_4_line_54 |  | 50 | 52 | 0.0096485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4201-13_1_4_line_55 |  | 51 | 53 | 0.012389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-13_1_4_line_56 |  | 52 | 54 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4201-13_1_4_line_57 |  | 53 | 55 | 0.017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4201-13_1_4_line_58 |  | 54 | 65 | 0.018071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-13_1_4_line_59 |  | 55 | 68 | 0.027937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4201-13_1_4_line_60 |  | 56 | 57 | 0.0039225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4201-13_1_4_line_61 |  | 57 | 58 | 0.017157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4201-13_1_4_line_62 |  | 58 | 59 | 0.0036463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4201-13_1_4_line_63 |  | 60 | 61 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4201-13_1_4_line_64 |  | 60 | 62 | 0.008145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4201-13_1_4_line_65 |  | 61 | 69 | 0.008317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4201-13_1_4_line_66 |  | 62 | 66 | 0.027521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4201-13_1_4_line_67 |  | 64 | 65 | 0.00072103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4201-13_1_4_line_68 |  | 67 | 68 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-13_1_4_line_69 |  | 68 | 78 | 0.014678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4201-13_1_4_line_70 |  | 68 | 77 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4201-13_1_4_line_71 |  | 69 | 87 | 0.031993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4201-13_1_4_line_72 |  | 70 | 71 | 0.010165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4201-13_1_4_line_73 |  | 71 | 72 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4201-13_1_4_line_74 |  | 73 | 74 | 0.0073565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4201-13_1_4_line_75 |  | 73 | 75 | 0.015794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4201-13_1_4_line_76 |  | 74 | 76 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4201-13_1_4_line_77 |  | 75 | 77 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4201-13_1_4_line_78 |  | 78 | 79 | 0.010893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4201-13_1_4_line_79 |  | 79 | 80 | 0.018003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4201-13_1_4_line_80 |  | 80 | 81 | 0.012383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4201-13_1_4_line_81 |  | 81 | 82 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_4201-13_1_4_line_82 |  | 82 | 83 | 0.023218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4201-13_1_4_line_83 |  | 83 | 84 | 0.006581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_4201-13_1_4_line_84 |  | 83 | 85 | 0.024479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4201-13_1_4_line_85 |  | 84 | 87 | 0.015026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4201-13_1_4_line_86 |  | 84 | 86 | 0.0064012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4201-13_1_4_line_87 |  | 85 | 88 | 0.012552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4201-13_1_4_line_88 |  | 88 | 89 | 0.00086126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4201-13_1_4_line_89 |  | 89 | 90 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-13_1_4_trafo_147 | 0.63 MVA 20/0.4 kV | 91 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2655239.592 | 1248938.3288 | 2655224.5977 | 1248920.1292
1 | 2655239.592 | 1248938.3288 | 2655234.9447 | 1248941.1319 | 2655216.1721 | 1248942.5818
2 | 2655211.2385 | 1248903.9143 | 2655224.5977 | 1248920.1292
3 | 2655216.1721 | 1248942.5818 | 2655186.8005 | 1248944.8505
4 | 2655427.4944 | 1248802.6887 | 2655427.2315 | 1248793.2164
5 | 2655427.4944 | 1248802.6887 | 2655409.5041 | 1248802.1355
6 | 2655427.2315 | 1248793.2164 | 2655427.1238 | 1248789.3355
7 | 2655409.5041 | 1248802.1355 | 2655385.3878 | 1248801.394
8 | 2655192.1798 | 1248880.8035 | 2655166.5647 | 1248879.9597
9 | 2655192.1798 | 1248880.8035 | 2655193.509 | 1248882.3948
10 | 2655192.1798 | 1248880.8035 | 2655171.9149 | 1248850.6054 | 2655157.484 | 1248830.828
11 | 2655166.5647 | 1248879.9597 | 2655149.5626 | 1248879.3995
12 | 2655193.509 | 1248882.3948 | 2655184.1016 | 1248889.5899 | 2655173.2668 | 1248897.653
13 | 2655193.509 | 1248882.3948 | 2655200.6444 | 1248891.0555
14 | 2655193.509 | 1248882.3948 | 2655195.5549 | 1248880.8238 | 2655199.3784 | 1248878.0909
15 | 2655148.3245 | 1248818.275 | 2655157.484 | 1248830.828
16 | 2655199.3784 | 1248878.0909 | 2655190.1326 | 1248865.4962 | 2655183.6165 | 1248855.5423
17 | 2655199.3784 | 1248878.0909 | 2655222.7491 | 1248859.8429
18 | 2655199.3784 | 1248878.0909 | 2655208.295 | 1248887.9557
19 | 2655225.6263 | 1248857.5964 | 2655222.7491 | 1248859.8429
20 | 2655232.2657 | 1248914.3449 | 2655226.8449 | 1248908.4785 | 2655208.295 | 1248887.9557
21 | 2655266.0087 | 1248950.8612 | 2655244.5845 | 1248927.6761
22 | 2655266.0087 | 1248950.8612 | 2655280.8823 | 1248934.7641
23 | 2655232.2657 | 1248914.3449 | 2655244.5845 | 1248927.6761
24 | 2655146.9054 | 1248798.7373 | 2655153.4385 | 1248808.3157 | 2655155.8693 | 1248812.1261
25 | 2655146.9054 | 1248798.7373 | 2655140.1949 | 1248787.1225 | 2655139.4108 | 1248785.9296
26 | 2655146.9054 | 1248798.7373 | 2655152.2304 | 1248796.1406 | 2655168.091 | 1248796.5886
27 | 2655165.5957 | 1248827.3728 | 2655155.8693 | 1248812.1261
28 | 2655124.7275 | 1248759.015 | 2655125.6806 | 1248762.8932 | 2655127.0879 | 1248766.6533 | 2655130.6793 | 1248772.6463 | 2655139.4108 | 1248785.9296
29 | 2655192.413 | 1248797.2757 | 2655168.091 | 1248796.5886
30 | 2655173.2668 | 1248897.653 | 2655163.7601 | 1248904.7278
31 | 2655211.2385 | 1248903.9143 | 2655200.6444 | 1248891.0555
32 | 2655265.8953 | 1248750.0336 | 2655269.3805 | 1248749.912
33 | 2655265.8953 | 1248750.0336 | 2655247.5627 | 1248750.6966 | 2655247.4583 | 1248750.6932
34 | 2655302.6184 | 1248744.1385 | 2655270.926 | 1248749.8581 | 2655269.3805 | 1248749.912
35 | 2655247.4583 | 1248750.6932 | 2655196.2163 | 1248749.0054
36 | 2655124.7275 | 1248759.015 | 2655126.3017 | 1248756.1944 | 2655129.2795 | 1248754.2874 | 2655131.0204 | 1248753.8366
37 | 2655148.3245 | 1248818.275 | 2655142.8906 | 1248817.9687 | 2655133.9127 | 1248817.9408
38 | 2655133.9127 | 1248817.9408 | 2655118.4071 | 1248817.8873
39 | 2655184.4739 | 1248945.0302 | 2655186.8005 | 1248944.8505
40 | 2655176.2686 | 1248945.6639 | 2655161.3582 | 1248946.8156
41 | 2655184.4739 | 1248945.0302 | 2655176.2686 | 1248945.6639
42 | 2655312.2651 | 1248886.5679 | 2655300.9827 | 1248881.5293
43 | 2655291.6304 | 1248877.3527 | 2655300.9827 | 1248881.5293
44 | 2655348.7956 | 1248859.3907 | 2655344.9083 | 1248880.3968
45 | 2655348.7956 | 1248859.3907 | 2655349.4903 | 1248855.6364
46 | 2655426.5519 | 1248768.7237 | 2655427.1238 | 1248789.3355
47 | 2655372.0675 | 1248800.9845 | 2655385.3878 | 1248801.394
48 | 2655143.9878 | 1248879.2159 | 2655149.5626 | 1248879.3995
49 | 2655233.5457 | 1248851.4129 | 2655225.6263 | 1248857.5964
50 | 2655192.413 | 1248797.2757 | 2655200.3297 | 1248797.4993
51 | 2655302.6184 | 1248744.1385 | 2655345.419 | 1248731.0843
52 | 2655233.5457 | 1248851.4129 | 2655249.5767 | 1248858.5721
53 | 2655233.5457 | 1248851.4129 | 2655236.1762 | 1248847.5006
54 | 2655258.3866 | 1248862.5065 | 2655249.5767 | 1248858.5721
55 | 2655243.0886 | 1248837.2198 | 2655236.1762 | 1248847.5006
56 | 2655258.3866 | 1248862.5065 | 2655274.4715 | 1248869.6897
57 | 2655252.9124 | 1248822.609 | 2655243.0886 | 1248837.2198
58 | 2655290.9721 | 1248877.0587 | 2655274.4715 | 1248869.6897
59 | 2655268.5005 | 1248799.4251 | 2655252.9124 | 1248822.609
60 | 2655426.5519 | 1248768.7237 | 2655426.4431 | 1248764.8027
61 | 2655425.9671 | 1248747.6524 | 2655426.4431 | 1248764.8027
62 | 2655425.9671 | 1248747.6524 | 2655425.866 | 1248744.0075
63 | 2655353.1384 | 1248728.4212 | 2655355.5048 | 1248737.0047 | 2655357.871 | 1248745.6105 | 2655357.8133 | 1248747.2324
64 | 2655353.1384 | 1248728.4212 | 2655345.419 | 1248731.0843
65 | 2655357.8133 | 1248747.2324 | 2655357.5177 | 1248755.5441
66 | 2655345.419 | 1248731.0843 | 2655342.4152 | 1248703.7278
67 | 2655291.6304 | 1248877.3527 | 2655290.9721 | 1248877.0587
68 | 2655268.5005 | 1248799.4251 | 2655277.8873 | 1248785.8585
69 | 2655268.5005 | 1248799.4251 | 2655283.1775 | 1248799.6125
70 | 2655268.5005 | 1248799.4251 | 2655254.8317 | 1248799.0389
71 | 2655365.8097 | 1248785.7621 | 2655365.8556 | 1248780.8536 | 2655357.318 | 1248761.1604 | 2655357.5177 | 1248755.5441
72 | 2655123.5305 | 1248878.542 | 2655113.3708 | 1248878.2073
73 | 2655143.9878 | 1248879.2159 | 2655123.5305 | 1248878.542
74 | 2655218.495 | 1248798.0125 | 2655225.8485 | 1248798.2202
75 | 2655241.6367 | 1248798.6662 | 2655225.8485 | 1248798.2202
76 | 2655218.495 | 1248798.0125 | 2655200.3297 | 1248797.4993
77 | 2655241.6367 | 1248798.6662 | 2655254.8317 | 1248799.0389
78 | 2655283.1775 | 1248799.6125 | 2655294.0699 | 1248799.7516
79 | 2655312.0712 | 1248799.9814 | 2655294.0699 | 1248799.7516
80 | 2655312.0712 | 1248799.9814 | 2655324.4533 | 1248800.1395
81 | 2655335.8551 | 1248800.2851 | 2655324.4533 | 1248800.1395
82 | 2655359.0717 | 1248800.5816 | 2655335.8551 | 1248800.2851
83 | 2655359.0717 | 1248800.5816 | 2655365.6694 | 1248800.7877
84 | 2655359.0717 | 1248800.5816 | 2655355.0065 | 1248824.7204
85 | 2655365.6694 | 1248800.7877 | 2655365.7443 | 1248792.7607 | 2655365.8097 | 1248785.7621
86 | 2655365.6694 | 1248800.7877 | 2655372.0675 | 1248800.9845
87 | 2655355.0065 | 1248824.7204 | 2655352.9321 | 1248837.0382 | 2655352.921 | 1248837.098
88 | 2655352.7643 | 1248837.9449 | 2655352.921 | 1248837.098
89 | 2655352.7643 | 1248837.9449 | 2655349.4903 | 1248855.6364

## bus_geodata
| x | y | coords
0 | 2655239.592 | 1248938.3288
1 | 2655224.5977 | 1248920.1292
2 | 2655216.1721 | 1248942.5818
3 | 2655427.4944 | 1248802.6887
4 | 2655427.2315 | 1248793.2164
5 | 2655409.5041 | 1248802.1355
6 | 2655192.1798 | 1248880.8035
7 | 2655166.5647 | 1248879.9597
8 | 2655193.509 | 1248882.3948
9 | 2655157.484 | 1248830.828
10 | 2655199.3784 | 1248878.0909
11 | 2655183.6165 | 1248855.5423
12 | 2655222.7491 | 1248859.8429
13 | 2655208.295 | 1248887.9557
14 | 2655266.0087 | 1248950.8612
15 | 2655244.5845 | 1248927.6761
16 | 2655280.8823 | 1248934.7641
17 | 2655146.9054 | 1248798.7373
18 | 2655155.8693 | 1248812.1261
19 | 2655139.4108 | 1248785.9296
20 | 2655168.091 | 1248796.5886
21 | 2655173.2668 | 1248897.653
22 | 2655200.6444 | 1248891.0555
23 | 2655265.8953 | 1248750.0336
24 | 2655269.3805 | 1248749.912
25 | 2655247.4583 | 1248750.6932
26 | 2655124.7275 | 1248759.015
27 | 2655131.0204 | 1248753.8366
28 | 2655148.3245 | 1248818.275
29 | 2655133.9127 | 1248817.9408
30 | 2655211.2385 | 1248903.9143
31 | 2655186.8005 | 1248944.8505
32 | 2655161.3582 | 1248946.8156
33 | 2655176.2686 | 1248945.6639
34 | 2655312.2651 | 1248886.5679
35 | 2655300.9827 | 1248881.5293
36 | 2655344.9083 | 1248880.3968
37 | 2655348.7956 | 1248859.3907
38 | 2655427.1238 | 1248789.3355
39 | 2655385.3878 | 1248801.394
40 | 2655149.5626 | 1248879.3995
41 | 2655225.6263 | 1248857.5964
42 | 2655232.2657 | 1248914.3449
43 | 2655165.5957 | 1248827.3728
44 | 2655192.413 | 1248797.2757
45 | 2655163.7601 | 1248904.7278
46 | 2655302.6184 | 1248744.1385
47 | 2655196.2163 | 1248749.0054
48 | 2655118.4071 | 1248817.8873
49 | 2655233.5457 | 1248851.4129
50 | 2655249.5767 | 1248858.5721
51 | 2655236.1762 | 1248847.5006
52 | 2655258.3866 | 1248862.5065
53 | 2655243.0886 | 1248837.2198
54 | 2655274.4715 | 1248869.6897
55 | 2655252.9124 | 1248822.609
56 | 2655426.5519 | 1248768.7237
57 | 2655426.4431 | 1248764.8027
58 | 2655425.9671 | 1248747.6524
59 | 2655425.866 | 1248744.0075
60 | 2655353.1384 | 1248728.4212
61 | 2655357.8133 | 1248747.2324
62 | 2655345.419 | 1248731.0843
63 | 2655184.4739 | 1248945.0302
64 | 2655291.6304 | 1248877.3527
65 | 2655290.9721 | 1248877.0587
66 | 2655342.4152 | 1248703.7278
67 | 2655277.8873 | 1248785.8585
68 | 2655268.5005 | 1248799.4251
69 | 2655357.5177 | 1248755.5441
70 | 2655113.3708 | 1248878.2073
71 | 2655123.5305 | 1248878.542
72 | 2655143.9878 | 1248879.2159
73 | 2655225.8485 | 1248798.2202
74 | 2655218.495 | 1248798.0125
75 | 2655241.6367 | 1248798.6662
76 | 2655200.3297 | 1248797.4993
77 | 2655254.8317 | 1248799.0389
78 | 2655283.1775 | 1248799.6125
79 | 2655294.0699 | 1248799.7516
80 | 2655312.0712 | 1248799.9814
81 | 2655324.4533 | 1248800.1395
82 | 2655335.8551 | 1248800.2851
83 | 2655359.0717 | 1248800.5816
84 | 2655365.6694 | 1248800.7877
85 | 2655355.0065 | 1248824.7204
86 | 2655372.0675 | 1248800.9845
87 | 2655365.8097 | 1248785.7621
88 | 2655352.921 | 1248837.098
89 | 2655352.7643 | 1248837.9449
90 | 2655349.4903 | 1248855.6364
91 | 2655268.5005 | 1248799.4251

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1