## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-31_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4201-31_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4201-31_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4201-31_0_4_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_4201-31_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4201-31_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4201-31_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_4201-31_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4201-31_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4201-31_0_4_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_4201-31_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_4201-31_0_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_4201-31_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4201-31_0_4_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_4201-31_0_4_node_72 | 0.4 | n |  | TRUE
15 | bus_LV_4201-31_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4201-31_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_4201-31_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_4201-31_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4201-31_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_4201-31_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_4201-31_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4201-31_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4201-31_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_4201-31_0_4_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_4201-31_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_4201-31_0_4_node_94 | 0.4 | n |  | TRUE
27 | bus_LV_4201-31_0_4_node_99 | 0.4 | n |  | TRUE
28 | bus_LV_4201-31_0_4_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_4201-31_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4201-31_0_4_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_4201-31_0_4_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_4201-31_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_4201-31_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_4201-31_0_4_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4201-31_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4201-31_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4201-31_0_4_node_76 | 0.4 | n |  | TRUE
38 | bus_LV_4201-31_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4201-31_0_4_node_96 | 0.4 | n |  | TRUE
40 | bus_LV_4201-31_0_4_node_66 | 0.4 | n |  | TRUE
41 | bus_LV_4201-31_0_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_4201-31_0_4_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4201-31_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4201-31_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_4201-31_0_4_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_4201-31_0_4_node_104 | 0.4 | n |  | TRUE
47 | bus_LV_4201-31_0_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_4201-31_0_4_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_4201-31_0_4_node_98 | 0.4 | n |  | TRUE
50 | bus_LV_4201-31_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4201-31_0_4_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_4201-31_0_4_node_93 | 0.4 | n |  | TRUE
53 | bus_LV_4201-31_0_4_node_83 | 0.4 | n |  | TRUE
54 | bus_LV_4201-31_0_4_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_4201-31_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_4201-31_0_4_node_19 | 0.4 | n |  | TRUE
57 | bus_LV_4201-31_0_4_node_20 | 0.4 | n |  | TRUE
58 | bus_LV_4201-31_0_4_node_21 | 0.4 | n |  | TRUE
59 | bus_LV_4201-31_0_4_node_22 | 0.4 | n |  | TRUE
60 | bus_LV_4201-31_0_4_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_4201-31_0_4_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_4201-31_0_4_node_97 | 0.4 | n |  | TRUE
63 | bus_LV_4201-31_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_4201-31_0_4_node_103 | 0.4 | n |  | TRUE
65 | bus_LV_4201-31_0_4_node_101 | 0.4 | n |  | TRUE
66 | bus_LV_4201-31_0_4_node_39 | 0.4 | n |  | TRUE
67 | bus_LV_4201-31_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_4201-31_0_4_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4201-31_0_4_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4201-31_0_4_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4201-31_0_4_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_4201-31_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4201-31_0_4_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_4201-31_0_4_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_4201-31_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_4201-31_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4201-31_0_4_node_46 | 0.4 | n |  | TRUE
78 | bus_LV_4201-31_0_4_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4201-31_0_4_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_4201-31_0_4_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_4201-31_0_4_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_4201-31_0_4_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4201-31_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4201-31_0_4_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_4201-31_0_4_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_4201-31_0_4_node_68 | 0.4 | n |  | TRUE
87 | bus_LV_4201-31_0_4_node_57 | 0.4 | n |  | TRUE
88 | bus_LV_4201-31_0_4_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_4201-31_0_4_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_4201-31_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_4201-31_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_4201-31_0_4_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_4201-31_0_4_node_73 | 0.4 | n |  | TRUE
94 | bus_LV_4201-31_0_4_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_4201-31_0_4_node_80 | 0.4 | n |  | TRUE
96 | bus_LV_4201-31_0_4_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_4201-31_0_4_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_4201-31_0_4_node_84 | 0.4 | n |  | TRUE
99 | bus_LV_4201-31_0_4_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4201-31_0_4_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_4201-31_0_4_node_106 | 0.4 | n |  | TRUE
102 | bus_LV_4201-31_0_4_node_95 | 0.4 | n |  | TRUE
103 | bus_MV_484_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-31_0_4_load_0 | 0 | 0.01423 | 0.0035663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-31_0_4_load_1 | 1 | 0.0022155 | 0.00055525 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-31_0_4_load_32 | 3 | 0.0055737 | 0.0013969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-31_0_4_load_29 | 6 | 0.0014666 | 0.00036756 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-31_0_4_load_23 | 10 | 0.003777 | 0.00094661 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-31_0_4_load_65 | 11 | 0.0030598 | 0.00076686 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-31_0_4_load_72 | 14 | 0.0044281 | 0.0011098 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-31_0_4_load_28 | 16 | 0.0028558 | 0.00071572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-31_0_4_load_38 | 17 | 0.0045776 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-31_0_4_load_47 | 19 | 0.0032013 | 0.00080232 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-31_0_4_load_44 | 20 | 0.0034553 | 0.00086597 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-31_0_4_load_100 | 24 | 0.0042139 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-31_0_4_load_94 | 26 | 0.032101 | 0.0080453 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-31_0_4_load_99 | 27 | 0.0061412 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-31_0_4_load_85 | 30 | 0.0074909 | 0.0018774 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-31_0_4_load_82 | 31 | 0.00907 | 0.0022732 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-31_0_4_load_37 | 33 | 0.004231 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-31_0_4_load_35 | 34 | 0.0046514 | 0.0011657 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-31_0_4_load_30 | 35 | 0.0036475 | 0.00091415 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-31_0_4_load_76 | 37 | 0.008316 | 0.0020842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-31_0_4_load_25 | 38 | 0.0063799 | 0.0015989 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-31_0_4_load_96 | 39 | 0.0063014 | 0.0015793 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-31_0_4_load_66 | 40 | 0.0013953 | 0.00034971 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-31_0_4_load_75 | 41 | 0.004708 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-31_0_4_load_26 | 42 | 0.0047281 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-31_0_4_load_36 | 43 | 0.0018396 | 0.00046106 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-31_0_4_load_45 | 44 | 0.00759 | 0.0019022 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-31_0_4_load_105 | 45 | 0.0089477 | 0.0022425 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-31_0_4_load_104 | 46 | 0.0043161 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-31_0_4_load_92 | 47 | 0.006619 | 0.0016589 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-31_0_4_load_108 | 48 | 0.0032039 | 0.00080297 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-31_0_4_load_98 | 49 | 0.011539 | 0.0028919 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-31_0_4_load_64 | 51 | 0.013252 | 0.0033213 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-31_0_4_load_93 | 52 | 0.0062243 | 0.0015599 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-31_0_4_load_83 | 53 | 0.0076799 | 0.0019248 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-31_0_4_load_107 | 54 | 0.007101 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-31_0_4_load_19 | 56 | 0.016243 | 0.0040708 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-31_0_4_load_22 | 59 | 0.0034304 | 0.00085974 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-31_0_4_load_27 | 60 | 0.0016227 | 0.00040669 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-31_0_4_load_97 | 62 | 0.0061061 | 0.0015303 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-31_0_4_load_34 | 63 | 0.0048947 | 0.0012267 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-31_0_4_load_101 | 65 | 0.010032 | 0.0025143 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-31_0_4_load_39 | 66 | 0.0031661 | 0.00079351 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-31_0_4_load_40 | 67 | 0.0061001 | 0.0015288 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-31_0_4_load_41 | 68 | 0.0087863 | 0.0022021 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-31_0_4_load_43 | 70 | 0.0036062 | 0.0009038 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-31_0_4_load_61 | 71 | 0.0069389 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-31_0_4_load_58 | 72 | 0.0052866 | 0.0013249 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-31_0_4_load_90 | 74 | 0.0056374 | 0.0014129 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-31_0_4_load_56 | 75 | 0.0054709 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4201-31_0_4_load_63 | 76 | 0.0048887 | 0.0012252 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4201-31_0_4_load_46 | 77 | 0.0097679 | 0.0024481 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4201-31_0_4_load_49 | 79 | 0.0045323 | 0.0011359 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4201-31_0_4_load_50 | 80 | 0.0042092 | 0.0010549 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4201-31_0_4_load_52 | 81 | 0.0032027 | 0.00080268 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4201-31_0_4_load_60 | 82 | 0.0022363 | 0.00056048 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4201-31_0_4_load_71 | 83 | 0.0108 | 0.0027067 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4201-31_0_4_load_67 | 85 | 0.012452 | 0.0031207 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4201-31_0_4_load_57 | 87 | 0.0053111 | 0.0013311 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4201-31_0_4_load_59 | 88 | 0.0045856 | 0.0011493 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4201-31_0_4_load_91 | 89 | 0.0060333 | 0.0015121 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4201-31_0_4_load_79 | 91 | 0.0095958 | 0.0024049 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4201-31_0_4_load_69 | 92 | 0.014945 | 0.0037455 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4201-31_0_4_load_78 | 94 | 0.007784 | 0.0019508 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4201-31_0_4_load_80 | 95 | 0.0077357 | 0.0019387 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4201-31_0_4_load_81 | 96 | 0.0079661 | 0.0019965 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4201-31_0_4_load_86 | 97 | 0.0049394 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4201-31_0_4_load_106 | 101 | 0.0048755 | 0.0012219 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4201-31_0_4_load_95 | 102 | 0.0049195 | 0.001233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-31_0_4_line_0 |  | 0 | 1 | 0.018561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-31_0_4_line_1 |  | 1 | 2 | 0.019126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-31_0_4_line_2 |  | 2 | 3 | 0.015818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-31_0_4_line_3 |  | 3 | 32 | 0.022817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-31_0_4_line_4 |  | 4 | 5 | 0.017936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-31_0_4_line_5 |  | 4 | 6 | 0.045979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-31_0_4_line_6 |  | 5 | 7 | 0.032273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4201-31_0_4_line_7 |  | 6 | 35 | 0.025969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-31_0_4_line_8 |  | 7 | 11 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4201-31_0_4_line_9 |  | 8 | 9 | 0.007969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4201-31_0_4_line_10 |  | 8 | 10 | 0.02832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4201-31_0_4_line_11 |  | 9 | 36 | 0.012627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4201-31_0_4_line_12 |  | 9 | 37 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4201-31_0_4_line_13 |  | 11 | 40 | 0.008406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4201-31_0_4_line_14 |  | 12 | 13 | 0.011142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-31_0_4_line_15 |  | 12 | 14 | 0.022005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-31_0_4_line_16 |  | 13 | 41 | 0.015859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4201-31_0_4_line_17 |  | 15 | 16 | 0.0084944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4201-31_0_4_line_18 |  | 15 | 17 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4201-31_0_4_line_19 |  | 16 | 42 | 0.0027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4201-31_0_4_line_20 |  | 17 | 43 | 0.0031971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-31_0_4_line_21 |  | 18 | 19 | 0.04175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4201-31_0_4_line_22 |  | 18 | 20 | 0.0077895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4201-31_0_4_line_23 |  | 19 | 22 | 0.016453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4201-31_0_4_line_24 |  | 20 | 44 | 0.0043539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-31_0_4_line_25 |  | 21 | 22 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4201-31_0_4_line_26 |  | 21 | 23 | 0.022871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4201-31_0_4_line_27 |  | 21 | 24 | 0.011126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4201-31_0_4_line_28 |  | 22 | 28 | 0.018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-31_0_4_line_29 |  | 23 | 49 | 0.016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4201-31_0_4_line_30 |  | 23 | 50 | 0.015481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4201-31_0_4_line_31 |  | 24 | 51 | 0.0081973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4201-31_0_4_line_32 |  | 25 | 26 | 0.017871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4201-31_0_4_line_33 |  | 25 | 27 | 0.015348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4201-31_0_4_line_34 |  | 26 | 52 | 0.00013175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-31_0_4_line_35 |  | 28 | 48 | 0.004211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-31_0_4_line_36 |  | 29 | 30 | 0.010766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4201-31_0_4_line_37 |  | 29 | 31 | 0.017171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4201-31_0_4_line_38 |  | 30 | 47 | 0.00032561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4201-31_0_4_line_39 |  | 31 | 53 | 0.009019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4201-31_0_4_line_40 |  | 32 | 58 | 0.002449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4201-31_0_4_line_41 |  | 33 | 34 | 0.014668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4201-31_0_4_line_42 |  | 34 | 43 | 0.01165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4201-31_0_4_line_43 |  | 35 | 36 | 0.010379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-31_0_4_line_44 |  | 36 | 59 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4201-31_0_4_line_45 |  | 37 | 61 | 0.008505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-31_0_4_line_46 |  | 38 | 39 | 0.006548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4201-31_0_4_line_47 |  | 39 | 62 | 0.0061837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4201-31_0_4_line_48 |  | 41 | 84 | 0.0067261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4201-31_0_4_line_49 |  | 42 | 60 | 0.012747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-31_0_4_line_50 |  | 44 | 77 | 0.017689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4201-31_0_4_line_51 |  | 45 | 46 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-31_0_4_line_52 |  | 46 | 101 | 0.0091777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-31_0_4_line_53 |  | 49 | 62 | 0.0086279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4201-31_0_4_line_54 |  | 50 | 78 | 0.017046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4201-31_0_4_line_55 |  | 50 | 79 | 0.005927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-31_0_4_line_56 |  | 51 | 73 | 0.0032701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_4201-31_0_4_line_57 |  | 52 | 88 | 0.0053559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4201-31_0_4_line_58 |  | 53 | 98 | 0.0026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-31_0_4_line_59 |  | 54 | 55 | 0.079513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4201-31_0_4_line_60 |  | 55 | 86 | 0.042729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4201-31_0_4_line_61 |  | 56 | 57 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4201-31_0_4_line_62 |  | 57 | 58 | 0.012252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4201-31_0_4_line_63 |  | 57 | 59 | 0.0055196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4201-31_0_4_line_64 |  | 58 | 60 | 0.01324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4201-31_0_4_line_65 |  | 61 | 94 | 0.016857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4201-31_0_4_line_66 |  | 61 | 91 | 0.012803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4201-31_0_4_line_67 |  | 63 | 64 | 0.0089718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4201-31_0_4_line_68 |  | 64 | 65 | 0.014542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-31_0_4_line_69 |  | 65 | 100 | 0.014699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4201-31_0_4_line_70 |  | 66 | 67 | 0.0060083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4201-31_0_4_line_71 |  | 66 | 68 | 0.0050794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4201-31_0_4_line_72 |  | 67 | 69 | 0.0055746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4201-31_0_4_line_73 |  | 68 | 70 | 0.0040444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4201-31_0_4_line_74 |  | 69 | 71 | 0.013588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4201-31_0_4_line_75 |  | 69 | 72 | 0.0042976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4201-31_0_4_line_76 |  | 70 | 73 | 0.0066591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4201-31_0_4_line_77 |  | 71 | 74 | 0.0003721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4201-31_0_4_line_78 |  | 72 | 75 | 0.0068619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4201-31_0_4_line_79 |  | 73 | 76 | 0.0079791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4201-31_0_4_line_80 |  | 74 | 89 | 1.2858e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4201-31_0_4_line_81 |  | 75 | 87 | 0.0088242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4201-31_0_4_line_82 |  | 76 | 90 | 0.012896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_4201-31_0_4_line_83 |  | 78 | 83 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4201-31_0_4_line_84 |  | 79 | 80 | 0.025991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4201-31_0_4_line_85 |  | 80 | 81 | 0.0077321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4201-31_0_4_line_86 |  | 81 | 82 | 0.00069736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4201-31_0_4_line_87 |  | 83 | 84 | 0.012932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4201-31_0_4_line_88 |  | 84 | 93 | 0.003941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4201-31_0_4_line_89 |  | 85 | 86 | 0.015049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4201-31_0_4_line_90 |  | 86 | 92 | 0.006806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4201-31_0_4_line_91 |  | 87 | 88 | 0.004971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4201-31_0_4_line_92 |  | 89 | 102 | 0.00021518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4201-31_0_4_line_93 |  | 90 | 91 | 0.01515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4201-31_0_4_line_94 |  | 92 | 93 | 0.016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4201-31_0_4_line_95 |  | 94 | 95 | 0.010635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4201-31_0_4_line_96 |  | 95 | 96 | 0.0077347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4201-31_0_4_line_97 |  | 96 | 97 | 0.0063975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4201-31_0_4_line_98 |  | 97 | 98 | 0.0055748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4201-31_0_4_line_99 |  | 98 | 99 | 0.006067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4201-31_0_4_line_100 |  | 99 | 100 | 0.01345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4201-31_0_4_line_101 |  | 99 | 101 | 0.019129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-31_0_4_trafo_79 | 0.63 MVA 20/0.4 kV | 103 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2655987.7925 | 1248678.8015 | 2656004.6693 | 1248671.0755
1 | 2656023.6371 | 1248669.5647 | 2656014.7593 | 1248669.3029 | 2656004.6693 | 1248671.0755 | 2656004.6693 | 1248671.0755
2 | 2656023.6371 | 1248669.5647 | 2656039.3106 | 1248671.6973
3 | 2656062.1006 | 1248672.1966 | 2656042.1665 | 1248672.0859 | 2656039.3106 | 1248671.6973
4 | 2656129.6714 | 1248632.842 | 2656146.9543 | 1248637.8201
5 | 2656129.6714 | 1248632.842 | 2656129.075 | 1248638.4068 | 2656130.9016 | 1248642.4824 | 2656130.0409 | 1248646.4548 | 2656127.3855 | 1248649.365 | 2656124.3558 | 1248653.5281 | 2656122.5729 | 1248658.3923 | 2656122.1765 | 1248663.581 | 2656121.883 | 1248667.4587 | 2656114.3923 | 1248663.4629
6 | 2656146.9543 | 1248637.8201 | 2656149.0177 | 1248638.4178 | 2656147.2312 | 1248641.2806 | 2656155.5211 | 1248646.2069 | 2656154.6701 | 1248651.5358 | 2656151.1389 | 1248657.6288 | 2656155.1256 | 1248660.0571
7 | 2656114.3923 | 1248663.4629 | 2656113.9392 | 1248664.2591 | 2656109.4553 | 1248671.2771 | 2656107.8822 | 1248671.5401 | 2656106.6517 | 1248673.0962 | 2656104.1711 | 1248679.8885 | 2656102.1438 | 1248679.4691 | 2656098.4433 | 1248680.5131
8 | 2656155.1256 | 1248660.0571 | 2656150.6441 | 1248667.6088 | 2656150.4602 | 1248672.6772
9 | 2656099.4448 | 1248700.5469 | 2656094.0714 | 1248694.6476
10 | 2656099.4448 | 1248700.5469 | 2656105.7187 | 1248696.6814 | 2656111.1765 | 1248696.0548 | 2656116.9024 | 1248691.05 | 2656120.7081 | 1248684.1819
11 | 2656088.4547 | 1248683.3312 | 2656094.0714 | 1248694.6476
12 | 2656094.0714 | 1248694.6476 | 2656085.5279 | 1248701.3603 | 2656080.675 | 1248710.565
13 | 2656146.5161 | 1248680.1005 | 2656150.4602 | 1248672.6772
14 | 2656115.0758 | 1248718.0846 | 2656115.975 | 1248729.1896
15 | 2656115.0758 | 1248718.0846 | 2656121.2354 | 1248718.3097 | 2656123.662 | 1248712.4397 | 2656124.6143 | 1248708.3682 | 2656126.2759 | 1248705.9378 | 2656128.6298 | 1248706.1602
16 | 2656115.975 | 1248729.1896 | 2656124.7307 | 1248728.7722 | 2656131.8242 | 1248728.7252
17 | 2656072.4304 | 1248633.9124 | 2656070.2287 | 1248642.1165
18 | 2656072.4304 | 1248633.9124 | 2656062.5663 | 1248630.1499 | 2656061.2252 | 1248629.7618
19 | 2656070.2287 | 1248642.1165 | 2656069.5228 | 1248644.7473
20 | 2656061.2252 | 1248629.7618 | 2656058.1542 | 1248628.873
21 | 2656161.0886 | 1248797.3856 | 2656157.7428 | 1248796.6646 | 2656152.2158 | 1248795.8339 | 2656147.7007 | 1248798.9711 | 2656136.9902 | 1248797.7133 | 2656120.8615 | 1248794.4486
22 | 2656161.0886 | 1248797.3856 | 2656163.8244 | 1248790.0924
23 | 2656104.5571 | 1248794.671 | 2656116.3022 | 1248793.5258 | 2656120.8615 | 1248794.4486
24 | 2656163.8244 | 1248790.0924 | 2656165.3535 | 1248786.0159
25 | 2656104.5571 | 1248794.671 | 2656105.7592 | 1248788.1334 | 2656096.8536 | 1248781.2556
26 | 2656107.4479 | 1248761.2977 | 2656100.0778 | 1248772.4912 | 2656098.2928 | 1248775.1984 | 2656096.8536 | 1248781.2556
27 | 2656096.8536 | 1248781.2556 | 2656088.5834 | 1248773.8129
28 | 2656104.5571 | 1248794.671 | 2656105.7592 | 1248788.1334 | 2656111.1452 | 1248777.5327
29 | 2656107.4479 | 1248761.2977 | 2656106.3812 | 1248744.6303
30 | 2656107.4479 | 1248761.2977 | 2656116.3397 | 1248756.8676 | 2656121.8293 | 1248756.0746
31 | 2656082.4903 | 1248768.3295 | 2656088.5834 | 1248773.8129
32 | 2656011.9434 | 1248797.0862 | 2656029.025 | 1248791.8348
33 | 2656011.9434 | 1248797.0862 | 2656012.3178 | 1248792.6312 | 2656009.5846 | 1248782.1034
34 | 2656029.025 | 1248791.8348 | 2656029.151 | 1248791.7961
35 | 2656111.1452 | 1248777.5327 | 2656114.9564 | 1248779.3477
36 | 2656004.3558 | 1248739.4195 | 2656004.7315 | 1248741.2131 | 2656007.5173 | 1248749.7012
37 | 2656004.3558 | 1248739.4195 | 2656018.2638 | 1248733.947 | 2656020.2784 | 1248733.003
38 | 2656007.5173 | 1248749.7012 | 2656007.6189 | 1248750.0106
39 | 2656020.2784 | 1248733.003 | 2656028.4453 | 1248729.1761
40 | 2656062.1006 | 1248672.1966 | 2656062.7874 | 1248669.8459
41 | 2656032.7952 | 1248621.8483 | 2656041.2395 | 1248623.9775 | 2656046.9639 | 1248625.6342
42 | 2656058.1542 | 1248628.873 | 2656046.9639 | 1248625.6342
43 | 2656088.4547 | 1248683.3312 | 2656098.4433 | 1248680.5131
44 | 2656088.4547 | 1248683.3312 | 2656085.1197 | 1248679.0634 | 2656080.7469 | 1248675.9421 | 2656079.6346 | 1248675.5217
45 | 2656076.7085 | 1248718.0884 | 2656080.675 | 1248710.565
46 | 2656105.4353 | 1248729.8489 | 2656105.0171 | 1248723.3142
47 | 2656105.4353 | 1248729.8489 | 2656105.8302 | 1248736.02
48 | 2656138.5501 | 1248728.6807 | 2656131.8242 | 1248728.7252
49 | 2656069.5228 | 1248644.7473 | 2656066.219 | 1248657.0585
50 | 2656171.6 | 1248769.466 | 2656166.8987 | 1248781.8967 | 2656165.3535 | 1248786.0159
51 | 2656006.8071 | 1248713.7501 | 2655996.4555 | 1248717.1101
52 | 2656006.8071 | 1248713.7501 | 2656015.5365 | 1248710.9166
53 | 2656105.8302 | 1248736.02 | 2656106.3812 | 1248744.6303
54 | 2656138.9008 | 1248755.4357 | 2656123.765 | 1248755.7927 | 2656121.8293 | 1248756.0746
55 | 2656121.8293 | 1248756.0746 | 2656122.4687 | 1248757.1258 | 2656127.1653 | 1248757.1332
56 | 2656080.0596 | 1248766.142 | 2656082.4903 | 1248768.3295
57 | 2656029.151 | 1248791.7961 | 2656034.2704 | 1248790.2222
58 | 2656030.8468 | 1248728.0507 | 2656028.4453 | 1248729.1761
59 | 2656190.7598 | 1248710.229 | 2656190.4048 | 1248716.6189 | 2656194.517 | 1248735.2707 | 2656198.1883 | 1248747.8586 | 2656208.4692 | 1248784.0809 | 2656209.7066 | 1248787.0837
60 | 2656190.7598 | 1248710.229 | 2656188.9278 | 1248709.9226 | 2656183.9281 | 1248710.0086 | 2656184.0085 | 1248717.4589 | 2656181.7771 | 1248717.8603 | 2656181.6276 | 1248724.0743 | 2656161.6153 | 1248723.4732
61 | 2656074.4716 | 1248673.57 | 2656073.54 | 1248677.0636 | 2656069.7808 | 1248691.7821
62 | 2656074.4716 | 1248673.57 | 2656068.0308 | 1248671.1408 | 2656062.7874 | 1248669.8459
63 | 2656074.4716 | 1248673.57 | 2656079.6346 | 1248675.5217
64 | 2656062.7874 | 1248669.8459 | 2656066.219 | 1248657.0585
65 | 2656076.7085 | 1248718.0884 | 2656059.9417 | 1248719.8277
66 | 2656076.7085 | 1248718.0884 | 2656076.8334 | 1248720.0465 | 2656077.518 | 1248730.8658
67 | 2656052.1017 | 1248703.4569 | 2656054.835 | 1248694.9116
68 | 2656052.1017 | 1248703.4569 | 2656046.6007 | 1248703.0602 | 2656037.6775 | 1248704.4213
69 | 2656041.2654 | 1248718.6761 | 2656037.6775 | 1248704.4213
70 | 2656067.4651 | 1248775.654 | 2656064.2403 | 1248778.0895 | 2656062.5159 | 1248779.036
71 | 2656067.4651 | 1248775.654 | 2656071.5183 | 1248772.5928
72 | 2656057.629 | 1248781.7184 | 2656062.5159 | 1248779.036
73 | 2656074.7457 | 1248770.1553 | 2656071.5183 | 1248772.5928
74 | 2656057.629 | 1248781.7184 | 2656056.2234 | 1248778.6475 | 2656054.2899 | 1248773.1032 | 2656052.7647 | 1248769.0407
75 | 2656057.629 | 1248781.7184 | 2656053.8593 | 1248783.782
76 | 2656080.0596 | 1248766.142 | 2656074.7457 | 1248770.1553
77 | 2656052.7647 | 1248769.0407 | 2656052.6339 | 1248768.6923
78 | 2656047.4565 | 1248786.1683 | 2656052.1184 | 1248784.7351 | 2656053.8593 | 1248783.782
79 | 2656080.0596 | 1248766.142 | 2656076.9956 | 1248758.7746
80 | 2656052.6339 | 1248768.6923 | 2656052.6294 | 1248768.6803
81 | 2656047.4565 | 1248786.1683 | 2656039.022 | 1248788.7614
82 | 2656076.4071 | 1248745.9491 | 2656076.0968 | 1248752.4062 | 2656076.9956 | 1248758.7746
83 | 2656138.9008 | 1248755.4357 | 2656138.7196 | 1248741.6111
84 | 2656127.1653 | 1248757.1332 | 2656136.5437 | 1248757.1479 | 2656136.801 | 1248766.6568 | 2656135.034 | 1248773.5331
85 | 2656135.034 | 1248773.5331 | 2656133.1095 | 1248781.0218
86 | 2656132.9359 | 1248781.6973 | 2656133.1095 | 1248781.0218
87 | 2656138.5501 | 1248728.6807 | 2656138.7196 | 1248741.6111
88 | 2656138.2324 | 1248724.7527 | 2656138.5501 | 1248728.6807
89 | 2656161.6153 | 1248723.4732 | 2656161.7459 | 1248738.5214
90 | 2656161.6153 | 1248723.4732 | 2656154.8195 | 1248723.8451
91 | 2656039.022 | 1248788.7614 | 2656034.2704 | 1248790.2222
92 | 2656052.6294 | 1248768.6803 | 2656052.5538 | 1248768.4789
93 | 2656076.4071 | 1248745.9491 | 2656076.9581 | 1248740.3838 | 2656077.6677 | 1248733.2301 | 2656077.518 | 1248730.8658
94 | 2656138.2324 | 1248724.7527 | 2656154.8195 | 1248723.8451
95 | 2656059.9417 | 1248719.8277 | 2656054.509 | 1248720.3913 | 2656052.5833 | 1248721.207 | 2656049.6442 | 1248722.1323
96 | 2656042.2665 | 1248724.4552 | 2656049.6442 | 1248722.1323
97 | 2656042.2665 | 1248724.4552 | 2656036.1643 | 1248726.3765
98 | 2656030.8468 | 1248728.0507 | 2656036.1643 | 1248726.3765
99 | 2656028.3393 | 1248722.5232 | 2656030.8468 | 1248728.0507
100 | 2656028.3393 | 1248722.5232 | 2656041.2654 | 1248718.6761
101 | 2656028.3393 | 1248722.5232 | 2656024.3966 | 1248713.8356 | 2656020.1921 | 1248711.283 | 2656015.5365 | 1248710.9166 | 2656015.5365 | 1248710.9166

## bus_geodata
| x | y | coords
0 | 2655987.7925 | 1248678.8015
1 | 2656004.6693 | 1248671.0755
2 | 2656023.6371 | 1248669.5647
3 | 2656039.3106 | 1248671.6973
4 | 2656129.6714 | 1248632.842
5 | 2656146.9543 | 1248637.8201
6 | 2656114.3923 | 1248663.4628
7 | 2656155.1256 | 1248660.0571
8 | 2656099.4448 | 1248700.5469
9 | 2656094.0714 | 1248694.6476
10 | 2656120.7081 | 1248684.1819
11 | 2656150.4602 | 1248672.6772
12 | 2656115.0758 | 1248718.0846
13 | 2656115.975 | 1248729.1896
14 | 2656128.6298 | 1248706.1602
15 | 2656072.4304 | 1248633.9124
16 | 2656070.2287 | 1248642.1165
17 | 2656061.2252 | 1248629.7618
18 | 2656161.0886 | 1248797.3856
19 | 2656120.8615 | 1248794.4486
20 | 2656163.8244 | 1248790.0924
21 | 2656096.8536 | 1248781.2556
22 | 2656104.5571 | 1248794.671
23 | 2656107.4479 | 1248761.2977
24 | 2656088.5834 | 1248773.8129
25 | 2656011.9434 | 1248797.0862
26 | 2656029.025 | 1248791.8348
27 | 2656009.5846 | 1248782.1034
28 | 2656111.1452 | 1248777.5327
29 | 2656004.3558 | 1248739.4195
30 | 2656007.5173 | 1248749.7012
31 | 2656020.2784 | 1248733.003
32 | 2656062.1006 | 1248672.1966
33 | 2656032.7952 | 1248621.8483
34 | 2656046.9639 | 1248625.6342
35 | 2656098.4433 | 1248680.5131
36 | 2656088.4547 | 1248683.3312
37 | 2656080.675 | 1248710.565
38 | 2656105.0171 | 1248723.3142
39 | 2656105.4353 | 1248729.8489
40 | 2656146.5161 | 1248680.1005
41 | 2656131.8242 | 1248728.7252
42 | 2656069.5228 | 1248644.7473
43 | 2656058.1542 | 1248628.873
44 | 2656165.3535 | 1248786.0159
45 | 2655996.4555 | 1248717.1101
46 | 2656006.8071 | 1248713.7501
47 | 2656007.6189 | 1248750.0106
48 | 2656114.9564 | 1248779.3477
49 | 2656106.3812 | 1248744.6303
50 | 2656121.8293 | 1248756.0746
51 | 2656082.4903 | 1248768.3295
52 | 2656029.151 | 1248791.7961
53 | 2656028.4453 | 1248729.1761
54 | 2656209.7066 | 1248787.0837
55 | 2656190.7598 | 1248710.229
56 | 2656069.7808 | 1248691.7821
57 | 2656074.4716 | 1248673.57
58 | 2656062.7874 | 1248669.8459
59 | 2656079.6346 | 1248675.5217
60 | 2656066.219 | 1248657.0585
61 | 2656076.7085 | 1248718.0884
62 | 2656105.8302 | 1248736.02
63 | 2656054.835 | 1248694.9116
64 | 2656052.1017 | 1248703.4569
65 | 2656037.6775 | 1248704.4213
66 | 2656067.4651 | 1248775.654
67 | 2656062.5159 | 1248779.036
68 | 2656071.5183 | 1248772.5928
69 | 2656057.629 | 1248781.7184
70 | 2656074.7457 | 1248770.1553
71 | 2656052.7647 | 1248769.0407
72 | 2656053.8593 | 1248783.782
73 | 2656080.0596 | 1248766.142
74 | 2656052.6339 | 1248768.6923
75 | 2656047.4565 | 1248786.1683
76 | 2656076.9956 | 1248758.7746
77 | 2656171.6 | 1248769.466
78 | 2656138.9008 | 1248755.4357
79 | 2656127.1653 | 1248757.1332
80 | 2656135.034 | 1248773.5331
81 | 2656133.1095 | 1248781.0218
82 | 2656132.9359 | 1248781.6973
83 | 2656138.7196 | 1248741.6111
84 | 2656138.5501 | 1248728.6807
85 | 2656161.7459 | 1248738.5214
86 | 2656161.6153 | 1248723.4732
87 | 2656039.022 | 1248788.7614
88 | 2656034.2704 | 1248790.2222
89 | 2656052.6294 | 1248768.6803
90 | 2656076.4071 | 1248745.9491
91 | 2656077.518 | 1248730.8658
92 | 2656154.8195 | 1248723.8451
93 | 2656138.2324 | 1248724.7527
94 | 2656059.9417 | 1248719.8277
95 | 2656049.6442 | 1248722.1323
96 | 2656042.2665 | 1248724.4552
97 | 2656036.1643 | 1248726.3765
98 | 2656030.8468 | 1248728.0507
99 | 2656028.3393 | 1248722.5232
100 | 2656041.2654 | 1248718.6761
101 | 2656015.5365 | 1248710.9166
102 | 2656052.5538 | 1248768.4789
103 | 2656076.7085 | 1248718.0884

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1