## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4201-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4201-4_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4201-4_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4201-4_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4201-4_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_4201-4_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_4201-4_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4201-4_0_5_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_4201-4_0_5_node_171 | 0.4 | n |  | TRUE
10 | bus_LV_4201-4_0_5_node_162 | 0.4 | n |  | TRUE
11 | bus_LV_4201-4_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4201-4_0_5_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_4201-4_0_5_node_96 | 0.4 | n |  | TRUE
14 | bus_LV_4201-4_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4201-4_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_4201-4_0_5_node_145 | 0.4 | n |  | TRUE
17 | bus_LV_4201-4_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4201-4_0_5_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4201-4_0_5_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_4201-4_0_5_node_159 | 0.4 | n |  | TRUE
21 | bus_LV_4201-4_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4201-4_0_5_node_94 | 0.4 | n |  | TRUE
23 | bus_LV_4201-4_0_5_node_165 | 0.4 | n |  | TRUE
24 | bus_LV_4201-4_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4201-4_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4201-4_0_5_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_4201-4_0_5_node_168 | 0.4 | n |  | TRUE
28 | bus_LV_4201-4_0_5_node_160 | 0.4 | n |  | TRUE
29 | bus_LV_4201-4_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4201-4_0_5_node_92 | 0.4 | n |  | TRUE
31 | bus_LV_4201-4_0_5_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_4201-4_0_5_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_4201-4_0_5_node_146 | 0.4 | n |  | TRUE
34 | bus_LV_4201-4_0_5_node_144 | 0.4 | n |  | TRUE
35 | bus_LV_4201-4_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_4201-4_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4201-4_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_4201-4_0_5_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_4201-4_0_5_node_167 | 0.4 | n |  | TRUE
40 | bus_LV_4201-4_0_5_node_166 | 0.4 | n |  | TRUE
41 | bus_LV_4201-4_0_5_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_4201-4_0_5_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_4201-4_0_5_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_4201-4_0_5_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_4201-4_0_5_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_4201-4_0_5_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_4201-4_0_5_node_151 | 0.4 | n |  | TRUE
48 | bus_LV_4201-4_0_5_node_172 | 0.4 | n |  | TRUE
49 | bus_LV_4201-4_0_5_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_4201-4_0_5_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_4201-4_0_5_node_129 | 0.4 | n |  | TRUE
52 | bus_LV_4201-4_0_5_node_169 | 0.4 | n |  | TRUE
53 | bus_LV_4201-4_0_5_node_170 | 0.4 | n |  | TRUE
54 | bus_LV_4201-4_0_5_node_130 | 0.4 | n |  | TRUE
55 | bus_LV_4201-4_0_5_node_113 | 0.4 | n |  | TRUE
56 | bus_LV_4201-4_0_5_node_112 | 0.4 | n |  | TRUE
57 | bus_LV_4201-4_0_5_node_123 | 0.4 | n |  | TRUE
58 | bus_LV_4201-4_0_5_node_128 | 0.4 | n |  | TRUE
59 | bus_LV_4201-4_0_5_node_125 | 0.4 | n |  | TRUE
60 | bus_LV_4201-4_0_5_node_118 | 0.4 | n |  | TRUE
61 | bus_LV_4201-4_0_5_node_29 | 0.4 | n |  | TRUE
62 | bus_LV_4201-4_0_5_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_4201-4_0_5_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_4201-4_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_4201-4_0_5_node_32 | 0.4 | n |  | TRUE
66 | bus_LV_4201-4_0_5_node_33 | 0.4 | n |  | TRUE
67 | bus_LV_4201-4_0_5_node_35 | 0.4 | n |  | TRUE
68 | bus_LV_4201-4_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_4201-4_0_5_node_34 | 0.4 | n |  | TRUE
70 | bus_LV_4201-4_0_5_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_4201-4_0_5_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4201-4_0_5_node_157 | 0.4 | n |  | TRUE
73 | bus_LV_4201-4_0_5_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_4201-4_0_5_node_142 | 0.4 | n |  | TRUE
75 | bus_LV_4201-4_0_5_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_4201-4_0_5_node_37 | 0.4 | n |  | TRUE
77 | bus_LV_4201-4_0_5_node_50 | 0.4 | n |  | TRUE
78 | bus_LV_4201-4_0_5_node_41 | 0.4 | n |  | TRUE
79 | bus_LV_4201-4_0_5_node_140 | 0.4 | n |  | TRUE
80 | bus_LV_4201-4_0_5_node_39 | 0.4 | n |  | TRUE
81 | bus_LV_4201-4_0_5_node_141 | 0.4 | n |  | TRUE
82 | bus_LV_4201-4_0_5_node_139 | 0.4 | n |  | TRUE
83 | bus_LV_4201-4_0_5_node_40 | 0.4 | n |  | TRUE
84 | bus_LV_4201-4_0_5_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4201-4_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_4201-4_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_4201-4_0_5_node_154 | 0.4 | n |  | TRUE
88 | bus_LV_4201-4_0_5_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4201-4_0_5_node_52 | 0.4 | n |  | TRUE
90 | bus_LV_4201-4_0_5_node_48 | 0.4 | n |  | TRUE
91 | bus_LV_4201-4_0_5_node_173 | 0.4 | n |  | TRUE
92 | bus_LV_4201-4_0_5_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4201-4_0_5_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_4201-4_0_5_node_149 | 0.4 | n |  | TRUE
95 | bus_LV_4201-4_0_5_node_57 | 0.4 | n |  | TRUE
96 | bus_LV_4201-4_0_5_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_4201-4_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_4201-4_0_5_node_153 | 0.4 | n |  | TRUE
99 | bus_LV_4201-4_0_5_node_42 | 0.4 | n |  | TRUE
100 | bus_LV_4201-4_0_5_node_43 | 0.4 | n |  | TRUE
101 | bus_LV_4201-4_0_5_node_44 | 0.4 | n |  | TRUE
102 | bus_LV_4201-4_0_5_node_45 | 0.4 | n |  | TRUE
103 | bus_LV_4201-4_0_5_node_46 | 0.4 | n |  | TRUE
104 | bus_LV_4201-4_0_5_node_60 | 0.4 | n |  | TRUE
105 | bus_LV_4201-4_0_5_node_62 | 0.4 | n |  | TRUE
106 | bus_LV_4201-4_0_5_node_59 | 0.4 | n |  | TRUE
107 | bus_LV_4201-4_0_5_node_63 | 0.4 | n |  | TRUE
108 | bus_LV_4201-4_0_5_node_53 | 0.4 | n |  | TRUE
109 | bus_LV_4201-4_0_5_node_54 | 0.4 | n |  | TRUE
110 | bus_LV_4201-4_0_5_node_55 | 0.4 | n |  | TRUE
111 | bus_LV_4201-4_0_5_node_56 | 0.4 | n |  | TRUE
112 | bus_LV_4201-4_0_5_node_58 | 0.4 | n |  | TRUE
113 | bus_LV_4201-4_0_5_node_138 | 0.4 | n |  | TRUE
114 | bus_LV_4201-4_0_5_node_137 | 0.4 | n |  | TRUE
115 | bus_LV_4201-4_0_5_node_66 | 0.4 | n |  | TRUE
116 | bus_LV_4201-4_0_5_node_82 | 0.4 | n |  | TRUE
117 | bus_LV_4201-4_0_5_node_156 | 0.4 | n |  | TRUE
118 | bus_LV_4201-4_0_5_node_136 | 0.4 | n |  | TRUE
119 | bus_LV_4201-4_0_5_node_135 | 0.4 | n |  | TRUE
120 | bus_LV_4201-4_0_5_node_71 | 0.4 | n |  | TRUE
121 | bus_LV_4201-4_0_5_node_81 | 0.4 | n |  | TRUE
122 | bus_LV_4201-4_0_5_node_155 | 0.4 | n |  | TRUE
123 | bus_LV_4201-4_0_5_node_120 | 0.4 | n |  | TRUE
124 | bus_LV_4201-4_0_5_node_119 | 0.4 | n |  | TRUE
125 | bus_LV_4201-4_0_5_node_70 | 0.4 | n |  | TRUE
126 | bus_LV_4201-4_0_5_node_80 | 0.4 | n |  | TRUE
127 | bus_LV_4201-4_0_5_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_4201-4_0_5_node_83 | 0.4 | n |  | TRUE
129 | bus_LV_4201-4_0_5_node_152 | 0.4 | n |  | TRUE
130 | bus_LV_4201-4_0_5_node_84 | 0.4 | n |  | TRUE
131 | bus_LV_4201-4_0_5_node_85 | 0.4 | n |  | TRUE
132 | bus_LV_4201-4_0_5_node_87 | 0.4 | n |  | TRUE
133 | bus_LV_4201-4_0_5_node_90 | 0.4 | n |  | TRUE
134 | bus_LV_4201-4_0_5_node_97 | 0.4 | n |  | TRUE
135 | bus_LV_4201-4_0_5_node_98 | 0.4 | n |  | TRUE
136 | bus_LV_4201-4_0_5_node_99 | 0.4 | n |  | TRUE
137 | bus_LV_4201-4_0_5_node_100 | 0.4 | n |  | TRUE
138 | bus_LV_4201-4_0_5_node_101 | 0.4 | n |  | TRUE
139 | bus_LV_4201-4_0_5_node_102 | 0.4 | n |  | TRUE
140 | bus_LV_4201-4_0_5_node_109 | 0.4 | n |  | TRUE
141 | bus_LV_4201-4_0_5_node_116 | 0.4 | n |  | TRUE
142 | bus_LV_4201-4_0_5_node_114 | 0.4 | n |  | TRUE
143 | bus_LV_4201-4_0_5_node_103 | 0.4 | n |  | TRUE
144 | bus_LV_4201-4_0_5_node_104 | 0.4 | n |  | TRUE
145 | bus_LV_4201-4_0_5_node_105 | 0.4 | n |  | TRUE
146 | bus_LV_4201-4_0_5_node_106 | 0.4 | n |  | TRUE
147 | bus_LV_4201-4_0_5_node_111 | 0.4 | n |  | TRUE
148 | bus_LV_4201-4_0_5_node_115 | 0.4 | n |  | TRUE
149 | bus_LV_4201-4_0_5_node_117 | 0.4 | n |  | TRUE
150 | bus_LV_4201-4_0_5_node_124 | 0.4 | n |  | TRUE
151 | bus_LV_4201-4_0_5_node_131 | 0.4 | n |  | TRUE
152 | bus_LV_4201-4_0_5_node_121 | 0.4 | n |  | TRUE
153 | bus_LV_4201-4_0_5_node_122 | 0.4 | n |  | TRUE
154 | bus_LV_4201-4_0_5_node_127 | 0.4 | n |  | TRUE
155 | bus_LV_4201-4_0_5_node_126 | 0.4 | n |  | TRUE
156 | bus_LV_4201-4_0_5_node_132 | 0.4 | n |  | TRUE
157 | bus_LV_4201-4_0_5_node_133 | 0.4 | n |  | TRUE
158 | bus_LV_4201-4_0_5_node_134 | 0.4 | n |  | TRUE
159 | bus_LV_4201-4_0_5_node_147 | 0.4 | n |  | TRUE
160 | bus_LV_4201-4_0_5_node_148 | 0.4 | n |  | TRUE
161 | bus_LV_4201-4_0_5_node_143 | 0.4 | n |  | TRUE
162 | bus_MV_484_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-4_0_5_load_0 | 0 | 0.023862 | 0.0059803 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-4_0_5_load_24 | 5 | 0.0051861 | 0.0012998 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-4_0_5_load_22 | 6 | 0.0063477 | 0.0015909 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-4_0_5_load_95 | 8 | 0.000258 | 6.4662e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-4_0_5_load_171 | 9 | 0.0028709 | 0.00071952 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-4_0_5_load_162 | 10 | 0.00040058 | 0.00010039 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-4_0_5_load_88 | 12 | 0.00033002 | 8.271e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-4_0_5_load_18 | 15 | 0.015782 | 0.0039552 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-4_0_5_load_27 | 19 | 0.076628 | 0.019205 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-4_0_5_load_159 | 20 | 0.002952 | 0.00073983 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-4_0_5_load_165 | 23 | 0.0014175 | 0.00035526 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-4_0_5_load_168 | 27 | 0.008117 | 0.0020343 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-4_0_5_load_160 | 28 | 0.0016179 | 0.00040549 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-4_0_5_load_92 | 30 | 0.00058708 | 0.00014714 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-4_0_5_load_86 | 31 | 0.00025758 | 6.4555e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-4_0_5_load_17 | 32 | 0.0096459 | 0.0024175 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-4_0_5_load_144 | 34 | 0.0079932 | 0.0020033 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-4_0_5_load_47 | 35 | 0.016083 | 0.0040309 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-4_0_5_load_20 | 36 | 0.016174 | 0.0040536 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-4_0_5_load_28 | 37 | 0.0035278 | 0.00088415 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-4_0_5_load_167 | 39 | 0.00072372 | 0.00018138 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-4_0_5_load_166 | 40 | 0.00069369 | 0.00017386 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-4_0_5_load_93 | 42 | 0.0012604 | 0.00031589 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-4_0_5_load_89 | 43 | 0.0034353 | 0.00086096 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-4_0_5_load_51 | 44 | 0.010615 | 0.0026605 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-4_0_5_load_21 | 46 | 0.018361 | 0.0046017 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-4_0_5_load_172 | 48 | 0.0081104 | 0.0020327 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-4_0_5_load_26 | 50 | 0.0016795 | 0.00042091 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-4_0_5_load_169 | 52 | 0.015267 | 0.0038263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-4_0_5_load_170 | 53 | 0.00098405 | 0.00024662 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-4_0_5_load_112 | 56 | 0.021675 | 0.0054322 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-4_0_5_load_125 | 59 | 0.0012539 | 0.00031427 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-4_0_5_load_118 | 60 | 0.001943 | 0.00048696 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-4_0_5_load_29 | 61 | 0.0041501 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-4_0_5_load_61 | 62 | 0.0018733 | 0.00046949 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-4_0_5_load_30 | 63 | 0.016432 | 0.0041184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-4_0_5_load_31 | 64 | 0.00035087 | 8.7936e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-4_0_5_load_33 | 66 | 0.0015853 | 0.00039733 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-4_0_5_load_72 | 68 | 0.0043308 | 0.0010854 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-4_0_5_load_74 | 71 | 0.00033789 | 8.4682e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-4_0_5_load_157 | 72 | 0.00028602 | 7.1684e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-4_0_5_load_158 | 75 | 0.0031641 | 0.000793 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-4_0_5_load_140 | 79 | 0.0033014 | 0.00082741 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-4_0_5_load_139 | 82 | 0.0066975 | 0.0016786 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-4_0_5_load_69 | 85 | 0.0034629 | 0.0008679 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-4_0_5_load_76 | 86 | 0.0015021 | 0.00037647 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-4_0_5_load_154 | 87 | 0.0044995 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-4_0_5_load_73 | 88 | 0.00032447 | 8.1319e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-4_0_5_load_52 | 89 | 0.0028321 | 0.00070979 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-4_0_5_load_48 | 90 | 0.0019107 | 0.00047886 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4201-4_0_5_load_173 | 91 | 0.011266 | 0.0028234 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4201-4_0_5_load_149 | 94 | 0.011256 | 0.0028211 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4201-4_0_5_load_57 | 95 | 0.0025116 | 0.00062947 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4201-4_0_5_load_68 | 96 | 0.0038233 | 0.0009582 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4201-4_0_5_load_75 | 97 | 0.00030976 | 7.7632e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4201-4_0_5_load_153 | 98 | 0.0056784 | 0.0014231 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4201-4_0_5_load_42 | 99 | 0.0042836 | 0.0010736 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4201-4_0_5_load_43 | 100 | 0.00089721 | 0.00022486 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4201-4_0_5_load_44 | 101 | 0.0019405 | 0.00048633 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4201-4_0_5_load_45 | 102 | 0.0027563 | 0.00069081 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4201-4_0_5_load_46 | 103 | 0.0024863 | 0.00062311 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4201-4_0_5_load_60 | 104 | 0.0022401 | 0.00056142 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4201-4_0_5_load_62 | 105 | 0.0025536 | 0.00064 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4201-4_0_5_load_59 | 106 | 0.0015913 | 0.00039882 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4201-4_0_5_load_63 | 107 | 0.0027505 | 0.00068935 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4201-4_0_5_load_53 | 108 | 0.004718 | 0.0011824 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4201-4_0_5_load_54 | 109 | 0.0023956 | 0.0006004 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4201-4_0_5_load_56 | 111 | 0.0024867 | 0.00062322 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4201-4_0_5_load_58 | 112 | 0.0015827 | 0.00039667 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4201-4_0_5_load_138 | 113 | 0.0010674 | 0.00026752 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4201-4_0_5_load_137 | 114 | 0.0010189 | 0.00025535 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4201-4_0_5_load_156 | 117 | 0.012039 | 0.0030173 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4201-4_0_5_load_136 | 118 | 0.0017781 | 0.00044562 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4201-4_0_5_load_135 | 119 | 0.00084058 | 0.00021067 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4201-4_0_5_load_71 | 120 | 0.011243 | 0.0028178 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4201-4_0_5_load_155 | 122 | 0.01764 | 0.0044211 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4201-4_0_5_load_120 | 123 | 0.0051831 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4201-4_0_5_load_119 | 124 | 0.0025421 | 0.0006371 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4201-4_0_5_load_70 | 125 | 0.0041111 | 0.0010303 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4201-4_0_5_load_80 | 126 | 0.012976 | 0.003252 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4201-4_0_5_load_107 | 127 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4201-4_0_5_load_83 | 128 | 0.0063468 | 0.0015907 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4201-4_0_5_load_152 | 129 | 0.0064818 | 0.0016245 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4201-4_0_5_load_84 | 130 | 0.00046898 | 0.00011754 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4201-4_0_5_load_85 | 131 | 0.0022784 | 0.00057103 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4201-4_0_5_load_87 | 132 | 0.0013471 | 0.00033762 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4201-4_0_5_load_90 | 133 | 0.0052117 | 0.0013062 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4201-4_0_5_load_97 | 134 | 0.0037823 | 0.00094794 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4201-4_0_5_load_98 | 135 | 0.001258 | 0.00031529 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4201-4_0_5_load_100 | 137 | 0.0014641 | 0.00036693 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4201-4_0_5_load_101 | 138 | 0.002154 | 0.00053985 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4201-4_0_5_load_102 | 139 | 0.0028865 | 0.00072344 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4201-4_0_5_load_109 | 140 | 0.0014319 | 0.00035887 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4201-4_0_5_load_114 | 142 | 0.0032981 | 0.00082657 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4201-4_0_5_load_103 | 143 | 0.0021498 | 0.0005388 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4201-4_0_5_load_104 | 144 | 0.0022325 | 0.00055952 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4201-4_0_5_load_105 | 145 | 0.0014528 | 0.0003641 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4201-4_0_5_load_106 | 146 | 0.0017298 | 0.00043354 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4201-4_0_5_load_111 | 147 | 0.0036674 | 0.00091914 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4201-4_0_5_load_115 | 148 | 0.0024603 | 0.00061662 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4201-4_0_5_load_117 | 149 | 0.0013173 | 0.00033014 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4201-4_0_5_load_124 | 150 | 0.0026838 | 0.00067262 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4201-4_0_5_load_131 | 151 | 0.0037224 | 0.00093291 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4201-4_0_5_load_121 | 152 | 0.001823 | 0.00045688 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4201-4_0_5_load_122 | 153 | 0.0023841 | 0.00059751 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4201-4_0_5_load_127 | 154 | 0.0019905 | 0.00049887 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4201-4_0_5_load_126 | 155 | 0.0027678 | 0.00069368 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4201-4_0_5_load_132 | 156 | 0.0064942 | 0.0016276 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4201-4_0_5_load_133 | 157 | 0.0024101 | 0.00060402 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4201-4_0_5_load_134 | 158 | 0.0024154 | 0.00060536 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4201-4_0_5_load_147 | 159 | 0.0033412 | 0.00083739 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4201-4_0_5_load_148 | 160 | 0.0077174 | 0.0019342 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4201-4_0_5_load_143 | 161 | 0.0078119 | 0.0019578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 160 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-4_0_5_line_0 |  | 0 | 1 | 0.012364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-4_0_5_line_1 |  | 1 | 2 | 0.030816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-4_0_5_line_2 |  | 1 | 3 | 0.066288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-4_0_5_line_3 |  | 1 | 4 | 0.10097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-4_0_5_line_4 |  | 2 | 5 | 0.018137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-4_0_5_line_5 |  | 2 | 6 | 0.03335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-4_0_5_line_6 |  | 3 | 9 | 0.00027057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4201-4_0_5_line_7 |  | 4 | 10 | 0.023318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-4_0_5_line_8 |  | 4 | 7 | 0.003612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4201-4_0_5_line_9 |  | 6 | 29 | 0.016179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4201-4_0_5_line_10 |  | 7 | 8 | 0.0095699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4201-4_0_5_line_11 |  | 8 | 13 | 0.023961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4201-4_0_5_line_12 |  | 10 | 30 | 0.0054282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4201-4_0_5_line_13 |  | 11 | 12 | 0.034534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4201-4_0_5_line_14 |  | 11 | 13 | 0.010742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-4_0_5_line_15 |  | 12 | 31 | 0.0070077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-4_0_5_line_16 |  | 14 | 15 | 0.012876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4201-4_0_5_line_17 |  | 14 | 16 | 0.006181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4201-4_0_5_line_18 |  | 15 | 32 | 0.028775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4201-4_0_5_line_19 |  | 16 | 33 | 0.032047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4201-4_0_5_line_20 |  | 16 | 34 | 0.01386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-4_0_5_line_21 |  | 17 | 18 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4201-4_0_5_line_22 |  | 17 | 19 | 0.030357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4201-4_0_5_line_23 |  | 18 | 20 | 0.024063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4201-4_0_5_line_24 |  | 19 | 37 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-4_0_5_line_25 |  | 20 | 38 | 0.025053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4201-4_0_5_line_26 |  | 21 | 22 | 0.031728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4201-4_0_5_line_27 |  | 21 | 23 | 0.026633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4201-4_0_5_line_28 |  | 22 | 39 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-4_0_5_line_29 |  | 22 | 40 | 0.018319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4201-4_0_5_line_30 |  | 22 | 41 | 0.016476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4201-4_0_5_line_31 |  | 24 | 25 | 0.058825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4201-4_0_5_line_32 |  | 24 | 26 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4201-4_0_5_line_33 |  | 24 | 27 | 0.038421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4201-4_0_5_line_34 |  | 25 | 28 | 0.035661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-4_0_5_line_35 |  | 26 | 44 | 0.034569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-4_0_5_line_36 |  | 29 | 49 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4201-4_0_5_line_37 |  | 29 | 50 | 0.016908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4201-4_0_5_line_38 |  | 30 | 133 | 0.004637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4201-4_0_5_line_39 |  | 31 | 130 | 0.017405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4201-4_0_5_line_40 |  | 32 | 45 | 0.03267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4201-4_0_5_line_41 |  | 33 | 159 | 0.014304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4201-4_0_5_line_42 |  | 33 | 74 | 0.030409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4201-4_0_5_line_43 |  | 34 | 161 | 0.017419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-4_0_5_line_44 |  | 35 | 36 | 0.001121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4201-4_0_5_line_45 |  | 36 | 45 | 0.030447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-4_0_5_line_46 |  | 37 | 61 | 0.036336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4201-4_0_5_line_47 |  | 38 | 73 | 0.011463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_4201-4_0_5_line_48 |  | 38 | 74 | 0.02019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4201-4_0_5_line_49 |  | 38 | 75 | 0.0073379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-4_0_5_line_50 |  | 41 | 42 | 0.017124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4201-4_0_5_line_51 |  | 41 | 43 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-4_0_5_line_52 |  | 43 | 133 | 0.1077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-4_0_5_line_53 |  | 44 | 62 | 0.01788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4201-4_0_5_line_54 |  | 45 | 46 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4201-4_0_5_line_55 |  | 46 | 47 | 0.019528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-4_0_5_line_56 |  | 47 | 48 | 0.007589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4201-4_0_5_line_57 |  | 49 | 51 | 0.045587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_4201-4_0_5_line_58 |  | 49 | 52 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-4_0_5_line_59 |  | 51 | 53 | 0.008681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4201-4_0_5_line_60 |  | 53 | 54 | 0.019047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_4201-4_0_5_line_61 |  | 54 | 55 | 0.010166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4201-4_0_5_line_62 |  | 55 | 56 | 0.034339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_4201-4_0_5_line_63 |  | 56 | 147 | 0.035665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4201-4_0_5_line_64 |  | 57 | 58 | 0.002071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4201-4_0_5_line_65 |  | 57 | 59 | 0.074582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4201-4_0_5_line_66 |  | 58 | 60 | 0.076878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4201-4_0_5_line_67 |  | 59 | 155 | 0.016248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4201-4_0_5_line_68 |  | 60 | 141 | 0.0022872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-4_0_5_line_69 |  | 61 | 62 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4201-4_0_5_line_70 |  | 63 | 64 | 0.0054165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4201-4_0_5_line_71 |  | 63 | 65 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4201-4_0_5_line_72 |  | 64 | 66 | 0.015514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4201-4_0_5_line_73 |  | 65 | 67 | 0.015758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4201-4_0_5_line_74 |  | 66 | 68 | 0.023454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4201-4_0_5_line_75 |  | 67 | 70 | 0.005323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4201-4_0_5_line_76 |  | 67 | 72 | 0.0091367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4201-4_0_5_line_77 |  | 69 | 70 | 0.008378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4201-4_0_5_line_78 |  | 69 | 71 | 0.026283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4201-4_0_5_line_79 |  | 71 | 88 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4201-4_0_5_line_80 |  | 73 | 78 | 0.011543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4201-4_0_5_line_81 |  | 73 | 79 | 0.0096476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4201-4_0_5_line_82 |  | 75 | 76 | 0.0090442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4201-4_0_5_line_83 |  | 76 | 77 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4201-4_0_5_line_84 |  | 77 | 89 | 0.027009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4201-4_0_5_line_85 |  | 77 | 90 | 0.018014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4201-4_0_5_line_86 |  | 78 | 86 | 0.01678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4201-4_0_5_line_87 |  | 78 | 87 | 0.03859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4201-4_0_5_line_88 |  | 79 | 82 | 0.017903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_4201-4_0_5_line_89 |  | 80 | 81 | 0.041004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4201-4_0_5_line_90 |  | 80 | 82 | 0.016304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4201-4_0_5_line_91 |  | 81 | 91 | 0.003604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4201-4_0_5_line_92 |  | 81 | 92 | 0.006197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4201-4_0_5_line_93 |  | 83 | 84 | 0.005275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4201-4_0_5_line_94 |  | 83 | 85 | 0.012074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4201-4_0_5_line_95 |  | 84 | 93 | 0.007503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_4201-4_0_5_line_96 |  | 84 | 95 | 0.042199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4201-4_0_5_line_97 |  | 85 | 96 | 0.021081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4201-4_0_5_line_98 |  | 86 | 97 | 0.0095287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4201-4_0_5_line_99 |  | 87 | 98 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4201-4_0_5_line_100 |  | 88 | 97 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4201-4_0_5_line_101 |  | 92 | 93 | 0.004994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4201-4_0_5_line_102 |  | 92 | 94 | 0.040132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4201-4_0_5_line_103 |  | 93 | 127 | 0.013292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4201-4_0_5_line_104 |  | 95 | 110 | 0.0037347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4201-4_0_5_line_105 |  | 96 | 125 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4201-4_0_5_line_106 |  | 99 | 100 | 0.0063924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4201-4_0_5_line_107 |  | 99 | 101 | 0.0066516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4201-4_0_5_line_108 |  | 100 | 102 | 0.0093388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4201-4_0_5_line_109 |  | 101 | 103 | 0.0094305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4201-4_0_5_line_110 |  | 102 | 104 | 0.0035038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4201-4_0_5_line_111 |  | 103 | 105 | 0.011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4201-4_0_5_line_112 |  | 104 | 106 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4201-4_0_5_line_113 |  | 105 | 107 | 0.0085396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4201-4_0_5_line_114 |  | 106 | 111 | 0.0050335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4201-4_0_5_line_115 |  | 108 | 109 | 0.00562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4201-4_0_5_line_116 |  | 108 | 110 | 0.022604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4201-4_0_5_line_117 |  | 109 | 111 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4201-4_0_5_line_118 |  | 110 | 112 | 0.0083736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4201-4_0_5_line_119 |  | 112 | 113 | 0.010568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4201-4_0_5_line_120 |  | 113 | 114 | 0.0041064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4201-4_0_5_line_121 |  | 114 | 139 | 0.011068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4201-4_0_5_line_122 |  | 115 | 116 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4201-4_0_5_line_123 |  | 115 | 117 | 0.023853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4201-4_0_5_line_124 |  | 116 | 120 | 0.012664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4201-4_0_5_line_125 |  | 116 | 121 | 0.004015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4201-4_0_5_line_126 |  | 117 | 122 | 0.024133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4201-4_0_5_line_127 |  | 118 | 119 | 0.0060289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4201-4_0_5_line_128 |  | 119 | 158 | 0.016045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4201-4_0_5_line_129 |  | 120 | 125 | 0.027728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4201-4_0_5_line_130 |  | 121 | 128 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4201-4_0_5_line_131 |  | 121 | 126 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4201-4_0_5_line_132 |  | 123 | 124 | 0.020877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4201-4_0_5_line_133 |  | 124 | 152 | 0.00069887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4201-4_0_5_line_134 |  | 127 | 145 | 0.0075409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
135 | LV_4201-4_0_5_line_135 |  | 128 | 129 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4201-4_0_5_line_136 |  | 130 | 131 | 0.018811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4201-4_0_5_line_137 |  | 131 | 132 | 0.002451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4201-4_0_5_line_138 |  | 134 | 135 | 0.016839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4201-4_0_5_line_139 |  | 134 | 136 | 0.0098315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4201-4_0_5_line_140 |  | 135 | 137 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4201-4_0_5_line_141 |  | 136 | 138 | 0.0045707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4201-4_0_5_line_142 |  | 136 | 139 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4201-4_0_5_line_143 |  | 137 | 140 | 0.008373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4201-4_0_5_line_144 |  | 138 | 141 | 0.028665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4201-4_0_5_line_145 |  | 141 | 142 | 0.0055687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4201-4_0_5_line_146 |  | 142 | 148 | 0.020357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4201-4_0_5_line_147 |  | 143 | 144 | 0.021601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
148 | LV_4201-4_0_5_line_148 |  | 143 | 145 | 0.019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
149 | LV_4201-4_0_5_line_149 |  | 144 | 146 | 0.0083112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
150 | LV_4201-4_0_5_line_150 |  | 146 | 147 | 0.021178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
151 | LV_4201-4_0_5_line_151 |  | 148 | 149 | 0.011018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4201-4_0_5_line_152 |  | 149 | 150 | 0.030474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4201-4_0_5_line_153 |  | 150 | 151 | 0.002261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4201-4_0_5_line_154 |  | 151 | 156 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4201-4_0_5_line_155 |  | 152 | 153 | 0.018317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4201-4_0_5_line_156 |  | 153 | 154 | 0.00047297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4201-4_0_5_line_157 |  | 154 | 155 | 0.018774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4201-4_0_5_line_158 |  | 156 | 157 | 0.0056524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4201-4_0_5_line_159 |  | 157 | 158 | 0.01643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4201-4_0_5_line_160 |  | 159 | 160 | 0.040652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-4_0_5_trafo_148 | 0.63 MVA 20/0.4 kV | 162 | 160 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2655247.7519 | 1249167.8511 | 2655236.2438 | 1249172.3723
1 | 2655227.5323 | 1249149.1277 | 2655232.9454 | 1249155.6827 | 2655236.0365 | 1249161.849 | 2655240.1888 | 1249160.2866 | 2655241.9388 | 1249163.7053 | 2655247.7519 | 1249167.8511
2 | 2655229.7272 | 1249210.9573 | 2655258.9825 | 1249197.4983 | 2655261.2119 | 1249196.474 | 2655254.2913 | 1249181.5437 | 2655251.2254 | 1249175.1107 | 2655248.4344 | 1249169.1473 | 2655247.7519 | 1249167.8511
3 | 2655240.2763 | 1249240.8205 | 2655242.4526 | 1249239.8178 | 2655268.4618 | 1249227.8964 | 2655274.5887 | 1249225.096 | 2655267.06 | 1249208.9926 | 2655261.2119 | 1249196.474 | 2655254.2913 | 1249181.5437 | 2655251.2254 | 1249175.1107 | 2655248.4344 | 1249169.1473 | 2655247.7519 | 1249167.8511
4 | 2655227.5323 | 1249149.1277 | 2655209.3952 | 1249149.1893
5 | 2655227.5323 | 1249149.1277 | 2655232.5576 | 1249148.6742 | 2655235.188 | 1249146.753 | 2655235.4014 | 1249136.8259 | 2655234.9685 | 1249121.7141
6 | 2655229.6164 | 1249210.7104 | 2655229.7272 | 1249210.9573
7 | 2655240.2763 | 1249240.8205 | 2655240.107 | 1249240.3519 | 2655239.633 | 1249239.3579 | 2655239.0719 | 1249237.9962 | 2655220.4096 | 1249245.8461
8 | 2655241.8997 | 1249244.0489 | 2655240.2763 | 1249240.8205
9 | 2655234.7413 | 1249105.565 | 2655234.3894 | 1249109.2976 | 2655234.957 | 1249121.3111 | 2655234.9685 | 1249121.7141
10 | 2655241.8997 | 1249244.0489 | 2655241.2698 | 1249246.8228 | 2655242.0151 | 1249253.5068
11 | 2655244.6702 | 1249277.3198 | 2655242.0151 | 1249253.5068
12 | 2655215.4061 | 1249247.9507 | 2655220.4096 | 1249245.8461
13 | 2655245.5595 | 1249288.0243 | 2655213.7707 | 1249290.6412 | 2655211.1333 | 1249290.6167
14 | 2655245.5595 | 1249288.0243 | 2655244.6702 | 1249277.3198
15 | 2655204.1259 | 1249290.5514 | 2655211.1333 | 1249290.6167
16 | 2655120.0525 | 1249122.0649 | 2655120.6584 | 1249109.2029
17 | 2655114.0797 | 1249123.7217 | 2655120.0525 | 1249122.0649
18 | 2655133.1184 | 1249088.4791 | 2655123.978 | 1249090.4909 | 2655121.3132 | 1249095.3027 | 2655120.6584 | 1249109.2029
19 | 2655114.0797 | 1249123.7217 | 2655081.9567 | 1249124.8351
20 | 2655114.0797 | 1249123.7217 | 2655113.1419 | 1249109.8931
21 | 2655082.9936 | 1249130.2485 | 2655083.0059 | 1249145.1811
22 | 2655083.0059 | 1249145.1811 | 2655082.485 | 1249175.5334
23 | 2655082.9936 | 1249130.2485 | 2655058.9346 | 1249129.8071
24 | 2655082.283 | 1249187.3037 | 2655082.485 | 1249175.5334
25 | 2655033.8854 | 1249129.3475 | 2655058.9346 | 1249129.8071
26 | 2655092.2445 | 1249317.7409 | 2655093.1859 | 1249315.5592 | 2655100.6973 | 1249312.438 | 2655121.8889 | 1249313.4912
27 | 2655121.8889 | 1249313.4912 | 2655148.4889 | 1249314.8224
28 | 2655092.2445 | 1249317.7409 | 2655090.3465 | 1249322.1151 | 2655089.0106 | 1249334.5229
29 | 2655092.2445 | 1249317.7409 | 2655085.8295 | 1249315.0016 | 2655083.8983 | 1249314.8169 | 2655075.1567 | 1249318.2839
30 | 2655085.4938 | 1249304.0021 | 2655089.1449 | 1249311.6634 | 2655093.1859 | 1249315.5592 | 2655092.2445 | 1249317.7409
31 | 2654976.587 | 1249278.8076 | 2655002.6669 | 1249268.9537 | 2655008.2568 | 1249264.6026 | 2655003.6442 | 1249256.3986 | 2654995.7682 | 1249244.284
32 | 2655008.8447 | 1249242.7486 | 2654995.7682 | 1249244.284
33 | 2654995.7682 | 1249244.284 | 2654957.3671 | 1249243.0496
34 | 2654976.587 | 1249278.8076 | 2654956.7876 | 1249281.4926 | 2654942.5768 | 1249288.1201
35 | 2655008.8447 | 1249242.7486 | 2655040.4587 | 1249228.7643
36 | 2655234.7413 | 1249105.565 | 2655234.5623 | 1249090.742
37 | 2655234.7413 | 1249105.565 | 2655236.7253 | 1249103.3264 | 2655239.6908 | 1249101.9086 | 2655247.1144 | 1249101.7665 | 2655250.1012 | 1249102.9285
38 | 2655215.4061 | 1249247.9507 | 2655211.1318 | 1249249.7486
39 | 2655186.7214 | 1249290.3893 | 2655204.1259 | 1249290.5514
40 | 2655165.7312 | 1249086.632 | 2655133.5264 | 1249088.3893 | 2655133.1184 | 1249088.4791
41 | 2655081.9567 | 1249124.8351 | 2655081.2065 | 1249110.5508
42 | 2655081.9567 | 1249124.8351 | 2655051.4581 | 1249125.0188
43 | 2655111.9633 | 1249092.5138 | 2655113.1419 | 1249109.8931
44 | 2655163.6145 | 1249117.7337 | 2655163.9206 | 1249116.6552
45 | 2655165.7312 | 1249086.632 | 2655166.9753 | 1249103.0437 | 2655166.3468 | 1249108.108 | 2655163.9206 | 1249116.6552
46 | 2655082.283 | 1249187.3037 | 2655082.0506 | 1249200.8437 | 2655077.8434 | 1249209.9553 | 2655071.7038 | 1249214.9462 | 2655067.2715 | 1249216.9054
47 | 2655033.8854 | 1249129.3475 | 2655036.0088 | 1249125.1088 | 2655032.8259 | 1249123.9229 | 2655031.7148 | 1249120.7882
48 | 2655033.8854 | 1249129.3475 | 2655036.0088 | 1249125.1088 | 2655051.4581 | 1249125.0188
49 | 2655033.8854 | 1249129.3475 | 2655033.8001 | 1249133.6608 | 2655031.2965 | 1249135.3565
50 | 2655085.4938 | 1249304.0021 | 2655069.6281 | 1249310.445
51 | 2655085.4938 | 1249304.0021 | 2655091.0403 | 1249300.2621 | 2655111.8601 | 1249291.5048
52 | 2655211.1318 | 1249249.7486 | 2655111.8601 | 1249291.5048
53 | 2655056.8104 | 1249221.5312 | 2655040.4587 | 1249228.7643
54 | 2655165.7312 | 1249086.632 | 2655164.6793 | 1249073.9682
55 | 2655163.0628 | 1249054.5073 | 2655164.6793 | 1249073.9682
56 | 2655155.4534 | 1249054.3253 | 2655163.0628 | 1249054.5073
57 | 2655222.5871 | 1249050.2138 | 2655230.0227 | 1249058.511 | 2655235.8645 | 1249071.73 | 2655236.859 | 1249072.7844 | 2655234.2395 | 1249078.3861 | 2655234.5623 | 1249090.742
58 | 2655234.5623 | 1249090.742 | 2655218.1564 | 1249090.1034
59 | 2655214.893 | 1249046.1505 | 2655222.5871 | 1249050.2138
60 | 2655214.893 | 1249046.1505 | 2655215.9762 | 1249027.1365
61 | 2655215.9762 | 1249027.1365 | 2655215.2099 | 1249017.0001
62 | 2655215.2099 | 1249017.0001 | 2655181.0011 | 1249019.9906
63 | 2655146.2204 | 1249025.7532 | 2655146.2204 | 1249025.7532 | 2655167.0972 | 1249024.2352 | 2655175.438 | 1249020.4769 | 2655181.0011 | 1249019.9906
64 | 2655192.1798 | 1248880.8035 | 2655193.509 | 1248882.3948
65 | 2655192.1798 | 1248880.8035 | 2655117.6381 | 1248878.3478
66 | 2655193.509 | 1248882.3948 | 2655184.1016 | 1248889.5899 | 2655131.9286 | 1248928.4164
67 | 2655117.6381 | 1248878.3478 | 2655101.3993 | 1248877.8129
68 | 2655130.0937 | 1248929.7819 | 2655131.9286 | 1248928.4164
69 | 2655056.8104 | 1249221.5312 | 2655061.9235 | 1249219.2695 | 2655067.2715 | 1249216.9054
70 | 2654903.6628 | 1249126.446 | 2654909.0768 | 1249126.6088
71 | 2654934.3116 | 1249127.3676 | 2654909.0768 | 1249126.6088
72 | 2654903.6628 | 1249126.446 | 2654888.1556 | 1249125.9797
73 | 2654934.3116 | 1249127.3676 | 2654934.5512 | 1249119.431 | 2654934.7898 | 1249111.6167
74 | 2654864.7117 | 1249125.2748 | 2654888.1556 | 1249125.9797
75 | 2654934.7898 | 1249111.6167 | 2654940.127 | 1249111.7329
76 | 2654934.7898 | 1249111.6167 | 2654935.0736 | 1249102.4845
77 | 2654940.127 | 1249111.7329 | 2654940.4003 | 1249117.2726 | 2654942.39 | 1249119.2924
78 | 2654942.39 | 1249119.2924 | 2654943.5869 | 1249120.5043 | 2654949.6799 | 1249122.173 | 2654967.9359 | 1249122.6704
79 | 2654981.6758 | 1249123.0448 | 2654967.9359 | 1249122.6704
80 | 2655020.1813 | 1249121.1926 | 2655024.82 | 1249120.9132 | 2655031.7148 | 1249120.7882
81 | 2655031.7148 | 1249120.7882 | 2655030.3462 | 1249116.9284 | 2655030.1101 | 1249111.3811
82 | 2655023.8082 | 1249140.4283 | 2655031.2965 | 1249135.3565
83 | 2655021.4261 | 1249170.1044 | 2655022.583 | 1249163.4216 | 2655023.8082 | 1249140.4283
84 | 2655021.4261 | 1249170.1044 | 2655042.308 | 1249175.3017 | 2655047.7652 | 1249174.7009
85 | 2655021.4261 | 1249170.1044 | 2655018.3519 | 1249187.8546
86 | 2655020.1813 | 1249121.1926 | 2655019.5603 | 1249122.2097 | 2655015.5923 | 1249123.4405 | 2655011.5489 | 1249123.8588 | 2655004.1832 | 1249123.6581
87 | 2655020.1813 | 1249121.1926 | 2655022.2901 | 1249117.7098 | 2655023.3278 | 1249105.9669 | 2655027.1855 | 1249083.5667
88 | 2655032.308 | 1249093.6558 | 2655029.9991 | 1249108.7752 | 2655030.1101 | 1249111.3811
89 | 2655036.9813 | 1249078.1078 | 2655046.2403 | 1249050.2524 | 2655048.3953 | 1249046.6811 | 2655050.9485 | 1249045.7486 | 2655055.7241 | 1249045.3704
90 | 2655036.9813 | 1249078.1078 | 2655033.0461 | 1249088.8231 | 2655032.308 | 1249093.6558
91 | 2655059.3283 | 1249045.0926 | 2655055.7241 | 1249045.3704
92 | 2655055.3587 | 1249039.185 | 2655055.7241 | 1249045.3704
93 | 2655047.7971 | 1249034.6673 | 2655046.0745 | 1249039.6547
94 | 2655046.0745 | 1249039.6547 | 2655034.012 | 1249040.1733
95 | 2655047.7971 | 1249034.6673 | 2655055.3069 | 1249034.1922
96 | 2655047.7971 | 1249034.6673 | 2655066.3583 | 1248996.7694
97 | 2655012.9501 | 1249041.0787 | 2655034.012 | 1249040.1733
98 | 2654994.658 | 1249123.3986 | 2655004.1832 | 1249123.6581
99 | 2655027.1855 | 1249083.5667 | 2655027.5337 | 1249081.5447 | 2655030.4672 | 1249073.0372
100 | 2654981.6758 | 1249123.0448 | 2654994.658 | 1249123.3986
101 | 2655055.3587 | 1249039.185 | 2655055.3069 | 1249034.1922
102 | 2655055.3587 | 1249039.185 | 2655095.4223 | 1249036.8366
103 | 2655055.3069 | 1249034.1922 | 2655068.573 | 1249033.356
104 | 2655068.0009 | 1248993.4154 | 2655066.3583 | 1248996.7694
105 | 2655012.9501 | 1249041.0787 | 2654992.6198 | 1249041.9527
106 | 2654994.4158 | 1248991.125 | 2654988.0265 | 1248990.9262
107 | 2654981.3781 | 1248990.7192 | 2654988.0265 | 1248990.9262
108 | 2654994.4158 | 1248991.125 | 2655003.75 | 1248991.4156
109 | 2654971.9522 | 1248990.4258 | 2654981.3781 | 1248990.7192
110 | 2655007.2521 | 1248991.5246 | 2655003.75 | 1248991.4156
111 | 2654971.9522 | 1248990.4258 | 2654960.3237 | 1248990.0639
112 | 2655007.2521 | 1248991.5246 | 2655020.7284 | 1248991.944
113 | 2654951.7883 | 1248989.7982 | 2654960.3237 | 1248990.0639
114 | 2655025.7595 | 1248992.1006 | 2655020.7284 | 1248991.944
115 | 2655039.7908 | 1248992.5374 | 2655045.408 | 1248992.7122
116 | 2655068.0009 | 1248993.4154 | 2655045.408 | 1248992.7122
117 | 2655025.7595 | 1248992.1006 | 2655039.7908 | 1248992.5374
118 | 2655068.0009 | 1248993.4154 | 2655073.176 | 1248986.8324
119 | 2655073.176 | 1248986.8324 | 2655079.707 | 1248978.5245
120 | 2655079.707 | 1248978.5245 | 2655082.2449 | 1248975.2961
121 | 2655089.4375 | 1248966.9028 | 2655086.3014 | 1248970.136 | 2655082.2449 | 1248975.2961
122 | 2654952.265 | 1249043.6876 | 2654936.9011 | 1249043.4896
123 | 2654936.9011 | 1249043.4896 | 2654913.0674 | 1249042.5223
124 | 2654952.265 | 1249043.6876 | 2654964.917 | 1249043.1437
125 | 2654952.265 | 1249043.6876 | 2654952.5449 | 1249047.6929
126 | 2654888.9543 | 1249041.5437 | 2654913.0674 | 1249042.5223
127 | 2654999.5461 | 1248926.3402 | 2654993.5192 | 1248926.1813
128 | 2654999.5461 | 1248926.3402 | 2655015.586 | 1248926.7631
129 | 2654964.917 | 1249043.1437 | 2654992.6198 | 1249041.9527
130 | 2654952.5449 | 1249047.6929 | 2654977.0495 | 1249048.2315 | 2654981.4871 | 1249048.2939
131 | 2654952.5449 | 1249047.6929 | 2654951.337 | 1249047.6706 | 2654945.856 | 1249049.2209 | 2654942.7641 | 1249052.8725 | 2654941.11 | 1249058.6278 | 2654940.9602 | 1249066.722
132 | 2655063.1557 | 1248876.5977 | 2655042.2868 | 1248875.9989
133 | 2655063.1557 | 1248876.5977 | 2655063.8542 | 1248876.6177
134 | 2655068.573 | 1249033.356 | 2655076.0989 | 1249032.8816
135 | 2654981.4871 | 1249048.2939 | 2654992.2508 | 1249048.4454
136 | 2655186.7214 | 1249290.3893 | 2655167.9108 | 1249290.2142
137 | 2655165.4599 | 1249290.1914 | 2655167.9108 | 1249290.2142
138 | 2655114.4772 | 1248950.4366 | 2655131.266 | 1248949.1399
139 | 2655104.6749 | 1248951.1937 | 2655114.4772 | 1248950.4366
140 | 2655143.0095 | 1248948.2328 | 2655131.266 | 1248949.1399
141 | 2655104.6749 | 1248951.1937 | 2655108.1706 | 1248948.249
142 | 2655104.6749 | 1248951.1937 | 2655089.4375 | 1248966.9028
143 | 2655143.0095 | 1248948.2328 | 2655151.3576 | 1248947.588
144 | 2655130.0937 | 1248929.7819 | 2655108.1706 | 1248948.249
145 | 2655130.0937 | 1248929.7819 | 2655124.527 | 1248929.6352
146 | 2655124.527 | 1248929.6352 | 2655104.177 | 1248929.0987
147 | 2655095.973 | 1249031.6289 | 2655117.5316 | 1249030.27
148 | 2655095.973 | 1249031.6289 | 2655076.0989 | 1249032.8816
149 | 2655117.5316 | 1249030.27 | 2655125.8263 | 1249029.7472
150 | 2655146.2204 | 1249025.7532 | 2655140.3173 | 1249028.8338 | 2655125.8263 | 1249029.7472
151 | 2655104.177 | 1248929.0987 | 2655093.1626 | 1248928.8083
152 | 2655062.6993 | 1248928.0052 | 2655093.1626 | 1248928.8083
153 | 2655060.4391 | 1248927.9456 | 2655062.6993 | 1248928.0052
154 | 2655037.6602 | 1248927.345 | 2655060.4391 | 1248927.9456
155 | 2655082.1624 | 1248877.1791 | 2655073.6668 | 1248876.8993 | 2655063.8542 | 1248876.6177
156 | 2655082.1624 | 1248877.1791 | 2655082.6351 | 1248877.1947
157 | 2655101.3993 | 1248877.8129 | 2655082.6351 | 1248877.1947
158 | 2655037.6602 | 1248927.345 | 2655032.0098 | 1248927.1961
159 | 2655032.0098 | 1248927.1961 | 2655015.586 | 1248926.7631
160 | 2655081.2065 | 1249110.5508 | 2655080.9302 | 1249105.29 | 2655082.8479 | 1249105.3078 | 2655082.1411 | 1249083.0526 | 2655070.9503 | 1249083.5033

## bus_geodata
| x | y | coords
0 | 2655236.2438 | 1249172.3723
1 | 2655247.7518 | 1249167.8511
2 | 2655227.5323 | 1249149.1278
3 | 2655229.7272 | 1249210.9573
4 | 2655240.2763 | 1249240.8205
5 | 2655209.3952 | 1249149.1893
6 | 2655234.9686 | 1249121.7141
7 | 2655241.8997 | 1249244.0489
8 | 2655242.0151 | 1249253.5068
9 | 2655229.6164 | 1249210.7104
10 | 2655220.4096 | 1249245.8461
11 | 2655245.5595 | 1249288.0243
12 | 2655211.1333 | 1249290.6167
13 | 2655244.6702 | 1249277.3198
14 | 2655120.0525 | 1249122.0649
15 | 2655120.6584 | 1249109.2029
16 | 2655114.0797 | 1249123.7217
17 | 2655083.0059 | 1249145.1811
18 | 2655082.9936 | 1249130.2485
19 | 2655082.485 | 1249175.5334
20 | 2655058.9346 | 1249129.8071
21 | 2655121.8889 | 1249313.4912
22 | 2655092.2445 | 1249317.7409
23 | 2655148.4889 | 1249314.8224
24 | 2654995.7682 | 1249244.284
25 | 2654976.587 | 1249278.8076
26 | 2655008.8447 | 1249242.7486
27 | 2654957.3671 | 1249243.0496
28 | 2654942.5768 | 1249288.1201
29 | 2655234.7413 | 1249105.565
30 | 2655215.4061 | 1249247.9507
31 | 2655204.1259 | 1249290.5514
32 | 2655133.1184 | 1249088.4791
33 | 2655081.9567 | 1249124.8351
34 | 2655113.1419 | 1249109.8931
35 | 2655163.6145 | 1249117.7337
36 | 2655163.9206 | 1249116.6552
37 | 2655082.283 | 1249187.3037
38 | 2655033.8854 | 1249129.3475
39 | 2655089.0106 | 1249334.5229
40 | 2655075.1567 | 1249318.2839
41 | 2655085.4938 | 1249304.0021
42 | 2655069.6281 | 1249310.445
43 | 2655111.8601 | 1249291.5048
44 | 2655040.4587 | 1249228.7643
45 | 2655165.7312 | 1249086.632
46 | 2655164.6793 | 1249073.9682
47 | 2655163.0628 | 1249054.5073
48 | 2655155.4534 | 1249054.3253
49 | 2655234.5623 | 1249090.742
50 | 2655250.1012 | 1249102.9285
51 | 2655222.5871 | 1249050.2138
52 | 2655218.1564 | 1249090.1034
53 | 2655214.893 | 1249046.1505
54 | 2655215.9762 | 1249027.1365
55 | 2655215.2099 | 1249017.0001
56 | 2655181.0011 | 1249019.9906
57 | 2655192.1798 | 1248880.8035
58 | 2655193.509 | 1248882.3948
59 | 2655117.6381 | 1248878.3478
60 | 2655131.9286 | 1248928.4164
61 | 2655067.2715 | 1249216.9054
62 | 2655056.8104 | 1249221.5312
63 | 2654909.0768 | 1249126.6088
64 | 2654903.6628 | 1249126.446
65 | 2654934.3116 | 1249127.3676
66 | 2654888.1556 | 1249125.9797
67 | 2654934.7898 | 1249111.6167
68 | 2654864.7117 | 1249125.2748
69 | 2654942.39 | 1249119.2924
70 | 2654940.127 | 1249111.7329
71 | 2654967.9359 | 1249122.6704
72 | 2654935.0736 | 1249102.4845
73 | 2655031.7148 | 1249120.7882
74 | 2655051.4581 | 1249125.0188
75 | 2655031.2965 | 1249135.3565
76 | 2655023.8082 | 1249140.4283
77 | 2655021.4261 | 1249170.1044
78 | 2655020.1813 | 1249121.1926
79 | 2655030.1101 | 1249111.3811
80 | 2655036.9813 | 1249078.1078
81 | 2655055.7241 | 1249045.3704
82 | 2655032.308 | 1249093.6558
83 | 2655046.0745 | 1249039.6547
84 | 2655047.7971 | 1249034.6673
85 | 2655034.012 | 1249040.1733
86 | 2655004.1832 | 1249123.6581
87 | 2655027.1855 | 1249083.5667
88 | 2654981.6758 | 1249123.0448
89 | 2655047.7652 | 1249174.7009
90 | 2655018.3519 | 1249187.8546
91 | 2655059.3283 | 1249045.0926
92 | 2655055.3587 | 1249039.185
93 | 2655055.3069 | 1249034.1922
94 | 2655095.4223 | 1249036.8366
95 | 2655066.3583 | 1248996.7694
96 | 2655012.9501 | 1249041.0787
97 | 2654994.658 | 1249123.3986
98 | 2655030.4672 | 1249073.0372
99 | 2654988.0265 | 1248990.9262
100 | 2654994.4158 | 1248991.125
101 | 2654981.3781 | 1248990.7192
102 | 2655003.75 | 1248991.4156
103 | 2654971.9522 | 1248990.4258
104 | 2655007.2521 | 1248991.5246
105 | 2654960.3237 | 1248990.0639
106 | 2655020.7284 | 1248991.944
107 | 2654951.7883 | 1248989.7982
108 | 2655045.408 | 1248992.7122
109 | 2655039.7908 | 1248992.5374
110 | 2655068.0009 | 1248993.4154
111 | 2655025.7595 | 1248992.1006
112 | 2655073.176 | 1248986.8324
113 | 2655079.707 | 1248978.5245
114 | 2655082.2449 | 1248975.2961
115 | 2654936.9011 | 1249043.4896
116 | 2654952.265 | 1249043.6876
117 | 2654913.0674 | 1249042.5223
118 | 2654993.5192 | 1248926.1813
119 | 2654999.5461 | 1248926.3402
120 | 2654964.917 | 1249043.1437
121 | 2654952.5449 | 1249047.6929
122 | 2654888.9543 | 1249041.5437
123 | 2655042.2868 | 1248875.9989
124 | 2655063.1557 | 1248876.5977
125 | 2654992.6198 | 1249041.9527
126 | 2654940.9602 | 1249066.722
127 | 2655068.573 | 1249033.356
128 | 2654981.4871 | 1249048.2939
129 | 2654992.2507 | 1249048.4454
130 | 2655186.7214 | 1249290.3893
131 | 2655167.9108 | 1249290.2142
132 | 2655165.4599 | 1249290.1914
133 | 2655211.1318 | 1249249.7486
134 | 2655114.4772 | 1248950.4366
135 | 2655131.266 | 1248949.1399
136 | 2655104.6749 | 1248951.1937
137 | 2655143.0095 | 1248948.2328
138 | 2655108.1706 | 1248948.249
139 | 2655089.4375 | 1248966.9028
140 | 2655151.3576 | 1248947.588
141 | 2655130.0937 | 1248929.7819
142 | 2655124.527 | 1248929.6352
143 | 2655095.973 | 1249031.6289
144 | 2655117.5316 | 1249030.27
145 | 2655076.0989 | 1249032.8816
146 | 2655125.8263 | 1249029.7472
147 | 2655146.2204 | 1249025.7532
148 | 2655104.177 | 1248929.0987
149 | 2655093.1626 | 1248928.8083
150 | 2655062.6993 | 1248928.0052
151 | 2655060.4391 | 1248927.9456
152 | 2655063.8542 | 1248876.6177
153 | 2655082.1624 | 1248877.1791
154 | 2655082.6351 | 1248877.1947
155 | 2655101.3993 | 1248877.8129
156 | 2655037.6602 | 1248927.345
157 | 2655032.0098 | 1248927.1961
158 | 2655015.586 | 1248926.7631
159 | 2655081.2065 | 1249110.5508
160 | 2655070.9503 | 1249083.5033
161 | 2655111.9633 | 1249092.5138
162 | 2655081.9567 | 1249124.8351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1