## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4201-7_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4201-7_0_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_4201-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4201-7_0_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_4201-7_0_3_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_4201-7_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4201-7_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4201-7_0_3_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_4201-7_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4201-7_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_4201-7_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4201-7_0_3_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_4201-7_0_3_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_4201-7_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_4201-7_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_4201-7_0_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_4201-7_0_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_4201-7_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4201-7_0_3_node_55 | 0.4 | n |  | TRUE
20 | bus_LV_4201-7_0_3_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_4201-7_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4201-7_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4201-7_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4201-7_0_3_node_76 | 0.4 | n |  | TRUE
25 | bus_LV_4201-7_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_4201-7_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_4201-7_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4201-7_0_3_node_77 | 0.4 | n |  | TRUE
29 | bus_LV_4201-7_0_3_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_4201-7_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4201-7_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4201-7_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_4201-7_0_3_node_66 | 0.4 | n |  | TRUE
34 | bus_LV_4201-7_0_3_node_67 | 0.4 | n |  | TRUE
35 | bus_LV_4201-7_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4201-7_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4201-7_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4201-7_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_4201-7_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_4201-7_0_3_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_4201-7_0_3_node_59 | 0.4 | n |  | TRUE
42 | bus_LV_4201-7_0_3_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_4201-7_0_3_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_4201-7_0_3_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_4201-7_0_3_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_4201-7_0_3_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_4201-7_0_3_node_25 | 0.4 | n |  | TRUE
48 | bus_LV_4201-7_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4201-7_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_4201-7_0_3_node_63 | 0.4 | n |  | TRUE
51 | bus_LV_4201-7_0_3_node_79 | 0.4 | n |  | TRUE
52 | bus_LV_4201-7_0_3_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_4201-7_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_4201-7_0_3_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_4201-7_0_3_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_4201-7_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4201-7_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_4201-7_0_3_node_34 | 0.4 | n |  | TRUE
59 | bus_LV_4201-7_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_4201-7_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_4201-7_0_3_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4201-7_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_4201-7_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_4201-7_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_4201-7_0_3_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_4201-7_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_4201-7_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_4201-7_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4201-7_0_3_node_74 | 0.4 | n |  | TRUE
70 | bus_LV_4201-7_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_4201-7_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_4201-7_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_MV_484_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-7_0_3_load_0 | 0 | 0.010321 | 0.0025866 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-7_0_3_load_22 | 5 | 0.0026981 | 0.00067622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-7_0_3_load_43 | 8 | 0.0078265 | 0.0019615 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-7_0_3_load_49 | 13 | 0.0022405 | 0.00056152 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-7_0_3_load_31 | 14 | 0.0031194 | 0.0007818 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-7_0_3_load_47 | 15 | 0.0018808 | 0.00047136 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-7_0_3_load_50 | 16 | 0.0013516 | 0.00033874 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-7_0_3_load_30 | 17 | 0.01265 | 0.0031703 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-7_0_3_load_55 | 19 | 0.03124 | 0.0078295 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-7_0_3_load_54 | 20 | 0.039596 | 0.0099238 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-7_0_3_load_76 | 24 | 0.0015666 | 0.00039263 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-7_0_3_load_57 | 26 | 0.015555 | 0.0038986 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-7_0_3_load_77 | 28 | 0.0051511 | 0.001291 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-7_0_3_load_53 | 29 | 0.0048131 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-7_0_3_load_33 | 30 | 0.0091898 | 0.0023032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-7_0_3_load_21 | 31 | 0.0026314 | 0.00065949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-7_0_3_load_42 | 32 | 0.0035412 | 0.0008875 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-7_0_3_load_67 | 34 | 0.00038962 | 9.7649e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-7_0_3_load_40 | 35 | 0.0060906 | 0.0015264 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-7_0_3_load_37 | 36 | 0.0020138 | 0.00050471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-7_0_3_load_45 | 38 | 0.0023547 | 0.00059014 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-7_0_3_load_29 | 39 | 0.0034674 | 0.00086902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-7_0_3_load_59 | 41 | 0.0079936 | 0.0020034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-7_0_3_load_56 | 42 | 0.0089133 | 0.0022339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-7_0_3_load_52 | 43 | 0.0080337 | 0.0020134 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-7_0_3_load_20 | 44 | 0.0015469 | 0.00038768 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-7_0_3_load_23 | 45 | 0.0023401 | 0.00058649 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-7_0_3_load_25 | 47 | 0.0043621 | 0.0010932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-7_0_3_load_63 | 50 | 0.00038143 | 9.5596e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-7_0_3_load_79 | 51 | 0.00013736 | 3.4424e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-7_0_3_load_78 | 53 | 0.0013683 | 0.00034292 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-7_0_3_load_72 | 54 | 0.00038405 | 9.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-7_0_3_load_64 | 55 | 0.00038126 | 9.5554e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-7_0_3_load_44 | 56 | 0.00012468 | 3.1247e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-7_0_3_load_35 | 57 | 0.0004057 | 0.00010168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-7_0_3_load_34 | 58 | 0.00044062 | 0.00011043 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-7_0_3_load_68 | 59 | 0.00038962 | 9.7649e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-7_0_3_load_46 | 60 | 0.0046581 | 0.0011674 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-7_0_3_load_48 | 61 | 0.0043168 | 0.0010819 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-7_0_3_load_51 | 62 | 0.00078715 | 0.00019728 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-7_0_3_load_60 | 63 | 0.00038405 | 9.6253e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-7_0_3_load_61 | 64 | 0.00038381 | 9.6191e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-7_0_3_load_62 | 65 | 0.00038391 | 9.6218e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-7_0_3_load_73 | 66 | 0.00038379 | 9.6186e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-7_0_3_load_65 | 67 | 0.00038118 | 9.5533e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-7_0_3_load_75 | 68 | 0.00038126 | 9.5554e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-7_0_3_load_74 | 69 | 0.00038143 | 9.5596e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-7_0_3_load_69 | 70 | 0.00038958 | 9.7638e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-7_0_3_load_70 | 71 | 0.00038947 | 9.7611e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-7_0_3_load_71 | 72 | 0.00038947 | 9.7611e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-7_0_3_line_0 |  | 0 | 1 | 0.023786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-7_0_3_line_1 |  | 1 | 2 | 0.001993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-7_0_3_line_2 |  | 1 | 3 | 0.12305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-7_0_3_line_3 |  | 2 | 17 | 0.0066268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-7_0_3_line_4 |  | 3 | 4 | 0.004889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-7_0_3_line_5 |  | 3 | 5 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-7_0_3_line_6 |  | 4 | 30 | 0.046135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4201-7_0_3_line_7 |  | 4 | 27 | 0.053571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-7_0_3_line_8 |  | 5 | 31 | 0.01772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4201-7_0_3_line_9 |  | 6 | 7 | 0.060254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4201-7_0_3_line_10 |  | 6 | 8 | 0.021438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4201-7_0_3_line_11 |  | 7 | 15 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4201-7_0_3_line_12 |  | 7 | 16 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4201-7_0_3_line_13 |  | 8 | 32 | 0.038138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4201-7_0_3_line_14 |  | 9 | 10 | 0.0084788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-7_0_3_line_15 |  | 9 | 11 | 0.13475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-7_0_3_line_16 |  | 9 | 12 | 0.034694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_4201-7_0_3_line_17 |  | 9 | 13 | 0.0096171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4201-7_0_3_line_18 |  | 10 | 33 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4201-7_0_3_line_19 |  | 10 | 34 | 0.010938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4201-7_0_3_line_20 |  | 11 | 14 | 0.0025351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-7_0_3_line_21 |  | 12 | 35 | 0.01395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4201-7_0_3_line_22 |  | 12 | 36 | 0.03042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4201-7_0_3_line_23 |  | 13 | 16 | 0.019759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4201-7_0_3_line_24 |  | 14 | 37 | 0.027535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-7_0_3_line_25 |  | 15 | 38 | 0.0088676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4201-7_0_3_line_26 |  | 17 | 39 | 0.056444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4201-7_0_3_line_27 |  | 18 | 19 | 0.024926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4201-7_0_3_line_28 |  | 18 | 20 | 0.021074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-7_0_3_line_29 |  | 19 | 21 | 0.032026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4201-7_0_3_line_30 |  | 21 | 22 | 0.063341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4201-7_0_3_line_31 |  | 21 | 23 | 0.095357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4201-7_0_3_line_32 |  | 22 | 24 | 0.036579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4201-7_0_3_line_33 |  | 23 | 25 | 0.026445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4201-7_0_3_line_34 |  | 23 | 26 | 0.003656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-7_0_3_line_35 |  | 25 | 36 | 0.0050437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-7_0_3_line_36 |  | 26 | 42 | 0.015659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4201-7_0_3_line_37 |  | 27 | 28 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_4201-7_0_3_line_38 |  | 27 | 29 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4201-7_0_3_line_39 |  | 29 | 43 | 0.0016543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4201-7_0_3_line_40 |  | 31 | 44 | 0.030077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4201-7_0_3_line_41 |  | 33 | 54 | 0.0099565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4201-7_0_3_line_42 |  | 33 | 49 | 0.022134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4201-7_0_3_line_43 |  | 34 | 59 | 0.012245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-7_0_3_line_44 |  | 35 | 53 | 0.047812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4201-7_0_3_line_45 |  | 37 | 48 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-7_0_3_line_46 |  | 37 | 46 | 0.13323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4201-7_0_3_line_47 |  | 38 | 60 | 0.023931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4201-7_0_3_line_48 |  | 40 | 41 | 0.0071608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4201-7_0_3_line_49 |  | 40 | 42 | 0.032342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-7_0_3_line_50 |  | 43 | 62 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4201-7_0_3_line_51 |  | 45 | 46 | 0.017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-7_0_3_line_52 |  | 45 | 47 | 0.016346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-7_0_3_line_53 |  | 48 | 51 | 0.024502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4201-7_0_3_line_54 |  | 48 | 52 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4201-7_0_3_line_55 |  | 49 | 50 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-7_0_3_line_56 |  | 50 | 55 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4201-7_0_3_line_57 |  | 52 | 56 | 0.002013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4201-7_0_3_line_58 |  | 52 | 57 | 0.0081222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-7_0_3_line_59 |  | 54 | 66 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4201-7_0_3_line_60 |  | 55 | 67 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4201-7_0_3_line_61 |  | 57 | 58 | 0.0083022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4201-7_0_3_line_62 |  | 59 | 70 | 0.012249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4201-7_0_3_line_63 |  | 60 | 61 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_4201-7_0_3_line_64 |  | 61 | 62 | 0.00092042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4201-7_0_3_line_65 |  | 63 | 64 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4201-7_0_3_line_66 |  | 64 | 65 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4201-7_0_3_line_67 |  | 65 | 66 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4201-7_0_3_line_68 |  | 67 | 68 | 0.012025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-7_0_3_line_69 |  | 68 | 69 | 0.012028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4201-7_0_3_line_70 |  | 70 | 71 | 0.012247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4201-7_0_3_line_71 |  | 71 | 72 | 0.011047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-7_0_3_trafo_77 | 0.63 MVA 20/0.4 kV | 73 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2656136.9343 | 1248419.2975 | 2656136.9228 | 1248420.5094 | 2656138.0552 | 1248443.0547
1 | 2656136.9343 | 1248419.2975 | 2656137.0513 | 1248417.3084
2 | 2656029.1353 | 1248400.2319 | 2656029.2924 | 1248403.5913 | 2656030.1527 | 1248416.4304 | 2656061.9139 | 1248417.2866 | 2656104.9821 | 1248418.6837 | 2656136.9343 | 1248419.2975
3 | 2656137.0513 | 1248417.3084 | 2656130.4292 | 1248417.0576
4 | 2656029.1353 | 1248400.2319 | 2656028.9096 | 1248395.3487
5 | 2656029.1353 | 1248400.2319 | 2656045.0537 | 1248400.8429
6 | 2656028.9096 | 1248395.3487 | 2656075.006 | 1248397.2404
7 | 2656026.9614 | 1248341.8158 | 2656027.705 | 1248369.3973 | 2656028.9096 | 1248395.3487
8 | 2656045.0537 | 1248400.8429 | 2656062.7605 | 1248401.5225
9 | 2655926.3384 | 1248352.7737 | 2655923.8826 | 1248352.9396 | 2655921.5621 | 1248353.1734 | 2655924.484 | 1248379.6413 | 2655926.3324 | 1248398.2382 | 2655927.8816 | 1248402.1221 | 2655930.0948 | 1248407.6579
10 | 2655930.0948 | 1248407.6579 | 2655951.4446 | 1248405.7167
11 | 2655926.3384 | 1248352.7737 | 2655929.1352 | 1248352.4888 | 2655944.3828 | 1248350.8253
12 | 2655926.3384 | 1248352.7737 | 2655924.3926 | 1248327.7619
13 | 2655989.4254 | 1248402.2632 | 2655951.4446 | 1248405.7167
14 | 2655914.8878 | 1248294.5926 | 2655914.8892 | 1248296.0381 | 2655918.3505 | 1248295.7594 | 2655918.6342 | 1248299.3089
15 | 2655807.2738 | 1248337.3863 | 2655827.8599 | 1248334.9339 | 2655844.8852 | 1248332.915 | 2655863.3993 | 1248330.7767 | 2655880.6967 | 1248328.7271 | 2655897.7336 | 1248327.0865 | 2655898.5797 | 1248311.0279 | 2655899.1455 | 1248304.6845 | 2655903.4368 | 1248300.4776 | 2655918.6342 | 1248299.3089
16 | 2655949.299 | 1248292.3711 | 2655918.3505 | 1248295.7594 | 2655918.6342 | 1248299.3089
17 | 2655918.6342 | 1248299.3089 | 2655921.0242 | 1248303.7234 | 2655922.1608 | 1248308.1778
18 | 2655914.8878 | 1248294.5926 | 2655913.0879 | 1248271.6488
19 | 2655914.8878 | 1248294.5926 | 2655904.0086 | 1248295.7264
20 | 2655807.2738 | 1248337.3863 | 2655806.5656 | 1248334.9521
21 | 2655949.299 | 1248292.3711 | 2655948.4963 | 1248279.0099 | 2655948.5663 | 1248278.4494
22 | 2655949.299 | 1248292.3711 | 2655972.5571 | 1248291.6901 | 2655979.708 | 1248291.8293
23 | 2655922.1608 | 1248308.1778 | 2655923.1798 | 1248312.1717 | 2655924.3926 | 1248327.7619
24 | 2655798.2704 | 1248308.7042 | 2655802.6288 | 1248321.4205 | 2655806.5656 | 1248334.9521
25 | 2655953.1981 | 1248349.8635 | 2655944.3828 | 1248350.8253
26 | 2656106.0699 | 1248390.2938 | 2656102.4644 | 1248390.2737 | 2656101.3487 | 1248390.8747 | 2656100.7699 | 1248392.9818 | 2656100.756 | 1248394.4493 | 2656101.7378 | 1248398.428 | 2656103.0608 | 1248414.2291 | 2656104.462 | 1248415.3876 | 2656106.1238 | 1248416.1372 | 2656130.4292 | 1248417.0576
27 | 2656067.2432 | 1248328.087 | 2656067.3304 | 1248303.1615
28 | 2656067.2432 | 1248328.087 | 2656075.7458 | 1248308.9765 | 2656075.7767 | 1248308.8222
29 | 2656065.7716 | 1248271.2897 | 2656067.4117 | 1248279.9222 | 2656067.3304 | 1248303.1615
30 | 2656065.7716 | 1248271.2897 | 2656062.1101 | 1248252.0086 | 2656068.632 | 1248244.3205 | 2656068.7009 | 1248210.687
31 | 2655996.452 | 1248268.3551 | 2656009.8182 | 1248269.193 | 2656012.0672 | 1248265.3449 | 2656024.6638 | 1248258.1145 | 2656024.5067 | 1248252.3646 | 2656031.432 | 1248252.33 | 2656062.1101 | 1248252.0086 | 2656065.7716 | 1248271.2897
32 | 2656068.7009 | 1248210.687 | 2656077.1305 | 1248211.3004 | 2656100.1807 | 1248213.4643 | 2656105.108 | 1248214.1531
33 | 2655984.7508 | 1248291.9275 | 2655995.1971 | 1248273.2911 | 2655996.452 | 1248268.3551
34 | 2655996.452 | 1248268.3551 | 2655997.299 | 1248265.0275 | 2655997.0839 | 1248264.9717
35 | 2655984.7508 | 1248291.9275 | 2655979.708 | 1248291.8293
36 | 2655982.011 | 1248260.8482 | 2655982.5715 | 1248261.2081 | 2655997.0839 | 1248264.9717
37 | 2656026.9614 | 1248341.8158 | 2656026.6304 | 1248329.7267
38 | 2656026.9614 | 1248341.8158 | 2656002.9238 | 1248344.4383
39 | 2656001.2792 | 1248344.6178 | 2656002.9238 | 1248344.4383
40 | 2656088.6248 | 1248408.8826 | 2656088.5536 | 1248406.331 | 2656087.9648 | 1248404.7132 | 2656086.6539 | 1248403.5889 | 2656083.8308 | 1248402.6616 | 2656074.1111 | 1248401.9581 | 2656062.7605 | 1248401.5225
41 | 2655913.0879 | 1248271.6488 | 2655903.1847 | 1248272.6786
42 | 2655913.0879 | 1248271.6488 | 2655911.801 | 1248249.5549
43 | 2655904.0086 | 1248295.7264 | 2655891.83 | 1248296.9956
44 | 2655942.7659 | 1248233.7709 | 2655942.8792 | 1248249.2588 | 2655951.0124 | 1248258.8643 | 2655948.5663 | 1248278.4494
45 | 2655820.7461 | 1248306.0916 | 2655798.2704 | 1248308.7042
46 | 2655749.7077 | 1248310.9046 | 2655751.1234 | 1248306.5149 | 2655754.5943 | 1248289.9584 | 2655756.6219 | 1248281.5273 | 2655758.8225 | 1248272.375 | 2655764.7961 | 1248258.6996 | 2655771.9018 | 1248249.9271 | 2655781.8669 | 1248255.0798 | 2655784.1 | 1248267.3426 | 2655798.2704 | 1248308.7042
47 | 2655953.1981 | 1248349.8635 | 2655976.9878 | 1248347.268
48 | 2655962.6869 | 1248237.3152 | 2655969.6664 | 1248238.9163
49 | 2655962.6869 | 1248237.3152 | 2655967.1613 | 1248251.3115 | 2655982.011 | 1248260.8482
50 | 2656001.2792 | 1248344.6178 | 2655990.3054 | 1248345.815
51 | 2655749.7077 | 1248310.9046 | 2655759.9052 | 1248313.8247 | 2655767.1029 | 1248314.5151
52 | 2655777.9433 | 1248305.2884 | 2655777.5403 | 1248310.3993 | 2655767.1029 | 1248314.5151
53 | 2655820.7461 | 1248306.0916 | 2655833.2163 | 1248305.0305 | 2655834.607 | 1248300.8963 | 2655835.5342 | 1248295.4568 | 2655837.2381 | 1248294.1498
54 | 2655821.5647 | 1248295.3364 | 2655820.7461 | 1248306.0916
55 | 2655911.801 | 1248249.5549 | 2655901.1471 | 1248250.6383
56 | 2655901.1471 | 1248250.6383 | 2655889.1813 | 1248251.855
57 | 2655823.5752 | 1248295.1552 | 2655821.5647 | 1248295.3364
58 | 2655821.5647 | 1248295.3364 | 2655822.2185 | 1248287.2406
59 | 2655903.1847 | 1248272.6786 | 2655891.0808 | 1248273.9372
60 | 2655877.2179 | 1248253.0716 | 2655889.1813 | 1248251.855
61 | 2655826.154 | 1248282.1716 | 2655822.5991 | 1248282.5263 | 2655822.2185 | 1248287.2406
62 | 2655891.83 | 1248296.9956 | 2655879.6474 | 1248298.2653
63 | 2655989.3904 | 1248345.9148 | 2655976.9878 | 1248347.268
64 | 2655990.3054 | 1248345.815 | 2655989.3904 | 1248345.9148
65 | 2655854.7702 | 1248277.713 | 2655866.8741 | 1248276.4544
66 | 2655878.9774 | 1248275.1958 | 2655866.8741 | 1248276.4544
67 | 2655891.0808 | 1248273.9372 | 2655878.9774 | 1248275.1958
68 | 2655865.2546 | 1248254.2881 | 2655877.2179 | 1248253.0716
69 | 2655853.2887 | 1248255.5049 | 2655865.2546 | 1248254.2881
70 | 2655879.6474 | 1248298.2653 | 2655867.466 | 1248299.5348
71 | 2655856.4786 | 1248300.6798 | 2655867.466 | 1248299.5348

## bus_geodata
| x | y | coords
0 | 2656138.0552 | 1248443.0547
1 | 2656136.9343 | 1248419.2975
2 | 2656137.0513 | 1248417.3084
3 | 2656029.1353 | 1248400.2319
4 | 2656028.9096 | 1248395.3487
5 | 2656045.0537 | 1248400.8429
6 | 2655930.0948 | 1248407.6579
7 | 2655926.3384 | 1248352.7738
8 | 2655951.4446 | 1248405.7167
9 | 2655918.6342 | 1248299.3089
10 | 2655914.8878 | 1248294.5926
11 | 2655807.2738 | 1248337.3863
12 | 2655949.299 | 1248292.3711
13 | 2655922.1608 | 1248308.1778
14 | 2655806.5656 | 1248334.9521
15 | 2655944.3828 | 1248350.8253
16 | 2655924.3926 | 1248327.7619
17 | 2656130.4292 | 1248417.0576
18 | 2656067.2432 | 1248328.087
19 | 2656067.3304 | 1248303.1615
20 | 2656075.7767 | 1248308.8222
21 | 2656065.7716 | 1248271.2897
22 | 2656068.7009 | 1248210.687
23 | 2655996.452 | 1248268.3551
24 | 2656105.108 | 1248214.1531
25 | 2655984.7508 | 1248291.9275
26 | 2655997.0839 | 1248264.9717
27 | 2656026.9614 | 1248341.8158
28 | 2656026.6304 | 1248329.7267
29 | 2656002.9238 | 1248344.4383
30 | 2656075.006 | 1248397.2404
31 | 2656062.7605 | 1248401.5225
32 | 2655989.4254 | 1248402.2632
33 | 2655913.0879 | 1248271.6488
34 | 2655904.0086 | 1248295.7264
35 | 2655948.5663 | 1248278.4494
36 | 2655979.708 | 1248291.8293
37 | 2655798.2704 | 1248308.7042
38 | 2655953.1981 | 1248349.8635
39 | 2656106.0699 | 1248390.2938
40 | 2655962.6869 | 1248237.3152
41 | 2655969.6664 | 1248238.9163
42 | 2655982.011 | 1248260.8482
43 | 2656001.2792 | 1248344.6178
44 | 2656088.6248 | 1248408.8826
45 | 2655767.1029 | 1248314.5151
46 | 2655749.7077 | 1248310.9046
47 | 2655777.9433 | 1248305.2884
48 | 2655820.7461 | 1248306.0916
49 | 2655911.801 | 1248249.5549
50 | 2655901.1471 | 1248250.6383
51 | 2655837.2381 | 1248294.1498
52 | 2655821.5647 | 1248295.3364
53 | 2655942.7659 | 1248233.7709
54 | 2655903.1847 | 1248272.6786
55 | 2655889.1813 | 1248251.855
56 | 2655823.5752 | 1248295.1552
57 | 2655822.2185 | 1248287.2406
58 | 2655826.154 | 1248282.1716
59 | 2655891.83 | 1248296.9956
60 | 2655976.9878 | 1248347.268
61 | 2655989.3904 | 1248345.9148
62 | 2655990.3054 | 1248345.815
63 | 2655854.7702 | 1248277.713
64 | 2655866.8741 | 1248276.4544
65 | 2655878.9774 | 1248275.1958
66 | 2655891.0808 | 1248273.9372
67 | 2655877.2179 | 1248253.0716
68 | 2655865.2546 | 1248254.2881
69 | 2655853.2887 | 1248255.5049
70 | 2655879.6474 | 1248298.2653
71 | 2655867.466 | 1248299.5348
72 | 2655856.4786 | 1248300.6798
73 | 2656026.9614 | 1248341.8158

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1