## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4201-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4201-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4201-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4201-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4201-9_0_5_node_120 | 0.4 | n |  | TRUE
5 | bus_LV_4201-9_0_5_node_122 | 0.4 | n |  | TRUE
6 | bus_LV_4201-9_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4201-9_0_5_node_119 | 0.4 | n |  | TRUE
8 | bus_LV_4201-9_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_4201-9_0_5_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_4201-9_0_5_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_4201-9_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4201-9_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4201-9_0_5_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_4201-9_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4201-9_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4201-9_0_5_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_4201-9_0_5_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_4201-9_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_4201-9_0_5_node_106 | 0.4 | n |  | TRUE
20 | bus_LV_4201-9_0_5_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_4201-9_0_5_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_4201-9_0_5_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_4201-9_0_5_node_112 | 0.4 | n |  | TRUE
24 | bus_LV_4201-9_0_5_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_4201-9_0_5_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_4201-9_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_4201-9_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_4201-9_0_5_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_4201-9_0_5_node_113 | 0.4 | n |  | TRUE
30 | bus_LV_4201-9_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_4201-9_0_5_node_121 | 0.4 | n |  | TRUE
32 | bus_LV_4201-9_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4201-9_0_5_node_100 | 0.4 | n |  | TRUE
34 | bus_LV_4201-9_0_5_node_99 | 0.4 | n |  | TRUE
35 | bus_LV_4201-9_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4201-9_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4201-9_0_5_node_83 | 0.4 | n |  | TRUE
38 | bus_LV_4201-9_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_4201-9_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_4201-9_0_5_node_48 | 0.4 | n |  | TRUE
41 | bus_LV_4201-9_0_5_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_4201-9_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4201-9_0_5_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_4201-9_0_5_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_4201-9_0_5_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4201-9_0_5_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_4201-9_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4201-9_0_5_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_4201-9_0_5_node_85 | 0.4 | n |  | TRUE
50 | bus_LV_4201-9_0_5_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_4201-9_0_5_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_4201-9_0_5_node_118 | 0.4 | n |  | TRUE
53 | bus_LV_4201-9_0_5_node_107 | 0.4 | n |  | TRUE
54 | bus_LV_4201-9_0_5_node_108 | 0.4 | n |  | TRUE
55 | bus_LV_4201-9_0_5_node_116 | 0.4 | n |  | TRUE
56 | bus_LV_4201-9_0_5_node_111 | 0.4 | n |  | TRUE
57 | bus_LV_4201-9_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_4201-9_0_5_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_4201-9_0_5_node_105 | 0.4 | n |  | TRUE
60 | bus_LV_4201-9_0_5_node_102 | 0.4 | n |  | TRUE
61 | bus_LV_4201-9_0_5_node_110 | 0.4 | n |  | TRUE
62 | bus_LV_4201-9_0_5_node_109 | 0.4 | n |  | TRUE
63 | bus_LV_4201-9_0_5_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_4201-9_0_5_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_4201-9_0_5_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_4201-9_0_5_node_124 | 0.4 | n |  | TRUE
67 | bus_LV_4201-9_0_5_node_88 | 0.4 | n |  | TRUE
68 | bus_LV_4201-9_0_5_node_42 | 0.4 | n |  | TRUE
69 | bus_LV_4201-9_0_5_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_4201-9_0_5_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_4201-9_0_5_node_31 | 0.4 | n |  | TRUE
72 | bus_LV_4201-9_0_5_node_32 | 0.4 | n |  | TRUE
73 | bus_LV_4201-9_0_5_node_33 | 0.4 | n |  | TRUE
74 | bus_LV_4201-9_0_5_node_34 | 0.4 | n |  | TRUE
75 | bus_LV_4201-9_0_5_node_36 | 0.4 | n |  | TRUE
76 | bus_LV_4201-9_0_5_node_37 | 0.4 | n |  | TRUE
77 | bus_LV_4201-9_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_4201-9_0_5_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_4201-9_0_5_node_35 | 0.4 | n |  | TRUE
80 | bus_LV_4201-9_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4201-9_0_5_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4201-9_0_5_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_4201-9_0_5_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_4201-9_0_5_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4201-9_0_5_node_57 | 0.4 | n |  | TRUE
86 | bus_LV_4201-9_0_5_node_39 | 0.4 | n |  | TRUE
87 | bus_LV_4201-9_0_5_node_41 | 0.4 | n |  | TRUE
88 | bus_LV_4201-9_0_5_node_52 | 0.4 | n |  | TRUE
89 | bus_LV_4201-9_0_5_node_53 | 0.4 | n |  | TRUE
90 | bus_LV_4201-9_0_5_node_51 | 0.4 | n |  | TRUE
91 | bus_LV_4201-9_0_5_node_46 | 0.4 | n |  | TRUE
92 | bus_LV_4201-9_0_5_node_47 | 0.4 | n |  | TRUE
93 | bus_LV_4201-9_0_5_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_4201-9_0_5_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_4201-9_0_5_node_64 | 0.4 | n |  | TRUE
96 | bus_LV_4201-9_0_5_node_54 | 0.4 | n |  | TRUE
97 | bus_LV_4201-9_0_5_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_4201-9_0_5_node_58 | 0.4 | n |  | TRUE
99 | bus_LV_4201-9_0_5_node_55 | 0.4 | n |  | TRUE
100 | bus_LV_4201-9_0_5_node_56 | 0.4 | n |  | TRUE
101 | bus_LV_4201-9_0_5_node_60 | 0.4 | n |  | TRUE
102 | bus_LV_4201-9_0_5_node_73 | 0.4 | n |  | TRUE
103 | bus_LV_4201-9_0_5_node_72 | 0.4 | n |  | TRUE
104 | bus_LV_4201-9_0_5_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_4201-9_0_5_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_4201-9_0_5_node_66 | 0.4 | n |  | TRUE
107 | bus_LV_4201-9_0_5_node_67 | 0.4 | n |  | TRUE
108 | bus_LV_4201-9_0_5_node_71 | 0.4 | n |  | TRUE
109 | bus_LV_4201-9_0_5_node_96 | 0.4 | n |  | TRUE
110 | bus_LV_4201-9_0_5_node_103 | 0.4 | n |  | TRUE
111 | bus_LV_4201-9_0_5_node_115 | 0.4 | n |  | TRUE
112 | bus_LV_4201-9_0_5_node_114 | 0.4 | n |  | TRUE
113 | bus_MV_484_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4201-9_0_5_load_0 | 0 | 0.055008 | 0.013786 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4201-9_0_5_load_120 | 4 | 0.0057209 | 0.0014338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4201-9_0_5_load_122 | 5 | 0.00087934 | 0.00022038 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4201-9_0_5_load_91 | 10 | 0.0094359 | 0.0023649 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4201-9_0_5_load_77 | 13 | 0.002093 | 0.00052456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4201-9_0_5_load_68 | 17 | 0.031505 | 0.0078958 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4201-9_0_5_load_106 | 19 | 0.05445 | 0.013646 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4201-9_0_5_load_45 | 21 | 0.0083292 | 0.0020875 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4201-9_0_5_load_43 | 22 | 0.016878 | 0.0042301 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4201-9_0_5_load_112 | 23 | 0.047149 | 0.011817 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4201-9_0_5_load_75 | 24 | 0.0020364 | 0.00051037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4201-9_0_5_load_74 | 25 | 0.0055193 | 0.0013833 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4201-9_0_5_load_93 | 28 | 0.0083282 | 0.0020872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4201-9_0_5_load_113 | 29 | 0.03178 | 0.0079647 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4201-9_0_5_load_121 | 31 | 0.018213 | 0.0045647 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4201-9_0_5_load_99 | 34 | 0.0052567 | 0.0013174 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4201-9_0_5_load_83 | 37 | 0.0029058 | 0.00072825 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4201-9_0_5_load_48 | 40 | 0.0019672 | 0.00049304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4201-9_0_5_load_90 | 41 | 0.018862 | 0.0047271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4201-9_0_5_load_94 | 44 | 0.0002017 | 5.055e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4201-9_0_5_load_89 | 46 | 0.00063478 | 0.00015909 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4201-9_0_5_load_85 | 49 | 0.0014094 | 0.00035323 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4201-9_0_5_load_86 | 51 | 0.0028203 | 0.00070684 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4201-9_0_5_load_118 | 52 | 0.011698 | 0.0029319 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4201-9_0_5_load_102 | 60 | 0.004661 | 0.0011682 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4201-9_0_5_load_110 | 61 | 0.020578 | 0.0051574 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4201-9_0_5_load_109 | 62 | 0.014951 | 0.003747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4201-9_0_5_load_117 | 63 | 0.012106 | 0.0030341 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4201-9_0_5_load_84 | 64 | 0.0029117 | 0.00072973 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4201-9_0_5_load_124 | 66 | 0.00024719 | 6.1952e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4201-9_0_5_load_88 | 67 | 0.002023 | 0.00050701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4201-9_0_5_load_42 | 68 | 0.0019821 | 0.00049676 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4201-9_0_5_load_38 | 69 | 0.00049227 | 0.00012338 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4201-9_0_5_load_31 | 71 | 0.0039181 | 0.00098196 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4201-9_0_5_load_32 | 72 | 0.0050845 | 0.0012743 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4201-9_0_5_load_36 | 75 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4201-9_0_5_load_37 | 76 | 0.0019653 | 0.00049256 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4201-9_0_5_load_82 | 77 | 0.0027606 | 0.00069187 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4201-9_0_5_load_78 | 78 | 0.0027047 | 0.00067786 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4201-9_0_5_load_35 | 79 | 0.0014629 | 0.00036663 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4201-9_0_5_load_69 | 80 | 0.0017522 | 0.00043914 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4201-9_0_5_load_59 | 81 | 0.002675 | 0.00067042 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4201-9_0_5_load_95 | 82 | 0.004862 | 0.0012185 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4201-9_0_5_load_79 | 83 | 0.0088455 | 0.0022169 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4201-9_0_5_load_70 | 84 | 0.0015871 | 0.00039776 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4201-9_0_5_load_39 | 86 | 0.0011506 | 0.00028836 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4201-9_0_5_load_41 | 87 | 0.00020445 | 5.124e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4201-9_0_5_load_52 | 88 | 0.0011125 | 0.00027882 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4201-9_0_5_load_53 | 89 | 0.0011061 | 0.00027721 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4201-9_0_5_load_51 | 90 | 0.0027754 | 0.00069558 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4201-9_0_5_load_47 | 92 | 0.0083257 | 0.0020866 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4201-9_0_5_load_80 | 93 | 0.0021754 | 0.0005452 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4201-9_0_5_load_65 | 94 | 0.0020033 | 0.00050208 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4201-9_0_5_load_64 | 95 | 0.0015247 | 0.00038214 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4201-9_0_5_load_54 | 96 | 0.00038488 | 9.6461e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4201-9_0_5_load_76 | 97 | 0.0017668 | 0.00044281 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4201-9_0_5_load_58 | 98 | 0.0012416 | 0.00031116 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4201-9_0_5_load_55 | 99 | 0.0027405 | 0.00068682 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4201-9_0_5_load_56 | 100 | 0.0011981 | 0.00030028 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4201-9_0_5_load_72 | 103 | 0.00058638 | 0.00014696 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4201-9_0_5_load_97 | 104 | 0.0027523 | 0.0006898 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4201-9_0_5_load_98 | 105 | 0.0050858 | 0.0012746 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4201-9_0_5_load_66 | 106 | 0.0018587 | 0.00046584 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4201-9_0_5_load_67 | 107 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4201-9_0_5_load_71 | 108 | 0.0014558 | 0.00036487 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4201-9_0_5_load_96 | 109 | 0.0027886 | 0.00069889 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4201-9_0_5_load_103 | 110 | 0.00034149 | 8.5587e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4201-9_0_5_load_114 | 112 | 0.038303 | 0.0095996 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4201-9_0_5_line_0 |  | 0 | 1 | 0.051746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4201-9_0_5_line_1 |  | 1 | 2 | 0.076243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4201-9_0_5_line_2 |  | 1 | 3 | 0.072563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4201-9_0_5_line_3 |  | 2 | 4 | 0.027602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4201-9_0_5_line_4 |  | 3 | 5 | 0.082086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4201-9_0_5_line_5 |  | 4 | 6 | 0.024491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4201-9_0_5_line_6 |  | 6 | 7 | 0.030579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4201-9_0_5_line_7 |  | 7 | 52 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4201-9_0_5_line_8 |  | 7 | 30 | 0.031202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4201-9_0_5_line_9 |  | 8 | 9 | 0.006179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4201-9_0_5_line_10 |  | 8 | 10 | 0.022141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_4201-9_0_5_line_11 |  | 9 | 28 | 0.031582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4201-9_0_5_line_12 |  | 9 | 20 | 0.02485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4201-9_0_5_line_13 |  | 10 | 16 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4201-9_0_5_line_14 |  | 11 | 12 | 0.046033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4201-9_0_5_line_15 |  | 11 | 13 | 0.028515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4201-9_0_5_line_16 |  | 12 | 24 | 0.033854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4201-9_0_5_line_17 |  | 12 | 25 | 0.021651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4201-9_0_5_line_18 |  | 14 | 15 | 0.091224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4201-9_0_5_line_19 |  | 14 | 16 | 0.066603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4201-9_0_5_line_20 |  | 14 | 17 | 0.027564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4201-9_0_5_line_21 |  | 15 | 23 | 0.031713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4201-9_0_5_line_22 |  | 18 | 19 | 0.051374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4201-9_0_5_line_23 |  | 19 | 26 | 0.042769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4201-9_0_5_line_24 |  | 20 | 21 | 0.027669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4201-9_0_5_line_25 |  | 20 | 22 | 0.015103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4201-9_0_5_line_26 |  | 22 | 57 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4201-9_0_5_line_27 |  | 23 | 27 | 0.0040997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_4201-9_0_5_line_28 |  | 24 | 36 | 0.020018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4201-9_0_5_line_29 |  | 26 | 27 | 0.031404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4201-9_0_5_line_30 |  | 27 | 29 | 0.034206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_4201-9_0_5_line_31 |  | 29 | 33 | 0.035591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4201-9_0_5_line_32 |  | 30 | 31 | 0.052115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4201-9_0_5_line_33 |  | 31 | 53 | 0.053096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4201-9_0_5_line_34 |  | 32 | 33 | 0.010704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4201-9_0_5_line_35 |  | 32 | 34 | 0.037813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4201-9_0_5_line_36 |  | 33 | 58 | 0.030818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4201-9_0_5_line_37 |  | 35 | 36 | 0.0082328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4201-9_0_5_line_38 |  | 35 | 37 | 0.0045999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4201-9_0_5_line_39 |  | 36 | 49 | 0.0060028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4201-9_0_5_line_40 |  | 37 | 64 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4201-9_0_5_line_41 |  | 38 | 39 | 0.11283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4201-9_0_5_line_42 |  | 38 | 40 | 0.021184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4201-9_0_5_line_43 |  | 39 | 41 | 0.034284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4201-9_0_5_line_44 |  | 40 | 65 | 0.011349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4201-9_0_5_line_45 |  | 41 | 45 | 0.040713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4201-9_0_5_line_46 |  | 42 | 43 | 0.033532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4201-9_0_5_line_47 |  | 42 | 44 | 0.038696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4201-9_0_5_line_48 |  | 43 | 66 | 0.031479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4201-9_0_5_line_49 |  | 44 | 47 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4201-9_0_5_line_50 |  | 45 | 46 | 0.044124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4201-9_0_5_line_51 |  | 46 | 67 | 0.048307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4201-9_0_5_line_52 |  | 47 | 48 | 0.016035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4201-9_0_5_line_53 |  | 48 | 68 | 0.009908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4201-9_0_5_line_54 |  | 48 | 69 | 0.01974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4201-9_0_5_line_55 |  | 49 | 50 | 0.0048618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4201-9_0_5_line_56 |  | 50 | 51 | 0.010848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4201-9_0_5_line_57 |  | 51 | 70 | 0.011415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4201-9_0_5_line_58 |  | 53 | 54 | 0.041497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4201-9_0_5_line_59 |  | 53 | 55 | 0.028911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4201-9_0_5_line_60 |  | 54 | 56 | 0.015688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4201-9_0_5_line_61 |  | 55 | 111 | 0.014411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4201-9_0_5_line_62 |  | 56 | 61 | 0.03021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4201-9_0_5_line_63 |  | 57 | 91 | 0.032723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4201-9_0_5_line_64 |  | 57 | 92 | 0.023495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4201-9_0_5_line_65 |  | 58 | 59 | 0.035381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4201-9_0_5_line_66 |  | 58 | 60 | 0.041807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4201-9_0_5_line_67 |  | 59 | 111 | 0.006176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4201-9_0_5_line_68 |  | 59 | 63 | 0.053833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4201-9_0_5_line_69 |  | 60 | 110 | 0.0031067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4201-9_0_5_line_70 |  | 61 | 62 | 0.022077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4201-9_0_5_line_71 |  | 65 | 90 | 0.02388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4201-9_0_5_line_72 |  | 65 | 68 | 0.035465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4201-9_0_5_line_73 |  | 69 | 86 | 0.001304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4201-9_0_5_line_74 |  | 70 | 93 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4201-9_0_5_line_75 |  | 70 | 91 | 0.002882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4201-9_0_5_line_76 |  | 71 | 72 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4201-9_0_5_line_77 |  | 71 | 73 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4201-9_0_5_line_78 |  | 72 | 74 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_4201-9_0_5_line_79 |  | 73 | 75 | 0.012317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_4201-9_0_5_line_80 |  | 73 | 76 | 0.017435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4201-9_0_5_line_81 |  | 74 | 77 | 0.02672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4201-9_0_5_line_82 |  | 74 | 78 | 0.02529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_4201-9_0_5_line_83 |  | 75 | 81 | 0.0033335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4201-9_0_5_line_84 |  | 77 | 82 | 0.0030904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4201-9_0_5_line_85 |  | 78 | 83 | 0.0093577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4201-9_0_5_line_86 |  | 79 | 80 | 0.0087564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4201-9_0_5_line_87 |  | 80 | 84 | 0.016362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4201-9_0_5_line_88 |  | 81 | 85 | 0.029022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_4201-9_0_5_line_89 |  | 82 | 109 | 0.0071179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4201-9_0_5_line_90 |  | 83 | 93 | 0.0061687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4201-9_0_5_line_91 |  | 84 | 108 | 0.011927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4201-9_0_5_line_92 |  | 85 | 99 | 0.010024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4201-9_0_5_line_93 |  | 86 | 87 | 0.013505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_4201-9_0_5_line_94 |  | 87 | 88 | 0.0052435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4201-9_0_5_line_95 |  | 88 | 89 | 0.0057064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_4201-9_0_5_line_96 |  | 89 | 96 | 0.0048543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_4201-9_0_5_line_97 |  | 90 | 94 | 0.0027277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4201-9_0_5_line_98 |  | 94 | 95 | 0.014053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4201-9_0_5_line_99 |  | 95 | 106 | 0.0014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4201-9_0_5_line_100 |  | 96 | 97 | 0.020815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_4201-9_0_5_line_101 |  | 97 | 98 | 0.0023686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_4201-9_0_5_line_102 |  | 98 | 100 | 8.1088e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_4201-9_0_5_line_103 |  | 99 | 100 | 0.02669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4201-9_0_5_line_104 |  | 101 | 102 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4201-9_0_5_line_105 |  | 101 | 103 | 0.0027986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4201-9_0_5_line_106 |  | 102 | 104 | 0.011189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4201-9_0_5_line_107 |  | 102 | 105 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4201-9_0_5_line_108 |  | 104 | 109 | 0.01019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4201-9_0_5_line_109 |  | 106 | 107 | 0.014477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4201-9_0_5_line_110 |  | 107 | 108 | 0.0051718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4201-9_0_5_line_111 |  | 111 | 112 | 0.033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4201-9_0_5_trafo_8 | 0.63 MVA 20/0.4 kV | 113 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2655714.0358 | 1249369.4737 | 2655714.3842 | 1249421.2184
1 | 2655714.0358 | 1249369.4737 | 2655720.3513 | 1249361.8834 | 2655723.1326 | 1249358.3737 | 2655722.3142 | 1249353.0624 | 2655718.5566 | 1249328.7103 | 2655715.5748 | 1249309.369 | 2655727.7621 | 1249307.6601
2 | 2655714.0358 | 1249369.4737 | 2655720.3513 | 1249361.8834 | 2655723.1326 | 1249358.3737 | 2655729.0056 | 1249360.9084 | 2655736.2225 | 1249364.2452 | 2655745.935 | 1249368.7618 | 2655745.8757 | 1249363.8245 | 2655766.6405 | 1249373.3041 | 2655771.2501 | 1249376.0938
3 | 2655727.7621 | 1249307.6601 | 2655725.7091 | 1249293.9314 | 2655712.1553 | 1249296.0637
4 | 2655771.2501 | 1249376.0938 | 2655763.0729 | 1249332.7871 | 2655767.0983 | 1249324.6416 | 2655773.433 | 1249314.2162 | 2655771.0951 | 1249301.0963 | 2655769.8309 | 1249297.9369
5 | 2655687.9618 | 1249299.8698 | 2655712.1553 | 1249296.0637
6 | 2655671.9009 | 1249277.4926 | 2655678.7114 | 1249279.9026 | 2655684.7104 | 1249284.2953 | 2655687.1345 | 1249294.703 | 2655687.9618 | 1249299.8698
7 | 2655671.9009 | 1249277.4926 | 2655650.3734 | 1249281.107
8 | 2655671.9009 | 1249277.4926 | 2655679.1592 | 1249274.8255 | 2655685.0751 | 1249270.3891 | 2655689.7951 | 1249255.0229
9 | 2655450.863 | 1249242.7536 | 2655445.2437 | 1249245.3584
10 | 2655450.863 | 1249242.7536 | 2655441.8042 | 1249222.5509
11 | 2655445.2437 | 1249245.3584 | 2655440.4529 | 1249233.6611 | 2655423.3249 | 1249241.7499
12 | 2655445.2437 | 1249245.3584 | 2655449.1633 | 1249254.9461 | 2655454.2463 | 1249253.1701 | 2655456.9131 | 1249261.8788
13 | 2655435.2274 | 1249207.8835 | 2655441.8042 | 1249222.5509
14 | 2655506.7629 | 1249431.7953 | 2655506.6546 | 1249428.8478 | 2655505.77 | 1249391.8919 | 2655502.4279 | 1249386.7682
15 | 2655506.7629 | 1249431.7953 | 2655478.2533 | 1249432.3322
16 | 2655502.3034 | 1249353.2996 | 2655501.6674 | 1249367.1921 | 2655501.1852 | 1249384.8219 | 2655502.4279 | 1249386.7682
17 | 2655502.4279 | 1249386.7682 | 2655480.7791 | 1249386.4575
18 | 2655424.098 | 1249157.0112 | 2655433.4358 | 1249149.9936 | 2655470.8905 | 1249122.9475 | 2655502.8067 | 1249113.295
19 | 2655424.098 | 1249157.0112 | 2655449.7681 | 1249199.9806 | 2655435.2274 | 1249207.8835
20 | 2655424.098 | 1249157.0112 | 2655416.1612 | 1249162.7965 | 2655400.5315 | 1249171.1926
21 | 2655502.8067 | 1249113.295 | 2655507.9161 | 1249144.5938
22 | 2655530.2546 | 1249269.4925 | 2655522.5351 | 1249218.7015
23 | 2655516.1086 | 1249176.4184 | 2655522.5351 | 1249218.7015
24 | 2655456.9131 | 1249261.8788 | 2655430.5488 | 1249270.2765
25 | 2655456.9131 | 1249261.8788 | 2655461.3298 | 1249276.3213
26 | 2655462.894 | 1249296.4696 | 2655463.4774 | 1249283.3439 | 2655461.3298 | 1249276.3213
27 | 2655508.5766 | 1249148.6399 | 2655507.9161 | 1249144.5938
28 | 2655492.6798 | 1249338.4549 | 2655495.5865 | 1249339.2826 | 2655499.4945 | 1249341.2205 | 2655502.2589 | 1249347.573 | 2655502.3034 | 1249353.2996
29 | 2655508.5766 | 1249148.6399 | 2655513.3936 | 1249176.8822 | 2655516.1086 | 1249176.4184
30 | 2655508.5766 | 1249148.6399 | 2655542.2757 | 1249142.771
31 | 2655577.3387 | 1249136.6645 | 2655542.2757 | 1249142.771
32 | 2655689.7951 | 1249255.0229 | 2655685.3209 | 1249247.4423 | 2655679.0951 | 1249239.8565 | 2655672.9792 | 1249238.2535 | 2655646.1565 | 1249242.6243
33 | 2655593.7519 | 1249251.1637 | 2655646.1565 | 1249242.6243
34 | 2655575.4517 | 1249126.1285 | 2655577.3387 | 1249136.6645
35 | 2655575.4517 | 1249126.1285 | 2655612.8704 | 1249120.6822
36 | 2655582.3843 | 1249167.066 | 2655577.3387 | 1249136.6645
37 | 2655492.2282 | 1249330.245 | 2655492.6585 | 1249334.2852 | 2655492.6798 | 1249338.4549
38 | 2655492.2282 | 1249330.245 | 2655487.6312 | 1249330.0825
39 | 2655492.6798 | 1249338.4549 | 2655486.8099 | 1249337.1991
40 | 2655487.6312 | 1249330.0825 | 2655476.4903 | 1249329.6886
41 | 2655370.2937 | 1249177.1113 | 2655376.4143 | 1249174.1887 | 2655397.7043 | 1249163.1466 | 2655399.8518 | 1249161.1986 | 2655398.8086 | 1249158.9095 | 2655381.882 | 1249123.9719 | 2655385.6346 | 1249119.9375 | 2655389.2787 | 1249114.5901 | 2655390.5116 | 1249111.1215 | 2655390.9307 | 1249106.6779 | 2655391.1561 | 1249098.719 | 2655392.7509 | 1249094.4976 | 2655397.9226 | 1249093.7454
42 | 2655370.2937 | 1249177.1113 | 2655364.9513 | 1249180.7973 | 2655352.0664 | 1249187.8601
43 | 2655397.9226 | 1249093.7454 | 2655429.192 | 1249079.6879
44 | 2655342.1149 | 1249193.315 | 2655352.0664 | 1249187.8601
45 | 2655462.8671 | 1249059.7068 | 2655460.5771 | 1249065.5783 | 2655429.192 | 1249079.6879
46 | 2655241.8997 | 1249244.0489 | 2655241.2698 | 1249246.8228 | 2655244.6702 | 1249277.3198
47 | 2655241.8997 | 1249244.0489 | 2655244.2897 | 1249241.992 | 2655276.6965 | 1249227.395
48 | 2655268.6443 | 1249268.248 | 2655269.2677 | 1249275.0696 | 2655244.6702 | 1249277.3198
49 | 2655287.7787 | 1249221.9279 | 2655276.6965 | 1249227.395
50 | 2655462.8671 | 1249059.7068 | 2655474.8595 | 1249086.9265 | 2655477.8041 | 1249089.3668 | 2655481.3423 | 1249088.8885 | 2655488.0962 | 1249087.1079
51 | 2655514.4749 | 1249061.4352 | 2655516.1576 | 1249067.1994 | 2655518.215 | 1249075.68 | 2655517.1129 | 1249078.8719 | 2655513.5574 | 1249080.3952 | 2655488.0962 | 1249087.1079
52 | 2655302.191 | 1249214.8129 | 2655287.7787 | 1249221.9279
53 | 2655302.191 | 1249214.8129 | 2655311.0164 | 1249210.3096
54 | 2655302.191 | 1249214.8129 | 2655306.3352 | 1249234.1129
55 | 2655483.506 | 1249333.6324 | 2655486.8099 | 1249337.1991
56 | 2655483.506 | 1249333.6324 | 2655472.6856 | 1249332.8539
57 | 2655461.3003 | 1249332.0347 | 2655472.6856 | 1249332.8539
58 | 2655593.7519 | 1249251.1637 | 2655593.6633 | 1249259.0015 | 2655591.2359 | 1249259.4013 | 2655596.202 | 1249290.2023
59 | 2655589.2101 | 1249222.6126 | 2655593.7519 | 1249251.1637
60 | 2655596.202 | 1249290.2023 | 2655580.5991 | 1249292.2242
61 | 2655587.4641 | 1249208.3086 | 2655589.2101 | 1249222.6126
62 | 2655580.5991 | 1249292.2242 | 2655550.393 | 1249291.7358
63 | 2655462.894 | 1249296.4696 | 2655461.433 | 1249329.1562
64 | 2655462.894 | 1249296.4696 | 2655439.6006 | 1249299.5379
65 | 2655582.3843 | 1249167.066 | 2655586.744 | 1249202.1754
66 | 2655582.3843 | 1249167.066 | 2655623.7638 | 1249161.1005
67 | 2655586.744 | 1249202.1754 | 2655587.4641 | 1249208.3086
68 | 2655586.744 | 1249202.1754 | 2655640.1652 | 1249195.5315
69 | 2655623.7638 | 1249161.1005 | 2655626.8387 | 1249160.6572
70 | 2655552.4576 | 1249308.4605 | 2655552.4576 | 1249308.4605 | 2655546.2273 | 1249291.6684 | 2655550.393 | 1249291.7358
71 | 2655342.1149 | 1249193.315 | 2655347.9133 | 1249216.4806
72 | 2655342.1149 | 1249193.315 | 2655331.2933 | 1249199.9631 | 2655311.0164 | 1249210.3096
73 | 2655306.3352 | 1249234.1129 | 2655306.609 | 1249235.3878
74 | 2655461.3003 | 1249332.0347 | 2655450.4852 | 1249331.2591
75 | 2655461.3003 | 1249332.0347 | 2655461.433 | 1249329.1562
76 | 2655381.4037 | 1249326.7382 | 2655394.8441 | 1249327.4968
77 | 2655369.876 | 1249326.0875 | 2655381.4037 | 1249326.7382
78 | 2655409.7736 | 1249328.3395 | 2655394.8441 | 1249327.4968
79 | 2655369.876 | 1249326.0875 | 2655357.5963 | 1249325.1298
80 | 2655369.876 | 1249326.0875 | 2655369.528 | 1249331.8216 | 2655368.8179 | 1249343.4908
81 | 2655409.7736 | 1249328.3395 | 2655414.8878 | 1249334.5248 | 2655414.4604 | 1249353.2143
82 | 2655409.7736 | 1249328.3395 | 2655434.9985 | 1249330.1485
83 | 2655357.5963 | 1249325.1298 | 2655354.2729 | 1249324.8706
84 | 2655414.3897 | 1249356.3039 | 2655414.4604 | 1249353.2143
85 | 2655434.9985 | 1249330.1485 | 2655444.3323 | 1249330.8179
86 | 2655363.7601 | 1249289.6543 | 2655362.3105 | 1249281.0187
87 | 2655359.6018 | 1249264.8827 | 2655362.3105 | 1249281.0187
88 | 2655325.3387 | 1249322.614 | 2655354.2729 | 1249324.8706
89 | 2655414.3897 | 1249356.3039 | 2655414.227 | 1249363.4199
90 | 2655450.4852 | 1249331.2591 | 2655444.3323 | 1249330.8179
91 | 2655357.1115 | 1249253.2282 | 2655358.7326 | 1249259.7046 | 2655359.6018 | 1249264.8827
92 | 2655325.3387 | 1249322.614 | 2655323.2343 | 1249312.8134
93 | 2655309.4441 | 1249248.5914 | 2655306.609 | 1249235.3878
94 | 2655309.4441 | 1249248.5914 | 2655310.545 | 1249253.7181
95 | 2655310.545 | 1249253.7181 | 2655311.743 | 1249259.2973
96 | 2655312.7621 | 1249264.0434 | 2655311.743 | 1249259.2973
97 | 2655348.5757 | 1249219.1267 | 2655347.9133 | 1249216.4806
98 | 2655348.5757 | 1249219.1267 | 2655351.988 | 1249232.7593
99 | 2655352.3404 | 1249234.1671 | 2655351.988 | 1249232.7593
100 | 2655312.7621 | 1249264.0434 | 2655317.132 | 1249284.3943
101 | 2655317.132 | 1249284.3943 | 2655317.6292 | 1249286.7101
102 | 2655317.6309 | 1249286.718 | 2655317.6292 | 1249286.7101
103 | 2655317.6309 | 1249286.718 | 2655323.2343 | 1249312.8134
104 | 2655413.7382 | 1249384.7931 | 2655412.5615 | 1249409.7103
105 | 2655412.5615 | 1249409.7103 | 2655412.3933 | 1249412.5039
106 | 2655413.7382 | 1249384.7931 | 2655413.994 | 1249373.6073
107 | 2655413.7382 | 1249384.7931 | 2655393.9747 | 1249384.4638 | 2655392.228 | 1249384.3234
108 | 2655414.227 | 1249363.4199 | 2655413.994 | 1249373.6073
109 | 2655355.8557 | 1249248.2112 | 2655352.3404 | 1249234.1671
110 | 2655355.8557 | 1249248.2112 | 2655357.1115 | 1249253.2282
111 | 2655587.4641 | 1249208.3086 | 2655554.064 | 1249214.5003

## bus_geodata
| x | y | coords
0 | 2655714.3842 | 1249421.2184
1 | 2655714.0358 | 1249369.4737
2 | 2655727.7621 | 1249307.6601
3 | 2655771.2501 | 1249376.0938
4 | 2655712.1553 | 1249296.0637
5 | 2655769.8309 | 1249297.9369
6 | 2655687.9618 | 1249299.8698
7 | 2655671.9009 | 1249277.4926
8 | 2655450.863 | 1249242.7536
9 | 2655445.2437 | 1249245.3584
10 | 2655441.8042 | 1249222.5509
11 | 2655506.7628 | 1249431.7953
12 | 2655502.4279 | 1249386.7682
13 | 2655478.2533 | 1249432.3322
14 | 2655424.098 | 1249157.0112
15 | 2655502.8067 | 1249113.295
16 | 2655435.2274 | 1249207.8835
17 | 2655400.5315 | 1249171.1926
18 | 2655530.2546 | 1249269.4925
19 | 2655522.5351 | 1249218.7015
20 | 2655456.9131 | 1249261.8788
21 | 2655430.5488 | 1249270.2765
22 | 2655461.3298 | 1249276.3213
23 | 2655507.9161 | 1249144.5938
24 | 2655502.3034 | 1249353.2996
25 | 2655480.7791 | 1249386.4575
26 | 2655516.1086 | 1249176.4184
27 | 2655508.5766 | 1249148.6399
28 | 2655423.3249 | 1249241.7499
29 | 2655542.2757 | 1249142.771
30 | 2655689.7951 | 1249255.0229
31 | 2655646.1565 | 1249242.6243
32 | 2655575.4517 | 1249126.1285
33 | 2655577.3387 | 1249136.6645
34 | 2655612.8704 | 1249120.6822
35 | 2655492.2282 | 1249330.245
36 | 2655492.6798 | 1249338.4549
37 | 2655487.6312 | 1249330.0825
38 | 2655370.2937 | 1249177.1113
39 | 2655397.9226 | 1249093.7454
40 | 2655352.0664 | 1249187.8601
41 | 2655429.192 | 1249079.6879
42 | 2655241.8997 | 1249244.0489
43 | 2655244.6702 | 1249277.3198
44 | 2655276.6965 | 1249227.395
45 | 2655462.8671 | 1249059.7068
46 | 2655488.0962 | 1249087.1079
47 | 2655287.7787 | 1249221.9279
48 | 2655302.191 | 1249214.8129
49 | 2655486.8099 | 1249337.1991
50 | 2655483.506 | 1249333.6324
51 | 2655472.6856 | 1249332.8539
52 | 2655650.3734 | 1249281.107
53 | 2655593.7519 | 1249251.1637
54 | 2655596.202 | 1249290.2023
55 | 2655589.2101 | 1249222.6126
56 | 2655580.5991 | 1249292.2242
57 | 2655462.894 | 1249296.4696
58 | 2655582.3843 | 1249167.066
59 | 2655586.744 | 1249202.1754
60 | 2655623.7638 | 1249161.1005
61 | 2655550.393 | 1249291.7358
62 | 2655552.4576 | 1249308.4605
63 | 2655640.1652 | 1249195.5315
64 | 2655476.4903 | 1249329.6886
65 | 2655342.1149 | 1249193.315
66 | 2655268.6443 | 1249268.248
67 | 2655514.4749 | 1249061.4352
68 | 2655311.0164 | 1249210.3096
69 | 2655306.3352 | 1249234.1129
70 | 2655461.3003 | 1249332.0347
71 | 2655381.4037 | 1249326.7382
72 | 2655394.8441 | 1249327.4968
73 | 2655369.876 | 1249326.0875
74 | 2655409.7736 | 1249328.3395
75 | 2655357.5963 | 1249325.1298
76 | 2655368.8179 | 1249343.4908
77 | 2655414.4604 | 1249353.2143
78 | 2655434.9985 | 1249330.1485
79 | 2655363.7601 | 1249289.6543
80 | 2655362.3105 | 1249281.0187
81 | 2655354.2729 | 1249324.8706
82 | 2655414.3897 | 1249356.3039
83 | 2655444.3323 | 1249330.8179
84 | 2655359.6018 | 1249264.8827
85 | 2655325.3387 | 1249322.614
86 | 2655306.609 | 1249235.3878
87 | 2655309.4441 | 1249248.5914
88 | 2655310.545 | 1249253.7181
89 | 2655311.743 | 1249259.2973
90 | 2655347.9133 | 1249216.4806
91 | 2655461.433 | 1249329.1562
92 | 2655439.6006 | 1249299.5379
93 | 2655450.4852 | 1249331.2591
94 | 2655348.5757 | 1249219.1267
95 | 2655351.988 | 1249232.7593
96 | 2655312.7621 | 1249264.0434
97 | 2655317.132 | 1249284.3943
98 | 2655317.6292 | 1249286.7101
99 | 2655323.2343 | 1249312.8134
100 | 2655317.6309 | 1249286.718
101 | 2655412.5615 | 1249409.7103
102 | 2655413.7382 | 1249384.7931
103 | 2655412.3933 | 1249412.5039
104 | 2655413.994 | 1249373.6073
105 | 2655392.228 | 1249384.3234
106 | 2655352.3404 | 1249234.1671
107 | 2655355.8557 | 1249248.2112
108 | 2655357.1115 | 1249253.2282
109 | 2655414.227 | 1249363.4199
110 | 2655626.8387 | 1249160.6572
111 | 2655587.4641 | 1249208.3086
112 | 2655554.064 | 1249214.5003
113 | 2655514.9767 | 1249272.2736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1