## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4203-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4203-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4203-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4203-1_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4203-1_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4203-1_0_4_node_106 | 0.4 | n |  | TRUE
6 | bus_LV_4203-1_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4203-1_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_4203-1_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4203-1_0_4_node_105 | 0.4 | n |  | TRUE
10 | bus_LV_4203-1_0_4_node_104 | 0.4 | n |  | TRUE
11 | bus_LV_4203-1_0_4_node_107 | 0.4 | n |  | TRUE
12 | bus_LV_4203-1_0_4_node_108 | 0.4 | n |  | TRUE
13 | bus_LV_4203-1_0_4_node_109 | 0.4 | n |  | TRUE
14 | bus_LV_4203-1_0_4_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_4203-1_0_4_node_100 | 0.4 | n |  | TRUE
16 | bus_LV_4203-1_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_4203-1_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_4203-1_0_4_node_98 | 0.4 | n |  | TRUE
19 | bus_LV_4203-1_0_4_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_4203-1_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4203-1_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4203-1_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4203-1_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4203-1_0_4_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_4203-1_0_4_node_102 | 0.4 | n |  | TRUE
26 | bus_LV_4203-1_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4203-1_0_4_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_4203-1_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4203-1_0_4_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4203-1_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4203-1_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4203-1_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4203-1_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4203-1_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_4203-1_0_4_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_4203-1_0_4_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_4203-1_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_4203-1_0_4_node_113 | 0.4 | n |  | TRUE
39 | bus_LV_4203-1_0_4_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_4203-1_0_4_node_85 | 0.4 | n |  | TRUE
41 | bus_LV_4203-1_0_4_node_86 | 0.4 | n |  | TRUE
42 | bus_LV_4203-1_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4203-1_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_4203-1_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4203-1_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_4203-1_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4203-1_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4203-1_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4203-1_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4203-1_0_4_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4203-1_0_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_4203-1_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_4203-1_0_4_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_4203-1_0_4_node_77 | 0.4 | n |  | TRUE
55 | bus_LV_4203-1_0_4_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4203-1_0_4_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_4203-1_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4203-1_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_4203-1_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4203-1_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_4203-1_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4203-1_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4203-1_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_4203-1_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_4203-1_0_4_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4203-1_0_4_node_40 | 0.4 | n |  | TRUE
67 | bus_LV_4203-1_0_4_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_4203-1_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4203-1_0_4_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_4203-1_0_4_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_4203-1_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4203-1_0_4_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_4203-1_0_4_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_4203-1_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4203-1_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4203-1_0_4_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_4203-1_0_4_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_4203-1_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_4203-1_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_4203-1_0_4_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_4203-1_0_4_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_4203-1_0_4_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_4203-1_0_4_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_4203-1_0_4_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_4203-1_0_4_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_4203-1_0_4_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_4203-1_0_4_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_4203-1_0_4_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4203-1_0_4_node_66 | 0.4 | n |  | TRUE
90 | bus_LV_4203-1_0_4_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_4203-1_0_4_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_4203-1_0_4_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_4203-1_0_4_node_67 | 0.4 | n |  | TRUE
94 | bus_LV_4203-1_0_4_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4203-1_0_4_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_4203-1_0_4_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_4203-1_0_4_node_112 | 0.4 | n |  | TRUE
98 | bus_LV_4203-1_0_4_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_4203-1_0_4_node_83 | 0.4 | n |  | TRUE
100 | bus_LV_4203-1_0_4_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_4203-1_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4203-1_0_4_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_4203-1_0_4_node_90 | 0.4 | n |  | TRUE
104 | bus_LV_4203-1_0_4_node_88 | 0.4 | n |  | TRUE
105 | bus_LV_4203-1_0_4_node_93 | 0.4 | n |  | TRUE
106 | bus_MV_303_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4203-1_0_4_load_0 | 0 | 0.011925 | 0.0029886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4203-1_0_4_load_6 | 6 | 0.0060669 | 0.0015205 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4203-1_0_4_load_10 | 7 | 0.00070236 | 0.00017603 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4203-1_0_4_load_7 | 8 | 0.0051617 | 0.0012937 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4203-1_0_4_load_104 | 10 | 0.0014438 | 0.00036185 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4203-1_0_4_load_107 | 11 | 0.003128 | 0.00078394 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4203-1_0_4_load_108 | 12 | 0.00069275 | 0.00017362 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4203-1_0_4_load_109 | 13 | 0.0043426 | 0.0010884 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4203-1_0_4_load_5 | 14 | 0.02008 | 0.0050324 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4203-1_0_4_load_100 | 15 | 0.00051782 | 0.00012978 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4203-1_0_4_load_8 | 16 | 0.0050206 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4203-1_0_4_load_9 | 17 | 0.00088363 | 0.00022146 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4203-1_0_4_load_11 | 20 | 0.000187 | 4.6865e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4203-1_0_4_load_14 | 22 | 0.00042922 | 0.00010757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4203-1_0_4_load_103 | 24 | 0.0010306 | 0.0002583 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4203-1_0_4_load_16 | 28 | 0.00022519 | 5.6438e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4203-1_0_4_load_26 | 29 | 8.4496e-05 | 2.1177e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4203-1_0_4_load_24 | 32 | 8.0018e-05 | 2.0054e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4203-1_0_4_load_20 | 33 | 0.00017864 | 4.4772e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4203-1_0_4_load_25 | 34 | 0.00087394 | 0.00021903 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4203-1_0_4_load_101 | 35 | 0.0079588 | 0.0019947 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4203-1_0_4_load_18 | 36 | 0.00077448 | 0.0001941 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4203-1_0_4_load_113 | 38 | 0.00034501 | 8.6468e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4203-1_0_4_load_84 | 39 | 0.00088617 | 0.00022209 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4203-1_0_4_load_86 | 41 | 0.0033284 | 0.00083416 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4203-1_0_4_load_21 | 42 | 8.0693e-05 | 2.0223e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4203-1_0_4_load_28 | 45 | 0.00029809 | 7.4708e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4203-1_0_4_load_30 | 46 | 0.0030389 | 0.00076163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4203-1_0_4_load_31 | 47 | 0.007042 | 0.0017649 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4203-1_0_4_load_33 | 49 | 0.00034571 | 8.6644e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4203-1_0_4_load_34 | 50 | 0.016031 | 0.0040176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4203-1_0_4_load_35 | 52 | 0.014716 | 0.0036881 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4203-1_0_4_load_76 | 53 | 0.011873 | 0.0029756 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4203-1_0_4_load_43 | 58 | 0.0073332 | 0.0018379 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4203-1_0_4_load_47 | 59 | 0.0072543 | 0.0018181 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4203-1_0_4_load_49 | 61 | 0.021478 | 0.0053829 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4203-1_0_4_load_41 | 62 | 0.0015349 | 0.00038468 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4203-1_0_4_load_40 | 66 | 0.0062377 | 0.0015633 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4203-1_0_4_load_96 | 69 | 0.00050014 | 0.00012535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4203-1_0_4_load_52 | 71 | 0.0012305 | 0.0003084 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4203-1_0_4_load_111 | 72 | 0.00091659 | 0.00022972 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4203-1_0_4_load_51 | 73 | 0.0065015 | 0.0016294 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4203-1_0_4_load_57 | 74 | 0.00048884 | 0.00012252 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4203-1_0_4_load_54 | 75 | 0.005997 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4203-1_0_4_load_59 | 77 | 0.00059857 | 0.00015002 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4203-1_0_4_load_68 | 80 | 0.0011927 | 0.00029892 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4203-1_0_4_load_60 | 81 | 0.0015685 | 0.00039309 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4203-1_0_4_load_61 | 82 | 0.0015024 | 0.00037654 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4203-1_0_4_load_64 | 85 | 0.0019603 | 0.0004913 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4203-1_0_4_load_65 | 86 | 0.0030056 | 0.00075327 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4203-1_0_4_load_80 | 87 | 0.0016514 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4203-1_0_4_load_74 | 88 | 0.00045731 | 0.00011461 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4203-1_0_4_load_66 | 89 | 0.0009128 | 0.00022877 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4203-1_0_4_load_78 | 90 | 0.0016826 | 0.0004217 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4203-1_0_4_load_92 | 91 | 0.0023023 | 0.00057702 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4203-1_0_4_load_72 | 92 | 0.00054546 | 0.0001367 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4203-1_0_4_load_67 | 93 | 0.0021273 | 0.00053316 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4203-1_0_4_load_79 | 94 | 0.0019598 | 0.00049116 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4203-1_0_4_load_73 | 96 | 0.0027379 | 0.00068619 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4203-1_0_4_load_112 | 97 | 0.0027763 | 0.00069581 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4203-1_0_4_load_83 | 99 | 0.00057882 | 0.00014506 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4203-1_0_4_load_81 | 100 | 0.001507 | 0.00037768 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4203-1_0_4_load_95 | 101 | 0.0011504 | 0.00028832 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4203-1_0_4_load_94 | 102 | 0.0024657 | 0.00061796 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4203-1_0_4_load_88 | 104 | 0.0016496 | 0.00041343 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4203-1_0_4_load_93 | 105 | 0.0021379 | 0.00053582 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 70 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4203-1_0_4_line_0 |  | 0 | 1 | 0.059335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4203-1_0_4_line_1 |  | 0 | 2 | 0.053088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4203-1_0_4_line_2 |  | 1 | 3 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4203-1_0_4_line_3 |  | 1 | 4 | 0.029686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4203-1_0_4_line_4 |  | 2 | 5 | 0.06012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4203-1_0_4_line_5 |  | 3 | 6 | 0.036484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4203-1_0_4_line_6 |  | 4 | 7 | 0.0090564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4203-1_0_4_line_7 |  | 4 | 8 | 0.030145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4203-1_0_4_line_8 |  | 5 | 11 | 0.016357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4203-1_0_4_line_9 |  | 5 | 9 | 0.022095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4203-1_0_4_line_10 |  | 6 | 14 | 0.043974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4203-1_0_4_line_11 |  | 7 | 15 | 0.0069237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4203-1_0_4_line_12 |  | 8 | 16 | 0.0011357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4203-1_0_4_line_13 |  | 9 | 10 | 0.015901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4203-1_0_4_line_14 |  | 11 | 12 | 0.017071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4203-1_0_4_line_15 |  | 12 | 13 | 0.015147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4203-1_0_4_line_16 |  | 16 | 17 | 0.02501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4203-1_0_4_line_17 |  | 17 | 18 | 0.044264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4203-1_0_4_line_18 |  | 18 | 19 | 0.041203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4203-1_0_4_line_19 |  | 19 | 69 | 0.0382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4203-1_0_4_line_20 |  | 20 | 21 | 0.040529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4203-1_0_4_line_21 |  | 21 | 22 | 0.024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4203-1_0_4_line_22 |  | 21 | 23 | 0.11121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4203-1_0_4_line_23 |  | 22 | 28 | 0.0058425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4203-1_0_4_line_24 |  | 23 | 29 | 0.030561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4203-1_0_4_line_25 |  | 24 | 25 | 0.062662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4203-1_0_4_line_26 |  | 24 | 26 | 0.1345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4203-1_0_4_line_27 |  | 24 | 27 | 0.1296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4203-1_0_4_line_28 |  | 25 | 35 | 0.029405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4203-1_0_4_line_29 |  | 26 | 42 | 0.058186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4203-1_0_4_line_30 |  | 27 | 60 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4203-1_0_4_line_31 |  | 27 | 61 | 0.027989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4203-1_0_4_line_32 |  | 28 | 30 | 0.0086635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4203-1_0_4_line_33 |  | 29 | 34 | 0.010953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4203-1_0_4_line_34 |  | 30 | 36 | 0.038162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4203-1_0_4_line_35 |  | 30 | 37 | 0.006437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4203-1_0_4_line_36 |  | 31 | 32 | 0.052462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4203-1_0_4_line_37 |  | 31 | 33 | 0.010527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4203-1_0_4_line_38 |  | 32 | 43 | 0.025899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4203-1_0_4_line_39 |  | 33 | 42 | 0.039353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4203-1_0_4_line_40 |  | 34 | 44 | 0.022762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4203-1_0_4_line_41 |  | 37 | 38 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4203-1_0_4_line_42 |  | 39 | 40 | 0.037727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4203-1_0_4_line_43 |  | 39 | 41 | 0.00088505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4203-1_0_4_line_44 |  | 40 | 64 | 0.041591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4203-1_0_4_line_45 |  | 43 | 44 | 0.043483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4203-1_0_4_line_46 |  | 44 | 45 | 0.0092401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4203-1_0_4_line_47 |  | 46 | 47 | 0.024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4203-1_0_4_line_48 |  | 46 | 48 | 0.029861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4203-1_0_4_line_49 |  | 47 | 49 | 0.051379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4203-1_0_4_line_50 |  | 48 | 50 | 0.053829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4203-1_0_4_line_51 |  | 49 | 51 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4203-1_0_4_line_52 |  | 50 | 52 | 0.018288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4203-1_0_4_line_53 |  | 51 | 53 | 0.0051809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4203-1_0_4_line_54 |  | 51 | 54 | 0.045533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4203-1_0_4_line_55 |  | 52 | 55 | 0.022814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4203-1_0_4_line_56 |  | 54 | 97 | 0.038355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4203-1_0_4_line_57 |  | 54 | 98 | 0.072083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4203-1_0_4_line_58 |  | 55 | 56 | 0.020901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4203-1_0_4_line_59 |  | 56 | 57 | 0.021018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4203-1_0_4_line_60 |  | 56 | 58 | 0.034149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4203-1_0_4_line_61 |  | 57 | 59 | 0.0039532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4203-1_0_4_line_62 |  | 58 | 62 | 0.0014569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4203-1_0_4_line_63 |  | 59 | 60 | 0.026402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4203-1_0_4_line_64 |  | 60 | 65 | 0.071038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4203-1_0_4_line_65 |  | 61 | 63 | 0.023787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4203-1_0_4_line_66 |  | 62 | 66 | 0.0026663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4203-1_0_4_line_67 |  | 63 | 64 | 0.039692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4203-1_0_4_line_68 |  | 64 | 72 | 0.02377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4203-1_0_4_line_69 |  | 65 | 67 | 0.036774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_4203-1_0_4_line_70 |  | 67 | 68 | 0.025263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_4203-1_0_4_line_71 |  | 67 | 69 | 0.078727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4203-1_0_4_line_72 |  | 68 | 70 | 0.062035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4203-1_0_4_line_73 |  | 68 | 71 | 0.013462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4203-1_0_4_line_74 |  | 70 | 74 | 0.03332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4203-1_0_4_line_75 |  | 70 | 75 | 0.034687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4203-1_0_4_line_76 |  | 71 | 73 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4203-1_0_4_line_77 |  | 74 | 78 | 0.0064154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4203-1_0_4_line_78 |  | 75 | 76 | 0.025439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4203-1_0_4_line_79 |  | 76 | 77 | 0.034944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4203-1_0_4_line_80 |  | 78 | 79 | 0.035339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4203-1_0_4_line_81 |  | 79 | 80 | 0.027636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4203-1_0_4_line_82 |  | 79 | 95 | 0.030392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4203-1_0_4_line_83 |  | 81 | 82 | 0.0040256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4203-1_0_4_line_84 |  | 81 | 83 | 0.037694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4203-1_0_4_line_85 |  | 82 | 84 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4203-1_0_4_line_86 |  | 83 | 85 | 0.028729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4203-1_0_4_line_87 |  | 83 | 86 | 0.0067574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4203-1_0_4_line_88 |  | 84 | 87 | 0.047373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4203-1_0_4_line_89 |  | 84 | 88 | 0.018763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4203-1_0_4_line_90 |  | 85 | 89 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4203-1_0_4_line_91 |  | 86 | 90 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4203-1_0_4_line_92 |  | 87 | 91 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4203-1_0_4_line_93 |  | 88 | 92 | 0.02018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4203-1_0_4_line_94 |  | 89 | 93 | 0.013519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4203-1_0_4_line_95 |  | 90 | 94 | 0.0076349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4203-1_0_4_line_96 |  | 91 | 103 | 0.0064887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4203-1_0_4_line_97 |  | 92 | 96 | 0.0072033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4203-1_0_4_line_98 |  | 93 | 95 | 0.026471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4203-1_0_4_line_99 |  | 94 | 101 | 0.017512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4203-1_0_4_line_100 |  | 98 | 99 | 0.002642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4203-1_0_4_line_101 |  | 98 | 100 | 0.026062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4203-1_0_4_line_102 |  | 101 | 102 | 0.01573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4203-1_0_4_line_103 |  | 102 | 105 | 0.024921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4203-1_0_4_line_104 |  | 103 | 104 | 0.023099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4203-1_0_4_trafo_55 | 0.63 MVA 20/0.4 kV | 106 | 70 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2655146.3863 | 1251947.5819 | 2655121.2744 | 1251893.8231
1 | 2655098.8064 | 1251845.7243 | 2655121.2744 | 1251893.8231
2 | 2655170.3313 | 1251937.2197 | 2655146.3863 | 1251947.5819
3 | 2655126.2172 | 1251964.9952 | 2655127.8518 | 1251955.5928 | 2655146.3863 | 1251947.5819
4 | 2655098.8064 | 1251845.7243 | 2655133.4821 | 1251796.6126
5 | 2655170.3313 | 1251937.2197 | 2655170.7688 | 1251933.9993 | 2655157.2242 | 1251903.6508
6 | 2655126.2172 | 1251964.9952 | 2655118.1285 | 1251969.0687
7 | 2655126.2172 | 1251964.9952 | 2655137.4785 | 1251992.9576
8 | 2655133.4821 | 1251796.6126 | 2655119.9064 | 1251787.4881
9 | 2655147.2284 | 1251779.284 | 2655133.4821 | 1251796.6126
10 | 2655139.3025 | 1251863.4949 | 2655157.2242 | 1251903.6508
11 | 2655111.9447 | 1251972.1829 | 2655118.1285 | 1251969.0687
12 | 2655137.4785 | 1251992.9576 | 2655137.9028 | 1251994.011
13 | 2655147.2284 | 1251779.284 | 2655159.2538 | 1251789.6876
14 | 2655119.9064 | 1251787.4881 | 2655114.4089 | 1251783.7931 | 2655104.9888 | 1251779.2769
15 | 2655104.9888 | 1251779.2769 | 2655091.3303 | 1251772.7287
16 | 2655132.5957 | 1252011.4343 | 2655142.9692 | 1252006.591 | 2655137.9028 | 1251994.011
17 | 2655092.4875 | 1252030.1603 | 2655132.5957 | 1252011.4343
18 | 2655109.1552 | 1252067.8414 | 2655107.7801 | 1252064.7709 | 2655104.7932 | 1252058.094 | 2655092.4875 | 1252030.1603
19 | 2655109.1552 | 1252067.8414 | 2655140.5654 | 1252046.1016
20 | 2655246.1481 | 1252462.4574 | 2655243.2328 | 1252466.7555 | 2655247.5672 | 1252480.2163 | 2655245.1405 | 1252490.3897 | 2655245.6785 | 1252495.009 | 2655250.9169 | 1252498.1045
21 | 2655246.1481 | 1252462.4574 | 2655238.2391 | 1252451.1759 | 2655231.925 | 1252443.0674
22 | 2655246.1481 | 1252462.4574 | 2655251.9208 | 1252463.2896 | 2655263.9761 | 1252475.0212 | 2655270.7097 | 1252482.8561 | 2655285.6078 | 1252498.8506 | 2655299.7856 | 1252506.3103 | 2655313.6929 | 1252509.5979 | 2655339.6906 | 1252507.8949
23 | 2655227.1883 | 1252439.9057 | 2655230.7298 | 1252441.5325 | 2655231.925 | 1252443.0674
24 | 2655339.6906 | 1252507.8949 | 2655354.2784 | 1252506.1966 | 2655370.0903 | 1252504.7851
25 | 2655394.0771 | 1252233.4675 | 2655348.8877 | 1252231.8665 | 2655331.9332 | 1252227.7606
26 | 2655331.9332 | 1252227.7606 | 2655275.7982 | 1252349.9889
27 | 2655267.4599 | 1252115.337 | 2655331.9332 | 1252227.7606
28 | 2655394.0771 | 1252233.4675 | 2655420.813 | 1252221.2274
29 | 2655275.7982 | 1252349.9889 | 2655285.7281 | 1252359.8217 | 2655307.7335 | 1252385.7005 | 2655314.8007 | 1252393.1134
30 | 2655260.3279 | 1252096.7687 | 2655261.3941 | 1252099.7807 | 2655262.8866 | 1252104.0087 | 2655267.4599 | 1252115.337
31 | 2655267.4599 | 1252115.337 | 2655242.9022 | 1252128.7639
32 | 2655219.3157 | 1252436.2892 | 2655227.1883 | 1252439.9057
33 | 2655370.0903 | 1252504.7851 | 2655380.9995 | 1252503.8112
34 | 2655219.3157 | 1252436.2892 | 2655211.9075 | 1252438.4662 | 2655208.7812 | 1252440.3161 | 2655203.4456 | 1252445.2032 | 2655204.1505 | 1252446.4995 | 2655213.8479 | 1252461.8449
35 | 2655219.3157 | 1252436.2892 | 2655214.5949 | 1252431.8977
36 | 2655353.7887 | 1252423.7346 | 2655368.7321 | 1252434.0703 | 2655379.9276 | 1252442.4918 | 2655395.7631 | 1252455.167
37 | 2655353.7887 | 1252423.7346 | 2655344.9877 | 1252417.9594
38 | 2655417.3763 | 1252468.7267 | 2655409.739 | 1252466.3537 | 2655395.7631 | 1252455.167
39 | 2655314.8007 | 1252393.1134 | 2655327.6272 | 1252406.5674 | 2655344.9877 | 1252417.9594
40 | 2655402.9715 | 1252509.754 | 2655380.9995 | 1252503.8112
41 | 2655214.5949 | 1252431.8977 | 2655202.3211 | 1252433.8848
42 | 2655185.4833 | 1252193.4831 | 2655183.4608 | 1252195.9104 | 2655175.5858 | 1252205.2325 | 2655168.6795 | 1252206.9694 | 2655157.2666 | 1252207.2301 | 2655153.4409 | 1252207.3389
43 | 2655152.5562 | 1252207.3641 | 2655153.4409 | 1252207.3389
44 | 2655185.4833 | 1252193.4831 | 2655188.7499 | 1252189.5552 | 2655177.8607 | 1252183.8054 | 2655185.5503 | 1252168.4664 | 2655189.0933 | 1252162.4174
45 | 2655402.9715 | 1252509.754 | 2655416.1668 | 1252472.1734 | 2655417.3763 | 1252468.7267
46 | 2655402.9715 | 1252509.754 | 2655409.4284 | 1252516.3638
47 | 2655415.3634 | 1252050.6283 | 2655403.5176 | 1252029.4947
48 | 2655402.465 | 1252077.3485 | 2655412.6429 | 1252059.887 | 2655415.3634 | 1252050.6283 | 2655415.3634 | 1252050.6283
49 | 2655371.3347 | 1251990.096 | 2655388.2263 | 1252008.5009 | 2655394.5566 | 1252013.508 | 2655403.5176 | 1252029.4947
50 | 2655402.465 | 1252077.3485 | 2655396.1667 | 1252079.4133 | 2655389.1252 | 1252074.5997 | 2655386.9453 | 1252069.6426 | 2655381.9138 | 1252066.9715 | 2655354.8307 | 1252072.0748
51 | 2655364.0227 | 1251972.2274 | 2655368.9889 | 1251987.54 | 2655371.3347 | 1251990.096
52 | 2655337.467 | 1252077.6739 | 2655341.2625 | 1252076.2872 | 2655350.5997 | 1252072.872 | 2655354.8307 | 1252072.0748
53 | 2655364.0227 | 1251972.2274 | 2655358.9739 | 1251973.39
54 | 2655408.3212 | 1251961.167 | 2655385.1568 | 1251967.1102 | 2655365.9665 | 1251971.7786 | 2655364.0227 | 1251972.2274
55 | 2655316.0379 | 1252085.5026 | 2655337.467 | 1252077.6739
56 | 2655408.3212 | 1251961.167 | 2655425.2969 | 1251995.5829
57 | 2655408.3212 | 1251961.167 | 2655422.1041 | 1251955.2917 | 2655439.6661 | 1251987.5339 | 2655444.798 | 1251985.1246 | 2655447.885 | 1251990.7352 | 2655455.1527 | 1251986.7004
58 | 2655299.4931 | 1252074.4184 | 2655300.7656 | 1252077.966 | 2655307.754 | 1252080.3885 | 2655316.0379 | 1252085.5026
59 | 2655284.359 | 1252083.6058 | 2655283.178 | 1252079.9589 | 2655299.4931 | 1252074.4184
60 | 2655299.4931 | 1252074.4184 | 2655288.119 | 1252042.2192
61 | 2655284.359 | 1252083.6058 | 2655280.6662 | 1252085.017
62 | 2655288.119 | 1252042.2192 | 2655287.6337 | 1252040.8455
63 | 2655260.3279 | 1252096.7687 | 2655265.4391 | 1252094.1256 | 2655264.2505 | 1252091.2903 | 2655280.6662 | 1252085.017
64 | 2655236.6972 | 1252029.7575 | 2655259.6515 | 1252094.8499 | 2655260.3279 | 1252096.7687
65 | 2655222.0307 | 1252140.1753 | 2655242.9022 | 1252128.7639
66 | 2655286.7457 | 1252038.3314 | 2655287.6337 | 1252040.8455
67 | 2655222.0307 | 1252140.1753 | 2655199.6194 | 1252154.4876 | 2655189.0933 | 1252162.4174
68 | 2655189.0933 | 1252162.4174 | 2655175.7855 | 1252157.0564 | 2655166.614 | 1252154.8943
69 | 2655208.5461 | 1252006.4012 | 2655214.474 | 1252012.494 | 2655218.8815 | 1252017.3495 | 2655232.9236 | 1252027.354 | 2655236.6972 | 1252029.7575
70 | 2655230.8904 | 1251994.49 | 2655213.5974 | 1252003.7131 | 2655208.5461 | 1252006.4012
71 | 2655208.5461 | 1252006.4012 | 2655141.2549 | 1252045.6244 | 2655140.5654 | 1252046.1016
72 | 2655230.8904 | 1251994.49 | 2655270.5013 | 1251969.7308 | 2655283.2594 | 1251961.2439
73 | 2655230.8904 | 1251994.49 | 2655227.5567 | 1251987.7987 | 2655225.0433 | 1251982.3652
74 | 2655283.2594 | 1251961.2439 | 2655297.3494 | 1251950.7569 | 2655303.2544 | 1251942.3284 | 2655305.5813 | 1251937.3839
75 | 2655283.2594 | 1251961.2439 | 2655275.2253 | 1251940.6547 | 2655268.6387 | 1251929.9303
76 | 2655218.7236 | 1251968.7032 | 2655225.0433 | 1251982.3652
77 | 2655308.3131 | 1251931.5792 | 2655305.5813 | 1251937.3839
78 | 2655255.8087 | 1251908.0955 | 2655260.965 | 1251919.2402 | 2655268.6387 | 1251929.9303
79 | 2655255.8087 | 1251908.0955 | 2655248.3728 | 1251913.1742 | 2655250.9221 | 1251932.7671 | 2655244.835 | 1251934.0224
80 | 2655308.3131 | 1251931.5792 | 2655308.9071 | 1251896.2491
81 | 2655308.9071 | 1251896.2491 | 2655299.8926 | 1251890.1386 | 2655286.0311 | 1251880.7424
82 | 2655311.2488 | 1251866.1167 | 2655308.7015 | 1251878.6572 | 2655308.9071 | 1251896.2491
83 | 2655390.2496 | 1251874.4147 | 2655391.2596 | 1251878.3116
84 | 2655387.8659 | 1251839.5914 | 2655390.4047 | 1251848.1544 | 2655395.2051 | 1251865.0554 | 2655389.7617 | 1251872.532 | 2655390.2496 | 1251874.4147
85 | 2655385.9826 | 1251900.5717 | 2655384.6948 | 1251894.6222 | 2655391.6111 | 1251888.6382 | 2655393.4475 | 1251886.7541 | 2655391.2596 | 1251878.3116
86 | 2655387.8659 | 1251839.5914 | 2655360.3325 | 1251847.7917
87 | 2655387.8659 | 1251839.5914 | 2655394.3426 | 1251837.6641
88 | 2655385.9826 | 1251900.5717 | 2655432.3292 | 1251890.7616
89 | 2655385.9826 | 1251900.5717 | 2655378.536 | 1251906.7842 | 2655369.9874 | 1251909.8
90 | 2655360.3325 | 1251847.7917 | 2655348.0735 | 1251851.4429
91 | 2655394.3426 | 1251837.6641 | 2655404.6749 | 1251834.5894 | 2655416.4863 | 1251831.0721
92 | 2655458.5312 | 1251882.978 | 2655451.1296 | 1251886.7822 | 2655432.3292 | 1251890.7616
93 | 2655350.9573 | 1251916.5137 | 2655369.9874 | 1251909.8
94 | 2655348.0735 | 1251851.4429 | 2655335.117 | 1251855.3017
95 | 2655416.4863 | 1251831.0721 | 2655423.8037 | 1251828.8931
96 | 2655464.3023 | 1251880.0119 | 2655458.5312 | 1251882.978
97 | 2655350.9573 | 1251916.5137 | 2655350.565 | 1251916.6521 | 2655344.1654 | 1251918.913
98 | 2655311.2488 | 1251866.1167 | 2655321.8789 | 1251859.2445 | 2655335.117 | 1251855.3017
99 | 2655423.8037 | 1251828.8931 | 2655440.587 | 1251823.8952
100 | 2655455.1527 | 1251986.7004 | 2655456.3912 | 1251989.0358
101 | 2655455.1527 | 1251986.7004 | 2655478.541 | 1251975.2019
102 | 2655455.6626 | 1251819.4059 | 2655440.587 | 1251823.8952
103 | 2655479.5475 | 1251812.2932 | 2655455.6626 | 1251819.4059
104 | 2655464.3023 | 1251880.0119 | 2655480.1824 | 1251871.8437 | 2655484.3865 | 1251868.7142

## bus_geodata
| x | y | coords
0 | 2655121.2744 | 1251893.8231
1 | 2655146.3863 | 1251947.5819
2 | 2655098.8064 | 1251845.7243
3 | 2655170.3313 | 1251937.2197
4 | 2655126.2172 | 1251964.9952
5 | 2655133.4821 | 1251796.6126
6 | 2655157.2242 | 1251903.6508
7 | 2655118.1285 | 1251969.0687
8 | 2655137.4785 | 1251992.9576
9 | 2655147.2284 | 1251779.284
10 | 2655159.2538 | 1251789.6876
11 | 2655119.9064 | 1251787.4881
12 | 2655104.9888 | 1251779.2769
13 | 2655091.3303 | 1251772.7287
14 | 2655139.3025 | 1251863.4949
15 | 2655111.9447 | 1251972.1829
16 | 2655137.9028 | 1251994.011
17 | 2655132.5957 | 1252011.4343
18 | 2655092.4875 | 1252030.1603
19 | 2655109.1552 | 1252067.8414
20 | 2655250.9169 | 1252498.1045
21 | 2655246.1481 | 1252462.4574
22 | 2655231.925 | 1252443.0674
23 | 2655339.6906 | 1252507.8949
24 | 2655331.9332 | 1252227.7606
25 | 2655394.0771 | 1252233.4675
26 | 2655275.7982 | 1252349.9889
27 | 2655267.4599 | 1252115.337
28 | 2655227.1883 | 1252439.9057
29 | 2655370.0903 | 1252504.7851
30 | 2655219.3157 | 1252436.2892
31 | 2655353.7887 | 1252423.7346
32 | 2655395.7631 | 1252455.167
33 | 2655344.9877 | 1252417.9594
34 | 2655380.9995 | 1252503.8112
35 | 2655420.813 | 1252221.2274
36 | 2655213.8479 | 1252461.8449
37 | 2655214.5949 | 1252431.8977
38 | 2655202.3211 | 1252433.8848
39 | 2655153.4409 | 1252207.3389
40 | 2655185.4833 | 1252193.4831
41 | 2655152.5562 | 1252207.3641
42 | 2655314.8007 | 1252393.1134
43 | 2655417.3763 | 1252468.7267
44 | 2655402.9715 | 1252509.754
45 | 2655409.4284 | 1252516.3638
46 | 2655415.3634 | 1252050.6283
47 | 2655403.5176 | 1252029.4947
48 | 2655402.465 | 1252077.3485
49 | 2655371.3347 | 1251990.096
50 | 2655354.8307 | 1252072.0748
51 | 2655364.0227 | 1251972.2274
52 | 2655337.467 | 1252077.6739
53 | 2655358.9739 | 1251973.39
54 | 2655408.3212 | 1251961.167
55 | 2655316.0379 | 1252085.5026
56 | 2655299.4931 | 1252074.4184
57 | 2655284.359 | 1252083.6058
58 | 2655288.119 | 1252042.2192
59 | 2655280.6662 | 1252085.017
60 | 2655260.3279 | 1252096.7687
61 | 2655242.9022 | 1252128.7639
62 | 2655287.6337 | 1252040.8455
63 | 2655222.0307 | 1252140.1753
64 | 2655189.0933 | 1252162.4174
65 | 2655236.6972 | 1252029.7575
66 | 2655286.7457 | 1252038.3314
67 | 2655208.5461 | 1252006.4012
68 | 2655230.8904 | 1251994.49
69 | 2655140.5654 | 1252046.1016
70 | 2655283.2594 | 1251961.2439
71 | 2655225.0433 | 1251982.3652
72 | 2655166.614 | 1252154.8943
73 | 2655218.7236 | 1251968.7032
74 | 2655305.5813 | 1251937.3839
75 | 2655268.6387 | 1251929.9303
76 | 2655255.8087 | 1251908.0955
77 | 2655244.835 | 1251934.0224
78 | 2655308.3131 | 1251931.5792
79 | 2655308.9071 | 1251896.2491
80 | 2655286.0311 | 1251880.7424
81 | 2655390.2496 | 1251874.4147
82 | 2655391.2596 | 1251878.3116
83 | 2655387.8659 | 1251839.5914
84 | 2655385.9826 | 1251900.5717
85 | 2655360.3325 | 1251847.7917
86 | 2655394.3426 | 1251837.6641
87 | 2655432.3292 | 1251890.7616
88 | 2655369.9874 | 1251909.8
89 | 2655348.0735 | 1251851.4429
90 | 2655416.4863 | 1251831.0721
91 | 2655458.5312 | 1251882.978
92 | 2655350.9573 | 1251916.5137
93 | 2655335.117 | 1251855.3017
94 | 2655423.8037 | 1251828.8931
95 | 2655311.2488 | 1251866.1167
96 | 2655344.1654 | 1251918.913
97 | 2655425.2969 | 1251995.5829
98 | 2655455.1527 | 1251986.7004
99 | 2655456.3912 | 1251989.0358
100 | 2655478.541 | 1251975.2019
101 | 2655440.587 | 1251823.8952
102 | 2655455.6626 | 1251819.4059
103 | 2655464.3023 | 1251880.0119
104 | 2655484.3865 | 1251868.7143
105 | 2655479.5475 | 1251812.2932
106 | 2655270.5013 | 1251969.7308

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1