## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4203-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4203-5_0_4_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_4203-5_0_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_4203-5_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4203-5_0_4_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_4203-5_0_4_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_4203-5_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4203-5_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_4203-5_0_4_node_118 | 0.4 | n |  | TRUE
9 | bus_LV_4203-5_0_4_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_4203-5_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4203-5_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4203-5_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4203-5_0_4_node_85 | 0.4 | n |  | TRUE
14 | bus_LV_4203-5_0_4_node_83 | 0.4 | n |  | TRUE
15 | bus_LV_4203-5_0_4_node_80 | 0.4 | n |  | TRUE
16 | bus_LV_4203-5_0_4_node_81 | 0.4 | n |  | TRUE
17 | bus_LV_4203-5_0_4_node_76 | 0.4 | n |  | TRUE
18 | bus_LV_4203-5_0_4_node_82 | 0.4 | n |  | TRUE
19 | bus_LV_4203-5_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_4203-5_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_4203-5_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4203-5_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4203-5_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4203-5_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4203-5_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4203-5_0_4_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_4203-5_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4203-5_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_4203-5_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_4203-5_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_4203-5_0_4_node_117 | 0.4 | n |  | TRUE
32 | bus_LV_4203-5_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4203-5_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4203-5_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4203-5_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4203-5_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4203-5_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_4203-5_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4203-5_0_4_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_4203-5_0_4_node_109 | 0.4 | n |  | TRUE
41 | bus_LV_4203-5_0_4_node_90 | 0.4 | n |  | TRUE
42 | bus_LV_4203-5_0_4_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_4203-5_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_4203-5_0_4_node_96 | 0.4 | n |  | TRUE
45 | bus_LV_4203-5_0_4_node_110 | 0.4 | n |  | TRUE
46 | bus_LV_4203-5_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4203-5_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4203-5_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4203-5_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4203-5_0_4_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4203-5_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4203-5_0_4_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_4203-5_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4203-5_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4203-5_0_4_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_4203-5_0_4_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4203-5_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4203-5_0_4_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4203-5_0_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_4203-5_0_4_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_4203-5_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_4203-5_0_4_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_4203-5_0_4_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_4203-5_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4203-5_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4203-5_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4203-5_0_4_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4203-5_0_4_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_4203-5_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4203-5_0_4_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4203-5_0_4_node_84 | 0.4 | n |  | TRUE
72 | bus_LV_4203-5_0_4_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_4203-5_0_4_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_4203-5_0_4_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4203-5_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_4203-5_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4203-5_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4203-5_0_4_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_4203-5_0_4_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_4203-5_0_4_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_4203-5_0_4_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4203-5_0_4_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4203-5_0_4_node_67 | 0.4 | n |  | TRUE
84 | bus_LV_4203-5_0_4_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4203-5_0_4_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_4203-5_0_4_node_116 | 0.4 | n |  | TRUE
87 | bus_LV_4203-5_0_4_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4203-5_0_4_node_106 | 0.4 | n |  | TRUE
89 | bus_LV_4203-5_0_4_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_4203-5_0_4_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_4203-5_0_4_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_4203-5_0_4_node_78 | 0.4 | n |  | TRUE
93 | bus_LV_4203-5_0_4_node_79 | 0.4 | n |  | TRUE
94 | bus_LV_4203-5_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_4203-5_0_4_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_4203-5_0_4_node_88 | 0.4 | n |  | TRUE
97 | bus_LV_4203-5_0_4_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_4203-5_0_4_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_4203-5_0_4_node_86 | 0.4 | n |  | TRUE
100 | bus_LV_4203-5_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_4203-5_0_4_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_4203-5_0_4_node_87 | 0.4 | n |  | TRUE
103 | bus_LV_4203-5_0_4_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_4203-5_0_4_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_4203-5_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_4203-5_0_4_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_4203-5_0_4_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_4203-5_0_4_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_4203-5_0_4_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_4203-5_0_4_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_4203-5_0_4_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_4203-5_0_4_node_112 | 0.4 | n |  | TRUE
113 | bus_LV_4203-5_0_4_node_113 | 0.4 | n |  | TRUE
114 | bus_MV_303_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4203-5_0_4_load_0 | 0 | 0.001471 | 0.00036868 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4203-5_0_4_load_7 | 1 | 0.01202 | 0.0030125 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4203-5_0_4_load_9 | 2 | 0.0071625 | 0.0017951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4203-5_0_4_load_6 | 3 | 0.0072597 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4203-5_0_4_load_1 | 4 | 0.014556 | 0.003648 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4203-5_0_4_load_2 | 5 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4203-5_0_4_load_3 | 7 | 0.00090989 | 0.00022804 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4203-5_0_4_load_118 | 8 | 0.001231 | 0.00030853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4203-5_0_4_load_11 | 12 | 0.0074526 | 0.0018678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4203-5_0_4_load_85 | 13 | 0.0069987 | 0.001754 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4203-5_0_4_load_83 | 14 | 0.0037269 | 0.00093405 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4203-5_0_4_load_80 | 15 | 0.003536 | 0.00088619 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4203-5_0_4_load_81 | 16 | 0.0072969 | 0.0018288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4203-5_0_4_load_12 | 19 | 0.0013268 | 0.00033254 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4203-5_0_4_load_13 | 20 | 0.0058455 | 0.001465 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4203-5_0_4_load_16 | 22 | 0.0010959 | 0.00027467 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4203-5_0_4_load_17 | 23 | 0.0040177 | 0.0010069 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4203-5_0_4_load_18 | 24 | 0.001118 | 0.00028021 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4203-5_0_4_load_19 | 25 | 0.0017635 | 0.00044198 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4203-5_0_4_load_25 | 27 | 0.0011433 | 0.00028654 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4203-5_0_4_load_21 | 28 | 0.00063881 | 0.0001601 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4203-5_0_4_load_22 | 29 | 0.0017035 | 0.00042695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4203-5_0_4_load_23 | 30 | 0.0016324 | 0.00040912 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4203-5_0_4_load_117 | 31 | 0.005172 | 0.0012962 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4203-5_0_4_load_26 | 33 | 0.0014984 | 0.00037554 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4203-5_0_4_load_35 | 37 | 0.0032451 | 0.00081329 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4203-5_0_4_load_34 | 38 | 0.00056484 | 0.00014156 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4203-5_0_4_load_109 | 40 | 0.0048696 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4203-5_0_4_load_93 | 42 | 0.012141 | 0.0030427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4203-5_0_4_load_89 | 43 | 0.055073 | 0.013803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4203-5_0_4_load_96 | 44 | 0.01256 | 0.0031478 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4203-5_0_4_load_30 | 46 | 0.00091971 | 0.0002305 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4203-5_0_4_load_32 | 48 | 0.0054857 | 0.0013748 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4203-5_0_4_load_38 | 49 | 0.001052 | 0.00026364 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4203-5_0_4_load_39 | 50 | 0.0015102 | 0.00037849 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4203-5_0_4_load_40 | 51 | 0.0011042 | 0.00027674 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4203-5_0_4_load_111 | 52 | 0.0010611 | 0.00026595 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4203-5_0_4_load_41 | 53 | 0.010684 | 0.0026777 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4203-5_0_4_load_42 | 54 | 0.0074157 | 0.0018586 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4203-5_0_4_load_55 | 59 | 0.0013331 | 0.00033411 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4203-5_0_4_load_62 | 60 | 0.00080331 | 0.00020133 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4203-5_0_4_load_50 | 61 | 0.0015312 | 0.00038375 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4203-5_0_4_load_46 | 62 | 0.0023371 | 0.00058573 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4203-5_0_4_load_60 | 64 | 0.0014099 | 0.00035334 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4203-5_0_4_load_47 | 65 | 0.0019372 | 0.00048551 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4203-5_0_4_load_49 | 66 | 0.0040681 | 0.0010196 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4203-5_0_4_load_53 | 68 | 0.0033353 | 0.00083591 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4203-5_0_4_load_54 | 70 | 0.0016955 | 0.00042492 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4203-5_0_4_load_84 | 71 | 0.0099663 | 0.0024978 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4203-5_0_4_load_107 | 73 | 0.0047922 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4203-5_0_4_load_57 | 74 | 0.0013107 | 0.00032849 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4203-5_0_4_load_58 | 75 | 0.0013487 | 0.00033801 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4203-5_0_4_load_59 | 76 | 0.00082868 | 0.00020769 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4203-5_0_4_load_61 | 77 | 0.00082478 | 0.00020671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4203-5_0_4_load_63 | 78 | 0.0007516 | 0.00018837 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4203-5_0_4_load_64 | 79 | 0.0023552 | 0.00059027 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4203-5_0_4_load_68 | 81 | 0.0011957 | 0.00029967 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4203-5_0_4_load_70 | 84 | 0.0091507 | 0.0022934 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4203-5_0_4_load_71 | 85 | 0.0016306 | 0.00040868 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4203-5_0_4_load_106 | 88 | 0.0081604 | 0.0020452 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4203-5_0_4_load_73 | 89 | 0.0032164 | 0.00080611 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4203-5_0_4_load_74 | 90 | 0.052667 | 0.0132 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4203-5_0_4_load_88 | 96 | 0.012379 | 0.0031024 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4203-5_0_4_load_98 | 97 | 0.012721 | 0.0031882 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4203-5_0_4_load_97 | 98 | 0.01563 | 0.0039174 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4203-5_0_4_load_86 | 99 | 0.0057919 | 0.0014516 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4203-5_0_4_load_87 | 102 | 0.018767 | 0.0047036 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4203-5_0_4_load_103 | 103 | 0.0047281 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4203-5_0_4_load_99 | 104 | 0.0079578 | 0.0019944 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4203-5_0_4_load_100 | 106 | 0.0013284 | 0.00033293 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4203-5_0_4_load_115 | 110 | 0.0023428 | 0.00058717 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4203-5_0_4_load_105 | 111 | 0.00047317 | 0.00011859 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4203-5_0_4_load_112 | 112 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4203-5_0_4_load_113 | 113 | 0.0023385 | 0.00058608 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 94 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4203-5_0_4_line_0 |  | 0 | 1 | 0.10887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4203-5_0_4_line_1 |  | 1 | 2 | 0.0073248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4203-5_0_4_line_2 |  | 1 | 3 | 0.0051244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4203-5_0_4_line_3 |  | 2 | 13 | 0.0017801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4203-5_0_4_line_4 |  | 3 | 10 | 0.0074846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4203-5_0_4_line_5 |  | 4 | 5 | 0.073143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4203-5_0_4_line_6 |  | 5 | 6 | 0.040234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4203-5_0_4_line_7 |  | 6 | 7 | 0.0081422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4203-5_0_4_line_8 |  | 7 | 8 | 0.10638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4203-5_0_4_line_9 |  | 8 | 9 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4203-5_0_4_line_10 |  | 9 | 47 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4203-5_0_4_line_11 |  | 9 | 48 | 0.03315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4203-5_0_4_line_12 |  | 10 | 11 | 0.027139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4203-5_0_4_line_13 |  | 10 | 12 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4203-5_0_4_line_14 |  | 11 | 14 | 0.0090495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4203-5_0_4_line_15 |  | 11 | 15 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4203-5_0_4_line_16 |  | 12 | 16 | 0.01491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4203-5_0_4_line_17 |  | 15 | 17 | 0.0091927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4203-5_0_4_line_18 |  | 16 | 18 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4203-5_0_4_line_19 |  | 17 | 93 | 0.001288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4203-5_0_4_line_20 |  | 17 | 90 | 0.015001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4203-5_0_4_line_21 |  | 18 | 71 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4203-5_0_4_line_22 |  | 19 | 20 | 0.046688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4203-5_0_4_line_23 |  | 19 | 21 | 0.024713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4203-5_0_4_line_24 |  | 21 | 22 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4203-5_0_4_line_25 |  | 21 | 23 | 0.027461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4203-5_0_4_line_26 |  | 22 | 24 | 0.026743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4203-5_0_4_line_27 |  | 24 | 25 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4203-5_0_4_line_28 |  | 25 | 26 | 0.025624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4203-5_0_4_line_29 |  | 26 | 27 | 0.0029565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4203-5_0_4_line_30 |  | 27 | 30 | 0.026088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4203-5_0_4_line_31 |  | 28 | 29 | 0.015949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4203-5_0_4_line_32 |  | 28 | 30 | 0.0058257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4203-5_0_4_line_33 |  | 28 | 31 | 0.03512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4203-5_0_4_line_34 |  | 29 | 32 | 0.030661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4203-5_0_4_line_35 |  | 32 | 33 | 0.010319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4203-5_0_4_line_36 |  | 33 | 34 | 0.033516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4203-5_0_4_line_37 |  | 34 | 35 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4203-5_0_4_line_38 |  | 34 | 36 | 0.030567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4203-5_0_4_line_39 |  | 35 | 37 | 0.027886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4203-5_0_4_line_40 |  | 35 | 38 | 0.0066037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4203-5_0_4_line_41 |  | 36 | 39 | 0.030006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4203-5_0_4_line_42 |  | 36 | 40 | 0.025668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4203-5_0_4_line_43 |  | 39 | 44 | 0.023353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4203-5_0_4_line_44 |  | 39 | 41 | 0.049091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4203-5_0_4_line_45 |  | 40 | 45 | 0.0089711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4203-5_0_4_line_46 |  | 41 | 42 | 0.014762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4203-5_0_4_line_47 |  | 41 | 43 | 0.038746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4203-5_0_4_line_48 |  | 42 | 100 | 0.018515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4203-5_0_4_line_49 |  | 45 | 52 | 0.027227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4203-5_0_4_line_50 |  | 45 | 51 | 0.011555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4203-5_0_4_line_51 |  | 46 | 47 | 0.0096136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4203-5_0_4_line_52 |  | 48 | 49 | 0.0088151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4203-5_0_4_line_53 |  | 49 | 50 | 0.024368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4203-5_0_4_line_54 |  | 50 | 51 | 0.017452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4203-5_0_4_line_55 |  | 53 | 54 | 0.00048843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4203-5_0_4_line_56 |  | 54 | 55 | 0.022446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4203-5_0_4_line_57 |  | 55 | 56 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4203-5_0_4_line_58 |  | 55 | 57 | 0.014038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4203-5_0_4_line_59 |  | 56 | 58 | 0.034845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4203-5_0_4_line_60 |  | 56 | 59 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4203-5_0_4_line_61 |  | 57 | 60 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4203-5_0_4_line_62 |  | 58 | 61 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4203-5_0_4_line_63 |  | 58 | 62 | 0.0021661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4203-5_0_4_line_64 |  | 59 | 63 | 0.0077825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4203-5_0_4_line_65 |  | 60 | 64 | 0.00038539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4203-5_0_4_line_66 |  | 61 | 68 | 0.014633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4203-5_0_4_line_67 |  | 62 | 65 | 0.040776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4203-5_0_4_line_68 |  | 63 | 74 | 0.0098198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4203-5_0_4_line_69 |  | 63 | 75 | 0.0085681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4203-5_0_4_line_70 |  | 64 | 77 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4203-5_0_4_line_71 |  | 65 | 66 | 0.010204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4203-5_0_4_line_72 |  | 66 | 67 | 0.0167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4203-5_0_4_line_73 |  | 67 | 69 | 0.002933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4203-5_0_4_line_74 |  | 68 | 70 | 0.0052174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4203-5_0_4_line_75 |  | 69 | 71 | 0.029539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4203-5_0_4_line_76 |  | 69 | 72 | 0.004874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4203-5_0_4_line_77 |  | 72 | 73 | 0.020352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4203-5_0_4_line_78 |  | 73 | 104 | 0.021872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4203-5_0_4_line_79 |  | 74 | 76 | 0.00096241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4203-5_0_4_line_80 |  | 77 | 78 | 0.007642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4203-5_0_4_line_81 |  | 79 | 80 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4203-5_0_4_line_82 |  | 80 | 81 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4203-5_0_4_line_83 |  | 80 | 82 | 0.032338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4203-5_0_4_line_84 |  | 81 | 83 | 0.02758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4203-5_0_4_line_85 |  | 82 | 85 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4203-5_0_4_line_86 |  | 83 | 84 | 0.0093368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4203-5_0_4_line_87 |  | 84 | 86 | 0.022189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4203-5_0_4_line_88 |  | 85 | 87 | 0.01079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4203-5_0_4_line_89 |  | 86 | 88 | 0.021012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4203-5_0_4_line_90 |  | 87 | 89 | 0.028214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4203-5_0_4_line_91 |  | 88 | 105 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4203-5_0_4_line_92 |  | 90 | 91 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_4203-5_0_4_line_93 |  | 91 | 92 | 0.021546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_4203-5_0_4_line_94 |  | 92 | 97 | 0.032082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4203-5_0_4_line_95 |  | 92 | 98 | 0.022628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4203-5_0_4_line_96 |  | 93 | 99 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4203-5_0_4_line_97 |  | 94 | 95 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_4203-5_0_4_line_98 |  | 94 | 96 | 0.046501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4203-5_0_4_line_99 |  | 95 | 101 | 0.024397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4203-5_0_4_line_100 |  | 95 | 98 | 0.022566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_4203-5_0_4_line_101 |  | 96 | 102 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4203-5_0_4_line_102 |  | 97 | 103 | 0.022641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4203-5_0_4_line_103 |  | 100 | 101 | 0.033278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4203-5_0_4_line_104 |  | 103 | 105 | 0.0093354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4203-5_0_4_line_105 |  | 105 | 111 | 0.014326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4203-5_0_4_line_106 |  | 106 | 107 | 0.022603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4203-5_0_4_line_107 |  | 107 | 108 | 0.053394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4203-5_0_4_line_108 |  | 108 | 109 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4203-5_0_4_line_109 |  | 108 | 110 | 0.027388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4203-5_0_4_line_110 |  | 109 | 111 | 0.037166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4203-5_0_4_line_111 |  | 109 | 112 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4203-5_0_4_line_112 |  | 110 | 113 | 0.0034475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4203-5_0_4_trafo_77 | 0.63 MVA 20/0.4 kV | 114 | 94 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2654881.9617 | 1252003.856 | 2654782.6877 | 1252048.5472
1 | 2654881.9617 | 1252003.856 | 2654884.4867 | 1252007.4708 | 2654886.8751 | 1252009.1429
2 | 2654881.9617 | 1252003.856 | 2654881.9617 | 1252003.856 | 2654881.3502 | 1251999.8031 | 2654881.4088 | 1251998.7792
3 | 2654886.8751 | 1252009.1429 | 2654888.3333 | 1252010.1638
4 | 2654883.6353 | 1251991.8409 | 2654881.6024 | 1251995.3912 | 2654881.4088 | 1251998.7792
5 | 2654794.5614 | 1252202.8857 | 2654723.9962 | 1252183.6395
6 | 2654809.0433 | 1252240.4234 | 2654794.5614 | 1252202.8857
7 | 2654809.0433 | 1252240.4234 | 2654817.0083 | 1252238.7338
8 | 2654903.4829 | 1252176.7753 | 2654817.0083 | 1252238.7338
9 | 2654917.5258 | 1252181.82 | 2654909.9914 | 1252181.3054 | 2654903.4829 | 1252176.7753
10 | 2654917.5258 | 1252181.82 | 2654938.053 | 1252194.8192
11 | 2654917.5258 | 1252181.82 | 2654943.5495 | 1252161.1912
12 | 2654883.6353 | 1251991.8409 | 2654904.9458 | 1251974.9599
13 | 2654883.6353 | 1251991.8409 | 2654874.654 | 1251979.6604
14 | 2654904.9458 | 1251974.9599 | 2654899.3624 | 1251967.8381
15 | 2654904.9458 | 1251974.9599 | 2654911.9249 | 1251983.8642
16 | 2654876.618 | 1251964.8806 | 2654874.654 | 1251979.6604
17 | 2654917.5958 | 1251991.0993 | 2654911.9249 | 1251983.8642
18 | 2654879.5783 | 1251942.6025 | 2654876.618 | 1251964.8806
19 | 2654917.5958 | 1251991.0993 | 2654918.3863 | 1251992.1185
20 | 2654917.5958 | 1251991.0993 | 2654923.5623 | 1251986.5515 | 2654929.515 | 1251981.9908
21 | 2654879.5783 | 1251942.6025 | 2654880.4628 | 1251935.9283 | 2654881.3438 | 1251931.7756
22 | 2655004.9911 | 1252350.4158 | 2654982.3453 | 1252350.8382 | 2654975.8058 | 1252346.419 | 2654969.6476 | 1252331.4944
23 | 2655029.7001 | 1252349.9548 | 2655004.9911 | 1252350.4158
24 | 2655029.7001 | 1252349.9548 | 2655024.2661 | 1252331.3599
25 | 2655029.7001 | 1252349.9548 | 2655039.4446 | 1252375.6283
26 | 2655017.1445 | 1252305.5867 | 2655020.1115 | 1252317.143 | 2655024.2661 | 1252331.3599
27 | 2655012.7329 | 1252288.404 | 2655017.1445 | 1252305.5867
28 | 2655006.6484 | 1252263.5141 | 2655009.7986 | 1252276.9749 | 2655012.7329 | 1252288.404
29 | 2655006.6484 | 1252263.5141 | 2655005.9748 | 1252260.6354
30 | 2655005.9748 | 1252260.6354 | 2655001.8069 | 1252242.8215 | 2655000.9409 | 1252235.0769
31 | 2655000.2935 | 1252229.2872 | 2654999.5493 | 1252222.631 | 2654999.771 | 1252213.3822 | 2654999.771 | 1252213.3822
32 | 2655000.2935 | 1252229.2872 | 2655000.9409 | 1252235.0769
33 | 2655000.2935 | 1252229.2872 | 2655035.2036 | 1252225.4527
34 | 2655009.4797 | 1252184.53 | 2655004.1995 | 1252194.8326 | 2655001.9134 | 1252202.9059 | 2654999.771 | 1252213.3822
35 | 2655009.4797 | 1252184.53 | 2655014.5861 | 1252175.5634
36 | 2655032.5251 | 1252147.3959 | 2655026.9715 | 1252153.8154 | 2655014.5861 | 1252175.5634
37 | 2655032.5251 | 1252147.3959 | 2655036.4288 | 1252148.8109 | 2655040.575 | 1252148.4825 | 2655044.2084 | 1252146.4815 | 2655046.6919 | 1252143.1689 | 2655047.5748 | 1252139.1187 | 2655055.4012 | 1252137.4458
38 | 2655029.5133 | 1252120.6604 | 2655032.8925 | 1252130.5987 | 2655029.8793 | 1252133.2504 | 2655028.1852 | 1252136.8927 | 2655028.1027 | 1252140.9058 | 2655029.6304 | 1252144.6115 | 2655032.5251 | 1252147.3959
39 | 2655055.4012 | 1252137.4458 | 2655083.2753 | 1252138.2712
40 | 2655055.4012 | 1252137.4458 | 2655056.2624 | 1252143.8471 | 2655056.4028 | 1252143.812
41 | 2655025.6463 | 1252090.9261 | 2655027.0739 | 1252098.0999 | 2655029.5133 | 1252120.6604
42 | 2655029.5133 | 1252120.6604 | 2655004.5337 | 1252126.5667
43 | 2655025.6463 | 1252090.9261 | 2655016.1643 | 1252069.5852
44 | 2655025.6463 | 1252090.9261 | 2655027.0739 | 1252098.0999 | 2655002.1533 | 1252093.3431 | 2654987.1284 | 1252086.7547
45 | 2654995.8033 | 1252128.6309 | 2655004.5337 | 1252126.5667
46 | 2654987.1284 | 1252086.7547 | 2654982.6264 | 1252072.6959
47 | 2654987.1284 | 1252086.7547 | 2654949.5892 | 1252077.1618
48 | 2654978.7989 | 1252054.7997 | 2654978.672 | 1252060.3468 | 2654982.6264 | 1252072.6959
49 | 2654995.8033 | 1252128.6309 | 2654989.8289 | 1252123.4719 | 2654982.1665 | 1252117.2299 | 2654974.8266 | 1252111.202
50 | 2654995.8033 | 1252128.6309 | 2654987.5764 | 1252136.7455
51 | 2654938.053 | 1252194.8192 | 2654935.3481 | 1252204.0444
52 | 2654943.5495 | 1252161.1912 | 2654951.4215 | 1252157.2242
53 | 2654951.4215 | 1252157.2242 | 2654973.1826 | 1252146.2581
54 | 2654973.1826 | 1252146.2581 | 2654982.8934 | 1252141.3645 | 2654987.5764 | 1252136.7455
55 | 2654962.2858 | 1251800.2615 | 2654962.6902 | 1251800.5354
56 | 2654981.2758 | 1251813.1217 | 2654962.6902 | 1251800.5354
57 | 2654967.3855 | 1251828.9483 | 2654981.2758 | 1251813.1217
58 | 2654990.5436 | 1251802.5559 | 2654981.2758 | 1251813.1217
59 | 2654967.3855 | 1251828.9483 | 2654944.3801 | 1251855.1755
60 | 2654967.3855 | 1251828.9483 | 2654978.2726 | 1251838.0211
61 | 2654990.5436 | 1251802.5559 | 2655000.9366 | 1251811.2538
62 | 2654944.3801 | 1251855.1755 | 2654954.4265 | 1251864.2287
63 | 2654944.3801 | 1251855.1755 | 2654942.9518 | 1251856.804
64 | 2654984.2513 | 1251843.0033 | 2654978.2726 | 1251838.0211
65 | 2655001.2321 | 1251811.5011 | 2655000.9366 | 1251811.2538
66 | 2654965.2971 | 1251874.0246 | 2654954.4265 | 1251864.2287
67 | 2654942.9518 | 1251856.804 | 2654916.0643 | 1251887.4591
68 | 2654984.2513 | 1251843.0033 | 2654990.2666 | 1251835.2416
69 | 2654984.2513 | 1251843.0033 | 2654979.0015 | 1251849.7748
70 | 2655001.2321 | 1251811.5011 | 2655009.1238 | 1251818.1057
71 | 2654916.0643 | 1251887.4591 | 2654909.3357 | 1251895.1305
72 | 2654898.3241 | 1251907.6852 | 2654909.3357 | 1251895.1305
73 | 2654898.3241 | 1251907.6852 | 2654900.5173 | 1251909.6402
74 | 2654965.2971 | 1251874.0246 | 2654969.173 | 1251877.5173
75 | 2654900.5173 | 1251909.6402 | 2654881.7412 | 1251929.9026 | 2654881.3438 | 1251931.7756
76 | 2654904.1626 | 1251912.8873 | 2654900.5173 | 1251909.6402
77 | 2654904.1626 | 1251912.8873 | 2654919.6256 | 1251926.1198
78 | 2654935.5619 | 1251941.0947 | 2654921.8558 | 1251928.0284 | 2654919.6256 | 1251926.1198
79 | 2654990.8562 | 1251834.4809 | 2654990.2666 | 1251835.2416
80 | 2655013.8363 | 1251812.0897 | 2655009.1238 | 1251818.1057
81 | 2655079.4501 | 1252000.5519 | 2655095.3289 | 1251992.4271
82 | 2655079.4501 | 1252000.5519 | 2655072.9204 | 1251985.7274
83 | 2655092.4875 | 1252030.1603 | 2655079.4501 | 1252000.5519
84 | 2655063.1106 | 1251959.9942 | 2655067.0037 | 1251972.2944 | 2655072.9204 | 1251985.7274
85 | 2655092.4875 | 1252030.1603 | 2655100.4432 | 1252048.2197
86 | 2655063.1106 | 1251959.9942 | 2655058.6427 | 1251951.7958
87 | 2655048.0248 | 1251932.3127 | 2655058.6427 | 1251951.7958
88 | 2655104.7932 | 1252058.094 | 2655100.4432 | 1252048.2197
89 | 2655048.0248 | 1251932.3127 | 2655030.1368 | 1251921.2889
90 | 2655104.7932 | 1252058.094 | 2655092.9859 | 1252069.8925 | 2655082.451 | 1252074.5585
91 | 2655002.7067 | 1251918.3045 | 2655013.0934 | 1251916.4663 | 2655025.31 | 1251918.3143 | 2655030.1368 | 1251921.2889
92 | 2654940.482 | 1251976.0343 | 2654935.5642 | 1251977.3563 | 2654929.515 | 1251981.9908
93 | 2654959.2373 | 1251965.334 | 2654940.482 | 1251976.0343
94 | 2654959.2373 | 1251965.334 | 2654980.5795 | 1251941.38
95 | 2654959.2373 | 1251965.334 | 2654966.9271 | 1251976.7799 | 2654971.5053 | 1251983.5938 | 2654971.8076 | 1251984.1464
96 | 2654918.3863 | 1251992.1185 | 2654926.1114 | 1252002.053
97 | 2654967.5426 | 1252012.933 | 2654974.8217 | 1252009.2646 | 2654976.9637 | 1252007.7723 | 2654982.6368 | 1252003.9445
98 | 2654967.5426 | 1252012.933 | 2654929.6371 | 1252039.8691
99 | 2654994.3471 | 1252025.3568 | 2654985.8549 | 1252009.3002 | 2654982.6368 | 1252003.9445
100 | 2654982.6368 | 1252003.9445 | 2654971.8076 | 1251984.1464
101 | 2654920.718 | 1252051.3985 | 2654925.0528 | 1252043.1268 | 2654929.6371 | 1252039.8691
102 | 2654980.5795 | 1251941.38 | 2654985.1366 | 1251936.2651 | 2654996.1786 | 1251924.9778
103 | 2654994.3471 | 1252025.3568 | 2654978.7989 | 1252054.7997
104 | 2655002.7067 | 1251918.3045 | 2654996.1786 | 1251924.9778
105 | 2655002.7067 | 1251918.3045 | 2655004.0346 | 1251916.7269 | 2655012.1326 | 1251907.5163
106 | 2655098.8064 | 1251845.7243 | 2655095.9815 | 1251834.6126 | 2655087.2976 | 1251827.6383
107 | 2655049.1751 | 1251865.3769 | 2655069.9171 | 1251857.7865 | 2655098.8064 | 1251845.7243
108 | 2655049.1751 | 1251865.3769 | 2655036.6732 | 1251879.604
109 | 2655049.1751 | 1251865.3769 | 2655045.5479 | 1251860.1841 | 2655051.8846 | 1251853.1825 | 2655043.0711 | 1251845.6245
110 | 2655036.6732 | 1251879.604 | 2655012.1326 | 1251907.5163
111 | 2655036.6732 | 1251879.604 | 2655019.523 | 1251863.8177
112 | 2655040.4541 | 1251843.3803 | 2655043.0711 | 1251845.6245

## bus_geodata
| x | y | coords
0 | 2654782.6877 | 1252048.5472
1 | 2654881.9617 | 1252003.856
2 | 2654886.8751 | 1252009.1429
3 | 2654881.4088 | 1251998.7792
4 | 2654723.9962 | 1252183.6395
5 | 2654794.5614 | 1252202.8857
6 | 2654809.0433 | 1252240.4234
7 | 2654817.0083 | 1252238.7338
8 | 2654903.4829 | 1252176.7753
9 | 2654917.5258 | 1252181.82
10 | 2654883.6353 | 1251991.8409
11 | 2654904.9458 | 1251974.9599
12 | 2654874.654 | 1251979.6604
13 | 2654888.3333 | 1252010.1638
14 | 2654899.3624 | 1251967.8381
15 | 2654911.9249 | 1251983.8642
16 | 2654876.618 | 1251964.8806
17 | 2654917.5958 | 1251991.0993
18 | 2654879.5783 | 1251942.6025
19 | 2655004.9911 | 1252350.4158
20 | 2654969.6476 | 1252331.4944
21 | 2655029.7001 | 1252349.9548
22 | 2655024.2661 | 1252331.3599
23 | 2655039.4446 | 1252375.6283
24 | 2655017.1445 | 1252305.5867
25 | 2655012.7329 | 1252288.404
26 | 2655006.6484 | 1252263.5141
27 | 2655005.9748 | 1252260.6354
28 | 2655000.2935 | 1252229.2872
29 | 2654999.771 | 1252213.3822
30 | 2655000.9409 | 1252235.0769
31 | 2655035.2036 | 1252225.4527
32 | 2655009.4797 | 1252184.53
33 | 2655014.5861 | 1252175.5634
34 | 2655032.5251 | 1252147.3959
35 | 2655055.4012 | 1252137.4458
36 | 2655029.5133 | 1252120.6604
37 | 2655083.2753 | 1252138.2712
38 | 2655056.4028 | 1252143.812
39 | 2655025.6463 | 1252090.9261
40 | 2655004.5337 | 1252126.5667
41 | 2654987.1284 | 1252086.7547
42 | 2654982.6264 | 1252072.6959
43 | 2654949.5892 | 1252077.1618
44 | 2655016.1643 | 1252069.5852
45 | 2654995.8033 | 1252128.6309
46 | 2654935.348 | 1252204.0444
47 | 2654938.053 | 1252194.8192
48 | 2654943.5495 | 1252161.1912
49 | 2654951.4215 | 1252157.2242
50 | 2654973.1826 | 1252146.2581
51 | 2654987.5764 | 1252136.7455
52 | 2654974.8266 | 1252111.202
53 | 2654962.2858 | 1251800.2615
54 | 2654962.6902 | 1251800.5354
55 | 2654981.2758 | 1251813.1217
56 | 2654967.3855 | 1251828.9483
57 | 2654990.5436 | 1251802.5559
58 | 2654944.3801 | 1251855.1755
59 | 2654978.2726 | 1251838.0211
60 | 2655000.9366 | 1251811.2538
61 | 2654954.4265 | 1251864.2287
62 | 2654942.9518 | 1251856.804
63 | 2654984.2513 | 1251843.0033
64 | 2655001.2321 | 1251811.5011
65 | 2654916.0643 | 1251887.4591
66 | 2654909.3357 | 1251895.1305
67 | 2654898.3241 | 1251907.6852
68 | 2654965.2971 | 1251874.0246
69 | 2654900.5173 | 1251909.6402
70 | 2654969.173 | 1251877.5173
71 | 2654881.3438 | 1251931.7756
72 | 2654904.1626 | 1251912.8873
73 | 2654919.6256 | 1251926.1198
74 | 2654990.2666 | 1251835.2416
75 | 2654979.0015 | 1251849.7748
76 | 2654990.8562 | 1251834.4809
77 | 2655009.1238 | 1251818.1057
78 | 2655013.8363 | 1251812.0897
79 | 2655095.3289 | 1251992.4271
80 | 2655079.4501 | 1252000.5519
81 | 2655072.9204 | 1251985.7274
82 | 2655092.4875 | 1252030.1603
83 | 2655063.1106 | 1251959.9942
84 | 2655058.6427 | 1251951.7958
85 | 2655100.4432 | 1252048.2197
86 | 2655048.0248 | 1251932.3127
87 | 2655104.7932 | 1252058.094
88 | 2655030.1368 | 1251921.2889
89 | 2655082.451 | 1252074.5585
90 | 2654929.515 | 1251981.9908
91 | 2654940.482 | 1251976.0343
92 | 2654959.2373 | 1251965.334
93 | 2654918.3863 | 1251992.1185
94 | 2654967.5426 | 1252012.9329
95 | 2654982.6368 | 1252003.9445
96 | 2654929.6371 | 1252039.8691
97 | 2654980.5795 | 1251941.38
98 | 2654971.8076 | 1251984.1464
99 | 2654926.1114 | 1252002.053
100 | 2654978.7989 | 1252054.7997
101 | 2654994.3471 | 1252025.3568
102 | 2654920.718 | 1252051.3985
103 | 2654996.1786 | 1251924.9778
104 | 2654935.5619 | 1251941.0947
105 | 2655002.7067 | 1251918.3045
106 | 2655087.2976 | 1251827.6383
107 | 2655098.8064 | 1251845.7243
108 | 2655049.1751 | 1251865.3769
109 | 2655036.6732 | 1251879.604
110 | 2655043.0711 | 1251845.6245
111 | 2655012.1326 | 1251907.5163
112 | 2655019.523 | 1251863.8177
113 | 2655040.4541 | 1251843.3803
114 | 2654982.6368 | 1252003.9445

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1