## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4204-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4204-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4204-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4204-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4204-3_0_6_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_4204-3_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4204-3_0_6_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_4204-3_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4204-3_0_6_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_4204-3_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4204-3_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4204-3_0_6_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_4204-3_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_4204-3_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_4204-3_0_6_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_4204-3_0_6_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_4204-3_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4204-3_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_4204-3_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_4204-3_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4204-3_0_6_node_67 | 0.4 | n |  | TRUE
21 | bus_LV_4204-3_0_6_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4204-3_0_6_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_4204-3_0_6_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_4204-3_0_6_node_62 | 0.4 | n |  | TRUE
25 | bus_LV_4204-3_0_6_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_4204-3_0_6_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_4204-3_0_6_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_4204-3_0_6_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4204-3_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4204-3_0_6_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_4204-3_0_6_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_4204-3_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4204-3_0_6_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4204-3_0_6_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_4204-3_0_6_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_4204-3_0_6_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_4204-3_0_6_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_4204-3_0_6_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_4204-3_0_6_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_4204-3_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_4204-3_0_6_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_4204-3_0_6_node_16 | 0.4 | n |  | TRUE
43 | bus_LV_4204-3_0_6_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_4204-3_0_6_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_4204-3_0_6_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_4204-3_0_6_node_20 | 0.4 | n |  | TRUE
47 | bus_LV_4204-3_0_6_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_4204-3_0_6_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_4204-3_0_6_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_4204-3_0_6_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_4204-3_0_6_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_4204-3_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4204-3_0_6_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_4204-3_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4204-3_0_6_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_4204-3_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4204-3_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4204-3_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_4204-3_0_6_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4204-3_0_6_node_64 | 0.4 | n |  | TRUE
61 | bus_LV_4204-3_0_6_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_4204-3_0_6_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_4204-3_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_4204-3_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_MV_484_0_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4204-3_0_6_load_0 | 0 | 0.022278 | 0.0055835 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4204-3_0_6_load_32 | 6 | 0.012095 | 0.0030312 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4204-3_0_6_load_33 | 8 | 0.0020464 | 0.00051287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4204-3_0_6_load_34 | 11 | 0.025393 | 0.0063641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4204-3_0_6_load_57 | 14 | 0.00044912 | 0.00011256 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4204-3_0_6_load_60 | 15 | 0.0066251 | 0.0016604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4204-3_0_6_load_58 | 18 | 0.0047276 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4204-3_0_6_load_67 | 20 | 0.057185 | 0.014332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4204-3_0_6_load_35 | 23 | 0.03742 | 0.0093783 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4204-3_0_6_load_62 | 24 | 0.00063135 | 0.00015823 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4204-3_0_6_load_55 | 27 | 0.0032903 | 0.00082462 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4204-3_0_6_load_41 | 29 | 0.003364 | 0.00084311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4204-3_0_6_load_59 | 30 | 0.029922 | 0.007499 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4204-3_0_6_load_28 | 33 | 0.0089895 | 0.002253 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4204-3_0_6_load_63 | 35 | 0.058683 | 0.014707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4204-3_0_6_load_36 | 36 | 0.0033713 | 0.00084493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4204-3_0_6_load_37 | 37 | 0.0031427 | 0.00078763 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4204-3_0_6_load_50 | 39 | 0.0012784 | 0.00032039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4204-3_0_6_load_47 | 40 | 0.0012799 | 0.00032077 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4204-3_0_6_load_16 | 42 | 0.097834 | 0.024519 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4204-3_0_6_load_20 | 46 | 0.089306 | 0.022382 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4204-3_0_6_load_21 | 47 | 0.0021204 | 0.00053143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4204-3_0_6_load_22 | 48 | 0.0013136 | 0.00032922 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4204-3_0_6_load_25 | 51 | 0.003069 | 0.00076918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4204-3_0_6_load_54 | 52 | 0.003473 | 0.00087041 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4204-3_0_6_load_40 | 55 | 0.0039472 | 0.00098925 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4204-3_0_6_load_44 | 56 | 0.0031726 | 0.00079513 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4204-3_0_6_load_45 | 57 | 0.0030765 | 0.00077105 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4204-3_0_6_load_68 | 58 | 0.0086116 | 0.0021583 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4204-3_0_6_load_69 | 59 | 0.043702 | 0.010953 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4204-3_0_6_load_64 | 60 | 0.0066076 | 0.001656 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4204-3_0_6_load_61 | 63 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4204-3_0_6_load_65 | 64 | 0.035641 | 0.0089325 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4204-3_0_6_line_0 |  | 0 | 1 | 0.032731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4204-3_0_6_line_1 |  | 0 | 2 | 0.0099763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4204-3_0_6_line_2 |  | 1 | 3 | 0.018565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4204-3_0_6_line_3 |  | 1 | 4 | 0.08664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4204-3_0_6_line_4 |  | 2 | 5 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4204-3_0_6_line_5 |  | 3 | 6 | 0.019628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4204-3_0_6_line_6 |  | 4 | 18 | 0.04037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4204-3_0_6_line_7 |  | 4 | 16 | 0.062529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4204-3_0_6_line_8 |  | 5 | 15 | 0.00036368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4204-3_0_6_line_9 |  | 6 | 7 | 0.058601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4204-3_0_6_line_10 |  | 7 | 8 | 0.067309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_4204-3_0_6_line_11 |  | 8 | 23 | 0.009424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4204-3_0_6_line_12 |  | 9 | 10 | 0.071732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4204-3_0_6_line_13 |  | 9 | 11 | 0.063505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4204-3_0_6_line_14 |  | 10 | 15 | 0.013593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4204-3_0_6_line_15 |  | 11 | 13 | 0.02437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4204-3_0_6_line_16 |  | 12 | 13 | 0.10669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4204-3_0_6_line_17 |  | 12 | 14 | 0.099852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4204-3_0_6_line_18 |  | 16 | 17 | 0.037787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4204-3_0_6_line_19 |  | 17 | 24 | 0.032845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4204-3_0_6_line_20 |  | 18 | 30 | 0.056438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4204-3_0_6_line_21 |  | 19 | 20 | 0.010676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4204-3_0_6_line_22 |  | 19 | 21 | 0.045216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4204-3_0_6_line_23 |  | 19 | 22 | 0.014544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4204-3_0_6_line_24 |  | 21 | 23 | 0.052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4204-3_0_6_line_25 |  | 22 | 31 | 0.007787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4204-3_0_6_line_26 |  | 22 | 32 | 0.07541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4204-3_0_6_line_27 |  | 22 | 33 | 0.030994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4204-3_0_6_line_28 |  | 24 | 41 | 0.029317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4204-3_0_6_line_29 |  | 25 | 26 | 0.025731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4204-3_0_6_line_30 |  | 25 | 27 | 0.018031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4204-3_0_6_line_31 |  | 26 | 28 | 0.026223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4204-3_0_6_line_32 |  | 26 | 29 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4204-3_0_6_line_33 |  | 28 | 57 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4204-3_0_6_line_34 |  | 29 | 55 | 0.01771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4204-3_0_6_line_35 |  | 31 | 58 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4204-3_0_6_line_36 |  | 32 | 34 | 0.02293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4204-3_0_6_line_37 |  | 32 | 35 | 0.044176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4204-3_0_6_line_38 |  | 33 | 45 | 0.01509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4204-3_0_6_line_39 |  | 34 | 59 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4204-3_0_6_line_40 |  | 35 | 60 | 0.01035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4204-3_0_6_line_41 |  | 36 | 37 | 0.016977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4204-3_0_6_line_42 |  | 37 | 54 | 0.014234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4204-3_0_6_line_43 |  | 38 | 39 | 0.031636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4204-3_0_6_line_44 |  | 38 | 40 | 0.014966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4204-3_0_6_line_45 |  | 40 | 61 | 0.0086251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4204-3_0_6_line_46 |  | 41 | 61 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4204-3_0_6_line_47 |  | 41 | 54 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4204-3_0_6_line_48 |  | 42 | 43 | 0.035587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4204-3_0_6_line_49 |  | 42 | 44 | 0.055523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4204-3_0_6_line_50 |  | 43 | 45 | 0.044944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4204-3_0_6_line_51 |  | 44 | 46 | 0.010471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4204-3_0_6_line_52 |  | 47 | 48 | 0.019761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4204-3_0_6_line_53 |  | 47 | 49 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4204-3_0_6_line_54 |  | 48 | 50 | 0.011935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4204-3_0_6_line_55 |  | 49 | 51 | 0.011057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4204-3_0_6_line_56 |  | 50 | 52 | 0.0094777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4204-3_0_6_line_57 |  | 51 | 53 | 0.010963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4204-3_0_6_line_58 |  | 52 | 54 | 0.015184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4204-3_0_6_line_59 |  | 53 | 55 | 0.0092617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4204-3_0_6_line_60 |  | 56 | 57 | 0.017796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4204-3_0_6_line_61 |  | 60 | 64 | 0.072364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4204-3_0_6_line_62 |  | 61 | 62 | 0.010406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4204-3_0_6_line_63 |  | 62 | 63 | 0.010152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4204-3_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 65 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2654896.0813 | 1250134.1943 | 2654895.8705 | 1250138.2063 | 2654895.2235 | 1250147.7402 | 2654894.0784 | 1250166.8634
1 | 2654893.482 | 1250176.8219 | 2654894.0784 | 1250166.8634
2 | 2654877.4799 | 1250133.3661 | 2654896.0813 | 1250134.1943
3 | 2654896.0813 | 1250134.1943 | 2654896.1485 | 1250132.6383 | 2654896.3032 | 1250128.9817 | 2654896.5979 | 1250123.2471 | 2654930.7837 | 1250125.4208 | 2654934.309 | 1250107.53 | 2654938.6927 | 1250107.793 | 2654940.0097 | 1250097.6538 | 2654931.4712 | 1250096.863
4 | 2654886.2004 | 1250176.4542 | 2654893.482 | 1250176.8219
5 | 2654877.4799 | 1250133.3661 | 2654872.3365 | 1250137.6992 | 2654859.4436 | 1250137.1897
6 | 2654931.4712 | 1250096.863 | 2654891.2181 | 1250093.789
7 | 2654931.4712 | 1250096.863 | 2654934.3309 | 1250067.7028 | 2654937.5666 | 1250034.6322
8 | 2654886.1824 | 1250176.8174 | 2654886.2004 | 1250176.4542
9 | 2654834.8343 | 1250102.3169 | 2654833.122 | 1250133.1778 | 2654835.9622 | 1250136.2618 | 2654859.4436 | 1250137.1897
10 | 2654834.8343 | 1250102.3169 | 2654807.3073 | 1250100.917 | 2654801.7309 | 1250109.6159 | 2654799.3942 | 1250117.3885 | 2654797.5507 | 1250138.6059
11 | 2654797.5507 | 1250138.6059 | 2654797.4173 | 1250140.1415 | 2654797.2455 | 1250142.397 | 2654796.8426 | 1250148.0031
12 | 2654841.6678 | 1250221.2731 | 2654841.2508 | 1250213.3082 | 2654840.3988 | 1250208.308 | 2654887.5109 | 1250201.239 | 2654886.5777 | 1250196.0379 | 2654885.4447 | 1250190.3901
13 | 2654841.6678 | 1250221.2731 | 2654904.6672 | 1250213.2749
14 | 2654885.4447 | 1250190.3901 | 2654886.0332 | 1250179.8328 | 2654886.1824 | 1250176.8174
15 | 2654928.8428 | 1250210.2056 | 2654904.6672 | 1250213.2749
16 | 2654928.8428 | 1250210.2056 | 2654930.3923 | 1250202.6703 | 2654935.9779 | 1250196.2399 | 2655026.4387 | 1250198.0354
17 | 2655026.4387 | 1250198.0354 | 2655114.737 | 1250196.9435 | 2655117.3569 | 1250196.9123 | 2655126.2597 | 1250197.5691
18 | 2654937.5666 | 1250034.6322 | 2654948.1063 | 1250035.3748 | 2654952.4053 | 1250031.7566 | 2654956.8814 | 1250027.762 | 2654959.538 | 1250012.3871
19 | 2654959.538 | 1250012.3871 | 2654968.8295 | 1250014.2078 | 2654971.9324 | 1250015.0149 | 2654976.3946 | 1250015.779 | 2654990.8959 | 1250009.9112
20 | 2654891.2181 | 1250093.789 | 2654859.0637 | 1250091.3334 | 2654851.5966 | 1250090.6083 | 2654852.9808 | 1250073.9785
21 | 2654763.4555 | 1250223.2072 | 2654764.4143 | 1250212.5754
22 | 2654763.4555 | 1250223.2072 | 2654770.6797 | 1250221.6061 | 2654791.7168 | 1250216.975 | 2654793.052 | 1250200.754
23 | 2654763.4555 | 1250223.2072 | 2654749.1463 | 1250226.0325
24 | 2654793.052 | 1250200.754 | 2654796.8426 | 1250148.0031
25 | 2654745.9659 | 1250218.9205 | 2654749.1463 | 1250226.0325
26 | 2654748.0949 | 1250301.4303 | 2654748.1869 | 1250297.1949 | 2654748.7461 | 1250279.9771 | 2654748.9347 | 1250263.6454 | 2654749.1425 | 1250244.423 | 2654749.1463 | 1250226.0325
27 | 2654749.1463 | 1250226.0325 | 2654719.3209 | 1250234.4615
28 | 2655013.8591 | 1249993.3777 | 2655012.6517 | 1249994.9565 | 2655011.3694 | 1249996.4567 | 2655005.7818 | 1250003.8878 | 2654990.8959 | 1250009.9112
29 | 2655044.2899 | 1250054.4688 | 2655050.4652 | 1250056.105 | 2655069.2114 | 1250060.8713
30 | 2655044.2899 | 1250054.4688 | 2655047.2357 | 1250046.1793 | 2655048.7036 | 1250040.9449 | 2655049.6261 | 1250037.2611
31 | 2655069.2114 | 1250060.8713 | 2655094.7454 | 1250067.1572
32 | 2655069.2114 | 1250060.8713 | 2655071.2835 | 1250051.5508 | 2655072.2335 | 1250047.6235 | 2655073.292 | 1250043.4185
33 | 2655094.7454 | 1250067.1572 | 2655097.9242 | 1250055.7344 | 2655099.36 | 1250050.2522
34 | 2655077.6154 | 1250026.244 | 2655073.292 | 1250043.4185
35 | 2654743.9344 | 1250208.3723 | 2654744.9668 | 1250216.7431 | 2654745.9659 | 1250218.9205
36 | 2654748.0949 | 1250301.4303 | 2654747.8071 | 1250315.4262 | 2654747.6189 | 1250324.3528
37 | 2654748.0949 | 1250301.4303 | 2654749.8375 | 1250301.5687 | 2654757.2553 | 1250301.8819 | 2654792.2555 | 1250302.3578
38 | 2654704.8 | 1250238.5653 | 2654719.3209 | 1250234.4615
39 | 2654767.9124 | 1250327.4423 | 2654762.5299 | 1250327.4482 | 2654756.7188 | 1250327.2722 | 2654754.5623 | 1250324.5393 | 2654747.6189 | 1250324.3528
40 | 2654792.2555 | 1250302.3578 | 2654802.6044 | 1250302.4985
41 | 2655027.382 | 1250019.0746 | 2655019.699 | 1250027.0884 | 2655015.7784 | 1250031.4646
42 | 2655032.0187 | 1250006.0549 | 2655031.8381 | 1250009.2443 | 2655031.3301 | 1250011.9192 | 2655030.4412 | 1250014.9686 | 2655028.5954 | 1250017.809 | 2655027.382 | 1250019.0746
43 | 2655006.8577 | 1249959.545 | 2655022.4151 | 1249961.4129 | 2655038.2681 | 1249963.3131
44 | 2655006.8577 | 1249959.545 | 2655004.8152 | 1249973.002 | 2655004.6807 | 1249974.3505
45 | 2655003.8247 | 1249982.933 | 2655004.6807 | 1249974.3505
46 | 2655003.8247 | 1249982.933 | 2655005.7409 | 1249985.5192 | 2655012.3336 | 1249991.8069 | 2655013.8591 | 1249993.3777
47 | 2655032.0187 | 1250006.0549 | 2655026.358 | 1250004.279 | 2655013.8591 | 1249993.3777
48 | 2654680.9855 | 1250206.3123 | 2654698.7461 | 1250200.0607 | 2654696.4261 | 1250183.4635
49 | 2654688.7397 | 1250128.4747 | 2654696.4261 | 1250183.4635
50 | 2654680.9855 | 1250206.3123 | 2654686.7551 | 1250229.8261 | 2654693.7919 | 1250236.2621 | 2654704.8 | 1250238.5653
51 | 2654688.7397 | 1250128.4747 | 2654699.238 | 1250128.7717
52 | 2655058.8869 | 1250000.6824 | 2655061.6327 | 1249990.0855 | 2655070.1909 | 1249992.1954
53 | 2655085.0654 | 1249995.8626 | 2655070.1909 | 1249992.1954
54 | 2655055.8931 | 1250012.2363 | 2655058.8869 | 1250000.6824
55 | 2655085.0654 | 1249995.8626 | 2655082.4598 | 1250006.6083
56 | 2655055.8931 | 1250012.2363 | 2655046.723 | 1250009.8415
57 | 2655079.8763 | 1250017.2625 | 2655082.4598 | 1250006.6083
58 | 2655032.0187 | 1250006.0549 | 2655037.7053 | 1250007.4865 | 2655046.723 | 1250009.8415
59 | 2655079.8763 | 1250017.2625 | 2655077.6154 | 1250026.244
60 | 2655103.8687 | 1250033.0365 | 2655099.36 | 1250050.2522
61 | 2654833.9466 | 1250346.7437 | 2654834.3035 | 1250310.6221 | 2654833.6947 | 1250307.8812 | 2654831.59 | 1250304.4594 | 2654828.7966 | 1250302.8547 | 2654802.6044 | 1250302.4985
62 | 2654995.3892 | 1249988.9144 | 2654997.2092 | 1249988.0418 | 2655000.6069 | 1249985.5605 | 2655001.8277 | 1249984.1709 | 2655003.8247 | 1249982.933
63 | 2654995.3892 | 1249988.9144 | 2654988.9696 | 1249981.0495

## bus_geodata
| x | y | coords
0 | 2654894.0784 | 1250166.8634
1 | 2654896.0813 | 1250134.1943
2 | 2654893.482 | 1250176.8219
3 | 2654877.4799 | 1250133.3661
4 | 2654931.4712 | 1250096.863
5 | 2654886.2004 | 1250176.4542
6 | 2654859.4436 | 1250137.1897
7 | 2654834.8343 | 1250102.3169
8 | 2654797.5507 | 1250138.6059
9 | 2654841.6678 | 1250221.2731
10 | 2654885.4447 | 1250190.3901
11 | 2654904.6672 | 1250213.2749
12 | 2655026.4387 | 1250198.0354
13 | 2654928.8428 | 1250210.2056
14 | 2655126.2597 | 1250197.5691
15 | 2654886.1824 | 1250176.8174
16 | 2654937.5666 | 1250034.6322
17 | 2654959.538 | 1250012.3871
18 | 2654891.2181 | 1250093.789
19 | 2654763.4555 | 1250223.2072
20 | 2654764.4143 | 1250212.5754
21 | 2654793.052 | 1250200.754
22 | 2654749.1463 | 1250226.0325
23 | 2654796.8426 | 1250148.0031
24 | 2654990.8959 | 1250009.9112
25 | 2655044.2899 | 1250054.4688
26 | 2655069.2114 | 1250060.8713
27 | 2655049.6261 | 1250037.2611
28 | 2655094.7454 | 1250067.1572
29 | 2655073.292 | 1250043.4185
30 | 2654852.9808 | 1250073.9785
31 | 2654745.9659 | 1250218.9205
32 | 2654748.0949 | 1250301.4303
33 | 2654719.3209 | 1250234.4615
34 | 2654747.6189 | 1250324.3528
35 | 2654792.2555 | 1250302.3578
36 | 2655015.7784 | 1250031.4646
37 | 2655027.382 | 1250019.0746
38 | 2655006.8577 | 1249959.545
39 | 2655038.2681 | 1249963.3131
40 | 2655004.6807 | 1249974.3505
41 | 2655013.8591 | 1249993.3777
42 | 2654696.4261 | 1250183.4635
43 | 2654680.9855 | 1250206.3123
44 | 2654688.7397 | 1250128.4747
45 | 2654704.8 | 1250238.5653
46 | 2654699.238 | 1250128.7717
47 | 2655070.1909 | 1249992.1954
48 | 2655058.8869 | 1250000.6824
49 | 2655085.0654 | 1249995.8626
50 | 2655055.8931 | 1250012.2363
51 | 2655082.4598 | 1250006.6083
52 | 2655046.723 | 1250009.8415
53 | 2655079.8763 | 1250017.2625
54 | 2655032.0187 | 1250006.0549
55 | 2655077.6154 | 1250026.244
56 | 2655103.8687 | 1250033.0365
57 | 2655099.36 | 1250050.2522
58 | 2654743.9344 | 1250208.3723
59 | 2654767.9124 | 1250327.4423
60 | 2654802.6044 | 1250302.4985
61 | 2655003.8247 | 1249982.933
62 | 2654995.3892 | 1249988.9144
63 | 2654988.9696 | 1249981.0495
64 | 2654833.9466 | 1250346.7437
65 | 2654791.7168 | 1250216.975

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1