## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4252-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4252-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4252-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4252-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4252-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4252-8_0_6_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_4252-8_0_6_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_4252-8_0_6_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_4252-8_0_6_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_4252-8_0_6_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_4252-8_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4252-8_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4252-8_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_4252-8_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_4252-8_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_4252-8_0_6_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_4252-8_0_6_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_4252-8_0_6_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_4252-8_0_6_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_4252-8_0_6_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_4252-8_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4252-8_0_6_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4252-8_0_6_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_4252-8_0_6_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_4252-8_0_6_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_4252-8_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4252-8_0_6_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_4252-8_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_4252-8_0_6_node_48 | 0.4 | n |  | TRUE
29 | bus_LV_4252-8_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_4252-8_0_6_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_4252-8_0_6_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_4252-8_0_6_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_4252-8_0_6_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_4252-8_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_4252-8_0_6_node_14 | 0.4 | n |  | TRUE
36 | bus_LV_4252-8_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4252-8_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4252-8_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4252-8_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_4252-8_0_6_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_4252-8_0_6_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4252-8_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_4252-8_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_4252-8_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_4252-8_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_4252-8_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4252-8_0_6_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_4252-8_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4252-8_0_6_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_4252-8_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_4252-8_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_4252-8_0_6_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_4252-8_0_6_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_4252-8_0_6_node_74 | 0.4 | n |  | TRUE
55 | bus_LV_4252-8_0_6_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_4252-8_0_6_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_4252-8_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_4252-8_0_6_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_4252-8_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_4252-8_0_6_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_4252-8_0_6_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4252-8_0_6_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_4252-8_0_6_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_4252-8_0_6_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_4252-8_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4252-8_0_6_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_4252-8_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_4252-8_0_6_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_4252-8_0_6_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_4252-8_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_4252-8_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_4252-8_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_4252-8_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4252-8_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_4252-8_0_6_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4252-8_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_4252-8_0_6_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_4252-8_0_6_node_80 | 0.4 | n |  | TRUE
79 | bus_MV_306_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4252-8_0_6_load_0 | 0 | 0.0081539 | 0.0020436 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4252-8_0_6_load_1 | 1 | 0.010234 | 0.0025648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4252-8_0_6_load_2 | 2 | 0.0078417 | 0.0019653 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4252-8_0_6_load_4 | 4 | 0.0064668 | 0.0016207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4252-8_0_6_load_42 | 7 | 0.0097299 | 0.0024385 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4252-8_0_6_load_45 | 9 | 0.006643 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4252-8_0_6_load_5 | 10 | 0.012527 | 0.0031395 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4252-8_0_6_load_15 | 15 | 0.0079327 | 0.0019881 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4252-8_0_6_load_20 | 16 | 0.0071319 | 0.0017874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4252-8_0_6_load_34 | 17 | 0.0071766 | 0.0017986 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4252-8_0_6_load_10 | 20 | 0.0053797 | 0.0013483 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4252-8_0_6_load_18 | 22 | 0.006531 | 0.0016368 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4252-8_0_6_load_17 | 25 | 0.0093987 | 0.0023555 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4252-8_0_6_load_56 | 26 | 0.0044686 | 0.0011199 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4252-8_0_6_load_48 | 28 | 0.0040168 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4252-8_0_6_load_19 | 29 | 0.008546 | 0.0021418 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4252-8_0_6_load_28 | 30 | 0.011882 | 0.0029779 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4252-8_0_6_load_16 | 31 | 0.013051 | 0.0032709 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4252-8_0_6_load_55 | 32 | 0.011429 | 0.0028644 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4252-8_0_6_load_30 | 33 | 0.0067788 | 0.0016989 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4252-8_0_6_load_29 | 34 | 0.0048546 | 0.0012167 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4252-8_0_6_load_14 | 35 | 0.0071664 | 0.0017961 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4252-8_0_6_load_24 | 38 | 0.0067252 | 0.0016855 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4252-8_0_6_load_49 | 39 | 0.0042383 | 0.0010622 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4252-8_0_6_load_22 | 40 | 0.0059537 | 0.0014921 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4252-8_0_6_load_23 | 41 | 0.0076032 | 0.0019055 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4252-8_0_6_load_51 | 42 | 0.0051688 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4252-8_0_6_load_52 | 43 | 0.0059505 | 0.0014913 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4252-8_0_6_load_43 | 44 | 0.010135 | 0.00254 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4252-8_0_6_load_37 | 46 | 0.011821 | 0.0029627 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4252-8_0_6_load_46 | 47 | 0.013309 | 0.0033357 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4252-8_0_6_load_82 | 49 | 0.0025074 | 0.00062842 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4252-8_0_6_load_38 | 50 | 0.0085825 | 0.002151 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4252-8_0_6_load_40 | 51 | 0.0085005 | 0.0021304 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4252-8_0_6_load_75 | 52 | 0.0085872 | 0.0021521 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4252-8_0_6_load_76 | 53 | 0.00057178 | 0.0001433 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4252-8_0_6_load_74 | 54 | 0.0042545 | 0.0010663 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4252-8_0_6_load_44 | 56 | 0.013023 | 0.0032639 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4252-8_0_6_load_60 | 57 | 0.011968 | 0.0029994 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4252-8_0_6_load_59 | 58 | 0.0064807 | 0.0016242 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4252-8_0_6_load_47 | 59 | 0.003976 | 0.00099647 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4252-8_0_6_load_72 | 60 | 0.011835 | 0.002966 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4252-8_0_6_load_71 | 61 | 0.0073957 | 0.0018535 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4252-8_0_6_load_50 | 62 | 0.0081122 | 0.0020331 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4252-8_0_6_load_70 | 63 | 0.0041443 | 0.0010387 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4252-8_0_6_load_69 | 64 | 0.0080925 | 0.0020282 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4252-8_0_6_load_53 | 65 | 0.0058646 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4252-8_0_6_load_66 | 66 | 0.0078332 | 0.0019632 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4252-8_0_6_load_65 | 67 | 0.013003 | 0.0032588 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4252-8_0_6_load_54 | 68 | 0.0090298 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4252-8_0_6_load_64 | 70 | 0.0062672 | 0.0015707 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4252-8_0_6_load_67 | 72 | 0.0025097 | 0.00062899 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4252-8_0_6_load_68 | 73 | 0.0074182 | 0.0018592 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4252-8_0_6_load_78 | 76 | 0.0042851 | 0.001074 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4252-8_0_6_load_79 | 77 | 0.0074969 | 0.0018789 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4252-8_0_6_load_80 | 78 | 0.01086 | 0.0027219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4252-8_0_6_line_0 |  | 0 | 1 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4252-8_0_6_line_1 |  | 0 | 2 | 0.0041953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4252-8_0_6_line_2 |  | 1 | 3 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4252-8_0_6_line_3 |  | 2 | 4 | 0.036336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4252-8_0_6_line_4 |  | 3 | 5 | 0.004499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_4252-8_0_6_line_5 |  | 3 | 6 | 0.033752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_4252-8_0_6_line_6 |  | 5 | 7 | 0.032608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4252-8_0_6_line_7 |  | 6 | 8 | 0.032709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4252-8_0_6_line_8 |  | 6 | 9 | 0.026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_4252-8_0_6_line_9 |  | 7 | 44 | 0.036025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_4252-8_0_6_line_10 |  | 8 | 45 | 0.04311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4252-8_0_6_line_11 |  | 8 | 46 | 0.031383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4252-8_0_6_line_12 |  | 9 | 47 | 0.032285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4252-8_0_6_line_13 |  | 10 | 11 | 0.026396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4252-8_0_6_line_14 |  | 11 | 12 | 0.033853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4252-8_0_6_line_15 |  | 11 | 13 | 0.030668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4252-8_0_6_line_16 |  | 11 | 14 | 0.040139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4252-8_0_6_line_17 |  | 12 | 15 | 0.0087419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4252-8_0_6_line_18 |  | 13 | 16 | 0.017165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4252-8_0_6_line_19 |  | 14 | 17 | 0.042146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4252-8_0_6_line_20 |  | 15 | 35 | 0.031128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4252-8_0_6_line_21 |  | 16 | 29 | 0.032182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4252-8_0_6_line_22 |  | 17 | 36 | 0.059613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4252-8_0_6_line_23 |  | 18 | 19 | 0.030615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4252-8_0_6_line_24 |  | 18 | 20 | 0.015363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4252-8_0_6_line_25 |  | 19 | 21 | 0.00377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4252-8_0_6_line_26 |  | 19 | 22 | 0.016279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4252-8_0_6_line_27 |  | 20 | 26 | 0.017481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4252-8_0_6_line_28 |  | 21 | 27 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4252-8_0_6_line_29 |  | 21 | 28 | 0.014641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4252-8_0_6_line_30 |  | 22 | 29 | 0.028596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4252-8_0_6_line_31 |  | 23 | 24 | 0.02572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4252-8_0_6_line_32 |  | 23 | 25 | 0.02225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4252-8_0_6_line_33 |  | 24 | 30 | 0.022996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4252-8_0_6_line_34 |  | 25 | 31 | 0.004781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4252-8_0_6_line_35 |  | 26 | 32 | 0.032603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4252-8_0_6_line_36 |  | 27 | 37 | 0.011118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4252-8_0_6_line_37 |  | 27 | 38 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4252-8_0_6_line_38 |  | 28 | 39 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4252-8_0_6_line_39 |  | 30 | 34 | 0.031868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4252-8_0_6_line_40 |  | 31 | 35 | 0.026821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4252-8_0_6_line_41 |  | 32 | 68 | 0.042172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4252-8_0_6_line_42 |  | 33 | 34 | 0.034741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4252-8_0_6_line_43 |  | 36 | 48 | 0.048364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4252-8_0_6_line_44 |  | 37 | 42 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4252-8_0_6_line_45 |  | 38 | 40 | 0.035732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4252-8_0_6_line_46 |  | 39 | 62 | 0.02425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4252-8_0_6_line_47 |  | 40 | 41 | 0.03431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4252-8_0_6_line_48 |  | 42 | 43 | 0.023348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4252-8_0_6_line_49 |  | 43 | 65 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4252-8_0_6_line_50 |  | 44 | 56 | 0.036007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4252-8_0_6_line_51 |  | 45 | 53 | 0.036705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4252-8_0_6_line_52 |  | 47 | 59 | 0.029433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_4252-8_0_6_line_53 |  | 48 | 49 | 0.033692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4252-8_0_6_line_54 |  | 50 | 51 | 0.029432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4252-8_0_6_line_55 |  | 51 | 52 | 0.030545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4252-8_0_6_line_56 |  | 52 | 54 | 0.023419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4252-8_0_6_line_57 |  | 53 | 55 | 0.016458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4252-8_0_6_line_58 |  | 54 | 75 | 0.022413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4252-8_0_6_line_59 |  | 55 | 76 | 0.018654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4252-8_0_6_line_60 |  | 56 | 57 | 0.025058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4252-8_0_6_line_61 |  | 57 | 58 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4252-8_0_6_line_62 |  | 58 | 71 | 0.024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4252-8_0_6_line_63 |  | 59 | 60 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4252-8_0_6_line_64 |  | 60 | 61 | 0.035487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_4252-8_0_6_line_65 |  | 61 | 74 | 0.027768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4252-8_0_6_line_66 |  | 62 | 63 | 0.025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4252-8_0_6_line_67 |  | 63 | 64 | 0.024227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4252-8_0_6_line_68 |  | 64 | 73 | 0.02567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4252-8_0_6_line_69 |  | 65 | 66 | 0.030173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4252-8_0_6_line_70 |  | 66 | 67 | 0.029925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4252-8_0_6_line_71 |  | 67 | 70 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4252-8_0_6_line_72 |  | 69 | 70 | 0.023663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4252-8_0_6_line_73 |  | 69 | 71 | 0.035677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4252-8_0_6_line_74 |  | 72 | 73 | 0.024374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4252-8_0_6_line_75 |  | 74 | 75 | 0.033169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4252-8_0_6_line_76 |  | 76 | 77 | 0.024955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4252-8_0_6_line_77 |  | 77 | 78 | 0.030327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4252-8_0_6_trafo_51 | 0.63 MVA 20/0.4 kV | 79 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2622353.5348 | 1265077.4055 | 2622338.7955 | 1265103.9076
1 | 2622353.5348 | 1265077.4055 | 2622355.5739 | 1265073.739
2 | 2622353.1573 | 1265122.8803 | 2622335.4665 | 1265109.8935 | 2622338.7955 | 1265103.9076
3 | 2622355.5739 | 1265073.739 | 2622373.2347 | 1265041.9839
4 | 2622348.7562 | 1265123.8755 | 2622353.1573 | 1265122.8803
5 | 2622384.8277 | 1265130.672 | 2622365.9839 | 1265121.9281 | 2622360.4298 | 1265121.1955 | 2622353.1573 | 1265122.8803
6 | 2622348.7562 | 1265123.8755 | 2622332.8429 | 1265152.3363
7 | 2622384.8277 | 1265130.672 | 2622413.2277 | 1265147.0463
8 | 2622384.8277 | 1265130.672 | 2622372.4159 | 1265153.5924
9 | 2622332.8429 | 1265152.3363 | 2622315.2617 | 1265183.7802
10 | 2622451.1057 | 1265167.8375 | 2622413.2277 | 1265147.0463
11 | 2622413.2277 | 1265147.0463 | 2622398.2388 | 1265174.6184
12 | 2622372.4159 | 1265153.5924 | 2622357.0425 | 1265181.9819
13 | 2622299.7699 | 1264997.4806 | 2622295.8908 | 1265003.8371 | 2622287.0189 | 1265020.5817
14 | 2622299.7699 | 1264997.4806 | 2622269.6948 | 1264981.7677
15 | 2622299.7699 | 1264997.4806 | 2622326.6175 | 1265012.4477
16 | 2622299.7699 | 1264997.4806 | 2622303.3082 | 1264991.6788 | 2622305.1731 | 1264992.3529 | 2622309.4565 | 1264992.6359 | 2622311.7476 | 1264992.0886 | 2622315.2564 | 1264990.1004 | 2622316.9043 | 1264988.4165 | 2622318.6862 | 1264985.121 | 2622319.1801 | 1264979.9414 | 2622317.5628 | 1264975.5211 | 2622314.2999 | 1264972.1843
17 | 2622269.6948 | 1264981.7677 | 2622265.4857 | 1264989.4296
18 | 2622326.6175 | 1265012.4477 | 2622318.5015 | 1265027.5727
19 | 2622314.2999 | 1264972.1843 | 2622334.8599 | 1264935.3929
20 | 2622250.498 | 1265016.7121 | 2622265.4857 | 1264989.4296
21 | 2622318.5015 | 1265027.5727 | 2622303.2853 | 1265055.9299
22 | 2622334.8599 | 1264935.3929 | 2622363.9406 | 1264883.3539
23 | 2622254.8408 | 1265081.3147 | 2622282.0677 | 1265095.4713
24 | 2622254.8408 | 1265081.3147 | 2622247.4499 | 1265094.7829
25 | 2622285.3056 | 1265097.4181 | 2622282.0677 | 1265095.4713
26 | 2622282.0677 | 1265095.4713 | 2622289.7646 | 1265081.1272
27 | 2622239.0399 | 1265110.1081 | 2622247.4499 | 1265094.7829
28 | 2622306.6552 | 1265108.6285 | 2622285.3056 | 1265097.4181
29 | 2622285.3056 | 1265097.4181 | 2622278.2161 | 1265110.2283
30 | 2622289.7646 | 1265081.1272 | 2622303.2853 | 1265055.9299
31 | 2622201.6394 | 1265052.2838 | 2622204.3966 | 1265053.9619 | 2622224.569 | 1265063.9111
32 | 2622224.569 | 1265063.9111 | 2622235.2821 | 1265044.4099
33 | 2622201.6394 | 1265052.2838 | 2622212.66 | 1265032.1008
34 | 2622237.5841 | 1265040.2195 | 2622235.2821 | 1265044.4099
35 | 2622239.0399 | 1265110.1081 | 2622223.3546 | 1265138.6906
36 | 2622306.6552 | 1265108.6285 | 2622316.3174 | 1265114.1799
37 | 2622306.6552 | 1265108.6285 | 2622314.9762 | 1265093.4221
38 | 2622278.2161 | 1265110.2283 | 2622269.4109 | 1265126.1387
39 | 2622227.9326 | 1265004.1305 | 2622212.66 | 1265032.1008
40 | 2622237.5841 | 1265040.2195 | 2622250.498 | 1265016.7121
41 | 2622203.0661 | 1265175.6616 | 2622223.3546 | 1265138.6906
42 | 2622227.9326 | 1265004.1305 | 2622244.5818 | 1264973.6392
43 | 2622400.9478 | 1264887.9969 | 2622397.3055 | 1264895.3994 | 2622394.1404 | 1264900.0351 | 2622363.9406 | 1264883.3539
44 | 2622316.3174 | 1265114.1799 | 2622307.4255 | 1265130.1767
45 | 2622314.9762 | 1265093.4221 | 2622325.8601 | 1265073.5319 | 2622332.16 | 1265062.0935
46 | 2622257.6685 | 1265147.3563 | 2622269.4109 | 1265126.1387
47 | 2622332.16 | 1265062.0935 | 2622348.7125 | 1265032.04
48 | 2622307.4255 | 1265130.1767 | 2622296.082 | 1265150.5837
49 | 2622282.7737 | 1265174.5256 | 2622296.082 | 1265150.5837
50 | 2622297.6893 | 1265215.2082 | 2622315.2617 | 1265183.7802
51 | 2622451.1057 | 1265167.8375 | 2622448.1524 | 1265174.2308 | 2622433.9761 | 1265200.286
52 | 2622343.0272 | 1265207.8637 | 2622357.0425 | 1265181.9819
53 | 2622430.7818 | 1264903.8208 | 2622400.9478 | 1264887.9969
54 | 2622367.0601 | 1265231.9717 | 2622381.1173 | 1265206.1135
55 | 2622352.4713 | 1265258.8079 | 2622367.0601 | 1265231.9717
56 | 2622341.2863 | 1265279.3827 | 2622352.4713 | 1265258.8079
57 | 2622426.1105 | 1265214.7423 | 2622433.9761 | 1265200.286
58 | 2622330.5817 | 1265299.0738 | 2622341.2863 | 1265279.3827
59 | 2622426.1105 | 1265214.7423 | 2622416.7582 | 1265230.8821
60 | 2622285.4605 | 1265237.0794 | 2622297.6893 | 1265215.2082
61 | 2622274.2401 | 1265257.1469 | 2622285.4605 | 1265237.0794
62 | 2622262.2312 | 1265278.6246 | 2622274.2401 | 1265257.1469
63 | 2622328.957 | 1265233.8467 | 2622343.0272 | 1265207.8637
64 | 2622312.0589 | 1265265.0518 | 2622328.957 | 1265233.8467
65 | 2622298.8362 | 1265289.4698 | 2622312.0589 | 1265265.0518
66 | 2622245.2126 | 1265169.8631 | 2622257.6685 | 1265147.3563
67 | 2622233.4813 | 1265191.0606 | 2622245.2126 | 1265169.8631
68 | 2622221.0515 | 1265213.5204 | 2622233.4813 | 1265191.0606
69 | 2622268.1144 | 1265200.8979 | 2622282.7737 | 1265174.5256
70 | 2622253.5755 | 1265227.0536 | 2622268.1144 | 1265200.8979
71 | 2622239.479 | 1265247.252 | 2622242.0296 | 1265242.568 | 2622246.543 | 1265239.7052 | 2622253.5755 | 1265227.0536
72 | 2622228.1626 | 1265268.0338 | 2622239.479 | 1265247.252
73 | 2622228.1626 | 1265268.0338 | 2622232.4795 | 1265269.3731 | 2622262.2312 | 1265278.6246
74 | 2622209.2489 | 1265234.8467 | 2622221.0515 | 1265213.5204
75 | 2622298.8362 | 1265289.4698 | 2622307.7491 | 1265291.9717 | 2622330.5817 | 1265299.0738
76 | 2622416.7582 | 1265230.8821 | 2622404.2467 | 1265252.4736
77 | 2622389.0418 | 1265278.7135 | 2622404.2467 | 1265252.4736

## bus_geodata
| x | y | coords
0 | 2622353.5348 | 1265077.4055
1 | 2622338.7955 | 1265103.9076
2 | 2622355.5739 | 1265073.739
3 | 2622353.1573 | 1265122.8803
4 | 2622373.2347 | 1265041.9839
5 | 2622348.7562 | 1265123.8755
6 | 2622384.8277 | 1265130.672
7 | 2622332.8429 | 1265152.3363
8 | 2622413.2277 | 1265147.0463
9 | 2622372.4159 | 1265153.5924
10 | 2622287.0189 | 1265020.5817
11 | 2622299.7699 | 1264997.4806
12 | 2622269.6948 | 1264981.7677
13 | 2622326.6175 | 1265012.4477
14 | 2622314.2999 | 1264972.1843
15 | 2622265.4857 | 1264989.4296
16 | 2622318.5015 | 1265027.5727
17 | 2622334.8599 | 1264935.3929
18 | 2622254.8408 | 1265081.3147
19 | 2622282.0677 | 1265095.4713
20 | 2622247.4499 | 1265094.7829
21 | 2622285.3056 | 1265097.4181
22 | 2622289.7646 | 1265081.1272
23 | 2622224.569 | 1265063.9111
24 | 2622201.6394 | 1265052.2838
25 | 2622235.2821 | 1265044.4099
26 | 2622239.0399 | 1265110.1081
27 | 2622306.6552 | 1265108.6285
28 | 2622278.2161 | 1265110.2283
29 | 2622303.2853 | 1265055.9299
30 | 2622212.66 | 1265032.1008
31 | 2622237.5841 | 1265040.2195
32 | 2622223.3546 | 1265138.6906
33 | 2622244.5818 | 1264973.6392
34 | 2622227.9326 | 1265004.1305
35 | 2622250.498 | 1265016.7121
36 | 2622363.9407 | 1264883.3539
37 | 2622316.3174 | 1265114.1799
38 | 2622314.9762 | 1265093.4221
39 | 2622269.4109 | 1265126.1387
40 | 2622332.16 | 1265062.0935
41 | 2622348.7125 | 1265032.04
42 | 2622307.4255 | 1265130.1767
43 | 2622296.082 | 1265150.5837
44 | 2622315.2617 | 1265183.7802
45 | 2622451.1057 | 1265167.8375
46 | 2622398.2388 | 1265174.6184
47 | 2622357.0425 | 1265181.9819
48 | 2622400.9478 | 1264887.9969
49 | 2622430.7818 | 1264903.8208
50 | 2622381.1173 | 1265206.1135
51 | 2622367.0601 | 1265231.9717
52 | 2622352.4713 | 1265258.8079
53 | 2622433.9761 | 1265200.286
54 | 2622341.2863 | 1265279.3827
55 | 2622426.1105 | 1265214.7423
56 | 2622297.6893 | 1265215.2082
57 | 2622285.4605 | 1265237.0794
58 | 2622274.2401 | 1265257.1469
59 | 2622343.0272 | 1265207.8637
60 | 2622328.957 | 1265233.8467
61 | 2622312.0589 | 1265265.0518
62 | 2622257.6685 | 1265147.3563
63 | 2622245.2126 | 1265169.8631
64 | 2622233.4813 | 1265191.0606
65 | 2622282.7737 | 1265174.5256
66 | 2622268.1144 | 1265200.8979
67 | 2622253.5755 | 1265227.0536
68 | 2622203.0661 | 1265175.6616
69 | 2622228.1626 | 1265268.0338
70 | 2622239.479 | 1265247.252
71 | 2622262.2312 | 1265278.6246
72 | 2622209.2489 | 1265234.8467
73 | 2622221.0515 | 1265213.5204
74 | 2622298.8362 | 1265289.4698
75 | 2622330.5817 | 1265299.0738
76 | 2622416.7582 | 1265230.8821
77 | 2622404.2467 | 1265252.4736
78 | 2622389.0418 | 1265278.7135
79 | 2622316.3174 | 1265114.1799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1