## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4258-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4258-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4258-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4258-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4258-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4258-12_0_6_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_4258-12_0_6_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_4258-12_0_6_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_4258-12_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_4258-12_0_6_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_4258-12_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4258-12_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4258-12_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4258-12_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4258-12_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4258-12_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_4258-12_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_4258-12_0_6_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_4258-12_0_6_node_88 | 0.4 | n |  | TRUE
19 | bus_LV_4258-12_0_6_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_4258-12_0_6_node_108 | 0.4 | n |  | TRUE
21 | bus_LV_4258-12_0_6_node_77 | 0.4 | n |  | TRUE
22 | bus_LV_4258-12_0_6_node_100 | 0.4 | n |  | TRUE
23 | bus_LV_4258-12_0_6_node_86 | 0.4 | n |  | TRUE
24 | bus_LV_4258-12_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_4258-12_0_6_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_4258-12_0_6_node_106 | 0.4 | n |  | TRUE
27 | bus_LV_4258-12_0_6_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4258-12_0_6_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4258-12_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4258-12_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4258-12_0_6_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_4258-12_0_6_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_4258-12_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_4258-12_0_6_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_4258-12_0_6_node_56 | 0.4 | n |  | TRUE
36 | bus_LV_4258-12_0_6_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_4258-12_0_6_node_101 | 0.4 | n |  | TRUE
38 | bus_LV_4258-12_0_6_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_4258-12_0_6_node_109 | 0.4 | n |  | TRUE
40 | bus_LV_4258-12_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4258-12_0_6_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_4258-12_0_6_node_17 | 0.4 | n |  | TRUE
43 | bus_LV_4258-12_0_6_node_18 | 0.4 | n |  | TRUE
44 | bus_LV_4258-12_0_6_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_4258-12_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_4258-12_0_6_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_4258-12_0_6_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_4258-12_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_4258-12_0_6_node_21 | 0.4 | n |  | TRUE
50 | bus_LV_4258-12_0_6_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_4258-12_0_6_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4258-12_0_6_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_4258-12_0_6_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_4258-12_0_6_node_84 | 0.4 | n |  | TRUE
55 | bus_LV_4258-12_0_6_node_93 | 0.4 | n |  | TRUE
56 | bus_LV_4258-12_0_6_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_4258-12_0_6_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_4258-12_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4258-12_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_4258-12_0_6_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_4258-12_0_6_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_4258-12_0_6_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_4258-12_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_4258-12_0_6_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_4258-12_0_6_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_4258-12_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_4258-12_0_6_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_4258-12_0_6_node_41 | 0.4 | n |  | TRUE
69 | bus_LV_4258-12_0_6_node_42 | 0.4 | n |  | TRUE
70 | bus_LV_4258-12_0_6_node_43 | 0.4 | n |  | TRUE
71 | bus_LV_4258-12_0_6_node_44 | 0.4 | n |  | TRUE
72 | bus_LV_4258-12_0_6_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_4258-12_0_6_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_4258-12_0_6_node_49 | 0.4 | n |  | TRUE
75 | bus_LV_4258-12_0_6_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_4258-12_0_6_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4258-12_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4258-12_0_6_node_53 | 0.4 | n |  | TRUE
79 | bus_LV_4258-12_0_6_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_4258-12_0_6_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_4258-12_0_6_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_4258-12_0_6_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_4258-12_0_6_node_74 | 0.4 | n |  | TRUE
84 | bus_LV_4258-12_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_4258-12_0_6_node_110 | 0.4 | n |  | TRUE
86 | bus_LV_4258-12_0_6_node_73 | 0.4 | n |  | TRUE
87 | bus_LV_4258-12_0_6_node_69 | 0.4 | n |  | TRUE
88 | bus_LV_4258-12_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4258-12_0_6_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_4258-12_0_6_node_61 | 0.4 | n |  | TRUE
91 | bus_LV_4258-12_0_6_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_4258-12_0_6_node_99 | 0.4 | n |  | TRUE
93 | bus_LV_4258-12_0_6_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4258-12_0_6_node_64 | 0.4 | n |  | TRUE
95 | bus_LV_4258-12_0_6_node_112 | 0.4 | n |  | TRUE
96 | bus_LV_4258-12_0_6_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_4258-12_0_6_node_89 | 0.4 | n |  | TRUE
98 | bus_LV_4258-12_0_6_node_90 | 0.4 | n |  | TRUE
99 | bus_LV_4258-12_0_6_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_4258-12_0_6_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_4258-12_0_6_node_111 | 0.4 | n |  | TRUE
102 | bus_LV_4258-12_0_6_node_79 | 0.4 | n |  | TRUE
103 | bus_LV_4258-12_0_6_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_4258-12_0_6_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_4258-12_0_6_node_96 | 0.4 | n |  | TRUE
106 | bus_LV_4258-12_0_6_node_98 | 0.4 | n |  | TRUE
107 | bus_LV_4258-12_0_6_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_4258-12_0_6_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_4258-12_0_6_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_4258-12_0_6_node_113 | 0.4 | n |  | TRUE
111 | bus_MV_306_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4258-12_0_6_load_0 | 0 | 0.0011021 | 0.0002762 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4258-12_0_6_load_2 | 2 | 0.0029514 | 0.0007397 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4258-12_0_6_load_4 | 4 | 0.0016351 | 0.0004098 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4258-12_0_6_load_48 | 6 | 0.0014796 | 0.00037082 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4258-12_0_6_load_32 | 7 | 0.0038491 | 0.00096467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4258-12_0_6_load_28 | 8 | 0.0014235 | 0.00035678 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4258-12_0_6_load_46 | 9 | 0.0015335 | 0.00038433 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4258-12_0_6_load_5 | 10 | 0.0034149 | 0.00085585 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4258-12_0_6_load_10 | 15 | 0.0021537 | 0.00053977 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4258-12_0_6_load_11 | 16 | 0.0023825 | 0.00059711 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4258-12_0_6_load_78 | 17 | 0.0019395 | 0.00048608 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4258-12_0_6_load_108 | 20 | 0.0035004 | 0.00087729 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4258-12_0_6_load_77 | 21 | 0.002155 | 0.00054008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4258-12_0_6_load_100 | 22 | 0.002513 | 0.00062981 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4258-12_0_6_load_86 | 23 | 0.0037009 | 0.00092753 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4258-12_0_6_load_22 | 24 | 0.004186 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4258-12_0_6_load_51 | 25 | 0.003236 | 0.00081103 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4258-12_0_6_load_12 | 27 | 0.0019558 | 0.00049018 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4258-12_0_6_load_13 | 28 | 0.0030445 | 0.00076302 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4258-12_0_6_load_14 | 29 | 0.0028598 | 0.00071673 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4258-12_0_6_load_62 | 32 | 0.0023079 | 0.00057842 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4258-12_0_6_load_56 | 35 | 0.0035559 | 0.0008912 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4258-12_0_6_load_102 | 36 | 0.00020662 | 5.1784e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4258-12_0_6_load_101 | 37 | 0.0033739 | 0.00084558 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4258-12_0_6_load_63 | 38 | 0.0030431 | 0.00076267 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4258-12_0_6_load_109 | 39 | 0.0064845 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4258-12_0_6_load_34 | 40 | 0.0024968 | 0.00062577 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4258-12_0_6_load_54 | 41 | 0.0049329 | 0.0012363 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4258-12_0_6_load_17 | 42 | 0.0027765 | 0.00069585 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4258-12_0_6_load_26 | 46 | 0.0024056 | 0.00060291 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4258-12_0_6_load_27 | 47 | 0.0087249 | 0.0021867 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4258-12_0_6_load_23 | 48 | 0.00073019 | 0.000183 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4258-12_0_6_load_103 | 50 | 0.02831 | 0.0070953 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4258-12_0_6_load_33 | 51 | 0.0018556 | 0.00046505 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4258-12_0_6_load_24 | 52 | 0.00098556 | 0.000247 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4258-12_0_6_load_25 | 53 | 0.00098535 | 0.00024695 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4258-12_0_6_load_84 | 54 | 0.015847 | 0.0039716 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4258-12_0_6_load_29 | 56 | 0.0029323 | 0.0007349 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4258-12_0_6_load_31 | 57 | 0.0029587 | 0.00074151 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4258-12_0_6_load_50 | 58 | 0.0018645 | 0.0004673 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4258-12_0_6_load_36 | 60 | 0.026888 | 0.0067387 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4258-12_0_6_load_37 | 61 | 0.0020162 | 0.00050532 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4258-12_0_6_load_39 | 62 | 0.011363 | 0.0028479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4258-12_0_6_load_59 | 63 | 0.0058525 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4258-12_0_6_load_40 | 64 | 0.03743 | 0.0093808 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4258-12_0_6_load_60 | 66 | 0.011579 | 0.002902 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4258-12_0_6_load_80 | 67 | 0.061125 | 0.015319 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4258-12_0_6_load_41 | 68 | 0.0035597 | 0.00089214 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4258-12_0_6_load_42 | 69 | 0.0031049 | 0.00077817 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4258-12_0_6_load_43 | 70 | 0.0025604 | 0.00064169 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4258-12_0_6_load_44 | 71 | 0.0020704 | 0.0005189 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4258-12_0_6_load_45 | 72 | 0.0019771 | 0.0004955 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4258-12_0_6_load_49 | 74 | 0.0018586 | 0.0004658 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4258-12_0_6_load_66 | 75 | 0.00198 | 0.00049623 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4258-12_0_6_load_67 | 76 | 0.0024222 | 0.00060707 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4258-12_0_6_load_53 | 78 | 0.0031543 | 0.00079054 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4258-12_0_6_load_55 | 79 | 0.005593 | 0.0014017 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4258-12_0_6_load_57 | 80 | 0.0021726 | 0.0005445 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4258-12_0_6_load_75 | 81 | 0.0015445 | 0.00038709 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4258-12_0_6_load_76 | 82 | 0.0021961 | 0.00055039 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4258-12_0_6_load_83 | 84 | 0.012023 | 0.0030133 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4258-12_0_6_load_110 | 85 | 0.054781 | 0.013729 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4258-12_0_6_load_69 | 87 | 0.0011875 | 0.00029761 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4258-12_0_6_load_85 | 89 | 0.0023962 | 0.00060054 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4258-12_0_6_load_61 | 90 | 0.0048611 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4258-12_0_6_load_99 | 92 | 0.0049877 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4258-12_0_6_load_70 | 93 | 0.0042003 | 0.0010527 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4258-12_0_6_load_64 | 94 | 0.0025866 | 0.00064825 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4258-12_0_6_load_112 | 95 | 0.00021798 | 5.4632e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4258-12_0_6_load_68 | 96 | 0.0020144 | 0.00050485 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4258-12_0_6_load_89 | 97 | 0.002446 | 0.00061303 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4258-12_0_6_load_90 | 98 | 0.0028101 | 0.00070427 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4258-12_0_6_load_97 | 99 | 0.0042308 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4258-12_0_6_load_111 | 101 | 0.094665 | 0.023725 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4258-12_0_6_load_79 | 102 | 0.0023582 | 0.00059103 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4258-12_0_6_load_91 | 103 | 0.0020339 | 0.00050976 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4258-12_0_6_load_95 | 104 | 0.0095083 | 0.002383 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4258-12_0_6_load_96 | 105 | 0.0014443 | 0.00036198 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4258-12_0_6_load_98 | 106 | 0.0014899 | 0.0003734 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4258-12_0_6_load_104 | 107 | 0.0036336 | 0.00091067 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4258-12_0_6_load_105 | 108 | 0.0033121 | 0.00083008 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4258-12_0_6_load_113 | 110 | 0.0023576 | 0.00059087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4258-12_0_6_line_0 |  | 0 | 1 | 0.024109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4258-12_0_6_line_1 |  | 0 | 2 | 0.0020259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4258-12_0_6_line_2 |  | 1 | 3 | 0.025283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4258-12_0_6_line_3 |  | 1 | 4 | 0.0086958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4258-12_0_6_line_4 |  | 3 | 5 | 0.010429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4258-12_0_6_line_5 |  | 3 | 6 | 0.020855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4258-12_0_6_line_6 |  | 5 | 7 | 0.026509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4258-12_0_6_line_7 |  | 5 | 8 | 0.030642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4258-12_0_6_line_8 |  | 6 | 9 | 0.019281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4258-12_0_6_line_9 |  | 8 | 56 | 0.026795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4258-12_0_6_line_10 |  | 9 | 72 | 0.0112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4258-12_0_6_line_11 |  | 10 | 11 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4258-12_0_6_line_12 |  | 10 | 12 | 0.015629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4258-12_0_6_line_13 |  | 11 | 13 | 0.026591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4258-12_0_6_line_14 |  | 11 | 14 | 0.05323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_4258-12_0_6_line_15 |  | 12 | 15 | 0.004207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4258-12_0_6_line_16 |  | 12 | 16 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4258-12_0_6_line_17 |  | 13 | 17 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4258-12_0_6_line_18 |  | 13 | 18 | 0.003991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4258-12_0_6_line_19 |  | 14 | 19 | 0.011854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4258-12_0_6_line_20 |  | 14 | 20 | 0.027074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4258-12_0_6_line_21 |  | 17 | 21 | 0.014469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4258-12_0_6_line_22 |  | 18 | 22 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4258-12_0_6_line_23 |  | 18 | 23 | 0.015642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4258-12_0_6_line_24 |  | 19 | 24 | 0.01938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4258-12_0_6_line_25 |  | 19 | 25 | 0.0055898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4258-12_0_6_line_26 |  | 20 | 26 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4258-12_0_6_line_27 |  | 22 | 98 | 0.0033439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4258-12_0_6_line_28 |  | 23 | 89 | 0.019168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4258-12_0_6_line_29 |  | 24 | 44 | 0.015652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_4258-12_0_6_line_30 |  | 25 | 71 | 0.0087083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4258-12_0_6_line_31 |  | 26 | 109 | 0.029308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4258-12_0_6_line_32 |  | 26 | 107 | 0.032821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4258-12_0_6_line_33 |  | 27 | 28 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4258-12_0_6_line_34 |  | 27 | 29 | 0.031182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4258-12_0_6_line_35 |  | 28 | 30 | 0.004549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4258-12_0_6_line_36 |  | 30 | 31 | 0.033663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4258-12_0_6_line_37 |  | 30 | 32 | 0.0075198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4258-12_0_6_line_38 |  | 31 | 36 | 0.029451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4258-12_0_6_line_39 |  | 31 | 37 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4258-12_0_6_line_40 |  | 32 | 38 | 0.024598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4258-12_0_6_line_41 |  | 33 | 34 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4258-12_0_6_line_42 |  | 33 | 35 | 0.012898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4258-12_0_6_line_43 |  | 34 | 39 | 0.015094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4258-12_0_6_line_44 |  | 34 | 40 | 0.042327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4258-12_0_6_line_45 |  | 35 | 41 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4258-12_0_6_line_46 |  | 36 | 95 | 0.022438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4258-12_0_6_line_47 |  | 37 | 55 | 0.012274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4258-12_0_6_line_48 |  | 38 | 94 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4258-12_0_6_line_49 |  | 40 | 51 | 0.028748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4258-12_0_6_line_50 |  | 41 | 78 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4258-12_0_6_line_51 |  | 42 | 43 | 0.048639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4258-12_0_6_line_52 |  | 42 | 44 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4258-12_0_6_line_53 |  | 43 | 45 | 0.007346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4258-12_0_6_line_54 |  | 45 | 46 | 0.015027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4258-12_0_6_line_55 |  | 45 | 47 | 0.045182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4258-12_0_6_line_56 |  | 45 | 48 | 0.036469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4258-12_0_6_line_57 |  | 46 | 51 | 0.025044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4258-12_0_6_line_58 |  | 47 | 49 | 0.052646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4258-12_0_6_line_59 |  | 48 | 52 | 0.026657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4258-12_0_6_line_60 |  | 49 | 50 | 0.068641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4258-12_0_6_line_61 |  | 52 | 53 | 0.027497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4258-12_0_6_line_62 |  | 53 | 54 | 0.029061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4258-12_0_6_line_63 |  | 54 | 55 | 0.0026604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4258-12_0_6_line_64 |  | 56 | 57 | 0.02015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4258-12_0_6_line_65 |  | 57 | 58 | 0.021405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4258-12_0_6_line_66 |  | 58 | 59 | 0.031619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4258-12_0_6_line_67 |  | 59 | 77 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4258-12_0_6_line_68 |  | 60 | 61 | 0.0013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4258-12_0_6_line_69 |  | 61 | 62 | 0.025898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4258-12_0_6_line_70 |  | 62 | 63 | 0.014141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4258-12_0_6_line_71 |  | 63 | 66 | 0.0087085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4258-12_0_6_line_72 |  | 64 | 65 | 0.048502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4258-12_0_6_line_73 |  | 65 | 67 | 0.029311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4258-12_0_6_line_74 |  | 66 | 90 | 0.012855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4258-12_0_6_line_75 |  | 67 | 100 | 0.059184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4258-12_0_6_line_76 |  | 68 | 69 | 0.0082431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4258-12_0_6_line_77 |  | 68 | 70 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4258-12_0_6_line_78 |  | 69 | 71 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4258-12_0_6_line_79 |  | 72 | 73 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4258-12_0_6_line_80 |  | 73 | 74 | 0.031801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4258-12_0_6_line_81 |  | 74 | 75 | 0.02478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4258-12_0_6_line_82 |  | 75 | 76 | 0.0010491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4258-12_0_6_line_83 |  | 77 | 86 | 0.010291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_4258-12_0_6_line_84 |  | 77 | 87 | 0.019896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4258-12_0_6_line_85 |  | 77 | 83 | 0.063984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_4258-12_0_6_line_86 |  | 78 | 79 | 0.0041689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4258-12_0_6_line_87 |  | 79 | 80 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4258-12_0_6_line_88 |  | 80 | 81 | 0.00034807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4258-12_0_6_line_89 |  | 81 | 82 | 0.010827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4258-12_0_6_line_90 |  | 82 | 102 | 0.0085468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4258-12_0_6_line_91 |  | 83 | 84 | 0.019526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4258-12_0_6_line_92 |  | 83 | 85 | 0.031889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_4258-12_0_6_line_93 |  | 84 | 100 | 0.018889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4258-12_0_6_line_94 |  | 85 | 101 | 0.010254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4258-12_0_6_line_95 |  | 86 | 88 | 0.011195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4258-12_0_6_line_96 |  | 87 | 93 | 0.024478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_4258-12_0_6_line_97 |  | 88 | 89 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4258-12_0_6_line_98 |  | 90 | 91 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4258-12_0_6_line_99 |  | 91 | 92 | 0.02434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4258-12_0_6_line_100 |  | 91 | 93 | 0.019567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_4258-12_0_6_line_101 |  | 92 | 99 | 0.0071859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4258-12_0_6_line_102 |  | 96 | 97 | 0.00049629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4258-12_0_6_line_103 |  | 97 | 98 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4258-12_0_6_line_104 |  | 99 | 104 | 0.025933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4258-12_0_6_line_105 |  | 102 | 103 | 0.0021209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4258-12_0_6_line_106 |  | 104 | 105 | 0.029084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4258-12_0_6_line_107 |  | 105 | 106 | 0.021864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4258-12_0_6_line_108 |  | 107 | 108 | 0.015954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4258-12_0_6_line_109 |  | 109 | 110 | 0.037391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4258-12_0_6_trafo_72 | 0.63 MVA 20/0.4 kV | 111 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2626954.0775 | 1266384.0788 | 2626970.5354 | 1266377.1266 | 2626974.9774 | 1266372.7395
1 | 2626976.4188 | 1266371.3159 | 2626974.9774 | 1266372.7395
2 | 2626954.0775 | 1266384.0788 | 2626944.8197 | 1266360.5423
3 | 2626954.0775 | 1266384.0788 | 2626956.0026 | 1266392.5588
4 | 2626940.4891 | 1266351.0492 | 2626944.8197 | 1266360.5423
5 | 2626944.8197 | 1266360.5423 | 2626924.6883 | 1266365.9901
6 | 2626965.6495 | 1266342.4799 | 2626940.4891 | 1266351.0492
7 | 2626940.4891 | 1266351.0492 | 2626927.0705 | 1266323.5015
8 | 2626924.6883 | 1266365.9901 | 2626906.0764 | 1266371.0267
9 | 2626915.3364 | 1266299.4119 | 2626927.0705 | 1266323.5015
10 | 2626895.2656 | 1266373.9522 | 2626906.0764 | 1266371.0267
11 | 2626801.5919 | 1266260.3662 | 2626798.4005 | 1266246.6118
12 | 2626794.0959 | 1266231.612 | 2626796.5042 | 1266238.4388 | 2626798.4005 | 1266246.6118
13 | 2626801.5919 | 1266260.3662 | 2626827.4729 | 1266253.9455
14 | 2626801.5919 | 1266260.3662 | 2626749.7846 | 1266273.2299
15 | 2626794.0959 | 1266231.612 | 2626796.2729 | 1266228.0082
16 | 2626794.0959 | 1266231.612 | 2626790.293 | 1266228.5482 | 2626782.4258 | 1266226.9003
17 | 2626827.4729 | 1266253.9455 | 2626825.2384 | 1266246.9971 | 2626822.0138 | 1266240.9116 | 2626821.885 | 1266240.2108
18 | 2626827.4729 | 1266253.9455 | 2626831.4694 | 1266254.1749
19 | 2626746.7272 | 1266261.7747 | 2626749.7846 | 1266273.2299
20 | 2626749.7846 | 1266273.2299 | 2626756.0031 | 1266299.5799
21 | 2626823.8433 | 1266226.1738 | 2626821.1321 | 1266236.1153 | 2626821.885 | 1266240.2108
22 | 2626831.4694 | 1266254.1749 | 2626836.1046 | 1266261.2898 | 2626837.2348 | 1266264.6963
23 | 2626831.4694 | 1266254.1749 | 2626836.1169 | 1266248.6253 | 2626843.0793 | 1266243.9202
24 | 2626746.7272 | 1266261.7747 | 2626728.3183 | 1266267.8322
25 | 2626746.7272 | 1266261.7747 | 2626749.174 | 1266256.7488
26 | 2626759.8453 | 1266315.8609 | 2626756.0031 | 1266299.5799
27 | 2626837.2348 | 1266264.6963 | 2626838.2658 | 1266267.8042 | 2626838.2884 | 1266267.8699
28 | 2626861.2276 | 1266237.7871 | 2626855.1143 | 1266239.5273 | 2626843.0793 | 1266243.9202
29 | 2626713.2109 | 1266271.9194 | 2626727.4941 | 1266268.1034 | 2626728.3183 | 1266267.8322
30 | 2626749.174 | 1266256.7488 | 2626749.174 | 1266256.7488 | 2626747.3857 | 1266248.2262
31 | 2626759.8453 | 1266315.8609 | 2626766.5744 | 1266344.3892
32 | 2626759.8453 | 1266315.8609 | 2626782.2481 | 1266309.4355 | 2626786.7226 | 1266303.8184 | 2626788.8909 | 1266302.9556
33 | 2626739.0884 | 1266110.1472 | 2626726.7603 | 1266096.4048
34 | 2626759.9334 | 1266133.3383 | 2626754.4794 | 1266127.3038 | 2626739.0884 | 1266110.1472
35 | 2626723.7226 | 1266093.0186 | 2626726.7603 | 1266096.4048
36 | 2626696.8554 | 1266075.9187 | 2626703.7516 | 1266075.8943 | 2626709.1488 | 1266077.7088 | 2626723.7226 | 1266093.0186
37 | 2626723.7226 | 1266093.0186 | 2626722.1931 | 1266096.6254 | 2626723.0296 | 1266100.129
38 | 2626696.8554 | 1266075.9187 | 2626694.5024 | 1266081.8456 | 2626699.8678 | 1266104.2875
39 | 2626696.8554 | 1266075.9187 | 2626689.4941 | 1266077.2532 | 2626682.9054 | 1266080.3115
40 | 2626723.0296 | 1266100.129 | 2626728.7418 | 1266124.0543
41 | 2626804.9529 | 1266183.1492 | 2626807.1425 | 1266196.6909
42 | 2626804.9529 | 1266183.1492 | 2626802.2396 | 1266170.5402
43 | 2626807.1425 | 1266196.6909 | 2626821.3905 | 1266201.6727
44 | 2626807.1425 | 1266196.6909 | 2626788.8623 | 1266193.6949 | 2626774.2855 | 1266192.4504 | 2626765.1289 | 1266192.9927
45 | 2626797.8694 | 1266151.6869 | 2626799.3198 | 1266156.9719 | 2626802.2396 | 1266170.5402
46 | 2626699.8678 | 1266104.2875 | 2626705.0851 | 1266126.1102
47 | 2626671.7726 | 1266085.4791 | 2626682.9054 | 1266080.3115
48 | 2626731.4732 | 1266135.4946 | 2626728.7418 | 1266124.0543
49 | 2626765.1289 | 1266192.9927 | 2626759.9854 | 1266193.2974 | 2626736.73 | 1266197.2876
50 | 2626792.1544 | 1266130.8619 | 2626797.8694 | 1266151.6869
51 | 2626698.5888 | 1266212.356 | 2626710.1848 | 1266259.5925
52 | 2626713.2109 | 1266271.9194 | 2626710.1848 | 1266259.5925
53 | 2626697.432 | 1266205.1012 | 2626698.5888 | 1266212.356
54 | 2626697.432 | 1266205.1012 | 2626712.1489 | 1266202.0654
55 | 2626697.432 | 1266205.1012 | 2626653.7168 | 1266216.5205
56 | 2626697.432 | 1266205.1012 | 2626689.7834 | 1266169.4438
57 | 2626712.1489 | 1266202.0654 | 2626728.2892 | 1266198.7359 | 2626736.73 | 1266197.2876
58 | 2626602.7804 | 1266229.826 | 2626653.7168 | 1266216.5205
59 | 2626684.1926 | 1266143.3799 | 2626689.7834 | 1266169.4438
60 | 2626602.7804 | 1266229.826 | 2626535.4333 | 1266243.0921
61 | 2626684.1926 | 1266143.3799 | 2626678.4256 | 1266116.4947
62 | 2626672.3306 | 1266088.0804 | 2626678.4256 | 1266116.4947
63 | 2626671.7726 | 1266085.4791 | 2626672.3306 | 1266088.0804
64 | 2626915.3364 | 1266299.4119 | 2626911.9156 | 1266292.389 | 2626907.5568 | 1266280.8466
65 | 2626907.5568 | 1266280.8466 | 2626899.9948 | 1266260.8221
66 | 2626888.8259 | 1266231.2411 | 2626896.2646 | 1266250.9443 | 2626899.9948 | 1266260.8221
67 | 2626885.0374 | 1266220.0271 | 2626888.8259 | 1266231.2411
68 | 2626893.6596 | 1266080.1416 | 2626893.057 | 1266081.3555
69 | 2626893.057 | 1266081.3555 | 2626891.0089 | 1266085.4816 | 2626883.4458 | 1266105.3845
70 | 2626878.4917 | 1266118.6295 | 2626880.8902 | 1266112.11 | 2626883.4458 | 1266105.3845
71 | 2626878.4917 | 1266118.6295 | 2626877.2923 | 1266121.8894 | 2626875.0881 | 1266126.6377
72 | 2627001.7604 | 1266092.0235 | 2626990.6934 | 1266085.4573 | 2626972.5099 | 1266077.7023 | 2626957.5436 | 1266072.4356
73 | 2627001.7604 | 1266092.0235 | 2626996.0263 | 1266104.6618 | 2626989.3233 | 1266118.563
74 | 2626872.3792 | 1266138.8937 | 2626872.3733 | 1266132.4857 | 2626875.0881 | 1266126.6377
75 | 2626975.8618 | 1266173.107 | 2626972.3749 | 1266163.4732 | 2626971.6321 | 1266156.3204 | 2626973.3806 | 1266150.9357 | 2626988.0232 | 1266121.2592 | 2626989.3233 | 1266118.563
76 | 2626736.0536 | 1266234.3591 | 2626744.1112 | 1266232.6201 | 2626744.1112 | 1266232.6201
77 | 2626718.6785 | 1266238.1092 | 2626736.0536 | 1266234.3591
78 | 2626747.3857 | 1266248.2262 | 2626744.1112 | 1266232.6201
79 | 2626876.5688 | 1266379.0118 | 2626895.2656 | 1266373.9522
80 | 2626876.5688 | 1266379.0118 | 2626866.2128 | 1266348.9446
81 | 2626858.143 | 1266325.5149 | 2626866.2128 | 1266348.9446
82 | 2626858.143 | 1266325.5149 | 2626857.8013 | 1266324.523
83 | 2626874.8663 | 1266221.7821 | 2626885.0374 | 1266220.0271
84 | 2626885.0374 | 1266220.0271 | 2626881.1039 | 1266200.5238
85 | 2626941.9032 | 1266190.8983 | 2626912.2574 | 1266207.2862 | 2626898.7333 | 1266214.6299 | 2626885.0374 | 1266220.0271
86 | 2626792.1544 | 1266130.8619 | 2626791.0511 | 1266126.8417
87 | 2626785.2733 | 1266106.2644 | 2626790.2398 | 1266123.8853 | 2626791.0511 | 1266126.8417
88 | 2626785.1789 | 1266105.9294 | 2626785.2733 | 1266106.2644
89 | 2626785.1789 | 1266105.9294 | 2626782.2417 | 1266095.5085
90 | 2626779.9231 | 1266087.2822 | 2626782.2417 | 1266095.5085
91 | 2626941.9032 | 1266190.8983 | 2626958.6685 | 1266180.8894
92 | 2626941.9032 | 1266190.8983 | 2626929.2156 | 1266161.6422
93 | 2626975.8618 | 1266173.107 | 2626960.5716 | 1266179.7532 | 2626958.6685 | 1266180.8894
94 | 2626919.8092 | 1266165.7245 | 2626929.2156 | 1266161.6422
95 | 2626874.8663 | 1266221.7821 | 2626874.7017 | 1266226.5181 | 2626868.7206 | 1266228.9927
96 | 2626881.1039 | 1266200.5238 | 2626876.2644 | 1266176.5285
97 | 2626868.7206 | 1266228.9927 | 2626861.2276 | 1266237.7871 | 2626861.2276 | 1266237.7871
98 | 2626872.396 | 1266157.3478 | 2626872.3792 | 1266138.8937
99 | 2626872.396 | 1266157.3478 | 2626848.9763 | 1266150.7183
100 | 2626872.396 | 1266157.3478 | 2626876.2644 | 1266176.5285
101 | 2626848.9763 | 1266150.7183 | 2626848.0053 | 1266150.4434 | 2626846.1738 | 1266144.5444
102 | 2626846.3485 | 1266291.2713 | 2626846.5102 | 1266291.7405
103 | 2626838.2884 | 1266267.8699 | 2626846.3485 | 1266291.2713
104 | 2626838.4845 | 1266119.7774 | 2626846.1738 | 1266144.5444
105 | 2626779.3478 | 1266085.2409 | 2626779.9231 | 1266087.2822
106 | 2626838.4845 | 1266119.7774 | 2626829.8609 | 1266092.0012
107 | 2626823.3781 | 1266071.1204 | 2626829.8609 | 1266092.0012
108 | 2626803.7143 | 1266297.0572 | 2626788.8909 | 1266302.9556
109 | 2626801.5361 | 1266330.86 | 2626766.5744 | 1266344.3892

## bus_geodata
| x | y | coords
0 | 2626974.9774 | 1266372.7395
1 | 2626954.0775 | 1266384.0788
2 | 2626976.4188 | 1266371.3159
3 | 2626944.8197 | 1266360.5423
4 | 2626956.0026 | 1266392.5588
5 | 2626940.4891 | 1266351.0492
6 | 2626924.6883 | 1266365.9901
7 | 2626965.6495 | 1266342.4799
8 | 2626927.0705 | 1266323.5015
9 | 2626906.0764 | 1266371.0267
10 | 2626798.4005 | 1266246.6118
11 | 2626801.5919 | 1266260.3662
12 | 2626794.0959 | 1266231.612
13 | 2626827.4729 | 1266253.9455
14 | 2626749.7846 | 1266273.2299
15 | 2626796.2729 | 1266228.0082
16 | 2626782.4258 | 1266226.9003
17 | 2626821.885 | 1266240.2108
18 | 2626831.4694 | 1266254.1749
19 | 2626746.7272 | 1266261.7747
20 | 2626756.0031 | 1266299.5799
21 | 2626823.8433 | 1266226.1738
22 | 2626837.2348 | 1266264.6963
23 | 2626843.0793 | 1266243.9202
24 | 2626728.3183 | 1266267.8322
25 | 2626749.174 | 1266256.7488
26 | 2626759.8453 | 1266315.8609
27 | 2626739.0884 | 1266110.1472
28 | 2626726.7603 | 1266096.4048
29 | 2626759.9334 | 1266133.3383
30 | 2626723.7226 | 1266093.0186
31 | 2626696.8554 | 1266075.9187
32 | 2626723.0296 | 1266100.129
33 | 2626804.9529 | 1266183.1492
34 | 2626807.1425 | 1266196.6909
35 | 2626802.2396 | 1266170.5402
36 | 2626699.8678 | 1266104.2875
37 | 2626682.9054 | 1266080.3115
38 | 2626728.7418 | 1266124.0543
39 | 2626821.3905 | 1266201.6727
40 | 2626765.1289 | 1266192.9927
41 | 2626797.8694 | 1266151.6869
42 | 2626710.1848 | 1266259.5925
43 | 2626698.5888 | 1266212.356
44 | 2626713.2109 | 1266271.9194
45 | 2626697.432 | 1266205.1012
46 | 2626712.1489 | 1266202.0654
47 | 2626653.7168 | 1266216.5205
48 | 2626689.7834 | 1266169.4438
49 | 2626602.7804 | 1266229.826
50 | 2626535.4333 | 1266243.0921
51 | 2626736.73 | 1266197.2876
52 | 2626684.1926 | 1266143.3799
53 | 2626678.4256 | 1266116.4947
54 | 2626672.3306 | 1266088.0804
55 | 2626671.7726 | 1266085.4791
56 | 2626915.3364 | 1266299.4119
57 | 2626907.5568 | 1266280.8466
58 | 2626899.9948 | 1266260.8221
59 | 2626888.8259 | 1266231.2411
60 | 2626893.6596 | 1266080.1416
61 | 2626893.057 | 1266081.3555
62 | 2626883.4458 | 1266105.3845
63 | 2626878.4917 | 1266118.6295
64 | 2626957.5436 | 1266072.4356
65 | 2627001.7604 | 1266092.0235
66 | 2626875.0881 | 1266126.6377
67 | 2626989.3233 | 1266118.563
68 | 2626736.0536 | 1266234.3591
69 | 2626744.1112 | 1266232.6201
70 | 2626718.6785 | 1266238.1092
71 | 2626747.3857 | 1266248.2262
72 | 2626895.2656 | 1266373.9522
73 | 2626876.5688 | 1266379.0118
74 | 2626866.2128 | 1266348.9446
75 | 2626858.143 | 1266325.5149
76 | 2626857.8013 | 1266324.523
77 | 2626885.0374 | 1266220.0271
78 | 2626792.1544 | 1266130.8619
79 | 2626791.0511 | 1266126.8417
80 | 2626785.2733 | 1266106.2644
81 | 2626785.1789 | 1266105.9294
82 | 2626782.2417 | 1266095.5085
83 | 2626941.9032 | 1266190.8983
84 | 2626958.6685 | 1266180.8894
85 | 2626929.2156 | 1266161.6422
86 | 2626874.8663 | 1266221.7821
87 | 2626881.1039 | 1266200.5238
88 | 2626868.7206 | 1266228.9927
89 | 2626861.2276 | 1266237.7871
90 | 2626872.3792 | 1266138.8937
91 | 2626872.396 | 1266157.3478
92 | 2626848.9763 | 1266150.7183
93 | 2626876.2644 | 1266176.5285
94 | 2626731.4732 | 1266135.4946
95 | 2626705.0851 | 1266126.1102
96 | 2626846.5102 | 1266291.7405
97 | 2626846.3485 | 1266291.2713
98 | 2626838.2884 | 1266267.8699
99 | 2626846.1738 | 1266144.5445
100 | 2626975.8618 | 1266173.107
101 | 2626919.8092 | 1266165.7245
102 | 2626779.9231 | 1266087.2822
103 | 2626779.3478 | 1266085.2409
104 | 2626838.4845 | 1266119.7774
105 | 2626829.8609 | 1266092.0012
106 | 2626823.3781 | 1266071.1204
107 | 2626788.8909 | 1266302.9556
108 | 2626803.7143 | 1266297.0572
109 | 2626766.5744 | 1266344.3892
110 | 2626801.5361 | 1266330.86
111 | 2626885.0374 | 1266220.0271

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1