## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4258-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4258-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4258-18_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4258-18_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4258-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4258-18_0_5_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_4258-18_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_4258-18_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4258-18_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4258-18_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4258-18_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4258-18_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_4258-18_0_5_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_4258-18_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4258-18_0_5_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_4258-18_0_5_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_4258-18_0_5_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4258-18_0_5_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_4258-18_0_5_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_4258-18_0_5_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_4258-18_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_4258-18_0_5_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_4258-18_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4258-18_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4258-18_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4258-18_0_5_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4258-18_0_5_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_4258-18_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_4258-18_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_4258-18_0_5_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_4258-18_0_5_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4258-18_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4258-18_0_5_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_4258-18_0_5_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_4258-18_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4258-18_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4258-18_0_5_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_4258-18_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4258-18_0_5_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_4258-18_0_5_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_4258-18_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4258-18_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4258-18_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_4258-18_0_5_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_4258-18_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4258-18_0_5_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4258-18_0_5_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4258-18_0_5_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_4258-18_0_5_node_83 | 0.4 | n |  | TRUE
49 | bus_LV_4258-18_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_4258-18_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_4258-18_0_5_node_68 | 0.4 | n |  | TRUE
52 | bus_LV_4258-18_0_5_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_4258-18_0_5_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_4258-18_0_5_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_4258-18_0_5_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_4258-18_0_5_node_77 | 0.4 | n |  | TRUE
57 | bus_LV_4258-18_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_4258-18_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_4258-18_0_5_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_4258-18_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4258-18_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_4258-18_0_5_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_4258-18_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_4258-18_0_5_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4258-18_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4258-18_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4258-18_0_5_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_4258-18_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_4258-18_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4258-18_0_5_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_4258-18_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4258-18_0_5_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_4258-18_0_5_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_4258-18_0_5_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_4258-18_0_5_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4258-18_0_5_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_4258-18_0_5_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_4258-18_0_5_node_76 | 0.4 | n |  | TRUE
79 | bus_MV_306_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4258-18_0_5_load_0 | 0 | 0.012883 | 0.0032289 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4258-18_0_5_load_1 | 1 | 0.004234 | 0.0010611 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4258-18_0_5_load_2 | 2 | 0.0046347 | 0.0011616 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4258-18_0_5_load_3 | 3 | 0.0048628 | 0.0012187 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4258-18_0_5_load_4 | 4 | 0.011357 | 0.0028462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4258-18_0_5_load_39 | 5 | 0.0072657 | 0.001821 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4258-18_0_5_load_37 | 6 | 0.0049088 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4258-18_0_5_load_5 | 7 | 0.012381 | 0.0031031 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4258-18_0_5_load_8 | 10 | 0.0037761 | 0.00094638 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4258-18_0_5_load_9 | 11 | 0.0039823 | 0.00099806 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4258-18_0_5_load_10 | 12 | 0.0032733 | 0.00082037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4258-18_0_5_load_11 | 13 | 0.0030171 | 0.00075616 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4258-18_0_5_load_48 | 14 | 0.0046333 | 0.0011612 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4258-18_0_5_load_81 | 15 | 0.0077658 | 0.0019463 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4258-18_0_5_load_13 | 16 | 0.0049464 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4258-18_0_5_load_67 | 17 | 0.010121 | 0.0025366 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4258-18_0_5_load_46 | 18 | 0.0066544 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4258-18_0_5_load_80 | 19 | 0.0036789 | 0.00092201 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4258-18_0_5_load_12 | 20 | 0.0093039 | 0.0023318 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4258-18_0_5_load_66 | 21 | 0.0038814 | 0.00097277 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4258-18_0_5_load_15 | 23 | 0.005577 | 0.0013977 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4258-18_0_5_load_16 | 24 | 0.0078607 | 0.0019701 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4258-18_0_5_load_41 | 26 | 0.0082538 | 0.0020686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4258-18_0_5_load_47 | 28 | 0.01067 | 0.0026741 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4258-18_0_5_load_36 | 29 | 0.0094765 | 0.002375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4258-18_0_5_load_26 | 30 | 0.010408 | 0.0026086 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4258-18_0_5_load_19 | 31 | 0.01094 | 0.0027418 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4258-18_0_5_load_45 | 32 | 0.0094823 | 0.0023765 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4258-18_0_5_load_18 | 33 | 0.0029595 | 0.00074173 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4258-18_0_5_load_20 | 34 | 0.004194 | 0.0010511 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4258-18_0_5_load_22 | 35 | 0.0039122 | 0.00098049 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4258-18_0_5_load_49 | 36 | 0.0029395 | 0.00073672 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4258-18_0_5_load_24 | 37 | 0.0056346 | 0.0014122 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4258-18_0_5_load_50 | 38 | 0.0082572 | 0.0020695 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4258-18_0_5_load_23 | 39 | 0.0039195 | 0.00098233 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4258-18_0_5_load_25 | 40 | 0.0092506 | 0.0023184 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4258-18_0_5_load_27 | 41 | 0.0087709 | 0.0021982 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4258-18_0_5_load_42 | 42 | 0.0055987 | 0.0014032 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4258-18_0_5_load_43 | 43 | 0.0053648 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4258-18_0_5_load_28 | 44 | 0.0098535 | 0.0024695 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4258-18_0_5_load_83 | 48 | 0.0023718 | 0.00059442 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4258-18_0_5_load_54 | 49 | 0.0021921 | 0.00054939 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4258-18_0_5_load_52 | 50 | 0.002117 | 0.00053057 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4258-18_0_5_load_68 | 51 | 0.007871 | 0.0019727 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4258-18_0_5_load_79 | 53 | 0.01549 | 0.0038821 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4258-18_0_5_load_82 | 55 | 0.0089203 | 0.0022356 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4258-18_0_5_load_77 | 56 | 0.0028615 | 0.00071715 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4258-18_0_5_load_59 | 57 | 0.014967 | 0.0037511 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4258-18_0_5_load_64 | 58 | 0.005446 | 0.0013649 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4258-18_0_5_load_38 | 59 | 0.0049035 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4258-18_0_5_load_40 | 60 | 0.0032958 | 0.00082599 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4258-18_0_5_load_51 | 61 | 0.0032236 | 0.00080792 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4258-18_0_5_load_55 | 62 | 0.0054997 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4258-18_0_5_load_57 | 63 | 0.0046872 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4258-18_0_5_load_58 | 64 | 0.0092083 | 0.0023078 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4258-18_0_5_load_44 | 65 | 0.0074429 | 0.0018654 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4258-18_0_5_load_53 | 66 | 0.0024322 | 0.00060958 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4258-18_0_5_load_56 | 67 | 0.0061422 | 0.0015394 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4258-18_0_5_load_60 | 69 | 0.0033032 | 0.00082786 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4258-18_0_5_load_61 | 70 | 0.010372 | 0.0025994 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4258-18_0_5_load_63 | 71 | 0.0068905 | 0.0017269 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4258-18_0_5_load_70 | 72 | 0.009015 | 0.0022594 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4258-18_0_5_load_71 | 73 | 0.0082158 | 0.0020591 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4258-18_0_5_load_72 | 74 | 0.0063017 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4258-18_0_5_load_73 | 75 | 0.0028691 | 0.00071907 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4258-18_0_5_load_75 | 77 | 0.0038345 | 0.00096102 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4258-18_0_5_load_76 | 78 | 0.010338 | 0.0025909 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4258-18_0_5_line_0 |  | 0 | 1 | 0.00056788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4258-18_0_5_line_1 |  | 0 | 2 | 0.0062662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4258-18_0_5_line_2 |  | 1 | 3 | 0.0046951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4258-18_0_5_line_3 |  | 2 | 4 | 0.0032742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4258-18_0_5_line_4 |  | 4 | 5 | 0.0040483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4258-18_0_5_line_5 |  | 5 | 6 | 0.00053026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4258-18_0_5_line_6 |  | 6 | 59 | 0.0039126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4258-18_0_5_line_7 |  | 7 | 8 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_4258-18_0_5_line_8 |  | 7 | 9 | 0.013526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_4258-18_0_5_line_9 |  | 8 | 10 | 0.0036136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_4258-18_0_5_line_10 |  | 8 | 11 | 0.0066348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4258-18_0_5_line_11 |  | 9 | 12 | 0.0052183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_4258-18_0_5_line_12 |  | 9 | 13 | 0.0031096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4258-18_0_5_line_13 |  | 10 | 14 | 0.0078117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_4258-18_0_5_line_14 |  | 11 | 15 | 0.0059531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4258-18_0_5_line_15 |  | 12 | 16 | 0.008037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4258-18_0_5_line_16 |  | 13 | 17 | 0.0075008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4258-18_0_5_line_17 |  | 14 | 18 | 0.0088576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_4258-18_0_5_line_18 |  | 15 | 19 | 0.0083108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4258-18_0_5_line_19 |  | 16 | 20 | 0.0017391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4258-18_0_5_line_20 |  | 17 | 21 | 0.00021947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4258-18_0_5_line_21 |  | 18 | 65 | 0.0065658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4258-18_0_5_line_22 |  | 21 | 71 | 0.0089971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4258-18_0_5_line_23 |  | 22 | 23 | 0.011372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4258-18_0_5_line_24 |  | 22 | 24 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4258-18_0_5_line_25 |  | 22 | 25 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_4258-18_0_5_line_26 |  | 23 | 26 | 0.0064156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4258-18_0_5_line_27 |  | 24 | 27 | 0.01519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4258-18_0_5_line_28 |  | 25 | 28 | 0.0083014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4258-18_0_5_line_29 |  | 26 | 29 | 0.0087691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4258-18_0_5_line_30 |  | 27 | 30 | 0.0061962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4258-18_0_5_line_31 |  | 27 | 31 | 0.0041936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4258-18_0_5_line_32 |  | 28 | 32 | 0.0099624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4258-18_0_5_line_33 |  | 29 | 45 | 0.0031806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4258-18_0_5_line_34 |  | 30 | 37 | 0.0081145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4258-18_0_5_line_35 |  | 31 | 33 | 0.0077592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4258-18_0_5_line_36 |  | 32 | 65 | 0.0022325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4258-18_0_5_line_37 |  | 33 | 34 | 0.0083045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4258-18_0_5_line_38 |  | 34 | 35 | 0.00058846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4258-18_0_5_line_39 |  | 35 | 36 | 0.0084766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4258-18_0_5_line_40 |  | 36 | 38 | 0.0067547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4258-18_0_5_line_41 |  | 37 | 39 | 4.0386e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4258-18_0_5_line_42 |  | 38 | 66 | 0.00014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4258-18_0_5_line_43 |  | 39 | 40 | 0.00072111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4258-18_0_5_line_44 |  | 40 | 41 | 0.0072904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4258-18_0_5_line_45 |  | 41 | 42 | 0.0030272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4258-18_0_5_line_46 |  | 42 | 43 | 0.0043808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4258-18_0_5_line_47 |  | 43 | 63 | 0.0032968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4258-18_0_5_line_48 |  | 44 | 45 | 0.0082745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4258-18_0_5_line_49 |  | 46 | 47 | 0.019197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4258-18_0_5_line_50 |  | 46 | 48 | 0.014645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4258-18_0_5_line_51 |  | 47 | 53 | 0.0031439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4258-18_0_5_line_52 |  | 47 | 54 | 0.009852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4258-18_0_5_line_53 |  | 48 | 55 | 0.011968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4258-18_0_5_line_54 |  | 49 | 50 | 0.0056061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4258-18_0_5_line_55 |  | 50 | 66 | 0.0062665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4258-18_0_5_line_56 |  | 51 | 52 | 0.02112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4258-18_0_5_line_57 |  | 52 | 72 | 0.0032277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4258-18_0_5_line_58 |  | 52 | 73 | 0.0096292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4258-18_0_5_line_59 |  | 54 | 56 | 0.0098428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4258-18_0_5_line_60 |  | 54 | 68 | 0.007055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4258-18_0_5_line_61 |  | 55 | 77 | 0.0017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4258-18_0_5_line_62 |  | 57 | 58 | 0.013135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4258-18_0_5_line_63 |  | 58 | 68 | 0.010501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4258-18_0_5_line_64 |  | 59 | 60 | 6.6974e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4258-18_0_5_line_65 |  | 60 | 61 | 0.002311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4258-18_0_5_line_66 |  | 61 | 62 | 0.0012727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4258-18_0_5_line_67 |  | 62 | 67 | 0.0030045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4258-18_0_5_line_68 |  | 63 | 64 | 0.0029898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4258-18_0_5_line_69 |  | 64 | 67 | 0.0035585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4258-18_0_5_line_70 |  | 68 | 69 | 0.010969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4258-18_0_5_line_71 |  | 69 | 70 | 0.010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4258-18_0_5_line_72 |  | 70 | 71 | 0.0029278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4258-18_0_5_line_73 |  | 72 | 74 | 0.0077351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4258-18_0_5_line_74 |  | 73 | 75 | 0.0074846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4258-18_0_5_line_75 |  | 75 | 76 | 0.001629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4258-18_0_5_line_76 |  | 76 | 77 | 0.0083516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4258-18_0_5_line_77 |  | 76 | 78 | 0.0087398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4258-18_0_5_trafo_10 | 0.63 MVA 20/0.4 kV | 79 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2626672.1192 | 1267231.8079 | 2626671.558 | 1267231.721
1 | 2626671.558 | 1267231.721 | 2626665.3658 | 1267230.7613
2 | 2626672.1192 | 1267231.8079 | 2626676.7589 | 1267232.527
3 | 2626665.3658 | 1267230.7613 | 2626662.1302 | 1267230.2599
4 | 2626658.1296 | 1267229.6399 | 2626662.1302 | 1267230.2599
5 | 2626658.1296 | 1267229.6399 | 2626657.6056 | 1267229.5587
6 | 2626653.7391 | 1267228.9595 | 2626657.6056 | 1267229.5587
7 | 2626662.0303 | 1267169.9673 | 2626658.3888 | 1267182.497
8 | 2626654.614 | 1267195.4853 | 2626658.3888 | 1267182.497
9 | 2626662.0303 | 1267169.9673 | 2626658.5393 | 1267169.0337
10 | 2626662.0303 | 1267169.9673 | 2626668.1678 | 1267172.4876
11 | 2626654.614 | 1267195.4853 | 2626649.5064 | 1267194.4166
12 | 2626654.614 | 1267195.4853 | 2626657.5914 | 1267196.3825
13 | 2626650.9928 | 1267167.0153 | 2626658.5393 | 1267169.0337
14 | 2626668.1678 | 1267172.4876 | 2626673.6746 | 1267174.7489
15 | 2626649.5064 | 1267194.4166 | 2626641.6397 | 1267192.7706
16 | 2626657.5914 | 1267196.3825 | 2626659.1843 | 1267196.8624 | 2626664.9999 | 1267196.3602
17 | 2626650.9928 | 1267167.0153 | 2626642.436 | 1267164.7267
18 | 2626681.3625 | 1267177.9058 | 2626673.6746 | 1267174.7489
19 | 2626639.9375 | 1267192.4144 | 2626641.6397 | 1267192.7706
20 | 2626665.2185 | 1267196.3413 | 2626664.9999 | 1267196.3602
21 | 2626636.0931 | 1267163.0302 | 2626642.436 | 1267164.7267
22 | 2626665.2185 | 1267196.3413 | 2626669.4627 | 1267195.9748 | 2626674.1645 | 1267196.5519
23 | 2626616.4737 | 1267185.629 | 2626611.5287 | 1267185.5734 | 2626605.5124 | 1267183.3134
24 | 2626616.4737 | 1267185.629 | 2626613.9914 | 1267197.014
25 | 2626620.2753 | 1267167.133 | 2626617.0585 | 1267182.7963 | 2626616.4737 | 1267185.629
26 | 2626602.1795 | 1267178.9934 | 2626602.1795 | 1267178.9934 | 2626602.5114 | 1267182.1861 | 2626605.5124 | 1267183.3134
27 | 2626610.7556 | 1267211.8552 | 2626613.9914 | 1267197.014
28 | 2626620.2753 | 1267167.133 | 2626624.3123 | 1267159.8794
29 | 2626602.1795 | 1267178.9934 | 2626601.0272 | 1267177.4761 | 2626594.8062 | 1267174.576
30 | 2626610.7556 | 1267211.8552 | 2626616.4391 | 1267214.3234
31 | 2626610.7556 | 1267211.8552 | 2626606.8725 | 1267210.2717
32 | 2626633.9364 | 1267162.4534 | 2626624.3123 | 1267159.8794
33 | 2626591.9234 | 1267173.2322 | 2626594.8062 | 1267174.576
34 | 2626616.4391 | 1267214.3234 | 2626621.5959 | 1267216.5628 | 2626623.9209 | 1267217.4606
35 | 2626606.8725 | 1267210.2717 | 2626599.6878 | 1267207.3418
36 | 2626636.0931 | 1267163.0302 | 2626633.9364 | 1267162.4534
37 | 2626591.9507 | 1267204.3304 | 2626594.6547 | 1267205.2893 | 2626599.6878 | 1267207.3418
38 | 2626591.9507 | 1267204.3304 | 2626591.3961 | 1267204.1337
39 | 2626591.3961 | 1267204.1337 | 2626583.407 | 1267201.3003
40 | 2626583.407 | 1267201.3003 | 2626577.0408 | 1267199.0426
41 | 2626623.9586 | 1267217.4752 | 2626623.9209 | 1267217.4606
42 | 2626577.0408 | 1267199.0426 | 2626576.9034 | 1267198.9938
43 | 2626624.6313 | 1267217.7349 | 2626623.9586 | 1267217.4752
44 | 2626631.4323 | 1267220.3611 | 2626624.6313 | 1267217.7349
45 | 2626631.4323 | 1267220.3611 | 2626634.2562 | 1267221.4515
46 | 2626638.3429 | 1267223.0296 | 2626634.2562 | 1267221.4515
47 | 2626638.3429 | 1267223.0296 | 2626641.4184 | 1267224.2172
48 | 2626591.9234 | 1267173.2322 | 2626594.5292 | 1267165.3786
49 | 2626703.3061 | 1267180.5608 | 2626710.8602 | 1267162.9046
50 | 2626710.8602 | 1267162.9046 | 2626712.5443 | 1267158.3312 | 2626703.3592 | 1267154.9972
51 | 2626703.3061 | 1267180.5608 | 2626700.5505 | 1267179.0473
52 | 2626703.3061 | 1267180.5608 | 2626706.1221 | 1267182.0301 | 2626704.1062 | 1267188.4033
53 | 2626692.1093 | 1267150.9138 | 2626703.3592 | 1267154.9972
54 | 2626570.9973 | 1267196.8992 | 2626565.7136 | 1267195.0254
55 | 2626570.9973 | 1267196.8992 | 2626576.9034 | 1267198.9938
56 | 2626665.1273 | 1267140.8051 | 2626671.7206 | 1267124.2119 | 2626672.9945 | 1267121.2062
57 | 2626665.1273 | 1267140.8051 | 2626662.1477 | 1267139.564
58 | 2626665.1273 | 1267140.8051 | 2626674.0517 | 1267144.4213
59 | 2626704.1062 | 1267188.4033 | 2626713.9486 | 1267188.3043
60 | 2626704.1062 | 1267188.4033 | 2626697.9933 | 1267191.956
61 | 2626692.1093 | 1267150.9138 | 2626690.4723 | 1267150.3195
62 | 2626699.4201 | 1267202.3595 | 2626700.3981 | 1267209.4904 | 2626701.8148 | 1267215.2558
63 | 2626697.9933 | 1267191.956 | 2626699.4201 | 1267202.3595
64 | 2626653.7391 | 1267228.9595 | 2626653.673 | 1267228.9492
65 | 2626651.5171 | 1267228.1168 | 2626653.673 | 1267228.9492 | 2626653.673 | 1267228.9492
66 | 2626651.5171 | 1267228.1168 | 2626650.3298 | 1267227.6583
67 | 2626650.3298 | 1267227.6583 | 2626647.5271 | 1267226.576
68 | 2626644.2075 | 1267225.2942 | 2626641.4184 | 1267224.2172
69 | 2626644.2075 | 1267225.2942 | 2626647.5271 | 1267226.576
70 | 2626697.9933 | 1267191.956 | 2626687.2228 | 1267194.0333
71 | 2626687.2228 | 1267194.0333 | 2626677.0393 | 1267195.9974
72 | 2626677.0393 | 1267195.9974 | 2626674.1645 | 1267196.5519 | 2626674.1645 | 1267196.5519
73 | 2626655.0073 | 1267136.5899 | 2626662.1477 | 1267139.564
74 | 2626680.9885 | 1267147.2321 | 2626674.0517 | 1267144.4213
75 | 2626682.4983 | 1267147.8439 | 2626680.9885 | 1267147.2321
76 | 2626682.4983 | 1267147.8439 | 2626688.9704 | 1267149.7744 | 2626690.4723 | 1267150.3195
77 | 2626682.4983 | 1267147.8439 | 2626686.0109 | 1267139.841

## bus_geodata
| x | y | coords
0 | 2626671.558 | 1267231.721
1 | 2626672.1192 | 1267231.8079
2 | 2626665.3658 | 1267230.7613
3 | 2626676.7589 | 1267232.527
4 | 2626662.1302 | 1267230.2599
5 | 2626658.1296 | 1267229.6399
6 | 2626657.6056 | 1267229.5587
7 | 2626658.3888 | 1267182.497
8 | 2626662.0303 | 1267169.9673
9 | 2626654.614 | 1267195.4853
10 | 2626658.5393 | 1267169.0337
11 | 2626668.1678 | 1267172.4876
12 | 2626649.5064 | 1267194.4166
13 | 2626657.5914 | 1267196.3825
14 | 2626650.9928 | 1267167.0153
15 | 2626673.6746 | 1267174.7489
16 | 2626641.6397 | 1267192.7706
17 | 2626664.9999 | 1267196.3602
18 | 2626642.436 | 1267164.7267
19 | 2626681.3625 | 1267177.9058
20 | 2626639.9375 | 1267192.4144
21 | 2626665.2185 | 1267196.3413
22 | 2626616.4737 | 1267185.629
23 | 2626605.5124 | 1267183.3134
24 | 2626613.9914 | 1267197.014
25 | 2626620.2753 | 1267167.133
26 | 2626602.1795 | 1267178.9934
27 | 2626610.7556 | 1267211.8552
28 | 2626624.3123 | 1267159.8794
29 | 2626594.8062 | 1267174.576
30 | 2626616.4391 | 1267214.3234
31 | 2626606.8725 | 1267210.2717
32 | 2626633.9364 | 1267162.4534
33 | 2626599.6878 | 1267207.3418
34 | 2626591.9507 | 1267204.3304
35 | 2626591.3961 | 1267204.1337
36 | 2626583.407 | 1267201.3003
37 | 2626623.9209 | 1267217.4606
38 | 2626577.0408 | 1267199.0426
39 | 2626623.9586 | 1267217.4752
40 | 2626624.6313 | 1267217.7349
41 | 2626631.4323 | 1267220.3611
42 | 2626634.2562 | 1267221.4515
43 | 2626638.3429 | 1267223.0296
44 | 2626594.5292 | 1267165.3786
45 | 2626591.9234 | 1267173.2322
46 | 2626710.8602 | 1267162.9046
47 | 2626703.3061 | 1267180.5608
48 | 2626703.3592 | 1267154.9972
49 | 2626565.7136 | 1267195.0254
50 | 2626570.9973 | 1267196.8992
51 | 2626672.9945 | 1267121.2062
52 | 2626665.1273 | 1267140.8051
53 | 2626700.5505 | 1267179.0473
54 | 2626704.1062 | 1267188.4033
55 | 2626692.1093 | 1267150.9138
56 | 2626713.9486 | 1267188.3043
57 | 2626701.8148 | 1267215.2558
58 | 2626699.4201 | 1267202.3595
59 | 2626653.7391 | 1267228.9595
60 | 2626653.673 | 1267228.9492
61 | 2626651.5171 | 1267228.1168
62 | 2626650.3298 | 1267227.6583
63 | 2626641.4184 | 1267224.2172
64 | 2626644.2075 | 1267225.2942
65 | 2626636.0931 | 1267163.0302
66 | 2626576.9034 | 1267198.9938
67 | 2626647.5271 | 1267226.576
68 | 2626697.9933 | 1267191.956
69 | 2626687.2228 | 1267194.0333
70 | 2626677.0393 | 1267195.9974
71 | 2626674.1645 | 1267196.5519
72 | 2626662.1477 | 1267139.564
73 | 2626674.0517 | 1267144.4213
74 | 2626655.0073 | 1267136.5899
75 | 2626680.9885 | 1267147.2321
76 | 2626682.4983 | 1267147.8439
77 | 2626690.4723 | 1267150.3195
78 | 2626686.0109 | 1267139.841
79 | 2626654.614 | 1267195.4853

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1