## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4258-27_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4258-27_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4258-27_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4258-27_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4258-27_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4258-27_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4258-27_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_4258-27_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4258-27_0_6_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_4258-27_0_6_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_4258-27_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4258-27_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4258-27_0_6_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_4258-27_0_6_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_4258-27_0_6_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_4258-27_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4258-27_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4258-27_0_6_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_4258-27_0_6_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_4258-27_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4258-27_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_4258-27_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_4258-27_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_4258-27_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_4258-27_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_4258-27_0_6_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_4258-27_0_6_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_4258-27_0_6_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_4258-27_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_4258-27_0_6_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_4258-27_0_6_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_4258-27_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_4258-27_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_4258-27_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_4258-27_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4258-27_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4258-27_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4258-27_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4258-27_0_6_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4258-27_0_6_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_4258-27_0_6_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_4258-27_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_4258-27_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_4258-27_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_4258-27_0_6_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_4258-27_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4258-27_0_6_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4258-27_0_6_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4258-27_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_4258-27_0_6_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4258-27_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4258-27_0_6_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4258-27_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_4258-27_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_MV_298_1_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4258-27_0_6_load_0 | 0 | 0.00095492 | 0.00023933 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4258-27_0_6_load_4 | 4 | 0.00030601 | 7.6692e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4258-27_0_6_load_10 | 6 | 0.00026096 | 6.5404e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4258-27_0_6_load_7 | 7 | 0.00029486 | 7.3899e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4258-27_0_6_load_12 | 9 | 7.7427e-05 | 1.9405e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4258-27_0_6_load_6 | 11 | 0.0011268 | 0.00028239 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4258-27_0_6_load_52 | 12 | 0.070511 | 0.017672 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4258-27_0_6_load_43 | 13 | 0.0001713 | 4.2931e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4258-27_0_6_load_44 | 14 | 0.00066466 | 0.00016658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4258-27_0_6_load_51 | 17 | 0.00028607 | 7.1697e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4258-27_0_6_load_50 | 18 | 0.0031652 | 0.00079327 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4258-27_0_6_load_13 | 19 | 0.0020252 | 0.00050756 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4258-27_0_6_load_14 | 20 | 0.030521 | 0.0076492 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4258-27_0_6_load_15 | 21 | 0.0069993 | 0.0017542 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4258-27_0_6_load_16 | 22 | 0.022495 | 0.0056377 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4258-27_0_6_load_17 | 23 | 0.0072277 | 0.0018114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4258-27_0_6_load_24 | 25 | 0.0048489 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4258-27_0_6_load_29 | 28 | 0.013716 | 0.0034375 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4258-27_0_6_load_41 | 29 | 0.00080677 | 0.0002022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4258-27_0_6_load_40 | 30 | 0.0027798 | 0.00069668 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4258-27_0_6_load_46 | 31 | 0.0058596 | 0.0014686 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4258-27_0_6_load_19 | 33 | 0.00053052 | 0.00013296 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4258-27_0_6_load_20 | 34 | 6.9623e-05 | 1.7449e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4258-27_0_6_load_48 | 39 | 0.0048524 | 0.0012161 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4258-27_0_6_load_49 | 40 | 5.7618e-05 | 1.444e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4258-27_0_6_load_25 | 42 | 0.081063 | 0.020316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4258-27_0_6_load_47 | 44 | 0.005634 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4258-27_0_6_load_32 | 45 | 0.0167 | 0.0041855 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4258-27_0_6_load_33 | 46 | 0.007298 | 0.001829 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4258-27_0_6_load_35 | 48 | 0.001057 | 0.0002649 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4258-27_0_6_load_39 | 49 | 0.0024091 | 0.00060379 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4258-27_0_6_load_37 | 50 | 0.0011953 | 0.00029957 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4258-27_0_6_load_36 | 51 | 0.0012058 | 0.0003022 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4258-27_0_6_load_55 | 53 | 0.00135 | 0.00033833 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4258-27_0_6_line_0 |  | 0 | 1 | 0.10729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4258-27_0_6_line_1 |  | 0 | 2 | 0.073469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4258-27_0_6_line_2 |  | 1 | 3 | 0.09938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4258-27_0_6_line_3 |  | 2 | 4 | 0.047298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_4258-27_0_6_line_4 |  | 2 | 5 | 0.008253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_4258-27_0_6_line_5 |  | 3 | 6 | 0.031693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4258-27_0_6_line_6 |  | 4 | 7 | 0.059981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_4258-27_0_6_line_7 |  | 5 | 8 | 0.14998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4258-27_0_6_line_8 |  | 6 | 10 | 0.021355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4258-27_0_6_line_9 |  | 7 | 11 | 0.014071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_4258-27_0_6_line_10 |  | 8 | 12 | 0.031328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_4258-27_0_6_line_11 |  | 9 | 10 | 0.0034867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4258-27_0_6_line_12 |  | 10 | 19 | 0.03608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4258-27_0_6_line_13 |  | 11 | 15 | 0.060228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4258-27_0_6_line_14 |  | 13 | 14 | 0.0026582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4258-27_0_6_line_15 |  | 14 | 16 | 0.09042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4258-27_0_6_line_16 |  | 15 | 16 | 0.004378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4258-27_0_6_line_17 |  | 16 | 17 | 0.041112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_4258-27_0_6_line_18 |  | 17 | 18 | 0.0033377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4258-27_0_6_line_19 |  | 18 | 40 | 0.016017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4258-27_0_6_line_20 |  | 20 | 21 | 0.017725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4258-27_0_6_line_21 |  | 20 | 22 | 0.022693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4258-27_0_6_line_22 |  | 21 | 23 | 0.023818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4258-27_0_6_line_23 |  | 22 | 24 | 0.055179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4258-27_0_6_line_24 |  | 23 | 25 | 0.0051383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4258-27_0_6_line_25 |  | 24 | 26 | 0.13583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4258-27_0_6_line_26 |  | 24 | 27 | 0.21607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4258-27_0_6_line_27 |  | 24 | 28 | 0.099366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_4258-27_0_6_line_28 |  | 26 | 29 | 0.19136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_4258-27_0_6_line_29 |  | 26 | 30 | 0.048769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4258-27_0_6_line_30 |  | 27 | 31 | 0.099295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4258-27_0_6_line_31 |  | 28 | 32 | 0.057959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4258-27_0_6_line_32 |  | 29 | 38 | 0.2598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4258-27_0_6_line_33 |  | 30 | 43 | 0.0051141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4258-27_0_6_line_34 |  | 31 | 44 | 0.027582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4258-27_0_6_line_35 |  | 32 | 41 | 0.047065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4258-27_0_6_line_36 |  | 33 | 34 | 0.031235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4258-27_0_6_line_37 |  | 33 | 35 | 0.0025636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4258-27_0_6_line_38 |  | 34 | 36 | 0.16766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_4258-27_0_6_line_39 |  | 35 | 37 | 0.088986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4258-27_0_6_line_40 |  | 36 | 38 | 0.16576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4258-27_0_6_line_41 |  | 37 | 39 | 0.10763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_4258-27_0_6_line_42 |  | 39 | 40 | 0.010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4258-27_0_6_line_43 |  | 41 | 42 | 0.14505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4258-27_0_6_line_44 |  | 43 | 51 | 0.12228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4258-27_0_6_line_45 |  | 45 | 46 | 0.034644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4258-27_0_6_line_46 |  | 46 | 47 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4258-27_0_6_line_47 |  | 47 | 48 | 0.0025849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4258-27_0_6_line_48 |  | 48 | 49 | 0.0079491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4258-27_0_6_line_49 |  | 49 | 50 | 0.044203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4258-27_0_6_line_50 |  | 50 | 51 | 0.070177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4258-27_0_6_line_51 |  | 51 | 52 | 0.69758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4258-27_0_6_line_52 |  | 52 | 53 | 0.045322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4258-27_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 54 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2629336.6452 | 1268179.5339 | 2629261.407 | 1268246.9985 | 2629256.7685 | 1268251.1613
1 | 2629202.0897 | 1268300.2324 | 2629256.7685 | 1268251.1613
2 | 2629264.5534 | 1268129.7415 | 2629311.5511 | 1268177.1078 | 2629312.9394 | 1268177.9153 | 2629314.5924 | 1268178.4572 | 2629315.9011 | 1268178.6194 | 2629317.3848 | 1268178.3932 | 2629318.9384 | 1268177.7226 | 2629320.548 | 1268176.4075 | 2629327.3758 | 1268169.9589 | 2629336.6452 | 1268179.5339
3 | 2629202.0897 | 1268300.2324 | 2629211.5415 | 1268309.4634 | 2629223.3237 | 1268317.6941 | 2629234.6806 | 1268323.6321 | 2629241.1248 | 1268326.0936
4 | 2629202.0897 | 1268300.2324 | 2629195.1738 | 1268304.7681
5 | 2629264.5534 | 1268129.7415 | 2629249.9827 | 1268145.0804 | 2629242.7219 | 1268152.7166
6 | 2629241.1248 | 1268326.0936 | 2629246.6839 | 1268328.2169 | 2629298.3892 | 1268343.8962
7 | 2629049.3023 | 1268283.6687 | 2629068.3285 | 1268284.9408 | 2629142.5611 | 1268295.7691 | 2629155.6516 | 1268299.6808 | 2629163.1909 | 1268304.5325 | 2629189.241 | 1268308.3525 | 2629195.1738 | 1268304.7681
8 | 2629227.8636 | 1268168.0542 | 2629235.0717 | 1268160.7624 | 2629242.7219 | 1268152.7166
9 | 2629311.8545 | 1268347.9794 | 2629298.3892 | 1268343.8962
10 | 2629049.3023 | 1268283.6687 | 2629018.0446 | 1268281.566
11 | 2629227.8636 | 1268168.0542 | 2629226.6305 | 1268164.7929
12 | 2629227.8636 | 1268168.0542 | 2629229.615 | 1268173.0442 | 2629230.4491 | 1268174.8162 | 2629231.9831 | 1268176.5918 | 2629233.9589 | 1268178.8253 | 2629234.5476 | 1268180.0069 | 2629234.8354 | 1268181.1758 | 2629234.8925 | 1268183.322 | 2629234.8131 | 1268185.6789 | 2629235.0305 | 1268187.37 | 2629235.7827 | 1268188.9638 | 2629244.3739 | 1268198.7688
13 | 2629369.3451 | 1268365.929 | 2629316.725 | 1268349.4564 | 2629311.8545 | 1268347.9794
14 | 2629278.6745 | 1268343.6465 | 2629281.2363 | 1268344.3559
15 | 2629367.9172 | 1268370.0693 | 2629308.5393 | 1268352.0621 | 2629305.068 | 1268350.9553 | 2629281.2363 | 1268344.3559
16 | 2629369.3451 | 1268365.929 | 2629367.9172 | 1268370.0693
17 | 2629367.9172 | 1268370.0693 | 2629364.5738 | 1268381.0828 | 2629356.7777 | 1268403.7492 | 2629356.1855 | 1268409.3503
18 | 2629356.1855 | 1268409.3503 | 2629356.1855 | 1268409.3503 | 2629357.2598 | 1268411.2458 | 2629357.9098 | 1268412.2053
19 | 2629371.2498 | 1268421.0522 | 2629369.6485 | 1268419.9913 | 2629367.1221 | 1268418.0552 | 2629357.9098 | 1268412.2053 | 2629357.9098 | 1268412.2053
20 | 2628905.2729 | 1268626.0968 | 2628902.1393 | 1268612.872 | 2628899.0826 | 1268610.0885 | 2628899.0826 | 1268610.0885
21 | 2628909.3978 | 1268648.4122 | 2628905.2729 | 1268626.0968 | 2628905.2729 | 1268626.0968
22 | 2628876.4074 | 1268602.7981 | 2628899.0826 | 1268610.0885
23 | 2628922.654 | 1268701.947 | 2628911.5925 | 1268660.2854 | 2628909.3978 | 1268648.4122
24 | 2628876.4074 | 1268602.7981 | 2628871.5157 | 1268601.2254
25 | 2628922.654 | 1268701.947 | 2628928.4245 | 1268745.295 | 2628929.2425 | 1268764.2126 | 2628931.4809 | 1268837.3424
26 | 2628922.654 | 1268701.947 | 2629041.3734 | 1268709.0779 | 2629138.942 | 1268715.6732
27 | 2628922.654 | 1268701.947 | 2628823.2913 | 1268702.7967
28 | 2628931.4809 | 1268837.3424 | 2628939.6893 | 1268839.1727 | 2628952.9232 | 1268848.9111 | 2628969.584 | 1268853.4069 | 2628988.342 | 1268850.6857 | 2629015.709 | 1268841.7357 | 2629037.2776 | 1268832.1346 | 2629054.7236 | 1268831.4975 | 2629067.4545 | 1268831.7825 | 2629078.2517 | 1268833.5479 | 2629112.3238 | 1268847.3892
29 | 2628931.4809 | 1268837.3424 | 2628931.0176 | 1268886.1091
30 | 2629138.942 | 1268715.6732 | 2629139.0023 | 1268703.4426 | 2629143.6196 | 1268616.501
31 | 2628765.3343 | 1268703.2924 | 2628823.2913 | 1268702.7967
32 | 2629366.0448 | 1268897.1922 | 2629310.9954 | 1268890.559 | 2629224.7651 | 1268875.7886 | 2629136.8624 | 1268859.7993 | 2629117.0407 | 1268849.3054 | 2629112.3238 | 1268847.3892
33 | 2628930.969 | 1268891.2229 | 2628931.0176 | 1268886.1091
34 | 2629145.0824 | 1268588.9574 | 2629143.6196 | 1268616.501
35 | 2628785.3895 | 1268661.4044 | 2628784.4653 | 1268670.3841 | 2628765.3343 | 1268703.2924
36 | 2629451.3077 | 1268576.8367 | 2629458.8877 | 1268546.5357
37 | 2629459.5099 | 1268544.0487 | 2629458.8877 | 1268546.5357
38 | 2629410.0604 | 1268739.3312 | 2629414.1022 | 1268725.5525 | 2629442.472 | 1268612.157 | 2629451.3077 | 1268576.8367
39 | 2629459.5099 | 1268544.0487 | 2629464.786 | 1268524.2497 | 2629481.7262 | 1268460.722 | 2629483.0853 | 1268458.316
40 | 2629366.0448 | 1268897.1922 | 2629400.035 | 1268766.9789 | 2629407.6302 | 1268739.2524 | 2629410.0604 | 1268739.3312
41 | 2629483.0853 | 1268458.316 | 2629474.5289 | 1268456.7834 | 2629427.1998 | 1268440.4251 | 2629380.2172 | 1268426.9932
42 | 2629380.2172 | 1268426.9932 | 2629371.2498 | 1268421.0522
43 | 2628785.3895 | 1268661.4044 | 2628778.6705 | 1268648.8183 | 2628775.1161 | 1268633.8681 | 2628755.879 | 1268549.2698 | 2628749.4037 | 1268521.3515
44 | 2628930.969 | 1268891.2229 | 2628936.1514 | 1268911.6962 | 2628944.2307 | 1268930.627 | 2628954.6145 | 1268946.1111 | 2628962.5234 | 1268955.2563 | 2628971.3727 | 1268962.9162 | 2629003.6632 | 1268983.2064
45 | 2629130.7642 | 1269099.3661 | 2629129.3427 | 1269097.0543 | 2629112.3308 | 1269075.3884 | 2629109.5442 | 1269072.0048
46 | 2629100.6994 | 1269061.2655 | 2629109.5442 | 1269072.0048
47 | 2629100.6994 | 1269061.2655 | 2629098.7921 | 1269059.5208
48 | 2629092.9267 | 1269054.1557 | 2629098.7921 | 1269059.5208
49 | 2629060.3109 | 1269024.3215 | 2629092.9267 | 1269054.1557
50 | 2629003.6632 | 1268983.2064 | 2629033.9892 | 1269002.2623 | 2629051.1537 | 1269015.9452 | 2629060.3109 | 1269024.3215
51 | 2629003.6632 | 1268983.2064 | 2628424.2132 | 1269371.6
52 | 2628424.2132 | 1269371.6 | 2628401.9196 | 1269377.6751 | 2628390.0529 | 1269380.9983 | 2628380.4532 | 1269383.8654

## bus_geodata
| x | y | coords
0 | 2629256.7685 | 1268251.1613
1 | 2629336.6452 | 1268179.5339
2 | 2629202.0897 | 1268300.2324
3 | 2629264.5534 | 1268129.7415
4 | 2629241.1248 | 1268326.0936
5 | 2629195.1738 | 1268304.7681
6 | 2629242.7219 | 1268152.7166
7 | 2629298.3892 | 1268343.8962
8 | 2629049.3023 | 1268283.6687
9 | 2629226.6305 | 1268164.7929
10 | 2629227.8636 | 1268168.0542
11 | 2629311.8545 | 1268347.9794
12 | 2629018.0446 | 1268281.566
13 | 2629278.6745 | 1268343.6465
14 | 2629281.2363 | 1268344.3559
15 | 2629369.3451 | 1268365.929
16 | 2629367.9172 | 1268370.0693
17 | 2629356.1855 | 1268409.3503
18 | 2629357.9098 | 1268412.2053
19 | 2629244.3739 | 1268198.7688
20 | 2628905.2729 | 1268626.0968
21 | 2628899.0826 | 1268610.0885
22 | 2628909.3978 | 1268648.4122
23 | 2628876.4074 | 1268602.7981
24 | 2628922.654 | 1268701.947
25 | 2628871.5157 | 1268601.2254
26 | 2628931.4809 | 1268837.3424
27 | 2629138.942 | 1268715.6732
28 | 2628823.2913 | 1268702.7967
29 | 2629112.3238 | 1268847.3892
30 | 2628931.0176 | 1268886.1091
31 | 2629143.6196 | 1268616.501
32 | 2628765.3343 | 1268703.2924
33 | 2629458.8877 | 1268546.5357
34 | 2629451.3077 | 1268576.8367
35 | 2629459.5099 | 1268544.0487
36 | 2629410.0604 | 1268739.3312
37 | 2629483.0853 | 1268458.316
38 | 2629366.0448 | 1268897.1922
39 | 2629380.2172 | 1268426.9932
40 | 2629371.2498 | 1268421.0522
41 | 2628785.3895 | 1268661.4044
42 | 2628749.4037 | 1268521.3515
43 | 2628930.969 | 1268891.2229
44 | 2629145.0824 | 1268588.9574
45 | 2629130.7642 | 1269099.3661
46 | 2629109.5442 | 1269072.0048
47 | 2629100.6994 | 1269061.2655
48 | 2629098.7921 | 1269059.5208
49 | 2629092.9267 | 1269054.1557
50 | 2629060.3109 | 1269024.3215
51 | 2629003.6632 | 1268983.2064
52 | 2628424.2132 | 1269371.6
53 | 2628380.4532 | 1269383.8654
54 | 2628922.654 | 1268701.947

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1