## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4258-6_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4258-6_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4258-6_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4258-6_0_10_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4258-6_0_10_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4258-6_0_10_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_4258-6_0_10_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4258-6_0_10_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_4258-6_0_10_node_110 | 0.4 | n |  | TRUE
9 | bus_LV_4258-6_0_10_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_4258-6_0_10_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_4258-6_0_10_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4258-6_0_10_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4258-6_0_10_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_4258-6_0_10_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4258-6_0_10_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4258-6_0_10_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_4258-6_0_10_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_4258-6_0_10_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4258-6_0_10_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_4258-6_0_10_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_4258-6_0_10_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_4258-6_0_10_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_4258-6_0_10_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_4258-6_0_10_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4258-6_0_10_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4258-6_0_10_node_116 | 0.4 | n |  | TRUE
27 | bus_LV_4258-6_0_10_node_115 | 0.4 | n |  | TRUE
28 | bus_LV_4258-6_0_10_node_118 | 0.4 | n |  | TRUE
29 | bus_LV_4258-6_0_10_node_114 | 0.4 | n |  | TRUE
30 | bus_LV_4258-6_0_10_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4258-6_0_10_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_4258-6_0_10_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_4258-6_0_10_node_92 | 0.4 | n |  | TRUE
34 | bus_LV_4258-6_0_10_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_4258-6_0_10_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_4258-6_0_10_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4258-6_0_10_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_4258-6_0_10_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4258-6_0_10_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4258-6_0_10_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_4258-6_0_10_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4258-6_0_10_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_4258-6_0_10_node_50 | 0.4 | n |  | TRUE
44 | bus_LV_4258-6_0_10_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_4258-6_0_10_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4258-6_0_10_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4258-6_0_10_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4258-6_0_10_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4258-6_0_10_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4258-6_0_10_node_31 | 0.4 | n |  | TRUE
51 | bus_LV_4258-6_0_10_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_4258-6_0_10_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4258-6_0_10_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_4258-6_0_10_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_4258-6_0_10_node_36 | 0.4 | n |  | TRUE
56 | bus_LV_4258-6_0_10_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_4258-6_0_10_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_4258-6_0_10_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_4258-6_0_10_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_4258-6_0_10_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_4258-6_0_10_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_4258-6_0_10_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_4258-6_0_10_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_4258-6_0_10_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_4258-6_0_10_node_117 | 0.4 | n |  | TRUE
66 | bus_LV_4258-6_0_10_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_4258-6_0_10_node_123 | 0.4 | n |  | TRUE
68 | bus_LV_4258-6_0_10_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_4258-6_0_10_node_107 | 0.4 | n |  | TRUE
70 | bus_LV_4258-6_0_10_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_4258-6_0_10_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_4258-6_0_10_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_4258-6_0_10_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_4258-6_0_10_node_60 | 0.4 | n |  | TRUE
75 | bus_LV_4258-6_0_10_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_4258-6_0_10_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_4258-6_0_10_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_4258-6_0_10_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_4258-6_0_10_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_4258-6_0_10_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_4258-6_0_10_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_4258-6_0_10_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4258-6_0_10_node_105 | 0.4 | n |  | TRUE
84 | bus_LV_4258-6_0_10_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_4258-6_0_10_node_121 | 0.4 | n |  | TRUE
86 | bus_LV_4258-6_0_10_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4258-6_0_10_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_4258-6_0_10_node_104 | 0.4 | n |  | TRUE
89 | bus_LV_4258-6_0_10_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4258-6_0_10_node_124 | 0.4 | n |  | TRUE
91 | bus_LV_4258-6_0_10_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_4258-6_0_10_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_4258-6_0_10_node_125 | 0.4 | n |  | TRUE
94 | bus_LV_4258-6_0_10_node_85 | 0.4 | n |  | TRUE
95 | bus_LV_4258-6_0_10_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4258-6_0_10_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_4258-6_0_10_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4258-6_0_10_node_108 | 0.4 | n |  | TRUE
99 | bus_LV_4258-6_0_10_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_4258-6_0_10_node_66 | 0.4 | n |  | TRUE
101 | bus_LV_4258-6_0_10_node_67 | 0.4 | n |  | TRUE
102 | bus_LV_4258-6_0_10_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_4258-6_0_10_node_70 | 0.4 | n |  | TRUE
104 | bus_LV_4258-6_0_10_node_111 | 0.4 | n |  | TRUE
105 | bus_LV_4258-6_0_10_node_76 | 0.4 | n |  | TRUE
106 | bus_LV_4258-6_0_10_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_4258-6_0_10_node_120 | 0.4 | n |  | TRUE
108 | bus_LV_4258-6_0_10_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_4258-6_0_10_node_102 | 0.4 | n |  | TRUE
110 | bus_LV_4258-6_0_10_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_4258-6_0_10_node_88 | 0.4 | n |  | TRUE
112 | bus_LV_4258-6_0_10_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_4258-6_0_10_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_4258-6_0_10_node_112 | 0.4 | n |  | TRUE
115 | bus_LV_4258-6_0_10_node_103 | 0.4 | n |  | TRUE
116 | bus_LV_4258-6_0_10_node_113 | 0.4 | n |  | TRUE
117 | bus_LV_4258-6_0_10_node_119 | 0.4 | n |  | TRUE
118 | bus_LV_4258-6_0_10_node_122 | 0.4 | n |  | TRUE
119 | bus_MV_306_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4258-6_0_10_load_0 | 0 | 0.0022136 | 0.00055479 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4258-6_0_10_load_1 | 1 | 0.0024793 | 0.00062138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4258-6_0_10_load_2 | 2 | 0.0022839 | 0.00057241 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4258-6_0_10_load_4 | 3 | 0.0023196 | 0.00058134 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4258-6_0_10_load_5 | 4 | 0.0030064 | 0.00075348 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4258-6_0_10_load_59 | 7 | 0.013032 | 0.0032661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4258-6_0_10_load_110 | 8 | 0.010287 | 0.0025781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4258-6_0_10_load_57 | 9 | 0.0060811 | 0.0015241 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4258-6_0_10_load_56 | 10 | 0.0064013 | 0.0016043 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4258-6_0_10_load_8 | 11 | 0.0046678 | 0.0011699 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4258-6_0_10_load_9 | 12 | 0.00191 | 0.00047869 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4258-6_0_10_load_12 | 15 | 0.00092433 | 0.00023166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4258-6_0_10_load_13 | 16 | 0.00089136 | 0.00022339 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4258-6_0_10_load_18 | 17 | 0.002089 | 0.00052356 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4258-6_0_10_load_14 | 18 | 0.0020234 | 0.00050711 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4258-6_0_10_load_17 | 20 | 0.00079435 | 0.00019908 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4258-6_0_10_load_77 | 22 | 0.0025256 | 0.00063299 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4258-6_0_10_load_72 | 23 | 0.0053909 | 0.0013511 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4258-6_0_10_load_116 | 26 | 0.0018792 | 0.00047097 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4258-6_0_10_load_115 | 27 | 0.0012803 | 0.00032087 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4258-6_0_10_load_118 | 28 | 0.0034178 | 0.00085658 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4258-6_0_10_load_114 | 29 | 0.0040833 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4258-6_0_10_load_20 | 30 | 0.00039044 | 9.7853e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4258-6_0_10_load_99 | 32 | 0.0002632 | 6.5965e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4258-6_0_10_load_93 | 34 | 0.0043302 | 0.0010853 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4258-6_0_10_load_37 | 35 | 0.0043043 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4258-6_0_10_load_22 | 36 | 0.0070203 | 0.0017595 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4258-6_0_10_load_23 | 37 | 0.006493 | 0.0016273 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4258-6_0_10_load_24 | 38 | 0.0020102 | 0.0005038 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4258-6_0_10_load_52 | 40 | 0.0051494 | 0.0012906 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4258-6_0_10_load_53 | 42 | 0.0045983 | 0.0011524 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4258-6_0_10_load_50 | 43 | 0.0048721 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4258-6_0_10_load_40 | 44 | 0.0052617 | 0.0013187 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4258-6_0_10_load_26 | 45 | 0.0071079 | 0.0017814 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4258-6_0_10_load_27 | 46 | 0.002478 | 0.00062106 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4258-6_0_10_load_30 | 49 | 0.003257 | 0.00081629 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4258-6_0_10_load_31 | 50 | 0.033905 | 0.0084975 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4258-6_0_10_load_43 | 53 | 0.0096299 | 0.0024135 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4258-6_0_10_load_36 | 55 | 0.0070021 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4258-6_0_10_load_58 | 56 | 0.0045185 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4258-6_0_10_load_109 | 57 | 0.0028267 | 0.00070844 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4258-6_0_10_load_45 | 58 | 0.011004 | 0.0027578 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4258-6_0_10_load_44 | 59 | 0.0021023 | 0.00052689 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4258-6_0_10_load_34 | 60 | 0.020047 | 0.0050242 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4258-6_0_10_load_35 | 61 | 0.0024257 | 0.00060793 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4258-6_0_10_load_38 | 62 | 0.0027177 | 0.00068112 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4258-6_0_10_load_39 | 63 | 0.0053315 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4258-6_0_10_load_41 | 64 | 0.0091868 | 0.0023024 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4258-6_0_10_load_117 | 65 | 0.010089 | 0.0025286 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4258-6_0_10_load_69 | 66 | 0.0067769 | 0.0016984 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4258-6_0_10_load_123 | 67 | 0.033757 | 0.0084602 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4258-6_0_10_load_107 | 69 | 0.0033359 | 0.00083607 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4258-6_0_10_load_54 | 70 | 0.0033212 | 0.00083237 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4258-6_0_10_load_55 | 71 | 0.0057964 | 0.0014527 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4258-6_0_10_load_75 | 72 | 0.0059956 | 0.0015026 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4258-6_0_10_load_73 | 73 | 0.0062293 | 0.0015612 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4258-6_0_10_load_60 | 74 | 0.00091089 | 0.00022829 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4258-6_0_10_load_61 | 75 | 0.015334 | 0.0038431 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4258-6_0_10_load_63 | 77 | 0.001198 | 0.00030025 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4258-6_0_10_load_65 | 78 | 0.0020411 | 0.00051154 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4258-6_0_10_load_97 | 79 | 0.0020588 | 0.00051598 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4258-6_0_10_load_78 | 82 | 0.007591 | 0.0019025 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4258-6_0_10_load_105 | 83 | 0.0013885 | 0.00034798 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4258-6_0_10_load_121 | 85 | 0.0018772 | 0.00047046 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4258-6_0_10_load_104 | 88 | 0.0068358 | 0.0017132 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4258-6_0_10_load_80 | 89 | 0.001692 | 0.00042405 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4258-6_0_10_load_124 | 90 | 0.0036206 | 0.0009074 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4258-6_0_10_load_125 | 93 | 0.0017123 | 0.00042915 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4258-6_0_10_load_90 | 95 | 0.0014402 | 0.00036096 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4258-6_0_10_load_95 | 97 | 0.0090298 | 0.0022631 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4258-6_0_10_load_108 | 98 | 0.001535 | 0.00038471 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4258-6_0_10_load_79 | 99 | 0.0082286 | 0.0020623 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4258-6_0_10_load_66 | 100 | 0.025991 | 0.0065138 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4258-6_0_10_load_67 | 101 | 0.0030298 | 0.00075933 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4258-6_0_10_load_111 | 104 | 0.082006 | 0.020553 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4258-6_0_10_load_76 | 105 | 0.005784 | 0.0014496 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4258-6_0_10_load_94 | 106 | 0.0075537 | 0.0018931 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4258-6_0_10_load_120 | 107 | 0.0029109 | 0.00072954 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4258-6_0_10_load_102 | 109 | 0.0022834 | 0.00057228 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4258-6_0_10_load_91 | 110 | 0.0020906 | 0.00052395 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4258-6_0_10_load_88 | 111 | 0.0041384 | 0.0010372 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4258-6_0_10_load_106 | 112 | 0.0037651 | 0.00094362 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4258-6_0_10_load_89 | 113 | 0.0010226 | 0.00025629 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4258-6_0_10_load_112 | 114 | 0.0043488 | 0.0010899 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4258-6_0_10_load_103 | 115 | 0.0023924 | 0.00059958 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4258-6_0_10_load_113 | 116 | 0.0035742 | 0.00089577 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4258-6_0_10_load_119 | 117 | 0.0021043 | 0.00052738 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4258-6_0_10_load_122 | 118 | 0.010212 | 0.0025592 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 106 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4258-6_0_10_line_0 |  | 0 | 1 | 0.029792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4258-6_0_10_line_1 |  | 0 | 2 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4258-6_0_10_line_2 |  | 2 | 3 | 0.0080544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4258-6_0_10_line_3 |  | 3 | 4 | 0.024929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4258-6_0_10_line_4 |  | 4 | 5 | 0.035561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4258-6_0_10_line_5 |  | 5 | 6 | 0.004864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4258-6_0_10_line_6 |  | 6 | 7 | 0.052051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4258-6_0_10_line_7 |  | 7 | 8 | 0.03938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_4258-6_0_10_line_8 |  | 8 | 31 | 0.023816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_4258-6_0_10_line_9 |  | 9 | 10 | 0.013912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4258-6_0_10_line_10 |  | 10 | 56 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4258-6_0_10_line_11 |  | 11 | 12 | 0.023978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_4258-6_0_10_line_12 |  | 11 | 13 | 0.0099116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4258-6_0_10_line_13 |  | 12 | 14 | 0.02029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4258-6_0_10_line_14 |  | 13 | 15 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_4258-6_0_10_line_15 |  | 13 | 16 | 0.0057762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_4258-6_0_10_line_16 |  | 14 | 17 | 0.013119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_4258-6_0_10_line_17 |  | 14 | 18 | 0.023822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4258-6_0_10_line_18 |  | 15 | 19 | 0.024443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_4258-6_0_10_line_19 |  | 16 | 20 | 0.02086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_4258-6_0_10_line_20 |  | 17 | 21 | 0.03533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4258-6_0_10_line_21 |  | 19 | 22 | 0.017929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4258-6_0_10_line_22 |  | 19 | 23 | 0.035332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4258-6_0_10_line_23 |  | 20 | 24 | 0.025871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4258-6_0_10_line_24 |  | 21 | 30 | 0.0072884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4258-6_0_10_line_25 |  | 21 | 31 | 0.034944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
26 | LV_4258-6_0_10_line_26 |  | 23 | 73 | 0.0091671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_4258-6_0_10_line_27 |  | 24 | 25 | 0.009076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4258-6_0_10_line_28 |  | 25 | 26 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4258-6_0_10_line_29 |  | 25 | 27 | 0.02089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4258-6_0_10_line_30 |  | 26 | 28 | 0.01666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4258-6_0_10_line_31 |  | 27 | 29 | 0.032479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4258-6_0_10_line_32 |  | 28 | 117 | 0.0041799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4258-6_0_10_line_33 |  | 29 | 116 | 0.024782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4258-6_0_10_line_34 |  | 30 | 32 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4258-6_0_10_line_35 |  | 31 | 33 | 0.034148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_4258-6_0_10_line_36 |  | 33 | 34 | 0.02223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4258-6_0_10_line_37 |  | 33 | 35 | 0.028036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_4258-6_0_10_line_38 |  | 34 | 105 | 0.023106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4258-6_0_10_line_39 |  | 35 | 61 | 0.025498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_4258-6_0_10_line_40 |  | 36 | 37 | 0.030696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4258-6_0_10_line_41 |  | 36 | 38 | 0.019593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4258-6_0_10_line_42 |  | 37 | 39 | 0.022474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4258-6_0_10_line_43 |  | 39 | 40 | 0.026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4258-6_0_10_line_44 |  | 39 | 41 | 0.019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4258-6_0_10_line_45 |  | 40 | 42 | 0.0017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_4258-6_0_10_line_46 |  | 41 | 43 | 0.014351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4258-6_0_10_line_47 |  | 41 | 44 | 0.034601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4258-6_0_10_line_48 |  | 42 | 70 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_4258-6_0_10_line_49 |  | 43 | 59 | 0.0093192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4258-6_0_10_line_50 |  | 44 | 62 | 0.0055547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4258-6_0_10_line_51 |  | 45 | 46 | 0.031137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4258-6_0_10_line_52 |  | 45 | 47 | 0.018013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_4258-6_0_10_line_53 |  | 46 | 48 | 0.053468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_4258-6_0_10_line_54 |  | 47 | 49 | 0.045658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4258-6_0_10_line_55 |  | 47 | 50 | 0.039052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4258-6_0_10_line_56 |  | 48 | 51 | 0.006751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_4258-6_0_10_line_57 |  | 48 | 52 | 0.014335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4258-6_0_10_line_58 |  | 49 | 53 | 0.0041964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_4258-6_0_10_line_59 |  | 51 | 57 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4258-6_0_10_line_60 |  | 52 | 58 | 0.028538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4258-6_0_10_line_61 |  | 53 | 59 | 0.020251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_4258-6_0_10_line_62 |  | 54 | 55 | 0.058246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4258-6_0_10_line_63 |  | 54 | 56 | 0.00499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4258-6_0_10_line_64 |  | 55 | 60 | 0.010299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_4258-6_0_10_line_65 |  | 57 | 69 | 0.020924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_4258-6_0_10_line_66 |  | 60 | 61 | 0.011692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4258-6_0_10_line_67 |  | 62 | 63 | 0.0060758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4258-6_0_10_line_68 |  | 63 | 64 | 0.0075707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4258-6_0_10_line_69 |  | 65 | 66 | 0.023055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4258-6_0_10_line_70 |  | 66 | 101 | 0.004241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4258-6_0_10_line_71 |  | 67 | 68 | 0.041119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4258-6_0_10_line_72 |  | 68 | 92 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4258-6_0_10_line_73 |  | 68 | 96 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4258-6_0_10_line_74 |  | 69 | 112 | 0.023675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4258-6_0_10_line_75 |  | 70 | 71 | 0.00045771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4258-6_0_10_line_76 |  | 71 | 72 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_4258-6_0_10_line_77 |  | 72 | 73 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_4258-6_0_10_line_78 |  | 74 | 75 | 0.0019764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4258-6_0_10_line_79 |  | 74 | 76 | 0.017386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4258-6_0_10_line_80 |  | 75 | 77 | 0.018882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4258-6_0_10_line_81 |  | 76 | 78 | 0.003457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4258-6_0_10_line_82 |  | 77 | 79 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4258-6_0_10_line_83 |  | 79 | 83 | 0.0059555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4258-6_0_10_line_84 |  | 80 | 81 | 0.008569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_4258-6_0_10_line_85 |  | 80 | 82 | 0.029318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_4258-6_0_10_line_86 |  | 81 | 84 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_4258-6_0_10_line_87 |  | 81 | 85 | 0.018008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4258-6_0_10_line_88 |  | 82 | 99 | 0.020137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_4258-6_0_10_line_89 |  | 83 | 114 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4258-6_0_10_line_90 |  | 84 | 106 | 0.016208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_4258-6_0_10_line_91 |  | 85 | 107 | 0.0006558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4258-6_0_10_line_92 |  | 86 | 87 | 0.029603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_4258-6_0_10_line_93 |  | 86 | 88 | 0.014902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4258-6_0_10_line_94 |  | 86 | 89 | 0.010917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_4258-6_0_10_line_95 |  | 87 | 90 | 0.023281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4258-6_0_10_line_96 |  | 87 | 91 | 0.14762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
97 | LV_4258-6_0_10_line_97 |  | 88 | 94 | 0.01677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4258-6_0_10_line_98 |  | 89 | 99 | 0.02148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_4258-6_0_10_line_99 |  | 91 | 104 | 0.070024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4258-6_0_10_line_100 |  | 92 | 93 | 0.02796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4258-6_0_10_line_101 |  | 94 | 95 | 0.0021496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4258-6_0_10_line_102 |  | 95 | 111 | 0.018484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4258-6_0_10_line_103 |  | 96 | 97 | 0.026211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_4258-6_0_10_line_104 |  | 96 | 98 | 0.03416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_4258-6_0_10_line_105 |  | 97 | 106 | 0.027466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_4258-6_0_10_line_106 |  | 98 | 112 | 0.00016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_4258-6_0_10_line_107 |  | 100 | 101 | 0.029598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4258-6_0_10_line_108 |  | 100 | 102 | 0.079292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4258-6_0_10_line_109 |  | 102 | 103 | 0.036058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4258-6_0_10_line_110 |  | 103 | 104 | 0.0098149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4258-6_0_10_line_111 |  | 107 | 118 | 0.018391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4258-6_0_10_line_112 |  | 108 | 109 | 0.023603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4258-6_0_10_line_113 |  | 108 | 110 | 0.03405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4258-6_0_10_line_114 |  | 109 | 115 | 0.029152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4258-6_0_10_line_115 |  | 110 | 113 | 0.026942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4258-6_0_10_line_116 |  | 111 | 113 | 0.00088648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4258-6_0_10_line_117 |  | 114 | 117 | 0.009577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4258-6_0_10_trafo_94 | 0.63 MVA 20/0.4 kV | 119 | 106 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2627502.9774 | 1267348.5039 | 2627504.7709 | 1267351.0725 | 2627519.0584 | 1267373.5797
1 | 2627502.9774 | 1267348.5039 | 2627496.1798 | 1267338.7684 | 2627489.7944 | 1267332.6135
2 | 2627483.9169 | 1267327.1091 | 2627485.794 | 1267328.7575 | 2627489.7944 | 1267332.6135
3 | 2627483.9169 | 1267327.1091 | 2627477.8254 | 1267321.76 | 2627472.6 | 1267318.9004 | 2627466.9962 | 1267316.4838 | 2627462.5169 | 1267314.8638
4 | 2627429.3533 | 1267302.0435 | 2627448.4659 | 1267309.782 | 2627462.5169 | 1267314.8638
5 | 2627424.8077 | 1267300.2767 | 2627429.3533 | 1267302.0435
6 | 2627424.8077 | 1267300.2767 | 2627423.1461 | 1267304.7611 | 2627428.0888 | 1267328.0227 | 2627436.8318 | 1267349.8231 | 2627436.8318 | 1267349.8231
7 | 2627439.6673 | 1267382.0313 | 2627446.6615 | 1267375.876 | 2627449.2304 | 1267372.1297 | 2627436.8318 | 1267349.8231
8 | 2627421.7892 | 1267397.7652 | 2627439.6673 | 1267382.0313
9 | 2627339.7669 | 1267272.1805 | 2627346.6992 | 1267272.9628 | 2627353.4727 | 1267274.4562
10 | 2627339.7669 | 1267272.1805 | 2627322.3781 | 1267270.2182
11 | 2627374.382 | 1267460.3457 | 2627382.5628 | 1267471.8806 | 2627390.6541 | 1267466.2874
12 | 2627366.4514 | 1267466.2911 | 2627374.382 | 1267460.3457
13 | 2627407.3448 | 1267454.7498 | 2627390.6541 | 1267466.2874
14 | 2627366.4514 | 1267466.2911 | 2627357.3723 | 1267453.1958
15 | 2627366.4514 | 1267466.2911 | 2627369.7431 | 1267471.0376
16 | 2627407.3448 | 1267454.7498 | 2627417.5 | 1267446.4452
17 | 2627407.3448 | 1267454.7498 | 2627420.114 | 1267474.8598
18 | 2627343.0297 | 1267433.404 | 2627347.8614 | 1267440.0199 | 2627355.1987 | 1267450.0609 | 2627357.3723 | 1267453.1958
19 | 2627369.7431 | 1267471.0376 | 2627381.6306 | 1267488.1791
20 | 2627444.8497 | 1267424.0796 | 2627417.5 | 1267446.4452
21 | 2627343.0297 | 1267433.404 | 2627329.7717 | 1267445.4742
22 | 2627343.0297 | 1267433.404 | 2627322.1765 | 1267404.8826
23 | 2627396.3735 | 1267509.4378 | 2627381.6306 | 1267488.1791
24 | 2627444.8497 | 1267424.0796 | 2627449.6396 | 1267429.5729
25 | 2627444.8497 | 1267424.0796 | 2627421.7892 | 1267397.7652
26 | 2627322.1765 | 1267404.8826 | 2627316.7659 | 1267397.4825
27 | 2627396.3735 | 1267509.4378 | 2627400.5813 | 1267517.4852
28 | 2627400.5813 | 1267517.4852 | 2627381.4461 | 1267529.286
29 | 2627400.5813 | 1267517.4852 | 2627408.9619 | 1267536.6201
30 | 2627367.2657 | 1267538.0311 | 2627381.4461 | 1267529.286
31 | 2627416.9743 | 1267568.0534 | 2627410.0773 | 1267539.1668 | 2627408.9619 | 1267536.6201
32 | 2627367.2657 | 1267538.0311 | 2627363.708 | 1267540.2251
33 | 2627422.7295 | 1267592.1575 | 2627416.9743 | 1267568.0534
34 | 2627459.9153 | 1267441.3576 | 2627449.6396 | 1267429.5729
35 | 2627397.6425 | 1267373.5473 | 2627421.7892 | 1267397.7652
36 | 2627397.6425 | 1267373.5473 | 2627382.6592 | 1267389.9694
37 | 2627397.6425 | 1267373.5473 | 2627378.5357 | 1267353.0304
38 | 2627382.6592 | 1267389.9694 | 2627367.0855 | 1267407.0384
39 | 2627378.5357 | 1267353.0304 | 2627363.5422 | 1267336.9304 | 2627361.1504 | 1267334.3778
40 | 2627268.1602 | 1267314.0537 | 2627278.1468 | 1267300.0546 | 2627277.1272 | 1267295.9026 | 2627269.1011 | 1267291.3562
41 | 2627252.0527 | 1267281.6993 | 2627269.1011 | 1267291.3562
42 | 2627255.1086 | 1267332.3492 | 2627268.1602 | 1267314.0537
43 | 2627255.1086 | 1267332.3492 | 2627263.1818 | 1267339.5693 | 2627274.1126 | 1267350.5126
44 | 2627240.5289 | 1267319.3173 | 2627255.1086 | 1267332.3492
45 | 2627275.3842 | 1267351.7856 | 2627274.1126 | 1267350.5126
46 | 2627240.5289 | 1267319.3173 | 2627229.8327 | 1267309.7493
47 | 2627240.5289 | 1267319.3173 | 2627223.3709 | 1267349.3647
48 | 2627275.3842 | 1267351.7856 | 2627294.6505 | 1267371.074
49 | 2627229.8327 | 1267309.7493 | 2627222.8869 | 1267303.5362
50 | 2627220.6164 | 1267354.1884 | 2627223.3709 | 1267349.3647
51 | 2627140.8251 | 1267307.0819 | 2627156.188 | 1267279.9991
52 | 2627165.0758 | 1267264.3317 | 2627160.6215 | 1267272.1835 | 2627156.188 | 1267279.9991
53 | 2627113.8539 | 1267353.2266 | 2627119.3717 | 1267344.9015 | 2627140.8251 | 1267307.0819
54 | 2627165.0758 | 1267264.3317 | 2627204.1979 | 1267287.8714
55 | 2627165.0758 | 1267264.3317 | 2627131.3792 | 1267244.5932
56 | 2627113.8539 | 1267353.2266 | 2627118.3771 | 1267358.2508
57 | 2627113.8539 | 1267353.2266 | 2627104.3063 | 1267342.5086
58 | 2627204.1979 | 1267287.8714 | 2627207.7936 | 1267290.0349 | 2627207.7936 | 1267290.0349
59 | 2627118.3771 | 1267358.2508 | 2627124.1053 | 1267364.7595 | 2627129.8677 | 1267371.302
60 | 2627104.3063 | 1267342.5086 | 2627090.1235 | 1267328.1891 | 2627084.2247 | 1267322.2322
61 | 2627207.7936 | 1267290.0349 | 2627222.8869 | 1267303.5362
62 | 2627317.4195 | 1267269.6586 | 2627318.4157 | 1267280.5153 | 2627323.8396 | 1267292.5711 | 2627329.2832 | 1267300.3684 | 2627346.1135 | 1267318.33
63 | 2627317.4195 | 1267269.6586 | 2627322.3781 | 1267270.2182
64 | 2627346.1135 | 1267318.33 | 2627353.1558 | 1267325.8457
65 | 2627129.8677 | 1267371.302 | 2627143.6974 | 1267387.004
66 | 2627361.1504 | 1267334.3778 | 2627353.1558 | 1267325.8457
67 | 2627220.6164 | 1267354.1884 | 2627217.6036 | 1267359.4645
68 | 2627213.8494 | 1267366.0388 | 2627217.6036 | 1267359.4645
69 | 2627076.7886 | 1267558.4004 | 2627076.2178 | 1267557.5992 | 2627063.252 | 1267539.7379
70 | 2627079.2494 | 1267561.8544 | 2627076.7886 | 1267558.4004
71 | 2627168.0358 | 1267440.9704 | 2627166.7177 | 1267439.53 | 2627141.7738 | 1267409.334
72 | 2627175.8844 | 1267449.5348 | 2627168.0358 | 1267440.9704
73 | 2627168.0358 | 1267440.9704 | 2627178.8641 | 1267433.3592 | 2627182.0308 | 1267430.5273
74 | 2627159.3455 | 1267404.7707 | 2627143.6974 | 1267387.004
75 | 2627294.974 | 1267371.3979 | 2627294.6505 | 1267371.074
76 | 2627307.5525 | 1267384.8813 | 2627305.1234 | 1267381.559 | 2627294.974 | 1267371.3979
77 | 2627316.7659 | 1267397.4825 | 2627307.5525 | 1267384.8813
78 | 2627309.7264 | 1267487.1769 | 2627310.9507 | 1267488.7284
79 | 2627298.9561 | 1267473.529 | 2627309.7264 | 1267487.1769
80 | 2627310.9507 | 1267488.7284 | 2627322.6477 | 1267503.5507
81 | 2627298.9561 | 1267473.529 | 2627301.5124 | 1267471.2018
82 | 2627322.6477 | 1267503.5507 | 2627334.7722 | 1267518.9148
83 | 2627334.7722 | 1267518.9148 | 2627338.4616 | 1267523.5899
84 | 2627238.1204 | 1267494.2302 | 2627243.7884 | 1267500.672
85 | 2627243.7884 | 1267500.672 | 2627259.0995 | 1267518.2438 | 2627263.0488 | 1267522.7765
86 | 2627238.1204 | 1267494.2302 | 2627228.2144 | 1267482.9767
87 | 2627238.1204 | 1267494.2302 | 2627251.9418 | 1267482.6867
88 | 2627263.0488 | 1267522.7765 | 2627276.2774 | 1267537.9591
89 | 2627355.5565 | 1267545.2523 | 2627355.5565 | 1267545.2523 | 2627338.4616 | 1267523.5899
90 | 2627228.2144 | 1267482.9767 | 2627217.5033 | 1267470.8124
91 | 2627251.9418 | 1267482.6867 | 2627252.4451 | 1267482.2663
92 | 2627293.257 | 1267591.3196 | 2627292.4693 | 1267587.4911 | 2627292.5871 | 1267583.1663 | 2627294.3676 | 1267575.7137 | 2627297.5602 | 1267562.3856
93 | 2627297.5602 | 1267562.3856 | 2627304.4556 | 1267570.3008 | 2627307.2456 | 1267573.7084
94 | 2627297.5602 | 1267562.3856 | 2627290.3883 | 1267554.1544
95 | 2627293.257 | 1267591.3196 | 2627281.7213 | 1267597.304 | 2627274.7131 | 1267589.7765
96 | 2627187.0974 | 1267679.2491 | 2627221.9283 | 1267653.402 | 2627265.9921 | 1267623.1499 | 2627281.995 | 1267614.6621 | 2627292.5703 | 1267604.7482 | 2627298.624 | 1267600.9846 | 2627293.257 | 1267591.3196
97 | 2627317.437 | 1267587.017 | 2627311.94 | 1267579.4418 | 2627307.2456 | 1267573.7084
98 | 2627276.2774 | 1267537.9591 | 2627290.3883 | 1267554.1544
99 | 2627187.0974 | 1267679.2491 | 2627140.4686 | 1267627.0076
100 | 2627175.8844 | 1267449.5348 | 2627168.3515 | 1267447.5988 | 2627162.7484 | 1267446.6613 | 2627158.2078 | 1267447.0964 | 2627154.8698 | 1267447.8927 | 2627149.0824 | 1267451.0351
101 | 2627317.437 | 1267587.017 | 2627318.4609 | 1267588.907
102 | 2627326.1482 | 1267605.669 | 2627323.0044 | 1267597.2944 | 2627318.4609 | 1267588.907
103 | 2627182.0308 | 1267430.5273 | 2627199.3525 | 1267450.1991
104 | 2627182.0308 | 1267430.5273 | 2627159.4527 | 1267404.8925
105 | 2627217.5033 | 1267470.8124 | 2627199.3525 | 1267450.1991
106 | 2627159.3455 | 1267404.7707 | 2627159.4527 | 1267404.8925
107 | 2627096.5502 | 1267585.8695 | 2627086.7326 | 1267572.3577 | 2627079.2494 | 1267561.8544
108 | 2627134.2525 | 1267655.0229 | 2627125.2904 | 1267629.9974 | 2627109.2755 | 1267603.3829 | 2627096.5502 | 1267585.8695
109 | 2627134.2525 | 1267655.0229 | 2627136.9449 | 1267648.9198 | 2627133.9329 | 1267619.6852
110 | 2627133.9329 | 1267619.6852 | 2627140.4686 | 1267627.0076
111 | 2627266.5602 | 1267470.4776 | 2627252.4451 | 1267482.2663
112 | 2627348.0552 | 1267663.5237 | 2627367.5016 | 1267650.1474
113 | 2627348.0552 | 1267663.5237 | 2627337.1703 | 1267632.9295 | 2627336.5758 | 1267631.469
114 | 2627387.1762 | 1267629.6917 | 2627381.0357 | 1267640.8378 | 2627367.5016 | 1267650.1474
115 | 2627326.4597 | 1267606.4989 | 2627327.0268 | 1267608.0095 | 2627336.5758 | 1267631.469
116 | 2627326.1482 | 1267605.669 | 2627326.4597 | 1267606.4989
117 | 2627355.5565 | 1267545.2523 | 2627363.708 | 1267540.2251

## bus_geodata
| x | y | coords
0 | 2627502.9774 | 1267348.5039
1 | 2627519.0584 | 1267373.5797
2 | 2627489.7944 | 1267332.6134
3 | 2627483.9169 | 1267327.1091
4 | 2627462.5169 | 1267314.8638
5 | 2627429.3533 | 1267302.0435
6 | 2627424.8077 | 1267300.2767
7 | 2627436.8318 | 1267349.8231
8 | 2627439.6673 | 1267382.0313
9 | 2627353.4727 | 1267274.4562
10 | 2627339.7669 | 1267272.1805
11 | 2627374.382 | 1267460.3457
12 | 2627390.6541 | 1267466.2874
13 | 2627366.4514 | 1267466.2911
14 | 2627407.3448 | 1267454.7498
15 | 2627357.3723 | 1267453.1958
16 | 2627369.7431 | 1267471.0376
17 | 2627417.5 | 1267446.4452
18 | 2627420.114 | 1267474.8598
19 | 2627343.0297 | 1267433.404
20 | 2627381.6306 | 1267488.1791
21 | 2627444.8497 | 1267424.0796
22 | 2627329.7717 | 1267445.4742
23 | 2627322.1765 | 1267404.8826
24 | 2627396.3735 | 1267509.4378
25 | 2627400.5813 | 1267517.4852
26 | 2627381.4461 | 1267529.286
27 | 2627408.9619 | 1267536.6201
28 | 2627367.2657 | 1267538.0311
29 | 2627416.9743 | 1267568.0534
30 | 2627449.6396 | 1267429.5729
31 | 2627421.7892 | 1267397.7652
32 | 2627459.9153 | 1267441.3576
33 | 2627397.6425 | 1267373.5473
34 | 2627382.6592 | 1267389.9694
35 | 2627378.5357 | 1267353.0304
36 | 2627269.1011 | 1267291.3562
37 | 2627268.1602 | 1267314.0537
38 | 2627252.0527 | 1267281.6993
39 | 2627255.1086 | 1267332.3492
40 | 2627274.1126 | 1267350.5126
41 | 2627240.5289 | 1267319.3173
42 | 2627275.3842 | 1267351.7856
43 | 2627229.8327 | 1267309.7493
44 | 2627223.3709 | 1267349.3647
45 | 2627156.188 | 1267279.9991
46 | 2627140.8251 | 1267307.0819
47 | 2627165.0758 | 1267264.3317
48 | 2627113.8539 | 1267353.2266
49 | 2627204.1979 | 1267287.8714
50 | 2627131.3792 | 1267244.5932
51 | 2627118.3771 | 1267358.2508
52 | 2627104.3063 | 1267342.5086
53 | 2627207.7936 | 1267290.0349
54 | 2627317.4195 | 1267269.6586
55 | 2627346.1135 | 1267318.33
56 | 2627322.3781 | 1267270.2182
57 | 2627129.8677 | 1267371.302
58 | 2627084.2247 | 1267322.2322
59 | 2627222.8869 | 1267303.5362
60 | 2627353.1558 | 1267325.8457
61 | 2627361.1504 | 1267334.3778
62 | 2627220.6164 | 1267354.1884
63 | 2627217.6036 | 1267359.4645
64 | 2627213.8494 | 1267366.0388
65 | 2627063.252 | 1267539.7379
66 | 2627076.7886 | 1267558.4004
67 | 2627141.7738 | 1267409.334
68 | 2627168.0358 | 1267440.9704
69 | 2627143.6974 | 1267387.004
70 | 2627294.6505 | 1267371.074
71 | 2627294.974 | 1267371.3979
72 | 2627307.5525 | 1267384.8813
73 | 2627316.7659 | 1267397.4825
74 | 2627309.7264 | 1267487.1769
75 | 2627310.9507 | 1267488.7284
76 | 2627298.9561 | 1267473.529
77 | 2627322.6477 | 1267503.5507
78 | 2627301.5124 | 1267471.2018
79 | 2627334.7722 | 1267518.9148
80 | 2627243.7884 | 1267500.672
81 | 2627238.1204 | 1267494.2302
82 | 2627263.0488 | 1267522.7765
83 | 2627338.4616 | 1267523.5899
84 | 2627228.2144 | 1267482.9767
85 | 2627251.9418 | 1267482.6867
86 | 2627297.5602 | 1267562.3856
87 | 2627293.257 | 1267591.3196
88 | 2627307.2456 | 1267573.7084
89 | 2627290.3883 | 1267554.1544
90 | 2627274.7131 | 1267589.7765
91 | 2627187.0974 | 1267679.2491
92 | 2627175.8844 | 1267449.5348
93 | 2627149.0824 | 1267451.0351
94 | 2627317.437 | 1267587.017
95 | 2627318.4609 | 1267588.907
96 | 2627182.0308 | 1267430.5273
97 | 2627199.3525 | 1267450.1991
98 | 2627159.4527 | 1267404.8925
99 | 2627276.2774 | 1267537.9591
100 | 2627096.5502 | 1267585.8695
101 | 2627079.2494 | 1267561.8544
102 | 2627134.2525 | 1267655.0229
103 | 2627133.9329 | 1267619.6852
104 | 2627140.4686 | 1267627.0076
105 | 2627367.0855 | 1267407.0384
106 | 2627217.5033 | 1267470.8124
107 | 2627252.4451 | 1267482.2663
108 | 2627348.0552 | 1267663.5237
109 | 2627367.5016 | 1267650.1474
110 | 2627336.5758 | 1267631.469
111 | 2627326.1482 | 1267605.669
112 | 2627159.3455 | 1267404.7707
113 | 2627326.4597 | 1267606.4989
114 | 2627355.5565 | 1267545.2523
115 | 2627387.1762 | 1267629.6917
116 | 2627422.7295 | 1267592.1575
117 | 2627363.708 | 1267540.2251
118 | 2627266.5602 | 1267470.4776
119 | 2627228.2144 | 1267482.9767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1