## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4260-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4260-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4260-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4260-2_0_4_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_4260-2_0_4_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_4260-2_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4260-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4260-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4260-2_0_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_4260-2_0_4_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_4260-2_0_4_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_4260-2_0_4_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_4260-2_0_4_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_4260-2_0_4_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_4260-2_0_4_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_4260-2_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_4260-2_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4260-2_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_4260-2_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4260-2_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_4260-2_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_4260-2_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_4260-2_0_4_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_4260-2_0_4_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_4260-2_0_4_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_4260-2_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_4260-2_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_4260-2_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_4260-2_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_4260-2_0_4_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_4260-2_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4260-2_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4260-2_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_4260-2_0_4_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_4260-2_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_4260-2_0_4_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_4260-2_0_4_node_112 | 0.4 | n |  | TRUE
37 | bus_LV_4260-2_0_4_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_4260-2_0_4_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_4260-2_0_4_node_7 | 0.4 | n |  | TRUE
40 | bus_LV_4260-2_0_4_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_4260-2_0_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_4260-2_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_4260-2_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_4260-2_0_4_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_4260-2_0_4_node_52 | 0.4 | n |  | TRUE
46 | bus_LV_4260-2_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_4260-2_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4260-2_0_4_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_4260-2_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4260-2_0_4_node_22 | 0.4 | n |  | TRUE
51 | bus_LV_4260-2_0_4_node_23 | 0.4 | n |  | TRUE
52 | bus_LV_4260-2_0_4_node_24 | 0.4 | n |  | TRUE
53 | bus_LV_4260-2_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_4260-2_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_4260-2_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_4260-2_0_4_node_30 | 0.4 | n |  | TRUE
57 | bus_LV_4260-2_0_4_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_4260-2_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_4260-2_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_4260-2_0_4_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_4260-2_0_4_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_4260-2_0_4_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_4260-2_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4260-2_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4260-2_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4260-2_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4260-2_0_4_node_100 | 0.4 | n |  | TRUE
68 | bus_LV_4260-2_0_4_node_111 | 0.4 | n |  | TRUE
69 | bus_LV_4260-2_0_4_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_4260-2_0_4_node_102 | 0.4 | n |  | TRUE
71 | bus_LV_4260-2_0_4_node_53 | 0.4 | n |  | TRUE
72 | bus_LV_4260-2_0_4_node_54 | 0.4 | n |  | TRUE
73 | bus_LV_4260-2_0_4_node_108 | 0.4 | n |  | TRUE
74 | bus_LV_4260-2_0_4_node_105 | 0.4 | n |  | TRUE
75 | bus_LV_4260-2_0_4_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_4260-2_0_4_node_106 | 0.4 | n |  | TRUE
77 | bus_LV_4260-2_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_4260-2_0_4_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_4260-2_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_4260-2_0_4_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_4260-2_0_4_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_4260-2_0_4_node_74 | 0.4 | n |  | TRUE
83 | bus_LV_4260-2_0_4_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_4260-2_0_4_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4260-2_0_4_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4260-2_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4260-2_0_4_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_4260-2_0_4_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4260-2_0_4_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_4260-2_0_4_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4260-2_0_4_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_4260-2_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_4260-2_0_4_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_4260-2_0_4_node_79 | 0.4 | n |  | TRUE
95 | bus_LV_4260-2_0_4_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_4260-2_0_4_node_109 | 0.4 | n |  | TRUE
97 | bus_LV_4260-2_0_4_node_110 | 0.4 | n |  | TRUE
98 | bus_LV_4260-2_0_4_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_4260-2_0_4_node_92 | 0.4 | n |  | TRUE
100 | bus_LV_4260-2_0_4_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4260-2_0_4_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_4260-2_0_4_node_89 | 0.4 | n |  | TRUE
103 | bus_LV_4260-2_0_4_node_91 | 0.4 | n |  | TRUE
104 | bus_LV_4260-2_0_4_node_103 | 0.4 | n |  | TRUE
105 | bus_LV_4260-2_0_4_node_104 | 0.4 | n |  | TRUE
106 | bus_LV_4260-2_0_4_node_107 | 0.4 | n |  | TRUE
107 | bus_MV_305_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4260-2_0_4_load_0 | 0 | 0.0095253 | 0.0023873 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4260-2_0_4_load_1 | 1 | 0.00092267 | 0.00023124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4260-2_0_4_load_78 | 4 | 0.0013063 | 0.0003274 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4260-2_0_4_load_61 | 10 | 0.010019 | 0.0025109 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4260-2_0_4_load_59 | 11 | 0.016525 | 0.0041415 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4260-2_0_4_load_58 | 12 | 0.0016426 | 0.00041167 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4260-2_0_4_load_94 | 13 | 0.0009858 | 0.00024707 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4260-2_0_4_load_77 | 14 | 0.0018069 | 0.00045285 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4260-2_0_4_load_25 | 17 | 0.0012287 | 0.00030794 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4260-2_0_4_load_50 | 19 | 0.0068779 | 0.0017238 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4260-2_0_4_load_95 | 22 | 0.011869 | 0.0029747 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4260-2_0_4_load_55 | 24 | 0.0026466 | 0.00066331 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4260-2_0_4_load_51 | 25 | 0.019208 | 0.004814 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4260-2_0_4_load_39 | 29 | 0.0019234 | 0.00048205 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4260-2_0_4_load_29 | 32 | 0.0017362 | 0.00043512 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4260-2_0_4_load_40 | 35 | 0.0023171 | 0.00058071 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4260-2_0_4_load_112 | 36 | 0.017178 | 0.0043051 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4260-2_0_4_load_37 | 38 | 0.00090405 | 0.00022658 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4260-2_0_4_load_7 | 39 | 0.0016166 | 0.00040517 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4260-2_0_4_load_98 | 40 | 0.0026973 | 0.000676 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4260-2_0_4_load_66 | 41 | 0.0094822 | 0.0023765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4260-2_0_4_load_60 | 42 | 0.0054558 | 0.0013673 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4260-2_0_4_load_57 | 43 | 0.016514 | 0.0041388 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4260-2_0_4_load_87 | 44 | 0.0038839 | 0.00097339 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4260-2_0_4_load_48 | 46 | 0.00043525 | 0.00010908 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4260-2_0_4_load_38 | 47 | 0.020183 | 0.0050583 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4260-2_0_4_load_27 | 48 | 0.0019026 | 0.00047684 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4260-2_0_4_load_36 | 49 | 0.0008532 | 0.00021383 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4260-2_0_4_load_22 | 50 | 0.012812 | 0.003211 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4260-2_0_4_load_23 | 51 | 0.017705 | 0.0044373 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4260-2_0_4_load_24 | 52 | 0.00070155 | 0.00017583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4260-2_0_4_load_56 | 53 | 0.0012584 | 0.00031538 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4260-2_0_4_load_26 | 54 | 0.018076 | 0.0045304 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4260-2_0_4_load_43 | 57 | 0.0031142 | 0.0007805 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4260-2_0_4_load_44 | 58 | 0.00202 | 0.00050625 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4260-2_0_4_load_42 | 59 | 0.0061807 | 0.001549 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4260-2_0_4_load_33 | 60 | 0.014434 | 0.0036175 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4260-2_0_4_load_35 | 62 | 0.0023775 | 0.00059586 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4260-2_0_4_load_45 | 63 | 0.00034018 | 8.5258e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4260-2_0_4_load_46 | 64 | 0.00034744 | 8.7077e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4260-2_0_4_load_47 | 65 | 0.011392 | 0.0028551 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4260-2_0_4_load_111 | 68 | 0.0050881 | 0.0012752 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4260-2_0_4_load_102 | 70 | 0.0043478 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4260-2_0_4_load_54 | 72 | 0.0036041 | 0.00090328 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4260-2_0_4_load_108 | 73 | 0.012627 | 0.0031646 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4260-2_0_4_load_105 | 74 | 0.0073528 | 0.0018428 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4260-2_0_4_load_86 | 75 | 0.0026304 | 0.00065924 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4260-2_0_4_load_85 | 77 | 0.0051898 | 0.0013007 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4260-2_0_4_load_62 | 79 | 0.0064857 | 0.0016255 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4260-2_0_4_load_63 | 80 | 0.0021889 | 0.00054859 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4260-2_0_4_load_70 | 81 | 0.0013352 | 0.00033463 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4260-2_0_4_load_74 | 82 | 0.0048035 | 0.0012039 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4260-2_0_4_load_97 | 83 | 0.0058061 | 0.0014552 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4260-2_0_4_load_68 | 85 | 0.016448 | 0.0041223 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4260-2_0_4_load_72 | 86 | 0.0016903 | 0.00042362 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4260-2_0_4_load_71 | 87 | 0.011161 | 0.0027973 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4260-2_0_4_load_76 | 90 | 0.0035555 | 0.00089109 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4260-2_0_4_load_81 | 91 | 0.0026695 | 0.00066904 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4260-2_0_4_load_80 | 92 | 0.0018726 | 0.00046931 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4260-2_0_4_load_79 | 94 | 0.0026264 | 0.00065824 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4260-2_0_4_load_83 | 95 | 0.0029086 | 0.00072896 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4260-2_0_4_load_109 | 96 | 0.0013857 | 0.00034728 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4260-2_0_4_load_110 | 97 | 0.022303 | 0.0055897 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4260-2_0_4_load_93 | 98 | 0.0055593 | 0.0013933 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4260-2_0_4_load_92 | 99 | 0.0020638 | 0.00051723 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4260-2_0_4_load_96 | 100 | 0.0018713 | 0.00046899 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4260-2_0_4_load_90 | 101 | 0.0055292 | 0.0013858 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4260-2_0_4_load_89 | 102 | 0.0041227 | 0.0010332 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4260-2_0_4_load_91 | 103 | 0.0034748 | 0.00087087 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4260-2_0_4_load_104 | 105 | 0.006118 | 0.0015333 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 103 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4260-2_0_4_line_0 |  | 0 | 1 | 0.01001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4260-2_0_4_line_1 |  | 1 | 2 | 0.013136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4260-2_0_4_line_2 |  | 2 | 3 | 0.006098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4260-2_0_4_line_3 |  | 2 | 4 | 0.017838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4260-2_0_4_line_4 |  | 3 | 13 | 0.041762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4260-2_0_4_line_5 |  | 3 | 5 | 0.047646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4260-2_0_4_line_6 |  | 4 | 14 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_4260-2_0_4_line_7 |  | 5 | 6 | 0.026986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4260-2_0_4_line_8 |  | 6 | 11 | 0.05402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4260-2_0_4_line_9 |  | 6 | 12 | 0.014136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4260-2_0_4_line_10 |  | 7 | 8 | 0.054455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4260-2_0_4_line_11 |  | 7 | 9 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4260-2_0_4_line_12 |  | 7 | 10 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4260-2_0_4_line_13 |  | 8 | 40 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4260-2_0_4_line_14 |  | 9 | 41 | 0.0046678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4260-2_0_4_line_15 |  | 10 | 42 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4260-2_0_4_line_16 |  | 12 | 43 | 0.0099516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4260-2_0_4_line_17 |  | 14 | 94 | 0.018102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4260-2_0_4_line_18 |  | 15 | 16 | 0.1199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_4260-2_0_4_line_19 |  | 15 | 17 | 0.0087968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4260-2_0_4_line_20 |  | 16 | 36 | 0.010525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4260-2_0_4_line_21 |  | 16 | 37 | 0.077755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_4260-2_0_4_line_22 |  | 17 | 28 | 0.0078176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_4260-2_0_4_line_23 |  | 18 | 19 | 0.0086419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4260-2_0_4_line_24 |  | 18 | 20 | 0.018802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4260-2_0_4_line_25 |  | 19 | 46 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4260-2_0_4_line_26 |  | 20 | 24 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_4260-2_0_4_line_27 |  | 20 | 25 | 0.030827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_4260-2_0_4_line_28 |  | 20 | 21 | 0.076569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4260-2_0_4_line_29 |  | 21 | 22 | 0.008507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4260-2_0_4_line_30 |  | 21 | 23 | 0.15426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4260-2_0_4_line_31 |  | 23 | 27 | 0.082726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4260-2_0_4_line_32 |  | 23 | 39 | 0.019501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4260-2_0_4_line_33 |  | 24 | 44 | 0.0041361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4260-2_0_4_line_34 |  | 25 | 45 | 0.043204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4260-2_0_4_line_35 |  | 26 | 27 | 0.027271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4260-2_0_4_line_36 |  | 26 | 28 | 0.032017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4260-2_0_4_line_37 |  | 26 | 29 | 0.023375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4260-2_0_4_line_38 |  | 28 | 30 | 0.11075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4260-2_0_4_line_39 |  | 29 | 47 | 0.013706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4260-2_0_4_line_40 |  | 30 | 38 | 0.0091395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4260-2_0_4_line_41 |  | 31 | 32 | 0.014572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4260-2_0_4_line_42 |  | 31 | 33 | 0.005104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4260-2_0_4_line_43 |  | 32 | 48 | 0.03507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4260-2_0_4_line_44 |  | 33 | 34 | 0.00452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4260-2_0_4_line_45 |  | 34 | 35 | 0.020701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4260-2_0_4_line_46 |  | 35 | 37 | 0.049237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_4260-2_0_4_line_47 |  | 38 | 49 | 0.020178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4260-2_0_4_line_48 |  | 40 | 83 | 0.023267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4260-2_0_4_line_49 |  | 41 | 84 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4260-2_0_4_line_50 |  | 42 | 79 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4260-2_0_4_line_51 |  | 43 | 53 | 0.00042328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4260-2_0_4_line_52 |  | 44 | 78 | 0.022341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_4260-2_0_4_line_53 |  | 45 | 71 | 0.067072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4260-2_0_4_line_54 |  | 45 | 72 | 0.027214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4260-2_0_4_line_55 |  | 46 | 64 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4260-2_0_4_line_56 |  | 48 | 54 | 0.010091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4260-2_0_4_line_57 |  | 49 | 62 | 0.035156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4260-2_0_4_line_58 |  | 50 | 51 | 0.031714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4260-2_0_4_line_59 |  | 51 | 52 | 0.022849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4260-2_0_4_line_60 |  | 52 | 53 | 0.0046748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4260-2_0_4_line_61 |  | 54 | 55 | 0.026998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4260-2_0_4_line_62 |  | 55 | 56 | 0.006657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4260-2_0_4_line_63 |  | 56 | 57 | 0.022958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4260-2_0_4_line_64 |  | 56 | 58 | 0.029534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4260-2_0_4_line_65 |  | 57 | 59 | 0.016298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4260-2_0_4_line_66 |  | 60 | 61 | 0.053502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4260-2_0_4_line_67 |  | 61 | 62 | 0.08432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4260-2_0_4_line_68 |  | 63 | 64 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4260-2_0_4_line_69 |  | 63 | 65 | 0.032635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4260-2_0_4_line_70 |  | 65 | 66 | 0.035479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4260-2_0_4_line_71 |  | 66 | 67 | 0.006164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4260-2_0_4_line_72 |  | 67 | 68 | 0.004397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4260-2_0_4_line_73 |  | 67 | 69 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4260-2_0_4_line_74 |  | 69 | 70 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4260-2_0_4_line_75 |  | 70 | 104 | 0.0073204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4260-2_0_4_line_76 |  | 71 | 73 | 0.012816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4260-2_0_4_line_77 |  | 71 | 74 | 0.0040977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4260-2_0_4_line_78 |  | 72 | 75 | 0.02801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_4260-2_0_4_line_79 |  | 74 | 76 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4260-2_0_4_line_80 |  | 75 | 77 | 0.035703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_4260-2_0_4_line_81 |  | 76 | 106 | 0.083127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4260-2_0_4_line_82 |  | 77 | 89 | 0.018683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_4260-2_0_4_line_83 |  | 78 | 98 | 0.047082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4260-2_0_4_line_84 |  | 78 | 99 | 0.011885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_4260-2_0_4_line_85 |  | 79 | 80 | 0.0079932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_4260-2_0_4_line_86 |  | 80 | 81 | 0.0067234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_4260-2_0_4_line_87 |  | 81 | 82 | 0.0071784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_4260-2_0_4_line_88 |  | 82 | 86 | 0.0053178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_4260-2_0_4_line_89 |  | 84 | 85 | 0.0013955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4260-2_0_4_line_90 |  | 86 | 87 | 0.022089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_4260-2_0_4_line_91 |  | 87 | 88 | 0.037278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_4260-2_0_4_line_92 |  | 88 | 89 | 0.027262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_4260-2_0_4_line_93 |  | 88 | 90 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_4260-2_0_4_line_94 |  | 89 | 91 | 0.025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4260-2_0_4_line_95 |  | 90 | 92 | 0.0085085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_4260-2_0_4_line_96 |  | 91 | 93 | 0.076436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4260-2_0_4_line_97 |  | 92 | 94 | 0.02122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
98 | LV_4260-2_0_4_line_98 |  | 93 | 95 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4260-2_0_4_line_99 |  | 96 | 97 | 0.037414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4260-2_0_4_line_100 |  | 97 | 106 | 0.0072517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4260-2_0_4_line_101 |  | 99 | 100 | 0.04946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4260-2_0_4_line_102 |  | 99 | 101 | 0.016505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_4260-2_0_4_line_103 |  | 101 | 102 | 0.0059157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_4260-2_0_4_line_104 |  | 102 | 103 | 0.017918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_4260-2_0_4_line_105 |  | 104 | 105 | 0.009739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4260-2_0_4_trafo_91 | 0.63 MVA 20/0.4 kV | 107 | 103 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2638824.3471 | 1266621.1589 | 2638825.6817 | 1266631.08
1 | 2638830.8536 | 1266642.8738 | 2638826.2725 | 1266635.4718 | 2638825.6817 | 1266631.08
2 | 2638836.9116 | 1266642.0352 | 2638830.8536 | 1266642.8738
3 | 2638830.8536 | 1266642.8738 | 2638813.0854 | 1266644.4528
4 | 2638836.9116 | 1266642.0352 | 2638837.9339 | 1266646.8342 | 2638845.51 | 1266682.9021
5 | 2638836.9116 | 1266642.0352 | 2638872.627 | 1266626.692 | 2638879.0127 | 1266620.6741
6 | 2638796.1657 | 1266645.9564 | 2638813.0854 | 1266644.4528
7 | 2638879.0127 | 1266620.6741 | 2638867.3161 | 1266607.788 | 2638874.8156 | 1266601.8219
8 | 2638874.8156 | 1266601.8219 | 2638840.4872 | 1266562.9798 | 2638839.0637 | 1266561.3254
9 | 2638874.8156 | 1266601.8219 | 2638886.012 | 1266593.1923
10 | 2638754.8862 | 1266476.8123 | 2638765.825 | 1266490.5271 | 2638776.7041 | 1266504.1526 | 2638789.0336 | 1266519.3109
11 | 2638800.6338 | 1266511.3702 | 2638789.0336 | 1266519.3109
12 | 2638789.0336 | 1266519.3109 | 2638780.2552 | 1266528.5823 | 2638778.6896 | 1266532.8201
13 | 2638754.8862 | 1266476.8123 | 2638738.1437 | 1266490.097
14 | 2638800.6338 | 1266511.3702 | 2638804.4528 | 1266508.6863
15 | 2638773.8847 | 1266545.8256 | 2638778.6896 | 1266532.8201
16 | 2638886.012 | 1266593.1923 | 2638893.894 | 1266587.1172
17 | 2638796.1657 | 1266645.9564 | 2638778.1349 | 1266647.5587
18 | 2639064.1853 | 1266849.6692 | 2639064.0717 | 1266853.1932 | 2639063.888 | 1266855.9384 | 2639063.1929 | 1266931.5214 | 2639069.356 | 1266936.3767 | 2639099.5467 | 1266936.7209
19 | 2639064.1853 | 1266849.6692 | 2639055.3901 | 1266849.5051
20 | 2639107.1302 | 1266929.3991 | 2639099.5467 | 1266936.7209
21 | 2639040.195 | 1266976.1573 | 2639046.834 | 1266976.2011 | 2639062.6709 | 1266976.3502 | 2639062.667 | 1266972.3807 | 2639069.2439 | 1266965.8638 | 2639084.2325 | 1266952.0084 | 2639099.5467 | 1266936.7209
22 | 2639047.5738 | 1266849.3593 | 2639055.3901 | 1266849.5051
23 | 2638807.5869 | 1266796.2423 | 2638808.8223 | 1266804.7954
24 | 2638799.3319 | 1266784.324 | 2638806.0247 | 1266784.2345 | 2638807.5869 | 1266796.2423
25 | 2638811.8306 | 1266825.6213 | 2638808.8223 | 1266804.7954
26 | 2638799.3319 | 1266784.324 | 2638798.3895 | 1266770.9997
27 | 2638799.3319 | 1266784.324 | 2638768.5155 | 1266785.1386
28 | 2638799.3319 | 1266784.324 | 2638806.0247 | 1266784.2345 | 2638865.9574 | 1266780.1361 | 2638865.3762 | 1266776.93 | 2638863.9201 | 1266770.5492
29 | 2638855.4029 | 1266771.0602 | 2638863.9201 | 1266770.5492
30 | 2638863.9201 | 1266770.5492 | 2638869.8852 | 1266770.0769 | 2638884.814 | 1266767.5954 | 2638888.486 | 1266766.6856 | 2638895.9613 | 1266765.5116 | 2638899.2075 | 1266764.1098 | 2638919.9634 | 1266770.6843 | 2638920.9486 | 1266777.6958 | 2638981.9995 | 1266770.7149 | 2639006.6199 | 1266757.4677
31 | 2639006.6199 | 1266757.4677 | 2638981.9995 | 1266770.7149 | 2638992.0438 | 1266781.7891 | 2638998.1749 | 1266782.3966 | 2639012.7114 | 1266790.3092 | 2639017.0269 | 1266794.5518 | 2639018.5137 | 1266797.397 | 2639019.7467 | 1266803.3427 | 2639019.6221 | 1266805.1098
32 | 2639006.6199 | 1266757.4677 | 2638993.0519 | 1266743.4606
33 | 2638798.3895 | 1266770.9997 | 2638798.0976 | 1266766.8739
34 | 2638725.3285 | 1266786.3518 | 2638743.3836 | 1266785.8029 | 2638768.5155 | 1266785.1386
35 | 2639039.8945 | 1266823.3122 | 2639031.634 | 1266814.5848 | 2639019.6221 | 1266805.1098
36 | 2639039.8945 | 1266823.3122 | 2639040.0464 | 1266833.3648 | 2639047.5103 | 1266835.0486 | 2639047.4858 | 1266843.31 | 2639047.5738 | 1266849.3593
37 | 2639039.8945 | 1266823.3122 | 2639034.881 | 1266823.3236 | 2639016.5195 | 1266823.2342
38 | 2638943.124 | 1266855.6088 | 2638995.8091 | 1266855.7559 | 2639030.6389 | 1266855.8523 | 2639035.5092 | 1266855.8622 | 2639040.5301 | 1266855.8731 | 2639047.3274 | 1266855.8957 | 2639047.3627 | 1266852.8271 | 2639047.5738 | 1266849.3593
39 | 2639002.814 | 1266823.1675 | 2639016.5195 | 1266823.2342
40 | 2638943.124 | 1266855.6088 | 2638933.9845 | 1266855.6274
41 | 2639039.7977 | 1267055.7118 | 2639025.2256 | 1267055.7278
42 | 2639039.8841 | 1267050.6087 | 2639039.7977 | 1267055.7118
43 | 2638990.1552 | 1267055.7662 | 2639025.2256 | 1267055.7278
44 | 2639040.1322 | 1267046.096 | 2639039.8841 | 1267050.6087
45 | 2639040.1322 | 1267046.096 | 2639040.1508 | 1267025.3947
46 | 2639040.195 | 1266976.1573 | 2639040.1508 | 1267025.3947
47 | 2638913.807 | 1266855.6685 | 2638933.9845 | 1266855.6274
48 | 2638721.544 | 1266492.4498 | 2638726.5612 | 1266499.2874 | 2638738.1437 | 1266490.097
49 | 2638818.5505 | 1266498.7787 | 2638804.4528 | 1266508.6863
50 | 2638773.8847 | 1266545.8256 | 2638764.9812 | 1266569.9251
51 | 2638894.2293 | 1266586.8588 | 2638893.894 | 1266587.1172
52 | 2638796.5213 | 1266744.5882 | 2638798.0976 | 1266766.8739
53 | 2638725.3285 | 1266786.3518 | 2638724.4628 | 1266820.8264 | 2638723.1152 | 1266835.795 | 2638720.5173 | 1266846.2744 | 2638718.4427 | 1266852.7099
54 | 2638725.3285 | 1266786.3518 | 2638725.2279 | 1266776.4218 | 2638724.2458 | 1266759.1667
55 | 2638815.3256 | 1266849.8174 | 2638811.8306 | 1266825.6213
56 | 2638980.0646 | 1267055.7773 | 2638990.1552 | 1267055.7662
57 | 2638878.6509 | 1266855.7402 | 2638913.807 | 1266855.6685
58 | 2638941.1486 | 1266550.6959 | 2638916.0295 | 1266570.0563
59 | 2638897.932 | 1266584.005 | 2638916.0295 | 1266570.0563
60 | 2638897.932 | 1266584.005 | 2638894.2293 | 1266586.8588
61 | 2638953.0664 | 1267055.8069 | 2638980.0646 | 1267055.7773
62 | 2638957.1209 | 1267050.5187 | 2638953.0664 | 1267055.8069
63 | 2638957.1209 | 1267050.5187 | 2638980.0789 | 1267050.5436
64 | 2638957.1209 | 1267050.5187 | 2638927.588 | 1267050.2961
65 | 2638996.3768 | 1267050.5614 | 2638980.0789 | 1267050.5436
66 | 2638837.0735 | 1266903.8908 | 2638783.5731 | 1266903.4468
67 | 2638837.0735 | 1266903.8908 | 2638837.1537 | 1266867.6097 | 2638839.6046 | 1266860.0648 | 2638847.642 | 1266855.8034 | 2638878.6509 | 1266855.7402
68 | 2638805.404 | 1266863.5434 | 2638813.7457 | 1266860.2842 | 2638816.4723 | 1266857.7558 | 2638815.3256 | 1266849.8174
69 | 2638805.404 | 1266863.5434 | 2638775.0072 | 1266875.4197
70 | 2638746.4328 | 1266893.7003 | 2638747.3576 | 1266890.4263 | 2638749.6675 | 1266887.139 | 2638755.9208 | 1266882.8769 | 2638775.0072 | 1266875.4197
71 | 2638746.4328 | 1266893.7003 | 2638744.0462 | 1266888.014
72 | 2638742.349 | 1266883.9555 | 2638744.0462 | 1266888.014
73 | 2638737.7084 | 1266901.7267 | 2638739.3365 | 1266901.4038 | 2638740.8411 | 1266900.4019 | 2638740.7182 | 1266889.282 | 2638744.0462 | 1266888.014
74 | 2638737.7084 | 1266901.7267 | 2638737.198 | 1266899.2105 | 2638732.0256 | 1266890.159 | 2638729.1537 | 1266882.5106
75 | 2638726.5803 | 1266875.6574 | 2638729.1537 | 1266882.5106
76 | 2638728.2836 | 1266851.2066 | 2638727.0289 | 1266850.8425 | 2638726.3572 | 1266852.2503 | 2638724.8848 | 1266854.0975 | 2638723.3632 | 1266855.3996 | 2638718.4427 | 1266852.7099
77 | 2638718.4427 | 1266852.7099 | 2638715.1036 | 1266855.0852
78 | 2638723.5821 | 1266731.1694 | 2638723.8845 | 1266752.8183 | 2638724.2458 | 1266759.1667
79 | 2638702.6897 | 1266861.5465 | 2638711.9688 | 1266857.3153 | 2638715.1036 | 1266855.0852
80 | 2638723.5821 | 1266731.1694 | 2638723.2644 | 1266708.4157 | 2638724.15 | 1266695.4988
81 | 2638700.6479 | 1266828.465 | 2638696.229 | 1266858.3909 | 2638697.7483 | 1266866.6401 | 2638700.2548 | 1266872.4273 | 2638703.8228 | 1266878.1881 | 2638708.0481 | 1266883.5863 | 2638709.3115 | 1266882.6272 | 2638707.3776 | 1266880.2128 | 2638706.6458 | 1266879.3074 | 2638704.2677 | 1266875.767 | 2638704.5393 | 1266873.3671 | 2638704.0798 | 1266866.5258 | 2638702.6897 | 1266861.5465
82 | 2638726.3685 | 1266676.9802 | 2638726.0265 | 1266678.6235 | 2638724.8707 | 1266684.9872 | 2638724.15 | 1266695.4988
83 | 2638796.5213 | 1266744.5882 | 2638749.4203 | 1266747.982
84 | 2638795.7334 | 1266732.7301 | 2638796.5213 | 1266744.5882
85 | 2638764.9812 | 1266569.9251 | 2638762.2111 | 1266577.423
86 | 2638762.2111 | 1266577.423 | 2638759.8811 | 1266583.7297
87 | 2638757.3934 | 1266590.4633 | 2638759.8811 | 1266583.7297
88 | 2638755.5505 | 1266595.4515 | 2638757.3934 | 1266590.4633
89 | 2638818.5505 | 1266498.7787 | 2638819.6965 | 1266497.9824
90 | 2638748.0193 | 1266616.2175 | 2638755.1632 | 1266596.4999 | 2638755.5505 | 1266595.4515
91 | 2638735.5398 | 1266651.344 | 2638741.1409 | 1266635.2025 | 2638748.0193 | 1266616.2175
92 | 2638735.5398 | 1266651.344 | 2638727.1227 | 1266673.3158 | 2638726.3685 | 1266676.9802
93 | 2638735.5398 | 1266651.344 | 2638748.5236 | 1266650.1902
94 | 2638726.3685 | 1266676.9802 | 2638724.768 | 1266675.3908 | 2638722.2698 | 1266672.9171 | 2638721.7314 | 1266672.3798 | 2638719.9886 | 1266670.6672 | 2638714.6566 | 1266655.0084
95 | 2638756.9987 | 1266649.437 | 2638748.5236 | 1266650.1902
96 | 2638690.0163 | 1266582.6525 | 2638691.043 | 1266585.6614 | 2638714.6566 | 1266655.0084
97 | 2638756.9987 | 1266649.437 | 2638778.1349 | 1266647.5587
98 | 2638690.0163 | 1266582.6525 | 2638686.9578 | 1266569.102
99 | 2638701.5601 | 1266783.8238 | 2638701.0563 | 1266821.2346
100 | 2638700.6479 | 1266828.465 | 2638700.9982 | 1266825.5541 | 2638701.0563 | 1266821.2346
101 | 2638795.7334 | 1266732.7301 | 2638792.851 | 1266699.3428 | 2638808.744 | 1266698.0076
102 | 2638795.7334 | 1266732.7301 | 2638812.2231 | 1266732.0103
103 | 2638818.1332 | 1266731.7523 | 2638812.2231 | 1266732.0103
104 | 2638836.0338 | 1266730.971 | 2638818.1332 | 1266731.7523
105 | 2638726.5803 | 1266875.6574 | 2638723.1774 | 1266866.5286

## bus_geodata
| x | y | coords
0 | 2638824.3471 | 1266621.1589
1 | 2638825.6817 | 1266631.08
2 | 2638830.8536 | 1266642.8738
3 | 2638836.9116 | 1266642.0352
4 | 2638813.0854 | 1266644.4528
5 | 2638879.0127 | 1266620.6741
6 | 2638874.8156 | 1266601.8219
7 | 2638789.0336 | 1266519.3109
8 | 2638754.8862 | 1266476.8123
9 | 2638800.6338 | 1266511.3702
10 | 2638778.6896 | 1266532.8201
11 | 2638839.0637 | 1266561.3254
12 | 2638886.012 | 1266593.1923
13 | 2638845.51 | 1266682.9021
14 | 2638796.1657 | 1266645.9564
15 | 2639064.1853 | 1266849.6692
16 | 2639099.5467 | 1266936.7209
17 | 2639055.3901 | 1266849.5051
18 | 2638807.5869 | 1266796.2423
19 | 2638808.8223 | 1266804.7954
20 | 2638799.3319 | 1266784.324
21 | 2638863.9201 | 1266770.5492
22 | 2638855.4029 | 1266771.0602
23 | 2639006.6199 | 1266757.4677
24 | 2638798.3895 | 1266770.9997
25 | 2638768.5155 | 1266785.1386
26 | 2639039.8945 | 1266823.3122
27 | 2639019.6221 | 1266805.1098
28 | 2639047.5738 | 1266849.3593
29 | 2639016.5195 | 1266823.2342
30 | 2638943.124 | 1266855.6088
31 | 2639039.7977 | 1267055.7118
32 | 2639025.2257 | 1267055.7278
33 | 2639039.8841 | 1267050.6087
34 | 2639040.1322 | 1267046.096
35 | 2639040.1508 | 1267025.3947
36 | 2639107.1302 | 1266929.3991
37 | 2639040.195 | 1266976.1573
38 | 2638933.9845 | 1266855.6274
39 | 2638993.0519 | 1266743.4606
40 | 2638738.1437 | 1266490.097
41 | 2638804.4528 | 1266508.6863
42 | 2638773.8847 | 1266545.8256
43 | 2638893.894 | 1266587.1172
44 | 2638798.0976 | 1266766.8739
45 | 2638725.3285 | 1266786.3518
46 | 2638811.8306 | 1266825.6213
47 | 2639002.814 | 1266823.1675
48 | 2638990.1552 | 1267055.7662
49 | 2638913.807 | 1266855.6685
50 | 2638941.1486 | 1266550.6959
51 | 2638916.0295 | 1266570.0563
52 | 2638897.932 | 1266584.005
53 | 2638894.2293 | 1266586.8588
54 | 2638980.0646 | 1267055.7773
55 | 2638953.0664 | 1267055.8069
56 | 2638957.1209 | 1267050.5187
57 | 2638980.0789 | 1267050.5436
58 | 2638927.588 | 1267050.2961
59 | 2638996.3768 | 1267050.5614
60 | 2638783.5731 | 1266903.4468
61 | 2638837.0735 | 1266903.8908
62 | 2638878.6509 | 1266855.7402
63 | 2638805.404 | 1266863.5434
64 | 2638815.3256 | 1266849.8174
65 | 2638775.0072 | 1266875.4197
66 | 2638746.4328 | 1266893.7003
67 | 2638744.0462 | 1266888.014
68 | 2638742.349 | 1266883.9555
69 | 2638737.7084 | 1266901.7267
70 | 2638729.1537 | 1266882.5106
71 | 2638718.4426 | 1266852.7099
72 | 2638724.2458 | 1266759.1667
73 | 2638728.2836 | 1266851.2066
74 | 2638715.1036 | 1266855.0852
75 | 2638723.5821 | 1266731.1694
76 | 2638702.6897 | 1266861.5465
77 | 2638724.15 | 1266695.4988
78 | 2638796.5213 | 1266744.5882
79 | 2638764.9812 | 1266569.9251
80 | 2638762.2111 | 1266577.423
81 | 2638759.8811 | 1266583.7297
82 | 2638757.3934 | 1266590.4633
83 | 2638721.544 | 1266492.4498
84 | 2638818.5505 | 1266498.7787
85 | 2638819.6965 | 1266497.9824
86 | 2638755.5505 | 1266595.4515
87 | 2638748.0193 | 1266616.2175
88 | 2638735.5398 | 1266651.344
89 | 2638726.3685 | 1266676.9802
90 | 2638748.5236 | 1266650.1902
91 | 2638714.6566 | 1266655.0084
92 | 2638756.9987 | 1266649.437
93 | 2638690.0163 | 1266582.6525
94 | 2638778.1349 | 1266647.5587
95 | 2638686.9578 | 1266569.102
96 | 2638701.5601 | 1266783.8238
97 | 2638701.0563 | 1266821.2346
98 | 2638749.4203 | 1266747.982
99 | 2638795.7334 | 1266732.7301
100 | 2638808.744 | 1266698.0076
101 | 2638812.2231 | 1266732.0103
102 | 2638818.1332 | 1266731.7523
103 | 2638836.0338 | 1266730.971
104 | 2638726.5803 | 1266875.6574
105 | 2638723.1774 | 1266866.5286
106 | 2638700.6479 | 1266828.465
107 | 2638795.7334 | 1266732.7301

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1