## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4260-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4260-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4260-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4260-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4260-3_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4260-3_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4260-3_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4260-3_0_4_node_85 | 0.4 | n |  | TRUE
8 | bus_LV_4260-3_0_4_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_4260-3_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4260-3_0_4_node_83 | 0.4 | n |  | TRUE
11 | bus_LV_4260-3_0_4_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_4260-3_0_4_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_4260-3_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4260-3_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4260-3_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4260-3_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4260-3_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4260-3_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_4260-3_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4260-3_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4260-3_0_4_node_88 | 0.4 | n |  | TRUE
22 | bus_LV_4260-3_0_4_node_90 | 0.4 | n |  | TRUE
23 | bus_LV_4260-3_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4260-3_0_4_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_4260-3_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_4260-3_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4260-3_0_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_4260-3_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4260-3_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4260-3_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_4260-3_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4260-3_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_4260-3_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4260-3_0_4_node_78 | 0.4 | n |  | TRUE
35 | bus_LV_4260-3_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_4260-3_0_4_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_4260-3_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_4260-3_0_4_node_89 | 0.4 | n |  | TRUE
39 | bus_LV_4260-3_0_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_4260-3_0_4_node_73 | 0.4 | n |  | TRUE
41 | bus_LV_4260-3_0_4_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_4260-3_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_4260-3_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4260-3_0_4_node_91 | 0.4 | n |  | TRUE
45 | bus_LV_4260-3_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_4260-3_0_4_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_4260-3_0_4_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_4260-3_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_4260-3_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4260-3_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_4260-3_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4260-3_0_4_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_4260-3_0_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_4260-3_0_4_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_4260-3_0_4_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_4260-3_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_4260-3_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_4260-3_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_4260-3_0_4_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_4260-3_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4260-3_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4260-3_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4260-3_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4260-3_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4260-3_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_4260-3_0_4_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_4260-3_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_4260-3_0_4_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_4260-3_0_4_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4260-3_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_4260-3_0_4_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_4260-3_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4260-3_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_4260-3_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4260-3_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4260-3_0_4_node_56 | 0.4 | n |  | TRUE
77 | bus_LV_4260-3_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4260-3_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4260-3_0_4_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_4260-3_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_4260-3_0_4_node_106 | 0.4 | n |  | TRUE
82 | bus_LV_4260-3_0_4_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_4260-3_0_4_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_4260-3_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4260-3_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4260-3_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_4260-3_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_4260-3_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_4260-3_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4260-3_0_4_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_4260-3_0_4_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_4260-3_0_4_node_109 | 0.4 | n |  | TRUE
93 | bus_LV_4260-3_0_4_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_4260-3_0_4_node_95 | 0.4 | n |  | TRUE
95 | bus_LV_4260-3_0_4_node_96 | 0.4 | n |  | TRUE
96 | bus_LV_4260-3_0_4_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_4260-3_0_4_node_102 | 0.4 | n |  | TRUE
98 | bus_LV_4260-3_0_4_node_110 | 0.4 | n |  | TRUE
99 | bus_LV_4260-3_0_4_node_101 | 0.4 | n |  | TRUE
100 | bus_LV_4260-3_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_4260-3_0_4_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_4260-3_0_4_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_4260-3_0_4_node_107 | 0.4 | n |  | TRUE
104 | bus_LV_4260-3_0_4_node_105 | 0.4 | n |  | TRUE
105 | bus_MV_305_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4260-3_0_4_load_0 | 0 | 0.0022859 | 0.0005729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4260-3_0_4_load_3 | 3 | 0.026921 | 0.0067471 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4260-3_0_4_load_6 | 4 | 0.011454 | 0.0028706 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4260-3_0_4_load_85 | 7 | 0.0038485 | 0.00096452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4260-3_0_4_load_87 | 8 | 0.006773 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4260-3_0_4_load_83 | 10 | 0.006252 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4260-3_0_4_load_7 | 14 | 0.005339 | 0.0013381 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4260-3_0_4_load_10 | 16 | 0.016397 | 0.0041094 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4260-3_0_4_load_20 | 18 | 0.0038177 | 0.0009568 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4260-3_0_4_load_88 | 21 | 0.0030188 | 0.00075658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4260-3_0_4_load_90 | 22 | 0.0008105 | 0.00020313 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4260-3_0_4_load_60 | 24 | 0.0016097 | 0.00040342 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4260-3_0_4_load_19 | 25 | 0.0020981 | 0.00052583 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4260-3_0_4_load_18 | 26 | 0.0026928 | 0.00067489 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4260-3_0_4_load_111 | 27 | 0.0024387 | 0.0006112 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4260-3_0_4_load_22 | 31 | 0.04131 | 0.010353 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4260-3_0_4_load_78 | 34 | 0.0085043 | 0.0021314 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4260-3_0_4_load_76 | 36 | 0.0087181 | 0.002185 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4260-3_0_4_load_62 | 37 | 0.020331 | 0.0050955 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4260-3_0_4_load_89 | 38 | 0.0022036 | 0.00055228 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4260-3_0_4_load_58 | 39 | 0.00093006 | 0.00023309 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4260-3_0_4_load_73 | 40 | 0.0021141 | 0.00052986 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4260-3_0_4_load_34 | 42 | 0.0027043 | 0.00067776 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4260-3_0_4_load_32 | 43 | 0.0086805 | 0.0021755 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4260-3_0_4_load_91 | 44 | 0.003586 | 0.00089874 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4260-3_0_4_load_57 | 46 | 0.0019972 | 0.00050054 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4260-3_0_4_load_92 | 47 | 0.0094135 | 0.0023592 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4260-3_0_4_load_42 | 50 | 0.011415 | 0.0028608 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4260-3_0_4_load_77 | 52 | 0.0045264 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4260-3_0_4_load_65 | 53 | 0.0033965 | 0.00085124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4260-3_0_4_load_63 | 55 | 0.00084725 | 0.00021234 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4260-3_0_4_load_39 | 56 | 0.0060641 | 0.0015198 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4260-3_0_4_load_40 | 59 | 0.012845 | 0.0032194 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4260-3_0_4_load_38 | 60 | 0.01224 | 0.0030677 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4260-3_0_4_load_43 | 61 | 0.0040317 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4260-3_0_4_load_48 | 66 | 0.0051971 | 0.0013025 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4260-3_0_4_load_70 | 67 | 0.0052998 | 0.0013282 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4260-3_0_4_load_75 | 68 | 0.002354 | 0.00058998 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4260-3_0_4_load_51 | 70 | 0.0010062 | 0.00025218 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4260-3_0_4_load_66 | 71 | 0.00039499 | 9.8994e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4260-3_0_4_load_74 | 72 | 0.0022397 | 0.00056132 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4260-3_0_4_load_52 | 73 | 0.0011971 | 0.00030002 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4260-3_0_4_load_53 | 74 | 0.0017619 | 0.00044158 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4260-3_0_4_load_54 | 75 | 0.0082103 | 0.0020577 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4260-3_0_4_load_56 | 76 | 0.0030875 | 0.00077381 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4260-3_0_4_load_67 | 77 | 0.0016631 | 0.00041681 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4260-3_0_4_load_59 | 79 | 0.0031949 | 0.00080072 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4260-3_0_4_load_69 | 80 | 0.0029913 | 0.00074969 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4260-3_0_4_load_106 | 81 | 0.0010001 | 0.00025065 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4260-3_0_4_load_104 | 82 | 0.0011569 | 0.00028994 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4260-3_0_4_load_71 | 83 | 0.0031753 | 0.0007958 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4260-3_0_4_load_72 | 84 | 0.0053827 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4260-3_0_4_load_79 | 86 | 0.0011385 | 0.00028534 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4260-3_0_4_load_81 | 87 | 0.0042046 | 0.0010538 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4260-3_0_4_load_82 | 88 | 0.0059873 | 0.0015005 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4260-3_0_4_load_84 | 89 | 0.0063371 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4260-3_0_4_load_93 | 90 | 0.0062531 | 0.0015672 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4260-3_0_4_load_109 | 92 | 0.0026894 | 0.00067403 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4260-3_0_4_load_94 | 93 | 0.0026052 | 0.00065291 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4260-3_0_4_load_96 | 95 | 0.012172 | 0.0030506 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4260-3_0_4_load_97 | 96 | 0.0026371 | 0.00066092 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4260-3_0_4_load_110 | 98 | 0.001835 | 0.0004599 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4260-3_0_4_load_99 | 100 | 0.010968 | 0.0027488 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4260-3_0_4_load_100 | 101 | 0.010968 | 0.0027489 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4260-3_0_4_load_107 | 103 | 0.0026085 | 0.00065374 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4260-3_0_4_load_105 | 104 | 0.001093 | 0.00027394 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4260-3_0_4_line_0 |  | 0 | 1 | 0.066788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4260-3_0_4_line_1 |  | 0 | 2 | 0.005078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4260-3_0_4_line_2 |  | 1 | 3 | 0.022318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4260-3_0_4_line_3 |  | 2 | 4 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4260-3_0_4_line_4 |  | 4 | 9 | 0.02177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4260-3_0_4_line_5 |  | 5 | 6 | 0.012794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4260-3_0_4_line_6 |  | 5 | 7 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4260-3_0_4_line_7 |  | 6 | 8 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4260-3_0_4_line_8 |  | 7 | 10 | 0.021191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4260-3_0_4_line_9 |  | 8 | 11 | 0.017288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4260-3_0_4_line_10 |  | 9 | 12 | 0.027829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4260-3_0_4_line_11 |  | 9 | 13 | 0.046156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4260-3_0_4_line_12 |  | 10 | 87 | 0.0070914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4260-3_0_4_line_13 |  | 11 | 12 | 0.029158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4260-3_0_4_line_14 |  | 11 | 79 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4260-3_0_4_line_15 |  | 12 | 27 | 0.007777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4260-3_0_4_line_16 |  | 13 | 14 | 0.016115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4260-3_0_4_line_17 |  | 14 | 15 | 0.018196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4260-3_0_4_line_18 |  | 15 | 16 | 0.035367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4260-3_0_4_line_19 |  | 15 | 17 | 0.006497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4260-3_0_4_line_20 |  | 17 | 18 | 0.00071978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4260-3_0_4_line_21 |  | 18 | 25 | 0.026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4260-3_0_4_line_22 |  | 19 | 20 | 0.003297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_4260-3_0_4_line_23 |  | 19 | 21 | 0.032037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4260-3_0_4_line_24 |  | 20 | 22 | 0.0091376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4260-3_0_4_line_25 |  | 21 | 38 | 0.022132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_4260-3_0_4_line_26 |  | 22 | 23 | 0.00049388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4260-3_0_4_line_27 |  | 23 | 24 | 0.015678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4260-3_0_4_line_28 |  | 24 | 39 | 0.0094407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4260-3_0_4_line_29 |  | 25 | 26 | 0.030776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4260-3_0_4_line_30 |  | 28 | 29 | 0.030271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4260-3_0_4_line_31 |  | 28 | 30 | 0.046709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4260-3_0_4_line_32 |  | 28 | 31 | 0.037831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4260-3_0_4_line_33 |  | 29 | 42 | 0.020355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4260-3_0_4_line_34 |  | 29 | 43 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4260-3_0_4_line_35 |  | 30 | 34 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4260-3_0_4_line_36 |  | 30 | 35 | 0.037147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4260-3_0_4_line_37 |  | 30 | 36 | 0.0046306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4260-3_0_4_line_38 |  | 31 | 32 | 0.028715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_4260-3_0_4_line_39 |  | 32 | 33 | 0.013332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_4260-3_0_4_line_40 |  | 33 | 38 | 0.0088356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_4260-3_0_4_line_41 |  | 33 | 44 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4260-3_0_4_line_42 |  | 35 | 37 | 0.027834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4260-3_0_4_line_43 |  | 36 | 52 | 0.017073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4260-3_0_4_line_44 |  | 37 | 55 | 0.02475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4260-3_0_4_line_45 |  | 39 | 79 | 0.0012553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4260-3_0_4_line_46 |  | 40 | 41 | 0.016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4260-3_0_4_line_47 |  | 41 | 67 | 0.021014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4260-3_0_4_line_48 |  | 41 | 63 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4260-3_0_4_line_49 |  | 42 | 48 | 0.028141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4260-3_0_4_line_50 |  | 43 | 51 | 0.011788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4260-3_0_4_line_51 |  | 44 | 47 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4260-3_0_4_line_52 |  | 45 | 46 | 0.023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4260-3_0_4_line_53 |  | 45 | 47 | 0.020812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4260-3_0_4_line_54 |  | 46 | 57 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4260-3_0_4_line_55 |  | 48 | 49 | 0.050125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4260-3_0_4_line_56 |  | 49 | 50 | 0.0084371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4260-3_0_4_line_57 |  | 51 | 60 | 0.011026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4260-3_0_4_line_58 |  | 51 | 56 | 0.0083977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4260-3_0_4_line_59 |  | 53 | 54 | 0.0079562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4260-3_0_4_line_60 |  | 54 | 55 | 0.0068193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4260-3_0_4_line_61 |  | 54 | 71 | 0.0093071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4260-3_0_4_line_62 |  | 57 | 76 | 0.0077898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4260-3_0_4_line_63 |  | 57 | 74 | 0.016407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4260-3_0_4_line_64 |  | 58 | 59 | 0.010495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4260-3_0_4_line_65 |  | 58 | 60 | 0.016272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4260-3_0_4_line_66 |  | 61 | 62 | 0.022829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4260-3_0_4_line_67 |  | 61 | 63 | 0.018895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4260-3_0_4_line_68 |  | 62 | 64 | 0.010266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4260-3_0_4_line_69 |  | 64 | 65 | 0.01288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4260-3_0_4_line_70 |  | 64 | 66 | 0.021593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4260-3_0_4_line_71 |  | 65 | 68 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4260-3_0_4_line_72 |  | 65 | 69 | 0.008069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4260-3_0_4_line_73 |  | 68 | 72 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4260-3_0_4_line_74 |  | 69 | 70 | 0.020761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4260-3_0_4_line_75 |  | 70 | 71 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4260-3_0_4_line_76 |  | 72 | 85 | 0.047784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4260-3_0_4_line_77 |  | 72 | 84 | 0.015787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4260-3_0_4_line_78 |  | 73 | 74 | 0.001005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4260-3_0_4_line_79 |  | 73 | 75 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4260-3_0_4_line_80 |  | 76 | 77 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4260-3_0_4_line_81 |  | 77 | 78 | 0.015755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4260-3_0_4_line_82 |  | 78 | 80 | 0.023539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4260-3_0_4_line_83 |  | 80 | 81 | 0.0039809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4260-3_0_4_line_84 |  | 81 | 82 | 0.019925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4260-3_0_4_line_85 |  | 82 | 104 | 0.00043652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4260-3_0_4_line_86 |  | 83 | 84 | 0.0071568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4260-3_0_4_line_87 |  | 85 | 86 | 0.046327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4260-3_0_4_line_88 |  | 87 | 88 | 0.023369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4260-3_0_4_line_89 |  | 88 | 89 | 0.00044471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4260-3_0_4_line_90 |  | 89 | 90 | 0.016027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4260-3_0_4_line_91 |  | 90 | 91 | 0.0057194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4260-3_0_4_line_92 |  | 91 | 92 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4260-3_0_4_line_93 |  | 92 | 96 | 0.0002046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4260-3_0_4_line_94 |  | 93 | 94 | 0.031625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4260-3_0_4_line_95 |  | 93 | 95 | 0.0098452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4260-3_0_4_line_96 |  | 94 | 96 | 0.01669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4260-3_0_4_line_97 |  | 97 | 98 | 0.032027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4260-3_0_4_line_98 |  | 97 | 99 | 0.031583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4260-3_0_4_line_99 |  | 99 | 102 | 0.009251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4260-3_0_4_line_100 |  | 99 | 101 | 0.021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4260-3_0_4_line_101 |  | 100 | 101 | 0.024939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4260-3_0_4_line_102 |  | 102 | 103 | 0.040945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4260-3_0_4_line_103 |  | 102 | 104 | 0.012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4260-3_0_4_trafo_88 | 0.63 MVA 20/0.4 kV | 105 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2638870.2706 | 1266295.7617 | 2638863.9523 | 1266298.3665 | 2638860.1922 | 1266298.8866 | 2638856.1067 | 1266298.5262 | 2638853.4604 | 1266297.9639 | 2638849.2662 | 1266296.9468 | 2638846.0712 | 1266296.2587 | 2638843.0833 | 1266296.1278 | 2638839.7688 | 1266296.4396 | 2638835.8921 | 1266297.515 | 2638831.2404 | 1266299.686 | 2638828.688 | 1266300.8812 | 2638825.9107 | 1266303.0757 | 2638823.6898 | 1266305.3738 | 2638821.7853 | 1266308.7749 | 2638820.9846 | 1266312.628 | 2638820.7411 | 1266316.4736 | 2638820.0454 | 1266319.2376 | 2638818.0977 | 1266320.2599
1 | 2638813.6015 | 1266322.62 | 2638818.0977 | 1266320.2599
2 | 2638870.2706 | 1266295.7617 | 2638881.8493 | 1266314.8414
3 | 2638813.6015 | 1266322.62 | 2638818.5458 | 1266329.7687 | 2638806.1496 | 1266343.0969 | 2638805.2879 | 1266344.0205
4 | 2638787.8336 | 1266356.8089 | 2638801.4793 | 1266348.1032 | 2638805.2879 | 1266344.0205
5 | 2638796.4629 | 1266295.7106 | 2638808.6623 | 1266291.7433
6 | 2638808.6623 | 1266291.7433 | 2638803.0681 | 1266277.8123
7 | 2638796.4629 | 1266295.7106 | 2638783.2525 | 1266300.3561
8 | 2638803.0681 | 1266277.8123 | 2638795.1714 | 1266258.1474
9 | 2638766.9439 | 1266306.0912 | 2638783.2525 | 1266300.3561
10 | 2638779.1449 | 1266331.7117 | 2638778.8422 | 1266343.4404 | 2638787.8336 | 1266356.8089
11 | 2638747.8823 | 1266378.4293 | 2638750.8563 | 1266377.2368 | 2638773.5691 | 1266362.2971 | 2638778.8533 | 1266362.4096 | 2638787.8336 | 1266356.8089
12 | 2638792.5288 | 1266251.5667 | 2638795.1714 | 1266258.1474
13 | 2638766.9439 | 1266306.0912 | 2638775.2176 | 1266319.8553 | 2638779.1564 | 1266325.3739 | 2638779.1449 | 1266331.7117
14 | 2638766.9439 | 1266306.0912 | 2638754.5973 | 1266309.8306
15 | 2638785.6996 | 1266327.4961 | 2638779.1449 | 1266331.7117
16 | 2638747.8823 | 1266378.4293 | 2638755.9055 | 1266392.4046
17 | 2638764.9646 | 1266408.1847 | 2638755.9055 | 1266392.4046
18 | 2638764.9646 | 1266408.1847 | 2638793.9391 | 1266387.7822
19 | 2638764.9646 | 1266408.1847 | 2638763.0653 | 1266409.6733 | 2638759.6105 | 1266411.8745
20 | 2638759.9654 | 1266412.5007 | 2638759.6105 | 1266411.8745
21 | 2638759.9654 | 1266412.5007 | 2638764.9688 | 1266421.3275 | 2638773.7256 | 1266434.8283
22 | 2638716.9696 | 1266321.2082 | 2638720.1597 | 1266320.3395
23 | 2638716.9696 | 1266321.2082 | 2638703.985 | 1266291.9207
24 | 2638720.1597 | 1266320.3395 | 2638728.884 | 1266317.6223
25 | 2638703.985 | 1266291.9207 | 2638695.015 | 1266271.6884
26 | 2638728.884 | 1266317.6223 | 2638729.3555 | 1266317.4754
27 | 2638729.3555 | 1266317.4754 | 2638744.3605 | 1266312.9309
28 | 2638753.3959 | 1266310.1944 | 2638744.3605 | 1266312.9309
29 | 2638790.7609 | 1266460.4508 | 2638786.813 | 1266455.0058 | 2638773.7256 | 1266434.8283
30 | 2638612.8817 | 1266291.4178 | 2638614.6371 | 1266293.5308 | 2638632.1975 | 1266314.7717
31 | 2638639.5374 | 1266352.8247 | 2638649.4094 | 1266338.6345 | 2638632.1975 | 1266314.7717
32 | 2638632.1975 | 1266314.7717 | 2638636.0676 | 1266304.3117 | 2638657.2758 | 1266288.1274
33 | 2638612.8817 | 1266291.4178 | 2638603.2266 | 1266282.7709 | 2638598.6259 | 1266276.9822
34 | 2638612.8817 | 1266291.4178 | 2638625.4226 | 1266282.4043
35 | 2638639.5374 | 1266352.8247 | 2638626.4319 | 1266335.7381
36 | 2638639.5374 | 1266352.8247 | 2638649.4094 | 1266338.6345 | 2638654.4092 | 1266345.3831 | 2638661.3963 | 1266354.4686
37 | 2638639.5374 | 1266352.8247 | 2638642.2805 | 1266356.5553
38 | 2638680.2218 | 1266270.8763 | 2638678.0066 | 1266272.3072 | 2638657.2758 | 1266288.1274
39 | 2638691.4339 | 1266263.611 | 2638680.2218 | 1266270.8763
40 | 2638691.4339 | 1266263.611 | 2638695.015 | 1266271.6884
41 | 2638691.4339 | 1266263.611 | 2638686.1407 | 1266251.5304
42 | 2638661.3963 | 1266354.4686 | 2638664.6557 | 1266352.2216 | 2638667.0401 | 1266351.3811 | 2638670.6131 | 1266351.827 | 2638674.1645 | 1266354.4409 | 2638682.4136 | 1266364.9202
43 | 2638652.3943 | 1266370.3101 | 2638642.2805 | 1266356.5553
44 | 2638682.4136 | 1266364.9202 | 2638693.7931 | 1266379.376 | 2638694.5241 | 1266382.7165 | 2638693.6401 | 1266385.5127 | 2638693.6401 | 1266385.5127
45 | 2638753.3959 | 1266310.1944 | 2638754.5973 | 1266309.8306
46 | 2638754.8862 | 1266476.8123 | 2638764.8773 | 1266489.3389
47 | 2638754.8862 | 1266476.8123 | 2638738.4245 | 1266489.8742
48 | 2638748.7898 | 1266468.5553 | 2638754.8862 | 1266476.8123
49 | 2638581.1165 | 1266254.9512 | 2638598.6259 | 1266276.9822
50 | 2638620.3502 | 1266271.7636 | 2638625.4226 | 1266282.4043
51 | 2638686.1407 | 1266251.5304 | 2638678.5718 | 1266234.256
52 | 2638670.2193 | 1266215.1933 | 2638660.4013 | 1266193.8254
53 | 2638670.2193 | 1266215.1933 | 2638678.5718 | 1266234.256
54 | 2638654.3493 | 1266180.6537 | 2638660.4013 | 1266193.8254
55 | 2638561.2206 | 1266216.5941 | 2638571.4363 | 1266230.5151 | 2638577.144 | 1266238.4135 | 2638571.625 | 1266240.8237 | 2638577.4646 | 1266248.1336 | 2638581.1165 | 1266254.9512
56 | 2638561.2206 | 1266216.5941 | 2638569.6416 | 1266217.116
57 | 2638620.3502 | 1266271.7636 | 2638615.52 | 1266261.8522
58 | 2638620.3502 | 1266271.7636 | 2638628.0633 | 1266268.4425
59 | 2638688.1257 | 1266389.524 | 2638683.4027 | 1266383.1213
60 | 2638688.1257 | 1266389.524 | 2638692.1199 | 1266386.5813 | 2638693.6401 | 1266385.5127
61 | 2638688.1257 | 1266389.524 | 2638693.8967 | 1266396.8259
62 | 2638654.3493 | 1266180.6537 | 2638651.3276 | 1266173.4739
63 | 2638654.3493 | 1266180.6537 | 2638638.5681 | 1266185.1407
64 | 2638605.435 | 1266254.6985 | 2638615.0543 | 1266250.5025
65 | 2638605.435 | 1266254.6985 | 2638606.6999 | 1266256.9862 | 2638612.0819 | 1266254.7975 | 2638615.52 | 1266261.8522
66 | 2638734.1761 | 1266449.268 | 2638740.5421 | 1266445.0956 | 2638745.29 | 1266445.4603 | 2638749.2006 | 1266449.5333 | 2638751.7591 | 1266453.6051
67 | 2638748.7898 | 1266468.5553 | 2638753.4453 | 1266464.6386 | 2638755.6454 | 1266462.0622 | 2638754.7288 | 1266458.3313 | 2638751.7591 | 1266453.6051
68 | 2638734.1761 | 1266449.268 | 2638728.0722 | 1266440.9999
69 | 2638728.0722 | 1266440.9999 | 2638720.3784 | 1266430.6533
70 | 2638728.0722 | 1266440.9999 | 2638734.0436 | 1266437.3142 | 2638737.5571 | 1266435.3469 | 2638737.7282 | 1266432.2124 | 2638733.4418 | 1266426.1685
71 | 2638720.3784 | 1266430.6533 | 2638706.5365 | 1266441.7595
72 | 2638715.5274 | 1266424.1947 | 2638720.3784 | 1266430.6533
73 | 2638692.6857 | 1266453.1216 | 2638692.6857 | 1266453.1216 | 2638706.3853 | 1266441.8809 | 2638706.5365 | 1266441.7595
74 | 2638715.5274 | 1266424.1947 | 2638702.6543 | 1266407.9067
75 | 2638693.8967 | 1266396.8259 | 2638702.6543 | 1266407.9067
76 | 2638692.6857 | 1266453.1216 | 2638647.6976 | 1266469.228
77 | 2638702.0251 | 1266465.8493 | 2638692.6857 | 1266453.1216
78 | 2638637.6014 | 1266185.4155 | 2638638.5681 | 1266185.1407
79 | 2638625.9758 | 1266191.9543 | 2638632.5589 | 1266186.8492 | 2638637.6014 | 1266185.4155
80 | 2638641.63 | 1266150.4316 | 2638651.3276 | 1266173.4739
81 | 2638635.0888 | 1266136.1072 | 2638638.5216 | 1266143.0457 | 2638641.63 | 1266150.4316
82 | 2638635.0888 | 1266136.1072 | 2638657.5056 | 1266128.925
83 | 2638657.5056 | 1266128.925 | 2638661.2966 | 1266127.7103
84 | 2638680.2713 | 1266121.6309 | 2638661.2966 | 1266127.7103
85 | 2638680.687 | 1266121.4977 | 2638680.2713 | 1266121.6309
86 | 2638702.0251 | 1266465.8493 | 2638706.259 | 1266471.6194
87 | 2638647.6976 | 1266469.228 | 2638645.2064 | 1266462.2178 | 2638629.3294 | 1266426.7195
88 | 2638792.5288 | 1266251.5667 | 2638783.8205 | 1266229.8807
89 | 2638783.8205 | 1266229.8807 | 2638783.6548 | 1266229.468
90 | 2638783.6548 | 1266229.468 | 2638777.6825 | 1266214.5955
91 | 2638775.4681 | 1266209.3222 | 2638777.5216 | 1266214.1947 | 2638777.6825 | 1266214.5955
92 | 2638775.4681 | 1266209.3222 | 2638770.8428 | 1266197.1276 | 2638768.2063 | 1266189.6641
93 | 2638768.2063 | 1266189.6641 | 2638768.1382 | 1266189.4712
94 | 2638762.5793 | 1266173.7345 | 2638732.4777 | 1266183.4328
95 | 2638723.1068 | 1266186.4519 | 2638732.4777 | 1266183.4328
96 | 2638762.5793 | 1266173.7345 | 2638768.1382 | 1266189.4712
97 | 2638709.4664 | 1266097.7103 | 2638726.4664 | 1266091.8951 | 2638731.3486 | 1266105.1365
98 | 2638701.2746 | 1266115.058 | 2638731.3486 | 1266105.1365
99 | 2638692.3959 | 1266117.7463 | 2638701.2746 | 1266115.058
100 | 2638701.2746 | 1266115.058 | 2638709.451 | 1266135.1024
101 | 2638725.443 | 1266142.7447 | 2638714.3675 | 1266147.1555 | 2638709.451 | 1266135.1024
102 | 2638699.7927 | 1266152.842 | 2638705.146 | 1266150.4642 | 2638692.3959 | 1266117.7463
103 | 2638692.3959 | 1266117.7463 | 2638680.687 | 1266121.4977

## bus_geodata
| x | y | coords
0 | 2638818.0977 | 1266320.2599
1 | 2638870.2706 | 1266295.7617
2 | 2638813.6015 | 1266322.62
3 | 2638881.8493 | 1266314.8414
4 | 2638805.2879 | 1266344.0205
5 | 2638808.6623 | 1266291.7433
6 | 2638796.4629 | 1266295.7106
7 | 2638803.0681 | 1266277.8123
8 | 2638783.2525 | 1266300.3561
9 | 2638787.8336 | 1266356.8089
10 | 2638795.1714 | 1266258.1474
11 | 2638766.9439 | 1266306.0912
12 | 2638779.1449 | 1266331.7117
13 | 2638747.8823 | 1266378.4293
14 | 2638755.9055 | 1266392.4046
15 | 2638764.9646 | 1266408.1847
16 | 2638793.9391 | 1266387.7822
17 | 2638759.6105 | 1266411.8745
18 | 2638759.9654 | 1266412.5007
19 | 2638716.9696 | 1266321.2082
20 | 2638720.1597 | 1266320.3395
21 | 2638703.985 | 1266291.9207
22 | 2638728.884 | 1266317.6223
23 | 2638729.3555 | 1266317.4754
24 | 2638744.3605 | 1266312.9309
25 | 2638773.7256 | 1266434.8283
26 | 2638790.7609 | 1266460.4508
27 | 2638785.6996 | 1266327.4961
28 | 2638632.1975 | 1266314.7717
29 | 2638612.8817 | 1266291.4178
30 | 2638639.5374 | 1266352.8247
31 | 2638657.2758 | 1266288.1274
32 | 2638680.2218 | 1266270.8763
33 | 2638691.4339 | 1266263.611
34 | 2638626.4319 | 1266335.7381
35 | 2638661.3963 | 1266354.4686
36 | 2638642.2805 | 1266356.5553
37 | 2638682.4136 | 1266364.9202
38 | 2638695.015 | 1266271.6884
39 | 2638753.3959 | 1266310.1944
40 | 2638764.8773 | 1266489.3389
41 | 2638754.8862 | 1266476.8123
42 | 2638598.6259 | 1266276.9822
43 | 2638625.4226 | 1266282.4043
44 | 2638686.1407 | 1266251.5304
45 | 2638670.2193 | 1266215.1933
46 | 2638660.4013 | 1266193.8254
47 | 2638678.5718 | 1266234.256
48 | 2638581.1165 | 1266254.9512
49 | 2638561.2206 | 1266216.5941
50 | 2638569.6416 | 1266217.116
51 | 2638620.3502 | 1266271.7636
52 | 2638652.3943 | 1266370.3101
53 | 2638683.4027 | 1266383.1213
54 | 2638688.1257 | 1266389.524
55 | 2638693.6401 | 1266385.5127
56 | 2638628.0633 | 1266268.4425
57 | 2638654.3493 | 1266180.6537
58 | 2638605.435 | 1266254.6985
59 | 2638615.0543 | 1266250.5025
60 | 2638615.52 | 1266261.8522
61 | 2638751.7591 | 1266453.6051
62 | 2638734.1761 | 1266449.268
63 | 2638748.7898 | 1266468.5553
64 | 2638728.0722 | 1266440.9999
65 | 2638720.3784 | 1266430.6533
66 | 2638733.4418 | 1266426.1685
67 | 2638738.4245 | 1266489.8742
68 | 2638706.5365 | 1266441.7595
69 | 2638715.5274 | 1266424.1947
70 | 2638702.6543 | 1266407.9067
71 | 2638693.8967 | 1266396.8259
72 | 2638692.6857 | 1266453.1216
73 | 2638637.6014 | 1266185.4155
74 | 2638638.5681 | 1266185.1407
75 | 2638625.9758 | 1266191.9543
76 | 2638651.3276 | 1266173.4739
77 | 2638641.63 | 1266150.4316
78 | 2638635.0888 | 1266136.1072
79 | 2638754.5973 | 1266309.8306
80 | 2638657.5056 | 1266128.925
81 | 2638661.2966 | 1266127.7103
82 | 2638680.2713 | 1266121.6309
83 | 2638706.259 | 1266471.6194
84 | 2638702.0251 | 1266465.8493
85 | 2638647.6976 | 1266469.228
86 | 2638629.3294 | 1266426.7195
87 | 2638792.5288 | 1266251.5667
88 | 2638783.8205 | 1266229.8807
89 | 2638783.6548 | 1266229.468
90 | 2638777.6825 | 1266214.5955
91 | 2638775.4681 | 1266209.3222
92 | 2638768.2063 | 1266189.6641
93 | 2638732.4777 | 1266183.4328
94 | 2638762.5793 | 1266173.7346
95 | 2638723.1068 | 1266186.4519
96 | 2638768.1382 | 1266189.4712
97 | 2638731.3486 | 1266105.1365
98 | 2638709.4664 | 1266097.7103
99 | 2638701.2746 | 1266115.058
100 | 2638725.443 | 1266142.7447
101 | 2638709.451 | 1266135.1024
102 | 2638692.3959 | 1266117.7463
103 | 2638699.7927 | 1266152.842
104 | 2638680.687 | 1266121.4977
105 | 2638691.4339 | 1266263.611

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1