## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4260-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4260-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4260-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4260-4_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4260-4_0_4_node_92 | 0.4 | n |  | TRUE
5 | bus_LV_4260-4_0_4_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_4260-4_0_4_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_4260-4_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4260-4_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4260-4_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_4260-4_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_4260-4_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4260-4_0_4_node_70 | 0.4 | n |  | TRUE
13 | bus_LV_4260-4_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_4260-4_0_4_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_4260-4_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_4260-4_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_4260-4_0_4_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_4260-4_0_4_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_4260-4_0_4_node_54 | 0.4 | n |  | TRUE
20 | bus_LV_4260-4_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_4260-4_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4260-4_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4260-4_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_4260-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4260-4_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4260-4_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4260-4_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4260-4_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_4260-4_0_4_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_4260-4_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_4260-4_0_4_node_43 | 0.4 | n |  | TRUE
32 | bus_LV_4260-4_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4260-4_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4260-4_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4260-4_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4260-4_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4260-4_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4260-4_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_4260-4_0_4_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_4260-4_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_4260-4_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4260-4_0_4_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_4260-4_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_4260-4_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_4260-4_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4260-4_0_4_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_4260-4_0_4_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_4260-4_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4260-4_0_4_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_4260-4_0_4_node_75 | 0.4 | n |  | TRUE
51 | bus_LV_4260-4_0_4_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_4260-4_0_4_node_79 | 0.4 | n |  | TRUE
53 | bus_LV_4260-4_0_4_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4260-4_0_4_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_4260-4_0_4_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_4260-4_0_4_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_4260-4_0_4_node_97 | 0.4 | n |  | TRUE
58 | bus_LV_4260-4_0_4_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4260-4_0_4_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_4260-4_0_4_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_4260-4_0_4_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_4260-4_0_4_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_4260-4_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4260-4_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_4260-4_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4260-4_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_4260-4_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_4260-4_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4260-4_0_4_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_4260-4_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4260-4_0_4_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_4260-4_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_4260-4_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4260-4_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4260-4_0_4_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_4260-4_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4260-4_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4260-4_0_4_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4260-4_0_4_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_4260-4_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4260-4_0_4_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4260-4_0_4_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_4260-4_0_4_node_101 | 0.4 | n |  | TRUE
84 | bus_LV_4260-4_0_4_node_102 | 0.4 | n |  | TRUE
85 | bus_LV_4260-4_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4260-4_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4260-4_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4260-4_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4260-4_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_4260-4_0_4_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4260-4_0_4_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_4260-4_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_4260-4_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4260-4_0_4_node_89 | 0.4 | n |  | TRUE
95 | bus_LV_4260-4_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_4260-4_0_4_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_4260-4_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_MV_305_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4260-4_0_4_load_0 | 0 | 0.029931 | 0.0075014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4260-4_0_4_load_1 | 1 | 0.0033911 | 0.00084988 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4260-4_0_4_load_3 | 2 | 0.0054356 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4260-4_0_4_load_5 | 3 | 0.0027638 | 0.00069268 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4260-4_0_4_load_6 | 7 | 0.003969 | 0.00099473 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4260-4_0_4_load_7 | 8 | 0.0035159 | 0.00088117 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4260-4_0_4_load_9 | 10 | 0.0029004 | 0.00072692 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4260-4_0_4_load_70 | 12 | 0.0058292 | 0.0014609 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4260-4_0_4_load_52 | 14 | 0.027357 | 0.0068564 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4260-4_0_4_load_61 | 17 | 0.0035051 | 0.00087846 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4260-4_0_4_load_66 | 18 | 0.0058267 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4260-4_0_4_load_54 | 19 | 0.0011524 | 0.00028882 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4260-4_0_4_load_51 | 20 | 0.0011659 | 0.0002922 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4260-4_0_4_load_12 | 21 | 0.0105 | 0.0026315 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4260-4_0_4_load_16 | 25 | 0.0075934 | 0.0019031 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4260-4_0_4_load_17 | 26 | 0.0087745 | 0.0021991 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4260-4_0_4_load_33 | 28 | 0.0024737 | 0.00061996 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4260-4_0_4_load_42 | 29 | 0.0033715 | 0.00084497 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4260-4_0_4_load_34 | 30 | 0.0046523 | 0.001166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4260-4_0_4_load_43 | 31 | 0.0035963 | 0.00090132 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4260-4_0_4_load_19 | 32 | 0.0042428 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4260-4_0_4_load_20 | 33 | 0.0016759 | 0.00042001 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4260-4_0_4_load_27 | 39 | 0.020225 | 0.0050688 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4260-4_0_4_load_29 | 40 | 0.0037378 | 0.00093678 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4260-4_0_4_load_98 | 42 | 0.00205 | 0.00051378 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4260-4_0_4_load_26 | 43 | 0.0060824 | 0.0015244 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4260-4_0_4_load_78 | 44 | 0.0025452 | 0.00063788 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4260-4_0_4_load_73 | 45 | 0.015057 | 0.0037737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4260-4_0_4_load_28 | 46 | 0.038479 | 0.0096437 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4260-4_0_4_load_96 | 49 | 0.0088475 | 0.0022174 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4260-4_0_4_load_75 | 50 | 0.0024564 | 0.00061562 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4260-4_0_4_load_99 | 51 | 0.0013342 | 0.00033438 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4260-4_0_4_load_59 | 53 | 0.01369 | 0.003431 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4260-4_0_4_load_72 | 54 | 0.00079166 | 0.00019841 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4260-4_0_4_load_65 | 55 | 0.027266 | 0.0068336 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4260-4_0_4_load_100 | 56 | 0.0022636 | 0.00056731 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4260-4_0_4_load_36 | 59 | 0.0010265 | 0.00025726 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4260-4_0_4_load_38 | 60 | 0.0021005 | 0.00052644 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4260-4_0_4_load_40 | 62 | 0.0011846 | 0.00029689 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4260-4_0_4_load_41 | 63 | 0.0022307 | 0.00055905 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4260-4_0_4_load_48 | 64 | 0.0019416 | 0.0004866 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4260-4_0_4_load_47 | 65 | 0.0015813 | 0.00039631 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4260-4_0_4_load_57 | 67 | 0.018823 | 0.0047176 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4260-4_0_4_load_44 | 68 | 0.0015377 | 0.00038539 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4260-4_0_4_load_45 | 69 | 0.0016189 | 0.00040573 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4260-4_0_4_load_46 | 70 | 0.0015325 | 0.00038407 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4260-4_0_4_load_71 | 71 | 0.0058303 | 0.0014612 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4260-4_0_4_load_60 | 72 | 0.091971 | 0.02305 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4260-4_0_4_load_58 | 74 | 0.032648 | 0.0081825 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4260-4_0_4_load_62 | 78 | 0.0078516 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4260-4_0_4_load_74 | 80 | 0.00079184 | 0.00019845 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4260-4_0_4_load_82 | 81 | 0.0015379 | 0.00038544 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4260-4_0_4_load_83 | 82 | 0.0010339 | 0.00025911 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4260-4_0_4_load_101 | 83 | 0.0016068 | 0.0004027 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4260-4_0_4_load_102 | 84 | 0.0014501 | 0.00036344 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4260-4_0_4_load_80 | 85 | 0.0014143 | 0.00035445 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4260-4_0_4_load_81 | 86 | 0.0033299 | 0.00083456 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4260-4_0_4_load_86 | 87 | 0.0035698 | 0.00089468 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4260-4_0_4_load_87 | 88 | 0.00092914 | 0.00023286 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4260-4_0_4_load_84 | 89 | 0.0010383 | 0.00026022 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4260-4_0_4_load_85 | 90 | 0.0010378 | 0.00026009 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4260-4_0_4_load_90 | 91 | 0.0046609 | 0.0011681 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4260-4_0_4_load_93 | 92 | 0.0009682 | 0.00024265 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4260-4_0_4_load_88 | 93 | 0.0017534 | 0.00043944 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4260-4_0_4_load_89 | 94 | 0.00096782 | 0.00024256 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4260-4_0_4_load_91 | 95 | 0.0010375 | 0.00026003 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4260-4_0_4_load_95 | 96 | 0.00096757 | 0.0002425 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4260-4_0_4_load_94 | 97 | 0.00096729 | 0.00024243 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4260-4_0_4_line_0 |  | 0 | 1 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4260-4_0_4_line_1 |  | 1 | 2 | 0.034791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4260-4_0_4_line_2 |  | 2 | 3 | 0.035321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4260-4_0_4_line_3 |  | 3 | 4 | 0.022851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4260-4_0_4_line_4 |  | 4 | 5 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4260-4_0_4_line_5 |  | 4 | 6 | 0.028063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4260-4_0_4_line_6 |  | 5 | 56 | 0.011539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4260-4_0_4_line_7 |  | 6 | 57 | 0.090072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4260-4_0_4_line_8 |  | 6 | 50 | 0.021834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4260-4_0_4_line_9 |  | 6 | 49 | 0.023768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4260-4_0_4_line_10 |  | 7 | 8 | 0.03377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4260-4_0_4_line_11 |  | 7 | 9 | 0.027865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4260-4_0_4_line_12 |  | 8 | 10 | 0.0090789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4260-4_0_4_line_13 |  | 9 | 11 | 0.064788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4260-4_0_4_line_14 |  | 11 | 12 | 0.034016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4260-4_0_4_line_15 |  | 12 | 18 | 1.2314e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4260-4_0_4_line_16 |  | 13 | 14 | 0.032909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4260-4_0_4_line_17 |  | 13 | 15 | 0.037878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_4260-4_0_4_line_18 |  | 13 | 16 | 0.011798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4260-4_0_4_line_19 |  | 15 | 17 | 0.022651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4260-4_0_4_line_20 |  | 16 | 20 | 0.013806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4260-4_0_4_line_21 |  | 16 | 63 | 0.0061152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4260-4_0_4_line_22 |  | 17 | 71 | 0.0059691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4260-4_0_4_line_23 |  | 18 | 79 | 0.034489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4260-4_0_4_line_24 |  | 19 | 20 | 0.011696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4260-4_0_4_line_25 |  | 21 | 22 | 0.01659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4260-4_0_4_line_26 |  | 21 | 23 | 0.019675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4260-4_0_4_line_27 |  | 22 | 24 | 0.009346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_4260-4_0_4_line_28 |  | 23 | 25 | 0.0025189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4260-4_0_4_line_29 |  | 24 | 26 | 0.005985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4260-4_0_4_line_30 |  | 25 | 27 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4260-4_0_4_line_31 |  | 26 | 28 | 0.016858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4260-4_0_4_line_32 |  | 27 | 29 | 0.036942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4260-4_0_4_line_33 |  | 28 | 30 | 0.02159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4260-4_0_4_line_34 |  | 29 | 31 | 0.022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4260-4_0_4_line_35 |  | 30 | 58 | 0.025024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4260-4_0_4_line_36 |  | 31 | 66 | 0.034174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4260-4_0_4_line_37 |  | 32 | 33 | 0.0061677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4260-4_0_4_line_38 |  | 33 | 34 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4260-4_0_4_line_39 |  | 34 | 38 | 0.017324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4260-4_0_4_line_40 |  | 35 | 36 | 0.028105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4260-4_0_4_line_41 |  | 35 | 37 | 0.007557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4260-4_0_4_line_42 |  | 36 | 39 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4260-4_0_4_line_43 |  | 37 | 40 | 0.030221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4260-4_0_4_line_44 |  | 38 | 41 | 0.016351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4260-4_0_4_line_45 |  | 38 | 42 | 0.0038293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4260-4_0_4_line_46 |  | 39 | 45 | 0.019298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4260-4_0_4_line_47 |  | 40 | 48 | 0.011484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4260-4_0_4_line_48 |  | 41 | 49 | 0.0048768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4260-4_0_4_line_49 |  | 42 | 51 | 0.0066357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4260-4_0_4_line_50 |  | 43 | 44 | 0.0081982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4260-4_0_4_line_51 |  | 44 | 52 | 0.028834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4260-4_0_4_line_52 |  | 45 | 53 | 0.013304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4260-4_0_4_line_53 |  | 46 | 47 | 0.013877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4260-4_0_4_line_54 |  | 47 | 54 | 0.013674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4260-4_0_4_line_55 |  | 47 | 55 | 0.0021725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4260-4_0_4_line_56 |  | 48 | 50 | 0.0056294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4260-4_0_4_line_57 |  | 52 | 85 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4260-4_0_4_line_58 |  | 53 | 73 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4260-4_0_4_line_59 |  | 54 | 80 | 0.00026801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4260-4_0_4_line_60 |  | 55 | 79 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4260-4_0_4_line_61 |  | 56 | 83 | 0.0059411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4260-4_0_4_line_62 |  | 57 | 84 | 0.008184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4260-4_0_4_line_63 |  | 58 | 59 | 0.013452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4260-4_0_4_line_64 |  | 59 | 60 | 0.039867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4260-4_0_4_line_65 |  | 60 | 61 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4260-4_0_4_line_66 |  | 61 | 62 | 0.03445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4260-4_0_4_line_67 |  | 61 | 63 | 0.011079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4260-4_0_4_line_68 |  | 62 | 64 | 0.002381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4260-4_0_4_line_69 |  | 64 | 65 | 0.015589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4260-4_0_4_line_70 |  | 65 | 70 | 0.0053258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4260-4_0_4_line_71 |  | 66 | 67 | 0.025052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4260-4_0_4_line_72 |  | 67 | 72 | 0.02404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4260-4_0_4_line_73 |  | 68 | 69 | 0.003786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4260-4_0_4_line_74 |  | 69 | 70 | 0.014568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4260-4_0_4_line_75 |  | 71 | 77 | 0.040434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4260-4_0_4_line_76 |  | 73 | 74 | 0.032684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4260-4_0_4_line_77 |  | 74 | 75 | 0.031503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4260-4_0_4_line_78 |  | 75 | 76 | 0.008796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_4260-4_0_4_line_79 |  | 75 | 77 | 0.008866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4260-4_0_4_line_80 |  | 76 | 78 | 0.032926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4260-4_0_4_line_81 |  | 78 | 79 | 0.019791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4260-4_0_4_line_82 |  | 80 | 81 | 0.0015292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4260-4_0_4_line_83 |  | 81 | 82 | 0.019784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4260-4_0_4_line_84 |  | 82 | 89 | 0.00048615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4260-4_0_4_line_85 |  | 85 | 86 | 0.0048365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4260-4_0_4_line_86 |  | 86 | 87 | 0.0012724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4260-4_0_4_line_87 |  | 87 | 88 | 0.012263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4260-4_0_4_line_88 |  | 88 | 93 | 0.01349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4260-4_0_4_line_89 |  | 89 | 90 | 0.0075429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4260-4_0_4_line_90 |  | 90 | 91 | 0.0031241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4260-4_0_4_line_91 |  | 91 | 92 | 0.003541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4260-4_0_4_line_92 |  | 92 | 97 | 0.00040689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4260-4_0_4_line_93 |  | 93 | 94 | 0.003083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4260-4_0_4_line_94 |  | 94 | 95 | 0.00035156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4260-4_0_4_line_95 |  | 95 | 96 | 5.9367e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4260-4_0_4_line_96 |  | 96 | 97 | 0.00041252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4260-4_0_4_trafo_62 | 0.63 MVA 20/0.4 kV | 98 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2638380.9475 | 1265862.0428 | 2638362.6939 | 1265867.9557
1 | 2638329.5956 | 1265878.6773 | 2638362.6939 | 1265867.9557
2 | 2638329.5956 | 1265878.6773 | 2638324.4691 | 1265880.3379 | 2638319.9967 | 1265883.8671 | 2638318.788 | 1265885.6605 | 2638318.0952 | 1265888.0021 | 2638318.3716 | 1265903.4483 | 2638317.5921 | 1265907.5573
3 | 2638300.041 | 1265921.7093 | 2638316.0525 | 1265910.4494 | 2638317.5921 | 1265907.5573
4 | 2638300.041 | 1265921.7093 | 2638293.2525 | 1265918.9968 | 2638290.0197 | 1265913.6276
5 | 2638300.041 | 1265921.7093 | 2638316.9182 | 1265944.168
6 | 2638290.0197 | 1265913.6276 | 2638295.2032 | 1265914.2282 | 2638301.1513 | 1265912.0887
7 | 2638316.9182 | 1265944.168 | 2638307.1026 | 1265963.6183 | 2638313.8923 | 1265967.2982 | 2638319.9263 | 1265971.418 | 2638329.1331 | 1265981.9963 | 2638341.6724 | 1265996.499 | 2638352.3107 | 1266011.5565 | 2638353.5916 | 1266012.5544
8 | 2638316.9182 | 1265944.168 | 2638319.5892 | 1265945.5863 | 2638322.347 | 1265948.7286 | 2638326.9555 | 1265953.2394 | 2638331.8877 | 1265956.596 | 2638333.5423 | 1265958.0673
9 | 2638316.9182 | 1265944.168 | 2638318.922 | 1265939.3442 | 2638319.7916 | 1265937.593 | 2638322.3787 | 1265935.6973 | 2638324.1027 | 1265934.5521 | 2638334.1349 | 1265929.3244
10 | 2638625.0341 | 1265985.7349 | 2638638.6097 | 1266016.6559
11 | 2638613.8323 | 1265960.2205 | 2638625.0341 | 1265985.7349
12 | 2638647.6791 | 1266017.071 | 2638638.6097 | 1266016.6559 | 2638638.6097 | 1266016.6559
13 | 2638613.8323 | 1265960.2205 | 2638567.7052 | 1265971.4833 | 2638550.765 | 1265975.0199
14 | 2638550.765 | 1265975.0199 | 2638517.9383 | 1265983.9364
15 | 2638517.9264 | 1265983.9397 | 2638517.9383 | 1265983.9364
16 | 2638586.5321 | 1266054.9546 | 2638599.7365 | 1266085.098
17 | 2638586.5321 | 1266054.9546 | 2638577.3677 | 1266058.7197 | 2638551.4903 | 1266069.3365
18 | 2638597.552 | 1266050.6567 | 2638586.5321 | 1266054.9546
19 | 2638551.4903 | 1266069.3365 | 2638544.0462 | 1266052.8873 | 2638541.7008 | 1266048.9346
20 | 2638597.552 | 1266050.6567 | 2638592.5984 | 1266037.77
21 | 2638597.552 | 1266050.6567 | 2638599.8042 | 1266056.3421
22 | 2638538.6547 | 1266043.8013 | 2638541.7008 | 1266048.9346
23 | 2638484.6434 | 1265992.9801 | 2638517.9264 | 1265983.9397
24 | 2638588.4019 | 1266026.853 | 2638592.5984 | 1266037.77
25 | 2638572.4601 | 1266164.7413 | 2638557.328 | 1266171.5422
26 | 2638543.326 | 1266165.6966 | 2638549.6345 | 1266174.9999 | 2638557.328 | 1266171.5422
27 | 2638568.6084 | 1266156.2213 | 2638572.4601 | 1266164.7413
28 | 2638543.326 | 1266165.6966 | 2638540.9581 | 1266166.5555
29 | 2638568.6084 | 1266156.2213 | 2638574.3369 | 1266154.4881
30 | 2638525.6665 | 1266174.5658 | 2638536.9116 | 1266168.0232 | 2638540.9581 | 1266166.5555
31 | 2638590.4726 | 1266149.6061 | 2638574.3369 | 1266154.4881
32 | 2638525.6665 | 1266174.5658 | 2638502.3913 | 1266145.8787
33 | 2638590.4726 | 1266149.6061 | 2638611.1374 | 1266143.3538
34 | 2638487.4752 | 1266128.4046 | 2638501.6326 | 1266144.9437 | 2638502.3913 | 1266145.8787
35 | 2638635.0888 | 1266136.1072 | 2638611.1374 | 1266143.3538
36 | 2638465.2526 | 1266102.4434 | 2638487.4752 | 1266128.4046
37 | 2638370.7 | 1265931.7619 | 2638369.7192 | 1265925.6727
38 | 2638366.1596 | 1265914.6882 | 2638369.5653 | 1265924.7174 | 2638369.7192 | 1265925.6727
39 | 2638366.1596 | 1265914.6882 | 2638349.2466 | 1265918.6592
40 | 2638370.2776 | 1265997.1182 | 2638389.8338 | 1266017.3595
41 | 2638370.2776 | 1265997.1182 | 2638364.8156 | 1265991.879
42 | 2638389.8338 | 1266017.3595 | 2638400.6978 | 1266028.9383 | 2638404.735 | 1266033.4002
43 | 2638364.8156 | 1265991.879 | 2638358.3139 | 1265983.2641 | 2638346.3763 | 1265972.3567 | 2638343.8778 | 1265970.2669
44 | 2638333.9105 | 1265924.4528 | 2638349.2466 | 1265918.6592
45 | 2638349.2466 | 1265918.6592 | 2638345.4415 | 1265919.0887
46 | 2638404.735 | 1266033.4002 | 2638417.6823 | 1266047.7098
47 | 2638335.0691 | 1265962.8989 | 2638343.8778 | 1265970.2669
48 | 2638333.9105 | 1265924.4528 | 2638334.1349 | 1265929.3244
49 | 2638345.4415 | 1265919.0887 | 2638338.8477 | 1265919.8331
50 | 2638409.3559 | 1265906.8183 | 2638401.2801 | 1265908.2296
51 | 2638437.7595 | 1265901.8547 | 2638409.3559 | 1265906.8183
52 | 2638426.6085 | 1266057.5751 | 2638417.6823 | 1266047.7098
53 | 2638458.7892 | 1266000.0059 | 2638445.2 | 1266002.8182
54 | 2638458.7892 | 1266000.0059 | 2638455.6839 | 1265986.6889
55 | 2638458.7892 | 1266000.0059 | 2638460.8856 | 1265999.4362
56 | 2638335.0691 | 1265962.8989 | 2638335.3011 | 1265959.6314 | 2638333.5423 | 1265958.0673
57 | 2638437.7595 | 1265901.8547 | 2638440.3303 | 1265915.9022
58 | 2638438.6783 | 1266070.9148 | 2638426.6085 | 1266057.5751
59 | 2638455.6839 | 1265986.6889 | 2638455.623 | 1265986.4279
60 | 2638484.6434 | 1265992.9801 | 2638460.8856 | 1265999.4362
61 | 2638306.7417 | 1265910.0777 | 2638301.1513 | 1265912.0887
62 | 2638353.5916 | 1266012.5544 | 2638352.8628 | 1266013.4837 | 2638349.3035 | 1266017.8526 | 2638350.3822 | 1266018.6935
63 | 2638635.0888 | 1266136.1072 | 2638629.5768 | 1266123.8368
64 | 2638613.2407 | 1266087.4707 | 2638629.5768 | 1266123.8368
65 | 2638603.8847 | 1266066.6428 | 2638613.2407 | 1266087.4707
66 | 2638603.8847 | 1266066.6428 | 2638636.9901 | 1266057.1102
67 | 2638603.8847 | 1266066.6428 | 2638599.8042 | 1266056.3421
68 | 2638639.2781 | 1266056.4514 | 2638636.9901 | 1266057.1102
69 | 2638639.2781 | 1266056.4514 | 2638654.2586 | 1266052.1378
70 | 2638659.3764 | 1266050.6642 | 2638654.2586 | 1266052.1378
71 | 2638465.2526 | 1266102.4434 | 2638488.6642 | 1266093.5286
72 | 2638488.6642 | 1266093.5286 | 2638511.1309 | 1266084.9737
73 | 2638673.3754 | 1266046.6332 | 2638677.0136 | 1266045.5856
74 | 2638659.3764 | 1266050.6642 | 2638673.3754 | 1266046.6332
75 | 2638503.4212 | 1266051.7776 | 2638511.8775 | 1266055.0016 | 2638522.1777 | 1266046.7628 | 2638531.6062 | 1266048.6811 | 2638538.6547 | 1266043.8013
76 | 2638438.6783 | 1266070.9148 | 2638449.2876 | 1266061.4325 | 2638467.1041 | 1266056.6217
77 | 2638494.5313 | 1266051.5641 | 2638486.4635 | 1266058.0496 | 2638479.1234 | 1266053.3763 | 2638467.1041 | 1266056.6217
78 | 2638498.6699 | 1266043.7966 | 2638494.5313 | 1266051.5641
79 | 2638503.4212 | 1266051.7776 | 2638494.5313 | 1266051.5641
80 | 2638498.6699 | 1266043.7966 | 2638489.9093 | 1266012.0579
81 | 2638484.6434 | 1265992.9801 | 2638489.9093 | 1266012.0579
82 | 2638455.2757 | 1265984.9387 | 2638455.623 | 1265986.4279
83 | 2638455.2757 | 1265984.9387 | 2638450.7829 | 1265965.6716
84 | 2638450.7829 | 1265965.6716 | 2638450.6725 | 1265965.1981
85 | 2638441.201 | 1265920.6597 | 2638440.3303 | 1265915.9022
86 | 2638441.4301 | 1265921.9114 | 2638441.201 | 1265920.6597
87 | 2638441.4301 | 1265921.9114 | 2638443.6377 | 1265933.974
88 | 2638443.6377 | 1265933.974 | 2638444.5357 | 1265938.8808 | 2638446.4664 | 1265947.1607
89 | 2638450.6725 | 1265965.1981 | 2638448.9596 | 1265957.8523
90 | 2638448.9596 | 1265957.8523 | 2638448.2501 | 1265954.8098
91 | 2638447.446 | 1265951.3613 | 2638448.2501 | 1265954.8098
92 | 2638447.446 | 1265951.3613 | 2638447.3536 | 1265950.9651
93 | 2638447.1666 | 1265950.1631 | 2638446.4664 | 1265947.1607
94 | 2638447.2464 | 1265950.5055 | 2638447.1666 | 1265950.1631
95 | 2638447.2599 | 1265950.5633 | 2638447.2464 | 1265950.5055
96 | 2638447.3536 | 1265950.9651 | 2638447.2599 | 1265950.5633

## bus_geodata
| x | y | coords
0 | 2638380.9475 | 1265862.0428
1 | 2638362.6939 | 1265867.9557
2 | 2638329.5956 | 1265878.6773
3 | 2638317.5921 | 1265907.5573
4 | 2638300.041 | 1265921.7093
5 | 2638290.0197 | 1265913.6276
6 | 2638316.9182 | 1265944.168
7 | 2638625.0341 | 1265985.7349
8 | 2638638.6097 | 1266016.6559
9 | 2638613.8323 | 1265960.2205
10 | 2638647.6791 | 1266017.071
11 | 2638550.765 | 1265975.0199
12 | 2638517.9383 | 1265983.9364
13 | 2638586.5321 | 1266054.9546
14 | 2638599.7365 | 1266085.098
15 | 2638551.4903 | 1266069.3365
16 | 2638597.552 | 1266050.6567
17 | 2638541.7008 | 1266048.9346
18 | 2638517.9264 | 1265983.9397
19 | 2638588.4019 | 1266026.853
20 | 2638592.5984 | 1266037.77
21 | 2638557.328 | 1266171.5422
22 | 2638572.4601 | 1266164.7413
23 | 2638543.326 | 1266165.6966
24 | 2638568.6084 | 1266156.2213
25 | 2638540.9581 | 1266166.5555
26 | 2638574.3369 | 1266154.4881
27 | 2638525.6665 | 1266174.5658
28 | 2638590.4726 | 1266149.6061
29 | 2638502.3913 | 1266145.8787
30 | 2638611.1374 | 1266143.3538
31 | 2638487.4752 | 1266128.4046
32 | 2638370.7 | 1265931.7619
33 | 2638369.7192 | 1265925.6727
34 | 2638366.1596 | 1265914.6882
35 | 2638370.2776 | 1265997.1182
36 | 2638389.8338 | 1266017.3595
37 | 2638364.8156 | 1265991.879
38 | 2638349.2466 | 1265918.6592
39 | 2638404.735 | 1266033.4002
40 | 2638343.8778 | 1265970.2669
41 | 2638333.9105 | 1265924.4528
42 | 2638345.4415 | 1265919.0887
43 | 2638401.2801 | 1265908.2296
44 | 2638409.3559 | 1265906.8183
45 | 2638417.6823 | 1266047.7098
46 | 2638445.2 | 1266002.8182
47 | 2638458.7892 | 1266000.0059
48 | 2638335.0691 | 1265962.8989
49 | 2638334.1349 | 1265929.3244
50 | 2638333.5423 | 1265958.0673
51 | 2638338.8477 | 1265919.8331
52 | 2638437.7595 | 1265901.8547
53 | 2638426.6085 | 1266057.5751
54 | 2638455.6839 | 1265986.6889
55 | 2638460.8856 | 1265999.4362
56 | 2638301.1513 | 1265912.0887
57 | 2638353.5916 | 1266012.5544
58 | 2638635.0888 | 1266136.1072
59 | 2638629.5768 | 1266123.8368
60 | 2638613.2407 | 1266087.4707
61 | 2638603.8847 | 1266066.6428
62 | 2638636.9901 | 1266057.1102
63 | 2638599.8042 | 1266056.3421
64 | 2638639.2781 | 1266056.4514
65 | 2638654.2586 | 1266052.1378
66 | 2638465.2526 | 1266102.4434
67 | 2638488.6642 | 1266093.5286
68 | 2638677.0136 | 1266045.5856
69 | 2638673.3754 | 1266046.6332
70 | 2638659.3764 | 1266050.6642
71 | 2638538.6547 | 1266043.8013
72 | 2638511.1309 | 1266084.9737
73 | 2638438.6783 | 1266070.9148
74 | 2638467.1041 | 1266056.6217
75 | 2638494.5313 | 1266051.5641
76 | 2638498.6699 | 1266043.7966
77 | 2638503.4212 | 1266051.7776
78 | 2638489.9093 | 1266012.0579
79 | 2638484.6434 | 1265992.9801
80 | 2638455.623 | 1265986.4279
81 | 2638455.2757 | 1265984.9387
82 | 2638450.7829 | 1265965.6716
83 | 2638306.7417 | 1265910.0777
84 | 2638350.3822 | 1266018.6935
85 | 2638440.3303 | 1265915.9022
86 | 2638441.201 | 1265920.6597
87 | 2638441.4301 | 1265921.9114
88 | 2638443.6377 | 1265933.974
89 | 2638450.6725 | 1265965.1981
90 | 2638448.9596 | 1265957.8523
91 | 2638448.2501 | 1265954.8098
92 | 2638447.446 | 1265951.3613
93 | 2638446.4664 | 1265947.1607
94 | 2638447.1666 | 1265950.1631
95 | 2638447.2464 | 1265950.5055
96 | 2638447.2599 | 1265950.5633
97 | 2638447.3536 | 1265950.9651
98 | 2638484.6434 | 1265992.9801

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1