## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4260-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4260-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4260-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4260-8_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4260-8_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4260-8_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4260-8_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_4260-8_0_5_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_4260-8_0_5_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_4260-8_0_5_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_4260-8_0_5_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_4260-8_0_5_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_4260-8_0_5_node_93 | 0.4 | n |  | TRUE
13 | bus_LV_4260-8_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_4260-8_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_4260-8_0_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4260-8_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4260-8_0_5_node_66 | 0.4 | n |  | TRUE
18 | bus_LV_4260-8_0_5_node_103 | 0.4 | n |  | TRUE
19 | bus_LV_4260-8_0_5_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_4260-8_0_5_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_4260-8_0_5_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_4260-8_0_5_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_4260-8_0_5_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_4260-8_0_5_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4260-8_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4260-8_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4260-8_0_5_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_4260-8_0_5_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_4260-8_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_4260-8_0_5_node_41 | 0.4 | n |  | TRUE
31 | bus_LV_4260-8_0_5_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_4260-8_0_5_node_95 | 0.4 | n |  | TRUE
33 | bus_LV_4260-8_0_5_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_4260-8_0_5_node_40 | 0.4 | n |  | TRUE
35 | bus_LV_4260-8_0_5_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_4260-8_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_4260-8_0_5_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_4260-8_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_4260-8_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4260-8_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4260-8_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4260-8_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_4260-8_0_5_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_4260-8_0_5_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4260-8_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_4260-8_0_5_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_4260-8_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4260-8_0_5_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4260-8_0_5_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_4260-8_0_5_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_4260-8_0_5_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4260-8_0_5_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_4260-8_0_5_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4260-8_0_5_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_4260-8_0_5_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_4260-8_0_5_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_4260-8_0_5_node_36 | 0.4 | n |  | TRUE
58 | bus_LV_4260-8_0_5_node_94 | 0.4 | n |  | TRUE
59 | bus_LV_4260-8_0_5_node_88 | 0.4 | n |  | TRUE
60 | bus_LV_4260-8_0_5_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_4260-8_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_4260-8_0_5_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_4260-8_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4260-8_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4260-8_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4260-8_0_5_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_4260-8_0_5_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_4260-8_0_5_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4260-8_0_5_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_4260-8_0_5_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_4260-8_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_4260-8_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_4260-8_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_4260-8_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_4260-8_0_5_node_59 | 0.4 | n |  | TRUE
76 | bus_LV_4260-8_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_4260-8_0_5_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_4260-8_0_5_node_49 | 0.4 | n |  | TRUE
79 | bus_LV_4260-8_0_5_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_4260-8_0_5_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_4260-8_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4260-8_0_5_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_4260-8_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_4260-8_0_5_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_4260-8_0_5_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_4260-8_0_5_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_4260-8_0_5_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_4260-8_0_5_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_4260-8_0_5_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_4260-8_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4260-8_0_5_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4260-8_0_5_node_85 | 0.4 | n |  | TRUE
93 | bus_LV_4260-8_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4260-8_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_4260-8_0_5_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_4260-8_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_4260-8_0_5_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_4260-8_0_5_node_104 | 0.4 | n |  | TRUE
99 | bus_MV_305_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4260-8_0_5_load_0 | 0 | 0.0036441 | 0.00091331 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4260-8_0_5_load_91 | 7 | 0.0059795 | 0.0014986 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4260-8_0_5_load_101 | 9 | 0.004632 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4260-8_0_5_load_102 | 10 | 0.0046315 | 0.0011608 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4260-8_0_5_load_93 | 12 | 0.0026663 | 0.00066823 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4260-8_0_5_load_13 | 13 | 0.0053578 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4260-8_0_5_load_24 | 15 | 0.0039551 | 0.00099123 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4260-8_0_5_load_66 | 17 | 0.0020795 | 0.00052117 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4260-8_0_5_load_103 | 18 | 0.0046335 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4260-8_0_5_load_80 | 20 | 0.0098221 | 0.0024616 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4260-8_0_5_load_92 | 21 | 0.010232 | 0.0025644 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4260-8_0_5_load_8 | 22 | 0.0046878 | 0.0011749 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4260-8_0_5_load_9 | 23 | 0.0053929 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4260-8_0_5_load_16 | 25 | 0.0077863 | 0.0019514 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4260-8_0_5_load_26 | 28 | 0.015265 | 0.0038259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4260-8_0_5_load_41 | 30 | 0.0013793 | 0.00034568 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4260-8_0_5_load_95 | 32 | 0.019467 | 0.0048789 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4260-8_0_5_load_40 | 34 | 0.001233 | 0.00030902 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4260-8_0_5_load_50 | 35 | 0.0078358 | 0.0019638 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4260-8_0_5_load_18 | 36 | 0.0034018 | 0.00085258 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4260-8_0_5_load_19 | 37 | 0.0032049 | 0.00080322 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4260-8_0_5_load_22 | 39 | 0.0032884 | 0.00082415 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4260-8_0_5_load_23 | 40 | 0.0069345 | 0.0017379 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4260-8_0_5_load_25 | 41 | 0.0065619 | 0.0016446 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4260-8_0_5_load_31 | 42 | 0.0029205 | 0.00073195 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4260-8_0_5_load_62 | 43 | 0.0069345 | 0.0017379 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4260-8_0_5_load_65 | 44 | 0.0065598 | 0.0016441 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4260-8_0_5_load_32 | 45 | 0.0033902 | 0.00084966 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4260-8_0_5_load_29 | 48 | 0.01203 | 0.0030151 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4260-8_0_5_load_30 | 49 | 0.001233 | 0.00030901 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4260-8_0_5_load_39 | 50 | 0.0049352 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4260-8_0_5_load_38 | 52 | 0.0055082 | 0.0013805 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4260-8_0_5_load_35 | 53 | 0.0045051 | 0.0011291 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4260-8_0_5_load_61 | 56 | 0.0047277 | 0.0011849 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4260-8_0_5_load_36 | 57 | 0.00232 | 0.00058146 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4260-8_0_5_load_94 | 58 | 0.0060265 | 0.0015104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4260-8_0_5_load_37 | 60 | 0.0020684 | 0.00051839 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4260-8_0_5_load_48 | 61 | 0.0020692 | 0.00051858 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4260-8_0_5_load_42 | 63 | 0.0057664 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4260-8_0_5_load_43 | 64 | 0.014055 | 0.0035226 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4260-8_0_5_load_46 | 66 | 0.012389 | 0.0031051 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4260-8_0_5_load_45 | 68 | 0.0045794 | 0.0011477 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4260-8_0_5_load_77 | 69 | 0.013767 | 0.0034503 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4260-8_0_5_load_56 | 72 | 0.0023201 | 0.00058147 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4260-8_0_5_load_54 | 73 | 0.014744 | 0.0036951 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4260-8_0_5_load_57 | 76 | 0.0017394 | 0.00043593 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4260-8_0_5_load_78 | 77 | 0.0047072 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4260-8_0_5_load_49 | 78 | 0.0078859 | 0.0019764 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4260-8_0_5_load_74 | 80 | 0.010285 | 0.0025776 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4260-8_0_5_load_76 | 81 | 0.0083618 | 0.0020957 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4260-8_0_5_load_75 | 83 | 0.010283 | 0.0025772 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4260-8_0_5_load_67 | 84 | 0.0091798 | 0.0023007 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4260-8_0_5_load_68 | 85 | 0.010705 | 0.0026829 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4260-8_0_5_load_70 | 86 | 0.010707 | 0.0026834 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4260-8_0_5_load_72 | 87 | 0.009753 | 0.0024443 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4260-8_0_5_load_73 | 88 | 0.0083605 | 0.0020953 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4260-8_0_5_load_79 | 89 | 0.0098244 | 0.0024622 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4260-8_0_5_load_86 | 91 | 0.0070438 | 0.0017653 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4260-8_0_5_load_85 | 92 | 0.0070457 | 0.0017658 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4260-8_0_5_load_89 | 93 | 0.0063369 | 0.0015882 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4260-8_0_5_load_97 | 95 | 0.0046323 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4260-8_0_5_load_105 | 97 | 0.0046324 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4260-8_0_5_load_104 | 98 | 0.0046334 | 0.0011612 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4260-8_0_5_line_0 |  | 0 | 1 | 0.03029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4260-8_0_5_line_1 |  | 0 | 2 | 0.024202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4260-8_0_5_line_2 |  | 1 | 3 | 0.036259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4260-8_0_5_line_3 |  | 2 | 4 | 0.018131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4260-8_0_5_line_4 |  | 2 | 5 | 0.046058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4260-8_0_5_line_5 |  | 3 | 6 | 0.018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4260-8_0_5_line_6 |  | 3 | 7 | 0.031365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4260-8_0_5_line_7 |  | 4 | 11 | 0.035931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4260-8_0_5_line_8 |  | 4 | 12 | 0.023655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4260-8_0_5_line_9 |  | 5 | 8 | 0.034183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4260-8_0_5_line_10 |  | 5 | 9 | 0.029732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4260-8_0_5_line_11 |  | 5 | 10 | 0.017791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4260-8_0_5_line_12 |  | 6 | 15 | 0.015855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_4260-8_0_5_line_13 |  | 6 | 16 | 0.035693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_4260-8_0_5_line_14 |  | 7 | 17 | 0.020272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4260-8_0_5_line_15 |  | 8 | 18 | 0.020964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4260-8_0_5_line_16 |  | 8 | 19 | 0.090063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4260-8_0_5_line_17 |  | 11 | 20 | 0.020777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4260-8_0_5_line_18 |  | 12 | 21 | 0.022481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4260-8_0_5_line_19 |  | 13 | 14 | 0.06221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4260-8_0_5_line_20 |  | 14 | 29 | 0.007051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_4260-8_0_5_line_21 |  | 14 | 25 | 0.01277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_4260-8_0_5_line_22 |  | 15 | 26 | 0.022159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_4260-8_0_5_line_23 |  | 16 | 24 | 0.003634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_4260-8_0_5_line_24 |  | 16 | 22 | 0.02714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4260-8_0_5_line_25 |  | 19 | 97 | 0.010191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4260-8_0_5_line_26 |  | 19 | 94 | 0.014022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4260-8_0_5_line_27 |  | 20 | 89 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4260-8_0_5_line_28 |  | 22 | 23 | 0.030323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4260-8_0_5_line_29 |  | 24 | 25 | 0.021768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_4260-8_0_5_line_30 |  | 26 | 41 | 0.0286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4260-8_0_5_line_31 |  | 26 | 37 | 0.0050294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_4260-8_0_5_line_32 |  | 27 | 28 | 0.021006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_4260-8_0_5_line_33 |  | 28 | 47 | 0.020617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_4260-8_0_5_line_34 |  | 29 | 30 | 0.024413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_4260-8_0_5_line_35 |  | 29 | 31 | 0.014947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4260-8_0_5_line_36 |  | 30 | 34 | 0.022691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_4260-8_0_5_line_37 |  | 31 | 33 | 0.038297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4260-8_0_5_line_38 |  | 31 | 35 | 0.028078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4260-8_0_5_line_39 |  | 32 | 33 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4260-8_0_5_line_40 |  | 34 | 50 | 0.0077517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_4260-8_0_5_line_41 |  | 35 | 78 | 0.035994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4260-8_0_5_line_42 |  | 36 | 37 | 0.021433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_4260-8_0_5_line_43 |  | 36 | 38 | 0.019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_4260-8_0_5_line_44 |  | 38 | 39 | 0.0026403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_4260-8_0_5_line_45 |  | 38 | 40 | 0.029887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4260-8_0_5_line_46 |  | 39 | 42 | 0.024304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_4260-8_0_5_line_47 |  | 40 | 43 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4260-8_0_5_line_48 |  | 41 | 44 | 0.01978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4260-8_0_5_line_49 |  | 42 | 45 | 0.017314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_4260-8_0_5_line_50 |  | 43 | 46 | 0.012029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4260-8_0_5_line_51 |  | 45 | 51 | 0.016685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_4260-8_0_5_line_52 |  | 46 | 54 | 0.031483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4260-8_0_5_line_53 |  | 47 | 48 | 0.041186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4260-8_0_5_line_54 |  | 47 | 49 | 0.006529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_4260-8_0_5_line_55 |  | 49 | 50 | 0.013412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_4260-8_0_5_line_56 |  | 51 | 52 | 0.033177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4260-8_0_5_line_57 |  | 51 | 53 | 0.0074324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_4260-8_0_5_line_58 |  | 52 | 56 | 0.0023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4260-8_0_5_line_59 |  | 53 | 57 | 0.013366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_4260-8_0_5_line_60 |  | 54 | 55 | 0.006677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4260-8_0_5_line_61 |  | 55 | 58 | 0.0186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4260-8_0_5_line_62 |  | 55 | 59 | 0.027436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4260-8_0_5_line_63 |  | 57 | 60 | 0.011832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_4260-8_0_5_line_64 |  | 59 | 93 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4260-8_0_5_line_65 |  | 59 | 90 | 0.035031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4260-8_0_5_line_66 |  | 60 | 61 | 0.0090198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_4260-8_0_5_line_67 |  | 61 | 62 | 0.00076489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_4260-8_0_5_line_68 |  | 62 | 77 | 0.038933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4260-8_0_5_line_69 |  | 62 | 75 | 0.038339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_4260-8_0_5_line_70 |  | 63 | 64 | 0.021985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4260-8_0_5_line_71 |  | 63 | 65 | 0.023366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4260-8_0_5_line_72 |  | 65 | 66 | 0.015047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_4260-8_0_5_line_73 |  | 65 | 67 | 0.010105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_4260-8_0_5_line_74 |  | 66 | 70 | 0.045937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_4260-8_0_5_line_75 |  | 67 | 71 | 0.039945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
76 | LV_4260-8_0_5_line_76 |  | 67 | 72 | 0.012373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4260-8_0_5_line_77 |  | 68 | 69 | 0.030381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4260-8_0_5_line_78 |  | 69 | 71 | 0.03994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4260-8_0_5_line_79 |  | 70 | 73 | 0.019836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4260-8_0_5_line_80 |  | 70 | 74 | 0.051034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_4260-8_0_5_line_81 |  | 71 | 75 | 0.005804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_4260-8_0_5_line_82 |  | 72 | 76 | 0.0070116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4260-8_0_5_line_83 |  | 74 | 79 | 0.040218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_4260-8_0_5_line_84 |  | 74 | 80 | 0.030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4260-8_0_5_line_85 |  | 79 | 81 | 0.020673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_4260-8_0_5_line_86 |  | 79 | 82 | 0.041631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_4260-8_0_5_line_87 |  | 80 | 83 | 0.024132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4260-8_0_5_line_88 |  | 81 | 88 | 0.020502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4260-8_0_5_line_89 |  | 82 | 84 | 0.02133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_4260-8_0_5_line_90 |  | 84 | 85 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
91 | LV_4260-8_0_5_line_91 |  | 85 | 86 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4260-8_0_5_line_92 |  | 87 | 88 | 0.021925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4260-8_0_5_line_93 |  | 90 | 91 | 0.012758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4260-8_0_5_line_94 |  | 91 | 92 | 0.015101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4260-8_0_5_line_95 |  | 94 | 95 | 0.022763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4260-8_0_5_line_96 |  | 94 | 96 | 0.005426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4260-8_0_5_line_97 |  | 96 | 98 | 0.023767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4260-8_0_5_trafo_27 | 0.63 MVA 20/0.4 kV | 99 | 27 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2638997.71 | 1266284.4699 | 2639017.7118 | 1266261.7226
1 | 2639032.7513 | 1266242.771 | 2639021.1562 | 1266257.8053 | 2639017.7118 | 1266261.7226
2 | 2638997.71 | 1266284.4699 | 2638976.2665 | 1266255.1854
3 | 2639032.7513 | 1266242.771 | 2639026.6682 | 1266225.6854
4 | 2639032.7513 | 1266242.771 | 2639036.9886 | 1266247.5135 | 2639035.9255 | 1266248.9075 | 2639053.5647 | 1266270.5505 | 2639059.156 | 1266278.8711
5 | 2638976.2665 | 1266255.1854 | 2638965.4999 | 1266240.4706
6 | 2638976.2665 | 1266255.1854 | 2638987.2072 | 1266245.7507 | 2638986.1954 | 1266235.9259 | 2638991.8117 | 1266231.6797
7 | 2639014.6127 | 1266191.8261 | 2639026.6682 | 1266225.6854
8 | 2639026.6682 | 1266225.6854 | 2639047.7205 | 1266214.8981
9 | 2639059.156 | 1266278.8711 | 2639072.8299 | 1266268.2538 | 2639088.2494 | 1266261.2284
10 | 2639059.156 | 1266278.8711 | 2639072.4267 | 1266275.7343 | 2639081.5278 | 1266278.1183 | 2639086.0038 | 1266283.1848
11 | 2639051.8088 | 1266294.7451 | 2639056.6094 | 1266288.2833 | 2639059.156 | 1266278.8711
12 | 2638965.4999 | 1266240.4706 | 2638959.4766 | 1266225.8039
13 | 2638931.5622 | 1266251.8331 | 2638965.4999 | 1266240.4706
14 | 2638991.8117 | 1266231.6797 | 2639007.9822 | 1266219.4539
15 | 2639088.2494 | 1266261.2284 | 2639090.4761 | 1266248.9565 | 2639097.5987 | 1266244.3003
16 | 2639088.2494 | 1266261.2284 | 2639118.4026 | 1266268.9109 | 2639120.5366 | 1266274.0732 | 2639122.1809 | 1266287.249 | 2639122.4292 | 1266295.2453 | 2639119.6421 | 1266302.3097 | 2639115.1104 | 1266312.4982 | 2639119.3444 | 1266316.5846 | 2639124.3822 | 1266322.0774
17 | 2639014.6127 | 1266191.8261 | 2639032.8768 | 1266181.9222
18 | 2639067.7278 | 1266204.6463 | 2639047.7205 | 1266214.8981
19 | 2638895.3758 | 1266264.015 | 2638919.918 | 1266304.1051 | 2638933.1271 | 1266296.5755
20 | 2638888.6757 | 1266266.2726 | 2638895.3758 | 1266264.015
21 | 2638895.3758 | 1266264.015 | 2638907.4775 | 1266259.9383
22 | 2638951.0586 | 1266205.3059 | 2638959.4766 | 1266225.8039
23 | 2638928.1066 | 1266252.989 | 2638931.5622 | 1266251.8331
24 | 2638931.5622 | 1266251.8331 | 2638945.5774 | 1266275.0741
25 | 2639124.3822 | 1266322.0774 | 2639127.4733 | 1266321.3974 | 2639134.3569 | 1266319.8529
26 | 2639118.2638 | 1266334.2679 | 2639121.8943 | 1266330.5671 | 2639124.3822 | 1266322.0774
27 | 2639052.9981 | 1266171.0114 | 2639032.8768 | 1266181.9222
28 | 2638945.5774 | 1266275.0741 | 2638961.2362 | 1266301.0408
29 | 2638928.1066 | 1266252.989 | 2638907.4775 | 1266259.9383
30 | 2638951.0586 | 1266205.3059 | 2638974.9416 | 1266189.5716
31 | 2638951.0586 | 1266205.3059 | 2638949.1477 | 1266200.6537
32 | 2638899.0084 | 1266181.0128 | 2638879.605 | 1266189.0612
33 | 2638860.5609 | 1266196.9605 | 2638879.605 | 1266189.0612
34 | 2638888.6757 | 1266266.2726 | 2638879.4995 | 1266243.6502
35 | 2638874.6162 | 1266271.4617 | 2638880.2007 | 1266269.3969 | 2638888.6757 | 1266266.2726
36 | 2638870.9702 | 1266222.6228 | 2638879.4995 | 1266243.6502
37 | 2638870.2706 | 1266295.7617 | 2638862.2688 | 1266281.8881 | 2638859.377 | 1266276.2984 | 2638874.6162 | 1266271.4617
38 | 2638874.6162 | 1266271.4617 | 2638864.6141 | 1266245.2253
39 | 2638870.2706 | 1266295.7617 | 2638876.5429 | 1266306.0973
40 | 2638868.0565 | 1266215.4396 | 2638870.9702 | 1266222.6228
41 | 2638851.7922 | 1266211.5923 | 2638864.6141 | 1266245.2253
42 | 2638941.0041 | 1266180.8279 | 2638949.1477 | 1266200.6537
43 | 2638933.6606 | 1266162.95 | 2638941.0041 | 1266180.8279
44 | 2638933.6606 | 1266162.95 | 2638932.6576 | 1266160.5076
45 | 2638933.6606 | 1266162.95 | 2638958.2931 | 1266146.0236
46 | 2638932.6576 | 1266160.5076 | 2638923.425 | 1266138.0257
47 | 2638958.2931 | 1266146.0236 | 2638975.355 | 1266134.2993
48 | 2638974.9416 | 1266189.5716 | 2638991.4595 | 1266178.6895
49 | 2638916.8478 | 1266122.0101 | 2638923.425 | 1266138.0257
50 | 2638985.2692 | 1266127.4866 | 2638975.355 | 1266134.2993
51 | 2638916.8478 | 1266122.0101 | 2638910.4823 | 1266106.5794
52 | 2638975.0535 | 1266097.698 | 2638985.2692 | 1266127.4866
53 | 2638860.5609 | 1266196.9605 | 2638852.648 | 1266177.5502 | 2638853.7151 | 1266173.2652 | 2638855.7565 | 1266168.5086 | 2638857.941 | 1266164.887 | 2638861.6173 | 1266163.3767 | 2638864.0406 | 1266163.5471
54 | 2638860.5609 | 1266196.9605 | 2638863.015 | 1266203.0107
55 | 2638868.0565 | 1266215.4396 | 2638863.015 | 1266203.0107
56 | 2638910.4823 | 1266106.5794 | 2638935.2189 | 1266098.9367 | 2638933.419 | 1266091.8755
57 | 2638910.4823 | 1266106.5794 | 2638907.6489 | 1266099.7083
58 | 2638932.8456 | 1266089.6261 | 2638933.419 | 1266091.8755
59 | 2638907.6489 | 1266099.7083 | 2638902.5535 | 1266087.3516
60 | 2638981.2289 | 1266095.1146 | 2638975.0535 | 1266097.698
61 | 2638981.2289 | 1266095.1146 | 2638976.2659 | 1266077.1893
62 | 2638981.2289 | 1266095.1146 | 2638984.8096 | 1266108.1253 | 2638989.4886 | 1266121.2655
63 | 2638902.5535 | 1266087.3516 | 2638898.0429 | 1266076.4131
64 | 2638989.4886 | 1266121.2655 | 2639003.3156 | 1266116.3504
65 | 2638989.4886 | 1266121.2655 | 2639001.2413 | 1266154.2777
66 | 2638894.6044 | 1266068.0744 | 2638898.0429 | 1266076.4131
67 | 2638894.6044 | 1266068.0744 | 2638894.3128 | 1266067.3673
68 | 2638894.3128 | 1266067.3673 | 2638919.6483 | 1266059.128 | 2638922.2663 | 1266060.5684 | 2638924.6835 | 1266069.6353
69 | 2638865.1116 | 1266063.5616 | 2638889.4589 | 1266055.6048 | 2638894.3128 | 1266067.3673
70 | 2638820.2862 | 1266100.0735 | 2638828.8228 | 1266120.3335
71 | 2638811.2135 | 1266078.5408 | 2638820.2862 | 1266100.0735
72 | 2638811.2135 | 1266078.5408 | 2638796.92 | 1266083.2427
73 | 2638821.1566 | 1266076.5824 | 2638811.2135 | 1266078.5408
74 | 2638753.2837 | 1266097.597 | 2638796.92 | 1266083.2427
75 | 2638821.1566 | 1266076.5824 | 2638859.3976 | 1266064.6693
76 | 2638821.1566 | 1266076.5824 | 2638816.5414 | 1266065.1024
77 | 2638874.3225 | 1266101.7154 | 2638882.8431 | 1266122.8649 | 2638875.8206 | 1266125.7171
78 | 2638859.3976 | 1266064.6693 | 2638874.3225 | 1266101.7154
79 | 2638747.0379 | 1266078.7648 | 2638753.2837 | 1266097.597
80 | 2638746.4579 | 1266132.7997 | 2638734.5107 | 1266103.9675 | 2638753.2837 | 1266097.597
81 | 2638865.1116 | 1266063.5616 | 2638859.3976 | 1266064.6693
82 | 2638816.5414 | 1266065.1024 | 2638813.9261 | 1266058.5968
83 | 2638746.4579 | 1266132.7997 | 2638747.1106 | 1266134.305 | 2638761.27 | 1266170.1901
84 | 2638746.4579 | 1266132.7997 | 2638774.9133 | 1266121.8876
85 | 2638761.27 | 1266170.1901 | 2638780.7078 | 1266163.1522
86 | 2638761.27 | 1266170.1901 | 2638762.5793 | 1266173.7345 | 2638770.8428 | 1266197.1276 | 2638775.4681 | 1266209.3222
87 | 2638774.9133 | 1266121.8876 | 2638797.445 | 1266113.2471
88 | 2638780.7078 | 1266163.1522 | 2638799.9848 | 1266156.1724
89 | 2638775.4681 | 1266209.3222 | 2638795.5025 | 1266202.0002
90 | 2638795.5025 | 1266202.0002 | 2638815.2499 | 1266194.783
91 | 2638815.2499 | 1266194.783 | 2638834.9973 | 1266187.5658
92 | 2638820.6003 | 1266148.7081 | 2638799.9848 | 1266156.1724
93 | 2639001.2413 | 1266154.2777 | 2639013.2136 | 1266149.8692
94 | 2639027.3849 | 1266144.651 | 2639013.2136 | 1266149.8692
95 | 2639118.2638 | 1266334.2679 | 2639122.7469 | 1266337.1107 | 2639133.7461 | 1266350.7043
96 | 2639112.8866 | 1266333.4318 | 2639118.2638 | 1266334.2679
97 | 2639112.8866 | 1266333.4318 | 2639111.6587 | 1266340.3731 | 2639108.8837 | 1266345.6141 | 2639105.3091 | 1266348.8372 | 2639100.684 | 1266352.6538

## bus_geodata
| x | y | coords
0 | 2639017.7118 | 1266261.7226
1 | 2638997.71 | 1266284.4699
2 | 2639032.7513 | 1266242.771
3 | 2638976.2665 | 1266255.1854
4 | 2639026.6682 | 1266225.6854
5 | 2639059.156 | 1266278.8711
6 | 2638965.4999 | 1266240.4706
7 | 2638991.8117 | 1266231.6797
8 | 2639088.2494 | 1266261.2284
9 | 2639086.0038 | 1266283.1848
10 | 2639051.8088 | 1266294.7451
11 | 2639014.6127 | 1266191.8261
12 | 2639047.7205 | 1266214.8981
13 | 2638933.1271 | 1266296.5755
14 | 2638895.3758 | 1266264.015
15 | 2638959.4766 | 1266225.8039
16 | 2638931.5622 | 1266251.8331
17 | 2639007.9822 | 1266219.4539
18 | 2639097.5987 | 1266244.3003
19 | 2639124.3822 | 1266322.0774
20 | 2639032.8768 | 1266181.9222
21 | 2639067.7278 | 1266204.6463
22 | 2638945.5774 | 1266275.0741
23 | 2638961.2362 | 1266301.0408
24 | 2638928.1066 | 1266252.989
25 | 2638907.4775 | 1266259.9383
26 | 2638951.0586 | 1266205.3059
27 | 2638899.0084 | 1266181.0128
28 | 2638879.605 | 1266189.0612
29 | 2638888.6757 | 1266266.2726
30 | 2638879.4995 | 1266243.6502
31 | 2638874.6162 | 1266271.4617
32 | 2638876.5429 | 1266306.0973
33 | 2638870.2706 | 1266295.7617
34 | 2638870.9702 | 1266222.6228
35 | 2638864.6141 | 1266245.2253
36 | 2638941.0041 | 1266180.8279
37 | 2638949.1477 | 1266200.6537
38 | 2638933.6606 | 1266162.95
39 | 2638932.6576 | 1266160.5076
40 | 2638958.2931 | 1266146.0236
41 | 2638974.9416 | 1266189.5716
42 | 2638923.425 | 1266138.0257
43 | 2638975.355 | 1266134.2993
44 | 2638991.4595 | 1266178.6895
45 | 2638916.8478 | 1266122.0101
46 | 2638985.2692 | 1266127.4866
47 | 2638860.5609 | 1266196.9605
48 | 2638864.0406 | 1266163.5471
49 | 2638863.015 | 1266203.0107
50 | 2638868.0565 | 1266215.4396
51 | 2638910.4823 | 1266106.5794
52 | 2638933.419 | 1266091.8755
53 | 2638907.6489 | 1266099.7083
54 | 2638975.0535 | 1266097.698
55 | 2638981.2289 | 1266095.1146
56 | 2638932.8456 | 1266089.6261
57 | 2638902.5535 | 1266087.3516
58 | 2638976.2659 | 1266077.1893
59 | 2638989.4886 | 1266121.2655
60 | 2638898.0429 | 1266076.4131
61 | 2638894.6044 | 1266068.0744
62 | 2638894.3128 | 1266067.3673
63 | 2638820.2862 | 1266100.0735
64 | 2638828.8228 | 1266120.3335
65 | 2638811.2135 | 1266078.5408
66 | 2638796.92 | 1266083.2427
67 | 2638821.1566 | 1266076.5824
68 | 2638875.8206 | 1266125.7171
69 | 2638874.3225 | 1266101.7154
70 | 2638753.2837 | 1266097.597
71 | 2638859.3976 | 1266064.6693
72 | 2638816.5414 | 1266065.1024
73 | 2638747.0379 | 1266078.7648
74 | 2638746.4579 | 1266132.7997
75 | 2638865.1116 | 1266063.5616
76 | 2638813.9261 | 1266058.5968
77 | 2638924.6835 | 1266069.6353
78 | 2638851.7922 | 1266211.5923
79 | 2638761.27 | 1266170.1901
80 | 2638774.9133 | 1266121.8876
81 | 2638780.7078 | 1266163.1522
82 | 2638775.4681 | 1266209.3222
83 | 2638797.445 | 1266113.2471
84 | 2638795.5025 | 1266202.0002
85 | 2638815.2499 | 1266194.783
86 | 2638834.9973 | 1266187.5658
87 | 2638820.6003 | 1266148.7081
88 | 2638799.9848 | 1266156.1724
89 | 2639052.9981 | 1266171.0114
90 | 2639001.2413 | 1266154.2777
91 | 2639013.2136 | 1266149.8692
92 | 2639027.3849 | 1266144.651
93 | 2639003.3156 | 1266116.3504
94 | 2639118.2638 | 1266334.2679
95 | 2639133.7461 | 1266350.7043
96 | 2639112.8866 | 1266333.4318
97 | 2639134.3569 | 1266319.8529
98 | 2639100.684 | 1266352.6538
99 | 2638860.5609 | 1266196.9605

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1