## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4261-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4261-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4261-2_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4261-2_0_4_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_4261-2_0_4_node_83 | 0.4 | n |  | TRUE
5 | bus_LV_4261-2_0_4_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_4261-2_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4261-2_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4261-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4261-2_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4261-2_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4261-2_0_4_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_4261-2_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_4261-2_0_4_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_4261-2_0_4_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_4261-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4261-2_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_4261-2_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_4261-2_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_4261-2_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_4261-2_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_4261-2_0_4_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_4261-2_0_4_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_4261-2_0_4_node_91 | 0.4 | n |  | TRUE
24 | bus_LV_4261-2_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_4261-2_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_4261-2_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_4261-2_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_4261-2_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_4261-2_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_4261-2_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_4261-2_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_4261-2_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_4261-2_0_4_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_4261-2_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4261-2_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4261-2_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4261-2_0_4_node_67 | 0.4 | n |  | TRUE
38 | bus_LV_4261-2_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_4261-2_0_4_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_4261-2_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_4261-2_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_4261-2_0_4_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_4261-2_0_4_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_4261-2_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_4261-2_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_4261-2_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_4261-2_0_4_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_4261-2_0_4_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_4261-2_0_4_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4261-2_0_4_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4261-2_0_4_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_4261-2_0_4_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_4261-2_0_4_node_36 | 0.4 | n |  | TRUE
54 | bus_LV_4261-2_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4261-2_0_4_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_4261-2_0_4_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4261-2_0_4_node_82 | 0.4 | n |  | TRUE
58 | bus_LV_4261-2_0_4_node_90 | 0.4 | n |  | TRUE
59 | bus_LV_4261-2_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4261-2_0_4_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_4261-2_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4261-2_0_4_node_68 | 0.4 | n |  | TRUE
63 | bus_LV_4261-2_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_4261-2_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_4261-2_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_4261-2_0_4_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_4261-2_0_4_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_4261-2_0_4_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_4261-2_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4261-2_0_4_node_93 | 0.4 | n |  | TRUE
71 | bus_LV_4261-2_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_4261-2_0_4_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_4261-2_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_4261-2_0_4_node_58 | 0.4 | n |  | TRUE
75 | bus_LV_4261-2_0_4_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_4261-2_0_4_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4261-2_0_4_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_4261-2_0_4_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_4261-2_0_4_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4261-2_0_4_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4261-2_0_4_node_73 | 0.4 | n |  | TRUE
82 | bus_LV_4261-2_0_4_node_55 | 0.4 | n |  | TRUE
83 | bus_LV_4261-2_0_4_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_4261-2_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_4261-2_0_4_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_4261-2_0_4_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_4261-2_0_4_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_4261-2_0_4_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_4261-2_0_4_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4261-2_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_4261-2_0_4_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_4261-2_0_4_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_4261-2_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_MV_298_0_node_95 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4261-2_0_4_load_0 | 0 | 0.0055903 | 0.0014011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4261-2_0_4_load_1 | 1 | 0.002389 | 0.00059875 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4261-2_0_4_load_3 | 2 | 0.0016404 | 0.00041111 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4261-2_0_4_load_83 | 4 | 0.0018018 | 0.00045158 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4261-2_0_4_load_4 | 6 | 0.0087675 | 0.0021973 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4261-2_0_4_load_5 | 7 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4261-2_0_4_load_6 | 8 | 0.0067688 | 0.0016964 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4261-2_0_4_load_7 | 9 | 0.00074731 | 0.00018729 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4261-2_0_4_load_8 | 10 | 0.0062183 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4261-2_0_4_load_49 | 11 | 0.0014356 | 0.00035981 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4261-2_0_4_load_50 | 12 | 0.001519 | 0.00038071 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4261-2_0_4_load_86 | 14 | 0.00091015 | 0.00022811 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4261-2_0_4_load_9 | 15 | 0.0064756 | 0.0016229 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4261-2_0_4_load_81 | 17 | 0.00081986 | 0.00020548 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4261-2_0_4_load_11 | 19 | 0.0067719 | 0.0016972 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4261-2_0_4_load_45 | 20 | 0.0026605 | 0.0006668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4261-2_0_4_load_91 | 23 | 0.025678 | 0.0064354 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4261-2_0_4_load_12 | 24 | 0.0061099 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4261-2_0_4_load_13 | 25 | 0.001922 | 0.0004817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4261-2_0_4_load_14 | 26 | 0.0031988 | 0.00080168 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4261-2_0_4_load_15 | 27 | 0.0050474 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4261-2_0_4_load_16 | 28 | 0.0012305 | 0.00030839 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4261-2_0_4_load_54 | 29 | 0.0020266 | 0.0005079 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4261-2_0_4_load_20 | 30 | 0.00055007 | 0.00013786 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4261-2_0_4_load_17 | 31 | 0.0059816 | 0.0014991 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4261-2_0_4_load_53 | 32 | 0.0050715 | 0.001271 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4261-2_0_4_load_87 | 33 | 0.0045717 | 0.0011458 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4261-2_0_4_load_18 | 34 | 0.002688 | 0.00067367 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4261-2_0_4_load_21 | 36 | 0.0042777 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4261-2_0_4_load_67 | 37 | 0.0013533 | 0.00033916 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4261-2_0_4_load_22 | 38 | 0.001921 | 0.00048145 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4261-2_0_4_load_88 | 39 | 0.0010604 | 0.00026575 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4261-2_0_4_load_23 | 40 | 0.0020261 | 0.00050778 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4261-2_0_4_load_42 | 41 | 0.0052414 | 0.0013136 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4261-2_0_4_load_43 | 42 | 0.0019216 | 0.00048161 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4261-2_0_4_load_66 | 43 | 0.0009927 | 0.00024879 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4261-2_0_4_load_25 | 44 | 0.0017922 | 0.00044916 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4261-2_0_4_load_26 | 45 | 0.0014365 | 0.00036001 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4261-2_0_4_load_27 | 46 | 0.0010739 | 0.00026914 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4261-2_0_4_load_29 | 48 | 0.0039996 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4261-2_0_4_load_35 | 49 | 0.0016615 | 0.00041642 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4261-2_0_4_load_36 | 53 | 0.0010571 | 0.00026492 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4261-2_0_4_load_38 | 54 | 0.0019792 | 0.00049602 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4261-2_0_4_load_30 | 55 | 0.0012557 | 0.00031471 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4261-2_0_4_load_89 | 56 | 0.0019792 | 0.00049603 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4261-2_0_4_load_82 | 57 | 0.0018018 | 0.00045158 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4261-2_0_4_load_90 | 58 | 0.0014617 | 0.00036633 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4261-2_0_4_load_39 | 59 | 0.0034148 | 0.00085582 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4261-2_0_4_load_69 | 60 | 0.0020066 | 0.0005029 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4261-2_0_4_load_71 | 61 | 0.0015173 | 0.00038028 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4261-2_0_4_load_68 | 62 | 0.0022053 | 0.0005527 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4261-2_0_4_load_41 | 63 | 0.0020038 | 0.00050219 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4261-2_0_4_load_63 | 65 | 0.0011438 | 0.00028667 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4261-2_0_4_load_64 | 66 | 0.00097603 | 0.00024462 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4261-2_0_4_load_61 | 67 | 0.00097615 | 0.00024465 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4261-2_0_4_load_44 | 68 | 0.0020261 | 0.00050778 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4261-2_0_4_load_47 | 69 | 0.0020505 | 0.00051391 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4261-2_0_4_load_52 | 71 | 0.001143 | 0.00028645 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4261-2_0_4_load_48 | 72 | 0.0021246 | 0.00053248 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4261-2_0_4_load_79 | 73 | 0.0020348 | 0.00050996 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4261-2_0_4_load_58 | 74 | 0.0015086 | 0.0003781 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4261-2_0_4_load_95 | 76 | 0.045825 | 0.011485 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4261-2_0_4_load_100 | 77 | 0.05966 | 0.014952 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4261-2_0_4_load_98 | 78 | 0.0021671 | 0.00054313 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4261-2_0_4_load_78 | 79 | 0.0014705 | 0.00036854 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4261-2_0_4_load_75 | 80 | 0.0015219 | 0.00038143 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4261-2_0_4_load_73 | 81 | 0.0019608 | 0.00049142 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4261-2_0_4_load_55 | 82 | 0.0019204 | 0.00048129 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4261-2_0_4_load_56 | 83 | 0.0020274 | 0.00050812 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4261-2_0_4_load_59 | 84 | 0.0024399 | 0.00061149 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4261-2_0_4_load_60 | 85 | 0.00092429 | 0.00023165 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4261-2_0_4_load_72 | 86 | 0.0019856 | 0.00049765 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4261-2_0_4_load_74 | 87 | 0.0020086 | 0.00050341 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4261-2_0_4_load_76 | 88 | 0.001212 | 0.00030376 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4261-2_0_4_load_80 | 89 | 0.0025667 | 0.00064328 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4261-2_0_4_load_77 | 90 | 0.003739 | 0.00093707 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4261-2_0_4_load_84 | 91 | 0.00092399 | 0.00023157 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4261-2_0_4_load_65 | 92 | 0.0010571 | 0.00026493 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4261-2_0_4_load_70 | 93 | 0.0029139 | 0.00073029 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4261-2_0_4_line_0 |  | 0 | 1 | 0.0089222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4261-2_0_4_line_1 |  | 1 | 2 | 0.058352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4261-2_0_4_line_2 |  | 2 | 3 | 0.30974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4261-2_0_4_line_3 |  | 3 | 4 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4261-2_0_4_line_4 |  | 3 | 5 | 0.018914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4261-2_0_4_line_5 |  | 4 | 57 | 0.015466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4261-2_0_4_line_6 |  | 5 | 51 | 0.016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4261-2_0_4_line_7 |  | 6 | 7 | 0.0058907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_4261-2_0_4_line_8 |  | 6 | 8 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_4261-2_0_4_line_9 |  | 7 | 9 | 0.026007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_4261-2_0_4_line_10 |  | 8 | 10 | 0.0058161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4261-2_0_4_line_11 |  | 9 | 14 | 0.0037838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4261-2_0_4_line_12 |  | 10 | 15 | 0.018776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_4261-2_0_4_line_13 |  | 11 | 12 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4261-2_0_4_line_14 |  | 11 | 13 | 0.017107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4261-2_0_4_line_15 |  | 11 | 14 | 0.066795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4261-2_0_4_line_16 |  | 12 | 71 | 0.013299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4261-2_0_4_line_17 |  | 13 | 16 | 0.053619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_4261-2_0_4_line_18 |  | 14 | 17 | 0.013226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4261-2_0_4_line_19 |  | 15 | 18 | 0.016469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4261-2_0_4_line_20 |  | 16 | 37 | 0.015722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4261-2_0_4_line_21 |  | 16 | 35 | 0.05631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4261-2_0_4_line_22 |  | 17 | 80 | 0.001167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4261-2_0_4_line_23 |  | 18 | 19 | 0.018573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_4261-2_0_4_line_24 |  | 19 | 20 | 0.023412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4261-2_0_4_line_25 |  | 19 | 21 | 0.11643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4261-2_0_4_line_26 |  | 20 | 22 | 0.012705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4261-2_0_4_line_27 |  | 21 | 23 | 0.025516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4261-2_0_4_line_28 |  | 22 | 69 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4261-2_0_4_line_29 |  | 23 | 70 | 0.026027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4261-2_0_4_line_30 |  | 24 | 25 | 0.022989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4261-2_0_4_line_31 |  | 24 | 26 | 0.0023118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4261-2_0_4_line_32 |  | 25 | 27 | 0.0063837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4261-2_0_4_line_33 |  | 26 | 28 | 0.034552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4261-2_0_4_line_34 |  | 27 | 29 | 0.00032674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4261-2_0_4_line_35 |  | 28 | 30 | 0.018299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4261-2_0_4_line_36 |  | 28 | 31 | 0.01933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4261-2_0_4_line_37 |  | 29 | 32 | 0.016345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4261-2_0_4_line_38 |  | 30 | 33 | 0.0014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4261-2_0_4_line_39 |  | 31 | 34 | 0.006382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4261-2_0_4_line_40 |  | 32 | 82 | 0.0032427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4261-2_0_4_line_41 |  | 33 | 39 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4261-2_0_4_line_42 |  | 34 | 35 | 0.020626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_4261-2_0_4_line_43 |  | 35 | 36 | 0.032504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4261-2_0_4_line_44 |  | 36 | 38 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4261-2_0_4_line_45 |  | 37 | 43 | 0.0068909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4261-2_0_4_line_46 |  | 38 | 40 | 0.0067083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4261-2_0_4_line_47 |  | 40 | 41 | 0.0074943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4261-2_0_4_line_48 |  | 41 | 42 | 0.0080632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4261-2_0_4_line_49 |  | 42 | 68 | 0.006573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4261-2_0_4_line_50 |  | 43 | 92 | 0.024185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4261-2_0_4_line_51 |  | 44 | 45 | 0.027856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4261-2_0_4_line_52 |  | 44 | 46 | 0.009233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4261-2_0_4_line_53 |  | 45 | 47 | 0.0049682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4261-2_0_4_line_54 |  | 46 | 48 | 0.038241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4261-2_0_4_line_55 |  | 47 | 49 | 0.019571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4261-2_0_4_line_56 |  | 47 | 50 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4261-2_0_4_line_57 |  | 48 | 51 | 0.031326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4261-2_0_4_line_58 |  | 49 | 52 | 0.072199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4261-2_0_4_line_59 |  | 50 | 53 | 0.036137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4261-2_0_4_line_60 |  | 51 | 54 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4261-2_0_4_line_61 |  | 52 | 55 | 0.041313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4261-2_0_4_line_62 |  | 54 | 56 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4261-2_0_4_line_63 |  | 56 | 58 | 0.0055316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4261-2_0_4_line_64 |  | 57 | 91 | 0.0017005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4261-2_0_4_line_65 |  | 59 | 60 | 0.042815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4261-2_0_4_line_66 |  | 60 | 61 | 0.036672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4261-2_0_4_line_67 |  | 60 | 62 | 0.00071928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4261-2_0_4_line_68 |  | 61 | 90 | 0.028261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4261-2_0_4_line_69 |  | 62 | 93 | 0.0073962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4261-2_0_4_line_70 |  | 63 | 64 | 0.01899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4261-2_0_4_line_71 |  | 64 | 65 | 0.011887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4261-2_0_4_line_72 |  | 64 | 66 | 0.036015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4261-2_0_4_line_73 |  | 64 | 67 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4261-2_0_4_line_74 |  | 65 | 90 | 0.009067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4261-2_0_4_line_75 |  | 66 | 91 | 9.6272e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4261-2_0_4_line_76 |  | 67 | 85 | 0.0067112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4261-2_0_4_line_77 |  | 70 | 75 | 0.023987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4261-2_0_4_line_78 |  | 70 | 76 | 0.043284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4261-2_0_4_line_79 |  | 71 | 74 | 0.022079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4261-2_0_4_line_80 |  | 72 | 73 | 0.0013636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4261-2_0_4_line_81 |  | 73 | 79 | 0.027453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4261-2_0_4_line_82 |  | 74 | 78 | 0.024565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4261-2_0_4_line_83 |  | 75 | 77 | 0.040562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4261-2_0_4_line_84 |  | 79 | 89 | 0.0005837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4261-2_0_4_line_85 |  | 80 | 81 | 0.020563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4261-2_0_4_line_86 |  | 81 | 86 | 0.0068104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4261-2_0_4_line_87 |  | 82 | 83 | 0.0067071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4261-2_0_4_line_88 |  | 83 | 84 | 0.0069908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4261-2_0_4_line_89 |  | 84 | 85 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4261-2_0_4_line_90 |  | 86 | 87 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4261-2_0_4_line_91 |  | 87 | 88 | 0.0021328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4261-2_0_4_line_92 |  | 88 | 89 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4261-2_0_4_trafo_5 | 0.63 MVA 20/0.4 kV | 94 | 7 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2634965.6997 | 1268579.4821 | 2634965.6997 | 1268579.4821 | 2634971.2722 | 1268572.5141
1 | 2635021.5511 | 1268572.2072 | 2635001.3958 | 1268561.1467 | 2634995.6545 | 1268559.7784 | 2634988.9677 | 1268559.2273 | 2634982.4156 | 1268561.3456 | 2634977.4411 | 1268565.1857 | 2634971.9923 | 1268571.6136 | 2634971.2722 | 1268572.5141
2 | 2635270.2159 | 1268387.5405 | 2635021.5511 | 1268572.2072
3 | 2635270.2159 | 1268387.5405 | 2635278.8797 | 1268383.467 | 2635281.5789 | 1268382.5558
4 | 2635270.2159 | 1268387.5405 | 2635266.5242 | 1268380.6691 | 2635262.1903 | 1268370.4248
5 | 2635296.2322 | 1268377.6094 | 2635281.5789 | 1268382.5558
6 | 2635259.374 | 1268354.3075 | 2635262.1903 | 1268370.4248
7 | 2635368.0726 | 1268709.2666 | 2635369.1477 | 1268703.4748
8 | 2635368.0726 | 1268709.2666 | 2635364.6973 | 1268727.4502
9 | 2635374.2658 | 1268677.9929 | 2635374.2658 | 1268677.9929 | 2635373.1979 | 1268681.6559 | 2635369.1477 | 1268703.4748
10 | 2635363.6358 | 1268733.1686 | 2635364.6973 | 1268727.4502
11 | 2635374.2658 | 1268677.9929 | 2635376.4666 | 1268674.915 | 2635376.4666 | 1268674.915
12 | 2635363.6358 | 1268733.1686 | 2635360.2089 | 1268751.6297
13 | 2635361.3453 | 1268609.8539 | 2635374.4593 | 1268607.8685
14 | 2635344.3793 | 1268611.9001 | 2635349.5357 | 1268611.6418 | 2635361.3453 | 1268609.8539
15 | 2635361.3453 | 1268609.8539 | 2635376.4666 | 1268674.915
16 | 2635374.4593 | 1268607.8685 | 2635387.608 | 1268605.8779
17 | 2635340.6797 | 1268558.5396 | 2635344.3474 | 1268584.5135 | 2635344.3793 | 1268611.9001
18 | 2635376.4666 | 1268674.915 | 2635380.4065 | 1268672.9594 | 2635389.23 | 1268673.2085
19 | 2635357.2031 | 1268767.8223 | 2635360.2089 | 1268751.6297
20 | 2635340.6797 | 1268558.5396 | 2635356.2388 | 1268556.2852
21 | 2635340.6797 | 1268558.5396 | 2635335.3225 | 1268531.9551 | 2635325.9756 | 1268504.2905
22 | 2635390.3965 | 1268673.2414 | 2635389.23 | 1268673.2085
23 | 2635357.2031 | 1268767.8223 | 2635375.2776 | 1268772.0986
24 | 2635398.0609 | 1268777.489 | 2635375.2776 | 1268772.0986
25 | 2635375.2776 | 1268772.0986 | 2635347.9522 | 1268885.2739
26 | 2635410.4771 | 1268778.5487 | 2635405.9497 | 1268779.3555 | 2635398.0609 | 1268777.489
27 | 2635347.9522 | 1268885.2739 | 2635371.7041 | 1268894.5974
28 | 2635410.4771 | 1268778.5487 | 2635415.0371 | 1268781.1111 | 2635423.9167 | 1268783.6328 | 2635427.7202 | 1268784.3569
29 | 2635395.9318 | 1268904.1077 | 2635371.7041 | 1268894.5974
30 | 2635360.6785 | 1268459.7926 | 2635354.0005 | 1268437.7952
31 | 2635361.35 | 1268462.0047 | 2635360.6785 | 1268459.7926
32 | 2635352.1461 | 1268431.6867 | 2635354.0005 | 1268437.7952
33 | 2635371.387 | 1268495.0663 | 2635361.35 | 1268462.0047
34 | 2635352.0512 | 1268431.3741 | 2635352.1461 | 1268431.6867
35 | 2635371.387 | 1268495.0663 | 2635389.4047 | 1268491.8713
36 | 2635371.387 | 1268495.0663 | 2635352.4434 | 1268498.9142
37 | 2635347.303 | 1268415.7337 | 2635352.0512 | 1268431.3741
38 | 2635389.4047 | 1268491.8713 | 2635390.8651 | 1268491.6124
39 | 2635346.1892 | 1268500.1846 | 2635352.4434 | 1268498.9142
40 | 2635347.303 | 1268415.7337 | 2635346.361 | 1268412.6308
41 | 2635390.8651 | 1268491.6124 | 2635405.2233 | 1268489.0663
42 | 2635325.9756 | 1268504.2905 | 2635346.1892 | 1268500.1846
43 | 2635325.9756 | 1268504.2905 | 2635315.7047 | 1268473.4521
44 | 2635307.8423 | 1268449.8453 | 2635315.7047 | 1268473.4521
45 | 2635363.0585 | 1268555.2971 | 2635356.2388 | 1268556.2852
46 | 2635307.8423 | 1268449.8453 | 2635305.7225 | 1268443.4807
47 | 2635303.3544 | 1268436.3704 | 2635305.7225 | 1268443.4807
48 | 2635303.3544 | 1268436.3704 | 2635302.7988 | 1268434.7021 | 2635299.6999 | 1268429.2114
49 | 2635299.6999 | 1268429.2114 | 2635296.4693 | 1268423.4871
50 | 2635386.9936 | 1268551.8291 | 2635363.0585 | 1268555.2971
51 | 2635243.3377 | 1268248.8694 | 2635244.3046 | 1268253.8122 | 2635247.6886 | 1268276.3791
52 | 2635249.0577 | 1268285.5101 | 2635247.6886 | 1268276.3791
53 | 2635242.3839 | 1268243.9937 | 2635243.3377 | 1268248.8694
54 | 2635254.7286 | 1268323.328 | 2635249.0577 | 1268285.5101
55 | 2635242.3839 | 1268243.9937 | 2635223.1226 | 1268247.4644
56 | 2635237.8115 | 1268228.2774 | 2635242.3839 | 1268243.9937
57 | 2635259.374 | 1268354.3075 | 2635254.7286 | 1268323.328
58 | 2635152.0676 | 1268260.2681 | 2635223.1226 | 1268247.4644
59 | 2635237.8115 | 1268228.2774 | 2635272.8427 | 1268219.4069
60 | 2635259.374 | 1268354.3075 | 2635272.9014 | 1268350.8472
61 | 2635152.0676 | 1268260.2681 | 2635171.5613 | 1268275.1168 | 2635182.6858 | 1268287.7164
62 | 2635287.6987 | 1268347.0619 | 2635272.9014 | 1268350.8472
63 | 2635293.0577 | 1268345.6911 | 2635287.6987 | 1268347.0619
64 | 2635296.2322 | 1268377.6094 | 2635297.8434 | 1268377.0655
65 | 2635297.9511 | 1268305.1906 | 2635309.8171 | 1268264.0527
66 | 2635297.9511 | 1268305.1906 | 2635316.9637 | 1268300.8682 | 2635321.0157 | 1268317.5573
67 | 2635297.2498 | 1268305.35 | 2635297.9511 | 1268305.1906
68 | 2635321.0157 | 1268317.5573 | 2635324.4849 | 1268331.8465 | 2635327.4598 | 1268345.0728
69 | 2635290.0376 | 1268306.9897 | 2635297.2498 | 1268305.35
70 | 2635332.0578 | 1268365.5159 | 2635350.0327 | 1268359.39
71 | 2635332.0578 | 1268365.5159 | 2635329.4494 | 1268353.9188
72 | 2635332.0578 | 1268365.5159 | 2635297.9346 | 1268377.0347
73 | 2635332.0578 | 1268365.5159 | 2635336.8389 | 1268381.2649
74 | 2635329.4494 | 1268353.9188 | 2635327.4598 | 1268345.0728
75 | 2635297.9346 | 1268377.0347 | 2635297.8434 | 1268377.0655
76 | 2635336.8389 | 1268381.2649 | 2635338.7885 | 1268387.6868
77 | 2635395.9318 | 1268904.1077 | 2635418.4562 | 1268912.5374
78 | 2635395.9318 | 1268904.1077 | 2635390.9857 | 1268924.5817 | 2635382.8769 | 1268945.2704
79 | 2635387.608 | 1268605.8779 | 2635401.9597 | 1268603.7051 | 2635409.4286 | 1268602.5125
80 | 2635416.7294 | 1268742.7167 | 2635416.6517 | 1268744.0782
81 | 2635418.2919 | 1268715.308 | 2635416.7294 | 1268742.7167
82 | 2635433.6866 | 1268598.6392 | 2635409.4286 | 1268602.5125
83 | 2635418.4562 | 1268912.5374 | 2635403.5674 | 1268950.2683
84 | 2635418.2919 | 1268715.308 | 2635418.3251 | 1268714.7252
85 | 2635410.9294 | 1268674.006 | 2635409.9006 | 1268673.792 | 2635390.3965 | 1268673.2414
86 | 2635416.5238 | 1268677.4009 | 2635416.5238 | 1268677.4009 | 2635413.6435 | 1268674.5705 | 2635410.9294 | 1268674.006
87 | 2635346.361 | 1268412.6308 | 2635344.4127 | 1268406.2129
88 | 2635342.3819 | 1268399.5236 | 2635344.4127 | 1268406.2129
89 | 2635342.3819 | 1268399.5236 | 2635338.7885 | 1268387.6868
90 | 2635416.5238 | 1268677.4009 | 2635419.0612 | 1268680.9297 | 2635419.9053 | 1268687.0058 | 2635419.5545 | 1268693.1593
91 | 2635419.4331 | 1268695.2886 | 2635419.5545 | 1268693.1593
92 | 2635419.4331 | 1268695.2886 | 2635418.3251 | 1268714.7252

## bus_geodata
| x | y | coords
0 | 2634965.6997 | 1268579.4821
1 | 2634971.2722 | 1268572.5141
2 | 2635021.5511 | 1268572.2072
3 | 2635270.2159 | 1268387.5405
4 | 2635281.5789 | 1268382.5558
5 | 2635262.1903 | 1268370.4248
6 | 2635368.0726 | 1268709.2666
7 | 2635369.1477 | 1268703.4748
8 | 2635364.6973 | 1268727.4502
9 | 2635374.2658 | 1268677.9929
10 | 2635363.6358 | 1268733.1686
11 | 2635361.3453 | 1268609.8539
12 | 2635374.4593 | 1268607.8685
13 | 2635344.3793 | 1268611.9001
14 | 2635376.4666 | 1268674.915
15 | 2635360.2089 | 1268751.6297
16 | 2635340.6797 | 1268558.5396
17 | 2635389.23 | 1268673.2085
18 | 2635357.2031 | 1268767.8223
19 | 2635375.2776 | 1268772.0986
20 | 2635398.0609 | 1268777.489
21 | 2635347.9522 | 1268885.2739
22 | 2635410.4771 | 1268778.5487
23 | 2635371.7041 | 1268894.5974
24 | 2635360.6785 | 1268459.7926
25 | 2635354.0005 | 1268437.7952
26 | 2635361.35 | 1268462.0047
27 | 2635352.1461 | 1268431.6867
28 | 2635371.387 | 1268495.0663
29 | 2635352.0512 | 1268431.3741
30 | 2635389.4047 | 1268491.8713
31 | 2635352.4434 | 1268498.9142
32 | 2635347.303 | 1268415.7337
33 | 2635390.8651 | 1268491.6124
34 | 2635346.1892 | 1268500.1846
35 | 2635325.9756 | 1268504.2905
36 | 2635315.7047 | 1268473.4521
37 | 2635356.2388 | 1268556.2852
38 | 2635307.8423 | 1268449.8453
39 | 2635405.2233 | 1268489.0663
40 | 2635305.7225 | 1268443.4807
41 | 2635303.3544 | 1268436.3704
42 | 2635299.6999 | 1268429.2114
43 | 2635363.0585 | 1268555.2971
44 | 2635247.6886 | 1268276.3791
45 | 2635243.3377 | 1268248.8694
46 | 2635249.0577 | 1268285.5101
47 | 2635242.3839 | 1268243.9937
48 | 2635254.7286 | 1268323.328
49 | 2635223.1226 | 1268247.4644
50 | 2635237.8115 | 1268228.2774
51 | 2635259.374 | 1268354.3075
52 | 2635152.0676 | 1268260.2681
53 | 2635272.8427 | 1268219.4069
54 | 2635272.9014 | 1268350.8472
55 | 2635182.6858 | 1268287.7164
56 | 2635287.6987 | 1268347.0619
57 | 2635296.2322 | 1268377.6094
58 | 2635293.0577 | 1268345.6911
59 | 2635309.8171 | 1268264.0527
60 | 2635297.9511 | 1268305.1906
61 | 2635321.0157 | 1268317.5573
62 | 2635297.2498 | 1268305.35
63 | 2635350.0327 | 1268359.39
64 | 2635332.0578 | 1268365.5159
65 | 2635329.4494 | 1268353.9188
66 | 2635297.9346 | 1268377.0347
67 | 2635336.8389 | 1268381.2649
68 | 2635296.4693 | 1268423.4871
69 | 2635427.7202 | 1268784.3569
70 | 2635395.9318 | 1268904.1077
71 | 2635387.608 | 1268605.8779
72 | 2635416.6517 | 1268744.0782
73 | 2635416.7294 | 1268742.7167
74 | 2635409.4286 | 1268602.5125
75 | 2635418.4562 | 1268912.5374
76 | 2635382.8769 | 1268945.2704
77 | 2635403.5674 | 1268950.2683
78 | 2635433.6866 | 1268598.6392
79 | 2635418.2919 | 1268715.308
80 | 2635390.3965 | 1268673.2414
81 | 2635410.9294 | 1268674.006
82 | 2635346.361 | 1268412.6308
83 | 2635344.4127 | 1268406.2129
84 | 2635342.3819 | 1268399.5236
85 | 2635338.7885 | 1268387.6868
86 | 2635416.5238 | 1268677.4009
87 | 2635419.5545 | 1268693.1593
88 | 2635419.4331 | 1268695.2886
89 | 2635418.3251 | 1268714.7252
90 | 2635327.4598 | 1268345.0728
91 | 2635297.8434 | 1268377.0655
92 | 2635386.9936 | 1268551.8291
93 | 2635290.0376 | 1268306.9897
94 | 2635357.2031 | 1268767.8223

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1