## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4271-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4271-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4271-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4271-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4271-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4271-10_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_4271-10_0_4_node_74 | 0.4 | n |  | TRUE
7 | bus_LV_4271-10_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_4271-10_0_4_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_4271-10_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4271-10_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4271-10_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4271-10_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4271-10_0_4_node_136 | 0.4 | n |  | TRUE
14 | bus_LV_4271-10_0_4_node_138 | 0.4 | n |  | TRUE
15 | bus_LV_4271-10_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4271-10_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4271-10_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4271-10_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4271-10_0_4_node_127 | 0.4 | n |  | TRUE
20 | bus_LV_4271-10_0_4_node_128 | 0.4 | n |  | TRUE
21 | bus_LV_4271-10_0_4_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_4271-10_0_4_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_4271-10_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_4271-10_0_4_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_4271-10_0_4_node_124 | 0.4 | n |  | TRUE
26 | bus_LV_4271-10_0_4_node_125 | 0.4 | n |  | TRUE
27 | bus_LV_4271-10_0_4_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_4271-10_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_4271-10_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_4271-10_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_4271-10_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_4271-10_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_4271-10_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_4271-10_0_4_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_4271-10_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4271-10_0_4_node_149 | 0.4 | n |  | TRUE
37 | bus_LV_4271-10_0_4_node_58 | 0.4 | n |  | TRUE
38 | bus_LV_4271-10_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_4271-10_0_4_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_4271-10_0_4_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_4271-10_0_4_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_4271-10_0_4_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_4271-10_0_4_node_56 | 0.4 | n |  | TRUE
44 | bus_LV_4271-10_0_4_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_4271-10_0_4_node_113 | 0.4 | n |  | TRUE
46 | bus_LV_4271-10_0_4_node_107 | 0.4 | n |  | TRUE
47 | bus_LV_4271-10_0_4_node_109 | 0.4 | n |  | TRUE
48 | bus_LV_4271-10_0_4_node_106 | 0.4 | n |  | TRUE
49 | bus_LV_4271-10_0_4_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_4271-10_0_4_node_67 | 0.4 | n |  | TRUE
51 | bus_LV_4271-10_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4271-10_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_4271-10_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_4271-10_0_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_4271-10_0_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_4271-10_0_4_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_4271-10_0_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_4271-10_0_4_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_4271-10_0_4_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_4271-10_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_4271-10_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4271-10_0_4_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_4271-10_0_4_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_4271-10_0_4_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_4271-10_0_4_node_93 | 0.4 | n |  | TRUE
66 | bus_LV_4271-10_0_4_node_76 | 0.4 | n |  | TRUE
67 | bus_LV_4271-10_0_4_node_91 | 0.4 | n |  | TRUE
68 | bus_LV_4271-10_0_4_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_4271-10_0_4_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_4271-10_0_4_node_108 | 0.4 | n |  | TRUE
71 | bus_LV_4271-10_0_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_4271-10_0_4_node_110 | 0.4 | n |  | TRUE
73 | bus_LV_4271-10_0_4_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_4271-10_0_4_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_4271-10_0_4_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_4271-10_0_4_node_99 | 0.4 | n |  | TRUE
77 | bus_LV_4271-10_0_4_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_4271-10_0_4_node_101 | 0.4 | n |  | TRUE
79 | bus_LV_4271-10_0_4_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_4271-10_0_4_node_103 | 0.4 | n |  | TRUE
81 | bus_LV_4271-10_0_4_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_4271-10_0_4_node_129 | 0.4 | n |  | TRUE
83 | bus_LV_4271-10_0_4_node_114 | 0.4 | n |  | TRUE
84 | bus_MV_397_0_node_252 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4271-10_0_4_load_0 | 0 | 0.0026156 | 0.00065554 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4271-10_0_4_load_1 | 1 | 0.0020499 | 0.00051374 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4271-10_0_4_load_2 | 2 | 0.010365 | 0.0025977 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4271-10_0_4_load_3 | 3 | 0.0037452 | 0.00093863 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4271-10_0_4_load_4 | 4 | 0.0018551 | 0.00046493 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4271-10_0_4_load_46 | 5 | 0.0047405 | 0.0011881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4271-10_0_4_load_74 | 6 | 0.0015851 | 0.00039726 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4271-10_0_4_load_47 | 7 | 0.0018291 | 0.00045841 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4271-10_0_4_load_19 | 8 | 0.0031181 | 0.00078147 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4271-10_0_4_load_5 | 9 | 0.014354 | 0.0035975 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4271-10_0_4_load_6 | 10 | 0.0017175 | 0.00043044 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4271-10_0_4_load_7 | 11 | 0.0026322 | 0.00065969 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4271-10_0_4_load_8 | 12 | 0.002001 | 0.0005015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4271-10_0_4_load_9 | 15 | 0.012538 | 0.0031423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4271-10_0_4_load_10 | 16 | 0.0061508 | 0.0015415 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4271-10_0_4_load_11 | 17 | 0.0035605 | 0.00089235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4271-10_0_4_load_13 | 18 | 0.0017381 | 0.0004356 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4271-10_0_4_load_127 | 19 | 0.0012026 | 0.00030139 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4271-10_0_4_load_128 | 20 | 0.0023892 | 0.00059879 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4271-10_0_4_load_29 | 21 | 0.012726 | 0.0031895 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4271-10_0_4_load_27 | 22 | 0.019479 | 0.0048818 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4271-10_0_4_load_28 | 23 | 0.0032826 | 0.00082269 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4271-10_0_4_load_30 | 24 | 0.0017555 | 0.00043998 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4271-10_0_4_load_125 | 26 | 0.0011781 | 0.00029527 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4271-10_0_4_load_126 | 27 | 0.0039773 | 0.0009968 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4271-10_0_4_load_31 | 28 | 0.0013733 | 0.00034419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4271-10_0_4_load_32 | 29 | 0.003073 | 0.00077017 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4271-10_0_4_load_34 | 31 | 0.0017359 | 0.00043506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4271-10_0_4_load_35 | 32 | 0.0017025 | 0.00042668 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4271-10_0_4_load_44 | 35 | 0.0012752 | 0.0003196 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4271-10_0_4_load_149 | 36 | 0.0026699 | 0.00066915 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4271-10_0_4_load_58 | 37 | 0.0018697 | 0.00046859 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4271-10_0_4_load_42 | 38 | 0.001102 | 0.00027618 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4271-10_0_4_load_41 | 39 | 0.0012463 | 0.00031236 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4271-10_0_4_load_43 | 40 | 0.0015147 | 0.00037963 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4271-10_0_4_load_45 | 41 | 0.0011307 | 0.00028337 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4271-10_0_4_load_55 | 42 | 0.0013595 | 0.00034073 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4271-10_0_4_load_56 | 43 | 0.0016886 | 0.00042319 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4271-10_0_4_load_112 | 44 | 0.0044549 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4271-10_0_4_load_113 | 45 | 0.0012182 | 0.00030532 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4271-10_0_4_load_109 | 47 | 0.0031737 | 0.0007954 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4271-10_0_4_load_106 | 48 | 0.0085465 | 0.002142 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4271-10_0_4_load_66 | 49 | 0.0017087 | 0.00042825 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4271-10_0_4_load_67 | 50 | 0.0024893 | 0.00062387 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4271-10_0_4_load_57 | 51 | 0.0015085 | 0.00037808 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4271-10_0_4_load_59 | 52 | 0.0013254 | 0.00033218 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4271-10_0_4_load_61 | 53 | 0.0018327 | 0.00045931 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4271-10_0_4_load_94 | 54 | 0.0021386 | 0.00053599 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4271-10_0_4_load_95 | 55 | 0.0021152 | 0.00053012 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4271-10_0_4_load_68 | 56 | 0.0056897 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4271-10_0_4_load_78 | 57 | 0.0086533 | 0.0021687 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4271-10_0_4_load_79 | 58 | 0.0020479 | 0.00051325 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4271-10_0_4_load_69 | 59 | 0.0015896 | 0.00039838 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4271-10_0_4_load_70 | 60 | 0.0020116 | 0.00050416 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4271-10_0_4_load_71 | 61 | 0.0016634 | 0.00041689 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4271-10_0_4_load_72 | 62 | 0.0051651 | 0.0012945 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4271-10_0_4_load_73 | 63 | 0.0021068 | 0.00052802 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4271-10_0_4_load_75 | 64 | 0.0076519 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4271-10_0_4_load_93 | 65 | 0.004545 | 0.0011391 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4271-10_0_4_load_76 | 66 | 0.0045691 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4271-10_0_4_load_91 | 67 | 0.0063062 | 0.0015805 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4271-10_0_4_load_111 | 69 | 0.0026749 | 0.00067039 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4271-10_0_4_load_80 | 71 | 0.0062462 | 0.0015654 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4271-10_0_4_load_110 | 72 | 0.008682 | 0.0021759 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4271-10_0_4_load_89 | 73 | 0.0020852 | 0.0005226 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4271-10_0_4_load_90 | 74 | 0.0057391 | 0.0014384 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4271-10_0_4_load_92 | 75 | 0.0061641 | 0.0015449 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4271-10_0_4_load_99 | 76 | 0.0016097 | 0.00040342 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4271-10_0_4_load_100 | 77 | 0.0037859 | 0.00094884 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4271-10_0_4_load_102 | 79 | 0.0054232 | 0.0013592 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4271-10_0_4_load_103 | 80 | 0.0046048 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4271-10_0_4_load_104 | 81 | 0.002614 | 0.00065514 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4271-10_0_4_load_129 | 82 | 0.0014634 | 0.00036677 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4271-10_0_4_load_114 | 83 | 0.002729 | 0.00068395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4271-10_0_4_line_0 |  | 0 | 1 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4271-10_0_4_line_1 |  | 0 | 2 | 0.006935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4271-10_0_4_line_2 |  | 1 | 3 | 0.0025711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4271-10_0_4_line_3 |  | 2 | 4 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4271-10_0_4_line_4 |  | 3 | 5 | 0.016077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4271-10_0_4_line_5 |  | 4 | 6 | 0.0079825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4271-10_0_4_line_6 |  | 5 | 7 | 0.0039525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4271-10_0_4_line_7 |  | 6 | 8 | 0.016332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4271-10_0_4_line_8 |  | 7 | 44 | 0.015566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4271-10_0_4_line_9 |  | 8 | 21 | 0.043284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4271-10_0_4_line_10 |  | 9 | 10 | 0.02341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4271-10_0_4_line_11 |  | 9 | 11 | 0.0125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4271-10_0_4_line_12 |  | 10 | 12 | 0.0018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4271-10_0_4_line_13 |  | 12 | 13 | 0.024143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4271-10_0_4_line_14 |  | 13 | 14 | 0.03229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4271-10_0_4_line_15 |  | 14 | 79 | 0.029184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4271-10_0_4_line_16 |  | 15 | 16 | 0.0025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4271-10_0_4_line_17 |  | 15 | 17 | 0.018775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4271-10_0_4_line_18 |  | 17 | 18 | 0.0052579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4271-10_0_4_line_19 |  | 18 | 19 | 0.0033153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4271-10_0_4_line_20 |  | 19 | 20 | 0.006778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4271-10_0_4_line_21 |  | 20 | 82 | 0.00157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4271-10_0_4_line_22 |  | 21 | 22 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4271-10_0_4_line_23 |  | 22 | 23 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4271-10_0_4_line_24 |  | 23 | 24 | 0.0025997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4271-10_0_4_line_25 |  | 24 | 25 | 0.015145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4271-10_0_4_line_26 |  | 25 | 26 | 0.0058245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4271-10_0_4_line_27 |  | 25 | 27 | 0.019002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4271-10_0_4_line_28 |  | 26 | 47 | 0.001908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4271-10_0_4_line_29 |  | 27 | 81 | 0.0082782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4271-10_0_4_line_30 |  | 28 | 29 | 0.03588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4271-10_0_4_line_31 |  | 28 | 30 | 0.017878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4271-10_0_4_line_32 |  | 29 | 31 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4271-10_0_4_line_33 |  | 30 | 32 | 0.041849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4271-10_0_4_line_34 |  | 30 | 33 | 0.025997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4271-10_0_4_line_35 |  | 31 | 34 | 0.024882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4271-10_0_4_line_36 |  | 32 | 35 | 0.001472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4271-10_0_4_line_37 |  | 33 | 36 | 0.052401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4271-10_0_4_line_38 |  | 34 | 37 | 0.03608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4271-10_0_4_line_39 |  | 35 | 38 | 0.015202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4271-10_0_4_line_40 |  | 37 | 51 | 0.005532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4271-10_0_4_line_41 |  | 38 | 39 | 0.010366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4271-10_0_4_line_42 |  | 39 | 40 | 0.02119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4271-10_0_4_line_43 |  | 40 | 41 | 0.0070815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4271-10_0_4_line_44 |  | 41 | 42 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4271-10_0_4_line_45 |  | 42 | 43 | 0.006013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4271-10_0_4_line_46 |  | 43 | 49 | 0.022897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4271-10_0_4_line_47 |  | 44 | 45 | 0.0075404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4271-10_0_4_line_48 |  | 45 | 83 | 0.0078061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4271-10_0_4_line_49 |  | 46 | 47 | 0.034584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_4271-10_0_4_line_50 |  | 46 | 48 | 0.024751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4271-10_0_4_line_51 |  | 48 | 70 | 0.0059367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4271-10_0_4_line_52 |  | 49 | 50 | 0.024382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4271-10_0_4_line_53 |  | 50 | 56 | 0.0017827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4271-10_0_4_line_54 |  | 51 | 52 | 0.0062878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4271-10_0_4_line_55 |  | 52 | 53 | 0.005967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4271-10_0_4_line_56 |  | 53 | 54 | 0.0049446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4271-10_0_4_line_57 |  | 54 | 55 | 0.012632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4271-10_0_4_line_58 |  | 55 | 75 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4271-10_0_4_line_59 |  | 57 | 58 | 0.011567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4271-10_0_4_line_60 |  | 58 | 71 | 0.0066633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4271-10_0_4_line_61 |  | 59 | 60 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4271-10_0_4_line_62 |  | 59 | 61 | 0.020433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4271-10_0_4_line_63 |  | 60 | 62 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4271-10_0_4_line_64 |  | 61 | 63 | 0.0063795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4271-10_0_4_line_65 |  | 62 | 64 | 0.0094003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4271-10_0_4_line_66 |  | 63 | 65 | 0.023191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4271-10_0_4_line_67 |  | 64 | 66 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4271-10_0_4_line_68 |  | 65 | 67 | 0.023411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4271-10_0_4_line_69 |  | 66 | 68 | 0.02904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4271-10_0_4_line_70 |  | 67 | 73 | 0.0028452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4271-10_0_4_line_71 |  | 68 | 69 | 0.021555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4271-10_0_4_line_72 |  | 69 | 70 | 0.02406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4271-10_0_4_line_73 |  | 70 | 72 | 0.021734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4271-10_0_4_line_74 |  | 71 | 72 | 0.010101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4271-10_0_4_line_75 |  | 73 | 74 | 0.020281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4271-10_0_4_line_76 |  | 74 | 75 | 0.0030443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4271-10_0_4_line_77 |  | 76 | 77 | 0.02018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4271-10_0_4_line_78 |  | 76 | 78 | 0.014003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4271-10_0_4_line_79 |  | 77 | 79 | 0.0046829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4271-10_0_4_line_80 |  | 78 | 80 | 0.0011855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4271-10_0_4_line_81 |  | 78 | 81 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4271-10_0_4_line_82 |  | 80 | 82 | 0.020927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4271-10_0_4_trafo_124 | 0.63 MVA 20/0.4 kV | 84 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2634734.4253 | 1241516.5774 | 2634735.3988 | 1241509.3729 | 2634739.4594 | 1241499.0529
1 | 2634734.4253 | 1241516.5774 | 2634733.4967 | 1241523.4499
2 | 2634739.4594 | 1241499.0529 | 2634739.6195 | 1241498.6462 | 2634740.6378 | 1241496.7708
3 | 2634731.7962 | 1241536.035 | 2634733.4967 | 1241523.4499
4 | 2634748.3094 | 1241482.6426 | 2634740.6378 | 1241496.7708
5 | 2634731.7962 | 1241536.035 | 2634730.7273 | 1241543.9456
6 | 2634750.1955 | 1241479.1691 | 2634748.3094 | 1241482.6426
7 | 2634728.8274 | 1241560.1659 | 2634730.0413 | 1241549.0225 | 2634730.7273 | 1241543.9456
8 | 2634750.1955 | 1241479.1691 | 2634757.6236 | 1241465.4894
9 | 2634764.7896 | 1241584.2545 | 2634728.8274 | 1241560.1659
10 | 2634932.5026 | 1241543.3536 | 2634922.3716 | 1241522.2499
11 | 2634937.9122 | 1241554.6223 | 2634932.5026 | 1241543.3536
12 | 2634921.5712 | 1241520.5827 | 2634922.3716 | 1241522.2499
13 | 2634911.123 | 1241498.818 | 2634921.5712 | 1241520.5827
14 | 2634911.123 | 1241498.818 | 2634906.9723 | 1241501.4286 | 2634881.8386 | 1241512.4992
15 | 2634881.8386 | 1241512.4992 | 2634874.8351 | 1241515.5823 | 2634854.7541 | 1241523.3522
16 | 2634816.5933 | 1241479.6003 | 2634816.5096 | 1241477.0746
17 | 2634816.5933 | 1241479.6003 | 2634817.2148 | 1241498.3648
18 | 2634817.3889 | 1241503.6198 | 2634817.2148 | 1241498.3648
19 | 2634817.3889 | 1241503.6198 | 2634817.4986 | 1241506.9333
20 | 2634817.4986 | 1241506.9333 | 2634817.723 | 1241513.7075
21 | 2634817.775 | 1241515.2767 | 2634817.723 | 1241513.7075
22 | 2634764.7896 | 1241584.2545 | 2634782.522 | 1241584.1167
23 | 2634782.522 | 1241584.1167 | 2634799.7122 | 1241583.9831
24 | 2634802.3119 | 1241583.9629 | 2634799.7122 | 1241583.9831
25 | 2634817.456 | 1241583.8452 | 2634802.3119 | 1241583.9629
26 | 2634817.456 | 1241583.8452 | 2634817.4686 | 1241589.6697
27 | 2634817.456 | 1241583.8452 | 2634817.8857 | 1241564.8479
28 | 2634817.4728 | 1241591.5777 | 2634817.4686 | 1241589.6697
29 | 2634818.0729 | 1241556.5718 | 2634817.8857 | 1241564.8479
30 | 2635075.5735 | 1241549.2147 | 2635049.0732 | 1241525.0251
31 | 2635035.869 | 1241512.9723 | 2635049.0732 | 1241525.0251
32 | 2635075.5735 | 1241549.2147 | 2635085.7901 | 1241558.5404 | 2635088.2911 | 1241562.1762
33 | 2635035.869 | 1241512.9723 | 2635025.5961 | 1241525.6198 | 2635008.1525 | 1241544.2956
34 | 2635035.869 | 1241512.9723 | 2635027.3673 | 1241503.4605 | 2635018.5426 | 1241493.5911
35 | 2635102.3925 | 1241582.6761 | 2635088.2911 | 1241562.1762
36 | 2635007.1478 | 1241545.3713 | 2635008.1525 | 1241544.2956
37 | 2634982.4088 | 1241531.636 | 2635018.5426 | 1241493.5911
38 | 2635102.3925 | 1241582.6761 | 2635080.8731 | 1241593.6116 | 2635070.5145 | 1241599.5526
39 | 2635007.1478 | 1241545.3713 | 2635003.381 | 1241549.4042 | 2634996.1307 | 1241555.8236
40 | 2635065.7157 | 1241602.3048 | 2635070.5145 | 1241599.5526
41 | 2634988.3699 | 1241562.6951 | 2634996.1307 | 1241555.8236
42 | 2634972.2126 | 1241576.403 | 2634986.229 | 1241564.5907 | 2634988.3699 | 1241562.6951
43 | 2634966.587 | 1241580.6926 | 2634969.7347 | 1241578.4914 | 2634972.2126 | 1241576.403
44 | 2634966.587 | 1241580.6926 | 2634954.7727 | 1241588.9545 | 2634951.9504 | 1241590.6273
45 | 2634946.7778 | 1241593.6932 | 2634951.9504 | 1241590.6273
46 | 2634946.7778 | 1241593.6932 | 2634937.8705 | 1241598.9726 | 2634926.4623 | 1241604.1858
47 | 2634757.6236 | 1241465.4894 | 2634761.2217 | 1241458.8629
48 | 2634764.9467 | 1241452.0029 | 2634761.2217 | 1241458.8629
49 | 2634817.5481 | 1241626.1617 | 2634817.4728 | 1241591.5777
50 | 2634817.5481 | 1241626.1617 | 2634822.4683 | 1241640.5442 | 2634825.4032 | 1241649.6321
51 | 2634827.2277 | 1241655.2815 | 2634825.4032 | 1241649.6321
52 | 2634904.2856 | 1241614.3197 | 2634926.4623 | 1241604.1858
53 | 2634902.6641 | 1241615.0607 | 2634904.2856 | 1241614.3197
54 | 2635060.2613 | 1241605.4331 | 2635065.7157 | 1241602.3048
55 | 2635060.2613 | 1241605.4331 | 2635055.0851 | 1241608.4017
56 | 2635050.7959 | 1241610.8617 | 2635055.0851 | 1241608.4017
57 | 2635050.7959 | 1241610.8617 | 2635043.9167 | 1241614.8071 | 2635040.2003 | 1241617.6868
58 | 2635028.7278 | 1241626.5763 | 2635040.2003 | 1241617.6868
59 | 2634874.4208 | 1241638.5672 | 2634863.517 | 1241642.429
60 | 2634857.236 | 1241644.6535 | 2634863.517 | 1241642.429
61 | 2634928.7632 | 1241677.2993 | 2634941.2937 | 1241672.9079
62 | 2634960.5769 | 1241666.1498 | 2634941.2937 | 1241672.9079
63 | 2634928.7632 | 1241677.2993 | 2634926.3828 | 1241678.1336 | 2634911.7888 | 1241680.968
64 | 2634960.5769 | 1241666.1498 | 2634966.0699 | 1241664.2247 | 2634966.5674 | 1241663.9699
65 | 2634911.7888 | 1241680.968 | 2634902.5609 | 1241682.7601
66 | 2634987.2086 | 1241653.3984 | 2634966.5674 | 1241663.9699
67 | 2634880.2617 | 1241687.4261 | 2634893.5438 | 1241684.5114 | 2634902.5609 | 1241682.7601
68 | 2634987.2086 | 1241653.3984 | 2634998.9709 | 1241647.3742 | 2635006.95 | 1241642.9073 | 2635007.7951 | 1241642.281
69 | 2634851.8967 | 1241693.6507 | 2634880.2617 | 1241687.4261
70 | 2635010.081 | 1241640.5869 | 2635007.7951 | 1241642.281
71 | 2634851.8967 | 1241693.6507 | 2634840.2394 | 1241675.5194
72 | 2634827.2277 | 1241655.2815 | 2634840.2394 | 1241675.5194
73 | 2634827.2277 | 1241655.2815 | 2634847.7145 | 1241648.0257
74 | 2634857.236 | 1241644.6535 | 2634847.7145 | 1241648.0257
75 | 2635010.081 | 1241640.5869 | 2635023.0546 | 1241630.9723 | 2635026.3214 | 1241628.441
76 | 2635028.7278 | 1241626.5763 | 2635026.3214 | 1241628.441
77 | 2634850.3867 | 1241525.0421 | 2634831.5667 | 1241532.324
78 | 2634818.507 | 1241537.3771 | 2634831.5667 | 1241532.324
79 | 2634850.3867 | 1241525.0421 | 2634854.7541 | 1241523.3522
80 | 2634818.507 | 1241537.3771 | 2634818.4678 | 1241536.1923
81 | 2634818.507 | 1241537.3771 | 2634818.0729 | 1241556.5718
82 | 2634817.775 | 1241515.2767 | 2634818.4678 | 1241536.1923

## bus_geodata
| x | y | coords
0 | 2634734.4253 | 1241516.5774
1 | 2634739.4594 | 1241499.0529
2 | 2634733.4967 | 1241523.4499
3 | 2634740.6378 | 1241496.7708
4 | 2634731.7962 | 1241536.035
5 | 2634748.3094 | 1241482.6426
6 | 2634730.7273 | 1241543.9456
7 | 2634750.1955 | 1241479.1691
8 | 2634728.8274 | 1241560.1659
9 | 2634932.5026 | 1241543.3536
10 | 2634922.3716 | 1241522.2499
11 | 2634937.9121 | 1241554.6223
12 | 2634921.5712 | 1241520.5827
13 | 2634911.123 | 1241498.818
14 | 2634881.8386 | 1241512.4992
15 | 2634816.5933 | 1241479.6003
16 | 2634816.5096 | 1241477.0746
17 | 2634817.2148 | 1241498.3648
18 | 2634817.3889 | 1241503.6198
19 | 2634817.4986 | 1241506.9333
20 | 2634817.723 | 1241513.7075
21 | 2634764.7896 | 1241584.2545
22 | 2634782.522 | 1241584.1167
23 | 2634799.7122 | 1241583.9831
24 | 2634802.3119 | 1241583.9629
25 | 2634817.456 | 1241583.8452
26 | 2634817.4686 | 1241589.6697
27 | 2634817.8857 | 1241564.8479
28 | 2635049.0732 | 1241525.0251
29 | 2635075.5735 | 1241549.2147
30 | 2635035.869 | 1241512.9723
31 | 2635088.2911 | 1241562.1762
32 | 2635008.1525 | 1241544.2956
33 | 2635018.5426 | 1241493.5911
34 | 2635102.3925 | 1241582.6761
35 | 2635007.1478 | 1241545.3713
36 | 2634982.4088 | 1241531.636
37 | 2635070.5145 | 1241599.5526
38 | 2634996.1307 | 1241555.8236
39 | 2634988.3699 | 1241562.6951
40 | 2634972.2126 | 1241576.403
41 | 2634966.587 | 1241580.6926
42 | 2634951.9504 | 1241590.6273
43 | 2634946.7778 | 1241593.6932
44 | 2634757.6236 | 1241465.4894
45 | 2634761.2217 | 1241458.8629
46 | 2634817.5481 | 1241626.1617
47 | 2634817.4728 | 1241591.5777
48 | 2634825.4032 | 1241649.6321
49 | 2634926.4623 | 1241604.1858
50 | 2634904.2856 | 1241614.3197
51 | 2635065.7157 | 1241602.3048
52 | 2635060.2613 | 1241605.4331
53 | 2635055.0851 | 1241608.4017
54 | 2635050.7959 | 1241610.8617
55 | 2635040.2003 | 1241617.6868
56 | 2634902.6641 | 1241615.0607
57 | 2634874.4208 | 1241638.5672
58 | 2634863.517 | 1241642.429
59 | 2634941.2937 | 1241672.9079
60 | 2634928.7632 | 1241677.2993
61 | 2634960.5769 | 1241666.1498
62 | 2634911.7888 | 1241680.968
63 | 2634966.5674 | 1241663.9699
64 | 2634902.5609 | 1241682.7601
65 | 2634987.2085 | 1241653.3984
66 | 2634880.2617 | 1241687.4261
67 | 2635007.7951 | 1241642.281
68 | 2634851.8967 | 1241693.6507
69 | 2634840.2394 | 1241675.5194
70 | 2634827.2277 | 1241655.2815
71 | 2634857.236 | 1241644.6535
72 | 2634847.7145 | 1241648.0257
73 | 2635010.081 | 1241640.5869
74 | 2635026.3214 | 1241628.441
75 | 2635028.7278 | 1241626.5763
76 | 2634831.5667 | 1241532.324
77 | 2634850.3867 | 1241525.0421
78 | 2634818.507 | 1241537.3771
79 | 2634854.7541 | 1241523.3522
80 | 2634818.4678 | 1241536.1923
81 | 2634818.0729 | 1241556.5718
82 | 2634817.775 | 1241515.2767
83 | 2634764.9467 | 1241452.0029
84 | 2634817.5481 | 1241626.1617

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1