## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4271-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4271-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4271-11_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4271-11_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4271-11_0_5_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_4271-11_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4271-11_0_5_node_152 | 0.4 | n |  | TRUE
7 | bus_LV_4271-11_0_5_node_114 | 0.4 | n |  | TRUE
8 | bus_LV_4271-11_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_4271-11_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_4271-11_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_4271-11_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_4271-11_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_4271-11_0_5_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_4271-11_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_4271-11_0_5_node_116 | 0.4 | n |  | TRUE
16 | bus_LV_4271-11_0_5_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_4271-11_0_5_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_4271-11_0_5_node_115 | 0.4 | n |  | TRUE
19 | bus_LV_4271-11_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_4271-11_0_5_node_91 | 0.4 | n |  | TRUE
21 | bus_LV_4271-11_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_4271-11_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_4271-11_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_4271-11_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4271-11_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4271-11_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_4271-11_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4271-11_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4271-11_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4271-11_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4271-11_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4271-11_0_5_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4271-11_0_5_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_4271-11_0_5_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_4271-11_0_5_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_4271-11_0_5_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_4271-11_0_5_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_4271-11_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_4271-11_0_5_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_4271-11_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4271-11_0_5_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_4271-11_0_5_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_4271-11_0_5_node_128 | 0.4 | n |  | TRUE
44 | bus_LV_4271-11_0_5_node_137 | 0.4 | n |  | TRUE
45 | bus_LV_4271-11_0_5_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4271-11_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4271-11_0_5_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_4271-11_0_5_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4271-11_0_5_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_4271-11_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_4271-11_0_5_node_154 | 0.4 | n |  | TRUE
52 | bus_LV_4271-11_0_5_node_149 | 0.4 | n |  | TRUE
53 | bus_LV_4271-11_0_5_node_155 | 0.4 | n |  | TRUE
54 | bus_LV_4271-11_0_5_node_117 | 0.4 | n |  | TRUE
55 | bus_LV_4271-11_0_5_node_85 | 0.4 | n |  | TRUE
56 | bus_LV_4271-11_0_5_node_139 | 0.4 | n |  | TRUE
57 | bus_LV_4271-11_0_5_node_118 | 0.4 | n |  | TRUE
58 | bus_LV_4271-11_0_5_node_126 | 0.4 | n |  | TRUE
59 | bus_LV_4271-11_0_5_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4271-11_0_5_node_138 | 0.4 | n |  | TRUE
61 | bus_LV_4271-11_0_5_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_4271-11_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_4271-11_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_4271-11_0_5_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_4271-11_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_4271-11_0_5_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_4271-11_0_5_node_51 | 0.4 | n |  | TRUE
68 | bus_LV_4271-11_0_5_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_4271-11_0_5_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_4271-11_0_5_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4271-11_0_5_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_4271-11_0_5_node_48 | 0.4 | n |  | TRUE
73 | bus_LV_4271-11_0_5_node_49 | 0.4 | n |  | TRUE
74 | bus_LV_4271-11_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_4271-11_0_5_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_4271-11_0_5_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_4271-11_0_5_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4271-11_0_5_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_4271-11_0_5_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_4271-11_0_5_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_4271-11_0_5_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_4271-11_0_5_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_4271-11_0_5_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_4271-11_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_4271-11_0_5_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_4271-11_0_5_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_4271-11_0_5_node_61 | 0.4 | n |  | TRUE
88 | bus_LV_4271-11_0_5_node_62 | 0.4 | n |  | TRUE
89 | bus_LV_4271-11_0_5_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_4271-11_0_5_node_64 | 0.4 | n |  | TRUE
91 | bus_LV_4271-11_0_5_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_4271-11_0_5_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_4271-11_0_5_node_119 | 0.4 | n |  | TRUE
94 | bus_LV_4271-11_0_5_node_70 | 0.4 | n |  | TRUE
95 | bus_LV_4271-11_0_5_node_136 | 0.4 | n |  | TRUE
96 | bus_LV_4271-11_0_5_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_4271-11_0_5_node_71 | 0.4 | n |  | TRUE
98 | bus_LV_4271-11_0_5_node_135 | 0.4 | n |  | TRUE
99 | bus_LV_4271-11_0_5_node_69 | 0.4 | n |  | TRUE
100 | bus_LV_4271-11_0_5_node_145 | 0.4 | n |  | TRUE
101 | bus_LV_4271-11_0_5_node_78 | 0.4 | n |  | TRUE
102 | bus_LV_4271-11_0_5_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_4271-11_0_5_node_80 | 0.4 | n |  | TRUE
104 | bus_LV_4271-11_0_5_node_77 | 0.4 | n |  | TRUE
105 | bus_LV_4271-11_0_5_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_4271-11_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_4271-11_0_5_node_86 | 0.4 | n |  | TRUE
108 | bus_LV_4271-11_0_5_node_82 | 0.4 | n |  | TRUE
109 | bus_LV_4271-11_0_5_node_73 | 0.4 | n |  | TRUE
110 | bus_LV_4271-11_0_5_node_75 | 0.4 | n |  | TRUE
111 | bus_LV_4271-11_0_5_node_76 | 0.4 | n |  | TRUE
112 | bus_LV_4271-11_0_5_node_134 | 0.4 | n |  | TRUE
113 | bus_LV_4271-11_0_5_node_79 | 0.4 | n |  | TRUE
114 | bus_LV_4271-11_0_5_node_81 | 0.4 | n |  | TRUE
115 | bus_LV_4271-11_0_5_node_133 | 0.4 | n |  | TRUE
116 | bus_LV_4271-11_0_5_node_140 | 0.4 | n |  | TRUE
117 | bus_LV_4271-11_0_5_node_132 | 0.4 | n |  | TRUE
118 | bus_LV_4271-11_0_5_node_141 | 0.4 | n |  | TRUE
119 | bus_LV_4271-11_0_5_node_153 | 0.4 | n |  | TRUE
120 | bus_LV_4271-11_0_5_node_124 | 0.4 | n |  | TRUE
121 | bus_LV_4271-11_0_5_node_89 | 0.4 | n |  | TRUE
122 | bus_LV_4271-11_0_5_node_101 | 0.4 | n |  | TRUE
123 | bus_LV_4271-11_0_5_node_96 | 0.4 | n |  | TRUE
124 | bus_LV_4271-11_0_5_node_97 | 0.4 | n |  | TRUE
125 | bus_LV_4271-11_0_5_node_98 | 0.4 | n |  | TRUE
126 | bus_LV_4271-11_0_5_node_100 | 0.4 | n |  | TRUE
127 | bus_LV_4271-11_0_5_node_122 | 0.4 | n |  | TRUE
128 | bus_LV_4271-11_0_5_node_121 | 0.4 | n |  | TRUE
129 | bus_LV_4271-11_0_5_node_102 | 0.4 | n |  | TRUE
130 | bus_LV_4271-11_0_5_node_104 | 0.4 | n |  | TRUE
131 | bus_LV_4271-11_0_5_node_105 | 0.4 | n |  | TRUE
132 | bus_LV_4271-11_0_5_node_106 | 0.4 | n |  | TRUE
133 | bus_LV_4271-11_0_5_node_107 | 0.4 | n |  | TRUE
134 | bus_LV_4271-11_0_5_node_108 | 0.4 | n |  | TRUE
135 | bus_LV_4271-11_0_5_node_150 | 0.4 | n |  | TRUE
136 | bus_LV_4271-11_0_5_node_151 | 0.4 | n |  | TRUE
137 | bus_LV_4271-11_0_5_node_109 | 0.4 | n |  | TRUE
138 | bus_LV_4271-11_0_5_node_110 | 0.4 | n |  | TRUE
139 | bus_LV_4271-11_0_5_node_111 | 0.4 | n |  | TRUE
140 | bus_LV_4271-11_0_5_node_112 | 0.4 | n |  | TRUE
141 | bus_LV_4271-11_0_5_node_113 | 0.4 | n |  | TRUE
142 | bus_LV_4271-11_0_5_node_144 | 0.4 | n |  | TRUE
143 | bus_LV_4271-11_0_5_node_143 | 0.4 | n |  | TRUE
144 | bus_LV_4271-11_0_5_node_123 | 0.4 | n |  | TRUE
145 | bus_LV_4271-11_0_5_node_125 | 0.4 | n |  | TRUE
146 | bus_LV_4271-11_0_5_node_127 | 0.4 | n |  | TRUE
147 | bus_LV_4271-11_0_5_node_129 | 0.4 | n |  | TRUE
148 | bus_LV_4271-11_0_5_node_130 | 0.4 | n |  | TRUE
149 | bus_LV_4271-11_0_5_node_131 | 0.4 | n |  | TRUE
150 | bus_LV_4271-11_0_5_node_146 | 0.4 | n |  | TRUE
151 | bus_LV_4271-11_0_5_node_147 | 0.4 | n |  | TRUE
152 | bus_LV_4271-11_0_5_node_142 | 0.4 | n |  | TRUE
153 | bus_LV_4271-11_0_5_node_148 | 0.4 | n |  | TRUE
154 | bus_MV_397_0_node_262 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4271-11_0_5_load_0 | 0 | 0.00078 | 0.00019549 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4271-11_0_5_load_1 | 1 | 0.0011611 | 0.00029099 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4271-11_0_5_load_5 | 3 | 0.0034464 | 0.00086375 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4271-11_0_5_load_6 | 4 | 0.0011211 | 0.00028098 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4271-11_0_5_load_114 | 7 | 0.0017344 | 0.00043468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4271-11_0_5_load_7 | 8 | 0.0042023 | 0.0010532 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4271-11_0_5_load_8 | 11 | 0.0054636 | 0.0013693 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4271-11_0_5_load_116 | 15 | 0.0016253 | 0.00040734 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4271-11_0_5_load_45 | 16 | 0.0033611 | 0.00084238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4271-11_0_5_load_90 | 17 | 0.0013678 | 0.00034281 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4271-11_0_5_load_115 | 18 | 0.0012871 | 0.00032257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4271-11_0_5_load_29 | 19 | 0.0017682 | 0.00044315 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4271-11_0_5_load_91 | 20 | 0.0015018 | 0.00037638 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4271-11_0_5_load_14 | 21 | 0.0014514 | 0.00036376 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4271-11_0_5_load_15 | 22 | 0.0017971 | 0.00045039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4271-11_0_5_load_16 | 23 | 0.0014046 | 0.00035203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4271-11_0_5_load_17 | 24 | 0.0015426 | 0.0003866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4271-11_0_5_load_18 | 25 | 0.0037341 | 0.00093585 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4271-11_0_5_load_24 | 26 | 0.0011134 | 0.00027905 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4271-11_0_5_load_25 | 27 | 0.0019649 | 0.00049245 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4271-11_0_5_load_19 | 28 | 0.0025273 | 0.00063339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4271-11_0_5_load_20 | 29 | 0.002058 | 0.00051578 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4271-11_0_5_load_21 | 30 | 0.0023872 | 0.0005983 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4271-11_0_5_load_22 | 31 | 0.0025629 | 0.00064232 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4271-11_0_5_load_23 | 32 | 0.0017835 | 0.00044699 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4271-11_0_5_load_58 | 33 | 0.0028783 | 0.00072137 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4271-11_0_5_load_92 | 34 | 0.0025321 | 0.00063461 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4271-11_0_5_load_59 | 35 | 0.0036754 | 0.00092114 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4271-11_0_5_load_38 | 37 | 0.0016247 | 0.00040719 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4271-11_0_5_load_26 | 39 | 0.0013804 | 0.00034595 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4271-11_0_5_load_27 | 40 | 0.00094038 | 0.00023568 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4271-11_0_5_load_28 | 41 | 0.0012359 | 0.00030976 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4271-11_0_5_load_30 | 42 | 0.0031943 | 0.00080056 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4271-11_0_5_load_128 | 43 | 0.0035799 | 0.00089721 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4271-11_0_5_load_137 | 44 | 0.0034718 | 0.00087012 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4271-11_0_5_load_31 | 45 | 0.0023593 | 0.00059129 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4271-11_0_5_load_32 | 46 | 0.0020114 | 0.00050411 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4271-11_0_5_load_34 | 48 | 0.0028422 | 0.00071232 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4271-11_0_5_load_35 | 49 | 0.0020078 | 0.00050321 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4271-11_0_5_load_36 | 50 | 0.0016103 | 0.00040359 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4271-11_0_5_load_154 | 51 | 0.0020114 | 0.0005041 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4271-11_0_5_load_149 | 52 | 0.0013022 | 0.00032637 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4271-11_0_5_load_155 | 53 | 0.0040759 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4271-11_0_5_load_117 | 54 | 0.0024596 | 0.00061645 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4271-11_0_5_load_139 | 56 | 0.0013207 | 0.00033101 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4271-11_0_5_load_118 | 57 | 0.0019695 | 0.00049362 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4271-11_0_5_load_126 | 58 | 0.002113 | 0.00052956 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4271-11_0_5_load_83 | 59 | 0.0023617 | 0.00059189 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4271-11_0_5_load_138 | 60 | 0.0036151 | 0.00090602 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4271-11_0_5_load_40 | 61 | 0.002476 | 0.00062054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4271-11_0_5_load_41 | 62 | 0.0020765 | 0.00052042 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4271-11_0_5_load_42 | 63 | 0.0017918 | 0.00044905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4271-11_0_5_load_43 | 64 | 0.001937 | 0.00048545 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4271-11_0_5_load_44 | 65 | 0.0012883 | 0.00032288 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4271-11_0_5_load_67 | 66 | 0.0019473 | 0.00048804 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4271-11_0_5_load_51 | 67 | 0.0019525 | 0.00048935 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4271-11_0_5_load_68 | 68 | 0.0019674 | 0.00049308 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4271-11_0_5_load_52 | 69 | 0.0015727 | 0.00039415 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4271-11_0_5_load_46 | 70 | 0.002909 | 0.00072905 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4271-11_0_5_load_47 | 71 | 0.0029958 | 0.00075082 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4271-11_0_5_load_48 | 72 | 0.0027666 | 0.00069338 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4271-11_0_5_load_49 | 73 | 0.0022492 | 0.00056371 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4271-11_0_5_load_50 | 74 | 0.0038702 | 0.00096997 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4271-11_0_5_load_94 | 75 | 0.0021127 | 0.00052948 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4271-11_0_5_load_95 | 76 | 0.0013118 | 0.00032878 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4271-11_0_5_load_53 | 77 | 0.0013806 | 0.00034601 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4271-11_0_5_load_54 | 78 | 0.0016737 | 0.00041948 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4271-11_0_5_load_55 | 79 | 0.0024925 | 0.00062469 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4271-11_0_5_load_56 | 80 | 0.0017368 | 0.00043527 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4271-11_0_5_load_72 | 82 | 0.0022336 | 0.00055979 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4271-11_0_5_load_60 | 84 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4271-11_0_5_load_87 | 85 | 0.002305 | 0.00057769 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4271-11_0_5_load_88 | 86 | 0.0019099 | 0.00047867 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4271-11_0_5_load_61 | 87 | 0.00096686 | 0.00024232 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4271-11_0_5_load_62 | 88 | 0.0019544 | 0.00048981 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4271-11_0_5_load_64 | 90 | 0.0011185 | 0.00028032 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4271-11_0_5_load_65 | 91 | 0.0019379 | 0.00048567 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4271-11_0_5_load_66 | 92 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4271-11_0_5_load_119 | 93 | 0.0015352 | 0.00038476 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4271-11_0_5_load_70 | 94 | 0.0011137 | 0.00027913 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4271-11_0_5_load_120 | 96 | 0.00095996 | 0.00024059 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4271-11_0_5_load_71 | 97 | 0.00095253 | 0.00023873 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4271-11_0_5_load_145 | 100 | 0.0013632 | 0.00034165 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4271-11_0_5_load_80 | 103 | 0.0017881 | 0.00044813 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4271-11_0_5_load_77 | 104 | 0.0019366 | 0.00048535 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4271-11_0_5_load_93 | 105 | 0.0014836 | 0.00037183 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4271-11_0_5_load_86 | 107 | 0.0070616 | 0.0017698 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4271-11_0_5_load_82 | 108 | 0.0029386 | 0.00073649 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4271-11_0_5_load_73 | 109 | 0.0032291 | 0.00080928 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4271-11_0_5_load_76 | 111 | 0.0047003 | 0.001178 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4271-11_0_5_load_134 | 112 | 0.0010086 | 0.00025278 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4271-11_0_5_load_81 | 114 | 0.0010123 | 0.0002537 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4271-11_0_5_load_133 | 115 | 0.0015505 | 0.00038859 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4271-11_0_5_load_140 | 116 | 0.0011221 | 0.00028123 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4271-11_0_5_load_132 | 117 | 0.00171 | 0.00042856 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4271-11_0_5_load_141 | 118 | 0.0011862 | 0.00029728 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4271-11_0_5_load_153 | 119 | 0.0032384 | 0.00081161 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4271-11_0_5_load_124 | 120 | 0.0015535 | 0.00038934 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4271-11_0_5_load_89 | 121 | 0.0022161 | 0.00055541 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4271-11_0_5_load_101 | 122 | 0.0024418 | 0.00061197 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4271-11_0_5_load_96 | 123 | 0.0016828 | 0.00042174 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4271-11_0_5_load_97 | 124 | 0.001375 | 0.0003446 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4271-11_0_5_load_98 | 125 | 0.0038534 | 0.00096576 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4271-11_0_5_load_100 | 126 | 0.0015546 | 0.00038962 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4271-11_0_5_load_122 | 127 | 0.0023651 | 0.00059274 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4271-11_0_5_load_121 | 128 | 0.0016692 | 0.00041834 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4271-11_0_5_load_102 | 129 | 0.0027497 | 0.00068914 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4271-11_0_5_load_104 | 130 | 0.0012861 | 0.00032233 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4271-11_0_5_load_105 | 131 | 0.0022475 | 0.00056327 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4271-11_0_5_load_107 | 133 | 0.0017415 | 0.00043645 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4271-11_0_5_load_108 | 134 | 0.0020343 | 0.00050984 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4271-11_0_5_load_150 | 135 | 0.0010223 | 0.00025621 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4271-11_0_5_load_151 | 136 | 0.0012106 | 0.00030342 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4271-11_0_5_load_109 | 137 | 0.002985 | 0.00074812 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4271-11_0_5_load_110 | 138 | 0.0024138 | 0.00060496 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4271-11_0_5_load_111 | 139 | 0.0032827 | 0.00082273 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4271-11_0_5_load_112 | 140 | 0.0025299 | 0.00063406 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4271-11_0_5_load_113 | 141 | 0.0022515 | 0.00056428 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4271-11_0_5_load_144 | 142 | 0.0022666 | 0.00056807 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4271-11_0_5_load_143 | 143 | 0.0018465 | 0.00046277 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4271-11_0_5_load_123 | 144 | 0.0013102 | 0.00032837 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4271-11_0_5_load_125 | 145 | 0.0020908 | 0.000524 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4271-11_0_5_load_127 | 146 | 0.0011605 | 0.00029085 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4271-11_0_5_load_129 | 147 | 0.0030996 | 0.00077684 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4271-11_0_5_load_130 | 148 | 0.0009994 | 0.00025047 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4271-11_0_5_load_131 | 149 | 0.0013784 | 0.00034546 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4271-11_0_5_load_146 | 150 | 0.001777 | 0.00044535 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4271-11_0_5_load_147 | 151 | 0.001424 | 0.0003569 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4271-11_0_5_load_142 | 152 | 0.0018012 | 0.00045141 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4271-11_0_5_load_148 | 153 | 0.0021562 | 0.0005404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4271-11_0_5_line_0 |  | 0 | 1 | 0.0045559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4271-11_0_5_line_1 |  | 1 | 2 | 0.031282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4271-11_0_5_line_2 |  | 2 | 5 | 0.099864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4271-11_0_5_line_3 |  | 3 | 4 | 0.024483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4271-11_0_5_line_4 |  | 4 | 8 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4271-11_0_5_line_5 |  | 5 | 6 | 0.11963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4271-11_0_5_line_6 |  | 6 | 7 | 0.013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4271-11_0_5_line_7 |  | 7 | 81 | 0.038932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4271-11_0_5_line_8 |  | 8 | 9 | 0.035584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4271-11_0_5_line_9 |  | 9 | 10 | 0.014233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4271-11_0_5_line_10 |  | 10 | 11 | 0.030678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4271-11_0_5_line_11 |  | 11 | 12 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4271-11_0_5_line_12 |  | 12 | 13 | 0.007684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4271-11_0_5_line_13 |  | 12 | 14 | 0.051014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4271-11_0_5_line_14 |  | 13 | 15 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4271-11_0_5_line_15 |  | 14 | 16 | 0.048313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4271-11_0_5_line_16 |  | 14 | 17 | 0.041248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4271-11_0_5_line_17 |  | 15 | 18 | 0.033185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4271-11_0_5_line_18 |  | 16 | 19 | 0.007806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4271-11_0_5_line_19 |  | 17 | 20 | 0.0025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4271-11_0_5_line_20 |  | 18 | 140 | 0.036472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4271-11_0_5_line_21 |  | 19 | 40 | 0.020833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4271-11_0_5_line_22 |  | 20 | 34 | 0.01951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4271-11_0_5_line_23 |  | 21 | 22 | 0.023777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4271-11_0_5_line_24 |  | 21 | 23 | 0.0059171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4271-11_0_5_line_25 |  | 22 | 24 | 0.001472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4271-11_0_5_line_26 |  | 23 | 25 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4271-11_0_5_line_27 |  | 24 | 26 | 0.023546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4271-11_0_5_line_28 |  | 26 | 27 | 0.0020647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4271-11_0_5_line_29 |  | 27 | 36 | 0.019328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4271-11_0_5_line_30 |  | 28 | 29 | 0.012188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_4271-11_0_5_line_31 |  | 28 | 30 | 0.0017554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4271-11_0_5_line_32 |  | 29 | 31 | 0.0092416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4271-11_0_5_line_33 |  | 30 | 32 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4271-11_0_5_line_34 |  | 31 | 33 | 0.0211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_4271-11_0_5_line_35 |  | 32 | 34 | 0.012077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4271-11_0_5_line_36 |  | 33 | 35 | 0.0053465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4271-11_0_5_line_37 |  | 35 | 84 | 0.027846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4271-11_0_5_line_38 |  | 36 | 37 | 0.0093434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4271-11_0_5_line_39 |  | 36 | 38 | 0.05285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_4271-11_0_5_line_40 |  | 37 | 54 | 0.0061367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4271-11_0_5_line_41 |  | 38 | 55 | 0.049878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4271-11_0_5_line_42 |  | 38 | 56 | 0.014413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_4271-11_0_5_line_43 |  | 38 | 52 | 0.020556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4271-11_0_5_line_44 |  | 39 | 40 | 0.005795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_4271-11_0_5_line_45 |  | 39 | 41 | 0.022276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_4271-11_0_5_line_46 |  | 41 | 42 | 0.033336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_4271-11_0_5_line_47 |  | 42 | 43 | 0.02492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_4271-11_0_5_line_48 |  | 43 | 44 | 0.0065298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_4271-11_0_5_line_49 |  | 44 | 60 | 0.019035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4271-11_0_5_line_50 |  | 45 | 46 | 0.013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4271-11_0_5_line_51 |  | 45 | 47 | 0.015489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4271-11_0_5_line_52 |  | 46 | 48 | 0.014017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4271-11_0_5_line_53 |  | 47 | 49 | 0.037005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4271-11_0_5_line_54 |  | 47 | 50 | 0.013619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4271-11_0_5_line_55 |  | 48 | 51 | 0.0020956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4271-11_0_5_line_56 |  | 49 | 52 | 0.00088895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4271-11_0_5_line_57 |  | 50 | 53 | 0.049576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4271-11_0_5_line_58 |  | 54 | 57 | 0.023078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4271-11_0_5_line_59 |  | 55 | 58 | 0.019513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4271-11_0_5_line_60 |  | 55 | 59 | 0.017851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4271-11_0_5_line_61 |  | 56 | 60 | 0.0070374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4271-11_0_5_line_62 |  | 57 | 73 | 1.8184e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4271-11_0_5_line_63 |  | 58 | 120 | 0.025445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4271-11_0_5_line_64 |  | 59 | 108 | 0.01923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4271-11_0_5_line_65 |  | 61 | 62 | 0.043528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4271-11_0_5_line_66 |  | 61 | 63 | 0.0029045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4271-11_0_5_line_67 |  | 62 | 64 | 0.012955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4271-11_0_5_line_68 |  | 63 | 65 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4271-11_0_5_line_69 |  | 64 | 66 | 0.020581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4271-11_0_5_line_70 |  | 65 | 67 | 0.0048229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4271-11_0_5_line_71 |  | 66 | 68 | 0.0078151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4271-11_0_5_line_72 |  | 67 | 69 | 0.017209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4271-11_0_5_line_73 |  | 68 | 99 | 0.01114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4271-11_0_5_line_74 |  | 69 | 75 | 0.006793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4271-11_0_5_line_75 |  | 70 | 71 | 9.4892e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4271-11_0_5_line_76 |  | 70 | 72 | 0.021449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4271-11_0_5_line_77 |  | 71 | 73 | 0.025256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4271-11_0_5_line_78 |  | 72 | 74 | 2.8849e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4271-11_0_5_line_79 |  | 75 | 76 | 0.013486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_4271-11_0_5_line_80 |  | 76 | 121 | 0.013017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_4271-11_0_5_line_81 |  | 77 | 78 | 0.021637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4271-11_0_5_line_82 |  | 77 | 79 | 0.0016145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4271-11_0_5_line_83 |  | 78 | 80 | 0.032288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4271-11_0_5_line_84 |  | 79 | 81 | 0.024169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4271-11_0_5_line_85 |  | 80 | 82 | 0.0055696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4271-11_0_5_line_86 |  | 82 | 83 | 0.025869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4271-11_0_5_line_87 |  | 83 | 107 | 0.0036107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4271-11_0_5_line_88 |  | 83 | 108 | 0.030515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4271-11_0_5_line_89 |  | 84 | 85 | 0.0012636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_4271-11_0_5_line_90 |  | 85 | 86 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4271-11_0_5_line_91 |  | 86 | 121 | 0.011802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_4271-11_0_5_line_92 |  | 87 | 88 | 0.0056136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4271-11_0_5_line_93 |  | 87 | 89 | 0.031817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4271-11_0_5_line_94 |  | 88 | 90 | 0.011433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4271-11_0_5_line_95 |  | 89 | 91 | 0.0035636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_4271-11_0_5_line_96 |  | 89 | 92 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_4271-11_0_5_line_97 |  | 90 | 93 | 0.0092613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4271-11_0_5_line_98 |  | 91 | 94 | 0.013035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_4271-11_0_5_line_99 |  | 92 | 95 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4271-11_0_5_line_100 |  | 93 | 96 | 0.0073306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4271-11_0_5_line_101 |  | 94 | 97 | 0.0074247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4271-11_0_5_line_102 |  | 95 | 98 | 0.022902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4271-11_0_5_line_103 |  | 96 | 128 | 0.022238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4271-11_0_5_line_104 |  | 97 | 105 | 0.0012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4271-11_0_5_line_105 |  | 98 | 112 | 0.049496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
106 | LV_4271-11_0_5_line_106 |  | 99 | 100 | 0.030758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4271-11_0_5_line_107 |  | 99 | 101 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4271-11_0_5_line_108 |  | 100 | 102 | 0.015472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4271-11_0_5_line_109 |  | 101 | 103 | 0.0075591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4271-11_0_5_line_110 |  | 101 | 104 | 0.0264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4271-11_0_5_line_111 |  | 102 | 106 | 0.005022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_4271-11_0_5_line_112 |  | 103 | 115 | 0.025723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4271-11_0_5_line_113 |  | 104 | 113 | 0.0033967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4271-11_0_5_line_114 |  | 105 | 106 | 0.015632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_4271-11_0_5_line_115 |  | 106 | 122 | 0.015255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4271-11_0_5_line_116 |  | 107 | 119 | 0.0087775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4271-11_0_5_line_117 |  | 109 | 110 | 0.030804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4271-11_0_5_line_118 |  | 110 | 111 | 0.069543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4271-11_0_5_line_119 |  | 111 | 112 | 0.085172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4271-11_0_5_line_120 |  | 113 | 114 | 0.03537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4271-11_0_5_line_121 |  | 114 | 116 | 0.018904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4271-11_0_5_line_122 |  | 115 | 117 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4271-11_0_5_line_123 |  | 116 | 118 | 0.0012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4271-11_0_5_line_124 |  | 117 | 133 | 0.0032671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4271-11_0_5_line_125 |  | 120 | 144 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4271-11_0_5_line_126 |  | 122 | 129 | 0.012231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4271-11_0_5_line_127 |  | 123 | 124 | 0.0038767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4271-11_0_5_line_128 |  | 123 | 125 | 0.016854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4271-11_0_5_line_129 |  | 125 | 126 | 0.0021888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4271-11_0_5_line_130 |  | 126 | 127 | 0.0093209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4271-11_0_5_line_131 |  | 127 | 128 | 0.010927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4271-11_0_5_line_132 |  | 130 | 131 | 0.012977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4271-11_0_5_line_133 |  | 130 | 132 | 0.0094904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4271-11_0_5_line_134 |  | 131 | 133 | 0.018519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4271-11_0_5_line_135 |  | 132 | 134 | 0.02421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4271-11_0_5_line_136 |  | 134 | 135 | 0.019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4271-11_0_5_line_137 |  | 135 | 136 | 0.016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4271-11_0_5_line_138 |  | 137 | 138 | 0.032369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4271-11_0_5_line_139 |  | 137 | 139 | 0.032461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4271-11_0_5_line_140 |  | 138 | 140 | 0.023749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4271-11_0_5_line_141 |  | 139 | 141 | 0.029544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4271-11_0_5_line_142 |  | 141 | 142 | 0.032416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4271-11_0_5_line_143 |  | 142 | 143 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4271-11_0_5_line_144 |  | 143 | 152 | 0.025685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4271-11_0_5_line_145 |  | 144 | 145 | 0.0046584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4271-11_0_5_line_146 |  | 145 | 146 | 0.017846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4271-11_0_5_line_147 |  | 146 | 147 | 0.004359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4271-11_0_5_line_148 |  | 147 | 148 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4271-11_0_5_line_149 |  | 148 | 149 | 0.0039177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4271-11_0_5_line_150 |  | 149 | 150 | 0.021535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4271-11_0_5_line_151 |  | 150 | 151 | 0.023006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4271-11_0_5_line_152 |  | 151 | 153 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4271-11_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 154 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2635589.6381 | 1242086.5458 | 2635589.3119 | 1242091.09
1 | 2635607.6012 | 1242104.5609 | 2635588.4473 | 1242103.1342 | 2635589.3119 | 1242091.09
2 | 2635534.4252 | 1242136.6991 | 2635535.7977 | 1242137.241 | 2635546.0213 | 1242134.1001 | 2635555.1544 | 1242131.2974 | 2635556.7488 | 1242131.3959 | 2635561.7662 | 1242131.7039 | 2635595.6413 | 1242133.7858 | 2635599.7887 | 1242135.4784 | 2635605.3759 | 1242129.0077 | 2635607.6012 | 1242104.5609
3 | 2635413.3984 | 1242123.071 | 2635399.6278 | 1242125.7987 | 2635389.5651 | 1242128.5961 | 2635389.5651 | 1242128.5961
4 | 2635368.264 | 1242141.5918 | 2635379.8175 | 1242133.0409 | 2635389.5651 | 1242128.5961
5 | 2635524.3312 | 1242255.9042 | 2635534.4252 | 1242136.6991
6 | 2635524.3312 | 1242255.9042 | 2635535.5346 | 1242263.1004
7 | 2635568.2913 | 1242284.1409 | 2635535.5346 | 1242263.1004
8 | 2635340.2832 | 1242163.5474 | 2635352.6057 | 1242153.1807 | 2635368.264 | 1242141.5918
9 | 2635327.4262 | 1242169.7305 | 2635340.2832 | 1242163.5474
10 | 2635327.4262 | 1242169.7305 | 2635329.7408 | 1242175.8148 | 2635330.8757 | 1242187.0844 | 2635328.6008 | 1242199.7234
11 | 2635319.8572 | 1242214.6032 | 2635321.3564 | 1242212.911 | 2635324.23 | 1242208.9033 | 2635328.6008 | 1242199.7234
12 | 2635319.8572 | 1242214.6032 | 2635313.5944 | 1242219.08
13 | 2635319.8572 | 1242214.6032 | 2635323.2932 | 1242224.0631 | 2635328.8533 | 1242228.4322 | 2635358.2625 | 1242245.4292
14 | 2635313.5944 | 1242219.08 | 2635312.7877 | 1242231.4276 | 2635311.4112 | 1242235.3775 | 2635309.8566 | 1242238.7005
15 | 2635358.2625 | 1242245.4292 | 2635399.9361 | 1242269.8724
16 | 2635358.2625 | 1242245.4292 | 2635355.0414 | 1242255.75 | 2635360.3749 | 1242285.7154
17 | 2635309.8566 | 1242238.7005 | 2635306.9399 | 1242244.9348 | 2635303.662 | 1242258.4685 | 2635303.5884 | 1242270.8453
18 | 2635406.6693 | 1242273.8217 | 2635399.9361 | 1242269.8724
19 | 2635360.3749 | 1242285.7154 | 2635360.8157 | 1242288.1917
20 | 2635311.047 | 1242306.4596 | 2635306.6745 | 1242289.5842 | 2635303.5713 | 1242273.7222 | 2635303.5884 | 1242270.8453
21 | 2635406.6693 | 1242273.8217 | 2635409.6426 | 1242275.5656 | 2635421.3678 | 1242282.9514 | 2635423.9657 | 1242285.3396
22 | 2635364.5076 | 1242307.348 | 2635361.7412 | 1242293.3918 | 2635360.8157 | 1242288.1917
23 | 2635454.1204 | 1242451.3973 | 2635457.5582 | 1242474.9249
24 | 2635458.4137 | 1242480.7799 | 2635457.5582 | 1242474.9249
25 | 2635454.1204 | 1242451.3973 | 2635453.9076 | 1242449.9408
26 | 2635460.0751 | 1242492.15 | 2635458.4137 | 1242480.7799
27 | 2635450.5032 | 1242426.6418 | 2635453.9076 | 1242449.9408
28 | 2635450.2046 | 1242424.5988 | 2635450.5032 | 1242426.6418
29 | 2635447.4102 | 1242405.4743 | 2635450.2046 | 1242424.5988
30 | 2635372.1397 | 1242345.8526 | 2635369.7699 | 1242333.897
31 | 2635369.4286 | 1242332.1752 | 2635369.7699 | 1242333.897
32 | 2635373.9365 | 1242354.9179 | 2635372.1397 | 1242345.8526
33 | 2635369.4286 | 1242332.1752 | 2635366.8558 | 1242319.1949
34 | 2635373.9365 | 1242354.9179 | 2635375.9924 | 1242365.2895 | 2635378.499 | 1242375.5132
35 | 2635364.5076 | 1242307.348 | 2635366.8558 | 1242319.1949
36 | 2635378.499 | 1242375.5132 | 2635379.7722 | 1242380.7059
37 | 2635379.7722 | 1242380.7059 | 2635386.4032 | 1242407.7509
38 | 2635447.4102 | 1242405.4743 | 2635445.1192 | 1242396.4161
39 | 2635499.1285 | 1242393.8978 | 2635447.4102 | 1242405.4743
40 | 2635445.1192 | 1242396.4161 | 2635443.6145 | 1242390.4667
41 | 2635499.1285 | 1242393.8978 | 2635536.6628 | 1242382.9818 | 2635546.8306 | 1242378.9956
42 | 2635499.1285 | 1242393.8978 | 2635492.871 | 1242380.9145
43 | 2635499.1285 | 1242393.8978 | 2635503.8031 | 1242413.9153
44 | 2635423.9657 | 1242285.3396 | 2635428.2318 | 1242289.2614
45 | 2635444.4811 | 1242304.4802 | 2635443.4623 | 1242303.2628 | 2635428.2318 | 1242289.2614
46 | 2635465.0673 | 1242330.6521 | 2635459.7339 | 1242322.7057 | 2635444.4811 | 1242304.4802
47 | 2635465.0673 | 1242330.6521 | 2635473.2648 | 1242342.8661 | 2635478.0918 | 1242351.8633
48 | 2635481.1788 | 1242357.6174 | 2635478.0918 | 1242351.8633
49 | 2635489.8156 | 1242374.575 | 2635485.7416 | 1242366.1222 | 2635481.1788 | 1242357.6174
50 | 2635514.486 | 1242466.1974 | 2635515.7906 | 1242471.8475 | 2635517.953 | 1242474.262 | 2635522.6069 | 1242475.9131 | 2635522.6069 | 1242475.9131
51 | 2635511.0014 | 1242451.1056 | 2635514.486 | 1242466.1974
52 | 2635522.6069 | 1242475.9131 | 2635528.2156 | 1242475.8799 | 2635536.3421 | 1242473.7214
53 | 2635511.0014 | 1242451.1056 | 2635506.5723 | 1242425.7739 | 2635504.0052 | 1242414.7809
54 | 2635511.0014 | 1242451.1056 | 2635497.657 | 1242453.8242
55 | 2635538.3675 | 1242473.1834 | 2635536.3421 | 1242473.7214
56 | 2635504.0052 | 1242414.7809 | 2635503.8031 | 1242413.9153
57 | 2635493.8102 | 1242493.2966 | 2635493.569 | 1242486.8466 | 2635492.5955 | 1242485.3287 | 2635488.9608 | 1242482.6275 | 2635487.4942 | 1242480.1393 | 2635485.5431 | 1242465.118 | 2635485.6277 | 1242463.6064 | 2635487.1483 | 1242458.3232 | 2635488.8137 | 1242456.6543 | 2635491.7562 | 1242455.0264 | 2635497.657 | 1242453.8242
58 | 2635437.9558 | 1242368.0933 | 2635443.6145 | 1242390.4667
59 | 2635546.8306 | 1242378.9956 | 2635537.2534 | 1242361.9951
60 | 2635546.8306 | 1242378.9956 | 2635563.5302 | 1242372.6891
61 | 2635489.8156 | 1242374.575 | 2635492.871 | 1242380.9145
62 | 2635437.9514 | 1242368.0757 | 2635437.9558 | 1242368.0933
63 | 2635524.1761 | 1242340.1701 | 2635535.3423 | 1242358.6027 | 2635537.2534 | 1242361.9951
64 | 2635563.5302 | 1242372.6891 | 2635581.5204 | 1242365.8951
65 | 2635412.8147 | 1242515.4727 | 2635413.1695 | 1242516.9196 | 2635415.0057 | 1242524.6132 | 2635416.0803 | 1242529.4672 | 2635422.5811 | 1242552.2095 | 2635424.4662 | 1242557.3804
66 | 2635412.8147 | 1242515.4727 | 2635412.1231 | 1242512.6518
67 | 2635424.4662 | 1242557.3804 | 2635428.9033 | 1242569.5516
68 | 2635407.6712 | 1242494.4946 | 2635412.1231 | 1242512.6518
69 | 2635435.9526 | 1242588.888 | 2635428.9033 | 1242569.5516
70 | 2635407.6712 | 1242494.4946 | 2635406.5228 | 1242489.8104
71 | 2635435.9526 | 1242588.888 | 2635438.6294 | 1242596.2304
72 | 2635406.5228 | 1242489.8104 | 2635402.4249 | 1242473.0969
73 | 2635442.4449 | 1242606.6963 | 2635438.6294 | 1242596.2304
74 | 2635400.8073 | 1242466.4994 | 2635402.4249 | 1242473.0969
75 | 2635430.6442 | 1242343.8163 | 2635430.674 | 1242343.9064
76 | 2635423.9177 | 1242323.4491 | 2635430.6442 | 1242343.8163
77 | 2635430.674 | 1242343.9064 | 2635435.6466 | 1242358.9631 | 2635437.9514 | 1242368.0757
78 | 2635423.9086 | 1242323.4217 | 2635423.9177 | 1242323.4491
79 | 2635400.8073 | 1242466.4994 | 2635397.596 | 1242453.4018
80 | 2635394.4963 | 1242440.7594 | 2635397.596 | 1242453.4018
81 | 2635555.3463 | 1242304.1967 | 2635550.048 | 1242310.0039 | 2635552.3357 | 1242319.2791 | 2635555.9233 | 1242321.506
82 | 2635555.3463 | 1242304.1967 | 2635556.4345 | 1242303.004
83 | 2635555.9233 | 1242321.506 | 2635583.3561 | 1242338.5342
84 | 2635568.2913 | 1242284.1409 | 2635569.255 | 1242289.8392 | 2635563.7287 | 1242295.0094 | 2635556.4345 | 1242303.004
85 | 2635583.3561 | 1242338.5342 | 2635588.0882 | 1242341.4716
86 | 2635610.0673 | 1242355.1145 | 2635588.0882 | 1242341.4716
87 | 2635610.0673 | 1242355.1145 | 2635613.3979 | 1242356.5088
88 | 2635610.0673 | 1242355.1145 | 2635581.5204 | 1242365.8951
89 | 2635386.7041 | 1242408.9781 | 2635386.4032 | 1242407.7509
90 | 2635386.7041 | 1242408.9781 | 2635391.6858 | 1242429.2966
91 | 2635394.4963 | 1242440.7594 | 2635391.6858 | 1242429.2966
92 | 2635530.2517 | 1242549.7303 | 2635530.4847 | 1242555.339
93 | 2635531.8055 | 1242587.1285 | 2635530.4847 | 1242555.339
94 | 2635530.2517 | 1242549.7303 | 2635529.7771 | 1242538.3072 | 2635529.7771 | 1242538.3072
95 | 2635531.8055 | 1242587.1285 | 2635528.4072 | 1242588.2014
96 | 2635531.8055 | 1242587.1285 | 2635549.6748 | 1242581.874
97 | 2635520.7516 | 1242538.3008 | 2635526.1324 | 1242537.2848 | 2635529.7771 | 1242538.3072
98 | 2635528.4072 | 1242588.2014 | 2635515.9768 | 1242592.126
99 | 2635567.122 | 1242577.7894 | 2635561.1541 | 1242578.4986 | 2635549.6748 | 1242581.874
100 | 2635520.7516 | 1242538.3008 | 2635513.5483 | 1242539.6611
101 | 2635515.9768 | 1242592.126 | 2635508.8966 | 1242594.3614
102 | 2635567.122 | 1242577.7894 | 2635571.0538 | 1242569.9968 | 2635571.0783 | 1242555.8211
103 | 2635491.6967 | 1242543.7874 | 2635513.5483 | 1242539.6611
104 | 2635507.6591 | 1242594.7522 | 2635508.8966 | 1242594.3614
105 | 2635571.0783 | 1242555.8211 | 2635571.1048 | 1242537.5206 | 2635568.6897 | 1242506.4185
106 | 2635442.4449 | 1242606.6963 | 2635473.1655 | 1242605.1782
107 | 2635421.9459 | 1242613.0782 | 2635426.9217 | 1242610.1504 | 2635434.4894 | 1242607.3493 | 2635442.4449 | 1242606.6963
108 | 2635487.9511 | 1242600.9754 | 2635479.4512 | 1242604.2044 | 2635475.3644 | 1242605.0695 | 2635473.1655 | 1242605.1782
109 | 2635421.9459 | 1242613.0782 | 2635427.5996 | 1242618.0957
110 | 2635421.9459 | 1242613.0782 | 2635412.211 | 1242609.1954 | 2635400.2191 | 1242606.0775 | 2635397.1211 | 1242604.3878
111 | 2635487.9511 | 1242600.9754 | 2635492.7523 | 1242599.4586
112 | 2635445.3172 | 1242636.7371 | 2635428.5172 | 1242618.91 | 2635427.5996 | 1242618.0957
113 | 2635394.1391 | 1242602.7614 | 2635397.1211 | 1242604.3878
114 | 2635492.7523 | 1242599.4586 | 2635507.6591 | 1242594.7522
115 | 2635492.7523 | 1242599.4586 | 2635496.725 | 1242614.1871
116 | 2635621.4944 | 1242359.8985 | 2635613.3979 | 1242356.5088
117 | 2635631.7941 | 1242391.1901 | 2635656.6244 | 1242386.2137 | 2635661.9554 | 1242384.944
118 | 2635631.7941 | 1242391.1901 | 2635606.1722 | 1242397.0959 | 2635593.3482 | 1242402.8561 | 2635578.9246 | 1242413.1764 | 2635570.9387 | 1242421.3894
119 | 2635570.9387 | 1242421.3894 | 2635567.3856 | 1242489.6231 | 2635568.6897 | 1242506.4185
120 | 2635394.1391 | 1242602.7614 | 2635389.2582 | 1242597.3733 | 2635384.306 | 1242588.716 | 2635379.7486 | 1242571.1721
121 | 2635379.7486 | 1242571.1721 | 2635374.9957 | 1242552.8755
122 | 2635457.3645 | 1242649.521 | 2635445.3172 | 1242636.7371
123 | 2635374.9957 | 1242552.8755 | 2635374.6823 | 1242551.6688
124 | 2635459.6052 | 1242651.8986 | 2635457.3645 | 1242649.521
125 | 2635514.7129 | 1242324.5489 | 2635524.1761 | 1242340.1701
126 | 2635499.9103 | 1242625.9962 | 2635496.725 | 1242614.1871
127 | 2635477.3102 | 1242565.7727 | 2635478.4319 | 1242569.4835
128 | 2635477.3102 | 1242565.7727 | 2635472.4336 | 1242549.6397
129 | 2635471.8003 | 1242547.5445 | 2635472.4336 | 1242549.6397
130 | 2635480.9593 | 1242545.815 | 2635471.8003 | 1242547.5445 | 2635471.8003 | 1242547.5445
131 | 2635491.6967 | 1242543.7874 | 2635480.9593 | 1242545.815
132 | 2635472.886 | 1242664.7332 | 2635483.202 | 1242672.6063
133 | 2635490.7463 | 1242678.3641 | 2635483.202 | 1242672.6063
134 | 2635459.6052 | 1242651.8986 | 2635468.663 | 1242661.5102 | 2635472.886 | 1242664.7332
135 | 2635490.7463 | 1242678.3641 | 2635513.2396 | 1242669.4106
136 | 2635531.1379 | 1242662.2862 | 2635513.2396 | 1242669.4106
137 | 2635546.1683 | 1242656.3034 | 2635531.1379 | 1242662.2862
138 | 2635325.1227 | 1242360.7837 | 2635317.0037 | 1242329.4491
139 | 2635325.1227 | 1242360.7837 | 2635333.2648 | 1242392.2075
140 | 2635317.0037 | 1242329.4491 | 2635311.047 | 1242306.4596
141 | 2635333.2648 | 1242392.2075 | 2635335.6107 | 1242401.2612 | 2635340.6872 | 1242420.8036
142 | 2635340.6872 | 1242420.8036 | 2635348.8375 | 1242452.1783
143 | 2635348.8375 | 1242452.1783 | 2635355.0306 | 1242476.019
144 | 2635361.4886 | 1242500.8793 | 2635355.0306 | 1242476.019
145 | 2635512.2245 | 1242320.6146 | 2635512.8051 | 1242321.3996 | 2635514.7129 | 1242324.5489
146 | 2635512.2245 | 1242320.6146 | 2635501.6121 | 1242306.2672
147 | 2635501.6121 | 1242306.2672 | 2635499.02 | 1242302.7627
148 | 2635489.7826 | 1242288.5329 | 2635494.0294 | 1242296.0156 | 2635499.02 | 1242302.7627
149 | 2635489.7826 | 1242288.5329 | 2635487.8489 | 1242285.1257
150 | 2635478.1273 | 1242265.9341 | 2635482.7717 | 1242276.18 | 2635487.8489 | 1242285.1257
151 | 2635478.1273 | 1242265.9341 | 2635468.6293 | 1242244.9805
152 | 2635455.8895 | 1242229.7786 | 2635462.9754 | 1242235.5802 | 2635467.9549 | 1242243.4928 | 2635468.6293 | 1242244.9805

## bus_geodata
| x | y | coords
0 | 2635589.6381 | 1242086.5458
1 | 2635589.3119 | 1242091.09
2 | 2635607.6012 | 1242104.5609
3 | 2635413.3984 | 1242123.071
4 | 2635389.5651 | 1242128.5961
5 | 2635534.4252 | 1242136.6991
6 | 2635524.3312 | 1242255.9042
7 | 2635535.5346 | 1242263.1004
8 | 2635368.264 | 1242141.5918
9 | 2635340.2832 | 1242163.5474
10 | 2635327.4262 | 1242169.7305
11 | 2635328.6008 | 1242199.7234
12 | 2635319.8572 | 1242214.6032
13 | 2635313.5944 | 1242219.08
14 | 2635358.2625 | 1242245.4292
15 | 2635309.8566 | 1242238.7005
16 | 2635399.9361 | 1242269.8724
17 | 2635360.3749 | 1242285.7154
18 | 2635303.5884 | 1242270.8453
19 | 2635406.6693 | 1242273.8217
20 | 2635360.8157 | 1242288.1917
21 | 2635457.5582 | 1242474.9249
22 | 2635454.1204 | 1242451.3973
23 | 2635458.4137 | 1242480.7799
24 | 2635453.9076 | 1242449.9408
25 | 2635460.0751 | 1242492.15
26 | 2635450.5032 | 1242426.6418
27 | 2635450.2046 | 1242424.5988
28 | 2635369.7699 | 1242333.897
29 | 2635372.1397 | 1242345.8526
30 | 2635369.4286 | 1242332.1752
31 | 2635373.9365 | 1242354.9179
32 | 2635366.8558 | 1242319.1949
33 | 2635378.499 | 1242375.5132
34 | 2635364.5076 | 1242307.348
35 | 2635379.7722 | 1242380.7059
36 | 2635447.4102 | 1242405.4743
37 | 2635445.1192 | 1242396.4161
38 | 2635499.1285 | 1242393.8978
39 | 2635428.2318 | 1242289.2614
40 | 2635423.9657 | 1242285.3396
41 | 2635444.4811 | 1242304.4802
42 | 2635465.0673 | 1242330.6521
43 | 2635478.0918 | 1242351.8633
44 | 2635481.1788 | 1242357.6174
45 | 2635514.486 | 1242466.1974
46 | 2635522.6069 | 1242475.9131
47 | 2635511.0014 | 1242451.1056
48 | 2635536.3421 | 1242473.7214
49 | 2635504.0052 | 1242414.7809
50 | 2635497.657 | 1242453.8242
51 | 2635538.3675 | 1242473.1834
52 | 2635503.8031 | 1242413.9153
53 | 2635493.8102 | 1242493.2966
54 | 2635443.6145 | 1242390.4667
55 | 2635546.8306 | 1242378.9956
56 | 2635492.871 | 1242380.9145
57 | 2635437.9558 | 1242368.0933
58 | 2635537.2534 | 1242361.9951
59 | 2635563.5302 | 1242372.6891
60 | 2635489.8156 | 1242374.575
61 | 2635412.8147 | 1242515.4727
62 | 2635424.4662 | 1242557.3804
63 | 2635412.1231 | 1242512.6518
64 | 2635428.9033 | 1242569.5516
65 | 2635407.6712 | 1242494.4946
66 | 2635435.9526 | 1242588.888
67 | 2635406.5228 | 1242489.8104
68 | 2635438.6294 | 1242596.2304
69 | 2635402.4249 | 1242473.0969
70 | 2635430.6442 | 1242343.8163
71 | 2635430.674 | 1242343.9064
72 | 2635423.9177 | 1242323.4491
73 | 2635437.9514 | 1242368.0757
74 | 2635423.9086 | 1242323.4217
75 | 2635400.8073 | 1242466.4994
76 | 2635397.596 | 1242453.4018
77 | 2635555.3463 | 1242304.1967
78 | 2635555.9233 | 1242321.506
79 | 2635556.4345 | 1242303.004
80 | 2635583.3561 | 1242338.5342
81 | 2635568.2913 | 1242284.1409
82 | 2635588.0882 | 1242341.4716
83 | 2635610.0673 | 1242355.1145
84 | 2635386.4032 | 1242407.7509
85 | 2635386.7041 | 1242408.9781
86 | 2635391.6858 | 1242429.2966
87 | 2635530.4847 | 1242555.339
88 | 2635530.2517 | 1242549.7303
89 | 2635531.8055 | 1242587.1285
90 | 2635529.7771 | 1242538.3072
91 | 2635528.4072 | 1242588.2014
92 | 2635549.6748 | 1242581.874
93 | 2635520.7516 | 1242538.3008
94 | 2635515.9768 | 1242592.126
95 | 2635567.122 | 1242577.7894
96 | 2635513.5483 | 1242539.6611
97 | 2635508.8966 | 1242594.3614
98 | 2635571.0783 | 1242555.8211
99 | 2635442.4449 | 1242606.6963
100 | 2635473.1655 | 1242605.1782
101 | 2635421.9459 | 1242613.0782
102 | 2635487.9511 | 1242600.9754
103 | 2635427.5996 | 1242618.0957
104 | 2635397.1211 | 1242604.3878
105 | 2635507.6591 | 1242594.7522
106 | 2635492.7523 | 1242599.4586
107 | 2635613.3979 | 1242356.5088
108 | 2635581.5204 | 1242365.8951
109 | 2635661.9554 | 1242384.944
110 | 2635631.7941 | 1242391.1901
111 | 2635570.9387 | 1242421.3894
112 | 2635568.6897 | 1242506.4185
113 | 2635394.1391 | 1242602.7614
114 | 2635379.7486 | 1242571.1721
115 | 2635445.3172 | 1242636.7371
116 | 2635374.9957 | 1242552.8755
117 | 2635457.3645 | 1242649.521
118 | 2635374.6823 | 1242551.6688
119 | 2635621.4944 | 1242359.8985
120 | 2635524.1761 | 1242340.1701
121 | 2635394.4963 | 1242440.7594
122 | 2635496.725 | 1242614.1871
123 | 2635477.3102 | 1242565.7727
124 | 2635478.4319 | 1242569.4835
125 | 2635472.4336 | 1242549.6397
126 | 2635471.8003 | 1242547.5445
127 | 2635480.9593 | 1242545.815
128 | 2635491.6967 | 1242543.7874
129 | 2635499.9103 | 1242625.9962
130 | 2635483.202 | 1242672.6063
131 | 2635472.886 | 1242664.7332
132 | 2635490.7463 | 1242678.3641
133 | 2635459.6052 | 1242651.8986
134 | 2635513.2396 | 1242669.4106
135 | 2635531.1379 | 1242662.2862
136 | 2635546.1683 | 1242656.3034
137 | 2635325.1227 | 1242360.7837
138 | 2635317.0037 | 1242329.4491
139 | 2635333.2648 | 1242392.2075
140 | 2635311.047 | 1242306.4596
141 | 2635340.6872 | 1242420.8036
142 | 2635348.8375 | 1242452.1783
143 | 2635355.0306 | 1242476.019
144 | 2635514.7129 | 1242324.5489
145 | 2635512.2245 | 1242320.6146
146 | 2635501.6121 | 1242306.2672
147 | 2635499.02 | 1242302.7627
148 | 2635489.7826 | 1242288.5329
149 | 2635487.8489 | 1242285.1257
150 | 2635478.1273 | 1242265.9341
151 | 2635468.6293 | 1242244.9805
152 | 2635361.4886 | 1242500.8793
153 | 2635455.8895 | 1242229.7786
154 | 2635499.1285 | 1242393.8978

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1