## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4271-12_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4271-12_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4271-12_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4271-12_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4271-12_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4271-12_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4271-12_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_4271-12_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_4271-12_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4271-12_0_5_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4271-12_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4271-12_0_5_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_4271-12_0_5_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_4271-12_0_5_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_4271-12_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4271-12_0_5_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_4271-12_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_4271-12_0_5_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_4271-12_0_5_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_4271-12_0_5_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_4271-12_0_5_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_4271-12_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4271-12_0_5_node_73 | 0.4 | n |  | TRUE
23 | bus_LV_4271-12_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_4271-12_0_5_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_4271-12_0_5_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_4271-12_0_5_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_4271-12_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_4271-12_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_4271-12_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_4271-12_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4271-12_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_4271-12_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_4271-12_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_4271-12_0_5_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_4271-12_0_5_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_4271-12_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_4271-12_0_5_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_4271-12_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4271-12_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4271-12_0_5_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_4271-12_0_5_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_4271-12_0_5_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_4271-12_0_5_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_4271-12_0_5_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_4271-12_0_5_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_4271-12_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4271-12_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4271-12_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_4271-12_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_4271-12_0_5_node_110 | 0.4 | n |  | TRUE
51 | bus_LV_4271-12_0_5_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_4271-12_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_4271-12_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_4271-12_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_4271-12_0_5_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_4271-12_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4271-12_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_4271-12_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4271-12_0_5_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_4271-12_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_4271-12_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_4271-12_0_5_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_4271-12_0_5_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_4271-12_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_4271-12_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_4271-12_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_4271-12_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4271-12_0_5_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4271-12_0_5_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4271-12_0_5_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4271-12_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4271-12_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_4271-12_0_5_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_4271-12_0_5_node_67 | 0.4 | n |  | TRUE
75 | bus_LV_4271-12_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_4271-12_0_5_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_4271-12_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_4271-12_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_4271-12_0_5_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_4271-12_0_5_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_4271-12_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_4271-12_0_5_node_92 | 0.4 | n |  | TRUE
83 | bus_LV_4271-12_0_5_node_91 | 0.4 | n |  | TRUE
84 | bus_LV_4271-12_0_5_node_93 | 0.4 | n |  | TRUE
85 | bus_LV_4271-12_0_5_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_4271-12_0_5_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_4271-12_0_5_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4271-12_0_5_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_4271-12_0_5_node_79 | 0.4 | n |  | TRUE
90 | bus_LV_4271-12_0_5_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_4271-12_0_5_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_4271-12_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4271-12_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_4271-12_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_4271-12_0_5_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_4271-12_0_5_node_107 | 0.4 | n |  | TRUE
97 | bus_LV_4271-12_0_5_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_4271-12_0_5_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_4271-12_0_5_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_4271-12_0_5_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4271-12_0_5_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_4271-12_0_5_node_103 | 0.4 | n |  | TRUE
103 | bus_LV_4271-12_0_5_node_104 | 0.4 | n |  | TRUE
104 | bus_LV_4271-12_0_5_node_105 | 0.4 | n |  | TRUE
105 | bus_LV_4271-12_0_5_node_106 | 0.4 | n |  | TRUE
106 | bus_LV_4271-12_0_5_node_109 | 0.4 | n |  | TRUE
107 | bus_MV_397_0_node_196 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4271-12_0_5_load_0 | 0 | 0.0036311 | 0.00091003 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4271-12_0_5_load_1 | 1 | 0.0011214 | 0.00028104 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4271-12_0_5_load_2 | 2 | 0.0025888 | 0.00064882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4271-12_0_5_load_3 | 3 | 0.00079043 | 0.0001981 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4271-12_0_5_load_4 | 4 | 0.00079644 | 0.00019961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4271-12_0_5_load_5 | 5 | 0.0011115 | 0.00027858 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4271-12_0_5_load_7 | 6 | 0.00079538 | 0.00019934 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4271-12_0_5_load_8 | 7 | 0.00053743 | 0.00013469 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4271-12_0_5_load_9 | 8 | 0.0014731 | 0.0003692 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4271-12_0_5_load_10 | 9 | 0.0011801 | 0.00029576 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4271-12_0_5_load_11 | 10 | 0.00091882 | 0.00023028 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4271-12_0_5_load_12 | 11 | 0.00081365 | 0.00020392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4271-12_0_5_load_16 | 15 | 0.0029856 | 0.00074826 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4271-12_0_5_load_18 | 16 | 0.0010274 | 0.0002575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4271-12_0_5_load_42 | 18 | 0.027129 | 0.0067992 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4271-12_0_5_load_21 | 21 | 0.0025233 | 0.0006324 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4271-12_0_5_load_73 | 22 | 0.0011259 | 0.00028219 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4271-12_0_5_load_35 | 24 | 0.0042068 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4271-12_0_5_load_81 | 25 | 0.00070439 | 0.00017654 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4271-12_0_5_load_61 | 26 | 0.0024034 | 0.00060235 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4271-12_0_5_load_22 | 28 | 0.019784 | 0.0049584 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4271-12_0_5_load_28 | 31 | 0.0082194 | 0.00206 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4271-12_0_5_load_30 | 32 | 0.0027988 | 0.00070145 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4271-12_0_5_load_51 | 35 | 0.02794 | 0.0070024 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4271-12_0_5_load_32 | 38 | 0.027292 | 0.0068399 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4271-12_0_5_load_33 | 39 | 0.0099299 | 0.0024887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4271-12_0_5_load_89 | 41 | 0.0079923 | 0.0020031 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4271-12_0_5_load_50 | 42 | 0.038613 | 0.0096773 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4271-12_0_5_load_34 | 43 | 0.0025436 | 0.00063748 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4271-12_0_5_load_88 | 45 | 0.0073249 | 0.0018358 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4271-12_0_5_load_39 | 48 | 0.0050277 | 0.0012601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4271-12_0_5_load_110 | 50 | 0.021881 | 0.0054838 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4271-12_0_5_load_108 | 51 | 0.0047522 | 0.001191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4271-12_0_5_load_43 | 52 | 0.0067431 | 0.00169 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4271-12_0_5_load_44 | 53 | 0.0029715 | 0.00074472 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4271-12_0_5_load_45 | 54 | 0.0094867 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4271-12_0_5_load_46 | 55 | 0.0032745 | 0.00082066 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4271-12_0_5_load_49 | 58 | 0.0094257 | 0.0023623 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4271-12_0_5_load_80 | 59 | 0.00087292 | 0.00021877 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4271-12_0_5_load_69 | 60 | 0.00089513 | 0.00022434 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4271-12_0_5_load_53 | 61 | 0.0040973 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4271-12_0_5_load_86 | 63 | 0.0015821 | 0.00039652 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4271-12_0_5_load_54 | 64 | 0.0023725 | 0.0005946 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4271-12_0_5_load_55 | 65 | 0.002713 | 0.00067994 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4271-12_0_5_load_59 | 68 | 0.0053532 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4271-12_0_5_load_60 | 69 | 0.0027998 | 0.00070169 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4271-12_0_5_load_62 | 70 | 0.0014781 | 0.00037044 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4271-12_0_5_load_64 | 72 | 0.0066641 | 0.0016702 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4271-12_0_5_load_78 | 73 | 0.00094487 | 0.00023681 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4271-12_0_5_load_76 | 75 | 0.001934 | 0.0004847 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4271-12_0_5_load_70 | 76 | 0.0010612 | 0.00026596 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4271-12_0_5_load_65 | 77 | 0.0021751 | 0.00054513 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4271-12_0_5_load_68 | 79 | 0.0017378 | 0.00043554 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4271-12_0_5_load_71 | 80 | 0.0014142 | 0.00035444 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4271-12_0_5_load_72 | 81 | 0.0016752 | 0.00041984 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4271-12_0_5_load_91 | 83 | 0.007386 | 0.0018511 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4271-12_0_5_load_93 | 84 | 0.0018068 | 0.00045282 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4271-12_0_5_load_82 | 85 | 0.00062128 | 0.00015571 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4271-12_0_5_load_74 | 86 | 0.0071419 | 0.0017899 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4271-12_0_5_load_75 | 87 | 0.0078374 | 0.0019642 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4271-12_0_5_load_77 | 88 | 0.0076831 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4271-12_0_5_load_79 | 89 | 0.014008 | 0.0035107 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4271-12_0_5_load_84 | 90 | 0.0047503 | 0.0011905 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4271-12_0_5_load_85 | 91 | 0.0034433 | 0.00086296 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4271-12_0_5_load_83 | 92 | 0.00048466 | 0.00012147 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4271-12_0_5_load_96 | 94 | 0.0042048 | 0.0010538 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4271-12_0_5_load_97 | 95 | 0.0042156 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4271-12_0_5_load_94 | 97 | 0.007011 | 0.0017571 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4271-12_0_5_load_99 | 98 | 0.0017511 | 0.00043886 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4271-12_0_5_load_100 | 99 | 0.0010776 | 0.00027006 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4271-12_0_5_load_101 | 100 | 0.001202 | 0.00030125 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4271-12_0_5_load_102 | 101 | 0.0011568 | 0.00028991 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4271-12_0_5_load_103 | 102 | 0.0011172 | 0.00028 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4271-12_0_5_load_104 | 103 | 0.0019753 | 0.00049507 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4271-12_0_5_load_105 | 104 | 0.0012524 | 0.00031389 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4271-12_0_5_load_106 | 105 | 0.0020755 | 0.00052018 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4271-12_0_5_load_109 | 106 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4271-12_0_5_line_0 |  | 0 | 1 | 0.030762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4271-12_0_5_line_1 |  | 0 | 2 | 0.029146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4271-12_0_5_line_2 |  | 1 | 3 | 0.0038596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4271-12_0_5_line_3 |  | 2 | 4 | 0.019167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4271-12_0_5_line_4 |  | 3 | 5 | 0.018023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4271-12_0_5_line_5 |  | 5 | 6 | 0.0037412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4271-12_0_5_line_6 |  | 6 | 7 | 0.010513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4271-12_0_5_line_7 |  | 7 | 8 | 0.021293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4271-12_0_5_line_8 |  | 8 | 9 | 0.0052358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4271-12_0_5_line_9 |  | 9 | 10 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4271-12_0_5_line_10 |  | 10 | 11 | 0.16025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4271-12_0_5_line_11 |  | 11 | 12 | 0.048813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4271-12_0_5_line_12 |  | 12 | 13 | 0.10771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4271-12_0_5_line_13 |  | 13 | 14 | 0.066996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4271-12_0_5_line_14 |  | 14 | 15 | 0.038796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4271-12_0_5_line_15 |  | 15 | 16 | 0.0018039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4271-12_0_5_line_16 |  | 16 | 17 | 0.050848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4271-12_0_5_line_17 |  | 17 | 20 | 0.004635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4271-12_0_5_line_18 |  | 17 | 21 | 0.033732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4271-12_0_5_line_19 |  | 18 | 19 | 0.055609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4271-12_0_5_line_20 |  | 19 | 47 | 0.026394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4271-12_0_5_line_21 |  | 20 | 22 | 0.011611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4271-12_0_5_line_22 |  | 20 | 23 | 0.042629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4271-12_0_5_line_23 |  | 21 | 24 | 0.0014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4271-12_0_5_line_24 |  | 22 | 25 | 0.026827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4271-12_0_5_line_25 |  | 23 | 26 | 0.00035194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4271-12_0_5_line_26 |  | 23 | 27 | 0.054516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4271-12_0_5_line_27 |  | 25 | 85 | 4.634e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4271-12_0_5_line_28 |  | 26 | 44 | 0.041778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4271-12_0_5_line_29 |  | 27 | 32 | 0.018786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4271-12_0_5_line_30 |  | 27 | 29 | 0.023837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_4271-12_0_5_line_31 |  | 28 | 29 | 0.03319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_4271-12_0_5_line_32 |  | 28 | 30 | 0.025827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_4271-12_0_5_line_33 |  | 30 | 31 | 0.0013465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_4271-12_0_5_line_34 |  | 31 | 36 | 0.025015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_4271-12_0_5_line_35 |  | 32 | 37 | 0.0039642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_4271-12_0_5_line_36 |  | 33 | 34 | 0.038563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_4271-12_0_5_line_37 |  | 33 | 35 | 0.039076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_4271-12_0_5_line_38 |  | 34 | 40 | 0.090728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4271-12_0_5_line_39 |  | 34 | 41 | 0.03256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4271-12_0_5_line_40 |  | 35 | 42 | 0.031247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4271-12_0_5_line_41 |  | 36 | 43 | 0.019538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4271-12_0_5_line_42 |  | 36 | 39 | 0.028771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4271-12_0_5_line_43 |  | 37 | 45 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_4271-12_0_5_line_44 |  | 37 | 46 | 0.041313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4271-12_0_5_line_45 |  | 38 | 39 | 0.05595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4271-12_0_5_line_46 |  | 40 | 51 | 0.0033431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4271-12_0_5_line_47 |  | 41 | 45 | 0.055975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4271-12_0_5_line_48 |  | 42 | 56 | 0.037452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_4271-12_0_5_line_49 |  | 44 | 69 | 0.037903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4271-12_0_5_line_50 |  | 44 | 65 | 0.02335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4271-12_0_5_line_51 |  | 46 | 48 | 0.008566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4271-12_0_5_line_52 |  | 46 | 49 | 0.048793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4271-12_0_5_line_53 |  | 46 | 47 | 0.030179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4271-12_0_5_line_54 |  | 49 | 50 | 0.018386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4271-12_0_5_line_55 |  | 51 | 96 | 0.06611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4271-12_0_5_line_56 |  | 52 | 53 | 0.002968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4271-12_0_5_line_57 |  | 52 | 54 | 0.026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4271-12_0_5_line_58 |  | 53 | 55 | 0.028163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4271-12_0_5_line_59 |  | 54 | 56 | 0.020719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4271-12_0_5_line_60 |  | 55 | 57 | 0.021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4271-12_0_5_line_61 |  | 56 | 58 | 0.032445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_4271-12_0_5_line_62 |  | 57 | 59 | 0.019384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4271-12_0_5_line_63 |  | 57 | 60 | 0.0072285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4271-12_0_5_line_64 |  | 58 | 61 | 0.037387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_4271-12_0_5_line_65 |  | 61 | 62 | 0.037896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4271-12_0_5_line_66 |  | 62 | 63 | 0.028874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4271-12_0_5_line_67 |  | 63 | 71 | 0.019356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4271-12_0_5_line_68 |  | 64 | 65 | 0.0078642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4271-12_0_5_line_69 |  | 66 | 67 | 0.032596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4271-12_0_5_line_70 |  | 66 | 68 | 0.056034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4271-12_0_5_line_71 |  | 67 | 70 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4271-12_0_5_line_72 |  | 67 | 71 | 0.010373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4271-12_0_5_line_73 |  | 68 | 72 | 0.044127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4271-12_0_5_line_74 |  | 69 | 73 | 0.0051281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4271-12_0_5_line_75 |  | 70 | 74 | 0.031278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4271-12_0_5_line_76 |  | 73 | 75 | 0.0034683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4271-12_0_5_line_77 |  | 74 | 76 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4271-12_0_5_line_78 |  | 74 | 77 | 0.016187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4271-12_0_5_line_79 |  | 75 | 86 | 0.010761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4271-12_0_5_line_80 |  | 76 | 81 | 0.01016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4271-12_0_5_line_81 |  | 77 | 78 | 0.015144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4271-12_0_5_line_82 |  | 78 | 79 | 0.0034852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4271-12_0_5_line_83 |  | 79 | 80 | 0.022003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4271-12_0_5_line_84 |  | 80 | 82 | 0.046241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4271-12_0_5_line_85 |  | 81 | 83 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4271-12_0_5_line_86 |  | 82 | 84 | 0.028603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4271-12_0_5_line_87 |  | 84 | 97 | 0.039147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4271-12_0_5_line_88 |  | 85 | 92 | 0.004012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4271-12_0_5_line_89 |  | 86 | 87 | 0.009796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4271-12_0_5_line_90 |  | 87 | 88 | 0.019562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4271-12_0_5_line_91 |  | 88 | 89 | 0.049047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4271-12_0_5_line_92 |  | 89 | 90 | 0.016056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4271-12_0_5_line_93 |  | 90 | 91 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4271-12_0_5_line_94 |  | 91 | 93 | 0.052028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4271-12_0_5_line_95 |  | 93 | 94 | 0.059636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4271-12_0_5_line_96 |  | 93 | 95 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4271-12_0_5_line_97 |  | 95 | 98 | 0.0090852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4271-12_0_5_line_98 |  | 96 | 104 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4271-12_0_5_line_99 |  | 99 | 100 | 0.0052372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4271-12_0_5_line_100 |  | 99 | 101 | 0.01775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4271-12_0_5_line_101 |  | 100 | 102 | 0.013456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4271-12_0_5_line_102 |  | 101 | 103 | 0.0053636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4271-12_0_5_line_103 |  | 102 | 104 | 0.00056306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4271-12_0_5_line_104 |  | 103 | 105 | 0.011978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4271-12_0_5_line_105 |  | 105 | 106 | 0.00012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4271-12_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 107 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2635220.6961 | 1241942.3177 | 2635228.2087 | 1241966.6111 | 2635229.5254 | 1241971.7793
1 | 2635220.6961 | 1241942.3177 | 2635212.0852 | 1241914.4727
2 | 2635229.5254 | 1241971.7793 | 2635230.4783 | 1241975.5194
3 | 2635211.5043 | 1241896.2003 | 2635208.9019 | 1241904.1789 | 2635212.0852 | 1241914.4727
4 | 2635234.9281 | 1241992.9848 | 2635230.4783 | 1241975.5194
5 | 2635234.9281 | 1241992.9848 | 2635235.8518 | 1241996.6102
6 | 2635235.8518 | 1241996.6102 | 2635236.8075 | 1242000.3615 | 2635237.9116 | 1242006.9112
7 | 2635237.9116 | 1242006.9112 | 2635241.451 | 1242027.9082
8 | 2635242.3213 | 1242033.0711 | 2635241.451 | 1242027.9082
9 | 2635242.3213 | 1242033.0711 | 2635244.5594 | 1242046.3483
10 | 2635244.5594 | 1242046.3483 | 2635378.8976 | 1242133.7218
11 | 2635340.2832 | 1242163.5474 | 2635352.6057 | 1242153.1807 | 2635378.8976 | 1242133.7218
12 | 2635282.8352 | 1242197.7169 | 2635283.1864 | 1242198.4083 | 2635294.0462 | 1242207.7232 | 2635301.17 | 1242212.2796 | 2635313.5944 | 1242219.08 | 2635319.8572 | 1242214.6032 | 2635321.3564 | 1242212.911 | 2635324.23 | 1242208.9033 | 2635328.6008 | 1242199.7234 | 2635330.8757 | 1242187.0844 | 2635329.7408 | 1242175.8148 | 2635327.4262 | 1242169.7305 | 2635340.2832 | 1242163.5474
13 | 2635221.004 | 1242171.9224 | 2635282.8352 | 1242197.7169
14 | 2635221.004 | 1242171.9224 | 2635218.9863 | 1242166.7293 | 2635212.2112 | 1242149.2557 | 2635205.3518 | 1242136.4994
15 | 2635205.3518 | 1242136.4994 | 2635204.4975 | 1242134.9106
16 | 2635176.8391 | 1242092.3319 | 2635186.8178 | 1242106.2777 | 2635197.355 | 1242121.6278 | 2635204.4975 | 1242134.9106
17 | 2635174.1402 | 1242088.558 | 2635176.8391 | 1242092.3319
18 | 2635176.8391 | 1242092.3319 | 2635163.751 | 1242097.9803 | 2635146.2374 | 1242106.5034
19 | 2635149.2639 | 1242176.5228 | 2635162.4532 | 1242200.9943 | 2635173.6395 | 1242226.4546
20 | 2635149.2639 | 1242176.5228 | 2635137.2329 | 1242153.0143
21 | 2635174.1402 | 1242088.558 | 2635185.1465 | 1242084.8588
22 | 2635145.2079 | 1242057.1889 | 2635159.8734 | 1242072.4076 | 2635174.1402 | 1242088.558
23 | 2635144.9726 | 1242107.1189 | 2635146.2374 | 1242106.5034
24 | 2635210.5757 | 1242076.3122 | 2635185.1465 | 1242084.8588
25 | 2635144.9632 | 1242056.936 | 2635145.2079 | 1242057.1889
26 | 2635099.2422 | 1242086.2803 | 2635119.8528 | 1242075.3284 | 2635126.0088 | 1242071.0176 | 2635145.2079 | 1242057.1889
27 | 2635210.6196 | 1242076.2974 | 2635210.5757 | 1242076.3122
28 | 2635115.7919 | 1242027.029 | 2635128.7087 | 1242040.1359 | 2635144.9632 | 1242056.936
29 | 2635099.2422 | 1242086.2803 | 2635105.9735 | 1242103.8189
30 | 2635099.2422 | 1242086.2803 | 2635076.6769 | 1242094.1521
31 | 2635076.6769 | 1242094.1521 | 2635074.3032 | 1242082.653 | 2635078.098 | 1242072.4021 | 2635083.4583 | 1242063.3528
32 | 2635099.2255 | 1242043.0636 | 2635088.6119 | 1242054.6528 | 2635083.4583 | 1242063.3528
33 | 2635099.2255 | 1242043.0636 | 2635098.2937 | 1242042.0915
34 | 2635080.9841 | 1242024.0326 | 2635098.2937 | 1242042.0915
35 | 2635107.3939 | 1242107.5199 | 2635105.9735 | 1242103.8189
36 | 2634996.3714 | 1242125.6878 | 2634992.1895 | 1242128.5316 | 2635009.573 | 1242157.1746
37 | 2634996.3714 | 1242125.6878 | 2634988.2891 | 1242115.6893 | 2634980.4158 | 1242095.8747 | 2634979.3658 | 1242091.0911
38 | 2635009.573 | 1242157.1746 | 2635043.0475 | 1242220.735 | 2635035.418 | 1242223.7141 | 2635032.2132 | 1242233.924
39 | 2635009.573 | 1242157.1746 | 2635037.5048 | 1242140.4423
40 | 2634975.675 | 1242060.2343 | 2634975.7706 | 1242074.7116 | 2634979.3658 | 1242091.0911
41 | 2635080.9841 | 1242024.0326 | 2635067.4705 | 1242009.9218
42 | 2635080.9841 | 1242024.0326 | 2635060.251 | 1242035.2174 | 2635056.0024 | 1242038.239
43 | 2635107.3939 | 1242107.5199 | 2635087.8317 | 1242116.0098
44 | 2635113.027 | 1242144.3324 | 2635114.4686 | 1242128.086 | 2635116.6762 | 1242126.7537 | 2635117.009 | 1242122.8866 | 2635113.9154 | 1242114.2627 | 2635107.3939 | 1242107.5199
45 | 2635014.6768 | 1242074.8741 | 2635024.4818 | 1242060.6561 | 2635056.0024 | 1242038.239
46 | 2635032.2132 | 1242233.924 | 2635034.07 | 1242236.7041
47 | 2635037.5048 | 1242140.4423 | 2635039.5676 | 1242139.2066 | 2635070.9485 | 1242123.3371 | 2635087.8317 | 1242116.0098
48 | 2634978.3283 | 1242022.9156 | 2634975.6108 | 1242050.5062 | 2634975.675 | 1242060.2343
49 | 2635115.7919 | 1242027.029 | 2635151.1882 | 1242013.4728
50 | 2635115.7919 | 1242027.029 | 2635099.7288 | 1242010.0825
51 | 2635104.8454 | 1242143.5057 | 2635110.2087 | 1242142.8481 | 2635113.027 | 1242144.3324
52 | 2635082.4066 | 1242176.0719 | 2635082.7384 | 1242173.6389 | 2635088.3758 | 1242170.0922 | 2635105.4008 | 1242163.3551 | 2635111.3677 | 1242156.497 | 2635113.027 | 1242144.3324
53 | 2635137.2329 | 1242153.0143 | 2635128.9528 | 1242157.3237 | 2635123.868 | 1242154.3473 | 2635118.5561 | 1242147.6005 | 2635113.027 | 1242144.3324
54 | 2635066.8199 | 1242185.0189 | 2635076.985 | 1242181.4878 | 2635082.4066 | 1242176.0719
55 | 2635059.3528 | 1242297.4693 | 2635051.0743 | 1242274.6725 | 2635041.0922 | 1242247.2182 | 2635034.07 | 1242236.7041
56 | 2634979.34 | 1241975.4856 | 2634979.3198 | 1241972.5177
57 | 2634979.34 | 1241975.4856 | 2634979.4702 | 1241994.6042 | 2634979.1633 | 1242002.2134
58 | 2634979.3198 | 1241972.5177 | 2634979.2229 | 1241958.3017 | 2634976.8079 | 1241944.5654
59 | 2634978.3283 | 1242022.9156 | 2634979.1633 | 1242002.2134
60 | 2634972.6633 | 1241923.3184 | 2634973.7225 | 1241927.0159 | 2634976.8079 | 1241944.5654
61 | 2634978.3283 | 1242022.9156 | 2634990.826 | 1242023.8231 | 2635009.192 | 1242016.1241
62 | 2634972.6633 | 1241923.3184 | 2634953.6374 | 1241927.0292
63 | 2634972.6633 | 1241923.3184 | 2634971.1446 | 1241916.2513
64 | 2635009.192 | 1242016.1241 | 2635043.672 | 1242001.6701
65 | 2635059.3695 | 1241979.6543 | 2635065.9083 | 1241987.3423 | 2635062.9081 | 1241993.6064 | 2635043.672 | 1242001.6701
66 | 2635059.3695 | 1241979.6543 | 2635039.6227 | 1241958.5879
67 | 2635028.5517 | 1241943.5161 | 2635028.8105 | 1241947.0532 | 2635039.6227 | 1241958.5879
68 | 2635094.4343 | 1242004.268 | 2635098.8138 | 1242009.1172 | 2635099.7288 | 1242010.0825
69 | 2635027.7963 | 1241933.1717 | 2635042.577 | 1241936.6499 | 2635054.9853 | 1241936.0894 | 2635060.0093 | 1241935.3074
70 | 2635060.0093 | 1241935.3074 | 2635059.2302 | 1241925.1519 | 2635059.0904 | 1241916.8235 | 2635061.1479 | 1241898.6684 | 2635065.4806 | 1241879.9145
71 | 2635027.7963 | 1241933.1717 | 2635018.4716 | 1241927.3552
72 | 2635027.7963 | 1241933.1717 | 2635028.5517 | 1241943.5161
73 | 2635076.0135 | 1241837.067 | 2635074.7709 | 1241842.1904 | 2635069.7822 | 1241861.2954 | 2635065.4806 | 1241879.9145
74 | 2635155.902 | 1242011.5436 | 2635155.7879 | 1242011.7112 | 2635151.1882 | 1242013.4728
75 | 2634996.2707 | 1241905.457 | 2635006.461 | 1241916.9578 | 2635016.8377 | 1241926.336 | 2635018.4716 | 1241927.3552
76 | 2635155.902 | 1242011.5436 | 2635157.8544 | 1242008.677 | 2635157.8544 | 1242008.677
77 | 2634996.2707 | 1241905.457 | 2635006.9102 | 1241898.8233
78 | 2634996.2707 | 1241905.457 | 2634985.7502 | 1241893.1557
79 | 2635156.0502 | 1241998.1165 | 2635157.6591 | 1242004.6399 | 2635157.8544 | 1242008.677
80 | 2635006.9102 | 1241898.8233 | 2635010.1024 | 1241896.833 | 2635016.232 | 1241894.9997
81 | 2634976.6997 | 1241881.0262 | 2634983.5602 | 1241890.5949 | 2634985.7502 | 1241893.1557
82 | 2634976.6997 | 1241881.0262 | 2634974.745 | 1241878.1407
83 | 2634962.4044 | 1241859.9241 | 2634974.745 | 1241878.1407
84 | 2634936.4699 | 1241821.6403 | 2634962.4044 | 1241859.9241
85 | 2635029.7159 | 1241890.967 | 2635016.232 | 1241894.9997
86 | 2634936.4699 | 1241821.6403 | 2634963.2554 | 1241811.6073
87 | 2634963.2554 | 1241811.6073 | 2634980.2757 | 1241805.232 | 2635001.1716 | 1241803.4514
88 | 2635210.6196 | 1242076.2974 | 2635214.4226 | 1242075.0193
89 | 2635156.0502 | 1241998.1165 | 2635153.7046 | 1241988.6054
90 | 2635149.0205 | 1241969.6126 | 2635153.7046 | 1241988.6054
91 | 2635149.0205 | 1241969.6126 | 2635145.3678 | 1241954.8019 | 2635133.7666 | 1241923.0632
92 | 2635129.5228 | 1241907.6113 | 2635131.7322 | 1241917.4974 | 2635133.7666 | 1241923.0632
93 | 2635129.5228 | 1241907.6113 | 2635129.5228 | 1241907.6113 | 2635128.996 | 1241900.8372 | 2635131.1568 | 1241894.646 | 2635139.6899 | 1241890.3401
94 | 2635156.5623 | 1241851.5241 | 2635158.2666 | 1241854.7696 | 2635161.5505 | 1241873.401 | 2635158.958 | 1241881.0017 | 2635146.3361 | 1241886.9864 | 2635139.6899 | 1241890.3401
95 | 2635156.5623 | 1241851.5241 | 2635143.578 | 1241826.7648 | 2635132.9898 | 1241800.7522 | 2635131.6019 | 1241797.4375
96 | 2635156.5623 | 1241851.5241 | 2635135.0435 | 1241857.7648
97 | 2635126.3178 | 1241860.2954 | 2635135.0435 | 1241857.7648
98 | 2635059.3528 | 1242297.4693 | 2635040.1327 | 1242306.9339
99 | 2635022.8578 | 1242315.4406 | 2635027.5563 | 1242313.1269
100 | 2635022.8578 | 1242315.4406 | 2635006.9341 | 1242323.2819
101 | 2635039.6276 | 1242307.1826 | 2635027.5563 | 1242313.1269
102 | 2635002.1223 | 1242325.6514 | 2635006.9341 | 1242323.2819
103 | 2635039.6276 | 1242307.1826 | 2635040.1327 | 1242306.9339
104 | 2635002.1223 | 1242325.6514 | 2634991.3762 | 1242330.9431
105 | 2634991.2608 | 1242330.9999 | 2634991.3762 | 1242330.9431

## bus_geodata
| x | y | coords
0 | 2635220.6961 | 1241942.3177
1 | 2635229.5254 | 1241971.7793
2 | 2635212.0852 | 1241914.4727
3 | 2635230.4783 | 1241975.5194
4 | 2635211.5043 | 1241896.2003
5 | 2635234.9281 | 1241992.9848
6 | 2635235.8518 | 1241996.6102
7 | 2635237.9116 | 1242006.9112
8 | 2635241.451 | 1242027.9082
9 | 2635242.3213 | 1242033.0711
10 | 2635244.5594 | 1242046.3483
11 | 2635378.8976 | 1242133.7218
12 | 2635340.2832 | 1242163.5474
13 | 2635282.8352 | 1242197.7169
14 | 2635221.004 | 1242171.9224
15 | 2635205.3518 | 1242136.4994
16 | 2635204.4975 | 1242134.9106
17 | 2635176.8391 | 1242092.3319
18 | 2635173.6395 | 1242226.4546
19 | 2635149.2639 | 1242176.5228
20 | 2635174.1402 | 1242088.558
21 | 2635146.2374 | 1242106.5034
22 | 2635185.1465 | 1242084.8588
23 | 2635145.2079 | 1242057.1889
24 | 2635144.9726 | 1242107.1189
25 | 2635210.5757 | 1242076.3122
26 | 2635144.9632 | 1242056.936
27 | 2635099.2422 | 1242086.2803
28 | 2635083.4583 | 1242063.3528
29 | 2635076.6769 | 1242094.1521
30 | 2635099.2255 | 1242043.0636
31 | 2635098.2937 | 1242042.0915
32 | 2635105.9735 | 1242103.8189
33 | 2634996.3714 | 1242125.6878
34 | 2635009.573 | 1242157.1746
35 | 2634979.3658 | 1242091.0911
36 | 2635080.9841 | 1242024.0326
37 | 2635107.3939 | 1242107.5199
38 | 2635014.6768 | 1242074.8741
39 | 2635056.0024 | 1242038.239
40 | 2635032.2132 | 1242233.924
41 | 2635037.5048 | 1242140.4423
42 | 2634975.675 | 1242060.2343
43 | 2635067.4705 | 1242009.9218
44 | 2635115.7919 | 1242027.029
45 | 2635087.8317 | 1242116.0098
46 | 2635113.027 | 1242144.3324
47 | 2635137.2329 | 1242153.0143
48 | 2635104.8454 | 1242143.5057
49 | 2635082.4066 | 1242176.0719
50 | 2635066.8199 | 1242185.0189
51 | 2635034.07 | 1242236.7041
52 | 2634979.34 | 1241975.4856
53 | 2634979.3198 | 1241972.5177
54 | 2634979.1633 | 1242002.2134
55 | 2634976.8079 | 1241944.5654
56 | 2634978.3283 | 1242022.9156
57 | 2634972.6633 | 1241923.3184
58 | 2635009.192 | 1242016.1241
59 | 2634953.6374 | 1241927.0292
60 | 2634971.1446 | 1241916.2513
61 | 2635043.672 | 1242001.6701
62 | 2635059.3695 | 1241979.6543
63 | 2635039.6227 | 1241958.5879
64 | 2635094.4343 | 1242004.2679
65 | 2635099.7288 | 1242010.0825
66 | 2635060.0093 | 1241935.3074
67 | 2635027.7963 | 1241933.1717
68 | 2635065.4806 | 1241879.9145
69 | 2635151.1882 | 1242013.4728
70 | 2635018.4716 | 1241927.3552
71 | 2635028.5517 | 1241943.5161
72 | 2635076.0135 | 1241837.067
73 | 2635155.902 | 1242011.5436
74 | 2634996.2707 | 1241905.457
75 | 2635157.8544 | 1242008.677
76 | 2635006.9102 | 1241898.8233
77 | 2634985.7502 | 1241893.1557
78 | 2634976.6997 | 1241881.0262
79 | 2634974.745 | 1241878.1407
80 | 2634962.4044 | 1241859.9241
81 | 2635016.232 | 1241894.9997
82 | 2634936.4699 | 1241821.6403
83 | 2635029.7159 | 1241890.967
84 | 2634963.2554 | 1241811.6073
85 | 2635210.6196 | 1242076.2974
86 | 2635156.0502 | 1241998.1165
87 | 2635153.7046 | 1241988.6054
88 | 2635149.0205 | 1241969.6126
89 | 2635133.7666 | 1241923.0632
90 | 2635129.5228 | 1241907.6113
91 | 2635139.6899 | 1241890.3401
92 | 2635214.4226 | 1242075.0193
93 | 2635156.5623 | 1241851.5241
94 | 2635131.6019 | 1241797.4375
95 | 2635135.0435 | 1241857.7648
96 | 2635059.3528 | 1242297.4693
97 | 2635001.1716 | 1241803.4514
98 | 2635126.3178 | 1241860.2954
99 | 2635022.8578 | 1242315.4406
100 | 2635027.5563 | 1242313.1269
101 | 2635006.9341 | 1242323.2819
102 | 2635039.6276 | 1242307.1826
103 | 2635002.1223 | 1242325.6514
104 | 2635040.1327 | 1242306.9339
105 | 2634991.3762 | 1242330.9431
106 | 2634991.2608 | 1242330.9999
107 | 2635080.9841 | 1242024.0326

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1