## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4271-14_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4271-14_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4271-14_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4271-14_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4271-14_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4271-14_0_4_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_4271-14_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_4271-14_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_4271-14_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_4271-14_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_4271-14_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_4271-14_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_4271-14_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4271-14_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_4271-14_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_4271-14_0_4_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_4271-14_0_4_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_4271-14_0_4_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_4271-14_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4271-14_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4271-14_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4271-14_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4271-14_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_4271-14_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4271-14_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4271-14_0_4_node_44 | 0.4 | n |  | TRUE
26 | bus_LV_4271-14_0_4_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_4271-14_0_4_node_98 | 0.4 | n |  | TRUE
28 | bus_LV_4271-14_0_4_node_69 | 0.4 | n |  | TRUE
29 | bus_LV_4271-14_0_4_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_4271-14_0_4_node_93 | 0.4 | n |  | TRUE
31 | bus_LV_4271-14_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_4271-14_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4271-14_0_4_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_4271-14_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_4271-14_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_4271-14_0_4_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4271-14_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_4271-14_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_4271-14_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_4271-14_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4271-14_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_4271-14_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4271-14_0_4_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_4271-14_0_4_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4271-14_0_4_node_92 | 0.4 | n |  | TRUE
46 | bus_LV_4271-14_0_4_node_60 | 0.4 | n |  | TRUE
47 | bus_LV_4271-14_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_4271-14_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_4271-14_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_4271-14_0_4_node_99 | 0.4 | n |  | TRUE
51 | bus_LV_4271-14_0_4_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_4271-14_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_4271-14_0_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_4271-14_0_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_4271-14_0_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_4271-14_0_4_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_4271-14_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_4271-14_0_4_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_4271-14_0_4_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_4271-14_0_4_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_4271-14_0_4_node_71 | 0.4 | n |  | TRUE
62 | bus_LV_4271-14_0_4_node_86 | 0.4 | n |  | TRUE
63 | bus_LV_4271-14_0_4_node_78 | 0.4 | n |  | TRUE
64 | bus_LV_4271-14_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_4271-14_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_4271-14_0_4_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4271-14_0_4_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_4271-14_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_4271-14_0_4_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_4271-14_0_4_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_4271-14_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4271-14_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_4271-14_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_4271-14_0_4_node_97 | 0.4 | n |  | TRUE
75 | bus_LV_4271-14_0_4_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_4271-14_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_4271-14_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4271-14_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4271-14_0_4_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_4271-14_0_4_node_96 | 0.4 | n |  | TRUE
81 | bus_LV_4271-14_0_4_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_4271-14_0_4_node_95 | 0.4 | n |  | TRUE
83 | bus_LV_4271-14_0_4_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_4271-14_0_4_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_4271-14_0_4_node_73 | 0.4 | n |  | TRUE
86 | bus_LV_4271-14_0_4_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_4271-14_0_4_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_4271-14_0_4_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_4271-14_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_4271-14_0_4_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_4271-14_0_4_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_4271-14_0_4_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_4271-14_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4271-14_0_4_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_4271-14_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_MV_397_0_node_249 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4271-14_0_4_load_0 | 0 | 0.014742 | 0.0036946 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4271-14_0_4_load_1 | 1 | 0.0083176 | 0.0020846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4271-14_0_4_load_4 | 4 | 0.0029371 | 0.00073611 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4271-14_0_4_load_29 | 5 | 0.0020373 | 0.00051059 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4271-14_0_4_load_26 | 6 | 0.0017405 | 0.00043622 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4271-14_0_4_load_27 | 8 | 0.0018108 | 0.00045382 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4271-14_0_4_load_25 | 9 | 0.0024718 | 0.00061949 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4271-14_0_4_load_5 | 10 | 0.0047014 | 0.0011783 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4271-14_0_4_load_6 | 11 | 0.0015403 | 0.00038603 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4271-14_0_4_load_7 | 12 | 0.001242 | 0.00031128 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4271-14_0_4_load_8 | 13 | 0.011527 | 0.0028889 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4271-14_0_4_load_9 | 14 | 0.0017393 | 0.0004359 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4271-14_0_4_load_39 | 15 | 0.0013098 | 0.00032827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4271-14_0_4_load_23 | 16 | 0.0019269 | 0.00048293 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4271-14_0_4_load_37 | 17 | 0.0035455 | 0.00088858 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4271-14_0_4_load_13 | 18 | 0.00122 | 0.00030577 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4271-14_0_4_load_10 | 19 | 0.0090167 | 0.0022598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4271-14_0_4_load_14 | 22 | 0.0025784 | 0.00064622 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4271-14_0_4_load_15 | 23 | 0.012943 | 0.0032439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4271-14_0_4_load_80 | 26 | 0.004619 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4271-14_0_4_load_93 | 30 | 0.00073611 | 0.00018449 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4271-14_0_4_load_61 | 31 | 0.0047859 | 0.0011995 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4271-14_0_4_load_76 | 33 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4271-14_0_4_load_17 | 34 | 0.0026256 | 0.00065804 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4271-14_0_4_load_22 | 36 | 0.0060356 | 0.0015127 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4271-14_0_4_load_19 | 38 | 0.011853 | 0.0029706 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4271-14_0_4_load_31 | 39 | 0.012483 | 0.0031284 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4271-14_0_4_load_40 | 40 | 0.0012389 | 0.00031049 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4271-14_0_4_load_41 | 41 | 0.0018524 | 0.00046427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4271-14_0_4_load_28 | 42 | 0.0011287 | 0.00028289 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4271-14_0_4_load_32 | 43 | 0.033398 | 0.0083703 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4271-14_0_4_load_33 | 44 | 0.0093349 | 0.0023395 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4271-14_0_4_load_60 | 46 | 0.0018936 | 0.00047457 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4271-14_0_4_load_35 | 47 | 0.0028545 | 0.0007154 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4271-14_0_4_load_38 | 49 | 0.033952 | 0.0085092 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4271-14_0_4_load_99 | 50 | 0.017953 | 0.0044994 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4271-14_0_4_load_57 | 51 | 0.012956 | 0.0032471 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4271-14_0_4_load_46 | 52 | 0.0019261 | 0.00048271 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4271-14_0_4_load_47 | 53 | 0.0024182 | 0.00060607 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4271-14_0_4_load_49 | 55 | 0.0020346 | 0.00050991 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4271-14_0_4_load_50 | 56 | 0.0040588 | 0.0010172 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4271-14_0_4_load_70 | 58 | 0.0028789 | 0.00072153 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4271-14_0_4_load_79 | 59 | 0.0011905 | 0.00029838 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4271-14_0_4_load_77 | 60 | 0.0012514 | 0.00031364 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4271-14_0_4_load_71 | 61 | 0.0012465 | 0.00031241 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4271-14_0_4_load_86 | 62 | 0.0021819 | 0.00054684 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4271-14_0_4_load_78 | 63 | 0.0013022 | 0.00032637 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4271-14_0_4_load_52 | 64 | 0.0094986 | 0.0023806 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4271-14_0_4_load_53 | 66 | 0.0089711 | 0.0022484 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4271-14_0_4_load_65 | 70 | 0.0089934 | 0.002254 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4271-14_0_4_load_63 | 71 | 0.0095489 | 0.0023932 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4271-14_0_4_load_64 | 73 | 0.0099683 | 0.0024983 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4271-14_0_4_load_97 | 74 | 0.0027679 | 0.0006937 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4271-14_0_4_load_62 | 75 | 0.0015281 | 0.00038297 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4271-14_0_4_load_96 | 80 | 0.0013043 | 0.0003269 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4271-14_0_4_load_88 | 81 | 0.00098854 | 0.00024775 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4271-14_0_4_load_95 | 82 | 0.0014308 | 0.0003586 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4271-14_0_4_load_94 | 83 | 0.0025877 | 0.00064855 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4271-14_0_4_load_72 | 84 | 0.0057081 | 0.0014306 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4271-14_0_4_load_73 | 85 | 0.0046795 | 0.0011728 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4271-14_0_4_load_75 | 87 | 0.0052572 | 0.0013176 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4271-14_0_4_load_87 | 88 | 0.0018403 | 0.00046123 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4271-14_0_4_load_81 | 89 | 0.0015712 | 0.00039378 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4271-14_0_4_load_82 | 90 | 0.0015124 | 0.00037904 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4271-14_0_4_load_83 | 91 | 0.0025177 | 0.000631 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4271-14_0_4_load_84 | 92 | 0.00069226 | 0.0001735 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4271-14_0_4_load_85 | 93 | 0.0013608 | 0.00034104 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4271-14_0_4_load_91 | 94 | 0.00080207 | 0.00020102 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4271-14_0_4_load_89 | 95 | 0.0012619 | 0.00031627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4271-14_0_4_line_0 |  | 0 | 1 | 0.0066064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4271-14_0_4_line_1 |  | 0 | 2 | 0.023137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4271-14_0_4_line_2 |  | 1 | 3 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4271-14_0_4_line_3 |  | 2 | 4 | 0.064441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4271-14_0_4_line_4 |  | 3 | 5 | 0.044054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4271-14_0_4_line_5 |  | 3 | 6 | 0.0066983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4271-14_0_4_line_6 |  | 4 | 7 | 0.003933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4271-14_0_4_line_7 |  | 6 | 8 | 0.032969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4271-14_0_4_line_8 |  | 7 | 9 | 0.036412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4271-14_0_4_line_9 |  | 8 | 42 | 0.034384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4271-14_0_4_line_10 |  | 9 | 37 | 0.02926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4271-14_0_4_line_11 |  | 10 | 11 | 0.026546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_4271-14_0_4_line_12 |  | 10 | 12 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_4271-14_0_4_line_13 |  | 11 | 13 | 0.012368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_4271-14_0_4_line_14 |  | 12 | 14 | 0.014833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_4271-14_0_4_line_15 |  | 13 | 15 | 0.021338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4271-14_0_4_line_16 |  | 14 | 16 | 0.015134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4271-14_0_4_line_17 |  | 15 | 17 | 0.0097692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4271-14_0_4_line_18 |  | 16 | 18 | 0.014218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_4271-14_0_4_line_19 |  | 17 | 48 | 0.016804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4271-14_0_4_line_20 |  | 18 | 20 | 0.0023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4271-14_0_4_line_21 |  | 19 | 20 | 0.046204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_4271-14_0_4_line_22 |  | 19 | 21 | 0.0033931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_4271-14_0_4_line_23 |  | 20 | 22 | 0.039787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4271-14_0_4_line_24 |  | 21 | 23 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4271-14_0_4_line_25 |  | 21 | 24 | 0.043419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4271-14_0_4_line_26 |  | 23 | 25 | 0.025476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4271-14_0_4_line_27 |  | 24 | 26 | 0.036525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4271-14_0_4_line_28 |  | 25 | 27 | 0.002383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4271-14_0_4_line_29 |  | 25 | 28 | 0.041911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_4271-14_0_4_line_30 |  | 26 | 33 | 7.9144e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4271-14_0_4_line_31 |  | 27 | 50 | 0.093172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4271-14_0_4_line_32 |  | 28 | 51 | 0.0056497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_4271-14_0_4_line_33 |  | 29 | 30 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4271-14_0_4_line_34 |  | 29 | 31 | 0.039754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4271-14_0_4_line_35 |  | 29 | 32 | 0.032344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4271-14_0_4_line_36 |  | 30 | 45 | 0.0078692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4271-14_0_4_line_37 |  | 31 | 46 | 0.017277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4271-14_0_4_line_38 |  | 32 | 39 | 0.015298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4271-14_0_4_line_39 |  | 32 | 38 | 0.07769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4271-14_0_4_line_40 |  | 33 | 86 | 0.01144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4271-14_0_4_line_41 |  | 34 | 35 | 0.028387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4271-14_0_4_line_42 |  | 35 | 36 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4271-14_0_4_line_43 |  | 36 | 37 | 0.057701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4271-14_0_4_line_44 |  | 40 | 41 | 0.0030214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4271-14_0_4_line_45 |  | 41 | 49 | 0.033294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4271-14_0_4_line_46 |  | 42 | 43 | 0.00017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4271-14_0_4_line_47 |  | 43 | 44 | 0.038396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4271-14_0_4_line_48 |  | 44 | 47 | 0.0039464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4271-14_0_4_line_49 |  | 45 | 94 | 0.017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4271-14_0_4_line_50 |  | 45 | 92 | 0.01502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4271-14_0_4_line_51 |  | 46 | 75 | 0.021697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4271-14_0_4_line_52 |  | 47 | 48 | 0.021177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4271-14_0_4_line_53 |  | 48 | 49 | 0.059465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4271-14_0_4_line_54 |  | 51 | 65 | 0.028573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4271-14_0_4_line_55 |  | 52 | 53 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4271-14_0_4_line_56 |  | 52 | 54 | 0.012892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4271-14_0_4_line_57 |  | 53 | 55 | 0.0070626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4271-14_0_4_line_58 |  | 54 | 56 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4271-14_0_4_line_59 |  | 54 | 57 | 0.032058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4271-14_0_4_line_60 |  | 56 | 58 | 0.00065597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4271-14_0_4_line_61 |  | 57 | 59 | 0.01152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4271-14_0_4_line_62 |  | 57 | 60 | 0.020377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4271-14_0_4_line_63 |  | 58 | 61 | 0.026863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4271-14_0_4_line_64 |  | 59 | 62 | 0.0077607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4271-14_0_4_line_65 |  | 60 | 63 | 0.0081954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4271-14_0_4_line_66 |  | 61 | 83 | 0.011146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4271-14_0_4_line_67 |  | 62 | 88 | 0.019729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4271-14_0_4_line_68 |  | 64 | 65 | 0.0041788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4271-14_0_4_line_69 |  | 65 | 68 | 0.027652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4271-14_0_4_line_70 |  | 66 | 67 | 0.018061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4271-14_0_4_line_71 |  | 67 | 69 | 0.010185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4271-14_0_4_line_72 |  | 68 | 70 | 0.014828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4271-14_0_4_line_73 |  | 68 | 71 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4271-14_0_4_line_74 |  | 69 | 74 | 0.0086002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4271-14_0_4_line_75 |  | 69 | 75 | 0.02521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4271-14_0_4_line_76 |  | 71 | 72 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4271-14_0_4_line_77 |  | 72 | 73 | 0.015528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
78 | LV_4271-14_0_4_line_78 |  | 73 | 76 | 0.015884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_4271-14_0_4_line_79 |  | 74 | 77 | 0.027235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4271-14_0_4_line_80 |  | 76 | 77 | 0.02678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4271-14_0_4_line_81 |  | 78 | 79 | 0.07072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4271-14_0_4_line_82 |  | 78 | 80 | 0.051667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4271-14_0_4_line_83 |  | 79 | 81 | 0.074398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4271-14_0_4_line_84 |  | 80 | 82 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4271-14_0_4_line_85 |  | 81 | 95 | 0.0083256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4271-14_0_4_line_86 |  | 82 | 83 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4271-14_0_4_line_87 |  | 84 | 85 | 0.0076006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4271-14_0_4_line_88 |  | 84 | 86 | 0.018988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4271-14_0_4_line_89 |  | 86 | 87 | 0.015672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4271-14_0_4_line_90 |  | 88 | 94 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4271-14_0_4_line_91 |  | 89 | 90 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4271-14_0_4_line_92 |  | 89 | 91 | 0.00075093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4271-14_0_4_line_93 |  | 90 | 92 | 8.3504e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4271-14_0_4_line_94 |  | 91 | 93 | 0.0017774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4271-14_0_4_trafo_16 | 0.63 MVA 20/0.4 kV | 96 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635207.3033 | 1242245.5734 | 2635213.3606 | 1242242.9364
1 | 2635185.9622 | 1242254.5012 | 2635194.9482 | 1242250.9521 | 2635207.3033 | 1242245.5734
2 | 2635240.0702 | 1242231.4181 | 2635228.7864 | 1242236.2209 | 2635213.3606 | 1242242.9364
3 | 2635185.9622 | 1242254.5012 | 2635145.7528 | 1242270.3845 | 2635125.8971 | 1242277.8358
4 | 2635240.0702 | 1242231.4181 | 2635226.712 | 1242189.4383
5 | 2635240.0702 | 1242231.4181 | 2635242.5296 | 1242237.6486
6 | 2635122.2149 | 1242279.2177 | 2635125.8971 | 1242277.8358
7 | 2635254.1554 | 1242268.4874 | 2635251.5386 | 1242260.4714 | 2635242.5296 | 1242237.6486
8 | 2635122.2149 | 1242279.2177 | 2635088.1621 | 1242292.1098
9 | 2635254.1554 | 1242268.4874 | 2635263.8994 | 1242298.3358 | 2635264.7204 | 1242301.2061
10 | 2635060.7973 | 1242302.4699 | 2635088.1621 | 1242292.1098
11 | 2635306.1464 | 1242445.9093 | 2635298.8356 | 1242420.3899
12 | 2635306.1464 | 1242445.9093 | 2635312.2848 | 1242467.336
13 | 2635298.8356 | 1242420.3899 | 2635295.4293 | 1242408.4999
14 | 2635312.2848 | 1242467.336 | 2635316.3699 | 1242481.5959
15 | 2635289.5527 | 1242387.9867 | 2635295.4293 | 1242408.4999
16 | 2635316.3699 | 1242481.5959 | 2635320.5379 | 1242496.1449
17 | 2635289.5527 | 1242387.9867 | 2635286.8622 | 1242378.5953
18 | 2635324.4536 | 1242509.813 | 2635320.5379 | 1242496.1449
19 | 2635282.2344 | 1242362.4414 | 2635286.8622 | 1242378.5953
20 | 2635325.1098 | 1242512.1034 | 2635324.4536 | 1242509.813
21 | 2635325.1098 | 1242512.1034 | 2635281.0941 | 1242526.156
22 | 2635277.8618 | 1242527.188 | 2635281.0941 | 1242526.156
23 | 2635325.1098 | 1242512.1034 | 2635336.1481 | 1242550.3288
24 | 2635277.8618 | 1242527.188 | 2635284.8245 | 1242550.6267
25 | 2635238.0473 | 1242544.2849 | 2635256.869 | 1242535.2352 | 2635265.1543 | 1242531.2485 | 2635277.8618 | 1242527.188
26 | 2635292.1505 | 1242575.0258 | 2635290.8151 | 1242570.7929 | 2635284.8245 | 1242550.6267
27 | 2635238.0473 | 1242544.2849 | 2635253.7055 | 1242577.2835
28 | 2635292.1505 | 1242575.0258 | 2635292.8702 | 1242577.2982
29 | 2635285.4847 | 1242605.4057 | 2635292.2785 | 1242601.8104 | 2635283.2377 | 1242579.0421 | 2635292.1505 | 1242575.0258
30 | 2635253.7394 | 1242577.355 | 2635253.7055 | 1242577.2835
31 | 2635292.8702 | 1242577.2982 | 2635316.0404 | 1242566.5845 | 2635320.0291 | 1242566.964 | 2635323.3702 | 1242568.1958 | 2635326.494 | 1242571.6499 | 2635343.1612 | 1242624.5044
32 | 2635285.4847 | 1242605.4057 | 2635280.4903 | 1242608.0467
33 | 2635171.5009 | 1242576.2779 | 2635152.9298 | 1242584.7967
34 | 2635171.5009 | 1242576.2779 | 2635188.2591 | 1242612.327
35 | 2635158.1531 | 1242546.8022 | 2635171.5009 | 1242576.2779
36 | 2635145.7773 | 1242588.0777 | 2635152.9298 | 1242584.7967
37 | 2635195.5424 | 1242627.9944 | 2635188.2591 | 1242612.327
38 | 2635158.1531 | 1242546.8022 | 2635151.719 | 1242532.9235
39 | 2635158.1531 | 1242546.8022 | 2635088.6811 | 1242581.5775
40 | 2635258.6438 | 1242587.6906 | 2635253.7394 | 1242577.355
41 | 2635086.9397 | 1242373.481 | 2635061.5313 | 1242386.1388
42 | 2635086.9397 | 1242373.481 | 2635080.7317 | 1242356.6182
43 | 2635060.7973 | 1242302.4699 | 2635080.7317 | 1242356.6182
44 | 2635189.895 | 1242387.8863 | 2635192.8078 | 1242387.0836
45 | 2635192.8078 | 1242387.0836 | 2635224.9058 | 1242378.2387
46 | 2635264.7676 | 1242301.371 | 2635264.7204 | 1242301.2061
47 | 2635275.3258 | 1242338.2864 | 2635264.7676 | 1242301.371
48 | 2635276.411 | 1242342.0806 | 2635275.3258 | 1242338.2864
49 | 2635145.7773 | 1242588.0777 | 2635129.8377 | 1242595.5695
50 | 2635145.7773 | 1242588.0777 | 2635152.273 | 1242601.6209
51 | 2635195.5424 | 1242627.9944 | 2635201.1156 | 1242639.9831 | 2635203.7965 | 1242641.6556 | 2635206.4031 | 1242646.2894
52 | 2635282.2344 | 1242362.4414 | 2635276.411 | 1242342.0806
53 | 2635282.2344 | 1242362.4414 | 2635224.9058 | 1242378.2387
54 | 2635255.2312 | 1242621.4031 | 2635280.4903 | 1242608.0467
55 | 2635098.5025 | 1242655.8629 | 2635093.3234 | 1242666.974 | 2635090.7611 | 1242667.8095
56 | 2635103.9492 | 1242644.1776 | 2635098.5025 | 1242655.8629
57 | 2635084.0464 | 1242669.9989 | 2635090.7611 | 1242667.8095
58 | 2635103.9492 | 1242644.1776 | 2635120.5427 | 1242651.8729
59 | 2635082.2283 | 1242622.0685 | 2635085.5792 | 1242630.6049 | 2635094.9035 | 1242638.7652 | 2635103.9492 | 1242644.1776
60 | 2635120.5427 | 1242651.8729 | 2635121.1378 | 1242652.1489
61 | 2635082.2283 | 1242622.0685 | 2635087.187 | 1242615.6158 | 2635090.2483 | 1242614.177
62 | 2635082.2283 | 1242622.0685 | 2635074.2083 | 1242620.8648 | 2635062.9845 | 1242625.8142
63 | 2635145.5078 | 1242663.4504 | 2635121.1378 | 1242652.1489
64 | 2635090.2483 | 1242614.177 | 2635097.2719 | 1242610.8758
65 | 2635062.9845 | 1242625.8142 | 2635055.4857 | 1242629.121
66 | 2635155.6196 | 1242668.1398 | 2635145.5078 | 1242663.4504
67 | 2635115.1266 | 1242602.4839 | 2635097.2719 | 1242610.8758
68 | 2635255.2312 | 1242621.4031 | 2635251.5373 | 1242623.3569
69 | 2635269.8762 | 1242644.8829 | 2635255.2312 | 1242621.4031
70 | 2635223.7516 | 1242659.3742 | 2635232.5973 | 1242643.6271
71 | 2635218.7632 | 1242668.2614 | 2635223.7516 | 1242659.3742
72 | 2635269.8762 | 1242644.8829 | 2635283.3449 | 1242638.6813
73 | 2635269.8762 | 1242644.8829 | 2635266.6853 | 1242646.3538 | 2635259.3448 | 1242655.9686
74 | 2635218.7632 | 1242668.2614 | 2635221.0306 | 1242672.1107 | 2635221.9368 | 1242676.143
75 | 2635218.7632 | 1242668.2614 | 2635206.4031 | 1242646.2894
76 | 2635250.8329 | 1242667.1175 | 2635259.3448 | 1242655.9686
77 | 2635250.8329 | 1242667.1175 | 2635252.5983 | 1242682.5445
78 | 2635254.4042 | 1242698.3255 | 2635252.5983 | 1242682.5445
79 | 2635227.9086 | 1242702.7156 | 2635221.9368 | 1242676.143
80 | 2635227.9086 | 1242702.7156 | 2635254.4042 | 1242698.3255
81 | 2635212.1352 | 1242736.9664 | 2635205.9417 | 1242741.3214 | 2635149.5898 | 1242770.173
82 | 2635212.1352 | 1242736.9664 | 2635197.5557 | 1242710.096 | 2635186.2399 | 1242692.2918
83 | 2635149.5898 | 1242770.173 | 2635116.2176 | 1242703.6791
84 | 2635172.1995 | 1242675.8287 | 2635173.5002 | 1242676.4319 | 2635180.9011 | 1242683.8916 | 2635186.2399 | 1242692.2918
85 | 2635116.2176 | 1242703.6791 | 2635112.4831 | 1242696.2381
86 | 2635155.6196 | 1242668.1398 | 2635172.1995 | 1242675.8287
87 | 2635234.7127 | 1242599.2783 | 2635241.5535 | 1242595.9659
88 | 2635258.6438 | 1242587.6906 | 2635241.5535 | 1242595.9659
89 | 2635258.6438 | 1242587.6906 | 2635273.0125 | 1242581.3384
90 | 2635129.8377 | 1242595.5695 | 2635115.1266 | 1242602.4839
91 | 2635160.6097 | 1242619.0025 | 2635152.3091 | 1242601.6962
92 | 2635160.9344 | 1242619.6796 | 2635160.6097 | 1242619.0025
93 | 2635152.3091 | 1242601.6962 | 2635152.273 | 1242601.6209
94 | 2635161.703 | 1242621.2822 | 2635160.9344 | 1242619.6796

## bus_geodata
| x | y | coords
0 | 2635207.3033 | 1242245.5734
1 | 2635213.3606 | 1242242.9364
2 | 2635185.9622 | 1242254.5012
3 | 2635240.0702 | 1242231.4181
4 | 2635125.8971 | 1242277.8358
5 | 2635226.712 | 1242189.4383
6 | 2635242.5296 | 1242237.6486
7 | 2635122.2149 | 1242279.2177
8 | 2635254.1554 | 1242268.4874
9 | 2635088.1621 | 1242292.1098
10 | 2635306.1464 | 1242445.9093
11 | 2635298.8356 | 1242420.3899
12 | 2635312.2848 | 1242467.336
13 | 2635295.4293 | 1242408.4999
14 | 2635316.3699 | 1242481.5959
15 | 2635289.5527 | 1242387.9867
16 | 2635320.5379 | 1242496.1449
17 | 2635286.8622 | 1242378.5953
18 | 2635324.4536 | 1242509.813
19 | 2635281.0941 | 1242526.156
20 | 2635325.1098 | 1242512.1034
21 | 2635277.8618 | 1242527.188
22 | 2635336.1481 | 1242550.3288
23 | 2635284.8245 | 1242550.6267
24 | 2635238.0473 | 1242544.2849
25 | 2635292.1505 | 1242575.0258
26 | 2635253.7055 | 1242577.2835
27 | 2635292.8702 | 1242577.2982
28 | 2635285.4847 | 1242605.4057
29 | 2635171.5009 | 1242576.2779
30 | 2635152.9298 | 1242584.7967
31 | 2635188.2591 | 1242612.327
32 | 2635158.1531 | 1242546.8022
33 | 2635253.7394 | 1242577.355
34 | 2635061.5313 | 1242386.1388
35 | 2635086.9397 | 1242373.481
36 | 2635080.7317 | 1242356.6182
37 | 2635060.7973 | 1242302.4699
38 | 2635088.6811 | 1242581.5775
39 | 2635151.719 | 1242532.9235
40 | 2635189.895 | 1242387.8863
41 | 2635192.8078 | 1242387.0836
42 | 2635264.7204 | 1242301.2061
43 | 2635264.7676 | 1242301.371
44 | 2635275.3258 | 1242338.2864
45 | 2635145.7773 | 1242588.0777
46 | 2635195.5424 | 1242627.9944
47 | 2635276.411 | 1242342.0806
48 | 2635282.2344 | 1242362.4414
49 | 2635224.9058 | 1242378.2387
50 | 2635343.1612 | 1242624.5044
51 | 2635280.4903 | 1242608.0467
52 | 2635098.5025 | 1242655.8629
53 | 2635090.7611 | 1242667.8095
54 | 2635103.9492 | 1242644.1776
55 | 2635084.0464 | 1242669.9989
56 | 2635120.5427 | 1242651.8729
57 | 2635082.2283 | 1242622.0685
58 | 2635121.1378 | 1242652.1489
59 | 2635090.2483 | 1242614.177
60 | 2635062.9845 | 1242625.8142
61 | 2635145.5078 | 1242663.4504
62 | 2635097.2719 | 1242610.8758
63 | 2635055.4857 | 1242629.121
64 | 2635251.5373 | 1242623.3569
65 | 2635255.2312 | 1242621.4031
66 | 2635232.5973 | 1242643.6271
67 | 2635223.7516 | 1242659.3742
68 | 2635269.8762 | 1242644.8829
69 | 2635218.7632 | 1242668.2614
70 | 2635283.3449 | 1242638.6813
71 | 2635259.3448 | 1242655.9686
72 | 2635250.8329 | 1242667.1175
73 | 2635252.5983 | 1242682.5445
74 | 2635221.9368 | 1242676.143
75 | 2635206.4031 | 1242646.2894
76 | 2635254.4042 | 1242698.3255
77 | 2635227.9086 | 1242702.7156
78 | 2635212.1352 | 1242736.9664
79 | 2635149.5898 | 1242770.173
80 | 2635186.2399 | 1242692.2918
81 | 2635116.2176 | 1242703.6791
82 | 2635172.1995 | 1242675.8287
83 | 2635155.6196 | 1242668.1398
84 | 2635241.5535 | 1242595.9659
85 | 2635234.7127 | 1242599.2783
86 | 2635258.6438 | 1242587.6906
87 | 2635273.0125 | 1242581.3384
88 | 2635115.1266 | 1242602.4839
89 | 2635160.6097 | 1242619.0025
90 | 2635152.3091 | 1242601.6962
91 | 2635160.9344 | 1242619.6796
92 | 2635152.273 | 1242601.6209
93 | 2635161.703 | 1242621.2822
94 | 2635129.8377 | 1242595.5695
95 | 2635112.4831 | 1242696.2381
96 | 2635256.8691 | 1242535.2352

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1