## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4271-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4271-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4271-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4271-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4271-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4271-6_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4271-6_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4271-6_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_4271-6_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4271-6_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4271-6_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_4271-6_0_3_node_96 | 0.4 | n |  | TRUE
12 | bus_LV_4271-6_0_3_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_4271-6_0_3_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_4271-6_0_3_node_90 | 0.4 | n |  | TRUE
15 | bus_LV_4271-6_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_4271-6_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4271-6_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4271-6_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4271-6_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4271-6_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4271-6_0_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_4271-6_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4271-6_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_4271-6_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4271-6_0_3_node_98 | 0.4 | n |  | TRUE
26 | bus_LV_4271-6_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_4271-6_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_4271-6_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_4271-6_0_3_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_4271-6_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_4271-6_0_3_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_4271-6_0_3_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_4271-6_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_4271-6_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4271-6_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_4271-6_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_4271-6_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4271-6_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_4271-6_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_4271-6_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_4271-6_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_4271-6_0_3_node_71 | 0.4 | n |  | TRUE
43 | bus_LV_4271-6_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4271-6_0_3_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_4271-6_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_4271-6_0_3_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_4271-6_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4271-6_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4271-6_0_3_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_4271-6_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_4271-6_0_3_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_4271-6_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_4271-6_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_4271-6_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_4271-6_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_4271-6_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4271-6_0_3_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_4271-6_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_4271-6_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4271-6_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4271-6_0_3_node_78 | 0.4 | n |  | TRUE
62 | bus_LV_4271-6_0_3_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_4271-6_0_3_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_4271-6_0_3_node_92 | 0.4 | n |  | TRUE
65 | bus_LV_4271-6_0_3_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_4271-6_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4271-6_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4271-6_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4271-6_0_3_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4271-6_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4271-6_0_3_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_4271-6_0_3_node_99 | 0.4 | n |  | TRUE
73 | bus_LV_4271-6_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4271-6_0_3_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_4271-6_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_4271-6_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4271-6_0_3_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4271-6_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_4271-6_0_3_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_4271-6_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_4271-6_0_3_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_4271-6_0_3_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_4271-6_0_3_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_4271-6_0_3_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_4271-6_0_3_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_4271-6_0_3_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_4271-6_0_3_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_4271-6_0_3_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_4271-6_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4271-6_0_3_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_4271-6_0_3_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_4271-6_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_4271-6_0_3_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_4271-6_0_3_node_94 | 0.4 | n |  | TRUE
95 | bus_MV_397_0_node_217 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4271-6_0_3_load_0 | 0 | 0.0012816 | 0.0003212 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4271-6_0_3_load_1 | 1 | 0.00016558 | 4.1498e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4271-6_0_3_load_4 | 4 | 0.00068904 | 0.00017269 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4271-6_0_3_load_8 | 5 | 0.0037857 | 0.00094879 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4271-6_0_3_load_5 | 6 | 0.0048861 | 0.0012246 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4271-6_0_3_load_9 | 7 | 0.0015032 | 0.00037673 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4271-6_0_3_load_6 | 9 | 0.0047496 | 0.0011904 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4271-6_0_3_load_96 | 11 | 0.00078937 | 0.00019784 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4271-6_0_3_load_90 | 14 | 0.0030462 | 0.00076346 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4271-6_0_3_load_35 | 15 | 0.0021211 | 0.0005316 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4271-6_0_3_load_10 | 16 | 0.015664 | 0.0039257 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4271-6_0_3_load_11 | 17 | 0.0049052 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4271-6_0_3_load_15 | 20 | 0.0021474 | 0.00053818 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4271-6_0_3_load_26 | 21 | 0.006957 | 0.0017436 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4271-6_0_3_load_22 | 22 | 0.0028716 | 0.00071969 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4271-6_0_3_load_98 | 25 | 0.0010898 | 0.00027312 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4271-6_0_3_load_48 | 29 | 0.0096651 | 0.0024223 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4271-6_0_3_load_28 | 30 | 0.0086443 | 0.0021665 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4271-6_0_3_load_17 | 33 | 0.010343 | 0.0025923 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4271-6_0_3_load_18 | 34 | 0.0019048 | 0.00047738 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4271-6_0_3_load_19 | 35 | 0.0092283 | 0.0023128 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4271-6_0_3_load_20 | 36 | 0.0067664 | 0.0016958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4271-6_0_3_load_29 | 37 | 0.0026469 | 0.00066338 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4271-6_0_3_load_32 | 39 | 0.0048643 | 0.0012191 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4271-6_0_3_load_71 | 42 | 0.0036606 | 0.00091744 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4271-6_0_3_load_36 | 43 | 0.001183 | 0.00029648 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4271-6_0_3_load_55 | 44 | 0.0025745 | 0.00064523 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4271-6_0_3_load_65 | 45 | 0.0025903 | 0.0006492 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4271-6_0_3_load_72 | 46 | 0.018171 | 0.0045541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4271-6_0_3_load_34 | 47 | 0.0037053 | 0.00092863 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4271-6_0_3_load_54 | 48 | 0.002201 | 0.00055162 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4271-6_0_3_load_74 | 49 | 0.0042 | 0.0010526 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4271-6_0_3_load_73 | 50 | 0.0075327 | 0.0018879 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4271-6_0_3_load_60 | 51 | 0.0039812 | 0.00099777 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4271-6_0_3_load_30 | 52 | 0.004909 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4271-6_0_3_load_31 | 53 | 0.0024823 | 0.00062212 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4271-6_0_3_load_38 | 56 | 0.0057717 | 0.0014465 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4271-6_0_3_load_39 | 58 | 0.0019346 | 0.00048486 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4271-6_0_3_load_78 | 61 | 0.0084433 | 0.0021161 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4271-6_0_3_load_75 | 62 | 0.0025085 | 0.00062868 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4271-6_0_3_load_97 | 63 | 0.011594 | 0.0029056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4271-6_0_3_load_58 | 66 | 0.0019682 | 0.00049327 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4271-6_0_3_load_44 | 67 | 0.0069803 | 0.0017494 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4271-6_0_3_load_45 | 68 | 0.0032401 | 0.00081205 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4271-6_0_3_load_47 | 69 | 0.0012244 | 0.00030687 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4271-6_0_3_load_62 | 70 | 0.0023995 | 0.00060137 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4271-6_0_3_load_63 | 71 | 0.0047174 | 0.0011823 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4271-6_0_3_load_99 | 72 | 0.0094403 | 0.002366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4271-6_0_3_load_56 | 73 | 0.0074276 | 0.0018615 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4271-6_0_3_load_57 | 74 | 0.0058432 | 0.0014644 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4271-6_0_3_load_59 | 76 | 0.0098714 | 0.002474 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4271-6_0_3_load_61 | 77 | 0.0031259 | 0.00078343 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4271-6_0_3_load_64 | 78 | 0.0043718 | 0.0010957 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4271-6_0_3_load_83 | 80 | 0.012494 | 0.0031314 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4271-6_0_3_load_69 | 83 | 0.0057016 | 0.001429 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4271-6_0_3_load_70 | 84 | 0.026159 | 0.0065561 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4271-6_0_3_load_79 | 85 | 0.010014 | 0.0025098 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4271-6_0_3_load_80 | 86 | 0.0049265 | 0.0012347 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4271-6_0_3_load_81 | 87 | 0.0025947 | 0.0006503 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4271-6_0_3_load_88 | 89 | 0.0063109 | 0.0015816 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4271-6_0_3_load_85 | 90 | 0.0057268 | 0.0014353 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4271-6_0_3_load_86 | 91 | 0.0041328 | 0.0010358 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4271-6_0_3_load_87 | 92 | 0.0052258 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4271-6_0_3_load_93 | 93 | 0.0011473 | 0.00028754 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4271-6_0_3_load_94 | 94 | 0.00082327 | 0.00020633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4271-6_0_3_line_0 |  | 0 | 1 | 0.023138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4271-6_0_3_line_1 |  | 0 | 2 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4271-6_0_3_line_2 |  | 2 | 3 | 0.1035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4271-6_0_3_line_3 |  | 2 | 4 | 0.017325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4271-6_0_3_line_4 |  | 3 | 5 | 0.05313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4271-6_0_3_line_5 |  | 3 | 6 | 0.038858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4271-6_0_3_line_6 |  | 4 | 7 | 0.11581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4271-6_0_3_line_7 |  | 5 | 8 | 0.0056017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4271-6_0_3_line_8 |  | 8 | 15 | 0.022973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4271-6_0_3_line_9 |  | 9 | 10 | 0.026329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4271-6_0_3_line_10 |  | 10 | 11 | 0.017574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4271-6_0_3_line_11 |  | 10 | 12 | 0.043359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4271-6_0_3_line_12 |  | 11 | 13 | 0.035917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4271-6_0_3_line_13 |  | 12 | 14 | 0.022371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4271-6_0_3_line_14 |  | 13 | 94 | 0.01571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4271-6_0_3_line_15 |  | 14 | 75 | 0.036801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4271-6_0_3_line_16 |  | 15 | 47 | 0.0099404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4271-6_0_3_line_17 |  | 16 | 17 | 0.025429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4271-6_0_3_line_18 |  | 16 | 18 | 0.025988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4271-6_0_3_line_19 |  | 18 | 19 | 0.005088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4271-6_0_3_line_20 |  | 18 | 20 | 0.050737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4271-6_0_3_line_21 |  | 19 | 21 | 0.063987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4271-6_0_3_line_22 |  | 19 | 22 | 0.0035298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4271-6_0_3_line_23 |  | 20 | 23 | 0.012599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4271-6_0_3_line_24 |  | 21 | 27 | 0.049498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4271-6_0_3_line_25 |  | 22 | 26 | 0.0063413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4271-6_0_3_line_26 |  | 23 | 30 | 0.0088414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4271-6_0_3_line_27 |  | 24 | 25 | 0.025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4271-6_0_3_line_28 |  | 24 | 26 | 0.005325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4271-6_0_3_line_29 |  | 25 | 31 | 0.024824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4271-6_0_3_line_30 |  | 27 | 28 | 0.047095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4271-6_0_3_line_31 |  | 28 | 29 | 0.043297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4271-6_0_3_line_32 |  | 29 | 54 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4271-6_0_3_line_33 |  | 30 | 49 | 0.013084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4271-6_0_3_line_34 |  | 31 | 32 | 0.015946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4271-6_0_3_line_35 |  | 32 | 45 | 0.043298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4271-6_0_3_line_36 |  | 32 | 40 | 0.007587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_4271-6_0_3_line_37 |  | 33 | 34 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4271-6_0_3_line_38 |  | 33 | 35 | 0.031319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4271-6_0_3_line_39 |  | 34 | 36 | 0.0090892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4271-6_0_3_line_40 |  | 36 | 37 | 0.025438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4271-6_0_3_line_41 |  | 37 | 38 | 0.016499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4271-6_0_3_line_42 |  | 37 | 39 | 0.031325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4271-6_0_3_line_43 |  | 38 | 50 | 0.0040852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4271-6_0_3_line_44 |  | 38 | 51 | 0.026709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4271-6_0_3_line_45 |  | 39 | 52 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4271-6_0_3_line_46 |  | 40 | 41 | 0.029653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4271-6_0_3_line_47 |  | 40 | 42 | 0.020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_4271-6_0_3_line_48 |  | 41 | 43 | 0.032782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4271-6_0_3_line_49 |  | 41 | 44 | 0.020702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4271-6_0_3_line_50 |  | 42 | 46 | 0.037335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4271-6_0_3_line_51 |  | 43 | 47 | 0.0068764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4271-6_0_3_line_52 |  | 44 | 48 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4271-6_0_3_line_53 |  | 45 | 82 | 0.032327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4271-6_0_3_line_54 |  | 46 | 50 | 0.046878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4271-6_0_3_line_55 |  | 48 | 73 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4271-6_0_3_line_56 |  | 51 | 66 | 0.017503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4271-6_0_3_line_57 |  | 52 | 53 | 0.040243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4271-6_0_3_line_58 |  | 54 | 55 | 0.026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4271-6_0_3_line_59 |  | 55 | 72 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4271-6_0_3_line_60 |  | 56 | 57 | 0.0099815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4271-6_0_3_line_61 |  | 57 | 60 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4271-6_0_3_line_62 |  | 58 | 59 | 0.013405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4271-6_0_3_line_63 |  | 59 | 61 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4271-6_0_3_line_64 |  | 59 | 62 | 0.0083071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4271-6_0_3_line_65 |  | 60 | 63 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4271-6_0_3_line_66 |  | 61 | 64 | 0.021759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4271-6_0_3_line_67 |  | 62 | 65 | 0.012923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4271-6_0_3_line_68 |  | 63 | 64 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4271-6_0_3_line_69 |  | 65 | 75 | 0.007583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4271-6_0_3_line_70 |  | 65 | 74 | 0.016289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4271-6_0_3_line_71 |  | 66 | 76 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4271-6_0_3_line_72 |  | 67 | 68 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4271-6_0_3_line_73 |  | 68 | 69 | 0.016075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4271-6_0_3_line_74 |  | 69 | 70 | 0.01009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4271-6_0_3_line_75 |  | 70 | 71 | 0.026107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4271-6_0_3_line_76 |  | 71 | 78 | 0.032732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4271-6_0_3_line_77 |  | 73 | 74 | 0.0060267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4271-6_0_3_line_78 |  | 76 | 77 | 0.0021063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4271-6_0_3_line_79 |  | 78 | 79 | 0.021724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4271-6_0_3_line_80 |  | 79 | 80 | 0.012796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4271-6_0_3_line_81 |  | 79 | 81 | 0.01087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4271-6_0_3_line_82 |  | 80 | 83 | 0.0093941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4271-6_0_3_line_83 |  | 81 | 88 | 0.022115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4271-6_0_3_line_84 |  | 81 | 86 | 0.02686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4271-6_0_3_line_85 |  | 82 | 83 | 0.034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4271-6_0_3_line_86 |  | 82 | 84 | 0.00583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4271-6_0_3_line_87 |  | 85 | 86 | 0.00051272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4271-6_0_3_line_88 |  | 85 | 87 | 0.069792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4271-6_0_3_line_89 |  | 88 | 89 | 0.019107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4271-6_0_3_line_90 |  | 89 | 92 | 0.033847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4271-6_0_3_line_91 |  | 90 | 91 | 0.051084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4271-6_0_3_line_92 |  | 90 | 92 | 0.064731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4271-6_0_3_line_93 |  | 93 | 94 | 0.017213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4271-6_0_3_trafo_71 | 0.63 MVA 20/0.4 kV | 95 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2634843.8312 | 1240598.1344 | 2634851.926 | 1240576.4587
1 | 2634838.6764 | 1240611.9375 | 2634843.8312 | 1240598.1344
2 | 2634810.1481 | 1240711.356 | 2634812.1422 | 1240700.0827 | 2634812.7671 | 1240697.9628 | 2634823.6839 | 1240660.7585 | 2634828.3514 | 1240644.8758 | 2634838.6764 | 1240611.9375
3 | 2634838.6764 | 1240611.9375 | 2634853.7488 | 1240620.4812
4 | 2634810.1481 | 1240711.356 | 2634806.5512 | 1240731.6479 | 2634802.2924 | 1240763.8893
5 | 2634810.1481 | 1240711.356 | 2634819.1344 | 1240714.5551 | 2634846.5049 | 1240725.0666
6 | 2634955.8953 | 1240674.9325 | 2634911.5566 | 1240653.247 | 2634887.4718 | 1240639.5969 | 2634853.7488 | 1240620.4812
7 | 2634801.5588 | 1240769.4427 | 2634802.2924 | 1240763.8893
8 | 2634801.5588 | 1240769.4427 | 2634801.1407 | 1240792.4124
9 | 2634922.5175 | 1240763.0036 | 2634914.9451 | 1240754.6761 | 2634901.0412 | 1240749.4355 | 2634900.8414 | 1240749.3567
10 | 2634922.5175 | 1240763.0036 | 2634934.0157 | 1240765.8953 | 2634938.8254 | 1240768.9863
11 | 2634922.5175 | 1240763.0036 | 2634913.7851 | 1240766.7881 | 2634894.2061 | 1240789.3431 | 2634891.4517 | 1240792.2954
12 | 2634969.0412 | 1240788.4045 | 2634938.8254 | 1240768.9863
13 | 2634891.4517 | 1240792.2954 | 2634876.2112 | 1240808.672
14 | 2634969.0412 | 1240788.4045 | 2634978.3767 | 1240775.7694
15 | 2634867.4613 | 1240843.7986 | 2634869.2312 | 1240830.8118 | 2634870.6573 | 1240818.4123 | 2634876.2112 | 1240808.672
16 | 2634800.9598 | 1240802.3512 | 2634801.1407 | 1240792.4124
17 | 2634723.1249 | 1240780.3033 | 2634723.4496 | 1240780.7376 | 2634738.3242 | 1240800.6897
18 | 2634753.6349 | 1240821.6845 | 2634749.3239 | 1240815.4443 | 2634738.3242 | 1240800.6897
19 | 2634753.6349 | 1240821.6845 | 2634756.6153 | 1240817.5549
20 | 2634753.6349 | 1240821.6845 | 2634737.9104 | 1240840.7381 | 2634729.6305 | 1240834.419 | 2634719.3841 | 1240846.2054
21 | 2634756.6153 | 1240817.5549 | 2634740.2268 | 1240795.0114 | 2634718.4192 | 1240766.2222
22 | 2634756.6153 | 1240817.5549 | 2634758.6912 | 1240820.4097
23 | 2634711.1183 | 1240855.7134 | 2634719.3841 | 1240846.2054
24 | 2634688.5313 | 1240726.7659 | 2634718.4192 | 1240766.2222
25 | 2634762.4207 | 1240825.5384 | 2634758.6912 | 1240820.4097
26 | 2634711.1183 | 1240855.7134 | 2634704.2542 | 1240850.1407
27 | 2634759.2804 | 1240829.845 | 2634757.0142 | 1240833.3673 | 2634757.5758 | 1240842.065 | 2634760.3861 | 1240846.3286 | 2634756.4086 | 1240852.8873
28 | 2634759.2804 | 1240829.845 | 2634762.4207 | 1240825.5384
29 | 2634756.4086 | 1240852.8873 | 2634768.002 | 1240862.7503 | 2634776.0475 | 1240857.4273
30 | 2634680.8511 | 1240697.9805 | 2634676.3134 | 1240696.8867 | 2634668.1217 | 1240700.0187 | 2634674.6307 | 1240709.2625 | 2634688.5313 | 1240726.7659
31 | 2634680.8511 | 1240697.9805 | 2634687.9947 | 1240707.2948 | 2634692.3671 | 1240709.5106 | 2634696.2185 | 1240709.0328 | 2634699.4594 | 1240706.9059 | 2634702.4172 | 1240706.6453 | 2634718.1474 | 1240709.1619
32 | 2634738.2038 | 1240720.7633 | 2634730.6914 | 1240711.1688 | 2634718.1474 | 1240709.1619
33 | 2634694.0966 | 1240841.8941 | 2634704.2542 | 1240850.1407
34 | 2634784.3374 | 1240871.0623 | 2634776.0475 | 1240857.4273
35 | 2634784.3374 | 1240871.0623 | 2634767.6065 | 1240910.997
36 | 2634784.3374 | 1240871.0623 | 2634787.2742 | 1240864.0639
37 | 2634860.5101 | 1240966.4949 | 2634868.7386 | 1240961.081 | 2634874.6465 | 1240954.1334 | 2634877.9758 | 1240949.3341
38 | 2634900.6889 | 1240938.8836 | 2634897.4533 | 1240936.7229 | 2634888.1964 | 1240934.6005 | 2634877.9758 | 1240949.3341
39 | 2634860.5101 | 1240966.4949 | 2634852.917 | 1240971.4908
40 | 2634829.8893 | 1240982.2111 | 2634850.3483 | 1240973.1809 | 2634852.917 | 1240971.4908
41 | 2634829.8893 | 1240982.2111 | 2634824.3099 | 1240966.6796
42 | 2634829.8893 | 1240982.2111 | 2634841.4532 | 1241011.323
43 | 2634824.3099 | 1240966.6796 | 2634822.9271 | 1240962.8356
44 | 2634824.3099 | 1240966.6796 | 2634839.3857 | 1240944.6327
45 | 2634845.1199 | 1241022.2479 | 2634841.691 | 1241011.9215 | 2634841.4532 | 1241011.323
46 | 2634787.2742 | 1240864.0639 | 2634781.6163 | 1240854.1467 | 2634791.7859 | 1240845.0449 | 2634794.0699 | 1240841.0668
47 | 2634787.2742 | 1240864.0639 | 2634796.4884 | 1240882.9244
48 | 2634794.0699 | 1240841.0668 | 2634799.3374 | 1240824.6872 | 2634800.7003 | 1240816.6122 | 2634800.8347 | 1240809.2264
49 | 2634794.0699 | 1240841.0668 | 2634814.7179 | 1240842.5611
50 | 2634796.4884 | 1240882.9244 | 2634798.2343 | 1240886.498 | 2634805.7039 | 1240909.7899 | 2634808.4176 | 1240918.2631
51 | 2634800.9598 | 1240802.3512 | 2634800.8347 | 1240809.2264
52 | 2634830.8005 | 1240844.5395 | 2634823.6577 | 1240843.2081 | 2634814.7179 | 1240842.5611
53 | 2634755.1154 | 1240940.8137 | 2634766.1876 | 1240914.3838 | 2634767.6065 | 1240910.997
54 | 2634808.4176 | 1240918.2631 | 2634820.7911 | 1240956.8972 | 2634822.9271 | 1240962.8356
55 | 2634830.8005 | 1240844.5395 | 2634842.7379 | 1240846.7645
56 | 2634849.2654 | 1240930.1845 | 2634839.3857 | 1240944.6327
57 | 2634845.1199 | 1241022.2479 | 2634850.5392 | 1241038.5682 | 2634855.2883 | 1241059.0091 | 2634855.6681 | 1241061.0349
58 | 2634745.326 | 1240694.944 | 2634738.2038 | 1240720.7633
59 | 2634745.326 | 1240694.944 | 2634754.1074 | 1240669.846
60 | 2634939.1087 | 1240876.9516 | 2634929.7542 | 1240873.4696
61 | 2634940.1842 | 1240859.9249 | 2634941.4562 | 1240869.9054 | 2634939.1087 | 1240876.9516
62 | 2634884.9003 | 1240857.3096 | 2634895.0429 | 1240860.549 | 2634897.6275 | 1240861.511
63 | 2634884.9003 | 1240857.3096 | 2634890.6458 | 1240844.5463 | 2634891.5822 | 1240844.5698
64 | 2634884.9003 | 1240857.3096 | 2634876.9866 | 1240854.7834
65 | 2634940.1842 | 1240859.9249 | 2634934.4164 | 1240855.8884 | 2634928.7275 | 1240853.4504
66 | 2634912.698 | 1240841.118 | 2634902.2196 | 1240844.8366 | 2634891.5822 | 1240844.5698
67 | 2634864.6754 | 1240850.8535 | 2634876.9866 | 1240854.7834
68 | 2634912.698 | 1240841.118 | 2634917.1081 | 1240848.4708 | 2634928.7275 | 1240853.4504
69 | 2634864.6754 | 1240850.8535 | 2634867.4613 | 1240843.7986
70 | 2634864.6754 | 1240850.8535 | 2634848.6625 | 1240847.8688
71 | 2634849.2654 | 1240930.1845 | 2634858.5745 | 1240916.5708
72 | 2634824.6756 | 1241093.8741 | 2634818.4364 | 1241082.2094
73 | 2634818.4364 | 1241082.2094 | 2634810.8548 | 1241068.0346
74 | 2634805.8634 | 1241059.2807 | 2634807.1609 | 1241061.1284 | 2634810.8548 | 1241068.0346
75 | 2634805.8634 | 1241059.2807 | 2634790.8599 | 1241037.9151
76 | 2634772.0495 | 1241011.1283 | 2634790.8599 | 1241037.9151
77 | 2634848.6625 | 1240847.8688 | 2634842.7379 | 1240846.7645
78 | 2634859.7634 | 1240914.8322 | 2634858.5745 | 1240916.5708
79 | 2634759.3813 | 1240993.4834 | 2634763.6425 | 1240999.1564 | 2634772.0495 | 1241011.1283
80 | 2634759.3813 | 1240993.4834 | 2634753.1245 | 1240985.1526 | 2634752.5567 | 1240982.844
81 | 2634759.3813 | 1240993.4834 | 2634749.7496 | 1240998.5747
82 | 2634750.3129 | 1240973.7218 | 2634752.5567 | 1240982.844
83 | 2634740.4072 | 1241017.5433 | 2634745.9879 | 1241000.5651 | 2634749.7496 | 1240998.5747
84 | 2634749.7496 | 1240998.5747 | 2634731.4441 | 1240978.9182
85 | 2634755.1154 | 1240940.8137 | 2634754.1109 | 1240943.2093 | 2634748.2579 | 1240965.367 | 2634750.3129 | 1240973.7218
86 | 2634749.6152 | 1240938.8358 | 2634755.1154 | 1240940.8137
87 | 2634731.4441 | 1240978.9182 | 2634731.0947 | 1240978.543
88 | 2634731.0947 | 1240978.543 | 2634725.857 | 1240972.9187 | 2634716.9145 | 1240967.4519 | 2634671.8947 | 1240957.7829 | 2634666.7068 | 1240955.731
89 | 2634740.4072 | 1241017.5433 | 2634722.1121 | 1241012.0321
90 | 2634722.1121 | 1241012.0321 | 2634691.2519 | 1241002.7357 | 2634689.8116 | 1241002.0009
91 | 2634639.6017 | 1240962.7171 | 2634627.7334 | 1240949.9538 | 2634607.1126 | 1240936.1916 | 2634602.5287 | 1240928.6049
92 | 2634639.6017 | 1240962.7171 | 2634663.783 | 1240988.722 | 2634689.8116 | 1241002.0009
93 | 2634988.6058 | 1240761.9249 | 2634988.6058 | 1240761.9249 | 2634978.3767 | 1240775.7694

## bus_geodata
| x | y | coords
0 | 2634843.8312 | 1240598.1344
1 | 2634851.926 | 1240576.4587
2 | 2634838.6764 | 1240611.9375
3 | 2634810.1481 | 1240711.356
4 | 2634853.7488 | 1240620.4812
5 | 2634802.2924 | 1240763.8893
6 | 2634846.5049 | 1240725.0666
7 | 2634955.8953 | 1240674.9325
8 | 2634801.5588 | 1240769.4427
9 | 2634900.8414 | 1240749.3567
10 | 2634922.5175 | 1240763.0036
11 | 2634938.8254 | 1240768.9863
12 | 2634891.4517 | 1240792.2954
13 | 2634969.0412 | 1240788.4045
14 | 2634876.2112 | 1240808.672
15 | 2634801.1407 | 1240792.4124
16 | 2634738.3242 | 1240800.6897
17 | 2634723.1249 | 1240780.3033
18 | 2634753.6349 | 1240821.6845
19 | 2634756.6153 | 1240817.5549
20 | 2634719.3841 | 1240846.2054
21 | 2634718.4192 | 1240766.2222
22 | 2634758.6912 | 1240820.4097
23 | 2634711.1183 | 1240855.7134
24 | 2634759.2804 | 1240829.845
25 | 2634756.4086 | 1240852.8873
26 | 2634762.4207 | 1240825.5384
27 | 2634688.5313 | 1240726.7659
28 | 2634680.8511 | 1240697.9805
29 | 2634718.1474 | 1240709.1619
30 | 2634704.2542 | 1240850.1407
31 | 2634776.0475 | 1240857.4273
32 | 2634784.3374 | 1240871.0623
33 | 2634877.9758 | 1240949.3341
34 | 2634860.5101 | 1240966.4949
35 | 2634900.6889 | 1240938.8836
36 | 2634852.917 | 1240971.4908
37 | 2634829.8893 | 1240982.2111
38 | 2634824.3099 | 1240966.6796
39 | 2634841.4532 | 1241011.323
40 | 2634787.2742 | 1240864.0639
41 | 2634794.0699 | 1240841.0668
42 | 2634796.4884 | 1240882.9244
43 | 2634800.8347 | 1240809.2264
44 | 2634814.7179 | 1240842.5611
45 | 2634767.6065 | 1240910.997
46 | 2634808.4176 | 1240918.2631
47 | 2634800.9598 | 1240802.3512
48 | 2634830.8005 | 1240844.5395
49 | 2634694.0966 | 1240841.8941
50 | 2634822.9271 | 1240962.8356
51 | 2634839.3857 | 1240944.6327
52 | 2634845.1199 | 1241022.2479
53 | 2634855.6681 | 1241061.0349
54 | 2634738.2038 | 1240720.7633
55 | 2634745.326 | 1240694.944
56 | 2634929.7542 | 1240873.4696
57 | 2634939.1087 | 1240876.9516
58 | 2634897.6275 | 1240861.511
59 | 2634884.9003 | 1240857.3096
60 | 2634940.1842 | 1240859.9249
61 | 2634891.5822 | 1240844.5698
62 | 2634876.9866 | 1240854.7834
63 | 2634928.7275 | 1240853.4504
64 | 2634912.698 | 1240841.118
65 | 2634864.6753 | 1240850.8535
66 | 2634849.2654 | 1240930.1845
67 | 2634824.6756 | 1241093.8741
68 | 2634818.4364 | 1241082.2094
69 | 2634810.8548 | 1241068.0346
70 | 2634805.8634 | 1241059.2807
71 | 2634790.8599 | 1241037.9151
72 | 2634754.1074 | 1240669.846
73 | 2634842.7379 | 1240846.7645
74 | 2634848.6625 | 1240847.8688
75 | 2634867.4613 | 1240843.7986
76 | 2634858.5745 | 1240916.5708
77 | 2634859.7634 | 1240914.8322
78 | 2634772.0495 | 1241011.1283
79 | 2634759.3813 | 1240993.4834
80 | 2634752.5567 | 1240982.844
81 | 2634749.7496 | 1240998.5747
82 | 2634755.1154 | 1240940.8137
83 | 2634750.3129 | 1240973.7218
84 | 2634749.6152 | 1240938.8358
85 | 2634731.0947 | 1240978.543
86 | 2634731.4441 | 1240978.9182
87 | 2634666.7068 | 1240955.731
88 | 2634740.4072 | 1241017.5433
89 | 2634722.1121 | 1241012.0321
90 | 2634639.6017 | 1240962.7171
91 | 2634602.5287 | 1240928.6049
92 | 2634689.8116 | 1241002.0009
93 | 2634988.6058 | 1240761.9249
94 | 2634978.3767 | 1240775.7694
95 | 2634787.2742 | 1240864.0639

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1