## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4274-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4274-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4274-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4274-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4274-3_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4274-3_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_4274-3_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4274-3_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_4274-3_0_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_4274-3_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_4274-3_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_4274-3_0_4_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_4274-3_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_4274-3_0_4_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_4274-3_0_4_node_106 | 0.4 | n |  | TRUE
15 | bus_LV_4274-3_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4274-3_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4274-3_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4274-3_0_4_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_4274-3_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4274-3_0_4_node_102 | 0.4 | n |  | TRUE
21 | bus_LV_4274-3_0_4_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_4274-3_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_4274-3_0_4_node_62 | 0.4 | n |  | TRUE
24 | bus_LV_4274-3_0_4_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_4274-3_0_4_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4274-3_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4274-3_0_4_node_74 | 0.4 | n |  | TRUE
28 | bus_LV_4274-3_0_4_node_63 | 0.4 | n |  | TRUE
29 | bus_LV_4274-3_0_4_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_4274-3_0_4_node_95 | 0.4 | n |  | TRUE
31 | bus_LV_4274-3_0_4_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_4274-3_0_4_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_4274-3_0_4_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_4274-3_0_4_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_4274-3_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_4274-3_0_4_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_4274-3_0_4_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_4274-3_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4274-3_0_4_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_4274-3_0_4_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_4274-3_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4274-3_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_4274-3_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_4274-3_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_4274-3_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_4274-3_0_4_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_4274-3_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_4274-3_0_4_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_4274-3_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_4274-3_0_4_node_97 | 0.4 | n |  | TRUE
51 | bus_LV_4274-3_0_4_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_4274-3_0_4_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_4274-3_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_4274-3_0_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_4274-3_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_4274-3_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4274-3_0_4_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_4274-3_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4274-3_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4274-3_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4274-3_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4274-3_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4274-3_0_4_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_4274-3_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_4274-3_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_4274-3_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4274-3_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_4274-3_0_4_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_4274-3_0_4_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_4274-3_0_4_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_4274-3_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4274-3_0_4_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4274-3_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_4274-3_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_4274-3_0_4_node_57 | 0.4 | n |  | TRUE
76 | bus_LV_4274-3_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_4274-3_0_4_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_4274-3_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_4274-3_0_4_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_4274-3_0_4_node_88 | 0.4 | n |  | TRUE
81 | bus_LV_4274-3_0_4_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_4274-3_0_4_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_4274-3_0_4_node_121 | 0.4 | n |  | TRUE
84 | bus_LV_4274-3_0_4_node_101 | 0.4 | n |  | TRUE
85 | bus_LV_4274-3_0_4_node_112 | 0.4 | n |  | TRUE
86 | bus_LV_4274-3_0_4_node_139 | 0.4 | n |  | TRUE
87 | bus_LV_4274-3_0_4_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_4274-3_0_4_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_4274-3_0_4_node_98 | 0.4 | n |  | TRUE
90 | bus_LV_4274-3_0_4_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_4274-3_0_4_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_4274-3_0_4_node_84 | 0.4 | n |  | TRUE
93 | bus_LV_4274-3_0_4_node_85 | 0.4 | n |  | TRUE
94 | bus_LV_4274-3_0_4_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_4274-3_0_4_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_4274-3_0_4_node_111 | 0.4 | n |  | TRUE
97 | bus_LV_4274-3_0_4_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_4274-3_0_4_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_4274-3_0_4_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_4274-3_0_4_node_91 | 0.4 | n |  | TRUE
101 | bus_LV_4274-3_0_4_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_4274-3_0_4_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_4274-3_0_4_node_132 | 0.4 | n |  | TRUE
104 | bus_LV_4274-3_0_4_node_122 | 0.4 | n |  | TRUE
105 | bus_LV_4274-3_0_4_node_129 | 0.4 | n |  | TRUE
106 | bus_LV_4274-3_0_4_node_138 | 0.4 | n |  | TRUE
107 | bus_LV_4274-3_0_4_node_140 | 0.4 | n |  | TRUE
108 | bus_LV_4274-3_0_4_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_4274-3_0_4_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_4274-3_0_4_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_4274-3_0_4_node_109 | 0.4 | n |  | TRUE
112 | bus_LV_4274-3_0_4_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_4274-3_0_4_node_117 | 0.4 | n |  | TRUE
114 | bus_LV_4274-3_0_4_node_119 | 0.4 | n |  | TRUE
115 | bus_LV_4274-3_0_4_node_116 | 0.4 | n |  | TRUE
116 | bus_LV_4274-3_0_4_node_114 | 0.4 | n |  | TRUE
117 | bus_LV_4274-3_0_4_node_118 | 0.4 | n |  | TRUE
118 | bus_LV_4274-3_0_4_node_120 | 0.4 | n |  | TRUE
119 | bus_LV_4274-3_0_4_node_134 | 0.4 | n |  | TRUE
120 | bus_LV_4274-3_0_4_node_133 | 0.4 | n |  | TRUE
121 | bus_LV_4274-3_0_4_node_130 | 0.4 | n |  | TRUE
122 | bus_LV_4274-3_0_4_node_137 | 0.4 | n |  | TRUE
123 | bus_LV_4274-3_0_4_node_123 | 0.4 | n |  | TRUE
124 | bus_LV_4274-3_0_4_node_124 | 0.4 | n |  | TRUE
125 | bus_LV_4274-3_0_4_node_125 | 0.4 | n |  | TRUE
126 | bus_LV_4274-3_0_4_node_126 | 0.4 | n |  | TRUE
127 | bus_LV_4274-3_0_4_node_127 | 0.4 | n |  | TRUE
128 | bus_LV_4274-3_0_4_node_128 | 0.4 | n |  | TRUE
129 | bus_LV_4274-3_0_4_node_136 | 0.4 | n |  | TRUE
130 | bus_LV_4274-3_0_4_node_131 | 0.4 | n |  | TRUE
131 | bus_LV_4274-3_0_4_node_135 | 0.4 | n |  | TRUE
132 | bus_LV_4274-3_0_4_node_141 | 0.4 | n |  | TRUE
133 | bus_LV_4274-3_0_4_node_142 | 0.4 | n |  | TRUE
134 | bus_LV_4274-3_0_4_node_143 | 0.4 | n |  | TRUE
135 | bus_MV_475_0_node_228 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4274-3_0_4_load_0 | 0 | 0.00032781 | 8.2157e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4274-3_0_4_load_1 | 1 | 0.00093973 | 0.00023552 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4274-3_0_4_load_3 | 3 | 0.00069193 | 0.00017341 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4274-3_0_4_load_31 | 7 | 0.0021991 | 0.00055116 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4274-3_0_4_load_32 | 8 | 0.0042276 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4274-3_0_4_load_20 | 10 | 0.00063013 | 0.00015793 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4274-3_0_4_load_30 | 11 | 0.0037488 | 0.00093954 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4274-3_0_4_load_106 | 14 | 0.00018505 | 4.6379e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4274-3_0_4_load_90 | 18 | 0.00016699 | 4.1852e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4274-3_0_4_load_102 | 20 | 0.00068325 | 0.00017124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4274-3_0_4_load_61 | 21 | 0.00020871 | 5.2308e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4274-3_0_4_load_62 | 23 | 0.0001304 | 3.2682e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4274-3_0_4_load_77 | 24 | 0.00098745 | 0.00024748 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4274-3_0_4_load_18 | 25 | 0.00074723 | 0.00018727 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4274-3_0_4_load_19 | 26 | 0.0008114 | 0.00020336 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4274-3_0_4_load_74 | 27 | 0.0015734 | 0.00039434 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4274-3_0_4_load_87 | 29 | 0.00073231 | 0.00018353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4274-3_0_4_load_95 | 30 | 0.00032346 | 8.1066e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4274-3_0_4_load_75 | 31 | 0.0019342 | 0.00048475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4274-3_0_4_load_14 | 32 | 0.00037882 | 9.4942e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4274-3_0_4_load_15 | 33 | 0.00026436 | 6.6256e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4274-3_0_4_load_29 | 35 | 0.00068325 | 0.00017124 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4274-3_0_4_load_21 | 36 | 0.00068545 | 0.00017179 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4274-3_0_4_load_22 | 37 | 0.00026175 | 6.56e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4274-3_0_4_load_27 | 41 | 0.00085235 | 0.00021362 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4274-3_0_4_load_23 | 42 | 0.00079229 | 0.00019857 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4274-3_0_4_load_33 | 43 | 0.00062449 | 0.00015651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4274-3_0_4_load_34 | 44 | 0.00023606 | 5.9161e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4274-3_0_4_load_35 | 45 | 0.00065166 | 0.00016332 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4274-3_0_4_load_54 | 48 | 0.00014541 | 3.6444e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4274-3_0_4_load_97 | 50 | 0.00042985 | 0.00010773 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4274-3_0_4_load_99 | 52 | 0.0062227 | 0.0015596 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4274-3_0_4_load_52 | 53 | 0.00029303 | 7.3441e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4274-3_0_4_load_51 | 56 | 0.001027 | 0.00025739 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4274-3_0_4_load_49 | 57 | 0.00073775 | 0.0001849 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4274-3_0_4_load_40 | 58 | 0.0030225 | 0.00075751 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4274-3_0_4_load_41 | 59 | 0.0036778 | 0.00092174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4274-3_0_4_load_43 | 61 | 0.0011413 | 0.00028604 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4274-3_0_4_load_60 | 64 | 0.00039338 | 9.8591e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4274-3_0_4_load_73 | 65 | 0.0020211 | 0.00050653 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4274-3_0_4_load_58 | 66 | 0.0022123 | 0.00055446 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4274-3_0_4_load_71 | 67 | 0.00121 | 0.00030325 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4274-3_0_4_load_46 | 68 | 0.0019819 | 0.00049671 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4274-3_0_4_load_47 | 69 | 0.00065546 | 0.00016427 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4274-3_0_4_load_48 | 70 | 0.00092873 | 0.00023276 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4274-3_0_4_load_50 | 71 | 0.0011041 | 0.00027671 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4274-3_0_4_load_72 | 72 | 0.00041758 | 0.00010466 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4274-3_0_4_load_70 | 73 | 0.0022971 | 0.0005757 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4274-3_0_4_load_56 | 74 | 0.00081904 | 0.00020527 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4274-3_0_4_load_57 | 75 | 0.00046348 | 0.00011616 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4274-3_0_4_load_59 | 76 | 0.00050627 | 0.00012688 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4274-3_0_4_load_69 | 78 | 0.0036204 | 0.00090736 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4274-3_0_4_load_66 | 79 | 0.0023005 | 0.00057656 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4274-3_0_4_load_88 | 80 | 0.00019647 | 4.924e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4274-3_0_4_load_112 | 85 | 0.00053849 | 0.00013496 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4274-3_0_4_load_139 | 86 | 0.00079616 | 0.00019954 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4274-3_0_4_load_86 | 87 | 0.0022479 | 0.00056339 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4274-3_0_4_load_81 | 88 | 0.0027704 | 0.00069434 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4274-3_0_4_load_98 | 89 | 0.004101 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4274-3_0_4_load_80 | 90 | 0.0016302 | 0.00040856 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4274-3_0_4_load_84 | 92 | 0.0017104 | 0.00042867 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4274-3_0_4_load_85 | 93 | 0.00030153 | 7.5571e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4274-3_0_4_load_113 | 94 | 0.0001456 | 3.6492e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4274-3_0_4_load_103 | 95 | 0.0044772 | 0.0011221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4274-3_0_4_load_111 | 96 | 0.00075661 | 0.00018962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4274-3_0_4_load_104 | 97 | 0.0009691 | 0.00024288 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4274-3_0_4_load_89 | 98 | 0.00015882 | 3.9804e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4274-3_0_4_load_96 | 99 | 0.0008785 | 0.00022017 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4274-3_0_4_load_91 | 100 | 0.00023557 | 5.9039e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4274-3_0_4_load_92 | 101 | 0.00074933 | 0.0001878 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4274-3_0_4_load_93 | 102 | 0.0008476 | 0.00021243 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4274-3_0_4_load_129 | 105 | 7.8551e-05 | 1.9687e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4274-3_0_4_load_138 | 106 | 5.3898e-05 | 1.3508e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4274-3_0_4_load_105 | 108 | 0.00012256 | 3.0716e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4274-3_0_4_load_107 | 109 | 0.00018877 | 4.7311e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4274-3_0_4_load_108 | 110 | 0.00013149 | 3.2955e-05 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4274-3_0_4_load_109 | 111 | 0.0009851 | 0.00024689 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4274-3_0_4_load_119 | 114 | 0.00082432 | 0.00020659 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4274-3_0_4_load_114 | 116 | 0.001185 | 0.00029699 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4274-3_0_4_load_118 | 117 | 0.0013977 | 0.00035029 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4274-3_0_4_load_120 | 118 | 0.0022854 | 0.00057277 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4274-3_0_4_load_134 | 119 | 0.00062162 | 0.00015579 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4274-3_0_4_load_133 | 120 | 0.00022849 | 5.7265e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4274-3_0_4_load_130 | 121 | 0.00010212 | 2.5595e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4274-3_0_4_load_137 | 122 | 0.00060591 | 0.00015185 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4274-3_0_4_load_123 | 123 | 0.00087645 | 0.00021966 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4274-3_0_4_load_124 | 124 | 7.9538e-05 | 1.9934e-05 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4274-3_0_4_load_125 | 125 | 0.00017894 | 4.4846e-05 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4274-3_0_4_load_126 | 126 | 0.00025804 | 6.4672e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4274-3_0_4_load_127 | 127 | 0.00016654 | 4.1739e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4274-3_0_4_load_128 | 128 | 0.00049573 | 0.00012424 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4274-3_0_4_load_136 | 129 | 6.4522e-05 | 1.6171e-05 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4274-3_0_4_load_131 | 130 | 6.4047e-05 | 1.6052e-05 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4274-3_0_4_load_135 | 131 | 0.00036606 | 9.1743e-05 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4274-3_0_4_load_142 | 133 | 0.00047853 | 0.00011993 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4274-3_0_4_load_143 | 134 | 0.00070927 | 0.00017776 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4274-3_0_4_line_0 |  | 0 | 1 | 0.030034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4274-3_0_4_line_1 |  | 0 | 2 | 0.17415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4274-3_0_4_line_2 |  | 1 | 3 | 0.11926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4274-3_0_4_line_3 |  | 2 | 4 | 0.3248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4274-3_0_4_line_4 |  | 3 | 5 | 0.24038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4274-3_0_4_line_5 |  | 4 | 9 | 0.11151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4274-3_0_4_line_6 |  | 4 | 10 | 0.061002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4274-3_0_4_line_7 |  | 5 | 25 | 0.19715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4274-3_0_4_line_8 |  | 6 | 7 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4274-3_0_4_line_9 |  | 6 | 8 | 0.0083276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4274-3_0_4_line_10 |  | 7 | 11 | 0.081632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4274-3_0_4_line_11 |  | 8 | 19 | 0.2811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4274-3_0_4_line_12 |  | 9 | 11 | 0.05269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4274-3_0_4_line_13 |  | 10 | 26 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4274-3_0_4_line_14 |  | 12 | 13 | 0.05961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4274-3_0_4_line_15 |  | 12 | 14 | 0.14537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4274-3_0_4_line_16 |  | 13 | 27 | 0.17404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4274-3_0_4_line_17 |  | 15 | 16 | 0.069286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4274-3_0_4_line_18 |  | 15 | 17 | 0.25647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4274-3_0_4_line_19 |  | 15 | 18 | 0.020721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4274-3_0_4_line_20 |  | 16 | 19 | 0.39567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4274-3_0_4_line_21 |  | 16 | 20 | 0.096484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
22 | LV_4274-3_0_4_line_22 |  | 17 | 21 | 0.012432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4274-3_0_4_line_23 |  | 18 | 28 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4274-3_0_4_line_24 |  | 20 | 30 | 0.1554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_4274-3_0_4_line_25 |  | 21 | 23 | 0.032745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4274-3_0_4_line_26 |  | 22 | 23 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4274-3_0_4_line_27 |  | 22 | 24 | 0.022378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4274-3_0_4_line_28 |  | 24 | 31 | 0.21079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4274-3_0_4_line_29 |  | 25 | 35 | 0.068873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4274-3_0_4_line_30 |  | 26 | 36 | 0.011993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4274-3_0_4_line_31 |  | 27 | 31 | 0.032805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4274-3_0_4_line_32 |  | 28 | 29 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4274-3_0_4_line_33 |  | 29 | 80 | 0.0034824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4274-3_0_4_line_34 |  | 30 | 102 | 0.021009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_4274-3_0_4_line_35 |  | 32 | 33 | 0.020854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4274-3_0_4_line_36 |  | 33 | 34 | 0.043603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4274-3_0_4_line_37 |  | 34 | 35 | 0.0019235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4274-3_0_4_line_38 |  | 36 | 37 | 0.014211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4274-3_0_4_line_39 |  | 37 | 38 | 0.012655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4274-3_0_4_line_40 |  | 37 | 39 | 0.032936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4274-3_0_4_line_41 |  | 38 | 40 | 0.036575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4274-3_0_4_line_42 |  | 39 | 41 | 0.025287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4274-3_0_4_line_43 |  | 40 | 42 | 0.0028724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4274-3_0_4_line_44 |  | 43 | 44 | 0.091331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4274-3_0_4_line_45 |  | 43 | 45 | 0.0040734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4274-3_0_4_line_46 |  | 45 | 46 | 0.034474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4274-3_0_4_line_47 |  | 46 | 47 | 0.17404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4274-3_0_4_line_48 |  | 47 | 48 | 0.089054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4274-3_0_4_line_49 |  | 48 | 53 | 0.010407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4274-3_0_4_line_50 |  | 49 | 50 | 0.016905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4274-3_0_4_line_51 |  | 49 | 51 | 0.15739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_4274-3_0_4_line_52 |  | 49 | 52 | 0.13338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4274-3_0_4_line_53 |  | 50 | 54 | 0.030917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_4274-3_0_4_line_54 |  | 51 | 55 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4274-3_0_4_line_55 |  | 51 | 56 | 0.024907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4274-3_0_4_line_56 |  | 53 | 56 | 0.030035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4274-3_0_4_line_57 |  | 54 | 89 | 0.042229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4274-3_0_4_line_58 |  | 54 | 101 | 0.035621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_4274-3_0_4_line_59 |  | 55 | 57 | 0.20363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_4274-3_0_4_line_60 |  | 57 | 69 | 0.0073975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_4274-3_0_4_line_61 |  | 58 | 59 | 0.0096873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4274-3_0_4_line_62 |  | 58 | 60 | 0.002269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4274-3_0_4_line_63 |  | 59 | 61 | 0.017296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4274-3_0_4_line_64 |  | 60 | 62 | 0.019705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4274-3_0_4_line_65 |  | 62 | 65 | 0.01546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_4274-3_0_4_line_66 |  | 62 | 63 | 0.020706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_4274-3_0_4_line_67 |  | 63 | 64 | 0.0056797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4274-3_0_4_line_68 |  | 64 | 66 | 0.017017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4274-3_0_4_line_69 |  | 65 | 67 | 0.0042012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_4274-3_0_4_line_70 |  | 66 | 74 | 0.008676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4274-3_0_4_line_71 |  | 67 | 73 | 0.034923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_4274-3_0_4_line_72 |  | 68 | 69 | 0.099968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4274-3_0_4_line_73 |  | 68 | 70 | 0.034505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4274-3_0_4_line_74 |  | 70 | 71 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_4274-3_0_4_line_75 |  | 71 | 72 | 0.00061578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4274-3_0_4_line_76 |  | 72 | 73 | 0.030055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_4274-3_0_4_line_77 |  | 74 | 75 | 0.021481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4274-3_0_4_line_78 |  | 75 | 76 | 0.076707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4274-3_0_4_line_79 |  | 76 | 77 | 0.063689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4274-3_0_4_line_80 |  | 77 | 78 | 0.10422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4274-3_0_4_line_81 |  | 77 | 79 | 0.020194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4274-3_0_4_line_82 |  | 78 | 81 | 0.017992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4274-3_0_4_line_83 |  | 80 | 98 | 0.038439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4274-3_0_4_line_84 |  | 81 | 87 | 0.037991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4274-3_0_4_line_85 |  | 81 | 88 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4274-3_0_4_line_86 |  | 82 | 83 | 0.74205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4274-3_0_4_line_87 |  | 82 | 84 | 0.1746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4274-3_0_4_line_88 |  | 82 | 85 | 0.20295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4274-3_0_4_line_89 |  | 83 | 103 | 0.033705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4274-3_0_4_line_90 |  | 83 | 104 | 0.22429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4274-3_0_4_line_91 |  | 83 | 105 | 0.0181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4274-3_0_4_line_92 |  | 84 | 86 | 0.099607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4274-3_0_4_line_93 |  | 85 | 92 | 0.0052668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4274-3_0_4_line_94 |  | 86 | 107 | 0.039637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4274-3_0_4_line_95 |  | 87 | 95 | 0.0046824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4274-3_0_4_line_96 |  | 88 | 90 | 0.11511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4274-3_0_4_line_97 |  | 90 | 91 | 0.36659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4274-3_0_4_line_98 |  | 91 | 92 | 0.016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4274-3_0_4_line_99 |  | 91 | 93 | 0.04375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4274-3_0_4_line_100 |  | 93 | 94 | 0.0039402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4274-3_0_4_line_101 |  | 94 | 96 | 0.0011355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4274-3_0_4_line_102 |  | 95 | 97 | 0.015943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4274-3_0_4_line_103 |  | 96 | 111 | 0.0028914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4274-3_0_4_line_104 |  | 97 | 108 | 0.020092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4274-3_0_4_line_105 |  | 98 | 99 | 0.0036594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4274-3_0_4_line_106 |  | 100 | 101 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
107 | LV_4274-3_0_4_line_107 |  | 100 | 102 | 0.048545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
108 | LV_4274-3_0_4_line_108 |  | 103 | 119 | 0.018713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4274-3_0_4_line_109 |  | 103 | 120 | 0.0040338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4274-3_0_4_line_110 |  | 104 | 106 | 0.11744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4274-3_0_4_line_111 |  | 105 | 121 | 0.073295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4274-3_0_4_line_112 |  | 106 | 122 | 0.016734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4274-3_0_4_line_113 |  | 107 | 132 | 0.068951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4274-3_0_4_line_114 |  | 109 | 110 | 0.026677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4274-3_0_4_line_115 |  | 109 | 111 | 0.081753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4274-3_0_4_line_116 |  | 110 | 112 | 0.071914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4274-3_0_4_line_117 |  | 112 | 113 | 0.007621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4274-3_0_4_line_118 |  | 113 | 114 | 0.08277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4274-3_0_4_line_119 |  | 113 | 115 | 0.085873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4274-3_0_4_line_120 |  | 114 | 117 | 0.021371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4274-3_0_4_line_121 |  | 115 | 116 | 0.037461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4274-3_0_4_line_122 |  | 117 | 118 | 0.0083686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4274-3_0_4_line_123 |  | 121 | 130 | 0.00091322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4274-3_0_4_line_124 |  | 122 | 129 | 0.00083206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4274-3_0_4_line_125 |  | 123 | 124 | 0.0062338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4274-3_0_4_line_126 |  | 123 | 125 | 0.0015315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4274-3_0_4_line_127 |  | 124 | 126 | 0.0032542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4274-3_0_4_line_128 |  | 126 | 127 | 0.0073657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4274-3_0_4_line_129 |  | 127 | 128 | 0.0081506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4274-3_0_4_line_130 |  | 128 | 129 | 0.0046083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4274-3_0_4_line_131 |  | 130 | 131 | 0.0014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4274-3_0_4_line_132 |  | 132 | 133 | 0.019835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4274-3_0_4_line_133 |  | 133 | 134 | 0.018359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4274-3_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 135 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2635935.5694 | 1234953.682 | 2635944.3248 | 1234966.2442 | 2635951.1392 | 1234979.2938
1 | 2635817.5655 | 1234827.7599 | 2635821.6939 | 1234829.6749 | 2635840.4223 | 1234841.5506 | 2635861.0993 | 1234860.3648 | 2635883.8524 | 1234886.2959 | 2635925.8668 | 1234939.7606 | 2635935.5694 | 1234953.682
2 | 2635992.4451 | 1235090.7502 | 2635989.3499 | 1235081.0326 | 2635979.9569 | 1235044.9199 | 2635971.1234 | 1235021.3851 | 2635958.3379 | 1234993.079 | 2635951.1392 | 1234979.2938
3 | 2635817.5655 | 1234827.7599 | 2635804.8934 | 1234821.8911 | 2635789.0331 | 1234817.5819 | 2635767.6801 | 1234814.2069 | 2635748.8958 | 1234811.5813 | 2635714.9925 | 1234803.4504 | 2635701.0576 | 1234798.6304 | 2635661.2821 | 1234782.7486 | 2635594.4827 | 1234757.4217 | 2635580.7339 | 1234751.8137 | 2635569.2276 | 1234747.1198 | 2635538.085 | 1234737.9168 | 2635523.0752 | 1234736.8821 | 2635508.0772 | 1234738.9271
4 | 2636144.6753 | 1235268.2358 | 2636121.4495 | 1235259.5115 | 2636101.9415 | 1235246.7073 | 2636082.933 | 1235226.4126 | 2636046.7732 | 1235185.2454 | 2636029.1081 | 1235159.2443 | 2636003.4455 | 1235120.398 | 2635996.4426 | 1235103.3005 | 2635992.4451 | 1235090.7502
5 | 2635508.0772 | 1234738.9271 | 2635524.2073 | 1234724.7368 | 2635535.2223 | 1234715.419 | 2635545.2697 | 1234702.1152 | 2635552.9942 | 1234687.4299 | 2635569.3496 | 1234648.2811
6 | 2635508.0772 | 1234738.9271 | 2635494.8569 | 1234753.802 | 2635469.6593 | 1234786.2741
7 | 2636144.6753 | 1235268.2358 | 2636142.3525 | 1235258.1931 | 2636142.6893 | 1235246.3545 | 2636148.3642 | 1235227.8551 | 2636150.0112 | 1235220.8608 | 2636150.7397 | 1235198.1288 | 2636153.0223 | 1235188.6478 | 2636166.5174 | 1235171.0077 | 2636189.3559 | 1235135.2465 | 2636196.8405 | 1235122.8509 | 2636203.7855 | 1235098.4001 | 2636204.2744 | 1235086.9813
8 | 2635592.8512 | 1234496.4047 | 2635590.6892 | 1234515.997
9 | 2635592.8512 | 1234496.4047 | 2635591.5455 | 1234488.1801
10 | 2635581.5789 | 1234597.1034 | 2635586.8656 | 1234556.8733 | 2635589.77 | 1234524.3259 | 2635590.6892 | 1234515.997
11 | 2635513.8287 | 1234219.4379 | 2635515.7967 | 1234229.5782 | 2635537.3345 | 1234294.8696 | 2635567.1108 | 1234362.056 | 2635572.9524 | 1234385.1053 | 2635584.7404 | 1234445.3133 | 2635591.5455 | 1234488.1801
12 | 2635569.3496 | 1234648.2811 | 2635574.6518 | 1234631.1465 | 2635580.9896 | 1234601.5882 | 2635581.5789 | 1234597.1034
13 | 2635462.3666 | 1234795.6721 | 2635469.6593 | 1234786.2741
14 | 2636392.2605 | 1234382.6698 | 2636402.6189 | 1234441.3698
15 | 2636402.6189 | 1234441.3698 | 2636417.2538 | 1234445.6398 | 2636435.6315 | 1234455.4696 | 2636454.0878 | 1234470.9923 | 2636511.3398 | 1234534.0504
16 | 2636392.2605 | 1234382.6698 | 2636389.3408 | 1234372.4678 | 2636385.7284 | 1234365.3635 | 2636380.9608 | 1234361.4986 | 2636374.1855 | 1234360.4343 | 2636369.185 | 1234361.2265 | 2636341.6497 | 1234369.7524 | 2636320.5057 | 1234374.0704 | 2636279.4772 | 1234377.2666 | 2636233.6498 | 1234376.3233
17 | 2635825.7978 | 1234109.5619 | 2635826.1265 | 1234116.5571 | 2635829.1093 | 1234122.7679 | 2635832.4865 | 1234127.5801 | 2635858.6169 | 1234136.1984 | 2635878.7969 | 1234144.9588
18 | 2635878.7969 | 1234144.9588 | 2635884.5057 | 1234152.2311 | 2635886.437 | 1234158.3021 | 2635884.537 | 1234170.8763 | 2635877.6336 | 1234184.7099 | 2635872.3371 | 1234200.6768 | 2635869.8719 | 1234219.1068 | 2635873.3016 | 1234242.8089 | 2635880.6127 | 1234270.5258 | 2635890.5732 | 1234298.2031 | 2635940.7365 | 1234379.1563
19 | 2635878.7969 | 1234144.9588 | 2635895.5161 | 1234152.709 | 2635897.7405 | 1234153.2628
20 | 2635513.8287 | 1234219.4379 | 2635520.7401 | 1234218.0672 | 2635535.375 | 1234221.2565 | 2635673.3975 | 1234265.7879 | 2635682.5007 | 1234270.0007 | 2635699.4783 | 1234247.3106 | 2635721.6698 | 1234214.7791 | 2635747.0253 | 1234179.7541 | 2635776.2448 | 1234142.9179 | 2635780.4242 | 1234136.4501 | 2635787.2659 | 1234134.0897 | 2635798.3602 | 1234126.9409 | 2635825.7978 | 1234109.5619
21 | 2635825.7978 | 1234109.5619 | 2635835.6395 | 1234099.2592 | 2635854.6391 | 1234076.5818 | 2635871.6435 | 1234059.6849 | 2635887.1419 | 1234049.0384 | 2635895.8268 | 1234044.3355
22 | 2635940.7365 | 1234379.1563 | 2635947.3049 | 1234389.7114
23 | 2635913.975 | 1234155.6555 | 2635904.7141 | 1234154.9992 | 2635897.7405 | 1234153.2628
24 | 2636028.6965 | 1233968.6822 | 2636006.2516 | 1233990.7884 | 2635979.807 | 1234011.5191 | 2635958.0235 | 1234021.2712 | 2635903.2038 | 1234040.341 | 2635895.8268 | 1234044.3355
25 | 2635947.3049 | 1234389.7114 | 2635964.6058 | 1234417.5133
26 | 2635974.4467 | 1234433.3271 | 2635964.6058 | 1234417.5133
27 | 2635974.4467 | 1234433.3271 | 2635996.4151 | 1234429.065
28 | 2635996.4151 | 1234429.065 | 2636063.6382 | 1234416.023 | 2636201.2134 | 1234379.6016
29 | 2636192.5334 | 1235019.5414 | 2636197.6379 | 1235041.605 | 2636204.2188 | 1235067.0276 | 2636204.5973 | 1235079.4376 | 2636204.2744 | 1235086.9813
30 | 2635462.3666 | 1234795.6721 | 2635455.0146 | 1234805.1467
31 | 2636233.6498 | 1234376.3233 | 2636223.4506 | 1234376.1134 | 2636210.8576 | 1234377.0484 | 2636201.2134 | 1234379.6016
32 | 2635913.975 | 1234155.6555 | 2635927.1649 | 1234149.0541
33 | 2635927.1649 | 1234149.0541 | 2635930.279 | 1234147.4955
34 | 2636028.6965 | 1233968.6822 | 2636043.6648 | 1233953.9398
35 | 2636171.2451 | 1234956.753 | 2636178.9839 | 1234976.1178
36 | 2636192.0999 | 1235017.6674 | 2636182.3866 | 1234984.6322 | 2636178.9839 | 1234976.1178
37 | 2636192.0999 | 1235017.6674 | 2636192.5334 | 1235019.5414
38 | 2635446.3026 | 1234816.3738 | 2635455.0146 | 1234805.1467
39 | 2635446.3026 | 1234816.3738 | 2635437.8063 | 1234806.9728
40 | 2635446.3026 | 1234816.3738 | 2635424.6449 | 1234841.238
41 | 2635414.1638 | 1234780.0486 | 2635425.3315 | 1234798.4043 | 2635437.8063 | 1234806.9728
42 | 2635424.6449 | 1234841.238 | 2635408.1348 | 1234825.2743 | 2635406.1262 | 1234824.1102
43 | 2635414.1638 | 1234780.0486 | 2635412.6723 | 1234777.5937
44 | 2635825.3589 | 1233837.8049 | 2635734.0278 | 1233838.053
45 | 2635825.3589 | 1233837.8049 | 2635829.4323 | 1233837.7938
46 | 2635863.9066 | 1233837.7002 | 2635829.4323 | 1233837.7938
47 | 2635863.9066 | 1233837.7002 | 2635865.5348 | 1233669.3943 | 2635866.1745 | 1233663.7279
48 | 2635866.1745 | 1233663.7279 | 2635905.5438 | 1233667.8123 | 2635940.1988 | 1233672.8469 | 2635954.2603 | 1233676.1962
49 | 2635954.2603 | 1233676.1962 | 2635964.3841 | 1233678.6077
50 | 2636097.665 | 1233835.5345 | 2636102.5239 | 1233851.7259
51 | 2636010.0094 | 1233706.4899 | 2636025.5319 | 1233720.7816 | 2636057.303 | 1233760.6655 | 2636082.7118 | 1233801.0891 | 2636097.665 | 1233835.5345
52 | 2636097.665 | 1233835.5345 | 2636115.2707 | 1233835.7748 | 2636179.5374 | 1233834.5645 | 2636192.5957 | 1233831.9868 | 2636215.3862 | 1233822.375 | 2636225.6998 | 1233813.7466
53 | 2636108.3 | 1233881.7389 | 2636108.6386 | 1233872.1016 | 2636102.5239 | 1233851.7259
54 | 2636024.7811 | 1233697.2624 | 2636019.849 | 1233701.6909 | 2636014.7589 | 1233704.7064 | 2636010.0094 | 1233706.4899
55 | 2636010.0094 | 1233706.4899 | 2635992.3036 | 1233690.1948 | 2635991.6862 | 1233689.6193
56 | 2635991.6862 | 1233689.6193 | 2635987.057 | 1233685.3045 | 2635979.5663 | 1233682.224 | 2635964.3841 | 1233678.6077
57 | 2636108.3 | 1233881.7389 | 2636135.1853 | 1233900.7695 | 2636142.6682 | 1233906.2739
58 | 2636108.3 | 1233881.7389 | 2636105.342 | 1233890.1707 | 2636096.9342 | 1233901.0486 | 2636087.7742 | 1233910.1836
59 | 2636024.7811 | 1233697.2624 | 2636026.3753 | 1233692.7693 | 2636033.0762 | 1233682.5257 | 2636049.847 | 1233666.9732 | 2636069.1166 | 1233646.3216 | 2636080.4151 | 1233628.1788 | 2636085.2991 | 1233616.7235 | 2636087.1966 | 1233603.4267 | 2636084.2777 | 1233569.2211 | 2636079.084 | 1233541.8838 | 2636074.5445 | 1233530.2268 | 2636067.6731 | 1233518.5117
60 | 2636063.9305 | 1233512.1308 | 2636067.6731 | 1233518.5117
61 | 2636043.7215 | 1233264.7514 | 2636035.9605 | 1233258.9539
62 | 2636045.5393 | 1233266.1092 | 2636043.7215 | 1233264.7514
63 | 2636021.4261 | 1233249.7524 | 2636027.0376 | 1233252.2886 | 2636035.9605 | 1233258.9539
64 | 2636049.7075 | 1233285.3687 | 2636045.5393 | 1233266.1092
65 | 2636049.7075 | 1233285.3687 | 2636048.4488 | 1233300.777
66 | 2636049.7075 | 1233285.3687 | 2636054.4728 | 1233282.2956 | 2636062.6102 | 1233279.9212 | 2636069.1767 | 1233280.6949
67 | 2636069.1767 | 1233280.6949 | 2636074.5947 | 1233282.399
68 | 2636074.5947 | 1233282.399 | 2636090.8275 | 1233287.5047
69 | 2636048.1068 | 1233304.9642 | 2636048.4488 | 1233300.777
70 | 2636099.2894 | 1233289.2827 | 2636094.2626 | 1233288.5852 | 2636090.8275 | 1233287.5047
71 | 2636040.3652 | 1233338.7116 | 2636041.2998 | 1233329.8342 | 2636045.9386 | 1233318.8889 | 2636047.7613 | 1233309.1939 | 2636048.1068 | 1233304.9642
72 | 2636057.8706 | 1233415.456 | 2636061.7396 | 1233437.2247 | 2636061.813 | 1233448.8435 | 2636054.9489 | 1233478.4759 | 2636054.0827 | 1233487.7319 | 2636055.9464 | 1233496.2485 | 2636059.8065 | 1233505.0996 | 2636063.9305 | 1233512.1308
73 | 2636057.8706 | 1233415.456 | 2636057.1424 | 1233411.3586 | 2636049.9398 | 1233381.8825
74 | 2636046.3365 | 1233368.4575 | 2636047.5762 | 1233372.2097 | 2636049.9398 | 1233381.8825
75 | 2636046.3365 | 1233368.4575 | 2636046.1433 | 1233367.8729
76 | 2636040.3652 | 1233338.7116 | 2636039.8459 | 1233343.6451 | 2636041.9115 | 1233355.0647 | 2636046.1433 | 1233367.8729
77 | 2636099.2894 | 1233289.2827 | 2636104.9884 | 1233290.0734 | 2636120.666 | 1233288.8285
78 | 2636120.666 | 1233288.8285 | 2636136.595 | 1233287.5637 | 2636146.2337 | 1233283.5753 | 2636154.2021 | 1233277.8869 | 2636162.2419 | 1233267.9184 | 2636167.1943 | 1233255.2629 | 2636170.2884 | 1233241.4971
79 | 2636176.3381 | 1233178.3151 | 2636174.9356 | 1233183.6099 | 2636173.2348 | 1233193.1388 | 2636171.5516 | 1233235.8773 | 2636170.2884 | 1233241.4971
80 | 2636176.3381 | 1233178.3151 | 2636180.5358 | 1233170.2579 | 2636185.6831 | 1233164.1409 | 2636193.0635 | 1233159.3162 | 2636205.6973 | 1233155.8353 | 2636270.8121 | 1233152.1255
81 | 2636176.3381 | 1233178.3151 | 2636157.4156 | 1233171.2632
82 | 2636288.7459 | 1233152.2389 | 2636281.8536 | 1233151.4964 | 2636270.8121 | 1233152.1255
83 | 2635930.279 | 1234147.4955 | 2635964.6535 | 1234130.2913
84 | 2636288.7459 | 1233152.2389 | 2636288.8451 | 1233142.1777 | 2636290.5635 | 1233121.1085 | 2636291.4825 | 1233114.3804
85 | 2636288.7459 | 1233152.2389 | 2636304.548 | 1233159.4762
86 | 2636861.6345 | 1232920.3939 | 2636857.597 | 1232898.7554 | 2636848.3627 | 1232859.2849 | 2636842.3703 | 1232829.3514 | 2636840.1962 | 1232814.8734 | 2636841.2875 | 1232800.0265 | 2636846.3627 | 1232783.7367 | 2636856.6372 | 1232768.9801 | 2636870.9174 | 1232755.3712 | 2636937.2127 | 1232709.8319 | 2636955.8661 | 1232691.8699 | 2636971.3397 | 1232671.4756 | 2636982.3088 | 1232651.031 | 2637018.0095 | 1232581.3209 | 2637042.8722 | 1232531.7449 | 2637071.9723 | 1232477.7815 | 2637088.8562 | 1232447.5013 | 2637130.7796 | 1232372.305 | 2637144.0806 | 1232343.5702 | 2637169.8609 | 1232349.8239 | 2637204.0087 | 1232359.5433
87 | 2636861.6345 | 1232920.3939 | 2636874.8384 | 1232930.115 | 2636881.0497 | 1232936.9244 | 2636884.223 | 1232940.4129 | 2636900.0719 | 1232956.9993 | 2636916.3228 | 1232969.7969 | 2636938.47 | 1232981.5861 | 2636987.5424 | 1233006.2062 | 2637007.5348 | 1233011.4004
88 | 2636861.6345 | 1232920.3939 | 2636844.5236 | 1232918.0531 | 2636823.3966 | 1232917.4998 | 2636792.1129 | 1232921.2864 | 2636755.336 | 1232930.6872 | 2636732.314 | 1232930.5116 | 2636703.8776 | 1232926.8561 | 2636660.5025 | 1232927.2969
89 | 2637204.0087 | 1232359.5433 | 2637212.6148 | 1232362.4211 | 2637236.1454 | 1232369.9952
90 | 2637015.9245 | 1232271.5605 | 2637043.2918 | 1232313.6235 | 2637047.7017 | 1232322.8344 | 2637049.0614 | 1232328.2017 | 2637064.9216 | 1232329.8126 | 2637079.9399 | 1232331.6406 | 2637105.5665 | 1232335.8363 | 2637122.9757 | 1232339.158 | 2637144.0806 | 1232343.5702 | 2637169.8609 | 1232349.8239 | 2637204.0087 | 1232359.5433
91 | 2637204.0087 | 1232359.5433 | 2637210.1714 | 1232342.5248
92 | 2637007.5348 | 1233011.4004 | 2637038.6602 | 1233012.3057 | 2637073.2071 | 1233012.0873 | 2637098.5585 | 1233013.8019 | 2637106.9967 | 1233014.9158
93 | 2636655.236 | 1232927.3505 | 2636660.5025 | 1232927.2969
94 | 2637146.1959 | 1233020.7479 | 2637128.1737 | 1233017.7113 | 2637106.9967 | 1233014.9158
95 | 2636291.4825 | 1233114.3804 | 2636292.1161 | 1233109.7411
96 | 2636413.3488 | 1233193.8626 | 2636402.4933 | 1233194.4154 | 2636384.1764 | 1233190.0896 | 2636334.7297 | 1233173.2992 | 2636304.548 | 1233159.4762
97 | 2636638.9701 | 1232926.0001 | 2636615.2992 | 1232945.144 | 2636564.3746 | 1232993.6499 | 2636555.8088 | 1233007.7171 | 2636550.2096 | 1233024.4598 | 2636546.4766 | 1233039.335 | 2636543.5864 | 1233057.5174 | 2636537.6283 | 1233083.3969 | 2636529.7288 | 1233102.4046 | 2636519.8612 | 1233117.698 | 2636507.8791 | 1233129.6763 | 2636439.9986 | 1233184.3943 | 2636425.6258 | 1233191.2105 | 2636413.6028 | 1233193.8497 | 2636413.3488 | 1233193.8626
98 | 2636638.9701 | 1232926.0001 | 2636649.4092 | 1232927.4097 | 2636655.236 | 1232927.3505
99 | 2636638.9701 | 1232926.0001 | 2636633.1428 | 1232920.7165 | 2636628.2993 | 1232913.0263 | 2636618.2259 | 1232888.1961
100 | 2636616.7447 | 1232884.545 | 2636618.2259 | 1232888.1961
101 | 2636616.7447 | 1232884.545 | 2636616.3178 | 1232883.4928
102 | 2636292.1161 | 1233109.7411 | 2636293.7255 | 1233097.9578 | 2636294.2572 | 1233093.9424
103 | 2636616.3178 | 1232883.4928 | 2636615.2309 | 1232880.8135
104 | 2636296.8946 | 1233074.0239 | 2636294.2572 | 1233093.9424
105 | 2635967.9259 | 1234128.6535 | 2635964.6535 | 1234130.2913
106 | 2636078.1543 | 1233919.7773 | 2636087.7742 | 1233910.1836
107 | 2636078.1543 | 1233919.7773 | 2636075.7473 | 1233922.1777 | 2636050.6242 | 1233947.0854 | 2636043.6648 | 1233953.9398
108 | 2637236.1454 | 1232369.9952 | 2637231.7871 | 1232388.1937
109 | 2637236.1454 | 1232369.9952 | 2637239.9364 | 1232371.3734
110 | 2637015.9245 | 1232271.5605 | 2636953.6455 | 1232196.2379 | 2636941.0709 | 1232181.0725
111 | 2637210.1714 | 1232342.5248 | 2637210.8736 | 1232340.5856 | 2637213.7433 | 1232335.745 | 2637223.9484 | 1232327.5037 | 2637233.1301 | 1232320.6791 | 2637239.2708 | 1232313.4242 | 2637241.3336 | 1232308.056 | 2637244.4787 | 1232291.8767 | 2637245.7299 | 1232286.748 | 2637248.2544 | 1232283.606
112 | 2636930.3899 | 1232168.1908 | 2636941.0709 | 1232181.0725
113 | 2637196.9035 | 1232983.4637 | 2637197.3661 | 1232990.6043 | 2637195.1973 | 1232996.0053 | 2637190.2915 | 1233002.045 | 2637182.3348 | 1233008.0768 | 2637167.2681 | 1233014.2532 | 2637146.1959 | 1233020.7479
114 | 2636586.5765 | 1232804.2844 | 2636583.2502 | 1232796.4658 | 2636573.1283 | 1232781.3638
115 | 2636586.5765 | 1232804.2844 | 2636596.0121 | 1232826.4629 | 2636614.5622 | 1232879.1652 | 2636615.2309 | 1232880.8135
116 | 2636517.2655 | 1232736.5234 | 2636528.9061 | 1232745.7784 | 2636560.4395 | 1232767.9969 | 2636571.8543 | 1232779.463 | 2636573.1283 | 1232781.3638
117 | 2636517.2655 | 1232736.5234 | 2636523.1178 | 1232731.623
118 | 2636523.1178 | 1232731.623 | 2636566.9199 | 1232763.1448 | 2636574.4116 | 1232767.438 | 2636580.3004 | 1232767.6743 | 2636587.4087 | 1232766.5951 | 2636593.875 | 1232763.6953
119 | 2636523.1178 | 1232731.623 | 2636569.5864 | 1232692.7064 | 2636589.5875 | 1232677.0419
120 | 2636613.3753 | 1232754.9502 | 2636593.875 | 1232763.6953
121 | 2636589.5875 | 1232677.0419 | 2636618.6557 | 1232653.4115
122 | 2636621.0112 | 1232751.5258 | 2636613.3753 | 1232754.9502
123 | 2637248.2544 | 1232283.606 | 2637248.8053 | 1232282.9205 | 2637248.8381 | 1232282.9126
124 | 2636929.8588 | 1232167.5503 | 2636929.8588 | 1232167.5503 | 2636930.3899 | 1232168.1908
125 | 2636906.9437 | 1232148.9446 | 2636912.1954 | 1232152.3031
126 | 2636906.9437 | 1232148.9446 | 2636905.6535 | 1232148.1195
127 | 2636914.937 | 1232154.0563 | 2636912.1954 | 1232152.3031
128 | 2636914.937 | 1232154.0563 | 2636915.3123 | 1232154.2963 | 2636920.4276 | 1232158.9572
129 | 2636920.4276 | 1232158.9572 | 2636926.4525 | 1232164.4466
130 | 2636929.8588 | 1232167.5503 | 2636926.4525 | 1232164.4466
131 | 2637250.2062 | 1232282.586 | 2637248.8381 | 1232282.9126
132 | 2637196.9035 | 1232983.4637 | 2637187.9736 | 1232970.7667 | 2637186.0752 | 1232966.8945
133 | 2637179.0414 | 1232949.9535 | 2637183.6378 | 1232961.923 | 2637186.0752 | 1232966.8945

## bus_geodata
| x | y | coords
0 | 2635935.5694 | 1234953.682
1 | 2635951.1392 | 1234979.2938
2 | 2635817.5655 | 1234827.7599
3 | 2635992.4451 | 1235090.7502
4 | 2635508.0772 | 1234738.9272
5 | 2636144.6753 | 1235268.2358
6 | 2635592.8512 | 1234496.4047
7 | 2635590.6892 | 1234515.997
8 | 2635591.5455 | 1234488.1801
9 | 2635569.3496 | 1234648.2811
10 | 2635469.6593 | 1234786.2741
11 | 2635581.5789 | 1234597.1034
12 | 2636402.6189 | 1234441.3698
13 | 2636392.2605 | 1234382.6698
14 | 2636511.3398 | 1234534.0504
15 | 2635878.7969 | 1234144.9588
16 | 2635825.7978 | 1234109.5619
17 | 2635940.7365 | 1234379.1563
18 | 2635897.7405 | 1234153.2628
19 | 2635513.8287 | 1234219.4379
20 | 2635895.8268 | 1234044.3355
21 | 2635947.3049 | 1234389.7114
22 | 2635974.4467 | 1234433.3271
23 | 2635964.6058 | 1234417.5133
24 | 2635996.4151 | 1234429.065
25 | 2636204.2744 | 1235086.9813
26 | 2635462.3666 | 1234795.6721
27 | 2636233.6498 | 1234376.3233
28 | 2635913.975 | 1234155.6555
29 | 2635927.1649 | 1234149.0541
30 | 2636028.6965 | 1233968.6822
31 | 2636201.2134 | 1234379.6016
32 | 2636171.2451 | 1234956.753
33 | 2636178.9839 | 1234976.1178
34 | 2636192.0999 | 1235017.6674
35 | 2636192.5334 | 1235019.5414
36 | 2635455.0146 | 1234805.1467
37 | 2635446.3026 | 1234816.3738
38 | 2635437.8063 | 1234806.9728
39 | 2635424.6449 | 1234841.238
40 | 2635414.1638 | 1234780.0486
41 | 2635406.1262 | 1234824.1102
42 | 2635412.6723 | 1234777.5937
43 | 2635825.3589 | 1233837.8049
44 | 2635734.0278 | 1233838.053
45 | 2635829.4323 | 1233837.7938
46 | 2635863.9066 | 1233837.7002
47 | 2635866.1745 | 1233663.7279
48 | 2635954.2603 | 1233676.1962
49 | 2636097.665 | 1233835.5345
50 | 2636102.5239 | 1233851.7259
51 | 2636010.0094 | 1233706.4899
52 | 2636225.6998 | 1233813.7466
53 | 2635964.3841 | 1233678.6077
54 | 2636108.3 | 1233881.7389
55 | 2636024.7811 | 1233697.2624
56 | 2635991.6862 | 1233689.6193
57 | 2636067.6731 | 1233518.5117
58 | 2636043.7215 | 1233264.7514
59 | 2636035.9605 | 1233258.9539
60 | 2636045.5393 | 1233266.1092
61 | 2636021.4261 | 1233249.7524
62 | 2636049.7075 | 1233285.3687
63 | 2636069.1767 | 1233280.6949
64 | 2636074.5947 | 1233282.399
65 | 2636048.4488 | 1233300.777
66 | 2636090.8275 | 1233287.5047
67 | 2636048.1068 | 1233304.9642
68 | 2636057.8706 | 1233415.456
69 | 2636063.9305 | 1233512.1308
70 | 2636049.9398 | 1233381.8825
71 | 2636046.3365 | 1233368.4575
72 | 2636046.1433 | 1233367.8729
73 | 2636040.3652 | 1233338.7116
74 | 2636099.2894 | 1233289.2827
75 | 2636120.666 | 1233288.8285
76 | 2636170.2884 | 1233241.4971
77 | 2636176.3381 | 1233178.3151
78 | 2636270.8121 | 1233152.1255
79 | 2636157.4156 | 1233171.2632
80 | 2635930.279 | 1234147.4955
81 | 2636288.7459 | 1233152.2389
82 | 2636861.6345 | 1232920.3939
83 | 2637204.0087 | 1232359.5433
84 | 2637007.5348 | 1233011.4004
85 | 2636660.5025 | 1232927.2969
86 | 2637106.9967 | 1233014.9158
87 | 2636291.4825 | 1233114.3804
88 | 2636304.548 | 1233159.4762
89 | 2636142.6682 | 1233906.2739
90 | 2636413.3488 | 1233193.8626
91 | 2636638.9701 | 1232926.0001
92 | 2636655.236 | 1232927.3505
93 | 2636618.2259 | 1232888.1961
94 | 2636616.7447 | 1232884.545
95 | 2636292.1161 | 1233109.7411
96 | 2636616.3178 | 1232883.4928
97 | 2636294.2572 | 1233093.9424
98 | 2635964.6535 | 1234130.2913
99 | 2635967.9259 | 1234128.6535
100 | 2636078.1543 | 1233919.7773
101 | 2636087.7743 | 1233910.1836
102 | 2636043.6648 | 1233953.9398
103 | 2637236.1454 | 1232369.9952
104 | 2637015.9245 | 1232271.5605
105 | 2637210.1714 | 1232342.5248
106 | 2636941.0709 | 1232181.0725
107 | 2637146.1959 | 1233020.7479
108 | 2636296.8946 | 1233074.0239
109 | 2636586.5765 | 1232804.2844
110 | 2636573.1283 | 1232781.3638
111 | 2636615.2309 | 1232880.8135
112 | 2636517.2655 | 1232736.5234
113 | 2636523.1178 | 1232731.623
114 | 2636593.875 | 1232763.6953
115 | 2636589.5875 | 1232677.0419
116 | 2636618.6557 | 1232653.4115
117 | 2636613.3753 | 1232754.9502
118 | 2636621.0112 | 1232751.5258
119 | 2637231.7871 | 1232388.1937
120 | 2637239.9364 | 1232371.3734
121 | 2637248.2544 | 1232283.606
122 | 2636930.3899 | 1232168.1908
123 | 2636906.9437 | 1232148.9446
124 | 2636912.1954 | 1232152.3031
125 | 2636905.6535 | 1232148.1195
126 | 2636914.937 | 1232154.0563
127 | 2636920.4276 | 1232158.9572
128 | 2636926.4525 | 1232164.4466
129 | 2636929.8588 | 1232167.5503
130 | 2637248.8381 | 1232282.9126
131 | 2637250.2062 | 1232282.586
132 | 2637196.9035 | 1232983.4637
133 | 2637186.0752 | 1232966.8945
134 | 2637179.0414 | 1232949.9535
135 | 2636024.7811 | 1233697.2624

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1