## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4280-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4280-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4280-17_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4280-17_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4280-17_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_4280-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4280-17_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4280-17_0_4_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4280-17_0_4_node_81 | 0.4 | n |  | TRUE
9 | bus_LV_4280-17_0_4_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_4280-17_0_4_node_95 | 0.4 | n |  | TRUE
11 | bus_LV_4280-17_0_4_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4280-17_0_4_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_4280-17_0_4_node_94 | 0.4 | n |  | TRUE
14 | bus_LV_4280-17_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_4280-17_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_4280-17_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4280-17_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4280-17_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_4280-17_0_4_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_4280-17_0_4_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_4280-17_0_4_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_4280-17_0_4_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_4280-17_0_4_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_4280-17_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_4280-17_0_4_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_4280-17_0_4_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_4280-17_0_4_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4280-17_0_4_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_4280-17_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4280-17_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_4280-17_0_4_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_4280-17_0_4_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_4280-17_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_4280-17_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4280-17_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_4280-17_0_4_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_4280-17_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4280-17_0_4_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_4280-17_0_4_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_4280-17_0_4_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_4280-17_0_4_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_4280-17_0_4_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_4280-17_0_4_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_4280-17_0_4_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_4280-17_0_4_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4280-17_0_4_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4280-17_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_4280-17_0_4_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_4280-17_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4280-17_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_4280-17_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_4280-17_0_4_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_4280-17_0_4_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_4280-17_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_4280-17_0_4_node_31 | 0.4 | n |  | TRUE
56 | bus_LV_4280-17_0_4_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_4280-17_0_4_node_28 | 0.4 | n |  | TRUE
58 | bus_LV_4280-17_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_4280-17_0_4_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_4280-17_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4280-17_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4280-17_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_4280-17_0_4_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_4280-17_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_4280-17_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_4280-17_0_4_node_34 | 0.4 | n |  | TRUE
67 | bus_LV_4280-17_0_4_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_4280-17_0_4_node_43 | 0.4 | n |  | TRUE
69 | bus_LV_4280-17_0_4_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_4280-17_0_4_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_4280-17_0_4_node_47 | 0.4 | n |  | TRUE
72 | bus_LV_4280-17_0_4_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_4280-17_0_4_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_4280-17_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_4280-17_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_4280-17_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_4280-17_0_4_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_4280-17_0_4_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_4280-17_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_4280-17_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4280-17_0_4_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_4280-17_0_4_node_99 | 0.4 | n |  | TRUE
83 | bus_LV_4280-17_0_4_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_4280-17_0_4_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_4280-17_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_4280-17_0_4_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_4280-17_0_4_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_4280-17_0_4_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_4280-17_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_4280-17_0_4_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_4280-17_0_4_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_4280-17_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_4280-17_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4280-17_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_4280-17_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_4280-17_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_4280-17_0_4_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_4280-17_0_4_node_100 | 0.4 | n |  | TRUE
99 | bus_MV_398_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4280-17_0_4_load_0 | 0 | 0.0085303 | 0.0021379 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4280-17_0_4_load_3 | 2 | 0.0011049 | 0.00027692 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4280-17_0_4_load_4 | 3 | 0.0016477 | 0.00041296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4280-17_0_4_load_5 | 5 | 0.0013766 | 0.00034501 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4280-17_0_4_load_6 | 6 | 0.0011699 | 0.00029322 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4280-17_0_4_load_16 | 7 | 0.0019023 | 0.00047677 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4280-17_0_4_load_81 | 8 | 0.0015888 | 0.0003982 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4280-17_0_4_load_70 | 9 | 0.0033204 | 0.00083216 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4280-17_0_4_load_95 | 10 | 0.0038404 | 0.00096249 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4280-17_0_4_load_17 | 11 | 0.0020599 | 0.00051627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4280-17_0_4_load_82 | 12 | 0.0010602 | 0.00026571 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4280-17_0_4_load_94 | 13 | 0.00087445 | 0.00021916 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4280-17_0_4_load_7 | 14 | 0.0061923 | 0.0015519 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4280-17_0_4_load_8 | 15 | 0.0034424 | 0.00086275 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4280-17_0_4_load_9 | 16 | 0.018039 | 0.004521 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4280-17_0_4_load_11 | 18 | 0.0061309 | 0.0015366 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4280-17_0_4_load_42 | 20 | 0.0014079 | 0.00035285 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4280-17_0_4_load_74 | 22 | 0.0026524 | 0.00066476 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4280-17_0_4_load_58 | 23 | 0.0017445 | 0.00043722 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4280-17_0_4_load_41 | 24 | 0.0046551 | 0.0011667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4280-17_0_4_load_67 | 25 | 0.0036707 | 0.00091995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4280-17_0_4_load_62 | 26 | 0.025006 | 0.0062671 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4280-17_0_4_load_12 | 27 | 0.0017908 | 0.00044881 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4280-17_0_4_load_13 | 28 | 0.0031473 | 0.00078878 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4280-17_0_4_load_14 | 29 | 0.0026205 | 0.00065677 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4280-17_0_4_load_15 | 30 | 0.0022456 | 0.0005628 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4280-17_0_4_load_51 | 32 | 0.0056537 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4280-17_0_4_load_37 | 33 | 0.0021513 | 0.00053916 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4280-17_0_4_load_39 | 35 | 0.0061825 | 0.0015495 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4280-17_0_4_load_40 | 36 | 0.0016075 | 0.00040288 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4280-17_0_4_load_36 | 37 | 0.0073713 | 0.0018474 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4280-17_0_4_load_52 | 38 | 0.0017378 | 0.00043553 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4280-17_0_4_load_69 | 39 | 0.0012623 | 0.00031636 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4280-17_0_4_load_19 | 40 | 0.0096417 | 0.0024164 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4280-17_0_4_load_20 | 41 | 0.0071437 | 0.0017904 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4280-17_0_4_load_21 | 42 | 0.010699 | 0.0026814 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4280-17_0_4_load_22 | 43 | 0.0094367 | 0.0023651 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4280-17_0_4_load_50 | 45 | 0.0075469 | 0.0018914 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4280-17_0_4_load_35 | 46 | 0.011854 | 0.0029708 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4280-17_0_4_load_48 | 47 | 0.0099906 | 0.0025039 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4280-17_0_4_load_60 | 48 | 0.0081016 | 0.0020305 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4280-17_0_4_load_49 | 50 | 0.0092205 | 0.0023109 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4280-17_0_4_load_24 | 51 | 0.040752 | 0.010213 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4280-17_0_4_load_80 | 56 | 0.0090839 | 0.0022766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4280-17_0_4_load_28 | 57 | 0.0081601 | 0.0020451 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4280-17_0_4_load_72 | 59 | 0.0082527 | 0.0020683 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4280-17_0_4_load_55 | 61 | 0.04408 | 0.011048 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4280-17_0_4_load_79 | 62 | 0.0084413 | 0.0021156 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4280-17_0_4_load_32 | 63 | 0.039712 | 0.0099528 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4280-17_0_4_load_66 | 64 | 0.040987 | 0.010272 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4280-17_0_4_load_34 | 66 | 0.017423 | 0.0043667 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4280-17_0_4_load_46 | 67 | 0.00096514 | 0.00024189 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4280-17_0_4_load_43 | 68 | 0.0016497 | 0.00041345 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4280-17_0_4_load_44 | 69 | 0.0022927 | 0.0005746 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4280-17_0_4_load_45 | 70 | 0.0018646 | 0.0004673 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4280-17_0_4_load_47 | 71 | 0.0017205 | 0.00043119 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4280-17_0_4_load_57 | 72 | 0.0012545 | 0.0003144 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4280-17_0_4_load_56 | 73 | 0.0011808 | 0.00029593 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4280-17_0_4_load_73 | 75 | 0.0072583 | 0.0018191 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4280-17_0_4_load_63 | 76 | 0.0071954 | 0.0018033 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4280-17_0_4_load_61 | 77 | 0.010755 | 0.0026954 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4280-17_0_4_load_68 | 78 | 0.0037888 | 0.00094956 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4280-17_0_4_load_75 | 79 | 0.0016929 | 0.00042429 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4280-17_0_4_load_76 | 80 | 0.0021954 | 0.00055021 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4280-17_0_4_load_88 | 83 | 0.0090507 | 0.0022683 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4280-17_0_4_load_77 | 84 | 0.0046175 | 0.0011573 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4280-17_0_4_load_78 | 85 | 0.0020751 | 0.00052006 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4280-17_0_4_load_83 | 86 | 0.0011408 | 0.00028592 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4280-17_0_4_load_85 | 87 | 0.0020247 | 0.00050745 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4280-17_0_4_load_84 | 88 | 0.0023783 | 0.00059606 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4280-17_0_4_load_87 | 90 | 0.0020983 | 0.00052589 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4280-17_0_4_load_97 | 91 | 0.002869 | 0.00071903 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4280-17_0_4_load_89 | 93 | 0.0019927 | 0.00049943 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4280-17_0_4_load_90 | 94 | 0.0036652 | 0.00091858 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4280-17_0_4_load_92 | 96 | 0.0026314 | 0.0006595 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4280-17_0_4_load_96 | 97 | 0.0041138 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4280-17_0_4_load_100 | 98 | 0.02259 | 0.0056616 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4280-17_0_4_line_0 |  | 0 | 1 | 0.019426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4280-17_0_4_line_1 |  | 1 | 2 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4280-17_0_4_line_2 |  | 1 | 3 | 0.01355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4280-17_0_4_line_3 |  | 2 | 7 | 0.0050092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4280-17_0_4_line_4 |  | 3 | 8 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4280-17_0_4_line_5 |  | 4 | 5 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4280-17_0_4_line_6 |  | 4 | 6 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4280-17_0_4_line_7 |  | 5 | 9 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4280-17_0_4_line_8 |  | 6 | 10 | 0.00048619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4280-17_0_4_line_9 |  | 7 | 11 | 0.013133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4280-17_0_4_line_10 |  | 8 | 12 | 0.001662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4280-17_0_4_line_11 |  | 10 | 13 | 0.019194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4280-17_0_4_line_12 |  | 11 | 34 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4280-17_0_4_line_13 |  | 12 | 86 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4280-17_0_4_line_14 |  | 13 | 97 | 0.0071705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4280-17_0_4_line_15 |  | 14 | 15 | 0.01086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4280-17_0_4_line_16 |  | 14 | 16 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4280-17_0_4_line_17 |  | 15 | 17 | 0.053393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4280-17_0_4_line_18 |  | 16 | 18 | 0.013556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4280-17_0_4_line_19 |  | 17 | 19 | 0.005117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_4280-17_0_4_line_20 |  | 17 | 20 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_4280-17_0_4_line_21 |  | 18 | 21 | 0.055643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4280-17_0_4_line_22 |  | 19 | 22 | 0.014209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4280-17_0_4_line_23 |  | 19 | 23 | 0.027405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_4280-17_0_4_line_24 |  | 20 | 24 | 0.0087686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_4280-17_0_4_line_25 |  | 21 | 25 | 0.035405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4280-17_0_4_line_26 |  | 21 | 26 | 0.03623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4280-17_0_4_line_27 |  | 22 | 75 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4280-17_0_4_line_28 |  | 23 | 73 | 0.0024607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_4280-17_0_4_line_29 |  | 24 | 66 | 0.03567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_4280-17_0_4_line_30 |  | 25 | 78 | 0.03509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4280-17_0_4_line_31 |  | 27 | 28 | 0.020615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4280-17_0_4_line_32 |  | 27 | 29 | 0.022294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4280-17_0_4_line_33 |  | 28 | 30 | 0.024836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4280-17_0_4_line_34 |  | 30 | 31 | 0.034882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4280-17_0_4_line_35 |  | 31 | 32 | 0.026386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4280-17_0_4_line_36 |  | 31 | 33 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4280-17_0_4_line_37 |  | 32 | 57 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4280-17_0_4_line_38 |  | 33 | 37 | 0.019724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4280-17_0_4_line_39 |  | 34 | 35 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_4280-17_0_4_line_40 |  | 34 | 36 | 0.024721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_4280-17_0_4_line_41 |  | 34 | 37 | 0.024447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4280-17_0_4_line_42 |  | 35 | 38 | 0.0095661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_4280-17_0_4_line_43 |  | 36 | 39 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_4280-17_0_4_line_44 |  | 38 | 65 | 0.010674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_4280-17_0_4_line_45 |  | 39 | 67 | 0.0026273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_4280-17_0_4_line_46 |  | 40 | 41 | 0.030031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_4280-17_0_4_line_47 |  | 40 | 42 | 0.023243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_4280-17_0_4_line_48 |  | 41 | 43 | 0.013626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4280-17_0_4_line_49 |  | 42 | 44 | 0.0056244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_4280-17_0_4_line_50 |  | 43 | 45 | 0.0030205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4280-17_0_4_line_51 |  | 44 | 46 | 0.046862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_4280-17_0_4_line_52 |  | 44 | 47 | 0.023193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4280-17_0_4_line_53 |  | 45 | 48 | 0.034381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4280-17_0_4_line_54 |  | 46 | 49 | 0.0040178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_4280-17_0_4_line_55 |  | 47 | 50 | 0.00098444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4280-17_0_4_line_56 |  | 48 | 74 | 0.03106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4280-17_0_4_line_57 |  | 49 | 66 | 0.030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_4280-17_0_4_line_58 |  | 49 | 63 | 0.032902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4280-17_0_4_line_59 |  | 50 | 58 | 0.024143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4280-17_0_4_line_60 |  | 51 | 52 | 0.061521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4280-17_0_4_line_61 |  | 51 | 53 | 0.011485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4280-17_0_4_line_62 |  | 52 | 54 | 0.064024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4280-17_0_4_line_63 |  | 53 | 55 | 0.042536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4280-17_0_4_line_64 |  | 54 | 56 | 0.069753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4280-17_0_4_line_65 |  | 55 | 60 | 0.026802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4280-17_0_4_line_66 |  | 55 | 61 | 0.032687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4280-17_0_4_line_67 |  | 56 | 62 | 0.021023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4280-17_0_4_line_68 |  | 58 | 59 | 0.017315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4280-17_0_4_line_69 |  | 60 | 64 | 0.043844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_4280-17_0_4_line_70 |  | 60 | 65 | 0.033005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_4280-17_0_4_line_71 |  | 62 | 85 | 0.043171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4280-17_0_4_line_72 |  | 67 | 69 | 0.014189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_4280-17_0_4_line_73 |  | 68 | 69 | 0.006284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_4280-17_0_4_line_74 |  | 68 | 70 | 0.017132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_4280-17_0_4_line_75 |  | 70 | 71 | 0.001656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_4280-17_0_4_line_76 |  | 71 | 72 | 0.00085873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_4280-17_0_4_line_77 |  | 72 | 73 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_4280-17_0_4_line_78 |  | 74 | 76 | 0.0289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4280-17_0_4_line_79 |  | 75 | 79 | 0.0066434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4280-17_0_4_line_80 |  | 76 | 77 | 0.043788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4280-17_0_4_line_81 |  | 79 | 80 | 0.0020644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4280-17_0_4_line_82 |  | 81 | 82 | 0.05083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4280-17_0_4_line_83 |  | 81 | 83 | 0.032595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4280-17_0_4_line_84 |  | 82 | 98 | 0.038238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4280-17_0_4_line_85 |  | 83 | 89 | 0.049237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4280-17_0_4_line_86 |  | 84 | 85 | 0.057618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4280-17_0_4_line_87 |  | 86 | 87 | 0.0043947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4280-17_0_4_line_88 |  | 87 | 88 | 0.014532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4280-17_0_4_line_89 |  | 88 | 89 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4280-17_0_4_line_90 |  | 89 | 90 | 0.0076869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4280-17_0_4_line_91 |  | 90 | 91 | 0.031686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4280-17_0_4_line_92 |  | 91 | 92 | 0.017869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4280-17_0_4_line_93 |  | 92 | 95 | 0.022114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4280-17_0_4_line_94 |  | 93 | 94 | 0.0060209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4280-17_0_4_line_95 |  | 93 | 95 | 0.011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4280-17_0_4_line_96 |  | 94 | 96 | 0.014441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4280-17_0_4_line_97 |  | 96 | 97 | 0.013297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4280-17_0_4_trafo_66 | 0.63 MVA 20/0.4 kV | 99 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2638150.8021 | 1238407.5794 | 2638135.5582 | 1238395.5385
1 | 2638150.8021 | 1238407.5794 | 2638161.8188 | 1238416.2352
2 | 2638150.8021 | 1238407.5794 | 2638142.3402 | 1238418.1626
3 | 2638165.7576 | 1238419.3299 | 2638161.8188 | 1238416.2352
4 | 2638129.4047 | 1238434.3409 | 2638142.3402 | 1238418.1626
5 | 2638113.0439 | 1238373.2487 | 2638106.372 | 1238365.0674 | 2638104.0437 | 1238360.806
6 | 2638113.0439 | 1238373.2487 | 2638100.8958 | 1238387.7519
7 | 2638090.7257 | 1238333.4962 | 2638093.9913 | 1238342.407 | 2638104.0437 | 1238360.806
8 | 2638100.5836 | 1238388.1246 | 2638100.8958 | 1238387.7519
9 | 2638165.7576 | 1238419.3299 | 2638176.0844 | 1238427.4437
10 | 2638129.4047 | 1238434.3409 | 2638128.3668 | 1238435.6391
11 | 2638088.2588 | 1238402.8388 | 2638100.5836 | 1238388.1246
12 | 2638184.744 | 1238434.2476 | 2638176.0844 | 1238427.4437
13 | 2638128.3668 | 1238435.6391 | 2638118.14 | 1238448.4295
14 | 2638088.2588 | 1238402.8388 | 2638083.6545 | 1238408.3357
15 | 2638129.9104 | 1238632.4254 | 2638130.2539 | 1238628.6881 | 2638131.4237 | 1238621.6786
16 | 2638129.9104 | 1238632.4254 | 2638128.2162 | 1238650.8621
17 | 2638140.2125 | 1238569.014 | 2638131.4237 | 1238621.6786
18 | 2638126.9757 | 1238664.3616 | 2638128.2162 | 1238650.8621
19 | 2638141.817 | 1238564.1546 | 2638140.2125 | 1238569.014
20 | 2638140.2125 | 1238569.014 | 2638156.5003 | 1238576.3231
21 | 2638119.9818 | 1238719.5578 | 2638126.2369 | 1238672.4013 | 2638126.9757 | 1238664.3616
22 | 2638141.817 | 1238564.1546 | 2638128.1093 | 1238560.4152
23 | 2638141.817 | 1238564.1546 | 2638150.4156 | 1238538.1333
24 | 2638156.5003 | 1238576.3231 | 2638164.5003 | 1238579.9131
25 | 2638119.9818 | 1238719.5578 | 2638086.5872 | 1238707.7962
26 | 2638119.9818 | 1238719.5578 | 2638154.6391 | 1238730.115
27 | 2638111.933 | 1238556.0024 | 2638128.1093 | 1238560.4152
28 | 2638151.1877 | 1238535.7968 | 2638150.4156 | 1238538.1333
29 | 2638164.5003 | 1238579.9131 | 2638197.044 | 1238594.517
30 | 2638053.4896 | 1238696.1391 | 2638086.5872 | 1238707.7962
31 | 2638144.4814 | 1238324.4897 | 2638156.4797 | 1238336.1816 | 2638159.4607 | 1238338.6369
32 | 2638130.9556 | 1238306.7778 | 2638143.9264 | 1238323.9488 | 2638144.4814 | 1238324.4897
33 | 2638178.8984 | 1238354.0728 | 2638174.6281 | 1238351.1298 | 2638159.4607 | 1238338.6369
34 | 2638207.6197 | 1238373.8673 | 2638178.8984 | 1238354.0728
35 | 2638207.6197 | 1238373.8673 | 2638214.3878 | 1238381.1932 | 2638226.7198 | 1238392.0231
36 | 2638207.6197 | 1238373.8673 | 2638200.3934 | 1238392.9412
37 | 2638247.1868 | 1238409.9972 | 2638226.7198 | 1238392.0231
38 | 2638200.3934 | 1238392.9412 | 2638193.4054 | 1238411.386
39 | 2638184.744 | 1238434.2476 | 2638198.9666 | 1238446.1227
40 | 2638184.744 | 1238434.2476 | 2638176.9878 | 1238457.7198
41 | 2638184.744 | 1238434.2476 | 2638193.4054 | 1238411.386
42 | 2638206.3096 | 1238452.2537 | 2638198.9666 | 1238446.1227
43 | 2638170.906 | 1238476.1244 | 2638176.9878 | 1238457.7198
44 | 2638214.6824 | 1238458.8667 | 2638210.858 | 1238456.0514 | 2638206.3096 | 1238452.2537
45 | 2638170.0817 | 1238478.619 | 2638170.906 | 1238476.1244
46 | 2638269.2707 | 1238685.5234 | 2638267.8165 | 1238678.7594 | 2638266.2642 | 1238668.4651 | 2638265.6163 | 1238658.6769 | 2638265.9532 | 1238655.8045
47 | 2638269.845 | 1238632.9069 | 2638266.9208 | 1238647.556 | 2638265.9532 | 1238655.8045
48 | 2638269.2707 | 1238685.5234 | 2638272.1347 | 1238698.8452
49 | 2638270.946 | 1238627.3913 | 2638269.845 | 1238632.9069
50 | 2638272.1347 | 1238698.8452 | 2638272.2447 | 1238699.3566 | 2638272.8403 | 1238701.782
51 | 2638270.946 | 1238627.3913 | 2638228.0924 | 1238608.427
52 | 2638270.946 | 1238627.3913 | 2638273.8667 | 1238618.9937 | 2638279.463 | 1238605.8319
53 | 2638272.8403 | 1238701.782 | 2638278.9589 | 1238726.695 | 2638280.6389 | 1238735.2595
54 | 2638224.4183 | 1238606.8011 | 2638228.0924 | 1238608.427
55 | 2638279.8482 | 1238604.926 | 2638279.463 | 1238605.8319
56 | 2638282.4871 | 1238766.0428 | 2638283.3211 | 1238756.3531 | 2638283.3367 | 1238751.5723 | 2638282.9573 | 1238747.0782 | 2638280.6389 | 1238735.2595
57 | 2638224.4183 | 1238606.8011 | 2638197.044 | 1238594.517
58 | 2638224.4183 | 1238606.8011 | 2638232.6245 | 1238588.0531 | 2638242.3034 | 1238580.2437
59 | 2638290.4872 | 1238583.2891 | 2638286.4936 | 1238590.3234 | 2638284.1349 | 1238594.8444 | 2638279.8482 | 1238604.926
60 | 2638285.8591 | 1238456.3897 | 2638281.7144 | 1238458.6979 | 2638274.8203 | 1238475.6642 | 2638277.1117 | 1238483.9509 | 2638278.0627 | 1238493.6632 | 2638275.1435 | 1238513.5571
61 | 2638267.0431 | 1238521.699 | 2638275.1435 | 1238513.5571
62 | 2638285.8591 | 1238456.3897 | 2638319.0449 | 1238487.5678 | 2638332.9051 | 1238499.9539
63 | 2638238.1005 | 1238497.5863 | 2638239.7136 | 1238500.7988 | 2638250.5022 | 1238520.3695 | 2638267.0431 | 1238521.699
64 | 2638332.9051 | 1238499.9539 | 2638348.7049 | 1238508.3167 | 2638383.7008 | 1238544.8769 | 2638384.6209 | 1238545.7477
65 | 2638238.1005 | 1238497.5863 | 2638228.3248 | 1238491.0415 | 2638221.4647 | 1238489.8189 | 2638213.5558 | 1238491.7248
66 | 2638238.1005 | 1238497.5863 | 2638235.7314 | 1238482.5615 | 2638239.1284 | 1238474.2003 | 2638246.4621 | 1238470.0004
67 | 2638384.6209 | 1238545.7477 | 2638399.8893 | 1238560.1993
68 | 2638290.4872 | 1238583.2891 | 2638296.0141 | 1238573.0627 | 2638298.7225 | 1238568.0582
69 | 2638213.5558 | 1238491.7248 | 2638209.5513 | 1238499.2816 | 2638209.0354 | 1238516.0001 | 2638212.0414 | 1238534.3199
70 | 2638214.6824 | 1238458.8667 | 2638215.6009 | 1238473.6375 | 2638213.5558 | 1238491.7248
71 | 2638429.8634 | 1238591.0195 | 2638424.7087 | 1238587.4133 | 2638408.6447 | 1238568.4864 | 2638399.8893 | 1238560.1993
72 | 2638170.0817 | 1238478.619 | 2638165.6298 | 1238492.0914
73 | 2638165.6298 | 1238492.0914 | 2638163.6582 | 1238498.0581
74 | 2638158.2828 | 1238514.3252 | 2638163.6582 | 1238498.0581
75 | 2638158.2828 | 1238514.3252 | 2638157.7632 | 1238515.8976
76 | 2638157.4938 | 1238516.7129 | 2638157.7632 | 1238515.8976
77 | 2638151.1877 | 1238535.7968 | 2638157.4938 | 1238516.7129
78 | 2638282.4871 | 1238766.0428 | 2638271.0952 | 1238763.9125 | 2638254.427 | 1238759.2389
79 | 2638111.933 | 1238556.0024 | 2638105.5238 | 1238554.254
80 | 2638212.2654 | 1238747.4171 | 2638254.427 | 1238759.2389
81 | 2638103.5322 | 1238553.7107 | 2638105.5238 | 1238554.254
82 | 2637999.5807 | 1238522.8397 | 2638001.5035 | 1238515.4918 | 2638003.1454 | 1238511.8555 | 2638037.6375 | 1238530.5769
83 | 2638037.6375 | 1238530.5769 | 2638045.1124 | 1238524.3652 | 2638061.2523 | 1238513.9285 | 2638064.7716 | 1238512.9399
84 | 2637999.5807 | 1238522.8397 | 2638034.0071 | 1238539.4832
85 | 2638094.8799 | 1238477.5208 | 2638085.7996 | 1238489.8927 | 2638076.1495 | 1238509.7435 | 2638064.7716 | 1238512.9399
86 | 2638477.0745 | 1238624.0482 | 2638429.8634 | 1238591.0195
87 | 2638115.3956 | 1238451.8619 | 2638118.14 | 1238448.4295
88 | 2638106.3206 | 1238463.2119 | 2638115.3956 | 1238451.8619
89 | 2638094.8799 | 1238477.5208 | 2638106.3206 | 1238463.2119
90 | 2638094.8799 | 1238477.5208 | 2638087.5655 | 1238475.1567
91 | 2638087.5655 | 1238475.1567 | 2638057.4154 | 1238465.412
92 | 2638040.412 | 1238459.9164 | 2638057.4154 | 1238465.412
93 | 2638040.412 | 1238459.9164 | 2638054.6498 | 1238442.9634
94 | 2638061.9769 | 1238434.2158 | 2638065.8431 | 1238429.6002
95 | 2638054.6498 | 1238442.9634 | 2638061.9769 | 1238434.2158
96 | 2638065.8431 | 1238429.6002 | 2638075.1162 | 1238418.5293
97 | 2638083.6545 | 1238408.3357 | 2638075.1162 | 1238418.5293

## bus_geodata
| x | y | coords
0 | 2638135.5582 | 1238395.5385
1 | 2638150.8021 | 1238407.5794
2 | 2638161.8188 | 1238416.2352
3 | 2638142.3402 | 1238418.1626
4 | 2638113.0439 | 1238373.2487
5 | 2638104.0437 | 1238360.806
6 | 2638100.8958 | 1238387.7519
7 | 2638165.7576 | 1238419.3299
8 | 2638129.4047 | 1238434.3409
9 | 2638090.7257 | 1238333.4962
10 | 2638100.5836 | 1238388.1246
11 | 2638176.0844 | 1238427.4437
12 | 2638128.3668 | 1238435.6391
13 | 2638088.2588 | 1238402.8388
14 | 2638129.9104 | 1238632.4254
15 | 2638131.4237 | 1238621.6786
16 | 2638128.2162 | 1238650.8621
17 | 2638140.2125 | 1238569.014
18 | 2638126.9757 | 1238664.3616
19 | 2638141.817 | 1238564.1546
20 | 2638156.5003 | 1238576.3231
21 | 2638119.9818 | 1238719.5578
22 | 2638128.1093 | 1238560.4152
23 | 2638150.4156 | 1238538.1333
24 | 2638164.5003 | 1238579.9131
25 | 2638086.5872 | 1238707.7962
26 | 2638154.6391 | 1238730.115
27 | 2638144.4814 | 1238324.4897
28 | 2638159.4607 | 1238338.6369
29 | 2638130.9556 | 1238306.7778
30 | 2638178.8984 | 1238354.0728
31 | 2638207.6197 | 1238373.8673
32 | 2638226.7198 | 1238392.0231
33 | 2638200.3934 | 1238392.9412
34 | 2638184.744 | 1238434.2476
35 | 2638198.9666 | 1238446.1227
36 | 2638176.9878 | 1238457.7198
37 | 2638193.4054 | 1238411.386
38 | 2638206.3096 | 1238452.2537
39 | 2638170.906 | 1238476.1244
40 | 2638265.9532 | 1238655.8045
41 | 2638269.2707 | 1238685.5234
42 | 2638269.845 | 1238632.9069
43 | 2638272.1347 | 1238698.8452
44 | 2638270.946 | 1238627.3913
45 | 2638272.8403 | 1238701.782
46 | 2638228.0924 | 1238608.427
47 | 2638279.463 | 1238605.8319
48 | 2638280.6389 | 1238735.2595
49 | 2638224.4183 | 1238606.8011
50 | 2638279.8482 | 1238604.926
51 | 2638275.1435 | 1238513.5571
52 | 2638285.8591 | 1238456.3897
53 | 2638267.0431 | 1238521.699
54 | 2638332.9051 | 1238499.9539
55 | 2638238.1005 | 1238497.5863
56 | 2638384.6209 | 1238545.7477
57 | 2638247.1868 | 1238409.9972
58 | 2638290.4872 | 1238583.2891
59 | 2638298.7225 | 1238568.0582
60 | 2638213.5558 | 1238491.7248
61 | 2638246.4621 | 1238470.0004
62 | 2638399.8893 | 1238560.1993
63 | 2638242.3034 | 1238580.2437
64 | 2638212.0414 | 1238534.3199
65 | 2638214.6824 | 1238458.8667
66 | 2638197.044 | 1238594.517
67 | 2638170.0817 | 1238478.619
68 | 2638163.6582 | 1238498.0581
69 | 2638165.6298 | 1238492.0914
70 | 2638158.2828 | 1238514.3252
71 | 2638157.7632 | 1238515.8975
72 | 2638157.4938 | 1238516.7129
73 | 2638151.1877 | 1238535.7968
74 | 2638282.4871 | 1238766.0428
75 | 2638111.933 | 1238556.0024
76 | 2638254.427 | 1238759.2389
77 | 2638212.2654 | 1238747.4171
78 | 2638053.4896 | 1238696.1391
79 | 2638105.5238 | 1238554.254
80 | 2638103.5322 | 1238553.7107
81 | 2638037.6375 | 1238530.5769
82 | 2637999.5807 | 1238522.8397
83 | 2638064.7716 | 1238512.9399
84 | 2638477.0745 | 1238624.0482
85 | 2638429.8634 | 1238591.0195
86 | 2638118.14 | 1238448.4295
87 | 2638115.3956 | 1238451.8619
88 | 2638106.3206 | 1238463.2119
89 | 2638094.8799 | 1238477.5208
90 | 2638087.5655 | 1238475.1567
91 | 2638057.4154 | 1238465.412
92 | 2638040.412 | 1238459.9164
93 | 2638061.9769 | 1238434.2158
94 | 2638065.8431 | 1238429.6002
95 | 2638054.6498 | 1238442.9634
96 | 2638075.1162 | 1238418.5293
97 | 2638083.6545 | 1238408.3357
98 | 2638034.0071 | 1238539.4832
99 | 2638196.2264 | 1238571.831

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1