## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4280-21_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4280-21_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4280-21_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4280-21_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4280-21_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4280-21_0_6_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_4280-21_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4280-21_0_6_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_4280-21_0_6_node_86 | 0.4 | n |  | TRUE
9 | bus_LV_4280-21_0_6_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_4280-21_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_4280-21_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4280-21_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4280-21_0_6_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_4280-21_0_6_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_4280-21_0_6_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_4280-21_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_4280-21_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_4280-21_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4280-21_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4280-21_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_4280-21_0_6_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_4280-21_0_6_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_4280-21_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_4280-21_0_6_node_110 | 0.4 | n |  | TRUE
25 | bus_LV_4280-21_0_6_node_84 | 0.4 | n |  | TRUE
26 | bus_LV_4280-21_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_4280-21_0_6_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_4280-21_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_4280-21_0_6_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_4280-21_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_4280-21_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_4280-21_0_6_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_4280-21_0_6_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4280-21_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_4280-21_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_4280-21_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_4280-21_0_6_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_4280-21_0_6_node_85 | 0.4 | n |  | TRUE
39 | bus_LV_4280-21_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_4280-21_0_6_node_58 | 0.4 | n |  | TRUE
41 | bus_LV_4280-21_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_4280-21_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_4280-21_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_4280-21_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_4280-21_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_4280-21_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_4280-21_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_4280-21_0_6_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_4280-21_0_6_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_4280-21_0_6_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_4280-21_0_6_node_69 | 0.4 | n |  | TRUE
52 | bus_LV_4280-21_0_6_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_4280-21_0_6_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_4280-21_0_6_node_109 | 0.4 | n |  | TRUE
55 | bus_LV_4280-21_0_6_node_75 | 0.4 | n |  | TRUE
56 | bus_LV_4280-21_0_6_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_4280-21_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_4280-21_0_6_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_4280-21_0_6_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_4280-21_0_6_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4280-21_0_6_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4280-21_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4280-21_0_6_node_98 | 0.4 | n |  | TRUE
64 | bus_LV_4280-21_0_6_node_105 | 0.4 | n |  | TRUE
65 | bus_LV_4280-21_0_6_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_4280-21_0_6_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_4280-21_0_6_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_4280-21_0_6_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_4280-21_0_6_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_4280-21_0_6_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_4280-21_0_6_node_74 | 0.4 | n |  | TRUE
72 | bus_LV_4280-21_0_6_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_4280-21_0_6_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_4280-21_0_6_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_4280-21_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_4280-21_0_6_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_4280-21_0_6_node_54 | 0.4 | n |  | TRUE
78 | bus_LV_4280-21_0_6_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_4280-21_0_6_node_88 | 0.4 | n |  | TRUE
80 | bus_LV_4280-21_0_6_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_4280-21_0_6_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_4280-21_0_6_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_4280-21_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_4280-21_0_6_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_4280-21_0_6_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_4280-21_0_6_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_4280-21_0_6_node_100 | 0.4 | n |  | TRUE
88 | bus_LV_4280-21_0_6_node_102 | 0.4 | n |  | TRUE
89 | bus_LV_4280-21_0_6_node_106 | 0.4 | n |  | TRUE
90 | bus_LV_4280-21_0_6_node_103 | 0.4 | n |  | TRUE
91 | bus_LV_4280-21_0_6_node_108 | 0.4 | n |  | TRUE
92 | bus_LV_4280-21_0_6_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_4280-21_0_6_node_76 | 0.4 | n |  | TRUE
94 | bus_LV_4280-21_0_6_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_4280-21_0_6_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_4280-21_0_6_node_79 | 0.4 | n |  | TRUE
97 | bus_LV_4280-21_0_6_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_4280-21_0_6_node_82 | 0.4 | n |  | TRUE
99 | bus_LV_4280-21_0_6_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_4280-21_0_6_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_4280-21_0_6_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_4280-21_0_6_node_112 | 0.4 | n |  | TRUE
103 | bus_LV_4280-21_0_6_node_111 | 0.4 | n |  | TRUE
104 | bus_LV_4280-21_0_6_node_92 | 0.4 | n |  | TRUE
105 | bus_LV_4280-21_0_6_node_94 | 0.4 | n |  | TRUE
106 | bus_LV_4280-21_0_6_node_93 | 0.4 | n |  | TRUE
107 | bus_LV_4280-21_0_6_node_89 | 0.4 | n |  | TRUE
108 | bus_LV_4280-21_0_6_node_90 | 0.4 | n |  | TRUE
109 | bus_LV_4280-21_0_6_node_91 | 0.4 | n |  | TRUE
110 | bus_LV_4280-21_0_6_node_107 | 0.4 | n |  | TRUE
111 | bus_MV_398_0_node_127 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4280-21_0_6_load_0 | 0 | 0.0081875 | 0.002052 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4280-21_0_6_load_4 | 4 | 0.014087 | 0.0035306 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4280-21_0_6_load_14 | 6 | 0.0098384 | 0.0024657 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4280-21_0_6_load_86 | 8 | 0.0032873 | 0.00082387 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4280-21_0_6_load_83 | 9 | 0.0012898 | 0.00032325 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4280-21_0_6_load_8 | 12 | 0.0025381 | 0.0006361 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4280-21_0_6_load_5 | 13 | 0.0099913 | 0.002504 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4280-21_0_6_load_6 | 14 | 0.0049186 | 0.0012327 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4280-21_0_6_load_7 | 15 | 0.0026749 | 0.00067039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4280-21_0_6_load_9 | 16 | 0.0099049 | 0.0024824 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4280-21_0_6_load_12 | 18 | 0.0013761 | 0.00034487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4280-21_0_6_load_15 | 20 | 0.0038681 | 0.00096943 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4280-21_0_6_load_101 | 21 | 0.0024163 | 0.00060557 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4280-21_0_6_load_19 | 23 | 0.0034021 | 0.00085265 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4280-21_0_6_load_110 | 24 | 0.0037532 | 0.00094063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4280-21_0_6_load_84 | 25 | 0.0012425 | 0.0003114 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4280-21_0_6_load_21 | 26 | 0.0029634 | 0.0007427 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4280-21_0_6_load_22 | 27 | 0.00043339 | 0.00010862 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4280-21_0_6_load_23 | 28 | 0.0017464 | 0.00043769 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4280-21_0_6_load_24 | 30 | 0.00025946 | 6.5027e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4280-21_0_6_load_70 | 31 | 0.021978 | 0.0055083 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4280-21_0_6_load_25 | 32 | 0.0030822 | 0.00077247 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4280-21_0_6_load_26 | 33 | 0.0022586 | 0.00056605 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4280-21_0_6_load_27 | 34 | 0.00136 | 0.00034084 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4280-21_0_6_load_28 | 35 | 0.0021912 | 0.00054917 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4280-21_0_6_load_29 | 36 | 0.0021196 | 0.00053121 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4280-21_0_6_load_52 | 37 | 0.001706 | 0.00042758 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4280-21_0_6_load_51 | 39 | 0.0019475 | 0.00048809 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4280-21_0_6_load_58 | 40 | 0.0033299 | 0.00083455 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4280-21_0_6_load_30 | 41 | 0.0065185 | 0.0016337 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4280-21_0_6_load_34 | 45 | 0.010878 | 0.0027262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4280-21_0_6_load_36 | 47 | 0.0058562 | 0.0014677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4280-21_0_6_load_97 | 48 | 0.013952 | 0.0034966 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4280-21_0_6_load_55 | 49 | 0.008501 | 0.0021306 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4280-21_0_6_load_61 | 52 | 0.017377 | 0.004355 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4280-21_0_6_load_109 | 54 | 0.0054404 | 0.0013635 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4280-21_0_6_load_56 | 56 | 0.0079612 | 0.0019953 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4280-21_0_6_load_37 | 57 | 0.0042789 | 0.0010724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4280-21_0_6_load_38 | 58 | 0.0030905 | 0.00077455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4280-21_0_6_load_39 | 59 | 0.0017518 | 0.00043904 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4280-21_0_6_load_40 | 60 | 0.0014996 | 0.00037584 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4280-21_0_6_load_41 | 61 | 0.0027688 | 0.00069393 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4280-21_0_6_load_57 | 62 | 0.0010211 | 0.00025591 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4280-21_0_6_load_98 | 63 | 0.0035342 | 0.00088576 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4280-21_0_6_load_105 | 64 | 0.0086177 | 0.0021598 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4280-21_0_6_load_42 | 65 | 0.02065 | 0.0051754 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4280-21_0_6_load_43 | 66 | 0.01937 | 0.0048546 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4280-21_0_6_load_44 | 67 | 0.014525 | 0.0036404 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4280-21_0_6_load_45 | 68 | 0.014288 | 0.0035808 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4280-21_0_6_load_47 | 73 | 0.017305 | 0.0043369 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4280-21_0_6_load_49 | 75 | 0.013877 | 0.003478 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4280-21_0_6_load_54 | 77 | 0.0014792 | 0.00037073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4280-21_0_6_load_88 | 79 | 0.014824 | 0.0037153 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4280-21_0_6_load_87 | 80 | 0.0040457 | 0.0010139 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4280-21_0_6_load_62 | 81 | 0.0019322 | 0.00048425 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4280-21_0_6_load_63 | 82 | 0.0037679 | 0.00094433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4280-21_0_6_load_64 | 83 | 0.007272 | 0.0018225 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4280-21_0_6_load_65 | 84 | 0.0061565 | 0.001543 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4280-21_0_6_load_66 | 85 | 0.0023738 | 0.00059493 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4280-21_0_6_load_100 | 87 | 0.0011848 | 0.00029693 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4280-21_0_6_load_102 | 88 | 0.0063875 | 0.0016009 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4280-21_0_6_load_106 | 89 | 0.0017433 | 0.00043692 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4280-21_0_6_load_103 | 90 | 0.0050495 | 0.0012655 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4280-21_0_6_load_108 | 91 | 0.018624 | 0.0046675 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4280-21_0_6_load_73 | 92 | 0.0055963 | 0.0014026 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4280-21_0_6_load_76 | 93 | 0.013493 | 0.0033816 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4280-21_0_6_load_79 | 96 | 0.016139 | 0.0040448 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4280-21_0_6_load_81 | 97 | 0.013657 | 0.0034229 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4280-21_0_6_load_82 | 98 | 0.015916 | 0.003989 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4280-21_0_6_load_112 | 102 | 0.00042619 | 0.00010681 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4280-21_0_6_load_111 | 103 | 0.012967 | 0.0032498 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4280-21_0_6_load_94 | 105 | 0.0095978 | 0.0024054 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4280-21_0_6_load_89 | 107 | 0.0018342 | 0.00045968 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4280-21_0_6_load_90 | 108 | 0.01058 | 0.0026517 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4280-21_0_6_load_91 | 109 | 0.013164 | 0.0032993 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4280-21_0_6_line_0 |  | 0 | 1 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4280-21_0_6_line_1 |  | 0 | 2 | 0.014693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4280-21_0_6_line_2 |  | 1 | 3 | 0.029844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4280-21_0_6_line_3 |  | 2 | 4 | 0.020974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4280-21_0_6_line_4 |  | 3 | 5 | 0.030994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4280-21_0_6_line_5 |  | 3 | 6 | 0.073569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4280-21_0_6_line_6 |  | 4 | 7 | 0.008787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4280-21_0_6_line_7 |  | 5 | 8 | 0.010634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4280-21_0_6_line_8 |  | 5 | 9 | 0.0096956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4280-21_0_6_line_9 |  | 6 | 10 | 0.033223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4280-21_0_6_line_10 |  | 7 | 11 | 0.01916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4280-21_0_6_line_11 |  | 7 | 12 | 0.018735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4280-21_0_6_line_12 |  | 8 | 24 | 0.016548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4280-21_0_6_line_13 |  | 9 | 25 | 0.021515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4280-21_0_6_line_14 |  | 10 | 20 | 0.0089941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4280-21_0_6_line_15 |  | 10 | 16 | 0.007317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4280-21_0_6_line_16 |  | 11 | 23 | 0.024106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4280-21_0_6_line_17 |  | 12 | 15 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4280-21_0_6_line_18 |  | 13 | 14 | 0.034204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4280-21_0_6_line_19 |  | 13 | 15 | 0.031448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4280-21_0_6_line_20 |  | 17 | 18 | 0.021129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4280-21_0_6_line_21 |  | 17 | 19 | 0.036445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4280-21_0_6_line_22 |  | 18 | 20 | 0.015883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4280-21_0_6_line_23 |  | 19 | 21 | 0.069472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4280-21_0_6_line_24 |  | 21 | 22 | 0.067143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4280-21_0_6_line_25 |  | 22 | 74 | 0.043429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4280-21_0_6_line_26 |  | 25 | 38 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4280-21_0_6_line_27 |  | 26 | 27 | 0.038998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4280-21_0_6_line_28 |  | 26 | 28 | 0.051245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4280-21_0_6_line_29 |  | 27 | 29 | 0.24236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4280-21_0_6_line_30 |  | 28 | 30 | 0.00649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4280-21_0_6_line_31 |  | 29 | 31 | 0.046052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4280-21_0_6_line_32 |  | 31 | 72 | 0.035436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4280-21_0_6_line_33 |  | 32 | 33 | 0.018609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4280-21_0_6_line_34 |  | 32 | 34 | 0.0038071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4280-21_0_6_line_35 |  | 33 | 35 | 0.0065371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4280-21_0_6_line_36 |  | 34 | 36 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4280-21_0_6_line_37 |  | 35 | 37 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4280-21_0_6_line_38 |  | 36 | 38 | 0.0027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4280-21_0_6_line_39 |  | 37 | 39 | 0.0024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4280-21_0_6_line_40 |  | 38 | 40 | 0.016005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4280-21_0_6_line_41 |  | 39 | 76 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4280-21_0_6_line_42 |  | 40 | 62 | 0.0088806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4280-21_0_6_line_43 |  | 41 | 42 | 0.021032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4280-21_0_6_line_44 |  | 42 | 46 | 0.032522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4280-21_0_6_line_45 |  | 42 | 47 | 0.0064925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4280-21_0_6_line_46 |  | 43 | 44 | 0.033907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4280-21_0_6_line_47 |  | 43 | 45 | 0.018801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4280-21_0_6_line_48 |  | 44 | 48 | 0.024876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4280-21_0_6_line_49 |  | 45 | 46 | 0.0202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4280-21_0_6_line_50 |  | 47 | 49 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4280-21_0_6_line_51 |  | 48 | 53 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4280-21_0_6_line_52 |  | 49 | 56 | 0.025051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_4280-21_0_6_line_53 |  | 50 | 51 | 0.030026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_4280-21_0_6_line_54 |  | 50 | 52 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_4280-21_0_6_line_55 |  | 51 | 91 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4280-21_0_6_line_56 |  | 51 | 64 | 0.005305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_4280-21_0_6_line_57 |  | 52 | 70 | 0.019779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_4280-21_0_6_line_58 |  | 53 | 79 | 0.017458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4280-21_0_6_line_59 |  | 54 | 55 | 0.016919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4280-21_0_6_line_60 |  | 55 | 71 | 0.030096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_4280-21_0_6_line_61 |  | 55 | 78 | 0.033641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_4280-21_0_6_line_62 |  | 56 | 78 | 0.023153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_4280-21_0_6_line_63 |  | 57 | 58 | 0.023697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_4280-21_0_6_line_64 |  | 57 | 59 | 0.019554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_4280-21_0_6_line_65 |  | 58 | 60 | 0.020349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4280-21_0_6_line_66 |  | 59 | 61 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4280-21_0_6_line_67 |  | 60 | 62 | 0.031011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_4280-21_0_6_line_68 |  | 61 | 63 | 0.014157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4280-21_0_6_line_69 |  | 63 | 64 | 0.046255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4280-21_0_6_line_70 |  | 64 | 86 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4280-21_0_6_line_71 |  | 65 | 66 | 0.02433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4280-21_0_6_line_72 |  | 65 | 67 | 0.0073325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_4280-21_0_6_line_73 |  | 66 | 68 | 0.023902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4280-21_0_6_line_74 |  | 67 | 69 | 0.017134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4280-21_0_6_line_75 |  | 68 | 70 | 0.0073795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_4280-21_0_6_line_76 |  | 69 | 71 | 0.029548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4280-21_0_6_line_77 |  | 71 | 72 | 0.046061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4280-21_0_6_line_78 |  | 72 | 92 | 0.029517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4280-21_0_6_line_79 |  | 73 | 74 | 0.025418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4280-21_0_6_line_80 |  | 74 | 75 | 0.022934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4280-21_0_6_line_81 |  | 76 | 77 | 0.026378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4280-21_0_6_line_82 |  | 79 | 80 | 0.023845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4280-21_0_6_line_83 |  | 81 | 82 | 0.018281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_4280-21_0_6_line_84 |  | 81 | 83 | 0.0025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_4280-21_0_6_line_85 |  | 82 | 84 | 0.0045211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_4280-21_0_6_line_86 |  | 83 | 85 | 0.025488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_4280-21_0_6_line_87 |  | 84 | 86 | 0.0063066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4280-21_0_6_line_88 |  | 85 | 87 | 0.0012425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_4280-21_0_6_line_89 |  | 86 | 88 | 0.013447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4280-21_0_6_line_90 |  | 87 | 89 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_4280-21_0_6_line_91 |  | 88 | 90 | 0.015701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4280-21_0_6_line_92 |  | 89 | 110 | 0.014911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_4280-21_0_6_line_93 |  | 93 | 94 | 0.040076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4280-21_0_6_line_94 |  | 93 | 95 | 0.041991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4280-21_0_6_line_95 |  | 94 | 96 | 0.02727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4280-21_0_6_line_96 |  | 95 | 97 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4280-21_0_6_line_97 |  | 95 | 98 | 0.01177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4280-21_0_6_line_98 |  | 96 | 99 | 0.0040616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4280-21_0_6_line_99 |  | 97 | 103 | 0.037278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4280-21_0_6_line_100 |  | 99 | 104 | 0.034392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4280-21_0_6_line_101 |  | 99 | 105 | 0.021424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4280-21_0_6_line_102 |  | 100 | 101 | 0.034066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_4280-21_0_6_line_103 |  | 100 | 102 | 0.0053753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_4280-21_0_6_line_104 |  | 101 | 105 | 0.015253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4280-21_0_6_line_105 |  | 102 | 106 | 0.018936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_4280-21_0_6_line_106 |  | 104 | 108 | 0.022893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4280-21_0_6_line_107 |  | 106 | 110 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
108 | LV_4280-21_0_6_line_108 |  | 106 | 109 | 0.029616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4280-21_0_6_line_109 |  | 107 | 108 | 0.022339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4280-21_0_6_trafo_37 | 0.63 MVA 20/0.4 kV | 111 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2637272.7767 | 1239317.5661 | 2637254.4431 | 1239296.6703
1 | 2637244.7527 | 1239285.6257 | 2637254.4431 | 1239296.6703
2 | 2637286.5408 | 1239291.0689 | 2637272.7767 | 1239317.5661
3 | 2637244.7527 | 1239285.6257 | 2637230.9192 | 1239269.86
4 | 2637286.5408 | 1239291.0689 | 2637314.7974 | 1239303.9877
5 | 2637286.5408 | 1239291.0689 | 2637305.3584 | 1239247.4814 | 2637306.8319 | 1239244.0774 | 2637316.0353 | 1239223.673
6 | 2637225.1238 | 1239263.2551 | 2637230.9192 | 1239269.86
7 | 2637314.7974 | 1239303.9877 | 2637316.5128 | 1239296.9718 | 2637313.6724 | 1239295.082
8 | 2637314.7974 | 1239303.9877 | 2637318.6242 | 1239308.8037 | 2637320.6668 | 1239311.7003
9 | 2637329.6952 | 1239193.3886 | 2637316.0353 | 1239223.673
10 | 2637211.4057 | 1239249.8385 | 2637225.1238 | 1239263.2551
11 | 2637225.1238 | 1239263.2551 | 2637228.1827 | 1239260.2724 | 2637234.9897 | 1239247.5125
12 | 2637306.7964 | 1239282.2459 | 2637306.7447 | 1239290.473 | 2637313.6724 | 1239295.082
13 | 2637320.6668 | 1239311.7003 | 2637333.0666 | 1239329.2831
14 | 2637329.6952 | 1239193.3886 | 2637337.9235 | 1239197.0204
15 | 2637329.6952 | 1239193.3886 | 2637332.722 | 1239186.727
16 | 2637211.4057 | 1239249.8385 | 2637194.165 | 1239232.9908
17 | 2637234.9897 | 1239247.5125 | 2637240.2933 | 1239237.5708
18 | 2637255.0953 | 1239209.8239 | 2637271.1942 | 1239179.6459
19 | 2637255.0953 | 1239209.8239 | 2637240.2933 | 1239237.5708
20 | 2637341.4671 | 1239167.4794 | 2637349.2436 | 1239170.8082 | 2637344.2205 | 1239182.4394
21 | 2637356.8689 | 1239134.4329 | 2637341.4671 | 1239167.4794
22 | 2637344.2205 | 1239182.4394 | 2637337.9235 | 1239197.0204 | 2637337.9235 | 1239197.0204
23 | 2637356.8689 | 1239134.4329 | 2637378.9959 | 1239145.6125 | 2637381.9507 | 1239168.8236 | 2637395.4944 | 1239185.2401
24 | 2637370.1587 | 1239245.9763 | 2637397.0446 | 1239187.1191 | 2637395.4944 | 1239185.2401
25 | 2637405.0657 | 1239269.2996 | 2637375.1759 | 1239255.1248 | 2637370.1587 | 1239245.9763
26 | 2637339.7369 | 1239346.4936 | 2637339.9076 | 1239341.0023 | 2637334.3282 | 1239331.0721 | 2637333.0666 | 1239329.2831
27 | 2637641.7618 | 1239734.5841 | 2637674.6252 | 1239755.581
28 | 2637717.8088 | 1239783.1717 | 2637674.6252 | 1239755.581
29 | 2637483.3471 | 1239551.1612 | 2637641.7618 | 1239734.5841
30 | 2637717.8088 | 1239783.1717 | 2637723.2778 | 1239786.6659
31 | 2637483.3471 | 1239551.1612 | 2637439.2435 | 1239537.9082
32 | 2637405.3065 | 1239527.7102 | 2637439.2435 | 1239537.9082
33 | 2637332.5404 | 1239364.2117 | 2637325.4781 | 1239381.4287
34 | 2637332.5404 | 1239364.2117 | 2637333.9852 | 1239360.6894
35 | 2637325.4781 | 1239381.4287 | 2637322.9973 | 1239387.4767
36 | 2637333.9852 | 1239360.6894 | 2637337.1014 | 1239353.0924 | 2637338.7124 | 1239349.0589
37 | 2637322.9973 | 1239387.4767 | 2637316.4372 | 1239403.4694
38 | 2637339.7369 | 1239346.4936 | 2637338.7124 | 1239349.0589
39 | 2637315.5244 | 1239405.6948 | 2637316.4372 | 1239403.4694
40 | 2637339.7369 | 1239346.4936 | 2637353.7332 | 1239354.2573
41 | 2637305.6991 | 1239423.251 | 2637311.4185 | 1239415.7043 | 2637315.5244 | 1239405.6948
42 | 2637361.6362 | 1239358.3037 | 2637355.895 | 1239355.4564 | 2637353.7332 | 1239354.2573
43 | 2637387.3468 | 1239412.168 | 2637393.6722 | 1239392.1102
44 | 2637387.3468 | 1239412.168 | 2637418.582 | 1239421.5372
45 | 2637387.3468 | 1239412.168 | 2637385.3938 | 1239418.3598
46 | 2637429.7227 | 1239384.1613 | 2637462.2478 | 1239394.0614
47 | 2637429.7227 | 1239384.1613 | 2637424.3522 | 1239402.1788
48 | 2637462.2478 | 1239394.0614 | 2637455.3614 | 1239417.9652
49 | 2637418.582 | 1239421.5372 | 2637424.3522 | 1239402.1788
50 | 2637385.3938 | 1239418.3598 | 2637380.4727 | 1239433.961
51 | 2637451.5083 | 1239431.3397 | 2637455.3614 | 1239417.9652
52 | 2637372.9369 | 1239457.8517 | 2637380.4727 | 1239433.961
53 | 2637525.0484 | 1239413.1697 | 2637496.2447 | 1239404.4046
54 | 2637496.2447 | 1239404.4046 | 2637490.6566 | 1239422.3693
55 | 2637525.0484 | 1239413.1697 | 2637520.0247 | 1239430.6462
56 | 2637525.0484 | 1239413.1697 | 2637526.6458 | 1239408.1099
57 | 2637484.7817 | 1239441.2558 | 2637490.6566 | 1239422.3693
58 | 2637451.5083 | 1239431.3397 | 2637449.6063 | 1239437.943 | 2637444.7403 | 1239436.0556 | 2637443.2752 | 1239441.2187
59 | 2637398.132 | 1239490.1078 | 2637402.9673 | 1239473.8945
60 | 2637398.132 | 1239490.1078 | 2637415.0384 | 1239495.4509 | 2637426.8276 | 1239499.1831
61 | 2637365.9721 | 1239479.9324 | 2637398.132 | 1239490.1078
62 | 2637365.9721 | 1239479.9324 | 2637372.9369 | 1239457.8517
63 | 2637432.8119 | 1239380.0232 | 2637410.1864 | 1239372.9797
64 | 2637432.8119 | 1239380.0232 | 2637451.482 | 1239385.8353
65 | 2637410.1864 | 1239372.9797 | 2637390.7572 | 1239366.9312
66 | 2637451.482 | 1239385.8353 | 2637468.6644 | 1239391.1843
67 | 2637390.7572 | 1239366.9312 | 2637376.7837 | 1239362.5811 | 2637372.0521 | 1239363.363 | 2637369.36 | 1239362.1342 | 2637361.6362 | 1239358.3037
68 | 2637482.1814 | 1239395.3923 | 2637468.6644 | 1239391.1843
69 | 2637526.6458 | 1239408.1099 | 2637498.6439 | 1239400.5172 | 2637482.1814 | 1239395.3923
70 | 2637548.6512 | 1239414.3973 | 2637526.6458 | 1239408.1099
71 | 2637462.8084 | 1239484.898 | 2637470.4957 | 1239461.8148
72 | 2637462.8084 | 1239484.898 | 2637460.4916 | 1239491.8548
73 | 2637482.5914 | 1239448.3028 | 2637478.2666 | 1239462.2169 | 2637471.073 | 1239460.0813 | 2637470.4957 | 1239461.8148
74 | 2637455.0778 | 1239508.1111 | 2637460.4916 | 1239491.8548
75 | 2637484.7817 | 1239441.2558 | 2637482.5914 | 1239448.3028
76 | 2637426.8276 | 1239499.1831 | 2637455.0778 | 1239508.1111
77 | 2637405.3065 | 1239527.7102 | 2637415.0384 | 1239495.4509 | 2637426.8276 | 1239499.1831
78 | 2637405.3065 | 1239527.7102 | 2637377.0326 | 1239519.2341
79 | 2637405.0657 | 1239269.2996 | 2637415.4434 | 1239246.0971
80 | 2637405.0657 | 1239269.2996 | 2637395.7016 | 1239290.2352
81 | 2637305.6991 | 1239423.251 | 2637319.7078 | 1239445.602
82 | 2637436.766 | 1239464.1583 | 2637443.2752 | 1239441.2187
83 | 2637560.1195 | 1239387.6431 | 2637552.9164 | 1239404.4451
84 | 2637560.1195 | 1239387.6431 | 2637561.1069 | 1239385.3399
85 | 2637552.9164 | 1239404.4451 | 2637551.2072 | 1239408.4319 | 2637551.135 | 1239408.6004
86 | 2637561.1069 | 1239385.3399 | 2637571.1497 | 1239361.9142
87 | 2637548.6512 | 1239414.3973 | 2637551.135 | 1239408.6004
88 | 2637571.6393 | 1239360.7723 | 2637571.1497 | 1239361.9142
89 | 2637548.6512 | 1239414.3973 | 2637543.1445 | 1239426.665
90 | 2637571.6393 | 1239360.7723 | 2637575.9543 | 1239350.707 | 2637581.819 | 1239337.1399
91 | 2637543.1445 | 1239426.665 | 2637541.878 | 1239429.4864 | 2637536.8002 | 1239441.0267
92 | 2637587.7355 | 1239323.453 | 2637581.819 | 1239337.1399
93 | 2637508.8266 | 1239295.7814 | 2637505.3399 | 1239295.8261 | 2637485.1663 | 1239289.2169 | 2637477.4935 | 1239289.8689 | 2637472.742 | 1239295.8768
94 | 2637438.5498 | 1239293.9372 | 2637468.8 | 1239304.8681 | 2637472.5763 | 1239296.0863 | 2637472.742 | 1239295.8768
95 | 2637508.8266 | 1239295.7814 | 2637498.8192 | 1239321.1492
96 | 2637438.5498 | 1239293.9372 | 2637437.4732 | 1239297.9552 | 2637432.5298 | 1239308.3418 | 2637425.9292 | 1239320.6989
97 | 2637438.5498 | 1239293.9372 | 2637441.6049 | 1239282.5703
98 | 2637497.3287 | 1239324.9274 | 2637498.8192 | 1239321.1492
99 | 2637441.811 | 1239343.5987 | 2637422.8158 | 1239337.6994 | 2637425.0069 | 1239322.4256 | 2637425.9292 | 1239320.6989
100 | 2637484.7164 | 1239356.9238 | 2637494.8615 | 1239331.1936 | 2637497.3287 | 1239324.9274
101 | 2637497.3287 | 1239324.9274 | 2637517.462 | 1239332.2504
102 | 2637531.7961 | 1239337.4641 | 2637540.771 | 1239315.0509 | 2637548.8395 | 1239309.2315
103 | 2637548.8395 | 1239309.2315 | 2637553.8878 | 1239311.0776
104 | 2637531.7961 | 1239337.4641 | 2637517.462 | 1239332.2504
105 | 2637571.6716 | 1239317.5811 | 2637553.8878 | 1239311.0776
106 | 2637484.7164 | 1239356.9238 | 2637506.5804 | 1239363.7098
107 | 2637587.7355 | 1239323.453 | 2637571.6716 | 1239317.5811
108 | 2637571.6716 | 1239317.5811 | 2637560.8039 | 1239345.1309
109 | 2637528.0954 | 1239365.7971 | 2637519.5273 | 1239367.7281 | 2637506.5804 | 1239363.7098

## bus_geodata
| x | y | coords
0 | 2637254.4431 | 1239296.6703
1 | 2637272.7767 | 1239317.5661
2 | 2637244.7527 | 1239285.6257
3 | 2637286.5408 | 1239291.0689
4 | 2637230.9192 | 1239269.86
5 | 2637314.7974 | 1239303.9877
6 | 2637316.0353 | 1239223.673
7 | 2637225.1238 | 1239263.2551
8 | 2637313.6724 | 1239295.082
9 | 2637320.6668 | 1239311.7003
10 | 2637329.6952 | 1239193.3886
11 | 2637211.4057 | 1239249.8385
12 | 2637234.9897 | 1239247.5125
13 | 2637255.0953 | 1239209.8239
14 | 2637271.1942 | 1239179.6459
15 | 2637240.2933 | 1239237.5708
16 | 2637332.722 | 1239186.727
17 | 2637341.4671 | 1239167.4794
18 | 2637344.2205 | 1239182.4394
19 | 2637356.8689 | 1239134.4329
20 | 2637337.9235 | 1239197.0204
21 | 2637395.4944 | 1239185.2401
22 | 2637370.1587 | 1239245.9763
23 | 2637194.165 | 1239232.9908
24 | 2637306.7964 | 1239282.2459
25 | 2637333.0666 | 1239329.2831
26 | 2637674.6252 | 1239755.581
27 | 2637641.7618 | 1239734.5841
28 | 2637717.8088 | 1239783.1717
29 | 2637483.3471 | 1239551.1612
30 | 2637723.2778 | 1239786.6659
31 | 2637439.2435 | 1239537.9082
32 | 2637332.5404 | 1239364.2117
33 | 2637325.4781 | 1239381.4287
34 | 2637333.9852 | 1239360.6894
35 | 2637322.9973 | 1239387.4767
36 | 2637338.7124 | 1239349.0589
37 | 2637316.4372 | 1239403.4694
38 | 2637339.7369 | 1239346.4936
39 | 2637315.5244 | 1239405.6948
40 | 2637353.7332 | 1239354.2573
41 | 2637393.6722 | 1239392.1102
42 | 2637387.3468 | 1239412.168
43 | 2637429.7227 | 1239384.1613
44 | 2637462.2478 | 1239394.0614
45 | 2637424.3522 | 1239402.1788
46 | 2637418.582 | 1239421.5372
47 | 2637385.3938 | 1239418.3598
48 | 2637455.3614 | 1239417.9652
49 | 2637380.4727 | 1239433.961
50 | 2637496.2447 | 1239404.4046
51 | 2637525.0484 | 1239413.1697
52 | 2637490.6566 | 1239422.3693
53 | 2637451.5083 | 1239431.3397
54 | 2637402.9673 | 1239473.8945
55 | 2637398.132 | 1239490.1078
56 | 2637372.9369 | 1239457.8517
57 | 2637432.8119 | 1239380.0232
58 | 2637410.1864 | 1239372.9797
59 | 2637451.482 | 1239385.8353
60 | 2637390.7572 | 1239366.9312
61 | 2637468.6644 | 1239391.1843
62 | 2637361.6362 | 1239358.3037
63 | 2637482.1814 | 1239395.3923
64 | 2637526.6458 | 1239408.1099
65 | 2637462.8084 | 1239484.898
66 | 2637470.4957 | 1239461.8148
67 | 2637460.4916 | 1239491.8548
68 | 2637482.5914 | 1239448.3028
69 | 2637455.0778 | 1239508.1111
70 | 2637484.7817 | 1239441.2558
71 | 2637426.8276 | 1239499.1831
72 | 2637405.3065 | 1239527.7102
73 | 2637415.4434 | 1239246.0971
74 | 2637405.0657 | 1239269.2996
75 | 2637395.7016 | 1239290.2352
76 | 2637305.6992 | 1239423.251
77 | 2637319.7078 | 1239445.602
78 | 2637365.9721 | 1239479.9324
79 | 2637443.2752 | 1239441.2187
80 | 2637436.766 | 1239464.1583
81 | 2637560.1195 | 1239387.6431
82 | 2637552.9164 | 1239404.4451
83 | 2637561.1069 | 1239385.3399
84 | 2637551.135 | 1239408.6004
85 | 2637571.1497 | 1239361.9143
86 | 2637548.6512 | 1239414.3973
87 | 2637571.6393 | 1239360.7723
88 | 2637543.1445 | 1239426.665
89 | 2637581.819 | 1239337.1399
90 | 2637536.8002 | 1239441.0267
91 | 2637520.0247 | 1239430.6462
92 | 2637377.0326 | 1239519.2341
93 | 2637472.742 | 1239295.8768
94 | 2637508.8266 | 1239295.7814
95 | 2637438.5498 | 1239293.9372
96 | 2637498.8192 | 1239321.1492
97 | 2637425.9292 | 1239320.6989
98 | 2637441.6049 | 1239282.5703
99 | 2637497.3287 | 1239324.9274
100 | 2637548.8395 | 1239309.2315
101 | 2637531.7961 | 1239337.4641
102 | 2637553.8878 | 1239311.0776
103 | 2637441.811 | 1239343.5987
104 | 2637484.7164 | 1239356.9238
105 | 2637517.462 | 1239332.2504
106 | 2637571.6716 | 1239317.5811
107 | 2637528.0954 | 1239365.7971
108 | 2637506.5804 | 1239363.7098
109 | 2637560.8039 | 1239345.1309
110 | 2637587.7355 | 1239323.453
111 | 2637526.6458 | 1239408.1099

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1