## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4280-25_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4280-25_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4280-25_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4280-25_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_4280-25_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_4280-25_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_4280-25_0_4_node_70 | 0.4 | n |  | TRUE
7 | bus_LV_4280-25_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_4280-25_0_4_node_47 | 0.4 | n |  | TRUE
9 | bus_LV_4280-25_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_4280-25_0_4_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_4280-25_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_4280-25_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_4280-25_0_4_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_4280-25_0_4_node_67 | 0.4 | n |  | TRUE
15 | bus_LV_4280-25_0_4_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_4280-25_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_4280-25_0_4_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_4280-25_0_4_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_4280-25_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_4280-25_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_4280-25_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_4280-25_0_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_4280-25_0_4_node_57 | 0.4 | n |  | TRUE
24 | bus_LV_4280-25_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_4280-25_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_4280-25_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_4280-25_0_4_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_4280-25_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_4280-25_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_4280-25_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_4280-25_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_4280-25_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_4280-25_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4280-25_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_4280-25_0_4_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_4280-25_0_4_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4280-25_0_4_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_4280-25_0_4_node_87 | 0.4 | n |  | TRUE
39 | bus_LV_4280-25_0_4_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_4280-25_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_4280-25_0_4_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_4280-25_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4280-25_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_4280-25_0_4_node_65 | 0.4 | n |  | TRUE
45 | bus_LV_4280-25_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_4280-25_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_4280-25_0_4_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_4280-25_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_4280-25_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4280-25_0_4_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_4280-25_0_4_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_4280-25_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_4280-25_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_4280-25_0_4_node_68 | 0.4 | n |  | TRUE
55 | bus_LV_4280-25_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_4280-25_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_4280-25_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_4280-25_0_4_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_4280-25_0_4_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_4280-25_0_4_node_81 | 0.4 | n |  | TRUE
61 | bus_LV_4280-25_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_4280-25_0_4_node_73 | 0.4 | n |  | TRUE
63 | bus_LV_4280-25_0_4_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_4280-25_0_4_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_4280-25_0_4_node_79 | 0.4 | n |  | TRUE
66 | bus_LV_4280-25_0_4_node_80 | 0.4 | n |  | TRUE
67 | bus_LV_4280-25_0_4_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_4280-25_0_4_node_85 | 0.4 | n |  | TRUE
69 | bus_LV_4280-25_0_4_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_4280-25_0_4_node_46 | 0.4 | n |  | TRUE
71 | bus_LV_4280-25_0_4_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_4280-25_0_4_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_4280-25_0_4_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_4280-25_0_4_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_4280-25_0_4_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_4280-25_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4280-25_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4280-25_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_4280-25_0_4_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_4280-25_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_4280-25_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_MV_436_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4280-25_0_4_load_0 | 0 | 0.01324 | 0.0033182 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4280-25_0_4_load_3 | 2 | 0.0062568 | 0.0015681 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4280-25_0_4_load_70 | 6 | 0.00025804 | 6.467e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4280-25_0_4_load_47 | 8 | 0.014509 | 0.0036364 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4280-25_0_4_load_63 | 10 | 0.017623 | 0.0044167 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4280-25_0_4_load_13 | 11 | 0.0034111 | 0.00085489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4280-25_0_4_load_69 | 12 | 0.00019228 | 4.8191e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4280-25_0_4_load_45 | 13 | 0.00666 | 0.0016692 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4280-25_0_4_load_67 | 14 | 0.0098802 | 0.0024762 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4280-25_0_4_load_8 | 17 | 0.0012807 | 0.00032098 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4280-25_0_4_load_9 | 18 | 0.0020747 | 0.00051996 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4280-25_0_4_load_11 | 20 | 0.00065832 | 0.00016499 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4280-25_0_4_load_12 | 21 | 0.00055138 | 0.00013819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4280-25_0_4_load_57 | 23 | 0.00089077 | 0.00022325 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4280-25_0_4_load_42 | 24 | 0.00046092 | 0.00011552 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4280-25_0_4_load_58 | 25 | 0.00074033 | 0.00018554 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4280-25_0_4_load_50 | 27 | 0.0006081 | 0.0001524 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4280-25_0_4_load_49 | 28 | 0.00064021 | 0.00016045 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4280-25_0_4_load_16 | 29 | 0.0025416 | 0.00063698 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4280-25_0_4_load_17 | 30 | 0.0027091 | 0.00067895 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4280-25_0_4_load_18 | 31 | 0.0058298 | 0.0014611 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4280-25_0_4_load_19 | 32 | 0.0015918 | 0.00039895 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4280-25_0_4_load_35 | 36 | 0.034404 | 0.0086224 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4280-25_0_4_load_36 | 37 | 0.00109 | 0.00027318 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4280-25_0_4_load_87 | 38 | 0.0003101 | 7.7719e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4280-25_0_4_load_21 | 40 | 0.037127 | 0.0093049 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4280-25_0_4_load_28 | 43 | 0.002011 | 0.000504 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4280-25_0_4_load_65 | 44 | 0.0019829 | 0.00049696 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4280-25_0_4_load_33 | 45 | 0.026984 | 0.0067627 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4280-25_0_4_load_39 | 46 | 0.001657 | 0.00041529 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4280-25_0_4_load_66 | 47 | 0.0048635 | 0.0012189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4280-25_0_4_load_31 | 48 | 0.0023583 | 0.00059105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4280-25_0_4_load_37 | 49 | 0.051909 | 0.01301 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4280-25_0_4_load_29 | 50 | 0.0056104 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4280-25_0_4_load_30 | 51 | 0.0034879 | 0.00087415 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4280-25_0_4_load_32 | 52 | 0.0011519 | 0.00028868 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4280-25_0_4_load_75 | 53 | 0.0036104 | 0.00090486 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4280-25_0_4_load_60 | 55 | 0.0011634 | 0.00029157 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4280-25_0_4_load_59 | 56 | 0.0014879 | 0.0003729 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4280-25_0_4_load_38 | 57 | 0.0021621 | 0.00054186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4280-25_0_4_load_84 | 58 | 0.0013515 | 0.00033872 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4280-25_0_4_load_83 | 59 | 0.0013911 | 0.00034863 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4280-25_0_4_load_81 | 60 | 0.0022171 | 0.00055566 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4280-25_0_4_load_74 | 61 | 0.010395 | 0.0026053 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4280-25_0_4_load_73 | 62 | 0.010034 | 0.0025148 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4280-25_0_4_load_77 | 63 | 0.0023807 | 0.00059665 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4280-25_0_4_load_80 | 66 | 0.0029723 | 0.00074493 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4280-25_0_4_load_82 | 67 | 0.0018229 | 0.00045687 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4280-25_0_4_load_85 | 68 | 0.002842 | 0.00071228 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4280-25_0_4_load_43 | 69 | 0.00053136 | 0.00013317 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4280-25_0_4_load_46 | 70 | 0.0040713 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4280-25_0_4_load_71 | 72 | 0.0031144 | 0.00078053 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4280-25_0_4_load_72 | 73 | 0.044256 | 0.011092 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4280-25_0_4_load_51 | 74 | 0.00052791 | 0.00013231 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4280-25_0_4_load_52 | 75 | 0.00070011 | 0.00017547 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4280-25_0_4_load_53 | 77 | 0.00057398 | 0.00014385 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4280-25_0_4_load_54 | 78 | 0.00067766 | 0.00016984 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4280-25_0_4_load_56 | 79 | 0.00056243 | 0.00014096 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4280-25_0_4_load_61 | 80 | 0.000896 | 0.00022456 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4280-25_0_4_line_0 |  | 0 | 1 | 0.038408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4280-25_0_4_line_1 |  | 1 | 2 | 0.029216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4280-25_0_4_line_2 |  | 1 | 3 | 0.02093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4280-25_0_4_line_3 |  | 2 | 4 | 0.050025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4280-25_0_4_line_4 |  | 3 | 7 | 0.046951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4280-25_0_4_line_5 |  | 3 | 8 | 0.013198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4280-25_0_4_line_6 |  | 3 | 5 | 0.084956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4280-25_0_4_line_7 |  | 4 | 11 | 0.021749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4280-25_0_4_line_8 |  | 5 | 6 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4280-25_0_4_line_9 |  | 6 | 12 | 0.024425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4280-25_0_4_line_10 |  | 7 | 9 | 0.021435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4280-25_0_4_line_11 |  | 7 | 10 | 0.017137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4280-25_0_4_line_12 |  | 8 | 13 | 0.033475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4280-25_0_4_line_13 |  | 9 | 14 | 0.01779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4280-25_0_4_line_14 |  | 10 | 15 | 0.015715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4280-25_0_4_line_15 |  | 11 | 16 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4280-25_0_4_line_16 |  | 13 | 70 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4280-25_0_4_line_17 |  | 14 | 47 | 0.03341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4280-25_0_4_line_18 |  | 15 | 39 | 0.026536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_4280-25_0_4_line_19 |  | 16 | 26 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4280-25_0_4_line_20 |  | 17 | 18 | 0.019208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4280-25_0_4_line_21 |  | 17 | 19 | 0.03823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4280-25_0_4_line_22 |  | 19 | 20 | 0.010218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4280-25_0_4_line_23 |  | 19 | 21 | 0.017646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4280-25_0_4_line_24 |  | 20 | 22 | 0.027933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4280-25_0_4_line_25 |  | 21 | 23 | 0.0027581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4280-25_0_4_line_26 |  | 22 | 24 | 0.047823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4280-25_0_4_line_27 |  | 23 | 25 | 0.0096027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4280-25_0_4_line_28 |  | 24 | 69 | 0.013823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4280-25_0_4_line_29 |  | 25 | 79 | 0.007417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4280-25_0_4_line_30 |  | 26 | 27 | 0.008139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4280-25_0_4_line_31 |  | 27 | 28 | 0.0010743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4280-25_0_4_line_32 |  | 28 | 74 | 0.00047214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4280-25_0_4_line_33 |  | 29 | 30 | 0.022835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4280-25_0_4_line_34 |  | 29 | 31 | 0.035742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4280-25_0_4_line_35 |  | 30 | 32 | 0.028917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4280-25_0_4_line_36 |  | 31 | 33 | 0.012331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4280-25_0_4_line_37 |  | 32 | 34 | 0.039893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4280-25_0_4_line_38 |  | 33 | 35 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4280-25_0_4_line_39 |  | 34 | 36 | 0.0086277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4280-25_0_4_line_40 |  | 34 | 37 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4280-25_0_4_line_41 |  | 35 | 38 | 0.020324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4280-25_0_4_line_42 |  | 36 | 55 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4280-25_0_4_line_43 |  | 39 | 40 | 0.038643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4280-25_0_4_line_44 |  | 40 | 41 | 0.042406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_4280-25_0_4_line_45 |  | 41 | 42 | 0.006895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_4280-25_0_4_line_46 |  | 41 | 43 | 0.035504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4280-25_0_4_line_47 |  | 42 | 44 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4280-25_0_4_line_48 |  | 42 | 45 | 0.050647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_4280-25_0_4_line_49 |  | 43 | 46 | 0.025751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4280-25_0_4_line_50 |  | 45 | 48 | 0.08699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_4280-25_0_4_line_51 |  | 46 | 49 | 0.023678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4280-25_0_4_line_52 |  | 48 | 50 | 0.041103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4280-25_0_4_line_53 |  | 49 | 57 | 0.026813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4280-25_0_4_line_54 |  | 50 | 51 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4280-25_0_4_line_55 |  | 51 | 52 | 0.025006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4280-25_0_4_line_56 |  | 52 | 53 | 0.015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4280-25_0_4_line_57 |  | 53 | 54 | 0.034545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4280-25_0_4_line_58 |  | 54 | 81 | 0.01744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4280-25_0_4_line_59 |  | 55 | 56 | 0.026037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4280-25_0_4_line_60 |  | 56 | 80 | 0.013448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4280-25_0_4_line_61 |  | 57 | 58 | 0.036173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4280-25_0_4_line_62 |  | 58 | 59 | 0.0094635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4280-25_0_4_line_63 |  | 59 | 60 | 0.013443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4280-25_0_4_line_64 |  | 60 | 65 | 0.011013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4280-25_0_4_line_65 |  | 61 | 62 | 0.0042189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4280-25_0_4_line_66 |  | 62 | 73 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4280-25_0_4_line_67 |  | 63 | 64 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4280-25_0_4_line_68 |  | 63 | 65 | 0.005233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4280-25_0_4_line_69 |  | 64 | 66 | 0.03839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4280-25_0_4_line_70 |  | 65 | 67 | 0.01554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4280-25_0_4_line_71 |  | 66 | 68 | 0.017937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4280-25_0_4_line_72 |  | 70 | 71 | 0.03874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4280-25_0_4_line_73 |  | 71 | 72 | 0.021777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4280-25_0_4_line_74 |  | 72 | 73 | 0.03673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4280-25_0_4_line_75 |  | 74 | 75 | 0.0003006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4280-25_0_4_line_76 |  | 75 | 76 | 0.008119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4280-25_0_4_line_77 |  | 76 | 77 | 0.012496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4280-25_0_4_line_78 |  | 77 | 78 | 0.0028361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4280-25_0_4_line_79 |  | 78 | 79 | 0.0018488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4280-25_0_4_line_80 |  | 80 | 81 | 0.089015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4280-25_0_4_trafo_22 | 0.63 MVA 20/0.4 kV | 82 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2637192.508 | 1240107.1224 | 2637163.8767 | 1240081.5208
1 | 2637192.508 | 1240107.1224 | 2637210.039 | 1240083.7502
2 | 2637179.949 | 1240123.8656 | 2637182.3586 | 1240120.6564 | 2637192.508 | 1240107.1224
3 | 2637240.0002 | 1240043.6903 | 2637234.1583 | 1240051.5921 | 2637220.5391 | 1240069.7517 | 2637210.039 | 1240083.7502
4 | 2637152.5865 | 1240162.0189 | 2637157.7357 | 1240154.802 | 2637158.1324 | 1240154.2486 | 2637171.4444 | 1240135.5754 | 2637179.949 | 1240123.8656
5 | 2637179.949 | 1240123.8656 | 2637186.2795 | 1240128.4859 | 2637191.6309 | 1240128.1666
6 | 2637123.6463 | 1240065.4875 | 2637126.6734 | 1240066.3181 | 2637145.5985 | 1240084.7814 | 2637173.0615 | 1240111.5813 | 2637182.3586 | 1240120.6564 | 2637179.949 | 1240123.8656
7 | 2637240.0002 | 1240043.6903 | 2637250.9975 | 1240028.8275 | 2637252.7006 | 1240026.0473
8 | 2637123.6463 | 1240065.4875 | 2637121.1929 | 1240064.8162 | 2637115.0705 | 1240065.6118 | 2637111.9409 | 1240068.9728
9 | 2637095.2965 | 1240086.8482 | 2637111.9409 | 1240068.9728
10 | 2637152.5865 | 1240162.0189 | 2637135.6858 | 1240148.7715
11 | 2637152.5865 | 1240162.0189 | 2637149.2782 | 1240167.4683 | 2637147.2357 | 1240171.2246 | 2637144.2926 | 1240177.0045
12 | 2637225.0461 | 1240126.1729 | 2637191.6309 | 1240128.1666
13 | 2637135.6858 | 1240148.7715 | 2637121.6841 | 1240137.7971
14 | 2637137.6585 | 1240191.2442 | 2637141.6318 | 1240182.23 | 2637144.2926 | 1240177.0045
15 | 2637264.3294 | 1240007.0639 | 2637252.7006 | 1240026.0473
16 | 2637225.0461 | 1240126.1729 | 2637241.9025 | 1240125.1672
17 | 2637098.516 | 1240140.4785 | 2637108.3029 | 1240127.3089 | 2637121.6841 | 1240137.7971
18 | 2637137.6585 | 1240191.2442 | 2637128.8892 | 1240216.2944
19 | 2637274.561 | 1239988.9387 | 2637270.88 | 1239995.9089 | 2637264.3294 | 1240007.0639
20 | 2637276.6664 | 1239897.9679 | 2637262.7424 | 1239884.7366
21 | 2637305.2818 | 1239923.2117 | 2637296.9407 | 1239917.2333 | 2637276.6664 | 1239897.9679
22 | 2637305.2818 | 1239923.2117 | 2637310.3987 | 1239914.367
23 | 2637305.2818 | 1239923.2117 | 2637299.1257 | 1239939.7492
24 | 2637324.3867 | 1239890.1883 | 2637310.3987 | 1239914.367
25 | 2637298.1635 | 1239942.334 | 2637299.1257 | 1239939.7492
26 | 2637324.3867 | 1239890.1883 | 2637334.0787 | 1239895.3969 | 2637353.2461 | 1239904.1785 | 2637357.4969 | 1239906.44 | 2637360.9742 | 1239909.0302 | 2637364.9162 | 1239912.2904 | 2637365.9903 | 1239913.2948
27 | 2637298.1635 | 1239942.334 | 2637295.1903 | 1239950.3212 | 2637294.6778 | 1239951.2719
28 | 2637365.9903 | 1239913.2948 | 2637376.0869 | 1239922.7361
29 | 2637291.1582 | 1239957.8007 | 2637294.6778 | 1239951.2719
30 | 2637274.561 | 1239988.9387 | 2637278.3591 | 1239981.7402
31 | 2637278.8604 | 1239980.7901 | 2637278.3591 | 1239981.7402
32 | 2637278.8604 | 1239980.7901 | 2637279.0807 | 1239980.3725
33 | 2636979.0589 | 1240150.2032 | 2636964.1695 | 1240167.5162
34 | 2637002.3642 | 1240123.1042 | 2636979.0589 | 1240150.2032
35 | 2636964.1695 | 1240167.5162 | 2636963.0869 | 1240168.775 | 2636946.2586 | 1240190.2168
36 | 2637013.5809 | 1240119.4466 | 2637009.603 | 1240119.5219 | 2637003.974 | 1240121.2324 | 2637002.3642 | 1240123.1042
37 | 2636918.4773 | 1240217.9848 | 2636929.5423 | 1240211.516 | 2636946.2586 | 1240190.2168
38 | 2637014.4346 | 1240103.8086 | 2637013.5809 | 1240119.4466
39 | 2636918.4773 | 1240217.9848 | 2636911.2827 | 1240222.1983 | 2636911.0281 | 1240222.3373
40 | 2636918.4773 | 1240217.9848 | 2636908.5976 | 1240204.6271
41 | 2637027.5829 | 1240088.2806 | 2637014.4346 | 1240103.8086
42 | 2636899.7716 | 1240228.4844 | 2636911.0281 | 1240222.3373
43 | 2637128.8892 | 1240216.2944 | 2637124.3511 | 1240234.6222 | 2637121.8897 | 1240246.1364 | 2637120.2866 | 1240253.9608
44 | 2637115.8995 | 1240295.9752 | 2637116.0502 | 1240287.5931 | 2637116.5003 | 1240272.4417 | 2637120.2866 | 1240253.9608
45 | 2637115.8995 | 1240295.9752 | 2637109.0005 | 1240296.4436
46 | 2637115.8995 | 1240295.9752 | 2637147.3071 | 1240294.0258 | 2637151.3357 | 1240293.776
47 | 2637109.0005 | 1240296.4436 | 2637109.0085 | 1240308.4735 | 2637109.0241 | 1240310.171
48 | 2637109.0005 | 1240296.4436 | 2637088.9261 | 1240297.4411 | 2637067.177 | 1240299.0065 | 2637058.4575 | 1240299.6337
49 | 2637177.037 | 1240292.1826 | 2637151.3357 | 1240293.776
50 | 2637058.4575 | 1240299.6337 | 2637015.1231 | 1240302.7511 | 2636971.6778 | 1240305.671
51 | 2637177.037 | 1240292.1826 | 2637200.6696 | 1240290.7175
52 | 2636971.6778 | 1240305.671 | 2636930.6668 | 1240308.4272
53 | 2637227.4315 | 1240289.0586 | 2637222.7245 | 1240289.3502 | 2637200.6696 | 1240290.7175
54 | 2636908.1295 | 1240309.9419 | 2636930.6668 | 1240308.4272
55 | 2636883.1799 | 1240311.6187 | 2636908.1295 | 1240309.9419
56 | 2636883.1799 | 1240311.6187 | 2636867.4261 | 1240312.6775
57 | 2636832.959 | 1240314.9939 | 2636867.4261 | 1240312.6775
58 | 2636832.959 | 1240314.9939 | 2636815.5005 | 1240316.0642
59 | 2636876.9197 | 1240240.9637 | 2636899.7716 | 1240228.4844
60 | 2636876.9197 | 1240240.9637 | 2636876.9197 | 1240240.9637 | 2636864.768 | 1240246.7234
61 | 2637227.4315 | 1240289.0586 | 2637258.7722 | 1240307.1207
62 | 2637258.7722 | 1240307.1207 | 2637259.3579 | 1240315.0072 | 2637260.1484 | 1240316.3466
63 | 2637260.1484 | 1240316.3466 | 2637261.2284 | 1240318.1765 | 2637272.4904 | 1240317.0462
64 | 2637283.4503 | 1240315.97 | 2637279.1603 | 1240316.3767 | 2637272.4904 | 1240317.0462
65 | 2637286.6645 | 1240199.1939 | 2637286.9999 | 1240203.3994
66 | 2637285.2094 | 1240180.95 | 2637286.6645 | 1240199.1939
67 | 2637285.5464 | 1240341.0103 | 2637283.8868 | 1240321.1848
68 | 2637283.4503 | 1240315.97 | 2637283.8868 | 1240321.1848
69 | 2637285.5464 | 1240341.0103 | 2637313.198 | 1240330.2659 | 2637321.4269 | 1240327.3691
70 | 2637283.4503 | 1240315.97 | 2637282.4664 | 1240300.4609
71 | 2637338.5461 | 1240322.1549 | 2637333.5228 | 1240323.1111 | 2637321.4269 | 1240327.3691
72 | 2637280.5578 | 1240122.6283 | 2637268.7406 | 1240123.5659 | 2637241.9025 | 1240125.1672
73 | 2637280.5578 | 1240122.6283 | 2637282.2892 | 1240144.3365
74 | 2637285.2094 | 1240180.95 | 2637282.2892 | 1240144.3365
75 | 2637279.0807 | 1239980.3725 | 2637279.221 | 1239980.1067
76 | 2637283.0098 | 1239972.9259 | 2637279.221 | 1239980.1067
77 | 2637283.0098 | 1239972.9259 | 2637288.9363 | 1239961.9251
78 | 2637288.9363 | 1239961.9251 | 2637290.2814 | 1239959.4283
79 | 2637291.1582 | 1239957.8007 | 2637290.2814 | 1239959.4283
80 | 2636815.5005 | 1240316.0642 | 2636815.9839 | 1240303.9595 | 2636826.2567 | 1240284.9554 | 2636841.9042 | 1240262.5826 | 2636856.8452 | 1240250.4786 | 2636864.768 | 1240246.7234

## bus_geodata
| x | y | coords
0 | 2637163.8767 | 1240081.5208
1 | 2637192.508 | 1240107.1224
2 | 2637210.039 | 1240083.7502
3 | 2637179.949 | 1240123.8656
4 | 2637240.0002 | 1240043.6903
5 | 2637123.6463 | 1240065.4875
6 | 2637111.9409 | 1240068.9728
7 | 2637152.5865 | 1240162.0189
8 | 2637191.6309 | 1240128.1666
9 | 2637135.6858 | 1240148.7715
10 | 2637144.2926 | 1240177.0045
11 | 2637252.7006 | 1240026.0473
12 | 2637095.2965 | 1240086.8482
13 | 2637225.0461 | 1240126.1729
14 | 2637121.6841 | 1240137.7971
15 | 2637137.6585 | 1240191.2442
16 | 2637264.3294 | 1240007.0639
17 | 2637276.6664 | 1239897.9679
18 | 2637262.7424 | 1239884.7366
19 | 2637305.2818 | 1239923.2117
20 | 2637310.3987 | 1239914.367
21 | 2637299.1257 | 1239939.7492
22 | 2637324.3867 | 1239890.1883
23 | 2637298.1635 | 1239942.334
24 | 2637365.9903 | 1239913.2948
25 | 2637294.6778 | 1239951.2719
26 | 2637274.561 | 1239988.9387
27 | 2637278.3591 | 1239981.7402
28 | 2637278.8604 | 1239980.7901
29 | 2636979.0589 | 1240150.2032
30 | 2636964.1695 | 1240167.5162
31 | 2637002.3642 | 1240123.1042
32 | 2636946.2586 | 1240190.2168
33 | 2637013.5809 | 1240119.4466
34 | 2636918.4773 | 1240217.9848
35 | 2637014.4346 | 1240103.8086
36 | 2636911.0281 | 1240222.3373
37 | 2636908.5976 | 1240204.6271
38 | 2637027.5829 | 1240088.2806
39 | 2637128.8892 | 1240216.2944
40 | 2637120.2866 | 1240253.9608
41 | 2637115.8995 | 1240295.9752
42 | 2637109.0005 | 1240296.4436
43 | 2637151.3357 | 1240293.776
44 | 2637109.0241 | 1240310.171
45 | 2637058.4575 | 1240299.6337
46 | 2637177.037 | 1240292.1826
47 | 2637098.516 | 1240140.4785
48 | 2636971.6778 | 1240305.671
49 | 2637200.6696 | 1240290.7175
50 | 2636930.6668 | 1240308.4272
51 | 2636908.1295 | 1240309.9419
52 | 2636883.1799 | 1240311.6187
53 | 2636867.4261 | 1240312.6775
54 | 2636832.959 | 1240314.9939
55 | 2636899.7716 | 1240228.4844
56 | 2636876.9197 | 1240240.9637
57 | 2637227.4315 | 1240289.0586
58 | 2637258.7722 | 1240307.1207
59 | 2637260.1484 | 1240316.3466
60 | 2637272.4904 | 1240317.0462
61 | 2637286.9999 | 1240203.3994
62 | 2637286.6645 | 1240199.1939
63 | 2637283.8868 | 1240321.1848
64 | 2637285.5464 | 1240341.0103
65 | 2637283.4502 | 1240315.97
66 | 2637321.4269 | 1240327.3691
67 | 2637282.4664 | 1240300.4609
68 | 2637338.5461 | 1240322.1549
69 | 2637376.0869 | 1239922.7361
70 | 2637241.9025 | 1240125.1672
71 | 2637280.5578 | 1240122.6283
72 | 2637282.2892 | 1240144.3365
73 | 2637285.2094 | 1240180.95
74 | 2637279.0807 | 1239980.3725
75 | 2637279.221 | 1239980.1067
76 | 2637283.0098 | 1239972.9259
77 | 2637288.9363 | 1239961.9251
78 | 2637290.2814 | 1239959.4283
79 | 2637291.1582 | 1239957.8007
80 | 2636864.768 | 1240246.7234
81 | 2636815.5005 | 1240316.0642
82 | 2637137.6585 | 1240191.2442

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1