## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4280-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4280-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4280-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4280-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4280-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4280-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4280-3_0_3_node_39 | 0.4 | n |  | TRUE
7 | bus_LV_4280-3_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_4280-3_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_4280-3_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_4280-3_0_3_node_103 | 0.4 | n |  | TRUE
11 | bus_LV_4280-3_0_3_node_23 | 0.4 | n |  | TRUE
12 | bus_LV_4280-3_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_4280-3_0_3_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_4280-3_0_3_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_4280-3_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_4280-3_0_3_node_106 | 0.4 | n |  | TRUE
17 | bus_LV_4280-3_0_3_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_4280-3_0_3_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_4280-3_0_3_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_4280-3_0_3_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_4280-3_0_3_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_4280-3_0_3_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_4280-3_0_3_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_4280-3_0_3_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_4280-3_0_3_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_4280-3_0_3_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_4280-3_0_3_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_4280-3_0_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_4280-3_0_3_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_4280-3_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_4280-3_0_3_node_13 | 0.4 | n |  | TRUE
32 | bus_LV_4280-3_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_4280-3_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_4280-3_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_4280-3_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_4280-3_0_3_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_4280-3_0_3_node_16 | 0.4 | n |  | TRUE
38 | bus_LV_4280-3_0_3_node_14 | 0.4 | n |  | TRUE
39 | bus_LV_4280-3_0_3_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_4280-3_0_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_4280-3_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_4280-3_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_4280-3_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4280-3_0_3_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_4280-3_0_3_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_4280-3_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_4280-3_0_3_node_61 | 0.4 | n |  | TRUE
48 | bus_LV_4280-3_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_4280-3_0_3_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_4280-3_0_3_node_95 | 0.4 | n |  | TRUE
51 | bus_LV_4280-3_0_3_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_4280-3_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_4280-3_0_3_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_4280-3_0_3_node_73 | 0.4 | n |  | TRUE
55 | bus_LV_4280-3_0_3_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_4280-3_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_4280-3_0_3_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_4280-3_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_4280-3_0_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_4280-3_0_3_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_4280-3_0_3_node_42 | 0.4 | n |  | TRUE
62 | bus_LV_4280-3_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_4280-3_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_4280-3_0_3_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_4280-3_0_3_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_4280-3_0_3_node_47 | 0.4 | n |  | TRUE
67 | bus_LV_4280-3_0_3_node_48 | 0.4 | n |  | TRUE
68 | bus_LV_4280-3_0_3_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_4280-3_0_3_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_4280-3_0_3_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4280-3_0_3_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4280-3_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_4280-3_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_4280-3_0_3_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4280-3_0_3_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4280-3_0_3_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_4280-3_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_4280-3_0_3_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_4280-3_0_3_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_4280-3_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_4280-3_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_4280-3_0_3_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_4280-3_0_3_node_104 | 0.4 | n |  | TRUE
84 | bus_LV_4280-3_0_3_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_4280-3_0_3_node_62 | 0.4 | n |  | TRUE
86 | bus_LV_4280-3_0_3_node_63 | 0.4 | n |  | TRUE
87 | bus_LV_4280-3_0_3_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_4280-3_0_3_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_4280-3_0_3_node_75 | 0.4 | n |  | TRUE
90 | bus_LV_4280-3_0_3_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_4280-3_0_3_node_82 | 0.4 | n |  | TRUE
92 | bus_LV_4280-3_0_3_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_4280-3_0_3_node_84 | 0.4 | n |  | TRUE
94 | bus_LV_4280-3_0_3_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_4280-3_0_3_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_4280-3_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_4280-3_0_3_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_4280-3_0_3_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_4280-3_0_3_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_4280-3_0_3_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_4280-3_0_3_node_92 | 0.4 | n |  | TRUE
102 | bus_LV_4280-3_0_3_node_93 | 0.4 | n |  | TRUE
103 | bus_LV_4280-3_0_3_node_96 | 0.4 | n |  | TRUE
104 | bus_LV_4280-3_0_3_node_98 | 0.4 | n |  | TRUE
105 | bus_LV_4280-3_0_3_node_101 | 0.4 | n |  | TRUE
106 | bus_MV_436_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4280-3_0_3_load_0 | 0 | 0.013009 | 0.0032604 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4280-3_0_3_load_1 | 1 | 0.0043643 | 0.0010938 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4280-3_0_3_load_4 | 4 | 0.036817 | 0.0092271 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4280-3_0_3_load_39 | 6 | 0.0027408 | 0.00068691 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4280-3_0_3_load_41 | 7 | 0.0026803 | 0.00067174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4280-3_0_3_load_37 | 8 | 0.0049238 | 0.001234 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4280-3_0_3_load_23 | 11 | 0.011329 | 0.0028394 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4280-3_0_3_load_27 | 13 | 0.013605 | 0.0034097 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4280-3_0_3_load_15 | 14 | 0.0010369 | 0.00025988 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4280-3_0_3_load_36 | 15 | 0.0049202 | 0.0012331 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4280-3_0_3_load_106 | 16 | 0.02479 | 0.006213 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4280-3_0_3_load_32 | 17 | 0.0017609 | 0.00044132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4280-3_0_3_load_58 | 18 | 0.0019481 | 0.00048823 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4280-3_0_3_load_60 | 19 | 0.0015556 | 0.00038988 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4280-3_0_3_load_56 | 20 | 0.00098503 | 0.00024687 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4280-3_0_3_load_6 | 21 | 0.0020004 | 0.00050134 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4280-3_0_3_load_9 | 24 | 0.0041549 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4280-3_0_3_load_10 | 25 | 0.001293 | 0.00032406 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4280-3_0_3_load_11 | 26 | 0.002002 | 0.00050175 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4280-3_0_3_load_12 | 27 | 0.0020018 | 0.0005017 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4280-3_0_3_load_46 | 28 | 0.0029214 | 0.00073217 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4280-3_0_3_load_70 | 29 | 0.002321 | 0.00058169 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4280-3_0_3_load_44 | 30 | 0.0029078 | 0.00072877 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4280-3_0_3_load_13 | 31 | 0.0041549 | 0.0010413 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4280-3_0_3_load_31 | 32 | 0.001293 | 0.00032406 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4280-3_0_3_load_20 | 33 | 0.0024187 | 0.00060619 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4280-3_0_3_load_21 | 35 | 0.001573 | 0.00039422 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4280-3_0_3_load_22 | 36 | 0.0012018 | 0.0003012 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4280-3_0_3_load_14 | 38 | 0.0021569 | 0.00054058 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4280-3_0_3_load_19 | 39 | 0.0048987 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4280-3_0_3_load_40 | 40 | 0.0035335 | 0.00088558 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4280-3_0_3_load_38 | 41 | 0.0029117 | 0.00072974 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4280-3_0_3_load_26 | 42 | 0.024132 | 0.006048 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4280-3_0_3_load_30 | 43 | 0.0010911 | 0.00027345 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4280-3_0_3_load_24 | 44 | 0.00042895 | 0.0001075 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4280-3_0_3_load_25 | 45 | 0.0014898 | 0.00037337 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4280-3_0_3_load_29 | 46 | 0.0029353 | 0.00073565 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4280-3_0_3_load_61 | 47 | 0.0029434 | 0.00073769 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4280-3_0_3_load_43 | 49 | 0.0020935 | 0.00052469 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4280-3_0_3_load_94 | 51 | 0.00035933 | 9.0056e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4280-3_0_3_load_34 | 52 | 0.0078756 | 0.0019738 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4280-3_0_3_load_59 | 53 | 0.00087979 | 0.0002205 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4280-3_0_3_load_73 | 54 | 0.00054008 | 0.00013536 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4280-3_0_3_load_57 | 55 | 0.0013948 | 0.00034957 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4280-3_0_3_load_55 | 56 | 0.00098972 | 0.00024805 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4280-3_0_3_load_64 | 57 | 0.00048494 | 0.00012154 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4280-3_0_3_load_35 | 58 | 0.00012465 | 3.1241e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4280-3_0_3_load_102 | 59 | 0.0041518 | 0.0010405 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4280-3_0_3_load_67 | 62 | 0.0022757 | 0.00057035 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4280-3_0_3_load_66 | 63 | 0.0026815 | 0.00067205 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4280-3_0_3_load_77 | 64 | 0.0043074 | 0.0010795 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4280-3_0_3_load_47 | 66 | 0.0034222 | 0.00085769 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4280-3_0_3_load_48 | 67 | 0.0051589 | 0.0012929 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4280-3_0_3_load_81 | 68 | 0.0092127 | 0.0023089 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4280-3_0_3_load_49 | 70 | 0.0022643 | 0.00056748 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4280-3_0_3_load_50 | 71 | 0.0021233 | 0.00053214 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4280-3_0_3_load_54 | 75 | 0.011411 | 0.0028598 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4280-3_0_3_load_68 | 76 | 0.0022724 | 0.00056951 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4280-3_0_3_load_69 | 77 | 0.0035091 | 0.00087945 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4280-3_0_3_load_72 | 78 | 0.0019428 | 0.00048691 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4280-3_0_3_load_76 | 80 | 0.0028503 | 0.00071435 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4280-3_0_3_load_79 | 81 | 0.0017488 | 0.00043829 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4280-3_0_3_load_71 | 82 | 0.0027643 | 0.00069281 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4280-3_0_3_load_104 | 83 | 0.0016206 | 0.00040617 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4280-3_0_3_load_97 | 84 | 0.0056529 | 0.0014168 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4280-3_0_3_load_62 | 85 | 0.00050429 | 0.00012639 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4280-3_0_3_load_65 | 87 | 0.0013893 | 0.0003482 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4280-3_0_3_load_74 | 88 | 0.0013676 | 0.00034276 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4280-3_0_3_load_75 | 89 | 0.00057236 | 0.00014345 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4280-3_0_3_load_78 | 90 | 0.0053295 | 0.0013357 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4280-3_0_3_load_82 | 91 | 0.005217 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4280-3_0_3_load_83 | 92 | 0.0092087 | 0.0023079 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4280-3_0_3_load_84 | 93 | 0.0015662 | 0.00039253 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4280-3_0_3_load_90 | 95 | 0.001278 | 0.00032031 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4280-3_0_3_load_85 | 96 | 0.0014067 | 0.00035254 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4280-3_0_3_load_86 | 97 | 0.0015205 | 0.00038107 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4280-3_0_3_load_88 | 99 | 0.00094199 | 0.00023608 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4280-3_0_3_load_89 | 100 | 0.0012848 | 0.000322 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4280-3_0_3_load_92 | 101 | 0.0012744 | 0.00031938 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4280-3_0_3_load_93 | 102 | 0.0026615 | 0.00066703 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4280-3_0_3_load_96 | 103 | 0.0015292 | 0.00038325 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4280-3_0_3_load_98 | 104 | 0.0055653 | 0.0013948 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4280-3_0_3_load_101 | 105 | 0.00087702 | 0.0002198 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4280-3_0_3_line_0 |  | 0 | 1 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4280-3_0_3_line_1 |  | 0 | 2 | 0.044749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4280-3_0_3_line_2 |  | 1 | 3 | 0.015749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4280-3_0_3_line_3 |  | 2 | 4 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4280-3_0_3_line_4 |  | 2 | 5 | 0.073006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4280-3_0_3_line_5 |  | 3 | 9 | 0.006936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4280-3_0_3_line_6 |  | 4 | 6 | 0.092127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_4280-3_0_3_line_7 |  | 5 | 10 | 0.043079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4280-3_0_3_line_8 |  | 5 | 11 | 0.0098868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4280-3_0_3_line_9 |  | 5 | 12 | 0.017033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4280-3_0_3_line_10 |  | 6 | 7 | 0.018301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4280-3_0_3_line_11 |  | 6 | 8 | 0.012158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4280-3_0_3_line_12 |  | 7 | 61 | 0.0095833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4280-3_0_3_line_13 |  | 8 | 15 | 0.00040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4280-3_0_3_line_14 |  | 9 | 13 | 0.030552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4280-3_0_3_line_15 |  | 9 | 14 | 0.013669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4280-3_0_3_line_16 |  | 10 | 16 | 0.020669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4280-3_0_3_line_17 |  | 12 | 17 | 0.031244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4280-3_0_3_line_18 |  | 14 | 38 | 0.0089557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4280-3_0_3_line_19 |  | 15 | 41 | 0.0075752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4280-3_0_3_line_20 |  | 17 | 52 | 0.004243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4280-3_0_3_line_21 |  | 18 | 19 | 0.017666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4280-3_0_3_line_22 |  | 18 | 20 | 0.0020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4280-3_0_3_line_23 |  | 19 | 47 | 0.00020336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4280-3_0_3_line_24 |  | 20 | 56 | 0.0017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4280-3_0_3_line_25 |  | 21 | 22 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4280-3_0_3_line_26 |  | 21 | 23 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4280-3_0_3_line_27 |  | 22 | 24 | 0.00277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4280-3_0_3_line_28 |  | 22 | 25 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4280-3_0_3_line_29 |  | 23 | 26 | 0.030689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4280-3_0_3_line_30 |  | 23 | 27 | 0.01356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4280-3_0_3_line_31 |  | 24 | 31 | 0.012815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4280-3_0_3_line_32 |  | 25 | 32 | 0.0069676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4280-3_0_3_line_33 |  | 26 | 33 | 0.022899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4280-3_0_3_line_34 |  | 27 | 34 | 0.03626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4280-3_0_3_line_35 |  | 28 | 29 | 0.023303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4280-3_0_3_line_36 |  | 28 | 30 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4280-3_0_3_line_37 |  | 29 | 40 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4280-3_0_3_line_38 |  | 30 | 49 | 0.015938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4280-3_0_3_line_39 |  | 33 | 35 | 0.018426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4280-3_0_3_line_40 |  | 34 | 36 | 0.018599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4280-3_0_3_line_41 |  | 34 | 37 | 0.022696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4280-3_0_3_line_42 |  | 35 | 44 | 0.046983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4280-3_0_3_line_43 |  | 36 | 43 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4280-3_0_3_line_44 |  | 37 | 39 | 0.018072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4280-3_0_3_line_45 |  | 37 | 38 | 0.015293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4280-3_0_3_line_46 |  | 39 | 42 | 0.015446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4280-3_0_3_line_47 |  | 40 | 41 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4280-3_0_3_line_48 |  | 43 | 46 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4280-3_0_3_line_49 |  | 44 | 45 | 0.0089758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4280-3_0_3_line_50 |  | 45 | 48 | 0.044908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4280-3_0_3_line_51 |  | 47 | 63 | 0.020685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4280-3_0_3_line_52 |  | 48 | 50 | 0.058665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4280-3_0_3_line_53 |  | 50 | 51 | 0.035342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4280-3_0_3_line_54 |  | 53 | 54 | 0.019778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4280-3_0_3_line_55 |  | 53 | 55 | 0.0040281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4280-3_0_3_line_56 |  | 54 | 57 | 0.0013218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4280-3_0_3_line_57 |  | 55 | 56 | 0.010859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4280-3_0_3_line_58 |  | 57 | 86 | 0.011634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4280-3_0_3_line_59 |  | 58 | 59 | 0.044004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4280-3_0_3_line_60 |  | 59 | 60 | 0.023273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4280-3_0_3_line_61 |  | 60 | 105 | 0.008269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4280-3_0_3_line_62 |  | 60 | 104 | 0.014761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4280-3_0_3_line_63 |  | 61 | 62 | 0.022908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4280-3_0_3_line_64 |  | 61 | 63 | 0.0081751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4280-3_0_3_line_65 |  | 62 | 64 | 0.0068107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4280-3_0_3_line_66 |  | 64 | 80 | 0.014563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4280-3_0_3_line_67 |  | 65 | 66 | 0.015453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4280-3_0_3_line_68 |  | 65 | 67 | 0.019971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4280-3_0_3_line_69 |  | 67 | 68 | 0.022452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4280-3_0_3_line_70 |  | 68 | 69 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4280-3_0_3_line_71 |  | 69 | 91 | 0.027728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4280-3_0_3_line_72 |  | 69 | 90 | 0.0097758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4280-3_0_3_line_73 |  | 70 | 71 | 0.023896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4280-3_0_3_line_74 |  | 70 | 72 | 0.011881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4280-3_0_3_line_75 |  | 71 | 73 | 0.031194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4280-3_0_3_line_76 |  | 72 | 74 | 0.03396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4280-3_0_3_line_77 |  | 72 | 75 | 0.033792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4280-3_0_3_line_78 |  | 73 | 76 | 0.013951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4280-3_0_3_line_79 |  | 73 | 77 | 0.017935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4280-3_0_3_line_80 |  | 74 | 78 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4280-3_0_3_line_81 |  | 75 | 79 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4280-3_0_3_line_82 |  | 76 | 80 | 0.0051722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4280-3_0_3_line_83 |  | 77 | 81 | 0.025055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4280-3_0_3_line_84 |  | 78 | 82 | 0.0036027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4280-3_0_3_line_85 |  | 79 | 83 | 0.034081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4280-3_0_3_line_86 |  | 79 | 84 | 0.026509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4280-3_0_3_line_87 |  | 81 | 90 | 0.0199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4280-3_0_3_line_88 |  | 84 | 103 | 0.0065156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4280-3_0_3_line_89 |  | 85 | 86 | 0.01051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4280-3_0_3_line_90 |  | 86 | 87 | 0.015093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4280-3_0_3_line_91 |  | 87 | 88 | 0.016714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4280-3_0_3_line_92 |  | 88 | 89 | 0.001234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4280-3_0_3_line_93 |  | 91 | 92 | 0.0031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4280-3_0_3_line_94 |  | 92 | 93 | 0.018399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4280-3_0_3_line_95 |  | 93 | 94 | 0.036739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4280-3_0_3_line_96 |  | 94 | 95 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4280-3_0_3_line_97 |  | 95 | 100 | 0.023797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4280-3_0_3_line_98 |  | 96 | 97 | 0.014721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4280-3_0_3_line_99 |  | 96 | 98 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4280-3_0_3_line_100 |  | 97 | 99 | 0.012535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4280-3_0_3_line_101 |  | 98 | 100 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4280-3_0_3_line_102 |  | 99 | 101 | 0.0050389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4280-3_0_3_line_103 |  | 101 | 102 | 0.013622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4280-3_0_3_line_104 |  | 103 | 104 | 0.029843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4280-3_0_3_trafo_4 | 0.63 MVA 20/0.4 kV | 106 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2636063.5061 | 1240379.5167 | 2636051.5106 | 1240373.7731
1 | 2636092.4744 | 1240395.5805 | 2636081.8751 | 1240404.0105 | 2636072.1246 | 1240395.9461 | 2636063.5061 | 1240379.5167 | 2636063.5061 | 1240379.5167
2 | 2636037.3064 | 1240366.972 | 2636051.5106 | 1240373.7731
3 | 2636092.4744 | 1240395.5805 | 2636101.2726 | 1240404.8176
4 | 2636092.4744 | 1240395.5805 | 2636109.9355 | 1240333.0689 | 2636112.1153 | 1240325.2661
5 | 2636031.2368 | 1240370.3596 | 2636037.3064 | 1240366.972
6 | 2636168.5931 | 1240467.7086 | 2636101.2726 | 1240404.8176
7 | 2636112.1153 | 1240325.2661 | 2636109.9355 | 1240333.0689 | 2636142.808 | 1240345.0208
8 | 2636112.1153 | 1240325.2661 | 2636103.4798 | 1240330.0803
9 | 2636127.0241 | 1240316.9514 | 2636112.1153 | 1240325.2661
10 | 2636168.5931 | 1240467.7086 | 2636180.3512 | 1240453.684
11 | 2636160.7816 | 1240477.0257 | 2636168.5931 | 1240467.7086
12 | 2636186.5082 | 1240446.3402 | 2636180.3512 | 1240453.684
13 | 2636160.7816 | 1240477.0257 | 2636160.5193 | 1240477.3386
14 | 2636031.2368 | 1240370.3596 | 2636019.234 | 1240342.2639
15 | 2636031.2368 | 1240370.3596 | 2636019.2985 | 1240377.0163
16 | 2636142.808 | 1240345.0208 | 2636156.2948 | 1240329.3261
17 | 2636127.0241 | 1240316.9514 | 2636112.1922 | 1240289.4524
18 | 2636011.4766 | 1240381.3778 | 2636019.2985 | 1240377.0163
19 | 2636160.5193 | 1240477.3386 | 2636155.6524 | 1240483.1436
20 | 2636110.178 | 1240285.718 | 2636112.1922 | 1240289.4524
21 | 2636216.241 | 1240410.2903 | 2636205.0008 | 1240423.9186
22 | 2636216.241 | 1240410.2903 | 2636217.5379 | 1240408.7178
23 | 2636204.8714 | 1240424.0755 | 2636205.0008 | 1240423.9186
24 | 2636218.6808 | 1240407.3322 | 2636217.5379 | 1240408.7178
25 | 2635928.724 | 1240402.1148 | 2635935.6518 | 1240413.1991
26 | 2635943.17 | 1240425.228 | 2635935.6518 | 1240413.1991
27 | 2635928.724 | 1240402.1148 | 2635930.9888 | 1240400.52
28 | 2635928.724 | 1240402.1148 | 2635914.6806 | 1240410.0673
29 | 2635943.17 | 1240425.228 | 2635931.3102 | 1240432.0829 | 2635916.8699 | 1240441.0357
30 | 2635943.17 | 1240425.228 | 2635954.9097 | 1240418.4419
31 | 2635941.4663 | 1240393.1417 | 2635930.9888 | 1240400.52
32 | 2635908.6176 | 1240413.5006 | 2635914.6806 | 1240410.0673
33 | 2635897.4082 | 1240453.1016 | 2635916.8699 | 1240441.0357
34 | 2635985.9773 | 1240399.8264 | 2635983.2947 | 1240402.0338 | 2635954.9097 | 1240418.4419
35 | 2636130.0791 | 1240513.6462 | 2636115.1073 | 1240531.5038
36 | 2636113.2644 | 1240541.7112 | 2636113.2644 | 1240541.7112 | 2636112.6892 | 1240535.5816 | 2636113.9379 | 1240532.8986 | 2636115.1073 | 1240531.5038
37 | 2636130.0791 | 1240513.6462 | 2636143.2525 | 1240497.9335
38 | 2636120.0386 | 1240556.1377 | 2636113.2644 | 1240541.7112
39 | 2635897.4082 | 1240453.1016 | 2635881.7481 | 1240462.8106
40 | 2635985.9773 | 1240399.8264 | 2635995.7865 | 1240415.6282
41 | 2635996.5551 | 1240381.1897 | 2635996.7186 | 1240386.6608 | 2635991.6311 | 1240395.1799 | 2635985.9773 | 1240399.8264
42 | 2635841.7474 | 1240487.4553 | 2635867.4276 | 1240471.689 | 2635881.7481 | 1240462.8106
43 | 2636008.343 | 1240435.8556 | 2635995.7865 | 1240415.6282
44 | 2635996.5551 | 1240381.1897 | 2635985.8029 | 1240376.188 | 2635981.6373 | 1240371.5777
45 | 2635996.5551 | 1240381.1897 | 2636009.4013 | 1240382.535 | 2636011.4766 | 1240381.3778
46 | 2635972.6529 | 1240359.0882 | 2635977.6009 | 1240367.1104 | 2635981.6373 | 1240371.5777
47 | 2636155.6524 | 1240483.1436 | 2636143.2525 | 1240497.9335
48 | 2636015.003 | 1240446.5842 | 2636008.343 | 1240435.8556
49 | 2635834.0982 | 1240492.1515 | 2635841.7474 | 1240487.4553
50 | 2635809.308 | 1240526.2401 | 2635810.7384 | 1240514.7303 | 2635815.0097 | 1240506.0838 | 2635827.8491 | 1240495.9881 | 2635834.0982 | 1240492.1515
51 | 2636191.7098 | 1240440.0334 | 2636204.8714 | 1240424.0755
52 | 2635809.308 | 1240526.2401 | 2635752.2966 | 1240540.0724
53 | 2635752.2966 | 1240540.0724 | 2635720.2004 | 1240554.8676
54 | 2636228.1528 | 1240395.8477 | 2636240.7373 | 1240380.5894
55 | 2636228.1528 | 1240395.8477 | 2636225.5899 | 1240398.9552
56 | 2636240.7373 | 1240380.5894 | 2636241.5783 | 1240379.5697
57 | 2636218.6808 | 1240407.3322 | 2636225.5899 | 1240398.9552
58 | 2636248.9806 | 1240370.5948 | 2636241.5783 | 1240379.5697
59 | 2636362.4269 | 1240558.3855 | 2636390.7457 | 1240592.0658
60 | 2636340.3261 | 1240560.2848 | 2636343.1736 | 1240562.0145 | 2636350.1344 | 1240562.5018 | 2636362.4269 | 1240558.3855
61 | 2636340.3261 | 1240560.2848 | 2636335.4325 | 1240566.7035 | 2636335.2734 | 1240566.8209
62 | 2636340.3261 | 1240560.2848 | 2636336.4615 | 1240557.9486 | 2636330.9935 | 1240551.978 | 2636330.2635 | 1240549.9567
63 | 2636186.5082 | 1240446.3402 | 2636202.2846 | 1240462.9503
64 | 2636186.5082 | 1240446.3402 | 2636191.7098 | 1240440.0334
65 | 2636206.975 | 1240467.8885 | 2636202.2846 | 1240462.9503
66 | 2636217.0042 | 1240478.4477 | 2636206.975 | 1240467.8885
67 | 2636133.1497 | 1240584.0591 | 2636122.1945 | 1240594.9584
68 | 2636133.1497 | 1240584.0591 | 2636147.6172 | 1240570.2926
69 | 2636163.8821 | 1240554.8157 | 2636147.6172 | 1240570.2926
70 | 2636177.2446 | 1240542.1006 | 2636163.8821 | 1240554.8157
71 | 2636177.2446 | 1240542.1006 | 2636192.8223 | 1240565.0392
72 | 2636177.2446 | 1240542.1006 | 2636184.3653 | 1240535.4026
73 | 2636270.0275 | 1240454.2831 | 2636253.5668 | 1240470.2864 | 2636252.8849 | 1240470.9301
74 | 2636278.5463 | 1240446.0011 | 2636270.0275 | 1240454.2831
75 | 2636230.174 | 1240492.3134 | 2636232.1738 | 1240490.48 | 2636252.8849 | 1240470.9301
76 | 2636303.2708 | 1240422.6483 | 2636288.684 | 1240436.4235 | 2636278.5463 | 1240446.0011
77 | 2636278.5463 | 1240446.0011 | 2636293.2586 | 1240459.9443 | 2636300.5732 | 1240471.3179
78 | 2636230.174 | 1240492.3134 | 2636220.5662 | 1240482.1979
79 | 2636230.174 | 1240492.3134 | 2636217.1102 | 1240504.6016
80 | 2636303.2708 | 1240422.6483 | 2636291.6413 | 1240411.4858
81 | 2636308.9106 | 1240490.8262 | 2636301.7149 | 1240473.0932 | 2636300.5732 | 1240471.3179
82 | 2636217.0042 | 1240478.4477 | 2636220.5662 | 1240482.1979
83 | 2636198.8605 | 1240521.7679 | 2636217.1102 | 1240504.6016
84 | 2636289.0421 | 1240408.991 | 2636291.6413 | 1240411.4858
85 | 2636308.9106 | 1240490.8262 | 2636319.834 | 1240485.0671 | 2636335.7241 | 1240470.2412
86 | 2636308.9106 | 1240490.8262 | 2636317.9143 | 1240515.7591
87 | 2636184.3653 | 1240535.4026 | 2636198.8605 | 1240521.7679
88 | 2636320.1273 | 1240521.8874 | 2636317.9143 | 1240515.7591
89 | 2636248.9806 | 1240370.5948 | 2636255.6675 | 1240362.4863
90 | 2636248.9806 | 1240370.5948 | 2636259.9478 | 1240380.9639
91 | 2636272.093 | 1240392.4468 | 2636259.9478 | 1240380.9639
92 | 2636272.093 | 1240392.4468 | 2636272.9897 | 1240393.2946
93 | 2636192.8223 | 1240565.0392 | 2636194.6035 | 1240567.662
94 | 2636194.6035 | 1240567.662 | 2636202.4541 | 1240579.2222 | 2636204.7509 | 1240583.0049
95 | 2636223.819 | 1240614.4082 | 2636204.7509 | 1240583.0049
96 | 2636223.819 | 1240614.4082 | 2636239.2074 | 1240605.0069
97 | 2636259.5146 | 1240592.6005 | 2636239.2074 | 1240605.0069
98 | 2636265.5262 | 1240568.2351 | 2636260.4679 | 1240554.4106
99 | 2636272.318 | 1240586.7975 | 2636265.5262 | 1240568.2351
100 | 2636256.1612 | 1240542.6386 | 2636256.3804 | 1240543.2391 | 2636260.4679 | 1240554.4106
101 | 2636272.318 | 1240586.7975 | 2636260.415 | 1240592.0504 | 2636259.5146 | 1240592.6005
102 | 2636256.1612 | 1240542.6386 | 2636254.4331 | 1240537.9053
103 | 2636249.7616 | 1240525.1093 | 2636254.4331 | 1240537.9053
104 | 2636320.1273 | 1240521.8874 | 2636330.2635 | 1240549.9567

## bus_geodata
| x | y | coords
0 | 2636063.5061 | 1240379.5167
1 | 2636051.5106 | 1240373.7731
2 | 2636092.4744 | 1240395.5805
3 | 2636037.3064 | 1240366.972
4 | 2636101.2726 | 1240404.8176
5 | 2636112.1153 | 1240325.2661
6 | 2636168.5931 | 1240467.7086
7 | 2636180.3512 | 1240453.684
8 | 2636160.7816 | 1240477.0257
9 | 2636031.2368 | 1240370.3596
10 | 2636142.808 | 1240345.0208
11 | 2636103.4798 | 1240330.0803
12 | 2636127.0241 | 1240316.9514
13 | 2636019.234 | 1240342.2639
14 | 2636019.2985 | 1240377.0163
15 | 2636160.5193 | 1240477.3386
16 | 2636156.2948 | 1240329.3261
17 | 2636112.1922 | 1240289.4524
18 | 2636216.241 | 1240410.2903
19 | 2636205.0008 | 1240423.9186
20 | 2636217.5379 | 1240408.7178
21 | 2635935.6518 | 1240413.1991
22 | 2635928.724 | 1240402.1148
23 | 2635943.17 | 1240425.228
24 | 2635930.9888 | 1240400.52
25 | 2635914.6806 | 1240410.0673
26 | 2635916.8699 | 1240441.0357
27 | 2635954.9097 | 1240418.4419
28 | 2636115.1073 | 1240531.5038
29 | 2636130.0791 | 1240513.6462
30 | 2636113.2644 | 1240541.7112
31 | 2635941.4663 | 1240393.1417
32 | 2635908.6176 | 1240413.5006
33 | 2635897.4082 | 1240453.1016
34 | 2635985.9773 | 1240399.8264
35 | 2635881.7481 | 1240462.8106
36 | 2635995.7865 | 1240415.6282
37 | 2635996.5551 | 1240381.1897
38 | 2636011.4766 | 1240381.3778
39 | 2635981.6373 | 1240371.5777
40 | 2636143.2525 | 1240497.9335
41 | 2636155.6524 | 1240483.1436
42 | 2635972.6529 | 1240359.0882
43 | 2636008.343 | 1240435.8556
44 | 2635841.7474 | 1240487.4553
45 | 2635834.0982 | 1240492.1515
46 | 2636015.003 | 1240446.5842
47 | 2636204.8714 | 1240424.0755
48 | 2635809.308 | 1240526.2401
49 | 2636120.0386 | 1240556.1377
50 | 2635752.2966 | 1240540.0724
51 | 2635720.2004 | 1240554.8676
52 | 2636110.178 | 1240285.718
53 | 2636228.1528 | 1240395.8477
54 | 2636240.7373 | 1240380.5894
55 | 2636225.5899 | 1240398.9552
56 | 2636218.6808 | 1240407.3322
57 | 2636241.5783 | 1240379.5697
58 | 2636390.7457 | 1240592.0658
59 | 2636362.4269 | 1240558.3855
60 | 2636340.3261 | 1240560.2848
61 | 2636186.5082 | 1240446.3402
62 | 2636202.2846 | 1240462.9503
63 | 2636191.7098 | 1240440.0334
64 | 2636206.975 | 1240467.8885
65 | 2636133.1497 | 1240584.0591
66 | 2636122.1945 | 1240594.9584
67 | 2636147.6172 | 1240570.2926
68 | 2636163.8821 | 1240554.8157
69 | 2636177.2446 | 1240542.1006
70 | 2636270.0275 | 1240454.2831
71 | 2636252.8849 | 1240470.9301
72 | 2636278.5463 | 1240446.0011
73 | 2636230.174 | 1240492.3134
74 | 2636303.2708 | 1240422.6483
75 | 2636300.5732 | 1240471.3179
76 | 2636220.5662 | 1240482.1979
77 | 2636217.1102 | 1240504.6016
78 | 2636291.6413 | 1240411.4858
79 | 2636308.9106 | 1240490.8262
80 | 2636217.0042 | 1240478.4477
81 | 2636198.8605 | 1240521.7679
82 | 2636289.0421 | 1240408.991
83 | 2636335.7241 | 1240470.2412
84 | 2636317.9143 | 1240515.7591
85 | 2636255.6675 | 1240362.4863
86 | 2636248.9806 | 1240370.5948
87 | 2636259.9478 | 1240380.9639
88 | 2636272.093 | 1240392.4468
89 | 2636272.9897 | 1240393.2946
90 | 2636184.3653 | 1240535.4026
91 | 2636192.8223 | 1240565.0392
92 | 2636194.6035 | 1240567.662
93 | 2636204.7509 | 1240583.0049
94 | 2636223.819 | 1240614.4082
95 | 2636239.2074 | 1240605.0069
96 | 2636265.5262 | 1240568.2351
97 | 2636260.4679 | 1240554.4106
98 | 2636272.318 | 1240586.7975
99 | 2636256.1612 | 1240542.6386
100 | 2636259.5146 | 1240592.6005
101 | 2636254.4331 | 1240537.9053
102 | 2636249.7616 | 1240525.1093
103 | 2636320.1273 | 1240521.8874
104 | 2636330.2635 | 1240549.9567
105 | 2636335.2734 | 1240566.8209
106 | 2636092.4744 | 1240395.5805

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1