## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4280-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4280-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4280-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4280-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4280-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4280-4_0_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_4280-4_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4280-4_0_4_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_4280-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4280-4_0_4_node_160 | 0.4 | n |  | TRUE
10 | bus_LV_4280-4_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_4280-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4280-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4280-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4280-4_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_4280-4_0_4_node_161 | 0.4 | n |  | TRUE
16 | bus_LV_4280-4_0_4_node_163 | 0.4 | n |  | TRUE
17 | bus_LV_4280-4_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_4280-4_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_4280-4_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_4280-4_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_4280-4_0_4_node_138 | 0.4 | n |  | TRUE
22 | bus_LV_4280-4_0_4_node_154 | 0.4 | n |  | TRUE
23 | bus_LV_4280-4_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_4280-4_0_4_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_4280-4_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_4280-4_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_4280-4_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_4280-4_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_4280-4_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_4280-4_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_4280-4_0_4_node_168 | 0.4 | n |  | TRUE
32 | bus_LV_4280-4_0_4_node_156 | 0.4 | n |  | TRUE
33 | bus_LV_4280-4_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_4280-4_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4280-4_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4280-4_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4280-4_0_4_node_140 | 0.4 | n |  | TRUE
38 | bus_LV_4280-4_0_4_node_136 | 0.4 | n |  | TRUE
39 | bus_LV_4280-4_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_4280-4_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_4280-4_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4280-4_0_4_node_128 | 0.4 | n |  | TRUE
43 | bus_LV_4280-4_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_4280-4_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_4280-4_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_4280-4_0_4_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_4280-4_0_4_node_157 | 0.4 | n |  | TRUE
48 | bus_LV_4280-4_0_4_node_164 | 0.4 | n |  | TRUE
49 | bus_LV_4280-4_0_4_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_4280-4_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_4280-4_0_4_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4280-4_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4280-4_0_4_node_129 | 0.4 | n |  | TRUE
54 | bus_LV_4280-4_0_4_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_4280-4_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_4280-4_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_4280-4_0_4_node_122 | 0.4 | n |  | TRUE
58 | bus_LV_4280-4_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_4280-4_0_4_node_111 | 0.4 | n |  | TRUE
60 | bus_LV_4280-4_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_4280-4_0_4_node_121 | 0.4 | n |  | TRUE
62 | bus_LV_4280-4_0_4_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_4280-4_0_4_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_4280-4_0_4_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_4280-4_0_4_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_4280-4_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_4280-4_0_4_node_166 | 0.4 | n |  | TRUE
68 | bus_LV_4280-4_0_4_node_165 | 0.4 | n |  | TRUE
69 | bus_LV_4280-4_0_4_node_81 | 0.4 | n |  | TRUE
70 | bus_LV_4280-4_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_4280-4_0_4_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_4280-4_0_4_node_113 | 0.4 | n |  | TRUE
73 | bus_LV_4280-4_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_4280-4_0_4_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_4280-4_0_4_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_4280-4_0_4_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_4280-4_0_4_node_56 | 0.4 | n |  | TRUE
78 | bus_LV_4280-4_0_4_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_4280-4_0_4_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_4280-4_0_4_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_4280-4_0_4_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_4280-4_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_4280-4_0_4_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_4280-4_0_4_node_59 | 0.4 | n |  | TRUE
85 | bus_LV_4280-4_0_4_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_4280-4_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4280-4_0_4_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_4280-4_0_4_node_117 | 0.4 | n |  | TRUE
89 | bus_LV_4280-4_0_4_node_102 | 0.4 | n |  | TRUE
90 | bus_LV_4280-4_0_4_node_116 | 0.4 | n |  | TRUE
91 | bus_LV_4280-4_0_4_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_4280-4_0_4_node_63 | 0.4 | n |  | TRUE
93 | bus_LV_4280-4_0_4_node_64 | 0.4 | n |  | TRUE
94 | bus_LV_4280-4_0_4_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_4280-4_0_4_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_4280-4_0_4_node_67 | 0.4 | n |  | TRUE
97 | bus_LV_4280-4_0_4_node_114 | 0.4 | n |  | TRUE
98 | bus_LV_4280-4_0_4_node_86 | 0.4 | n |  | TRUE
99 | bus_LV_4280-4_0_4_node_137 | 0.4 | n |  | TRUE
100 | bus_LV_4280-4_0_4_node_84 | 0.4 | n |  | TRUE
101 | bus_LV_4280-4_0_4_node_135 | 0.4 | n |  | TRUE
102 | bus_LV_4280-4_0_4_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_4280-4_0_4_node_69 | 0.4 | n |  | TRUE
104 | bus_LV_4280-4_0_4_node_70 | 0.4 | n |  | TRUE
105 | bus_LV_4280-4_0_4_node_71 | 0.4 | n |  | TRUE
106 | bus_LV_4280-4_0_4_node_72 | 0.4 | n |  | TRUE
107 | bus_LV_4280-4_0_4_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_4280-4_0_4_node_118 | 0.4 | n |  | TRUE
109 | bus_LV_4280-4_0_4_node_74 | 0.4 | n |  | TRUE
110 | bus_LV_4280-4_0_4_node_119 | 0.4 | n |  | TRUE
111 | bus_LV_4280-4_0_4_node_120 | 0.4 | n |  | TRUE
112 | bus_LV_4280-4_0_4_node_73 | 0.4 | n |  | TRUE
113 | bus_LV_4280-4_0_4_node_75 | 0.4 | n |  | TRUE
114 | bus_LV_4280-4_0_4_node_77 | 0.4 | n |  | TRUE
115 | bus_LV_4280-4_0_4_node_78 | 0.4 | n |  | TRUE
116 | bus_LV_4280-4_0_4_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_4280-4_0_4_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_4280-4_0_4_node_94 | 0.4 | n |  | TRUE
119 | bus_LV_4280-4_0_4_node_98 | 0.4 | n |  | TRUE
120 | bus_LV_4280-4_0_4_node_82 | 0.4 | n |  | TRUE
121 | bus_LV_4280-4_0_4_node_108 | 0.4 | n |  | TRUE
122 | bus_LV_4280-4_0_4_node_104 | 0.4 | n |  | TRUE
123 | bus_LV_4280-4_0_4_node_83 | 0.4 | n |  | TRUE
124 | bus_LV_4280-4_0_4_node_85 | 0.4 | n |  | TRUE
125 | bus_LV_4280-4_0_4_node_87 | 0.4 | n |  | TRUE
126 | bus_LV_4280-4_0_4_node_127 | 0.4 | n |  | TRUE
127 | bus_LV_4280-4_0_4_node_88 | 0.4 | n |  | TRUE
128 | bus_LV_4280-4_0_4_node_89 | 0.4 | n |  | TRUE
129 | bus_LV_4280-4_0_4_node_90 | 0.4 | n |  | TRUE
130 | bus_LV_4280-4_0_4_node_92 | 0.4 | n |  | TRUE
131 | bus_LV_4280-4_0_4_node_100 | 0.4 | n |  | TRUE
132 | bus_LV_4280-4_0_4_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_4280-4_0_4_node_110 | 0.4 | n |  | TRUE
134 | bus_LV_4280-4_0_4_node_109 | 0.4 | n |  | TRUE
135 | bus_LV_4280-4_0_4_node_125 | 0.4 | n |  | TRUE
136 | bus_LV_4280-4_0_4_node_103 | 0.4 | n |  | TRUE
137 | bus_LV_4280-4_0_4_node_105 | 0.4 | n |  | TRUE
138 | bus_LV_4280-4_0_4_node_107 | 0.4 | n |  | TRUE
139 | bus_LV_4280-4_0_4_node_115 | 0.4 | n |  | TRUE
140 | bus_LV_4280-4_0_4_node_123 | 0.4 | n |  | TRUE
141 | bus_LV_4280-4_0_4_node_126 | 0.4 | n |  | TRUE
142 | bus_LV_4280-4_0_4_node_133 | 0.4 | n |  | TRUE
143 | bus_LV_4280-4_0_4_node_131 | 0.4 | n |  | TRUE
144 | bus_LV_4280-4_0_4_node_130 | 0.4 | n |  | TRUE
145 | bus_LV_4280-4_0_4_node_132 | 0.4 | n |  | TRUE
146 | bus_LV_4280-4_0_4_node_134 | 0.4 | n |  | TRUE
147 | bus_LV_4280-4_0_4_node_139 | 0.4 | n |  | TRUE
148 | bus_LV_4280-4_0_4_node_141 | 0.4 | n |  | TRUE
149 | bus_LV_4280-4_0_4_node_143 | 0.4 | n |  | TRUE
150 | bus_LV_4280-4_0_4_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_4280-4_0_4_node_155 | 0.4 | n |  | TRUE
152 | bus_LV_4280-4_0_4_node_153 | 0.4 | n |  | TRUE
153 | bus_LV_4280-4_0_4_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_4280-4_0_4_node_148 | 0.4 | n |  | TRUE
155 | bus_LV_4280-4_0_4_node_144 | 0.4 | n |  | TRUE
156 | bus_LV_4280-4_0_4_node_145 | 0.4 | n |  | TRUE
157 | bus_LV_4280-4_0_4_node_147 | 0.4 | n |  | TRUE
158 | bus_LV_4280-4_0_4_node_151 | 0.4 | n |  | TRUE
159 | bus_LV_4280-4_0_4_node_152 | 0.4 | n |  | TRUE
160 | bus_LV_4280-4_0_4_node_149 | 0.4 | n |  | TRUE
161 | bus_LV_4280-4_0_4_node_150 | 0.4 | n |  | TRUE
162 | bus_LV_4280-4_0_4_node_158 | 0.4 | n |  | TRUE
163 | bus_LV_4280-4_0_4_node_159 | 0.4 | n |  | TRUE
164 | bus_LV_4280-4_0_4_node_162 | 0.4 | n |  | TRUE
165 | bus_MV_436_0_node_52 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4280-4_0_4_load_0 | 0 | 0.0064456 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4280-4_0_4_load_1 | 1 | 0.0011757 | 0.00029465 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4280-4_0_4_load_4 | 4 | 0.00022086 | 5.5353e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4280-4_0_4_load_33 | 5 | 0.0019857 | 0.00049766 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4280-4_0_4_load_5 | 6 | 0.0029154 | 0.00073066 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4280-4_0_4_load_6 | 8 | 0.0022507 | 0.00056409 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4280-4_0_4_load_160 | 9 | 0.00033265 | 8.3369e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4280-4_0_4_load_7 | 11 | 0.00079226 | 0.00019856 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4280-4_0_4_load_8 | 12 | 0.0020106 | 0.0005039 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4280-4_0_4_load_9 | 13 | 0.0011262 | 0.00028225 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4280-4_0_4_load_161 | 15 | 0.00090838 | 0.00022766 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4280-4_0_4_load_12 | 17 | 0.019082 | 0.0047825 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4280-4_0_4_load_13 | 18 | 0.011102 | 0.0027825 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4280-4_0_4_load_154 | 22 | 0.0011567 | 0.0002899 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4280-4_0_4_load_15 | 23 | 0.00074661 | 0.00018712 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4280-4_0_4_load_16 | 24 | 0.00078594 | 0.00019697 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4280-4_0_4_load_17 | 25 | 0.00070652 | 0.00017707 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4280-4_0_4_load_18 | 26 | 0.00053824 | 0.0001349 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4280-4_0_4_load_20 | 28 | 0.00065764 | 0.00016482 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4280-4_0_4_load_28 | 29 | 0.00098763 | 0.00024752 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4280-4_0_4_load_25 | 30 | 0.0012158 | 0.00030471 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4280-4_0_4_load_168 | 31 | 0.0013091 | 0.00032809 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4280-4_0_4_load_156 | 32 | 0.0026595 | 0.00066653 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4280-4_0_4_load_26 | 33 | 0.0022101 | 0.00055389 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4280-4_0_4_load_24 | 36 | 0.0081542 | 0.0020436 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4280-4_0_4_load_140 | 37 | 0.0012087 | 0.00030294 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4280-4_0_4_load_136 | 38 | 0.0067068 | 0.0016809 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4280-4_0_4_load_38 | 39 | 0.0070497 | 0.0017668 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4280-4_0_4_load_35 | 40 | 0.0028702 | 0.00071935 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4280-4_0_4_load_128 | 42 | 0.0025011 | 0.00062683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4280-4_0_4_load_36 | 43 | 0.0062917 | 0.0015769 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4280-4_0_4_load_27 | 44 | 0.0014008 | 0.00035107 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4280-4_0_4_load_31 | 45 | 0.001026 | 0.00025715 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4280-4_0_4_load_157 | 47 | 0.0033867 | 0.00084879 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4280-4_0_4_load_164 | 48 | 0.0014541 | 0.00036443 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4280-4_0_4_load_37 | 49 | 0.0084792 | 0.0021251 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4280-4_0_4_load_43 | 51 | 0.0018886 | 0.00047333 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4280-4_0_4_load_39 | 52 | 0.0015621 | 0.00039149 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4280-4_0_4_load_129 | 53 | 0.0017004 | 0.00042617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4280-4_0_4_load_40 | 54 | 0.001136 | 0.0002847 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4280-4_0_4_load_42 | 55 | 0.0011244 | 0.0002818 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4280-4_0_4_load_51 | 56 | 0.0010758 | 0.00026963 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4280-4_0_4_load_122 | 57 | 0.0021926 | 0.00054952 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4280-4_0_4_load_50 | 58 | 0.0020499 | 0.00051376 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4280-4_0_4_load_48 | 60 | 0.0044838 | 0.0011237 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4280-4_0_4_load_121 | 61 | 0.0048257 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4280-4_0_4_load_44 | 62 | 0.00091579 | 0.00022952 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4280-4_0_4_load_45 | 63 | 0.0010699 | 0.00026813 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4280-4_0_4_load_46 | 64 | 0.0046671 | 0.0011697 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4280-4_0_4_load_47 | 65 | 0.0062727 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4280-4_0_4_load_49 | 66 | 0.0041568 | 0.0010418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4280-4_0_4_load_165 | 68 | 0.0044796 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4280-4_0_4_load_79 | 70 | 0.0062886 | 0.0015761 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4280-4_0_4_load_112 | 71 | 0.002975 | 0.00074561 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4280-4_0_4_load_113 | 72 | 0.0013171 | 0.0003301 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4280-4_0_4_load_52 | 73 | 0.0099491 | 0.0024935 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4280-4_0_4_load_53 | 74 | 0.0023052 | 0.00057774 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4280-4_0_4_load_54 | 75 | 0.0022882 | 0.00057348 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4280-4_0_4_load_55 | 76 | 0.0023646 | 0.00059263 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4280-4_0_4_load_56 | 77 | 0.0031628 | 0.00079267 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4280-4_0_4_load_99 | 78 | 0.0015447 | 0.00038715 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4280-4_0_4_load_95 | 79 | 0.0022459 | 0.00056286 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4280-4_0_4_load_96 | 81 | 0.001545 | 0.00038721 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4280-4_0_4_load_57 | 82 | 0.0015875 | 0.00039786 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4280-4_0_4_load_58 | 83 | 0.00019735 | 4.9462e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4280-4_0_4_load_59 | 84 | 0.00095504 | 0.00023936 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4280-4_0_4_load_60 | 85 | 0.00015698 | 3.9342e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4280-4_0_4_load_61 | 86 | 0.0021505 | 0.00053897 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4280-4_0_4_load_101 | 87 | 0.0001482 | 3.7143e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4280-4_0_4_load_117 | 88 | 0.00042116 | 0.00010555 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4280-4_0_4_load_102 | 89 | 0.00093582 | 0.00023454 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4280-4_0_4_load_116 | 90 | 0.00095487 | 0.00023931 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4280-4_0_4_load_62 | 91 | 0.0018946 | 0.00047482 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4280-4_0_4_load_63 | 92 | 0.0018462 | 0.0004627 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4280-4_0_4_load_65 | 94 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4280-4_0_4_load_66 | 95 | 0.02591 | 0.0064935 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4280-4_0_4_load_67 | 96 | 0.011372 | 0.0028501 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4280-4_0_4_load_114 | 97 | 0.0019098 | 0.00047864 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4280-4_0_4_load_86 | 98 | 0.0018081 | 0.00045315 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4280-4_0_4_load_137 | 99 | 0.0070794 | 0.0017743 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4280-4_0_4_load_84 | 100 | 0.0023328 | 0.00058466 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4280-4_0_4_load_135 | 101 | 0.022061 | 0.0055291 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4280-4_0_4_load_68 | 102 | 0.0026914 | 0.00067454 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4280-4_0_4_load_69 | 103 | 0.0029137 | 0.00073024 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4280-4_0_4_load_70 | 104 | 0.0023101 | 0.00057897 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4280-4_0_4_load_71 | 105 | 0.002954 | 0.00074033 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4280-4_0_4_load_72 | 106 | 0.0037749 | 0.00094608 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4280-4_0_4_load_76 | 107 | 0.0018367 | 0.00046033 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4280-4_0_4_load_74 | 109 | 0.0011971 | 0.00030002 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4280-4_0_4_load_119 | 110 | 0.0017331 | 0.00043435 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4280-4_0_4_load_120 | 111 | 0.0018061 | 0.00045266 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4280-4_0_4_load_73 | 112 | 0.0029131 | 0.00073009 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4280-4_0_4_load_77 | 114 | 0.0014569 | 0.00036512 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4280-4_0_4_load_78 | 115 | 0.0029674 | 0.0007437 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4280-4_0_4_load_93 | 116 | 0.0026389 | 0.00066137 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4280-4_0_4_load_97 | 117 | 0.0020029 | 0.00050198 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4280-4_0_4_load_94 | 118 | 0.002256 | 0.0005654 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4280-4_0_4_load_98 | 119 | 0.0027871 | 0.00069851 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4280-4_0_4_load_82 | 120 | 0.0019565 | 0.00049036 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4280-4_0_4_load_108 | 121 | 0.001416 | 0.00035488 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4280-4_0_4_load_104 | 122 | 0.0012945 | 0.00032443 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4280-4_0_4_load_83 | 123 | 0.0080827 | 0.0020257 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4280-4_0_4_load_85 | 124 | 0.0046604 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4280-4_0_4_load_87 | 125 | 0.01122 | 0.0028121 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4280-4_0_4_load_127 | 126 | 0.01122 | 0.002812 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4280-4_0_4_load_88 | 127 | 0.0019681 | 0.00049324 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4280-4_0_4_load_89 | 128 | 0.0027304 | 0.00068431 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4280-4_0_4_load_90 | 129 | 0.0020001 | 0.00050128 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4280-4_0_4_load_92 | 130 | 0.0023762 | 0.00059554 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4280-4_0_4_load_124 | 132 | 0.0018258 | 0.00045758 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4280-4_0_4_load_110 | 133 | 0.0014344 | 0.0003595 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4280-4_0_4_load_109 | 134 | 0.0014728 | 0.00036912 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4280-4_0_4_load_103 | 136 | 0.0015407 | 0.00038614 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4280-4_0_4_load_107 | 138 | 0.0041807 | 0.0010478 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4280-4_0_4_load_115 | 139 | 0.0022246 | 0.00055754 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4280-4_0_4_load_123 | 140 | 0.004504 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4280-4_0_4_load_126 | 141 | 0.0015117 | 0.00037886 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4280-4_0_4_load_133 | 142 | 0.0013457 | 0.00033727 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4280-4_0_4_load_131 | 143 | 0.00096085 | 0.00024081 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4280-4_0_4_load_130 | 144 | 0.0044197 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4280-4_0_4_load_132 | 145 | 0.0011848 | 0.00029694 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4280-4_0_4_load_134 | 146 | 0.0014068 | 0.00035258 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4280-4_0_4_load_139 | 147 | 0.0015899 | 0.00039848 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4280-4_0_4_load_143 | 149 | 0.0045335 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4280-4_0_4_load_155 | 151 | 0.00092286 | 0.00023129 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4280-4_0_4_load_153 | 152 | 0.00076099 | 0.00019072 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4280-4_0_4_load_148 | 154 | 0.0014679 | 0.00036789 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4280-4_0_4_load_144 | 155 | 0.0015308 | 0.00038365 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4280-4_0_4_load_145 | 156 | 0.0014757 | 0.00036983 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_4280-4_0_4_load_147 | 157 | 0.0014931 | 0.00037421 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_4280-4_0_4_load_152 | 159 | 0.0034847 | 0.00087336 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_4280-4_0_4_load_149 | 160 | 0.0013731 | 0.00034414 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_4280-4_0_4_load_150 | 161 | 0.0048352 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
133 | LV_4280-4_0_4_load_158 | 162 | 0.0034302 | 0.0008597 | 0 | 0 |  | 1 | TRUE | wye
134 | LV_4280-4_0_4_load_159 | 163 | 0.0030208 | 0.00075709 | 0 | 0 |  | 1 | TRUE | wye
135 | LV_4280-4_0_4_load_162 | 164 | 0.00095122 | 0.0002384 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4280-4_0_4_line_0 |  | 0 | 1 | 0.040468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4280-4_0_4_line_1 |  | 0 | 2 | 0.049902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4280-4_0_4_line_2 |  | 1 | 3 | 0.010546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4280-4_0_4_line_3 |  | 2 | 4 | 0.039593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4280-4_0_4_line_4 |  | 2 | 5 | 0.045103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4280-4_0_4_line_5 |  | 3 | 6 | 0.030542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4280-4_0_4_line_6 |  | 4 | 7 | 0.02925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4280-4_0_4_line_7 |  | 6 | 8 | 0.0013204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4280-4_0_4_line_8 |  | 7 | 9 | 0.04593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4280-4_0_4_line_9 |  | 7 | 10 | 0.034175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4280-4_0_4_line_10 |  | 9 | 14 | 0.0076073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4280-4_0_4_line_11 |  | 10 | 41 | 0.029346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4280-4_0_4_line_12 |  | 11 | 12 | 0.068386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4280-4_0_4_line_13 |  | 11 | 13 | 0.016743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4280-4_0_4_line_14 |  | 13 | 14 | 0.038029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4280-4_0_4_line_15 |  | 14 | 15 | 0.035833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4280-4_0_4_line_16 |  | 15 | 16 | 0.010234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4280-4_0_4_line_17 |  | 16 | 164 | 0.032888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4280-4_0_4_line_18 |  | 17 | 18 | 0.033132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4280-4_0_4_line_19 |  | 18 | 19 | 0.031987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4280-4_0_4_line_20 |  | 19 | 20 | 0.007981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4280-4_0_4_line_21 |  | 20 | 21 | 0.011452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4280-4_0_4_line_22 |  | 20 | 22 | 0.010954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4280-4_0_4_line_23 |  | 21 | 37 | 0.016199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4280-4_0_4_line_24 |  | 21 | 38 | 0.041354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4280-4_0_4_line_25 |  | 23 | 24 | 0.00086281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4280-4_0_4_line_26 |  | 23 | 25 | 0.0067048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4280-4_0_4_line_27 |  | 24 | 26 | 0.023098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4280-4_0_4_line_28 |  | 25 | 27 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4280-4_0_4_line_29 |  | 26 | 28 | 0.0018481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4280-4_0_4_line_30 |  | 27 | 29 | 0.015552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4280-4_0_4_line_31 |  | 27 | 30 | 0.0071325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4280-4_0_4_line_32 |  | 27 | 31 | 0.060611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4280-4_0_4_line_33 |  | 29 | 32 | 0.011193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4280-4_0_4_line_34 |  | 30 | 33 | 0.021478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4280-4_0_4_line_35 |  | 32 | 47 | 0.017859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4280-4_0_4_line_36 |  | 33 | 44 | 0.0057646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4280-4_0_4_line_37 |  | 34 | 35 | 0.027944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4280-4_0_4_line_38 |  | 34 | 36 | 0.038121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4280-4_0_4_line_39 |  | 35 | 39 | 0.019842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4280-4_0_4_line_40 |  | 35 | 40 | 0.003061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4280-4_0_4_line_41 |  | 36 | 41 | 0.057495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4280-4_0_4_line_42 |  | 37 | 147 | 0.0069079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4280-4_0_4_line_43 |  | 38 | 101 | 0.0022091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4280-4_0_4_line_44 |  | 39 | 42 | 0.021175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4280-4_0_4_line_45 |  | 40 | 43 | 0.019536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4280-4_0_4_line_46 |  | 42 | 53 | 0.0017352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4280-4_0_4_line_47 |  | 43 | 49 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4280-4_0_4_line_48 |  | 44 | 45 | 0.014548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4280-4_0_4_line_49 |  | 45 | 46 | 0.012612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4280-4_0_4_line_50 |  | 46 | 48 | 0.033667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4280-4_0_4_line_51 |  | 47 | 163 | 0.000529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4280-4_0_4_line_52 |  | 49 | 50 | 0.0068323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4280-4_0_4_line_53 |  | 50 | 51 | 0.02949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4280-4_0_4_line_54 |  | 50 | 52 | 0.026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4280-4_0_4_line_55 |  | 51 | 57 | 0.0055867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4280-4_0_4_line_56 |  | 52 | 54 | 0.025576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4280-4_0_4_line_57 |  | 53 | 142 | 0.015499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4280-4_0_4_line_58 |  | 54 | 55 | 0.0098742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4280-4_0_4_line_59 |  | 55 | 56 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4280-4_0_4_line_60 |  | 56 | 60 | 0.012335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4280-4_0_4_line_61 |  | 57 | 61 | 0.0061854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4280-4_0_4_line_62 |  | 58 | 59 | 0.011911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4280-4_0_4_line_63 |  | 59 | 71 | 0.0071675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4280-4_0_4_line_64 |  | 59 | 72 | 0.0057207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4280-4_0_4_line_65 |  | 60 | 67 | 0.095147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4280-4_0_4_line_66 |  | 60 | 64 | 0.017434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4280-4_0_4_line_67 |  | 61 | 140 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4280-4_0_4_line_68 |  | 62 | 63 | 0.022052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4280-4_0_4_line_69 |  | 62 | 64 | 0.029747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4280-4_0_4_line_70 |  | 63 | 65 | 0.0053604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4280-4_0_4_line_71 |  | 65 | 66 | 0.00039413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4280-4_0_4_line_72 |  | 66 | 69 | 0.035828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4280-4_0_4_line_73 |  | 67 | 68 | 0.023403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4280-4_0_4_line_74 |  | 69 | 70 | 0.00047441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4280-4_0_4_line_75 |  | 71 | 97 | 0.0093752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4280-4_0_4_line_76 |  | 72 | 140 | 0.012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4280-4_0_4_line_77 |  | 73 | 74 | 0.003668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4280-4_0_4_line_78 |  | 73 | 75 | 0.015273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4280-4_0_4_line_79 |  | 74 | 76 | 0.02366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4280-4_0_4_line_80 |  | 75 | 77 | 0.0094886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4280-4_0_4_line_81 |  | 76 | 78 | 0.018214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4280-4_0_4_line_82 |  | 77 | 79 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4280-4_0_4_line_83 |  | 78 | 80 | 0.0294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4280-4_0_4_line_84 |  | 79 | 81 | 0.014612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4280-4_0_4_line_85 |  | 80 | 121 | 0.018158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4280-4_0_4_line_86 |  | 80 | 122 | 0.012987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4280-4_0_4_line_87 |  | 80 | 120 | 0.016274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4280-4_0_4_line_88 |  | 82 | 83 | 0.0011377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4280-4_0_4_line_89 |  | 82 | 84 | 0.0038327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4280-4_0_4_line_90 |  | 83 | 85 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4280-4_0_4_line_91 |  | 84 | 86 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4280-4_0_4_line_92 |  | 85 | 87 | 0.0019088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4280-4_0_4_line_93 |  | 86 | 88 | 0.005259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4280-4_0_4_line_94 |  | 87 | 89 | 0.0086569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4280-4_0_4_line_95 |  | 88 | 90 | 0.0080631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4280-4_0_4_line_96 |  | 89 | 130 | 0.010084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4280-4_0_4_line_97 |  | 90 | 139 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4280-4_0_4_line_98 |  | 91 | 92 | 0.0085993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4280-4_0_4_line_99 |  | 91 | 93 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4280-4_0_4_line_100 |  | 92 | 94 | 0.013598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4280-4_0_4_line_101 |  | 93 | 95 | 0.021764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_4280-4_0_4_line_102 |  | 93 | 96 | 0.027275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_4280-4_0_4_line_103 |  | 94 | 97 | 0.003464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4280-4_0_4_line_104 |  | 95 | 98 | 0.058161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4280-4_0_4_line_105 |  | 96 | 99 | 0.038746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4280-4_0_4_line_106 |  | 98 | 100 | 0.0060322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4280-4_0_4_line_107 |  | 99 | 101 | 0.029455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4280-4_0_4_line_108 |  | 100 | 123 | 0.024877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4280-4_0_4_line_109 |  | 102 | 103 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_4280-4_0_4_line_110 |  | 102 | 104 | 0.0046276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4280-4_0_4_line_111 |  | 103 | 105 | 0.0069867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_4280-4_0_4_line_112 |  | 104 | 106 | 0.013293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_4280-4_0_4_line_113 |  | 105 | 107 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_4280-4_0_4_line_114 |  | 106 | 108 | 0.01548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_4280-4_0_4_line_115 |  | 107 | 109 | 0.010666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_4280-4_0_4_line_116 |  | 108 | 110 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_4280-4_0_4_line_117 |  | 108 | 111 | 0.0043788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_4280-4_0_4_line_118 |  | 109 | 112 | 0.014854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4280-4_0_4_line_119 |  | 110 | 131 | 0.025692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_4280-4_0_4_line_120 |  | 111 | 126 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_4280-4_0_4_line_121 |  | 112 | 113 | 0.017907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_4280-4_0_4_line_122 |  | 113 | 114 | 0.00062396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_4280-4_0_4_line_123 |  | 113 | 115 | 0.043333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4280-4_0_4_line_124 |  | 114 | 116 | 0.014784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4280-4_0_4_line_125 |  | 115 | 117 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4280-4_0_4_line_126 |  | 116 | 118 | 0.0049364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_4280-4_0_4_line_127 |  | 117 | 119 | 0.0014028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_4280-4_0_4_line_128 |  | 118 | 133 | 0.017752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_4280-4_0_4_line_129 |  | 121 | 134 | 0.0020972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_4280-4_0_4_line_130 |  | 122 | 136 | 0.018695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4280-4_0_4_line_131 |  | 123 | 124 | 0.0021647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
132 | LV_4280-4_0_4_line_132 |  | 124 | 125 | 0.054672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
133 | LV_4280-4_0_4_line_133 |  | 125 | 126 | 0.020624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
134 | LV_4280-4_0_4_line_134 |  | 127 | 128 | 0.026869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4280-4_0_4_line_135 |  | 127 | 129 | 0.019217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4280-4_0_4_line_136 |  | 129 | 130 | 0.0012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_4280-4_0_4_line_137 |  | 131 | 132 | 0.041079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_4280-4_0_4_line_138 |  | 132 | 135 | 0.0065421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_4280-4_0_4_line_139 |  | 133 | 134 | 0.02076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_4280-4_0_4_line_140 |  | 135 | 141 | 0.0028116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_4280-4_0_4_line_141 |  | 136 | 137 | 0.024214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4280-4_0_4_line_142 |  | 137 | 138 | 0.023551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_4280-4_0_4_line_143 |  | 138 | 139 | 0.0099461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4280-4_0_4_line_144 |  | 142 | 143 | 0.0060117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4280-4_0_4_line_145 |  | 143 | 144 | 0.0080364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4280-4_0_4_line_146 |  | 144 | 145 | 0.0089323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4280-4_0_4_line_147 |  | 145 | 146 | 0.0047938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4280-4_0_4_line_148 |  | 147 | 148 | 0.0068116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4280-4_0_4_line_149 |  | 148 | 149 | 0.017213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4280-4_0_4_line_150 |  | 149 | 153 | 0.0098742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4280-4_0_4_line_151 |  | 150 | 151 | 0.0045618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4280-4_0_4_line_152 |  | 150 | 152 | 0.00093118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4280-4_0_4_line_153 |  | 151 | 154 | 0.0055113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4280-4_0_4_line_154 |  | 153 | 154 | 0.008639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4280-4_0_4_line_155 |  | 153 | 155 | 0.0059143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4280-4_0_4_line_156 |  | 155 | 156 | 0.0089939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4280-4_0_4_line_157 |  | 156 | 157 | 0.0053204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_4280-4_0_4_line_158 |  | 157 | 158 | 0.011236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4280-4_0_4_line_159 |  | 158 | 159 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4280-4_0_4_line_160 |  | 158 | 160 | 0.0040717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4280-4_0_4_line_161 |  | 159 | 162 | 0.0028844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_4280-4_0_4_line_162 |  | 160 | 161 | 0.0053759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_4280-4_0_4_line_163 |  | 162 | 163 | 0.023391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4280-4_0_4_trafo_67 | 0.63 MVA 20/0.4 kV | 165 | 96 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2635859.8404 | 1240675.363 | 2635846.6346 | 1240637.1104
1 | 2635874.6207 | 1240722.9262 | 2635872.806 | 1240712.92 | 2635859.8404 | 1240675.363
2 | 2635843.1933 | 1240627.1421 | 2635846.6346 | 1240637.1104
3 | 2635874.6207 | 1240722.9262 | 2635870.9681 | 1240731.7987 | 2635851.5325 | 1240754.6488
4 | 2635874.6207 | 1240722.9262 | 2635919.33 | 1240716.9781
5 | 2635843.1933 | 1240627.1421 | 2635872.1225 | 1240617.3477
6 | 2635832.5813 | 1240776.9294 | 2635851.5325 | 1240754.6488
7 | 2635872.1225 | 1240617.3477 | 2635873.3731 | 1240616.9243
8 | 2635832.5813 | 1240776.9294 | 2635818.3992 | 1240733.2439
9 | 2635832.5813 | 1240776.9294 | 2635833.3409 | 1240780.1026 | 2635834.8528 | 1240785.1594 | 2635836.1499 | 1240789.47 | 2635837.8619 | 1240795.1951 | 2635843.0989 | 1240809.4247
10 | 2635816.0503 | 1240726.0083 | 2635818.3992 | 1240733.2439
11 | 2635843.0989 | 1240809.4247 | 2635852.6546 | 1240837.1778
12 | 2635779.4561 | 1240608.431 | 2635798.9081 | 1240673.9924
13 | 2635803.9378 | 1240689.9597 | 2635801.44 | 1240682.5258 | 2635798.9081 | 1240673.9924
14 | 2635816.0503 | 1240726.0083 | 2635803.9378 | 1240689.9597
15 | 2635816.0503 | 1240726.0083 | 2635783.7296 | 1240736.9206 | 2635782.0419 | 1240737.2495
16 | 2635771.9964 | 1240739.207 | 2635782.0419 | 1240737.2495
17 | 2635771.9964 | 1240739.207 | 2635765.1017 | 1240739.0654 | 2635759.0534 | 1240736.494 | 2635754.3971 | 1240728.75 | 2635750.603 | 1240719.084
18 | 2636193.5755 | 1240889.9555 | 2636160.4444 | 1240890.1951
19 | 2636128.4583 | 1240890.4264 | 2636160.4444 | 1240890.1951
20 | 2636128.4583 | 1240890.4264 | 2636126.1155 | 1240882.7962
21 | 2636126.1155 | 1240882.7962 | 2636124.3698 | 1240871.4784
22 | 2636126.1155 | 1240882.7962 | 2636123.81 | 1240887.6853 | 2636124.3982 | 1240893.2029
23 | 2636124.3698 | 1240871.4784 | 2636109.2612 | 1240877.3221
24 | 2636124.3698 | 1240871.4784 | 2636122.231 | 1240857.6565 | 2636124.3947 | 1240833.8211 | 2636124.1377 | 1240830.3965
25 | 2635971.9032 | 1240855.8507 | 2635972.3247 | 1240856.6036
26 | 2635972.3247 | 1240856.6036 | 2635975.6001 | 1240862.4539
27 | 2635971.9032 | 1240855.8507 | 2635960.6197 | 1240835.6967
28 | 2635982.4342 | 1240876.087 | 2635975.9278 | 1240863.0392 | 2635975.6001 | 1240862.4539
29 | 2635960.6197 | 1240835.6967 | 2635959.7169 | 1240834.0841
30 | 2635982.4342 | 1240876.087 | 2635993.4816 | 1240870.9061 | 2635996.7091 | 1240870.0083
31 | 2635982.4342 | 1240876.087 | 2635985.617 | 1240882.4699
32 | 2635982.4342 | 1240876.087 | 2635928.0094 | 1240902.7637
33 | 2635996.7091 | 1240870.0083 | 2636007.4924 | 1240867.0086
34 | 2635985.617 | 1240882.4699 | 2635995.2014 | 1240901.6907
35 | 2636025.0187 | 1240863.6378 | 2636010.3402 | 1240866.2163 | 2636007.4924 | 1240867.0086
36 | 2635995.2014 | 1240901.6907 | 2635997.1649 | 1240905.6284 | 2635997.7049 | 1240906.8815
37 | 2635948.4913 | 1240759.1179 | 2635933.0355 | 1240771.8326 | 2635926.873 | 1240776.8986
38 | 2635926.873 | 1240776.8986 | 2635907.8236 | 1240792.4934 | 2635897.3745 | 1240801.0447
39 | 2635948.4913 | 1240759.1179 | 2635960.5274 | 1240774.8921
40 | 2635948.4913 | 1240759.1179 | 2635950.855 | 1240757.173
41 | 2635852.6546 | 1240837.1778 | 2635872.9622 | 1240821.0233 | 2635897.3745 | 1240801.0447
42 | 2636102.8184 | 1240879.8141 | 2636109.2612 | 1240877.3221
43 | 2636124.1377 | 1240830.3965 | 2636123.9724 | 1240828.1935
44 | 2635960.5274 | 1240774.8921 | 2635973.372 | 1240791.7259
45 | 2635950.855 | 1240757.173 | 2635965.941 | 1240744.7603
46 | 2635974.4245 | 1240793.1054 | 2635973.372 | 1240791.7259
47 | 2635977.2198 | 1240735.4801 | 2635965.941 | 1240744.7603
48 | 2636003.4621 | 1240920.2423 | 2635997.7049 | 1240906.8815
49 | 2636008.453 | 1240931.8246 | 2636003.4621 | 1240920.2423
50 | 2636008.453 | 1240931.8246 | 2636040.3684 | 1240921.1078
51 | 2636025.0187 | 1240863.6378 | 2636025.5397 | 1240863.5462
52 | 2635982.4957 | 1240731.1391 | 2635977.2198 | 1240735.4801
53 | 2635982.4957 | 1240731.1391 | 2635993.6645 | 1240735.9209 | 2636009.4051 | 1240738.6069 | 2636010.7737 | 1240738.5068
54 | 2635982.4957 | 1240731.1391 | 2635999.0744 | 1240715.3294 | 2636001.6101 | 1240712.91
55 | 2636010.7737 | 1240738.5068 | 2636016.3455 | 1240738.0993
56 | 2636001.6101 | 1240712.91 | 2636020.1143 | 1240695.2548
57 | 2635974.4245 | 1240793.1054 | 2635983.8262 | 1240805.427
58 | 2636027.2583 | 1240688.4386 | 2636020.1143 | 1240695.2548
59 | 2636027.2583 | 1240688.4386 | 2636045.7368 | 1240670.804
60 | 2636054.5908 | 1240662.2168 | 2636051.199 | 1240665.5914 | 2636045.7368 | 1240670.804
61 | 2636016.3455 | 1240738.0993 | 2636022.5144 | 1240737.6482
62 | 2636058.0255 | 1240735.5108 | 2636055.0182 | 1240723.9852
63 | 2636058.0255 | 1240735.5108 | 2636065.184 | 1240735.1502
64 | 2636058.0255 | 1240735.5108 | 2636052.3121 | 1240735.799
65 | 2636054.5908 | 1240662.2168 | 2635988.0053 | 1240594.2517
66 | 2636054.5908 | 1240662.2168 | 2636066.9502 | 1240649.9205
67 | 2636039.8738 | 1240736.4265 | 2636037.7636 | 1240736.533 | 2636022.5144 | 1240737.6482
68 | 2636088.038 | 1240628.9405 | 2636103.6712 | 1240613.3871
69 | 2636088.038 | 1240628.9405 | 2636066.9502 | 1240649.9205
70 | 2636103.6712 | 1240613.3871 | 2636107.4713 | 1240609.6064
71 | 2636107.7507 | 1240609.3284 | 2636107.4713 | 1240609.6064
72 | 2636133.1497 | 1240584.0591 | 2636107.7507 | 1240609.3284
73 | 2635988.0053 | 1240594.2517 | 2636003.3662 | 1240576.5953
74 | 2636133.4934 | 1240583.7321 | 2636133.1497 | 1240584.0591
75 | 2636065.184 | 1240735.1502 | 2636074.5472 | 1240734.6785
76 | 2636052.3121 | 1240735.799 | 2636039.8738 | 1240736.4265
77 | 2636166.4987 | 1240662.6069 | 2636169.1913 | 1240660.116
78 | 2636166.4987 | 1240662.6069 | 2636155.2872 | 1240672.9789
79 | 2636169.1913 | 1240660.116 | 2636186.5587 | 1240644.0491
80 | 2636148.322 | 1240679.4225 | 2636155.2872 | 1240672.9789
81 | 2636200.7951 | 1240632.6907 | 2636186.9695 | 1240643.6691 | 2636186.5587 | 1240644.0491
82 | 2636148.322 | 1240679.4225 | 2636146.4942 | 1240681.1134 | 2636139.7768 | 1240688.3684
83 | 2636223.819 | 1240614.4082 | 2636200.7951 | 1240632.6907
84 | 2636129.8491 | 1240699.0905 | 2636139.7768 | 1240688.3684
85 | 2636223.819 | 1240614.4082 | 2636231.1053 | 1240631.04
86 | 2636223.819 | 1240614.4082 | 2636234.9012 | 1240607.6377
87 | 2636223.819 | 1240614.4082 | 2636215.3728 | 1240600.4981
88 | 2636302.4083 | 1240668.5659 | 2636302.8012 | 1240669.6336
89 | 2636301.0847 | 1240664.969 | 2636302.4083 | 1240668.5659
90 | 2636310.3039 | 1240689.8836 | 2636309.2157 | 1240687.0646 | 2636302.8012 | 1240669.6336
91 | 2636301.0847 | 1240664.969 | 2636295.6102 | 1240650.0926
92 | 2636310.3039 | 1240689.8836 | 2636310.9912 | 1240691.6643
93 | 2636293.794 | 1240645.1571 | 2636295.6102 | 1240650.0926
94 | 2636314.1087 | 1240699.7404 | 2636310.9912 | 1240691.6643
95 | 2636291.0094 | 1240637.5901 | 2636293.794 | 1240645.1571
96 | 2636314.1087 | 1240699.7404 | 2636317.74 | 1240709.1477
97 | 2636291.0094 | 1240637.5901 | 2636283.8864 | 1240618.2338
98 | 2636100.1795 | 1240733.4765 | 2636096.235 | 1240733.5859 | 2636091.5876 | 1240733.8201
99 | 2636116.2899 | 1240733.0296 | 2636100.1795 | 1240733.4765
100 | 2636078.0069 | 1240734.5042 | 2636091.5876 | 1240733.8201
101 | 2636116.2899 | 1240733.0296 | 2636138.0385 | 1240732.2025
102 | 2636116.2899 | 1240733.0296 | 2636118.6178 | 1240760.2047
103 | 2636078.0069 | 1240734.5042 | 2636074.5472 | 1240734.6785
104 | 2636138.0385 | 1240732.2025 | 2636158.8829 | 1240731.4098 | 2636178.2167 | 1240731.3274 | 2636195.8936 | 1240734.5458
105 | 2636121.7686 | 1240798.8215 | 2636120.6599 | 1240784.0444 | 2636118.6178 | 1240760.2047
106 | 2636195.8936 | 1240734.5458 | 2636197.9288 | 1240734.9164 | 2636201.6749 | 1240736.211
107 | 2636121.7686 | 1240798.8215 | 2636123.9724 | 1240828.1935
108 | 2636223.9327 | 1240746.9303 | 2636213.615 | 1240740.3376 | 2636201.6749 | 1240736.211
109 | 2636289.6643 | 1240764.7239 | 2636282.9531 | 1240749.4016
110 | 2636289.6643 | 1240764.7239 | 2636291.5209 | 1240768.9627
111 | 2636282.9531 | 1240749.4016 | 2636280.1499 | 1240743.0018
112 | 2636296.854 | 1240781.1387 | 2636291.5209 | 1240768.9627
113 | 2636272.9871 | 1240726.6483 | 2636280.1499 | 1240743.0018
114 | 2636303.0648 | 1240795.3185 | 2636296.854 | 1240781.1387
115 | 2636272.9871 | 1240726.6483 | 2636268.7079 | 1240716.8785
116 | 2636303.0648 | 1240795.3185 | 2636313.5262 | 1240795.5651
117 | 2636303.0648 | 1240795.3185 | 2636298.7108 | 1240794.8531
118 | 2636262.7484 | 1240703.2726 | 2636268.7079 | 1240716.8785
119 | 2636338.9584 | 1240792.4693 | 2636318.9856 | 1240795.6938 | 2636313.5262 | 1240795.5651
120 | 2636298.7108 | 1240794.8531 | 2636288.9428 | 1240793.8091 | 2636285.1548 | 1240792.7074
121 | 2636255.5642 | 1240686.8703 | 2636262.7484 | 1240703.2726
122 | 2636255.5642 | 1240686.8703 | 2636255.3138 | 1240686.2988
123 | 2636255.5642 | 1240686.8703 | 2636233.9537 | 1240694.4989 | 2636225.4387 | 1240675.9435
124 | 2636255.3138 | 1240686.2988 | 2636249.3812 | 1240672.757
125 | 2636219.4659 | 1240662.9277 | 2636225.4387 | 1240675.9435
126 | 2636249.3812 | 1240672.757 | 2636247.4004 | 1240668.2355
127 | 2636218.8808 | 1240661.6527 | 2636219.4659 | 1240662.9277
128 | 2636240.2771 | 1240651.9759 | 2636247.4004 | 1240668.2355
129 | 2636231.9468 | 1240632.961 | 2636231.1053 | 1240631.04
130 | 2636250.8549 | 1240597.891 | 2636234.9012 | 1240607.6377
131 | 2636225.7568 | 1240748.0959 | 2636223.9327 | 1240746.9303
132 | 2636225.7568 | 1240748.0959 | 2636236.541 | 1240754.9867 | 2636250.3554 | 1240768.5129 | 2636266.4012 | 1240784.3432
133 | 2636285.1548 | 1240792.7074 | 2636278.8292 | 1240790.8676 | 2636266.4012 | 1240784.3432 | 2636266.4012 | 1240784.3432
134 | 2636325.1092 | 1240728.2386 | 2636334.7849 | 1240753.3045
135 | 2636325.1092 | 1240728.2386 | 2636318.1888 | 1240710.3104
136 | 2636317.74 | 1240709.1477 | 2636318.1888 | 1240710.3104
137 | 2636338.9584 | 1240792.4693 | 2636343.5258 | 1240833.2941
138 | 2636344.4001 | 1240839.7773 | 2636343.5751 | 1240833.7351 | 2636343.5258 | 1240833.2941
139 | 2636231.9468 | 1240632.961 | 2636240.2771 | 1240651.9759
140 | 2636344.4001 | 1240839.7773 | 2636344.7818 | 1240842.5629
141 | 2636272.318 | 1240586.7975 | 2636260.415 | 1240592.0504 | 2636250.8549 | 1240597.891
142 | 2636272.318 | 1240586.7975 | 2636280.4514 | 1240608.8996
143 | 2636283.8864 | 1240618.2338 | 2636280.4514 | 1240608.8996
144 | 2635987.4729 | 1240810.2063 | 2635983.8262 | 1240805.427
145 | 2635992.3478 | 1240816.5952 | 2635987.4729 | 1240810.2063
146 | 2635997.0085 | 1240824.1584 | 2635995.1794 | 1240820.3063 | 2635992.3478 | 1240816.5952
147 | 2635997.0085 | 1240824.1584 | 2635999.0648 | 1240828.4888
148 | 2636096.4655 | 1240882.2713 | 2636102.8184 | 1240879.8141
149 | 2636096.4655 | 1240882.2713 | 2636091.1885 | 1240883.4511 | 2636079.4747 | 1240884.9177
150 | 2636069.677 | 1240886.1445 | 2636079.4747 | 1240884.9177
151 | 2636071.7037 | 1240904.7464 | 2636071.2096 | 1240900.2114
152 | 2636071.7037 | 1240904.7464 | 2636071.8049 | 1240905.6721
153 | 2636070.6127 | 1240894.7326 | 2636071.2096 | 1240900.2114
154 | 2636069.677 | 1240886.1445 | 2636070.6127 | 1240894.7326
155 | 2636069.677 | 1240886.1445 | 2636065.0343 | 1240882.4806
156 | 2636063.8721 | 1240873.5621 | 2636065.0343 | 1240882.4806 | 2636065.0343 | 1240882.4806
157 | 2636063.8721 | 1240873.5621 | 2636063.1847 | 1240868.2863
158 | 2636061.7328 | 1240857.1444 | 2636063.1847 | 1240868.2863
159 | 2636061.7328 | 1240857.1444 | 2636058.3644 | 1240857.7799 | 2636051.4188 | 1240859
160 | 2636061.7328 | 1240857.1444 | 2636065.7326 | 1240856.3824
161 | 2636051.4188 | 1240859 | 2636048.5779 | 1240859.4991
162 | 2636071.0135 | 1240855.3763 | 2636065.7326 | 1240856.3824
163 | 2636025.5397 | 1240863.5462 | 2636048.5779 | 1240859.4991

## bus_geodata
| x | y | coords
0 | 2635859.8404 | 1240675.363
1 | 2635846.6346 | 1240637.1104
2 | 2635874.6207 | 1240722.9262
3 | 2635843.1933 | 1240627.1421
4 | 2635851.5325 | 1240754.6488
5 | 2635919.33 | 1240716.9781
6 | 2635872.1225 | 1240617.3477
7 | 2635832.5813 | 1240776.9294
8 | 2635873.3731 | 1240616.9243
9 | 2635818.3992 | 1240733.2439
10 | 2635843.0989 | 1240809.4247
11 | 2635798.9081 | 1240673.9924
12 | 2635779.4561 | 1240608.431
13 | 2635803.9378 | 1240689.9597
14 | 2635816.0503 | 1240726.0083
15 | 2635782.0419 | 1240737.2495
16 | 2635771.9964 | 1240739.207
17 | 2636193.5755 | 1240889.9555
18 | 2636160.4444 | 1240890.1951
19 | 2636128.4583 | 1240890.4264
20 | 2636126.1155 | 1240882.7962
21 | 2636124.3698 | 1240871.4784
22 | 2636124.3982 | 1240893.2029
23 | 2635972.3247 | 1240856.6036
24 | 2635971.9032 | 1240855.8507
25 | 2635975.6001 | 1240862.4539
26 | 2635960.6197 | 1240835.6967
27 | 2635982.4342 | 1240876.087
28 | 2635959.7169 | 1240834.0841
29 | 2635996.7091 | 1240870.0083
30 | 2635985.617 | 1240882.4699
31 | 2635928.0094 | 1240902.7637
32 | 2636007.4924 | 1240867.0086
33 | 2635995.2014 | 1240901.6907
34 | 2635926.873 | 1240776.8986
35 | 2635948.4913 | 1240759.1179
36 | 2635897.3745 | 1240801.0447
37 | 2636109.2612 | 1240877.3221
38 | 2636124.1377 | 1240830.3965
39 | 2635960.5274 | 1240774.8921
40 | 2635950.855 | 1240757.173
41 | 2635852.6546 | 1240837.1778
42 | 2635973.3719 | 1240791.7259
43 | 2635965.941 | 1240744.7603
44 | 2635997.7049 | 1240906.8815
45 | 2636003.4621 | 1240920.2423
46 | 2636008.453 | 1240931.8246
47 | 2636025.0187 | 1240863.6378
48 | 2636040.3684 | 1240921.1078
49 | 2635977.2198 | 1240735.4802
50 | 2635982.4957 | 1240731.1391
51 | 2636010.7737 | 1240738.5068
52 | 2636001.6101 | 1240712.91
53 | 2635974.4245 | 1240793.1054
54 | 2636020.1143 | 1240695.2548
55 | 2636027.2583 | 1240688.4386
56 | 2636045.7368 | 1240670.804
57 | 2636016.3455 | 1240738.0993
58 | 2636055.0182 | 1240723.9852
59 | 2636058.0255 | 1240735.5108
60 | 2636054.5908 | 1240662.2168
61 | 2636022.5144 | 1240737.6482
62 | 2636088.038 | 1240628.9405
63 | 2636103.6712 | 1240613.3871
64 | 2636066.9502 | 1240649.9205
65 | 2636107.4713 | 1240609.6064
66 | 2636107.7507 | 1240609.3284
67 | 2635988.0053 | 1240594.2517
68 | 2636003.3662 | 1240576.5953
69 | 2636133.1497 | 1240584.0591
70 | 2636133.4934 | 1240583.7321
71 | 2636065.184 | 1240735.1502
72 | 2636052.3121 | 1240735.799
73 | 2636166.4987 | 1240662.6069
74 | 2636169.1913 | 1240660.116
75 | 2636155.2872 | 1240672.9789
76 | 2636186.5587 | 1240644.0491
77 | 2636148.322 | 1240679.4225
78 | 2636200.7951 | 1240632.6907
79 | 2636139.7768 | 1240688.3684
80 | 2636223.819 | 1240614.4082
81 | 2636129.8491 | 1240699.0905
82 | 2636302.4083 | 1240668.5659
83 | 2636302.8012 | 1240669.6336
84 | 2636301.0847 | 1240664.969
85 | 2636310.3039 | 1240689.8836
86 | 2636295.6102 | 1240650.0926
87 | 2636310.9912 | 1240691.6643
88 | 2636293.794 | 1240645.1571
89 | 2636314.1087 | 1240699.7404
90 | 2636291.0094 | 1240637.5901
91 | 2636100.1795 | 1240733.4765
92 | 2636091.5876 | 1240733.8201
93 | 2636116.2899 | 1240733.0296
94 | 2636078.0069 | 1240734.5042
95 | 2636138.0385 | 1240732.2025
96 | 2636118.6178 | 1240760.2047
97 | 2636074.5472 | 1240734.6785
98 | 2636195.8936 | 1240734.5458
99 | 2636121.7686 | 1240798.8215
100 | 2636201.6749 | 1240736.211
101 | 2636123.9724 | 1240828.1935
102 | 2636289.6643 | 1240764.7239
103 | 2636282.9531 | 1240749.4016
104 | 2636291.5209 | 1240768.9627
105 | 2636280.1499 | 1240743.0018
106 | 2636296.854 | 1240781.1387
107 | 2636272.987 | 1240726.6483
108 | 2636303.0648 | 1240795.3185
109 | 2636268.7079 | 1240716.8785
110 | 2636313.5262 | 1240795.5651
111 | 2636298.7108 | 1240794.8531
112 | 2636262.7484 | 1240703.2726
113 | 2636255.5642 | 1240686.8703
114 | 2636255.3138 | 1240686.2988
115 | 2636225.4387 | 1240675.9435
116 | 2636249.3812 | 1240672.757
117 | 2636219.4659 | 1240662.9277
118 | 2636247.4004 | 1240668.2355
119 | 2636218.8808 | 1240661.6528
120 | 2636215.3728 | 1240600.4981
121 | 2636231.1053 | 1240631.04
122 | 2636234.9012 | 1240607.6377
123 | 2636223.9327 | 1240746.9303
124 | 2636225.7568 | 1240748.0959
125 | 2636266.4012 | 1240784.3432
126 | 2636285.1548 | 1240792.7074
127 | 2636325.1092 | 1240728.2386
128 | 2636334.7849 | 1240753.3045
129 | 2636318.1888 | 1240710.3104
130 | 2636317.74 | 1240709.1477
131 | 2636338.9584 | 1240792.4693
132 | 2636343.5258 | 1240833.2941
133 | 2636240.2771 | 1240651.9759
134 | 2636231.9468 | 1240632.961
135 | 2636344.4001 | 1240839.7773
136 | 2636250.8549 | 1240597.891
137 | 2636272.318 | 1240586.7975
138 | 2636280.4514 | 1240608.8996
139 | 2636283.8864 | 1240618.2338
140 | 2636039.8738 | 1240736.4265
141 | 2636344.7818 | 1240842.5629
142 | 2635983.8262 | 1240805.427
143 | 2635987.4729 | 1240810.2063
144 | 2635992.3478 | 1240816.5952
145 | 2635997.0085 | 1240824.1584
146 | 2635999.0648 | 1240828.4888
147 | 2636102.8184 | 1240879.8141
148 | 2636096.4655 | 1240882.2713
149 | 2636079.4747 | 1240884.9177
150 | 2636071.7037 | 1240904.7464
151 | 2636071.2096 | 1240900.2114
152 | 2636071.8049 | 1240905.6721
153 | 2636069.677 | 1240886.1445
154 | 2636070.6127 | 1240894.7326
155 | 2636065.0343 | 1240882.4806
156 | 2636063.8721 | 1240873.5621
157 | 2636063.1847 | 1240868.2863
158 | 2636061.7328 | 1240857.1444
159 | 2636051.4188 | 1240859
160 | 2636065.7326 | 1240856.3824
161 | 2636071.0135 | 1240855.3763
162 | 2636048.5779 | 1240859.4991
163 | 2636025.5397 | 1240863.5462
164 | 2635750.603 | 1240719.084
165 | 2636116.2899 | 1240733.0296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1