## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4285-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4285-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4285-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4285-2_0_3_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_4285-2_0_3_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_4285-2_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_4285-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_4285-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_4285-2_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4285-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4285-2_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_4285-2_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_4285-2_0_3_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_4285-2_0_3_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_4285-2_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_4285-2_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_4285-2_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_4285-2_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_4285-2_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_4285-2_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_4285-2_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_4285-2_0_3_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_4285-2_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_4285-2_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_4285-2_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_4285-2_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_4285-2_0_3_node_66 | 0.4 | n |  | TRUE
27 | bus_LV_4285-2_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_4285-2_0_3_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_4285-2_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_4285-2_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_4285-2_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_4285-2_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_4285-2_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_4285-2_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_4285-2_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_4285-2_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_4285-2_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_4285-2_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_4285-2_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_4285-2_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_4285-2_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_4285-2_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_4285-2_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_4285-2_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_4285-2_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_4285-2_0_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_4285-2_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4285-2_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_4285-2_0_3_node_73 | 0.4 | n |  | TRUE
50 | bus_LV_4285-2_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_4285-2_0_3_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_4285-2_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_4285-2_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_4285-2_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_4285-2_0_3_node_90 | 0.4 | n |  | TRUE
56 | bus_LV_4285-2_0_3_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_4285-2_0_3_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_4285-2_0_3_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_4285-2_0_3_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_4285-2_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_4285-2_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_4285-2_0_3_node_72 | 0.4 | n |  | TRUE
63 | bus_LV_4285-2_0_3_node_71 | 0.4 | n |  | TRUE
64 | bus_LV_4285-2_0_3_node_69 | 0.4 | n |  | TRUE
65 | bus_LV_4285-2_0_3_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_4285-2_0_3_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_4285-2_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_4285-2_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_4285-2_0_3_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_4285-2_0_3_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_4285-2_0_3_node_77 | 0.4 | n |  | TRUE
72 | bus_LV_4285-2_0_3_node_74 | 0.4 | n |  | TRUE
73 | bus_LV_4285-2_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_4285-2_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_4285-2_0_3_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_4285-2_0_3_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_4285-2_0_3_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_4285-2_0_3_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_4285-2_0_3_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_4285-2_0_3_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_4285-2_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_4285-2_0_3_node_70 | 0.4 | n |  | TRUE
83 | bus_LV_4285-2_0_3_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_4285-2_0_3_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_4285-2_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_4285-2_0_3_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_4285-2_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_4285-2_0_3_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_4285-2_0_3_node_100 | 0.4 | n |  | TRUE
90 | bus_LV_4285-2_0_3_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_4285-2_0_3_node_97 | 0.4 | n |  | TRUE
92 | bus_LV_4285-2_0_3_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_4285-2_0_3_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_4285-2_0_3_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_4285-2_0_3_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_4285-2_0_3_node_91 | 0.4 | n |  | TRUE
97 | bus_LV_4285-2_0_3_node_104 | 0.4 | n |  | TRUE
98 | bus_LV_4285-2_0_3_node_92 | 0.4 | n |  | TRUE
99 | bus_LV_4285-2_0_3_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_4285-2_0_3_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_4285-2_0_3_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_4285-2_0_3_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_4285-2_0_3_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_4285-2_0_3_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_4285-2_0_3_node_110 | 0.4 | n |  | TRUE
106 | bus_LV_4285-2_0_3_node_111 | 0.4 | n |  | TRUE
107 | bus_LV_4285-2_0_3_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_4285-2_0_3_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_4285-2_0_3_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_4285-2_0_3_node_112 | 0.4 | n |  | TRUE
111 | bus_MV_436_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4285-2_0_3_load_0 | 0 | 0.00043405 | 0.00010878 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4285-2_0_3_load_2 | 2 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4285-2_0_3_load_25 | 3 | 0.00087366 | 0.00021896 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4285-2_0_3_load_3 | 5 | 0.0015122 | 0.00037899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4285-2_0_3_load_4 | 6 | 0.0006831 | 0.0001712 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4285-2_0_3_load_5 | 7 | 0.0027105 | 0.00067932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4285-2_0_3_load_6 | 8 | 0.0017816 | 0.00044652 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4285-2_0_3_load_7 | 9 | 0.001904 | 0.00047718 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4285-2_0_3_load_17 | 11 | 0.0015081 | 0.00037796 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4285-2_0_3_load_28 | 13 | 0.014167 | 0.0035505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4285-2_0_3_load_8 | 14 | 0.0072554 | 0.0018184 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4285-2_0_3_load_9 | 15 | 0.003284 | 0.00082305 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4285-2_0_3_load_11 | 17 | 0.0027931 | 0.00070002 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4285-2_0_3_load_12 | 18 | 0.0079281 | 0.001987 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4285-2_0_3_load_13 | 19 | 0.0071987 | 0.0018042 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4285-2_0_3_load_18 | 20 | 0.003518 | 0.00088168 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4285-2_0_3_load_33 | 21 | 0.0025667 | 0.00064329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4285-2_0_3_load_19 | 22 | 0.0033438 | 0.00083802 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4285-2_0_3_load_29 | 23 | 0.0021579 | 0.00054083 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4285-2_0_3_load_43 | 25 | 0.00049398 | 0.0001238 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4285-2_0_3_load_66 | 26 | 0.00092461 | 0.00023173 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4285-2_0_3_load_44 | 27 | 0.0010986 | 0.00027532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4285-2_0_3_load_42 | 28 | 0.00064174 | 0.00016083 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4285-2_0_3_load_27 | 30 | 0.0054258 | 0.0013598 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4285-2_0_3_load_20 | 31 | 0.00027692 | 6.9404e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4285-2_0_3_load_21 | 32 | 0.0014391 | 0.00036066 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4285-2_0_3_load_23 | 33 | 0.0022131 | 0.00055466 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4285-2_0_3_load_24 | 34 | 0.0004931 | 0.00012358 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4285-2_0_3_load_30 | 36 | 0.0010265 | 0.00025725 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4285-2_0_3_load_34 | 38 | 0.00063436 | 0.00015899 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4285-2_0_3_load_35 | 39 | 0.00074757 | 0.00018736 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4285-2_0_3_load_36 | 40 | 0.00047686 | 0.00011951 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4285-2_0_3_load_37 | 41 | 0.0084351 | 0.002114 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4285-2_0_3_load_38 | 42 | 0.00040169 | 0.00010067 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4285-2_0_3_load_41 | 43 | 0.00091487 | 0.00022929 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4285-2_0_3_load_39 | 44 | 0.00060114 | 0.00015066 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4285-2_0_3_load_40 | 45 | 0.00067151 | 0.0001683 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4285-2_0_3_load_53 | 47 | 0.00064302 | 0.00016116 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4285-2_0_3_load_50 | 48 | 0.00072786 | 0.00018242 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4285-2_0_3_load_73 | 49 | 0.011436 | 0.0028661 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4285-2_0_3_load_51 | 50 | 0.00069343 | 0.00017379 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4285-2_0_3_load_46 | 51 | 0.0027175 | 0.00068107 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4285-2_0_3_load_49 | 54 | 0.0019661 | 0.00049276 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4285-2_0_3_load_90 | 55 | 0.00035151 | 8.8097e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4285-2_0_3_load_85 | 56 | 0.0014776 | 0.00037031 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4285-2_0_3_load_106 | 57 | 0.00039683 | 9.9454e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4285-2_0_3_load_84 | 58 | 0.00049473 | 0.00012399 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4285-2_0_3_load_52 | 59 | 0.00050806 | 0.00012733 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4285-2_0_3_load_54 | 60 | 0.0020164 | 0.00050535 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4285-2_0_3_load_55 | 61 | 0.00075434 | 0.00018906 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4285-2_0_3_load_72 | 62 | 0.0040568 | 0.0010167 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4285-2_0_3_load_71 | 63 | 0.00039883 | 9.9956e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4285-2_0_3_load_69 | 64 | 0.0019616 | 0.00049163 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4285-2_0_3_load_56 | 65 | 0.0002145 | 5.3759e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4285-2_0_3_load_57 | 66 | 0.0025463 | 0.00063817 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4285-2_0_3_load_59 | 68 | 0.0028922 | 0.00072486 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4285-2_0_3_load_77 | 71 | 0.00017825 | 4.4674e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4285-2_0_3_load_74 | 72 | 0.012175 | 0.0030514 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4285-2_0_3_load_65 | 73 | 0.00011892 | 2.9804e-05 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4285-2_0_3_load_75 | 74 | 0.00021056 | 5.2771e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4285-2_0_3_load_108 | 75 | 0.0016526 | 0.00041418 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4285-2_0_3_load_64 | 76 | 0.00059196 | 0.00014836 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4285-2_0_3_load_76 | 77 | 0.00015184 | 3.8056e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4285-2_0_3_load_62 | 78 | 0.0030674 | 0.00076877 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4285-2_0_3_load_63 | 79 | 0.0096739 | 0.0024245 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4285-2_0_3_load_67 | 80 | 0.00022143 | 5.5495e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4285-2_0_3_load_68 | 81 | 0.00029533 | 7.4017e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4285-2_0_3_load_70 | 82 | 0.00052937 | 0.00013267 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4285-2_0_3_load_79 | 84 | 0.0037945 | 0.00095098 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4285-2_0_3_load_80 | 85 | 0.0013875 | 0.00034774 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4285-2_0_3_load_81 | 86 | 0.0022133 | 0.00055471 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4285-2_0_3_load_82 | 87 | 0.0031502 | 0.00078952 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4285-2_0_3_load_83 | 88 | 0.0016225 | 0.00040664 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4285-2_0_3_load_100 | 89 | 0.0017528 | 0.00043929 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4285-2_0_3_load_86 | 90 | 0.0024815 | 0.00062192 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4285-2_0_3_load_87 | 92 | 0.0010804 | 0.00027077 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4285-2_0_3_load_88 | 93 | 0.0034604 | 0.00086725 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4285-2_0_3_load_95 | 95 | 0.0040376 | 0.0010119 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4285-2_0_3_load_91 | 96 | 0.0018645 | 0.0004673 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4285-2_0_3_load_104 | 97 | 0.00064528 | 0.00016172 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4285-2_0_3_load_92 | 98 | 0.00074943 | 0.00018782 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4285-2_0_3_load_94 | 99 | 0.0012222 | 0.0003063 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4285-2_0_3_load_101 | 100 | 0.001191 | 0.0002985 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4285-2_0_3_load_102 | 102 | 0.0014116 | 0.00035378 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4285-2_0_3_load_99 | 103 | 0.0018309 | 0.00045887 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4285-2_0_3_load_109 | 104 | 0.0028629 | 0.00071751 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4285-2_0_3_load_110 | 105 | 0.00053337 | 0.00013367 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4285-2_0_3_load_111 | 106 | 0.000493 | 0.00012356 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4285-2_0_3_load_103 | 107 | 0.00037777 | 9.4677e-05 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4285-2_0_3_load_105 | 108 | 0.00037956 | 9.5126e-05 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4285-2_0_3_load_107 | 109 | 0.00052158 | 0.00013072 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4285-2_0_3_load_112 | 110 | 0.0005318 | 0.00013328 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4285-2_0_3_line_0 |  | 0 | 1 | 0.01069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4285-2_0_3_line_1 |  | 1 | 2 | 0.026162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4285-2_0_3_line_2 |  | 2 | 3 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4285-2_0_3_line_3 |  | 3 | 4 | 0.067265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4285-2_0_3_line_4 |  | 4 | 34 | 0.058263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4285-2_0_3_line_5 |  | 4 | 31 | 0.012454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4285-2_0_3_line_6 |  | 5 | 6 | 0.013025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4285-2_0_3_line_7 |  | 5 | 7 | 0.034648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4285-2_0_3_line_8 |  | 6 | 8 | 0.007582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4285-2_0_3_line_9 |  | 7 | 9 | 0.0055338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4285-2_0_3_line_10 |  | 8 | 10 | 0.0046704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4285-2_0_3_line_11 |  | 9 | 11 | 0.0094318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4285-2_0_3_line_12 |  | 10 | 12 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4285-2_0_3_line_13 |  | 11 | 13 | 0.0090137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4285-2_0_3_line_14 |  | 12 | 26 | 0.022177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4285-2_0_3_line_15 |  | 12 | 24 | 0.007419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4285-2_0_3_line_16 |  | 13 | 18 | 0.013909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4285-2_0_3_line_17 |  | 14 | 15 | 0.031706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4285-2_0_3_line_18 |  | 14 | 16 | 0.060388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4285-2_0_3_line_19 |  | 15 | 17 | 0.022263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4285-2_0_3_line_20 |  | 16 | 18 | 0.012984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4285-2_0_3_line_21 |  | 16 | 19 | 0.028838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4285-2_0_3_line_22 |  | 17 | 20 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4285-2_0_3_line_23 |  | 19 | 21 | 0.03009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4285-2_0_3_line_24 |  | 20 | 22 | 0.00032685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4285-2_0_3_line_25 |  | 21 | 23 | 0.025528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4285-2_0_3_line_26 |  | 22 | 29 | 0.041307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4285-2_0_3_line_27 |  | 23 | 33 | 0.0034319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4285-2_0_3_line_28 |  | 24 | 25 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4285-2_0_3_line_29 |  | 25 | 27 | 0.0096125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4285-2_0_3_line_30 |  | 26 | 28 | 0.0042388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4285-2_0_3_line_31 |  | 27 | 46 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4285-2_0_3_line_32 |  | 28 | 45 | 0.020606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4285-2_0_3_line_33 |  | 29 | 30 | 0.010788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4285-2_0_3_line_34 |  | 30 | 35 | 0.080635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4285-2_0_3_line_35 |  | 31 | 32 | 0.015832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4285-2_0_3_line_36 |  | 32 | 33 | 0.0026381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4285-2_0_3_line_37 |  | 35 | 37 | 0.009548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4285-2_0_3_line_38 |  | 36 | 37 | 0.019343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4285-2_0_3_line_39 |  | 38 | 39 | 0.024101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4285-2_0_3_line_40 |  | 38 | 40 | 0.0047694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4285-2_0_3_line_41 |  | 39 | 41 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4285-2_0_3_line_42 |  | 40 | 42 | 0.024941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4285-2_0_3_line_43 |  | 42 | 43 | 0.012307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4285-2_0_3_line_44 |  | 43 | 44 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4285-2_0_3_line_45 |  | 44 | 45 | 0.0095013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4285-2_0_3_line_46 |  | 46 | 47 | 0.020648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4285-2_0_3_line_47 |  | 46 | 48 | 0.013445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4285-2_0_3_line_48 |  | 47 | 49 | 0.013564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4285-2_0_3_line_49 |  | 48 | 50 | 0.0031864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4285-2_0_3_line_50 |  | 49 | 62 | 0.016921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4285-2_0_3_line_51 |  | 50 | 59 | 0.02232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4285-2_0_3_line_52 |  | 51 | 52 | 0.046522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4285-2_0_3_line_53 |  | 52 | 53 | 0.034247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4285-2_0_3_line_54 |  | 52 | 54 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4285-2_0_3_line_55 |  | 53 | 55 | 0.0075339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4285-2_0_3_line_56 |  | 53 | 56 | 0.014249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4285-2_0_3_line_57 |  | 55 | 57 | 0.040599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4285-2_0_3_line_58 |  | 56 | 58 | 0.0046912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4285-2_0_3_line_59 |  | 57 | 97 | 0.0012295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4285-2_0_3_line_60 |  | 58 | 90 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4285-2_0_3_line_61 |  | 59 | 60 | 0.0028808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4285-2_0_3_line_62 |  | 60 | 61 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4285-2_0_3_line_63 |  | 61 | 63 | 0.0039754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4285-2_0_3_line_64 |  | 62 | 69 | 0.013739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4285-2_0_3_line_65 |  | 63 | 64 | 0.0096375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4285-2_0_3_line_66 |  | 64 | 80 | 0.0043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4285-2_0_3_line_67 |  | 65 | 66 | 0.0034036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4285-2_0_3_line_68 |  | 65 | 67 | 0.017348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4285-2_0_3_line_69 |  | 66 | 68 | 0.03015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4285-2_0_3_line_70 |  | 67 | 69 | 0.008064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4285-2_0_3_line_71 |  | 67 | 70 | 0.03089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4285-2_0_3_line_72 |  | 68 | 71 | 2.1638e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4285-2_0_3_line_73 |  | 69 | 72 | 0.041678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4285-2_0_3_line_74 |  | 70 | 73 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4285-2_0_3_line_75 |  | 70 | 74 | 0.023368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4285-2_0_3_line_76 |  | 72 | 75 | 0.013658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4285-2_0_3_line_77 |  | 73 | 76 | 0.019064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4285-2_0_3_line_78 |  | 74 | 77 | 0.028039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4285-2_0_3_line_79 |  | 75 | 83 | 0.0074259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4285-2_0_3_line_80 |  | 76 | 78 | 0.010699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4285-2_0_3_line_81 |  | 78 | 79 | 0.07264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4285-2_0_3_line_82 |  | 80 | 81 | 0.0059014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4285-2_0_3_line_83 |  | 81 | 82 | 0.0034923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4285-2_0_3_line_84 |  | 83 | 94 | 0.018838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4285-2_0_3_line_85 |  | 83 | 93 | 0.028976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4285-2_0_3_line_86 |  | 84 | 85 | 0.011465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4285-2_0_3_line_87 |  | 84 | 86 | 0.007452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4285-2_0_3_line_88 |  | 85 | 87 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4285-2_0_3_line_89 |  | 86 | 88 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4285-2_0_3_line_90 |  | 87 | 89 | 0.0085444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4285-2_0_3_line_91 |  | 88 | 90 | 0.0023651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4285-2_0_3_line_92 |  | 89 | 91 | 0.020827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4285-2_0_3_line_93 |  | 91 | 104 | 0.01983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4285-2_0_3_line_94 |  | 92 | 93 | 0.0046867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4285-2_0_3_line_95 |  | 94 | 95 | 0.040909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4285-2_0_3_line_96 |  | 94 | 96 | 0.012148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4285-2_0_3_line_97 |  | 95 | 101 | 0.03327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4285-2_0_3_line_98 |  | 96 | 98 | 0.011871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4285-2_0_3_line_99 |  | 97 | 107 | 0.016437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4285-2_0_3_line_100 |  | 98 | 99 | 0.011493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4285-2_0_3_line_101 |  | 99 | 100 | 0.008782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4285-2_0_3_line_102 |  | 100 | 102 | 0.0064653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4285-2_0_3_line_103 |  | 101 | 103 | 0.049088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4285-2_0_3_line_104 |  | 103 | 105 | 0.018917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_4285-2_0_3_line_105 |  | 105 | 106 | 0.0023062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4285-2_0_3_line_106 |  | 106 | 110 | 0.0033547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_4285-2_0_3_line_107 |  | 107 | 108 | 0.003162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4285-2_0_3_line_108 |  | 108 | 109 | 0.0030381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_4285-2_0_3_line_109 |  | 109 | 110 | 0.014012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4285-2_0_3_trafo_42 | 0.63 MVA 20/0.4 kV | 111 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2637204.5092 | 1235888.1809 | 2637197.2725 | 1235892.2049 | 2637195.4654 | 1235893.7995
1 | 2637204.5092 | 1235888.1809 | 2637210.333 | 1235888.6399 | 2637219.1381 | 1235893.9539 | 2637227.3387 | 1235899.7391
2 | 2637246.6773 | 1235913.3816 | 2637227.3387 | 1235899.7391
3 | 2637300.9609 | 1235953.1036 | 2637250.3205 | 1235915.9518 | 2637246.6773 | 1235913.3816
4 | 2637300.9609 | 1235953.1036 | 2637312.942 | 1235932.2101 | 2637329.9449 | 1235902.5615
5 | 2637300.9609 | 1235953.1036 | 2637311.5345 | 1235959.6849
6 | 2637388.9893 | 1236096.1797 | 2637385.2036 | 1236106.0842 | 2637384.1122 | 1236108.2463
7 | 2637388.9893 | 1236096.1797 | 2637394.0511 | 1236082.9364 | 2637398.6335 | 1236062.986
8 | 2637384.1122 | 1236108.2463 | 2637380.6956 | 1236115.0149
9 | 2637399.0204 | 1236057.4657 | 2637398.6335 | 1236062.986 | 2637398.6335 | 1236062.986
10 | 2637378.591 | 1236119.1842 | 2637380.6956 | 1236115.0149
11 | 2637399.0204 | 1236057.4657 | 2637399.6797 | 1236048.057
12 | 2637367.5269 | 1236141.0729 | 2637378.591 | 1236119.1842
13 | 2637399.6797 | 1236048.057 | 2637400.3099 | 1236039.0653
14 | 2637367.5269 | 1236141.0729 | 2637387.094 | 1236151.5104
15 | 2637367.5269 | 1236141.0729 | 2637364.1861 | 1236147.7006
16 | 2637401.6711 | 1236025.23 | 2637400.8531 | 1236031.3134 | 2637400.3099 | 1236039.0653
17 | 2637431.1737 | 1235959.6779 | 2637441.673 | 1235946.617 | 2637450.5003 | 1235934.5536
18 | 2637403.4014 | 1236012.3619 | 2637407.5435 | 1235997.4564 | 2637416.1691 | 1235978.3431 | 2637431.1737 | 1235959.6779
19 | 2637460.6411 | 1235914.8122 | 2637459.0553 | 1235918.8757 | 2637452.6948 | 1235931.5547 | 2637450.5003 | 1235934.5536
20 | 2637403.4014 | 1236012.3619 | 2637401.6711 | 1236025.23
21 | 2637403.4014 | 1236012.3619 | 2637389.866 | 1236008.441 | 2637377.347 | 1236000.6488
22 | 2637465.0238 | 1235903.5814 | 2637460.6411 | 1235914.8122
23 | 2637377.347 | 1236000.6488 | 2637351.8011 | 1235984.7482
24 | 2637465.0721 | 1235903.2582 | 2637465.0238 | 1235903.5814 | 2637465.0238 | 1235903.5814
25 | 2637351.8011 | 1235984.7482 | 2637330.1286 | 1235971.2585
26 | 2637471.1781 | 1235862.4054 | 2637465.0721 | 1235903.2582
27 | 2637330.1286 | 1235971.2585 | 2637327.215 | 1235969.445
28 | 2637364.1861 | 1236147.7006 | 2637358.6255 | 1236158.7029
29 | 2637358.6255 | 1236158.7029 | 2637356.2099 | 1236163.4826 | 2637354.3646 | 1236167.3189
30 | 2637387.094 | 1236151.5104 | 2637390.834 | 1236153.5054
31 | 2637349.785 | 1236176.8395 | 2637354.3646 | 1236167.3189
32 | 2637409.0153 | 1236163.2036 | 2637390.834 | 1236153.5054
33 | 2637471.1781 | 1235862.4054 | 2637471.7944 | 1235858.2845 | 2637473.4023 | 1235851.8619
34 | 2637473.4023 | 1235851.8619 | 2637517.181 | 1235784.1463
35 | 2637324.9753 | 1235968.0509 | 2637311.5345 | 1235959.6849
36 | 2637324.9753 | 1235968.0509 | 2637327.215 | 1235969.445
37 | 2637517.181 | 1235784.1463 | 2637524.9124 | 1235778.5137
38 | 2637524.9124 | 1235778.5137 | 2637539.3867 | 1235791.345
39 | 2637468.5867 | 1236194.9802 | 2637473.5143 | 1236197.6087 | 2637479.7042 | 1236203.5514 | 2637488.458 | 1236208.2501
40 | 2637468.5867 | 1236194.9802 | 2637464.3786 | 1236192.7355
41 | 2637500.6008 | 1236214.768 | 2637488.458 | 1236208.2501
42 | 2637464.3786 | 1236192.7355 | 2637442.3728 | 1236180.9972
43 | 2637431.5138 | 1236175.2048 | 2637442.3728 | 1236180.9972
44 | 2637417.3984 | 1236167.6754 | 2637431.5138 | 1236175.2048
45 | 2637417.3984 | 1236167.6754 | 2637409.0153 | 1236163.2036
46 | 2637349.785 | 1236176.8395 | 2637340.835 | 1236195.4467
47 | 2637349.785 | 1236176.8395 | 2637361.6694 | 1236183.1275
48 | 2637340.835 | 1236195.4467 | 2637340.8224 | 1236195.4728 | 2637334.9546 | 1236207.6703
49 | 2637361.6694 | 1236183.1275 | 2637364.4859 | 1236184.6177
50 | 2637327.6193 | 1236222.9185 | 2637334.9546 | 1236207.6703
51 | 2637384.2144 | 1236195.0559 | 2637364.4859 | 1236184.6177
52 | 2637514.2087 | 1236287.4329 | 2637553.6573 | 1236262.7735
53 | 2637486.7859 | 1236308.0507 | 2637514.2087 | 1236287.4329
54 | 2637514.2087 | 1236287.4329 | 2637521.1888 | 1236296.4381
55 | 2637486.7859 | 1236308.0507 | 2637480.7161 | 1236312.5135
56 | 2637486.7859 | 1236308.0507 | 2637497.3498 | 1236317.6134
57 | 2637480.7161 | 1236312.5135 | 2637457.0248 | 1236329.9325 | 2637449.8275 | 1236338.5045
58 | 2637500.8277 | 1236320.7617 | 2637497.3498 | 1236317.6134
59 | 2637449.8275 | 1236338.5045 | 2637449.0369 | 1236339.4461
60 | 2637500.8277 | 1236320.7617 | 2637515.746 | 1236334.2662
61 | 2637384.2144 | 1236195.0559 | 2637386.7607 | 1236196.4031
62 | 2637402.9666 | 1236204.9776 | 2637386.7607 | 1236196.4031
63 | 2637402.9666 | 1236204.9776 | 2637406.4805 | 1236206.8368
64 | 2637321.6631 | 1236235.2998 | 2637327.6193 | 1236222.9185
65 | 2637406.4805 | 1236206.8368 | 2637414.9991 | 1236211.3439
66 | 2637418.8062 | 1236213.3582 | 2637414.9991 | 1236211.3439
67 | 2637309.1525 | 1236257.425 | 2637307.4772 | 1236260.3877
68 | 2637317.6919 | 1236242.3237 | 2637309.1525 | 1236257.425
69 | 2637307.4772 | 1236260.3877 | 2637292.6366 | 1236286.6323
70 | 2637317.6919 | 1236242.3237 | 2637321.6631 | 1236235.2998
71 | 2637317.6919 | 1236242.3237 | 2637291.677 | 1236225.55
72 | 2637292.6259 | 1236286.6511 | 2637292.6366 | 1236286.6323
73 | 2637321.6631 | 1236235.2998 | 2637331.3378 | 1236243.0098 | 2637336.8168 | 1236250.1264 | 2637345.9719 | 1236268.2731
74 | 2637291.677 | 1236225.55 | 2637288.2857 | 1236223.3607 | 2637282.0423 | 1236217.2983
75 | 2637291.677 | 1236225.55 | 2637278.9772 | 1236245.1657
76 | 2637345.9719 | 1236268.2731 | 2637348.6669 | 1236278.9078 | 2637348.998 | 1236281.5748
77 | 2637282.0423 | 1236217.2983 | 2637277.591 | 1236212.976 | 2637272.3402 | 1236205.6607 | 2637269.1259 | 1236203.5332
78 | 2637278.9772 | 1236245.1657 | 2637263.7388 | 1236268.7026
79 | 2637349.9129 | 1236288.9442 | 2637348.998 | 1236281.5748
80 | 2637260.2041 | 1236197.6278 | 2637269.1259 | 1236203.5332
81 | 2637260.2041 | 1236197.6278 | 2637250.736 | 1236191.3608 | 2637245.2883 | 1236186.4681 | 2637243.0955 | 1236180.1837 | 2637244.3594 | 1236172.9093 | 2637265.3918 | 1236138.9743
82 | 2637418.8062 | 1236213.3582 | 2637424.0225 | 1236216.1181
83 | 2637427.1093 | 1236217.7514 | 2637424.0225 | 1236216.1181
84 | 2637349.9129 | 1236288.9442 | 2637352.2319 | 1236307.6372
85 | 2637349.9129 | 1236288.9442 | 2637344.1458 | 1236297.5912 | 2637334.7264 | 1236313.6089
86 | 2637534.3416 | 1236351.0994 | 2637542.8412 | 1236358.7934
87 | 2637534.3416 | 1236351.0994 | 2637528.817 | 1236346.0983
88 | 2637542.8412 | 1236358.7934 | 2637551.4415 | 1236366.5787
89 | 2637517.4994 | 1236335.8534 | 2637528.817 | 1236346.0983
90 | 2637557.776 | 1236372.3129 | 2637551.4415 | 1236366.5787
91 | 2637517.4994 | 1236335.8534 | 2637515.746 | 1236334.2662
92 | 2637573.2163 | 1236386.2898 | 2637557.776 | 1236372.3129
93 | 2637573.2163 | 1236386.2898 | 2637560.4353 | 1236401.4516
94 | 2637332.3507 | 1236317.6488 | 2637334.7264 | 1236313.6089
95 | 2637352.2319 | 1236307.6372 | 2637353.0866 | 1236325.7428 | 2637352.6079 | 1236348.5209
96 | 2637352.2319 | 1236307.6372 | 2637361.384 | 1236309.3958 | 2637364.0183 | 1236310.4251
97 | 2637351.3726 | 1236381.7673 | 2637352.5469 | 1236351.4223 | 2637352.6079 | 1236348.5209
98 | 2637364.0183 | 1236310.4251 | 2637369.2792 | 1236312.4807 | 2637374.8842 | 1236315.1843 | 2637374.8842 | 1236315.1843
99 | 2637437.6861 | 1236351.3127 | 2637445.6959 | 1236343.4252 | 2637449.0369 | 1236339.4461
100 | 2637381.467 | 1236324.5221 | 2637378.7758 | 1236319.6226 | 2637374.8842 | 1236315.1843
101 | 2637381.467 | 1236324.5221 | 2637385.695 | 1236332.2194
102 | 2637388.8076 | 1236337.8861 | 2637385.695 | 1236332.2194
103 | 2637351.3726 | 1236381.7673 | 2637373.8668 | 1236380.7191 | 2637398.1623 | 1236374.7792 | 2637399.5918 | 1236374.1596
104 | 2637399.5918 | 1236374.1596 | 2637416.9482 | 1236366.6367 | 2637416.9482 | 1236366.6367
105 | 2637418.8667 | 1236365.3568 | 2637416.9482 | 1236366.6367
106 | 2637418.8667 | 1236365.3568 | 2637421.6575 | 1236363.4951
107 | 2637437.6861 | 1236351.3127 | 2637435.4331 | 1236353.5312
108 | 2637433.2683 | 1236355.6629 | 2637435.4331 | 1236353.5312
109 | 2637433.2683 | 1236355.6629 | 2637432.9961 | 1236355.9309 | 2637421.6575 | 1236363.4951

## bus_geodata
| x | y | coords
0 | 2637195.4654 | 1235893.7995
1 | 2637204.5092 | 1235888.1809
2 | 2637227.3387 | 1235899.7391
3 | 2637246.6773 | 1235913.3816
4 | 2637300.9609 | 1235953.1036
5 | 2637388.9893 | 1236096.1797
6 | 2637384.1122 | 1236108.2463
7 | 2637398.6335 | 1236062.986
8 | 2637380.6956 | 1236115.0149
9 | 2637399.0204 | 1236057.4657
10 | 2637378.591 | 1236119.1842
11 | 2637399.6797 | 1236048.057
12 | 2637367.5269 | 1236141.0729
13 | 2637400.3099 | 1236039.0653
14 | 2637431.1737 | 1235959.6779
15 | 2637450.5003 | 1235934.5536
16 | 2637403.4014 | 1236012.3619
17 | 2637460.6411 | 1235914.8122
18 | 2637401.6711 | 1236025.23
19 | 2637377.347 | 1236000.6488
20 | 2637465.0238 | 1235903.5814
21 | 2637351.8011 | 1235984.7482
22 | 2637465.0721 | 1235903.2582
23 | 2637330.1286 | 1235971.2585
24 | 2637364.1861 | 1236147.7006
25 | 2637358.6255 | 1236158.7029
26 | 2637387.094 | 1236151.5104
27 | 2637354.3646 | 1236167.3189
28 | 2637390.834 | 1236153.5054
29 | 2637471.1781 | 1235862.4054
30 | 2637473.4023 | 1235851.8619
31 | 2637311.5345 | 1235959.6849
32 | 2637324.9753 | 1235968.0509
33 | 2637327.215 | 1235969.445
34 | 2637329.9449 | 1235902.5615
35 | 2637517.181 | 1235784.1463
36 | 2637539.3867 | 1235791.345
37 | 2637524.9124 | 1235778.5137
38 | 2637468.5867 | 1236194.9802
39 | 2637488.458 | 1236208.2501
40 | 2637464.3786 | 1236192.7355
41 | 2637500.6008 | 1236214.768
42 | 2637442.3728 | 1236180.9972
43 | 2637431.5138 | 1236175.2048
44 | 2637417.3984 | 1236167.6754
45 | 2637409.0153 | 1236163.2036
46 | 2637349.785 | 1236176.8395
47 | 2637340.835 | 1236195.4467
48 | 2637361.6694 | 1236183.1275
49 | 2637334.9546 | 1236207.6703
50 | 2637364.4859 | 1236184.6177
51 | 2637553.6573 | 1236262.7735
52 | 2637514.2087 | 1236287.4329
53 | 2637486.7859 | 1236308.0507
54 | 2637521.1888 | 1236296.4381
55 | 2637480.7161 | 1236312.5135
56 | 2637497.3498 | 1236317.6134
57 | 2637449.8275 | 1236338.5045
58 | 2637500.8277 | 1236320.7617
59 | 2637384.2144 | 1236195.0559
60 | 2637386.7607 | 1236196.4031
61 | 2637402.9666 | 1236204.9776
62 | 2637327.6193 | 1236222.9185
63 | 2637406.4805 | 1236206.8368
64 | 2637414.9991 | 1236211.3439
65 | 2637309.1525 | 1236257.425
66 | 2637307.4772 | 1236260.3877
67 | 2637317.6919 | 1236242.3237
68 | 2637292.6366 | 1236286.6323
69 | 2637321.6631 | 1236235.2998
70 | 2637291.677 | 1236225.55
71 | 2637292.6259 | 1236286.6511
72 | 2637345.9719 | 1236268.2731
73 | 2637282.0423 | 1236217.2983
74 | 2637278.9772 | 1236245.1657
75 | 2637348.998 | 1236281.5748
76 | 2637269.1259 | 1236203.5332
77 | 2637263.7388 | 1236268.7026
78 | 2637260.2041 | 1236197.6278
79 | 2637265.3918 | 1236138.9743
80 | 2637418.8062 | 1236213.3582
81 | 2637424.0225 | 1236216.1181
82 | 2637427.1093 | 1236217.7514
83 | 2637349.9129 | 1236288.9442
84 | 2637534.3416 | 1236351.0994
85 | 2637542.8412 | 1236358.7934
86 | 2637528.817 | 1236346.0983
87 | 2637551.4415 | 1236366.5787
88 | 2637517.4994 | 1236335.8534
89 | 2637557.776 | 1236372.3129
90 | 2637515.746 | 1236334.2662
91 | 2637573.2163 | 1236386.2898
92 | 2637332.3507 | 1236317.6488
93 | 2637334.7264 | 1236313.6089
94 | 2637352.2319 | 1236307.6372
95 | 2637352.6079 | 1236348.5209
96 | 2637364.0183 | 1236310.4251
97 | 2637449.0369 | 1236339.4461
98 | 2637374.8842 | 1236315.1843
99 | 2637381.467 | 1236324.5221
100 | 2637385.695 | 1236332.2194
101 | 2637351.3726 | 1236381.7673
102 | 2637388.8076 | 1236337.8861
103 | 2637399.5918 | 1236374.1596
104 | 2637560.4353 | 1236401.4516
105 | 2637416.9482 | 1236366.6367
106 | 2637418.8667 | 1236365.3568
107 | 2637437.6861 | 1236351.3127
108 | 2637435.4331 | 1236353.5312
109 | 2637433.2683 | 1236355.6629
110 | 2637421.6575 | 1236363.4951
111 | 2637367.5269 | 1236141.0729

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1