## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4285-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4285-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4285-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4285-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4285-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4285-3_0_6_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_4285-3_0_6_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_4285-3_0_6_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_4285-3_0_6_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_4285-3_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_4285-3_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_4285-3_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_4285-3_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_4285-3_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_4285-3_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4285-3_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4285-3_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4285-3_0_6_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_4285-3_0_6_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_4285-3_0_6_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_4285-3_0_6_node_94 | 0.4 | n |  | TRUE
21 | bus_LV_4285-3_0_6_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_4285-3_0_6_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_4285-3_0_6_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_4285-3_0_6_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_4285-3_0_6_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_4285-3_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_4285-3_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4285-3_0_6_node_102 | 0.4 | n |  | TRUE
29 | bus_LV_4285-3_0_6_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_4285-3_0_6_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_4285-3_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_4285-3_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_4285-3_0_6_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_4285-3_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_4285-3_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_4285-3_0_6_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_4285-3_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_4285-3_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_4285-3_0_6_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4285-3_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_4285-3_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_4285-3_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_4285-3_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_4285-3_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_4285-3_0_6_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_4285-3_0_6_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4285-3_0_6_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_4285-3_0_6_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_4285-3_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_4285-3_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_4285-3_0_6_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_4285-3_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_4285-3_0_6_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_4285-3_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4285-3_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_4285-3_0_6_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4285-3_0_6_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_4285-3_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_4285-3_0_6_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_4285-3_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_4285-3_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_4285-3_0_6_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_4285-3_0_6_node_97 | 0.4 | n |  | TRUE
64 | bus_LV_4285-3_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_4285-3_0_6_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_4285-3_0_6_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_4285-3_0_6_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_4285-3_0_6_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_4285-3_0_6_node_95 | 0.4 | n |  | TRUE
70 | bus_LV_4285-3_0_6_node_82 | 0.4 | n |  | TRUE
71 | bus_LV_4285-3_0_6_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_4285-3_0_6_node_100 | 0.4 | n |  | TRUE
73 | bus_LV_4285-3_0_6_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_4285-3_0_6_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_4285-3_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_4285-3_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_4285-3_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_4285-3_0_6_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_4285-3_0_6_node_68 | 0.4 | n |  | TRUE
80 | bus_LV_4285-3_0_6_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_4285-3_0_6_node_69 | 0.4 | n |  | TRUE
82 | bus_LV_4285-3_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_4285-3_0_6_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_4285-3_0_6_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_4285-3_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_4285-3_0_6_node_74 | 0.4 | n |  | TRUE
87 | bus_LV_4285-3_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_4285-3_0_6_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_4285-3_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_4285-3_0_6_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_4285-3_0_6_node_101 | 0.4 | n |  | TRUE
92 | bus_LV_4285-3_0_6_node_77 | 0.4 | n |  | TRUE
93 | bus_LV_4285-3_0_6_node_78 | 0.4 | n |  | TRUE
94 | bus_LV_4285-3_0_6_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_4285-3_0_6_node_86 | 0.4 | n |  | TRUE
96 | bus_LV_4285-3_0_6_node_84 | 0.4 | n |  | TRUE
97 | bus_LV_4285-3_0_6_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_4285-3_0_6_node_89 | 0.4 | n |  | TRUE
99 | bus_LV_4285-3_0_6_node_90 | 0.4 | n |  | TRUE
100 | bus_LV_4285-3_0_6_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_4285-3_0_6_node_98 | 0.4 | n |  | TRUE
102 | bus_MV_436_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4285-3_0_6_load_0 | 0 | 0.01066 | 0.0026716 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4285-3_0_6_load_1 | 1 | 0.065452 | 0.016404 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4285-3_0_6_load_2 | 2 | 0.0025356 | 0.00063549 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4285-3_0_6_load_3 | 3 | 0.0031716 | 0.00079487 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4285-3_0_6_load_15 | 5 | 0.0044506 | 0.0011154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4285-3_0_6_load_14 | 6 | 0.0054302 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4285-3_0_6_load_57 | 7 | 0.007179 | 0.0017992 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4285-3_0_6_load_13 | 8 | 0.0030572 | 0.00076622 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4285-3_0_6_load_5 | 9 | 0.0032819 | 0.00082252 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4285-3_0_6_load_6 | 10 | 0.010732 | 0.0026897 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4285-3_0_6_load_7 | 11 | 0.014411 | 0.0036118 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4285-3_0_6_load_9 | 13 | 0.013562 | 0.0033989 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4285-3_0_6_load_10 | 14 | 0.003624 | 0.00090826 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4285-3_0_6_load_12 | 16 | 0.0018745 | 0.0004698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4285-3_0_6_load_72 | 17 | 0.010452 | 0.0026194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4285-3_0_6_load_28 | 18 | 0.00099695 | 0.00024986 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4285-3_0_6_load_30 | 19 | 0.001125 | 0.00028196 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4285-3_0_6_load_94 | 20 | 0.012858 | 0.0032225 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4285-3_0_6_load_26 | 21 | 0.00096989 | 0.00024308 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4285-3_0_6_load_31 | 22 | 0.01871 | 0.0046891 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4285-3_0_6_load_92 | 23 | 0.0038829 | 0.00097314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4285-3_0_6_load_56 | 24 | 0.0044378 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4285-3_0_6_load_16 | 25 | 0.0049347 | 0.0012367 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4285-3_0_6_load_102 | 28 | 0.00027023 | 6.7726e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4285-3_0_6_load_45 | 30 | 0.0019023 | 0.00047675 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4285-3_0_6_load_19 | 31 | 0.0017557 | 0.00044001 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4285-3_0_6_load_20 | 32 | 0.0019191 | 0.00048096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4285-3_0_6_load_21 | 33 | 0.0019332 | 0.00048451 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4285-3_0_6_load_22 | 34 | 0.00099468 | 0.00024929 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4285-3_0_6_load_23 | 35 | 0.0016419 | 0.00041151 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4285-3_0_6_load_33 | 37 | 0.0017123 | 0.00042916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4285-3_0_6_load_24 | 38 | 0.0013163 | 0.00032988 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4285-3_0_6_load_25 | 39 | 0.00214 | 0.00053632 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4285-3_0_6_load_27 | 40 | 0.0016463 | 0.00041259 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4285-3_0_6_load_29 | 41 | 0.00096195 | 0.00024109 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4285-3_0_6_load_42 | 42 | 0.004385 | 0.001099 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4285-3_0_6_load_40 | 43 | 0.0020338 | 0.00050972 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4285-3_0_6_load_32 | 44 | 0.0011545 | 0.00028935 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4285-3_0_6_load_55 | 46 | 0.0017435 | 0.00043697 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4285-3_0_6_load_53 | 47 | 0.0051737 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4285-3_0_6_load_36 | 49 | 0.0018022 | 0.00045168 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4285-3_0_6_load_37 | 50 | 0.0014957 | 0.00037487 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4285-3_0_6_load_43 | 51 | 0.0021467 | 0.00053802 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4285-3_0_6_load_38 | 53 | 0.0032914 | 0.00082491 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4285-3_0_6_load_39 | 54 | 0.0029143 | 0.00073039 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4285-3_0_6_load_41 | 55 | 0.0016865 | 0.00042268 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4285-3_0_6_load_47 | 56 | 0.0014276 | 0.00035779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4285-3_0_6_load_58 | 57 | 0.003609 | 0.0009045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4285-3_0_6_load_48 | 58 | 0.0024662 | 0.00061809 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4285-3_0_6_load_51 | 60 | 0.0028887 | 0.00072399 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4285-3_0_6_load_52 | 61 | 0.0026501 | 0.00066417 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4285-3_0_6_load_99 | 62 | 0.0022143 | 0.00055496 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4285-3_0_6_load_97 | 63 | 0.002483 | 0.0006223 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4285-3_0_6_load_59 | 64 | 0.022062 | 0.0055293 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4285-3_0_6_load_60 | 65 | 0.010157 | 0.0025455 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4285-3_0_6_load_61 | 66 | 0.055747 | 0.013972 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4285-3_0_6_load_63 | 68 | 0.0028913 | 0.00072462 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4285-3_0_6_load_93 | 71 | 0.0040313 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4285-3_0_6_load_100 | 72 | 0.002193 | 0.00054962 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4285-3_0_6_load_80 | 73 | 0.025548 | 0.0064028 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4285-3_0_6_load_91 | 74 | 0.021454 | 0.0053769 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4285-3_0_6_load_64 | 75 | 0.0035866 | 0.00089889 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4285-3_0_6_load_65 | 76 | 0.0078053 | 0.0019562 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4285-3_0_6_load_67 | 78 | 0.0022076 | 0.00055328 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4285-3_0_6_load_68 | 79 | 0.0016683 | 0.00041813 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4285-3_0_6_load_81 | 80 | 0.011772 | 0.0029504 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4285-3_0_6_load_69 | 81 | 0.0060447 | 0.001515 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4285-3_0_6_load_79 | 82 | 0.0063132 | 0.0015822 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4285-3_0_6_load_70 | 83 | 0.005528 | 0.0013854 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4285-3_0_6_load_71 | 84 | 0.0052746 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4285-3_0_6_load_83 | 85 | 0.0060818 | 0.0015242 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4285-3_0_6_load_75 | 88 | 0.0102 | 0.0025565 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4285-3_0_6_load_88 | 89 | 0.006712 | 0.0016822 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4285-3_0_6_load_76 | 90 | 0.0022366 | 0.00056054 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4285-3_0_6_load_101 | 91 | 0.0017947 | 0.00044979 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4285-3_0_6_load_77 | 92 | 0.0020414 | 0.00051162 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4285-3_0_6_load_78 | 93 | 0.0046355 | 0.0011618 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4285-3_0_6_load_87 | 94 | 0.001974 | 0.00049473 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4285-3_0_6_load_86 | 95 | 0.0065996 | 0.001654 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4285-3_0_6_load_84 | 96 | 0.0027295 | 0.00068408 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4285-3_0_6_load_85 | 97 | 0.0073183 | 0.0018341 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4285-3_0_6_load_89 | 98 | 0.014085 | 0.00353 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4285-3_0_6_load_90 | 99 | 0.003997 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4285-3_0_6_load_96 | 100 | 0.022828 | 0.0057213 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4285-3_0_6_load_98 | 101 | 0.040221 | 0.01008 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4285-3_0_6_line_0 |  | 0 | 1 | 0.01393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4285-3_0_6_line_1 |  | 0 | 2 | 0.012387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4285-3_0_6_line_2 |  | 1 | 3 | 0.0093068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4285-3_0_6_line_3 |  | 2 | 4 | 0.015158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4285-3_0_6_line_4 |  | 4 | 5 | 0.015402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4285-3_0_6_line_5 |  | 4 | 6 | 0.02209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4285-3_0_6_line_6 |  | 5 | 7 | 0.024799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4285-3_0_6_line_7 |  | 6 | 8 | 0.022056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4285-3_0_6_line_8 |  | 7 | 24 | 0.0054154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4285-3_0_6_line_9 |  | 8 | 14 | 0.020225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4285-3_0_6_line_10 |  | 9 | 10 | 0.016982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4285-3_0_6_line_11 |  | 9 | 11 | 0.0084374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4285-3_0_6_line_12 |  | 10 | 12 | 0.022569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4285-3_0_6_line_13 |  | 11 | 13 | 0.0052467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4285-3_0_6_line_14 |  | 12 | 14 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4285-3_0_6_line_15 |  | 12 | 15 | 0.045027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_4285-3_0_6_line_16 |  | 12 | 16 | 0.016762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_4285-3_0_6_line_17 |  | 13 | 17 | 0.031486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4285-3_0_6_line_18 |  | 15 | 18 | 0.016595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4285-3_0_6_line_19 |  | 15 | 19 | 0.014949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4285-3_0_6_line_20 |  | 16 | 20 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4285-3_0_6_line_21 |  | 18 | 21 | 0.013825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4285-3_0_6_line_22 |  | 19 | 22 | 0.0015895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4285-3_0_6_line_23 |  | 20 | 23 | 0.0037407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4285-3_0_6_line_24 |  | 21 | 38 | 0.0076784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4285-3_0_6_line_25 |  | 22 | 44 | 0.025173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4285-3_0_6_line_26 |  | 23 | 99 | 0.027848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_4285-3_0_6_line_27 |  | 24 | 28 | 0.035994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4285-3_0_6_line_28 |  | 25 | 26 | 0.061179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4285-3_0_6_line_29 |  | 26 | 27 | 0.03089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4285-3_0_6_line_30 |  | 27 | 29 | 0.056672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4285-3_0_6_line_31 |  | 29 | 30 | 0.054979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4285-3_0_6_line_32 |  | 30 | 55 | 0.0074654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4285-3_0_6_line_33 |  | 31 | 32 | 0.0050748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4285-3_0_6_line_34 |  | 31 | 33 | 0.014891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4285-3_0_6_line_35 |  | 32 | 34 | 0.0066973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4285-3_0_6_line_36 |  | 33 | 35 | 0.0059609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4285-3_0_6_line_37 |  | 35 | 36 | 0.012456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4285-3_0_6_line_38 |  | 36 | 37 | 0.033134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4285-3_0_6_line_39 |  | 37 | 48 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4285-3_0_6_line_40 |  | 38 | 39 | 0.013416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4285-3_0_6_line_41 |  | 39 | 40 | 0.0082984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4285-3_0_6_line_42 |  | 40 | 41 | 0.0039756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4285-3_0_6_line_43 |  | 41 | 42 | 0.0083621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4285-3_0_6_line_44 |  | 42 | 43 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4285-3_0_6_line_45 |  | 43 | 53 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4285-3_0_6_line_46 |  | 44 | 45 | 0.016486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4285-3_0_6_line_47 |  | 45 | 46 | 0.034625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4285-3_0_6_line_48 |  | 45 | 47 | 0.053066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4285-3_0_6_line_49 |  | 46 | 50 | 0.026573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4285-3_0_6_line_50 |  | 47 | 60 | 0.064131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4285-3_0_6_line_51 |  | 48 | 49 | 0.023998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4285-3_0_6_line_52 |  | 48 | 50 | 0.005213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4285-3_0_6_line_53 |  | 49 | 51 | 0.005097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4285-3_0_6_line_54 |  | 51 | 52 | 0.016809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4285-3_0_6_line_55 |  | 52 | 56 | 0.019237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4285-3_0_6_line_56 |  | 53 | 54 | 0.001917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4285-3_0_6_line_57 |  | 54 | 55 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4285-3_0_6_line_58 |  | 56 | 57 | 0.016193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4285-3_0_6_line_59 |  | 58 | 59 | 0.025153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4285-3_0_6_line_60 |  | 59 | 60 | 0.0056802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4285-3_0_6_line_61 |  | 59 | 61 | 0.016563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4285-3_0_6_line_62 |  | 61 | 62 | 0.028322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4285-3_0_6_line_63 |  | 62 | 63 | 0.022874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4285-3_0_6_line_64 |  | 63 | 100 | 0.024252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4285-3_0_6_line_65 |  | 64 | 65 | 0.0277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_4285-3_0_6_line_66 |  | 64 | 66 | 0.0029835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_4285-3_0_6_line_67 |  | 65 | 67 | 0.029929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_4285-3_0_6_line_68 |  | 66 | 68 | 0.00097438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4285-3_0_6_line_69 |  | 67 | 69 | 0.015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4285-3_0_6_line_70 |  | 67 | 70 | 0.01785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_4285-3_0_6_line_71 |  | 68 | 71 | 0.027805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_4285-3_0_6_line_72 |  | 69 | 72 | 0.024718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4285-3_0_6_line_73 |  | 70 | 73 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_4285-3_0_6_line_74 |  | 71 | 74 | 0.0035241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_4285-3_0_6_line_75 |  | 73 | 82 | 0.036703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_4285-3_0_6_line_76 |  | 74 | 98 | 0.021892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_4285-3_0_6_line_77 |  | 75 | 76 | 0.031331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4285-3_0_6_line_78 |  | 75 | 77 | 0.037699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4285-3_0_6_line_79 |  | 76 | 78 | 0.0020933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4285-3_0_6_line_80 |  | 77 | 79 | 0.022359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4285-3_0_6_line_81 |  | 78 | 80 | 0.028603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4285-3_0_6_line_82 |  | 79 | 81 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4285-3_0_6_line_83 |  | 80 | 82 | 0.00090091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4285-3_0_6_line_84 |  | 81 | 83 | 0.022075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4285-3_0_6_line_85 |  | 83 | 84 | 0.021752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4285-3_0_6_line_86 |  | 84 | 85 | 0.020479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4285-3_0_6_line_87 |  | 85 | 86 | 0.030937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4285-3_0_6_line_88 |  | 86 | 89 | 0.032406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4285-3_0_6_line_89 |  | 86 | 87 | 0.022426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4285-3_0_6_line_90 |  | 87 | 88 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4285-3_0_6_line_91 |  | 88 | 90 | 0.0048703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4285-3_0_6_line_92 |  | 89 | 91 | 0.25387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4285-3_0_6_line_93 |  | 90 | 92 | 0.022824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4285-3_0_6_line_94 |  | 92 | 93 | 0.0015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4285-3_0_6_line_95 |  | 93 | 94 | 0.019244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4285-3_0_6_line_96 |  | 94 | 95 | 0.0043895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4285-3_0_6_line_97 |  | 95 | 97 | 0.024833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4285-3_0_6_line_98 |  | 96 | 97 | 0.0068047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4285-3_0_6_line_99 |  | 98 | 99 | 0.0012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_4285-3_0_6_line_100 |  | 100 | 101 | 0.039714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4285-3_0_6_trafo_92 | 0.63 MVA 20/0.4 kV | 102 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2637229.0527 | 1236332.0335 | 2637217.6456 | 1236324.0387
1 | 2637229.0527 | 1236332.0335 | 2637239.1964 | 1236339.1429
2 | 2637210.0243 | 1236318.6972 | 2637217.6456 | 1236324.0387
3 | 2637251.6091 | 1236347.8425 | 2637239.1964 | 1236339.1429
4 | 2637251.6091 | 1236347.8425 | 2637255.2366 | 1236342.5174 | 2637260.2916 | 1236335.1211
5 | 2637251.6091 | 1236347.8425 | 2637239.1804 | 1236366.1044
6 | 2637274.2842 | 1236314.6473 | 2637260.2916 | 1236335.1211
7 | 2637239.1804 | 1236366.1044 | 2637226.7711 | 1236384.3379
8 | 2637277.3398 | 1236310.1763 | 2637274.2842 | 1236314.6473
9 | 2637215.3918 | 1236401.0579 | 2637226.7711 | 1236384.3379
10 | 2637175.0326 | 1236390.3944 | 2637188.0777 | 1236401.2678
11 | 2637175.0326 | 1236390.3944 | 2637168.5514 | 1236384.9922
12 | 2637205.4143 | 1236415.7183 | 2637188.0777 | 1236401.2678
13 | 2637164.5212 | 1236381.6329 | 2637168.5514 | 1236384.9922
14 | 2637205.4143 | 1236415.7183 | 2637215.3918 | 1236401.0579
15 | 2637243.1674 | 1236440.4257 | 2637205.4143 | 1236415.7183
16 | 2637205.4143 | 1236415.7183 | 2637201.4612 | 1236423.5096 | 2637197.3573 | 1236430.4061
17 | 2637139.5866 | 1236362.4361 | 2637154.0485 | 1236372.9036 | 2637164.5212 | 1236381.6329
18 | 2637243.1674 | 1236440.4257 | 2637254.1652 | 1236427.9982
19 | 2637243.1674 | 1236440.4257 | 2637255.4479 | 1236448.9505
20 | 2637188.2437 | 1236445.7214 | 2637197.3573 | 1236430.4061
21 | 2637263.3273 | 1236417.6451 | 2637254.1652 | 1236427.9982
22 | 2637255.4479 | 1236448.9505 | 2637256.7536 | 1236449.8568
23 | 2637188.2437 | 1236445.7214 | 2637187.8498 | 1236446.3833 | 2637186.6334 | 1236449.0933
24 | 2637268.4159 | 1236411.895 | 2637263.3273 | 1236417.6451
25 | 2637277.4328 | 1236464.2118 | 2637256.7536 | 1236449.8568
26 | 2637175.2292 | 1236474.4992 | 2637186.6334 | 1236449.0933
27 | 2637277.3398 | 1236310.1763 | 2637255.3227 | 1236281.7019
28 | 2637291.677 | 1236225.55 | 2637288.2857 | 1236223.3607 | 2637277.591 | 1236212.976 | 2637272.3402 | 1236205.6607 | 2637250.736 | 1236191.3608 | 2637245.2883 | 1236186.4681
29 | 2637317.6919 | 1236242.3237 | 2637291.677 | 1236225.55
30 | 2637349.9129 | 1236288.9442 | 2637317.6919 | 1236242.3237
31 | 2637349.9129 | 1236288.9442 | 2637344.1458 | 1236297.5912 | 2637321.5451 | 1236336.024
32 | 2637321.5451 | 1236336.024 | 2637317.7608 | 1236342.4591
33 | 2637400.5427 | 1236427.8579 | 2637396.7702 | 1236431.2522
34 | 2637385.7001 | 1236441.2125 | 2637396.7702 | 1236431.2522
35 | 2637405.5213 | 1236423.3783 | 2637400.5427 | 1236427.8579
36 | 2637385.7001 | 1236441.2125 | 2637381.2689 | 1236445.1995
37 | 2637372.0091 | 1236453.5311 | 2637381.2689 | 1236445.1995
38 | 2637372.0091 | 1236453.5311 | 2637346.0987 | 1236432.8794
39 | 2637335.0733 | 1236424.0916 | 2637346.0987 | 1236432.8794
40 | 2637268.4159 | 1236411.895 | 2637276.3086 | 1236402.9764 | 2637277.3004 | 1236401.8428
41 | 2637277.3004 | 1236401.8428 | 2637282.7649 | 1236395.5976
42 | 2637282.7649 | 1236395.5976 | 2637285.3828 | 1236392.6056
43 | 2637285.3828 | 1236392.6056 | 2637288.8377 | 1236388.657 | 2637290.6967 | 1236386.1571
44 | 2637297.2316 | 1236377.3692 | 2637297.2316 | 1236377.3692 | 2637290.6967 | 1236386.1571
45 | 2637308.0826 | 1236358.917 | 2637297.2316 | 1236377.3692
46 | 2637290.9756 | 1236473.6128 | 2637277.4328 | 1236464.2118
47 | 2637290.9756 | 1236473.6128 | 2637300.5841 | 1236460.487 | 2637313.3226 | 1236447.2678
48 | 2637290.9756 | 1236473.6128 | 2637315.3475 | 1236491.5992 | 2637333.9631 | 1236504.7209
49 | 2637331.5376 | 1236427.9223 | 2637321.8404 | 1236438.4287 | 2637313.3226 | 1236447.2678
50 | 2637386.3807 | 1236541.6689 | 2637333.9631 | 1236504.7209
51 | 2637335.0733 | 1236424.0916 | 2637344.4997 | 1236408.6522 | 2637346.4399 | 1236403.0716
52 | 2637335.0733 | 1236424.0916 | 2637331.5376 | 1236427.9223
53 | 2637346.4399 | 1236403.0716 | 2637348.1137 | 1236398.2573
54 | 2637351.3726 | 1236381.7673 | 2637348.1137 | 1236398.2573
55 | 2637351.3726 | 1236381.7673 | 2637370.5888 | 1236380.8719
56 | 2637308.0826 | 1236358.917 | 2637309.0544 | 1236357.2645
57 | 2637309.0544 | 1236357.2645 | 2637317.7608 | 1236342.4591
58 | 2637370.5888 | 1236380.8719 | 2637373.8668 | 1236380.7191 | 2637386.4085 | 1236377.6528
59 | 2637391.0235 | 1236544.9415 | 2637411.4146 | 1236559.6674
60 | 2637391.0235 | 1236544.9415 | 2637386.3807 | 1236541.6689
61 | 2637391.0235 | 1236544.9415 | 2637379.4237 | 1236556.7645
62 | 2637379.4237 | 1236556.7645 | 2637359.5889 | 1236576.9811
63 | 2637343.5692 | 1236593.3091 | 2637359.5889 | 1236576.9811
64 | 2637326.585 | 1236610.6202 | 2637343.5692 | 1236593.3091
65 | 2637145.8644 | 1236524.9481 | 2637129.8488 | 1236547.5483
66 | 2637145.8644 | 1236524.9481 | 2637147.5894 | 1236522.5139
67 | 2637111.4828 | 1236571.0848 | 2637117.7196 | 1236564.6641 | 2637129.8488 | 1236547.5483
68 | 2637148.1527 | 1236521.7189 | 2637147.5894 | 1236522.5139
69 | 2637111.4828 | 1236571.0848 | 2637112.7537 | 1236574.7506 | 2637112.6766 | 1236578.6192 | 2637111.2694 | 1236582.2349 | 2637108.7014 | 1236585.1429
70 | 2637111.4828 | 1236571.0848 | 2637108.8241 | 1236567.9217 | 2637105.1894 | 1236565.9534 | 2637101.0766 | 1236565.4385 | 2637095.8457 | 1236567.0736
71 | 2637162.7559 | 1236498.0695 | 2637150.712 | 1236518.1075 | 2637148.1527 | 1236521.7189
72 | 2637108.7014 | 1236585.1429 | 2637113.2355 | 1236590.8971 | 2637124.0014 | 1236604.5564
73 | 2637095.8457 | 1236567.0736 | 2637090.4663 | 1236558.5569 | 2637081.7617 | 1236547.0054
74 | 2637162.7559 | 1236498.0695 | 2637164.5713 | 1236495.0491
75 | 2637059.8256 | 1236517.5784 | 2637079.1951 | 1236543.5994 | 2637081.7617 | 1236547.0054
76 | 2637174.6975 | 1236475.6838 | 2637170.2473 | 1236485.5979 | 2637167.7088 | 1236489.8292 | 2637164.5713 | 1236495.0491
77 | 2637023.2911 | 1236466.3487 | 2637041.2534 | 1236492.0196
78 | 2637001.8227 | 1236435.3605 | 2637009.538 | 1236446.6934 | 2637023.2911 | 1236466.3487
79 | 2637042.4535 | 1236493.7347 | 2637041.2534 | 1236492.0196
80 | 2637001.8227 | 1236435.3605 | 2637005.7855 | 1236433.2505 | 2637016.5399 | 1236418.9797
81 | 2637042.4535 | 1236493.7347 | 2637048.3559 | 1236502.17 | 2637059.2876 | 1236516.8557
82 | 2637030.3031 | 1236400.7161 | 2637016.5399 | 1236418.9797
83 | 2637059.2876 | 1236516.8557 | 2637059.8256 | 1236517.5784
84 | 2637030.3031 | 1236400.7161 | 2637043.5886 | 1236383.0866
85 | 2637043.5886 | 1236383.0866 | 2637056.6799 | 1236365.7146
86 | 2637069.0049 | 1236349.3597 | 2637056.6799 | 1236365.7146
87 | 2637089.4871 | 1236327.472 | 2637084.5839 | 1236328.6867 | 2637069.0049 | 1236349.3597
88 | 2637089.4871 | 1236327.472 | 2637086.7266 | 1236322.4072 | 2637065.1868 | 1236306.736
89 | 2637108.1381 | 1236339.6738 | 2637092.1843 | 1236328.1226 | 2637089.4871 | 1236327.472
90 | 2637108.1381 | 1236339.6738 | 2637096.4557 | 1236354.053
91 | 2637093.3846 | 1236357.833 | 2637096.4557 | 1236354.053
92 | 2637065.1868 | 1236306.736 | 2636987.5975 | 1236065.0109
93 | 2637093.3846 | 1236357.833 | 2637078.9927 | 1236375.547
94 | 2637078.9927 | 1236375.547 | 2637078.0265 | 1236376.7363
95 | 2637078.0265 | 1236376.7363 | 2637065.892 | 1236391.6719
96 | 2637063.1241 | 1236395.0787 | 2637065.892 | 1236391.6719
97 | 2637063.1241 | 1236395.0787 | 2637047.4652 | 1236414.3522
98 | 2637043.1744 | 1236419.6336 | 2637047.4652 | 1236414.3522
99 | 2637174.6975 | 1236475.6838 | 2637175.2292 | 1236474.4992
100 | 2637326.585 | 1236610.6202 | 2637298.7716 | 1236638.9689

## bus_geodata
| x | y | coords
0 | 2637229.0527 | 1236332.0335
1 | 2637217.6456 | 1236324.0387
2 | 2637239.1964 | 1236339.1429
3 | 2637210.0243 | 1236318.6972
4 | 2637251.6091 | 1236347.8425
5 | 2637260.2916 | 1236335.1211
6 | 2637239.1804 | 1236366.1044
7 | 2637274.2842 | 1236314.6473
8 | 2637226.7711 | 1236384.3379
9 | 2637175.0326 | 1236390.3944
10 | 2637188.0777 | 1236401.2678
11 | 2637168.5514 | 1236384.9922
12 | 2637205.4143 | 1236415.7183
13 | 2637164.5212 | 1236381.6329
14 | 2637215.3918 | 1236401.0579
15 | 2637243.1674 | 1236440.4257
16 | 2637197.3573 | 1236430.4061
17 | 2637139.5866 | 1236362.4361
18 | 2637254.1652 | 1236427.9982
19 | 2637255.4479 | 1236448.9505
20 | 2637188.2437 | 1236445.7214
21 | 2637263.3273 | 1236417.6451
22 | 2637256.7536 | 1236449.8568
23 | 2637186.6334 | 1236449.0933
24 | 2637277.3398 | 1236310.1763
25 | 2637245.2883 | 1236186.4681
26 | 2637291.677 | 1236225.55
27 | 2637317.6919 | 1236242.3237
28 | 2637255.3227 | 1236281.7019
29 | 2637349.9129 | 1236288.9442
30 | 2637321.5451 | 1236336.024
31 | 2637396.7702 | 1236431.2522
32 | 2637400.5427 | 1236427.8579
33 | 2637385.7001 | 1236441.2125
34 | 2637405.5213 | 1236423.3783
35 | 2637381.2689 | 1236445.1995
36 | 2637372.0091 | 1236453.5311
37 | 2637346.0988 | 1236432.8794
38 | 2637268.4159 | 1236411.895
39 | 2637277.3004 | 1236401.8428
40 | 2637282.7649 | 1236395.5976
41 | 2637285.3828 | 1236392.6056
42 | 2637290.6967 | 1236386.1571
43 | 2637297.2316 | 1236377.3692
44 | 2637277.4328 | 1236464.2118
45 | 2637290.9756 | 1236473.6128
46 | 2637313.3226 | 1236447.2678
47 | 2637333.9631 | 1236504.7209
48 | 2637335.0733 | 1236424.0916
49 | 2637346.4399 | 1236403.0716
50 | 2637331.5376 | 1236427.9223
51 | 2637348.1137 | 1236398.2573
52 | 2637351.3726 | 1236381.7673
53 | 2637308.0826 | 1236358.917
54 | 2637309.0544 | 1236357.2645
55 | 2637317.7608 | 1236342.4591
56 | 2637370.5888 | 1236380.8719
57 | 2637386.4085 | 1236377.6528
58 | 2637411.4146 | 1236559.6674
59 | 2637391.0235 | 1236544.9415
60 | 2637386.3807 | 1236541.6689
61 | 2637379.4237 | 1236556.7645
62 | 2637359.5889 | 1236576.9811
63 | 2637343.5692 | 1236593.3091
64 | 2637145.8644 | 1236524.9481
65 | 2637129.8488 | 1236547.5483
66 | 2637147.5894 | 1236522.5139
67 | 2637111.4828 | 1236571.0848
68 | 2637148.1527 | 1236521.7189
69 | 2637108.7014 | 1236585.1429
70 | 2637095.8457 | 1236567.0736
71 | 2637162.7559 | 1236498.0695
72 | 2637124.0014 | 1236604.5564
73 | 2637081.7617 | 1236547.0054
74 | 2637164.5713 | 1236495.0491
75 | 2637023.2911 | 1236466.3487
76 | 2637041.2534 | 1236492.0196
77 | 2637001.8227 | 1236435.3605
78 | 2637042.4535 | 1236493.7347
79 | 2637016.5399 | 1236418.9797
80 | 2637059.2876 | 1236516.8557
81 | 2637030.3031 | 1236400.7161
82 | 2637059.8256 | 1236517.5784
83 | 2637043.5886 | 1236383.0866
84 | 2637056.6799 | 1236365.7146
85 | 2637069.0049 | 1236349.3597
86 | 2637089.4871 | 1236327.472
87 | 2637108.1381 | 1236339.6738
88 | 2637096.4557 | 1236354.053
89 | 2637065.1868 | 1236306.736
90 | 2637093.3846 | 1236357.833
91 | 2636987.5975 | 1236065.0109
92 | 2637078.9927 | 1236375.547
93 | 2637078.0265 | 1236376.7363
94 | 2637065.892 | 1236391.6719
95 | 2637063.1241 | 1236395.0787
96 | 2637043.1744 | 1236419.6336
97 | 2637047.4652 | 1236414.3522
98 | 2637174.6975 | 1236475.6838
99 | 2637175.2292 | 1236474.4992
100 | 2637326.585 | 1236610.6202
101 | 2637298.7716 | 1236638.9689
102 | 2637205.4143 | 1236415.7183

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1