## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4289-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4289-19_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4289-19_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4289-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4289-19_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_4289-19_0_6_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_4289-19_0_6_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_4289-19_0_6_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_4289-19_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_4289-19_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4289-19_0_6_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_4289-19_0_6_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_4289-19_0_6_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_4289-19_0_6_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_4289-19_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_4289-19_0_6_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_4289-19_0_6_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_4289-19_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_4289-19_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_4289-19_0_6_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_4289-19_0_6_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_4289-19_0_6_node_67 | 0.4 | n |  | TRUE
22 | bus_LV_4289-19_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_4289-19_0_6_node_61 | 0.4 | n |  | TRUE
24 | bus_LV_4289-19_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_4289-19_0_6_node_9 | 0.4 | n |  | TRUE
26 | bus_LV_4289-19_0_6_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_4289-19_0_6_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_4289-19_0_6_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_4289-19_0_6_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_4289-19_0_6_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_4289-19_0_6_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_4289-19_0_6_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_4289-19_0_6_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_4289-19_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_4289-19_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_4289-19_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_4289-19_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_4289-19_0_6_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_4289-19_0_6_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_4289-19_0_6_node_43 | 0.4 | n |  | TRUE
41 | bus_LV_4289-19_0_6_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_4289-19_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_4289-19_0_6_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_4289-19_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_4289-19_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4289-19_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_4289-19_0_6_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4289-19_0_6_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4289-19_0_6_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_4289-19_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_4289-19_0_6_node_66 | 0.4 | n |  | TRUE
52 | bus_LV_4289-19_0_6_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_4289-19_0_6_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_4289-19_0_6_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_4289-19_0_6_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_4289-19_0_6_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_4289-19_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_4289-19_0_6_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_4289-19_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_4289-19_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_4289-19_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_4289-19_0_6_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4289-19_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_4289-19_0_6_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_4289-19_0_6_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_4289-19_0_6_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_4289-19_0_6_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_4289-19_0_6_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_4289-19_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_MV_617_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4289-19_0_6_load_0 | 0 | 0.012524 | 0.0031387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4289-19_0_6_load_72 | 6 | 0.0066442 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4289-19_0_6_load_36 | 10 | 0.069107 | 0.01732 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4289-19_0_6_load_71 | 11 | 0.0097147 | 0.0024347 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4289-19_0_6_load_47 | 13 | 0.0035194 | 0.00088205 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4289-19_0_6_load_20 | 14 | 0.0016294 | 0.00040837 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4289-19_0_6_load_34 | 15 | 0.014824 | 0.0037151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4289-19_0_6_load_35 | 16 | 0.013415 | 0.0033622 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4289-19_0_6_load_15 | 17 | 0.0025221 | 0.00063209 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4289-19_0_6_load_67 | 21 | 0.0088183 | 0.0022101 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4289-19_0_6_load_13 | 22 | 0.0039675 | 0.00099434 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4289-19_0_6_load_61 | 23 | 0.0054961 | 0.0013774 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4289-19_0_6_load_25 | 24 | 0.02751 | 0.0068948 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4289-19_0_6_load_9 | 25 | 0.0098578 | 0.0024706 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4289-19_0_6_load_14 | 29 | 0.0096045 | 0.0024071 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4289-19_0_6_load_60 | 30 | 0.0025553 | 0.00064041 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4289-19_0_6_load_70 | 31 | 0.0092175 | 0.0023101 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4289-19_0_6_load_42 | 32 | 0.0033386 | 0.00083673 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4289-19_0_6_load_41 | 33 | 0.0027647 | 0.00069289 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4289-19_0_6_load_21 | 34 | 0.01895 | 0.0047492 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4289-19_0_6_load_22 | 35 | 0.0012943 | 0.00032437 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4289-19_0_6_load_46 | 39 | 0.0044358 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4289-19_0_6_load_43 | 40 | 0.010814 | 0.0027103 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4289-19_0_6_load_73 | 41 | 0.068954 | 0.017281 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4289-19_0_6_load_48 | 42 | 0.028133 | 0.0070507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4289-19_0_6_load_44 | 43 | 0.001895 | 0.00047494 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4289-19_0_6_load_28 | 44 | 0.044805 | 0.011229 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4289-19_0_6_load_29 | 45 | 0.002563 | 0.00064235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4289-19_0_6_load_31 | 47 | 0.0016664 | 0.00041765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4289-19_0_6_load_32 | 48 | 0.0032558 | 0.00081598 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4289-19_0_6_load_56 | 49 | 0.00097409 | 0.00024413 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4289-19_0_6_load_66 | 51 | 0.0073692 | 0.0018469 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4289-19_0_6_load_37 | 53 | 0.0036429 | 0.00091299 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4289-19_0_6_load_59 | 55 | 0.012187 | 0.0030544 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4289-19_0_6_load_58 | 56 | 0.02489 | 0.0062379 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4289-19_0_6_load_45 | 57 | 0.0012767 | 0.00031998 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4289-19_0_6_load_49 | 60 | 0.021016 | 0.0052672 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4289-19_0_6_load_62 | 61 | 0.042975 | 0.010771 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4289-19_0_6_load_57 | 62 | 0.015701 | 0.0039351 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4289-19_0_6_load_50 | 63 | 0.0071199 | 0.0017844 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4289-19_0_6_load_51 | 64 | 0.0040716 | 0.0010204 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4289-19_0_6_load_52 | 65 | 0.0037308 | 0.00093502 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4289-19_0_6_load_53 | 66 | 0.0044326 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4289-19_0_6_load_65 | 68 | 0.0085904 | 0.0021529 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4289-19_0_6_load_68 | 69 | 0.003739 | 0.00093708 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4289-19_0_6_line_0 |  | 0 | 1 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4289-19_0_6_line_1 |  | 0 | 2 | 0.010112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4289-19_0_6_line_2 |  | 1 | 3 | 0.00605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4289-19_0_6_line_3 |  | 1 | 4 | 0.051613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4289-19_0_6_line_4 |  | 2 | 5 | 0.007373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4289-19_0_6_line_5 |  | 3 | 6 | 0.0034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4289-19_0_6_line_6 |  | 4 | 11 | 0.00494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4289-19_0_6_line_7 |  | 4 | 12 | 0.05085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4289-19_0_6_line_8 |  | 5 | 14 | 0.0044347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4289-19_0_6_line_9 |  | 5 | 17 | 0.0087682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4289-19_0_6_line_10 |  | 7 | 8 | 0.059291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4289-19_0_6_line_11 |  | 7 | 9 | 0.031387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_4289-19_0_6_line_12 |  | 7 | 10 | 0.025769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4289-19_0_6_line_13 |  | 8 | 13 | 0.01542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4289-19_0_6_line_14 |  | 8 | 14 | 0.033199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4289-19_0_6_line_15 |  | 9 | 15 | 0.022262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_4289-19_0_6_line_16 |  | 9 | 16 | 0.06625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4289-19_0_6_line_17 |  | 12 | 21 | 0.034414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4289-19_0_6_line_18 |  | 12 | 22 | 0.0067887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4289-19_0_6_line_19 |  | 13 | 23 | 0.045025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4289-19_0_6_line_20 |  | 15 | 24 | 0.049836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4289-19_0_6_line_21 |  | 17 | 18 | 0.043358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4289-19_0_6_line_22 |  | 18 | 19 | 0.077862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4289-19_0_6_line_23 |  | 18 | 20 | 0.11239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4289-19_0_6_line_24 |  | 19 | 31 | 0.039725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4289-19_0_6_line_25 |  | 20 | 32 | 0.017639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4289-19_0_6_line_26 |  | 22 | 26 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4289-19_0_6_line_27 |  | 23 | 61 | 0.056111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4289-19_0_6_line_28 |  | 24 | 36 | 0.011339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_4289-19_0_6_line_29 |  | 25 | 26 | 0.052249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4289-19_0_6_line_30 |  | 25 | 27 | 0.021375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4289-19_0_6_line_31 |  | 26 | 28 | 0.006474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4289-19_0_6_line_32 |  | 27 | 29 | 0.007958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4289-19_0_6_line_33 |  | 28 | 30 | 0.0034148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4289-19_0_6_line_34 |  | 32 | 33 | 0.017957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4289-19_0_6_line_35 |  | 33 | 54 | 0.002764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4289-19_0_6_line_36 |  | 34 | 35 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_4289-19_0_6_line_37 |  | 34 | 36 | 0.044823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4289-19_0_6_line_38 |  | 35 | 37 | 0.0274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4289-19_0_6_line_39 |  | 36 | 38 | 0.028322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4289-19_0_6_line_40 |  | 37 | 39 | 0.031816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4289-19_0_6_line_41 |  | 37 | 40 | 0.00011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4289-19_0_6_line_42 |  | 38 | 41 | 0.001858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4289-19_0_6_line_43 |  | 39 | 42 | 0.043514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_4289-19_0_6_line_44 |  | 40 | 43 | 0.024942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4289-19_0_6_line_45 |  | 42 | 60 | 0.0004661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4289-19_0_6_line_46 |  | 43 | 57 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4289-19_0_6_line_47 |  | 44 | 45 | 0.00048047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4289-19_0_6_line_48 |  | 44 | 46 | 0.064614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4289-19_0_6_line_49 |  | 45 | 47 | 0.03228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4289-19_0_6_line_50 |  | 46 | 48 | 0.0094919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4289-19_0_6_line_51 |  | 47 | 49 | 0.0034276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4289-19_0_6_line_52 |  | 48 | 50 | 0.0094748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4289-19_0_6_line_53 |  | 49 | 52 | 0.00098151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4289-19_0_6_line_54 |  | 50 | 51 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4289-19_0_6_line_55 |  | 52 | 62 | 0.064763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4289-19_0_6_line_56 |  | 52 | 60 | 0.034849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4289-19_0_6_line_57 |  | 53 | 54 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4289-19_0_6_line_58 |  | 55 | 56 | 0.043183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4289-19_0_6_line_59 |  | 56 | 62 | 0.0098871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4289-19_0_6_line_60 |  | 57 | 58 | 0.038447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4289-19_0_6_line_61 |  | 58 | 59 | 0.057961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4289-19_0_6_line_62 |  | 59 | 68 | 0.022733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4289-19_0_6_line_63 |  | 63 | 64 | 0.041736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4289-19_0_6_line_64 |  | 63 | 65 | 0.0079929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4289-19_0_6_line_65 |  | 64 | 66 | 0.00047403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4289-19_0_6_line_66 |  | 65 | 67 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4289-19_0_6_line_67 |  | 66 | 68 | 0.045674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4289-19_0_6_line_68 |  | 67 | 69 | 0.064881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4289-19_0_6_trafo_25 | 0.63 MVA 20/0.4 kV | 70 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2637736.7935 | 1237213.6586 | 2637732.0262 | 1237209.0588 | 2637729.4567 | 1237205.0622 | 2637730.9816 | 1237200.4083
1 | 2637733.8978 | 1237190.7368 | 2637733.4376 | 1237192.9131 | 2637730.9816 | 1237200.4083
2 | 2637736.7935 | 1237213.6586 | 2637742.8057 | 1237212.8407
3 | 2637700.7008 | 1237208.582 | 2637709.1676 | 1237217.9416 | 2637723.2493 | 1237222.3337 | 2637734.56 | 1237225.8521 | 2637736.7935 | 1237213.6586
4 | 2637735.9174 | 1237183.6452 | 2637733.8978 | 1237190.7368
5 | 2637742.8057 | 1237212.8407 | 2637743.0693 | 1237209.4513
6 | 2637702.3116 | 1237203.9115 | 2637700.7008 | 1237208.582
7 | 2637679.78 | 1237237.5788 | 2637682.861 | 1237205.0778 | 2637687.7363 | 1237205.7758 | 2637691.3796 | 1237206.2881 | 2637700.7008 | 1237208.582
8 | 2637735.9174 | 1237183.6452 | 2637740.1571 | 1237184.9456
9 | 2637735.9174 | 1237183.6452 | 2637727.638 | 1237180.7582
10 | 2637771.8967 | 1237194.6806 | 2637769.0679 | 1237206.4812 | 2637764.4359 | 1237237.7382 | 2637765.8917 | 1237244.3738 | 2637774.4893 | 1237242.6718
11 | 2637780.748 | 1237260.1782 | 2637776.9213 | 1237258.7752 | 2637771.1136 | 1237253.6129 | 2637766.4798 | 1237247.0682 | 2637765.8917 | 1237244.3738 | 2637774.4893 | 1237242.6718
12 | 2637774.4893 | 1237242.6718 | 2637799.2135 | 1237249.9352
13 | 2637771.8967 | 1237194.6806 | 2637786.6073 | 1237199.3031
14 | 2637771.8967 | 1237194.6806 | 2637740.1571 | 1237184.9456
15 | 2637780.748 | 1237260.1782 | 2637801.6411 | 1237267.8637
16 | 2637780.748 | 1237260.1782 | 2637769.9666 | 1237287.6827 | 2637774.9528 | 1237300.667 | 2637766.3973 | 1237321.7995
17 | 2637679.78 | 1237237.5788 | 2637713.7086 | 1237243.8979
18 | 2637679.78 | 1237237.5788 | 2637679.1395 | 1237244.3373
19 | 2637829.5561 | 1237212.8186 | 2637826.6444 | 1237211.8839 | 2637786.6073 | 1237199.3031
20 | 2637801.6411 | 1237267.8637 | 2637848.4132 | 1237285.0687
21 | 2637687.1381 | 1237165.2909 | 2637704.8354 | 1237172.1963 | 2637719.5819 | 1237177.949 | 2637727.638 | 1237180.7582
22 | 2637704.7854 | 1237089.4549 | 2637687.1381 | 1237165.2909
23 | 2637687.1381 | 1237165.2909 | 2637643.4294 | 1237152.606 | 2637621.5659 | 1237215.8076
24 | 2637704.7854 | 1237089.4549 | 2637742.3631 | 1237102.6571
25 | 2637621.5659 | 1237215.8076 | 2637616.533 | 1237232.7131
26 | 2637678.0287 | 1237256.0572 | 2637679.1395 | 1237244.3373
27 | 2637829.5561 | 1237212.8186 | 2637882.9819 | 1237229.968
28 | 2637859.0553 | 1237288.9834 | 2637848.4132 | 1237285.0687
29 | 2637678.0287 | 1237256.0572 | 2637690.5741 | 1237262.9077 | 2637705.7745 | 1237266.2395 | 2637726.9285 | 1237258.8912
30 | 2637737.3753 | 1237274.5341 | 2637726.267 | 1237266.5697 | 2637726.9285 | 1237258.8912
31 | 2637677.4205 | 1237262.5019 | 2637678.0287 | 1237256.0572
32 | 2637737.3753 | 1237274.5341 | 2637739.4592 | 1237266.8536
33 | 2637677.4205 | 1237262.5019 | 2637677.0983 | 1237265.9014
34 | 2637611.4092 | 1237249.9236 | 2637616.533 | 1237232.7131
35 | 2637610.6205 | 1237252.5727 | 2637611.4092 | 1237249.9236
36 | 2637912.9668 | 1237308.8083 | 2637901.1238 | 1237304.4533
37 | 2637859.0553 | 1237288.9834 | 2637901.1238 | 1237304.4533
38 | 2637938.6828 | 1237318.2649 | 2637912.9668 | 1237308.8083
39 | 2637859.0553 | 1237288.9834 | 2637865.5154 | 1237272.4807 | 2637869.7609 | 1237262.7683
40 | 2637938.6828 | 1237318.2649 | 2637926.3243 | 1237347.5829
41 | 2637938.7282 | 1237318.1613 | 2637938.6828 | 1237318.2649
42 | 2637870.5207 | 1237261.0721 | 2637869.7609 | 1237262.7683
43 | 2637926.3243 | 1237347.5829 | 2637909.4221 | 1237387.6801
44 | 2637938.7282 | 1237318.1613 | 2637948.7436 | 1237295.3185
45 | 2637909.2411 | 1237388.1096 | 2637909.4221 | 1237387.6801
46 | 2637953.3331 | 1237284.5848 | 2637952.7703 | 1237286.1345 | 2637948.7436 | 1237295.3185
47 | 2637881.532 | 1237454.5827 | 2637881.713 | 1237454.1377
48 | 2637857.3312 | 1237514.4928 | 2637861.3534 | 1237504.1785 | 2637881.532 | 1237454.5827
49 | 2637881.713 | 1237454.1377 | 2637891.2578 | 1237430.6781 | 2637893.9791 | 1237424.2795
50 | 2637857.3312 | 1237514.4928 | 2637860.0748 | 1237516.0668 | 2637862.2694 | 1237518.3378 | 2637863.757 | 1237521.1379
51 | 2637895.3206 | 1237421.1253 | 2637893.9791 | 1237424.2795
52 | 2637863.0704 | 1237530.3394 | 2637864.1711 | 1237527.3778 | 2637864.403 | 1237524.2218 | 2637863.757 | 1237521.1379
53 | 2637895.3206 | 1237421.1253 | 2637895.7047 | 1237420.222
54 | 2637863.0704 | 1237530.3394 | 2637873.0697 | 1237534.161 | 2637883.7624 | 1237538.1031
55 | 2637895.7047 | 1237420.222 | 2637837.122 | 1237392.6124
56 | 2637895.7047 | 1237420.222 | 2637909.2411 | 1237388.1096
57 | 2637610.6205 | 1237252.5727 | 2637606.4894 | 1237269.9051
58 | 2637789.1164 | 1237369.9876 | 2637828.1783 | 1237388.3973
59 | 2637837.122 | 1237392.6124 | 2637828.1783 | 1237388.3973
60 | 2637961.0452 | 1237247.3072 | 2637960.3747 | 1237263.4465 | 2637958.0993 | 1237271.4592 | 2637953.3331 | 1237284.5848
61 | 2637961.0452 | 1237247.3072 | 2637959.5361 | 1237232.466 | 2637957.6053 | 1237220.8797 | 2637954.0523 | 1237210.973 | 2637947.0354 | 1237191.4158
62 | 2637947.0354 | 1237191.4158 | 2637940.3811 | 1237175.4855 | 2637938.3491 | 1237170.4081
63 | 2637907.8435 | 1237087.9995 | 2637913.2179 | 1237103.6446 | 2637920.2829 | 1237122.8018 | 2637921.9341 | 1237127.2823
64 | 2637907.8435 | 1237087.9995 | 2637907.0975 | 1237085.8277 | 2637905.8037 | 1237080.2801
65 | 2637922.098 | 1237127.7271 | 2637921.9341 | 1237127.2823
66 | 2637899.3356 | 1237052.5461 | 2637905.8037 | 1237080.2801
67 | 2637938.3491 | 1237170.4081 | 2637931.7578 | 1237153.9391 | 2637922.098 | 1237127.7271
68 | 2637899.3356 | 1237052.5461 | 2637894.4867 | 1237052.4373 | 2637893.115 | 1237043.3117 | 2637891.8887 | 1237035.0987 | 2637891.2294 | 1237031.7146 | 2637881.5718 | 1237024.0037 | 2637856.067 | 1237016.1303

## bus_geodata
| x | y | coords
0 | 2637730.9816 | 1237200.4083
1 | 2637736.7935 | 1237213.6586
2 | 2637733.8978 | 1237190.7368
3 | 2637742.8057 | 1237212.8407
4 | 2637700.7008 | 1237208.582
5 | 2637735.9174 | 1237183.6452
6 | 2637743.0693 | 1237209.4513
7 | 2637774.4893 | 1237242.6718
8 | 2637771.8967 | 1237194.6806
9 | 2637780.748 | 1237260.1782
10 | 2637799.2135 | 1237249.9352
11 | 2637702.3116 | 1237203.9115
12 | 2637679.78 | 1237237.5788
13 | 2637786.6073 | 1237199.3031
14 | 2637740.1571 | 1237184.9456
15 | 2637801.6411 | 1237267.8637
16 | 2637766.3973 | 1237321.7995
17 | 2637727.638 | 1237180.7582
18 | 2637687.1381 | 1237165.2909
19 | 2637704.7854 | 1237089.4549
20 | 2637621.5659 | 1237215.8076
21 | 2637713.7086 | 1237243.8979
22 | 2637679.1395 | 1237244.3373
23 | 2637829.5561 | 1237212.8186
24 | 2637848.4132 | 1237285.0687
25 | 2637726.9285 | 1237258.8912
26 | 2637678.0287 | 1237256.0572
27 | 2637737.3753 | 1237274.5341
28 | 2637677.4205 | 1237262.5019
29 | 2637739.4592 | 1237266.8536
30 | 2637677.0983 | 1237265.9014
31 | 2637742.3631 | 1237102.6571
32 | 2637616.533 | 1237232.7131
33 | 2637611.4092 | 1237249.9236
34 | 2637901.1238 | 1237304.4533
35 | 2637912.9668 | 1237308.8083
36 | 2637859.0553 | 1237288.9834
37 | 2637938.6828 | 1237318.2649
38 | 2637869.7609 | 1237262.7683
39 | 2637926.3243 | 1237347.5829
40 | 2637938.7282 | 1237318.1613
41 | 2637870.5207 | 1237261.0721
42 | 2637909.4221 | 1237387.6801
43 | 2637948.7436 | 1237295.3185
44 | 2637881.532 | 1237454.5827
45 | 2637881.713 | 1237454.1377
46 | 2637857.3312 | 1237514.4928
47 | 2637893.9791 | 1237424.2795
48 | 2637863.757 | 1237521.1379
49 | 2637895.3206 | 1237421.1253
50 | 2637863.0704 | 1237530.3394
51 | 2637883.7624 | 1237538.1031
52 | 2637895.7047 | 1237420.222
53 | 2637606.4894 | 1237269.9051
54 | 2637610.6205 | 1237252.5727
55 | 2637789.1164 | 1237369.9876
56 | 2637828.1783 | 1237388.3973
57 | 2637953.3331 | 1237284.5848
58 | 2637961.0452 | 1237247.3072
59 | 2637947.0354 | 1237191.4158
60 | 2637909.2411 | 1237388.1096
61 | 2637882.9819 | 1237229.968
62 | 2637837.122 | 1237392.6124
63 | 2637907.8435 | 1237087.9995
64 | 2637921.9341 | 1237127.2823
65 | 2637905.8037 | 1237080.2801
66 | 2637922.098 | 1237127.7271
67 | 2637899.3356 | 1237052.5461
68 | 2637938.3491 | 1237170.4081
69 | 2637856.067 | 1237016.1303
70 | 2637859.0553 | 1237288.9834

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1