## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4289-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4289-4_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_4289-4_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_4289-4_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_4289-4_0_4_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_4289-4_0_4_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_4289-4_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4289-4_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4289-4_0_4_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_4289-4_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_4289-4_0_4_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_4289-4_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_4289-4_0_4_node_22 | 0.4 | n |  | TRUE
13 | bus_LV_4289-4_0_4_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_4289-4_0_4_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_4289-4_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_4289-4_0_4_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_4289-4_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4289-4_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4289-4_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4289-4_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4289-4_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_4289-4_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_4289-4_0_4_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_4289-4_0_4_node_87 | 0.4 | n |  | TRUE
25 | bus_LV_4289-4_0_4_node_85 | 0.4 | n |  | TRUE
26 | bus_LV_4289-4_0_4_node_109 | 0.4 | n |  | TRUE
27 | bus_LV_4289-4_0_4_node_106 | 0.4 | n |  | TRUE
28 | bus_LV_4289-4_0_4_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_4289-4_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_4289-4_0_4_node_57 | 0.4 | n |  | TRUE
31 | bus_LV_4289-4_0_4_node_79 | 0.4 | n |  | TRUE
32 | bus_LV_4289-4_0_4_node_111 | 0.4 | n |  | TRUE
33 | bus_LV_4289-4_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_4289-4_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_4289-4_0_4_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_4289-4_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_4289-4_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_4289-4_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_4289-4_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_4289-4_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_4289-4_0_4_node_74 | 0.4 | n |  | TRUE
42 | bus_LV_4289-4_0_4_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_4289-4_0_4_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_4289-4_0_4_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_4289-4_0_4_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_4289-4_0_4_node_72 | 0.4 | n |  | TRUE
47 | bus_LV_4289-4_0_4_node_90 | 0.4 | n |  | TRUE
48 | bus_LV_4289-4_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_4289-4_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_4289-4_0_4_node_35 | 0.4 | n |  | TRUE
51 | bus_LV_4289-4_0_4_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4289-4_0_4_node_37 | 0.4 | n |  | TRUE
53 | bus_LV_4289-4_0_4_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_4289-4_0_4_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_4289-4_0_4_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_4289-4_0_4_node_89 | 0.4 | n |  | TRUE
57 | bus_LV_4289-4_0_4_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_4289-4_0_4_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_4289-4_0_4_node_99 | 0.4 | n |  | TRUE
60 | bus_LV_4289-4_0_4_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_4289-4_0_4_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_4289-4_0_4_node_42 | 0.4 | n |  | TRUE
63 | bus_LV_4289-4_0_4_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_4289-4_0_4_node_108 | 0.4 | n |  | TRUE
65 | bus_LV_4289-4_0_4_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_4289-4_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_4289-4_0_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_4289-4_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_4289-4_0_4_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_4289-4_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_4289-4_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_4289-4_0_4_node_105 | 0.4 | n |  | TRUE
73 | bus_LV_4289-4_0_4_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_4289-4_0_4_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_4289-4_0_4_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_4289-4_0_4_node_52 | 0.4 | n |  | TRUE
77 | bus_LV_4289-4_0_4_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_4289-4_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_4289-4_0_4_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_4289-4_0_4_node_56 | 0.4 | n |  | TRUE
81 | bus_LV_4289-4_0_4_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_4289-4_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_4289-4_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4289-4_0_4_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_4289-4_0_4_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_4289-4_0_4_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_4289-4_0_4_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_4289-4_0_4_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_4289-4_0_4_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_4289-4_0_4_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_4289-4_0_4_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_4289-4_0_4_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_4289-4_0_4_node_70 | 0.4 | n |  | TRUE
94 | bus_LV_4289-4_0_4_node_69 | 0.4 | n |  | TRUE
95 | bus_LV_4289-4_0_4_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_4289-4_0_4_node_101 | 0.4 | n |  | TRUE
97 | bus_LV_4289-4_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_LV_4289-4_0_4_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_4289-4_0_4_node_91 | 0.4 | n |  | TRUE
100 | bus_LV_4289-4_0_4_node_93 | 0.4 | n |  | TRUE
101 | bus_LV_4289-4_0_4_node_97 | 0.4 | n |  | TRUE
102 | bus_MV_617_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4289-4_0_4_load_0 | 0 | 0.0030863 | 0.00077349 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4289-4_0_4_load_3 | 2 | 0.00087221 | 0.0002186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4289-4_0_4_load_4 | 3 | 0.0047535 | 0.0011913 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4289-4_0_4_load_11 | 4 | 0.0011254 | 0.00028205 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4289-4_0_4_load_12 | 5 | 0.0037164 | 0.00093143 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4289-4_0_4_load_5 | 6 | 0.0022563 | 0.00056547 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4289-4_0_4_load_18 | 11 | 0.023867 | 0.0059816 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4289-4_0_4_load_22 | 12 | 0.0023078 | 0.00057838 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4289-4_0_4_load_62 | 13 | 0.0015458 | 0.00038742 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4289-4_0_4_load_59 | 14 | 0.010304 | 0.0025825 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4289-4_0_4_load_17 | 16 | 0.0049491 | 0.0012404 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4289-4_0_4_load_13 | 17 | 0.0075673 | 0.0018965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4289-4_0_4_load_14 | 18 | 0.0077165 | 0.0019339 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4289-4_0_4_load_15 | 19 | 0.0024968 | 0.00062575 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4289-4_0_4_load_27 | 21 | 0.017109 | 0.0042879 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4289-4_0_4_load_20 | 22 | 0.014561 | 0.0036494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4289-4_0_4_load_25 | 23 | 0.014324 | 0.0035899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4289-4_0_4_load_87 | 24 | 0.009493 | 0.0023792 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4289-4_0_4_load_109 | 26 | 0.001492 | 0.00037393 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4289-4_0_4_load_106 | 27 | 0.00023618 | 5.9192e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4289-4_0_4_load_60 | 28 | 0.0015535 | 0.00038933 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4289-4_0_4_load_79 | 31 | 0.0022589 | 0.00056613 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4289-4_0_4_load_111 | 32 | 0.020333 | 0.0050958 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4289-4_0_4_load_26 | 34 | 0.0048137 | 0.0012064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4289-4_0_4_load_32 | 36 | 0.0016103 | 0.00040358 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4289-4_0_4_load_29 | 37 | 0.0091638 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4289-4_0_4_load_34 | 40 | 0.0026857 | 0.0006731 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4289-4_0_4_load_74 | 41 | 0.0027936 | 0.00070014 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4289-4_0_4_load_94 | 43 | 0.0032115 | 0.00080488 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4289-4_0_4_load_45 | 44 | 0.0021959 | 0.00055036 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4289-4_0_4_load_73 | 45 | 0.0016799 | 0.00042103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4289-4_0_4_load_72 | 46 | 0.0035944 | 0.00090084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4289-4_0_4_load_90 | 47 | 0.0021876 | 0.00054826 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4289-4_0_4_load_43 | 48 | 0.0014028 | 0.00035158 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4289-4_0_4_load_46 | 49 | 0.0018986 | 0.00047584 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4289-4_0_4_load_35 | 50 | 0.018766 | 0.0047031 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4289-4_0_4_load_36 | 51 | 0.0020323 | 0.00050934 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4289-4_0_4_load_37 | 52 | 0.0025404 | 0.00063668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4289-4_0_4_load_110 | 53 | 0.0059517 | 0.0014916 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4289-4_0_4_load_38 | 54 | 0.0032092 | 0.0008043 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4289-4_0_4_load_39 | 55 | 0.016885 | 0.0042317 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4289-4_0_4_load_89 | 56 | 0.0032336 | 0.00081043 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4289-4_0_4_load_100 | 57 | 0.01753 | 0.0043934 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4289-4_0_4_load_99 | 59 | 0.011044 | 0.002768 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4289-4_0_4_load_40 | 60 | 0.0022512 | 0.00056419 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4289-4_0_4_load_41 | 61 | 0.0031966 | 0.00080115 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4289-4_0_4_load_42 | 62 | 0.0025099 | 0.00062905 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4289-4_0_4_load_108 | 64 | 0.0037177 | 0.00093173 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4289-4_0_4_load_102 | 65 | 0.0033925 | 0.00085025 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4289-4_0_4_load_58 | 66 | 0.0024692 | 0.00061884 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4289-4_0_4_load_86 | 67 | 0.0041294 | 0.0010349 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4289-4_0_4_load_47 | 68 | 0.0044914 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4289-4_0_4_load_48 | 69 | 0.0022129 | 0.00055461 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4289-4_0_4_load_49 | 70 | 0.0018357 | 0.00046007 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4289-4_0_4_load_50 | 71 | 0.001884 | 0.00047218 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4289-4_0_4_load_105 | 72 | 0.004482 | 0.0011233 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4289-4_0_4_load_103 | 74 | 0.0032238 | 0.00080796 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4289-4_0_4_load_71 | 75 | 0.014614 | 0.0036625 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4289-4_0_4_load_52 | 76 | 0.0014771 | 0.0003702 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4289-4_0_4_load_53 | 77 | 0.0020174 | 0.00050561 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4289-4_0_4_load_54 | 78 | 0.0018877 | 0.0004731 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4289-4_0_4_load_55 | 79 | 0.0012781 | 0.00032031 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4289-4_0_4_load_78 | 82 | 0.0013384 | 0.00033544 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4289-4_0_4_load_77 | 83 | 0.0072265 | 0.0018111 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4289-4_0_4_load_88 | 84 | 0.0028295 | 0.00070915 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4289-4_0_4_load_84 | 85 | 0.0025274 | 0.00063344 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4289-4_0_4_load_61 | 86 | 0.00078876 | 0.00019768 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4289-4_0_4_load_63 | 87 | 0.0041679 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4289-4_0_4_load_64 | 88 | 0.002973 | 0.00074511 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4289-4_0_4_load_65 | 89 | 0.0023507 | 0.00058915 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4289-4_0_4_load_66 | 90 | 0.0047695 | 0.0011954 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4289-4_0_4_load_67 | 91 | 0.002581 | 0.00064685 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4289-4_0_4_load_68 | 92 | 0.0031834 | 0.00079784 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4289-4_0_4_load_69 | 94 | 0.0034799 | 0.00087215 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4289-4_0_4_load_82 | 95 | 0.0023687 | 0.00059366 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4289-4_0_4_load_101 | 96 | 0.0026279 | 0.00065862 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4289-4_0_4_load_95 | 97 | 0.0035715 | 0.00089509 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4289-4_0_4_load_83 | 98 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4289-4_0_4_load_91 | 99 | 0.0043368 | 0.0010869 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4289-4_0_4_load_93 | 100 | 0.002971 | 0.00074461 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4289-4_0_4_load_97 | 101 | 0.0018269 | 0.00045787 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4289-4_0_4_line_0 |  | 0 | 1 | 0.039927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4289-4_0_4_line_1 |  | 1 | 2 | 0.030719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4289-4_0_4_line_2 |  | 1 | 3 | 0.052331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4289-4_0_4_line_3 |  | 2 | 4 | 0.0018789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4289-4_0_4_line_4 |  | 4 | 5 | 0.012467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4289-4_0_4_line_5 |  | 5 | 9 | 0.036107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4289-4_0_4_line_6 |  | 6 | 7 | 0.044878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4289-4_0_4_line_7 |  | 7 | 8 | 0.054226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4289-4_0_4_line_8 |  | 7 | 9 | 0.044395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4289-4_0_4_line_9 |  | 8 | 10 | 0.008428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4289-4_0_4_line_10 |  | 8 | 11 | 0.036299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_4289-4_0_4_line_11 |  | 9 | 12 | 0.028969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4289-4_0_4_line_12 |  | 10 | 13 | 0.045202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4289-4_0_4_line_13 |  | 10 | 14 | 0.0087245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4289-4_0_4_line_14 |  | 11 | 15 | 0.022471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_4289-4_0_4_line_15 |  | 12 | 16 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4289-4_0_4_line_16 |  | 13 | 26 | 0.027024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4289-4_0_4_line_17 |  | 13 | 27 | 0.09037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4289-4_0_4_line_18 |  | 14 | 28 | 0.0078054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4289-4_0_4_line_19 |  | 15 | 22 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_4289-4_0_4_line_20 |  | 15 | 20 | 0.038032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4289-4_0_4_line_21 |  | 16 | 19 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4289-4_0_4_line_22 |  | 17 | 18 | 0.00016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4289-4_0_4_line_23 |  | 17 | 19 | 0.025654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4289-4_0_4_line_24 |  | 20 | 21 | 0.0084579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4289-4_0_4_line_25 |  | 21 | 23 | 0.012237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4289-4_0_4_line_26 |  | 22 | 24 | 0.024999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_4289-4_0_4_line_27 |  | 23 | 34 | 0.01811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4289-4_0_4_line_28 |  | 24 | 25 | 0.020608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_4289-4_0_4_line_29 |  | 25 | 84 | 0.041415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4289-4_0_4_line_30 |  | 25 | 98 | 0.013697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_4289-4_0_4_line_31 |  | 28 | 86 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4289-4_0_4_line_32 |  | 29 | 30 | 0.005909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4289-4_0_4_line_33 |  | 29 | 31 | 0.01836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4289-4_0_4_line_34 |  | 30 | 32 | 0.026834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4289-4_0_4_line_35 |  | 30 | 33 | 0.031991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4289-4_0_4_line_36 |  | 33 | 35 | 0.013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4289-4_0_4_line_37 |  | 35 | 36 | 0.016869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4289-4_0_4_line_38 |  | 35 | 37 | 0.017372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4289-4_0_4_line_39 |  | 36 | 41 | 0.0053905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4289-4_0_4_line_40 |  | 37 | 38 | 0.025544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4289-4_0_4_line_41 |  | 38 | 39 | 0.020228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4289-4_0_4_line_42 |  | 38 | 40 | 0.019449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4289-4_0_4_line_43 |  | 39 | 42 | 0.037632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4289-4_0_4_line_44 |  | 39 | 43 | 0.017461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4289-4_0_4_line_45 |  | 40 | 44 | 0.030792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4289-4_0_4_line_46 |  | 41 | 45 | 0.014577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4289-4_0_4_line_47 |  | 42 | 46 | 0.0060071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4289-4_0_4_line_48 |  | 42 | 47 | 0.043733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4289-4_0_4_line_49 |  | 43 | 48 | 0.011176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4289-4_0_4_line_50 |  | 44 | 49 | 0.011797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4289-4_0_4_line_51 |  | 46 | 93 | 0.023741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4289-4_0_4_line_52 |  | 47 | 99 | 0.014237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4289-4_0_4_line_53 |  | 48 | 61 | 0.012304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4289-4_0_4_line_54 |  | 49 | 66 | 0.013765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_4289-4_0_4_line_55 |  | 50 | 51 | 0.033288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4289-4_0_4_line_56 |  | 50 | 52 | 0.030269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4289-4_0_4_line_57 |  | 50 | 53 | 0.092933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4289-4_0_4_line_58 |  | 51 | 54 | 0.040646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4289-4_0_4_line_59 |  | 52 | 55 | 0.014943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4289-4_0_4_line_60 |  | 54 | 56 | 0.036492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4289-4_0_4_line_61 |  | 55 | 57 | 0.015442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4289-4_0_4_line_62 |  | 56 | 58 | 0.017915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4289-4_0_4_line_63 |  | 57 | 59 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4289-4_0_4_line_64 |  | 58 | 97 | 0.0063348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4289-4_0_4_line_65 |  | 59 | 86 | 0.012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4289-4_0_4_line_66 |  | 60 | 61 | 0.013651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4289-4_0_4_line_67 |  | 60 | 62 | 0.014584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4289-4_0_4_line_68 |  | 63 | 64 | 0.037089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4289-4_0_4_line_69 |  | 63 | 65 | 0.020019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4289-4_0_4_line_70 |  | 64 | 73 | 0.049439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4289-4_0_4_line_71 |  | 65 | 96 | 0.018333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4289-4_0_4_line_72 |  | 66 | 67 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_4289-4_0_4_line_73 |  | 67 | 85 | 0.00082651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_4289-4_0_4_line_74 |  | 68 | 69 | 0.021147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4289-4_0_4_line_75 |  | 68 | 70 | 0.039124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4289-4_0_4_line_76 |  | 69 | 71 | 0.0058766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4289-4_0_4_line_77 |  | 71 | 72 | 0.029355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4289-4_0_4_line_78 |  | 72 | 73 | 0.019109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4289-4_0_4_line_79 |  | 74 | 75 | 0.0024639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4289-4_0_4_line_80 |  | 75 | 93 | 0.03129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4289-4_0_4_line_81 |  | 76 | 77 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4289-4_0_4_line_82 |  | 76 | 78 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4289-4_0_4_line_83 |  | 77 | 79 | 0.002743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4289-4_0_4_line_84 |  | 78 | 80 | 0.013016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4289-4_0_4_line_85 |  | 79 | 81 | 0.013393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4289-4_0_4_line_86 |  | 80 | 82 | 0.03949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4289-4_0_4_line_87 |  | 80 | 83 | 0.021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4289-4_0_4_line_88 |  | 81 | 84 | 0.017956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4289-4_0_4_line_89 |  | 85 | 98 | 0.027196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_4289-4_0_4_line_90 |  | 87 | 88 | 0.011066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4289-4_0_4_line_91 |  | 87 | 89 | 0.0010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4289-4_0_4_line_92 |  | 88 | 90 | 0.006426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4289-4_0_4_line_93 |  | 89 | 91 | 0.022298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4289-4_0_4_line_94 |  | 90 | 92 | 0.0047536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4289-4_0_4_line_95 |  | 91 | 93 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4289-4_0_4_line_96 |  | 92 | 94 | 0.0082121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4289-4_0_4_line_97 |  | 94 | 95 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4289-4_0_4_line_98 |  | 95 | 96 | 0.0070894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4289-4_0_4_line_99 |  | 99 | 100 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4289-4_0_4_line_100 |  | 100 | 101 | 0.022121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4289-4_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 102 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2638571.6383 | 1237022.8168 | 2638562.3518 | 1237061.6489
1 | 2638571.6383 | 1237022.8168 | 2638600.6104 | 1237033.0275
2 | 2638571.6383 | 1237022.8168 | 2638583.8054 | 1236971.92
3 | 2638600.6104 | 1237033.0275 | 2638602.3825 | 1237033.6521
4 | 2638614.1404 | 1237037.796 | 2638602.3825 | 1237033.6521
5 | 2638648.1942 | 1237049.7976 | 2638614.1404 | 1237037.796
6 | 2638688.1615 | 1237046.6222 | 2638679.8595 | 1237060.955 | 2638665.6727 | 1237085.4591
7 | 2638688.1615 | 1237046.6222 | 2638712.1268 | 1237005.2298 | 2638713.0837 | 1236998.8764
8 | 2638648.1942 | 1237049.7976 | 2638669.0315 | 1237056.5374 | 2638673.5608 | 1237056.9337 | 2638677.9608 | 1237055.1056 | 2638683.1898 | 1237050.2699 | 2638688.1615 | 1237046.6222
9 | 2638719.41 | 1237004.4656 | 2638713.0837 | 1236998.8764
10 | 2638713.0837 | 1236998.8764 | 2638712.3307 | 1236992.5231 | 2638714.492 | 1236985.933 | 2638726.9468 | 1236966.6374
11 | 2638648.1942 | 1237049.7976 | 2638658.743 | 1237022.8177
12 | 2638719.41 | 1237004.4656 | 2638701.4666 | 1237045.9532
13 | 2638719.41 | 1237004.4656 | 2638727.5981 | 1237007.4776
14 | 2638739.1328 | 1236947.7582 | 2638726.9468 | 1236966.6374
15 | 2638658.743 | 1237022.8177 | 2638664.381 | 1237008.3977
16 | 2638687.4179 | 1237068.9776 | 2638691.8083 | 1237062.8673 | 2638700.2296 | 1237048.8132 | 2638701.4666 | 1237045.9532
17 | 2638701.4666 | 1237045.9532 | 2638777.8241 | 1237094.2875
18 | 2638727.5981 | 1237007.4776 | 2638731.841 | 1237009.0383 | 2638735.1254 | 1237009.0087
19 | 2638739.1328 | 1236947.7582 | 2638747.5659 | 1236936.2004
20 | 2638706.1187 | 1236928.7089 | 2638739.1328 | 1236947.7582
21 | 2638668.0247 | 1236999.0784 | 2638664.381 | 1237008.3977
22 | 2638679.901 | 1236976.3879 | 2638679.9796 | 1236976.245
23 | 2638668.0247 | 1236999.0784 | 2638670.052 | 1236993.8933 | 2638675.5925 | 1236984.2232 | 2638679.901 | 1236976.3879
24 | 2638706.1187 | 1236928.7089 | 2638698.7928 | 1236924.482
25 | 2638688.1934 | 1236918.3662 | 2638698.7928 | 1236924.482
26 | 2638747.5659 | 1236936.2004 | 2638762.301 | 1236916.0055
27 | 2638688.1934 | 1236918.3662 | 2638672.5075 | 1236909.3156
28 | 2638774.448 | 1236899.3578 | 2638762.301 | 1236916.0055
29 | 2638774.448 | 1236899.3578 | 2638798.1604 | 1236865.4036
30 | 2638774.448 | 1236899.3578 | 2638762.4413 | 1236892.7659
31 | 2638753.4021 | 1236993.468 | 2638745.4093 | 1237002.7783 | 2638739.0065 | 1237007.762 | 2638735.4198 | 1237009.0061 | 2638735.1254 | 1237009.0087
32 | 2638601.0865 | 1236904.7888 | 2638599.3475 | 1236910.4367
33 | 2638599.3475 | 1236910.4367 | 2638581.8187 | 1236904.9757
34 | 2638601.0865 | 1236904.7888 | 2638625.2967 | 1236916.509
35 | 2638613.663 | 1236875.363 | 2638607.6552 | 1236889.4218 | 2638601.0865 | 1236904.7888
36 | 2638613.663 | 1236875.363 | 2638620.6319 | 1236863.612
37 | 2638620.6319 | 1236863.612 | 2638604.6659 | 1236858.166
38 | 2638620.6319 | 1236863.612 | 2638630.5067 | 1236849.3197
39 | 2638604.6659 | 1236858.166 | 2638599.564 | 1236856.4258
40 | 2638645.027 | 1236828.3037 | 2638630.5067 | 1236849.3197
41 | 2638645.027 | 1236828.3037 | 2638656.8686 | 1236811.8814
42 | 2638645.027 | 1236828.3037 | 2638662.0752 | 1236837.6634
43 | 2638679.1739 | 1236781.5295 | 2638656.8686 | 1236811.8814
44 | 2638656.8686 | 1236811.8814 | 2638640.4326 | 1236805.9872
45 | 2638662.0752 | 1236837.6634 | 2638689.0668 | 1236852.4822
46 | 2638585.7672 | 1236851.7198 | 2638599.564 | 1236856.4258
47 | 2638679.1739 | 1236781.5295 | 2638682.5826 | 1236776.5832
48 | 2638679.1739 | 1236781.5295 | 2638717.7357 | 1236802.1584
49 | 2638629.9127 | 1236802.2146 | 2638640.4326 | 1236805.9872
50 | 2638689.0668 | 1236852.4822 | 2638699.4078 | 1236858.1596
51 | 2638696.0543 | 1236757.0349 | 2638682.5826 | 1236776.5832
52 | 2638717.7357 | 1236802.1584 | 2638730.2896 | 1236808.8742
53 | 2638618.3312 | 1236798.0613 | 2638629.9127 | 1236802.2146
54 | 2638711.474 | 1236864.7841 | 2638699.4078 | 1236858.1596
55 | 2638809.1831 | 1236918.0385 | 2638828.1361 | 1236890.6724
56 | 2638809.1831 | 1236918.0385 | 2638800.765 | 1236930.1934 | 2638792.3089 | 1236943.1636
57 | 2638809.1831 | 1236918.0385 | 2638892.3795 | 1236959.4501
58 | 2638828.1361 | 1236890.6724 | 2638839.0385 | 1236874.9305 | 2638846.7707 | 1236869.1662 | 2638857.1242 | 1236866.3321 | 2638858.242 | 1236866.298
59 | 2638784.1478 | 1236955.6814 | 2638792.3089 | 1236943.1636
60 | 2638858.242 | 1236866.298 | 2638894.7169 | 1236865.1849
61 | 2638784.1478 | 1236955.6814 | 2638778.801 | 1236963.8825 | 2638775.1197 | 1236968.1706
62 | 2638912.6236 | 1236864.6384 | 2638894.7169 | 1236865.1849
63 | 2638761.5743 | 1236983.9488 | 2638775.1197 | 1236968.1706
64 | 2638912.6236 | 1236864.6384 | 2638918.9554 | 1236864.4442
65 | 2638761.5743 | 1236983.9488 | 2638753.4021 | 1236993.468
66 | 2638605.4818 | 1236793.4534 | 2638618.3312 | 1236798.0613
67 | 2638605.4818 | 1236793.4534 | 2638591.7541 | 1236788.5304
68 | 2638574.8926 | 1236711.4523 | 2638588.0286 | 1236676.7678
69 | 2638574.8926 | 1236711.4523 | 2638593.6292 | 1236718.5012
70 | 2638605.5388 | 1236630.5334 | 2638588.0286 | 1236676.7678
71 | 2638610.788 | 1236724.9566 | 2638593.6292 | 1236718.5012
72 | 2638711.474 | 1236864.7841 | 2638737.877 | 1236879.2797
73 | 2638738.6015 | 1236879.6775 | 2638737.877 | 1236879.2797
74 | 2638675.789 | 1236658.1584 | 2638656.1093 | 1236650.4196
75 | 2638675.789 | 1236658.1584 | 2638712.1987 | 1236672.4761
76 | 2638656.1093 | 1236650.4196 | 2638650.6403 | 1236648.269
77 | 2638623.3218 | 1236637.5263 | 2638650.6403 | 1236648.269
78 | 2638605.5388 | 1236630.5334 | 2638623.3218 | 1236637.5263
79 | 2638716.2064 | 1236729.9572 | 2638714.7354 | 1236731.9338
80 | 2638696.0543 | 1236757.0349 | 2638714.7354 | 1236731.9338
81 | 2638825.0598 | 1236825.416 | 2638817.3084 | 1236837.201
82 | 2638825.0598 | 1236825.416 | 2638825.5821 | 1236824.6219 | 2638832.099 | 1236809.1924
83 | 2638817.3084 | 1236837.201 | 2638815.8011 | 1236839.4927
84 | 2638837.1632 | 1236797.2024 | 2638832.099 | 1236809.1924
85 | 2638808.4415 | 1236850.6821 | 2638815.8011 | 1236839.4927
86 | 2638837.1632 | 1236797.2024 | 2638849.4 | 1236797.9606 | 2638874.8556 | 1236807.629
87 | 2638837.1632 | 1236797.2024 | 2638837.6736 | 1236787.3996 | 2638838.6862 | 1236776.0212
88 | 2638808.4415 | 1236850.6821 | 2638798.1604 | 1236865.4036
89 | 2638762.4413 | 1236892.7659 | 2638738.6015 | 1236879.6775
90 | 2638657.327 | 1236742.4652 | 2638646.97 | 1236738.5688
91 | 2638657.327 | 1236742.4652 | 2638658.2755 | 1236742.8221
92 | 2638640.9555 | 1236736.306 | 2638646.97 | 1236738.5688
93 | 2638679.1459 | 1236750.6738 | 2638658.2755 | 1236742.8221
94 | 2638640.9555 | 1236736.306 | 2638636.5063 | 1236734.6322
95 | 2638696.0543 | 1236757.0349 | 2638679.1459 | 1236750.6738
96 | 2638636.5063 | 1236734.6322 | 2638628.8201 | 1236731.7405
97 | 2638617.4233 | 1236727.4529 | 2638628.8201 | 1236731.7405
98 | 2638617.4233 | 1236727.4529 | 2638610.788 | 1236724.9566
99 | 2638742.7892 | 1236815.5609 | 2638730.2896 | 1236808.8742
100 | 2638742.7892 | 1236815.5609 | 2638762.2949 | 1236825.9956

## bus_geodata
| x | y | coords
0 | 2638562.3518 | 1237061.6489
1 | 2638571.6383 | 1237022.8168
2 | 2638600.6104 | 1237033.0275
3 | 2638583.8054 | 1236971.92
4 | 2638602.3825 | 1237033.6521
5 | 2638614.1404 | 1237037.796
6 | 2638665.6727 | 1237085.4591
7 | 2638688.1615 | 1237046.6222
8 | 2638713.0837 | 1236998.8764
9 | 2638648.1942 | 1237049.7976
10 | 2638719.41 | 1237004.4656
11 | 2638726.9468 | 1236966.6374
12 | 2638658.743 | 1237022.8176
13 | 2638701.4666 | 1237045.9532
14 | 2638727.5981 | 1237007.4776
15 | 2638739.1328 | 1236947.7582
16 | 2638664.381 | 1237008.3977
17 | 2638679.901 | 1236976.3879
18 | 2638679.9796 | 1236976.245
19 | 2638668.0247 | 1236999.0784
20 | 2638706.1187 | 1236928.7089
21 | 2638698.7928 | 1236924.482
22 | 2638747.5659 | 1236936.2004
23 | 2638688.1934 | 1236918.3662
24 | 2638762.301 | 1236916.0055
25 | 2638774.448 | 1236899.3578
26 | 2638687.4179 | 1237068.9776
27 | 2638777.8241 | 1237094.2875
28 | 2638735.1254 | 1237009.0087
29 | 2638599.3475 | 1236910.4367
30 | 2638601.0865 | 1236904.7889
31 | 2638581.8187 | 1236904.9757
32 | 2638625.2967 | 1236916.509
33 | 2638613.663 | 1236875.363
34 | 2638672.5075 | 1236909.3156
35 | 2638620.6319 | 1236863.612
36 | 2638604.6659 | 1236858.166
37 | 2638630.5067 | 1236849.3197
38 | 2638645.027 | 1236828.3037
39 | 2638656.8686 | 1236811.8814
40 | 2638662.0752 | 1236837.6634
41 | 2638599.564 | 1236856.4258
42 | 2638679.1739 | 1236781.5295
43 | 2638640.4326 | 1236805.9872
44 | 2638689.0668 | 1236852.4822
45 | 2638585.7672 | 1236851.7198
46 | 2638682.5826 | 1236776.5832
47 | 2638717.7357 | 1236802.1584
48 | 2638629.9127 | 1236802.2146
49 | 2638699.4078 | 1236858.1596
50 | 2638809.1831 | 1236918.0385
51 | 2638828.1361 | 1236890.6724
52 | 2638792.3089 | 1236943.1636
53 | 2638892.3795 | 1236959.4501
54 | 2638858.242 | 1236866.298
55 | 2638784.1478 | 1236955.6814
56 | 2638894.7169 | 1236865.1849
57 | 2638775.1197 | 1236968.1706
58 | 2638912.6236 | 1236864.6384
59 | 2638761.5743 | 1236983.9488
60 | 2638605.4818 | 1236793.4534
61 | 2638618.3312 | 1236798.0613
62 | 2638591.7541 | 1236788.5304
63 | 2638574.8926 | 1236711.4523
64 | 2638588.0286 | 1236676.7678
65 | 2638593.6292 | 1236718.5012
66 | 2638711.474 | 1236864.7841
67 | 2638737.877 | 1236879.2797
68 | 2638675.789 | 1236658.1584
69 | 2638656.1093 | 1236650.4196
70 | 2638712.1987 | 1236672.4761
71 | 2638650.6403 | 1236648.269
72 | 2638623.3218 | 1236637.5263
73 | 2638605.5388 | 1236630.5334
74 | 2638716.2064 | 1236729.9572
75 | 2638714.7354 | 1236731.9338
76 | 2638825.0598 | 1236825.416
77 | 2638817.3084 | 1236837.201
78 | 2638832.099 | 1236809.1924
79 | 2638815.8011 | 1236839.4927
80 | 2638837.1632 | 1236797.2024
81 | 2638808.4415 | 1236850.6821
82 | 2638874.8556 | 1236807.629
83 | 2638838.6862 | 1236776.0212
84 | 2638798.1604 | 1236865.4036
85 | 2638738.6015 | 1236879.6775
86 | 2638753.4021 | 1236993.468
87 | 2638657.327 | 1236742.4652
88 | 2638646.97 | 1236738.5688
89 | 2638658.2755 | 1236742.8221
90 | 2638640.9555 | 1236736.306
91 | 2638679.1459 | 1236750.6738
92 | 2638636.5063 | 1236734.6322
93 | 2638696.0543 | 1236757.0349
94 | 2638628.8201 | 1236731.7405
95 | 2638617.4233 | 1236727.4529
96 | 2638610.788 | 1236724.9566
97 | 2638918.9554 | 1236864.4441
98 | 2638762.4413 | 1236892.7659
99 | 2638730.2896 | 1236808.8742
100 | 2638742.7892 | 1236815.5609
101 | 2638762.2949 | 1236825.9956
102 | 2638774.448 | 1236899.3578

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1