## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4303-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4303-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4303-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4303-3_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_4303-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4303-3_0_3_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_4303-3_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_4303-3_0_3_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_4303-3_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_4303-3_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_4303-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_4303-3_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_4303-3_0_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_4303-3_0_3_node_143 | 0.4 | n |  | TRUE
14 | bus_LV_4303-3_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_4303-3_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4303-3_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4303-3_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4303-3_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4303-3_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4303-3_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4303-3_0_3_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_4303-3_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_4303-3_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_4303-3_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_4303-3_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_4303-3_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_4303-3_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_4303-3_0_3_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_4303-3_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_4303-3_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_4303-3_0_3_node_111 | 0.4 | n |  | TRUE
32 | bus_LV_4303-3_0_3_node_121 | 0.4 | n |  | TRUE
33 | bus_LV_4303-3_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_4303-3_0_3_node_112 | 0.4 | n |  | TRUE
35 | bus_LV_4303-3_0_3_node_119 | 0.4 | n |  | TRUE
36 | bus_LV_4303-3_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_4303-3_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_4303-3_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_4303-3_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_4303-3_0_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_4303-3_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_4303-3_0_3_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_4303-3_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_4303-3_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_4303-3_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_4303-3_0_3_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_4303-3_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_4303-3_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_4303-3_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_4303-3_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_4303-3_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_4303-3_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_4303-3_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_4303-3_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_4303-3_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_4303-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_4303-3_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_4303-3_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_4303-3_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_4303-3_0_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_4303-3_0_3_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_4303-3_0_3_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_4303-3_0_3_node_141 | 0.4 | n |  | TRUE
64 | bus_LV_4303-3_0_3_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_4303-3_0_3_node_71 | 0.4 | n |  | TRUE
66 | bus_LV_4303-3_0_3_node_72 | 0.4 | n |  | TRUE
67 | bus_LV_4303-3_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_4303-3_0_3_node_136 | 0.4 | n |  | TRUE
69 | bus_LV_4303-3_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_4303-3_0_3_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_4303-3_0_3_node_64 | 0.4 | n |  | TRUE
72 | bus_LV_4303-3_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_4303-3_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_4303-3_0_3_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_4303-3_0_3_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_4303-3_0_3_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_4303-3_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_4303-3_0_3_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_4303-3_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_4303-3_0_3_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_4303-3_0_3_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_4303-3_0_3_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_4303-3_0_3_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_4303-3_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_4303-3_0_3_node_127 | 0.4 | n |  | TRUE
86 | bus_LV_4303-3_0_3_node_82 | 0.4 | n |  | TRUE
87 | bus_LV_4303-3_0_3_node_128 | 0.4 | n |  | TRUE
88 | bus_LV_4303-3_0_3_node_126 | 0.4 | n |  | TRUE
89 | bus_LV_4303-3_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_4303-3_0_3_node_81 | 0.4 | n |  | TRUE
91 | bus_LV_4303-3_0_3_node_103 | 0.4 | n |  | TRUE
92 | bus_LV_4303-3_0_3_node_124 | 0.4 | n |  | TRUE
93 | bus_LV_4303-3_0_3_node_101 | 0.4 | n |  | TRUE
94 | bus_LV_4303-3_0_3_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_4303-3_0_3_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_4303-3_0_3_node_86 | 0.4 | n |  | TRUE
97 | bus_LV_4303-3_0_3_node_87 | 0.4 | n |  | TRUE
98 | bus_LV_4303-3_0_3_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_4303-3_0_3_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_4303-3_0_3_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_4303-3_0_3_node_91 | 0.4 | n |  | TRUE
102 | bus_LV_4303-3_0_3_node_109 | 0.4 | n |  | TRUE
103 | bus_LV_4303-3_0_3_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_4303-3_0_3_node_107 | 0.4 | n |  | TRUE
105 | bus_LV_4303-3_0_3_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_4303-3_0_3_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_4303-3_0_3_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_4303-3_0_3_node_96 | 0.4 | n |  | TRUE
109 | bus_LV_4303-3_0_3_node_97 | 0.4 | n |  | TRUE
110 | bus_LV_4303-3_0_3_node_130 | 0.4 | n |  | TRUE
111 | bus_LV_4303-3_0_3_node_102 | 0.4 | n |  | TRUE
112 | bus_LV_4303-3_0_3_node_140 | 0.4 | n |  | TRUE
113 | bus_LV_4303-3_0_3_node_161 | 0.4 | n |  | TRUE
114 | bus_LV_4303-3_0_3_node_131 | 0.4 | n |  | TRUE
115 | bus_LV_4303-3_0_3_node_132 | 0.4 | n |  | TRUE
116 | bus_LV_4303-3_0_3_node_100 | 0.4 | n |  | TRUE
117 | bus_LV_4303-3_0_3_node_139 | 0.4 | n |  | TRUE
118 | bus_LV_4303-3_0_3_node_162 | 0.4 | n |  | TRUE
119 | bus_LV_4303-3_0_3_node_160 | 0.4 | n |  | TRUE
120 | bus_LV_4303-3_0_3_node_98 | 0.4 | n |  | TRUE
121 | bus_LV_4303-3_0_3_node_99 | 0.4 | n |  | TRUE
122 | bus_LV_4303-3_0_3_node_104 | 0.4 | n |  | TRUE
123 | bus_LV_4303-3_0_3_node_105 | 0.4 | n |  | TRUE
124 | bus_LV_4303-3_0_3_node_106 | 0.4 | n |  | TRUE
125 | bus_LV_4303-3_0_3_node_108 | 0.4 | n |  | TRUE
126 | bus_LV_4303-3_0_3_node_110 | 0.4 | n |  | TRUE
127 | bus_LV_4303-3_0_3_node_113 | 0.4 | n |  | TRUE
128 | bus_LV_4303-3_0_3_node_114 | 0.4 | n |  | TRUE
129 | bus_LV_4303-3_0_3_node_116 | 0.4 | n |  | TRUE
130 | bus_LV_4303-3_0_3_node_115 | 0.4 | n |  | TRUE
131 | bus_LV_4303-3_0_3_node_117 | 0.4 | n |  | TRUE
132 | bus_LV_4303-3_0_3_node_118 | 0.4 | n |  | TRUE
133 | bus_LV_4303-3_0_3_node_120 | 0.4 | n |  | TRUE
134 | bus_LV_4303-3_0_3_node_138 | 0.4 | n |  | TRUE
135 | bus_LV_4303-3_0_3_node_122 | 0.4 | n |  | TRUE
136 | bus_LV_4303-3_0_3_node_123 | 0.4 | n |  | TRUE
137 | bus_LV_4303-3_0_3_node_135 | 0.4 | n |  | TRUE
138 | bus_LV_4303-3_0_3_node_125 | 0.4 | n |  | TRUE
139 | bus_LV_4303-3_0_3_node_129 | 0.4 | n |  | TRUE
140 | bus_LV_4303-3_0_3_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_4303-3_0_3_node_133 | 0.4 | n |  | TRUE
142 | bus_LV_4303-3_0_3_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_4303-3_0_3_node_165 | 0.4 | n |  | TRUE
144 | bus_LV_4303-3_0_3_node_166 | 0.4 | n |  | TRUE
145 | bus_LV_4303-3_0_3_node_147 | 0.4 | n |  | TRUE
146 | bus_LV_4303-3_0_3_node_149 | 0.4 | n |  | TRUE
147 | bus_LV_4303-3_0_3_node_145 | 0.4 | n |  | TRUE
148 | bus_LV_4303-3_0_3_node_146 | 0.4 | n |  | TRUE
149 | bus_LV_4303-3_0_3_node_148 | 0.4 | n |  | TRUE
150 | bus_LV_4303-3_0_3_node_150 | 0.4 | n |  | TRUE
151 | bus_LV_4303-3_0_3_node_151 | 0.4 | n |  | TRUE
152 | bus_LV_4303-3_0_3_node_152 | 0.4 | n |  | TRUE
153 | bus_LV_4303-3_0_3_node_153 | 0.4 | n |  | TRUE
154 | bus_LV_4303-3_0_3_node_164 | 0.4 | n |  | TRUE
155 | bus_LV_4303-3_0_3_node_158 | 0.4 | n |  | TRUE
156 | bus_LV_4303-3_0_3_node_157 | 0.4 | n |  | TRUE
157 | bus_LV_4303-3_0_3_node_155 | 0.4 | n |  | TRUE
158 | bus_LV_4303-3_0_3_node_154 | 0.4 | n |  | TRUE
159 | bus_LV_4303-3_0_3_node_156 | 0.4 | n |  | TRUE
160 | bus_LV_4303-3_0_3_node_163 | 0.4 | n |  | TRUE
161 | bus_LV_4303-3_0_3_node_159 | 0.4 | n |  | TRUE
162 | bus_LV_4303-3_0_3_node_167 | 0.4 | n |  | TRUE
163 | bus_MV_486_1_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4303-3_0_3_load_0 | 0 | 0.0016402 | 0.00041108 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4303-3_0_3_load_6 | 3 | 0.0038972 | 0.00097674 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4303-3_0_3_load_4 | 4 | 0.0012596 | 0.00031569 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4303-3_0_3_load_9 | 5 | 0.0066434 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4303-3_0_3_load_38 | 7 | 0.0053254 | 0.0013347 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4303-3_0_3_load_7 | 9 | 0.0026536 | 0.00066505 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4303-3_0_3_load_8 | 10 | 0.0010951 | 0.00027445 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4303-3_0_3_load_52 | 12 | 0.0020478 | 0.00051322 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4303-3_0_3_load_143 | 13 | 0.002237 | 0.00056064 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4303-3_0_3_load_53 | 14 | 0.0018846 | 0.00047233 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4303-3_0_3_load_11 | 15 | 0.0014922 | 0.00037398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4303-3_0_3_load_12 | 16 | 0.002359 | 0.00059121 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4303-3_0_3_load_14 | 18 | 0.0023492 | 0.00058876 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4303-3_0_3_load_15 | 19 | 0.00072859 | 0.0001826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4303-3_0_3_load_21 | 21 | 0.00062674 | 0.00015708 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4303-3_0_3_load_22 | 22 | 0.00073656 | 0.0001846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4303-3_0_3_load_23 | 23 | 0.0018112 | 0.00045393 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4303-3_0_3_load_17 | 24 | 0.0022959 | 0.00057539 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4303-3_0_3_load_18 | 25 | 0.0022654 | 0.00056777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4303-3_0_3_load_19 | 26 | 0.0015474 | 0.00038781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4303-3_0_3_load_20 | 27 | 0.0013628 | 0.00034156 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4303-3_0_3_load_37 | 28 | 0.0023886 | 0.00059865 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4303-3_0_3_load_28 | 30 | 0.0034486 | 0.00086431 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4303-3_0_3_load_111 | 31 | 0.0015649 | 0.0003922 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4303-3_0_3_load_121 | 32 | 0.0029008 | 0.000727 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4303-3_0_3_load_29 | 33 | 0.0018801 | 0.0004712 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4303-3_0_3_load_112 | 34 | 0.0018586 | 0.0004658 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4303-3_0_3_load_119 | 35 | 0.00071347 | 0.00017881 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4303-3_0_3_load_24 | 36 | 0.0018017 | 0.00045154 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4303-3_0_3_load_26 | 37 | 0.0027514 | 0.00068957 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4303-3_0_3_load_43 | 38 | 0.0050931 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4303-3_0_3_load_48 | 39 | 0.0055897 | 0.0014009 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4303-3_0_3_load_56 | 40 | 0.0042196 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4303-3_0_3_load_27 | 42 | 0.015607 | 0.0039116 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4303-3_0_3_load_51 | 43 | 0.0026311 | 0.00065941 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4303-3_0_3_load_30 | 44 | 0.0010234 | 0.00025649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4303-3_0_3_load_50 | 45 | 0.0022924 | 0.00057454 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4303-3_0_3_load_55 | 46 | 0.0012538 | 0.00031424 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4303-3_0_3_load_31 | 47 | 0.0017013 | 0.00042638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4303-3_0_3_load_32 | 48 | 0.0019717 | 0.00049416 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4303-3_0_3_load_33 | 49 | 0.0055873 | 0.0014003 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4303-3_0_3_load_34 | 50 | 0.0021455 | 0.00053772 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4303-3_0_3_load_36 | 51 | 0.0020137 | 0.00050468 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4303-3_0_3_load_39 | 52 | 0.0088725 | 0.0022237 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4303-3_0_3_load_47 | 56 | 0.0015633 | 0.0003918 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4303-3_0_3_load_49 | 58 | 0.00035448 | 8.8842e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4303-3_0_3_load_67 | 60 | 0.0021713 | 0.00054418 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4303-3_0_3_load_59 | 61 | 0.00045802 | 0.00011479 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4303-3_0_3_load_141 | 63 | 0.0003936 | 9.8646e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4303-3_0_3_load_71 | 65 | 0.0016202 | 0.00040607 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4303-3_0_3_load_72 | 66 | 0.00053457 | 0.00013397 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4303-3_0_3_load_60 | 67 | 0.0019931 | 0.00049951 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4303-3_0_3_load_136 | 68 | 0.0013828 | 0.00034655 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4303-3_0_3_load_61 | 69 | 0.0016022 | 0.00040154 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4303-3_0_3_load_64 | 71 | 0.0014143 | 0.00035446 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4303-3_0_3_load_65 | 72 | 0.0015298 | 0.0003834 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4303-3_0_3_load_68 | 73 | 0.0019683 | 0.00049329 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4303-3_0_3_load_69 | 74 | 0.00092499 | 0.00023183 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4303-3_0_3_load_66 | 75 | 0.0032986 | 0.00082672 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4303-3_0_3_load_79 | 77 | 0.0082727 | 0.0020733 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4303-3_0_3_load_75 | 80 | 0.0013659 | 0.00034233 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4303-3_0_3_load_76 | 81 | 0.0020818 | 0.00052174 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4303-3_0_3_load_73 | 82 | 0.0040816 | 0.0010229 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4303-3_0_3_load_77 | 83 | 0.0010656 | 0.00026706 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4303-3_0_3_load_84 | 84 | 0.0012322 | 0.00030882 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4303-3_0_3_load_82 | 86 | 0.0021642 | 0.00054241 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4303-3_0_3_load_128 | 87 | 0.0011344 | 0.00028432 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4303-3_0_3_load_126 | 88 | 0.0013908 | 0.00034856 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4303-3_0_3_load_80 | 89 | 0.0091348 | 0.0022894 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4303-3_0_3_load_103 | 91 | 0.0085275 | 0.0021372 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4303-3_0_3_load_124 | 92 | 0.011391 | 0.0028549 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4303-3_0_3_load_101 | 93 | 0.0076564 | 0.0019189 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4303-3_0_3_load_83 | 94 | 0.0011202 | 0.00028076 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4303-3_0_3_load_85 | 95 | 0.0072654 | 0.0018209 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4303-3_0_3_load_86 | 96 | 0.001492 | 0.00037392 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4303-3_0_3_load_87 | 97 | 0.003728 | 0.00093432 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4303-3_0_3_load_88 | 98 | 0.00069537 | 0.00017428 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4303-3_0_3_load_89 | 99 | 0.0032506 | 0.00081467 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4303-3_0_3_load_90 | 100 | 0.00092487 | 0.00023179 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4303-3_0_3_load_91 | 101 | 0.0042514 | 0.0010655 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_4303-3_0_3_load_109 | 102 | 0.0012144 | 0.00030436 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_4303-3_0_3_load_107 | 104 | 0.0078805 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_4303-3_0_3_load_93 | 105 | 0.0030023 | 0.00075244 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_4303-3_0_3_load_95 | 107 | 0.0038615 | 0.00096778 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_4303-3_0_3_load_97 | 109 | 0.0023314 | 0.00058431 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_4303-3_0_3_load_102 | 111 | 0.0024427 | 0.00061219 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_4303-3_0_3_load_140 | 112 | 0.003614 | 0.00090575 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_4303-3_0_3_load_132 | 115 | 0.0090698 | 0.0022731 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_4303-3_0_3_load_100 | 116 | 0.0031353 | 0.00078577 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_4303-3_0_3_load_139 | 117 | 0.0062943 | 0.0015775 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_4303-3_0_3_load_162 | 118 | 0.0015545 | 0.0003896 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_4303-3_0_3_load_160 | 119 | 0.0022913 | 0.00057425 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_4303-3_0_3_load_98 | 120 | 0.0051908 | 0.0013009 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_4303-3_0_3_load_99 | 121 | 0.0030239 | 0.00075787 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_4303-3_0_3_load_104 | 122 | 0.0020145 | 0.00050488 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_4303-3_0_3_load_105 | 123 | 0.0027978 | 0.0007012 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_4303-3_0_3_load_106 | 124 | 0.0017669 | 0.00044282 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_4303-3_0_3_load_108 | 125 | 0.0027159 | 0.00068066 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_4303-3_0_3_load_110 | 126 | 0.0064615 | 0.0016194 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_4303-3_0_3_load_113 | 127 | 0.0019615 | 0.00049159 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_4303-3_0_3_load_114 | 128 | 0.0021673 | 0.00054317 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_4303-3_0_3_load_116 | 129 | 0.0022496 | 0.0005638 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_4303-3_0_3_load_115 | 130 | 0.0023875 | 0.00059837 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_4303-3_0_3_load_118 | 132 | 0.0016638 | 0.000417 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_4303-3_0_3_load_120 | 133 | 0.0022015 | 0.00055174 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_4303-3_0_3_load_138 | 134 | 0.0012874 | 0.00032266 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_4303-3_0_3_load_122 | 135 | 0.0011648 | 0.00029192 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_4303-3_0_3_load_135 | 137 | 0.0023557 | 0.0005904 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_4303-3_0_3_load_125 | 138 | 0.0014629 | 0.00036665 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_4303-3_0_3_load_129 | 139 | 0.017892 | 0.0044842 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_4303-3_0_3_load_142 | 140 | 0.008467 | 0.002122 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_4303-3_0_3_load_134 | 142 | 0.0094166 | 0.00236 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_4303-3_0_3_load_165 | 143 | 0.0072179 | 0.001809 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_4303-3_0_3_load_149 | 146 | 0.00095925 | 0.00024041 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_4303-3_0_3_load_145 | 147 | 0.0014329 | 0.00035912 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_4303-3_0_3_load_146 | 148 | 0.0022634 | 0.00056727 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_4303-3_0_3_load_148 | 149 | 0.0012898 | 0.00032326 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_4303-3_0_3_load_150 | 150 | 0.00149 | 0.00037343 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_4303-3_0_3_load_151 | 151 | 0.0043397 | 0.0010876 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_4303-3_0_3_load_152 | 152 | 0.027677 | 0.0069365 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_4303-3_0_3_load_153 | 153 | 0.0011804 | 0.00029585 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_4303-3_0_3_load_164 | 154 | 0.0043457 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_4303-3_0_3_load_157 | 156 | 0.0014301 | 0.00035843 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_4303-3_0_3_load_155 | 157 | 0.0012058 | 0.00030219 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_4303-3_0_3_load_154 | 158 | 0.0033776 | 0.0008465 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_4303-3_0_3_load_156 | 159 | 0.0020217 | 0.00050669 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_4303-3_0_3_load_163 | 160 | 0.0032447 | 0.0008132 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_4303-3_0_3_load_159 | 161 | 0.0017566 | 0.00044024 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_4303-3_0_3_load_167 | 162 | 0.0023094 | 0.0005788 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 120 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4303-3_0_3_line_0 |  | 0 | 1 | 0.0055892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4303-3_0_3_line_1 |  | 1 | 2 | 0.045102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4303-3_0_3_line_2 |  | 2 | 3 | 0.020344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4303-3_0_3_line_3 |  | 2 | 4 | 0.011496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4303-3_0_3_line_4 |  | 3 | 5 | 0.012414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4303-3_0_3_line_5 |  | 4 | 6 | 0.015671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4303-3_0_3_line_6 |  | 5 | 12 | 0.0038744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4303-3_0_3_line_7 |  | 6 | 9 | 0.0058571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4303-3_0_3_line_8 |  | 6 | 10 | 0.017823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4303-3_0_3_line_9 |  | 7 | 8 | 0.012128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4303-3_0_3_line_10 |  | 8 | 28 | 0.012871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4303-3_0_3_line_11 |  | 8 | 49 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4303-3_0_3_line_12 |  | 9 | 11 | 0.026989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4303-3_0_3_line_13 |  | 11 | 13 | 0.0060246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4303-3_0_3_line_14 |  | 12 | 14 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4303-3_0_3_line_15 |  | 14 | 51 | 0.0013942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4303-3_0_3_line_16 |  | 15 | 16 | 0.0063809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4303-3_0_3_line_17 |  | 15 | 17 | 0.034056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4303-3_0_3_line_18 |  | 16 | 18 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4303-3_0_3_line_19 |  | 17 | 19 | 0.0094764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_4303-3_0_3_line_20 |  | 17 | 20 | 0.025688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_4303-3_0_3_line_21 |  | 18 | 24 | 0.011426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4303-3_0_3_line_22 |  | 18 | 23 | 0.070983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4303-3_0_3_line_23 |  | 19 | 25 | 0.010164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_4303-3_0_3_line_24 |  | 20 | 26 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_4303-3_0_3_line_25 |  | 20 | 27 | 0.0086505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_4303-3_0_3_line_26 |  | 21 | 22 | 0.024687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4303-3_0_3_line_27 |  | 21 | 23 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4303-3_0_3_line_28 |  | 22 | 36 | 0.00049884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4303-3_0_3_line_29 |  | 23 | 29 | 0.047363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4303-3_0_3_line_30 |  | 24 | 28 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4303-3_0_3_line_31 |  | 25 | 30 | 0.018721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_4303-3_0_3_line_32 |  | 26 | 31 | 0.022992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4303-3_0_3_line_33 |  | 27 | 32 | 0.003546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_4303-3_0_3_line_34 |  | 29 | 42 | 0.027922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4303-3_0_3_line_35 |  | 30 | 33 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_4303-3_0_3_line_36 |  | 31 | 34 | 0.024651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4303-3_0_3_line_37 |  | 32 | 35 | 0.011711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_4303-3_0_3_line_38 |  | 33 | 44 | 0.0022729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_4303-3_0_3_line_39 |  | 34 | 127 | 0.00086277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4303-3_0_3_line_40 |  | 35 | 131 | 0.0016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_4303-3_0_3_line_41 |  | 36 | 37 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4303-3_0_3_line_42 |  | 37 | 43 | 0.00030969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4303-3_0_3_line_43 |  | 38 | 39 | 0.052464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4303-3_0_3_line_44 |  | 38 | 40 | 0.055998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4303-3_0_3_line_45 |  | 38 | 41 | 0.039378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4303-3_0_3_line_46 |  | 40 | 43 | 0.0079022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4303-3_0_3_line_47 |  | 41 | 54 | 0.011549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4303-3_0_3_line_48 |  | 41 | 52 | 0.024299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4303-3_0_3_line_49 |  | 44 | 45 | 0.02287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_4303-3_0_3_line_50 |  | 45 | 46 | 0.0096508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_4303-3_0_3_line_51 |  | 46 | 65 | 0.0073878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_4303-3_0_3_line_52 |  | 47 | 48 | 0.018913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4303-3_0_3_line_53 |  | 47 | 49 | 0.0089016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4303-3_0_3_line_54 |  | 48 | 50 | 0.0067153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4303-3_0_3_line_55 |  | 50 | 51 | 0.0098143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4303-3_0_3_line_56 |  | 52 | 53 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4303-3_0_3_line_57 |  | 53 | 55 | 0.030903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4303-3_0_3_line_58 |  | 54 | 56 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4303-3_0_3_line_59 |  | 55 | 57 | 0.035038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4303-3_0_3_line_60 |  | 55 | 58 | 0.030427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4303-3_0_3_line_61 |  | 56 | 62 | 0.050303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4303-3_0_3_line_62 |  | 57 | 61 | 0.015768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4303-3_0_3_line_63 |  | 58 | 59 | 0.016174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4303-3_0_3_line_64 |  | 59 | 60 | 0.020806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4303-3_0_3_line_65 |  | 61 | 63 | 0.020304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4303-3_0_3_line_66 |  | 62 | 64 | 0.048454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4303-3_0_3_line_67 |  | 64 | 67 | 0.10074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4303-3_0_3_line_68 |  | 65 | 66 | 0.015034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_4303-3_0_3_line_69 |  | 66 | 82 | 0.0029453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_4303-3_0_3_line_70 |  | 67 | 68 | 0.083263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4303-3_0_3_line_71 |  | 69 | 70 | 0.044193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4303-3_0_3_line_72 |  | 70 | 71 | 0.0073212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4303-3_0_3_line_73 |  | 70 | 72 | 0.016417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4303-3_0_3_line_74 |  | 71 | 73 | 0.032186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4303-3_0_3_line_75 |  | 72 | 74 | 0.0076294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4303-3_0_3_line_76 |  | 73 | 77 | 0.021098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_4303-3_0_3_line_77 |  | 74 | 76 | 0.011704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4303-3_0_3_line_78 |  | 75 | 76 | 0.0502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_4303-3_0_3_line_79 |  | 76 | 78 | 0.009102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_4303-3_0_3_line_80 |  | 77 | 79 | 0.058183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_4303-3_0_3_line_81 |  | 78 | 80 | 0.015915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4303-3_0_3_line_82 |  | 78 | 81 | 0.038694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4303-3_0_3_line_83 |  | 79 | 89 | 0.021341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4303-3_0_3_line_84 |  | 79 | 83 | 0.021629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_4303-3_0_3_line_85 |  | 80 | 84 | 0.017515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4303-3_0_3_line_86 |  | 81 | 85 | 0.025499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4303-3_0_3_line_87 |  | 82 | 83 | 0.0025332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_4303-3_0_3_line_88 |  | 84 | 86 | 0.01929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4303-3_0_3_line_89 |  | 85 | 87 | 0.016146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4303-3_0_3_line_90 |  | 85 | 88 | 0.0036854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4303-3_0_3_line_91 |  | 86 | 94 | 0.026635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4303-3_0_3_line_92 |  | 87 | 139 | 0.05178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_4303-3_0_3_line_93 |  | 88 | 138 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_4303-3_0_3_line_94 |  | 89 | 90 | 0.025259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_4303-3_0_3_line_95 |  | 90 | 91 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4303-3_0_3_line_96 |  | 90 | 92 | 0.0083831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4303-3_0_3_line_97 |  | 91 | 93 | 0.021866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_4303-3_0_3_line_98 |  | 93 | 121 | 0.00065158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_4303-3_0_3_line_99 |  | 95 | 96 | 0.024592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_4303-3_0_3_line_100 |  | 95 | 97 | 0.0095917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_4303-3_0_3_line_101 |  | 96 | 98 | 0.012461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_4303-3_0_3_line_102 |  | 97 | 99 | 0.0066721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_4303-3_0_3_line_103 |  | 98 | 100 | 0.02394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_4303-3_0_3_line_104 |  | 99 | 101 | 0.020466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_4303-3_0_3_line_105 |  | 100 | 102 | 0.021249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_4303-3_0_3_line_106 |  | 101 | 103 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_4303-3_0_3_line_107 |  | 102 | 104 | 0.0019569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_4303-3_0_3_line_108 |  | 103 | 105 | 0.014664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_4303-3_0_3_line_109 |  | 103 | 106 | 0.051678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_4303-3_0_3_line_110 |  | 104 | 123 | 0.023465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_4303-3_0_3_line_111 |  | 105 | 107 | 0.027139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_4303-3_0_3_line_112 |  | 106 | 108 | 0.014653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_4303-3_0_3_line_113 |  | 106 | 109 | 0.018908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
114 | LV_4303-3_0_3_line_114 |  | 107 | 110 | 0.0049893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
115 | LV_4303-3_0_3_line_115 |  | 108 | 111 | 0.016651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
116 | LV_4303-3_0_3_line_116 |  | 108 | 112 | 0.0027031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
117 | LV_4303-3_0_3_line_117 |  | 109 | 113 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
118 | LV_4303-3_0_3_line_118 |  | 110 | 114 | 0.050742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_4303-3_0_3_line_119 |  | 110 | 115 | 0.026815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
120 | LV_4303-3_0_3_line_120 |  | 111 | 116 | 0.00029916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
121 | LV_4303-3_0_3_line_121 |  | 112 | 117 | 0.013902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
122 | LV_4303-3_0_3_line_122 |  | 113 | 118 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_4303-3_0_3_line_123 |  | 113 | 119 | 0.031117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_4303-3_0_3_line_124 |  | 114 | 141 | 0.037937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_4303-3_0_3_line_125 |  | 114 | 142 | 0.01639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_4303-3_0_3_line_126 |  | 115 | 137 | 0.060833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
127 | LV_4303-3_0_3_line_127 |  | 116 | 120 | 0.020038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
128 | LV_4303-3_0_3_line_128 |  | 117 | 134 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
129 | LV_4303-3_0_3_line_129 |  | 118 | 160 | 0.005544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
130 | LV_4303-3_0_3_line_130 |  | 119 | 161 | 0.00019317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_4303-3_0_3_line_131 |  | 122 | 123 | 0.026513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_4303-3_0_3_line_132 |  | 122 | 124 | 0.0070548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_4303-3_0_3_line_133 |  | 124 | 125 | 0.0088794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_4303-3_0_3_line_134 |  | 125 | 126 | 0.05048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_4303-3_0_3_line_135 |  | 128 | 129 | 0.0035963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_4303-3_0_3_line_136 |  | 129 | 130 | 0.02638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
137 | LV_4303-3_0_3_line_137 |  | 130 | 131 | 0.032991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
138 | LV_4303-3_0_3_line_138 |  | 131 | 132 | 0.0056758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
139 | LV_4303-3_0_3_line_139 |  | 132 | 133 | 0.0063388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
140 | LV_4303-3_0_3_line_140 |  | 133 | 134 | 0.0049368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
141 | LV_4303-3_0_3_line_141 |  | 135 | 136 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_4303-3_0_3_line_142 |  | 136 | 137 | 0.068982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
143 | LV_4303-3_0_3_line_143 |  | 139 | 140 | 0.033137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_4303-3_0_3_line_144 |  | 141 | 143 | 0.016292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_4303-3_0_3_line_145 |  | 143 | 144 | 0.044341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_4303-3_0_3_line_146 |  | 144 | 162 | 0.03117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_4303-3_0_3_line_147 |  | 145 | 146 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_4303-3_0_3_line_148 |  | 145 | 147 | 0.032079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_4303-3_0_3_line_149 |  | 146 | 151 | 0.018201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_4303-3_0_3_line_150 |  | 147 | 148 | 0.0040142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_4303-3_0_3_line_151 |  | 148 | 149 | 0.012094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_4303-3_0_3_line_152 |  | 149 | 150 | 0.0069513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_4303-3_0_3_line_153 |  | 150 | 152 | 0.0047316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_4303-3_0_3_line_154 |  | 152 | 153 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_4303-3_0_3_line_155 |  | 153 | 156 | 0.0059835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_4303-3_0_3_line_156 |  | 154 | 155 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_4303-3_0_3_line_157 |  | 155 | 160 | 0.039155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
158 | LV_4303-3_0_3_line_158 |  | 155 | 159 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_4303-3_0_3_line_159 |  | 156 | 157 | 0.0090916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_4303-3_0_3_line_160 |  | 157 | 158 | 0.0086995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_4303-3_0_3_line_161 |  | 158 | 159 | 0.0088493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4303-3_0_3_trafo_98 | 0.63 MVA 20/0.4 kV | 163 | 120 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2660757.315 | 1269167.0452 | 2660759.848 | 1269162.063
1 | 2660757.315 | 1269167.0452 | 2660740.7143 | 1269176.5707 | 2660729.9915 | 1269166.275 | 2660722.1406 | 1269158.4328
2 | 2660722.1406 | 1269158.4328 | 2660715.1771 | 1269175.5298 | 2660714.4298 | 1269177.2586
3 | 2660722.1406 | 1269158.4328 | 2660713.2984 | 1269151.0856
4 | 2660709.5046 | 1269188.6534 | 2660714.4298 | 1269177.2586
5 | 2660700.9892 | 1269141.4027 | 2660705.6507 | 1269144.7308 | 2660713.2984 | 1269151.0856
6 | 2660709.5046 | 1269188.6534 | 2660707.9673 | 1269192.2099
7 | 2660700.9892 | 1269141.4027 | 2660696.2242 | 1269137.9968
8 | 2660700.9892 | 1269141.4027 | 2660708.7734 | 1269125.369
9 | 2660677.4577 | 1269263.7425 | 2660687.909 | 1269257.589
10 | 2660677.4577 | 1269263.7425 | 2660666.3776 | 1269270.2921
11 | 2660677.4577 | 1269263.7425 | 2660684.0256 | 1269248.2844
12 | 2660674.2678 | 1269122.3028 | 2660696.2242 | 1269137.9968
13 | 2660674.2678 | 1269122.3028 | 2660670.6744 | 1269119.7417 | 2660669.3444 | 1269118.831
14 | 2660701.9234 | 1269206.1929 | 2660707.9673 | 1269192.2099
15 | 2660701.9234 | 1269206.1929 | 2660701.3702 | 1269207.4726
16 | 2660623.9697 | 1269295.3599 | 2660629.4628 | 1269292.1129
17 | 2660594.4692 | 1269312.3723 | 2660611.0603 | 1269302.9909 | 2660623.9697 | 1269295.3599
18 | 2660639.9901 | 1269285.8901 | 2660629.4628 | 1269292.1129
19 | 2660594.4692 | 1269312.3723 | 2660586.3095 | 1269317.1912
20 | 2660574.2392 | 1269296.5085 | 2660585.3399 | 1269304.4505 | 2660594.4692 | 1269312.3723
21 | 2660649.8262 | 1269280.0758 | 2660639.9901 | 1269285.8901
22 | 2660639.9901 | 1269285.8901 | 2660673.7821 | 1269348.3132
23 | 2660586.3095 | 1269317.1912 | 2660577.5577 | 1269322.3598
24 | 2660574.2392 | 1269296.5085 | 2660580.6693 | 1269282.4133
25 | 2660574.2392 | 1269296.5085 | 2660566.9168 | 1269291.9028
26 | 2660664.239 | 1269364.1105 | 2660652.3668 | 1269385.755
27 | 2660673.7821 | 1269348.3132 | 2660666.3527 | 1269360.2571 | 2660664.239 | 1269364.1105
28 | 2660652.127 | 1269386.1924 | 2660652.3668 | 1269385.755
29 | 2660717.0025 | 1269367.6161 | 2660687.7829 | 1269353.7388 | 2660673.7821 | 1269348.3132 | 2660673.7821 | 1269348.3132
30 | 2660649.8262 | 1269280.0758 | 2660666.3776 | 1269270.2921
31 | 2660577.5577 | 1269322.3598 | 2660561.438 | 1269331.8797
32 | 2660590.212 | 1269261.4952 | 2660580.6693 | 1269282.4133
33 | 2660566.9168 | 1269291.9028 | 2660563.9152 | 1269290.0149
34 | 2660717.0025 | 1269367.6161 | 2660731.8666 | 1269343.9792
35 | 2660550.1242 | 1269338.5613 | 2660561.438 | 1269331.8797
36 | 2660590.212 | 1269261.4952 | 2660600.4432 | 1269239.0677
37 | 2660563.9152 | 1269290.0149 | 2660554.0019 | 1269283.7796
38 | 2660550.1242 | 1269338.5613 | 2660548.1671 | 1269339.7171
39 | 2660600.4432 | 1269239.0677 | 2660600.8013 | 1269238.2828
40 | 2660552.6014 | 1269282.8987 | 2660554.0019 | 1269283.7796
41 | 2660652.127 | 1269386.1924 | 2660640.717 | 1269406.9943
42 | 2660640.568 | 1269407.2658 | 2660640.717 | 1269406.9943
43 | 2660563.1689 | 1269435.3001 | 2660594.0581 | 1269447.0589 | 2660598.7119 | 1269449.653 | 2660603.1722 | 1269453.5017 | 2660605.4956 | 1269458.0734 | 2660606.135 | 1269461.0708
44 | 2660606.135 | 1269461.0708 | 2660636.7677 | 1269414.1943
45 | 2660584.4067 | 1269492.2497 | 2660587.1943 | 1269486.7742 | 2660591.0721 | 1269481.3987 | 2660597.1799 | 1269476.491 | 2660602.0731 | 1269471.8821 | 2660604.5872 | 1269468.8723 | 2660606.2083 | 1269464.8859 | 2660606.2136 | 1269461.4389 | 2660606.135 | 1269461.0708
46 | 2660636.7677 | 1269414.1943 | 2660640.568 | 1269407.2658
47 | 2660580.8251 | 1269503.2325 | 2660584.4067 | 1269492.2497
48 | 2660584.4067 | 1269492.2497 | 2660580.1507 | 1269480.9531 | 2660577.1374 | 1269473.9503 | 2660573.852 | 1269470.7253
49 | 2660548.1671 | 1269339.7171 | 2660528.4751 | 1269351.3467
50 | 2660520.1653 | 1269356.2543 | 2660528.4751 | 1269351.3467
51 | 2660520.1653 | 1269356.2543 | 2660513.804 | 1269360.0111
52 | 2660687.5065 | 1269240.0916 | 2660694.9026 | 1269222.6843
53 | 2660687.5065 | 1269240.0916 | 2660684.0256 | 1269248.2844
54 | 2660697.5286 | 1269216.5038 | 2660694.9026 | 1269222.6843
55 | 2660697.5286 | 1269216.5038 | 2660701.1092 | 1269208.0766 | 2660701.3702 | 1269207.4726
56 | 2660560.5184 | 1269464.0947 | 2660563.1173 | 1269466.0117 | 2660573.852 | 1269470.7253
57 | 2660549.5929 | 1269492.6711 | 2660549.7326 | 1269489.3144 | 2660550.3464 | 1269485.9626 | 2660555.5625 | 1269473.3398 | 2660560.5184 | 1269464.0947
58 | 2660580.8251 | 1269503.2325 | 2660594.0018 | 1269508.2825 | 2660600.663 | 1269508.3827
59 | 2660549.5929 | 1269492.6711 | 2660552.3149 | 1269496.5241 | 2660553.9154 | 1269501.1551 | 2660554.3824 | 1269506.2415 | 2660553.6633 | 1269511.06 | 2660552.4289 | 1269515.4952 | 2660547.4166 | 1269525.1178
60 | 2660549.5929 | 1269492.6711 | 2660523.3924 | 1269477.1996
61 | 2660645.7949 | 1269489.1992 | 2660637.4646 | 1269495.8299 | 2660618.7815 | 1269505.2787 | 2660610.2903 | 1269508.5274 | 2660600.663 | 1269508.3827
62 | 2660547.4166 | 1269525.1178 | 2660541.5292 | 1269531.2955 | 2660538.0095 | 1269533.3165 | 2660534.8476 | 1269533.6049
63 | 2660509.4653 | 1269468.9755 | 2660523.3924 | 1269477.1996
64 | 2660509.4653 | 1269468.9755 | 2660493.5734 | 1269465.2656 | 2660489.0905 | 1269465.0751
65 | 2660536.0472 | 1269515.5385 | 2660532.879 | 1269522.1667 | 2660531.6405 | 1269526.2793 | 2660531.7743 | 1269529.3719 | 2660533.0126 | 1269532.6315 | 2660534.8311 | 1269533.6064 | 2660534.8476 | 1269533.6049
66 | 2660645.7949 | 1269489.1992 | 2660615.7863 | 1269527.3091
67 | 2660615.7863 | 1269527.3091 | 2660555.3288 | 1269607.8886
68 | 2660500.8601 | 1269367.6572 | 2660505.043 | 1269365.1851 | 2660513.804 | 1269360.0111
69 | 2660500.8601 | 1269367.6572 | 2660498.3245 | 1269369.1557
70 | 2660505.3587 | 1269674.49 | 2660555.3288 | 1269607.8886
71 | 2660370.8586 | 1269432.9308 | 2660377.0375 | 1269438.7206 | 2660382.7262 | 1269442.4037 | 2660390.5913 | 1269445.92 | 2660405.3466 | 1269450.4187 | 2660410.0376 | 1269451.8586
72 | 2660370.8586 | 1269432.9308 | 2660377.2973 | 1269430.9729 | 2660377.8557 | 1269430.7784
73 | 2660370.8586 | 1269432.9308 | 2660365.8993 | 1269434.448 | 2660354.988 | 1269437.1092
74 | 2660377.8557 | 1269430.7784 | 2660390.7242 | 1269426.2954 | 2660400.6728 | 1269422.5498 | 2660407.9094 | 1269419.3098
75 | 2660347.5117 | 1269438.6161 | 2660352.7281 | 1269437.6604 | 2660354.988 | 1269437.1092
76 | 2660407.9094 | 1269419.3098 | 2660410.4093 | 1269418.1905 | 2660424.0142 | 1269411.5801 | 2660426.8507 | 1269410.028
77 | 2660335.9992 | 1269440.7252 | 2660347.5117 | 1269438.6161
78 | 2660335.9992 | 1269440.7252 | 2660339.5739 | 1269453.2045 | 2660341.4461 | 1269457.7715 | 2660343.8085 | 1269461.4873 | 2660346.4588 | 1269464.2832 | 2660350.5317 | 1269467.7718 | 2660355.5526 | 1269471.2702 | 2660366.4146 | 1269477.5473
79 | 2660335.9992 | 1269440.7252 | 2660326.9848 | 1269442.1676
80 | 2660477.5234 | 1269381.449 | 2660470.0215 | 1269385.82 | 2660455.5846 | 1269394.3121 | 2660447.1548 | 1269398.9183 | 2660426.8507 | 1269410.028
81 | 2660326.9848 | 1269442.1676 | 2660324.6495 | 1269436.5284 | 2660322.9629 | 1269433.6868 | 2660320.5407 | 1269430.6598 | 2660318.6152 | 1269428.8689
82 | 2660326.9848 | 1269442.1676 | 2660307.7758 | 1269444.1954 | 2660288.4529 | 1269445.656
83 | 2660477.5234 | 1269381.449 | 2660472.5921 | 1269372.881 | 2660466.8143 | 1269362.9896
84 | 2660477.5234 | 1269381.449 | 2660496.1437 | 1269370.4445
85 | 2660318.6152 | 1269428.8689 | 2660317.41 | 1269427.7479 | 2660314.1913 | 1269425.3466 | 2660304.3027 | 1269418.811
86 | 2660263.0353 | 1269447.6861 | 2660281.8554 | 1269446.1546 | 2660288.4529 | 1269445.656
87 | 2660496.1437 | 1269370.4445 | 2660498.3245 | 1269369.1557
88 | 2660288.2095 | 1269408.1746 | 2660304.3027 | 1269418.811
89 | 2660263.0353 | 1269447.6861 | 2660256.0128 | 1269462.2252
90 | 2660263.0353 | 1269447.6861 | 2660259.3563 | 1269447.9034
91 | 2660288.2095 | 1269408.1746 | 2660265.989 | 1269393.4886
92 | 2660233.4922 | 1269508.8508 | 2660256.0128 | 1269462.2252
93 | 2660237.1871 | 1269449.2128 | 2660259.3563 | 1269447.9034
94 | 2660454.0742 | 1269341.1787 | 2660466.8143 | 1269362.9896
95 | 2660454.0742 | 1269341.1787 | 2660457.3098 | 1269336.0412 | 2660465.5721 | 1269328.1686
96 | 2660454.0742 | 1269341.1787 | 2660445.6934 | 1269340.9817
97 | 2660465.5721 | 1269328.1686 | 2660466.8467 | 1269326.9541 | 2660473.9245 | 1269315.5068 | 2660477.2843 | 1269309.7722
98 | 2660477.2843 | 1269309.7722 | 2660477.6136 | 1269309.21
99 | 2660423.6637 | 1269263.4312 | 2660418.3638 | 1269262.176 | 2660401.2109 | 1269253.6721 | 2660401.2109 | 1269253.6721
100 | 2660423.6637 | 1269263.4312 | 2660423.6637 | 1269263.4312 | 2660428.5226 | 1269260.7121 | 2660430.5338 | 1269257.2271
101 | 2660394.4599 | 1269264.146 | 2660401.2109 | 1269253.6721
102 | 2660433.8688 | 1269251.4483 | 2660430.5338 | 1269257.2271
103 | 2660394.4599 | 1269264.146 | 2660381.4899 | 1269284.2683
104 | 2660444.0987 | 1269233.7221 | 2660433.8688 | 1269251.4483
105 | 2660370.2688 | 1269302.3064 | 2660373.6842 | 1269296.3787 | 2660381.4899 | 1269284.2683
106 | 2660453.1218 | 1269218.087 | 2660444.0987 | 1269233.7221
107 | 2660369.2919 | 1269304.002 | 2660370.2688 | 1269302.3064
108 | 2660453.1218 | 1269218.087 | 2660440.9593 | 1269209.8956
109 | 2660496.7601 | 1269245.9768 | 2660453.1218 | 1269218.087
110 | 2660357.5772 | 1269324.3341 | 2660369.2919 | 1269304.002
111 | 2660418.4495 | 1269194.7353 | 2660440.9593 | 1269209.8956
112 | 2660496.7601 | 1269245.9768 | 2660508.5984 | 1269254.6601
113 | 2660496.7601 | 1269245.9768 | 2660504.9188 | 1269228.9199
114 | 2660414.3113 | 1269191.9482 | 2660418.4495 | 1269194.7353
115 | 2660508.5984 | 1269254.6601 | 2660501.0906 | 1269269.1386 | 2660500.9179 | 1269269.4333
116 | 2660508.5984 | 1269254.6601 | 2660510.9314 | 1269256.0253
117 | 2660511.5322 | 1269215.0935 | 2660504.9188 | 1269228.9199
118 | 2660437.2961 | 1269146.7935 | 2660419.5739 | 1269184.3407 | 2660414.3113 | 1269191.9482
119 | 2660414.3113 | 1269191.9482 | 2660405.7291 | 1269186.4118 | 2660391.8487 | 1269177.3029
120 | 2660500.7667 | 1269269.6914 | 2660500.9179 | 1269269.4333
121 | 2660510.9314 | 1269256.0253 | 2660522.9305 | 1269263.0465 | 2660522.9305 | 1269263.0465
122 | 2660511.5322 | 1269215.0935 | 2660517.6796 | 1269202.4424
123 | 2660511.5322 | 1269215.0935 | 2660483.6941 | 1269201.1899
124 | 2660437.2961 | 1269146.7935 | 2660454.2218 | 1269112.8187
125 | 2660437.2961 | 1269146.7935 | 2660423.5562 | 1269137.8574
126 | 2660391.8487 | 1269177.3029 | 2660340.9898 | 1269143.9267
127 | 2660490.6371 | 1269286.981 | 2660500.7667 | 1269269.6914
128 | 2660537.9166 | 1269274.4308 | 2660537.9166 | 1269274.4308 | 2660522.9305 | 1269263.0465
129 | 2660517.6796 | 1269202.4424 | 2660520.1027 | 1269197.4559
130 | 2660483.5213 | 1269201.1036 | 2660483.6941 | 1269201.1899
131 | 2660344.3411 | 1269347.3068 | 2660357.5772 | 1269324.3341
132 | 2660340.8191 | 1269353.4195 | 2660340.8191 | 1269353.4195 | 2660344.3411 | 1269347.3068
133 | 2660340.8191 | 1269353.4195 | 2660348.6774 | 1269357.5538
134 | 2660348.6774 | 1269357.5538 | 2660373.7966 | 1269370.7694 | 2660394.1546 | 1269362.1785
135 | 2660578.833 | 1269229.6373 | 2660580.422 | 1269226.4111
136 | 2660578.833 | 1269229.6373 | 2660567.1778 | 1269253.3024
137 | 2660552.6014 | 1269282.8987 | 2660567.1778 | 1269253.3024
138 | 2660552.6014 | 1269282.8987 | 2660547.6845 | 1269280.0634
139 | 2660542.1932 | 1269276.8969 | 2660547.6845 | 1269280.0634
140 | 2660537.9166 | 1269274.4308 | 2660542.1932 | 1269276.8969
141 | 2660283.3173 | 1269106.0792 | 2660264.7943 | 1269127.7828
142 | 2660283.3173 | 1269106.0792 | 2660340.9898 | 1269143.9267
143 | 2660233.4922 | 1269508.8508 | 2660229.1351 | 1269517.8714 | 2660219.2796 | 1269538.7845
144 | 2660454.2218 | 1269112.8187 | 2660440.4494 | 1269104.1157
145 | 2660404.8205 | 1269089.0957 | 2660436.3607 | 1269109.5113 | 2660440.4494 | 1269104.1157
146 | 2660404.8205 | 1269089.0957 | 2660404.1634 | 1269090.0675 | 2660398.7075 | 1269100.3751 | 2660391.7443 | 1269110.1669 | 2660387.193 | 1269114.5502
147 | 2660571.7833 | 1269092.0621 | 2660567.3467 | 1269092.4725 | 2660561.6777 | 1269098.5857 | 2660557.9348 | 1269106.3485
148 | 2660571.7833 | 1269092.0621 | 2660575.814 | 1269092.337 | 2660588.4305 | 1269100.0054 | 2660590.6762 | 1269107.0226 | 2660587.96 | 1269112.2683
149 | 2660550.03 | 1269122.7429 | 2660557.9348 | 1269106.3485
150 | 2660586.1142 | 1269115.8329 | 2660587.96 | 1269112.2683
151 | 2660586.1142 | 1269115.8329 | 2660580.5529 | 1269126.5729
152 | 2660577.3565 | 1269132.7457 | 2660580.5529 | 1269126.5729
153 | 2660575.2321 | 1269136.9735 | 2660577.0106 | 1269133.4136 | 2660577.3565 | 1269132.7457
154 | 2660570.6185 | 1269146.208 | 2660575.2321 | 1269136.9735
155 | 2660570.6185 | 1269146.208 | 2660567.9444 | 1269151.5607
156 | 2660537.2153 | 1269162.2388 | 2660536.4018 | 1269152.183
157 | 2660537.2153 | 1269162.2388 | 2660520.1027 | 1269197.4559
158 | 2660537.2153 | 1269162.2388 | 2660545.8089 | 1269165.1957 | 2660551.4303 | 1269167.7477
159 | 2660567.9444 | 1269151.5607 | 2660563.8811 | 1269159.6938
160 | 2660563.8811 | 1269159.6938 | 2660559.993 | 1269167.4761 | 2660559.993 | 1269167.4761
161 | 2660559.993 | 1269167.4761 | 2660553.3516 | 1269168.62 | 2660551.4303 | 1269167.7477

## bus_geodata
| x | y | coords
0 | 2660759.848 | 1269162.063
1 | 2660757.315 | 1269167.0452
2 | 2660722.1406 | 1269158.4328
3 | 2660714.4298 | 1269177.2586
4 | 2660713.2984 | 1269151.0856
5 | 2660709.5046 | 1269188.6534
6 | 2660700.9892 | 1269141.4027
7 | 2660687.909 | 1269257.589
8 | 2660677.4577 | 1269263.7425
9 | 2660696.2242 | 1269137.9968
10 | 2660708.7734 | 1269125.369
11 | 2660674.2678 | 1269122.3028
12 | 2660707.9673 | 1269192.2099
13 | 2660669.3444 | 1269118.831
14 | 2660701.9234 | 1269206.1929
15 | 2660623.9697 | 1269295.3599
16 | 2660629.4628 | 1269292.1129
17 | 2660594.4692 | 1269312.3723
18 | 2660639.9901 | 1269285.8901
19 | 2660586.3095 | 1269317.1912
20 | 2660574.2392 | 1269296.5085
21 | 2660664.239 | 1269364.1105
22 | 2660652.3669 | 1269385.755
23 | 2660673.7821 | 1269348.3132
24 | 2660649.8262 | 1269280.0758
25 | 2660577.5577 | 1269322.3598
26 | 2660580.6693 | 1269282.4133
27 | 2660566.9168 | 1269291.9028
28 | 2660666.3776 | 1269270.2921
29 | 2660717.0025 | 1269367.6161
30 | 2660561.438 | 1269331.8797
31 | 2660590.212 | 1269261.4952
32 | 2660563.9152 | 1269290.0149
33 | 2660550.1242 | 1269338.5613
34 | 2660600.4432 | 1269239.0677
35 | 2660554.0019 | 1269283.7796
36 | 2660652.127 | 1269386.1924
37 | 2660640.717 | 1269406.9943
38 | 2660606.135 | 1269461.0708
39 | 2660563.1689 | 1269435.3001
40 | 2660636.7677 | 1269414.1943
41 | 2660584.4067 | 1269492.2497
42 | 2660731.8666 | 1269343.9792
43 | 2660640.568 | 1269407.2658
44 | 2660548.1671 | 1269339.7171
45 | 2660528.4751 | 1269351.3467
46 | 2660520.1653 | 1269356.2543
47 | 2660687.5065 | 1269240.0916
48 | 2660694.9026 | 1269222.6843
49 | 2660684.0256 | 1269248.2844
50 | 2660697.5286 | 1269216.5038
51 | 2660701.3702 | 1269207.4726
52 | 2660573.852 | 1269470.7253
53 | 2660560.5184 | 1269464.0947
54 | 2660580.8251 | 1269503.2325
55 | 2660549.5929 | 1269492.6711
56 | 2660600.663 | 1269508.3826
57 | 2660547.4166 | 1269525.1178
58 | 2660523.3924 | 1269477.1996
59 | 2660509.4653 | 1269468.9755
60 | 2660489.0905 | 1269465.0751
61 | 2660534.8476 | 1269533.6049
62 | 2660645.7949 | 1269489.1992
63 | 2660536.0472 | 1269515.5385
64 | 2660615.7863 | 1269527.3091
65 | 2660513.804 | 1269360.0111
66 | 2660500.8601 | 1269367.6572
67 | 2660555.3288 | 1269607.8886
68 | 2660505.3587 | 1269674.49
69 | 2660410.0376 | 1269451.8586
70 | 2660370.8586 | 1269432.9308
71 | 2660377.8557 | 1269430.7784
72 | 2660354.988 | 1269437.1092
73 | 2660407.9094 | 1269419.3098
74 | 2660347.5117 | 1269438.6161
75 | 2660366.4146 | 1269477.5473
76 | 2660335.9992 | 1269440.7252
77 | 2660426.8507 | 1269410.028
78 | 2660326.9848 | 1269442.1676
79 | 2660477.5234 | 1269381.449
80 | 2660318.6152 | 1269428.8689
81 | 2660288.4529 | 1269445.656
82 | 2660498.3245 | 1269369.1557
83 | 2660496.1438 | 1269370.4445
84 | 2660304.3027 | 1269418.811
85 | 2660263.0353 | 1269447.6861
86 | 2660288.2095 | 1269408.1746
87 | 2660256.0128 | 1269462.2252
88 | 2660259.3563 | 1269447.9034
89 | 2660466.8143 | 1269362.9896
90 | 2660454.0742 | 1269341.1787
91 | 2660465.5721 | 1269328.1686
92 | 2660445.6934 | 1269340.9817
93 | 2660477.2843 | 1269309.7722
94 | 2660265.989 | 1269393.4886
95 | 2660423.6637 | 1269263.4312
96 | 2660401.2109 | 1269253.6721
97 | 2660430.5338 | 1269257.2271
98 | 2660394.4599 | 1269264.146
99 | 2660433.8688 | 1269251.4483
100 | 2660381.4899 | 1269284.2683
101 | 2660444.0987 | 1269233.7221
102 | 2660370.2688 | 1269302.3064
103 | 2660453.1218 | 1269218.087
104 | 2660369.2919 | 1269304.002
105 | 2660440.9593 | 1269209.8956
106 | 2660496.7601 | 1269245.9768
107 | 2660418.4495 | 1269194.7353
108 | 2660508.5984 | 1269254.6601
109 | 2660504.9188 | 1269228.9199
110 | 2660414.3113 | 1269191.9482
111 | 2660500.9179 | 1269269.4333
112 | 2660510.9314 | 1269256.0253
113 | 2660511.5322 | 1269215.0935
114 | 2660437.2961 | 1269146.7935
115 | 2660391.8487 | 1269177.3029
116 | 2660500.7667 | 1269269.6914
117 | 2660522.9305 | 1269263.0465
118 | 2660517.6796 | 1269202.4424
119 | 2660483.6941 | 1269201.1899
120 | 2660490.6371 | 1269286.981
121 | 2660477.6136 | 1269309.21
122 | 2660344.3411 | 1269347.3068
123 | 2660357.5772 | 1269324.3341
124 | 2660340.8191 | 1269353.4195
125 | 2660348.6774 | 1269357.5538
126 | 2660394.1546 | 1269362.1785
127 | 2660600.8013 | 1269238.2828
128 | 2660580.422 | 1269226.4111
129 | 2660578.833 | 1269229.6373
130 | 2660567.1778 | 1269253.3024
131 | 2660552.6014 | 1269282.8987
132 | 2660547.6845 | 1269280.0634
133 | 2660542.1932 | 1269276.8969
134 | 2660537.9166 | 1269274.4308
135 | 2660264.7943 | 1269127.7828
136 | 2660283.3173 | 1269106.0792
137 | 2660340.9898 | 1269143.9267
138 | 2660237.1871 | 1269449.2128
139 | 2660233.4922 | 1269508.8508
140 | 2660219.2796 | 1269538.7845
141 | 2660454.2218 | 1269112.8187
142 | 2660423.5562 | 1269137.8574
143 | 2660440.4494 | 1269104.1157
144 | 2660404.8205 | 1269089.0957
145 | 2660571.7833 | 1269092.0621
146 | 2660557.9348 | 1269106.3485
147 | 2660587.96 | 1269112.2683
148 | 2660586.1142 | 1269115.8329
149 | 2660580.5529 | 1269126.5729
150 | 2660577.3565 | 1269132.7457
151 | 2660550.03 | 1269122.7429
152 | 2660575.2321 | 1269136.9735
153 | 2660570.6185 | 1269146.208
154 | 2660536.4018 | 1269152.183
155 | 2660537.2153 | 1269162.2388
156 | 2660567.9444 | 1269151.5607
157 | 2660563.8811 | 1269159.6938
158 | 2660559.993 | 1269167.4761
159 | 2660551.4303 | 1269167.7477
160 | 2660520.1027 | 1269197.4559
161 | 2660483.5213 | 1269201.1036
162 | 2660387.193 | 1269114.5502
163 | 2660508.5984 | 1269254.6601

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1