## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_4303-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_4303-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_4303-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_4303-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_4303-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_4303-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_4303-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_4303-4_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_4303-4_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_4303-4_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_4303-4_0_3_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_4303-4_0_3_node_68 | 0.4 | n |  | TRUE
12 | bus_LV_4303-4_0_3_node_54 | 0.4 | n |  | TRUE
13 | bus_LV_4303-4_0_3_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_4303-4_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_4303-4_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_4303-4_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_4303-4_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_4303-4_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_4303-4_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_4303-4_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_4303-4_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_4303-4_0_3_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_4303-4_0_3_node_48 | 0.4 | n |  | TRUE
24 | bus_LV_4303-4_0_3_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_4303-4_0_3_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_4303-4_0_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_4303-4_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_4303-4_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_4303-4_0_3_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_4303-4_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_4303-4_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_4303-4_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_4303-4_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_4303-4_0_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_4303-4_0_3_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_4303-4_0_3_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_4303-4_0_3_node_84 | 0.4 | n |  | TRUE
38 | bus_LV_4303-4_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_4303-4_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_4303-4_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_4303-4_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_4303-4_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_4303-4_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_4303-4_0_3_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_4303-4_0_3_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_4303-4_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_4303-4_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_4303-4_0_3_node_97 | 0.4 | n |  | TRUE
49 | bus_LV_4303-4_0_3_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_4303-4_0_3_node_96 | 0.4 | n |  | TRUE
51 | bus_LV_4303-4_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_4303-4_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_4303-4_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_4303-4_0_3_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_4303-4_0_3_node_37 | 0.4 | n |  | TRUE
56 | bus_LV_4303-4_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_4303-4_0_3_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_4303-4_0_3_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_4303-4_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_4303-4_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_4303-4_0_3_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_4303-4_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_4303-4_0_3_node_82 | 0.4 | n |  | TRUE
64 | bus_LV_4303-4_0_3_node_95 | 0.4 | n |  | TRUE
65 | bus_LV_4303-4_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_4303-4_0_3_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_4303-4_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_4303-4_0_3_node_91 | 0.4 | n |  | TRUE
69 | bus_LV_4303-4_0_3_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_4303-4_0_3_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_4303-4_0_3_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_4303-4_0_3_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_4303-4_0_3_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_4303-4_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_4303-4_0_3_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_4303-4_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_4303-4_0_3_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_4303-4_0_3_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_4303-4_0_3_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_4303-4_0_3_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_4303-4_0_3_node_59 | 0.4 | n |  | TRUE
82 | bus_LV_4303-4_0_3_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_4303-4_0_3_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_4303-4_0_3_node_61 | 0.4 | n |  | TRUE
85 | bus_LV_4303-4_0_3_node_92 | 0.4 | n |  | TRUE
86 | bus_LV_4303-4_0_3_node_93 | 0.4 | n |  | TRUE
87 | bus_LV_4303-4_0_3_node_66 | 0.4 | n |  | TRUE
88 | bus_LV_4303-4_0_3_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_4303-4_0_3_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_4303-4_0_3_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_4303-4_0_3_node_74 | 0.4 | n |  | TRUE
92 | bus_LV_4303-4_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_4303-4_0_3_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_4303-4_0_3_node_75 | 0.4 | n |  | TRUE
95 | bus_LV_4303-4_0_3_node_76 | 0.4 | n |  | TRUE
96 | bus_LV_4303-4_0_3_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_4303-4_0_3_node_90 | 0.4 | n |  | TRUE
98 | bus_LV_4303-4_0_3_node_94 | 0.4 | n |  | TRUE
99 | bus_MV_486_1_node_64 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_4303-4_0_3_load_0 | 0 | 0.00051619 | 0.00012937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_4303-4_0_3_load_3 | 3 | 0.0006974 | 0.00017478 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_4303-4_0_3_load_4 | 4 | 0.00047262 | 0.00011845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_4303-4_0_3_load_6 | 6 | 0.0016944 | 0.00042467 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_4303-4_0_3_load_7 | 7 | 0.0031844 | 0.00079808 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_4303-4_0_3_load_8 | 8 | 0.0023103 | 0.00057901 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_4303-4_0_3_load_9 | 9 | 0.0021364 | 0.00053544 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_4303-4_0_3_load_55 | 10 | 0.0047812 | 0.0011983 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_4303-4_0_3_load_68 | 11 | 0.0027795 | 0.00069661 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_4303-4_0_3_load_54 | 12 | 0.0025334 | 0.00063494 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_4303-4_0_3_load_69 | 13 | 0.0014206 | 0.00035605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_4303-4_0_3_load_10 | 14 | 0.0026548 | 0.00066535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_4303-4_0_3_load_11 | 15 | 0.0030335 | 0.00076027 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_4303-4_0_3_load_12 | 16 | 0.0031042 | 0.00077799 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_4303-4_0_3_load_13 | 17 | 0.0066279 | 0.0016611 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_4303-4_0_3_load_15 | 19 | 0.0026148 | 0.00065533 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_4303-4_0_3_load_16 | 20 | 0.0044757 | 0.0011217 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_4303-4_0_3_load_17 | 21 | 0.003467 | 0.0008689 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_4303-4_0_3_load_80 | 22 | 0.0020044 | 0.00050234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_4303-4_0_3_load_48 | 23 | 0.0070724 | 0.0017725 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_4303-4_0_3_load_98 | 24 | 0.0019401 | 0.00048622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_4303-4_0_3_load_81 | 25 | 0.0018764 | 0.00047026 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_4303-4_0_3_load_47 | 26 | 0.0022472 | 0.00056321 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_4303-4_0_3_load_18 | 27 | 0.0084009 | 0.0021055 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_4303-4_0_3_load_19 | 28 | 0.002242 | 0.00056189 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_4303-4_0_3_load_20 | 29 | 0.00073302 | 0.00018371 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_4303-4_0_3_load_21 | 30 | 0.0038742 | 0.00097096 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_4303-4_0_3_load_22 | 31 | 0.00093812 | 0.00023512 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_4303-4_0_3_load_23 | 32 | 0.005717 | 0.0014328 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_4303-4_0_3_load_24 | 33 | 0.0025143 | 0.00063015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_4303-4_0_3_load_46 | 34 | 0.00091516 | 0.00022936 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_4303-4_0_3_load_86 | 36 | 0.0014633 | 0.00036673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_4303-4_0_3_load_84 | 37 | 0.0025073 | 0.00062839 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_4303-4_0_3_load_25 | 39 | 0.0027972 | 0.00070104 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_4303-4_0_3_load_26 | 40 | 0.0032613 | 0.00081737 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_4303-4_0_3_load_28 | 42 | 0.0018836 | 0.00047208 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_4303-4_0_3_load_31 | 44 | 0.0025845 | 0.00064775 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_4303-4_0_3_load_29 | 45 | 0.0024027 | 0.00060218 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_4303-4_0_3_load_33 | 46 | 0.00052034 | 0.00013041 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_4303-4_0_3_load_34 | 47 | 0.0046621 | 0.0011684 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_4303-4_0_3_load_97 | 48 | 0.0064856 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_4303-4_0_3_load_62 | 52 | 0.0065825 | 0.0016497 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_4303-4_0_3_load_35 | 53 | 0.010063 | 0.002522 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_4303-4_0_3_load_39 | 57 | 0.0081894 | 0.0020525 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_4303-4_0_3_load_40 | 58 | 0.0040942 | 0.0010261 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_4303-4_0_3_load_41 | 59 | 0.003035 | 0.00076064 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_4303-4_0_3_load_42 | 60 | 0.0076178 | 0.0019092 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_4303-4_0_3_load_43 | 61 | 0.0020632 | 0.00051708 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_4303-4_0_3_load_45 | 62 | 0.0011025 | 0.00027632 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_4303-4_0_3_load_82 | 63 | 0.0020647 | 0.00051746 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_4303-4_0_3_load_95 | 64 | 0.0015839 | 0.00039697 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_4303-4_0_3_load_63 | 67 | 0.0031735 | 0.00079535 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_4303-4_0_3_load_91 | 68 | 0.0011649 | 0.00029195 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_4303-4_0_3_load_49 | 69 | 0.0030117 | 0.00075479 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_4303-4_0_3_load_51 | 71 | 0.0023327 | 0.00058464 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_4303-4_0_3_load_52 | 72 | 0.01055 | 0.002644 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_4303-4_0_3_load_53 | 73 | 0.0037882 | 0.00094942 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_4303-4_0_3_load_73 | 74 | 0.0022823 | 0.000572 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_4303-4_0_3_load_70 | 75 | 0.0019292 | 0.00048349 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_4303-4_0_3_load_67 | 76 | 0.0092853 | 0.0023271 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_4303-4_0_3_load_71 | 77 | 0.0026419 | 0.00066212 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_4303-4_0_3_load_56 | 78 | 0.0070213 | 0.0017597 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_4303-4_0_3_load_57 | 79 | 0.0059409 | 0.0014889 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_4303-4_0_3_load_58 | 80 | 0.0059447 | 0.0014899 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_4303-4_0_3_load_59 | 81 | 0.0013706 | 0.0003435 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_4303-4_0_3_load_60 | 82 | 0.0053718 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_4303-4_0_3_load_102 | 83 | 0.0083845 | 0.0021013 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_4303-4_0_3_load_61 | 84 | 0.007123 | 0.0017852 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_4303-4_0_3_load_92 | 85 | 0.0024827 | 0.00062222 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_4303-4_0_3_load_66 | 87 | 0.0055982 | 0.001403 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_4303-4_0_3_load_79 | 88 | 0.0052481 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_4303-4_0_3_load_78 | 89 | 0.0063745 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_4303-4_0_3_load_72 | 90 | 0.0012888 | 0.00032301 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_4303-4_0_3_load_74 | 91 | 0.0054223 | 0.001359 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_4303-4_0_3_load_88 | 92 | 0.0026321 | 0.00065967 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_4303-4_0_3_load_89 | 93 | 0.0044514 | 0.0011156 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_4303-4_0_3_load_75 | 94 | 0.0026011 | 0.00065189 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_4303-4_0_3_load_76 | 95 | 0.0028057 | 0.00070317 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_4303-4_0_3_load_90 | 97 | 0.0019247 | 0.00048238 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_4303-4_0_3_load_94 | 98 | 0.0023435 | 0.00058733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 93 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_4303-4_0_3_line_0 |  | 0 | 1 | 0.039148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_4303-4_0_3_line_1 |  | 0 | 2 | 0.030244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_4303-4_0_3_line_2 |  | 1 | 3 | 0.025464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_4303-4_0_3_line_3 |  | 2 | 4 | 0.016185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_4303-4_0_3_line_4 |  | 2 | 5 | 0.022646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_4303-4_0_3_line_5 |  | 3 | 6 | 0.024616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_4303-4_0_3_line_6 |  | 4 | 7 | 0.051978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_4303-4_0_3_line_7 |  | 5 | 8 | 0.03531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_4303-4_0_3_line_8 |  | 5 | 9 | 0.035167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_4303-4_0_3_line_9 |  | 8 | 10 | 0.0068911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_4303-4_0_3_line_10 |  | 9 | 11 | 0.000246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_4303-4_0_3_line_11 |  | 10 | 12 | 0.011407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_4303-4_0_3_line_12 |  | 11 | 13 | 0.031067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_4303-4_0_3_line_13 |  | 12 | 73 | 0.027899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_4303-4_0_3_line_14 |  | 14 | 15 | 0.0092142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_4303-4_0_3_line_15 |  | 14 | 16 | 0.0099018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_4303-4_0_3_line_16 |  | 15 | 17 | 0.0060192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_4303-4_0_3_line_17 |  | 16 | 18 | 0.034553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_4303-4_0_3_line_18 |  | 17 | 19 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_4303-4_0_3_line_19 |  | 18 | 20 | 0.011586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_4303-4_0_3_line_20 |  | 18 | 21 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_4303-4_0_3_line_21 |  | 19 | 22 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_4303-4_0_3_line_22 |  | 20 | 23 | 0.010721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_4303-4_0_3_line_23 |  | 21 | 24 | 0.0016664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_4303-4_0_3_line_24 |  | 22 | 25 | 0.0075581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_4303-4_0_3_line_25 |  | 23 | 26 | 0.020884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_4303-4_0_3_line_26 |  | 25 | 37 | 0.015531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_4303-4_0_3_line_27 |  | 26 | 69 | 0.020909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_4303-4_0_3_line_28 |  | 27 | 28 | 0.01758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_4303-4_0_3_line_29 |  | 27 | 29 | 0.01695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_4303-4_0_3_line_30 |  | 28 | 30 | 0.0055363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_4303-4_0_3_line_31 |  | 29 | 31 | 0.0012702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_4303-4_0_3_line_32 |  | 30 | 32 | 0.0066353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_4303-4_0_3_line_33 |  | 31 | 33 | 0.008754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_4303-4_0_3_line_34 |  | 33 | 34 | 0.022878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_4303-4_0_3_line_35 |  | 34 | 38 | 0.0091476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_4303-4_0_3_line_36 |  | 35 | 36 | 0.028206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_4303-4_0_3_line_37 |  | 35 | 37 | 0.0048537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_4303-4_0_3_line_38 |  | 36 | 50 | 0.054479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_4303-4_0_3_line_39 |  | 38 | 49 | 0.010752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_4303-4_0_3_line_40 |  | 38 | 45 | 0.043926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_4303-4_0_3_line_41 |  | 39 | 40 | 0.01825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_4303-4_0_3_line_42 |  | 39 | 41 | 0.052441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_4303-4_0_3_line_43 |  | 40 | 42 | 0.00024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_4303-4_0_3_line_44 |  | 41 | 43 | 0.020551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_4303-4_0_3_line_45 |  | 42 | 44 | 0.012156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_4303-4_0_3_line_46 |  | 43 | 46 | 0.022761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_4303-4_0_3_line_47 |  | 43 | 47 | 0.021096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_4303-4_0_3_line_48 |  | 44 | 48 | 0.039885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_4303-4_0_3_line_49 |  | 48 | 50 | 0.031898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_4303-4_0_3_line_50 |  | 49 | 51 | 0.025135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_4303-4_0_3_line_51 |  | 49 | 52 | 0.040468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_4303-4_0_3_line_52 |  | 51 | 64 | 0.0059403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_4303-4_0_3_line_53 |  | 51 | 58 | 0.026915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_4303-4_0_3_line_54 |  | 52 | 82 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_4303-4_0_3_line_55 |  | 53 | 54 | 0.0069542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_4303-4_0_3_line_56 |  | 53 | 55 | 0.029417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_4303-4_0_3_line_57 |  | 54 | 56 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_4303-4_0_3_line_58 |  | 54 | 57 | 0.027083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_4303-4_0_3_line_59 |  | 55 | 58 | 0.022932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_4303-4_0_3_line_60 |  | 55 | 59 | 0.0096965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_4303-4_0_3_line_61 |  | 56 | 60 | 0.026509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_4303-4_0_3_line_62 |  | 57 | 61 | 0.0059556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_4303-4_0_3_line_63 |  | 59 | 62 | 0.0010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_4303-4_0_3_line_64 |  | 61 | 63 | 0.023766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_4303-4_0_3_line_65 |  | 64 | 68 | 0.017616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_4303-4_0_3_line_66 |  | 65 | 66 | 0.013311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_4303-4_0_3_line_67 |  | 65 | 67 | 0.03751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_4303-4_0_3_line_68 |  | 66 | 87 | 0.0031573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_4303-4_0_3_line_69 |  | 66 | 76 | 0.027973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_4303-4_0_3_line_70 |  | 68 | 97 | 0.011427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_4303-4_0_3_line_71 |  | 69 | 70 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_4303-4_0_3_line_72 |  | 70 | 71 | 0.0067122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_4303-4_0_3_line_73 |  | 70 | 72 | 0.025075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_4303-4_0_3_line_74 |  | 71 | 73 | 0.011361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_4303-4_0_3_line_75 |  | 72 | 74 | 0.023676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_4303-4_0_3_line_76 |  | 72 | 75 | 0.02152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_4303-4_0_3_line_77 |  | 74 | 76 | 0.0021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_4303-4_0_3_line_78 |  | 75 | 77 | 0.017333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_4303-4_0_3_line_79 |  | 77 | 90 | 0.0034485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_4303-4_0_3_line_80 |  | 78 | 79 | 0.018241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_4303-4_0_3_line_81 |  | 78 | 80 | 0.022138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_4303-4_0_3_line_82 |  | 79 | 81 | 0.010192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_4303-4_0_3_line_83 |  | 80 | 82 | 0.013702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_4303-4_0_3_line_84 |  | 80 | 83 | 0.075752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_4303-4_0_3_line_85 |  | 81 | 84 | 0.0043691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_4303-4_0_3_line_86 |  | 84 | 85 | 0.0096927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_4303-4_0_3_line_87 |  | 85 | 86 | 0.032664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_4303-4_0_3_line_88 |  | 86 | 98 | 0.036001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_4303-4_0_3_line_89 |  | 87 | 88 | 0.00098233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_4303-4_0_3_line_90 |  | 88 | 89 | 0.04476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_4303-4_0_3_line_91 |  | 89 | 96 | 0.025146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_4303-4_0_3_line_92 |  | 90 | 91 | 0.00097214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
93 | LV_4303-4_0_3_line_93 |  | 91 | 92 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
94 | LV_4303-4_0_3_line_94 |  | 92 | 93 | 0.0027786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
95 | LV_4303-4_0_3_line_95 |  | 93 | 97 | 0.012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_4303-4_0_3_line_96 |  | 94 | 95 | 0.0021241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_4303-4_0_3_line_97 |  | 94 | 96 | 0.04222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_4303-4_0_3_trafo_89 | 0.63 MVA 20/0.4 kV | 99 | 93 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2660847.3108 | 1268811.8136 | 2660879.9752 | 1268833.3912
1 | 2660905.21 | 1268850.061 | 2660879.9752 | 1268833.3912
2 | 2660847.3108 | 1268811.8136 | 2660843.2222 | 1268828.8288 | 2660841.84 | 1268836.6719
3 | 2660905.21 | 1268850.061 | 2660901.7893 | 1268865.8809
4 | 2660924.342 | 1268862.2674 | 2660905.21 | 1268850.061
5 | 2660841.84 | 1268836.6719 | 2660839.05 | 1268852.5038 | 2660837.922 | 1268860.9691
6 | 2660890.804 | 1268916.6852 | 2660901.7893 | 1268865.8809
7 | 2660924.342 | 1268862.2674 | 2660954.1057 | 1268881.2658
8 | 2660924.342 | 1268862.2674 | 2660911.2665 | 1268894.9134
9 | 2660954.1057 | 1268881.2658 | 2660959.9144 | 1268884.9736 | 2660959.9144 | 1268884.9736
10 | 2660911.175 | 1268895.1418 | 2660911.2665 | 1268894.9134
11 | 2660970.5901 | 1268888.9906 | 2660959.9144 | 1268884.9736
12 | 2660899.6239 | 1268923.9816 | 2660911.175 | 1268895.1418
13 | 2660996.7023 | 1268898.8159 | 2660970.5901 | 1268888.9906
14 | 2661073.4886 | 1268830.1982 | 2661082.6992 | 1268830.4534
15 | 2661063.5906 | 1268829.9239 | 2661073.4886 | 1268830.1982
16 | 2661088.7161 | 1268830.6201 | 2661082.6992 | 1268830.4534
17 | 2661029.0507 | 1268828.9669 | 2661063.5906 | 1268829.9239
18 | 2661088.7161 | 1268830.6201 | 2661109.4414 | 1268831.1944
19 | 2661029.0507 | 1268828.9669 | 2661026.767 | 1268840.3254
20 | 2661029.0507 | 1268828.9669 | 2661031.1534 | 1268813.7846
21 | 2661109.4414 | 1268831.1944 | 2661132.3421 | 1268831.8289
22 | 2661024.6539 | 1268850.8357 | 2661026.767 | 1268840.3254
23 | 2661031.3821 | 1268812.134 | 2661031.1534 | 1268813.7846
24 | 2661139.8974 | 1268832.0383 | 2661132.3421 | 1268831.8289
25 | 2661024.6539 | 1268850.8357 | 2661020.5375 | 1268871.3095
26 | 2661139.8974 | 1268832.0383 | 2661148.7865 | 1268832.2846 | 2661155.4079 | 1268831.8072
27 | 2661016.4161 | 1268891.8086 | 2661020.5375 | 1268871.3095
28 | 2661158.8705 | 1268906.7327 | 2661159.1924 | 1268889.1561
29 | 2661158.8705 | 1268906.7327 | 2661158.5602 | 1268923.6802
30 | 2661159.2938 | 1268883.6207 | 2661159.1924 | 1268889.1561
31 | 2661158.5369 | 1268924.9502 | 2661158.5602 | 1268923.6802
32 | 2661159.2938 | 1268883.6207 | 2661159.4153 | 1268876.9865
33 | 2661158.3766 | 1268933.7027 | 2661158.5369 | 1268924.9502
34 | 2661158.3766 | 1268933.7027 | 2661157.9577 | 1268956.577
35 | 2661157.7902 | 1268965.7231 | 2661157.9577 | 1268956.577
36 | 2661160.2491 | 1268831.4581 | 2661187.8835 | 1268825.8071
37 | 2661160.2491 | 1268831.4581 | 2661155.4079 | 1268831.8072
38 | 2661241.3948 | 1268815.7753 | 2661232.1356 | 1268816.7579 | 2661187.8835 | 1268825.8071
39 | 2661157.7902 | 1268965.7231 | 2661154.2984 | 1268975.8947
40 | 2661157.7902 | 1268965.7231 | 2661167.3217 | 1268956.5926 | 2661183.8908 | 1268951.6937 | 2661197.205 | 1268953.5933
41 | 2661258.9643 | 1268897.9056 | 2661260.6156 | 1268916.0809
42 | 2661253.42 | 1268964.6125 | 2661260.3832 | 1268959.3251 | 2661262.6903 | 1268952.3771 | 2661262.3158 | 1268934.7932 | 2661260.6156 | 1268916.0809
43 | 2661258.9643 | 1268897.9056 | 2661258.9423 | 1268897.6643
44 | 2661273.8341 | 1268965.5692 | 2661260.4396 | 1268966.2198 | 2661253.42 | 1268964.6125
45 | 2661258.9423 | 1268897.6643 | 2661257.8424 | 1268885.5584
46 | 2661273.8341 | 1268965.5692 | 2661271.8338 | 1268942.8966
47 | 2661273.8341 | 1268965.5692 | 2661274.7216 | 1268986.6463
48 | 2661257.8424 | 1268885.5584 | 2661257.662 | 1268883.5729 | 2661255.8086 | 1268871.4445 | 2661249.9929 | 1268846.4915
49 | 2661241.3948 | 1268815.7753 | 2661249.6699 | 1268845.1055 | 2661249.9929 | 1268846.4915
50 | 2661154.2984 | 1268975.8947 | 2661145.0861 | 1268972.3745 | 2661130.4127 | 1268967.8971
51 | 2661154.2984 | 1268975.8947 | 2661163.4087 | 1268980.548 | 2661175.2429 | 1268991.0339 | 2661179.1894 | 1268997.2684 | 2661181.8082 | 1269003.8116
52 | 2661130.4127 | 1268967.8971 | 2661125.0169 | 1268965.4128
53 | 2661130.4127 | 1268967.8971 | 2661122.6492 | 1268990.1781 | 2661122.759 | 1268993.496
54 | 2661178.6252 | 1269019.6397 | 2661180.4986 | 1269013.2718 | 2661181.8082 | 1269003.8116
55 | 2661084.0368 | 1269001.0427 | 2661090.408 | 1269003.83
56 | 2661117.3589 | 1269015.6204 | 2661090.408 | 1269003.83
57 | 2661084.0368 | 1269001.0427 | 2661066.7207 | 1268993.7805
58 | 2661084.0368 | 1269001.0427 | 2661077.6164 | 1269027.3539
59 | 2661117.3589 | 1269015.6204 | 2661122.8785 | 1268997.1079 | 2661122.759 | 1268993.496
60 | 2661117.3589 | 1269015.6204 | 2661122.0561 | 1269017.6705 | 2661126.4707 | 1269018.8574
61 | 2661066.7207 | 1268993.7805 | 2661043.5889 | 1268980.8326
62 | 2661076.2046 | 1269033.1398 | 2661077.6164 | 1269027.3539
63 | 2661126.4707 | 1269018.8574 | 2661127.4624 | 1269019.124
64 | 2661076.2046 | 1269033.1398 | 2661070.5706 | 1269056.2284
65 | 2661125.0169 | 1268965.4128 | 2661114.452 | 1268960.5487 | 2661109.6573 | 1268956.9665
66 | 2661001.646 | 1268953.2223 | 2661011.0835 | 1268962.638
67 | 2661011.0835 | 1268962.638 | 2661002.508 | 1268999.155
68 | 2661001.646 | 1268953.2223 | 2660999.1175 | 1268955.1132
69 | 2661001.646 | 1268953.2223 | 2661020.9862 | 1268933.0126
70 | 2661100.503 | 1268950.1271 | 2661109.6573 | 1268956.9665
71 | 2661013.9379 | 1268904.1343 | 2661016.4161 | 1268891.8086
72 | 2661013.9379 | 1268904.1343 | 2661007.4083 | 1268902.5796
73 | 2661013.9379 | 1268904.1343 | 2661037.3376 | 1268913.3273
74 | 2660996.7023 | 1268898.8159 | 2661005.4925 | 1268902.1234 | 2661007.4083 | 1268902.5796
75 | 2661037.3376 | 1268913.3273 | 2661034.7713 | 1268918.438 | 2661029.5583 | 1268924.0551 | 2661022.4415 | 1268931.4919
76 | 2661037.3376 | 1268913.3273 | 2661046.5507 | 1268917.5145 | 2661057.0565 | 1268921.9396
77 | 2661022.4415 | 1268931.4919 | 2661020.9862 | 1268933.0126
78 | 2661057.0565 | 1268921.9396 | 2661058.4044 | 1268922.5074 | 2661072.1573 | 1268930.4264
79 | 2661072.1573 | 1268930.4264 | 2661072.8576 | 1268930.8296 | 2661075.0501 | 1268932.301
80 | 2661168.2028 | 1269053.9304 | 2661162.9132 | 1269071.267 | 2661162.8733 | 1269071.3756
81 | 2661168.2028 | 1269053.9304 | 2661174.6632 | 1269032.7563
82 | 2661162.8733 | 1269071.3756 | 2661159.354 | 1269080.9409
83 | 2661178.6252 | 1269019.6397 | 2661177.87 | 1269022.2069 | 2661175.369 | 1269030.4428 | 2661174.6632 | 1269032.7563
84 | 2661174.6632 | 1269032.7563 | 2661243.9061 | 1269063.4776
85 | 2661157.8454 | 1269085.0413 | 2661159.354 | 1269080.9409
86 | 2661154.4986 | 1269094.1379 | 2661157.8454 | 1269085.0413
87 | 2661146.5231 | 1269125.7832 | 2661152.9322 | 1269098.3954 | 2661154.4986 | 1269094.1379
88 | 2661146.5231 | 1269125.7832 | 2661180.9648 | 1269136.2623
89 | 2660998.3308 | 1268955.7015 | 2660999.1175 | 1268955.1132
90 | 2660998.3308 | 1268955.7015 | 2660962.4851 | 1268982.507
91 | 2660942.3469 | 1268997.5664 | 2660962.4851 | 1268982.507
92 | 2661075.0501 | 1268932.301 | 2661075.8573 | 1268932.8428
93 | 2661088.3928 | 1268941.2556 | 2661075.8573 | 1268932.8428
94 | 2661088.3928 | 1268941.2556 | 2661090.7 | 1268942.804
95 | 2661100.503 | 1268950.1271 | 2661090.7121 | 1268942.8121 | 2661090.7 | 1268942.804
96 | 2660916.4594 | 1268964.2144 | 2660915.157 | 1268962.5365
97 | 2660942.3469 | 1268997.5664 | 2660916.4594 | 1268964.2144

## bus_geodata
| x | y | coords
0 | 2660879.9752 | 1268833.3912
1 | 2660847.3108 | 1268811.8136
2 | 2660905.21 | 1268850.061
3 | 2660841.84 | 1268836.6719
4 | 2660901.7893 | 1268865.8809
5 | 2660924.342 | 1268862.2674
6 | 2660837.922 | 1268860.9691
7 | 2660890.804 | 1268916.6852
8 | 2660954.1057 | 1268881.2658
9 | 2660911.2665 | 1268894.9134
10 | 2660959.9144 | 1268884.9736
11 | 2660911.175 | 1268895.1418
12 | 2660970.5901 | 1268888.9906
13 | 2660899.6239 | 1268923.9816
14 | 2661073.4886 | 1268830.1982
15 | 2661082.6992 | 1268830.4534
16 | 2661063.5906 | 1268829.9239
17 | 2661088.7161 | 1268830.6201
18 | 2661029.0507 | 1268828.9669
19 | 2661109.4414 | 1268831.1944
20 | 2661026.767 | 1268840.3254
21 | 2661031.1534 | 1268813.7846
22 | 2661132.3421 | 1268831.8289
23 | 2661024.6539 | 1268850.8357
24 | 2661031.3821 | 1268812.134
25 | 2661139.8974 | 1268832.0383
26 | 2661020.5375 | 1268871.3095
27 | 2661158.8705 | 1268906.7327
28 | 2661159.1924 | 1268889.1561
29 | 2661158.5602 | 1268923.6802
30 | 2661159.2938 | 1268883.6207
31 | 2661158.5369 | 1268924.9502
32 | 2661159.4153 | 1268876.9865
33 | 2661158.3766 | 1268933.7027
34 | 2661157.9577 | 1268956.577
35 | 2661160.2491 | 1268831.4581
36 | 2661187.8835 | 1268825.8071
37 | 2661155.4079 | 1268831.8072
38 | 2661157.7902 | 1268965.7231
39 | 2661260.6156 | 1268916.0809
40 | 2661258.9643 | 1268897.9056
41 | 2661253.42 | 1268964.6125
42 | 2661258.9423 | 1268897.6643
43 | 2661273.8341 | 1268965.5692
44 | 2661257.8424 | 1268885.5584
45 | 2661197.205 | 1268953.5933
46 | 2661271.8338 | 1268942.8966
47 | 2661274.7216 | 1268986.6463
48 | 2661249.9929 | 1268846.4915
49 | 2661154.2984 | 1268975.8947
50 | 2661241.3948 | 1268815.7753
51 | 2661130.4127 | 1268967.8971
52 | 2661181.8082 | 1269003.8116
53 | 2661090.408 | 1269003.83
54 | 2661084.0368 | 1269001.0427
55 | 2661117.3589 | 1269015.6204
56 | 2661066.7207 | 1268993.7805
57 | 2661077.6164 | 1269027.3539
58 | 2661122.759 | 1268993.496
59 | 2661126.4707 | 1269018.8574
60 | 2661043.5889 | 1268980.8326
61 | 2661076.2046 | 1269033.1398
62 | 2661127.4624 | 1269019.124
63 | 2661070.5706 | 1269056.2284
64 | 2661125.0169 | 1268965.4128
65 | 2661011.0835 | 1268962.638
66 | 2661001.646 | 1268953.2223
67 | 2661002.508 | 1268999.155
68 | 2661109.6573 | 1268956.9665
69 | 2661016.4161 | 1268891.8086
70 | 2661013.9379 | 1268904.1343
71 | 2661007.4083 | 1268902.5796
72 | 2661037.3376 | 1268913.3273
73 | 2660996.7023 | 1268898.8159
74 | 2661022.4415 | 1268931.4919
75 | 2661057.0565 | 1268921.9396
76 | 2661020.9862 | 1268933.0126
77 | 2661072.1573 | 1268930.4264
78 | 2661168.2028 | 1269053.9304
79 | 2661162.8733 | 1269071.3756
80 | 2661174.6632 | 1269032.7563
81 | 2661159.354 | 1269080.9409
82 | 2661178.6252 | 1269019.6397
83 | 2661243.9061 | 1269063.4776
84 | 2661157.8454 | 1269085.0413
85 | 2661154.4986 | 1269094.1379
86 | 2661146.5231 | 1269125.7832
87 | 2660999.1175 | 1268955.1132
88 | 2660998.3308 | 1268955.7015
89 | 2660962.4851 | 1268982.507
90 | 2661075.0501 | 1268932.301
91 | 2661075.8573 | 1268932.8428
92 | 2661088.3928 | 1268941.2556
93 | 2661090.7 | 1268942.804
94 | 2660916.4594 | 1268964.2144
95 | 2660915.157 | 1268962.5365
96 | 2660942.3469 | 1268997.5664
97 | 2661100.503 | 1268950.1271
98 | 2661180.9648 | 1269136.2623
99 | 2661130.4127 | 1268967.8971

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1